## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
11/1/2025 | 2 | 63570 | 12313 | -10420 | 20743 | 5270 | -4460 | 0.329 | 996 | 164 | 0.165
11/1/2025 | 3 | 62044 | 12374 | -10734 | 20454 | 5296 | -4594 | 0.332 | 762 | 82 | 0.108
11/1/2025 | 4 | 61299 | 12087 | -10494 | 20162 | 5173 | -4491 | 0.331 | 826 | 125 | 0.151
11/1/2025 | 5 | 61616 | 11850 | -10458 | 20140 | 5072 | -4476 | 0.329 | 817 | 145 | 0.177
11/1/2025 | 6 | 63183 | 11910 | -10533 | 20218 | 5098 | -4508 | 0.322 | 806 | 152 | 0.189
11/1/2025 | 7 | 66130 | 11644 | -10536 | 19988 | 4984 | -4510 | 0.304 | 962 | 154 | 0.16
11/1/2025 | 8 | 68085 | 11505 | -10015 | 19642 | 4924 | -4286 | 0.291 | 1772 | 452 | 0.255
11/1/2025 | 9 | 68720 | 10762 | -9265 | 15623 | 4606 | -3965 | 0.232 | 1029 | 281 | 0.273
11/1/2025 | 10 | 68576 | 10014 | -8836 | 13557 | 4286 | -3782 | 0.202 | 86 | 0 | 0
11/1/2025 | 11 | 68119 | 9587 | -8953 | 12614 | 4104 | -3832 | 0.187 | 0 | 0 | 0
11/1/2025 | 12 | 66897 | 10036 | -9224 | 12172 | 4296 | -3948 | 0.185 | 0 | 0 | 0
11/1/2025 | 13 | 66805 | 10317 | -9382 | 12431 | 4416 | -4016 | 0.189 | 0 | 0 | 0
11/1/2025 | 14 | 67875 | 10533 | -9853 | 12629 | 4508 | -4217 | 0.188 | 0 | 0 | 0
11/1/2025 | 15 | 69917 | 11052 | -10409 | 12203 | 4730 | -4455 | 0.177 | 0 | 0 | 0
11/1/2025 | 16 | 73140 | 10984 | -10495 | 12526 | 4701 | -4492 | 0.173 | 78 | 0 | 0
11/1/2025 | 17 | 77330 | 12118 | -11511 | 15176 | 5186 | -4927 | 0.198 | 180 | 8 | 0.044
11/1/2025 | 18 | 80063 | 13198 | -11760 | 18468 | 5649 | -5033 | 0.234 | 1189 | 238 | 0.2
11/1/2025 | 19 | 80893 | 13656 | -11990 | 19048 | 5845 | -5132 | 0.239 | 1502 | 298 | 0.198
11/1/2025 | 20 | 78053 | 13913 | -12033 | 18867 | 5955 | -5150 | 0.246 | 1687 | 395 | 0.234
11/1/2025 | 21 | 75370 | 13346 | -11330 | 18638 | 5712 | -4849 | 0.252 | 2131 | 551 | 0.259
11/1/2025 | 22 | 73035 | 12836 | -10920 | 18190 | 5494 | -4674 | 0.254 | 2194 | 621 | 0.283
11/1/2025 | 23 | 70211 | 13891 | -11807 | 18532 | 5945 | -5053 | 0.269 | 2230 | 586 | 0.263
11/1/2025 | 24 | 66437 | 13792 | -11454 | 18112 | 5903 | -4902 | 0.278 | 2142 | 624 | 0.291
11/2/2025 | 1 | 64235 | 13277 | -10806 | 17746 | 5683 | -4625 | 0.282 | 1600 | 441 | 0.276
11/2/2025 | 2 | 64016 | 13254 | -10781 | 17708 | 5673 | -4614 | 0.282 | 1585 | 420 | 0.265
11/2/2025 | 3 | 59258 | 13410 | -11219 | 17049 | 5739 | -4802 | 0.293 | 1222 | 398 | 0.326
11/2/2025 | 4 | 59427 | 13376 | -11088 | 16626 | 5725 | -4746 | 0.285 | 1128 | 304 | 0.27
11/2/2025 | 5 | 60529 | 13055 | -11072 | 16687 | 5588 | -4739 | 0.281 | 1337 | 378 | 0.283
11/2/2025 | 6 | 62380 | 12871 | -11001 | 16969 | 5509 | -4708 | 0.277 | 1132 | 245 | 0.216
11/2/2025 | 7 | 64440 | 12033 | -10265 | 16621 | 5150 | -4393 | 0.262 | 1701 | 479 | 0.282
11/2/2025 | 8 | 66060 | 11890 | -10718 | 13343 | 5089 | -4587 | 0.206 | 211 | 36 | 0.171
11/2/2025 | 9 | 66908 | 11539 | -10870 | 12242 | 4939 | -4652 | 0.185 | 0 | 0 | 0
11/2/2025 | 10 | 66014 | 11028 | -10391 | 11852 | 4720 | -4448 | 0.182 | 0 | 0 | 0
11/2/2025 | 11 | 65760 | 10867 | -10349 | 11868 | 4651 | -4430 | 0.182 | 0 | 0 | 0
11/2/2025 | 12 | 65726 | 11020 | -10130 | 11558 | 4717 | -4336 | 0.179 | 0 | 0 | 0
11/2/2025 | 13 | 67063 | 11024 | -10322 | 11567 | 4718 | -4418 | 0.175 | 0 | 0 | 0
11/2/2025 | 14 | 69458 | 11168 | -10476 | 12131 | 4780 | -4484 | 0.177 | 0 | 0 | 0
11/2/2025 | 15 | 72926 | 10842 | -10216 | 13118 | 4640 | -4372 | 0.182 | 0 | 0 | 0
11/2/2025 | 16 | 76908 | 11159 | -9971 | 16620 | 4776 | -4268 | 0.219 | 333 | 0 | 0
11/2/2025 | 17 | 80713 | 11795 | -10378 | 19836 | 5048 | -4442 | 0.249 | 1174 | 110 | 0.094
11/2/2025 | 18 | 82233 | 12674 | -10776 | 20708 | 5424 | -4612 | 0.256 | 1006 | 101 | 0.1
11/2/2025 | 19 | 80551 | 13270 | -11091 | 20903 | 5680 | -4747 | 0.264 | 770 | 21 | 0.027
11/2/2025 | 20 | 78006 | 13334 | -10847 | 21024 | 5707 | -4642 | 0.274 | 870 | 50 | 0.057
11/2/2025 | 21 | 75359 | 13054 | -10554 | 21063 | 5587 | -4517 | 0.284 | 678 | 11 | 0.016
11/2/2025 | 22 | 72874 | 12853 | -10379 | 21228 | 5501 | -4443 | 0.296 | 711 | 37 | 0.052
11/2/2025 | 23 | 68737 | 13069 | -10731 | 21238 | 5593 | -4593 | 0.313 | 693 | 65 | 0.094
11/2/2025 | 24 | 65415 | 13249 | -10970 | 21231 | 5671 | -4696 | 0.328 | 608 | 81 | 0.133
11/2/2025 | 25 | 62718 | 13257 | -10909 | 17627 | 5674 | -4669 | 0.286 | 1531 | 432 | 0.282
11/3/2025 | 1 | 63424 | 12174 | -10188 | 21354 | 5210 | -4361 | 0.339 | 1092 | 168 | 0.154
11/3/2025 | 2 | 61844 | 12282 | -10162 | 21075 | 5256 | -4350 | 0.344 | 399 | 13 | 0.033
11/3/2025 | 3 | 61185 | 12096 | -10042 | 20800 | 5177 | -4298 | 0.343 | 351 | 29 | 0.083
11/3/2025 | 4 | 62014 | 11496 | -9791 | 21063 | 4920 | -4191 | 0.342 | 216 | 0 | 0
11/3/2025 | 5 | 64542 | 11293 | -9864 | 21540 | 4834 | -4222 | 0.336 | 285 | 2 | 0.007
11/3/2025 | 6 | 69322 | 11928 | -10663 | 21641 | 5105 | -4564 | 0.314 | 170 | 0 | 0
11/3/2025 | 7 | 74460 | 9997 | -8908 | 21450 | 4279 | -3813 | 0.29 | 461 | 25 | 0.054
11/3/2025 | 8 | 77070 | 8994 | -8167 | 19459 | 3849 | -3495 | 0.254 | 933 | 187 | 0.2
11/3/2025 | 9 | 76289 | 8428 | -7381 | 16987 | 3607 | -3159 | 0.225 | 366 | 40 | 0.109
11/3/2025 | 10 | 75272 | 8498 | -7237 | 16769 | 3637 | -3097 | 0.226 | 19 | 0 | 0
11/3/2025 | 11 | 73316 | 8359 | -6956 | 16527 | 3578 | -2978 | 0.229 | 0 | 0 | 0
11/3/2025 | 12 | 73047 | 8479 | -7116 | 16915 | 3629 | -3046 | 0.235 | 0 | 0 | 0
11/3/2025 | 13 | 74855 | 8535 | -7421 | 17079 | 3653 | -3176 | 0.231 | 0 | 0 | 0
11/3/2025 | 14 | 77239 | 8298 | -7329 | 17327 | 3552 | -3137 | 0.227 | 0 | 0 | 0
11/3/2025 | 15 | 80259 | 8904 | -7799 | 17576 | 3810 | -3338 | 0.222 | 9 | 0 | 0
11/3/2025 | 16 | 83517 | 8961 | -7843 | 20415 | 3835 | -3357 | 0.247 | 336 | 11 | 0.033
11/3/2025 | 17 | 86473 | 9536 | -8350 | 22624 | 4082 | -3574 | 0.264 | 903 | 136 | 0.151
11/3/2025 | 18 | 88272 | 10338 | -8940 | 22797 | 4425 | -3826 | 0.261 | 571 | 19 | 0.033
11/3/2025 | 19 | 86157 | 10504 | -9089 | 22767 | 4496 | -3890 | 0.267 | 513 | 37 | 0.072
11/3/2025 | 20 | 83735 | 10288 | -8786 | 22635 | 4403 | -3760 | 0.273 | 1092 | 198 | 0.181
11/3/2025 | 21 | 80531 | 9877 | -8218 | 22280 | 4227 | -3517 | 0.28 | 1000 | 209 | 0.209
11/3/2025 | 22 | 76815 | 9514 | -7958 | 21649 | 4072 | -3406 | 0.285 | 1212 | 328 | 0.271
11/3/2025 | 23 | 72599 | 11576 | -10164 | 21626 | 4954 | -4350 | 0.3 | 565 | 94 | 0.166
11/3/2025 | 24 | 68993 | 11406 | -10102 | 21116 | 4882 | -4324 | 0.308 | 420 | 58 | 0.138
11/4/2025 | 1 | 67288 | 11000 | -10124 | 20797 | 4708 | -4333 | 0.311 | 434 | 77 | 0.177
11/4/2025 | 2 | 65662 | 10817 | -10043 | 20612 | 4629 | -4298 | 0.315 | 582 | 143 | 0.246
11/4/2025 | 3 | 64589 | 10800 | -9913 | 20259 | 4622 | -4242 | 0.315 | 901 | 247 | 0.274
11/4/2025 | 4 | 64654 | 10391 | -9639 | 20058 | 4447 | -4126 | 0.312 | 522 | 124 | 0.238
11/4/2025 | 5 | 67309 | 10263 | -9837 | 20393 | 4393 | -4210 | 0.304 | 655 | 119 | 0.182
11/4/2025 | 6 | 72078 | 10090 | -9709 | 21210 | 4319 | -4155 | 0.295 | 351 | 16 | 0.046
11/4/2025 | 7 | 76732 | 9792 | -9318 | 20492 | 4191 | -3988 | 0.268 | 800 | 143 | 0.179
11/4/2025 | 8 | 78401 | 9373 | -9003 | 16933 | 4012 | -3853 | 0.217 | 810 | 148 | 0.183
11/4/2025 | 9 | 76641 | 9122 | -8630 | 15212 | 3904 | -3694 | 0.2 | 89 | 0 | 0
11/4/2025 | 10 | 74291 | 9238 | -8667 | 14696 | 3954 | -3709 | 0.2 | 0 | 0 | 0
11/4/2025 | 11 | 73356 | 9638 | -9116 | 14794 | 4125 | -3902 | 0.203 | 0 | 0 | 0
11/4/2025 | 12 | 73636 | 9654 | -9199 | 14727 | 4132 | -3938 | 0.201 | 35 | 0 | 0
11/4/2025 | 13 | 74921 | 9863 | -9479 | 15044 | 4221 | -4057 | 0.202 | 110 | 0 | 0
11/4/2025 | 14 | 76966 | 10018 | -9765 | 15140 | 4288 | -4179 | 0.197 | 24 | 0 | 0
11/4/2025 | 15 | 80336 | 10221 | -10030 | 16009 | 4374 | -4293 | 0.2 | 0 | 0 | 0
11/4/2025 | 16 | 84515 | 10997 | -11259 | 19314 | 4707 | -4819 | 0.228 | 404 | 34 | 0.084
11/4/2025 | 17 | 87758 | 11958 | -12058 | 22214 | 5118 | -5161 | 0.253 | 1081 | 406 | 0.376
11/4/2025 | 18 | 89352 | 11966 | -11748 | 22810 | 5122 | -5028 | 0.256 | 1047 | 279 | 0.266
11/4/2025 | 19 | 87156 | 11863 | -11400 | 22744 | 5077 | -4879 | 0.262 | 976 | 150 | 0.154
11/4/2025 | 20 | 84660 | 12115 | -11594 | 22898 | 5185 | -4962 | 0.271 | 862 | 105 | 0.122
11/4/2025 | 21 | 81631 | 10871 | -10487 | 23044 | 4653 | -4488 | 0.283 | 860 | 96 | 0.112
11/4/2025 | 22 | 77391 | 10707 | -9935 | 22824 | 4582 | -4252 | 0.296 | 948 | 166 | 0.175
11/4/2025 | 23 | 72652 | 11676 | -10632 | 22199 | 4998 | -4550 | 0.307 | 504 | 69 | 0.137
11/4/2025 | 24 | 69088 | 11138 | -10457 | 21579 | 4767 | -4476 | 0.313 | 444 | 67 | 0.151
11/5/2025 | 1 | 66687 | 11967 | -11084 | 21363 | 5122 | -4744 | 0.322 | 190 | 1 | 0.005
11/5/2025 | 2 | 64577 | 12121 | -11057 | 21358 | 5188 | -4732 | 0.332 | 177 | 0 | 0
11/5/2025 | 3 | 63069 | 11962 | -10916 | 21124 | 5120 | -4672 | 0.336 | 225 | 0 | 0
11/5/2025 | 4 | 63157 | 11323 | -10370 | 21204 | 4846 | -4438 | 0.337 | 251 | 0 | 0
11/5/2025 | 5 | 65055 | 11338 | -10355 | 21236 | 4853 | -4432 | 0.328 | 154 | 0 | 0
11/5/2025 | 6 | 69986 | 11799 | -10858 | 21909 | 5050 | -4648 | 0.315 | 114 | 0 | 0
11/5/2025 | 7 | 74900 | 10615 | -9812 | 20962 | 4543 | -4199 | 0.281 | 296 | 2 | 0.007
11/5/2025 | 8 | 77104 | 11152 | -10218 | 18417 | 4773 | -4373 | 0.241 | 412 | 37 | 0.09
11/5/2025 | 9 | 76897 | 10566 | -9704 | 17416 | 4522 | -4153 | 0.229 | 292 | 3 | 0.01
11/5/2025 | 10 | 76365 | 10480 | -9606 | 17382 | 4486 | -4111 | 0.23 | 359 | 11 | 0.031
11/5/2025 | 11 | 76765 | 10328 | -9453 | 17674 | 4421 | -4046 | 0.232 | 196 | 0 | 0
11/5/2025 | 12 | 76752 | 10410 | -9551 | 17701 | 4456 | -4088 | 0.233 | 275 | 4 | 0.015
11/5/2025 | 13 | 77546 | 10622 | -9936 | 17185 | 4546 | -4252 | 0.223 | 321 | 20 | 0.062
11/5/2025 | 14 | 79632 | 10558 | -9738 | 17948 | 4518 | -4168 | 0.227 | 279 | 3 | 0.011
11/5/2025 | 15 | 81616 | 10763 | -9924 | 19072 | 4606 | -4247 | 0.236 | 131 | 1 | 0.008
11/5/2025 | 16 | 82819 | 10507 | -9636 | 20727 | 4497 | -4124 | 0.252 | 458 | 21 | 0.046
11/5/2025 | 17 | 84867 | 11289 | -9995 | 21725 | 4832 | -4278 | 0.259 | 590 | 25 | 0.042
11/5/2025 | 18 | 85874 | 11930 | -10573 | 21664 | 5106 | -4525 | 0.255 | 733 | 81 | 0.111
11/5/2025 | 19 | 85232 | 11991 | -10644 | 21133 | 5132 | -4556 | 0.251 | 904 | 118 | 0.131
11/5/2025 | 20 | 82752 | 12119 | -10340 | 21156 | 5187 | -4425 | 0.259 | 1399 | 332 | 0.237
11/5/2025 | 21 | 80100 | 12414 | -10527 | 20782 | 5313 | -4506 | 0.263 | 1035 | 142 | 0.137
11/5/2025 | 22 | 76829 | 11912 | -10202 | 20095 | 5098 | -4366 | 0.265 | 1087 | 260 | 0.239
11/5/2025 | 23 | 72238 | 12855 | -11183 | 19432 | 5502 | -4786 | 0.273 | 1026 | 235 | 0.229
11/5/2025 | 24 | 68288 | 12900 | -11107 | 19157 | 5521 | -4754 | 0.284 | 1021 | 258 | 0.253
11/6/2025 | 1 | 66286 | 13182 | -11683 | 18494 | 5642 | -5000 | 0.282 | 993 | 251 | 0.253
11/6/2025 | 2 | 64451 | 12634 | -11292 | 18034 | 5407 | -4833 | 0.283 | 988 | 195 | 0.197
11/6/2025 | 3 | 63433 | 12677 | -11319 | 17903 | 5426 | -4845 | 0.285 | 655 | 86 | 0.131
11/6/2025 | 4 | 63473 | 12526 | -11270 | 18130 | 5362 | -4823 | 0.288 | 389 | 55 | 0.141
11/6/2025 | 5 | 65545 | 12266 | -11063 | 18263 | 5250 | -4735 | 0.281 | 494 | 51 | 0.103
11/6/2025 | 6 | 69980 | 13011 | -11656 | 18834 | 5568 | -4989 | 0.272 | 633 | 25 | 0.039
11/6/2025 | 7 | 74518 | 12408 | -10754 | 18466 | 5311 | -4603 | 0.252 | 774 | 68 | 0.088
11/6/2025 | 8 | 75738 | 11838 | -10255 | 16153 | 5067 | -4389 | 0.218 | 220 | 7 | 0.032
11/6/2025 | 9 | 74607 | 11382 | -10105 | 14302 | 4872 | -4325 | 0.196 | 0 | 0 | 0
11/6/2025 | 10 | 73992 | 11384 | -10276 | 13973 | 4872 | -4398 | 0.192 | 0 | 0 | 0
11/6/2025 | 11 | 73175 | 11288 | -10064 | 13529 | 4832 | -4308 | 0.189 | 0 | 0 | 0
11/6/2025 | 12 | 73063 | 11013 | -9885 | 13473 | 4714 | -4231 | 0.188 | 0 | 0 | 0
11/6/2025 | 13 | 73618 | 11030 | -9967 | 13478 | 4721 | -4266 | 0.187 | 0 | 0 | 0
11/6/2025 | 14 | 75374 | 11297 | -10028 | 13806 | 4835 | -4292 | 0.187 | 0 | 0 | 0
11/6/2025 | 15 | 77556 | 11019 | -9589 | 14400 | 4716 | -4104 | 0.19 | 0 | 0 | 0
11/6/2025 | 16 | 81912 | 11085 | -10017 | 17052 | 4744 | -4287 | 0.211 | 0 | 0 | 0
11/6/2025 | 17 | 84686 | 11600 | -10432 | 19629 | 4965 | -4465 | 0.234 | 677 | 8 | 0.012
11/6/2025 | 18 | 86923 | 12753 | -11254 | 20625 | 5458 | -4817 | 0.241 | 582 | 0 | 0
11/6/2025 | 19 | 85102 | 12645 | -11261 | 20551 | 5412 | -4820 | 0.244 | 614 | 0 | 0
11/6/2025 | 20 | 82839 | 12701 | -11144 | 20263 | 5436 | -4770 | 0.248 | 685 | 2 | 0.003
11/6/2025 | 21 | 80031 | 12872 | -11191 | 20255 | 5509 | -4790 | 0.257 | 897 | 55 | 0.061
11/6/2025 | 22 | 76496 | 12600 | -10998 | 19557 | 5393 | -4707 | 0.259 | 1014 | 181 | 0.179
11/6/2025 | 23 | 73120 | 13330 | -11961 | 19150 | 5705 | -5120 | 0.265 | 766 | 184 | 0.24
11/6/2025 | 24 | 69510 | 13060 | -11811 | 18599 | 5590 | -5055 | 0.27 | 905 | 264 | 0.292
11/7/2025 | 1 | 67023 | 13529 | -12025 | 18313 | 5791 | -5147 | 0.277 | 598 | 123 | 0.206
11/7/2025 | 2 | 65307 | 13243 | -11928 | 18048 | 5668 | -5106 | 0.279 | 686 | 149 | 0.217
11/7/2025 | 3 | 64222 | 13003 | -11753 | 18112 | 5565 | -5030 | 0.285 | 584 | 87 | 0.149
11/7/2025 | 4 | 64159 | 12773 | -11386 | 18324 | 5467 | -4873 | 0.289 | 823 | 148 | 0.18
11/7/2025 | 5 | 66110 | 12262 | -11023 | 19161 | 5248 | -4718 | 0.292 | 464 | 31 | 0.067
11/7/2025 | 6 | 70334 | 12408 | -11050 | 20295 | 5311 | -4730 | 0.291 | 647 | 69 | 0.107
11/7/2025 | 7 | 74833 | 12405 | -10830 | 20378 | 5309 | -4636 | 0.276 | 1340 | 284 | 0.212
11/7/2025 | 8 | 76277 | 12442 | -10940 | 17264 | 5325 | -4683 | 0.23 | 466 | 79 | 0.17
11/7/2025 | 9 | 75584 | 12101 | -10891 | 15418 | 5179 | -4661 | 0.208 | 0 | 0 | 0
11/7/2025 | 10 | 73673 | 12072 | -10894 | 14934 | 5167 | -4663 | 0.206 | 0 | 0 | 0
11/7/2025 | 11 | 73017 | 11828 | -10812 | 14540 | 5063 | -4627 | 0.202 | 0 | 0 | 0
11/7/2025 | 12 | 73108 | 11689 | -11194 | 14746 | 5003 | -4791 | 0.203 | 0 | 0 | 0
11/7/2025 | 13 | 74311 | 11464 | -11195 | 14830 | 4906 | -4791 | 0.2 | 0 | 0 | 0
11/7/2025 | 14 | 75195 | 11279 | -10760 | 14594 | 4828 | -4606 | 0.196 | 26 | 0 | 0
11/7/2025 | 15 | 78052 | 10705 | -10349 | 14894 | 4582 | -4429 | 0.192 | 130 | 8 | 0.062
11/7/2025 | 16 | 82262 | 11008 | -10824 | 17584 | 4712 | -4633 | 0.214 | 444 | 3 | 0.007
11/7/2025 | 17 | 85465 | 11122 | -11078 | 21087 | 4760 | -4742 | 0.247 | 1284 | 126 | 0.098
11/7/2025 | 18 | 86400 | 12051 | -11509 | 21528 | 5158 | -4926 | 0.25 | 1240 | 108 | 0.087
11/7/2025 | 19 | 83862 | 12221 | -11134 | 21547 | 5231 | -4766 | 0.259 | 1887 | 370 | 0.196
11/7/2025 | 20 | 80974 | 12387 | -10719 | 21072 | 5302 | -4587 | 0.264 | 1812 | 385 | 0.212
11/7/2025 | 21 | 78425 | 11936 | -10119 | 21023 | 5108 | -4331 | 0.272 | 1218 | 178 | 0.146
11/7/2025 | 22 | 76105 | 11483 | -9634 | 21038 | 4914 | -4124 | 0.28 | 1269 | 244 | 0.192
11/7/2025 | 23 | 72534 | 11923 | -10016 | 20958 | 5103 | -4287 | 0.293 | 784 | 134 | 0.171
11/7/2025 | 24 | 69222 | 11841 | -9935 | 20814 | 5068 | -4252 | 0.304 | 756 | 134 | 0.177
11/8/2025 | 1 | 67635 | 11636 | -9862 | 20837 | 4980 | -4221 | 0.311 | 886 | 194 | 0.219
11/8/2025 | 2 | 65980 | 11684 | -9968 | 21084 | 5001 | -4266 | 0.322 | 647 | 103 | 0.159
11/8/2025 | 3 | 64764 | 11676 | -9917 | 20985 | 4997 | -4244 | 0.327 | 384 | 1 | 0.003
11/8/2025 | 4 | 64436 | 11708 | -9916 | 20892 | 5011 | -4244 | 0.327 | 503 | 46 | 0.091
11/8/2025 | 5 | 65413 | 11530 | -9947 | 20848 | 4935 | -4257 | 0.321 | 640 | 105 | 0.164
11/8/2025 | 6 | 67382 | 11742 | -10122 | 20823 | 5026 | -4332 | 0.312 | 416 | 3 | 0.007
11/8/2025 | 7 | 69877 | 12128 | -10595 | 20265 | 5191 | -4535 | 0.293 | 703 | 108 | 0.154
11/8/2025 | 8 | 70885 | 11331 | -10340 | 16684 | 4850 | -4425 | 0.238 | 134 | 12 | 0.09
11/8/2025 | 9 | 70795 | 10864 | -10089 | 14443 | 4650 | -4318 | 0.206 | 0 | 0 | 0
11/8/2025 | 10 | 69611 | 10610 | -9779 | 14261 | 4541 | -4186 | 0.207 | 0 | 0 | 0
11/8/2025 | 11 | 68393 | 10631 | -9853 | 13650 | 4550 | -4217 | 0.202 | 0 | 0 | 0
11/8/2025 | 12 | 68179 | 10459 | -9748 | 13526 | 4476 | -4172 | 0.201 | 0 | 0 | 0
11/8/2025 | 13 | 68777 | 10597 | -9994 | 13707 | 4536 | -4277 | 0.201 | 0 | 0 | 0
11/8/2025 | 14 | 70628 | 10176 | -9665 | 14712 | 4355 | -4137 | 0.21 | 0 | 0 | 0
11/8/2025 | 15 | 73230 | 9867 | -9251 | 15310 | 4223 | -3959 | 0.211 | 0 | 0 | 0
11/8/2025 | 16 | 76707 | 11328 | -10311 | 18076 | 4848 | -4413 | 0.238 | 17 | 0 | 0
11/8/2025 | 17 | 80547 | 11732 | -10181 | 20985 | 5021 | -4357 | 0.264 | 714 | 0 | 0
11/8/2025 | 18 | 81806 | 12877 | -10916 | 21478 | 5511 | -4672 | 0.266 | 942 | 0 | 0
11/8/2025 | 19 | 80055 | 12741 | -10735 | 21453 | 5453 | -4594 | 0.272 | 892 | 4 | 0.004
11/8/2025 | 20 | 77941 | 12543 | -10357 | 21714 | 5368 | -4432 | 0.283 | 656 | 4 | 0.006
11/8/2025 | 21 | 76305 | 11693 | -10036 | 22127 | 5005 | -4295 | 0.293 | 609 | 0 | 0
11/8/2025 | 22 | 74224 | 11084 | -9427 | 22451 | 4744 | -4035 | 0.305 | 425 | 1 | 0.002
11/8/2025 | 23 | 70849 | 11686 | -9899 | 22467 | 5002 | -4236 | 0.32 | 418 | 7 | 0.017
11/8/2025 | 24 | 67619 | 11508 | -9647 | 22018 | 4925 | -4129 | 0.328 | 432 | 18 | 0.042
11/9/2025 | 1 | 65530 | 11890 | -10072 | 22087 | 5089 | -4310 | 0.34 | 352 | 0 | 0
11/9/2025 | 2 | 63382 | 12358 | -10132 | 21746 | 5290 | -4336 | 0.346 | 355 | 0 | 0
11/9/2025 | 3 | 62520 | 11932 | -9916 | 21418 | 5107 | -4244 | 0.345 | 209 | 0 | 0
11/9/2025 | 4 | 62406 | 11472 | -9656 | 21463 | 4910 | -4133 | 0.346 | 146 | 0 | 0
11/9/2025 | 5 | 62834 | 11461 | -9588 | 21144 | 4906 | -4104 | 0.339 | 377 | 0 | 0
11/9/2025 | 6 | 64386 | 11664 | -9584 | 21050 | 4992 | -4102 | 0.33 | 444 | 7 | 0.016
11/9/2025 | 7 | 65885 | 11982 | -9924 | 20547 | 5129 | -4247 | 0.315 | 779 | 42 | 0.054
11/9/2025 | 8 | 67227 | 11531 | -9987 | 16978 | 4935 | -4274 | 0.256 | 97 | 0 | 0
11/9/2025 | 9 | 67491 | 11922 | -10583 | 14643 | 5103 | -4529 | 0.221 | 0 | 0 | 0
11/9/2025 | 10 | 67064 | 11717 | -10350 | 14311 | 5015 | -4430 | 0.218 | 0 | 0 | 0
11/9/2025 | 11 | 66034 | 11672 | -10242 | 13994 | 4996 | -4384 | 0.217 | 0 | 0 | 0
11/9/2025 | 12 | 66285 | 11919 | -10575 | 14313 | 5102 | -4526 | 0.22 | 0 | 0 | 0
11/9/2025 | 13 | 67811 | 11673 | -10416 | 14745 | 4996 | -4458 | 0.221 | 0 | 0 | 0
11/9/2025 | 14 | 70279 | 11706 | -10503 | 14659 | 5010 | -4495 | 0.212 | 0 | 0 | 0
11/9/2025 | 15 | 73825 | 11356 | -10188 | 15440 | 4860 | -4361 | 0.213 | 0 | 0 | 0
11/9/2025 | 16 | 78235 | 11827 | -10423 | 19361 | 5062 | -4461 | 0.251 | 48 | 0 | 0
11/9/2025 | 17 | 82500 | 12969 | -11492 | 22576 | 5551 | -4919 | 0.276 | 750 | 0 | 0
11/9/2025 | 18 | 83493 | 13669 | -11981 | 23598 | 5851 | -5128 | 0.286 | 915 | 0 | 0
11/9/2025 | 19 | 81816 | 13296 | -11616 | 23562 | 5691 | -4971 | 0.291 | 858 | 0 | 0
11/9/2025 | 20 | 79494 | 12907 | -10966 | 23502 | 5524 | -4694 | 0.299 | 825 | 14 | 0.017
11/9/2025 | 21 | 77469 | 12664 | -10766 | 23224 | 5420 | -4608 | 0.303 | 1101 | 152 | 0.138
11/9/2025 | 22 | 73526 | 12115 | -9895 | 22684 | 5185 | -4235 | 0.312 | 1139 | 166 | 0.146
11/9/2025 | 23 | 69651 | 12502 | -10252 | 22057 | 5351 | -4388 | 0.32 | 1118 | 148 | 0.132
11/9/2025 | 24 | 66104 | 12336 | -10088 | 21560 | 5280 | -4318 | 0.33 | 562 | 10 | 0.018
11/10/2025 | 1 | 64202 | 12328 | -10004 | 20776 | 5276 | -4282 | 0.327 | 640 | 124 | 0.194
11/10/2025 | 2 | 62609 | 12412 | -10152 | 20154 | 5312 | -4345 | 0.326 | 426 | 48 | 0.113
11/10/2025 | 3 | 61698 | 12315 | -10111 | 20138 | 5271 | -4328 | 0.33 | 393 | 29 | 0.074
11/10/2025 | 4 | 62203 | 11803 | -9930 | 20218 | 5051 | -4250 | 0.328 | 323 | 9 | 0.028
11/10/2025 | 5 | 64607 | 11916 | -10263 | 20552 | 5100 | -4393 | 0.321 | 386 | 22 | 0.057
11/10/2025 | 6 | 69610 | 12245 | -10895 | 21302 | 5241 | -4663 | 0.308 | 604 | 0 | 0
11/10/2025 | 7 | 73751 | 13422 | -11531 | 21667 | 5744 | -4935 | 0.297 | 574 | 25 | 0.044
11/10/2025 | 8 | 75330 | 12808 | -11124 | 18520 | 5482 | -4761 | 0.25 | 608 | 84 | 0.138
11/10/2025 | 9 | 75304 | 12242 | -10742 | 16326 | 5239 | -4597 | 0.221 | 53 | 0 | 0
11/10/2025 | 10 | 74507 | 11757 | -10224 | 15811 | 5032 | -4376 | 0.217 | 0 | 0 | 0
11/10/2025 | 11 | 74941 | 12167 | -10818 | 16804 | 5208 | -4630 | 0.228 | 0 | 0 | 0
11/10/2025 | 12 | 75234 | 12300 | -10876 | 16565 | 5264 | -4655 | 0.224 | 0 | 0 | 0
11/10/2025 | 13 | 76611 | 12454 | -10989 | 16738 | 5330 | -4703 | 0.222 | 0 | 0 | 0
11/10/2025 | 14 | 78624 | 12415 | -11101 | 16508 | 5314 | -4751 | 0.214 | 0 | 0 | 0
11/10/2025 | 15 | 81689 | 11648 | -10444 | 17171 | 4985 | -4470 | 0.213 | 0 | 0 | 0
11/10/2025 | 16 | 84891 | 11956 | -10697 | 20583 | 5117 | -4578 | 0.245 | 580 | 4 | 0.007
11/10/2025 | 17 | 87149 | 13390 | -11747 | 23038 | 5731 | -5028 | 0.267 | 681 | 0 | 0
11/10/2025 | 18 | 87973 | 14859 | -12774 | 23256 | 6360 | -5468 | 0.268 | 816 | 2 | 0.002
11/10/2025 | 19 | 86090 | 14579 | -12562 | 22800 | 6240 | -5377 | 0.269 | 943 | 77 | 0.082
11/10/2025 | 20 | 83131 | 14849 | -12682 | 22504 | 6355 | -5428 | 0.275 | 1363 | 247 | 0.181
11/10/2025 | 21 | 80073 | 14454 | -11960 | 21925 | 6186 | -5119 | 0.278 | 1160 | 184 | 0.159
11/10/2025 | 22 | 76476 | 14558 | -11824 | 21402 | 6231 | -5061 | 0.285 | 561 | 74 | 0.132
11/10/2025 | 23 | 72400 | 14697 | -12212 | 21222 | 6290 | -5227 | 0.298 | 294 | 0 | 0
11/10/2025 | 24 | 69067 | 14217 | -11969 | 21015 | 6085 | -5123 | 0.308 | 331 | 1 | 0.003
11/11/2025 | 1 | 66482 | 14268 | -11909 | 20303 | 6106 | -5097 | 0.31 | 659 | 91 | 0.138
11/11/2025 | 2 | 64321 | 14389 | -11884 | 19785 | 6158 | -5086 | 0.312 | 456 | 48 | 0.105
11/11/2025 | 3 | 63124 | 13934 | -11467 | 19242 | 5964 | -4908 | 0.309 | 491 | 53 | 0.108
11/11/2025 | 4 | 63110 | 13657 | -11188 | 18867 | 5846 | -4788 | 0.304 | 397 | 18 | 0.045
11/11/2025 | 5 | 65004 | 13828 | -11328 | 19554 | 5918 | -4848 | 0.306 | 450 | 6 | 0.013
11/11/2025 | 6 | 69301 | 13941 | -11536 | 20224 | 5967 | -4937 | 0.296 | 371 | 0 | 0
11/11/2025 | 7 | 73675 | 12669 | -10613 | 20161 | 5422 | -4542 | 0.278 | 460 | 0 | 0
11/11/2025 | 8 | 74575 | 11602 | -9964 | 18438 | 4966 | -4264 | 0.251 | 546 | 33 | 0.06
11/11/2025 | 9 | 74774 | 11268 | -9744 | 17246 | 4822 | -4170 | 0.235 | 301 | 4 | 0.013
11/11/2025 | 10 | 74212 | 11340 | -9383 | 16967 | 4853 | -4016 | 0.234 | 335 | 0 | 0
11/11/2025 | 11 | 74182 | 11817 | -9872 | 17527 | 5058 | -4225 | 0.241 | 70 | 0 | 0
11/11/2025 | 12 | 74046 | 11543 | -9835 | 17430 | 4940 | -4210 | 0.24 | 122 | 0 | 0
11/11/2025 | 13 | 75465 | 12032 | -10433 | 17806 | 5150 | -4465 | 0.24 | 276 | 3 | 0.011
11/11/2025 | 14 | 77519 | 11349 | -9982 | 18466 | 4857 | -4272 | 0.242 | 853 | 206 | 0.242
11/11/2025 | 15 | 79770 | 11566 | -10261 | 19710 | 4950 | -4392 | 0.25 | 946 | 131 | 0.138
11/11/2025 | 16 | 83025 | 11756 | -11236 | 23122 | 5031 | -4809 | 0.279 | 496 | 28 | 0.056
11/11/2025 | 17 | 85308 | 12050 | -11477 | 24734 | 5157 | -4912 | 0.291 | 649 | 16 | 0.025
11/11/2025 | 18 | 86757 | 12215 | -11578 | 24893 | 5228 | -4955 | 0.288 | 635 | 1 | 0.002
11/11/2025 | 19 | 84862 | 12007 | -11107 | 24381 | 5139 | -4754 | 0.289 | 846 | 69 | 0.082
11/11/2025 | 20 | 82529 | 12121 | -10852 | 24296 | 5188 | -4644 | 0.296 | 1394 | 194 | 0.139
11/11/2025 | 21 | 80044 | 12454 | -11091 | 24178 | 5330 | -4747 | 0.304 | 1511 | 331 | 0.219
11/11/2025 | 22 | 76383 | 11687 | -10334 | 24095 | 5002 | -4423 | 0.317 | 1595 | 408 | 0.256
11/11/2025 | 23 | 72344 | 12529 | -10941 | 24006 | 5362 | -4683 | 0.334 | 1451 | 374 | 0.258
11/11/2025 | 24 | 68568 | 12374 | -10576 | 23438 | 5296 | -4526 | 0.344 | 1020 | 232 | 0.227
11/12/2025 | 1 | 66378 | 12161 | -10529 | 22821 | 5205 | -4506 | 0.346 | 1049 | 214 | 0.204
11/12/2025 | 2 | 64409 | 12303 | -10691 | 22655 | 5266 | -4576 | 0.354 | 556 | 45 | 0.081
11/12/2025 | 3 | 63157 | 12255 | -10616 | 22666 | 5245 | -4544 | 0.361 | 510 | 62 | 0.122
11/12/2025 | 4 | 63593 | 11819 | -10443 | 22629 | 5058 | -4470 | 0.357 | 599 | 76 | 0.127
11/12/2025 | 5 | 66346 | 11957 | -11065 | 23058 | 5118 | -4736 | 0.349 | 455 | 27 | 0.059
11/12/2025 | 6 | 71104 | 12317 | -11509 | 23248 | 5272 | -4926 | 0.328 | 855 | 84 | 0.098
11/12/2025 | 7 | 75609 | 12172 | -11078 | 23306 | 5210 | -4742 | 0.31 | 1244 | 292 | 0.235
11/12/2025 | 8 | 78414 | 11223 | -10074 | 22292 | 4804 | -4312 | 0.286 | 3148 | 1046 | 0.332
11/12/2025 | 9 | 78928 | 11002 | -9416 | 21749 | 4709 | -4030 | 0.279 | 2348 | 773 | 0.329
11/12/2025 | 10 | 77876 | 10907 | -9093 | 20972 | 4668 | -3892 | 0.273 | 1602 | 444 | 0.277
11/12/2025 | 11 | 75745 | 10906 | -8952 | 20924 | 4668 | -3832 | 0.28 | 1072 | 276 | 0.257
11/12/2025 | 12 | 75954 | 10790 | -8939 | 20808 | 4618 | -3826 | 0.278 | 778 | 153 | 0.197
11/12/2025 | 13 | 76844 | 10284 | -8458 | 21223 | 4401 | -3620 | 0.28 | 740 | 206 | 0.278
11/12/2025 | 14 | 79500 | 10830 | -9293 | 21696 | 4635 | -3977 | 0.276 | 1574 | 606 | 0.385
11/12/2025 | 15 | 81319 | 10669 | -9348 | 22637 | 4566 | -4001 | 0.281 | 1152 | 476 | 0.413
11/12/2025 | 16 | 82297 | 11758 | -10653 | 24308 | 5032 | -4559 | 0.297 | 945 | 247 | 0.261
11/12/2025 | 17 | 84740 | 11916 | -10948 | 24388 | 5100 | -4685 | 0.289 | 942 | 191 | 0.203
11/12/2025 | 18 | 86529 | 12981 | -11452 | 24764 | 5556 | -4901 | 0.289 | 882 | 154 | 0.175
11/12/2025 | 19 | 84609 | 12905 | -11005 | 24662 | 5523 | -4710 | 0.294 | 1087 | 151 | 0.139
11/12/2025 | 20 | 82343 | 12909 | -10705 | 24874 | 5525 | -4582 | 0.305 | 1203 | 293 | 0.244
11/12/2025 | 21 | 79365 | 12782 | -10337 | 24690 | 5471 | -4425 | 0.315 | 924 | 131 | 0.142
11/12/2025 | 22 | 75154 | 13271 | -10490 | 24314 | 5680 | -4490 | 0.327 | 895 | 180 | 0.201
11/12/2025 | 23 | 71255 | 14151 | -11600 | 23696 | 6057 | -4965 | 0.336 | 517 | 115 | 0.222
11/12/2025 | 24 | 66938 | 13835 | -11122 | 22869 | 5921 | -4760 | 0.345 | 267 | 19 | 0.071
11/13/2025 | 1 | 64564 | 13176 | -10496 | 21836 | 5639 | -4492 | 0.342 | 257 | 23 | 0.089
11/13/2025 | 2 | 62800 | 13446 | -10745 | 21221 | 5755 | -4598 | 0.342 | 643 | 168 | 0.261
11/13/2025 | 3 | 61412 | 13068 | -10390 | 20654 | 5593 | -4447 | 0.34 | 366 | 31 | 0.085
11/13/2025 | 4 | 61244 | 13076 | -10452 | 20466 | 5596 | -4473 | 0.338 | 297 | 0 | 0
11/13/2025 | 5 | 63778 | 12974 | -10682 | 20529 | 5553 | -4572 | 0.326 | 288 | 0 | 0
11/13/2025 | 6 | 68295 | 13319 | -11116 | 21400 | 5701 | -4758 | 0.317 | 389 | 0 | 0
11/13/2025 | 7 | 73188 | 12130 | -9812 | 21474 | 5191 | -4199 | 0.298 | 545 | 0 | 0
11/13/2025 | 8 | 75603 | 12351 | -10463 | 19405 | 5286 | -4478 | 0.261 | 446 | 2 | 0.004
11/13/2025 | 9 | 75370 | 11952 | -9861 | 17449 | 5116 | -4221 | 0.237 | 98 | 0 | 0
11/13/2025 | 10 | 75968 | 11570 | -9335 | 17296 | 4952 | -3995 | 0.233 | 139 | 0 | 0
11/13/2025 | 11 | 75803 | 11900 | -9880 | 16634 | 5093 | -4228 | 0.225 | 270 | 1 | 0.004
11/13/2025 | 12 | 76118 | 11672 | -9793 | 16601 | 4996 | -4191 | 0.223 | 181 | 0 | 0
11/13/2025 | 13 | 76782 | 11188 | -9698 | 16202 | 4788 | -4151 | 0.215 | 0 | 0 | 0
11/13/2025 | 14 | 78366 | 11892 | -10084 | 16125 | 5089 | -4316 | 0.211 | 0 | 0 | 0
11/13/2025 | 15 | 80080 | 12232 | -10934 | 17195 | 5235 | -4680 | 0.218 | 0 | 0 | 0
11/13/2025 | 16 | 82208 | 13077 | -11898 | 19774 | 5597 | -5092 | 0.243 | 281 | 0 | 0
11/13/2025 | 17 | 83327 | 13754 | -12459 | 22079 | 5887 | -5332 | 0.267 | 628 | 0 | 0
11/13/2025 | 18 | 84456 | 14274 | -12613 | 22157 | 6110 | -5398 | 0.266 | 824 | 32 | 0.039
11/13/2025 | 19 | 83294 | 13516 | -11671 | 22176 | 5785 | -4995 | 0.27 | 976 | 84 | 0.086
11/13/2025 | 20 | 81099 | 13590 | -11435 | 21659 | 5816 | -4894 | 0.271 | 1003 | 70 | 0.07
11/13/2025 | 21 | 79270 | 13362 | -11326 | 21168 | 5719 | -4847 | 0.271 | 946 | 97 | 0.103
11/13/2025 | 22 | 76181 | 13115 | -11154 | 20588 | 5613 | -4774 | 0.274 | 666 | 87 | 0.131
11/13/2025 | 23 | 71817 | 14035 | -11696 | 20421 | 6007 | -5006 | 0.289 | 559 | 81 | 0.145
11/13/2025 | 24 | 67936 | 13814 | -11654 | 19778 | 5912 | -4988 | 0.295 | 418 | 54 | 0.129
11/14/2025 | 1 | 65507 | 13936 | -11633 | 19738 | 5965 | -4979 | 0.306 | 591 | 111 | 0.188
11/14/2025 | 2 | 63490 | 14609 | -12256 | 19100 | 6253 | -5246 | 0.305 | 993 | 237 | 0.239
11/14/2025 | 3 | 62107 | 14510 | -12052 | 19024 | 6210 | -5158 | 0.311 | 1342 | 309 | 0.23
11/14/2025 | 4 | 62008 | 14099 | -11694 | 19149 | 6034 | -5005 | 0.313 | 1123 | 194 | 0.173
11/14/2025 | 5 | 64090 | 14010 | -12071 | 19379 | 5996 | -5166 | 0.306 | 565 | 58 | 0.103
11/14/2025 | 6 | 68233 | 14288 | -12273 | 19782 | 6115 | -5253 | 0.294 | 439 | 3 | 0.007
11/14/2025 | 7 | 73427 | 13161 | -11374 | 20042 | 5633 | -4868 | 0.277 | 852 | 53 | 0.062
11/14/2025 | 8 | 76369 | 13466 | -11837 | 19553 | 5764 | -5066 | 0.26 | 1273 | 228 | 0.179
11/14/2025 | 9 | 77148 | 12976 | -11317 | 19362 | 5554 | -4844 | 0.255 | 1367 | 244 | 0.178
11/14/2025 | 10 | 77550 | 12917 | -11244 | 19524 | 5528 | -4813 | 0.255 | 1512 | 280 | 0.185
11/14/2025 | 11 | 78036 | 13069 | -11477 | 19540 | 5593 | -4912 | 0.254 | 660 | 135 | 0.205
11/14/2025 | 12 | 77864 | 13264 | -11777 | 18992 | 5677 | -5040 | 0.247 | 499 | 68 | 0.136
11/14/2025 | 13 | 78403 | 13248 | -11992 | 18947 | 5670 | -5133 | 0.245 | 360 | 21 | 0.058
11/14/2025 | 14 | 79136 | 13119 | -12124 | 18898 | 5615 | -5189 | 0.241 | 426 | 31 | 0.073
11/14/2025 | 15 | 80176 | 13418 | -12548 | 19096 | 5743 | -5370 | 0.24 | 571 | 93 | 0.163
11/14/2025 | 16 | 82337 | 13626 | -13263 | 20318 | 5832 | -5677 | 0.248 | 587 | 40 | 0.068
11/14/2025 | 17 | 84800 | 13561 | -13425 | 21547 | 5804 | -5746 | 0.254 | 798 | 98 | 0.123
11/14/2025 | 18 | 85730 | 13994 | -13325 | 21313 | 5989 | -5703 | 0.25 | 975 | 160 | 0.164
11/14/2025 | 19 | 83473 | 14196 | -13229 | 21257 | 6076 | -5662 | 0.257 | 1343 | 295 | 0.22
11/14/2025 | 20 | 80984 | 14054 | -12248 | 21350 | 6015 | -5242 | 0.267 | 1373 | 300 | 0.218
11/14/2025 | 21 | 78608 | 14121 | -12028 | 21181 | 6044 | -5148 | 0.274 | 1331 | 320 | 0.24
11/14/2025 | 22 | 75280 | 14292 | -11968 | 20796 | 6117 | -5122 | 0.281 | 1124 | 252 | 0.224
11/14/2025 | 23 | 71725 | 14862 | -12716 | 20603 | 6361 | -5442 | 0.291 | 793 | 170 | 0.214
11/14/2025 | 24 | 68422 | 14472 | -12662 | 19906 | 6194 | -5419 | 0.294 | 913 | 229 | 0.251
11/15/2025 | 1 | 66181 | 15500 | -13492 | 19612 | 6634 | -5775 | 0.3 | 1048 | 301 | 0.287
11/15/2025 | 2 | 63923 | 15506 | -13591 | 19621 | 6637 | -5817 | 0.31 | 489 | 98 | 0.2
11/15/2025 | 3 | 62359 | 15580 | -13642 | 19048 | 6668 | -5839 | 0.309 | 445 | 88 | 0.198
11/15/2025 | 4 | 61740 | 15856 | -13918 | 18759 | 6787 | -5957 | 0.308 | 179 | 0 | 0
11/15/2025 | 5 | 62352 | 15595 | -13854 | 18526 | 6675 | -5930 | 0.301 | 255 | 3 | 0.012
11/15/2025 | 6 | 63798 | 15383 | -13476 | 18662 | 6584 | -5768 | 0.296 | 163 | 0 | 0
11/15/2025 | 7 | 66318 | 14668 | -12809 | 18868 | 6278 | -5482 | 0.288 | 577 | 55 | 0.095
11/15/2025 | 8 | 68373 | 14453 | -12864 | 18295 | 6186 | -5506 | 0.271 | 452 | 7 | 0.015
11/15/2025 | 9 | 70145 | 13801 | -12199 | 18198 | 5906 | -5221 | 0.263 | 798 | 141 | 0.177
11/15/2025 | 10 | 71220 | 13368 | -11498 | 17790 | 5722 | -4921 | 0.254 | 735 | 133 | 0.181
11/15/2025 | 11 | 72494 | 13431 | -11562 | 17947 | 5748 | -4948 | 0.252 | 1129 | 321 | 0.284
11/15/2025 | 12 | 72894 | 13920 | -11843 | 18425 | 5958 | -5069 | 0.258 | 996 | 267 | 0.268
11/15/2025 | 13 | 72615 | 13890 | -11648 | 19139 | 5945 | -4985 | 0.268 | 944 | 130 | 0.138
11/15/2025 | 14 | 72833 | 14154 | -11909 | 19844 | 6058 | -5097 | 0.277 | 1240 | 147 | 0.119
11/15/2025 | 15 | 73020 | 14807 | -12663 | 20186 | 6337 | -5420 | 0.281 | 919 | 172 | 0.187
11/15/2025 | 16 | 74832 | 14616 | -12623 | 20876 | 6255 | -5403 | 0.283 | 837 | 42 | 0.05
11/15/2025 | 17 | 76726 | 15055 | -13131 | 21163 | 6444 | -5620 | 0.28 | 790 | 48 | 0.061
11/15/2025 | 18 | 78282 | 14889 | -13119 | 21646 | 6373 | -5615 | 0.28 | 941 | 29 | 0.031
11/15/2025 | 19 | 76474 | 14617 | -12447 | 21803 | 6256 | -5328 | 0.289 | 827 | 5 | 0.006
11/15/2025 | 20 | 74871 | 13705 | -11382 | 22113 | 5866 | -4872 | 0.299 | 858 | 20 | 0.023
11/15/2025 | 21 | 73440 | 13525 | -10862 | 22304 | 5788 | -4649 | 0.308 | 822 | 37 | 0.045
11/15/2025 | 22 | 71375 | 13952 | -11398 | 22248 | 5971 | -4878 | 0.316 | 546 | 2 | 0.004
11/15/2025 | 23 | 68619 | 14266 | -11790 | 21819 | 6106 | -5046 | 0.322 | 103 | 0 | 0
11/15/2025 | 24 | 65561 | 14148 | -11817 | 21194 | 6055 | -5058 | 0.327 | 131 | 0 | 0
11/16/2025 | 1 | 63785 | 14005 | -11703 | 20270 | 5994 | -5009 | 0.322 | 417 | 0 | 0
11/16/2025 | 2 | 61926 | 13984 | -11797 | 19710 | 5985 | -5049 | 0.322 | 440 | 0 | 0
11/16/2025 | 3 | 60638 | 14002 | -11872 | 19352 | 5993 | -5081 | 0.323 | 466 | 0 | 0
11/16/2025 | 4 | 59946 | 14061 | -11796 | 19125 | 6018 | -5049 | 0.323 | 392 | 0 | 0
11/16/2025 | 5 | 60936 | 13988 | -11893 | 19426 | 5987 | -5090 | 0.322 | 288 | 0 | 0
11/16/2025 | 6 | 62191 | 14115 | -11828 | 19715 | 6041 | -5062 | 0.321 | 125 | 0 | 0
11/16/2025 | 7 | 63834 | 13979 | -11655 | 19780 | 5983 | -4988 | 0.314 | 86 | 0 | 0
11/16/2025 | 8 | 65560 | 13434 | -11276 | 19248 | 5750 | -4826 | 0.298 | 0 | 0 | 0
11/16/2025 | 9 | 67649 | 13219 | -11028 | 18793 | 5658 | -4720 | 0.283 | 0 | 0 | 0
11/16/2025 | 10 | 68242 | 13145 | -10818 | 18463 | 5626 | -4630 | 0.276 | 11 | 0 | 0
11/16/2025 | 11 | 68567 | 13520 | -10859 | 18101 | 5786 | -4648 | 0.27 | 506 | 0 | 0
11/16/2025 | 12 | 69000 | 13473 | -10881 | 17881 | 5767 | -4657 | 0.265 | 130 | 0 | 0
11/16/2025 | 13 | 70335 | 13561 | -11079 | 17780 | 5804 | -4742 | 0.259 | 30 | 0 | 0
11/16/2025 | 14 | 71558 | 13182 | -10855 | 18380 | 5642 | -4646 | 0.262 | 169 | 0 | 0
11/16/2025 | 15 | 73075 | 13120 | -10968 | 18840 | 5615 | -4694 | 0.263 | 0 | 0 | 0
11/16/2025 | 16 | 75344 | 12983 | -11128 | 19791 | 5557 | -4763 | 0.267 | 35 | 0 | 0
11/16/2025 | 17 | 78020 | 13082 | -10984 | 20490 | 5599 | -4701 | 0.267 | 288 | 0 | 0
11/16/2025 | 18 | 80749 | 14109 | -11954 | 21074 | 6039 | -5116 | 0.265 | 320 | 0 | 0
11/16/2025 | 19 | 79415 | 14474 | -12116 | 21214 | 6195 | -5186 | 0.272 | 469 | 0 | 0
11/16/2025 | 20 | 77027 | 14714 | -11920 | 21103 | 6298 | -5102 | 0.279 | 438 | 0 | 0
11/16/2025 | 21 | 74866 | 14645 | -11589 | 20893 | 6268 | -4960 | 0.285 | 767 | 24 | 0.031
11/16/2025 | 22 | 71925 | 14368 | -11571 | 20441 | 6149 | -4952 | 0.29 | 891 | 72 | 0.081
11/16/2025 | 23 | 68135 | 14524 | -11776 | 25248 | 6216 | -5040 | 0.373 | 671 | 63 | 0.094
11/16/2025 | 24 | 64711 | 14835 | -11964 | 26835 | 6350 | -5121 | 0.415 | 497 | 76 | 0.153
11/17/2025 | 1 | 63048 | 14366 | -12013 | 22182 | 6149 | -5141 | 0.355 | 593 | 71 | 0.12
11/17/2025 | 2 | 61532 | 14410 | -12226 | 19241 | 6167 | -5233 | 0.317 | 1026 | 272 | 0.265
11/17/2025 | 3 | 61043 | 14427 | -12255 | 18820 | 6174 | -5245 | 0.312 | 634 | 153 | 0.241
11/17/2025 | 4 | 61413 | 14092 | -11998 | 18570 | 6031 | -5135 | 0.307 | 401 | 50 | 0.125
11/17/2025 | 5 | 63761 | 14013 | -12153 | 19189 | 5998 | -5201 | 0.305 | 365 | 1 | 0.003
11/17/2025 | 6 | 68874 | 13850 | -12318 | 20239 | 5928 | -5272 | 0.297 | 347 | 0 | 0
11/17/2025 | 7 | 74290 | 12380 | -11015 | 20017 | 5299 | -4714 | 0.272 | 764 | 11 | 0.014
11/17/2025 | 8 | 76308 | 12008 | -10684 | 19384 | 5140 | -4573 | 0.257 | 870 | 30 | 0.034
11/17/2025 | 9 | 76544 | 11986 | -10478 | 18497 | 5130 | -4484 | 0.245 | 680 | 0 | 0
11/17/2025 | 10 | 75843 | 11868 | -10596 | 17655 | 5080 | -4535 | 0.236 | 0 | 0 | 0
11/17/2025 | 11 | 75489 | 11985 | -10548 | 17717 | 5130 | -4514 | 0.238 | 0 | 0 | 0
11/17/2025 | 12 | 75857 | 11872 | -10395 | 17384 | 5081 | -4449 | 0.233 | 187 | 0 | 0
11/17/2025 | 13 | 76045 | 11553 | -10062 | 17562 | 4945 | -4307 | 0.235 | 102 | 0 | 0
11/17/2025 | 14 | 77292 | 11895 | -10364 | 18183 | 5091 | -4436 | 0.239 | 22 | 0 | 0
11/17/2025 | 15 | 78835 | 12067 | -10796 | 19674 | 5165 | -4621 | 0.252 | 117 | 0 | 0
11/17/2025 | 16 | 81416 | 12416 | -11358 | 21115 | 5314 | -4861 | 0.262 | 427 | 0 | 0
11/17/2025 | 17 | 83638 | 12170 | -11020 | 21687 | 5209 | -4716 | 0.262 | 714 | 55 | 0.077
11/17/2025 | 18 | 85764 | 13300 | -11801 | 21840 | 5692 | -5051 | 0.258 | 1040 | 239 | 0.23
11/17/2025 | 19 | 84516 | 14195 | -12406 | 21660 | 6076 | -5310 | 0.26 | 1122 | 255 | 0.227
11/17/2025 | 20 | 82155 | 14615 | -12365 | 21480 | 6255 | -5292 | 0.266 | 851 | 151 | 0.177
11/17/2025 | 21 | 80103 | 14391 | -12157 | 21558 | 6160 | -5203 | 0.273 | 1211 | 260 | 0.215
11/17/2025 | 22 | 76638 | 14268 | -11916 | 21226 | 6107 | -5100 | 0.281 | 1305 | 282 | 0.216
11/17/2025 | 23 | 72220 | 16054 | -13876 | 20307 | 6871 | -5939 | 0.285 | 1207 | 272 | 0.225
11/17/2025 | 24 | 68085 | 17471 | -14614 | 19075 | 7478 | -6255 | 0.286 | 609 | 42 | 0.069
11/18/2025 | 1 | 66401 | 15468 | -13135 | 19816 | 6620 | -5622 | 0.303 | 586 | 101 | 0.172
11/18/2025 | 2 | 64542 | 14861 | -12579 | 19751 | 6361 | -5384 | 0.31 | 710 | 156 | 0.22
11/18/2025 | 3 | 63588 | 14537 | -12194 | 19825 | 6222 | -5219 | 0.316 | 902 | 239 | 0.265
11/18/2025 | 4 | 63998 | 14294 | -12032 | 20107 | 6118 | -5150 | 0.318 | 564 | 102 | 0.181
11/18/2025 | 5 | 66872 | 13257 | -11659 | 20564 | 5674 | -4990 | 0.31 | 466 | 13 | 0.028
11/18/2025 | 6 | 72147 | 13399 | -12208 | 21306 | 5735 | -5225 | 0.297 | 679 | 36 | 0.053
11/18/2025 | 7 | 78342 | 12688 | -11798 | 21781 | 5430 | -5050 | 0.28 | 664 | 54 | 0.081
11/18/2025 | 8 | 80818 | 12100 | -11383 | 21816 | 5178 | -4872 | 0.271 | 841 | 178 | 0.212
11/18/2025 | 9 | 79500 | 11219 | -10530 | 20553 | 4802 | -4507 | 0.26 | 497 | 8 | 0.016
11/18/2025 | 10 | 76935 | 10358 | -9389 | 19510 | 4433 | -4018 | 0.256 | 381 | 0 | 0
11/18/2025 | 11 | 75566 | 10738 | -9727 | 18844 | 4595 | -4163 | 0.252 | 302 | 0 | 0
11/18/2025 | 12 | 74401 | 11184 | -9849 | 18587 | 4786 | -4216 | 0.253 | 0 | 0 | 0
11/18/2025 | 13 | 74371 | 10958 | -9604 | 18609 | 4690 | -4110 | 0.253 | 0 | 0 | 0
11/18/2025 | 14 | 75132 | 11137 | -9930 | 18736 | 4767 | -4250 | 0.252 | 0 | 0 | 0
11/18/2025 | 15 | 76052 | 11140 | -10041 | 18632 | 4768 | -4298 | 0.248 | 0 | 0 | 0
11/18/2025 | 16 | 78806 | 11458 | -10638 | 20776 | 4904 | -4553 | 0.265 | 405 | 0 | 0
11/18/2025 | 17 | 83199 | 11606 | -10445 | 22705 | 4968 | -4471 | 0.275 | 715 | 12 | 0.017
11/18/2025 | 18 | 85568 | 12613 | -10723 | 23341 | 5398 | -4590 | 0.276 | 1204 | 64 | 0.053
11/18/2025 | 19 | 84554 | 12846 | -10618 | 23240 | 5498 | -4544 | 0.279 | 795 | 10 | 0.013
11/18/2025 | 20 | 83377 | 13242 | -10855 | 23169 | 5668 | -4646 | 0.282 | 1021 | 39 | 0.038
11/18/2025 | 21 | 80756 | 13270 | -10487 | 22780 | 5680 | -4488 | 0.287 | 841 | 36 | 0.043
11/18/2025 | 22 | 77601 | 12728 | -9784 | 22184 | 5448 | -4187 | 0.291 | 712 | 58 | 0.081
11/18/2025 | 23 | 72984 | 14029 | -10581 | 21932 | 6004 | -4529 | 0.306 | 438 | 3 | 0.007
11/18/2025 | 24 | 69089 | 13766 | -10406 | 21591 | 5892 | -4454 | 0.318 | 299 | 0 | 0
11/19/2025 | 1 | 67100 | 15202 | -11547 | 21529 | 6506 | -4943 | 0.326 | 363 | 15 | 0.041
11/19/2025 | 2 | 65363 | 15171 | -11406 | 21364 | 6493 | -4882 | 0.332 | 184 | 0 | 0
11/19/2025 | 3 | 64773 | 14623 | -11253 | 21308 | 6259 | -4816 | 0.334 | 156 | 0 | 0
11/19/2025 | 4 | 65253 | 14384 | -11508 | 21551 | 6156 | -4926 | 0.334 | 200 | 0 | 0
11/19/2025 | 5 | 68318 | 13023 | -10948 | 21940 | 5574 | -4686 | 0.324 | 306 | 2 | 0.007
11/19/2025 | 6 | 73911 | 12327 | -10969 | 22658 | 5276 | -4695 | 0.309 | 525 | 23 | 0.044
11/19/2025 | 7 | 79830 | 10428 | -9394 | 22661 | 4463 | -4021 | 0.286 | 1100 | 162 | 0.147
11/19/2025 | 8 | 82757 | 10061 | -9170 | 22306 | 4306 | -3925 | 0.271 | 833 | 87 | 0.104
11/19/2025 | 9 | 81146 | 9736 | -8810 | 20135 | 4167 | -3771 | 0.25 | 0 | 0 | 0
11/19/2025 | 10 | 79032 | 9194 | -8167 | 19248 | 3935 | -3496 | 0.246 | 0 | 0 | 0
11/19/2025 | 11 | 76624 | 9659 | -8564 | 18896 | 4134 | -3665 | 0.249 | 0 | 0 | 0
11/19/2025 | 12 | 75047 | 10088 | -9128 | 18087 | 4318 | -3907 | 0.243 | 0 | 0 | 0
11/19/2025 | 13 | 75660 | 9908 | -9218 | 18249 | 4240 | -3946 | 0.243 | 0 | 0 | 0
11/19/2025 | 14 | 75189 | 10403 | -9448 | 18658 | 4453 | -4044 | 0.25 | 421 | 8 | 0.019
11/19/2025 | 15 | 76686 | 10838 | -10378 | 19322 | 4639 | -4441 | 0.253 | 173 | 0 | 0
11/19/2025 | 16 | 79377 | 11306 | -11069 | 20968 | 4839 | -4738 | 0.265 | 151 | 0 | 0
11/19/2025 | 17 | 84099 | 11962 | -11407 | 22351 | 5120 | -4882 | 0.267 | 774 | 22 | 0.028
11/19/2025 | 18 | 86817 | 12525 | -11780 | 22815 | 5361 | -5042 | 0.264 | 824 | 0 | 0
11/19/2025 | 19 | 85851 | 12215 | -11454 | 22875 | 5228 | -4902 | 0.268 | 983 | 0 | 0
11/19/2025 | 20 | 84201 | 12005 | -10750 | 22906 | 5138 | -4601 | 0.274 | 916 | 0 | 0
11/19/2025 | 21 | 81507 | 12254 | -10710 | 22810 | 5245 | -4584 | 0.283 | 910 | 43 | 0.047
11/19/2025 | 22 | 78017 | 12159 | -10256 | 22656 | 5204 | -4390 | 0.294 | 1002 | 110 | 0.11
11/19/2025 | 23 | 73116 | 13991 | -11572 | 22554 | 5988 | -4953 | 0.312 | 542 | 18 | 0.033
11/19/2025 | 24 | 69907 | 13796 | -11430 | 22681 | 5905 | -4892 | 0.328 | 476 | 0 | 0
11/20/2025 | 1 | 67419 | 13140 | -10668 | 22189 | 5624 | -4566 | 0.333 | 489 | 24 | 0.049
11/20/2025 | 2 | 65246 | 13085 | -10462 | 21825 | 5600 | -4477 | 0.338 | 267 | 0 | 0
11/20/2025 | 3 | 63637 | 12868 | -9952 | 21587 | 5508 | -4259 | 0.343 | 145 | 0 | 0
11/20/2025 | 4 | 63957 | 12712 | -10051 | 21517 | 5441 | -4302 | 0.34 | 166 | 0 | 0
11/20/2025 | 5 | 66820 | 12733 | -10620 | 22007 | 5450 | -4545 | 0.332 | 19 | 0 | 0
11/20/2025 | 6 | 72017 | 12612 | -10630 | 22654 | 5398 | -4550 | 0.318 | 0 | 0 | 0
11/20/2025 | 7 | 78035 | 11417 | -9387 | 22943 | 4887 | -4018 | 0.297 | 95 | 0 | 0
11/20/2025 | 8 | 80505 | 11364 | -9325 | 22235 | 4864 | -3991 | 0.28 | 115 | 0 | 0
11/20/2025 | 9 | 80351 | 11326 | -9272 | 21179 | 4847 | -3969 | 0.268 | 34 | 0 | 0
11/20/2025 | 10 | 78640 | 10743 | -8735 | 20452 | 4598 | -3738 | 0.264 | 96 | 0 | 0
11/20/2025 | 11 | 77015 | 10720 | -8728 | 19926 | 4588 | -3736 | 0.263 | 730 | 72 | 0.099
11/20/2025 | 12 | 76828 | 11222 | -9226 | 19939 | 4803 | -3949 | 0.264 | 1321 | 304 | 0.23
11/20/2025 | 13 | 76973 | 11196 | -9234 | 19822 | 4792 | -3952 | 0.262 | 1152 | 282 | 0.245
11/20/2025 | 14 | 76911 | 11139 | -9295 | 19531 | 4768 | -3978 | 0.258 | 1229 | 281 | 0.229
11/20/2025 | 15 | 77568 | 12070 | -10228 | 19906 | 5166 | -4377 | 0.261 | 746 | 78 | 0.105
11/20/2025 | 16 | 79565 | 13253 | -11525 | 21471 | 5673 | -4933 | 0.273 | 741 | 84 | 0.113
11/20/2025 | 17 | 83796 | 13476 | -12089 | 22824 | 5768 | -5174 | 0.275 | 637 | 5 | 0.008
11/20/2025 | 18 | 86159 | 14367 | -13006 | 23061 | 6149 | -5567 | 0.27 | 782 | 0 | 0
11/20/2025 | 19 | 85230 | 14313 | -12653 | 23434 | 6126 | -5416 | 0.278 | 674 | 2 | 0.003
11/20/2025 | 20 | 84103 | 14013 | -11930 | 23525 | 5998 | -5106 | 0.283 | 983 | 93 | 0.095
11/20/2025 | 21 | 82362 | 14296 | -11953 | 23498 | 6119 | -5116 | 0.289 | 878 | 44 | 0.05
11/20/2025 | 22 | 79114 | 13863 | -11439 | 23338 | 5933 | -4896 | 0.299 | 722 | 83 | 0.115
11/20/2025 | 23 | 74839 | 14139 | -11802 | 23115 | 6051 | -5051 | 0.312 | 280 | 0 | 0
11/20/2025 | 24 | 71158 | 14288 | -12072 | 22563 | 6115 | -5167 | 0.32 | 122 | 0 | 0
11/21/2025 | 1 | 68677 | 14097 | -11530 | 21816 | 6034 | -4935 | 0.322 | 206 | 0 | 0
11/21/2025 | 2 | 66531 | 14160 | -11644 | 21238 | 6060 | -4984 | 0.323 | 185 | 0 | 0
11/21/2025 | 3 | 65946 | 14068 | -11632 | 20976 | 6021 | -4978 | 0.322 | 130 | 0 | 0
11/21/2025 | 4 | 66036 | 13984 | -11359 | 20826 | 5985 | -4862 | 0.32 | 127 | 0 | 0
11/21/2025 | 5 | 68290 | 13256 | -10766 | 21101 | 5674 | -4608 | 0.313 | 62 | 0 | 0
11/21/2025 | 6 | 73066 | 13759 | -11541 | 21614 | 5889 | -4939 | 0.3 | 0 | 0 | 0
11/21/2025 | 7 | 79390 | 11772 | -10041 | 22133 | 5038 | -4298 | 0.282 | 128 | 0 | 0
11/21/2025 | 8 | 82158 | 12465 | -10475 | 22250 | 5335 | -4483 | 0.275 | 184 | 0 | 0
11/21/2025 | 9 | 81265 | 12328 | -10300 | 21847 | 5276 | -4408 | 0.273 | 609 | 0 | 0
11/21/2025 | 10 | 79321 | 11763 | -9891 | 21544 | 5035 | -4233 | 0.275 | 820 | 56 | 0.068
11/21/2025 | 11 | 77228 | 11500 | -9417 | 20998 | 4922 | -4031 | 0.276 | 1064 | 155 | 0.146
11/21/2025 | 12 | 73904 | 11918 | -9676 | 20431 | 5101 | -4141 | 0.281 | 780 | 135 | 0.173
11/21/2025 | 13 | 72656 | 12268 | -9762 | 20255 | 5251 | -4178 | 0.284 | 251 | 0 | 0
11/21/2025 | 14 | 72691 | 12378 | -9701 | 20367 | 5298 | -4152 | 0.285 | 367 | 1 | 0.003
11/21/2025 | 15 | 73682 | 12425 | -9767 | 20240 | 5318 | -4180 | 0.28 | 534 | 36 | 0.067
11/21/2025 | 16 | 77217 | 13005 | -10394 | 21706 | 5566 | -4449 | 0.286 | 1102 | 182 | 0.165
11/21/2025 | 17 | 81650 | 13853 | -11460 | 22815 | 5929 | -4905 | 0.284 | 922 | 83 | 0.09
11/21/2025 | 18 | 83764 | 14715 | -12051 | 22764 | 6298 | -5158 | 0.277 | 726 | 38 | 0.052
11/21/2025 | 19 | 82306 | 14825 | -12081 | 22709 | 6345 | -5171 | 0.281 | 851 | 98 | 0.115
11/21/2025 | 20 | 80792 | 14134 | -11083 | 22370 | 6049 | -4744 | 0.282 | 1687 | 352 | 0.209
11/21/2025 | 21 | 78920 | 14022 | -10766 | 22044 | 6002 | -4608 | 0.285 | 1909 | 407 | 0.213
11/21/2025 | 22 | 76659 | 14097 | -11016 | 21983 | 6034 | -4715 | 0.292 | 1776 | 422 | 0.238
11/21/2025 | 23 | 73205 | 14695 | -11553 | 21520 | 6290 | -4944 | 0.3 | 798 | 134 | 0.168
11/21/2025 | 24 | 69648 | 14548 | -11303 | 21205 | 6227 | -4838 | 0.31 | 563 | 93 | 0.165
11/22/2025 | 1 | 67076 | 14570 | -11116 | 20848 | 6236 | -4758 | 0.317 | 513 | 71 | 0.138
11/22/2025 | 2 | 65001 | 14593 | -11074 | 20451 | 6246 | -4740 | 0.32 | 427 | 65 | 0.152
11/22/2025 | 3 | 63676 | 14139 | -10730 | 20069 | 6051 | -4592 | 0.321 | 145 | 3 | 0.021
11/22/2025 | 4 | 63248 | 13935 | -10642 | 20128 | 5965 | -4554 | 0.324 | 127 | 0 | 0
11/22/2025 | 5 | 64186 | 13284 | -10160 | 20801 | 5686 | -4348 | 0.329 | 245 | 0 | 0
11/22/2025 | 6 | 66667 | 12729 | -9929 | 21294 | 5448 | -4249 | 0.324 | 436 | 0 | 0
11/22/2025 | 7 | 69467 | 12746 | -10134 | 21300 | 5456 | -4337 | 0.311 | 483 | 0 | 0
11/22/2025 | 8 | 71390 | 13032 | -10418 | 20797 | 5578 | -4459 | 0.296 | 680 | 62 | 0.091
11/22/2025 | 9 | 71565 | 12663 | -9714 | 19635 | 5420 | -4157 | 0.28 | 1108 | 207 | 0.187
11/22/2025 | 10 | 70726 | 11681 | -8767 | 18950 | 5000 | -3752 | 0.274 | 455 | 12 | 0.026
11/22/2025 | 11 | 69987 | 11527 | -8685 | 18876 | 4934 | -3717 | 0.276 | 577 | 66 | 0.114
11/22/2025 | 12 | 69710 | 11695 | -8852 | 19088 | 5005 | -3789 | 0.28 | 539 | 52 | 0.096
11/22/2025 | 13 | 69005 | 11792 | -9064 | 19005 | 5047 | -3879 | 0.281 | 409 | 8 | 0.02
11/22/2025 | 14 | 69854 | 11534 | -8988 | 18973 | 4937 | -3847 | 0.277 | 452 | 14 | 0.031
11/22/2025 | 15 | 71115 | 11732 | -9362 | 19277 | 5021 | -4007 | 0.276 | 582 | 82 | 0.141
11/22/2025 | 16 | 74191 | 12085 | -9930 | 20648 | 5172 | -4250 | 0.283 | 506 | 2 | 0.004
11/22/2025 | 17 | 77961 | 13044 | -10840 | 21562 | 5582 | -4640 | 0.281 | 799 | 63 | 0.079
11/22/2025 | 18 | 79813 | 14117 | -11619 | 21362 | 6042 | -4973 | 0.273 | 812 | 49 | 0.06
11/22/2025 | 19 | 78671 | 15339 | -12675 | 21343 | 6565 | -5424 | 0.276 | 1219 | 161 | 0.132
11/22/2025 | 20 | 77552 | 15622 | -12755 | 21119 | 6686 | -5459 | 0.278 | 1422 | 254 | 0.179
11/22/2025 | 21 | 75676 | 15194 | -12218 | 20796 | 6503 | -5229 | 0.281 | 1842 | 404 | 0.219
11/22/2025 | 22 | 73655 | 14958 | -12151 | 20320 | 6402 | -5201 | 0.281 | 1496 | 360 | 0.241
11/22/2025 | 23 | 70239 | 14947 | -12105 | 19646 | 6397 | -5181 | 0.285 | 557 | 99 | 0.178
11/22/2025 | 24 | 67228 | 15294 | -12508 | 19029 | 6546 | -5354 | 0.289 | 971 | 232 | 0.239
11/23/2025 | 1 | 65247 | 14901 | -12133 | 19835 | 6377 | -5193 | 0.309 | 294 | 7 | 0.024
11/23/2025 | 2 | 63076 | 15134 | -12146 | 18355 | 6477 | -5198 | 0.297 | 414 | 28 | 0.068
11/23/2025 | 3 | 61837 | 15215 | -12138 | 18218 | 6512 | -5195 | 0.301 | 371 | 9 | 0.024
11/23/2025 | 4 | 61528 | 14915 | -11613 | 18852 | 6384 | -4970 | 0.313 | 386 | 0 | 0
11/23/2025 | 5 | 62279 | 13847 | -10789 | 19040 | 5927 | -4618 | 0.311 | 396 | 1 | 0.003
11/23/2025 | 6 | 63852 | 14294 | -11159 | 19534 | 6118 | -4776 | 0.312 | 374 | 0 | 0
11/23/2025 | 7 | 66660 | 13584 | -10716 | 19697 | 5814 | -4586 | 0.301 | 508 | 15 | 0.03
11/23/2025 | 8 | 68668 | 12178 | -9804 | 18258 | 5212 | -4196 | 0.271 | 9 | 0 | 0
11/23/2025 | 9 | 69047 | 12476 | -10612 | 15663 | 5340 | -4542 | 0.232 | 0 | 0 | 0
11/23/2025 | 10 | 69468 | 12004 | -10369 | 15358 | 5138 | -4438 | 0.226 | 0 | 0 | 0
11/23/2025 | 11 | 68206 | 11709 | -10198 | 15195 | 5012 | -4365 | 0.227 | 0 | 0 | 0
11/23/2025 | 12 | 67596 | 11420 | -10107 | 15272 | 4888 | -4326 | 0.23 | 0 | 0 | 0
11/23/2025 | 13 | 67910 | 11734 | -11036 | 15056 | 5022 | -4723 | 0.224 | 0 | 0 | 0
11/23/2025 | 14 | 68686 | 11476 | -10823 | 14936 | 4912 | -4632 | 0.219 | 0 | 0 | 0
11/23/2025 | 15 | 70761 | 11799 | -11663 | 15638 | 5050 | -4992 | 0.221 | 0 | 0 | 0
11/23/2025 | 16 | 74511 | 11561 | -11515 | 17886 | 4948 | -4928 | 0.24 | 0 | 0 | 0
11/23/2025 | 17 | 80308 | 12783 | -13018 | 20349 | 5471 | -5572 | 0.253 | 133 | 0 | 0
11/23/2025 | 18 | 83178 | 13988 | -13816 | 20937 | 5987 | -5913 | 0.252 | 393 | 0 | 0
11/23/2025 | 19 | 81784 | 14186 | -13669 | 20969 | 6072 | -5851 | 0.257 | 313 | 0 | 0
11/23/2025 | 20 | 80965 | 14092 | -13232 | 21104 | 6032 | -5664 | 0.262 | 577 | 0 | 0
11/23/2025 | 21 | 78721 | 14068 | -12872 | 21379 | 6021 | -5509 | 0.274 | 675 | 13 | 0.019
11/23/2025 | 22 | 75696 | 13686 | -12212 | 21498 | 5858 | -5226 | 0.287 | 1213 | 124 | 0.102
11/23/2025 | 23 | 72536 | 14574 | -12963 | 21003 | 6238 | -5548 | 0.293 | 1254 | 241 | 0.192
11/23/2025 | 24 | 69032 | 15465 | -13748 | 20386 | 6619 | -5884 | 0.299 | 674 | 162 | 0.24
11/24/2025 | 1 | 67099 | 15009 | -13534 | 19730 | 6424 | -5793 | 0.297 | 657 | 134 | 0.204
11/24/2025 | 2 | 65581 | 15318 | -13852 | 18850 | 6556 | -5928 | 0.291 | 431 | 46 | 0.107
11/24/2025 | 3 | 65079 | 15566 | -14117 | 18716 | 6663 | -6042 | 0.291 | 333 | 8 | 0.024
11/24/2025 | 4 | 65728 | 15496 | -14012 | 18935 | 6632 | -5998 | 0.291 | 374 | 20 | 0.053
11/24/2025 | 5 | 69190 | 15212 | -13946 | 19631 | 6511 | -5969 | 0.286 | 423 | 2 | 0.005
11/24/2025 | 6 | 73995 | 15382 | -14253 | 20262 | 6583 | -6100 | 0.276 | 499 | 0 | 0
11/24/2025 | 7 | 79580 | 14395 | -13488 | 20928 | 6161 | -5773 | 0.265 | 680 | 15 | 0.022
11/24/2025 | 8 | 81568 | 13531 | -12849 | 19337 | 5791 | -5499 | 0.239 | 471 | 3 | 0.006
11/24/2025 | 9 | 80638 | 12008 | -11440 | 16500 | 5139 | -4896 | 0.206 | 282 | 0 | 0
11/24/2025 | 10 | 79122 | 11241 | -10804 | 15875 | 4811 | -4624 | 0.202 | 398 | 6 | 0.015
11/24/2025 | 11 | 77242 | 11346 | -10976 | 15382 | 4856 | -4697 | 0.2 | 328 | 2 | 0.006
11/24/2025 | 12 | 76182 | 11417 | -11228 | 14961 | 4886 | -4806 | 0.197 | 464 | 74 | 0.159
11/24/2025 | 13 | 75576 | 11728 | -11519 | 14794 | 5020 | -4930 | 0.196 | 464 | 91 | 0.196
11/24/2025 | 14 | 76165 | 12102 | -11681 | 14855 | 5180 | -5000 | 0.196 | 877 | 252 | 0.287
11/24/2025 | 15 | 77907 | 11378 | -11161 | 15332 | 4870 | -4777 | 0.197 | 777 | 289 | 0.372
11/24/2025 | 16 | 80859 | 11429 | -11243 | 17980 | 4892 | -4812 | 0.223 | 628 | 1 | 0.002
11/24/2025 | 17 | 86254 | 12072 | -12038 | 20378 | 5167 | -5152 | 0.236 | 1289 | 138 | 0.107
11/24/2025 | 18 | 88891 | 12559 | -11967 | 20692 | 5375 | -5122 | 0.234 | 1187 | 169 | 0.142
11/24/2025 | 19 | 88229 | 12614 | -11969 | 21042 | 5399 | -5123 | 0.24 | 1051 | 134 | 0.127
11/24/2025 | 20 | 86872 | 12915 | -12123 | 21212 | 5528 | -5189 | 0.246 | 1061 | 143 | 0.135
11/24/2025 | 21 | 84240 | 12336 | -11302 | 21433 | 5280 | -4837 | 0.257 | 869 | 96 | 0.11
11/24/2025 | 22 | 80941 | 12074 | -10699 | 21620 | 5168 | -4579 | 0.27 | 1056 | 229 | 0.217
11/24/2025 | 23 | 76954 | 13592 | -12119 | 21668 | 5817 | -5187 | 0.284 | 705 | 164 | 0.233
11/24/2025 | 24 | 72817 | 13626 | -11904 | 21776 | 5832 | -5095 | 0.302 | 669 | 104 | 0.155
11/25/2025 | 1 | 70623 | 11933 | -10232 | 21894 | 5108 | -4379 | 0.313 | 930 | 234 | 0.252
11/25/2025 | 2 | 68782 | 11766 | -10019 | 21258 | 5036 | -4288 | 0.312 | 504 | 49 | 0.097
11/25/2025 | 3 | 67865 | 11490 | -9851 | 21024 | 4918 | -4216 | 0.313 | 273 | 0 | 0
11/25/2025 | 4 | 68147 | 11518 | -9875 | 21165 | 4930 | -4226 | 0.313 | 338 | 4 | 0.012
11/25/2025 | 5 | 70428 | 11718 | -9911 | 21711 | 5016 | -4242 | 0.311 | 258 | 7 | 0.027
11/25/2025 | 6 | 75743 | 12089 | -10559 | 22269 | 5174 | -4520 | 0.297 | 306 | 0 | 0
11/25/2025 | 7 | 80974 | 11230 | -9611 | 22347 | 4806 | -4113 | 0.279 | 813 | 19 | 0.023
11/25/2025 | 8 | 82468 | 10535 | -9157 | 20712 | 4509 | -3919 | 0.254 | 850 | 49 | 0.058
11/25/2025 | 9 | 81028 | 10059 | -9032 | 17523 | 4305 | -3866 | 0.219 | 803 | 20 | 0.025
11/25/2025 | 10 | 79737 | 10208 | -9093 | 17476 | 4369 | -3892 | 0.222 | 732 | 6 | 0.008
11/25/2025 | 11 | 77886 | 10544 | -8978 | 18178 | 4513 | -3843 | 0.237 | 723 | 0 | 0
11/25/2025 | 12 | 76653 | 10783 | -8738 | 18398 | 4615 | -3740 | 0.245 | 898 | 30 | 0.033
11/25/2025 | 13 | 76109 | 10594 | -8364 | 17941 | 4534 | -3580 | 0.241 | 695 | 155 | 0.223
11/25/2025 | 14 | 76844 | 10479 | -8222 | 17697 | 4485 | -3519 | 0.236 | 875 | 157 | 0.179
11/25/2025 | 15 | 78727 | 10235 | -8319 | 17966 | 4380 | -3561 | 0.233 | 706 | 119 | 0.169
11/25/2025 | 16 | 82492 | 10039 | -8397 | 21176 | 4297 | -3594 | 0.26 | 320 | 23 | 0.072
11/25/2025 | 17 | 87170 | 10657 | -8800 | 23741 | 4561 | -3766 | 0.276 | 454 | 19 | 0.042
11/25/2025 | 18 | 89319 | 11210 | -9527 | 23865 | 4798 | -4077 | 0.27 | 619 | 4 | 0.006
11/25/2025 | 19 | 88375 | 11158 | -9426 | 24214 | 4776 | -4034 | 0.277 | 1098 | 77 | 0.07
11/25/2025 | 20 | 86324 | 11295 | -9522 | 23986 | 4834 | -4075 | 0.281 | 1118 | 98 | 0.088
11/25/2025 | 21 | 83875 | 11672 | -9642 | 23939 | 4996 | -4127 | 0.289 | 1110 | 143 | 0.129
11/25/2025 | 22 | 80984 | 11484 | -9370 | 23623 | 4916 | -4010 | 0.295 | 1075 | 368 | 0.342
11/25/2025 | 23 | 76410 | 12848 | -10472 | 23275 | 5499 | -4482 | 0.308 | 712 | 149 | 0.209
11/25/2025 | 24 | 72345 | 13168 | -10225 | 22864 | 5635 | -4376 | 0.32 | 856 | 207 | 0.242
11/26/2025 | 1 | 69828 | 12134 | -9262 | 22132 | 5194 | -3964 | 0.321 | 1038 | 333 | 0.321
11/26/2025 | 2 | 67899 | 12249 | -9653 | 21588 | 5242 | -4132 | 0.322 | 509 | 128 | 0.251
11/26/2025 | 3 | 66752 | 12150 | -9682 | 21326 | 5200 | -4144 | 0.323 | 452 | 106 | 0.235
11/26/2025 | 4 | 66816 | 12191 | -9814 | 21251 | 5218 | -4200 | 0.322 | 442 | 87 | 0.197
11/26/2025 | 5 | 68983 | 12294 | -10027 | 21940 | 5262 | -4291 | 0.322 | 295 | 38 | 0.129
11/26/2025 | 6 | 73357 | 12592 | -10219 | 22174 | 5390 | -4374 | 0.306 | 609 | 0 | 0
11/26/2025 | 7 | 78089 | 12251 | -10083 | 22075 | 5244 | -4316 | 0.287 | 789 | 10 | 0.013
11/26/2025 | 8 | 80013 | 11218 | -9456 | 20277 | 4801 | -4047 | 0.257 | 584 | 5 | 0.009
11/26/2025 | 9 | 80357 | 10734 | -9246 | 17914 | 4594 | -3957 | 0.227 | 483 | 0 | 0
11/26/2025 | 10 | 79002 | 10532 | -9354 | 17228 | 4508 | -4004 | 0.221 | 449 | 0 | 0
11/26/2025 | 11 | 77542 | 10580 | -9386 | 17070 | 4528 | -4018 | 0.223 | 220 | 0 | 0
11/26/2025 | 12 | 76795 | 10527 | -9465 | 16755 | 4506 | -4051 | 0.221 | 140 | 0 | 0
11/26/2025 | 13 | 76854 | 10333 | -9558 | 16290 | 4423 | -4091 | 0.214 | 381 | 0 | 0
11/26/2025 | 14 | 77622 | 10523 | -9755 | 15742 | 4504 | -4175 | 0.205 | 189 | 0 | 0
11/26/2025 | 15 | 79212 | 10346 | -9788 | 15927 | 4428 | -4189 | 0.203 | 24 | 0 | 0
11/26/2025 | 16 | 82761 | 9917 | -9737 | 18594 | 4244 | -4167 | 0.225 | 29 | 0 | 0
11/26/2025 | 17 | 86720 | 11388 | -10966 | 20858 | 4874 | -4693 | 0.241 | 608 | 6 | 0.01
11/26/2025 | 18 | 87864 | 11753 | -11184 | 21363 | 5030 | -4787 | 0.244 | 792 | 39 | 0.049
11/26/2025 | 19 | 86748 | 11867 | -11129 | 21696 | 5079 | -4764 | 0.252 | 925 | 67 | 0.072
11/26/2025 | 20 | 84581 | 11924 | -10893 | 21595 | 5103 | -4662 | 0.257 | 1003 | 92 | 0.092
11/26/2025 | 21 | 82486 | 11711 | -10470 | 21465 | 5012 | -4481 | 0.263 | 1604 | 364 | 0.227
11/26/2025 | 22 | 79119 | 11097 | -9346 | 21277 | 4749 | -4000 | 0.272 | 1324 | 271 | 0.205
11/26/2025 | 23 | 75880 | 12040 | -10547 | 21581 | 5153 | -4514 | 0.287 | 911 | 150 | 0.165
11/26/2025 | 24 | 71763 | 12291 | -10518 | 21556 | 5260 | -4502 | 0.303 | 801 | 132 | 0.165
11/27/2025 | 1 | 69396 | 11506 | -10037 | 20919 | 4924 | -4296 | 0.304 | 521 | 89 | 0.171
11/27/2025 | 2 | 67091 | 11498 | -10025 | 20715 | 4921 | -4291 | 0.311 | 389 | 76 | 0.195
11/27/2025 | 3 | 65608 | 11451 | -9824 | 20688 | 4901 | -4205 | 0.318 | 357 | 45 | 0.126
11/27/2025 | 4 | 65031 | 11440 | -9691 | 20745 | 4896 | -4148 | 0.322 | 282 | 28 | 0.099
11/27/2025 | 5 | 65723 | 11555 | -9768 | 21033 | 4946 | -4181 | 0.323 | 190 | 6 | 0.032
11/27/2025 | 6 | 67871 | 11902 | -10022 | 21706 | 5094 | -4289 | 0.323 | 269 | 6 | 0.022
11/27/2025 | 7 | 71198 | 11530 | -9726 | 21637 | 4935 | -4162 | 0.307 | 808 | 63 | 0.078
11/27/2025 | 8 | 73096 | 11219 | -9525 | 20357 | 4802 | -4077 | 0.282 | 940 | 156 | 0.166
11/27/2025 | 9 | 73784 | 10813 | -9052 | 18633 | 4628 | -3874 | 0.257 | 853 | 101 | 0.118
11/27/2025 | 10 | 74151 | 10464 | -8692 | 17891 | 4479 | -3720 | 0.246 | 584 | 42 | 0.072
11/27/2025 | 11 | 74290 | 10288 | -8398 | 18106 | 4403 | -3594 | 0.248 | 588 | 0 | 0
11/27/2025 | 12 | 74399 | 10274 | -8265 | 18646 | 4397 | -3538 | 0.255 | 404 | 0 | 0
11/27/2025 | 13 | 74254 | 10606 | -8702 | 17807 | 4540 | -3724 | 0.245 | 0 | 0 | 0
11/27/2025 | 14 | 73760 | 10458 | -8495 | 17338 | 4476 | -3636 | 0.24 | 0 | 0 | 0
11/27/2025 | 15 | 74753 | 10404 | -8542 | 17939 | 4453 | -3656 | 0.245 | 95 | 0 | 0
11/27/2025 | 16 | 75534 | 10784 | -8832 | 19825 | 4615 | -3780 | 0.267 | 295 | 0 | 0
11/27/2025 | 17 | 77282 | 11985 | -9933 | 20695 | 5130 | -4251 | 0.272 | 660 | 0 | 0
11/27/2025 | 18 | 77452 | 12659 | -10634 | 20529 | 5418 | -4552 | 0.269 | 779 | 49 | 0.063
11/27/2025 | 19 | 75556 | 12576 | -10196 | 20058 | 5382 | -4364 | 0.27 | 1007 | 107 | 0.106
11/27/2025 | 20 | 73812 | 12824 | -10146 | 20199 | 5489 | -4342 | 0.279 | 936 | 74 | 0.079
11/27/2025 | 21 | 72547 | 12785 | -9883 | 20144 | 5472 | -4230 | 0.283 | 1003 | 105 | 0.105
11/27/2025 | 22 | 71505 | 12698 | -9868 | 20215 | 5435 | -4224 | 0.288 | 1024 | 107 | 0.104
11/27/2025 | 23 | 69221 | 12607 | -9971 | 20552 | 5396 | -4268 | 0.302 | 850 | 97 | 0.114
11/27/2025 | 24 | 66587 | 12725 | -10010 | 20270 | 5446 | -4284 | 0.309 | 746 | 76 | 0.102
11/28/2025 | 1 | 64680 | 12594 | -9836 | 19429 | 5390 | -4210 | 0.306 | 723 | 176 | 0.243
11/28/2025 | 2 | 63092 | 12496 | -9516 | 18869 | 5349 | -4073 | 0.305 | 662 | 149 | 0.225
11/28/2025 | 3 | 62242 | 12169 | -9322 | 18384 | 5208 | -3990 | 0.301 | 845 | 217 | 0.257
11/28/2025 | 4 | 62446 | 11986 | -9219 | 18423 | 5130 | -3946 | 0.301 | 661 | 153 | 0.231
11/28/2025 | 5 | 63889 | 12081 | -9350 | 18525 | 5170 | -4002 | 0.296 | 456 | 74 | 0.162
11/28/2025 | 6 | 66740 | 12714 | -9962 | 18851 | 5442 | -4264 | 0.288 | 336 | 3 | 0.009
11/28/2025 | 7 | 71028 | 12820 | -10607 | 18855 | 5487 | -4540 | 0.27 | 1133 | 207 | 0.183
11/28/2025 | 8 | 72477 | 11954 | -9897 | 16646 | 5116 | -4236 | 0.235 | 553 | 19 | 0.034
11/28/2025 | 9 | 73067 | 11067 | -9652 | 15152 | 4737 | -4131 | 0.212 | 24 | 0 | 0
11/28/2025 | 10 | 72654 | 11020 | -9687 | 14878 | 4717 | -4146 | 0.209 | 14 | 0 | 0
11/28/2025 | 11 | 71232 | 11214 | -9752 | 14649 | 4799 | -4174 | 0.21 | 390 | 8 | 0.021
11/28/2025 | 12 | 70573 | 11212 | -9930 | 14620 | 4799 | -4250 | 0.211 | 456 | 0 | 0
11/28/2025 | 13 | 70184 | 11252 | -9817 | 13997 | 4816 | -4202 | 0.204 | 482 | 0 | 0
11/28/2025 | 14 | 71724 | 10833 | -9752 | 14050 | 4636 | -4174 | 0.199 | 917 | 225 | 0.245
11/28/2025 | 15 | 72406 | 10906 | -9726 | 14115 | 4668 | -4162 | 0.199 | 852 | 225 | 0.264
11/28/2025 | 16 | 76298 | 10582 | -9463 | 16325 | 4529 | -4050 | 0.217 | 898 | 36 | 0.04
11/28/2025 | 17 | 80335 | 12182 | -10978 | 19091 | 5214 | -4699 | 0.24 | 907 | 30 | 0.033
11/28/2025 | 18 | 82822 | 12838 | -11349 | 19319 | 5494 | -4857 | 0.237 | 952 | 74 | 0.078
11/28/2025 | 19 | 81762 | 12999 | -11487 | 19052 | 5564 | -4917 | 0.237 | 1015 | 91 | 0.09
11/28/2025 | 20 | 81048 | 12597 | -11007 | 18789 | 5392 | -4711 | 0.236 | 1289 | 208 | 0.161
11/28/2025 | 21 | 79365 | 11949 | -10282 | 18895 | 5114 | -4401 | 0.242 | 1227 | 185 | 0.151
11/28/2025 | 22 | 77478 | 10940 | -9352 | 18470 | 4682 | -4003 | 0.242 | 1183 | 178 | 0.15
11/28/2025 | 23 | 74486 | 11825 | -10132 | 18354 | 5061 | -4336 | 0.25 | 820 | 124 | 0.151
11/28/2025 | 24 | 71146 | 11465 | -9532 | 18582 | 4907 | -4080 | 0.266 | 765 | 68 | 0.089
11/29/2025 | 1 | 68823 | 11504 | -9553 | 18981 | 4924 | -4088 | 0.28 | 954 | 185 | 0.194
11/29/2025 | 2 | 66942 | 11595 | -9628 | 19193 | 4963 | -4121 | 0.291 | 698 | 160 | 0.229
11/29/2025 | 3 | 65813 | 11872 | -9853 | 19393 | 5081 | -4217 | 0.299 | 469 | 69 | 0.147
11/29/2025 | 4 | 65579 | 12118 | -9971 | 19533 | 5186 | -4268 | 0.302 | 315 | 10 | 0.032
11/29/2025 | 5 | 66534 | 12198 | -9949 | 19757 | 5221 | -4258 | 0.301 | 238 | 0 | 0
11/29/2025 | 6 | 68515 | 13224 | -10727 | 19778 | 5660 | -4591 | 0.294 | 431 | 26 | 0.06
11/29/2025 | 7 | 71578 | 12865 | -10628 | 19920 | 5506 | -4549 | 0.283 | 1171 | 262 | 0.224
11/29/2025 | 8 | 72935 | 11960 | -9831 | 18139 | 5119 | -4208 | 0.254 | 887 | 182 | 0.205
11/29/2025 | 9 | 74627 | 10027 | -8561 | 16278 | 4291 | -3664 | 0.222 | 804 | 56 | 0.07
11/29/2025 | 10 | 74164 | 10454 | -8940 | 16214 | 4475 | -3826 | 0.223 | 425 | 0 | 0
11/29/2025 | 11 | 73240 | 10323 | -9027 | 16171 | 4418 | -3863 | 0.224 | 730 | 1 | 0.001
11/29/2025 | 12 | 71976 | 9904 | -8678 | 16126 | 4239 | -3714 | 0.227 | 732 | 21 | 0.029
11/29/2025 | 13 | 71655 | 10154 | -8789 | 15982 | 4346 | -3762 | 0.227 | 998 | 166 | 0.166
11/29/2025 | 14 | 72037 | 10366 | -8853 | 15959 | 4437 | -3789 | 0.226 | 1534 | 333 | 0.217
11/29/2025 | 15 | 74284 | 10100 | -8814 | 16626 | 4323 | -3772 | 0.227 | 1144 | 82 | 0.072
11/29/2025 | 16 | 77642 | 10461 | -9283 | 19541 | 4477 | -3973 | 0.254 | 60 | 0 | 0
11/29/2025 | 17 | 82086 | 11565 | -10257 | 21776 | 4950 | -4390 | 0.268 | 344 | 0 | 0
11/29/2025 | 18 | 84334 | 11897 | -10800 | 22126 | 5092 | -4622 | 0.264 | 739 | 0 | 0
11/29/2025 | 19 | 83576 | 11763 | -10807 | 22130 | 5034 | -4625 | 0.267 | 672 | 0 | 0
11/29/2025 | 20 | 82871 | 11781 | -10878 | 22305 | 5042 | -4656 | 0.271 | 520 | 0 | 0
11/29/2025 | 21 | 81030 | 11493 | -10216 | 22336 | 4919 | -4372 | 0.278 | 422 | 0 | 0
11/29/2025 | 22 | 78999 | 11316 | -9809 | 22226 | 4843 | -4198 | 0.284 | 733 | 1 | 0.001
11/29/2025 | 23 | 75891 | 11939 | -10374 | 22165 | 5110 | -4440 | 0.295 | 625 | 0 | 0
11/29/2025 | 24 | 72043 | 12011 | -9869 | 22344 | 5141 | -4224 | 0.314 | 458 | 0 | 0
11/30/2025 | 1 | 69809 | 12310 | -9930 | 22296 | 5268 | -4250 | 0.323 | 444 | 0 | 0
11/30/2025 | 2 | 67976 | 12450 | -10098 | 21916 | 5329 | -4322 | 0.326 | 99 | 0 | 0
11/30/2025 | 3 | 66571 | 12333 | -9892 | 21642 | 5279 | -4234 | 0.329 | 0 | 0 | 0
11/30/2025 | 4 | 66310 | 12181 | -9672 | 21668 | 5214 | -4140 | 0.33 | 0 | 0 | 0
11/30/2025 | 5 | 67559 | 11909 | -9708 | 21821 | 5097 | -4155 | 0.326 | 0 | 0 | 0
11/30/2025 | 6 | 69548 | 12776 | -10542 | 21850 | 5468 | -4512 | 0.318 | 0 | 0 | 0
11/30/2025 | 7 | 72519 | 12593 | -10498 | 21848 | 5390 | -4493 | 0.305 | 112 | 0 | 0
11/30/2025 | 8 | 74264 | 11916 | -9748 | 19689 | 5100 | -4172 | 0.27 | 0 | 0 | 0
11/30/2025 | 9 | 75484 | 12162 | -9864 | 17602 | 5205 | -4221 | 0.239 | 0 | 0 | 0
11/30/2025 | 10 | 75139 | 12221 | -9980 | 17027 | 5231 | -4271 | 0.232 | 0 | 0 | 0
11/30/2025 | 11 | 73786 | 12163 | -10036 | 16964 | 5206 | -4296 | 0.235 | 6 | 0 | 0
11/30/2025 | 12 | 73075 | 12653 | -10452 | 16722 | 5415 | -4473 | 0.235 | 126 | 0 | 0
11/30/2025 | 13 | 73375 | 12829 | -10807 | 16924 | 5491 | -4625 | 0.236 | 398 | 0 | 0
11/30/2025 | 14 | 74242 | 12948 | -10909 | 17331 | 5542 | -4669 | 0.239 | 870 | 38 | 0.044
11/30/2025 | 15 | 76542 | 12920 | -11011 | 18508 | 5529 | -4713 | 0.246 | 1340 | 216 | 0.161
11/30/2025 | 16 | 79456 | 12174 | -9988 | 20425 | 5210 | -4274 | 0.262 | 354 | 10 | 0.028
11/30/2025 | 17 | 83678 | 12429 | -9942 | 22017 | 5320 | -4255 | 0.268 | 267 | 0 | 0
11/30/2025 | 18 | 87493 | 13076 | -10496 | 22648 | 5596 | -4492 | 0.264 | 689 | 0 | 0
11/30/2025 | 19 | 87174 | 12542 | -10328 | 23043 | 5368 | -4420 | 0.268 | 916 | 41 | 0.045
11/30/2025 | 20 | 86503 | 12690 | -10422 | 23370 | 5432 | -4461 | 0.274 | 1617 | 219 | 0.135
11/30/2025 | 21 | 83994 | 12874 | -10175 | 23648 | 5510 | -4355 | 0.286 | 1744 | 302 | 0.173
11/30/2025 | 22 | 80814 | 13273 | -10451 | 23630 | 5681 | -4473 | 0.297 | 1577 | 411 | 0.261
11/30/2025 | 23 | 76620 | 14154 | -11354 | 23265 | 6058 | -4860 | 0.308 | 1288 | 379 | 0.294
11/30/2025 | 24 | 72987 | 14165 | -11570 | 22618 | 6062 | -4952 | 0.314 | 617 | 125 | 0.203