## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
10/1/2024 | 1 | 71888 | 12977 | -11534 | 25627 | 5554 | -4936 | 0.358 | 870 | 152 | 0.175
10/1/2024 | 2 | 68782 | 12739 | -11215 | 24052 | 5452 | -4800 | 0.351 | 602 | 82 | 0.136
10/1/2024 | 3 | 66590 | 12916 | -11632 | 23086 | 5528 | -4979 | 0.348 | 473 | 27 | 0.057
10/1/2024 | 4 | 65389 | 12820 | -11320 | 22661 | 5487 | -4845 | 0.348 | 393 | 12 | 0.031
10/1/2024 | 5 | 66461 | 12690 | -11160 | 22645 | 5431 | -4776 | 0.343 | 407 | 1 | 0.002
10/1/2024 | 6 | 70402 | 12723 | -11245 | 23389 | 5446 | -4813 | 0.334 | 427 | 2 | 0.005
10/1/2024 | 7 | 75534 | 15987 | -14088 | 24503 | 6842 | -6030 | 0.327 | 483 | 2 | 0.004
10/1/2024 | 8 | 78510 | 14910 | -13116 | 23788 | 6381 | -5614 | 0.306 | 909 | 139 | 0.153
10/1/2024 | 9 | 79400 | 14500 | -12907 | 20497 | 6206 | -5524 | 0.261 | 277 | 10 | 0.036
10/1/2024 | 10 | 79509 | 14754 | -12795 | 19660 | 6314 | -5476 | 0.252 | 0 | 0 | 0
10/1/2024 | 11 | 80345 | 14751 | -12749 | 19535 | 6314 | -5457 | 0.248 | 0 | 0 | 0
10/1/2024 | 12 | 83209 | 14933 | -13043 | 20058 | 6391 | -5583 | 0.245 | 0 | 0 | 0
10/1/2024 | 13 | 86625 | 15389 | -13169 | 20621 | 6587 | -5636 | 0.243 | 0 | 0 | 0
10/1/2024 | 14 | 92169 | 15819 | -13648 | 22458 | 6770 | -5841 | 0.248 | 122 | 0 | 0
10/1/2024 | 15 | 98116 | 16599 | -14811 | 23780 | 7104 | -6339 | 0.246 | 668 | 40 | 0.06
10/1/2024 | 16 | 103470 | 17428 | -15481 | 25610 | 7459 | -6626 | 0.251 | 1314 | 339 | 0.258
10/1/2024 | 17 | 107101 | 19217 | -17189 | 27498 | 8225 | -7357 | 0.26 | 871 | 251 | 0.288
10/1/2024 | 18 | 108484 | 21722 | -19093 | 31078 | 9297 | -8172 | 0.29 | 868 | 220 | 0.253
10/1/2024 | 19 | 106099 | 21915 | -19189 | 32752 | 9379 | -8213 | 0.312 | 1685 | 525 | 0.312
10/1/2024 | 20 | 101299 | 21814 | -18991 | 31816 | 9337 | -8128 | 0.317 | 997 | 282 | 0.283
10/1/2024 | 21 | 96265 | 21346 | -18277 | 30474 | 9136 | -7823 | 0.32 | 1104 | 256 | 0.232
10/1/2024 | 22 | 90618 | 19447 | -16297 | 28941 | 8323 | -6975 | 0.323 | 1460 | 363 | 0.249
10/1/2024 | 23 | 83486 | 16995 | -14153 | 27521 | 7274 | -6058 | 0.333 | 653 | 70 | 0.107
10/1/2024 | 24 | 77721 | 16144 | -13862 | 26003 | 6910 | -5933 | 0.337 | 542 | 55 | 0.101
10/2/2024 | 1 | 73766 | 14941 | -13072 | 24995 | 6395 | -5595 | 0.341 | 608 | 66 | 0.109
10/2/2024 | 2 | 70447 | 15036 | -13055 | 24140 | 6436 | -5588 | 0.345 | 659 | 115 | 0.175
10/2/2024 | 3 | 67589 | 14834 | -12830 | 23293 | 6349 | -5491 | 0.347 | 612 | 76 | 0.124
10/2/2024 | 4 | 66049 | 14895 | -12874 | 22748 | 6375 | -5510 | 0.347 | 594 | 72 | 0.121
10/2/2024 | 5 | 66718 | 14511 | -12437 | 22536 | 6210 | -5323 | 0.34 | 759 | 137 | 0.181
10/2/2024 | 6 | 70106 | 14363 | -12258 | 23114 | 6147 | -5246 | 0.333 | 767 | 126 | 0.164
10/2/2024 | 7 | 75705 | 15057 | -13187 | 24198 | 6444 | -5644 | 0.322 | 506 | 57 | 0.113
10/2/2024 | 8 | 78962 | 14071 | -12297 | 23472 | 6022 | -5263 | 0.3 | 444 | 0 | 0
10/2/2024 | 9 | 80289 | 13866 | -12334 | 20630 | 5935 | -5279 | 0.26 | 128 | 0 | 0
10/2/2024 | 10 | 81332 | 13399 | -11994 | 19923 | 5735 | -5134 | 0.248 | 15 | 0 | 0
10/2/2024 | 11 | 82726 | 13546 | -12235 | 20084 | 5798 | -5237 | 0.246 | 0 | 0 | 0
10/2/2024 | 12 | 85770 | 13459 | -12259 | 21140 | 5761 | -5247 | 0.249 | 0 | 0 | 0
10/2/2024 | 13 | 89968 | 13544 | -12299 | 22355 | 5797 | -5264 | 0.251 | 243 | 0 | 0
10/2/2024 | 14 | 95359 | 13791 | -12484 | 23941 | 5903 | -5343 | 0.253 | 495 | 59 | 0.119
10/2/2024 | 15 | 100850 | 14181 | -13571 | 25693 | 6069 | -5809 | 0.256 | 886 | 167 | 0.188
10/2/2024 | 16 | 106097 | 14498 | -13804 | 27835 | 6205 | -5908 | 0.263 | 1280 | 359 | 0.28
10/2/2024 | 17 | 108068 | 16656 | -15491 | 29436 | 7129 | -6630 | 0.274 | 836 | 229 | 0.274
10/2/2024 | 18 | 109534 | 17726 | -16359 | 32261 | 7587 | -7002 | 0.296 | 1243 | 329 | 0.265
10/2/2024 | 19 | 107391 | 17753 | -16298 | 34153 | 7598 | -6976 | 0.319 | 1734 | 673 | 0.388
10/2/2024 | 20 | 102901 | 17746 | -16091 | 32978 | 7595 | -6887 | 0.322 | 1716 | 610 | 0.355
10/2/2024 | 21 | 97656 | 17685 | -16151 | 30893 | 7569 | -6913 | 0.318 | 1740 | 517 | 0.297
10/2/2024 | 22 | 91280 | 16514 | -14561 | 29194 | 7068 | -6232 | 0.322 | 1415 | 460 | 0.325
10/2/2024 | 23 | 84399 | 14462 | -12487 | 27334 | 6190 | -5344 | 0.326 | 968 | 243 | 0.251
10/2/2024 | 24 | 77960 | 13923 | -11700 | 25895 | 5959 | -5007 | 0.335 | 1028 | 280 | 0.272
10/3/2024 | 1 | 74433 | 12160 | -10446 | 25020 | 5205 | -4471 | 0.338 | 648 | 113 | 0.174
10/3/2024 | 2 | 70882 | 11758 | -10018 | 24188 | 5032 | -4288 | 0.343 | 573 | 85 | 0.148
10/3/2024 | 3 | 68170 | 11845 | -9966 | 23901 | 5070 | -4266 | 0.353 | 544 | 84 | 0.154
10/3/2024 | 4 | 66695 | 11978 | -10003 | 23508 | 5127 | -4281 | 0.355 | 472 | 80 | 0.169
10/3/2024 | 5 | 67676 | 11836 | -9858 | 23823 | 5066 | -4219 | 0.354 | 274 | 9 | 0.033
10/3/2024 | 6 | 71114 | 12359 | -10342 | 24543 | 5290 | -4426 | 0.347 | 238 | 0 | 0
10/3/2024 | 7 | 76660 | 14429 | -12222 | 25246 | 6176 | -5231 | 0.332 | 434 | 4 | 0.009
10/3/2024 | 8 | 79944 | 14376 | -12463 | 24167 | 6153 | -5334 | 0.305 | 801 | 124 | 0.155
10/3/2024 | 9 | 80725 | 14264 | -12555 | 21525 | 6105 | -5374 | 0.27 | 814 | 175 | 0.215
10/3/2024 | 10 | 81187 | 14233 | -12417 | 20712 | 6092 | -5314 | 0.259 | 447 | 8 | 0.018
10/3/2024 | 11 | 82583 | 14159 | -12318 | 21028 | 6060 | -5272 | 0.258 | 503 | 32 | 0.064
10/3/2024 | 12 | 84872 | 14090 | -12315 | 21764 | 6031 | -5271 | 0.26 | 358 | 20 | 0.056
10/3/2024 | 13 | 88925 | 14089 | -12434 | 22413 | 6030 | -5322 | 0.255 | 285 | 0 | 0
10/3/2024 | 14 | 93881 | 14562 | -12764 | 23275 | 6233 | -5463 | 0.251 | 456 | 42 | 0.092
10/3/2024 | 15 | 99423 | 14919 | -13190 | 25608 | 6386 | -5645 | 0.26 | 805 | 159 | 0.198
10/3/2024 | 16 | 104379 | 15081 | -13246 | 27651 | 6455 | -5670 | 0.268 | 800 | 183 | 0.229
10/3/2024 | 17 | 107637 | 17032 | -14930 | 30085 | 7290 | -6390 | 0.282 | 1639 | 438 | 0.267
10/3/2024 | 18 | 108184 | 19057 | -16384 | 32834 | 8156 | -7012 | 0.307 | 1348 | 405 | 0.3
10/3/2024 | 19 | 104603 | 19412 | -16586 | 33704 | 8308 | -7099 | 0.325 | 1671 | 604 | 0.361
10/3/2024 | 20 | 100089 | 18959 | -16289 | 32152 | 8114 | -6972 | 0.324 | 1125 | 286 | 0.254
10/3/2024 | 21 | 94668 | 17613 | -14953 | 30874 | 7538 | -6400 | 0.329 | 937 | 232 | 0.248
10/3/2024 | 22 | 88947 | 16276 | -13533 | 29692 | 6966 | -5792 | 0.337 | 868 | 201 | 0.232
10/3/2024 | 23 | 82341 | 13944 | -11517 | 28225 | 5968 | -4929 | 0.345 | 1098 | 256 | 0.233
10/3/2024 | 24 | 76150 | 13520 | -10925 | 26812 | 5787 | -4676 | 0.355 | 840 | 176 | 0.21
10/4/2024 | 1 | 73136 | 12763 | -11271 | 26007 | 5463 | -4824 | 0.357 | 854 | 202 | 0.237
10/4/2024 | 2 | 70253 | 12893 | -11416 | 25016 | 5518 | -4886 | 0.358 | 1080 | 320 | 0.296
10/4/2024 | 3 | 67708 | 13026 | -11497 | 23780 | 5575 | -4921 | 0.353 | 744 | 211 | 0.284
10/4/2024 | 4 | 66560 | 13217 | -11568 | 23099 | 5657 | -4951 | 0.349 | 728 | 207 | 0.284
10/4/2024 | 5 | 67036 | 12830 | -11115 | 23391 | 5491 | -4757 | 0.351 | 567 | 136 | 0.24
10/4/2024 | 6 | 70156 | 12906 | -11094 | 24482 | 5524 | -4748 | 0.351 | 658 | 146 | 0.222
10/4/2024 | 7 | 74952 | 13531 | -11506 | 25815 | 5791 | -4925 | 0.347 | 988 | 180 | 0.182
10/4/2024 | 8 | 78750 | 13381 | -11665 | 24757 | 5727 | -4992 | 0.317 | 1308 | 316 | 0.242
10/4/2024 | 9 | 80203 | 13449 | -11855 | 21711 | 5756 | -5074 | 0.274 | 511 | 69 | 0.135
10/4/2024 | 10 | 81452 | 13551 | -11724 | 21031 | 5800 | -5018 | 0.262 | 376 | 2 | 0.005
10/4/2024 | 11 | 83363 | 13714 | -12127 | 20807 | 5870 | -5190 | 0.253 | 248 | 0 | 0
10/4/2024 | 12 | 86262 | 14906 | -13238 | 21163 | 6380 | -5666 | 0.249 | 399 | 9 | 0.023
10/4/2024 | 13 | 89346 | 16498 | -14116 | 22066 | 7061 | -6042 | 0.252 | 459 | 51 | 0.111
10/4/2024 | 14 | 94129 | 17166 | -14564 | 23272 | 7347 | -6234 | 0.252 | 421 | 41 | 0.097
10/4/2024 | 15 | 98446 | 17440 | -14867 | 25030 | 7464 | -6363 | 0.259 | 322 | 25 | 0.078
10/4/2024 | 16 | 102312 | 17003 | -14206 | 26851 | 7278 | -6080 | 0.267 | 631 | 90 | 0.143
10/4/2024 | 17 | 104634 | 19821 | -16669 | 29027 | 8484 | -7134 | 0.282 | 281 | 20 | 0.071
10/4/2024 | 18 | 103776 | 21353 | -17989 | 30095 | 9139 | -7699 | 0.294 | 323 | 39 | 0.121
10/4/2024 | 19 | 100786 | 20511 | -17281 | 30670 | 8778 | -7396 | 0.308 | 438 | 85 | 0.194
10/4/2024 | 20 | 96270 | 19813 | -16718 | 29176 | 8480 | -7155 | 0.307 | 642 | 80 | 0.125
10/4/2024 | 21 | 91594 | 19270 | -16120 | 27788 | 8247 | -6899 | 0.308 | 1390 | 305 | 0.219
10/4/2024 | 22 | 87367 | 18086 | -15035 | 26572 | 7741 | -6435 | 0.308 | 1548 | 413 | 0.267
10/4/2024 | 23 | 81744 | 15843 | -12932 | 25355 | 6781 | -5535 | 0.314 | 997 | 205 | 0.206
10/4/2024 | 24 | 76120 | 15304 | -12101 | 24590 | 6550 | -5179 | 0.327 | 1641 | 504 | 0.307
10/5/2024 | 1 | 72251 | 14631 | -11724 | 23633 | 6262 | -5018 | 0.331 | 1450 | 404 | 0.279
10/5/2024 | 2 | 68926 | 14359 | -11432 | 22793 | 6146 | -4893 | 0.335 | 1593 | 467 | 0.293
10/5/2024 | 3 | 66241 | 14460 | -11513 | 22206 | 6189 | -4928 | 0.339 | 1461 | 434 | 0.297
10/5/2024 | 4 | 64799 | 14223 | -11334 | 22110 | 6087 | -4851 | 0.345 | 921 | 227 | 0.246
10/5/2024 | 5 | 64427 | 13977 | -11072 | 22360 | 5982 | -4739 | 0.351 | 722 | 144 | 0.199
10/5/2024 | 6 | 65125 | 14088 | -11021 | 22633 | 6030 | -4717 | 0.351 | 617 | 101 | 0.164
10/5/2024 | 7 | 67075 | 15296 | -12042 | 23154 | 6547 | -5154 | 0.349 | 937 | 224 | 0.239
10/5/2024 | 8 | 69077 | 14549 | -11335 | 21787 | 6227 | -4852 | 0.32 | 554 | 60 | 0.108
10/5/2024 | 9 | 71222 | 14814 | -11437 | 18871 | 6340 | -4895 | 0.272 | 363 | 45 | 0.124
10/5/2024 | 10 | 72870 | 14488 | -11121 | 17959 | 6201 | -4760 | 0.254 | 44 | 0 | 0
10/5/2024 | 11 | 75000 | 14165 | -11028 | 18315 | 6063 | -4720 | 0.252 | 57 | 0 | 0
10/5/2024 | 12 | 77978 | 13870 | -11126 | 19196 | 5936 | -4762 | 0.252 | 0 | 0 | 0
10/5/2024 | 13 | 81495 | 13915 | -10804 | 20113 | 5955 | -4624 | 0.253 | 0 | 0 | 0
10/5/2024 | 14 | 86202 | 14094 | -11121 | 21412 | 6032 | -4760 | 0.254 | 330 | 0 | 0
10/5/2024 | 15 | 91695 | 14610 | -11961 | 23292 | 6253 | -5119 | 0.259 | 395 | 14 | 0.035
10/5/2024 | 16 | 96389 | 14618 | -12066 | 25238 | 6257 | -5164 | 0.266 | 572 | 51 | 0.089
10/5/2024 | 17 | 99910 | 16584 | -13936 | 27812 | 7098 | -5965 | 0.282 | 535 | 47 | 0.088
10/5/2024 | 18 | 101564 | 17965 | -15263 | 31408 | 7689 | -6533 | 0.312 | 550 | 40 | 0.073
10/5/2024 | 19 | 97508 | 18772 | -15688 | 32066 | 8034 | -6714 | 0.332 | 677 | 153 | 0.226
10/5/2024 | 20 | 93113 | 18285 | -15097 | 30546 | 7826 | -6461 | 0.331 | 942 | 219 | 0.232
10/5/2024 | 21 | 88277 | 17104 | -13705 | 29902 | 7321 | -5866 | 0.342 | 1202 | 246 | 0.205
10/5/2024 | 22 | 83736 | 16333 | -12955 | 29153 | 6990 | -5545 | 0.351 | 896 | 188 | 0.21
10/5/2024 | 23 | 79050 | 14013 | -10964 | 28280 | 5998 | -4693 | 0.36 | 451 | 58 | 0.129
10/5/2024 | 24 | 73471 | 13843 | -10540 | 27533 | 5925 | -4511 | 0.377 | 861 | 274 | 0.318
10/6/2024 | 1 | 69504 | 12952 | -9626 | 25815 | 5543 | -4120 | 0.374 | 1279 | 459 | 0.359
10/6/2024 | 2 | 66428 | 13073 | -9520 | 25023 | 5595 | -4075 | 0.379 | 998 | 350 | 0.351
10/6/2024 | 3 | 63713 | 13078 | -9658 | 24352 | 5597 | -4133 | 0.385 | 1203 | 416 | 0.346
10/6/2024 | 4 | 62190 | 12687 | -9289 | 23862 | 5430 | -3976 | 0.386 | 1132 | 356 | 0.314
10/6/2024 | 5 | 61590 | 12644 | -9346 | 23512 | 5412 | -4000 | 0.384 | 1039 | 303 | 0.292
10/6/2024 | 6 | 62569 | 12251 | -9237 | 23696 | 5244 | -3953 | 0.381 | 810 | 201 | 0.248
10/6/2024 | 7 | 64446 | 11830 | -8946 | 23557 | 5063 | -3829 | 0.368 | 934 | 192 | 0.206
10/6/2024 | 8 | 66510 | 11473 | -8916 | 21726 | 4910 | -3816 | 0.33 | 990 | 226 | 0.228
10/6/2024 | 9 | 69367 | 10735 | -8713 | 19211 | 4595 | -3729 | 0.281 | 239 | 18 | 0.075
10/6/2024 | 10 | 70837 | 10769 | -8768 | 18054 | 4609 | -3753 | 0.26 | 0 | 0 | 0
10/6/2024 | 11 | 72856 | 11327 | -9438 | 18014 | 4848 | -4040 | 0.252 | 0 | 0 | 0
10/6/2024 | 12 | 76530 | 10975 | -9252 | 18914 | 4697 | -3960 | 0.251 | 55 | 0 | 0
10/6/2024 | 13 | 80602 | 11234 | -9353 | 19699 | 4808 | -4003 | 0.249 | 225 | 0 | 0
10/6/2024 | 14 | 85891 | 11719 | -9567 | 21028 | 5016 | -4095 | 0.249 | 530 | 0 | 0
10/6/2024 | 15 | 91620 | 12191 | -10133 | 22808 | 5218 | -4337 | 0.253 | 509 | 12 | 0.024
10/6/2024 | 16 | 97956 | 12589 | -10653 | 25192 | 5388 | -4560 | 0.26 | 1258 | 209 | 0.166
10/6/2024 | 17 | 101466 | 14122 | -12124 | 28136 | 6044 | -5189 | 0.28 | 1045 | 108 | 0.103
10/6/2024 | 18 | 103240 | 16191 | -13939 | 30625 | 6930 | -5966 | 0.299 | 981 | 120 | 0.122
10/6/2024 | 19 | 100166 | 17283 | -14492 | 31309 | 7397 | -6202 | 0.316 | 1415 | 431 | 0.305
10/6/2024 | 20 | 96290 | 16597 | -13713 | 31150 | 7104 | -5869 | 0.327 | 1037 | 292 | 0.282
10/6/2024 | 21 | 90957 | 15397 | -12163 | 30650 | 6590 | -5206 | 0.34 | 1596 | 424 | 0.266
10/6/2024 | 22 | 85699 | 13513 | -10625 | 30276 | 5784 | -4547 | 0.356 | 1181 | 292 | 0.247
10/6/2024 | 23 | 79245 | 12921 | -9932 | 29434 | 5530 | -4251 | 0.373 | 1127 | 386 | 0.343
10/6/2024 | 24 | 73362 | 13190 | -10134 | 28138 | 5645 | -4338 | 0.385 | 1389 | 565 | 0.407
10/7/2024 | 1 | 69380 | 13228 | -10492 | 26768 | 5661 | -4490 | 0.387 | 1335 | 539 | 0.404
10/7/2024 | 2 | 66351 | 12986 | -10173 | 26008 | 5558 | -4354 | 0.393 | 1696 | 686 | 0.404
10/7/2024 | 3 | 64077 | 13121 | -10193 | 25375 | 5615 | -4363 | 0.397 | 1663 | 637 | 0.383
10/7/2024 | 4 | 63138 | 12909 | -9910 | 24807 | 5525 | -4242 | 0.394 | 1019 | 340 | 0.334
10/7/2024 | 5 | 64742 | 12378 | -9338 | 25046 | 5298 | -3996 | 0.389 | 873 | 238 | 0.273
10/7/2024 | 6 | 69184 | 12063 | -9764 | 25867 | 5163 | -4179 | 0.376 | 1100 | 239 | 0.217
10/7/2024 | 7 | 74722 | 14633 | -12128 | 26634 | 6263 | -5191 | 0.359 | 1150 | 245 | 0.213
10/7/2024 | 8 | 78096 | 14747 | -12435 | 25838 | 6312 | -5322 | 0.334 | 1700 | 454 | 0.267
10/7/2024 | 9 | 79871 | 14868 | -13121 | 23614 | 6363 | -5616 | 0.298 | 1607 | 464 | 0.289
10/7/2024 | 10 | 81042 | 14620 | -13085 | 23347 | 6258 | -5600 | 0.291 | 829 | 236 | 0.285
10/7/2024 | 11 | 83011 | 14976 | -13679 | 23654 | 6410 | -5854 | 0.287 | 465 | 79 | 0.17
10/7/2024 | 12 | 86410 | 15182 | -13878 | 24614 | 6498 | -5940 | 0.287 | 491 | 53 | 0.108
10/7/2024 | 13 | 90207 | 16135 | -14806 | 25338 | 6906 | -6337 | 0.283 | 630 | 101 | 0.16
10/7/2024 | 14 | 94925 | 16461 | -14725 | 26272 | 7045 | -6302 | 0.279 | 921 | 129 | 0.14
10/7/2024 | 15 | 100372 | 17329 | -15731 | 27909 | 7417 | -6732 | 0.28 | 1458 | 352 | 0.241
10/7/2024 | 16 | 105480 | 17585 | -15955 | 30279 | 7526 | -6829 | 0.289 | 1920 | 562 | 0.293
10/7/2024 | 17 | 108056 | 19558 | -17447 | 31965 | 8371 | -7467 | 0.298 | 2620 | 961 | 0.367
10/7/2024 | 18 | 109328 | 20316 | -18192 | 33329 | 8695 | -7786 | 0.307 | 2071 | 768 | 0.371
10/7/2024 | 19 | 105890 | 20287 | -18173 | 33714 | 8683 | -7778 | 0.321 | 2321 | 1027 | 0.442
10/7/2024 | 20 | 101493 | 17347 | -15409 | 33582 | 7425 | -6595 | 0.333 | 2329 | 1272 | 0.546
10/7/2024 | 21 | 95999 | 17393 | -15541 | 32586 | 7444 | -6652 | 0.341 | 3126 | 1497 | 0.479
10/7/2024 | 22 | 89321 | 14354 | -12300 | 31919 | 6143 | -5264 | 0.359 | 2838 | 1305 | 0.46
10/7/2024 | 23 | 82274 | 12257 | -10306 | 30418 | 5246 | -4411 | 0.371 | 2559 | 1118 | 0.437
10/7/2024 | 24 | 75966 | 11613 | -9713 | 28475 | 4971 | -4157 | 0.376 | 2760 | 1244 | 0.451
10/8/2024 | 1 | 72236 | 10106 | -8621 | 26899 | 4326 | -3690 | 0.374 | 1675 | 685 | 0.409
10/8/2024 | 2 | 69092 | 10060 | -8657 | 25852 | 4306 | -3705 | 0.375 | 1027 | 339 | 0.33
10/8/2024 | 3 | 66387 | 10219 | -8712 | 24873 | 4374 | -3729 | 0.376 | 957 | 300 | 0.313
10/8/2024 | 4 | 65482 | 10138 | -8693 | 24742 | 4339 | -3721 | 0.379 | 1271 | 417 | 0.328
10/8/2024 | 5 | 66427 | 10102 | -8935 | 24783 | 4323 | -3824 | 0.374 | 761 | 192 | 0.252
10/8/2024 | 6 | 69948 | 10301 | -9250 | 25415 | 4409 | -3959 | 0.364 | 507 | 70 | 0.138
10/8/2024 | 7 | 74979 | 11882 | -10660 | 26174 | 5086 | -4563 | 0.35 | 1317 | 392 | 0.298
10/8/2024 | 8 | 77841 | 11664 | -10333 | 25264 | 4992 | -4423 | 0.326 | 1941 | 567 | 0.292
10/8/2024 | 9 | 77943 | 11902 | -10371 | 22264 | 5094 | -4439 | 0.288 | 678 | 140 | 0.206
10/8/2024 | 10 | 79298 | 12692 | -10982 | 21312 | 5432 | -4700 | 0.272 | 294 | 19 | 0.065
10/8/2024 | 11 | 80950 | 12833 | -11078 | 21552 | 5492 | -4742 | 0.27 | 318 | 3 | 0.009
10/8/2024 | 12 | 83412 | 13321 | -11458 | 22449 | 5701 | -4904 | 0.273 | 249 | 7 | 0.028
10/8/2024 | 13 | 86982 | 13433 | -11778 | 22925 | 5749 | -5041 | 0.267 | 57 | 0 | 0
10/8/2024 | 14 | 90991 | 13995 | -12104 | 23741 | 5990 | -5181 | 0.264 | 12 | 1 | 0.083
10/8/2024 | 15 | 95574 | 14502 | -12754 | 24974 | 6207 | -5459 | 0.264 | 15 | 0 | 0
10/8/2024 | 16 | 100280 | 15664 | -13712 | 27244 | 6704 | -5869 | 0.275 | 0 | 0 | 0
10/8/2024 | 17 | 103187 | 17033 | -14766 | 29194 | 7290 | -6320 | 0.286 | 0 | 0 | 0
10/8/2024 | 18 | 104594 | 17938 | -15556 | 31620 | 7677 | -6658 | 0.305 | 0 | 0 | 0
10/8/2024 | 19 | 100443 | 17414 | -14683 | 31815 | 7453 | -6285 | 0.32 | 31 | 3 | 0.097
10/8/2024 | 20 | 95896 | 16950 | -13999 | 30832 | 7255 | -5992 | 0.325 | 0 | 0 | 0
10/8/2024 | 21 | 90980 | 16223 | -13186 | 29545 | 6944 | -5644 | 0.328 | 457 | 68 | 0.149
10/8/2024 | 22 | 85823 | 16104 | -12968 | 28146 | 6893 | -5550 | 0.331 | 1077 | 267 | 0.248
10/8/2024 | 23 | 79426 | 13299 | -10364 | 26583 | 5692 | -4436 | 0.338 | 558 | 112 | 0.201
10/8/2024 | 24 | 73028 | 13334 | -10085 | 24388 | 5707 | -4316 | 0.338 | 608 | 141 | 0.232
10/9/2024 | 1 | 69960 | 13025 | -10602 | 23010 | 5575 | -4537 | 0.332 | 417 | 32 | 0.077
10/9/2024 | 2 | 67147 | 12565 | -10317 | 22105 | 5378 | -4416 | 0.332 | 752 | 169 | 0.225
10/9/2024 | 3 | 64911 | 12225 | -10239 | 21475 | 5232 | -4383 | 0.334 | 667 | 127 | 0.19
10/9/2024 | 4 | 64164 | 11847 | -10108 | 21061 | 5070 | -4326 | 0.331 | 515 | 75 | 0.146
10/9/2024 | 5 | 65181 | 11768 | -10175 | 21548 | 5037 | -4355 | 0.333 | 412 | 53 | 0.129
10/9/2024 | 6 | 69251 | 11782 | -10345 | 22824 | 5043 | -4428 | 0.332 | 175 | 17 | 0.097
10/9/2024 | 7 | 74587 | 12870 | -11475 | 24110 | 5508 | -4911 | 0.325 | 313 | 17 | 0.054
10/9/2024 | 8 | 77451 | 11993 | -10850 | 23243 | 5133 | -4644 | 0.302 | 217 | 8 | 0.037
10/9/2024 | 9 | 78451 | 11728 | -10646 | 20911 | 5019 | -4557 | 0.269 | 254 | 0 | 0
10/9/2024 | 10 | 78841 | 11459 | -10066 | 19720 | 4905 | -4308 | 0.253 | 23 | 0 | 0
10/9/2024 | 11 | 79228 | 11318 | -10005 | 19873 | 4844 | -4282 | 0.254 | 11 | 0 | 0
10/9/2024 | 12 | 80364 | 11698 | -10518 | 20245 | 5007 | -4502 | 0.254 | 2 | 0 | 0
10/9/2024 | 13 | 82744 | 12035 | -10610 | 20880 | 5151 | -4541 | 0.255 | 0 | 0 | 0
10/9/2024 | 14 | 86236 | 12865 | -11337 | 21379 | 5506 | -4852 | 0.251 | 0 | 0 | 0
10/9/2024 | 15 | 90123 | 13597 | -12353 | 21566 | 5820 | -5287 | 0.242 | 0 | 0 | 0
10/9/2024 | 16 | 94511 | 14743 | -13449 | 23164 | 6310 | -5756 | 0.248 | 0 | 0 | 0
10/9/2024 | 17 | 96920 | 17028 | -15227 | 25103 | 7288 | -6517 | 0.262 | 0 | 0 | 0
10/9/2024 | 18 | 98572 | 18800 | -16762 | 27952 | 8046 | -7174 | 0.286 | 0 | 0 | 0
10/9/2024 | 19 | 96048 | 18508 | -16329 | 28416 | 7921 | -6989 | 0.299 | 207 | 11 | 0.053
10/9/2024 | 20 | 93633 | 18211 | -16155 | 28013 | 7794 | -6915 | 0.302 | 497 | 32 | 0.064
10/9/2024 | 21 | 89324 | 17198 | -15197 | 27037 | 7360 | -6504 | 0.305 | 746 | 86 | 0.115
10/9/2024 | 22 | 84882 | 15360 | -13349 | 26785 | 6574 | -5714 | 0.318 | 504 | 64 | 0.127
10/9/2024 | 23 | 78530 | 12760 | -10177 | 25996 | 5462 | -4356 | 0.334 | 199 | 19 | 0.095
10/9/2024 | 24 | 72337 | 12072 | -9316 | 24671 | 5167 | -3987 | 0.344 | 165 | 2 | 0.012
10/10/2024 | 1 | 69285 | 11044 | -8709 | 23810 | 4727 | -3727 | 0.346 | 469 | 44 | 0.094
10/10/2024 | 2 | 66424 | 11202 | -8620 | 22910 | 4794 | -3689 | 0.348 | 307 | 43 | 0.14
10/10/2024 | 3 | 64413 | 10671 | -8152 | 22532 | 4567 | -3490 | 0.353 | 298 | 35 | 0.117
10/10/2024 | 4 | 63798 | 10729 | -8404 | 22479 | 4592 | -3597 | 0.355 | 276 | 15 | 0.054
10/10/2024 | 5 | 64950 | 10482 | -8179 | 22884 | 4486 | -3500 | 0.355 | 352 | 0 | 0
10/10/2024 | 6 | 69089 | 9957 | -7981 | 23913 | 4261 | -3416 | 0.348 | 188 | 0 | 0
10/10/2024 | 7 | 74298 | 12866 | -10577 | 24782 | 5507 | -4527 | 0.336 | 420 | 47 | 0.112
10/10/2024 | 8 | 77140 | 12802 | -10543 | 23896 | 5479 | -4512 | 0.313 | 632 | 104 | 0.165
10/10/2024 | 9 | 78008 | 13029 | -10826 | 21198 | 5577 | -4633 | 0.276 | 436 | 49 | 0.112
10/10/2024 | 10 | 78284 | 12597 | -10819 | 20447 | 5392 | -4631 | 0.265 | 174 | 0 | 0
10/10/2024 | 11 | 79321 | 13397 | -11954 | 21400 | 5734 | -5116 | 0.273 | 62 | 0 | 0
10/10/2024 | 12 | 80289 | 13140 | -11522 | 21551 | 5624 | -4932 | 0.272 | 0 | 0 | 0
10/10/2024 | 13 | 82549 | 13260 | -11662 | 21608 | 5675 | -4992 | 0.265 | 0 | 0 | 0
10/10/2024 | 14 | 85862 | 13212 | -11635 | 22928 | 5655 | -4979 | 0.27 | 0 | 0 | 0
10/10/2024 | 15 | 89758 | 13370 | -11910 | 23846 | 5722 | -5098 | 0.268 | 0 | 0 | 0
10/10/2024 | 16 | 93699 | 14265 | -13189 | 25458 | 6105 | -5645 | 0.273 | 0 | 0 | 0
10/10/2024 | 17 | 96201 | 16855 | -15540 | 26880 | 7214 | -6652 | 0.281 | 217 | 0 | 0
10/10/2024 | 18 | 97343 | 17726 | -16200 | 28593 | 7587 | -6933 | 0.296 | 304 | 28 | 0.092
10/10/2024 | 19 | 94874 | 17687 | -16004 | 29020 | 7570 | -6850 | 0.308 | 538 | 149 | 0.277
10/10/2024 | 20 | 92432 | 17205 | -15239 | 28604 | 7364 | -6522 | 0.312 | 422 | 0 | 0
10/10/2024 | 21 | 88215 | 16090 | -14139 | 27975 | 6886 | -6052 | 0.32 | 274 | 4 | 0.015
10/10/2024 | 22 | 83460 | 15234 | -12888 | 27136 | 6520 | -5516 | 0.328 | 348 | 31 | 0.089
10/10/2024 | 23 | 78144 | 11327 | -9062 | 26440 | 4848 | -3879 | 0.341 | 307 | 10 | 0.033
10/10/2024 | 24 | 72724 | 10702 | -8227 | 25437 | 4580 | -3521 | 0.352 | 599 | 99 | 0.165
10/11/2024 | 1 | 69575 | 10315 | -8206 | 24209 | 4415 | -3512 | 0.35 | 928 | 171 | 0.184
10/11/2024 | 2 | 66798 | 10313 | -8089 | 23532 | 4414 | -3462 | 0.355 | 887 | 144 | 0.162
10/11/2024 | 3 | 64690 | 10551 | -8258 | 22980 | 4516 | -3534 | 0.358 | 898 | 158 | 0.176
10/11/2024 | 4 | 63730 | 10603 | -8302 | 22602 | 4538 | -3553 | 0.357 | 606 | 78 | 0.129
10/11/2024 | 5 | 64809 | 10731 | -8359 | 23040 | 4593 | -3578 | 0.358 | 671 | 123 | 0.183
10/11/2024 | 6 | 68391 | 10821 | -8568 | 24093 | 4632 | -3667 | 0.355 | 777 | 123 | 0.158
10/11/2024 | 7 | 72932 | 13580 | -11137 | 25362 | 5812 | -4767 | 0.35 | 1821 | 592 | 0.325
10/11/2024 | 8 | 75844 | 13237 | -10979 | 24507 | 5665 | -4699 | 0.326 | 1355 | 414 | 0.306
10/11/2024 | 9 | 76591 | 13105 | -10834 | 22228 | 5609 | -4637 | 0.294 | 485 | 95 | 0.196
10/11/2024 | 10 | 77240 | 12842 | -10646 | 21461 | 5496 | -4557 | 0.282 | 196 | 3 | 0.015
10/11/2024 | 11 | 78089 | 12436 | -10407 | 21172 | 5322 | -4454 | 0.275 | 177 | 0 | 0
10/11/2024 | 12 | 79131 | 12231 | -10429 | 21414 | 5235 | -4463 | 0.274 | 0 | 0 | 0
10/11/2024 | 13 | 81482 | 12377 | -10679 | 21795 | 5298 | -4570 | 0.271 | 0 | 0 | 0
10/11/2024 | 14 | 84105 | 13006 | -11319 | 22568 | 5566 | -4845 | 0.271 | 0 | 0 | 0
10/11/2024 | 15 | 87506 | 13944 | -12459 | 23797 | 5968 | -5332 | 0.275 | 24 | 0 | 0
10/11/2024 | 16 | 91261 | 14260 | -13126 | 24958 | 6103 | -5618 | 0.275 | 230 | 0 | 0
10/11/2024 | 17 | 94215 | 15638 | -14109 | 26668 | 6693 | -6039 | 0.285 | 265 | 0 | 0
10/11/2024 | 18 | 95023 | 16092 | -14380 | 27977 | 6888 | -6154 | 0.297 | 678 | 107 | 0.158
10/11/2024 | 19 | 91977 | 16242 | -14086 | 28332 | 6952 | -6029 | 0.311 | 780 | 187 | 0.24
10/11/2024 | 20 | 89103 | 16174 | -13762 | 27730 | 6923 | -5890 | 0.314 | 791 | 167 | 0.211
10/11/2024 | 21 | 85058 | 14956 | -12312 | 27735 | 6401 | -5270 | 0.329 | 925 | 200 | 0.216
10/11/2024 | 22 | 81238 | 14444 | -11832 | 27227 | 6182 | -5064 | 0.338 | 1757 | 496 | 0.282
10/11/2024 | 23 | 77020 | 11179 | -8770 | 27022 | 4785 | -3754 | 0.353 | 1281 | 291 | 0.227
10/11/2024 | 24 | 72406 | 11119 | -8641 | 26245 | 4759 | -3698 | 0.365 | 1553 | 432 | 0.278
10/12/2024 | 1 | 69163 | 10433 | -8438 | 24828 | 4465 | -3612 | 0.361 | 428 | 24 | 0.056
10/12/2024 | 2 | 66112 | 10445 | -8416 | 23662 | 4471 | -3602 | 0.36 | 483 | 11 | 0.023
10/12/2024 | 3 | 63706 | 10482 | -8323 | 22457 | 4486 | -3562 | 0.355 | 500 | 55 | 0.11
10/12/2024 | 4 | 62237 | 10393 | -8184 | 21410 | 4448 | -3502 | 0.347 | 357 | 0 | 0
10/12/2024 | 5 | 62441 | 10244 | -8138 | 21444 | 4384 | -3483 | 0.346 | 390 | 0 | 0
10/12/2024 | 6 | 64095 | 10664 | -8840 | 22098 | 4564 | -3784 | 0.347 | 330 | 0 | 0
10/12/2024 | 7 | 66280 | 12502 | -10746 | 22349 | 5351 | -4599 | 0.34 | 504 | 29 | 0.058
10/12/2024 | 8 | 67669 | 12566 | -10772 | 21152 | 5378 | -4611 | 0.316 | 458 | 7 | 0.015
10/12/2024 | 9 | 68966 | 12632 | -10666 | 17808 | 5407 | -4565 | 0.263 | 101 | 0 | 0
10/12/2024 | 10 | 69742 | 12156 | -10271 | 16827 | 5203 | -4396 | 0.246 | 0 | 0 | 0
10/12/2024 | 11 | 70003 | 12127 | -10173 | 16926 | 5191 | -4354 | 0.247 | 0 | 0 | 0
10/12/2024 | 12 | 71188 | 12125 | -10320 | 16898 | 5190 | -4417 | 0.242 | 0 | 0 | 0
10/12/2024 | 13 | 73152 | 12540 | -10892 | 17100 | 5367 | -4662 | 0.238 | 0 | 0 | 0
10/12/2024 | 14 | 75462 | 13443 | -11655 | 17894 | 5754 | -4988 | 0.242 | 0 | 0 | 0
10/12/2024 | 15 | 78744 | 13381 | -11615 | 18531 | 5727 | -4972 | 0.24 | 0 | 0 | 0
10/12/2024 | 16 | 82820 | 13829 | -12225 | 19812 | 5919 | -5232 | 0.243 | 0 | 0 | 0
10/12/2024 | 17 | 85855 | 15179 | -13437 | 21985 | 6497 | -5751 | 0.259 | 0 | 0 | 0
10/12/2024 | 18 | 88159 | 15685 | -13828 | 25125 | 6713 | -5918 | 0.288 | 206 | 0 | 0
10/12/2024 | 19 | 86634 | 15546 | -13511 | 25785 | 6653 | -5783 | 0.301 | 500 | 35 | 0.07
10/12/2024 | 20 | 83627 | 15943 | -13396 | 25897 | 6824 | -5733 | 0.313 | 364 | 6 | 0.016
10/12/2024 | 21 | 79901 | 15523 | -12453 | 26206 | 6644 | -5330 | 0.332 | 719 | 94 | 0.131
10/12/2024 | 22 | 76470 | 14475 | -11321 | 25511 | 6195 | -4846 | 0.337 | 1414 | 417 | 0.295
10/12/2024 | 23 | 72836 | 11693 | -9132 | 25147 | 5005 | -3909 | 0.348 | 1321 | 337 | 0.255
10/12/2024 | 24 | 68133 | 11876 | -8992 | 24057 | 5083 | -3849 | 0.356 | 1086 | 270 | 0.249
10/13/2024 | 1 | 65196 | 11226 | -8734 | 22950 | 4804 | -3738 | 0.355 | 641 | 54 | 0.084
10/13/2024 | 2 | 62391 | 11310 | -8590 | 21851 | 4841 | -3676 | 0.353 | 489 | 22 | 0.045
10/13/2024 | 3 | 60071 | 11446 | -8634 | 21191 | 4899 | -3695 | 0.356 | 440 | 1 | 0.002
10/13/2024 | 4 | 59059 | 11474 | -8641 | 20912 | 4911 | -3699 | 0.357 | 478 | 0 | 0
10/13/2024 | 5 | 58626 | 11555 | -8594 | 20792 | 4946 | -3678 | 0.358 | 416 | 0 | 0
10/13/2024 | 6 | 59550 | 11678 | -8768 | 21505 | 4998 | -3753 | 0.364 | 370 | 4 | 0.011
10/13/2024 | 7 | 61369 | 11702 | -8618 | 22123 | 5009 | -3689 | 0.364 | 950 | 205 | 0.216
10/13/2024 | 8 | 62777 | 11558 | -8455 | 20505 | 4946 | -3619 | 0.331 | 520 | 58 | 0.112
10/13/2024 | 9 | 64897 | 11949 | -9020 | 16871 | 5114 | -3860 | 0.267 | 0 | 0 | 0
10/13/2024 | 10 | 65980 | 11906 | -8951 | 15096 | 5096 | -3831 | 0.237 | 0 | 0 | 0
10/13/2024 | 11 | 66224 | 11843 | -8910 | 15311 | 5069 | -3813 | 0.24 | 0 | 0 | 0
10/13/2024 | 12 | 66956 | 11875 | -9012 | 15841 | 5082 | -3857 | 0.244 | 0 | 0 | 0
10/13/2024 | 13 | 69130 | 12720 | -10266 | 16439 | 5444 | -4394 | 0.244 | 0 | 0 | 0
10/13/2024 | 14 | 72038 | 13153 | -10622 | 16980 | 5630 | -4546 | 0.242 | 0 | 0 | 0
10/13/2024 | 15 | 75929 | 13513 | -11090 | 17976 | 5783 | -4747 | 0.243 | 0 | 0 | 0
10/13/2024 | 16 | 80646 | 13172 | -10987 | 19291 | 5638 | -4703 | 0.244 | 0 | 0 | 0
10/13/2024 | 17 | 84580 | 12476 | -10564 | 21585 | 5340 | -4521 | 0.259 | 0 | 0 | 0
10/13/2024 | 18 | 87683 | 13602 | -11503 | 25029 | 5822 | -4923 | 0.289 | 527 | 6 | 0.011
10/13/2024 | 19 | 86612 | 14222 | -11856 | 26507 | 6087 | -5074 | 0.309 | 1116 | 218 | 0.195
10/13/2024 | 20 | 84223 | 14605 | -11763 | 26789 | 6251 | -5035 | 0.322 | 1027 | 248 | 0.241
10/13/2024 | 21 | 79804 | 14420 | -10978 | 26565 | 6172 | -4698 | 0.337 | 1518 | 432 | 0.285
10/13/2024 | 22 | 75860 | 14052 | -10362 | 26344 | 6014 | -4435 | 0.351 | 1731 | 512 | 0.296
10/13/2024 | 23 | 70550 | 14004 | -10350 | 25112 | 5994 | -4430 | 0.359 | 553 | 73 | 0.132
10/13/2024 | 24 | 65784 | 13547 | -9856 | 24131 | 5798 | -4218 | 0.37 | 562 | 29 | 0.052
10/14/2024 | 1 | 63338 | 12190 | -9242 | 23330 | 5217 | -3956 | 0.371 | 637 | 39 | 0.061
10/14/2024 | 2 | 61035 | 11876 | -8957 | 22431 | 5083 | -3834 | 0.37 | 791 | 130 | 0.164
10/14/2024 | 3 | 59412 | 11584 | -8740 | 21795 | 4958 | -3740 | 0.37 | 661 | 72 | 0.109
10/14/2024 | 4 | 59348 | 11637 | -8977 | 21723 | 4980 | -3842 | 0.369 | 684 | 68 | 0.099
10/14/2024 | 5 | 60610 | 11549 | -8813 | 22178 | 4943 | -3772 | 0.369 | 561 | 68 | 0.121
10/14/2024 | 6 | 64199 | 11789 | -9190 | 23101 | 5046 | -3933 | 0.362 | 659 | 72 | 0.109
10/14/2024 | 7 | 68632 | 13131 | -10178 | 23856 | 5620 | -4356 | 0.351 | 730 | 86 | 0.118
10/14/2024 | 8 | 72036 | 12824 | -9930 | 23072 | 5489 | -4250 | 0.324 | 782 | 124 | 0.159
10/14/2024 | 9 | 73732 | 12803 | -10079 | 19913 | 5480 | -4314 | 0.276 | 498 | 44 | 0.088
10/14/2024 | 10 | 74805 | 12339 | -9902 | 18686 | 5281 | -4238 | 0.255 | 107 | 0 | 0
10/14/2024 | 11 | 75091 | 12274 | -9977 | 18711 | 5253 | -4270 | 0.254 | 4 | 0 | 0
10/14/2024 | 12 | 74819 | 12478 | -10184 | 18338 | 5341 | -4359 | 0.251 | 5 | 0 | 0
10/14/2024 | 13 | 76566 | 12846 | -10683 | 18757 | 5498 | -4572 | 0.25 | 26 | 0 | 0
10/14/2024 | 14 | 78939 | 13558 | -11098 | 19275 | 5803 | -4750 | 0.25 | 0 | 0 | 0
10/14/2024 | 15 | 82207 | 14077 | -11640 | 19853 | 6025 | -4982 | 0.247 | 0 | 0 | 0
10/14/2024 | 16 | 86282 | 14465 | -12438 | 21045 | 6191 | -5323 | 0.248 | 0 | 0 | 0
10/14/2024 | 17 | 89086 | 15989 | -14108 | 23069 | 6843 | -6038 | 0.262 | 0 | 0 | 0
10/14/2024 | 18 | 91642 | 17605 | -15722 | 26704 | 7535 | -6729 | 0.294 | 338 | 0 | 0
10/14/2024 | 19 | 90397 | 17734 | -15731 | 27556 | 7590 | -6733 | 0.308 | 755 | 158 | 0.209
10/14/2024 | 20 | 87356 | 17667 | -15491 | 26833 | 7561 | -6630 | 0.31 | 735 | 93 | 0.127
10/14/2024 | 21 | 83785 | 17016 | -14616 | 26755 | 7283 | -6256 | 0.322 | 1144 | 186 | 0.163
10/14/2024 | 22 | 78758 | 16476 | -13359 | 26430 | 7052 | -5718 | 0.339 | 1210 | 298 | 0.246
10/14/2024 | 23 | 73184 | 14608 | -11508 | 25293 | 6252 | -4926 | 0.349 | 1890 | 610 | 0.323
10/14/2024 | 24 | 67609 | 14214 | -10999 | 23848 | 6084 | -4708 | 0.356 | 1553 | 483 | 0.311
10/15/2024 | 1 | 64782 | 13809 | -10719 | 22895 | 5910 | -4588 | 0.357 | 874 | 246 | 0.281
10/15/2024 | 2 | 62397 | 13738 | -10940 | 22086 | 5880 | -4682 | 0.357 | 410 | 70 | 0.171
10/15/2024 | 3 | 60486 | 13150 | -10193 | 21396 | 5628 | -4362 | 0.357 | 586 | 128 | 0.218
10/15/2024 | 4 | 59936 | 12857 | -9812 | 21087 | 5503 | -4200 | 0.356 | 303 | 16 | 0.053
10/15/2024 | 5 | 61248 | 12777 | -9996 | 21560 | 5469 | -4278 | 0.355 | 394 | 74 | 0.188
10/15/2024 | 6 | 65456 | 12621 | -10142 | 23046 | 5402 | -4341 | 0.355 | 330 | 14 | 0.042
10/15/2024 | 7 | 70741 | 14152 | -11117 | 24266 | 6057 | -4758 | 0.347 | 681 | 147 | 0.216
10/15/2024 | 8 | 74386 | 14130 | -11273 | 23695 | 6047 | -4825 | 0.323 | 884 | 235 | 0.266
10/15/2024 | 9 | 74520 | 13708 | -10960 | 20292 | 5867 | -4691 | 0.278 | 278 | 24 | 0.086
10/15/2024 | 10 | 75304 | 13144 | -10525 | 19228 | 5626 | -4505 | 0.261 | 92 | 0 | 0
10/15/2024 | 11 | 75214 | 13336 | -10730 | 19044 | 5708 | -4592 | 0.259 | 0 | 0 | 0
10/15/2024 | 12 | 75890 | 13720 | -11360 | 19382 | 5872 | -4862 | 0.261 | 14 | 0 | 0
10/15/2024 | 13 | 77438 | 13482 | -11784 | 19591 | 5770 | -5043 | 0.257 | 0 | 0 | 0
10/15/2024 | 14 | 78375 | 14033 | -11538 | 19814 | 6006 | -4938 | 0.258 | 86 | 0 | 0
10/15/2024 | 16 | 84516 | 14290 | -11948 | 21325 | 6116 | -5114 | 0.257 | 0 | 0 | 0
10/15/2024 | 17 | 87282 | 16092 | -13950 | 22754 | 6887 | -5971 | 0.265 | 0 | 0 | 0
10/15/2024 | 18 | 89839 | 16574 | -14607 | 25179 | 7094 | -6252 | 0.283 | 20 | 0 | 0
10/15/2024 | 19 | 89581 | 17075 | -14949 | 25603 | 7308 | -6398 | 0.289 | 453 | 0 | 0
10/15/2024 | 20 | 87236 | 17523 | -15178 | 25380 | 7500 | -6496 | 0.295 | 426 | 0 | 0
10/15/2024 | 21 | 83146 | 17392 | -14828 | 24377 | 7444 | -6346 | 0.297 | 259 | 0 | 0
10/15/2024 | 22 | 79009 | 16266 | -13437 | 24111 | 6962 | -5751 | 0.309 | 527 | 45 | 0.085
10/15/2024 | 23 | 73757 | 14483 | -11826 | 23079 | 6199 | -5062 | 0.317 | 550 | 98 | 0.178
10/15/2024 | 24 | 68388 | 14419 | -11441 | 22228 | 6171 | -4897 | 0.329 | 610 | 136 | 0.223
10/16/2024 | 1 | 65304 | 13979 | -11180 | 20852 | 5983 | -4785 | 0.324 | 823 | 176 | 0.214
10/16/2024 | 2 | 63084 | 13592 | -10746 | 20034 | 5817 | -4599 | 0.322 | 868 | 208 | 0.24
10/16/2024 | 3 | 61469 | 13676 | -10838 | 19796 | 5853 | -4638 | 0.327 | 604 | 94 | 0.156
10/16/2024 | 4 | 60844 | 14024 | -11133 | 19740 | 6002 | -4765 | 0.329 | 437 | 35 | 0.08
10/16/2024 | 5 | 61620 | 14186 | -11310 | 19642 | 6072 | -4840 | 0.324 | 462 | 46 | 0.1
10/16/2024 | 6 | 65124 | 14033 | -11199 | 20484 | 6006 | -4793 | 0.319 | 394 | 12 | 0.03
10/16/2024 | 7 | 71152 | 14319 | -11510 | 21783 | 6129 | -4926 | 0.311 | 488 | 46 | 0.094
10/16/2024 | 8 | 74871 | 13979 | -11434 | 21630 | 5983 | -4894 | 0.293 | 525 | 47 | 0.09
10/16/2024 | 9 | 75559 | 13051 | -10691 | 18955 | 5586 | -4575 | 0.256 | 235 | 5 | 0.021
10/16/2024 | 10 | 76153 | 12464 | -10120 | 17682 | 5335 | -4331 | 0.238 | 40 | 0 | 0
10/16/2024 | 11 | 76874 | 12501 | -10314 | 17512 | 5350 | -4414 | 0.233 | 384 | 47 | 0.122
10/16/2024 | 12 | 76974 | 12976 | -10834 | 16973 | 5554 | -4637 | 0.226 | 285 | 0 | 0
10/16/2024 | 13 | 77662 | 13301 | -10848 | 16674 | 5693 | -4643 | 0.221 | 362 | 27 | 0.075
10/16/2024 | 14 | 78968 | 13766 | -11350 | 17314 | 5892 | -4858 | 0.225 | 251 | 39 | 0.155
10/16/2024 | 15 | 79632 | 14230 | -12003 | 17571 | 6090 | -5138 | 0.226 | 65 | 12 | 0.185
10/16/2024 | 16 | 81841 | 14256 | -11951 | 18076 | 6102 | -5115 | 0.227 | 0 | 0 | 0
10/16/2024 | 17 | 83743 | 15649 | -13769 | 18963 | 6698 | -5893 | 0.231 | 0 | 0 | 0
10/16/2024 | 18 | 85519 | 16653 | -14705 | 21391 | 7128 | -6294 | 0.254 | 0 | 0 | 0
10/16/2024 | 19 | 86458 | 16687 | -14507 | 22606 | 7142 | -6209 | 0.266 | 0 | 0 | 0
10/16/2024 | 20 | 84358 | 17212 | -14641 | 22302 | 7367 | -6267 | 0.269 | 172 | 0 | 0
10/16/2024 | 21 | 80994 | 17180 | -13939 | 21654 | 7353 | -5966 | 0.274 | 356 | 2 | 0.006
10/16/2024 | 22 | 77005 | 16842 | -13182 | 20682 | 7208 | -5642 | 0.276 | 803 | 122 | 0.152
10/16/2024 | 23 | 72807 | 16065 | -12730 | 20098 | 6876 | -5449 | 0.283 | 483 | 21 | 0.043
10/16/2024 | 24 | 68082 | 15656 | -12297 | 19514 | 6701 | -5263 | 0.293 | 896 | 174 | 0.194
10/17/2024 | 1 | 65413 | 15864 | -12754 | 18543 | 6790 | -5458 | 0.29 | 707 | 125 | 0.177
10/17/2024 | 2 | 62930 | 15706 | -12606 | 17737 | 6722 | -5395 | 0.289 | 753 | 136 | 0.181
10/17/2024 | 3 | 61565 | 15694 | -12527 | 17238 | 6717 | -5361 | 0.287 | 498 | 55 | 0.11
10/17/2024 | 4 | 61238 | 15774 | -12527 | 17327 | 6751 | -5362 | 0.29 | 456 | 21 | 0.046
10/17/2024 | 5 | 62677 | 15772 | -12604 | 17996 | 6751 | -5394 | 0.294 | 362 | 8 | 0.022
10/17/2024 | 6 | 66691 | 15329 | -12286 | 18947 | 6561 | -5259 | 0.29 | 171 | 0 | 0
10/17/2024 | 7 | 72364 | 14692 | -11846 | 20020 | 6288 | -5070 | 0.282 | 398 | 2 | 0.005
10/17/2024 | 8 | 75559 | 14910 | -11930 | 20373 | 6382 | -5106 | 0.276 | 497 | 90 | 0.181
10/17/2024 | 9 | 76594 | 14068 | -11263 | 18040 | 6021 | -4820 | 0.242 | 12 | 1 | 0.083
10/17/2024 | 10 | 75717 | 14622 | -11601 | 15992 | 6258 | -4965 | 0.22 | 0 | 0 | 0
10/17/2024 | 11 | 74633 | 15206 | -12030 | 15547 | 6508 | -5149 | 0.217 | 0 | 0 | 0
10/17/2024 | 12 | 74549 | 14706 | -11909 | 15631 | 6294 | -5097 | 0.218 | 0 | 0 | 0
10/17/2024 | 13 | 75324 | 14353 | -11950 | 15797 | 6143 | -5115 | 0.216 | 0 | 0 | 0
10/17/2024 | 14 | 75250 | 14713 | -11840 | 15778 | 6297 | -5068 | 0.218 | 0 | 0 | 0
10/17/2024 | 15 | 76546 | 14459 | -12151 | 15324 | 6189 | -5200 | 0.207 | 0 | 0 | 0
10/17/2024 | 16 | 78555 | 14465 | -12562 | 15655 | 6191 | -5377 | 0.205 | 0 | 0 | 0
10/17/2024 | 17 | 80962 | 16088 | -14255 | 17518 | 6886 | -6101 | 0.221 | 0 | 0 | 0
10/17/2024 | 18 | 83578 | 16972 | -15105 | 23427 | 7264 | -6465 | 0.284 | 238 | 0 | 0
10/17/2024 | 19 | 84901 | 17373 | -15289 | 22535 | 7436 | -6544 | 0.269 | 435 | 0 | 0
10/17/2024 | 20 | 83811 | 17552 | -15053 | 22730 | 7512 | -6443 | 0.276 | 490 | 0 | 0
10/17/2024 | 21 | 80622 | 17061 | -13930 | 21928 | 7302 | -5962 | 0.278 | 574 | 51 | 0.089
10/17/2024 | 22 | 77282 | 16619 | -13623 | 21725 | 7113 | -5830 | 0.287 | 770 | 93 | 0.121
10/17/2024 | 23 | 72596 | 16386 | -13483 | 21223 | 7014 | -5771 | 0.298 | 437 | 9 | 0.021
10/17/2024 | 24 | 68398 | 15880 | -12626 | 20427 | 6797 | -5403 | 0.305 | 523 | 26 | 0.05
10/18/2024 | 1 | 66108 | 14418 | -11677 | 19654 | 6171 | -4998 | 0.303 | 553 | 32 | 0.058
10/18/2024 | 2 | 63788 | 14540 | -11670 | 19057 | 6223 | -4995 | 0.304 | 458 | 5 | 0.011
10/18/2024 | 3 | 62311 | 14376 | -11529 | 18986 | 6153 | -4934 | 0.31 | 432 | 0 | 0
10/18/2024 | 4 | 61868 | 14221 | -11449 | 19341 | 6087 | -4900 | 0.318 | 427 | 0 | 0
10/18/2024 | 5 | 63079 | 13833 | -11088 | 19718 | 5921 | -4746 | 0.317 | 401 | 2 | 0.005
10/18/2024 | 6 | 67198 | 13215 | -10937 | 20776 | 5656 | -4681 | 0.313 | 287 | 0 | 0
10/18/2024 | 7 | 72819 | 13291 | -10932 | 22775 | 5689 | -4679 | 0.316 | 336 | 0 | 0
10/18/2024 | 8 | 76956 | 13300 | -11352 | 24592 | 5692 | -4859 | 0.322 | 290 | 4 | 0.014
10/18/2024 | 9 | 76643 | 12710 | -10975 | 19282 | 5440 | -4697 | 0.255 | 0 | 0 | 0
10/18/2024 | 10 | 74927 | 12975 | -11091 | 17014 | 5553 | -4747 | 0.232 | 0 | 0 | 0
10/18/2024 | 11 | 73530 | 13153 | -11227 | 16078 | 5630 | -4805 | 0.224 | 0 | 0 | 0
10/18/2024 | 12 | 72400 | 13226 | -11190 | 15940 | 5661 | -4789 | 0.226 | 0 | 0 | 0
10/18/2024 | 13 | 71596 | 13509 | -11473 | 14886 | 5782 | -4911 | 0.214 | 0 | 0 | 0
10/18/2024 | 14 | 71008 | 13950 | -11586 | 15031 | 5970 | -4959 | 0.219 | 0 | 0 | 0
10/18/2024 | 15 | 71916 | 14393 | -12027 | 15540 | 6160 | -5148 | 0.223 | 0 | 0 | 0
10/18/2024 | 16 | 73271 | 14399 | -11680 | 16221 | 6163 | -4999 | 0.229 | 0 | 0 | 0
10/18/2024 | 17 | 75700 | 15245 | -11756 | 17141 | 6525 | -5032 | 0.235 | 0 | 0 | 0
10/18/2024 | 18 | 78932 | 15779 | -12166 | 20126 | 6754 | -5207 | 0.263 | 0 | 0 | 0
10/18/2024 | 19 | 79483 | 15744 | -12195 | 21721 | 6739 | -5220 | 0.28 | 0 | 0 | 0
10/18/2024 | 20 | 77874 | 15739 | -12143 | 21550 | 6736 | -5197 | 0.283 | 349 | 6 | 0.017
10/18/2024 | 21 | 75858 | 15924 | -12225 | 21380 | 6816 | -5232 | 0.289 | 573 | 29 | 0.051
10/18/2024 | 22 | 73087 | 15139 | -11771 | 20516 | 6479 | -5038 | 0.287 | 795 | 95 | 0.119
10/18/2024 | 23 | 69862 | 14686 | -11558 | 20279 | 6286 | -4947 | 0.296 | 619 | 93 | 0.15
10/18/2024 | 24 | 66182 | 14665 | -11588 | 19726 | 6277 | -4960 | 0.304 | 464 | 54 | 0.116
10/19/2024 | 1 | 64264 | 15048 | -12341 | 19208 | 6441 | -5282 | 0.304 | 340 | 23 | 0.068
10/19/2024 | 2 | 62114 | 15261 | -12550 | 18230 | 6532 | -5372 | 0.299 | 402 | 34 | 0.085
10/19/2024 | 3 | 60134 | 15195 | -12381 | 17658 | 6503 | -5299 | 0.3 | 517 | 75 | 0.145
10/19/2024 | 4 | 59319 | 15130 | -12168 | 17491 | 6476 | -5208 | 0.301 | 344 | 19 | 0.055
10/19/2024 | 5 | 59497 | 14962 | -12001 | 17448 | 6403 | -5137 | 0.3 | 596 | 73 | 0.122
10/19/2024 | 6 | 60853 | 14719 | -11776 | 17985 | 6300 | -5040 | 0.302 | 459 | 61 | 0.133
10/19/2024 | 7 | 63323 | 14540 | -11505 | 18149 | 6223 | -4924 | 0.293 | 501 | 78 | 0.156
10/19/2024 | 8 | 65496 | 13510 | -10982 | 17912 | 5782 | -4700 | 0.279 | 113 | 10 | 0.088
10/19/2024 | 9 | 66515 | 12968 | -11041 | 15055 | 5550 | -4726 | 0.232 | 0 | 0 | 0
10/19/2024 | 10 | 66024 | 12989 | -11048 | 13425 | 5559 | -4729 | 0.21 | 0 | 0 | 0
10/19/2024 | 11 | 64388 | 12890 | -10950 | 12406 | 5517 | -4687 | 0.2 | 0 | 0 | 0
10/19/2024 | 12 | 62948 | 13084 | -11105 | 11859 | 5600 | -4753 | 0.196 | 0 | 0 | 0
10/19/2024 | 13 | 62084 | 13363 | -11444 | 11872 | 5719 | -4898 | 0.198 | 0 | 0 | 0
10/19/2024 | 14 | 62458 | 13664 | -11454 | 11787 | 5848 | -4902 | 0.197 | 0 | 0 | 0
10/19/2024 | 15 | 64015 | 13836 | -11662 | 11892 | 5922 | -4991 | 0.194 | 0 | 0 | 0
10/19/2024 | 16 | 65986 | 14030 | -11268 | 12539 | 6005 | -4823 | 0.2 | 0 | 0 | 0
10/19/2024 | 17 | 68787 | 14351 | -10974 | 14780 | 6142 | -4697 | 0.225 | 0 | 0 | 0
10/19/2024 | 18 | 73372 | 15096 | -11572 | 19046 | 6461 | -4953 | 0.267 | 0 | 0 | 0
10/19/2024 | 19 | 74811 | 15610 | -11823 | 20889 | 6681 | -5060 | 0.286 | 62 | 6 | 0.097
10/19/2024 | 20 | 73465 | 15843 | -12041 | 20783 | 6781 | -5154 | 0.29 | 410 | 9 | 0.022
10/19/2024 | 21 | 70610 | 16193 | -12204 | 20025 | 6930 | -5223 | 0.291 | 542 | 73 | 0.135
10/19/2024 | 22 | 68042 | 16274 | -12150 | 19988 | 6965 | -5200 | 0.301 | 565 | 66 | 0.117
10/19/2024 | 23 | 64951 | 16291 | -12282 | 19798 | 6972 | -5257 | 0.312 | 442 | 72 | 0.163
10/19/2024 | 24 | 61462 | 15966 | -11738 | 19500 | 6834 | -5024 | 0.324 | 553 | 93 | 0.168
10/20/2024 | 1 | 59987 | 13803 | -10216 | 18394 | 5908 | -4372 | 0.313 | 1217 | 352 | 0.289
10/20/2024 | 2 | 57829 | 13579 | -10105 | 18023 | 5812 | -4325 | 0.318 | 1253 | 355 | 0.283
10/20/2024 | 3 | 56458 | 13576 | -9941 | 18031 | 5811 | -4255 | 0.326 | 1169 | 318 | 0.272
10/20/2024 | 4 | 55868 | 13585 | -9974 | 18059 | 5815 | -4269 | 0.33 | 1198 | 305 | 0.255
10/20/2024 | 5 | 56619 | 12172 | -9232 | 18325 | 5210 | -3951 | 0.329 | 980 | 214 | 0.218
10/20/2024 | 6 | 58155 | 11646 | -9099 | 18576 | 4985 | -3895 | 0.324 | 395 | 34 | 0.086
10/20/2024 | 7 | 59817 | 11542 | -8812 | 19394 | 4940 | -3771 | 0.329 | 657 | 145 | 0.221
10/20/2024 | 8 | 61504 | 11254 | -8927 | 19053 | 4817 | -3821 | 0.314 | 334 | 55 | 0.165
10/20/2024 | 9 | 62764 | 11375 | -9639 | 15217 | 4868 | -4125 | 0.247 | 0 | 0 | 0
10/20/2024 | 10 | 61790 | 12502 | -10300 | 14025 | 5351 | -4408 | 0.234 | 0 | 0 | 0
10/20/2024 | 11 | 61088 | 12578 | -10430 | 12593 | 5383 | -4464 | 0.214 | 0 | 0 | 0
10/20/2024 | 12 | 61226 | 12239 | -10168 | 12788 | 5239 | -4352 | 0.216 | 0 | 0 | 0
10/20/2024 | 13 | 61657 | 12348 | -10380 | 13044 | 5285 | -4443 | 0.218 | 0 | 0 | 0
10/20/2024 | 14 | 62431 | 13096 | -10645 | 12767 | 5605 | -4556 | 0.213 | 0 | 0 | 0
10/20/2024 | 15 | 64822 | 13531 | -10890 | 13190 | 5791 | -4661 | 0.212 | 0 | 0 | 0
10/20/2024 | 16 | 68382 | 13533 | -10921 | 14706 | 5792 | -4674 | 0.223 | 0 | 0 | 0
10/20/2024 | 17 | 72510 | 13407 | -10542 | 18446 | 5738 | -4512 | 0.261 | 0 | 0 | 0
10/20/2024 | 18 | 76728 | 14756 | -11247 | 20422 | 6316 | -4814 | 0.273 | 177 | 4 | 0.023
10/20/2024 | 19 | 77513 | 15005 | -11350 | 21625 | 6422 | -4858 | 0.286 | 336 | 0 | 0
10/20/2024 | 20 | 76272 | 14764 | -10832 | 21759 | 6319 | -4636 | 0.292 | 341 | 25 | 0.073
10/20/2024 | 21 | 72989 | 14991 | -10766 | 21766 | 6416 | -4608 | 0.305 | 396 | 24 | 0.061
10/20/2024 | 22 | 69836 | 14672 | -10734 | 21420 | 6279 | -4594 | 0.313 | 664 | 46 | 0.069
10/20/2024 | 23 | 65760 | 15059 | -11263 | 20379 | 6445 | -4820 | 0.316 | 502 | 58 | 0.116
10/20/2024 | 24 | 62039 | 15037 | -11306 | 19800 | 6436 | -4839 | 0.325 | 591 | 90 | 0.152
10/21/2024 | 1 | 60053 | 14347 | -11185 | 18479 | 6141 | -4787 | 0.314 | 228 | 0 | 0
10/21/2024 | 2 | 57976 | 14407 | -11236 | 17674 | 6166 | -4809 | 0.311 | 436 | 11 | 0.025
10/21/2024 | 3 | 56638 | 14205 | -11156 | 16682 | 6080 | -4774 | 0.301 | 578 | 69 | 0.119
10/21/2024 | 4 | 56604 | 13968 | -10960 | 16306 | 5978 | -4691 | 0.295 | 526 | 66 | 0.125
10/21/2024 | 5 | 58433 | 13408 | -10692 | 16719 | 5739 | -4576 | 0.292 | 545 | 95 | 0.174
10/21/2024 | 6 | 63004 | 13137 | -10701 | 18335 | 5623 | -4580 | 0.296 | 258 | 6 | 0.023
10/21/2024 | 7 | 69055 | 12687 | -10161 | 20207 | 5430 | -4349 | 0.297 | 370 | 16 | 0.043
10/21/2024 | 8 | 72807 | 12868 | -10553 | 19616 | 5508 | -4517 | 0.274 | 317 | 34 | 0.107
10/21/2024 | 9 | 72369 | 12498 | -10435 | 16384 | 5349 | -4466 | 0.232 | 105 | 0 | 0
10/21/2024 | 10 | 71195 | 12436 | -10395 | 14522 | 5323 | -4449 | 0.21 | 0 | 0 | 0
10/21/2024 | 11 | 70302 | 12738 | -10939 | 14172 | 5452 | -4682 | 0.207 | 0 | 0 | 0
10/21/2024 | 12 | 69964 | 13606 | -11862 | 13989 | 5824 | -5076 | 0.206 | 0 | 0 | 0
10/21/2024 | 13 | 70592 | 13657 | -12185 | 14030 | 5845 | -5215 | 0.203 | 0 | 0 | 0
10/21/2024 | 14 | 71180 | 14461 | -12480 | 14255 | 6190 | -5342 | 0.206 | 0 | 0 | 0
10/21/2024 | 15 | 73393 | 14532 | -12418 | 14690 | 6220 | -5315 | 0.207 | 0 | 0 | 0
10/21/2024 | 16 | 76636 | 14025 | -11925 | 15447 | 6002 | -5104 | 0.208 | 0 | 0 | 0
10/21/2024 | 17 | 80537 | 14130 | -12230 | 17916 | 6048 | -5234 | 0.227 | 0 | 0 | 0
10/21/2024 | 18 | 84251 | 14373 | -12402 | 21893 | 6152 | -5308 | 0.264 | 367 | 12 | 0.033
10/21/2024 | 19 | 84956 | 15168 | -13062 | 22535 | 6492 | -5591 | 0.269 | 233 | 0 | 0
10/21/2024 | 20 | 83801 | 14544 | -12415 | 22549 | 6225 | -5314 | 0.273 | 342 | 0 | 0
10/21/2024 | 21 | 80367 | 14196 | -12055 | 22136 | 6076 | -5159 | 0.279 | 346 | 0 | 0
10/21/2024 | 22 | 76363 | 14065 | -11858 | 21815 | 6020 | -5075 | 0.29 | 479 | 20 | 0.042
10/21/2024 | 23 | 71648 | 13990 | -12144 | 20776 | 5988 | -5197 | 0.293 | 475 | 30 | 0.063
10/21/2024 | 24 | 66811 | 13540 | -11467 | 19555 | 5795 | -4908 | 0.297 | 736 | 166 | 0.226
10/22/2024 | 1 | 64244 | 12574 | -10683 | 18951 | 5381 | -4572 | 0.299 | 506 | 120 | 0.237
10/22/2024 | 2 | 62118 | 12332 | -10412 | 18383 | 5278 | -4457 | 0.3 | 600 | 152 | 0.253
10/22/2024 | 3 | 60851 | 12168 | -10251 | 18134 | 5208 | -4387 | 0.302 | 398 | 67 | 0.168
10/22/2024 | 4 | 60890 | 11555 | -9869 | 18296 | 4945 | -4224 | 0.304 | 256 | 4 | 0.016
10/22/2024 | 5 | 62285 | 11314 | -9557 | 18569 | 4842 | -4090 | 0.302 | 327 | 7 | 0.021
10/22/2024 | 6 | 66384 | 11241 | -9622 | 19867 | 4811 | -4118 | 0.302 | 282 | 4 | 0.014
10/22/2024 | 7 | 72300 | 12084 | -10265 | 21389 | 5172 | -4393 | 0.299 | 340 | 3 | 0.009
10/22/2024 | 8 | 75816 | 12593 | -10562 | 21012 | 5390 | -4521 | 0.281 | 619 | 79 | 0.128
10/22/2024 | 9 | 75280 | 12733 | -11110 | 18304 | 5450 | -4755 | 0.247 | 192 | 0 | 0
10/22/2024 | 10 | 73412 | 12977 | -11182 | 16589 | 5554 | -4786 | 0.231 | 0 | 0 | 0
10/22/2024 | 11 | 71581 | 12714 | -11156 | 15867 | 5442 | -4775 | 0.226 | 0 | 0 | 0
10/22/2024 | 12 | 71400 | 13414 | -12237 | 16100 | 5741 | -5238 | 0.229 | 0 | 0 | 0
10/22/2024 | 13 | 71720 | 13320 | -11920 | 16398 | 5701 | -5102 | 0.232 | 0 | 0 | 0
10/22/2024 | 14 | 73469 | 13680 | -12319 | 16384 | 5855 | -5272 | 0.227 | 0 | 0 | 0
10/22/2024 | 15 | 76025 | 13558 | -12180 | 16596 | 5803 | -5213 | 0.222 | 0 | 0 | 0
10/22/2024 | 16 | 79386 | 13792 | -12097 | 17829 | 5903 | -5178 | 0.229 | 0 | 0 | 0
10/22/2024 | 17 | 83193 | 14980 | -13587 | 20841 | 6411 | -5815 | 0.253 | 0 | 0 | 0
10/22/2024 | 18 | 86421 | 15159 | -13767 | 24949 | 6488 | -5892 | 0.291 | 400 | 13 | 0.032
10/22/2024 | 19 | 86930 | 15627 | -13980 | 25921 | 6688 | -5984 | 0.301 | 288 | 13 | 0.045
10/22/2024 | 20 | 84977 | 15359 | -13416 | 25798 | 6574 | -5742 | 0.306 | 366 | 3 | 0.008
10/22/2024 | 21 | 81519 | 14527 | -12224 | 25216 | 6218 | -5232 | 0.313 | 374 | 5 | 0.013
10/22/2024 | 22 | 77384 | 14066 | -11477 | 25043 | 6020 | -4912 | 0.327 | 602 | 80 | 0.133
10/22/2024 | 23 | 72499 | 12719 | -10276 | 24454 | 5443 | -4398 | 0.34 | 371 | 6 | 0.016
10/22/2024 | 24 | 68267 | 12258 | -9883 | 23545 | 5246 | -4230 | 0.348 | 441 | 24 | 0.054
10/23/2024 | 1 | 64745 | 11640 | -8994 | 22598 | 4982 | -3849 | 0.352 | 224 | 38 | 0.17
10/23/2024 | 2 | 62775 | 11608 | -9058 | 22024 | 4968 | -3877 | 0.354 | 143 | 27 | 0.189
10/23/2024 | 3 | 61404 | 11500 | -8957 | 21468 | 4922 | -3834 | 0.353 | 168 | 27 | 0.161
10/23/2024 | 4 | 61294 | 11275 | -8852 | 21328 | 4825 | -3788 | 0.351 | 24 | 3 | 0.125
10/23/2024 | 5 | 63101 | 11193 | -9031 | 21686 | 4790 | -3865 | 0.346 | 43 | 6 | 0.14
10/23/2024 | 6 | 67501 | 11363 | -9456 | 22458 | 4863 | -4048 | 0.335 | 258 | 0 | 0
10/23/2024 | 7 | 73481 | 13535 | -11406 | 22919 | 5793 | -4882 | 0.315 | 536 | 54 | 0.101
10/23/2024 | 8 | 77396 | 13911 | -12029 | 22631 | 5954 | -5148 | 0.296 | 925 | 227 | 0.245
10/23/2024 | 9 | 77299 | 13358 | -11982 | 19012 | 5718 | -5128 | 0.249 | 62 | 3 | 0.048
10/23/2024 | 10 | 75682 | 12638 | -11313 | 17484 | 5409 | -4842 | 0.234 | 0 | 0 | 0
10/23/2024 | 11 | 74215 | 12390 | -11164 | 17131 | 5303 | -4778 | 0.234 | 0 | 0 | 0
10/23/2024 | 12 | 73907 | 12947 | -11718 | 17971 | 5541 | -5015 | 0.246 | 0 | 0 | 0
10/23/2024 | 13 | 74795 | 13557 | -12364 | 17566 | 5802 | -5292 | 0.238 | 0 | 0 | 0
10/23/2024 | 14 | 76717 | 14278 | -12983 | 17783 | 6111 | -5557 | 0.235 | 0 | 0 | 0
10/23/2024 | 15 | 79891 | 14680 | -13358 | 18610 | 6283 | -5717 | 0.236 | 117 | 14 | 0.12
10/23/2024 | 16 | 82836 | 14780 | -13393 | 19377 | 6326 | -5732 | 0.237 | 122 | 17 | 0.139
10/23/2024 | 17 | 85694 | 16770 | -15216 | 21362 | 7178 | -6512 | 0.252 | 170 | 22 | 0.129
10/23/2024 | 18 | 88427 | 17882 | -16177 | 24021 | 7653 | -6924 | 0.275 | 701 | 158 | 0.225
10/23/2024 | 19 | 88416 | 18018 | -16309 | 24639 | 7712 | -6980 | 0.282 | 297 | 31 | 0.104
10/23/2024 | 20 | 86465 | 17534 | -15415 | 24309 | 7504 | -6598 | 0.285 | 364 | 10 | 0.027
10/23/2024 | 21 | 82634 | 16675 | -13690 | 24142 | 7137 | -5859 | 0.297 | 619 | 49 | 0.079
10/23/2024 | 22 | 78604 | 15622 | -12639 | 23089 | 6686 | -5410 | 0.299 | 641 | 92 | 0.144
10/23/2024 | 23 | 73380 | 13979 | -11217 | 21819 | 5983 | -4801 | 0.302 | 579 | 78 | 0.135
10/23/2024 | 24 | 68396 | 14212 | -11205 | 21859 | 6083 | -4796 | 0.324 | 440 | 33 | 0.075
10/24/2024 | 1 | 65634 | 14149 | -11087 | 22732 | 6056 | -4745 | 0.35 | 493 | 57 | 0.116
10/24/2024 | 2 | 63464 | 14088 | -10956 | 19268 | 6029 | -4689 | 0.309 | 427 | 62 | 0.145
10/24/2024 | 3 | 62100 | 13917 | -11006 | 18565 | 5957 | -4711 | 0.305 | 306 | 37 | 0.121
10/24/2024 | 4 | 62025 | 13533 | -10962 | 17913 | 5792 | -4692 | 0.294 | 348 | 56 | 0.161
10/24/2024 | 5 | 63753 | 13210 | -11024 | 18279 | 5654 | -4718 | 0.291 | 341 | 50 | 0.147
10/24/2024 | 6 | 68109 | 12451 | -10464 | 19425 | 5329 | -4479 | 0.289 | 328 | 0 | 0
10/24/2024 | 7 | 74375 | 14527 | -12506 | 20492 | 6217 | -5352 | 0.28 | 241 | 0 | 0
10/24/2024 | 8 | 78155 | 14360 | -12331 | 19860 | 6146 | -5278 | 0.259 | 327 | 2 | 0.006
10/24/2024 | 9 | 78032 | 14412 | -12598 | 17000 | 6168 | -5392 | 0.223 | 184 | 1 | 0.005
10/24/2024 | 10 | 76748 | 13580 | -11764 | 16261 | 5812 | -5035 | 0.217 | 146 | 0 | 0
10/24/2024 | 11 | 74422 | 14284 | -12216 | 15978 | 6114 | -5228 | 0.22 | 0 | 0 | 0
10/24/2024 | 12 | 73802 | 14501 | -12483 | 16006 | 6206 | -5343 | 0.222 | 0 | 0 | 0
10/24/2024 | 13 | 74001 | 14748 | -12724 | 16535 | 6312 | -5446 | 0.229 | 0 | 0 | 0
10/24/2024 | 14 | 75170 | 14780 | -12693 | 17194 | 6326 | -5433 | 0.234 | 0 | 0 | 0
10/24/2024 | 15 | 77402 | 14634 | -12858 | 16938 | 6263 | -5503 | 0.224 | 0 | 0 | 0
10/24/2024 | 16 | 80156 | 14226 | -12405 | 17733 | 6089 | -5309 | 0.226 | 0 | 0 | 0
10/24/2024 | 17 | 83368 | 14775 | -12669 | 20648 | 6324 | -5423 | 0.252 | 0 | 0 | 0
10/24/2024 | 18 | 86586 | 15475 | -13370 | 24077 | 6623 | -5722 | 0.282 | 277 | 1 | 0.004
10/24/2024 | 19 | 86790 | 15153 | -13147 | 25064 | 6485 | -5627 | 0.292 | 436 | 0 | 0
10/24/2024 | 20 | 85213 | 15196 | -12872 | 25262 | 6504 | -5509 | 0.3 | 477 | 3 | 0.006
10/24/2024 | 21 | 82082 | 15523 | -12866 | 24877 | 6644 | -5506 | 0.307 | 609 | 75 | 0.123
10/24/2024 | 22 | 77872 | 15064 | -12163 | 24942 | 6447 | -5206 | 0.324 | 1092 | 267 | 0.245
10/24/2024 | 23 | 73310 | 13147 | -10593 | 24763 | 5627 | -4534 | 0.341 | 804 | 167 | 0.208
10/24/2024 | 24 | 68807 | 12712 | -10288 | 23737 | 5441 | -4403 | 0.348 | 733 | 129 | 0.176
10/25/2024 | 1 | 66653 | 12485 | -10349 | 22561 | 5343 | -4429 | 0.341 | 516 | 57 | 0.11
10/25/2024 | 2 | 64268 | 12289 | -10083 | 21767 | 5260 | -4316 | 0.342 | 433 | 40 | 0.092
10/25/2024 | 3 | 62950 | 12187 | -10075 | 21515 | 5216 | -4312 | 0.345 | 435 | 27 | 0.062
10/25/2024 | 4 | 62455 | 11944 | -9717 | 21450 | 5112 | -4159 | 0.346 | 299 | 10 | 0.033
10/25/2024 | 5 | 63824 | 11902 | -9767 | 21897 | 5094 | -4180 | 0.346 | 382 | 0 | 0
10/25/2024 | 6 | 68189 | 12598 | -10746 | 22623 | 5392 | -4600 | 0.334 | 438 | 0 | 0
10/25/2024 | 7 | 73993 | 14348 | -12617 | 23301 | 6141 | -5400 | 0.317 | 666 | 52 | 0.078
10/25/2024 | 8 | 77222 | 14497 | -12436 | 22914 | 6205 | -5323 | 0.3 | 1004 | 183 | 0.182
10/25/2024 | 9 | 76910 | 13862 | -12093 | 18935 | 5933 | -5176 | 0.25 | 366 | 21 | 0.057
10/25/2024 | 10 | 75763 | 13479 | -11399 | 17654 | 5769 | -4879 | 0.238 | 304 | 4 | 0.013
10/25/2024 | 11 | 74163 | 13361 | -11230 | 17125 | 5718 | -4806 | 0.236 | 86 | 16 | 0.186
10/25/2024 | 12 | 72334 | 13472 | -11141 | 17139 | 5766 | -4768 | 0.243 | 55 | 13 | 0.236
10/25/2024 | 13 | 71820 | 13626 | -11207 | 16768 | 5832 | -4797 | 0.24 | 0 | 0 | 0
10/25/2024 | 14 | 72417 | 13750 | -11243 | 16360 | 5885 | -4812 | 0.233 | 0 | 0 | 0
10/25/2024 | 15 | 74779 | 13774 | -11209 | 16426 | 5896 | -4798 | 0.227 | 0 | 0 | 0
10/25/2024 | 16 | 77757 | 14135 | -11691 | 17335 | 6050 | -5004 | 0.229 | 0 | 0 | 0
10/25/2024 | 17 | 81152 | 14833 | -12288 | 20930 | 6348 | -5260 | 0.263 | 33 | 8 | 0.242
10/25/2024 | 18 | 83645 | 15807 | -12996 | 24403 | 6765 | -5562 | 0.296 | 529 | 20 | 0.038
10/25/2024 | 19 | 83293 | 15596 | -12562 | 25083 | 6675 | -5376 | 0.306 | 454 | 10 | 0.022
10/25/2024 | 20 | 80471 | 15657 | -12484 | 24886 | 6701 | -5343 | 0.314 | 591 | 61 | 0.103
10/25/2024 | 21 | 76996 | 15976 | -12206 | 24634 | 6838 | -5224 | 0.325 | 721 | 73 | 0.101
10/25/2024 | 22 | 73746 | 15388 | -11469 | 24158 | 6586 | -4909 | 0.333 | 601 | 118 | 0.196
10/25/2024 | 23 | 70078 | 12591 | -8932 | 23716 | 5389 | -3823 | 0.343 | 386 | 46 | 0.119
10/25/2024 | 24 | 66233 | 12083 | -8449 | 22996 | 5172 | -3616 | 0.351 | 466 | 60 | 0.129
10/26/2024 | 1 | 63784 | 11789 | -8481 | 21822 | 5046 | -3630 | 0.346 | 287 | 3 | 0.01
10/26/2024 | 2 | 61349 | 11528 | -8064 | 20855 | 4934 | -3451 | 0.345 | 320 | 2 | 0.006
10/26/2024 | 3 | 59317 | 11540 | -7986 | 19972 | 4939 | -3418 | 0.342 | 332 | 7 | 0.021
10/26/2024 | 4 | 58420 | 11192 | -7597 | 19850 | 4790 | -3252 | 0.345 | 312 | 0 | 0
10/26/2024 | 5 | 58695 | 11108 | -7601 | 19897 | 4754 | -3253 | 0.344 | 432 | 14 | 0.032
10/26/2024 | 6 | 60263 | 11200 | -7760 | 20042 | 4794 | -3321 | 0.338 | 394 | 0 | 0
10/26/2024 | 7 | 62691 | 13252 | -9539 | 20424 | 5672 | -4083 | 0.332 | 274 | 0 | 0
10/26/2024 | 8 | 64640 | 12850 | -9177 | 19791 | 5500 | -3928 | 0.313 | 272 | 12 | 0.044
10/26/2024 | 9 | 66276 | 12523 | -9670 | 16706 | 5360 | -4138 | 0.259 | 215 | 19 | 0.088
10/26/2024 | 10 | 66013 | 13387 | -10423 | 15148 | 5729 | -4461 | 0.238 | 17 | 3 | 0.176
10/26/2024 | 11 | 65240 | 13359 | -10259 | 15074 | 5717 | -4390 | 0.24 | 0 | 0 | 0
10/26/2024 | 12 | 65328 | 13734 | -10774 | 14880 | 5878 | -4612 | 0.236 | 0 | 0 | 0
10/26/2024 | 13 | 66224 | 13741 | -10861 | 14844 | 5881 | -4648 | 0.233 | 0 | 0 | 0
10/26/2024 | 14 | 68306 | 13920 | -11028 | 15131 | 5958 | -4720 | 0.23 | 0 | 0 | 0
10/26/2024 | 15 | 71318 | 13729 | -11081 | 14931 | 5876 | -4743 | 0.217 | 0 | 0 | 0
10/26/2024 | 16 | 75203 | 13757 | -10925 | 16583 | 5888 | -4676 | 0.228 | 0 | 0 | 0
10/26/2024 | 17 | 78552 | 14172 | -11218 | 19735 | 6066 | -4801 | 0.258 | 81 | 8 | 0.099
10/26/2024 | 18 | 80745 | 15458 | -12652 | 22809 | 6616 | -5415 | 0.287 | 342 | 22 | 0.064
10/26/2024 | 19 | 80106 | 15315 | -12472 | 23218 | 6555 | -5338 | 0.295 | 458 | 2 | 0.004
10/26/2024 | 20 | 77146 | 14907 | -11908 | 22790 | 6380 | -5097 | 0.3 | 528 | 0 | 0
10/26/2024 | 21 | 74279 | 14746 | -11660 | 22245 | 6311 | -4991 | 0.305 | 347 | 0 | 0
10/26/2024 | 22 | 71464 | 14384 | -11245 | 21982 | 6156 | -4813 | 0.313 | 678 | 95 | 0.14
10/26/2024 | 23 | 68381 | 12132 | -9398 | 21829 | 5192 | -4022 | 0.323 | 744 | 44 | 0.059
10/26/2024 | 24 | 65024 | 11794 | -8915 | 21100 | 5048 | -3816 | 0.329 | 767 | 150 | 0.196
10/27/2024 | 1 | 62330 | 11254 | -8342 | 19489 | 4817 | -3570 | 0.318 | 927 | 265 | 0.286
10/27/2024 | 2 | 60338 | 10975 | -8224 | 18707 | 4697 | -3520 | 0.315 | 805 | 198 | 0.246
10/27/2024 | 3 | 58869 | 11294 | -8577 | 17958 | 4834 | -3671 | 0.31 | 856 | 233 | 0.272
10/27/2024 | 4 | 57905 | 11573 | -8930 | 17726 | 4953 | -3822 | 0.311 | 678 | 135 | 0.199
10/27/2024 | 5 | 58283 | 11769 | -9378 | 17088 | 5037 | -4013 | 0.299 | 1196 | 326 | 0.273
10/27/2024 | 6 | 59337 | 12341 | -9966 | 16132 | 5282 | -4265 | 0.278 | 1474 | 428 | 0.29
10/27/2024 | 7 | 61191 | 13588 | -11118 | 15948 | 5816 | -4759 | 0.267 | 911 | 206 | 0.226
10/27/2024 | 8 | 63602 | 12812 | -10474 | 15908 | 5484 | -4483 | 0.256 | 777 | 140 | 0.18
10/27/2024 | 9 | 65125 | 12297 | -10299 | 14658 | 5263 | -4408 | 0.231 | 515 | 28 | 0.054
10/27/2024 | 10 | 66009 | 11975 | -9783 | 14291 | 5125 | -4187 | 0.223 | 50 | 3 | 0.06
10/27/2024 | 11 | 65586 | 11750 | -9755 | 13751 | 5029 | -4175 | 0.216 | 205 | 13 | 0.063
10/27/2024 | 12 | 65504 | 11920 | -9828 | 13273 | 5102 | -4206 | 0.21 | 0 | 0 | 0
10/27/2024 | 13 | 67442 | 12453 | -10206 | 13266 | 5330 | -4368 | 0.204 | 0 | 0 | 0
10/27/2024 | 14 | 69735 | 12848 | -10644 | 13174 | 5499 | -4556 | 0.196 | 0 | 0 | 0
10/27/2024 | 15 | 72877 | 13048 | -10782 | 13729 | 5584 | -4615 | 0.196 | 0 | 0 | 0
10/27/2024 | 16 | 76273 | 12935 | -10698 | 15285 | 5536 | -4578 | 0.207 | 0 | 0 | 0
10/27/2024 | 17 | 78383 | 13598 | -10892 | 18422 | 5820 | -4662 | 0.241 | 44 | 4 | 0.091
10/27/2024 | 18 | 80344 | 13795 | -10908 | 20150 | 5904 | -4669 | 0.257 | 38 | 5 | 0.132
10/27/2024 | 19 | 81376 | 13970 | -10724 | 20184 | 5979 | -4590 | 0.255 | 599 | 80 | 0.134
10/27/2024 | 20 | 79519 | 13535 | -10397 | 19720 | 5793 | -4450 | 0.255 | 729 | 117 | 0.16
10/27/2024 | 21 | 77164 | 13885 | -10941 | 20373 | 5943 | -4682 | 0.27 | 921 | 172 | 0.187
10/27/2024 | 22 | 74095 | 13652 | -10828 | 19820 | 5843 | -4634 | 0.273 | 898 | 208 | 0.232
10/27/2024 | 23 | 69865 | 13472 | -11018 | 18800 | 5766 | -4716 | 0.274 | 1164 | 304 | 0.261
10/27/2024 | 24 | 65718 | 13519 | -11137 | 17244 | 5786 | -4767 | 0.268 | 1256 | 353 | 0.281
10/28/2024 | 1 | 62800 | 13118 | -10923 | 15840 | 5614 | -4675 | 0.258 | 1053 | 311 | 0.295
10/28/2024 | 2 | 61386 | 13092 | -10936 | 15195 | 5603 | -4680 | 0.254 | 1011 | 298 | 0.295
10/28/2024 | 3 | 60327 | 13042 | -10965 | 15176 | 5582 | -4693 | 0.257 | 640 | 148 | 0.231
10/28/2024 | 4 | 60048 | 13015 | -10821 | 14636 | 5570 | -4631 | 0.25 | 716 | 182 | 0.254
10/28/2024 | 5 | 61680 | 12814 | -10515 | 15054 | 5484 | -4500 | 0.251 | 640 | 124 | 0.194
10/28/2024 | 6 | 66361 | 12684 | -10631 | 16730 | 5429 | -4550 | 0.257 | 782 | 82 | 0.105
10/28/2024 | 7 | 73269 | 13681 | -12234 | 19831 | 5856 | -5236 | 0.274 | 549 | 30 | 0.055
10/28/2024 | 8 | 77906 | 13670 | -12625 | 20417 | 5851 | -5404 | 0.264 | 762 | 52 | 0.068
10/28/2024 | 9 | 78166 | 12616 | -11786 | 18126 | 5400 | -5044 | 0.234 | 462 | 30 | 0.065
10/28/2024 | 10 | 77725 | 12637 | -11539 | 16734 | 5409 | -4939 | 0.218 | 148 | 8 | 0.054
10/28/2024 | 11 | 76052 | 13232 | -11982 | 15667 | 5664 | -5128 | 0.21 | 0 | 0 | 0
10/28/2024 | 12 | 75408 | 13010 | -11936 | 15442 | 5568 | -5108 | 0.208 | 0 | 0 | 0
10/28/2024 | 13 | 75173 | 13655 | -12656 | 15164 | 5844 | -5416 | 0.205 | 0 | 0 | 0
10/28/2024 | 14 | 76268 | 13414 | -12669 | 14359 | 5741 | -5422 | 0.191 | 0 | 0 | 0
10/28/2024 | 15 | 76904 | 13197 | -12610 | 14284 | 5648 | -5397 | 0.188 | 0 | 0 | 0
10/28/2024 | 16 | 79012 | 13436 | -12868 | 15043 | 5751 | -5507 | 0.192 | 0 | 0 | 0
10/28/2024 | 17 | 81966 | 14902 | -14000 | 17293 | 6378 | -5992 | 0.213 | 0 | 0 | 0
10/28/2024 | 18 | 84497 | 16050 | -14942 | 20291 | 6869 | -6395 | 0.243 | 496 | 15 | 0.03
10/28/2024 | 19 | 86315 | 15930 | -14744 | 20769 | 6818 | -6310 | 0.243 | 491 | 25 | 0.051
10/28/2024 | 20 | 84584 | 15829 | -14532 | 21060 | 6775 | -6220 | 0.252 | 689 | 104 | 0.151
10/28/2024 | 21 | 81413 | 15395 | -13904 | 20925 | 6589 | -5951 | 0.26 | 618 | 66 | 0.107
10/28/2024 | 22 | 78283 | 14869 | -13355 | 21018 | 6364 | -5716 | 0.272 | 886 | 277 | 0.313
10/28/2024 | 23 | 73573 | 13100 | -11663 | 20330 | 5606 | -4992 | 0.279 | 1138 | 300 | 0.264
10/28/2024 | 24 | 68817 | 12675 | -11109 | 19846 | 5425 | -4754 | 0.292 | 1372 | 370 | 0.27
10/29/2024 | 1 | 66150 | 12664 | -11178 | 19520 | 5420 | -4784 | 0.298 | 1378 | 377 | 0.274
10/29/2024 | 2 | 64633 | 12465 | -11131 | 19526 | 5335 | -4764 | 0.305 | 1258 | 362 | 0.288
10/29/2024 | 3 | 63511 | 12128 | -10871 | 19338 | 5191 | -4653 | 0.307 | 1332 | 389 | 0.292
10/29/2024 | 4 | 63082 | 12160 | -10765 | 19129 | 5204 | -4608 | 0.306 | 1388 | 411 | 0.296
10/29/2024 | 5 | 65028 | 12230 | -11183 | 19618 | 5235 | -4787 | 0.304 | 1011 | 282 | 0.279
10/29/2024 | 6 | 69448 | 12092 | -11210 | 20114 | 5175 | -4798 | 0.291 | 859 | 195 | 0.227
10/29/2024 | 7 | 75091 | 13729 | -12710 | 20587 | 5876 | -5440 | 0.276 | 933 | 192 | 0.206
10/29/2024 | 8 | 79116 | 13106 | -12117 | 20556 | 5610 | -5186 | 0.262 | 896 | 220 | 0.246
10/29/2024 | 9 | 79167 | 13755 | -13200 | 17790 | 5887 | -5650 | 0.226 | 336 | 41 | 0.122
10/29/2024 | 10 | 77632 | 13917 | -13680 | 16106 | 5957 | -5855 | 0.208 | 0 | 0 | 0
10/29/2024 | 11 | 74812 | 14051 | -13608 | 15259 | 6014 | -5824 | 0.205 | 0 | 0 | 0
10/29/2024 | 12 | 72958 | 13628 | -13267 | 14704 | 5833 | -5678 | 0.203 | 0 | 0 | 0
10/29/2024 | 13 | 72077 | 13910 | -13433 | 14647 | 5954 | -5749 | 0.205 | 0 | 0 | 0
10/29/2024 | 14 | 71760 | 14286 | -13641 | 14478 | 6114 | -5838 | 0.204 | 0 | 0 | 0
10/29/2024 | 15 | 72668 | 14040 | -13591 | 14677 | 6009 | -5817 | 0.203 | 0 | 0 | 0
10/29/2024 | 16 | 74526 | 13772 | -13157 | 14867 | 5894 | -5631 | 0.201 | 0 | 0 | 0
10/29/2024 | 17 | 77369 | 14346 | -13275 | 17086 | 6140 | -5682 | 0.224 | 14 | 0 | 0
10/29/2024 | 18 | 80986 | 13767 | -12595 | 20448 | 5892 | -5391 | 0.255 | 596 | 26 | 0.044
10/29/2024 | 19 | 83410 | 13751 | -12483 | 21629 | 5886 | -5343 | 0.262 | 644 | 68 | 0.106
10/29/2024 | 20 | 82184 | 13877 | -12473 | 21499 | 5939 | -5338 | 0.264 | 769 | 108 | 0.14
10/29/2024 | 21 | 79774 | 13950 | -12051 | 21566 | 5971 | -5157 | 0.274 | 632 | 99 | 0.157
10/29/2024 | 22 | 75870 | 13543 | -11132 | 22041 | 5796 | -4764 | 0.295 | 1025 | 250 | 0.244
10/29/2024 | 23 | 72040 | 11562 | -9065 | 22315 | 4949 | -3880 | 0.314 | 940 | 215 | 0.229
10/29/2024 | 24 | 67743 | 11455 | -8861 | 22196 | 4903 | -3792 | 0.331 | 1041 | 253 | 0.243
10/30/2024 | 1 | 65176 | 11287 | -8555 | 22482 | 4831 | -3662 | 0.348 | 1447 | 413 | 0.285
10/30/2024 | 2 | 63029 | 11390 | -8432 | 22143 | 4875 | -3608 | 0.355 | 1522 | 373 | 0.245
10/30/2024 | 3 | 62300 | 11102 | -8463 | 21952 | 4752 | -3622 | 0.355 | 1051 | 188 | 0.179
10/30/2024 | 4 | 62448 | 10912 | -8436 | 22020 | 4670 | -3610 | 0.355 | 743 | 76 | 0.102
10/30/2024 | 5 | 64377 | 11189 | -8728 | 22543 | 4789 | -3735 | 0.353 | 614 | 26 | 0.042
10/30/2024 | 6 | 69206 | 11771 | -9385 | 23333 | 5038 | -4017 | 0.34 | 390 | 13 | 0.033
10/30/2024 | 7 | 75515 | 13818 | -11472 | 24286 | 5914 | -4910 | 0.325 | 746 | 28 | 0.038
10/30/2024 | 8 | 79815 | 13597 | -11746 | 24071 | 5819 | -5027 | 0.304 | 742 | 72 | 0.097
10/30/2024 | 9 | 79066 | 13317 | -11595 | 20777 | 5700 | -4963 | 0.266 | 602 | 100 | 0.166
10/30/2024 | 10 | 77389 | 13262 | -11726 | 17914 | 5676 | -5019 | 0.235 | 325 | 29 | 0.089
10/30/2024 | 11 | 74298 | 13202 | -11609 | 16909 | 5650 | -4969 | 0.232 | 77 | 0 | 0
10/30/2024 | 12 | 72822 | 13300 | -11718 | 16591 | 5692 | -5015 | 0.232 | 45 | 0 | 0
10/30/2024 | 13 | 71889 | 13380 | -11806 | 16391 | 5726 | -5053 | 0.232 | 20 | 0 | 0
10/30/2024 | 14 | 72216 | 13798 | -12238 | 16456 | 5905 | -5238 | 0.232 | 0 | 0 | 0
10/30/2024 | 15 | 73543 | 13834 | -12520 | 16499 | 5921 | -5358 | 0.228 | 0 | 0 | 0
10/30/2024 | 16 | 75722 | 13020 | -12176 | 16619 | 5573 | -5212 | 0.222 | 0 | 0 | 0
10/30/2024 | 17 | 78416 | 14508 | -13611 | 19097 | 6209 | -5825 | 0.246 | 11 | 0 | 0
10/30/2024 | 18 | 82920 | 15251 | -14188 | 23084 | 6527 | -6072 | 0.28 | 486 | 5 | 0.01
10/30/2024 | 19 | 84687 | 15550 | -14626 | 23912 | 6655 | -6260 | 0.284 | 519 | 7 | 0.013
10/30/2024 | 20 | 83072 | 15269 | -13978 | 23460 | 6535 | -5982 | 0.285 | 850 | 124 | 0.146
10/30/2024 | 21 | 80451 | 15136 | -13335 | 22829 | 6478 | -5707 | 0.287 | 1068 | 235 | 0.22
10/30/2024 | 22 | 77083 | 14573 | -12578 | 22864 | 6237 | -5383 | 0.3 | 1242 | 314 | 0.253
10/30/2024 | 23 | 72849 | 11480 | -9528 | 22614 | 4914 | -4077 | 0.314 | 1220 | 292 | 0.239
10/30/2024 | 24 | 68827 | 11008 | -9055 | 22564 | 4712 | -3876 | 0.331 | 1416 | 379 | 0.268
10/31/2024 | 1 | 66208 | 12608 | -10354 | 21068 | 5396 | -4432 | 0.322 | 1152 | 274 | 0.238
10/31/2024 | 2 | 64402 | 12486 | -10387 | 19968 | 5344 | -4445 | 0.314 | 1145 | 306 | 0.267
10/31/2024 | 3 | 63328 | 12377 | -10312 | 19806 | 5297 | -4414 | 0.316 | 1172 | 291 | 0.248
10/31/2024 | 4 | 63293 | 12235 | -10208 | 19751 | 5237 | -4369 | 0.316 | 923 | 237 | 0.257
10/31/2024 | 5 | 65306 | 11680 | -9962 | 20131 | 4999 | -4264 | 0.311 | 747 | 132 | 0.177
10/31/2024 | 6 | 69886 | 12049 | -10412 | 20593 | 5157 | -4456 | 0.298 | 543 | 79 | 0.145
10/31/2024 | 7 | 76341 | 13070 | -11572 | 21559 | 5594 | -4953 | 0.285 | 476 | 34 | 0.071
10/31/2024 | 8 | 80460 | 12290 | -11062 | 21427 | 5260 | -4735 | 0.269 | 566 | 31 | 0.055
10/31/2024 | 9 | 79725 | 12343 | -11394 | 17788 | 5283 | -4876 | 0.226 | 609 | 8 | 0.013
10/31/2024 | 10 | 77838 | 12656 | -11887 | 15939 | 5417 | -5088 | 0.207 | 0 | 0 | 0
10/31/2024 | 11 | 74491 | 13143 | -12504 | 15064 | 5625 | -5352 | 0.204 | 0 | 0 | 0
10/31/2024 | 12 | 72442 | 12820 | -12307 | 14766 | 5487 | -5267 | 0.205 | 0 | 0 | 0
10/31/2024 | 13 | 71365 | 12915 | -12468 | 14511 | 5528 | -5336 | 0.205 | 0 | 0 | 0
10/31/2024 | 14 | 71668 | 13101 | -12657 | 14520 | 5607 | -5417 | 0.204 | 0 | 0 | 0
10/31/2024 | 15 | 72692 | 13178 | -12884 | 15008 | 5640 | -5514 | 0.207 | 0 | 0 | 0
10/31/2024 | 16 | 74358 | 13086 | -12901 | 15390 | 5601 | -5522 | 0.208 | 0 | 0 | 0
10/31/2024 | 17 | 77251 | 13470 | -12921 | 17175 | 5765 | -5530 | 0.224 | 0 | 0 | 0
10/31/2024 | 18 | 80095 | 13526 | -12258 | 20470 | 5789 | -5246 | 0.258 | 650 | 43 | 0.066
10/31/2024 | 19 | 80267 | 14132 | -12490 | 20630 | 6048 | -5346 | 0.26 | 855 | 101 | 0.118
10/31/2024 | 20 | 78015 | 14050 | -12561 | 20127 | 6014 | -5376 | 0.261 | 861 | 110 | 0.128
10/31/2024 | 21 | 76289 | 14041 | -12152 | 19600 | 6009 | -5201 | 0.261 | 811 | 141 | 0.174
10/31/2024 | 22 | 74258 | 13961 | -11688 | 19564 | 5975 | -5002 | 0.268 | 732 | 112 | 0.153
10/31/2024 | 23 | 70824 | 13345 | -10924 | 19341 | 5712 | -4676 | 0.278 | 546 | 69 | 0.126
10/31/2024 | 24 | 67255 | 12947 | -10441 | 18939 | 5541 | -4468 | 0.287 | 555 | 105 | 0.189