## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
10/1/2025 | 1 | 68479 | 13336 | -11489 | 20362 | 5708 | -4917 | 0.301 | 1038 | 265 | 0.255
10/1/2025 | 2 | 65798 | 13698 | -11447 | 19893 | 5863 | -4899 | 0.306 | 853 | 217 | 0.254
10/1/2025 | 3 | 63382 | 14745 | -12152 | 19185 | 6311 | -5201 | 0.308 | 728 | 138 | 0.19
10/1/2025 | 4 | 62253 | 14597 | -12112 | 19021 | 6248 | -5184 | 0.31 | 659 | 126 | 0.191
10/1/2025 | 5 | 63418 | 14167 | -11574 | 19256 | 6064 | -4954 | 0.309 | 462 | 36 | 0.078
10/1/2025 | 6 | 66852 | 14635 | -11869 | 20046 | 6264 | -5080 | 0.305 | 563 | 56 | 0.099
10/1/2025 | 7 | 71654 | 12893 | -10206 | 21769 | 5518 | -4369 | 0.308 | 1748 | 477 | 0.273
10/1/2025 | 8 | 74994 | 12027 | -9671 | 20046 | 5148 | -4139 | 0.272 | 2003 | 566 | 0.283
10/1/2025 | 9 | 75744 | 11793 | -9780 | 17260 | 5047 | -4186 | 0.233 | 373 | 17 | 0.046
10/1/2025 | 10 | 75835 | 11929 | -9965 | 16355 | 5106 | -4265 | 0.221 | 123 | 0 | 0
10/1/2025 | 11 | 76707 | 11796 | -9901 | 16120 | 5049 | -4238 | 0.215 | 0 | 0 | 0
10/1/2025 | 12 | 76924 | 12057 | -10238 | 16208 | 5161 | -4382 | 0.216 | 0 | 0 | 0
10/1/2025 | 13 | 78645 | 12504 | -10828 | 15924 | 5352 | -4634 | 0.207 | 0 | 0 | 0
10/1/2025 | 14 | 81389 | 12999 | -11834 | 15933 | 5564 | -5065 | 0.199 | 0 | 0 | 0
10/1/2025 | 15 | 84336 | 13517 | -12730 | 16759 | 5785 | -5449 | 0.201 | 0 | 0 | 0
10/1/2025 | 16 | 88016 | 13878 | -13301 | 17798 | 5940 | -5693 | 0.204 | 25 | 0 | 0
10/1/2025 | 17 | 90613 | 14480 | -13812 | 19279 | 6198 | -5911 | 0.214 | 20 | 0 | 0
10/1/2025 | 18 | 92483 | 14756 | -13590 | 23006 | 6315 | -5816 | 0.251 | 206 | 0 | 0
10/1/2025 | 19 | 91699 | 15437 | -14174 | 24560 | 6607 | -6067 | 0.27 | 463 | 1 | 0.002
10/1/2025 | 20 | 89922 | 15342 | -13681 | 24767 | 6566 | -5856 | 0.278 | 1143 | 141 | 0.123
10/1/2025 | 21 | 85779 | 14571 | -12613 | 24516 | 6236 | -5398 | 0.289 | 1205 | 189 | 0.157
10/1/2025 | 22 | 81224 | 14310 | -12096 | 24384 | 6125 | -5177 | 0.304 | 1625 | 372 | 0.229
10/1/2025 | 23 | 75772 | 14836 | -12022 | 24203 | 6350 | -5146 | 0.323 | 1352 | 278 | 0.206
10/1/2025 | 24 | 70975 | 14560 | -11560 | 24009 | 6232 | -4948 | 0.342 | 1489 | 380 | 0.255
10/2/2025 | 1 | 68610 | 13843 | -11653 | 23974 | 5925 | -4987 | 0.352 | 1234 | 277 | 0.224
10/2/2025 | 2 | 65950 | 13767 | -11668 | 23548 | 5892 | -4994 | 0.359 | 984 | 199 | 0.202
10/2/2025 | 3 | 63841 | 13731 | -11717 | 22987 | 5877 | -5015 | 0.362 | 909 | 173 | 0.19
10/2/2025 | 4 | 62777 | 13789 | -11739 | 22933 | 5902 | -5025 | 0.367 | 550 | 51 | 0.093
10/2/2025 | 5 | 63815 | 13556 | -11427 | 22644 | 5802 | -4891 | 0.357 | 431 | 24 | 0.056
10/2/2025 | 6 | 68066 | 12879 | -11353 | 23551 | 5512 | -4859 | 0.348 | 702 | 102 | 0.145
10/2/2025 | 7 | 73251 | 11240 | -9963 | 24067 | 4811 | -4265 | 0.33 | 1821 | 401 | 0.22
10/2/2025 | 8 | 76282 | 11540 | -10758 | 22257 | 4939 | -4604 | 0.293 | 2074 | 578 | 0.279
10/2/2025 | 9 | 76671 | 10838 | -10326 | 18670 | 4639 | -4420 | 0.245 | 422 | 46 | 0.109
10/2/2025 | 10 | 77370 | 11009 | -10393 | 18072 | 4712 | -4448 | 0.235 | 238 | 1 | 0.004
10/2/2025 | 11 | 77807 | 11489 | -10577 | 18176 | 4917 | -4527 | 0.236 | 162 | 0 | 0
10/2/2025 | 12 | 78209 | 11310 | -10470 | 18053 | 4841 | -4481 | 0.233 | 0 | 0 | 0
10/2/2025 | 13 | 80351 | 11243 | -10572 | 18488 | 4812 | -4525 | 0.232 | 0 | 0 | 0
10/2/2025 | 14 | 84037 | 10981 | -10762 | 19154 | 4700 | -4606 | 0.228 | 55 | 0 | 0
10/2/2025 | 15 | 86656 | 11414 | -11325 | 19058 | 4885 | -4847 | 0.22 | 16 | 0 | 0
10/2/2025 | 16 | 90775 | 11813 | -12057 | 19738 | 5056 | -5160 | 0.217 | 587 | 23 | 0.039
10/2/2025 | 17 | 91628 | 12914 | -12948 | 21234 | 5527 | -5542 | 0.232 | 345 | 8 | 0.023
10/2/2025 | 18 | 92384 | 12916 | -12649 | 24101 | 5528 | -5414 | 0.261 | 409 | 5 | 0.012
10/2/2025 | 19 | 92036 | 13704 | -13313 | 25095 | 5865 | -5698 | 0.273 | 816 | 35 | 0.043
10/2/2025 | 20 | 90428 | 13731 | -13206 | 25325 | 5877 | -5652 | 0.281 | 1224 | 186 | 0.152
10/2/2025 | 21 | 86813 | 14105 | -13161 | 24852 | 6037 | -5633 | 0.288 | 1047 | 108 | 0.103
10/2/2025 | 22 | 82720 | 13677 | -12229 | 24748 | 5854 | -5234 | 0.301 | 1385 | 298 | 0.215
10/2/2025 | 23 | 78004 | 14366 | -12741 | 23963 | 6149 | -5453 | 0.31 | 950 | 183 | 0.193
10/2/2025 | 24 | 72700 | 13494 | -11999 | 22570 | 5776 | -5136 | 0.313 | 1471 | 348 | 0.237
10/3/2025 | 1 | 69035 | 13541 | -11880 | 22072 | 5795 | -5084 | 0.322 | 1000 | 253 | 0.253
10/3/2025 | 2 | 66591 | 13463 | -11769 | 21399 | 5762 | -5037 | 0.324 | 794 | 190 | 0.239
10/3/2025 | 3 | 64432 | 13293 | -11446 | 20792 | 5690 | -4899 | 0.326 | 782 | 166 | 0.212
10/3/2025 | 4 | 63611 | 12796 | -10947 | 20919 | 5477 | -4686 | 0.332 | 678 | 137 | 0.202
10/3/2025 | 5 | 64554 | 12639 | -11041 | 20872 | 5410 | -4726 | 0.326 | 236 | 3 | 0.013
10/3/2025 | 6 | 68408 | 12718 | -11445 | 21839 | 5443 | -4898 | 0.321 | 252 | 0 | 0
10/3/2025 | 7 | 73496 | 12431 | -11360 | 22483 | 5320 | -4862 | 0.308 | 259 | 1 | 0.004
10/3/2025 | 8 | 77047 | 11974 | -11354 | 20886 | 5125 | -4860 | 0.272 | 332 | 6 | 0.018
10/3/2025 | 9 | 77625 | 11324 | -11183 | 17575 | 4847 | -4786 | 0.227 | 12 | 0 | 0
10/3/2025 | 10 | 78352 | 10866 | -11030 | 16457 | 4651 | -4720 | 0.21 | 0 | 0 | 0
10/3/2025 | 11 | 78417 | 11181 | -11382 | 15985 | 4785 | -4871 | 0.203 | 0 | 0 | 0
10/3/2025 | 12 | 79889 | 12254 | -12618 | 16088 | 5245 | -5400 | 0.2 | 0 | 0 | 0
10/3/2025 | 13 | 81173 | 12285 | -12768 | 15669 | 5258 | -5465 | 0.192 | 0 | 0 | 0
10/3/2025 | 14 | 81118 | 12319 | -12633 | 15640 | 5272 | -5407 | 0.192 | 0 | 0 | 0
10/3/2025 | 15 | 82609 | 12302 | -12633 | 16111 | 5266 | -5407 | 0.194 | 0 | 0 | 0
10/3/2025 | 16 | 84062 | 12513 | -13084 | 16298 | 5355 | -5600 | 0.192 | 0 | 0 | 0
10/3/2025 | 17 | 85829 | 13592 | -13770 | 17186 | 5817 | -5894 | 0.2 | 0 | 0 | 0
10/3/2025 | 18 | 87689 | 13457 | -13448 | 20225 | 5760 | -5756 | 0.231 | 160 | 5 | 0.031
10/3/2025 | 19 | 87616 | 14073 | -13823 | 21659 | 6023 | -5916 | 0.248 | 583 | 42 | 0.072
10/3/2025 | 20 | 85971 | 14697 | -14426 | 21708 | 6290 | -6174 | 0.253 | 405 | 2 | 0.005
10/3/2025 | 21 | 82700 | 14805 | -14142 | 20921 | 6337 | -6053 | 0.254 | 55 | 0 | 0
10/3/2025 | 22 | 79279 | 14555 | -13413 | 20352 | 6230 | -5740 | 0.259 | 538 | 1 | 0.002
10/3/2025 | 23 | 74361 | 15967 | -13944 | 19936 | 6834 | -5968 | 0.272 | 347 | 0 | 0
10/3/2025 | 24 | 70208 | 15396 | -13080 | 18980 | 6589 | -5598 | 0.275 | 380 | 9 | 0.024
10/4/2025 | 1 | 67216 | 15036 | -12227 | 18499 | 6436 | -5233 | 0.281 | 592 | 2 | 0.003
10/4/2025 | 2 | 64243 | 14676 | -11905 | 18298 | 6281 | -5096 | 0.291 | 659 | 6 | 0.009
10/4/2025 | 3 | 62362 | 14731 | -11969 | 18027 | 6305 | -5123 | 0.295 | 722 | 29 | 0.04
10/4/2025 | 4 | 60961 | 14098 | -11505 | 17591 | 6034 | -4924 | 0.294 | 791 | 32 | 0.04
10/4/2025 | 5 | 60412 | 13956 | -11330 | 17272 | 5973 | -4849 | 0.292 | 661 | 29 | 0.044
10/4/2025 | 6 | 61930 | 13693 | -11175 | 17493 | 5861 | -4783 | 0.288 | 634 | 28 | 0.044
10/4/2025 | 7 | 64083 | 13406 | -11138 | 18008 | 5738 | -4767 | 0.286 | 605 | 0 | 0
10/4/2025 | 8 | 65870 | 11579 | -10010 | 16945 | 4956 | -4284 | 0.261 | 392 | 1 | 0.003
10/4/2025 | 9 | 66857 | 11003 | -10261 | 14135 | 4709 | -4392 | 0.214 | 0 | 0 | 0
10/4/2025 | 10 | 66932 | 10972 | -10381 | 13176 | 4696 | -4443 | 0.199 | 0 | 0 | 0
10/4/2025 | 11 | 66622 | 11109 | -10507 | 13047 | 4755 | -4497 | 0.198 | 0 | 0 | 0
10/4/2025 | 12 | 66328 | 10988 | -10330 | 13288 | 4703 | -4421 | 0.203 | 0 | 0 | 0
10/4/2025 | 13 | 66761 | 10869 | -10222 | 13315 | 4652 | -4375 | 0.202 | 0 | 0 | 0
10/4/2025 | 14 | 67640 | 10631 | -9982 | 13189 | 4550 | -4272 | 0.197 | 0 | 0 | 0
10/4/2025 | 15 | 69247 | 10500 | -9822 | 13600 | 4494 | -4204 | 0.199 | 0 | 0 | 0
10/4/2025 | 16 | 72490 | 10743 | -10030 | 14098 | 4598 | -4293 | 0.197 | 0 | 0 | 0
10/4/2025 | 17 | 75062 | 11784 | -10553 | 15273 | 5043 | -4517 | 0.207 | 0 | 0 | 0
10/4/2025 | 18 | 78524 | 13225 | -11478 | 18581 | 5660 | -4913 | 0.241 | 199 | 0 | 0
10/4/2025 | 19 | 79893 | 13866 | -11899 | 20558 | 5934 | -5092 | 0.261 | 686 | 22 | 0.032
10/4/2025 | 20 | 78397 | 14578 | -12022 | 20515 | 6240 | -5145 | 0.267 | 594 | 13 | 0.022
10/4/2025 | 21 | 75396 | 14646 | -11814 | 19818 | 6269 | -5057 | 0.269 | 570 | 0 | 0
10/4/2025 | 22 | 72710 | 13302 | -10575 | 19431 | 5693 | -4526 | 0.273 | 812 | 73 | 0.09
10/4/2025 | 23 | 69636 | 13578 | -10780 | 18797 | 5812 | -4614 | 0.276 | 773 | 57 | 0.074
10/4/2025 | 24 | 65947 | 13480 | -10616 | 18407 | 5769 | -4544 | 0.285 | 916 | 174 | 0.19
10/5/2025 | 1 | 64295 | 12861 | -10433 | 19086 | 5504 | -4465 | 0.302 | 1118 | 294 | 0.263
10/5/2025 | 2 | 61694 | 12762 | -10222 | 18894 | 5462 | -4375 | 0.311 | 1578 | 432 | 0.274
10/5/2025 | 3 | 59721 | 12459 | -9694 | 18691 | 5332 | -4149 | 0.318 | 1570 | 428 | 0.273
10/5/2025 | 4 | 58877 | 11956 | -9428 | 18969 | 5117 | -4035 | 0.327 | 1299 | 360 | 0.277
10/5/2025 | 5 | 58948 | 12049 | -9591 | 19153 | 5157 | -4105 | 0.329 | 1259 | 370 | 0.294
10/5/2025 | 6 | 60064 | 12179 | -9814 | 19519 | 5213 | -4201 | 0.329 | 910 | 237 | 0.26
10/5/2025 | 7 | 61949 | 11921 | -9820 | 19993 | 5102 | -4203 | 0.326 | 1000 | 240 | 0.24
10/5/2025 | 8 | 63407 | 11405 | -9744 | 17906 | 4881 | -4171 | 0.286 | 816 | 177 | 0.217
10/5/2025 | 9 | 63992 | 10896 | -9818 | 13925 | 4663 | -4202 | 0.221 | 26 | 0 | 0
10/5/2025 | 10 | 64250 | 11165 | -10082 | 12594 | 4779 | -4315 | 0.2 | 0 | 0 | 0
10/5/2025 | 11 | 64277 | 10608 | -9700 | 12518 | 4540 | -4152 | 0.198 | 0 | 0 | 0
10/5/2025 | 12 | 64347 | 10549 | -9647 | 13405 | 4515 | -4129 | 0.211 | 0 | 0 | 0
10/5/2025 | 13 | 65183 | 10577 | -9831 | 13143 | 4527 | -4208 | 0.204 | 0 | 0 | 0
10/5/2025 | 14 | 67476 | 10686 | -10045 | 13168 | 4574 | -4299 | 0.197 | 0 | 0 | 0
10/5/2025 | 15 | 69991 | 11012 | -10503 | 13517 | 4714 | -4496 | 0.195 | 0 | 0 | 0
10/5/2025 | 16 | 74074 | 11111 | -10994 | 14214 | 4756 | -4706 | 0.192 | 0 | 0 | 0
10/5/2025 | 17 | 78740 | 11250 | -11284 | 16209 | 4815 | -4830 | 0.206 | 0 | 0 | 0
10/5/2025 | 18 | 82247 | 11847 | -10955 | 19783 | 5071 | -4689 | 0.243 | 557 | 0 | 0
10/5/2025 | 19 | 83277 | 12158 | -10990 | 21322 | 5204 | -4704 | 0.258 | 1155 | 129 | 0.112
10/5/2025 | 20 | 81919 | 12137 | -10524 | 21663 | 5195 | -4504 | 0.268 | 950 | 75 | 0.079
10/5/2025 | 21 | 78734 | 11851 | -10079 | 21703 | 5072 | -4314 | 0.279 | 867 | 55 | 0.063
10/5/2025 | 22 | 74964 | 11816 | -9712 | 21813 | 5057 | -4157 | 0.295 | 1853 | 483 | 0.261
10/5/2025 | 23 | 69945 | 12207 | -9719 | 21799 | 5224 | -4160 | 0.316 | 1852 | 607 | 0.328
10/5/2025 | 24 | 66071 | 12310 | -9707 | 21962 | 5268 | -4154 | 0.336 | 2211 | 659 | 0.298
10/6/2025 | 1 | 63474 | 12993 | -10603 | 21602 | 5561 | -4538 | 0.344 | 1540 | 420 | 0.273
10/6/2025 | 2 | 61275 | 13108 | -10508 | 21831 | 5610 | -4497 | 0.359 | 1430 | 353 | 0.247
10/6/2025 | 3 | 59781 | 12984 | -10388 | 21826 | 5557 | -4446 | 0.368 | 1489 | 392 | 0.263
10/6/2025 | 4 | 59374 | 12601 | -9801 | 22018 | 5393 | -4195 | 0.373 | 1209 | 234 | 0.194
10/6/2025 | 5 | 61568 | 12838 | -10658 | 22703 | 5495 | -4561 | 0.371 | 1348 | 326 | 0.242
10/6/2025 | 6 | 65885 | 12041 | -10432 | 22824 | 5154 | -4465 | 0.348 | 1321 | 240 | 0.182
10/6/2025 | 7 | 71798 | 11822 | -10810 | 23183 | 5060 | -4627 | 0.324 | 1523 | 311 | 0.204
10/6/2025 | 8 | 75077 | 10756 | -9616 | 21913 | 4604 | -4116 | 0.294 | 1328 | 302 | 0.227
10/6/2025 | 9 | 75179 | 10396 | -9554 | 17680 | 4450 | -4089 | 0.237 | 233 | 32 | 0.137
10/6/2025 | 10 | 74105 | 10359 | -9466 | 15875 | 4434 | -4052 | 0.217 | 0 | 0 | 0
10/6/2025 | 11 | 73232 | 10270 | -9898 | 15524 | 4396 | -4236 | 0.213 | 0 | 0 | 0
10/6/2025 | 12 | 72455 | 10622 | -10183 | 15451 | 4546 | -4358 | 0.215 | 0 | 0 | 0
10/6/2025 | 13 | 73656 | 10177 | -10029 | 15693 | 4356 | -4292 | 0.213 | 0 | 0 | 0
10/6/2025 | 14 | 76306 | 10223 | -10470 | 15468 | 4376 | -4481 | 0.202 | 0 | 0 | 0
10/6/2025 | 15 | 79831 | 10697 | -11270 | 16149 | 4578 | -4824 | 0.201 | 0 | 0 | 0
10/6/2025 | 16 | 83724 | 10476 | -11156 | 16632 | 4484 | -4775 | 0.197 | 0 | 0 | 0
10/6/2025 | 17 | 87518 | 11651 | -11908 | 18334 | 4987 | -5096 | 0.209 | 0 | 0 | 0
10/6/2025 | 18 | 90383 | 13231 | -13106 | 22403 | 5663 | -5609 | 0.248 | 129 | 0 | 0
10/6/2025 | 19 | 90892 | 13469 | -13374 | 24368 | 5764 | -5724 | 0.268 | 962 | 62 | 0.064
10/6/2025 | 20 | 89251 | 13178 | -13043 | 24515 | 5640 | -5582 | 0.275 | 896 | 73 | 0.081
10/6/2025 | 21 | 84678 | 13041 | -12747 | 24502 | 5582 | -5455 | 0.29 | 964 | 75 | 0.078
10/6/2025 | 22 | 80705 | 12547 | -12043 | 24502 | 5370 | -5154 | 0.304 | 1175 | 220 | 0.187
10/6/2025 | 23 | 74641 | 12464 | -11338 | 24439 | 5334 | -4853 | 0.329 | 972 | 169 | 0.174
10/6/2025 | 24 | 69361 | 12028 | -10484 | 24020 | 5148 | -4487 | 0.348 | 977 | 230 | 0.235
10/7/2025 | 1 | 66128 | 12603 | -10994 | 23232 | 5394 | -4706 | 0.353 | 491 | 23 | 0.047
10/7/2025 | 2 | 63442 | 12251 | -10600 | 22661 | 5244 | -4537 | 0.359 | 576 | 72 | 0.125
10/7/2025 | 3 | 61758 | 12039 | -10500 | 22525 | 5153 | -4494 | 0.366 | 984 | 245 | 0.249
10/7/2025 | 4 | 61358 | 12165 | -10698 | 22424 | 5206 | -4579 | 0.367 | 687 | 125 | 0.182
10/7/2025 | 5 | 62668 | 12578 | -11108 | 22392 | 5383 | -4754 | 0.359 | 437 | 15 | 0.034
10/7/2025 | 6 | 66612 | 12838 | -11329 | 23090 | 5495 | -4849 | 0.348 | 174 | 0 | 0
10/7/2025 | 7 | 72680 | 12930 | -11964 | 23178 | 5534 | -5120 | 0.32 | 368 | 1 | 0.003
10/7/2025 | 8 | 75166 | 12625 | -11383 | 21815 | 5403 | -4872 | 0.292 | 527 | 14 | 0.027
10/7/2025 | 9 | 75620 | 10717 | -9899 | 18672 | 4587 | -4237 | 0.249 | 152 | 17 | 0.112
10/7/2025 | 10 | 74219 | 9978 | -9235 | 17231 | 4271 | -3953 | 0.234 | 0 | 0 | 0
10/7/2025 | 11 | 72919 | 9683 | -9056 | 16327 | 4145 | -3876 | 0.226 | 0 | 0 | 0
10/7/2025 | 12 | 72159 | 9592 | -8570 | 16237 | 4105 | -3668 | 0.228 | 0 | 0 | 0
10/7/2025 | 13 | 73815 | 9642 | -8710 | 16376 | 4126 | -3728 | 0.224 | 0 | 0 | 0
10/7/2025 | 14 | 76482 | 9800 | -9152 | 16634 | 4194 | -3917 | 0.219 | 0 | 0 | 0
10/7/2025 | 15 | 79788 | 9947 | -9115 | 17056 | 4257 | -3901 | 0.216 | 0 | 0 | 0
10/7/2025 | 16 | 83569 | 10688 | -9732 | 17405 | 4575 | -4165 | 0.211 | 0 | 0 | 0
10/7/2025 | 17 | 87265 | 12264 | -10988 | 19220 | 5249 | -4703 | 0.223 | 43 | 2 | 0.047
10/7/2025 | 18 | 89341 | 14182 | -12348 | 22806 | 6070 | -5285 | 0.259 | 304 | 2 | 0.007
10/7/2025 | 19 | 89715 | 14484 | -12363 | 24068 | 6199 | -5291 | 0.272 | 637 | 76 | 0.119
10/7/2025 | 20 | 87808 | 14123 | -11866 | 24283 | 6045 | -5079 | 0.28 | 756 | 35 | 0.046
10/7/2025 | 21 | 83801 | 13757 | -11355 | 24057 | 5888 | -4860 | 0.291 | 795 | 52 | 0.065
10/7/2025 | 22 | 79436 | 13207 | -10909 | 23943 | 5653 | -4669 | 0.305 | 762 | 102 | 0.134
10/7/2025 | 23 | 73616 | 13528 | -11095 | 23448 | 5790 | -4749 | 0.322 | 739 | 103 | 0.139
10/7/2025 | 24 | 68802 | 13921 | -11295 | 22892 | 5958 | -4835 | 0.336 | 743 | 119 | 0.16
10/8/2025 | 1 | 65824 | 13101 | -10529 | 22223 | 5607 | -4506 | 0.341 | 703 | 98 | 0.139
10/8/2025 | 2 | 63521 | 12823 | -10138 | 21644 | 5488 | -4339 | 0.344 | 1688 | 450 | 0.267
10/8/2025 | 3 | 61919 | 12800 | -10192 | 21426 | 5478 | -4362 | 0.349 | 1365 | 347 | 0.254
10/8/2025 | 4 | 61111 | 12666 | -10017 | 21502 | 5421 | -4287 | 0.355 | 1353 | 335 | 0.248
10/8/2025 | 5 | 62224 | 12732 | -10020 | 21614 | 5449 | -4288 | 0.351 | 1261 | 286 | 0.227
10/8/2025 | 6 | 65961 | 13230 | -10450 | 21867 | 5662 | -4473 | 0.335 | 794 | 134 | 0.169
10/8/2025 | 7 | 71388 | 12289 | -9868 | 21926 | 5260 | -4224 | 0.311 | 1185 | 274 | 0.231
10/8/2025 | 8 | 74606 | 11727 | -9398 | 20976 | 5019 | -4022 | 0.286 | 1270 | 282 | 0.222
10/8/2025 | 9 | 74525 | 10371 | -8451 | 17043 | 4439 | -3617 | 0.234 | 389 | 78 | 0.201
10/8/2025 | 10 | 74700 | 10370 | -8654 | 16210 | 4438 | -3704 | 0.222 | 0 | 0 | 0
10/8/2025 | 11 | 74155 | 10366 | -8679 | 15558 | 4436 | -3715 | 0.215 | 0 | 0 | 0
10/8/2025 | 12 | 73916 | 10055 | -8674 | 15291 | 4304 | -3713 | 0.211 | 0 | 0 | 0
10/8/2025 | 13 | 74768 | 9861 | -8777 | 15455 | 4220 | -3757 | 0.21 | 0 | 0 | 0
10/8/2025 | 14 | 77984 | 9967 | -9489 | 15393 | 4266 | -4061 | 0.199 | 0 | 0 | 0
10/8/2025 | 15 | 80859 | 10287 | -9937 | 15876 | 4403 | -4253 | 0.197 | 0 | 0 | 0
10/8/2025 | 16 | 83688 | 11270 | -11012 | 16614 | 4824 | -4713 | 0.199 | 0 | 0 | 0
10/8/2025 | 17 | 86297 | 12813 | -12430 | 17823 | 5484 | -5320 | 0.208 | 0 | 0 | 0
10/8/2025 | 18 | 88570 | 13538 | -12866 | 21478 | 5794 | -5506 | 0.244 | 339 | 27 | 0.08
10/8/2025 | 19 | 89220 | 13216 | -12452 | 23022 | 5656 | -5330 | 0.259 | 140 | 15 | 0.107
10/8/2025 | 20 | 87750 | 13553 | -12714 | 23210 | 5801 | -5442 | 0.266 | 162 | 5 | 0.031
10/8/2025 | 21 | 84359 | 12938 | -11887 | 23207 | 5538 | -5088 | 0.277 | 376 | 20 | 0.053
10/8/2025 | 22 | 80226 | 13217 | -11686 | 22953 | 5657 | -5002 | 0.289 | 643 | 79 | 0.123
10/8/2025 | 23 | 74732 | 14460 | -12328 | 22816 | 6189 | -5276 | 0.309 | 652 | 49 | 0.075
10/8/2025 | 24 | 70038 | 14644 | -12311 | 22752 | 6268 | -5269 | 0.328 | 543 | 49 | 0.09
10/9/2025 | 1 | 67452 | 12946 | -10637 | 22513 | 5540 | -4552 | 0.337 | 573 | 132 | 0.23
10/9/2025 | 2 | 64797 | 13016 | -10600 | 22266 | 5571 | -4537 | 0.347 | 928 | 213 | 0.23
10/9/2025 | 3 | 63432 | 12861 | -10797 | 21765 | 5505 | -4621 | 0.346 | 915 | 215 | 0.235
10/9/2025 | 4 | 63125 | 12442 | -10687 | 21665 | 5325 | -4574 | 0.345 | 906 | 223 | 0.246
10/9/2025 | 5 | 64954 | 12333 | -11057 | 22132 | 5279 | -4732 | 0.342 | 894 | 180 | 0.201
10/9/2025 | 6 | 68761 | 12389 | -11256 | 22551 | 5302 | -4818 | 0.33 | 623 | 69 | 0.111
10/9/2025 | 7 | 74461 | 12971 | -12091 | 22985 | 5552 | -5175 | 0.31 | 923 | 152 | 0.165
10/9/2025 | 8 | 76984 | 12955 | -11723 | 22523 | 5545 | -5018 | 0.295 | 763 | 120 | 0.157
10/9/2025 | 9 | 77593 | 11384 | -10380 | 20376 | 4872 | -4443 | 0.265 | 452 | 28 | 0.062
10/9/2025 | 10 | 78499 | 10589 | -9513 | 19822 | 4532 | -4071 | 0.255 | 26 | 0 | 0
10/9/2025 | 11 | 78170 | 10292 | -9465 | 20078 | 4405 | -4051 | 0.259 | 16 | 0 | 0
10/9/2025 | 12 | 77974 | 10482 | -9582 | 20546 | 4486 | -4101 | 0.265 | 281 | 0 | 0
10/9/2025 | 13 | 79270 | 10944 | -9976 | 20896 | 4684 | -4270 | 0.266 | 246 | 47 | 0.191
10/9/2025 | 14 | 80725 | 10808 | -9923 | 21321 | 4626 | -4247 | 0.266 | 309 | 116 | 0.375
10/9/2025 | 15 | 81986 | 11424 | -10932 | 21603 | 4889 | -4679 | 0.264 | 995 | 309 | 0.311
10/9/2025 | 16 | 83758 | 11789 | -11545 | 21507 | 5045 | -4941 | 0.257 | 1480 | 485 | 0.328
10/9/2025 | 17 | 85654 | 13099 | -13028 | 22639 | 5607 | -5576 | 0.264 | 1157 | 295 | 0.255
10/9/2025 | 18 | 86647 | 13564 | -13417 | 23993 | 5806 | -5742 | 0.277 | 806 | 90 | 0.112
10/9/2025 | 19 | 87595 | 13857 | -13691 | 24280 | 5931 | -5859 | 0.277 | 1118 | 167 | 0.149
10/9/2025 | 20 | 86787 | 14225 | -13780 | 24452 | 6088 | -5898 | 0.282 | 1379 | 250 | 0.181
10/9/2025 | 21 | 83521 | 13745 | -12720 | 24456 | 5883 | -5444 | 0.294 | 1120 | 169 | 0.151
10/9/2025 | 22 | 80127 | 13914 | -12594 | 24413 | 5955 | -5390 | 0.307 | 1498 | 379 | 0.253
10/9/2025 | 23 | 74922 | 14673 | -12486 | 23808 | 6280 | -5344 | 0.321 | 1197 | 228 | 0.19
10/9/2025 | 24 | 70174 | 13971 | -11316 | 23199 | 5980 | -4843 | 0.334 | 1409 | 359 | 0.255
10/10/2025 | 1 | 67318 | 13825 | -11229 | 22355 | 5917 | -4806 | 0.336 | 533 | 22 | 0.041
10/10/2025 | 2 | 64852 | 14053 | -11483 | 21594 | 6015 | -4915 | 0.337 | 625 | 120 | 0.192
10/10/2025 | 3 | 62948 | 14149 | -11581 | 21663 | 6056 | -4957 | 0.347 | 681 | 141 | 0.207
10/10/2025 | 4 | 62666 | 14490 | -12234 | 21446 | 6202 | -5236 | 0.345 | 547 | 86 | 0.157
10/10/2025 | 5 | 63859 | 14768 | -12475 | 21402 | 6320 | -5339 | 0.338 | 530 | 87 | 0.164
10/10/2025 | 6 | 67156 | 15666 | -13315 | 21749 | 6705 | -5699 | 0.327 | 399 | 11 | 0.028
10/10/2025 | 7 | 72366 | 15350 | -13521 | 22412 | 6570 | -5787 | 0.313 | 902 | 150 | 0.166
10/10/2025 | 8 | 75950 | 14990 | -13131 | 22559 | 6416 | -5620 | 0.3 | 806 | 156 | 0.194
10/10/2025 | 9 | 76671 | 13048 | -11087 | 21680 | 5585 | -4745 | 0.286 | 54 | 0 | 0
10/10/2025 | 10 | 76627 | 13147 | -11474 | 20556 | 5627 | -4911 | 0.272 | 90 | 0 | 0
10/10/2025 | 11 | 76553 | 12713 | -10843 | 20274 | 5441 | -4641 | 0.269 | 343 | 14 | 0.041
10/10/2025 | 12 | 77373 | 12513 | -10650 | 20614 | 5355 | -4558 | 0.27 | 343 | 41 | 0.12
10/10/2025 | 13 | 78644 | 12837 | -10995 | 20664 | 5494 | -4706 | 0.267 | 317 | 35 | 0.11
10/10/2025 | 14 | 81233 | 13044 | -11250 | 20724 | 5583 | -4815 | 0.259 | 821 | 168 | 0.205
10/10/2025 | 15 | 82858 | 13490 | -11689 | 20756 | 5774 | -5003 | 0.254 | 739 | 180 | 0.244
10/10/2025 | 16 | 85379 | 14392 | -12756 | 21582 | 6160 | -5459 | 0.256 | 882 | 181 | 0.205
10/10/2025 | 17 | 86474 | 15996 | -14232 | 22620 | 6846 | -6092 | 0.265 | 683 | 109 | 0.16
10/10/2025 | 18 | 87398 | 16976 | -14959 | 23917 | 7265 | -6403 | 0.277 | 422 | 0 | 0
10/10/2025 | 19 | 87102 | 17099 | -14929 | 23958 | 7319 | -6390 | 0.279 | 733 | 44 | 0.06
10/10/2025 | 20 | 85675 | 16835 | -14831 | 23883 | 7205 | -6348 | 0.282 | 944 | 151 | 0.16
10/10/2025 | 21 | 82641 | 16258 | -13932 | 23965 | 6959 | -5963 | 0.294 | 844 | 92 | 0.109
10/10/2025 | 22 | 79541 | 16783 | -14055 | 23823 | 7183 | -6016 | 0.304 | 1365 | 236 | 0.173
10/10/2025 | 23 | 76045 | 16742 | -14242 | 22765 | 7166 | -6096 | 0.303 | 645 | 56 | 0.087
10/10/2025 | 24 | 72053 | 16149 | -13509 | 21582 | 6912 | -5782 | 0.304 | 439 | 8 | 0.018
10/11/2025 | 1 | 68938 | 15586 | -13159 | 20343 | 6671 | -5632 | 0.3 | 374 | 3 | 0.008
10/11/2025 | 2 | 66100 | 15344 | -12890 | 19930 | 6567 | -5517 | 0.306 | 472 | 29 | 0.061
10/11/2025 | 3 | 63609 | 14934 | -12526 | 19474 | 6392 | -5361 | 0.311 | 583 | 84 | 0.144
10/11/2025 | 4 | 62229 | 14823 | -12319 | 19338 | 6344 | -5272 | 0.315 | 654 | 104 | 0.159
10/11/2025 | 5 | 62142 | 14560 | -12141 | 19339 | 6231 | -5196 | 0.316 | 1143 | 307 | 0.269
10/11/2025 | 6 | 63372 | 14457 | -12082 | 19458 | 6187 | -5171 | 0.311 | 748 | 127 | 0.17
10/11/2025 | 7 | 65837 | 14071 | -11985 | 19427 | 6022 | -5130 | 0.299 | 1235 | 279 | 0.226
10/11/2025 | 8 | 67793 | 13022 | -10957 | 19064 | 5573 | -4690 | 0.286 | 851 | 71 | 0.083
10/11/2025 | 9 | 69044 | 12323 | -10426 | 15519 | 5274 | -4462 | 0.23 | 257 | 14 | 0.054
10/11/2025 | 10 | 70007 | 13067 | -11597 | 13734 | 5593 | -4964 | 0.201 | 0 | 0 | 0
10/11/2025 | 11 | 69614 | 13378 | -11876 | 12922 | 5726 | -5083 | 0.191 | 0 | 0 | 0
10/11/2025 | 12 | 69101 | 12914 | -11456 | 12650 | 5527 | -4903 | 0.188 | 0 | 0 | 0
10/11/2025 | 13 | 69267 | 13019 | -11607 | 12453 | 5572 | -4968 | 0.185 | 0 | 0 | 0
10/11/2025 | 14 | 70621 | 12954 | -12009 | 12536 | 5545 | -5140 | 0.181 | 0 | 0 | 0
10/11/2025 | 15 | 72702 | 12860 | -12101 | 12818 | 5504 | -5179 | 0.179 | 0 | 0 | 0
10/11/2025 | 16 | 75362 | 12736 | -12012 | 13296 | 5451 | -5141 | 0.179 | 0 | 0 | 0
10/11/2025 | 17 | 77734 | 12910 | -12081 | 14255 | 5526 | -5171 | 0.186 | 0 | 0 | 0
10/11/2025 | 18 | 80843 | 15139 | -13902 | 17414 | 6480 | -5950 | 0.219 | 413 | 13 | 0.031
10/11/2025 | 19 | 81791 | 15549 | -14018 | 18611 | 6655 | -6000 | 0.231 | 621 | 39 | 0.063
10/11/2025 | 20 | 80197 | 15363 | -13561 | 18323 | 6575 | -5804 | 0.233 | 617 | 12 | 0.019
10/11/2025 | 21 | 78204 | 15090 | -13631 | 17988 | 6459 | -5834 | 0.234 | 716 | 27 | 0.038
10/11/2025 | 22 | 75503 | 14786 | -13290 | 17559 | 6328 | -5688 | 0.236 | 713 | 19 | 0.027
10/11/2025 | 23 | 71852 | 16047 | -14235 | 16858 | 6868 | -6093 | 0.239 | 609 | 14 | 0.023
10/11/2025 | 24 | 68490 | 16059 | -14269 | 16427 | 6873 | -6107 | 0.245 | 588 | 32 | 0.054
10/12/2025 | 1 | 65462 | 16435 | -14162 | 15642 | 7034 | -6061 | 0.245 | 432 | 1 | 0.002
10/12/2025 | 2 | 63417 | 16511 | -14224 | 15394 | 7067 | -6087 | 0.249 | 497 | 0 | 0
10/12/2025 | 3 | 62208 | 16208 | -14219 | 15101 | 6937 | -6085 | 0.249 | 560 | 1 | 0.002
10/12/2025 | 4 | 61066 | 15805 | -13827 | 15022 | 6764 | -5918 | 0.252 | 624 | 71 | 0.114
10/12/2025 | 5 | 60855 | 15764 | -13751 | 14888 | 6747 | -5885 | 0.251 | 573 | 61 | 0.106
10/12/2025 | 6 | 61878 | 15364 | -13379 | 15067 | 6576 | -5726 | 0.249 | 507 | 72 | 0.142
10/12/2025 | 7 | 64139 | 14964 | -13102 | 15898 | 6405 | -5608 | 0.253 | 574 | 58 | 0.101
10/12/2025 | 8 | 66200 | 13694 | -12071 | 16067 | 5861 | -5166 | 0.247 | 602 | 90 | 0.15
10/12/2025 | 9 | 67424 | 11915 | -10570 | 13300 | 5100 | -4524 | 0.202 | 0 | 0 | 0
10/12/2025 | 10 | 67030 | 11396 | -10324 | 12436 | 4877 | -4419 | 0.189 | 0 | 0 | 0
10/12/2025 | 11 | 66505 | 11879 | -10781 | 12136 | 5084 | -4614 | 0.186 | 0 | 0 | 0
10/12/2025 | 12 | 66739 | 12383 | -11238 | 12208 | 5300 | -4810 | 0.187 | 0 | 0 | 0
10/12/2025 | 13 | 66808 | 11663 | -10536 | 12463 | 4992 | -4510 | 0.191 | 0 | 0 | 0
10/12/2025 | 14 | 67640 | 10952 | -10283 | 12709 | 4688 | -4401 | 0.19 | 0 | 0 | 0
10/12/2025 | 15 | 69645 | 11443 | -10749 | 12959 | 4898 | -4601 | 0.188 | 0 | 0 | 0
10/12/2025 | 16 | 72582 | 10915 | -10229 | 13666 | 4672 | -4378 | 0.191 | 0 | 0 | 0
10/12/2025 | 17 | 76020 | 11545 | -10310 | 15547 | 4942 | -4412 | 0.208 | 0 | 0 | 0
10/12/2025 | 18 | 79294 | 13202 | -11467 | 18916 | 5650 | -4908 | 0.243 | 921 | 115 | 0.125
10/12/2025 | 19 | 81179 | 13071 | -11344 | 20297 | 5594 | -4855 | 0.254 | 1092 | 210 | 0.192
10/12/2025 | 20 | 80581 | 12949 | -11132 | 20510 | 5542 | -4765 | 0.258 | 1198 | 239 | 0.199
10/12/2025 | 21 | 78032 | 12828 | -10948 | 20502 | 5490 | -4686 | 0.267 | 1251 | 222 | 0.177
10/12/2025 | 22 | 75054 | 12417 | -10641 | 20944 | 5314 | -4555 | 0.282 | 1189 | 229 | 0.193
10/12/2025 | 23 | 70859 | 12768 | -10730 | 20904 | 5465 | -4593 | 0.299 | 806 | 98 | 0.122
10/12/2025 | 24 | 67203 | 12296 | -10316 | 21002 | 5263 | -4416 | 0.316 | 786 | 99 | 0.126
10/13/2025 | 1 | 65715 | 11330 | -9661 | 21013 | 4849 | -4135 | 0.322 | 682 | 100 | 0.147
10/13/2025 | 2 | 63805 | 11359 | -9655 | 20562 | 4862 | -4132 | 0.325 | 437 | 37 | 0.085
10/13/2025 | 3 | 62608 | 11044 | -9507 | 20609 | 4727 | -4069 | 0.332 | 413 | 16 | 0.039
10/13/2025 | 4 | 62510 | 10699 | -9156 | 20658 | 4579 | -3919 | 0.333 | 356 | 3 | 0.008
10/13/2025 | 5 | 64304 | 10659 | -9329 | 21076 | 4562 | -3993 | 0.33 | 438 | 4 | 0.009
10/13/2025 | 6 | 68822 | 11414 | -10469 | 21682 | 4886 | -4480 | 0.317 | 543 | 1 | 0.002
10/13/2025 | 7 | 73810 | 11282 | -10191 | 21871 | 4829 | -4362 | 0.298 | 830 | 21 | 0.025
10/13/2025 | 8 | 76993 | 11108 | -10078 | 20132 | 4754 | -4313 | 0.264 | 1237 | 83 | 0.067
10/13/2025 | 9 | 78094 | 10753 | -9901 | 16309 | 4602 | -4238 | 0.211 | 489 | 1 | 0.002
10/13/2025 | 10 | 78954 | 10105 | -10062 | 15435 | 4325 | -4307 | 0.196 | 0 | 0 | 0
10/13/2025 | 11 | 79559 | 10837 | -11045 | 15674 | 4638 | -4727 | 0.196 | 29 | 0 | 0
10/13/2025 | 12 | 79191 | 11441 | -11452 | 15749 | 4897 | -4902 | 0.199 | 0 | 0 | 0
10/13/2025 | 13 | 79118 | 11428 | -11329 | 15949 | 4891 | -4849 | 0.202 | 270 | 0 | 0
10/13/2025 | 14 | 80071 | 11390 | -11284 | 16147 | 4875 | -4830 | 0.202 | 325 | 9 | 0.028
10/13/2025 | 15 | 79885 | 11293 | -11302 | 16480 | 4833 | -4837 | 0.206 | 510 | 27 | 0.053
10/13/2025 | 16 | 80580 | 11254 | -11349 | 17242 | 4816 | -4858 | 0.214 | 212 | 0 | 0
10/13/2025 | 17 | 82294 | 12213 | -12275 | 18794 | 5227 | -5254 | 0.228 | 366 | 2 | 0.005
10/13/2025 | 18 | 83305 | 12850 | -12174 | 20786 | 5500 | -5210 | 0.251 | 48 | 0 | 0
10/13/2025 | 19 | 84053 | 13189 | -12243 | 21312 | 5645 | -5240 | 0.255 | 776 | 58 | 0.075
10/13/2025 | 20 | 83396 | 13347 | -12144 | 21452 | 5713 | -5198 | 0.26 | 1199 | 206 | 0.172
10/13/2025 | 21 | 80543 | 13022 | -11685 | 21405 | 5573 | -5001 | 0.268 | 1444 | 248 | 0.172
10/13/2025 | 22 | 76904 | 12565 | -10779 | 21764 | 5378 | -4614 | 0.286 | 1389 | 434 | 0.312
10/13/2025 | 23 | 73078 | 13101 | -11401 | 21593 | 5607 | -4880 | 0.298 | 1059 | 144 | 0.136
10/13/2025 | 24 | 68735 | 12432 | -10508 | 21150 | 5321 | -4498 | 0.311 | 661 | 155 | 0.234
10/14/2025 | 1 | 67069 | 12170 | -10318 | 21548 | 5208 | -4416 | 0.324 | 903 | 204 | 0.226
10/14/2025 | 2 | 64650 | 12336 | -10257 | 21086 | 5280 | -4390 | 0.329 | 580 | 116 | 0.2
10/14/2025 | 3 | 62987 | 12590 | -10241 | 20891 | 5389 | -4383 | 0.335 | 558 | 143 | 0.256
10/14/2025 | 4 | 62960 | 12604 | -10231 | 20776 | 5394 | -4379 | 0.334 | 291 | 34 | 0.117
10/14/2025 | 5 | 64663 | 12336 | -9999 | 20906 | 5280 | -4279 | 0.327 | 295 | 5 | 0.017
10/14/2025 | 6 | 68861 | 12410 | -10291 | 21310 | 5311 | -4405 | 0.313 | 232 | 13 | 0.056
10/14/2025 | 7 | 74604 | 12105 | -10148 | 21216 | 5181 | -4343 | 0.288 | 451 | 17 | 0.038
10/14/2025 | 8 | 78211 | 11918 | -10158 | 20881 | 5101 | -4348 | 0.271 | 1077 | 245 | 0.227
10/14/2025 | 9 | 78696 | 11668 | -10138 | 19326 | 4994 | -4339 | 0.249 | 805 | 121 | 0.15
10/14/2025 | 10 | 78508 | 11150 | -10002 | 18544 | 4772 | -4281 | 0.239 | 101 | 14 | 0.139
10/14/2025 | 11 | 76949 | 11054 | -9899 | 18173 | 4731 | -4237 | 0.239 | 543 | 41 | 0.076
10/14/2025 | 12 | 76315 | 10972 | -9761 | 19452 | 4696 | -4177 | 0.258 | 356 | 28 | 0.079
10/14/2025 | 13 | 75220 | 11435 | -10334 | 18893 | 4894 | -4423 | 0.254 | 350 | 56 | 0.16
10/14/2025 | 14 | 74776 | 11201 | -10217 | 18380 | 4794 | -4373 | 0.248 | 0 | 0 | 0
10/14/2025 | 15 | 75425 | 11483 | -10678 | 18448 | 4915 | -4570 | 0.247 | 0 | 0 | 0
10/14/2025 | 16 | 76658 | 11684 | -11056 | 18168 | 5001 | -4732 | 0.239 | 127 | 18 | 0.142
10/14/2025 | 17 | 78846 | 12495 | -11731 | 19589 | 5348 | -5021 | 0.25 | 256 | 33 | 0.129
10/14/2025 | 18 | 80939 | 12530 | -11120 | 21435 | 5363 | -4759 | 0.268 | 171 | 19 | 0.111
10/14/2025 | 19 | 82803 | 12610 | -11236 | 21738 | 5397 | -4809 | 0.265 | 0 | 0 | 0
10/14/2025 | 20 | 82355 | 12655 | -10953 | 22030 | 5416 | -4688 | 0.271 | 310 | 1 | 0.003
10/14/2025 | 21 | 80026 | 12312 | -10541 | 22217 | 5269 | -4512 | 0.281 | 499 | 0 | 0
10/14/2025 | 22 | 77014 | 12128 | -10357 | 22305 | 5190 | -4433 | 0.293 | 629 | 23 | 0.037
10/14/2025 | 23 | 72455 | 12673 | -10500 | 22348 | 5424 | -4494 | 0.312 | 458 | 8 | 0.017
10/14/2025 | 24 | 68739 | 12492 | -10371 | 22014 | 5347 | -4439 | 0.323 | 308 | 1 | 0.003
10/15/2025 | 1 | 66001 | 12004 | -9875 | 21714 | 5138 | -4226 | 0.332 | 62 | 0 | 0
10/15/2025 | 2 | 63687 | 11794 | -9596 | 21394 | 5048 | -4107 | 0.339 | 189 | 0 | 0
10/15/2025 | 3 | 62412 | 12294 | -10106 | 21348 | 5262 | -4325 | 0.345 | 185 | 1 | 0.005
10/15/2025 | 4 | 62437 | 12492 | -10366 | 21367 | 5346 | -4436 | 0.345 | 63 | 0 | 0
10/15/2025 | 5 | 64189 | 12024 | -10130 | 21559 | 5146 | -4336 | 0.338 | 0 | 0 | 0
10/15/2025 | 6 | 68876 | 12603 | -11008 | 22199 | 5394 | -4711 | 0.325 | 4 | 0 | 0
10/15/2025 | 7 | 75414 | 12235 | -10789 | 22766 | 5237 | -4618 | 0.304 | 93 | 0 | 0
10/15/2025 | 8 | 78515 | 12273 | -10296 | 21344 | 5253 | -4406 | 0.276 | 50 | 0 | 0
10/15/2025 | 9 | 78143 | 11963 | -10928 | 17664 | 5120 | -4678 | 0.229 | 0 | 0 | 0
10/15/2025 | 10 | 76192 | 12287 | -11198 | 16149 | 5259 | -4793 | 0.215 | 0 | 0 | 0
10/15/2025 | 11 | 73520 | 12523 | -11454 | 15421 | 5360 | -4902 | 0.213 | 0 | 0 | 0
10/15/2025 | 12 | 72407 | 11873 | -10835 | 14988 | 5082 | -4637 | 0.21 | 0 | 0 | 0
10/15/2025 | 13 | 71282 | 12092 | -10940 | 14163 | 5176 | -4682 | 0.202 | 0 | 0 | 0
10/15/2025 | 14 | 70861 | 12051 | -10794 | 14320 | 5158 | -4620 | 0.206 | 0 | 0 | 0
10/15/2025 | 15 | 71880 | 12107 | -11008 | 13879 | 5182 | -4712 | 0.197 | 0 | 0 | 0
10/15/2025 | 16 | 74003 | 11389 | -10836 | 14068 | 4874 | -4638 | 0.192 | 0 | 0 | 0
10/15/2025 | 17 | 76403 | 12496 | -12020 | 16027 | 5348 | -5145 | 0.211 | 0 | 0 | 0
10/15/2025 | 18 | 79157 | 12226 | -10683 | 19765 | 5233 | -4572 | 0.253 | 236 | 11 | 0.047
10/15/2025 | 19 | 81485 | 12612 | -10900 | 21245 | 5398 | -4666 | 0.264 | 264 | 0 | 0
10/15/2025 | 20 | 81316 | 12556 | -10500 | 21511 | 5374 | -4494 | 0.269 | 0 | 0 | 0
10/15/2025 | 21 | 78711 | 12499 | -10407 | 21225 | 5350 | -4454 | 0.274 | 5 | 0 | 0
10/15/2025 | 22 | 75958 | 12898 | -10773 | 21715 | 5520 | -4611 | 0.29 | 702 | 1 | 0.001
10/15/2025 | 23 | 71523 | 13437 | -10772 | 21104 | 5751 | -4610 | 0.3 | 354 | 0 | 0
10/15/2025 | 24 | 67879 | 13303 | -10478 | 21544 | 5694 | -4485 | 0.322 | 673 | 47 | 0.07
10/16/2025 | 1 | 65779 | 13635 | -11088 | 22220 | 5836 | -4746 | 0.341 | 486 | 33 | 0.068
10/16/2025 | 2 | 63965 | 12869 | -10551 | 21605 | 5508 | -4516 | 0.341 | 349 | 2 | 0.006
10/16/2025 | 3 | 62585 | 12961 | -10553 | 20470 | 5547 | -4517 | 0.331 | 413 | 26 | 0.063
10/16/2025 | 4 | 62423 | 13068 | -10640 | 20569 | 5593 | -4554 | 0.333 | 504 | 68 | 0.135
10/16/2025 | 5 | 64425 | 12637 | -10420 | 20865 | 5409 | -4460 | 0.327 | 387 | 15 | 0.039
10/16/2025 | 6 | 69011 | 12276 | -10397 | 21330 | 5254 | -4450 | 0.312 | 685 | 79 | 0.115
10/16/2025 | 7 | 74895 | 12414 | -10731 | 21721 | 5313 | -4593 | 0.293 | 855 | 69 | 0.081
10/16/2025 | 8 | 78636 | 11738 | -10262 | 20464 | 5024 | -4392 | 0.263 | 1200 | 276 | 0.23
10/16/2025 | 9 | 78191 | 10875 | -9899 | 15746 | 4655 | -4237 | 0.204 | 281 | 36 | 0.128
10/16/2025 | 10 | 75998 | 11330 | -10635 | 13573 | 4849 | -4552 | 0.181 | 0 | 0 | 0
10/16/2025 | 11 | 72847 | 11245 | -10544 | 13073 | 4813 | -4513 | 0.182 | 0 | 0 | 0
10/16/2025 | 12 | 70418 | 11893 | -10851 | 12464 | 5090 | -4644 | 0.181 | 0 | 0 | 0
10/16/2025 | 13 | 69485 | 11920 | -10654 | 12192 | 5102 | -4560 | 0.18 | 0 | 0 | 0
10/16/2025 | 14 | 69436 | 12000 | -10800 | 12358 | 5136 | -4622 | 0.182 | 0 | 0 | 0
10/16/2025 | 15 | 70335 | 12175 | -10842 | 12405 | 5211 | -4640 | 0.181 | 0 | 0 | 0
10/16/2025 | 16 | 72975 | 12068 | -10619 | 12846 | 5165 | -4545 | 0.181 | 0 | 0 | 0
10/16/2025 | 17 | 75395 | 12587 | -10487 | 14201 | 5387 | -4489 | 0.195 | 0 | 0 | 0
10/16/2025 | 18 | 79094 | 14123 | -11742 | 18205 | 6045 | -5026 | 0.236 | 116 | 9 | 0.078
10/16/2025 | 19 | 81608 | 15438 | -12648 | 19650 | 6608 | -5413 | 0.247 | 695 | 86 | 0.124
10/16/2025 | 20 | 79907 | 16824 | -13252 | 19386 | 7201 | -5672 | 0.251 | 824 | 128 | 0.155
10/16/2025 | 21 | 77528 | 17224 | -13799 | 19082 | 7372 | -5906 | 0.254 | 702 | 19 | 0.027
10/16/2025 | 22 | 74524 | 16637 | -13197 | 18844 | 7120 | -5648 | 0.261 | 775 | 80 | 0.103
10/16/2025 | 23 | 70297 | 17264 | -13584 | 20760 | 7389 | -5814 | 0.302 | 542 | 42 | 0.077
10/16/2025 | 24 | 66485 | 17033 | -13418 | 18140 | 7290 | -5743 | 0.281 | 670 | 87 | 0.13
10/17/2025 | 1 | 63925 | 17281 | -13878 | 17190 | 7396 | -5939 | 0.277 | 963 | 251 | 0.261
10/17/2025 | 2 | 61766 | 16694 | -13427 | 17176 | 7145 | -5747 | 0.286 | 951 | 250 | 0.263
10/17/2025 | 3 | 60306 | 16562 | -13289 | 17034 | 7088 | -5688 | 0.29 | 936 | 237 | 0.253
10/17/2025 | 4 | 59839 | 16755 | -13570 | 17097 | 7171 | -5808 | 0.293 | 804 | 179 | 0.223
10/17/2025 | 5 | 61390 | 16345 | -13496 | 17444 | 6996 | -5776 | 0.291 | 383 | 38 | 0.099
10/17/2025 | 6 | 65768 | 16243 | -13885 | 18026 | 6952 | -5943 | 0.279 | 173 | 1 | 0.006
10/17/2025 | 7 | 71961 | 14947 | -13118 | 18980 | 6397 | -5615 | 0.268 | 648 | 10 | 0.015
10/17/2025 | 8 | 75484 | 13261 | -11865 | 17676 | 5676 | -5078 | 0.238 | 894 | 161 | 0.18
10/17/2025 | 9 | 74529 | 11801 | -10679 | 14211 | 5051 | -4571 | 0.194 | 128 | 12 | 0.094
10/17/2025 | 10 | 73122 | 11511 | -10694 | 12743 | 4927 | -4577 | 0.177 | 0 | 0 | 0
10/17/2025 | 11 | 71134 | 11247 | -10402 | 12201 | 4814 | -4452 | 0.175 | 0 | 0 | 0
10/17/2025 | 12 | 69118 | 11465 | -10317 | 11705 | 4907 | -4416 | 0.174 | 0 | 0 | 0
10/17/2025 | 13 | 68202 | 11467 | -10399 | 11429 | 4908 | -4451 | 0.172 | 0 | 0 | 0
10/17/2025 | 14 | 68752 | 11495 | -10556 | 11547 | 4919 | -4518 | 0.171 | 0 | 0 | 0
10/17/2025 | 15 | 70949 | 11032 | -10799 | 11750 | 4722 | -4622 | 0.166 | 0 | 0 | 0
10/17/2025 | 16 | 73708 | 11700 | -11768 | 12069 | 5008 | -5037 | 0.163 | 0 | 0 | 0
10/17/2025 | 17 | 76932 | 13062 | -12641 | 14361 | 5591 | -5411 | 0.188 | 88 | 0 | 0
10/17/2025 | 18 | 81017 | 15059 | -14539 | 17820 | 6445 | -6223 | 0.221 | 913 | 98 | 0.107
10/17/2025 | 19 | 81083 | 16183 | -15085 | 18847 | 6926 | -6456 | 0.235 | 1054 | 204 | 0.194
10/17/2025 | 20 | 78920 | 16452 | -14764 | 19008 | 7042 | -6319 | 0.245 | 536 | 0 | 0
10/17/2025 | 21 | 76338 | 16383 | -14200 | 18867 | 7012 | -6078 | 0.252 | 733 | 33 | 0.045
10/17/2025 | 22 | 74078 | 15876 | -13411 | 18938 | 6795 | -5740 | 0.261 | 694 | 18 | 0.026
10/17/2025 | 23 | 71396 | 15330 | -12925 | 18954 | 6561 | -5532 | 0.271 | 431 | 50 | 0.116
10/17/2025 | 24 | 67851 | 15222 | -12558 | 18890 | 6515 | -5375 | 0.284 | 664 | 103 | 0.155
10/18/2025 | 1 | 65442 | 14265 | -11507 | 18999 | 6106 | -4925 | 0.296 | 1397 | 304 | 0.218
10/18/2025 | 2 | 63310 | 13976 | -11210 | 18678 | 5982 | -4798 | 0.301 | 1268 | 187 | 0.147
10/18/2025 | 3 | 61754 | 13575 | -11048 | 18648 | 5810 | -4729 | 0.307 | 1478 | 316 | 0.214
10/18/2025 | 4 | 61051 | 12726 | -10449 | 18706 | 5447 | -4472 | 0.311 | 1181 | 246 | 0.208
10/18/2025 | 5 | 61709 | 12721 | -10620 | 18832 | 5444 | -4545 | 0.309 | 683 | 13 | 0.019
10/18/2025 | 6 | 63384 | 13264 | -11032 | 19386 | 5676 | -4722 | 0.31 | 617 | 22 | 0.036
10/18/2025 | 7 | 66530 | 12631 | -10466 | 19945 | 5406 | -4480 | 0.304 | 940 | 146 | 0.155
10/18/2025 | 8 | 68769 | 11677 | -9673 | 18189 | 4998 | -4140 | 0.269 | 1196 | 220 | 0.184
10/18/2025 | 9 | 68596 | 11076 | -9407 | 14282 | 4741 | -4027 | 0.213 | 50 | 0 | 0
10/18/2025 | 10 | 68044 | 10640 | -9268 | 13233 | 4554 | -3967 | 0.199 | 0 | 0 | 0
10/18/2025 | 11 | 66249 | 10618 | -9350 | 12438 | 4544 | -4002 | 0.192 | 0 | 0 | 0
10/18/2025 | 12 | 65025 | 10750 | -9449 | 12167 | 4601 | -4044 | 0.192 | 0 | 0 | 0
10/18/2025 | 13 | 64740 | 10523 | -9107 | 12231 | 4504 | -3898 | 0.194 | 0 | 0 | 0
10/18/2025 | 14 | 66184 | 10500 | -9371 | 11774 | 4494 | -4011 | 0.182 | 0 | 0 | 0
10/18/2025 | 15 | 68018 | 10349 | -9431 | 12272 | 4429 | -4036 | 0.184 | 0 | 0 | 0
10/18/2025 | 16 | 72212 | 10200 | -9632 | 13544 | 4366 | -4123 | 0.189 | 1 | 0 | 0
10/18/2025 | 17 | 76295 | 10778 | -9251 | 15640 | 4613 | -3959 | 0.209 | 0 | 0 | 0
10/18/2025 | 18 | 79834 | 11979 | -9913 | 19660 | 5127 | -4243 | 0.251 | 633 | 65 | 0.103
10/18/2025 | 19 | 80420 | 12451 | -10475 | 21043 | 5329 | -4483 | 0.266 | 261 | 1 | 0.004
10/18/2025 | 20 | 78604 | 12865 | -10844 | 21401 | 5506 | -4642 | 0.276 | 501 | 21 | 0.042
10/18/2025 | 21 | 75850 | 12880 | -10822 | 21221 | 5512 | -4632 | 0.284 | 479 | 1 | 0.002
10/18/2025 | 22 | 73645 | 12770 | -11040 | 20796 | 5466 | -4725 | 0.286 | 482 | 2 | 0.004
10/18/2025 | 23 | 70293 | 13904 | -11999 | 20834 | 5951 | -5135 | 0.3 | 381 | 51 | 0.134
10/18/2025 | 24 | 67027 | 13928 | -11603 | 20456 | 5961 | -4966 | 0.309 | 1040 | 250 | 0.24
10/19/2025 | 1 | 64140 | 13646 | -10545 | 20477 | 5841 | -4514 | 0.324 | 1432 | 274 | 0.191
10/19/2025 | 2 | 61806 | 13740 | -10718 | 20093 | 5880 | -4587 | 0.33 | 1082 | 233 | 0.215
10/19/2025 | 3 | 59983 | 13847 | -10783 | 19574 | 5926 | -4615 | 0.331 | 885 | 210 | 0.237
10/19/2025 | 4 | 59112 | 14242 | -11176 | 18662 | 6095 | -4783 | 0.321 | 1151 | 341 | 0.296
10/19/2025 | 5 | 59515 | 13711 | -11008 | 18120 | 5868 | -4711 | 0.31 | 1080 | 321 | 0.297
10/19/2025 | 6 | 60250 | 13474 | -10812 | 18472 | 5767 | -4628 | 0.312 | 992 | 282 | 0.284
10/19/2025 | 7 | 63128 | 13582 | -11331 | 18746 | 5813 | -4850 | 0.301 | 953 | 158 | 0.166
10/19/2025 | 8 | 65193 | 13048 | -11182 | 17595 | 5585 | -4786 | 0.274 | 949 | 147 | 0.155
10/19/2025 | 9 | 65784 | 12316 | -10942 | 13358 | 5271 | -4683 | 0.208 | 82 | 1 | 0.012
10/19/2025 | 10 | 65542 | 11966 | -10949 | 12597 | 5121 | -4686 | 0.196 | 0 | 0 | 0
10/19/2025 | 11 | 64904 | 11841 | -10820 | 12328 | 5068 | -4631 | 0.194 | 0 | 0 | 0
10/19/2025 | 12 | 64700 | 12007 | -10888 | 12159 | 5139 | -4660 | 0.192 | 0 | 0 | 0
10/19/2025 | 13 | 65819 | 12491 | -11346 | 11983 | 5346 | -4856 | 0.186 | 0 | 0 | 0
10/19/2025 | 14 | 67379 | 12445 | -11719 | 11815 | 5326 | -5016 | 0.178 | 0 | 0 | 0
10/19/2025 | 15 | 69919 | 12243 | -11736 | 12658 | 5240 | -5023 | 0.183 | 0 | 0 | 0
10/19/2025 | 16 | 73827 | 12553 | -11949 | 12824 | 5373 | -5114 | 0.176 | 0 | 0 | 0
10/19/2025 | 17 | 78103 | 13417 | -12576 | 14666 | 5742 | -5383 | 0.19 | 0 | 0 | 0
10/19/2025 | 18 | 82246 | 13936 | -12610 | 17981 | 5964 | -5397 | 0.222 | 340 | 3 | 0.009
10/19/2025 | 19 | 83900 | 13522 | -12489 | 18922 | 5788 | -5345 | 0.228 | 654 | 8 | 0.012
10/19/2025 | 20 | 82510 | 13864 | -12632 | 18720 | 5934 | -5407 | 0.23 | 908 | 85 | 0.094
10/19/2025 | 21 | 79714 | 13961 | -12548 | 18910 | 5976 | -5370 | 0.241 | 807 | 22 | 0.027
10/19/2025 | 22 | 75988 | 14130 | -12433 | 18960 | 6048 | -5321 | 0.253 | 586 | 3 | 0.005
10/19/2025 | 23 | 70821 | 14487 | -12374 | 18281 | 6200 | -5296 | 0.263 | 641 | 98 | 0.153
10/19/2025 | 24 | 66491 | 14112 | -12115 | 17763 | 6040 | -5185 | 0.272 | 377 | 14 | 0.037
10/20/2025 | 1 | 64184 | 14182 | -12332 | 17562 | 6070 | -5278 | 0.278 | 767 | 78 | 0.102
10/20/2025 | 2 | 61838 | 14577 | -12399 | 17282 | 6239 | -5307 | 0.285 | 1180 | 227 | 0.192
10/20/2025 | 3 | 60774 | 14150 | -12092 | 16859 | 6056 | -5176 | 0.282 | 1404 | 256 | 0.182
10/20/2025 | 4 | 61056 | 13613 | -11670 | 17032 | 5826 | -4995 | 0.284 | 1072 | 220 | 0.205
10/20/2025 | 5 | 63261 | 12846 | -11308 | 17620 | 5498 | -4840 | 0.282 | 368 | 8 | 0.022
10/20/2025 | 6 | 68084 | 12517 | -10997 | 18628 | 5357 | -4707 | 0.277 | 141 | 0 | 0
10/20/2025 | 7 | 74072 | 12354 | -10721 | 18812 | 5288 | -4588 | 0.258 | 448 | 0 | 0
10/20/2025 | 8 | 77221 | 11900 | -10462 | 17771 | 5093 | -4478 | 0.234 | 328 | 2 | 0.006
10/20/2025 | 9 | 76358 | 11185 | -9815 | 14957 | 4787 | -4201 | 0.2 | 105 | 0 | 0
10/20/2025 | 10 | 74670 | 10283 | -9190 | 13582 | 4401 | -3934 | 0.185 | 0 | 0 | 0
10/20/2025 | 11 | 73052 | 10064 | -9147 | 13189 | 4308 | -3915 | 0.184 | 0 | 0 | 0
10/20/2025 | 12 | 71917 | 10376 | -9250 | 13171 | 4441 | -3959 | 0.187 | 167 | 46 | 0.275
10/20/2025 | 13 | 72370 | 10496 | -9402 | 13207 | 4492 | -4024 | 0.186 | 206 | 38 | 0.184
10/20/2025 | 14 | 73502 | 10751 | -9738 | 13215 | 4602 | -4168 | 0.183 | 0 | 0 | 0
10/20/2025 | 15 | 75187 | 10525 | -9744 | 13790 | 4505 | -4170 | 0.186 | 17 | 3 | 0.176
10/20/2025 | 16 | 79111 | 10655 | -10214 | 14333 | 4560 | -4371 | 0.183 | 0 | 0 | 0
10/20/2025 | 17 | 83824 | 10760 | -9993 | 16985 | 4605 | -4277 | 0.205 | 73 | 10 | 0.137
10/20/2025 | 18 | 88055 | 11466 | -9845 | 21188 | 4908 | -4214 | 0.244 | 252 | 18 | 0.071
10/20/2025 | 19 | 88127 | 12115 | -10396 | 22477 | 5186 | -4450 | 0.258 | 101 | 1 | 0.01
10/20/2025 | 20 | 84961 | 12344 | -10293 | 22013 | 5283 | -4406 | 0.263 | 319 | 17 | 0.053
10/20/2025 | 21 | 81226 | 12609 | -10186 | 22326 | 5397 | -4359 | 0.279 | 752 | 83 | 0.11
10/20/2025 | 22 | 77315 | 12607 | -10063 | 22291 | 5396 | -4307 | 0.293 | 811 | 95 | 0.117
10/20/2025 | 23 | 72854 | 13111 | -10666 | 22190 | 5611 | -4565 | 0.309 | 489 | 68 | 0.139
10/20/2025 | 24 | 68182 | 12912 | -10301 | 21801 | 5526 | -4409 | 0.324 | 542 | 51 | 0.094
10/21/2025 | 1 | 65440 | 13041 | -10200 | 21038 | 5582 | -4366 | 0.326 | 756 | 131 | 0.173
10/21/2025 | 2 | 63181 | 12534 | -9673 | 20520 | 5365 | -4140 | 0.329 | 1622 | 459 | 0.283
10/21/2025 | 3 | 61809 | 11954 | -9103 | 20555 | 5116 | -3896 | 0.337 | 1589 | 456 | 0.287
10/21/2025 | 4 | 61576 | 12117 | -9301 | 20779 | 5186 | -3981 | 0.341 | 1353 | 368 | 0.272
10/21/2025 | 5 | 63603 | 11994 | -9480 | 21198 | 5134 | -4058 | 0.337 | 1147 | 282 | 0.246
10/21/2025 | 6 | 68093 | 12445 | -9872 | 22164 | 5326 | -4225 | 0.329 | 950 | 191 | 0.201
10/21/2025 | 7 | 74616 | 11358 | -9147 | 22505 | 4861 | -3915 | 0.305 | 1835 | 526 | 0.287
10/21/2025 | 8 | 78133 | 11230 | -9390 | 21263 | 4807 | -4019 | 0.276 | 1933 | 589 | 0.305
10/21/2025 | 9 | 77129 | 10377 | -9046 | 17385 | 4442 | -3872 | 0.229 | 477 | 32 | 0.067
10/21/2025 | 10 | 75662 | 10158 | -8786 | 15610 | 4348 | -3761 | 0.21 | 478 | 1 | 0.002
10/21/2025 | 11 | 73901 | 10545 | -8863 | 15530 | 4514 | -3793 | 0.215 | 516 | 7 | 0.014
10/21/2025 | 12 | 73269 | 10264 | -8797 | 16066 | 4393 | -3766 | 0.223 | 745 | 129 | 0.173
10/21/2025 | 13 | 72989 | 10363 | -8911 | 16088 | 4435 | -3814 | 0.224 | 824 | 134 | 0.163
10/21/2025 | 14 | 73901 | 10455 | -9112 | 16219 | 4475 | -3900 | 0.223 | 652 | 100 | 0.153
10/21/2025 | 15 | 75900 | 10850 | -9591 | 16555 | 4644 | -4105 | 0.222 | 1093 | 310 | 0.284
10/21/2025 | 16 | 79622 | 10503 | -10273 | 17868 | 4495 | -4397 | 0.225 | 1505 | 482 | 0.32
10/21/2025 | 17 | 82757 | 11240 | -10878 | 20196 | 4810 | -4655 | 0.245 | 1219 | 336 | 0.276
10/21/2025 | 18 | 85795 | 12186 | -11702 | 23159 | 5216 | -5008 | 0.271 | 504 | 0 | 0
10/21/2025 | 19 | 86140 | 12267 | -11483 | 24073 | 5250 | -4915 | 0.281 | 374 | 0 | 0
10/21/2025 | 20 | 84839 | 12312 | -11308 | 24194 | 5270 | -4840 | 0.287 | 662 | 0 | 0
10/21/2025 | 21 | 82328 | 11207 | -10274 | 24242 | 4796 | -4397 | 0.296 | 796 | 19 | 0.024
10/21/2025 | 22 | 78533 | 10827 | -9763 | 24349 | 4634 | -4179 | 0.312 | 1150 | 115 | 0.1
10/21/2025 | 23 | 74196 | 11794 | -10588 | 24292 | 5048 | -4532 | 0.329 | 492 | 6 | 0.012
10/21/2025 | 24 | 69565 | 11498 | -9740 | 23937 | 4921 | -4169 | 0.346 | 386 | 0 | 0
10/22/2025 | 1 | 66747 | 10985 | -9449 | 23334 | 4701 | -4044 | 0.351 | 211 | 0 | 0
10/22/2025 | 2 | 64747 | 10755 | -9304 | 22683 | 4603 | -3982 | 0.352 | 273 | 3 | 0.011
10/22/2025 | 3 | 63670 | 10984 | -9606 | 22416 | 4701 | -4111 | 0.354 | 221 | 0 | 0
10/22/2025 | 4 | 63642 | 10711 | -9512 | 22434 | 4584 | -4071 | 0.354 | 239 | 0 | 0
10/22/2025 | 5 | 65602 | 10301 | -9568 | 22345 | 4409 | -4095 | 0.342 | 259 | 0 | 0
10/22/2025 | 6 | 70365 | 10668 | -10146 | 22561 | 4566 | -4343 | 0.321 | 165 | 0 | 0
10/22/2025 | 7 | 76325 | 10366 | -9566 | 22854 | 4437 | -4095 | 0.301 | 150 | 0 | 0
10/22/2025 | 8 | 80672 | 10530 | -10262 | 22482 | 4507 | -4392 | 0.279 | 816 | 93 | 0.114
10/22/2025 | 9 | 80948 | 9577 | -9538 | 20789 | 4099 | -4082 | 0.257 | 356 | 0 | 0
10/22/2025 | 10 | 79302 | 9083 | -9191 | 19165 | 3888 | -3934 | 0.241 | 0 | 0 | 0
10/22/2025 | 11 | 76529 | 9476 | -8929 | 18280 | 4056 | -3821 | 0.24 | 10 | 0 | 0
10/22/2025 | 12 | 76106 | 9925 | -9284 | 18595 | 4248 | -3974 | 0.246 | 165 | 0 | 0
10/22/2025 | 13 | 75200 | 10204 | -9258 | 18531 | 4368 | -3963 | 0.249 | 0 | 0 | 0
10/22/2025 | 14 | 76025 | 10583 | -9481 | 18950 | 4529 | -4058 | 0.252 | 0 | 0 | 0
10/22/2025 | 15 | 77093 | 10870 | -9723 | 18645 | 4652 | -4161 | 0.245 | 58 | 0 | 0
10/22/2025 | 16 | 77964 | 11321 | -10548 | 17805 | 4846 | -4515 | 0.23 | 0 | 0 | 0
10/22/2025 | 17 | 79932 | 11951 | -11048 | 18458 | 5115 | -4728 | 0.233 | 0 | 0 | 0
10/22/2025 | 18 | 82604 | 12288 | -10866 | 21375 | 5259 | -4651 | 0.262 | 0 | 0 | 0
10/22/2025 | 19 | 83414 | 13687 | -11888 | 21989 | 5858 | -5088 | 0.267 | 107 | 0 | 0
10/22/2025 | 20 | 82030 | 13192 | -11000 | 22252 | 5646 | -4708 | 0.275 | 580 | 30 | 0.052
10/22/2025 | 21 | 79070 | 13416 | -10661 | 22445 | 5742 | -4563 | 0.289 | 722 | 49 | 0.068
10/22/2025 | 22 | 76212 | 12506 | -9286 | 22615 | 5353 | -3975 | 0.302 | 1212 | 237 | 0.196
10/22/2025 | 23 | 71457 | 13198 | -10242 | 21706 | 5648 | -4384 | 0.309 | 574 | 90 | 0.157
10/22/2025 | 24 | 67133 | 13093 | -9996 | 21246 | 5604 | -4278 | 0.321 | 678 | 113 | 0.167
10/23/2025 | 1 | 64828 | 13152 | -10106 | 21013 | 5629 | -4325 | 0.329 | 630 | 67 | 0.106
10/23/2025 | 2 | 62136 | 12714 | -9302 | 20846 | 5442 | -3982 | 0.34 | 683 | 100 | 0.146
10/23/2025 | 3 | 60780 | 12459 | -9247 | 20736 | 5332 | -3958 | 0.346 | 592 | 69 | 0.117
10/23/2025 | 4 | 61033 | 12669 | -9752 | 20933 | 5422 | -4173 | 0.347 | 508 | 47 | 0.093
10/23/2025 | 5 | 62360 | 11925 | -9133 | 21309 | 5104 | -3909 | 0.345 | 430 | 0 | 0
10/23/2025 | 6 | 66798 | 11910 | -9422 | 21650 | 5097 | -4032 | 0.328 | 212 | 0 | 0
10/23/2025 | 7 | 73045 | 12438 | -9946 | 21888 | 5324 | -4257 | 0.304 | 1014 | 34 | 0.034
10/23/2025 | 8 | 76761 | 12106 | -10070 | 21684 | 5181 | -4310 | 0.286 | 789 | 19 | 0.024
10/23/2025 | 9 | 76333 | 10728 | -9377 | 18515 | 4592 | -4014 | 0.246 | 131 | 0 | 0
10/23/2025 | 10 | 74440 | 9900 | -8393 | 16315 | 4237 | -3592 | 0.223 | 0 | 0 | 0
10/23/2025 | 11 | 72312 | 10208 | -8516 | 15597 | 4369 | -3645 | 0.221 | 0 | 0 | 0
10/23/2025 | 12 | 70798 | 10669 | -8993 | 15277 | 4566 | -3849 | 0.221 | 0 | 0 | 0
10/23/2025 | 13 | 69958 | 10711 | -8834 | 15239 | 4584 | -3781 | 0.223 | 0 | 0 | 0
10/23/2025 | 14 | 71017 | 10688 | -9187 | 15316 | 4575 | -3932 | 0.22 | 0 | 0 | 0
10/23/2025 | 15 | 72642 | 10758 | -9382 | 15124 | 4605 | -4015 | 0.212 | 0 | 0 | 0
10/23/2025 | 16 | 76070 | 10936 | -10209 | 15333 | 4681 | -4369 | 0.204 | 0 | 0 | 0
10/23/2025 | 17 | 79180 | 11296 | -10250 | 17403 | 4835 | -4387 | 0.223 | 0 | 0 | 0
10/23/2025 | 18 | 81502 | 12641 | -10547 | 20826 | 5410 | -4514 | 0.26 | 730 | 4 | 0.005
10/23/2025 | 19 | 82041 | 13191 | -11214 | 22120 | 5646 | -4799 | 0.273 | 633 | 0 | 0
10/23/2025 | 20 | 81064 | 12993 | -10960 | 22320 | 5561 | -4691 | 0.279 | 688 | 14 | 0.02
10/23/2025 | 21 | 78328 | 12804 | -10499 | 22519 | 5480 | -4494 | 0.292 | 666 | 1 | 0.002
10/23/2025 | 22 | 75077 | 12523 | -10238 | 22623 | 5360 | -4382 | 0.305 | 767 | 0 | 0
10/23/2025 | 23 | 70623 | 12795 | -10350 | 22497 | 5476 | -4430 | 0.322 | 302 | 0 | 0
10/23/2025 | 24 | 66560 | 12695 | -10286 | 22320 | 5433 | -4403 | 0.339 | 491 | 0 | 0
10/24/2025 | 1 | 63899 | 12664 | -10196 | 22026 | 5420 | -4364 | 0.348 | 688 | 0 | 0
10/24/2025 | 2 | 61686 | 12559 | -10082 | 21762 | 5375 | -4315 | 0.356 | 584 | 2 | 0.003
10/24/2025 | 3 | 60164 | 12523 | -9977 | 21584 | 5360 | -4270 | 0.362 | 254 | 0 | 0
10/24/2025 | 4 | 59747 | 12353 | -9906 | 21586 | 5287 | -4240 | 0.364 | 22 | 0 | 0
10/24/2025 | 5 | 61285 | 11763 | -9345 | 22116 | 5035 | -4000 | 0.363 | 221 | 0 | 0
10/24/2025 | 6 | 64812 | 12370 | -9860 | 22203 | 5294 | -4220 | 0.346 | 98 | 0 | 0
10/24/2025 | 7 | 70184 | 12545 | -10174 | 22124 | 5369 | -4354 | 0.319 | 149 | 0 | 0
10/24/2025 | 8 | 73802 | 12230 | -9777 | 22042 | 5235 | -4185 | 0.303 | 813 | 89 | 0.109
10/24/2025 | 9 | 73979 | 10703 | -8633 | 18155 | 4581 | -3695 | 0.25 | 213 | 1 | 0.005
10/24/2025 | 10 | 73160 | 10424 | -8531 | 16770 | 4461 | -3651 | 0.234 | 0 | 0 | 0
10/24/2025 | 11 | 72600 | 10392 | -8664 | 16614 | 4447 | -3708 | 0.233 | 9 | 0 | 0
10/24/2025 | 12 | 71758 | 10308 | -8748 | 16322 | 4412 | -3744 | 0.232 | 0 | 0 | 0
10/24/2025 | 13 | 72274 | 10101 | -8687 | 16517 | 4323 | -3718 | 0.232 | 0 | 0 | 0
10/24/2025 | 14 | 72554 | 10207 | -8672 | 18682 | 4368 | -3712 | 0.261 | 0 | 0 | 0
10/24/2025 | 15 | 73968 | 10445 | -8814 | 16646 | 4470 | -3773 | 0.229 | 0 | 0 | 0
10/24/2025 | 16 | 76573 | 10845 | -9390 | 16637 | 4642 | -4019 | 0.221 | 0 | 0 | 0
10/24/2025 | 17 | 79236 | 11436 | -9613 | 18840 | 4895 | -4114 | 0.242 | 0 | 0 | 0
10/24/2025 | 18 | 81093 | 12318 | -10253 | 21856 | 5272 | -4388 | 0.273 | 66 | 0 | 0
10/24/2025 | 19 | 81509 | 13310 | -11209 | 22339 | 5696 | -4798 | 0.278 | 312 | 0 | 0
10/24/2025 | 20 | 79552 | 13541 | -11482 | 21417 | 5796 | -4914 | 0.273 | 675 | 36 | 0.053
10/24/2025 | 21 | 77179 | 13561 | -11585 | 21009 | 5804 | -4958 | 0.276 | 611 | 0 | 0
10/24/2025 | 22 | 75013 | 13255 | -11338 | 20817 | 5673 | -4852 | 0.281 | 572 | 47 | 0.082
10/24/2025 | 23 | 71502 | 14341 | -11981 | 20928 | 6138 | -5128 | 0.297 | 204 | 0 | 0
10/24/2025 | 24 | 67392 | 14076 | -11502 | 20548 | 6025 | -4923 | 0.309 | 303 | 0 | 0
10/25/2025 | 1 | 65341 | 13074 | -11015 | 19717 | 5596 | -4714 | 0.306 | 539 | 31 | 0.058
10/25/2025 | 2 | 62745 | 12755 | -10458 | 19763 | 5459 | -4476 | 0.319 | 459 | 0 | 0
10/25/2025 | 3 | 61276 | 12691 | -10439 | 19862 | 5432 | -4468 | 0.328 | 319 | 5 | 0.016
10/25/2025 | 4 | 60319 | 12725 | -10409 | 19733 | 5446 | -4455 | 0.331 | 289 | 0 | 0
10/25/2025 | 5 | 60565 | 12359 | -10095 | 19992 | 5290 | -4321 | 0.334 | 334 | 0 | 0
10/25/2025 | 6 | 62289 | 12154 | -9907 | 20177 | 5202 | -4240 | 0.328 | 590 | 0 | 0
10/25/2025 | 7 | 64941 | 11855 | -9599 | 20297 | 5074 | -4108 | 0.316 | 705 | 25 | 0.035
10/25/2025 | 8 | 67199 | 11795 | -9450 | 19367 | 5048 | -4045 | 0.293 | 1156 | 231 | 0.2
10/25/2025 | 9 | 69668 | 10843 | -9132 | 15545 | 4641 | -3909 | 0.228 | 55 | 0 | 0
10/25/2025 | 10 | 71338 | 10609 | -8903 | 14306 | 4541 | -3811 | 0.206 | 0 | 0 | 0
10/25/2025 | 11 | 71052 | 10316 | -8650 | 14126 | 4416 | -3702 | 0.204 | 0 | 0 | 0
10/25/2025 | 12 | 71075 | 9786 | -8748 | 14032 | 4188 | -3744 | 0.201 | 0 | 0 | 0
10/25/2025 | 13 | 70871 | 9757 | -9061 | 13968 | 4176 | -3878 | 0.199 | 0 | 0 | 0
10/25/2025 | 14 | 71978 | 9985 | -9510 | 14146 | 4274 | -4070 | 0.198 | 0 | 0 | 0
10/25/2025 | 15 | 73627 | 10268 | -10262 | 14025 | 4395 | -4392 | 0.191 | 0 | 0 | 0
10/25/2025 | 16 | 75556 | 10892 | -11129 | 14320 | 4662 | -4763 | 0.189 | 0 | 0 | 0
10/25/2025 | 17 | 77816 | 11604 | -11481 | 16274 | 4966 | -4914 | 0.209 | 0 | 0 | 0
10/25/2025 | 18 | 79732 | 12708 | -11927 | 18673 | 5439 | -5105 | 0.236 | 221 | 0 | 0
10/25/2025 | 19 | 81070 | 13532 | -12489 | 19310 | 5792 | -5345 | 0.241 | 446 | 0 | 0
10/25/2025 | 20 | 78566 | 14021 | -12507 | 18996 | 6001 | -5353 | 0.245 | 424 | 0 | 0
10/25/2025 | 21 | 76337 | 14138 | -12435 | 18850 | 6051 | -5322 | 0.251 | 4 | 0 | 0
10/25/2025 | 22 | 73216 | 13392 | -11524 | 18615 | 5732 | -4932 | 0.259 | 92 | 0 | 0
10/25/2025 | 23 | 70378 | 14561 | -12409 | 18469 | 6232 | -5311 | 0.267 | 322 | 0 | 0
10/25/2025 | 24 | 67018 | 14405 | -12434 | 17898 | 6165 | -5322 | 0.272 | 429 | 0 | 0
10/26/2025 | 1 | 65047 | 13151 | -11343 | 16812 | 5629 | -4855 | 0.263 | 515 | 42 | 0.082
10/26/2025 | 2 | 62755 | 13636 | -11608 | 16197 | 5836 | -4968 | 0.263 | 771 | 98 | 0.127
10/26/2025 | 3 | 61058 | 13551 | -11415 | 15758 | 5800 | -4886 | 0.264 | 578 | 6 | 0.01
10/26/2025 | 4 | 60482 | 13225 | -11110 | 15614 | 5660 | -4755 | 0.264 | 664 | 73 | 0.11
10/26/2025 | 5 | 60959 | 12320 | -10509 | 15848 | 5273 | -4498 | 0.265 | 866 | 113 | 0.13
10/26/2025 | 6 | 62030 | 12021 | -10211 | 16199 | 5145 | -4371 | 0.266 | 494 | 16 | 0.032
10/26/2025 | 7 | 64216 | 12344 | -10447 | 16183 | 5283 | -4471 | 0.257 | 550 | 0 | 0
10/26/2025 | 8 | 66338 | 12265 | -10555 | 16005 | 5250 | -4518 | 0.246 | 512 | 55 | 0.107
10/26/2025 | 9 | 68692 | 11501 | -10451 | 13749 | 4922 | -4473 | 0.204 | 32 | 0 | 0
10/26/2025 | 10 | 69198 | 11552 | -10492 | 13012 | 4944 | -4490 | 0.192 | 0 | 0 | 0
10/26/2025 | 11 | 68556 | 11572 | -10503 | 12868 | 4953 | -4495 | 0.191 | 0 | 0 | 0
10/26/2025 | 12 | 68426 | 11209 | -10264 | 12687 | 4797 | -4393 | 0.189 | 0 | 0 | 0
10/26/2025 | 13 | 68563 | 11809 | -10788 | 12846 | 5054 | -4617 | 0.191 | 0 | 0 | 0
10/26/2025 | 14 | 69809 | 11675 | -10844 | 12931 | 4997 | -4641 | 0.188 | 0 | 0 | 0
10/26/2025 | 15 | 71749 | 12079 | -11058 | 13681 | 5170 | -4733 | 0.194 | 0 | 0 | 0
10/26/2025 | 16 | 74663 | 12137 | -11106 | 14336 | 5195 | -4753 | 0.195 | 0 | 0 | 0
10/26/2025 | 17 | 77381 | 12956 | -10983 | 15813 | 5545 | -4701 | 0.21 | 0 | 0 | 0
10/26/2025 | 18 | 80209 | 13757 | -11403 | 18889 | 5888 | -4880 | 0.241 | 0 | 0 | 0
10/26/2025 | 19 | 81200 | 14649 | -11621 | 19699 | 6270 | -4974 | 0.249 | 69 | 0 | 0
10/26/2025 | 20 | 80196 | 14833 | -11833 | 19902 | 6348 | -5065 | 0.255 | 637 | 0 | 0
10/26/2025 | 21 | 78744 | 14106 | -11700 | 19972 | 6037 | -5008 | 0.259 | 297 | 0 | 0
10/26/2025 | 22 | 75769 | 14298 | -11809 | 19423 | 6119 | -5054 | 0.262 | 652 | 0 | 0
10/26/2025 | 23 | 71890 | 14394 | -12178 | 19166 | 6161 | -5212 | 0.271 | 331 | 0 | 0
10/26/2025 | 24 | 68256 | 13891 | -11848 | 18842 | 5945 | -5071 | 0.28 | 810 | 46 | 0.057
10/27/2025 | 1 | 65979 | 13414 | -11426 | 18727 | 5741 | -4890 | 0.288 | 589 | 2 | 0.003
10/27/2025 | 2 | 64066 | 13439 | -11397 | 18526 | 5752 | -4878 | 0.293 | 504 | 0 | 0
10/27/2025 | 3 | 62814 | 13172 | -11291 | 18179 | 5638 | -4833 | 0.293 | 581 | 54 | 0.093
10/27/2025 | 4 | 63327 | 12550 | -11362 | 18478 | 5371 | -4863 | 0.294 | 872 | 167 | 0.192
10/27/2025 | 5 | 65018 | 12364 | -11354 | 18204 | 5292 | -4860 | 0.282 | 536 | 86 | 0.16
10/27/2025 | 6 | 69747 | 12132 | -11371 | 18850 | 5193 | -4867 | 0.272 | 434 | 3 | 0.007
10/27/2025 | 7 | 76212 | 11272 | -10687 | 19582 | 4825 | -4574 | 0.258 | 390 | 0 | 0
10/27/2025 | 8 | 80081 | 11240 | -10490 | 19086 | 4811 | -4490 | 0.24 | 651 | 60 | 0.092
10/27/2025 | 9 | 80150 | 10219 | -9515 | 16186 | 4374 | -4072 | 0.204 | 324 | 25 | 0.077
10/27/2025 | 10 | 79604 | 9812 | -9307 | 15200 | 4200 | -3983 | 0.192 | 11 | 0 | 0
10/27/2025 | 11 | 77426 | 9732 | -9192 | 14748 | 4165 | -3934 | 0.192 | 4 | 0 | 0
10/27/2025 | 12 | 76164 | 9938 | -9238 | 14846 | 4254 | -3954 | 0.197 | 154 | 0 | 0
10/27/2025 | 13 | 75246 | 10048 | -9433 | 14762 | 4300 | -4038 | 0.198 | 11 | 0 | 0
10/27/2025 | 14 | 74736 | 10018 | -9480 | 14491 | 4288 | -4057 | 0.196 | 0 | 0 | 0
10/27/2025 | 15 | 75841 | 10215 | -9731 | 14555 | 4372 | -4165 | 0.193 | 0 | 0 | 0
10/27/2025 | 16 | 78127 | 10475 | -10058 | 15287 | 4483 | -4305 | 0.197 | 0 | 0 | 0
10/27/2025 | 17 | 80852 | 11115 | -10045 | 17600 | 4757 | -4299 | 0.22 | 0 | 0 | 0
10/27/2025 | 18 | 84796 | 11297 | -9868 | 21154 | 4835 | -4223 | 0.252 | 444 | 0 | 0
10/27/2025 | 19 | 86219 | 11561 | -9645 | 22007 | 4948 | -4128 | 0.259 | 428 | 0 | 0
10/27/2025 | 20 | 84685 | 11789 | -9642 | 22421 | 5046 | -4126 | 0.269 | 534 | 0 | 0
10/27/2025 | 21 | 81726 | 11535 | -9432 | 22587 | 4937 | -4037 | 0.28 | 128 | 0 | 0
10/27/2025 | 22 | 77987 | 11174 | -8811 | 22561 | 4783 | -3771 | 0.293 | 15 | 0 | 0
10/27/2025 | 23 | 74087 | 12075 | -9848 | 22510 | 5168 | -4215 | 0.307 | 161 | 0 | 0
10/27/2025 | 24 | 70093 | 11997 | -9869 | 22131 | 5135 | -4224 | 0.319 | 227 | 0 | 0
10/28/2025 | 1 | 67328 | 12300 | -10229 | 22208 | 5264 | -4378 | 0.333 | 360 | 0 | 0
10/28/2025 | 2 | 65131 | 12287 | -10213 | 21772 | 5259 | -4371 | 0.337 | 358 | 0 | 0
10/28/2025 | 3 | 63778 | 12499 | -10414 | 21652 | 5350 | -4457 | 0.342 | 416 | 0 | 0
10/28/2025 | 4 | 63496 | 12591 | -10442 | 21693 | 5389 | -4469 | 0.344 | 326 | 0 | 0
10/28/2025 | 5 | 65158 | 12210 | -10123 | 21782 | 5226 | -4333 | 0.337 | 251 | 0 | 0
10/28/2025 | 6 | 69171 | 12818 | -10380 | 22151 | 5486 | -4443 | 0.324 | 54 | 0 | 0
10/28/2025 | 7 | 75603 | 11882 | -9627 | 22889 | 5085 | -4120 | 0.306 | 137 | 0 | 0
10/28/2025 | 8 | 80059 | 11365 | -9608 | 22442 | 4864 | -4112 | 0.283 | 109 | 2 | 0.018
10/28/2025 | 9 | 79632 | 10330 | -9228 | 19330 | 4421 | -3950 | 0.245 | 8 | 0 | 0
10/28/2025 | 10 | 77972 | 10279 | -9481 | 16877 | 4399 | -4058 | 0.219 | 0 | 0 | 0
10/28/2025 | 11 | 75908 | 10412 | -9561 | 16104 | 4456 | -4092 | 0.215 | 0 | 0 | 0
10/28/2025 | 12 | 74423 | 10327 | -9383 | 15856 | 4420 | -4016 | 0.216 | 0 | 0 | 0
10/28/2025 | 13 | 73873 | 10453 | -9220 | 16047 | 4474 | -3946 | 0.221 | 0 | 0 | 0
10/28/2025 | 14 | 75274 | 10493 | -9278 | 15722 | 4491 | -3971 | 0.212 | 0 | 0 | 0
10/28/2025 | 15 | 77582 | 10380 | -9370 | 15684 | 4443 | -4010 | 0.205 | 0 | 0 | 0
10/28/2025 | 16 | 80552 | 10229 | -9382 | 16669 | 4378 | -4015 | 0.209 | 0 | 0 | 0
10/28/2025 | 17 | 84681 | 10936 | -9699 | 19923 | 4681 | -4151 | 0.238 | 0 | 0 | 0
10/28/2025 | 18 | 87766 | 11065 | -9535 | 23806 | 4736 | -4081 | 0.274 | 20 | 0 | 0
10/28/2025 | 19 | 87984 | 11309 | -9699 | 24837 | 4840 | -4151 | 0.285 | 35 | 0 | 0
10/28/2025 | 20 | 85440 | 11841 | -10133 | 24817 | 5068 | -4337 | 0.293 | 100 | 0 | 0
10/28/2025 | 21 | 82820 | 11515 | -9860 | 24768 | 4928 | -4220 | 0.302 | 6 | 0 | 0
10/28/2025 | 22 | 79235 | 11431 | -9647 | 24456 | 4892 | -4129 | 0.311 | 482 | 0 | 0
10/28/2025 | 23 | 74538 | 12288 | -10533 | 24082 | 5259 | -4508 | 0.325 | 395 | 2 | 0.005
10/28/2025 | 24 | 70465 | 12412 | -10951 | 23717 | 5312 | -4687 | 0.338 | 628 | 100 | 0.159
10/29/2025 | 1 | 68135 | 12548 | -11334 | 23706 | 5370 | -4851 | 0.349 | 478 | 61 | 0.128
10/29/2025 | 2 | 65841 | 12643 | -11561 | 22853 | 5411 | -4948 | 0.348 | 571 | 88 | 0.154
10/29/2025 | 3 | 64321 | 13048 | -12092 | 22017 | 5585 | -5175 | 0.344 | 876 | 204 | 0.233
10/29/2025 | 4 | 63918 | 13516 | -12528 | 21776 | 5785 | -5362 | 0.342 | 738 | 62 | 0.084
10/29/2025 | 5 | 65898 | 13974 | -13515 | 22272 | 5981 | -5784 | 0.339 | 543 | 24 | 0.044
10/29/2025 | 6 | 69077 | 13028 | -12204 | 22524 | 5576 | -5223 | 0.327 | 564 | 35 | 0.062
10/29/2025 | 7 | 75094 | 13155 | -12208 | 23099 | 5630 | -5225 | 0.309 | 298 | 4 | 0.013
10/29/2025 | 8 | 78815 | 13163 | -12125 | 22525 | 5634 | -5189 | 0.288 | 804 | 175 | 0.218
10/29/2025 | 9 | 77929 | 10948 | -10074 | 18373 | 4686 | -4312 | 0.238 | 404 | 93 | 0.23
10/29/2025 | 10 | 75639 | 10397 | -9405 | 16386 | 4450 | -4026 | 0.219 | 24 | 0 | 0
10/29/2025 | 11 | 74186 | 10800 | -9863 | 15689 | 4622 | -4221 | 0.214 | 0 | 0 | 0
10/29/2025 | 12 | 73432 | 10707 | -9893 | 15590 | 4583 | -4234 | 0.215 | 188 | 0 | 0
10/29/2025 | 13 | 73539 | 10511 | -9744 | 15629 | 4499 | -4171 | 0.215 | 190 | 1 | 0.005
10/29/2025 | 14 | 75129 | 10677 | -9881 | 15533 | 4570 | -4229 | 0.209 | 14 | 0 | 0
10/29/2025 | 15 | 77494 | 10763 | -9876 | 15154 | 4606 | -4227 | 0.198 | 11 | 0 | 0
10/29/2025 | 16 | 80722 | 10172 | -9281 | 16285 | 4354 | -3972 | 0.204 | 90 | 0 | 0
10/29/2025 | 17 | 83874 | 11829 | -10361 | 19505 | 5063 | -4434 | 0.236 | 193 | 0 | 0
10/29/2025 | 18 | 87005 | 12418 | -10863 | 22659 | 5315 | -4649 | 0.263 | 607 | 1 | 0.002
10/29/2025 | 19 | 87640 | 12864 | -10915 | 23186 | 5506 | -4671 | 0.268 | 880 | 26 | 0.03
10/29/2025 | 20 | 85500 | 12597 | -10464 | 23102 | 5391 | -4478 | 0.274 | 659 | 89 | 0.135
10/29/2025 | 21 | 82616 | 12514 | -10113 | 23055 | 5356 | -4329 | 0.283 | 493 | 4 | 0.008
10/29/2025 | 22 | 79018 | 12005 | -9486 | 22918 | 5138 | -4060 | 0.294 | 570 | 27 | 0.047
10/29/2025 | 23 | 74969 | 12595 | -10604 | 22550 | 5391 | -4539 | 0.304 | 305 | 4 | 0.013
10/29/2025 | 24 | 70692 | 12315 | -10549 | 22138 | 5271 | -4515 | 0.316 | 316 | 15 | 0.047
10/30/2025 | 1 | 67720 | 12038 | -10095 | 21918 | 5153 | -4321 | 0.327 | 319 | 10 | 0.031
10/30/2025 | 2 | 65584 | 11545 | -9670 | 21932 | 4941 | -4139 | 0.337 | 253 | 4 | 0.016
10/30/2025 | 3 | 64138 | 11413 | -9702 | 22108 | 4885 | -4152 | 0.347 | 279 | 0 | 0
10/30/2025 | 4 | 63872 | 11352 | -9559 | 22538 | 4858 | -4091 | 0.355 | 179 | 0 | 0
10/30/2025 | 5 | 65455 | 11644 | -9932 | 22984 | 4984 | -4251 | 0.353 | 0 | 0 | 0
10/30/2025 | 6 | 69806 | 11576 | -9917 | 23237 | 4954 | -4244 | 0.335 | 0 | 0 | 0
10/30/2025 | 7 | 76402 | 11427 | -10036 | 23386 | 4891 | -4295 | 0.308 | 0 | 0 | 0
10/30/2025 | 8 | 80684 | 11324 | -10171 | 23158 | 4847 | -4353 | 0.289 | 110 | 0 | 0
10/30/2025 | 9 | 80449 | 10220 | -9498 | 19856 | 4374 | -4065 | 0.248 | 0 | 0 | 0
10/30/2025 | 10 | 78566 | 9666 | -9094 | 18182 | 4137 | -3892 | 0.233 | 8 | 0 | 0
10/30/2025 | 11 | 76878 | 9519 | -8758 | 17821 | 4074 | -3748 | 0.234 | 34 | 0 | 0
10/30/2025 | 12 | 75744 | 9460 | -8514 | 17679 | 4049 | -3644 | 0.236 | 253 | 0 | 0
10/30/2025 | 13 | 75903 | 9668 | -8747 | 18159 | 4138 | -3744 | 0.242 | 8 | 0 | 0
10/30/2025 | 14 | 76795 | 10215 | -9191 | 18252 | 4372 | -3934 | 0.24 | 200 | 0 | 0
10/30/2025 | 15 | 78734 | 10380 | -9480 | 18479 | 4442 | -4058 | 0.237 | 203 | 0 | 0
10/30/2025 | 16 | 81961 | 9890 | -9500 | 18734 | 4233 | -4066 | 0.23 | 96 | 0 | 0
10/30/2025 | 17 | 85474 | 10850 | -10549 | 21867 | 4644 | -4515 | 0.256 | 151 | 0 | 0
10/30/2025 | 18 | 87740 | 11716 | -11459 | 24676 | 5015 | -4904 | 0.282 | 335 | 8 | 0.024
10/30/2025 | 19 | 88085 | 12150 | -11504 | 25021 | 5200 | -4924 | 0.285 | 486 | 0 | 0
10/30/2025 | 20 | 86631 | 12328 | -11655 | 25290 | 5276 | -4988 | 0.293 | 453 | 0 | 0
10/30/2025 | 21 | 84040 | 12068 | -11337 | 25165 | 5166 | -4852 | 0.301 | 437 | 0 | 0
10/30/2025 | 22 | 80188 | 11506 | -10196 | 25092 | 4924 | -4364 | 0.315 | 409 | 0 | 0
10/30/2025 | 23 | 75602 | 11371 | -10090 | 25130 | 4867 | -4319 | 0.334 | 725 | 1 | 0.001
10/30/2025 | 24 | 71172 | 11318 | -9799 | 24967 | 4844 | -4194 | 0.352 | 906 | 49 | 0.054
10/31/2025 | 1 | 68666 | 10786 | -9239 | 24764 | 4616 | -3955 | 0.362 | 931 | 157 | 0.169
10/31/2025 | 2 | 66465 | 10598 | -9006 | 24540 | 4536 | -3854 | 0.371 | 1144 | 289 | 0.253
10/31/2025 | 3 | 64847 | 10437 | -8906 | 24194 | 4467 | -3812 | 0.374 | 776 | 167 | 0.215
10/31/2025 | 4 | 64414 | 10490 | -8900 | 24056 | 4490 | -3809 | 0.375 | 450 | 43 | 0.096
10/31/2025 | 5 | 66108 | 10115 | -8905 | 24079 | 4329 | -3812 | 0.365 | 235 | 0 | 0
10/31/2025 | 6 | 70378 | 10483 | -9599 | 24542 | 4487 | -4109 | 0.35 | 319 | 5 | 0.016
10/31/2025 | 7 | 76012 | 11425 | -10336 | 24801 | 4890 | -4424 | 0.328 | 747 | 103 | 0.138
10/31/2025 | 8 | 79885 | 11592 | -10594 | 24825 | 4962 | -4534 | 0.312 | 727 | 153 | 0.21
10/31/2025 | 9 | 79314 | 10087 | -9509 | 21307 | 4317 | -4070 | 0.27 | 94 | 0 | 0
10/31/2025 | 10 | 77527 | 9435 | -8972 | 18046 | 4038 | -3840 | 0.234 | 0 | 0 | 0
10/31/2025 | 11 | 75385 | 9852 | -8954 | 17518 | 4216 | -3832 | 0.235 | 0 | 0 | 0
10/31/2025 | 12 | 74132 | 10237 | -9345 | 17575 | 4382 | -4000 | 0.239 | 0 | 0 | 0
10/31/2025 | 13 | 74199 | 10264 | -9456 | 17829 | 4393 | -4047 | 0.242 | 0 | 0 | 0
10/31/2025 | 14 | 75772 | 10420 | -9840 | 18266 | 4460 | -4211 | 0.242 | 0 | 0 | 0
10/31/2025 | 15 | 77211 | 10803 | -10199 | 17800 | 4624 | -4365 | 0.232 | 0 | 0 | 0
10/31/2025 | 16 | 80129 | 10341 | -9931 | 17803 | 4426 | -4251 | 0.223 | 0 | 0 | 0
10/31/2025 | 17 | 83918 | 11041 | -10128 | 20230 | 4725 | -4335 | 0.243 | 166 | 0 | 0
10/31/2025 | 18 | 85722 | 12035 | -10972 | 23125 | 5151 | -4696 | 0.272 | 824 | 82 | 0.1
10/31/2025 | 19 | 83241 | 12553 | -11132 | 23220 | 5373 | -4764 | 0.281 | 691 | 56 | 0.081
10/31/2025 | 20 | 78879 | 12413 | -11080 | 22717 | 5313 | -4742 | 0.29 | 659 | 72 | 0.109
10/31/2025 | 21 | 76392 | 12261 | -10793 | 22723 | 5248 | -4620 | 0.3 | 535 | 4 | 0.007
10/31/2025 | 22 | 74973 | 12279 | -10868 | 22769 | 5255 | -4651 | 0.306 | 623 | 20 | 0.032
10/31/2025 | 23 | 71787 | 12272 | -11002 | 22675 | 5252 | -4709 | 0.318 | 468 | 0 | 0
10/31/2025 | 24 | 68098 | 12062 | -10551 | 22149 | 5162 | -4516 | 0.327 | 480 | 20 | 0.042