## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
9/1/2025 | 1 | 81516 | 14377 | -13609 | 26092 | 6153 | -5824 | 0.321 | 792 | 107 | 0.135
9/1/2025 | 2 | 76873 | 14884 | -13939 | 24990 | 6370 | -5966 | 0.326 | 652 | 93 | 0.143
9/1/2025 | 3 | 73374 | 14662 | -13470 | 24134 | 6275 | -5765 | 0.33 | 747 | 149 | 0.199
9/1/2025 | 4 | 71214 | 14436 | -13195 | 23360 | 6178 | -5647 | 0.33 | 813 | 186 | 0.229
9/1/2025 | 5 | 70248 | 14574 | -13210 | 23136 | 6238 | -5654 | 0.331 | 744 | 166 | 0.223
9/1/2025 | 6 | 70690 | 14832 | -13294 | 23290 | 6348 | -5690 | 0.332 | 706 | 155 | 0.22
9/1/2025 | 7 | 71656 | 15420 | -14176 | 23298 | 6600 | -6067 | 0.327 | 1314 | 371 | 0.282
9/1/2025 | 8 | 72523 | 13695 | -12484 | 20664 | 5861 | -5343 | 0.287 | 657 | 124 | 0.189
9/1/2025 | 9 | 76157 | 13055 | -12342 | 19098 | 5588 | -5283 | 0.252 | 75 | 0 | 0
9/1/2025 | 10 | 80335 | 13213 | -12592 | 19175 | 5655 | -5389 | 0.24 | 30 | 0 | 0
9/1/2025 | 11 | 85296 | 13332 | -12654 | 20348 | 5706 | -5416 | 0.24 | 14 | 0 | 0
9/1/2025 | 12 | 90890 | 13013 | -12554 | 21524 | 5570 | -5373 | 0.238 | 15 | 1 | 0.067
9/1/2025 | 13 | 96001 | 13840 | -13315 | 22718 | 5923 | -5699 | 0.238 | 4 | 0 | 0
9/1/2025 | 14 | 102187 | 13979 | -13637 | 23795 | 5983 | -5837 | 0.234 | 0 | 0 | 0
9/1/2025 | 15 | 108610 | 13564 | -13432 | 24689 | 5806 | -5749 | 0.228 | 0 | 0 | 0
9/1/2025 | 16 | 113839 | 14484 | -14359 | 26171 | 6199 | -6146 | 0.23 | 0 | 0 | 0
9/1/2025 | 17 | 118146 | 15359 | -15321 | 28162 | 6574 | -6558 | 0.238 | 193 | 9 | 0.047
9/1/2025 | 18 | 121449 | 17024 | -17355 | 30370 | 7286 | -7428 | 0.25 | 853 | 114 | 0.134
9/1/2025 | 19 | 119560 | 17463 | -17396 | 32027 | 7474 | -7446 | 0.268 | 1928 | 558 | 0.289
9/1/2025 | 20 | 115126 | 18263 | -17891 | 32804 | 7816 | -7657 | 0.285 | 2860 | 1177 | 0.412
9/1/2025 | 21 | 109577 | 18040 | -16832 | 31991 | 7721 | -7204 | 0.293 | 1269 | 227 | 0.179
9/1/2025 | 22 | 103059 | 17702 | -16214 | 31645 | 7576 | -6940 | 0.309 | 814 | 116 | 0.143
9/1/2025 | 23 | 95203 | 15458 | -14010 | 30868 | 6616 | -5996 | 0.326 | 1074 | 225 | 0.209
9/1/2025 | 24 | 87538 | 14877 | -13164 | 29734 | 6368 | -5634 | 0.341 | 1117 | 280 | 0.251
9/2/2025 | 1 | 82210 | 14213 | -12453 | 28679 | 6083 | -5330 | 0.351 | 1053 | 336 | 0.319
9/2/2025 | 2 | 77406 | 14446 | -12457 | 28010 | 6183 | -5332 | 0.364 | 823 | 219 | 0.266
9/2/2025 | 3 | 74174 | 14491 | -12528 | 27304 | 6202 | -5362 | 0.37 | 541 | 152 | 0.281
9/2/2025 | 4 | 73156 | 14038 | -12181 | 27071 | 6008 | -5214 | 0.371 | 486 | 134 | 0.276
9/2/2025 | 5 | 73663 | 13816 | -12140 | 27052 | 5913 | -5196 | 0.369 | 161 | 7 | 0.043
9/2/2025 | 6 | 77600 | 13476 | -12165 | 27362 | 5768 | -5207 | 0.354 | 35 | 0 | 0
9/2/2025 | 7 | 82832 | 13714 | -12997 | 28071 | 5870 | -5563 | 0.34 | 54 | 0 | 0
9/2/2025 | 8 | 86352 | 13552 | -12712 | 27683 | 5800 | -5441 | 0.322 | 1404 | 310 | 0.221
9/2/2025 | 9 | 89706 | 14418 | -13487 | 27210 | 6171 | -5772 | 0.305 | 1609 | 453 | 0.282
9/2/2025 | 10 | 93702 | 13901 | -13190 | 27637 | 5949 | -5646 | 0.296 | 531 | 55 | 0.104
9/2/2025 | 11 | 95592 | 14030 | -13521 | 28100 | 6004 | -5787 | 0.295 | 155 | 1 | 0.006
9/2/2025 | 12 | 98156 | 14757 | -14290 | 27884 | 6316 | -6116 | 0.285 | 24 | 0 | 0
9/2/2025 | 13 | 102450 | 15333 | -14311 | 27846 | 6563 | -6125 | 0.273 | 348 | 22 | 0.063
9/2/2025 | 14 | 108343 | 15064 | -14403 | 28194 | 6448 | -6165 | 0.261 | 376 | 7 | 0.019
9/2/2025 | 15 | 114133 | 15811 | -15414 | 29204 | 6767 | -6597 | 0.256 | 616 | 44 | 0.071
9/2/2025 | 16 | 119011 | 16663 | -15825 | 30060 | 7131 | -6773 | 0.254 | 506 | 3 | 0.006
9/2/2025 | 17 | 122220 | 18388 | -17656 | 30442 | 7870 | -7557 | 0.25 | 35 | 0 | 0
9/2/2025 | 18 | 123898 | 19885 | -19313 | 31339 | 8511 | -8266 | 0.254 | 10 | 0 | 0
9/2/2025 | 19 | 121760 | 19535 | -18909 | 32481 | 8361 | -8093 | 0.268 | 1507 | 349 | 0.232
9/2/2025 | 20 | 117256 | 18989 | -18373 | 32822 | 8128 | -7864 | 0.281 | 1780 | 441 | 0.248
9/2/2025 | 21 | 112054 | 18238 | -17257 | 32672 | 7806 | -7386 | 0.293 | 1222 | 237 | 0.194
9/2/2025 | 22 | 105079 | 16899 | -15523 | 32083 | 7232 | -6644 | 0.307 | 1208 | 201 | 0.166
9/2/2025 | 23 | 97085 | 14367 | -13007 | 30948 | 6149 | -5567 | 0.32 | 1154 | 224 | 0.194
9/2/2025 | 24 | 89929 | 13876 | -12367 | 30166 | 5939 | -5293 | 0.337 | 715 | 70 | 0.098
9/3/2025 | 1 | 83714 | 11902 | -9763 | 28718 | 5094 | -4178 | 0.345 | 1311 | 366 | 0.279
9/3/2025 | 2 | 78943 | 11635 | -9432 | 27444 | 4980 | -4037 | 0.35 | 790 | 199 | 0.252
9/3/2025 | 3 | 75776 | 12028 | -9789 | 26786 | 5148 | -4189 | 0.356 | 404 | 95 | 0.235
9/3/2025 | 4 | 73945 | 11647 | -9543 | 26657 | 4985 | -4084 | 0.362 | 842 | 254 | 0.302
9/3/2025 | 5 | 74079 | 11425 | -9450 | 26598 | 4890 | -4045 | 0.361 | 708 | 203 | 0.287
9/3/2025 | 6 | 76966 | 11956 | -9772 | 26804 | 5117 | -4183 | 0.35 | 736 | 147 | 0.2
9/3/2025 | 7 | 81325 | 14590 | -12580 | 27097 | 6244 | -5384 | 0.335 | 1518 | 449 | 0.296
9/3/2025 | 8 | 84387 | 15462 | -13816 | 25710 | 6617 | -5913 | 0.307 | 1284 | 355 | 0.276
9/3/2025 | 9 | 87079 | 16078 | -14471 | 24615 | 6881 | -6194 | 0.285 | 92 | 1 | 0.011
9/3/2025 | 10 | 89879 | 16385 | -14968 | 24302 | 7013 | -6406 | 0.273 | 20 | 0 | 0
9/3/2025 | 11 | 92662 | 16942 | -15529 | 24434 | 7251 | -6646 | 0.266 | 0 | 0 | 0
9/3/2025 | 12 | 96699 | 16768 | -15390 | 24722 | 7177 | -6587 | 0.258 | 99 | 0 | 0
9/3/2025 | 13 | 102387 | 16846 | -15904 | 25201 | 7210 | -6807 | 0.248 | 17 | 0 | 0
9/3/2025 | 14 | 108010 | 17721 | -16807 | 25622 | 7585 | -7194 | 0.239 | 113 | 0 | 0
9/3/2025 | 15 | 112953 | 19087 | -18100 | 26281 | 8169 | -7747 | 0.234 | 164 | 1 | 0.006
9/3/2025 | 16 | 118519 | 18787 | -18208 | 27558 | 8041 | -7793 | 0.233 | 0 | 0 | 0
9/3/2025 | 17 | 122109 | 20405 | -19908 | 28926 | 8734 | -8521 | 0.238 | 378 | 7 | 0.019
9/3/2025 | 18 | 123500 | 20549 | -19965 | 30360 | 8795 | -8545 | 0.247 | 1007 | 123 | 0.122
9/3/2025 | 19 | 121176 | 20307 | -19430 | 31542 | 8692 | -8316 | 0.262 | 1268 | 232 | 0.183
9/3/2025 | 20 | 116905 | 19836 | -18855 | 31466 | 8490 | -8070 | 0.27 | 1403 | 230 | 0.164
9/3/2025 | 21 | 111853 | 19744 | -18331 | 31050 | 8450 | -7846 | 0.279 | 1106 | 84 | 0.076
9/3/2025 | 22 | 104869 | 17767 | -16521 | 30294 | 7604 | -7071 | 0.291 | 1619 | 285 | 0.176
9/3/2025 | 23 | 96009 | 14230 | -12573 | 28879 | 6090 | -5381 | 0.303 | 1174 | 138 | 0.118
9/3/2025 | 24 | 88485 | 14655 | -13002 | 27562 | 6272 | -5565 | 0.314 | 517 | 14 | 0.027
9/4/2025 | 1 | 82581 | 15448 | -13682 | 26005 | 6612 | -5856 | 0.317 | 0 | 0 | 0
9/4/2025 | 2 | 77812 | 14736 | -12783 | 25106 | 6307 | -5471 | 0.325 | 93 | 1 | 0.011
9/4/2025 | 3 | 74313 | 14822 | -12855 | 24284 | 6344 | -5502 | 0.329 | 384 | 2 | 0.005
9/4/2025 | 4 | 72730 | 14810 | -12826 | 23893 | 6339 | -5490 | 0.331 | 96 | 1 | 0.01
9/4/2025 | 5 | 73496 | 14528 | -12814 | 24070 | 6218 | -5484 | 0.33 | 258 | 2 | 0.008
9/4/2025 | 6 | 76606 | 14606 | -12925 | 24428 | 6251 | -5532 | 0.321 | 100 | 1 | 0.01
9/4/2025 | 7 | 81010 | 14631 | -12940 | 24743 | 6262 | -5538 | 0.308 | 693 | 42 | 0.061
9/4/2025 | 8 | 83709 | 14054 | -12450 | 24050 | 6015 | -5328 | 0.29 | 684 | 133 | 0.194
9/4/2025 | 9 | 85812 | 15103 | -13606 | 23109 | 6464 | -5823 | 0.272 | 161 | 2 | 0.012
9/4/2025 | 10 | 87523 | 14932 | -13663 | 22414 | 6391 | -5848 | 0.259 | 297 | 45 | 0.152
9/4/2025 | 11 | 89716 | 14784 | -13706 | 21928 | 6328 | -5866 | 0.247 | 613 | 173 | 0.282
9/4/2025 | 12 | 92341 | 15036 | -13856 | 22116 | 6436 | -5931 | 0.242 | 395 | 94 | 0.238
9/4/2025 | 13 | 96430 | 14812 | -14043 | 22870 | 6340 | -6010 | 0.239 | 305 | 11 | 0.036
9/4/2025 | 14 | 100477 | 14915 | -14081 | 23363 | 6384 | -6027 | 0.234 | 279 | 8 | 0.029
9/4/2025 | 15 | 105754 | 15384 | -15133 | 24066 | 6584 | -6477 | 0.228 | 0 | 0 | 0
9/4/2025 | 16 | 110836 | 15495 | -15450 | 25170 | 6632 | -6612 | 0.227 | 56 | 0 | 0
9/4/2025 | 17 | 113093 | 16320 | -15719 | 25978 | 6985 | -6727 | 0.231 | 151 | 4 | 0.026
9/4/2025 | 18 | 114052 | 17169 | -16408 | 26983 | 7348 | -7023 | 0.238 | 1372 | 217 | 0.158
9/4/2025 | 19 | 112461 | 17384 | -16288 | 27592 | 7440 | -6971 | 0.247 | 1214 | 225 | 0.185
9/4/2025 | 20 | 108823 | 17338 | -16126 | 27519 | 7421 | -6902 | 0.255 | 2193 | 624 | 0.285
9/4/2025 | 21 | 105431 | 16613 | -15304 | 27613 | 7111 | -6550 | 0.264 | 1856 | 459 | 0.247
9/4/2025 | 22 | 99986 | 15103 | -14189 | 27674 | 6464 | -6073 | 0.278 | 958 | 87 | 0.091
9/4/2025 | 23 | 92580 | 12980 | -12040 | 27211 | 5556 | -5153 | 0.295 | 181 | 1 | 0.006
9/4/2025 | 24 | 85762 | 13633 | -12377 | 26526 | 5835 | -5298 | 0.311 | 180 | 1 | 0.006
9/5/2025 | 1 | 81322 | 12318 | -11425 | 25955 | 5272 | -4890 | 0.32 | 461 | 16 | 0.035
9/5/2025 | 2 | 76533 | 12341 | -11130 | 25235 | 5282 | -4764 | 0.331 | 537 | 46 | 0.086
9/5/2025 | 3 | 73536 | 12237 | -11103 | 24719 | 5237 | -4752 | 0.338 | 717 | 86 | 0.12
9/5/2025 | 4 | 71604 | 11977 | -10662 | 24263 | 5126 | -4563 | 0.34 | 427 | 1 | 0.002
9/5/2025 | 5 | 71785 | 11742 | -10357 | 24189 | 5026 | -4433 | 0.339 | 503 | 12 | 0.024
9/5/2025 | 6 | 74867 | 12244 | -11049 | 24916 | 5241 | -4729 | 0.334 | 726 | 86 | 0.118
9/5/2025 | 7 | 79518 | 13661 | -12783 | 25237 | 5847 | -5471 | 0.319 | 1482 | 322 | 0.217
9/5/2025 | 8 | 82541 | 13879 | -13138 | 23811 | 5940 | -5623 | 0.29 | 1465 | 290 | 0.198
9/5/2025 | 9 | 84028 | 13931 | -13613 | 21718 | 5962 | -5826 | 0.259 | 663 | 136 | 0.205
9/5/2025 | 10 | 85148 | 13866 | -13852 | 21216 | 5935 | -5929 | 0.249 | 317 | 37 | 0.117
9/5/2025 | 11 | 86836 | 14040 | -13905 | 21124 | 6009 | -5952 | 0.244 | 496 | 108 | 0.218
9/5/2025 | 12 | 89012 | 13942 | -13721 | 21627 | 5967 | -5872 | 0.243 | 147 | 3 | 0.02
9/5/2025 | 13 | 91955 | 14440 | -13800 | 21399 | 6181 | -5906 | 0.234 | 232 | 11 | 0.047
9/5/2025 | 14 | 95931 | 14601 | -14119 | 21748 | 6249 | -6043 | 0.228 | 63 | 0 | 0
9/5/2025 | 15 | 100681 | 15526 | -15413 | 22215 | 6645 | -6596 | 0.221 | 0 | 0 | 0
9/5/2025 | 16 | 105668 | 16009 | -16150 | 23490 | 6852 | -6912 | 0.222 | 0 | 0 | 0
9/5/2025 | 17 | 108738 | 17314 | -17153 | 24792 | 7410 | -7341 | 0.228 | 0 | 0 | 0
9/5/2025 | 18 | 111495 | 14678 | -14726 | 26837 | 6282 | -6303 | 0.241 | 0 | 0 | 0
9/5/2025 | 19 | 109162 | 16845 | -16621 | 27908 | 7210 | -7114 | 0.256 | 322 | 16 | 0.05
9/5/2025 | 20 | 104548 | 16727 | -16403 | 27684 | 7159 | -7021 | 0.265 | 789 | 132 | 0.167
9/5/2025 | 21 | 100482 | 16287 | -15744 | 27248 | 6971 | -6738 | 0.272 | 654 | 30 | 0.046
9/5/2025 | 22 | 95404 | 15423 | -14452 | 27413 | 6601 | -6185 | 0.289 | 818 | 108 | 0.132
9/5/2025 | 23 | 89113 | 12310 | -10818 | 27171 | 5269 | -4630 | 0.307 | 468 | 14 | 0.03
9/5/2025 | 24 | 83244 | 12228 | -10424 | 26733 | 5234 | -4461 | 0.323 | 623 | 100 | 0.161
9/6/2025 | 1 | 78352 | 12311 | -10334 | 26377 | 5269 | -4423 | 0.339 | 686 | 158 | 0.23
9/6/2025 | 2 | 74140 | 12066 | -9922 | 25362 | 5164 | -4247 | 0.344 | 725 | 170 | 0.234
9/6/2025 | 3 | 71373 | 12114 | -9938 | 24361 | 5185 | -4254 | 0.344 | 1110 | 302 | 0.272
9/6/2025 | 4 | 69667 | 12195 | -10194 | 24042 | 5219 | -4363 | 0.347 | 1003 | 267 | 0.266
9/6/2025 | 5 | 68902 | 12203 | -10157 | 23375 | 5223 | -4347 | 0.342 | 801 | 179 | 0.223
9/6/2025 | 6 | 69336 | 12160 | -10115 | 23660 | 5204 | -4329 | 0.344 | 801 | 176 | 0.22
9/6/2025 | 7 | 70729 | 13618 | -11792 | 23127 | 5829 | -5047 | 0.33 | 1475 | 375 | 0.254
9/6/2025 | 8 | 71853 | 13697 | -12063 | 20379 | 5862 | -5163 | 0.287 | 553 | 103 | 0.186
9/6/2025 | 9 | 74866 | 14052 | -12572 | 17867 | 6014 | -5381 | 0.242 | 0 | 0 | 0
9/6/2025 | 10 | 77098 | 14352 | -13016 | 17768 | 6143 | -5571 | 0.234 | 0 | 0 | 0
9/6/2025 | 11 | 79002 | 14113 | -12815 | 17974 | 6040 | -5484 | 0.231 | 0 | 0 | 0
9/6/2025 | 12 | 81185 | 13782 | -12597 | 17802 | 5898 | -5392 | 0.222 | 0 | 0 | 0
9/6/2025 | 13 | 84148 | 13952 | -12913 | 18090 | 5971 | -5527 | 0.218 | 0 | 0 | 0
9/6/2025 | 14 | 87891 | 14118 | -12940 | 18179 | 6042 | -5538 | 0.21 | 0 | 0 | 0
9/6/2025 | 15 | 91991 | 14236 | -13126 | 18054 | 6093 | -5618 | 0.199 | 0 | 0 | 0
9/6/2025 | 16 | 96678 | 14081 | -13450 | 18728 | 6026 | -5757 | 0.195 | 0 | 0 | 0
9/6/2025 | 17 | 100492 | 15494 | -15085 | 20070 | 6631 | -6456 | 0.201 | 0 | 0 | 0
9/6/2025 | 18 | 103477 | 15337 | -14754 | 23508 | 6564 | -6315 | 0.228 | 411 | 36 | 0.088
9/6/2025 | 19 | 102375 | 15695 | -15113 | 25361 | 6718 | -6468 | 0.249 | 1187 | 263 | 0.222
9/6/2025 | 20 | 98933 | 16387 | -15423 | 25654 | 7013 | -6601 | 0.261 | 1747 | 460 | 0.263
9/6/2025 | 21 | 95850 | 16546 | -15531 | 24997 | 7082 | -6648 | 0.263 | 1372 | 386 | 0.281
9/6/2025 | 22 | 91124 | 15909 | -14671 | 24379 | 6809 | -6279 | 0.27 | 1638 | 442 | 0.27
9/6/2025 | 23 | 85561 | 14781 | -13056 | 24189 | 6326 | -5587 | 0.286 | 953 | 233 | 0.244
9/6/2025 | 24 | 80182 | 15591 | -13611 | 24105 | 6673 | -5825 | 0.304 | 680 | 130 | 0.191
9/7/2025 | 1 | 76492 | 14819 | -13228 | 23709 | 6342 | -5661 | 0.312 | 1068 | 269 | 0.252
9/7/2025 | 2 | 72556 | 14732 | -12992 | 22923 | 6305 | -5561 | 0.319 | 1574 | 450 | 0.286
9/7/2025 | 3 | 69504 | 14710 | -12800 | 22002 | 6296 | -5479 | 0.32 | 1150 | 141 | 0.123
9/7/2025 | 4 | 67609 | 14806 | -12884 | 21796 | 6337 | -5514 | 0.325 | 873 | 99 | 0.113
9/7/2025 | 5 | 66702 | 14693 | -12919 | 21615 | 6289 | -5529 | 0.327 | 794 | 140 | 0.176
9/7/2025 | 6 | 66717 | 14031 | -12324 | 21805 | 6006 | -5275 | 0.329 | 507 | 57 | 0.112
9/7/2025 | 7 | 67549 | 14721 | -13171 | 21800 | 6301 | -5637 | 0.325 | 551 | 96 | 0.174
9/7/2025 | 8 | 68874 | 12573 | -11452 | 18762 | 5381 | -4902 | 0.275 | 283 | 56 | 0.198
9/7/2025 | 9 | 71740 | 12128 | -11031 | 16238 | 5191 | -4722 | 0.229 | 0 | 0 | 0
9/7/2025 | 10 | 74301 | 11912 | -11139 | 15639 | 5099 | -4768 | 0.213 | 0 | 0 | 0
9/7/2025 | 11 | 77525 | 11365 | -10853 | 15898 | 4864 | -4646 | 0.207 | 0 | 0 | 0
9/7/2025 | 12 | 80897 | 11752 | -11340 | 16181 | 5030 | -4853 | 0.201 | 0 | 0 | 0
9/7/2025 | 13 | 85284 | 11740 | -11426 | 16777 | 5025 | -4890 | 0.198 | 0 | 0 | 0
9/7/2025 | 14 | 90041 | 11862 | -11747 | 17587 | 5077 | -5028 | 0.196 | 0 | 0 | 0
9/7/2025 | 15 | 94995 | 12030 | -12005 | 18921 | 5149 | -5138 | 0.199 | 0 | 0 | 0
9/7/2025 | 16 | 99621 | 12196 | -12424 | 19659 | 5220 | -5317 | 0.197 | 0 | 0 | 0
9/7/2025 | 17 | 104395 | 12981 | -13333 | 21832 | 5556 | -5706 | 0.208 | 17 | 0 | 0
9/7/2025 | 18 | 107811 | 15367 | -15310 | 24668 | 6577 | -6553 | 0.229 | 5 | 0 | 0
9/7/2025 | 19 | 106437 | 17119 | -16455 | 26714 | 7327 | -7043 | 0.252 | 243 | 16 | 0.066
9/7/2025 | 20 | 103107 | 16290 | -15286 | 27146 | 6972 | -6543 | 0.265 | 1099 | 240 | 0.218
9/7/2025 | 21 | 99511 | 16245 | -15064 | 26683 | 6953 | -6447 | 0.27 | 927 | 208 | 0.224
9/7/2025 | 22 | 94052 | 16066 | -14829 | 25853 | 6876 | -6347 | 0.277 | 1624 | 589 | 0.363
9/7/2025 | 23 | 86799 | 15437 | -13846 | 24974 | 6607 | -5926 | 0.29 | 1925 | 846 | 0.439
9/7/2025 | 24 | 80615 | 15637 | -14041 | 24534 | 6693 | -6010 | 0.307 | 1757 | 747 | 0.425
9/8/2025 | 1 | 75926 | 15503 | -13806 | 23390 | 6636 | -5909 | 0.311 | 1686 | 515 | 0.305
9/8/2025 | 2 | 72289 | 15318 | -13499 | 21962 | 6556 | -5778 | 0.307 | 1539 | 448 | 0.291
9/8/2025 | 3 | 69531 | 15665 | -13231 | 21414 | 6704 | -5663 | 0.312 | 1394 | 404 | 0.29
9/8/2025 | 4 | 68761 | 14731 | -12730 | 21261 | 6305 | -5448 | 0.313 | 1053 | 287 | 0.273
9/8/2025 | 5 | 69952 | 14024 | -12380 | 21494 | 6002 | -5299 | 0.31 | 1011 | 266 | 0.263
9/8/2025 | 6 | 73887 | 12769 | -11790 | 22817 | 5465 | -5046 | 0.31 | 1366 | 398 | 0.291
9/8/2025 | 7 | 79252 | 13037 | -12622 | 23458 | 5580 | -5402 | 0.297 | 1646 | 454 | 0.276
9/8/2025 | 8 | 82229 | 13186 | -12994 | 21399 | 5644 | -5561 | 0.261 | 1393 | 350 | 0.251
9/8/2025 | 9 | 84506 | 12933 | -12964 | 19194 | 5535 | -5548 | 0.227 | 240 | 43 | 0.179
9/8/2025 | 10 | 86483 | 12998 | -13166 | 19541 | 5563 | -5635 | 0.226 | 310 | 23 | 0.074
9/8/2025 | 11 | 88605 | 13273 | -13362 | 20094 | 5681 | -5719 | 0.227 | 178 | 34 | 0.191
9/8/2025 | 12 | 90846 | 13447 | -13422 | 20538 | 5755 | -5744 | 0.226 | 8 | 2 | 0.25
9/8/2025 | 13 | 95372 | 14541 | -14926 | 21252 | 6223 | -6388 | 0.222 | 0 | 0 | 0
9/8/2025 | 14 | 99843 | 14414 | -14976 | 21786 | 6169 | -6410 | 0.217 | 0 | 0 | 0
9/8/2025 | 15 | 103509 | 14395 | -15458 | 21958 | 6161 | -6616 | 0.21 | 0 | 0 | 0
9/8/2025 | 16 | 108366 | 15372 | -17017 | 22868 | 6579 | -7283 | 0.208 | 0 | 0 | 0
9/8/2025 | 17 | 111725 | 16455 | -17978 | 23827 | 7043 | -7694 | 0.21 | 0 | 0 | 0
9/8/2025 | 18 | 114060 | 17064 | -18500 | 26482 | 7303 | -7918 | 0.23 | 69 | 0 | 0
9/8/2025 | 19 | 112515 | 17754 | -19083 | 28364 | 7599 | -8168 | 0.25 | 191 | 0 | 0
9/8/2025 | 20 | 108135 | 17321 | -18286 | 28570 | 7414 | -7826 | 0.263 | 331 | 54 | 0.163
9/8/2025 | 21 | 104315 | 16550 | -17347 | 28128 | 7083 | -7424 | 0.268 | 986 | 219 | 0.222
9/8/2025 | 22 | 98144 | 15426 | -15654 | 27424 | 6602 | -6700 | 0.279 | 2187 | 723 | 0.331
9/8/2025 | 23 | 90908 | 13713 | -13637 | 27474 | 5869 | -5837 | 0.302 | 2345 | 984 | 0.42
9/8/2025 | 24 | 84091 | 13735 | -13563 | 27059 | 5878 | -5805 | 0.322 | 2036 | 682 | 0.335
9/9/2025 | 1 | 79150 | 11748 | -11459 | 25976 | 5028 | -4904 | 0.329 | 1659 | 554 | 0.334
9/9/2025 | 2 | 75137 | 11933 | -11242 | 24891 | 5107 | -4811 | 0.332 | 2085 | 645 | 0.309
9/9/2025 | 3 | 71981 | 11908 | -11021 | 23462 | 5096 | -4717 | 0.327 | 1926 | 605 | 0.314
9/9/2025 | 4 | 70663 | 11665 | -10842 | 23227 | 4993 | -4640 | 0.33 | 1698 | 531 | 0.313
9/9/2025 | 5 | 71248 | 11396 | -10734 | 23437 | 4878 | -4594 | 0.33 | 1144 | 324 | 0.283
9/9/2025 | 6 | 74433 | 11255 | -10755 | 24253 | 4817 | -4603 | 0.327 | 630 | 94 | 0.149
9/9/2025 | 7 | 79477 | 13666 | -13433 | 24862 | 5849 | -5749 | 0.313 | 1568 | 425 | 0.271
9/9/2025 | 8 | 82455 | 14160 | -14076 | 22560 | 6061 | -6024 | 0.274 | 1027 | 232 | 0.226
9/9/2025 | 9 | 84281 | 13980 | -14145 | 20237 | 5984 | -6054 | 0.24 | 0 | 0 | 0
9/9/2025 | 10 | 85111 | 13329 | -13660 | 19654 | 5705 | -5846 | 0.23 | 0 | 0 | 0
9/9/2025 | 11 | 86422 | 13478 | -13738 | 20256 | 5769 | -5880 | 0.234 | 0 | 0 | 0
9/9/2025 | 12 | 88946 | 13410 | -13662 | 21111 | 5739 | -5847 | 0.237 | 0 | 0 | 0
9/9/2025 | 13 | 92113 | 13261 | -13554 | 21683 | 5676 | -5801 | 0.235 | 0 | 0 | 0
9/9/2025 | 14 | 95466 | 13571 | -14050 | 21485 | 5808 | -6014 | 0.224 | 0 | 0 | 0
9/9/2025 | 15 | 98525 | 14208 | -14826 | 21198 | 6081 | -6345 | 0.214 | 0 | 0 | 0
9/9/2025 | 16 | 102122 | 14790 | -15604 | 22094 | 6330 | -6678 | 0.215 | 0 | 0 | 0
9/9/2025 | 17 | 104786 | 16194 | -16760 | 22724 | 6931 | -7173 | 0.216 | 0 | 0 | 0
9/9/2025 | 18 | 106303 | 16309 | -16448 | 25003 | 6980 | -7040 | 0.235 | 12 | 0 | 0
9/9/2025 | 19 | 105496 | 16296 | -16461 | 26733 | 6975 | -7045 | 0.253 | 454 | 15 | 0.033
9/9/2025 | 20 | 103220 | 16012 | -16379 | 26434 | 6853 | -7010 | 0.255 | 820 | 108 | 0.132
9/9/2025 | 21 | 100023 | 15660 | -15644 | 26173 | 6702 | -6696 | 0.262 | 612 | 25 | 0.041
9/9/2025 | 22 | 94479 | 15276 | -14938 | 26119 | 6538 | -6394 | 0.277 | 940 | 145 | 0.154
9/9/2025 | 23 | 87956 | 12147 | -11684 | 26248 | 5199 | -5001 | 0.299 | 478 | 28 | 0.059
9/9/2025 | 24 | 82202 | 12014 | -11557 | 26243 | 5142 | -4946 | 0.32 | 894 | 154 | 0.172
9/10/2025 | 1 | 77773 | 12266 | -11942 | 25583 | 5250 | -5112 | 0.329 | 594 | 117 | 0.197
9/10/2025 | 2 | 73890 | 12004 | -11583 | 24808 | 5138 | -4958 | 0.336 | 722 | 186 | 0.258
9/10/2025 | 3 | 71220 | 12066 | -11385 | 24387 | 5164 | -4873 | 0.343 | 1242 | 381 | 0.307
9/10/2025 | 4 | 69898 | 12006 | -11332 | 23984 | 5138 | -4850 | 0.344 | 1601 | 539 | 0.337
9/10/2025 | 5 | 70485 | 11750 | -11076 | 23985 | 5029 | -4741 | 0.341 | 1144 | 373 | 0.326
9/10/2025 | 6 | 73765 | 11383 | -10918 | 24644 | 4872 | -4673 | 0.335 | 671 | 162 | 0.241
9/10/2025 | 7 | 78740 | 11836 | -11608 | 24931 | 5066 | -4968 | 0.317 | 1618 | 507 | 0.313
9/10/2025 | 8 | 81467 | 12050 | -11996 | 22806 | 5157 | -5135 | 0.28 | 1794 | 454 | 0.253
9/10/2025 | 9 | 83259 | 12517 | -12567 | 19796 | 5358 | -5379 | 0.238 | 242 | 28 | 0.116
9/10/2025 | 10 | 84206 | 12424 | -12528 | 18795 | 5318 | -5362 | 0.223 | 0 | 0 | 0
9/10/2025 | 11 | 85532 | 12509 | -12743 | 19016 | 5354 | -5454 | 0.222 | 0 | 0 | 0
9/10/2025 | 12 | 87620 | 12592 | -12967 | 19356 | 5389 | -5550 | 0.22 | 0 | 0 | 0
9/10/2025 | 13 | 90270 | 12871 | -13227 | 20167 | 5509 | -5661 | 0.223 | 0 | 0 | 0
9/10/2025 | 14 | 93514 | 13170 | -13617 | 20709 | 5637 | -5828 | 0.22 | 0 | 0 | 0
9/10/2025 | 15 | 96459 | 14029 | -14539 | 21225 | 6004 | -6223 | 0.219 | 0 | 0 | 0
9/10/2025 | 16 | 100265 | 14253 | -14836 | 21621 | 6100 | -6350 | 0.214 | 0 | 0 | 0
9/10/2025 | 17 | 102260 | 14675 | -15019 | 22230 | 6281 | -6428 | 0.217 | 0 | 0 | 0
9/10/2025 | 18 | 103799 | 15642 | -15737 | 24646 | 6695 | -6735 | 0.237 | 5 | 0 | 0
9/10/2025 | 19 | 102865 | 16294 | -16266 | 26515 | 6974 | -6962 | 0.258 | 561 | 52 | 0.093
9/10/2025 | 20 | 100565 | 15949 | -15851 | 26168 | 6826 | -6784 | 0.26 | 1039 | 241 | 0.232
9/10/2025 | 21 | 97554 | 15627 | -15373 | 25740 | 6688 | -6580 | 0.264 | 970 | 209 | 0.215
9/10/2025 | 22 | 92903 | 13840 | -14114 | 24652 | 5923 | -6040 | 0.265 | 1656 | 503 | 0.304
9/10/2025 | 23 | 86434 | 12268 | -12265 | 24340 | 5251 | -5249 | 0.282 | 1676 | 448 | 0.267
9/10/2025 | 24 | 80273 | 12601 | -12278 | 23630 | 5393 | -5255 | 0.295 | 1648 | 464 | 0.282
9/11/2025 | 1 | 76314 | 12594 | -12444 | 22726 | 5390 | -5326 | 0.298 | 1106 | 267 | 0.241
9/11/2025 | 2 | 72614 | 12829 | -12344 | 22446 | 5491 | -5283 | 0.31 | 1095 | 217 | 0.198
9/11/2025 | 3 | 70057 | 12397 | -12002 | 22403 | 5306 | -5137 | 0.32 | 1426 | 240 | 0.168
9/11/2025 | 4 | 68611 | 12285 | -11551 | 22636 | 5258 | -4944 | 0.331 | 1471 | 171 | 0.116
9/11/2025 | 5 | 69015 | 11939 | -11176 | 22599 | 5110 | -4783 | 0.329 | 1123 | 200 | 0.178
9/11/2025 | 6 | 72196 | 11873 | -11310 | 23294 | 5082 | -4841 | 0.323 | 913 | 182 | 0.199
9/11/2025 | 7 | 76700 | 11965 | -11643 | 23288 | 5121 | -4983 | 0.304 | 1208 | 337 | 0.279
9/11/2025 | 8 | 79722 | 11990 | -11840 | 21529 | 5132 | -5068 | 0.27 | 1125 | 296 | 0.263
9/11/2025 | 9 | 81693 | 12267 | -12462 | 18572 | 5250 | -5334 | 0.227 | 10 | 0 | 0
9/11/2025 | 10 | 82926 | 11836 | -12104 | 18303 | 5066 | -5181 | 0.22 | 0 | 0 | 0
9/11/2025 | 11 | 83788 | 11685 | -11994 | 18210 | 5001 | -5133 | 0.217 | 0 | 0 | 0
9/11/2025 | 12 | 85310 | 11722 | -12033 | 18966 | 5017 | -5150 | 0.222 | 0 | 0 | 0
9/11/2025 | 13 | 87909 | 12292 | -12873 | 20030 | 5261 | -5509 | 0.227 | 0 | 0 | 0
9/11/2025 | 14 | 89895 | 12205 | -12781 | 20765 | 5224 | -5471 | 0.23 | 0 | 0 | 0
9/11/2025 | 15 | 92880 | 12939 | -13704 | 20702 | 5538 | -5865 | 0.221 | 0 | 0 | 0
9/11/2025 | 16 | 96957 | 13278 | -14385 | 21205 | 5683 | -6157 | 0.216 | 0 | 0 | 0
9/11/2025 | 17 | 99764 | 13583 | -14447 | 21422 | 5814 | -6184 | 0.213 | 0 | 0 | 0
9/11/2025 | 18 | 101370 | 14130 | -14698 | 23435 | 6047 | -6291 | 0.23 | 104 | 2 | 0.019
9/11/2025 | 19 | 100465 | 14978 | -15276 | 25539 | 6411 | -6538 | 0.254 | 499 | 14 | 0.028
9/11/2025 | 20 | 99408 | 15264 | -15912 | 25391 | 6533 | -6810 | 0.254 | 921 | 124 | 0.135
9/11/2025 | 21 | 96302 | 15557 | -16027 | 24640 | 6658 | -6859 | 0.255 | 884 | 163 | 0.184
9/11/2025 | 22 | 91171 | 14949 | -15262 | 24013 | 6398 | -6532 | 0.263 | 1493 | 401 | 0.269
9/11/2025 | 23 | 85273 | 14086 | -14114 | 23753 | 6029 | -6041 | 0.279 | 775 | 119 | 0.154
9/11/2025 | 24 | 79723 | 13809 | -13809 | 23612 | 5910 | -5910 | 0.296 | 960 | 211 | 0.22
9/12/2025 | 1 | 76165 | 12975 | -12972 | 23317 | 5553 | -5552 | 0.306 | 966 | 240 | 0.248
9/12/2025 | 2 | 72402 | 12711 | -12665 | 22884 | 5440 | -5420 | 0.316 | 875 | 170 | 0.194
9/12/2025 | 3 | 69436 | 12841 | -12374 | 22417 | 5496 | -5296 | 0.324 | 865 | 161 | 0.186
9/12/2025 | 4 | 68242 | 12985 | -12469 | 22000 | 5557 | -5336 | 0.323 | 778 | 140 | 0.18
9/12/2025 | 5 | 69013 | 12751 | -12470 | 22282 | 5458 | -5337 | 0.323 | 755 | 143 | 0.189
9/12/2025 | 6 | 72043 | 12744 | -12645 | 23107 | 5454 | -5412 | 0.321 | 666 | 144 | 0.216
9/12/2025 | 7 | 76578 | 12977 | -13016 | 23067 | 5554 | -5571 | 0.301 | 1784 | 496 | 0.278
9/12/2025 | 8 | 79240 | 12241 | -12196 | 21704 | 5239 | -5220 | 0.274 | 1128 | 284 | 0.252
9/12/2025 | 9 | 81118 | 11545 | -11586 | 18867 | 4941 | -4959 | 0.232 | 42 | 0 | 0
9/12/2025 | 10 | 81759 | 11854 | -11853 | 18287 | 5074 | -5073 | 0.224 | 0 | 0 | 0
9/12/2025 | 11 | 81843 | 11558 | -11431 | 18043 | 4947 | -4893 | 0.221 | 0 | 0 | 0
9/12/2025 | 12 | 82460 | 11431 | -11420 | 18095 | 4892 | -4888 | 0.219 | 0 | 0 | 0
9/12/2025 | 13 | 85193 | 11813 | -12138 | 18654 | 5056 | -5195 | 0.218 | 0 | 0 | 0
9/12/2025 | 14 | 88302 | 11960 | -12456 | 18867 | 5119 | -5331 | 0.212 | 0 | 0 | 0
9/12/2025 | 15 | 91341 | 12265 | -12819 | 18508 | 5250 | -5486 | 0.201 | 0 | 0 | 0
9/12/2025 | 16 | 95366 | 12595 | -13469 | 18446 | 5391 | -5765 | 0.191 | 0 | 0 | 0
9/12/2025 | 17 | 98035 | 14254 | -14909 | 18400 | 6101 | -6381 | 0.186 | 0 | 0 | 0
9/12/2025 | 18 | 99085 | 14527 | -14696 | 20836 | 6217 | -6290 | 0.21 | 46 | 0 | 0
9/12/2025 | 19 | 98241 | 14718 | -14787 | 23541 | 6300 | -6329 | 0.239 | 412 | 18 | 0.044
9/12/2025 | 20 | 95378 | 15087 | -14944 | 23587 | 6457 | -6396 | 0.248 | 1017 | 45 | 0.044
9/12/2025 | 21 | 92074 | 14471 | -14077 | 23241 | 6194 | -6025 | 0.253 | 620 | 86 | 0.139
9/12/2025 | 22 | 87553 | 13652 | -13037 | 23107 | 5843 | -5580 | 0.265 | 1205 | 277 | 0.23
9/12/2025 | 23 | 82124 | 13452 | -12381 | 23254 | 5757 | -5299 | 0.285 | 1280 | 212 | 0.166
9/12/2025 | 24 | 77153 | 13426 | -12286 | 23218 | 5746 | -5259 | 0.303 | 847 | 156 | 0.184
9/13/2025 | 1 | 73450 | 12946 | -11867 | 22713 | 5541 | -5080 | 0.311 | 622 | 64 | 0.103
9/13/2025 | 2 | 69747 | 12298 | -10946 | 22266 | 5263 | -4685 | 0.321 | 809 | 146 | 0.18
9/13/2025 | 3 | 66969 | 12016 | -10568 | 21776 | 5143 | -4523 | 0.327 | 1339 | 343 | 0.256
9/13/2025 | 4 | 65372 | 11689 | -10304 | 21487 | 5003 | -4410 | 0.331 | 1219 | 309 | 0.253
9/13/2025 | 5 | 64820 | 12076 | -10581 | 21356 | 5168 | -4528 | 0.332 | 786 | 161 | 0.205
9/13/2025 | 6 | 65743 | 11716 | -10493 | 21518 | 5015 | -4491 | 0.329 | 955 | 221 | 0.231
9/13/2025 | 7 | 67406 | 11998 | -10944 | 21026 | 5135 | -4684 | 0.314 | 1839 | 547 | 0.297
9/13/2025 | 8 | 68863 | 11996 | -10800 | 18550 | 5134 | -4623 | 0.272 | 842 | 217 | 0.258
9/13/2025 | 9 | 72012 | 11346 | -10634 | 15560 | 4856 | -4552 | 0.218 | 0 | 0 | 0
9/13/2025 | 10 | 73512 | 12074 | -11555 | 14966 | 5168 | -4946 | 0.205 | 0 | 0 | 0
9/13/2025 | 11 | 74793 | 11173 | -10866 | 15102 | 4782 | -4651 | 0.203 | 0 | 0 | 0
9/13/2025 | 12 | 75469 | 11026 | -10678 | 15444 | 4719 | -4570 | 0.206 | 0 | 0 | 0
9/13/2025 | 13 | 77173 | 11297 | -11076 | 15296 | 4835 | -4741 | 0.199 | 0 | 0 | 0
9/13/2025 | 14 | 80206 | 11445 | -11298 | 15796 | 4898 | -4836 | 0.197 | 0 | 0 | 0
9/13/2025 | 15 | 83809 | 11737 | -11795 | 15408 | 5024 | -5048 | 0.184 | 0 | 0 | 0
9/13/2025 | 16 | 88462 | 12032 | -12251 | 16348 | 5149 | -5244 | 0.184 | 0 | 0 | 0
9/13/2025 | 17 | 92518 | 13353 | -13560 | 17637 | 5715 | -5804 | 0.19 | 0 | 0 | 0
9/13/2025 | 18 | 95023 | 14537 | -14270 | 20665 | 6222 | -6107 | 0.218 | 0 | 0 | 0
9/13/2025 | 19 | 93825 | 14914 | -14097 | 23062 | 6383 | -6033 | 0.247 | 541 | 25 | 0.046
9/13/2025 | 20 | 91147 | 14774 | -13995 | 22752 | 6323 | -5990 | 0.251 | 783 | 11 | 0.014
9/13/2025 | 21 | 87628 | 14954 | -13921 | 22326 | 6401 | -5958 | 0.257 | 557 | 1 | 0.002
9/13/2025 | 22 | 83676 | 14783 | -13568 | 22203 | 6327 | -5807 | 0.268 | 814 | 77 | 0.095
9/13/2025 | 23 | 78592 | 13895 | -12528 | 21960 | 5947 | -5362 | 0.282 | 745 | 57 | 0.077
9/13/2025 | 24 | 74484 | 14230 | -12997 | 21731 | 6091 | -5563 | 0.294 | 373 | 13 | 0.035
9/14/2025 | 1 | 70940 | 13564 | -12320 | 21282 | 5806 | -5273 | 0.302 | 658 | 138 | 0.21
9/14/2025 | 2 | 66674 | 13717 | -12208 | 20108 | 5871 | -5225 | 0.304 | 660 | 122 | 0.185
9/14/2025 | 3 | 64247 | 13606 | -12126 | 19265 | 5824 | -5190 | 0.303 | 1336 | 353 | 0.264
9/14/2025 | 4 | 63194 | 13834 | -12356 | 18732 | 5921 | -5288 | 0.299 | 1635 | 466 | 0.285
9/14/2025 | 5 | 62627 | 14287 | -12810 | 18023 | 6115 | -5483 | 0.291 | 1297 | 348 | 0.268
9/14/2025 | 6 | 63079 | 14017 | -12596 | 18346 | 6000 | -5391 | 0.294 | 1086 | 266 | 0.245
9/14/2025 | 7 | 64100 | 13577 | -12384 | 18273 | 5811 | -5300 | 0.288 | 1678 | 347 | 0.207
9/14/2025 | 8 | 65197 | 11645 | -10713 | 16422 | 4984 | -4585 | 0.254 | 481 | 108 | 0.225
9/14/2025 | 9 | 67696 | 11203 | -10839 | 13886 | 4795 | -4639 | 0.206 | 0 | 0 | 0
9/14/2025 | 10 | 69536 | 11020 | -10625 | 13443 | 4716 | -4548 | 0.195 | 0 | 0 | 0
9/14/2025 | 11 | 71376 | 10734 | -10637 | 13228 | 4594 | -4552 | 0.186 | 0 | 0 | 0
9/14/2025 | 12 | 72447 | 10742 | -10623 | 13539 | 4598 | -4547 | 0.187 | 0 | 0 | 0
9/14/2025 | 13 | 74614 | 10807 | -10895 | 13766 | 4625 | -4664 | 0.184 | 0 | 0 | 0
9/14/2025 | 14 | 77828 | 11136 | -11510 | 14134 | 4766 | -4926 | 0.18 | 0 | 0 | 0
9/14/2025 | 15 | 82663 | 11028 | -11639 | 14651 | 4720 | -4982 | 0.175 | 0 | 0 | 0
9/14/2025 | 16 | 87151 | 10954 | -11280 | 15237 | 4688 | -4828 | 0.174 | 0 | 0 | 0
9/14/2025 | 17 | 91848 | 11535 | -12114 | 16306 | 4937 | -5185 | 0.176 | 0 | 0 | 0
9/14/2025 | 18 | 95998 | 14287 | -14271 | 20054 | 6115 | -6108 | 0.209 | 459 | 29 | 0.063
9/14/2025 | 19 | 96186 | 15369 | -15164 | 23413 | 6578 | -6490 | 0.244 | 901 | 34 | 0.038
9/14/2025 | 20 | 93079 | 16399 | -15795 | 23448 | 7019 | -6760 | 0.253 | 754 | 37 | 0.049
9/14/2025 | 21 | 90074 | 15916 | -14941 | 23104 | 6812 | -6394 | 0.258 | 1246 | 162 | 0.13
9/14/2025 | 22 | 84761 | 15481 | -14214 | 22227 | 6626 | -6084 | 0.265 | 1592 | 271 | 0.17
9/14/2025 | 23 | 78758 | 16059 | -14475 | 21718 | 6873 | -6196 | 0.279 | 1340 | 234 | 0.175
9/14/2025 | 24 | 73018 | 15698 | -14113 | 20752 | 6719 | -6040 | 0.287 | 987 | 180 | 0.182
9/15/2025 | 1 | 69771 | 14856 | -13360 | 20362 | 6358 | -5718 | 0.295 | 1619 | 423 | 0.261
9/15/2025 | 2 | 66473 | 14480 | -12955 | 19770 | 6198 | -5545 | 0.3 | 1699 | 448 | 0.264
9/15/2025 | 3 | 64435 | 14529 | -13006 | 19760 | 6218 | -5567 | 0.309 | 1619 | 465 | 0.287
9/15/2025 | 4 | 63370 | 14167 | -12649 | 19505 | 6064 | -5414 | 0.311 | 1460 | 467 | 0.32
9/15/2025 | 5 | 64500 | 13958 | -12342 | 19781 | 5974 | -5283 | 0.31 | 1328 | 418 | 0.315
9/15/2025 | 6 | 68155 | 13664 | -11994 | 20721 | 5848 | -5133 | 0.307 | 1178 | 349 | 0.296
9/15/2025 | 7 | 73632 | 14000 | -12390 | 21417 | 5992 | -5302 | 0.294 | 1420 | 314 | 0.221
9/15/2025 | 8 | 76540 | 13262 | -11803 | 19656 | 5676 | -5052 | 0.26 | 1918 | 507 | 0.264
9/15/2025 | 9 | 78147 | 12636 | -11701 | 16694 | 5409 | -5008 | 0.216 | 183 | 8 | 0.044
9/15/2025 | 10 | 78428 | 12180 | -11232 | 15986 | 5214 | -4807 | 0.207 | 143 | 15 | 0.105
9/15/2025 | 11 | 79982 | 11695 | -10935 | 16082 | 5006 | -4680 | 0.203 | 205 | 22 | 0.107
9/15/2025 | 12 | 81599 | 11880 | -10836 | 17133 | 5085 | -4638 | 0.213 | 0 | 0 | 0
9/15/2025 | 13 | 85678 | 12012 | -11001 | 18090 | 5141 | -4708 | 0.214 | 0 | 0 | 0
9/15/2025 | 14 | 90066 | 12153 | -11277 | 18647 | 5201 | -4826 | 0.209 | 0 | 0 | 0
9/15/2025 | 15 | 95243 | 12468 | -11740 | 19548 | 5336 | -5025 | 0.207 | 0 | 0 | 0
9/15/2025 | 16 | 100263 | 13200 | -12552 | 20737 | 5650 | -5372 | 0.208 | 0 | 0 | 0
9/15/2025 | 17 | 104234 | 15119 | -14543 | 22410 | 6471 | -6224 | 0.216 | 152 | 20 | 0.132
9/15/2025 | 18 | 108012 | 15838 | -15170 | 25763 | 6779 | -6493 | 0.24 | 0 | 0 | 0
9/15/2025 | 19 | 107291 | 16706 | -15789 | 27449 | 7150 | -6757 | 0.257 | 122 | 9 | 0.074
9/15/2025 | 20 | 103240 | 16372 | -15273 | 27703 | 7007 | -6537 | 0.27 | 581 | 34 | 0.059
9/15/2025 | 21 | 98621 | 16151 | -14704 | 27032 | 6913 | -6293 | 0.276 | 945 | 144 | 0.152
9/15/2025 | 22 | 92477 | 15226 | -13827 | 26797 | 6517 | -5918 | 0.292 | 1392 | 292 | 0.21
9/15/2025 | 23 | 85020 | 13812 | -12313 | 26189 | 5912 | -5270 | 0.31 | 1418 | 297 | 0.209
9/15/2025 | 24 | 78433 | 13629 | -11942 | 25100 | 5833 | -5112 | 0.322 | 1095 | 234 | 0.214
9/16/2025 | 1 | 73922 | 13444 | -11483 | 24795 | 5754 | -4915 | 0.338 | 1437 | 292 | 0.203
9/16/2025 | 2 | 70552 | 13168 | -11207 | 24269 | 5636 | -4797 | 0.346 | 1144 | 224 | 0.196
9/16/2025 | 3 | 67731 | 13162 | -11094 | 23665 | 5633 | -4748 | 0.352 | 1270 | 270 | 0.213
9/16/2025 | 4 | 66888 | 12808 | -11085 | 23374 | 5482 | -4745 | 0.351 | 1200 | 250 | 0.208
9/16/2025 | 5 | 67710 | 12669 | -11209 | 23416 | 5423 | -4798 | 0.348 | 932 | 147 | 0.158
9/16/2025 | 6 | 71126 | 12697 | -11239 | 23615 | 5434 | -4810 | 0.334 | 1492 | 340 | 0.228
9/16/2025 | 7 | 75916 | 13663 | -12324 | 23982 | 5848 | -5275 | 0.318 | 1394 | 265 | 0.19
9/16/2025 | 8 | 79212 | 12114 | -11150 | 22572 | 5185 | -4772 | 0.287 | 1202 | 236 | 0.196
9/16/2025 | 9 | 80392 | 11697 | -10678 | 20191 | 5006 | -4570 | 0.253 | 225 | 50 | 0.222
9/16/2025 | 10 | 82318 | 11698 | -10755 | 19480 | 5007 | -4603 | 0.239 | 47 | 7 | 0.149
9/16/2025 | 11 | 84291 | 11734 | -10925 | 18644 | 5022 | -4676 | 0.223 | 0 | 0 | 0
9/16/2025 | 12 | 88170 | 12195 | -11517 | 19472 | 5219 | -4929 | 0.222 | 0 | 0 | 0
9/16/2025 | 13 | 93121 | 12140 | -11843 | 19994 | 5196 | -5069 | 0.215 | 0 | 0 | 0
9/16/2025 | 14 | 99174 | 12070 | -12287 | 21178 | 5166 | -5259 | 0.213 | 0 | 0 | 0
9/16/2025 | 15 | 104714 | 12596 | -12772 | 22964 | 5391 | -5466 | 0.219 | 26 | 0 | 0
9/16/2025 | 16 | 110114 | 13428 | -13588 | 24336 | 5747 | -5816 | 0.221 | 38 | 2 | 0.053
9/16/2025 | 17 | 113619 | 15007 | -14965 | 25420 | 6423 | -6405 | 0.224 | 79 | 0 | 0
9/16/2025 | 18 | 115150 | 15785 | -15118 | 27995 | 6756 | -6470 | 0.244 | 632 | 24 | 0.038
9/16/2025 | 19 | 112346 | 16888 | -15682 | 29532 | 7228 | -6712 | 0.265 | 1018 | 182 | 0.179
9/16/2025 | 20 | 108150 | 16509 | -15445 | 29766 | 7066 | -6610 | 0.277 | 928 | 155 | 0.167
9/16/2025 | 21 | 103574 | 16018 | -14680 | 29045 | 6856 | -6283 | 0.282 | 1000 | 241 | 0.241
9/16/2025 | 22 | 97192 | 15050 | -13483 | 28014 | 6441 | -5771 | 0.29 | 1235 | 323 | 0.262
9/16/2025 | 23 | 89493 | 13971 | -12020 | 27577 | 5980 | -5145 | 0.311 | 941 | 228 | 0.242
9/16/2025 | 24 | 82856 | 12794 | -10683 | 26982 | 5476 | -4572 | 0.328 | 1077 | 295 | 0.274
9/17/2025 | 1 | 78308 | 12099 | -10248 | 26067 | 5178 | -4386 | 0.335 | 1560 | 288 | 0.185
9/17/2025 | 2 | 74484 | 11901 | -10077 | 25124 | 5094 | -4313 | 0.339 | 1508 | 318 | 0.211
9/17/2025 | 3 | 71628 | 12121 | -10300 | 24545 | 5188 | -4408 | 0.345 | 1815 | 412 | 0.227
9/17/2025 | 4 | 70360 | 12160 | -10539 | 23991 | 5205 | -4511 | 0.343 | 1382 | 260 | 0.188
9/17/2025 | 5 | 70768 | 12476 | -10835 | 24004 | 5340 | -4637 | 0.341 | 1183 | 239 | 0.202
9/17/2025 | 6 | 73432 | 12998 | -11174 | 24188 | 5563 | -4782 | 0.332 | 946 | 159 | 0.168
9/17/2025 | 7 | 77959 | 14143 | -12275 | 24335 | 6053 | -5253 | 0.315 | 1458 | 327 | 0.224
9/17/2025 | 8 | 80920 | 12775 | -11526 | 23113 | 5468 | -4933 | 0.288 | 1386 | 369 | 0.266
9/17/2025 | 9 | 82695 | 12725 | -11522 | 21262 | 5446 | -4932 | 0.26 | 263 | 45 | 0.171
9/17/2025 | 10 | 84160 | 12482 | -11271 | 20837 | 5342 | -4824 | 0.25 | 186 | 25 | 0.134
9/17/2025 | 11 | 86950 | 12637 | -11574 | 21252 | 5409 | -4954 | 0.247 | 198 | 3 | 0.015
9/17/2025 | 12 | 90413 | 12207 | -11338 | 21360 | 5224 | -4853 | 0.238 | 235 | 15 | 0.064
9/17/2025 | 13 | 95734 | 12466 | -11799 | 22584 | 5335 | -5050 | 0.237 | 681 | 155 | 0.228
9/17/2025 | 14 | 100968 | 12811 | -12185 | 24126 | 5483 | -5216 | 0.24 | 1057 | 297 | 0.281
9/17/2025 | 15 | 107238 | 13094 | -12570 | 25679 | 5604 | -5380 | 0.24 | 1394 | 370 | 0.265
9/17/2025 | 16 | 111322 | 13784 | -13077 | 26778 | 5900 | -5597 | 0.242 | 1518 | 410 | 0.27
9/17/2025 | 17 | 112173 | 15369 | -14558 | 27446 | 6578 | -6231 | 0.246 | 615 | 82 | 0.133
9/17/2025 | 18 | 110414 | 16582 | -15636 | 28311 | 7097 | -6692 | 0.258 | 212 | 0 | 0
9/17/2025 | 19 | 106847 | 16767 | -15714 | 29046 | 7176 | -6725 | 0.273 | 458 | 10 | 0.022
9/17/2025 | 20 | 103744 | 16340 | -15040 | 28866 | 6994 | -6437 | 0.28 | 593 | 1 | 0.002
9/17/2025 | 21 | 99995 | 16630 | -15231 | 28418 | 7118 | -6519 | 0.286 | 471 | 23 | 0.049
9/17/2025 | 22 | 94621 | 15707 | -14134 | 27906 | 6722 | -6049 | 0.297 | 697 | 74 | 0.106
9/17/2025 | 23 | 88345 | 15004 | -13626 | 27454 | 6422 | -5832 | 0.313 | 396 | 10 | 0.025
9/17/2025 | 24 | 82281 | 14694 | -13136 | 26284 | 6289 | -5622 | 0.321 | 582 | 31 | 0.053
9/18/2025 | 1 | 77942 | 14714 | -13142 | 25568 | 6297 | -5625 | 0.33 | 1103 | 220 | 0.199
9/18/2025 | 2 | 74298 | 14458 | -12666 | 24991 | 6188 | -5421 | 0.339 | 1297 | 304 | 0.234
9/18/2025 | 3 | 71678 | 14480 | -12616 | 24465 | 6197 | -5400 | 0.344 | 2010 | 536 | 0.267
9/18/2025 | 4 | 70465 | 14237 | -12450 | 24444 | 6093 | -5328 | 0.349 | 2107 | 556 | 0.264
9/18/2025 | 5 | 70986 | 14206 | -12303 | 24517 | 6080 | -5266 | 0.348 | 1623 | 392 | 0.242
9/18/2025 | 6 | 74062 | 14086 | -12358 | 24860 | 6029 | -5289 | 0.338 | 1165 | 250 | 0.215
9/18/2025 | 7 | 78893 | 14522 | -12901 | 25035 | 6215 | -5522 | 0.32 | 1137 | 270 | 0.237
9/18/2025 | 8 | 82396 | 13811 | -12587 | 24682 | 5911 | -5387 | 0.301 | 1512 | 506 | 0.335
9/18/2025 | 9 | 84019 | 12065 | -11132 | 24537 | 5164 | -4765 | 0.294 | 1643 | 573 | 0.349
9/18/2025 | 10 | 85164 | 12311 | -11247 | 24331 | 5269 | -4814 | 0.287 | 1536 | 600 | 0.391
9/18/2025 | 11 | 86840 | 12432 | -11212 | 24339 | 5321 | -4799 | 0.282 | 1688 | 759 | 0.45
9/18/2025 | 12 | 89036 | 12695 | -11309 | 24820 | 5434 | -4840 | 0.281 | 1291 | 464 | 0.359
9/18/2025 | 13 | 92328 | 12752 | -11418 | 25693 | 5458 | -4886 | 0.28 | 1183 | 554 | 0.468
9/18/2025 | 14 | 94428 | 12585 | -11357 | 26095 | 5386 | -4861 | 0.278 | 1597 | 471 | 0.295
9/18/2025 | 15 | 97500 | 12829 | -11667 | 26840 | 5491 | -4993 | 0.277 | 2101 | 811 | 0.386
9/18/2025 | 16 | 100119 | 13085 | -12346 | 27216 | 5601 | -5284 | 0.273 | 1685 | 469 | 0.278
9/18/2025 | 17 | 101865 | 13628 | -13086 | 27892 | 5833 | -5601 | 0.275 | 2261 | 630 | 0.279
9/18/2025 | 18 | 100401 | 15918 | -15074 | 28020 | 6813 | -6452 | 0.28 | 1462 | 368 | 0.252
9/18/2025 | 19 | 98332 | 16674 | -15680 | 27803 | 7136 | -6711 | 0.284 | 732 | 68 | 0.093
9/18/2025 | 20 | 97511 | 17242 | -16263 | 27250 | 7380 | -6961 | 0.281 | 603 | 46 | 0.076
9/18/2025 | 21 | 95020 | 17249 | -16071 | 26856 | 7382 | -6879 | 0.284 | 735 | 108 | 0.147
9/18/2025 | 22 | 90118 | 16939 | -14964 | 26170 | 7250 | -6404 | 0.293 | 2190 | 580 | 0.265
9/18/2025 | 23 | 83944 | 17597 | -15223 | 26282 | 7532 | -6516 | 0.316 | 1690 | 438 | 0.259
9/18/2025 | 24 | 78122 | 16967 | -14410 | 25530 | 7262 | -6168 | 0.33 | 1620 | 431 | 0.266
9/19/2025 | 1 | 74313 | 14860 | -13012 | 24834 | 6360 | -5569 | 0.336 | 1796 | 504 | 0.281
9/19/2025 | 2 | 71339 | 14056 | -12163 | 24295 | 6016 | -5206 | 0.343 | 1636 | 431 | 0.263
9/19/2025 | 3 | 69038 | 13443 | -11885 | 23846 | 5754 | -5087 | 0.347 | 1463 | 384 | 0.262
9/19/2025 | 4 | 67982 | 13260 | -11582 | 23797 | 5675 | -4957 | 0.352 | 1448 | 309 | 0.213
9/19/2025 | 5 | 68610 | 13346 | -11422 | 23886 | 5712 | -4888 | 0.35 | 1342 | 336 | 0.25
9/19/2025 | 6 | 71635 | 13720 | -11771 | 24302 | 5872 | -5038 | 0.342 | 1007 | 145 | 0.144
9/19/2025 | 7 | 75803 | 13674 | -11758 | 24594 | 5852 | -5032 | 0.327 | 1736 | 436 | 0.251
9/19/2025 | 8 | 79320 | 13144 | -11555 | 24608 | 5625 | -4946 | 0.313 | 2060 | 582 | 0.283
9/19/2025 | 9 | 80807 | 12794 | -11460 | 23168 | 5476 | -4905 | 0.289 | 1812 | 492 | 0.272
9/19/2025 | 10 | 82116 | 12786 | -11627 | 22398 | 5473 | -4976 | 0.275 | 1452 | 383 | 0.264
9/19/2025 | 11 | 82794 | 12733 | -11725 | 22030 | 5450 | -5018 | 0.268 | 481 | 58 | 0.121
9/19/2025 | 12 | 84272 | 13455 | -12427 | 21613 | 5759 | -5319 | 0.259 | 485 | 105 | 0.216
9/19/2025 | 13 | 88167 | 13155 | -12716 | 21812 | 5631 | -5442 | 0.248 | 628 | 52 | 0.083
9/19/2025 | 14 | 91350 | 12729 | -12741 | 22060 | 5448 | -5453 | 0.241 | 389 | 17 | 0.044
9/19/2025 | 15 | 94630 | 13016 | -13089 | 22610 | 5571 | -5602 | 0.239 | 356 | 1 | 0.003
9/19/2025 | 16 | 98165 | 12844 | -13076 | 23018 | 5497 | -5596 | 0.234 | 377 | 2 | 0.005
9/19/2025 | 17 | 100934 | 14780 | -14780 | 23772 | 6326 | -6326 | 0.236 | 290 | 0 | 0
9/19/2025 | 18 | 101814 | 16088 | -15697 | 25021 | 6886 | -6718 | 0.246 | 553 | 4 | 0.007
9/19/2025 | 19 | 99745 | 16083 | -15653 | 25982 | 6884 | -6700 | 0.261 | 1126 | 181 | 0.161
9/19/2025 | 20 | 97241 | 16280 | -15872 | 26135 | 6968 | -6793 | 0.269 | 720 | 26 | 0.036
9/19/2025 | 21 | 93406 | 16237 | -15298 | 25610 | 6950 | -6547 | 0.276 | 480 | 14 | 0.029
9/19/2025 | 22 | 89023 | 15543 | -14354 | 25354 | 6653 | -6144 | 0.287 | 1188 | 300 | 0.253
9/19/2025 | 23 | 84097 | 15436 | -14115 | 25346 | 6607 | -6041 | 0.303 | 907 | 254 | 0.28
9/19/2025 | 24 | 79248 | 14204 | -12966 | 25068 | 6079 | -5549 | 0.318 | 801 | 213 | 0.266
9/20/2025 | 1 | 75034 | 13967 | -12747 | 24466 | 5978 | -5455 | 0.328 | 740 | 84 | 0.114
9/20/2025 | 2 | 71833 | 13569 | -12600 | 23925 | 5808 | -5393 | 0.334 | 731 | 116 | 0.159
9/20/2025 | 3 | 69115 | 13611 | -12705 | 23017 | 5826 | -5438 | 0.334 | 1260 | 286 | 0.227
9/20/2025 | 4 | 67307 | 13996 | -12926 | 22419 | 5990 | -5532 | 0.335 | 1443 | 352 | 0.244
9/20/2025 | 5 | 66718 | 14131 | -13041 | 22060 | 6048 | -5581 | 0.332 | 1018 | 221 | 0.217
9/20/2025 | 6 | 67426 | 14779 | -13682 | 22233 | 6326 | -5856 | 0.331 | 888 | 189 | 0.213
9/20/2025 | 7 | 68969 | 14617 | -13734 | 21884 | 6256 | -5878 | 0.319 | 1553 | 400 | 0.258
9/20/2025 | 8 | 69954 | 13642 | -12726 | 19170 | 5838 | -5446 | 0.276 | 1514 | 411 | 0.271
9/20/2025 | 9 | 73343 | 12374 | -11771 | 16207 | 5296 | -5038 | 0.223 | 166 | 18 | 0.108
9/20/2025 | 10 | 75540 | 11694 | -11469 | 15833 | 5005 | -4909 | 0.21 | 0 | 0 | 0
9/20/2025 | 11 | 77182 | 11862 | -11617 | 15987 | 5077 | -4972 | 0.208 | 0 | 0 | 0
9/20/2025 | 12 | 79800 | 12098 | -12012 | 16643 | 5178 | -5141 | 0.209 | 0 | 0 | 0
9/20/2025 | 13 | 83252 | 11756 | -11776 | 17207 | 5031 | -5040 | 0.207 | 0 | 0 | 0
9/20/2025 | 14 | 88034 | 11826 | -11890 | 17884 | 5061 | -5089 | 0.203 | 0 | 0 | 0
9/20/2025 | 15 | 92630 | 12554 | -12931 | 18903 | 5374 | -5534 | 0.203 | 4 | 0 | 0
9/20/2025 | 16 | 96783 | 13394 | -13947 | 20071 | 5733 | -5969 | 0.206 | 277 | 1 | 0.004
9/20/2025 | 17 | 99796 | 15126 | -15372 | 21140 | 6474 | -6579 | 0.211 | 294 | 1 | 0.003
9/20/2025 | 18 | 101875 | 16676 | -16377 | 23809 | 7138 | -7009 | 0.234 | 305 | 0 | 0
9/20/2025 | 19 | 99419 | 17581 | -17168 | 25425 | 7525 | -7348 | 0.256 | 735 | 96 | 0.131
9/20/2025 | 20 | 95431 | 17694 | -17208 | 25374 | 7573 | -7365 | 0.267 | 720 | 70 | 0.097
9/20/2025 | 21 | 91679 | 17341 | -16586 | 24626 | 7422 | -7099 | 0.27 | 1556 | 356 | 0.229
9/20/2025 | 22 | 87378 | 17145 | -16192 | 24329 | 7338 | -6930 | 0.28 | 1491 | 347 | 0.233
9/20/2025 | 23 | 82598 | 16385 | -15314 | 24095 | 7013 | -6554 | 0.293 | 1047 | 304 | 0.29
9/20/2025 | 24 | 77807 | 15800 | -14868 | 23751 | 6762 | -6363 | 0.307 | 1454 | 403 | 0.277
9/21/2025 | 1 | 74046 | 15080 | -14211 | 23053 | 6454 | -6082 | 0.313 | 1779 | 448 | 0.252
9/21/2025 | 2 | 70854 | 15007 | -14135 | 22500 | 6423 | -6050 | 0.319 | 1878 | 522 | 0.278
9/21/2025 | 3 | 67957 | 15258 | -14321 | 21752 | 6530 | -6129 | 0.322 | 1325 | 320 | 0.242
9/21/2025 | 4 | 66080 | 15046 | -14073 | 21059 | 6439 | -6023 | 0.32 | 1363 | 325 | 0.238
9/21/2025 | 5 | 65359 | 14949 | -14026 | 20636 | 6398 | -6003 | 0.317 | 1033 | 232 | 0.225
9/21/2025 | 6 | 65572 | 15158 | -14175 | 20620 | 6488 | -6067 | 0.316 | 895 | 187 | 0.209
9/21/2025 | 7 | 66997 | 14993 | -14299 | 20719 | 6417 | -6120 | 0.31 | 1727 | 492 | 0.285
9/21/2025 | 8 | 68616 | 13096 | -12916 | 19091 | 5605 | -5528 | 0.279 | 2673 | 865 | 0.324
9/21/2025 | 9 | 71100 | 11689 | -11525 | 17015 | 5003 | -4933 | 0.24 | 1256 | 388 | 0.309
9/21/2025 | 10 | 73733 | 12017 | -11866 | 16805 | 5143 | -5078 | 0.228 | 570 | 121 | 0.212
9/21/2025 | 11 | 76656 | 11983 | -11998 | 17431 | 5129 | -5135 | 0.227 | 491 | 69 | 0.141
9/21/2025 | 12 | 78923 | 12142 | -12178 | 18444 | 5197 | -5212 | 0.234 | 302 | 10 | 0.033
9/21/2025 | 13 | 81494 | 12274 | -12368 | 19222 | 5253 | -5294 | 0.236 | 81 | 0 | 0
9/21/2025 | 14 | 84601 | 12438 | -12783 | 19551 | 5324 | -5472 | 0.23 | 302 | 3 | 0.01
9/21/2025 | 15 | 87765 | 13323 | -14145 | 19372 | 5702 | -6054 | 0.219 | 351 | 25 | 0.071
9/21/2025 | 16 | 91192 | 14097 | -15188 | 19909 | 6034 | -6500 | 0.216 | 293 | 12 | 0.041
9/21/2025 | 17 | 93756 | 16111 | -17066 | 21497 | 6896 | -7304 | 0.227 | 379 | 4 | 0.011
9/21/2025 | 18 | 96372 | 17082 | -17572 | 23686 | 7311 | -7521 | 0.245 | 733 | 119 | 0.162
9/21/2025 | 19 | 94712 | 17600 | -17469 | 24173 | 7533 | -7477 | 0.255 | 984 | 166 | 0.169
9/21/2025 | 20 | 93671 | 17502 | -17471 | 24848 | 7491 | -7477 | 0.265 | 1190 | 249 | 0.209
9/21/2025 | 21 | 90504 | 16285 | -15816 | 24561 | 6970 | -6770 | 0.272 | 1564 | 404 | 0.258
9/21/2025 | 22 | 86048 | 15910 | -15062 | 24245 | 6809 | -6446 | 0.283 | 2182 | 573 | 0.263
9/21/2025 | 23 | 80218 | 15300 | -14202 | 23299 | 6548 | -6078 | 0.292 | 1412 | 366 | 0.259
9/21/2025 | 24 | 74928 | 15045 | -13978 | 22182 | 6439 | -5983 | 0.298 | 850 | 190 | 0.224
9/22/2025 | 1 | 71442 | 14734 | -13755 | 21603 | 6306 | -5887 | 0.304 | 788 | 178 | 0.226
9/22/2025 | 2 | 68535 | 14290 | -13311 | 21268 | 6116 | -5697 | 0.312 | 995 | 251 | 0.252
9/22/2025 | 3 | 66522 | 14189 | -13205 | 20968 | 6073 | -5652 | 0.317 | 1082 | 285 | 0.263
9/22/2025 | 4 | 65783 | 13820 | -12923 | 20954 | 5915 | -5531 | 0.32 | 1093 | 286 | 0.262
9/22/2025 | 5 | 66913 | 13806 | -12975 | 21547 | 5909 | -5553 | 0.323 | 1062 | 225 | 0.212
9/22/2025 | 6 | 70574 | 13857 | -12944 | 22371 | 5931 | -5540 | 0.318 | 911 | 151 | 0.166
9/22/2025 | 7 | 76070 | 13241 | -12487 | 23002 | 5667 | -5344 | 0.304 | 1324 | 264 | 0.199
9/22/2025 | 8 | 79563 | 12615 | -11821 | 22575 | 5399 | -5060 | 0.285 | 1938 | 556 | 0.287
9/22/2025 | 9 | 80053 | 12013 | -11322 | 20200 | 5142 | -4846 | 0.254 | 1512 | 455 | 0.301
9/22/2025 | 10 | 79980 | 12024 | -11245 | 19348 | 5146 | -4813 | 0.244 | 861 | 167 | 0.194
9/22/2025 | 11 | 80865 | 11718 | -11345 | 19217 | 5016 | -4855 | 0.239 | 462 | 8 | 0.017
9/22/2025 | 12 | 82776 | 11833 | -11651 | 19286 | 5065 | -4986 | 0.233 | 272 | 1 | 0.004
9/22/2025 | 13 | 86873 | 11600 | -11752 | 20273 | 4965 | -5030 | 0.233 | 116 | 0 | 0
9/22/2025 | 14 | 90089 | 11674 | -12042 | 20866 | 4996 | -5154 | 0.231 | 486 | 5 | 0.01
9/22/2025 | 15 | 93213 | 12486 | -13027 | 20774 | 5344 | -5576 | 0.222 | 423 | 0 | 0
9/22/2025 | 16 | 97577 | 13560 | -13984 | 21292 | 5804 | -5985 | 0.217 | 324 | 1 | 0.003
9/22/2025 | 17 | 101215 | 15725 | -15671 | 22542 | 6730 | -6707 | 0.223 | 248 | 1 | 0.004
9/22/2025 | 18 | 103628 | 16255 | -15884 | 25916 | 6957 | -6798 | 0.251 | 602 | 54 | 0.09
9/22/2025 | 19 | 102555 | 16757 | -16191 | 27900 | 7172 | -6930 | 0.273 | 712 | 58 | 0.081
9/22/2025 | 20 | 99545 | 16464 | -15539 | 27872 | 7047 | -6651 | 0.281 | 976 | 159 | 0.163
9/22/2025 | 21 | 95008 | 16067 | -14709 | 27428 | 6876 | -6295 | 0.291 | 1333 | 328 | 0.246
9/22/2025 | 22 | 90046 | 15172 | -13747 | 26959 | 6493 | -5884 | 0.301 | 1869 | 521 | 0.279
9/22/2025 | 23 | 83580 | 14366 | -13113 | 26532 | 6148 | -5613 | 0.319 | 1842 | 571 | 0.31
9/22/2025 | 24 | 77982 | 13427 | -12139 | 25991 | 5747 | -5196 | 0.335 | 1983 | 599 | 0.302
9/23/2025 | 1 | 74449 | 11318 | -10458 | 25170 | 4844 | -4476 | 0.339 | 1900 | 590 | 0.311
9/23/2025 | 2 | 71007 | 11409 | -10578 | 24492 | 4883 | -4527 | 0.346 | 1386 | 384 | 0.277
9/23/2025 | 3 | 68351 | 11604 | -10803 | 23665 | 4967 | -4624 | 0.347 | 1694 | 489 | 0.289
9/23/2025 | 4 | 67464 | 11628 | -10720 | 23288 | 4976 | -4588 | 0.346 | 1595 | 420 | 0.263
9/23/2025 | 5 | 68206 | 11539 | -10565 | 23328 | 4939 | -4522 | 0.343 | 1276 | 284 | 0.223
9/23/2025 | 6 | 71681 | 11550 | -10558 | 24115 | 4943 | -4519 | 0.338 | 1196 | 255 | 0.213
9/23/2025 | 7 | 76333 | 12816 | -11589 | 24654 | 5485 | -4960 | 0.325 | 1278 | 256 | 0.2
9/23/2025 | 8 | 78950 | 13433 | -12231 | 23319 | 5750 | -5235 | 0.297 | 1593 | 407 | 0.255
9/23/2025 | 9 | 79903 | 12082 | -11059 | 20506 | 5171 | -4733 | 0.259 | 400 | 75 | 0.188
9/23/2025 | 10 | 81571 | 12127 | -11322 | 19968 | 5190 | -4846 | 0.247 | 257 | 1 | 0.004
9/23/2025 | 11 | 83435 | 11844 | -11199 | 20233 | 5069 | -4793 | 0.244 | 241 | 3 | 0.012
9/23/2025 | 12 | 86348 | 11905 | -11318 | 20990 | 5095 | -4844 | 0.244 | 372 | 48 | 0.129
9/23/2025 | 13 | 90399 | 11764 | -11311 | 21781 | 5035 | -4841 | 0.242 | 184 | 6 | 0.033
9/23/2025 | 14 | 94924 | 11839 | -11826 | 21537 | 5067 | -5061 | 0.227 | 67 | 0 | 0
9/23/2025 | 15 | 99304 | 12001 | -11959 | 22584 | 5137 | -5118 | 0.228 | 35 | 0 | 0
9/23/2025 | 16 | 104144 | 12885 | -12903 | 23759 | 5514 | -5522 | 0.228 | 20 | 0 | 0
9/23/2025 | 17 | 107229 | 15708 | -15505 | 24822 | 6723 | -6636 | 0.232 | 1 | 0 | 0
9/23/2025 | 18 | 108928 | 16743 | -15914 | 28039 | 7166 | -6811 | 0.259 | 236 | 1 | 0.004
9/23/2025 | 19 | 107495 | 16561 | -16160 | 29788 | 7088 | -6916 | 0.278 | 703 | 76 | 0.108
9/23/2025 | 20 | 104174 | 15952 | -15166 | 29965 | 6827 | -6491 | 0.289 | 607 | 64 | 0.105
9/23/2025 | 21 | 100129 | 15464 | -14459 | 29119 | 6619 | -6189 | 0.292 | 661 | 88 | 0.133
9/23/2025 | 22 | 94295 | 13929 | -12841 | 28521 | 5961 | -5496 | 0.304 | 1386 | 240 | 0.173
9/23/2025 | 23 | 87348 | 12324 | -11386 | 27898 | 5275 | -4873 | 0.321 | 1532 | 352 | 0.23
9/23/2025 | 24 | 81266 | 11951 | -11166 | 27192 | 5115 | -4779 | 0.335 | 1389 | 362 | 0.261
9/24/2025 | 1 | 76812 | 12572 | -11855 | 26053 | 5381 | -5074 | 0.34 | 1018 | 226 | 0.222
9/24/2025 | 2 | 73335 | 12328 | -11665 | 25320 | 5276 | -4992 | 0.346 | 743 | 118 | 0.159
9/24/2025 | 3 | 70741 | 12150 | -11393 | 24709 | 5200 | -4876 | 0.35 | 1048 | 259 | 0.247
9/24/2025 | 4 | 69285 | 12224 | -11396 | 24494 | 5232 | -4878 | 0.354 | 1092 | 274 | 0.251
9/24/2025 | 5 | 69785 | 11945 | -11107 | 24703 | 5112 | -4754 | 0.355 | 616 | 99 | 0.161
9/24/2025 | 6 | 73080 | 12086 | -11413 | 25047 | 5173 | -4885 | 0.344 | 636 | 80 | 0.126
9/24/2025 | 7 | 77662 | 12840 | -11869 | 25432 | 5496 | -5080 | 0.329 | 1410 | 341 | 0.242
9/24/2025 | 8 | 80760 | 12563 | -11834 | 24525 | 5377 | -5065 | 0.305 | 1778 | 471 | 0.265
9/24/2025 | 9 | 82702 | 12365 | -11739 | 21766 | 5292 | -5024 | 0.264 | 973 | 240 | 0.247
9/24/2025 | 10 | 84314 | 12054 | -11610 | 21604 | 5159 | -4969 | 0.257 | 1055 | 262 | 0.248
9/24/2025 | 11 | 86587 | 12230 | -12063 | 22020 | 5235 | -5163 | 0.255 | 528 | 91 | 0.172
9/24/2025 | 12 | 88717 | 12278 | -12037 | 22450 | 5255 | -5152 | 0.254 | 331 | 16 | 0.048
9/24/2025 | 13 | 92075 | 12786 | -12834 | 23155 | 5472 | -5493 | 0.251 | 270 | 6 | 0.022
9/24/2025 | 14 | 95214 | 13427 | -13718 | 23404 | 5747 | -5871 | 0.245 | 294 | 2 | 0.007
9/24/2025 | 15 | 98101 | 13854 | -14152 | 23957 | 5930 | -6057 | 0.244 | 291 | 4 | 0.014
9/24/2025 | 16 | 102829 | 14449 | -14959 | 24458 | 6184 | -6402 | 0.237 | 256 | 1 | 0.004
9/24/2025 | 17 | 106161 | 15737 | -15998 | 25814 | 6735 | -6847 | 0.243 | 236 | 18 | 0.076
9/24/2025 | 18 | 107911 | 16277 | -16435 | 28434 | 6966 | -7034 | 0.263 | 277 | 28 | 0.101
9/24/2025 | 19 | 104825 | 16510 | -16439 | 29349 | 7066 | -7036 | 0.28 | 548 | 63 | 0.115
9/24/2025 | 20 | 101639 | 15998 | -15717 | 29442 | 6847 | -6727 | 0.29 | 769 | 122 | 0.159
9/24/2025 | 21 | 97496 | 15083 | -14532 | 29212 | 6456 | -6220 | 0.3 | 745 | 76 | 0.102
9/24/2025 | 22 | 92694 | 13808 | -13446 | 29110 | 5910 | -5755 | 0.314 | 1669 | 417 | 0.25
9/24/2025 | 23 | 86122 | 12704 | -11791 | 28551 | 5437 | -5047 | 0.333 | 922 | 224 | 0.243
9/24/2025 | 24 | 79942 | 12165 | -11122 | 27617 | 5206 | -4760 | 0.347 | 1170 | 293 | 0.25
9/25/2025 | 1 | 75469 | 12490 | -11535 | 26192 | 5346 | -4937 | 0.348 | 1028 | 272 | 0.265
9/25/2025 | 2 | 71870 | 12634 | -11543 | 24922 | 5407 | -4941 | 0.348 | 983 | 207 | 0.211
9/25/2025 | 3 | 69070 | 12727 | -11586 | 23562 | 5447 | -4959 | 0.343 | 1010 | 234 | 0.232
9/25/2025 | 4 | 67839 | 12998 | -11767 | 22932 | 5563 | -5036 | 0.34 | 1030 | 239 | 0.232
9/25/2025 | 5 | 68684 | 12788 | -11718 | 22912 | 5473 | -5015 | 0.335 | 676 | 114 | 0.169
9/25/2025 | 6 | 72319 | 13030 | -12284 | 23987 | 5577 | -5258 | 0.333 | 435 | 12 | 0.028
9/25/2025 | 7 | 77324 | 14004 | -13255 | 24854 | 5994 | -5673 | 0.322 | 823 | 144 | 0.175
9/25/2025 | 8 | 80457 | 13119 | -12703 | 22987 | 5615 | -5437 | 0.286 | 1111 | 245 | 0.221
9/25/2025 | 9 | 81978 | 11846 | -11606 | 19838 | 5070 | -4968 | 0.243 | 365 | 20 | 0.055
9/25/2025 | 10 | 83067 | 11871 | -11793 | 18877 | 5081 | -5047 | 0.227 | 107 | 0 | 0
9/25/2025 | 11 | 83568 | 11871 | -11956 | 18594 | 5081 | -5118 | 0.222 | 0 | 0 | 0
9/25/2025 | 12 | 85231 | 12389 | -12654 | 18836 | 5303 | -5416 | 0.22 | 0 | 0 | 0
9/25/2025 | 13 | 88651 | 12826 | -13722 | 18996 | 5490 | -5873 | 0.212 | 0 | 0 | 0
9/25/2025 | 14 | 92866 | 12983 | -14327 | 19654 | 5557 | -6132 | 0.208 | 0 | 0 | 0
9/25/2025 | 15 | 96448 | 13457 | -14893 | 20743 | 5760 | -6374 | 0.212 | 0 | 0 | 0
9/25/2025 | 16 | 99862 | 14493 | -16122 | 21650 | 6203 | -6900 | 0.213 | 0 | 0 | 0
9/25/2025 | 17 | 102340 | 16072 | -17582 | 22209 | 6879 | -7525 | 0.214 | 0 | 0 | 0
9/25/2025 | 18 | 104062 | 18357 | -19310 | 24987 | 7857 | -8265 | 0.238 | 130 | 5 | 0.038
9/25/2025 | 19 | 100745 | 18352 | -18892 | 26266 | 7855 | -8086 | 0.26 | 399 | 1 | 0.003
9/25/2025 | 20 | 97975 | 17811 | -18126 | 25878 | 7623 | -7758 | 0.264 | 572 | 0 | 0
9/25/2025 | 21 | 94014 | 17805 | -17812 | 24980 | 7621 | -7624 | 0.266 | 664 | 20 | 0.03
9/25/2025 | 22 | 89790 | 16633 | -16280 | 24289 | 7119 | -6968 | 0.271 | 761 | 53 | 0.07
9/25/2025 | 23 | 83634 | 15476 | -14714 | 23704 | 6624 | -6297 | 0.285 | 548 | 22 | 0.04
9/25/2025 | 24 | 78146 | 15120 | -14507 | 22840 | 6471 | -6209 | 0.293 | 615 | 54 | 0.088
9/26/2025 | 1 | 74136 | 15048 | -14540 | 21979 | 6440 | -6223 | 0.297 | 509 | 18 | 0.035
9/26/2025 | 2 | 71071 | 14590 | -13958 | 21101 | 6244 | -5974 | 0.298 | 501 | 4 | 0.008
9/26/2025 | 3 | 68967 | 14202 | -13529 | 20765 | 6078 | -5790 | 0.302 | 644 | 81 | 0.126
9/26/2025 | 4 | 67919 | 13790 | -13157 | 20404 | 5902 | -5631 | 0.302 | 605 | 74 | 0.122
9/26/2025 | 5 | 68543 | 13595 | -12774 | 19989 | 5819 | -5467 | 0.293 | 553 | 52 | 0.094
9/26/2025 | 6 | 72016 | 13785 | -12994 | 20556 | 5900 | -5561 | 0.287 | 400 | 20 | 0.05
9/26/2025 | 7 | 77047 | 14177 | -13346 | 21750 | 6068 | -5712 | 0.284 | 634 | 98 | 0.155
9/26/2025 | 8 | 80005 | 12348 | -11886 | 21258 | 5285 | -5087 | 0.267 | 1115 | 260 | 0.233
9/26/2025 | 9 | 80566 | 11685 | -11094 | 18709 | 5001 | -4748 | 0.234 | 170 | 1 | 0.006
9/26/2025 | 10 | 81055 | 12149 | -11664 | 17938 | 5200 | -4992 | 0.223 | 63 | 0 | 0
9/26/2025 | 11 | 81380 | 11579 | -11128 | 18107 | 4956 | -4763 | 0.224 | 0 | 0 | 0
9/26/2025 | 12 | 81583 | 11873 | -11324 | 18241 | 5081 | -4847 | 0.225 | 472 | 35 | 0.074
9/26/2025 | 13 | 81660 | 11929 | -11229 | 17959 | 5106 | -4806 | 0.222 | 204 | 1 | 0.005
9/26/2025 | 14 | 82961 | 11174 | -11029 | 17722 | 4783 | -4720 | 0.214 | 0 | 0 | 0
9/26/2025 | 15 | 86183 | 11308 | -11333 | 18456 | 4840 | -4851 | 0.214 | 0 | 0 | 0
9/26/2025 | 16 | 88083 | 12342 | -12833 | 19800 | 5282 | -5492 | 0.224 | 0 | 0 | 0
9/26/2025 | 17 | 88620 | 14569 | -14919 | 20316 | 6236 | -6385 | 0.228 | 0 | 0 | 0
9/26/2025 | 18 | 90257 | 15807 | -15959 | 22607 | 6765 | -6830 | 0.25 | 508 | 4 | 0.008
9/26/2025 | 19 | 89960 | 16008 | -16064 | 23447 | 6851 | -6876 | 0.261 | 1226 | 152 | 0.124
9/26/2025 | 20 | 88375 | 15842 | -15561 | 23232 | 6780 | -6660 | 0.263 | 1067 | 146 | 0.137
9/26/2025 | 21 | 85739 | 15728 | -15133 | 23179 | 6731 | -6477 | 0.271 | 1242 | 241 | 0.194
9/26/2025 | 22 | 82806 | 14601 | -13958 | 23419 | 6249 | -5974 | 0.284 | 1473 | 299 | 0.203
9/26/2025 | 23 | 78150 | 13464 | -12368 | 23436 | 5763 | -5294 | 0.302 | 875 | 119 | 0.136
9/26/2025 | 24 | 73553 | 13463 | -12204 | 22873 | 5762 | -5223 | 0.313 | 1189 | 236 | 0.198
9/27/2025 | 1 | 70233 | 13255 | -12026 | 22319 | 5673 | -5147 | 0.32 | 1112 | 300 | 0.27
9/27/2025 | 2 | 67146 | 13155 | -11868 | 21834 | 5630 | -5080 | 0.327 | 1119 | 330 | 0.295
9/27/2025 | 3 | 65142 | 12962 | -11683 | 21639 | 5547 | -5000 | 0.334 | 1299 | 406 | 0.313
9/27/2025 | 4 | 63678 | 13009 | -11647 | 21576 | 5568 | -4985 | 0.341 | 1291 | 377 | 0.292
9/27/2025 | 5 | 63567 | 13059 | -11668 | 21408 | 5589 | -4994 | 0.339 | 1146 | 327 | 0.285
9/27/2025 | 6 | 64681 | 12963 | -11664 | 21312 | 5548 | -4992 | 0.331 | 568 | 83 | 0.146
9/27/2025 | 7 | 66470 | 13037 | -11659 | 21240 | 5580 | -4990 | 0.322 | 817 | 177 | 0.217
9/27/2025 | 8 | 68965 | 11874 | -10862 | 21032 | 5082 | -4649 | 0.307 | 928 | 103 | 0.111
9/27/2025 | 9 | 70572 | 11672 | -10742 | 18457 | 4995 | -4597 | 0.264 | 340 | 16 | 0.047
9/27/2025 | 10 | 72117 | 11299 | -10519 | 17738 | 4836 | -4502 | 0.248 | 205 | 6 | 0.029
9/27/2025 | 11 | 72250 | 11380 | -10529 | 17660 | 4870 | -4506 | 0.247 | 253 | 15 | 0.059
9/27/2025 | 12 | 72470 | 11427 | -10446 | 18002 | 4891 | -4471 | 0.251 | 288 | 20 | 0.069
9/27/2025 | 13 | 73081 | 11380 | -10513 | 17909 | 4870 | -4500 | 0.247 | 2 | 0 | 0
9/27/2025 | 14 | 76278 | 11002 | -10419 | 18161 | 4708 | -4459 | 0.24 | 0 | 0 | 0
9/27/2025 | 15 | 78681 | 10931 | -10764 | 18064 | 4678 | -4607 | 0.23 | 0 | 0 | 0
9/27/2025 | 16 | 82899 | 11345 | -11084 | 19221 | 4856 | -4744 | 0.232 | 0 | 0 | 0
9/27/2025 | 17 | 85109 | 12997 | -12388 | 20793 | 5563 | -5302 | 0.246 | 0 | 0 | 0
9/27/2025 | 18 | 86285 | 14454 | -13313 | 22527 | 6186 | -5698 | 0.263 | 342 | 1 | 0.003
9/27/2025 | 19 | 84864 | 14330 | -12734 | 23197 | 6133 | -5450 | 0.276 | 632 | 52 | 0.082
9/27/2025 | 20 | 83275 | 14159 | -12370 | 22334 | 6060 | -5294 | 0.272 | 758 | 120 | 0.158
9/27/2025 | 21 | 80639 | 13854 | -12005 | 21669 | 5930 | -5138 | 0.272 | 778 | 68 | 0.087
9/27/2025 | 22 | 78394 | 13330 | -11749 | 21694 | 5705 | -5029 | 0.28 | 900 | 132 | 0.147
9/27/2025 | 23 | 74868 | 13093 | -11666 | 21750 | 5604 | -4993 | 0.293 | 604 | 56 | 0.093
9/27/2025 | 24 | 71116 | 13080 | -11562 | 21578 | 5598 | -4949 | 0.306 | 507 | 98 | 0.193
9/28/2025 | 1 | 67642 | 13356 | -11441 | 21058 | 5716 | -4897 | 0.315 | 554 | 78 | 0.141
9/28/2025 | 2 | 64987 | 13211 | -11283 | 20981 | 5655 | -4829 | 0.326 | 644 | 120 | 0.186
9/28/2025 | 3 | 63062 | 13208 | -11347 | 20991 | 5653 | -4857 | 0.336 | 810 | 222 | 0.274
9/28/2025 | 4 | 61883 | 13044 | -11233 | 20662 | 5583 | -4808 | 0.337 | 927 | 248 | 0.268
9/28/2025 | 5 | 61460 | 12921 | -11207 | 20164 | 5530 | -4797 | 0.331 | 536 | 82 | 0.153
9/28/2025 | 6 | 61933 | 12602 | -10807 | 20072 | 5394 | -4626 | 0.327 | 1077 | 245 | 0.227
9/28/2025 | 7 | 63320 | 12961 | -11406 | 19958 | 5547 | -4882 | 0.318 | 1286 | 288 | 0.224
9/28/2025 | 8 | 65285 | 12277 | -11073 | 19523 | 5254 | -4739 | 0.301 | 634 | 84 | 0.132
9/28/2025 | 9 | 67043 | 11722 | -10519 | 16940 | 5017 | -4502 | 0.256 | 71 | 0 | 0
9/28/2025 | 10 | 68274 | 11632 | -10510 | 15455 | 4978 | -4498 | 0.23 | 0 | 0 | 0
9/28/2025 | 11 | 69036 | 11344 | -10317 | 14879 | 4855 | -4416 | 0.219 | 0 | 0 | 0
9/28/2025 | 12 | 70293 | 10964 | -10087 | 15343 | 4693 | -4317 | 0.221 | 0 | 0 | 0
9/28/2025 | 13 | 72279 | 10833 | -10178 | 15509 | 4637 | -4356 | 0.216 | 0 | 0 | 0
9/28/2025 | 14 | 74116 | 11045 | -10366 | 15808 | 4727 | -4437 | 0.215 | 0 | 0 | 0
9/28/2025 | 15 | 76744 | 11163 | -10630 | 16283 | 4778 | -4549 | 0.214 | 0 | 0 | 0
9/28/2025 | 16 | 80785 | 11263 | -10777 | 17147 | 4820 | -4613 | 0.214 | 0 | 0 | 0
9/28/2025 | 17 | 84471 | 11578 | -10835 | 18570 | 4955 | -4637 | 0.222 | 0 | 0 | 0
9/28/2025 | 18 | 86743 | 12545 | -11558 | 21744 | 5369 | -4947 | 0.253 | 416 | 2 | 0.005
9/28/2025 | 19 | 86935 | 12783 | -11716 | 23061 | 5471 | -5014 | 0.267 | 748 | 30 | 0.04
9/28/2025 | 20 | 86478 | 12897 | -11675 | 23143 | 5520 | -4997 | 0.27 | 801 | 52 | 0.065
9/28/2025 | 21 | 83281 | 14090 | -12461 | 23067 | 6031 | -5333 | 0.28 | 947 | 92 | 0.097
9/28/2025 | 22 | 79174 | 14176 | -12133 | 23184 | 6067 | -5193 | 0.296 | 1378 | 280 | 0.203
9/28/2025 | 23 | 73748 | 14706 | -12250 | 22650 | 6294 | -5243 | 0.311 | 1552 | 427 | 0.275
9/28/2025 | 24 | 68906 | 14871 | -12367 | 22276 | 6364 | -5293 | 0.327 | 1353 | 395 | 0.292
9/29/2025 | 1 | 66448 | 15246 | -13086 | 22489 | 6525 | -5601 | 0.341 | 1565 | 482 | 0.308
9/29/2025 | 2 | 63935 | 15689 | -13257 | 22132 | 6715 | -5674 | 0.349 | 1429 | 385 | 0.269
9/29/2025 | 3 | 62165 | 15672 | -13186 | 21771 | 6708 | -5644 | 0.353 | 1054 | 279 | 0.265
9/29/2025 | 4 | 61774 | 15355 | -13120 | 21854 | 6572 | -5615 | 0.356 | 805 | 192 | 0.239
9/29/2025 | 5 | 63025 | 14987 | -12924 | 22197 | 6415 | -5532 | 0.355 | 618 | 85 | 0.138
9/29/2025 | 6 | 66922 | 14789 | -12796 | 22908 | 6330 | -5477 | 0.345 | 545 | 64 | 0.117
9/29/2025 | 7 | 71119 | 15138 | -12947 | 23163 | 6479 | -5541 | 0.329 | 502 | 45 | 0.09
9/29/2025 | 8 | 74521 | 14276 | -12462 | 22368 | 6110 | -5334 | 0.303 | 1530 | 424 | 0.277
9/29/2025 | 9 | 75772 | 13153 | -11272 | 19326 | 5630 | -4824 | 0.259 | 680 | 99 | 0.146
9/29/2025 | 10 | 76648 | 13346 | -11265 | 18914 | 5712 | -4821 | 0.252 | 99 | 0 | 0
9/29/2025 | 11 | 77382 | 13494 | -11366 | 19283 | 5776 | -4865 | 0.254 | 27 | 0 | 0
9/29/2025 | 12 | 78380 | 13398 | -11441 | 19324 | 5734 | -4897 | 0.251 | 2 | 0 | 0
9/29/2025 | 13 | 80915 | 13419 | -11675 | 19479 | 5743 | -4997 | 0.245 | 10 | 0 | 0
9/29/2025 | 14 | 81934 | 13298 | -11548 | 18988 | 5692 | -4942 | 0.236 | 0 | 0 | 0
9/29/2025 | 15 | 84247 | 13481 | -11891 | 19285 | 5770 | -5090 | 0.233 | 0 | 0 | 0
9/29/2025 | 17 | 89473 | 15336 | -14165 | 20630 | 6564 | -6063 | 0.233 | 20 | 0 | 0
9/29/2025 | 18 | 91747 | 16041 | -14852 | 23638 | 6866 | -6357 | 0.26 | 316 | 10 | 0.032
9/29/2025 | 19 | 90987 | 16418 | -14892 | 24654 | 7027 | -6374 | 0.274 | 526 | 14 | 0.027
9/29/2025 | 20 | 89175 | 16479 | -14638 | 24594 | 7053 | -6265 | 0.279 | 588 | 3 | 0.005
9/29/2025 | 21 | 85821 | 16172 | -14406 | 24166 | 6922 | -6165 | 0.285 | 666 | 10 | 0.015
9/29/2025 | 22 | 81374 | 15228 | -13251 | 23225 | 6518 | -5671 | 0.289 | 865 | 84 | 0.097
9/29/2025 | 23 | 76282 | 14559 | -12768 | 23229 | 6231 | -5465 | 0.307 | 556 | 34 | 0.061
9/29/2025 | 24 | 72284 | 14049 | -12446 | 22833 | 6013 | -5327 | 0.318 | 731 | 127 | 0.174
9/30/2025 | 1 | 69496 | 14565 | -13068 | 22261 | 6234 | -5593 | 0.323 | 888 | 194 | 0.218
9/30/2025 | 2 | 67568 | 14088 | -12825 | 21782 | 6030 | -5489 | 0.324 | 1154 | 338 | 0.293
9/30/2025 | 3 | 65518 | 13772 | -12531 | 21494 | 5894 | -5363 | 0.33 | 964 | 253 | 0.262
9/30/2025 | 4 | 64832 | 13417 | -12312 | 21495 | 5743 | -5270 | 0.333 | 714 | 169 | 0.237
9/30/2025 | 5 | 66167 | 12639 | -11852 | 21818 | 5410 | -5073 | 0.331 | 806 | 184 | 0.228
9/30/2025 | 6 | 69760 | 12592 | -11825 | 22507 | 5390 | -5061 | 0.324 | 757 | 96 | 0.127
9/30/2025 | 7 | 74237 | 11761 | -11059 | 22990 | 5034 | -4733 | 0.311 | 1204 | 265 | 0.22
9/30/2025 | 8 | 77468 | 11534 | -10933 | 21966 | 4937 | -4680 | 0.285 | 1053 | 145 | 0.138
9/30/2025 | 9 | 77418 | 11953 | -11574 | 18243 | 5116 | -4954 | 0.237 | 24 | 0 | 0
9/30/2025 | 10 | 76923 | 11960 | -11610 | 16900 | 5119 | -4969 | 0.221 | 0 | 0 | 0
9/30/2025 | 11 | 78431 | 11858 | -11717 | 16088 | 5075 | -5015 | 0.206 | 0 | 0 | 0
9/30/2025 | 12 | 79156 | 12046 | -12015 | 16146 | 5156 | -5142 | 0.204 | 0 | 0 | 0
9/30/2025 | 13 | 80320 | 11671 | -11696 | 16045 | 4995 | -5006 | 0.2 | 0 | 0 | 0
9/30/2025 | 14 | 81985 | 12032 | -11840 | 15883 | 5150 | -5068 | 0.194 | 0 | 0 | 0
9/30/2025 | 15 | 84389 | 12144 | -12317 | 16279 | 5197 | -5271 | 0.192 | 0 | 0 | 0
9/30/2025 | 16 | 85943 | 12609 | -12543 | 16690 | 5397 | -5369 | 0.194 | 0 | 0 | 0
9/30/2025 | 17 | 88643 | 14863 | -14574 | 17721 | 6362 | -6237 | 0.201 | 0 | 0 | 0
9/30/2025 | 18 | 91439 | 15750 | -14803 | 21540 | 6741 | -6336 | 0.238 | 127 | 0 | 0
9/30/2025 | 19 | 90980 | 15715 | -14457 | 23598 | 6726 | -6188 | 0.262 | 1021 | 138 | 0.135
9/30/2025 | 20 | 89947 | 15462 | -14156 | 23393 | 6618 | -6059 | 0.262 | 822 | 40 | 0.049
9/30/2025 | 21 | 85546 | 15600 | -13567 | 22582 | 6677 | -5807 | 0.268 | 759 | 53 | 0.07
9/30/2025 | 22 | 81888 | 13324 | -11439 | 21914 | 5703 | -4896 | 0.271 | 1370 | 377 | 0.275
9/30/2025 | 23 | 77334 | 13377 | -11629 | 21628 | 5725 | -4977 | 0.283 | 948 | 266 | 0.281
9/30/2025 | 24 | 72224 | 12580 | -10994 | 21233 | 5384 | -4705 | 0.297 | 1460 | 438 | 0.3