## KEY
Average Emissions Rate Calculation
Background:
The CAISO is publishing this metric of an average emissions rate (AER) based on the discussion in the GHG working groups. CAISO discussed the metric at the November 27, 2023 GHG Coordination Working Group. A brief explanation of the methodology is included below:
Methodology:
1) Which resources are reflected in this example AER metric (all schedules are from the 5-minute market)
- All supply resources are included
- All demand response resources are excluded
- All energy storage resources are included (emissions rate used is 0 MTCO2e/MWh)
- Resources that were attributed to serve California are included
2) The AER measures all schedules ie. The total dispatach of the resources and not relative to WEIM base schedule
3) Bilateral transactions are included (emissions rate used is 0.428 MTCO2e/MWh) unless they are resource specific.
4) CAISO filled in missing heat rate and emissions rate data by using wtd averages from existing data
Key
TRADE_DT | Trade date of the reported data in MM/DD/YYYY format
TRADE_HR | Trade hour of the reported data. Data is reported as the "hour-ending", e.g. TRADE_HR = 2 is for the hour-ending 1:59:59AM Pacific time
GEN_MWH | MWh of electricity generation in the WEIM area* (including CAISO)
IMP_MWH | MWh of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_MWH | MWh of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
GEN_GHG | Greenhouse gas emissions in MTCO2e of electricity generation in the WEIM area
IMP_GHG | Greenhouse gas emissions in MTCO2e of electricity imports into the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
EXP_GHG | Greenhouse gas emissions in MTCO2e of electricity exports from the WEIM area conducted through bilateral transactions (does not include WEIM transfers)*
AVG_EM_RATE | Average emissions rate calculated as columns G through I divided by columns C through E
ATTR_MWH | MWh of WEIM transfers into California which, by definition, is equal to the sum of the GHG attributions
ATTR_GHG | Greenhouse gas emissions in MTCO2e of WEIM transfers into California (resource-specific)
ATTR_AVG_EM_RATE | Average emissions rate of WEIM transfers into California
CAISO PUBLIC

## AER_SUMMARY
TRADE_DT | TRADE_HR | GEN_MWH | IMP_MWH | EXP_MWH | GEN_GHG | IMP_GHG | EXP_GHG | AVG_EM_RATE | ATTR_MWH | ATTR_GHG | ATTR_AVG_EM_RATE
9/1/2026 | 1 | 80500 | 18073 | -18000 | 24940 | 7735 | -7704 | 0.31 | 458 | 0 | 0
9/1/2026 | 2 | 76328 | 18149 | -18012 | 24535 | 7768 | -7709 | 0.322 | 178 | 0 | 0
9/1/2026 | 3 | 73408 | 19125 | -18534 | 24016 | 8186 | -7932 | 0.328 | 1378 | 368 | 0.267
9/1/2026 | 4 | 71895 | 19219 | -18529 | 23526 | 8226 | -7930 | 0.328 | 1999 | 635 | 0.318
9/1/2026 | 5 | 72537 | 19077 | -18326 | 23552 | 8165 | -7843 | 0.326 | 1293 | 371 | 0.287
9/1/2026 | 6 | 75565 | 20014 | -19012 | 23810 | 8566 | -8137 | 0.317 | 952 | 208 | 0.218
9/1/2026 | 7 | 79768 | 19816 | -18851 | 24227 | 8481 | -8068 | 0.305 | 1311 | 329 | 0.251
9/1/2026 | 8 | 82539 | 18603 | -17992 | 21600 | 7962 | -7701 | 0.263 | 666 | 281 | 0.422
9/1/2026 | 9 | 83686 | 17747 | -17221 | 18433 | 7596 | -7370 | 0.222 | 0 | 0 | 0
9/1/2026 | 10 | 85424 | 17689 | -17417 | 17597 | 7571 | -7454 | 0.207 | 0 | 0 | 0
9/1/2026 | 11 | 86920 | 17865 | -17772 | 17242 | 7646 | -7606 | 0.199 | 0 | 0 | 0
9/1/2026 | 12 | 88860 | 17786 | -17769 | 17316 | 7612 | -7605 | 0.195 | 0 | 0 | 0
9/1/2026 | 13 | 91322 | 17712 | -18262 | 17323 | 7581 | -7816 | 0.188 | 0 | 0 | 0
9/1/2026 | 14 | 93834 | 18230 | -18852 | 17337 | 7802 | -8069 | 0.183 | 0 | 0 | 0
9/1/2026 | 15 | 97374 | 18790 | -19706 | 17712 | 8042 | -8434 | 0.18 | 0 | 0 | 0
9/1/2026 | 16 | 101007 | 18981 | -20231 | 18395 | 8124 | -8658 | 0.179 | 0 | 0 | 0
9/1/2026 | 17 | 104568 | 20785 | -22197 | 18776 | 8896 | -9500 | 0.176 | 0 | 0 | 0
9/1/2026 | 18 | 106618 | 22085 | -23549 | 21316 | 9452 | -10079 | 0.197 | 448 | 304 | 0.679
9/1/2026 | 19 | 106470 | 22122 | -23463 | 24158 | 9468 | -10042 | 0.224 | 1408 | 785 | 0.558
9/1/2026 | 20 | 104275 | 22613 | -23819 | 24572 | 9678 | -10195 | 0.233 | 1938 | 1075 | 0.555
9/1/2026 | 21 | 101476 | 21607 | -22516 | 24386 | 9248 | -9637 | 0.239 | 2016 | 1034 | 0.513
9/1/2026 | 22 | 96160 | 20705 | -21068 | 24220 | 8862 | -9017 | 0.251 | 1998 | 1050 | 0.526
9/1/2026 | 23 | 90004 | 19582 | -19753 | 23696 | 8381 | -8454 | 0.263 | 1440 | 860 | 0.597
9/1/2026 | 24 | 83774 | 19425 | -19446 | 22866 | 8314 | -8323 | 0.273 | 1672 | 1002 | 0.599
9/2/2026 | 1 | 79482 | 18559 | -17656 | 22426 | 7944 | -7557 | 0.284 | 1796 | 622 | 0.346
9/2/2026 | 2 | 76273 | 18732 | -17610 | 21845 | 8018 | -7537 | 0.288 | 1814 | 514 | 0.283
9/2/2026 | 3 | 73477 | 18055 | -17405 | 21232 | 7727 | -7450 | 0.29 | 1984 | 557 | 0.281
9/2/2026 | 4 | 72428 | 17487 | -17038 | 21145 | 7484 | -7292 | 0.293 | 2063 | 584 | 0.283
9/2/2026 | 5 | 73082 | 17272 | -16947 | 21165 | 7393 | -7254 | 0.29 | 1785 | 456 | 0.255
9/2/2026 | 6 | 76005 | 17769 | -17339 | 21530 | 7605 | -7421 | 0.284 | 1557 | 384 | 0.247
9/2/2026 | 7 | 80198 | 18673 | -18429 | 22172 | 7992 | -7887 | 0.277 | 1685 | 438 | 0.26
9/2/2026 | 8 | 83105 | 17664 | -17726 | 20117 | 7560 | -7587 | 0.242 | 639 | 424 | 0.664
9/2/2026 | 9 | 85474 | 16294 | -16490 | 18206 | 6974 | -7058 | 0.213 | 0 | 0 | 0
9/2/2026 | 10 | 86980 | 16267 | -16906 | 18101 | 6962 | -7236 | 0.206 | 0 | 0 | 0
9/2/2026 | 11 | 88563 | 15744 | -16419 | 18307 | 6738 | -7027 | 0.205 | 0 | 0 | 0
9/2/2026 | 12 | 89924 | 16323 | -17116 | 18676 | 6986 | -7326 | 0.206 | 0 | 0 | 0
9/2/2026 | 13 | 92760 | 16711 | -17537 | 19064 | 7153 | -7506 | 0.204 | 0 | 0 | 0
9/2/2026 | 14 | 95768 | 17452 | -18956 | 19325 | 7470 | -8113 | 0.198 | 0 | 0 | 0
9/2/2026 | 15 | 98925 | 18420 | -20203 | 19301 | 7884 | -8647 | 0.191 | 0 | 0 | 0
9/2/2026 | 16 | 101556 | 18690 | -20413 | 19325 | 7999 | -8737 | 0.186 | 0 | 0 | 0
9/2/2026 | 17 | 102993 | 20068 | -21744 | 19378 | 8589 | -9306 | 0.184 | 0 | 0 | 0
9/2/2026 | 18 | 104340 | 20583 | -21593 | 21241 | 8809 | -9242 | 0.201 | 441 | 56 | 0.127
9/2/2026 | 19 | 103863 | 20504 | -21308 | 23564 | 8776 | -9120 | 0.225 | 994 | 73 | 0.073
9/2/2026 | 20 | 101561 | 20758 | -21070 | 24463 | 8884 | -9018 | 0.24 | 1016 | 92 | 0.091
9/2/2026 | 21 | 99318 | 20507 | -20492 | 24505 | 8777 | -8771 | 0.247 | 1771 | 379 | 0.214
9/2/2026 | 22 | 94678 | 19784 | -19547 | 24500 | 8467 | -8366 | 0.259 | 1846 | 417 | 0.226
9/2/2026 | 23 | 88027 | 19333 | -18810 | 23934 | 8275 | -8050 | 0.273 | 1378 | 210 | 0.152
9/2/2026 | 24 | 81714 | 18830 | -18119 | 23052 | 8059 | -7755 | 0.283 | 857 | 164 | 0.191
9/3/2026 | 1 | 78123 | 17244 | -16350 | 22777 | 7380 | -6998 | 0.293 | 1702 | 788 | 0.463
9/3/2026 | 2 | 75199 | 17125 | -16456 | 22310 | 7330 | -7043 | 0.298 | 1877 | 562 | 0.299
9/3/2026 | 3 | 73024 | 16715 | -16193 | 22270 | 7154 | -6930 | 0.306 | 1911 | 524 | 0.274
9/3/2026 | 4 | 71880 | 16439 | -15887 | 22057 | 7036 | -6800 | 0.308 | 1841 | 480 | 0.261
9/3/2026 | 5 | 72617 | 16531 | -16056 | 22229 | 7075 | -6872 | 0.307 | 1420 | 304 | 0.214
9/3/2026 | 6 | 75760 | 17187 | -16772 | 22958 | 7356 | -7179 | 0.304 | 1334 | 230 | 0.172
9/3/2026 | 7 | 80872 | 17748 | -17705 | 23056 | 7596 | -7578 | 0.285 | 1126 | 334 | 0.297
9/3/2026 | 8 | 83637 | 17500 | -17523 | 21160 | 7490 | -7500 | 0.253 | 1003 | 834 | 0.832
9/3/2026 | 9 | 85150 | 16960 | -16899 | 19167 | 7259 | -7233 | 0.225 | 0 | 0 | 0
9/3/2026 | 10 | 85874 | 16594 | -16416 | 18739 | 7102 | -7026 | 0.219 | 0 | 0 | 0
9/3/2026 | 11 | 86932 | 16290 | -16068 | 18895 | 6972 | -6877 | 0.218 | 0 | 0 | 0
9/3/2026 | 12 | 88164 | 16489 | -16292 | 19320 | 7057 | -6973 | 0.22 | 0 | 0 | 0
9/3/2026 | 13 | 90827 | 16823 | -16805 | 19787 | 7200 | -7192 | 0.218 | 0 | 0 | 0
9/3/2026 | 14 | 94319 | 17223 | -17776 | 20588 | 7372 | -7608 | 0.217 | 0 | 0 | 0
9/3/2026 | 15 | 98029 | 18355 | -19431 | 21122 | 7856 | -8316 | 0.213 | 0 | 0 | 0
9/3/2026 | 16 | 101010 | 18823 | -19710 | 21174 | 8056 | -8436 | 0.208 | 0 | 0 | 0
9/3/2026 | 17 | 103724 | 21002 | -22087 | 21974 | 8989 | -9454 | 0.21 | 0 | 0 | 0
9/3/2026 | 18 | 105486 | 20784 | -21886 | 23933 | 8896 | -9367 | 0.225 | 464 | 68 | 0.147
9/3/2026 | 19 | 103522 | 20768 | -21542 | 25253 | 8889 | -9220 | 0.243 | 542 | 24 | 0.044
9/3/2026 | 20 | 100752 | 20903 | -21157 | 26075 | 8947 | -9055 | 0.258 | 1338 | 94 | 0.07
9/3/2026 | 21 | 98430 | 20678 | -20645 | 26060 | 8850 | -8836 | 0.265 | 1357 | 143 | 0.105
9/3/2026 | 22 | 94111 | 19545 | -19204 | 25600 | 8365 | -8219 | 0.273 | 1828 | 326 | 0.178
9/3/2026 | 23 | 88418 | 17561 | -17214 | 25581 | 7516 | -7368 | 0.29 | 2294 | 702 | 0.306
9/3/2026 | 24 | 83043 | 17324 | -17067 | 25750 | 7415 | -7305 | 0.31 | 2612 | 867 | 0.332
9/4/2026 | 1 | 79637 | 17362 | -17082 | 26280 | 7431 | -7311 | 0.33 | 2167 | 628 | 0.29
9/4/2026 | 2 | 76282 | 17973 | -17455 | 25686 | 7692 | -7471 | 0.337 | 1931 | 490 | 0.254
9/4/2026 | 3 | 73905 | 17322 | -16966 | 24850 | 7414 | -7262 | 0.337 | 1293 | 357 | 0.276
9/4/2026 | 4 | 72992 | 17042 | -16786 | 24308 | 7294 | -7184 | 0.333 | 838 | 255 | 0.304
9/4/2026 | 5 | 73930 | 16978 | -16878 | 24349 | 7267 | -7224 | 0.329 | 632 | 99 | 0.157
9/4/2026 | 6 | 76609 | 17764 | -17603 | 24946 | 7603 | -7534 | 0.326 | 1036 | 185 | 0.179
9/4/2026 | 7 | 81597 | 17798 | -18445 | 25128 | 7617 | -7894 | 0.307 | 1111 | 198 | 0.178
9/4/2026 | 8 | 84557 | 16768 | -17613 | 22854 | 7176 | -7539 | 0.269 | 640 | 364 | 0.569
9/4/2026 | 9 | 86652 | 16491 | -17184 | 20711 | 7058 | -7355 | 0.237 | 0 | 0 | 0
9/4/2026 | 10 | 87538 | 16547 | -17026 | 19161 | 7082 | -7287 | 0.218 | 0 | 0 | 0
9/4/2026 | 11 | 87933 | 16326 | -16668 | 18680 | 6988 | -7134 | 0.212 | 0 | 0 | 0
9/4/2026 | 12 | 88978 | 16700 | -17182 | 19199 | 7148 | -7353 | 0.215 | 0 | 0 | 0
9/4/2026 | 13 | 90993 | 16515 | -17303 | 19635 | 7068 | -7406 | 0.214 | 0 | 0 | 0
9/4/2026 | 14 | 92907 | 17219 | -17850 | 20029 | 7370 | -7640 | 0.214 | 0 | 0 | 0
9/4/2026 | 15 | 96083 | 18279 | -19156 | 20580 | 7823 | -8199 | 0.212 | 0 | 0 | 0
9/4/2026 | 16 | 99495 | 18708 | -19735 | 21913 | 8007 | -8446 | 0.218 | 82 | 55 | 0.671
9/4/2026 | 17 | 101590 | 20508 | -21245 | 22267 | 8777 | -9093 | 0.218 | 0 | 0 | 0
9/4/2026 | 18 | 103969 | 20547 | -21342 | 24009 | 8794 | -9134 | 0.229 | 407 | 67 | 0.165
9/4/2026 | 19 | 102663 | 20486 | -21025 | 25549 | 8768 | -8998 | 0.248 | 933 | 8 | 0.009
9/4/2026 | 20 | 100045 | 20774 | -20908 | 25897 | 8891 | -8948 | 0.259 | 1210 | 34 | 0.028
9/4/2026 | 21 | 96747 | 20542 | -20394 | 25804 | 8792 | -8728 | 0.267 | 1802 | 279 | 0.155
9/4/2026 | 22 | 93019 | 19350 | -19135 | 25810 | 8282 | -8190 | 0.278 | 2160 | 417 | 0.193
9/4/2026 | 23 | 87604 | 17371 | -17032 | 25678 | 7435 | -7290 | 0.294 | 1451 | 170 | 0.117
9/4/2026 | 24 | 82496 | 17373 | -17048 | 25330 | 7436 | -7297 | 0.308 | 1310 | 224 | 0.171
9/5/2026 | 1 | 78797 | 17250 | -16889 | 25301 | 7383 | -7228 | 0.322 | 1209 | 73 | 0.06
9/5/2026 | 2 | 75278 | 17276 | -16831 | 24949 | 7394 | -7203 | 0.332 | 946 | 160 | 0.169
9/5/2026 | 3 | 72729 | 17193 | -16676 | 24774 | 7359 | -7138 | 0.341 | 1254 | 281 | 0.224
9/5/2026 | 4 | 71040 | 16772 | -16310 | 24590 | 7178 | -6980 | 0.347 | 1542 | 404 | 0.262
9/5/2026 | 5 | 70638 | 16449 | -16076 | 24612 | 7040 | -6881 | 0.349 | 1795 | 494 | 0.275
9/5/2026 | 6 | 71274 | 16755 | -16316 | 24616 | 7171 | -6983 | 0.346 | 1902 | 537 | 0.282
9/5/2026 | 7 | 72844 | 17277 | -17304 | 24518 | 7395 | -7406 | 0.337 | 2520 | 688 | 0.273
9/5/2026 | 8 | 74585 | 16443 | -16489 | 22014 | 7038 | -7057 | 0.295 | 1448 | 977 | 0.675
9/5/2026 | 9 | 77354 | 15686 | -15737 | 20298 | 6714 | -6736 | 0.262 | 136 | 122 | 0.897
9/5/2026 | 10 | 78900 | 15980 | -15921 | 19870 | 6839 | -6814 | 0.252 | 0 | 0 | 0
9/5/2026 | 11 | 80411 | 15529 | -15700 | 19895 | 6646 | -6720 | 0.247 | 0 | 0 | 0
9/5/2026 | 12 | 82006 | 15568 | -15676 | 20274 | 6663 | -6709 | 0.247 | 0 | 0 | 0
9/5/2026 | 13 | 84607 | 16098 | -16557 | 20675 | 6890 | -7086 | 0.243 | 0 | 0 | 0
9/5/2026 | 14 | 87847 | 15910 | -16280 | 21034 | 6810 | -6968 | 0.239 | 0 | 0 | 0
9/5/2026 | 15 | 91831 | 16674 | -17013 | 21876 | 7136 | -7282 | 0.238 | 5 | 1 | 0.2
9/5/2026 | 16 | 96502 | 17289 | -18101 | 22634 | 7400 | -7747 | 0.233 | 359 | 13 | 0.036
9/5/2026 | 17 | 99601 | 17960 | -18646 | 23714 | 7687 | -7980 | 0.237 | 172 | 11 | 0.064
9/5/2026 | 18 | 101782 | 18845 | -19156 | 25460 | 8066 | -8198 | 0.25 | 248 | 22 | 0.089
9/5/2026 | 19 | 100863 | 20679 | -20520 | 26540 | 8851 | -8783 | 0.263 | 504 | 28 | 0.056
9/5/2026 | 20 | 97618 | 20975 | -20373 | 26602 | 8977 | -8720 | 0.273 | 1243 | 80 | 0.064
9/5/2026 | 21 | 95136 | 20401 | -19880 | 26406 | 8732 | -8508 | 0.278 | 1308 | 176 | 0.135
9/5/2026 | 22 | 91716 | 19011 | -18730 | 26345 | 8137 | -8016 | 0.288 | 1368 | 156 | 0.114
9/5/2026 | 23 | 86616 | 18100 | -17442 | 26420 | 7747 | -7465 | 0.306 | 935 | 82 | 0.088
9/5/2026 | 24 | 82009 | 18115 | -17450 | 26064 | 7753 | -7468 | 0.319 | 785 | 33 | 0.042
9/6/2026 | 1 | 78592 | 17494 | -16801 | 26270 | 7488 | -7191 | 0.335 | 715 | 42 | 0.059
9/6/2026 | 2 | 75350 | 17811 | -17076 | 25903 | 7623 | -7309 | 0.345 | 640 | 46 | 0.072
9/6/2026 | 3 | 73341 | 17334 | -16748 | 25725 | 7419 | -7168 | 0.351 | 1024 | 217 | 0.212
9/6/2026 | 4 | 71537 | 16764 | -16208 | 25438 | 7175 | -6937 | 0.356 | 1370 | 345 | 0.252
9/6/2026 | 5 | 70624 | 16993 | -16425 | 25128 | 7273 | -7030 | 0.356 | 1039 | 250 | 0.241
9/6/2026 | 6 | 70980 | 17161 | -16618 | 25014 | 7345 | -7112 | 0.353 | 1311 | 345 | 0.263
9/6/2026 | 7 | 72181 | 16991 | -16694 | 24784 | 7272 | -7145 | 0.344 | 1511 | 377 | 0.25
9/6/2026 | 8 | 74411 | 15619 | -15587 | 24248 | 6685 | -6671 | 0.326 | 1944 | 639 | 0.329
9/6/2026 | 9 | 77074 | 15169 | -15122 | 23785 | 6492 | -6473 | 0.309 | 1470 | 557 | 0.379
9/6/2026 | 10 | 78749 | 15435 | -15196 | 23742 | 6606 | -6504 | 0.302 | 1134 | 452 | 0.399
9/6/2026 | 11 | 80357 | 15540 | -15259 | 23810 | 6651 | -6531 | 0.297 | 854 | 302 | 0.354
9/6/2026 | 12 | 81604 | 15787 | -15340 | 24208 | 6757 | -6565 | 0.297 | 508 | 169 | 0.333
9/6/2026 | 13 | 82962 | 16188 | -15793 | 24412 | 6928 | -6760 | 0.295 | 124 | 44 | 0.355
9/6/2026 | 14 | 83749 | 16119 | -15644 | 24348 | 6899 | -6696 | 0.291 | 190 | 43 | 0.226
9/6/2026 | 15 | 86663 | 16446 | -16022 | 24672 | 7039 | -6858 | 0.285 | 297 | 42 | 0.141
9/6/2026 | 16 | 89667 | 16235 | -15783 | 25161 | 6948 | -6755 | 0.281 | 411 | 42 | 0.102
9/6/2026 | 17 | 92568 | 17364 | -17284 | 25734 | 7432 | -7398 | 0.278 | 634 | 52 | 0.082
9/6/2026 | 18 | 94708 | 18299 | -18070 | 26379 | 7832 | -7734 | 0.279 | 1110 | 5 | 0.005
9/6/2026 | 19 | 94404 | 19552 | -19244 | 26207 | 8368 | -8237 | 0.278 | 1414 | 148 | 0.105
9/6/2026 | 20 | 94274 | 19982 | -19765 | 25674 | 8553 | -8459 | 0.273 | 1264 | 116 | 0.092
9/6/2026 | 21 | 92945 | 20310 | -20102 | 25026 | 8693 | -8604 | 0.27 | 1494 | 174 | 0.116
9/6/2026 | 22 | 90094 | 19737 | -19531 | 24914 | 8447 | -8359 | 0.277 | 1315 | 42 | 0.032
9/6/2026 | 23 | 85579 | 19403 | -19050 | 24783 | 8304 | -8154 | 0.29 | 1748 | 298 | 0.17
9/6/2026 | 24 | 81630 | 19389 | -19066 | 24754 | 8299 | -8160 | 0.304 | 1843 | 446 | 0.242
9/7/2026 | 1 | 78289 | 20140 | -19853 | 24296 | 8620 | -8497 | 0.311 | 1609 | 317 | 0.197
9/7/2026 | 2 | 74980 | 20330 | -19732 | 23736 | 8701 | -8445 | 0.317 | 1680 | 331 | 0.197
9/7/2026 | 3 | 72639 | 20337 | -19881 | 22969 | 8704 | -8509 | 0.317 | 1896 | 448 | 0.236
9/7/2026 | 4 | 71321 | 20485 | -19950 | 22396 | 8767 | -8538 | 0.315 | 1776 | 455 | 0.256
9/7/2026 | 5 | 71612 | 20265 | -19798 | 22543 | 8674 | -8474 | 0.316 | 2271 | 679 | 0.299
9/7/2026 | 6 | 72363 | 20735 | -20022 | 22202 | 8875 | -8570 | 0.308 | 2204 | 668 | 0.303
9/7/2026 | 7 | 73844 | 19515 | -19035 | 22346 | 8352 | -8147 | 0.303 | 2283 | 724 | 0.317
9/7/2026 | 8 | 75436 | 18749 | -18331 | 20802 | 8024 | -7845 | 0.277 | 2757 | 973 | 0.353
9/7/2026 | 9 | 77618 | 18645 | -18357 | 19295 | 7980 | -7857 | 0.249 | 1394 | 442 | 0.317
9/7/2026 | 10 | 80562 | 18694 | -18603 | 18624 | 8001 | -7962 | 0.231 | 1315 | 452 | 0.344
9/7/2026 | 11 | 83372 | 18812 | -18907 | 19319 | 8051 | -8092 | 0.231 | 1319 | 445 | 0.337
9/7/2026 | 12 | 86557 | 18914 | -19019 | 19573 | 8095 | -8140 | 0.226 | 1498 | 513 | 0.342
9/7/2026 | 13 | 89227 | 18821 | -18964 | 20192 | 8055 | -8117 | 0.226 | 541 | 115 | 0.213
9/7/2026 | 14 | 92750 | 18031 | -18296 | 19928 | 7717 | -7831 | 0.214 | 874 | 234 | 0.268
9/7/2026 | 15 | 97495 | 18506 | -19196 | 20526 | 7921 | -8216 | 0.209 | 887 | 237 | 0.267
9/7/2026 | 16 | 101715 | 18917 | -19340 | 22128 | 8096 | -8277 | 0.217 | 982 | 227 | 0.231
9/7/2026 | 17 | 105864 | 20086 | -20547 | 23639 | 8597 | -8794 | 0.222 | 1020 | 69 | 0.068
9/7/2026 | 18 | 109236 | 23296 | -23432 | 25957 | 9971 | -10029 | 0.237 | 978 | 21 | 0.021
9/7/2026 | 19 | 108202 | 22864 | -22748 | 27836 | 9786 | -9736 | 0.257 | 860 | 50 | 0.058
9/7/2026 | 20 | 107006 | 22712 | -23051 | 28022 | 9721 | -9866 | 0.261 | 876 | 61 | 0.07
9/7/2026 | 21 | 104013 | 22317 | -22411 | 28168 | 9552 | -9592 | 0.271 | 978 | 60 | 0.061
9/7/2026 | 22 | 99102 | 21725 | -21747 | 28495 | 9298 | -9308 | 0.287 | 1293 | 133 | 0.103
9/7/2026 | 23 | 92057 | 21040 | -20549 | 28680 | 9005 | -8795 | 0.312 | 1681 | 296 | 0.176
9/7/2026 | 24 | 85522 | 20368 | -19565 | 28557 | 8718 | -8374 | 0.335 | 2028 | 462 | 0.228
9/8/2026 | 1 | 80862 | 19194 | -18766 | 27887 | 8215 | -8032 | 0.345 | 2026 | 497 | 0.245
9/8/2026 | 2 | 77391 | 19042 | -18114 | 27349 | 8150 | -7753 | 0.354 | 2007 | 608 | 0.303
9/8/2026 | 3 | 74718 | 19248 | -18152 | 27079 | 8238 | -7769 | 0.363 | 1970 | 587 | 0.298
9/8/2026 | 4 | 73242 | 19402 | -18272 | 26313 | 8304 | -7820 | 0.36 | 1588 | 439 | 0.276
9/8/2026 | 5 | 73972 | 19316 | -18216 | 26464 | 8267 | -7796 | 0.359 | 1730 | 494 | 0.286
9/8/2026 | 6 | 77363 | 20035 | -18830 | 26930 | 8575 | -8059 | 0.349 | 1420 | 310 | 0.218
9/8/2026 | 7 | 82678 | 19987 | -19066 | 27754 | 8554 | -8160 | 0.337 | 1960 | 305 | 0.156
9/8/2026 | 8 | 86074 | 20034 | -19394 | 26261 | 8575 | -8300 | 0.306 | 1452 | 350 | 0.241
9/8/2026 | 9 | 88513 | 18752 | -18523 | 25487 | 8026 | -7928 | 0.288 | 355 | 49 | 0.138
9/8/2026 | 10 | 90915 | 18689 | -18308 | 25890 | 7999 | -7836 | 0.285 | 444 | 91 | 0.205
9/8/2026 | 11 | 93185 | 19250 | -19275 | 26117 | 8239 | -8250 | 0.28 | 228 | 4 | 0.018
9/8/2026 | 12 | 96372 | 19797 | -20168 | 26423 | 8473 | -8632 | 0.274 | 212 | 1 | 0.005
9/8/2026 | 13 | 100499 | 20234 | -20501 | 26420 | 8660 | -8774 | 0.262 | 132 | 0 | 0
9/8/2026 | 14 | 105202 | 20284 | -20623 | 26768 | 8681 | -8826 | 0.254 | 155 | 7 | 0.045
9/8/2026 | 15 | 110606 | 20980 | -21405 | 27666 | 8980 | -9161 | 0.249 | 387 | 3 | 0.008
9/8/2026 | 16 | 116432 | 21096 | -21880 | 29262 | 9029 | -9365 | 0.25 | 700 | 48 | 0.069
9/8/2026 | 17 | 119728 | 22866 | -23436 | 30690 | 9786 | -10031 | 0.256 | 736 | 24 | 0.033
9/8/2026 | 18 | 121939 | 25143 | -25426 | 32352 | 10761 | -10882 | 0.265 | 1650 | 181 | 0.11
9/8/2026 | 19 | 121038 | 24969 | -24896 | 33103 | 10687 | -10656 | 0.274 | 1391 | 96 | 0.069
9/8/2026 | 20 | 117961 | 24815 | -24355 | 33927 | 10621 | -10424 | 0.288 | 1605 | 194 | 0.121
9/8/2026 | 21 | 113813 | 24238 | -23941 | 34257 | 10374 | -10247 | 0.301 | 1483 | 175 | 0.118
9/8/2026 | 22 | 107812 | 22253 | -21823 | 34124 | 9524 | -9340 | 0.317 | 2160 | 433 | 0.2
9/8/2026 | 23 | 99874 | 20985 | -20276 | 33523 | 8982 | -8678 | 0.336 | 2313 | 670 | 0.29
9/8/2026 | 24 | 92914 | 20326 | -19559 | 32711 | 8699 | -8371 | 0.353 | 2114 | 680 | 0.322
9/9/2026 | 1 | 87483 | 19952 | -18980 | 31271 | 8540 | -8124 | 0.358 | 1866 | 474 | 0.254
9/9/2026 | 2 | 83552 | 19286 | -18630 | 30794 | 8254 | -7974 | 0.369 | 1706 | 426 | 0.25
9/9/2026 | 3 | 80026 | 19325 | -18029 | 30377 | 8271 | -7716 | 0.38 | 1224 | 291 | 0.238
9/9/2026 | 4 | 78541 | 19526 | -18136 | 30494 | 8357 | -7762 | 0.389 | 700 | 80 | 0.114
9/9/2026 | 5 | 79359 | 19515 | -18168 | 30356 | 8353 | -7776 | 0.383 | 591 | 42 | 0.071
9/9/2026 | 6 | 82487 | 19803 | -18503 | 30242 | 8476 | -7919 | 0.368 | 565 | 30 | 0.053
9/9/2026 | 7 | 86725 | 21234 | -20100 | 30400 | 9088 | -8603 | 0.352 | 40 | 4 | 0.1
9/9/2026 | 8 | 90405 | 20871 | -19818 | 29772 | 8933 | -8482 | 0.33 | 508 | 9 | 0.018
9/9/2026 | 9 | 92798 | 20876 | -19782 | 29287 | 8935 | -8467 | 0.317 | 232 | 12 | 0.052
9/9/2026 | 10 | 95608 | 20985 | -19997 | 29514 | 8982 | -8559 | 0.31 | 431 | 114 | 0.265
9/9/2026 | 11 | 99715 | 20962 | -19947 | 29426 | 8972 | -8537 | 0.296 | 836 | 248 | 0.297
9/9/2026 | 12 | 105445 | 22062 | -21200 | 29984 | 9442 | -9074 | 0.286 | 273 | 18 | 0.066
9/9/2026 | 13 | 110865 | 22044 | -21365 | 30678 | 9435 | -9144 | 0.278 | 310 | 35 | 0.113
9/9/2026 | 14 | 117179 | 21972 | -21486 | 30782 | 9404 | -9196 | 0.263 | 126 | 6 | 0.048
9/9/2026 | 15 | 122246 | 22871 | -22528 | 31106 | 9788 | -9642 | 0.255 | 0 | 0 | 0
9/9/2026 | 16 | 126840 | 24212 | -23962 | 31505 | 10363 | -10256 | 0.249 | 1 | 0 | 0
9/9/2026 | 17 | 130388 | 25990 | -25200 | 32919 | 11124 | -10785 | 0.254 | 0 | 0 | 0
9/9/2026 | 18 | 132107 | 27358 | -26431 | 35609 | 11709 | -11312 | 0.271 | 420 | 18 | 0.043
9/9/2026 | 19 | 129293 | 28040 | -26718 | 37293 | 12001 | -11435 | 0.29 | 950 | 39 | 0.041
9/9/2026 | 20 | 124530 | 28387 | -26406 | 37618 | 12150 | -11302 | 0.304 | 720 | 33 | 0.046
9/9/2026 | 21 | 119714 | 28063 | -25945 | 37048 | 12011 | -11105 | 0.312 | 741 | 30 | 0.04
9/9/2026 | 22 | 113435 | 26831 | -25074 | 36486 | 11484 | -10732 | 0.323 | 1040 | 72 | 0.069
9/9/2026 | 23 | 105106 | 21981 | -21005 | 35820 | 9408 | -8990 | 0.342 | 1209 | 105 | 0.087
9/9/2026 | 24 | 97796 | 20720 | -19924 | 34025 | 8868 | -8528 | 0.349 | 974 | 113 | 0.116
9/10/2026 | 1 | 92302 | 21284 | -20827 | 31326 | 9110 | -8914 | 0.34 | 750 | 74 | 0.099
9/10/2026 | 2 | 88164 | 20860 | -20423 | 29911 | 8928 | -8741 | 0.34 | 836 | 98 | 0.117
9/10/2026 | 3 | 84457 | 21331 | -20439 | 29168 | 9130 | -8748 | 0.346 | 702 | 30 | 0.043
9/10/2026 | 4 | 82364 | 21313 | -20344 | 28558 | 9122 | -8707 | 0.348 | 1135 | 210 | 0.185
9/10/2026 | 5 | 82374 | 21456 | -20605 | 28412 | 9183 | -8819 | 0.346 | 766 | 58 | 0.076
9/10/2026 | 6 | 85105 | 21937 | -21093 | 28734 | 9389 | -9028 | 0.339 | 601 | 0 | 0
9/10/2026 | 7 | 89982 | 21280 | -20803 | 28655 | 9108 | -8904 | 0.319 | 609 | 15 | 0.025
9/10/2026 | 8 | 93891 | 20602 | -20617 | 27216 | 8817 | -8824 | 0.29 | 565 | 64 | 0.113
9/10/2026 | 9 | 96217 | 20378 | -20501 | 25940 | 8721 | -8774 | 0.269 | 349 | 5 | 0.014
9/10/2026 | 10 | 98872 | 20772 | -21056 | 25689 | 8891 | -9012 | 0.259 | 138 | 0 | 0
9/10/2026 | 11 | 102434 | 21069 | -21588 | 25740 | 9017 | -9240 | 0.25 | 114 | 0 | 0
9/10/2026 | 12 | 107211 | 21950 | -22589 | 25482 | 9395 | -9668 | 0.237 | 0 | 0 | 0
9/10/2026 | 13 | 113003 | 21795 | -22646 | 25948 | 9328 | -9692 | 0.228 | 0 | 0 | 0
9/10/2026 | 14 | 118637 | 22558 | -23470 | 26762 | 9655 | -10045 | 0.224 | 0 | 0 | 0
9/10/2026 | 15 | 124042 | 23519 | -24691 | 27794 | 10066 | -10568 | 0.222 | 0 | 0 | 0
9/10/2026 | 16 | 128043 | 24367 | -25397 | 28816 | 10429 | -10870 | 0.223 | 0 | 0 | 0
9/10/2026 | 17 | 130132 | 26116 | -26628 | 29770 | 11178 | -11397 | 0.228 | 0 | 0 | 0
9/10/2026 | 18 | 129977 | 27467 | -27350 | 32108 | 11756 | -11706 | 0.247 | 0 | 0 | 0
9/10/2026 | 19 | 127489 | 27416 | -27128 | 33539 | 11734 | -11611 | 0.263 | 559 | 0 | 0
9/10/2026 | 20 | 122974 | 27213 | -26765 | 33311 | 11647 | -11456 | 0.271 | 446 | 0 | 0
9/10/2026 | 21 | 118168 | 25576 | -25062 | 32502 | 10946 | -10727 | 0.276 | 512 | 0 | 0
9/10/2026 | 22 | 112490 | 24531 | -24265 | 31594 | 10499 | -10385 | 0.281 | 969 | 0 | 0
9/10/2026 | 23 | 103955 | 23587 | -23240 | 30135 | 10095 | -9947 | 0.29 | 1034 | 20 | 0.019
9/10/2026 | 24 | 97133 | 23296 | -23258 | 28975 | 9971 | -9954 | 0.298 | 791 | 4 | 0.005
9/11/2026 | 1 | 92556 | 19904 | -19949 | 27186 | 8519 | -8538 | 0.294 | 778 | 0 | 0
9/11/2026 | 2 | 88267 | 20167 | -20151 | 26250 | 8631 | -8625 | 0.297 | 930 | 59 | 0.063
9/11/2026 | 3 | 84645 | 20089 | -20088 | 25011 | 8598 | -8598 | 0.295 | 1339 | 235 | 0.176
9/11/2026 | 4 | 82488 | 19797 | -19631 | 24075 | 8473 | -8402 | 0.292 | 1067 | 160 | 0.15
9/11/2026 | 5 | 82619 | 19473 | -19469 | 24093 | 8334 | -8333 | 0.292 | 848 | 73 | 0.086
9/11/2026 | 6 | 85164 | 19639 | -19743 | 24667 | 8405 | -8450 | 0.289 | 752 | 0 | 0
9/11/2026 | 7 | 89450 | 20821 | -20888 | 25859 | 8911 | -8940 | 0.289 | 728 | 0 | 0
9/11/2026 | 8 | 92763 | 19542 | -20218 | 24138 | 8364 | -8653 | 0.259 | 461 | 3 | 0.007
9/11/2026 | 9 | 95215 | 18283 | -19460 | 21902 | 7825 | -8329 | 0.228 | 135 | 0 | 0
9/11/2026 | 10 | 97852 | 18318 | -19745 | 21295 | 7840 | -8451 | 0.215 | 0 | 0 | 0
9/11/2026 | 11 | 100381 | 18116 | -19655 | 22045 | 7754 | -8412 | 0.216 | 0 | 0 | 0
9/11/2026 | 12 | 103865 | 17811 | -19718 | 22576 | 7623 | -8439 | 0.213 | 0 | 0 | 0
9/11/2026 | 13 | 107147 | 18056 | -20030 | 22541 | 7728 | -8573 | 0.206 | 0 | 0 | 0
9/11/2026 | 14 | 111713 | 18433 | -20442 | 23338 | 7889 | -8749 | 0.205 | 0 | 0 | 0
9/11/2026 | 15 | 115545 | 19752 | -21801 | 24205 | 8454 | -9331 | 0.206 | 0 | 0 | 0
9/11/2026 | 16 | 119170 | 20069 | -21968 | 25388 | 8590 | -9402 | 0.21 | 0 | 0 | 0
9/11/2026 | 17 | 121589 | 21547 | -23187 | 27075 | 9222 | -9924 | 0.22 | 0 | 0 | 0
9/11/2026 | 18 | 122443 | 22856 | -23936 | 29282 | 9782 | -10245 | 0.237 | 0 | 0 | 0
9/11/2026 | 19 | 119816 | 23841 | -24752 | 30638 | 10204 | -10594 | 0.254 | 684 | 0 | 0
9/11/2026 | 20 | 115383 | 23385 | -24132 | 30768 | 10009 | -10328 | 0.266 | 378 | 0 | 0
9/11/2026 | 21 | 111349 | 22207 | -22910 | 30482 | 9504 | -9805 | 0.273 | 961 | 0 | 0
9/11/2026 | 22 | 106364 | 21071 | -21980 | 29742 | 9018 | -9407 | 0.278 | 93 | 0 | 0
9/11/2026 | 23 | 100439 | 18808 | -19692 | 29978 | 8050 | -8428 | 0.297 | 667 | 0 | 0
9/11/2026 | 24 | 93937 | 17690 | -18682 | 29433 | 7571 | -7996 | 0.312 | 373 | 0 | 0
9/12/2026 | 1 | 89046 | 17072 | -17950 | 28656 | 7307 | -7683 | 0.321 | 773 | 0 | 0
9/12/2026 | 2 | 84701 | 16685 | -17398 | 27619 | 7141 | -7446 | 0.325 | 764 | 0 | 0
9/12/2026 | 3 | 81247 | 16584 | -17347 | 26771 | 7098 | -7424 | 0.329 | 886 | 54 | 0.061
9/12/2026 | 4 | 78702 | 16517 | -17189 | 26409 | 7069 | -7357 | 0.335 | 1204 | 192 | 0.159
9/12/2026 | 5 | 77354 | 16672 | -17243 | 26463 | 7136 | -7380 | 0.341 | 827 | 85 | 0.103
9/12/2026 | 6 | 77649 | 17028 | -17458 | 26469 | 7288 | -7472 | 0.34 | 708 | 2 | 0.003
9/12/2026 | 7 | 78909 | 17817 | -18128 | 26286 | 7626 | -7759 | 0.333 | 631 | 0 | 0
9/12/2026 | 8 | 80763 | 17712 | -18423 | 23707 | 7581 | -7885 | 0.292 | 276 | 0 | 0
9/12/2026 | 9 | 83980 | 17029 | -18011 | 21167 | 7288 | -7708 | 0.25 | 0 | 0 | 0
9/12/2026 | 10 | 86056 | 17449 | -18576 | 21284 | 7468 | -7951 | 0.245 | 0 | 0 | 0
9/12/2026 | 11 | 88469 | 17434 | -18534 | 21823 | 7462 | -7932 | 0.244 | 0 | 0 | 0
9/12/2026 | 12 | 91732 | 17461 | -18490 | 22107 | 7474 | -7914 | 0.239 | 0 | 0 | 0
9/12/2026 | 13 | 95049 | 17731 | -18658 | 22444 | 7589 | -7985 | 0.234 | 0 | 0 | 0
9/12/2026 | 14 | 99419 | 18025 | -18838 | 23323 | 7715 | -8063 | 0.233 | 0 | 0 | 0
9/12/2026 | 15 | 102579 | 18648 | -19554 | 24112 | 7982 | -8369 | 0.233 | 0 | 0 | 0
9/12/2026 | 16 | 106446 | 18945 | -19865 | 24821 | 8108 | -8502 | 0.231 | 0 | 0 | 0
9/12/2026 | 17 | 108580 | 20491 | -21388 | 25376 | 8770 | -9154 | 0.232 | 46 | 0 | 0
9/12/2026 | 18 | 109746 | 22055 | -22920 | 27275 | 9440 | -9810 | 0.247 | 204 | 0 | 0
9/12/2026 | 19 | 108279 | 22377 | -23126 | 27685 | 9577 | -9898 | 0.254 | 1063 | 2 | 0.002
9/12/2026 | 20 | 105047 | 22608 | -23273 | 27170 | 9676 | -9961 | 0.258 | 998 | 0 | 0
9/12/2026 | 21 | 101218 | 22842 | -23116 | 26707 | 9776 | -9894 | 0.263 | 1177 | 0 | 0
9/12/2026 | 22 | 97181 | 22230 | -22434 | 26679 | 9514 | -9601 | 0.274 | 1028 | 1 | 0.001
9/12/2026 | 23 | 91838 | 20819 | -20611 | 27055 | 8911 | -8821 | 0.295 | 1154 | 68 | 0.059
9/12/2026 | 24 | 86888 | 20675 | -20507 | 27147 | 8849 | -8777 | 0.313 | 1169 | 147 | 0.126
9/13/2026 | 1 | 83121 | 18610 | -18535 | 26573 | 7965 | -7933 | 0.32 | 806 | 58 | 0.072
9/13/2026 | 2 | 79494 | 18370 | -18414 | 25843 | 7862 | -7881 | 0.325 | 948 | 118 | 0.124
9/13/2026 | 3 | 76712 | 18266 | -18339 | 25104 | 7818 | -7849 | 0.327 | 1354 | 270 | 0.199
9/13/2026 | 4 | 74800 | 18452 | -18385 | 24267 | 7897 | -7869 | 0.325 | 1485 | 391 | 0.263
9/13/2026 | 5 | 73801 | 18449 | -18216 | 23848 | 7896 | -7797 | 0.323 | 1424 | 387 | 0.272
9/13/2026 | 6 | 74241 | 18528 | -18296 | 23927 | 7930 | -7831 | 0.323 | 2150 | 639 | 0.297
9/13/2026 | 7 | 75444 | 18139 | -18338 | 23623 | 7763 | -7849 | 0.313 | 1754 | 432 | 0.246
9/13/2026 | 8 | 76446 | 16898 | -17278 | 20735 | 7232 | -7395 | 0.27 | 619 | 93 | 0.15
9/13/2026 | 9 | 79593 | 15763 | -16324 | 18297 | 6746 | -6987 | 0.228 | 82 | 0 | 0
9/13/2026 | 10 | 81184 | 15659 | -16215 | 17778 | 6702 | -6940 | 0.218 | 0 | 0 | 0
9/13/2026 | 11 | 83186 | 15253 | -15896 | 17508 | 6528 | -6804 | 0.209 | 0 | 0 | 0
9/13/2026 | 12 | 85102 | 15231 | -15795 | 17169 | 6519 | -6761 | 0.2 | 0 | 0 | 0
9/13/2026 | 13 | 88206 | 15542 | -16209 | 17044 | 6652 | -6938 | 0.191 | 0 | 0 | 0
9/13/2026 | 14 | 92146 | 16072 | -16953 | 17247 | 6879 | -7256 | 0.185 | 0 | 0 | 0
9/13/2026 | 15 | 96256 | 16527 | -17705 | 17684 | 7074 | -7578 | 0.181 | 0 | 0 | 0
9/13/2026 | 16 | 100865 | 16725 | -18121 | 18819 | 7158 | -7756 | 0.183 | 0 | 0 | 0
9/13/2026 | 17 | 104139 | 18020 | -19090 | 20529 | 7713 | -8170 | 0.195 | 0 | 0 | 0
9/13/2026 | 18 | 106565 | 19237 | -20011 | 23520 | 8233 | -8565 | 0.219 | 377 | 0 | 0
9/13/2026 | 19 | 106312 | 20676 | -21156 | 25239 | 8849 | -9055 | 0.237 | 1555 | 197 | 0.127
9/13/2026 | 20 | 104235 | 20668 | -21014 | 25592 | 8846 | -8994 | 0.245 | 1595 | 265 | 0.166
9/13/2026 | 21 | 101466 | 20717 | -21068 | 25696 | 8867 | -9017 | 0.253 | 2212 | 404 | 0.183
9/13/2026 | 22 | 96585 | 20388 | -20709 | 25408 | 8726 | -8864 | 0.263 | 2408 | 527 | 0.219
9/13/2026 | 23 | 89508 | 20406 | -20186 | 24332 | 8734 | -8640 | 0.272 | 1860 | 328 | 0.176
9/13/2026 | 24 | 83682 | 20015 | -19670 | 23513 | 8567 | -8418 | 0.282 | 2306 | 582 | 0.252
9/14/2026 | 1 | 80104 | 19297 | -19066 | 22996 | 8259 | -8160 | 0.287 | 1174 | 83 | 0.071
9/14/2026 | 2 | 77010 | 19770 | -19499 | 22372 | 8462 | -8345 | 0.291 | 1004 | 22 | 0.022
9/14/2026 | 3 | 74600 | 19844 | -19635 | 21886 | 8493 | -8404 | 0.294 | 707 | 26 | 0.037
9/14/2026 | 4 | 73861 | 19753 | -19584 | 21856 | 8454 | -8382 | 0.296 | 580 | 4 | 0.007
9/14/2026 | 5 | 74754 | 19707 | -19592 | 21528 | 8434 | -8386 | 0.288 | 547 | 14 | 0.026
9/14/2026 | 6 | 78656 | 20060 | -20124 | 21528 | 8586 | -8613 | 0.274 | 950 | 132 | 0.139
9/14/2026 | 7 | 83854 | 19699 | -19894 | 22731 | 8431 | -8514 | 0.271 | 983 | 32 | 0.033
9/14/2026 | 8 | 86980 | 19145 | -19649 | 21595 | 8194 | -8410 | 0.247 | 650 | 35 | 0.054
9/14/2026 | 9 | 88404 | 18675 | -19176 | 19005 | 7993 | -8208 | 0.214 | 32 | 0 | 0
9/14/2026 | 10 | 89085 | 18318 | -19028 | 18070 | 7840 | -8144 | 0.201 | 0 | 0 | 0
9/14/2026 | 11 | 89150 | 17969 | -18489 | 17256 | 7691 | -7913 | 0.192 | 0 | 0 | 0
9/14/2026 | 12 | 90510 | 17806 | -18461 | 17428 | 7622 | -7902 | 0.191 | 0 | 0 | 0
9/14/2026 | 13 | 93636 | 17783 | -18446 | 17614 | 7611 | -7895 | 0.186 | 0 | 0 | 0
9/14/2026 | 14 | 96498 | 18098 | -18581 | 18130 | 7746 | -7952 | 0.187 | 0 | 0 | 0
9/14/2026 | 15 | 99500 | 18745 | -19614 | 19339 | 8022 | -8395 | 0.192 | 252 | 0 | 0
9/14/2026 | 16 | 103358 | 19059 | -19946 | 20712 | 8157 | -8537 | 0.198 | 283 | 0 | 0
9/14/2026 | 17 | 106269 | 20248 | -21135 | 21814 | 8666 | -9046 | 0.203 | 567 | 6 | 0.011
9/14/2026 | 18 | 108899 | 21130 | -22194 | 24433 | 9044 | -9499 | 0.222 | 1009 | 0 | 0
9/14/2026 | 19 | 107339 | 21281 | -21933 | 25987 | 9108 | -9387 | 0.241 | 1402 | 150 | 0.107
9/14/2026 | 20 | 104836 | 21398 | -21449 | 25554 | 9158 | -9180 | 0.244 | 1153 | 57 | 0.049
9/14/2026 | 21 | 101207 | 21007 | -20911 | 25640 | 8991 | -8950 | 0.254 | 1360 | 150 | 0.11
9/14/2026 | 22 | 96142 | 20023 | -20437 | 25442 | 8570 | -8747 | 0.264 | 1939 | 355 | 0.183
9/14/2026 | 23 | 88576 | 18912 | -18818 | 25377 | 8094 | -8054 | 0.287 | 1720 | 397 | 0.231
9/14/2026 | 24 | 82615 | 18400 | -18209 | 24918 | 7875 | -7793 | 0.302 | 1425 | 184 | 0.129
9/15/2026 | 1 | 79241 | 18109 | -17874 | 24969 | 7751 | -7650 | 0.315 | 1362 | 144 | 0.106
9/15/2026 | 2 | 76566 | 17992 | -17896 | 24659 | 7700 | -7659 | 0.322 | 1193 | 102 | 0.085
9/15/2026 | 3 | 74210 | 17821 | -17811 | 24688 | 7627 | -7623 | 0.333 | 1300 | 112 | 0.086
9/15/2026 | 4 | 73116 | 17482 | -17393 | 25016 | 7482 | -7444 | 0.342 | 1715 | 289 | 0.169
9/15/2026 | 5 | 73909 | 17492 | -17457 | 25384 | 7487 | -7472 | 0.343 | 1604 | 283 | 0.176
9/15/2026 | 6 | 77332 | 17899 | -17718 | 25930 | 7661 | -7583 | 0.336 | 1306 | 249 | 0.191
9/15/2026 | 7 | 82582 | 18584 | -18864 | 26442 | 7954 | -8073 | 0.32 | 1822 | 317 | 0.174
9/15/2026 | 8 | 85773 | 17826 | -18423 | 24922 | 7630 | -7885 | 0.29 | 1724 | 406 | 0.235
9/15/2026 | 9 | 87645 | 17511 | -18398 | 21896 | 7495 | -7874 | 0.248 | 711 | 79 | 0.111
9/15/2026 | 10 | 87906 | 17377 | -18204 | 21512 | 7438 | -7791 | 0.243 | 338 | 0 | 0
9/15/2026 | 11 | 87349 | 17150 | -17718 | 21392 | 7340 | -7583 | 0.244 | 198 | 0 | 0
9/15/2026 | 12 | 88076 | 16848 | -17752 | 21173 | 7211 | -7598 | 0.238 | 46 | 0 | 0
9/15/2026 | 13 | 90012 | 17411 | -18491 | 21537 | 7452 | -7914 | 0.237 | 272 | 0 | 0
9/15/2026 | 14 | 92549 | 17167 | -18206 | 21346 | 7348 | -7792 | 0.228 | 250 | 0 | 0
9/15/2026 | 15 | 95568 | 17714 | -19062 | 21510 | 7582 | -8159 | 0.222 | 225 | 0 | 0
9/15/2026 | 16 | 99254 | 18403 | -19662 | 21301 | 7876 | -8415 | 0.212 | 3 | 0 | 0
9/15/2026 | 17 | 102863 | 19322 | -20400 | 22168 | 8270 | -8731 | 0.213 | 9 | 0 | 0
9/15/2026 | 18 | 105476 | 20055 | -20970 | 24636 | 8584 | -8975 | 0.232 | 227 | 0 | 0
9/15/2026 | 19 | 104572 | 20433 | -21390 | 25832 | 8745 | -9155 | 0.245 | 763 | 0 | 0
9/15/2026 | 20 | 102486 | 21339 | -21571 | 25870 | 9133 | -9232 | 0.252 | 815 | 0 | 0
9/15/2026 | 21 | 99702 | 21555 | -21648 | 25684 | 9226 | -9266 | 0.257 | 913 | 0 | 0
9/15/2026 | 22 | 95604 | 20284 | -20345 | 25403 | 8681 | -8708 | 0.266 | 715 | 0 | 0
9/15/2026 | 23 | 89361 | 18842 | -18550 | 25048 | 8064 | -7939 | 0.281 | 702 | 1 | 0.001
9/15/2026 | 24 | 83491 | 18707 | -18284 | 25460 | 8006 | -7825 | 0.306 | 573 | 0 | 0
9/16/2026 | 1 | 79824 | 18370 | -18014 | 25396 | 7862 | -7710 | 0.319 | 768 | 0 | 0
9/16/2026 | 2 | 76431 | 18306 | -18040 | 24836 | 7835 | -7722 | 0.325 | 622 | 0 | 0
9/16/2026 | 3 | 74221 | 18141 | -17743 | 24767 | 7764 | -7594 | 0.334 | 625 | 0 | 0
9/16/2026 | 4 | 72918 | 18072 | -17766 | 24604 | 7735 | -7604 | 0.338 | 576 | 0 | 0
9/16/2026 | 5 | 74059 | 17800 | -17326 | 24741 | 7618 | -7415 | 0.335 | 591 | 0 | 0
9/16/2026 | 6 | 77826 | 18060 | -17617 | 24959 | 7730 | -7540 | 0.321 | 295 | 0 | 0
9/16/2026 | 7 | 82391 | 17923 | -17555 | 25464 | 7671 | -7514 | 0.31 | 99 | 0 | 0
9/16/2026 | 8 | 85158 | 17670 | -17583 | 24298 | 7563 | -7526 | 0.285 | 254 | 0 | 0
9/16/2026 | 9 | 86601 | 16921 | -17374 | 21040 | 7242 | -7436 | 0.242 | 21 | 0 | 0
9/16/2026 | 10 | 86891 | 16937 | -17294 | 20093 | 7249 | -7402 | 0.23 | 0 | 0 | 0
9/16/2026 | 11 | 87120 | 16995 | -17453 | 19723 | 7274 | -7470 | 0.225 | 0 | 0 | 0
9/16/2026 | 12 | 87149 | 16924 | -17315 | 19867 | 7243 | -7411 | 0.227 | 0 | 0 | 0
9/16/2026 | 13 | 87842 | 17496 | -17784 | 19642 | 7488 | -7612 | 0.223 | 0 | 0 | 0
9/16/2026 | 14 | 89359 | 17927 | -18420 | 19652 | 7673 | -7884 | 0.219 | 0 | 0 | 0
9/16/2026 | 15 | 91207 | 18019 | -18538 | 19707 | 7712 | -7934 | 0.215 | 0 | 0 | 0
9/16/2026 | 16 | 94439 | 17780 | -18477 | 20309 | 7610 | -7908 | 0.213 | 0 | 0 | 0
9/16/2026 | 17 | 97010 | 19154 | -19782 | 21305 | 8198 | -8467 | 0.218 | 0 | 0 | 0
9/16/2026 | 18 | 99515 | 19446 | -19846 | 23785 | 8323 | -8494 | 0.238 | 161 | 0 | 0
9/16/2026 | 19 | 98006 | 20927 | -20559 | 24731 | 8957 | -8799 | 0.253 | 369 | 0 | 0
9/16/2026 | 20 | 97036 | 20624 | -20090 | 24750 | 8827 | -8599 | 0.256 | 562 | 0 | 0
9/16/2026 | 21 | 94498 | 20281 | -19534 | 24674 | 8680 | -8360 | 0.262 | 771 | 0 | 0
9/16/2026 | 22 | 90371 | 20257 | -19191 | 25033 | 8670 | -8214 | 0.279 | 775 | 0 | 0
9/16/2026 | 23 | 85368 | 19344 | -18585 | 24700 | 8279 | -7955 | 0.291 | 744 | 0 | 0
9/16/2026 | 24 | 79989 | 19005 | -18442 | 24107 | 8134 | -7893 | 0.302 | 588 | 0 | 0
9/17/2026 | 1 | 76729 | 18904 | -18475 | 24634 | 8091 | -7908 | 0.322 | 810 | 39 | 0.048
9/17/2026 | 2 | 73793 | 18846 | -18108 | 24259 | 8066 | -7750 | 0.33 | 821 | 5 | 0.006
9/17/2026 | 3 | 71780 | 18952 | -18044 | 24178 | 8112 | -7723 | 0.338 | 1075 | 110 | 0.102
9/17/2026 | 4 | 70802 | 18574 | -17807 | 24045 | 7950 | -7621 | 0.341 | 1439 | 271 | 0.188
9/17/2026 | 5 | 71381 | 18898 | -17990 | 24039 | 8088 | -7700 | 0.338 | 988 | 71 | 0.072
9/17/2026 | 6 | 75322 | 18675 | -18075 | 24621 | 7993 | -7736 | 0.328 | 806 | 43 | 0.053
9/17/2026 | 7 | 80430 | 18270 | -17646 | 25300 | 7819 | -7552 | 0.315 | 1454 | 162 | 0.111
9/17/2026 | 8 | 82927 | 18583 | -17934 | 23825 | 7954 | -7676 | 0.288 | 1283 | 163 | 0.127
9/17/2026 | 9 | 84226 | 17642 | -17302 | 21111 | 7551 | -7405 | 0.251 | 135 | 0 | 0
9/17/2026 | 10 | 84795 | 17656 | -17447 | 20356 | 7557 | -7467 | 0.241 | 0 | 0 | 0
9/17/2026 | 11 | 85011 | 17877 | -17609 | 20102 | 7651 | -7537 | 0.237 | 0 | 0 | 0
9/17/2026 | 12 | 85856 | 17681 | -17435 | 20580 | 7567 | -7462 | 0.24 | 13 | 0 | 0
9/17/2026 | 13 | 87256 | 17712 | -17672 | 20458 | 7581 | -7563 | 0.235 | 28 | 0 | 0
9/17/2026 | 14 | 89511 | 17845 | -17907 | 20313 | 7638 | -7664 | 0.227 | 0 | 0 | 0
9/17/2026 | 15 | 92373 | 18420 | -18608 | 20023 | 7884 | -7964 | 0.216 | 0 | 0 | 0
9/17/2026 | 16 | 95877 | 18773 | -19388 | 20433 | 8035 | -8298 | 0.212 | 0 | 0 | 0
9/17/2026 | 17 | 98391 | 19814 | -20213 | 21165 | 8480 | -8652 | 0.214 | 0 | 0 | 0
9/17/2026 | 18 | 101479 | 19573 | -20204 | 23637 | 8377 | -8647 | 0.232 | 0 | 0 | 0
9/17/2026 | 19 | 100775 | 20274 | -20632 | 25425 | 8677 | -8831 | 0.252 | 252 | 0 | 0
9/17/2026 | 20 | 99032 | 20061 | -20351 | 25343 | 8586 | -8710 | 0.255 | 439 | 0 | 0
9/17/2026 | 21 | 96460 | 20152 | -20510 | 24943 | 8625 | -8778 | 0.258 | 816 | 1 | 0.001
9/17/2026 | 22 | 91949 | 19528 | -19751 | 24485 | 8358 | -8454 | 0.266 | 907 | 19 | 0.021
9/17/2026 | 23 | 86054 | 19334 | -19310 | 23726 | 8275 | -8265 | 0.276 | 972 | 0 | 0
9/17/2026 | 24 | 80750 | 19478 | -19323 | 23422 | 8337 | -8270 | 0.29 | 964 | 0 | 0
9/18/2026 | 1 | 77037 | 18077 | -17988 | 23140 | 7737 | -7699 | 0.301 | 768 | 0 | 0
9/18/2026 | 2 | 74121 | 17902 | -17870 | 22095 | 7662 | -7648 | 0.298 | 688 | 0 | 0
9/18/2026 | 3 | 72196 | 18324 | -18322 | 21691 | 7843 | -7842 | 0.3 | 647 | 0 | 0
9/18/2026 | 4 | 71119 | 18306 | -18442 | 21511 | 7835 | -7893 | 0.302 | 575 | 0 | 0
9/18/2026 | 5 | 71487 | 18167 | -18160 | 21528 | 7775 | -7773 | 0.301 | 544 | 0 | 0
9/18/2026 | 6 | 74498 | 18568 | -18453 | 22222 | 7947 | -7898 | 0.298 | 458 | 0 | 0
9/18/2026 | 7 | 79304 | 18919 | -19070 | 23020 | 8097 | -8162 | 0.29 | 727 | 4 | 0.006
9/18/2026 | 8 | 82029 | 17768 | -17940 | 21508 | 7604 | -7678 | 0.262 | 433 | 7 | 0.016
9/18/2026 | 9 | 83143 | 17378 | -17692 | 18716 | 7438 | -7572 | 0.224 | 0 | 0 | 0
9/18/2026 | 10 | 83659 | 17184 | -17546 | 18386 | 7355 | -7510 | 0.219 | 0 | 0 | 0
9/18/2026 | 11 | 84056 | 16911 | -17251 | 17907 | 7238 | -7384 | 0.212 | 0 | 0 | 0
9/18/2026 | 12 | 85124 | 16606 | -17188 | 17947 | 7107 | -7357 | 0.209 | 0 | 0 | 0
9/18/2026 | 13 | 86463 | 17010 | -17731 | 17696 | 7280 | -7589 | 0.203 | 0 | 0 | 0
9/18/2026 | 14 | 89048 | 17946 | -18767 | 18231 | 7681 | -8032 | 0.203 | 0 | 0 | 0
9/18/2026 | 15 | 92181 | 18405 | -19257 | 19107 | 7877 | -8242 | 0.205 | 0 | 0 | 0
9/18/2026 | 16 | 95678 | 18141 | -19240 | 19863 | 7765 | -8235 | 0.205 | 0 | 0 | 0
9/18/2026 | 17 | 98350 | 19194 | -20075 | 19746 | 8215 | -8592 | 0.199 | 0 | 0 | 0
9/18/2026 | 18 | 101271 | 18403 | -19084 | 22621 | 7876 | -8168 | 0.222 | 0 | 0 | 0
9/18/2026 | 19 | 100110 | 19415 | -19979 | 24482 | 8310 | -8551 | 0.244 | 1349 | 108 | 0.08
9/18/2026 | 20 | 96773 | 18985 | -19351 | 24660 | 8126 | -8282 | 0.254 | 1108 | 68 | 0.061
9/18/2026 | 21 | 93660 | 18701 | -18912 | 24106 | 8004 | -8094 | 0.257 | 1026 | 1 | 0.001
9/18/2026 | 22 | 89879 | 18444 | -18617 | 23658 | 7894 | -7968 | 0.263 | 1047 | 0 | 0
9/18/2026 | 23 | 84978 | 17319 | -17284 | 22982 | 7413 | -7398 | 0.271 | 899 | 8 | 0.009
9/18/2026 | 24 | 80078 | 17266 | -17247 | 22772 | 7390 | -7382 | 0.284 | 1052 | 55 | 0.052
9/19/2026 | 1 | 75787 | 17813 | -17470 | 22485 | 7624 | -7477 | 0.297 | 1298 | 180 | 0.139
9/19/2026 | 2 | 72287 | 17700 | -17046 | 21981 | 7576 | -7295 | 0.305 | 1592 | 306 | 0.192
9/19/2026 | 3 | 69852 | 17418 | -16950 | 21450 | 7455 | -7254 | 0.308 | 1730 | 335 | 0.194
9/19/2026 | 4 | 68139 | 17268 | -16852 | 20999 | 7391 | -7213 | 0.309 | 1333 | 224 | 0.168
9/19/2026 | 5 | 67621 | 17279 | -16882 | 20868 | 7395 | -7226 | 0.309 | 1180 | 113 | 0.096
9/19/2026 | 6 | 68653 | 17127 | -16783 | 20909 | 7330 | -7183 | 0.305 | 1150 | 109 | 0.095
9/19/2026 | 7 | 70669 | 17504 | -17322 | 21352 | 7491 | -7414 | 0.302 | 1667 | 269 | 0.161
9/19/2026 | 8 | 72575 | 16510 | -16507 | 19254 | 7066 | -7065 | 0.265 | 531 | 47 | 0.089
9/19/2026 | 9 | 75076 | 15906 | -16308 | 16066 | 6808 | -6980 | 0.213 | 0 | 0 | 0
9/19/2026 | 10 | 76028 | 15704 | -16099 | 15348 | 6721 | -6890 | 0.201 | 0 | 0 | 0
9/19/2026 | 11 | 76258 | 14813 | -15106 | 14725 | 6340 | -6465 | 0.192 | 0 | 0 | 0
9/19/2026 | 12 | 77232 | 15257 | -15693 | 14928 | 6530 | -6717 | 0.192 | 0 | 0 | 0
9/19/2026 | 13 | 79386 | 15474 | -16099 | 15618 | 6623 | -6890 | 0.195 | 0 | 0 | 0
9/19/2026 | 14 | 82602 | 16151 | -16964 | 15956 | 6912 | -7261 | 0.191 | 0 | 0 | 0
9/19/2026 | 15 | 85932 | 17304 | -17856 | 16450 | 7406 | -7643 | 0.19 | 0 | 0 | 0
9/19/2026 | 16 | 90716 | 16762 | -17339 | 17558 | 7174 | -7421 | 0.192 | 0 | 0 | 0
9/19/2026 | 17 | 94474 | 17824 | -18252 | 19355 | 7628 | -7812 | 0.204 | 0 | 0 | 0
9/19/2026 | 18 | 97933 | 18321 | -18646 | 22106 | 7842 | -7980 | 0.225 | 9 | 0 | 0
9/19/2026 | 19 | 97335 | 20131 | -20425 | 23886 | 8616 | -8742 | 0.245 | 828 | 20 | 0.024
9/19/2026 | 20 | 94188 | 20252 | -20478 | 23286 | 8668 | -8765 | 0.247 | 1026 | 73 | 0.071
9/19/2026 | 21 | 91178 | 19654 | -19780 | 23279 | 8412 | -8466 | 0.255 | 1225 | 103 | 0.084
9/19/2026 | 22 | 87018 | 18823 | -18699 | 23156 | 8056 | -8003 | 0.266 | 1701 | 320 | 0.188
9/19/2026 | 23 | 82477 | 17482 | -17361 | 23031 | 7482 | -7431 | 0.279 | 2085 | 584 | 0.28
9/19/2026 | 24 | 77280 | 16948 | -16630 | 23246 | 7254 | -7118 | 0.301 | 2330 | 619 | 0.266
9/20/2026 | 1 | 74017 | 17296 | -16643 | 23667 | 7403 | -7123 | 0.321 | 2076 | 486 | 0.234
9/20/2026 | 2 | 70691 | 17135 | -16428 | 23666 | 7334 | -7031 | 0.336 | 2184 | 559 | 0.256
9/20/2026 | 3 | 68028 | 17187 | -16393 | 23012 | 7356 | -7016 | 0.339 | 2132 | 544 | 0.255
9/20/2026 | 4 | 66548 | 17030 | -16265 | 23032 | 7289 | -6961 | 0.347 | 2603 | 724 | 0.278
9/20/2026 | 5 | 65959 | 16589 | -15776 | 23064 | 7100 | -6752 | 0.351 | 2214 | 558 | 0.252
9/20/2026 | 6 | 66444 | 17235 | -16401 | 23177 | 7376 | -7020 | 0.35 | 2215 | 584 | 0.264
9/20/2026 | 7 | 67831 | 17109 | -16333 | 23105 | 7323 | -6990 | 0.342 | 2755 | 760 | 0.276
9/20/2026 | 8 | 69476 | 16098 | -15660 | 20394 | 6890 | -6702 | 0.294 | 1480 | 377 | 0.255
9/20/2026 | 9 | 71890 | 15390 | -15125 | 17479 | 6587 | -6474 | 0.244 | 388 | 8 | 0.021
9/20/2026 | 10 | 74248 | 15168 | -14998 | 17346 | 6492 | -6419 | 0.234 | 148 | 0 | 0
9/20/2026 | 11 | 75404 | 15066 | -14903 | 17112 | 6448 | -6378 | 0.227 | 15 | 0 | 0
9/20/2026 | 12 | 75897 | 14330 | -14080 | 16826 | 6133 | -6026 | 0.222 | 0 | 0 | 0
9/20/2026 | 13 | 78684 | 14485 | -14432 | 16669 | 6200 | -6176 | 0.212 | 0 | 0 | 0
9/20/2026 | 14 | 82481 | 14391 | -14695 | 17120 | 6159 | -6289 | 0.207 | 0 | 0 | 0
9/20/2026 | 15 | 88259 | 15348 | -15854 | 18172 | 6569 | -6785 | 0.205 | 507 | 56 | 0.11
9/20/2026 | 16 | 93499 | 15508 | -16193 | 19577 | 6637 | -6931 | 0.208 | 1728 | 376 | 0.218
9/20/2026 | 17 | 96755 | 16282 | -16966 | 21777 | 6968 | -7262 | 0.224 | 1472 | 283 | 0.192
9/20/2026 | 18 | 97997 | 17466 | -17879 | 24239 | 7476 | -7652 | 0.247 | 1475 | 136 | 0.092
9/20/2026 | 19 | 95910 | 18617 | -18667 | 25553 | 7968 | -7990 | 0.266 | 846 | 0 | 0
9/20/2026 | 20 | 94300 | 18295 | -18153 | 25410 | 7830 | -7770 | 0.27 | 723 | 0 | 0
9/20/2026 | 21 | 91596 | 17993 | -17685 | 25258 | 7701 | -7569 | 0.276 | 689 | 0 | 0
9/20/2026 | 22 | 86966 | 17611 | -17116 | 25355 | 7537 | -7326 | 0.292 | 876 | 40 | 0.046
9/20/2026 | 23 | 81251 | 18067 | -17165 | 25280 | 7733 | -7347 | 0.312 | 698 | 9 | 0.013
9/20/2026 | 24 | 76103 | 17726 | -16986 | 24960 | 7587 | -7270 | 0.329 | 816 | 72 | 0.088
9/21/2026 | 1 | 72806 | 17238 | -16412 | 24465 | 7378 | -7024 | 0.337 | 726 | 80 | 0.11
9/21/2026 | 2 | 70071 | 16843 | -16061 | 24028 | 7209 | -6874 | 0.344 | 783 | 146 | 0.186
9/21/2026 | 3 | 68199 | 16809 | -16084 | 23686 | 7194 | -6884 | 0.348 | 675 | 97 | 0.144
9/21/2026 | 4 | 67537 | 16497 | -15838 | 23594 | 7060 | -6779 | 0.35 | 715 | 125 | 0.175
9/21/2026 | 5 | 69130 | 16276 | -15663 | 24003 | 6966 | -6704 | 0.348 | 1235 | 338 | 0.274
9/21/2026 | 6 | 73264 | 17115 | -16498 | 24704 | 7325 | -7061 | 0.338 | 889 | 21 | 0.024
9/21/2026 | 7 | 77879 | 17613 | -16661 | 25070 | 7538 | -7131 | 0.323 | 1194 | 164 | 0.137
9/21/2026 | 8 | 80925 | 17721 | -16682 | 24177 | 7585 | -7140 | 0.3 | 2072 | 497 | 0.24
9/21/2026 | 9 | 83259 | 16555 | -15971 | 22340 | 7085 | -6836 | 0.269 | 575 | 11 | 0.019
9/21/2026 | 10 | 84015 | 16042 | -15345 | 21727 | 6866 | -6568 | 0.26 | 330 | 4 | 0.012
9/21/2026 | 11 | 84543 | 16327 | -15806 | 21148 | 6988 | -6765 | 0.251 | 347 | 4 | 0.012
9/21/2026 | 12 | 85018 | 16380 | -15873 | 21232 | 7011 | -6794 | 0.251 | 108 | 0 | 0
9/21/2026 | 13 | 86295 | 17116 | -16659 | 21861 | 7326 | -7130 | 0.254 | 7 | 0 | 0
9/21/2026 | 14 | 88433 | 17384 | -17000 | 21698 | 7441 | -7276 | 0.246 | 0 | 0 | 0
9/21/2026 | 15 | 91083 | 17503 | -17280 | 22238 | 7491 | -7396 | 0.245 | 0 | 0 | 0
9/21/2026 | 16 | 93965 | 17847 | -17697 | 22579 | 7638 | -7574 | 0.241 | 0 | 0 | 0
9/21/2026 | 17 | 98002 | 19583 | -19538 | 22840 | 8382 | -8362 | 0.233 | 0 | 0 | 0
9/21/2026 | 18 | 100070 | 19410 | -19208 | 23906 | 8307 | -8221 | 0.239 | 0 | 0 | 0
9/21/2026 | 19 | 99669 | 20249 | -19911 | 24778 | 8666 | -8522 | 0.249 | 473 | 0 | 0
9/21/2026 | 20 | 98037 | 20303 | -19831 | 24114 | 8690 | -8488 | 0.247 | 586 | 0 | 0
9/21/2026 | 21 | 94954 | 20350 | -19872 | 23522 | 8710 | -8505 | 0.249 | 707 | 0 | 0
9/21/2026 | 22 | 90442 | 19468 | -19077 | 22785 | 8332 | -8165 | 0.253 | 750 | 0 | 0
9/21/2026 | 23 | 83932 | 19152 | -18268 | 22378 | 8197 | -7819 | 0.268 | 682 | 1 | 0.001
9/21/2026 | 24 | 78420 | 18571 | -17609 | 21792 | 7949 | -7536 | 0.28 | 755 | 14 | 0.019
9/22/2026 | 1 | 74932 | 19670 | -18763 | 21684 | 8419 | -8031 | 0.291 | 652 | 0 | 0
9/22/2026 | 2 | 71753 | 19865 | -18860 | 21278 | 8502 | -8072 | 0.298 | 739 | 30 | 0.041
9/22/2026 | 3 | 69662 | 19796 | -18826 | 20695 | 8473 | -8058 | 0.299 | 808 | 52 | 0.064
9/22/2026 | 4 | 68585 | 19551 | -18643 | 20576 | 8368 | -7979 | 0.302 | 721 | 78 | 0.108
9/22/2026 | 5 | 69856 | 19744 | -18918 | 20891 | 8451 | -8097 | 0.301 | 727 | 54 | 0.074
9/22/2026 | 6 | 73496 | 19432 | -18975 | 21345 | 8317 | -8121 | 0.291 | 623 | 0 | 0
9/22/2026 | 7 | 78057 | 18712 | -18205 | 22135 | 8008 | -7792 | 0.284 | 795 | 0 | 0
9/22/2026 | 8 | 81076 | 17110 | -16962 | 21445 | 7323 | -7259 | 0.265 | 695 | 51 | 0.073
9/22/2026 | 9 | 82694 | 16528 | -16645 | 18351 | 7074 | -7124 | 0.222 | 7 | 0 | 0
9/22/2026 | 10 | 83208 | 16388 | -16590 | 17984 | 7014 | -7100 | 0.216 | 0 | 0 | 0
9/22/2026 | 11 | 82404 | 16329 | -16449 | 18131 | 6989 | -7040 | 0.22 | 0 | 0 | 0
9/22/2026 | 12 | 82907 | 16337 | -16521 | 17977 | 6992 | -7071 | 0.216 | 0 | 0 | 0
9/22/2026 | 13 | 85469 | 16349 | -17056 | 18124 | 6997 | -7300 | 0.21 | 0 | 0 | 0
9/22/2026 | 14 | 88446 | 16546 | -17392 | 18012 | 7081 | -7444 | 0.201 | 0 | 0 | 0
9/22/2026 | 15 | 91493 | 17244 | -18338 | 18600 | 7381 | -7849 | 0.201 | 0 | 0 | 0
9/22/2026 | 16 | 95125 | 17460 | -18661 | 19185 | 7473 | -7987 | 0.199 | 0 | 0 | 0
9/22/2026 | 17 | 97389 | 18137 | -19173 | 19609 | 7763 | -8206 | 0.199 | 0 | 0 | 0
9/22/2026 | 18 | 99943 | 19188 | -19666 | 22520 | 8212 | -8417 | 0.224 | 8 | 0 | 0
9/22/2026 | 19 | 99479 | 21035 | -21369 | 24558 | 9003 | -9146 | 0.246 | 457 | 0 | 0
9/22/2026 | 20 | 98006 | 21026 | -21392 | 23806 | 8999 | -9156 | 0.242 | 632 | 39 | 0.062
9/22/2026 | 21 | 95367 | 20159 | -20445 | 23681 | 8628 | -8750 | 0.248 | 792 | 60 | 0.076
9/22/2026 | 22 | 90411 | 19867 | -19706 | 23657 | 8503 | -8434 | 0.262 | 1498 | 330 | 0.22
9/22/2026 | 23 | 84542 | 19861 | -19747 | 23742 | 8500 | -8452 | 0.281 | 1443 | 249 | 0.173
9/22/2026 | 24 | 79223 | 19666 | -19380 | 23589 | 8417 | -8295 | 0.298 | 1679 | 382 | 0.228
9/23/2026 | 1 | 75420 | 19195 | -18555 | 23394 | 8215 | -7942 | 0.311 | 1126 | 139 | 0.123
9/23/2026 | 2 | 72407 | 18705 | -17988 | 22814 | 8006 | -7698 | 0.316 | 889 | 63 | 0.071
9/23/2026 | 3 | 70223 | 18500 | -17838 | 22719 | 7918 | -7635 | 0.324 | 702 | 93 | 0.132
9/23/2026 | 4 | 69151 | 18404 | -17774 | 22889 | 7877 | -7607 | 0.332 | 682 | 78 | 0.114
9/23/2026 | 5 | 70051 | 18570 | -17911 | 23108 | 7948 | -7666 | 0.331 | 898 | 151 | 0.168
9/23/2026 | 6 | 73755 | 19392 | -18725 | 23624 | 8300 | -8014 | 0.321 | 554 | 3 | 0.005
9/23/2026 | 7 | 78712 | 17571 | -16789 | 24027 | 7520 | -7185 | 0.306 | 596 | 0 | 0
9/23/2026 | 8 | 81117 | 16792 | -16008 | 23249 | 7187 | -6852 | 0.288 | 496 | 0 | 0
9/23/2026 | 9 | 81664 | 16267 | -15429 | 20562 | 6962 | -6604 | 0.254 | 183 | 0 | 0
9/23/2026 | 10 | 81656 | 15616 | -14829 | 19974 | 6684 | -6347 | 0.246 | 44 | 0 | 0
9/23/2026 | 11 | 81588 | 15356 | -14609 | 19432 | 6572 | -6253 | 0.24 | 0 | 0 | 0
9/23/2026 | 12 | 83080 | 15533 | -15071 | 19376 | 6648 | -6451 | 0.234 | 0 | 0 | 0
9/23/2026 | 13 | 86246 | 15508 | -15251 | 19407 | 6638 | -6527 | 0.226 | 0 | 0 | 0
9/23/2026 | 14 | 89867 | 15771 | -15433 | 19175 | 6750 | -6606 | 0.214 | 0 | 0 | 0
9/23/2026 | 15 | 93639 | 16389 | -16132 | 19905 | 7014 | -6904 | 0.213 | 0 | 0 | 0
9/23/2026 | 16 | 98944 | 16870 | -17122 | 21389 | 7221 | -7328 | 0.216 | 0 | 0 | 0
9/23/2026 | 17 | 102943 | 18228 | -18638 | 23562 | 7802 | -7977 | 0.228 | 9 | 0 | 0
9/23/2026 | 18 | 105720 | 18740 | -18742 | 25610 | 8021 | -8022 | 0.242 | 225 | 0 | 0
9/23/2026 | 19 | 104481 | 20355 | -20208 | 26872 | 8712 | -8649 | 0.257 | 717 | 0 | 0
9/23/2026 | 20 | 101630 | 20327 | -20104 | 26978 | 8700 | -8605 | 0.266 | 849 | 20 | 0.024
9/23/2026 | 21 | 98185 | 19885 | -19509 | 27136 | 8510 | -8350 | 0.277 | 808 | 2 | 0.002
9/23/2026 | 22 | 93440 | 19266 | -18901 | 27231 | 8246 | -8089 | 0.292 | 1401 | 302 | 0.216
9/23/2026 | 23 | 87089 | 18842 | -18465 | 27226 | 8065 | -7903 | 0.313 | 1211 | 144 | 0.119
9/23/2026 | 24 | 81518 | 18261 | -17879 | 26716 | 7816 | -7652 | 0.328 | 1014 | 56 | 0.055
9/24/2026 | 1 | 77950 | 18181 | -17544 | 26278 | 7782 | -7509 | 0.338 | 971 | 27 | 0.028
9/24/2026 | 2 | 74629 | 18079 | -17497 | 25797 | 7738 | -7488 | 0.346 | 967 | 59 | 0.061
9/24/2026 | 3 | 72036 | 18186 | -17575 | 25246 | 7784 | -7522 | 0.351 | 1044 | 80 | 0.077
9/24/2026 | 4 | 70995 | 17478 | -16873 | 25229 | 7481 | -7222 | 0.356 | 1022 | 41 | 0.04
9/24/2026 | 5 | 71741 | 17613 | -17001 | 25344 | 7538 | -7277 | 0.354 | 808 | 0 | 0
9/24/2026 | 6 | 75572 | 17864 | -17507 | 25743 | 7646 | -7493 | 0.341 | 724 | 4 | 0.006
9/24/2026 | 7 | 80277 | 18687 | -18015 | 25966 | 7998 | -7710 | 0.324 | 1083 | 0 | 0
9/24/2026 | 8 | 83249 | 16993 | -16383 | 25679 | 7273 | -7012 | 0.309 | 690 | 8 | 0.012
9/24/2026 | 9 | 83742 | 16101 | -15511 | 23642 | 6891 | -6638 | 0.283 | 166 | 0 | 0
9/24/2026 | 10 | 83867 | 16432 | -15847 | 23272 | 7033 | -6782 | 0.279 | 74 | 0 | 0
9/24/2026 | 11 | 84414 | 16966 | -16864 | 23218 | 7261 | -7218 | 0.275 | 0 | 0 | 0
9/24/2026 | 12 | 85582 | 16904 | -17102 | 23356 | 7235 | -7320 | 0.273 | 0 | 0 | 0
9/24/2026 | 13 | 87474 | 16994 | -17288 | 23577 | 7273 | -7399 | 0.269 | 0 | 0 | 0
9/24/2026 | 14 | 91417 | 16641 | -17091 | 23949 | 7122 | -7315 | 0.261 | 0 | 0 | 0
9/24/2026 | 15 | 95363 | 17182 | -17810 | 23785 | 7354 | -7623 | 0.248 | 30 | 0 | 0
9/24/2026 | 16 | 99904 | 17658 | -18296 | 24305 | 7558 | -7830 | 0.242 | 523 | 0 | 0
9/24/2026 | 17 | 102330 | 19308 | -19640 | 24733 | 8264 | -8406 | 0.241 | 552 | 0 | 0
9/24/2026 | 18 | 103436 | 20692 | -20742 | 26102 | 8856 | -8878 | 0.252 | 736 | 0 | 0
9/24/2026 | 19 | 100961 | 21459 | -21057 | 26342 | 9184 | -9012 | 0.262 | 644 | 0 | 0
9/24/2026 | 20 | 99468 | 21356 | -20922 | 26255 | 9140 | -8955 | 0.265 | 536 | 0 | 0
9/24/2026 | 21 | 96145 | 20734 | -20219 | 25707 | 8874 | -8654 | 0.268 | 489 | 0 | 0
9/24/2026 | 22 | 91945 | 19267 | -18829 | 25314 | 8246 | -8059 | 0.276 | 611 | 0 | 0
9/24/2026 | 23 | 86459 | 18922 | -18416 | 24881 | 8099 | -7882 | 0.289 | 961 | 68 | 0.071
9/24/2026 | 24 | 80385 | 19073 | -18349 | 23360 | 8163 | -7853 | 0.292 | 1516 | 237 | 0.156
9/25/2026 | 1 | 76927 | 18009 | -17569 | 22941 | 7708 | -7520 | 0.299 | 1185 | 234 | 0.197
9/25/2026 | 2 | 73426 | 18257 | -18066 | 21945 | 7814 | -7732 | 0.299 | 1224 | 223 | 0.182
9/25/2026 | 3 | 71374 | 18290 | -18133 | 21789 | 7828 | -7761 | 0.306 | 1730 | 409 | 0.236
9/25/2026 | 4 | 70247 | 17700 | -17531 | 22053 | 7576 | -7503 | 0.314 | 1790 | 419 | 0.234
9/25/2026 | 5 | 70804 | 18185 | -18011 | 22343 | 7783 | -7709 | 0.316 | 1810 | 434 | 0.24
9/25/2026 | 6 | 73917 | 18042 | -17978 | 22568 | 7722 | -7695 | 0.305 | 1362 | 303 | 0.222
9/25/2026 | 7 | 78650 | 19026 | -18823 | 22572 | 8143 | -8056 | 0.287 | 1030 | 73 | 0.071
9/25/2026 | 8 | 81409 | 17894 | -17472 | 21163 | 7659 | -7478 | 0.261 | 1252 | 193 | 0.154
9/25/2026 | 9 | 82813 | 17286 | -16801 | 18634 | 7398 | -7191 | 0.226 | 119 | 0 | 0
9/25/2026 | 10 | 82751 | 17557 | -17215 | 17137 | 7514 | -7368 | 0.208 | 0 | 0 | 0
9/25/2026 | 11 | 82988 | 17537 | -17220 | 16622 | 7506 | -7370 | 0.201 | 0 | 0 | 0
9/25/2026 | 12 | 85193 | 17410 | -17183 | 17029 | 7451 | -7354 | 0.2 | 0 | 0 | 0
9/25/2026 | 13 | 88310 | 17258 | -17422 | 17152 | 7386 | -7456 | 0.194 | 0 | 0 | 0
9/25/2026 | 14 | 91476 | 17651 | -17804 | 17426 | 7554 | -7620 | 0.19 | 0 | 0 | 0
9/25/2026 | 15 | 94928 | 18527 | -18699 | 17485 | 7930 | -8003 | 0.184 | 0 | 0 | 0
9/25/2026 | 16 | 98419 | 19238 | -19467 | 18089 | 8234 | -8332 | 0.183 | 0 | 0 | 0
9/25/2026 | 17 | 101137 | 21044 | -21410 | 19009 | 9006 | -9164 | 0.187 | 0 | 0 | 0
9/25/2026 | 18 | 102912 | 21323 | -21494 | 21855 | 9126 | -9200 | 0.212 | 417 | 1 | 0.002
9/25/2026 | 19 | 101318 | 21893 | -21938 | 23265 | 9370 | -9389 | 0.23 | 632 | 17 | 0.027
9/25/2026 | 20 | 97974 | 21967 | -21742 | 23000 | 9402 | -9306 | 0.235 | 719 | 0 | 0
9/25/2026 | 21 | 93901 | 21707 | -21221 | 22734 | 9291 | -9083 | 0.243 | 964 | 0 | 0
9/25/2026 | 22 | 90190 | 21451 | -20885 | 22889 | 9181 | -8939 | 0.255 | 870 | 14 | 0.016
9/25/2026 | 23 | 85390 | 20355 | -19789 | 22083 | 8712 | -8470 | 0.26 | 1778 | 307 | 0.173
9/25/2026 | 24 | 80414 | 19834 | -19157 | 20893 | 8489 | -8199 | 0.261 | 1434 | 178 | 0.124
9/26/2026 | 1 | 77489 | 18362 | -17775 | 20120 | 7859 | -7608 | 0.261 | 1936 | 432 | 0.223
9/26/2026 | 2 | 74149 | 17978 | -17446 | 20036 | 7694 | -7467 | 0.271 | 2022 | 405 | 0.2
9/26/2026 | 3 | 71288 | 17903 | -17271 | 19300 | 7663 | -7392 | 0.272 | 2068 | 429 | 0.207
9/26/2026 | 4 | 69769 | 17440 | -16800 | 19327 | 7464 | -7190 | 0.278 | 2495 | 606 | 0.243
9/26/2026 | 5 | 69451 | 17118 | -16385 | 19609 | 7326 | -7013 | 0.284 | 2542 | 635 | 0.25
9/26/2026 | 6 | 70310 | 17766 | -16940 | 19589 | 7604 | -7250 | 0.28 | 1747 | 359 | 0.205
9/26/2026 | 7 | 72535 | 18520 | -18054 | 19242 | 7926 | -7727 | 0.266 | 1964 | 362 | 0.184
9/26/2026 | 8 | 73823 | 16584 | -16069 | 17523 | 7098 | -6878 | 0.239 | 1367 | 250 | 0.183
9/26/2026 | 9 | 75613 | 16962 | -16344 | 14995 | 7260 | -6995 | 0.2 | 98 | 0 | 0
9/26/2026 | 10 | 76479 | 16518 | -15934 | 14683 | 7069 | -6820 | 0.194 | 0 | 0 | 0
9/26/2026 | 11 | 77332 | 16046 | -15413 | 14719 | 6868 | -6597 | 0.192 | 0 | 0 | 0
9/26/2026 | 12 | 79206 | 15719 | -15308 | 15212 | 6728 | -6552 | 0.193 | 0 | 0 | 0
9/26/2026 | 13 | 82185 | 15807 | -15588 | 15630 | 6765 | -6672 | 0.191 | 0 | 0 | 0
9/26/2026 | 14 | 85361 | 15842 | -15845 | 15613 | 6780 | -6782 | 0.183 | 0 | 0 | 0
9/26/2026 | 15 | 89060 | 16613 | -16664 | 16165 | 7110 | -7132 | 0.181 | 0 | 0 | 0
9/26/2026 | 16 | 94270 | 16854 | -17284 | 18154 | 7213 | -7398 | 0.191 | 0 | 0 | 0
9/26/2026 | 17 | 97768 | 18809 | -19122 | 19950 | 8050 | -8184 | 0.203 | 164 | 0 | 0
9/26/2026 | 18 | 100250 | 19768 | -20286 | 22273 | 8461 | -8683 | 0.221 | 956 | 10 | 0.01
9/26/2026 | 19 | 97390 | 20811 | -21494 | 23155 | 8907 | -9199 | 0.236 | 2211 | 450 | 0.204
9/26/2026 | 20 | 95469 | 20877 | -21277 | 23212 | 8935 | -9106 | 0.242 | 2704 | 688 | 0.254
9/26/2026 | 21 | 92320 | 20247 | -20662 | 22977 | 8666 | -8843 | 0.248 | 1777 | 412 | 0.232
9/26/2026 | 22 | 88681 | 19816 | -19998 | 23441 | 8481 | -8559 | 0.264 | 3119 | 800 | 0.256
9/26/2026 | 23 | 84515 | 17890 | -18058 | 23826 | 7657 | -7729 | 0.282 | 3453 | 980 | 0.284
9/26/2026 | 24 | 79926 | 17694 | -17601 | 23800 | 7573 | -7533 | 0.298 | 3163 | 830 | 0.262
9/27/2026 | 1 | 77030 | 17461 | -17109 | 23565 | 7473 | -7323 | 0.306 | 2476 | 890 | 0.359
9/27/2026 | 2 | 73785 | 17148 | -16696 | 23101 | 7339 | -7146 | 0.314 | 1717 | 421 | 0.245
9/27/2026 | 3 | 71428 | 17082 | -16637 | 22576 | 7311 | -7120 | 0.317 | 1789 | 425 | 0.238
9/27/2026 | 4 | 70142 | 16831 | -16518 | 22344 | 7204 | -7070 | 0.319 | 1785 | 381 | 0.213
9/27/2026 | 5 | 69545 | 16876 | -16571 | 22617 | 7223 | -7092 | 0.326 | 1755 | 385 | 0.219
9/27/2026 | 6 | 70082 | 17053 | -16776 | 22677 | 7299 | -7180 | 0.324 | 1628 | 348 | 0.214
9/27/2026 | 7 | 71558 | 17405 | -17000 | 22323 | 7449 | -7276 | 0.313 | 2556 | 589 | 0.23
9/27/2026 | 8 | 73412 | 15498 | -15116 | 22038 | 6633 | -6470 | 0.301 | 2693 | 677 | 0.251
9/27/2026 | 9 | 75594 | 14709 | -14473 | 21550 | 6296 | -6195 | 0.286 | 1885 | 341 | 0.181
9/27/2026 | 10 | 76413 | 14394 | -14132 | 21414 | 6161 | -6048 | 0.281 | 505 | 52 | 0.103
9/27/2026 | 11 | 77292 | 14111 | -13875 | 21020 | 6040 | -5939 | 0.272 | 205 | 0 | 0
9/27/2026 | 12 | 78412 | 14226 | -13950 | 21083 | 6088 | -5971 | 0.269 | 189 | 0 | 0
9/27/2026 | 13 | 81022 | 14184 | -13986 | 21306 | 6071 | -5986 | 0.263 | 110 | 0 | 0
9/27/2026 | 14 | 84144 | 14452 | -14325 | 21495 | 6186 | -6131 | 0.256 | 262 | 19 | 0.073
9/27/2026 | 15 | 87206 | 15007 | -15031 | 21663 | 6423 | -6433 | 0.248 | 425 | 47 | 0.111
9/27/2026 | 16 | 90753 | 15233 | -15334 | 22349 | 6520 | -6563 | 0.246 | 1019 | 292 | 0.287
9/27/2026 | 17 | 92030 | 16772 | -16536 | 23185 | 7178 | -7078 | 0.252 | 2469 | 1029 | 0.417
9/27/2026 | 18 | 94272 | 18238 | -17670 | 24302 | 7806 | -7562 | 0.259 | 2347 | 693 | 0.295
9/27/2026 | 19 | 94722 | 19441 | -18999 | 25009 | 8321 | -8132 | 0.265 | 3874 | 1172 | 0.303
9/27/2026 | 20 | 94355 | 20691 | -19878 | 25256 | 8856 | -8508 | 0.269 | 3859 | 1219 | 0.316
9/27/2026 | 21 | 91713 | 19706 | -18953 | 25479 | 8434 | -8112 | 0.279 | 4113 | 1217 | 0.296
9/27/2026 | 22 | 87590 | 19333 | -18288 | 25617 | 8275 | -7827 | 0.294 | 4118 | 1331 | 0.323
9/27/2026 | 23 | 82702 | 18707 | -17520 | 24859 | 8007 | -7498 | 0.302 | 3238 | 1179 | 0.364
9/27/2026 | 24 | 77804 | 17805 | -16798 | 24366 | 7621 | -7190 | 0.315 | 2775 | 838 | 0.302
9/28/2026 | 1 | 75212 | 17338 | -16760 | 23840 | 7420 | -7174 | 0.318 | 1327 | 228 | 0.172
9/28/2026 | 2 | 72369 | 17290 | -16547 | 23717 | 7400 | -7082 | 0.329 | 1051 | 131 | 0.125
9/28/2026 | 3 | 70676 | 17131 | -16434 | 23502 | 7332 | -7034 | 0.333 | 1165 | 165 | 0.142
9/28/2026 | 4 | 69996 | 16585 | -15938 | 23210 | 7098 | -6822 | 0.332 | 1279 | 236 | 0.185
9/28/2026 | 5 | 71472 | 16115 | -15623 | 23538 | 6897 | -6687 | 0.33 | 1061 | 138 | 0.13
9/28/2026 | 6 | 75584 | 17091 | -16705 | 24119 | 7315 | -7150 | 0.32 | 837 | 20 | 0.024
9/28/2026 | 7 | 80915 | 18271 | -17700 | 24131 | 7820 | -7576 | 0.299 | 1132 | 2 | 0.002
9/28/2026 | 8 | 84528 | 17468 | -17014 | 23739 | 7476 | -7282 | 0.282 | 403 | 0 | 0
9/28/2026 | 9 | 83722 | 15353 | -14948 | 22154 | 6571 | -6398 | 0.265 | 19 | 0 | 0
9/28/2026 | 10 | 83179 | 14922 | -14545 | 21184 | 6387 | -6225 | 0.255 | 0 | 0 | 0
9/28/2026 | 11 | 81993 | 15476 | -15027 | 20605 | 6624 | -6432 | 0.252 | 0 | 0 | 0
9/28/2026 | 12 | 81859 | 14672 | -14340 | 20255 | 6280 | -6138 | 0.248 | 0 | 0 | 0
9/28/2026 | 13 | 82888 | 14928 | -14735 | 20278 | 6389 | -6307 | 0.245 | 0 | 0 | 0
9/28/2026 | 14 | 83112 | 15142 | -14876 | 20270 | 6481 | -6367 | 0.244 | 0 | 0 | 0
9/28/2026 | 15 | 84838 | 15222 | -14794 | 20178 | 6515 | -6332 | 0.239 | 0 | 0 | 0
9/28/2026 | 16 | 87492 | 15665 | -15500 | 20243 | 6705 | -6634 | 0.232 | 0 | 0 | 0
9/28/2026 | 17 | 89314 | 19206 | -19022 | 19686 | 8220 | -8141 | 0.221 | 14 | 0 | 0
9/28/2026 | 18 | 92848 | 20135 | -19874 | 21094 | 8618 | -8506 | 0.228 | 667 | 8 | 0.012
9/28/2026 | 19 | 93204 | 22577 | -22067 | 21917 | 9663 | -9444 | 0.236 | 902 | 9 | 0.01
9/28/2026 | 20 | 92071 | 22317 | -21715 | 21798 | 9552 | -9294 | 0.238 | 881 | 0 | 0
9/28/2026 | 21 | 88827 | 21794 | -20940 | 21836 | 9328 | -8962 | 0.248 | 1137 | 41 | 0.036
9/28/2026 | 22 | 84573 | 20912 | -19854 | 21220 | 8950 | -8498 | 0.253 | 852 | 24 | 0.028
9/28/2026 | 23 | 79476 | 19188 | -18052 | 20625 | 8213 | -7726 | 0.262 | 905 | 101 | 0.112
9/28/2026 | 24 | 74727 | 18273 | -17219 | 20274 | 7821 | -7370 | 0.273 | 902 | 63 | 0.07
9/29/2026 | 1 | 71751 | 17772 | -16778 | 20058 | 7606 | -7181 | 0.282 | 669 | 4 | 0.006
9/29/2026 | 2 | 69115 | 17157 | -16136 | 19762 | 7343 | -6906 | 0.288 | 634 | 10 | 0.016
9/29/2026 | 3 | 67306 | 17068 | -16193 | 19341 | 7305 | -6931 | 0.289 | 626 | 0 | 0
9/29/2026 | 4 | 66838 | 16660 | -15755 | 18987 | 7130 | -6744 | 0.286 | 492 | 0 | 0
9/29/2026 | 5 | 68216 | 16768 | -15877 | 19175 | 7176 | -6796 | 0.283 | 518 | 0 | 0
9/29/2026 | 6 | 72212 | 17659 | -16922 | 19572 | 7558 | -7242 | 0.273 | 397 | 0 | 0
9/29/2026 | 7 | 77154 | 18642 | -17532 | 20237 | 7979 | -7504 | 0.265 | 573 | 0 | 0
9/29/2026 | 8 | 79739 | 17825 | -16675 | 20034 | 7629 | -7137 | 0.254 | 293 | 0 | 0
9/29/2026 | 9 | 79375 | 15460 | -14559 | 18084 | 6617 | -6232 | 0.23 | 197 | 0 | 0
9/29/2026 | 10 | 79268 | 14718 | -14000 | 17752 | 6299 | -5992 | 0.226 | 0 | 0 | 0
9/29/2026 | 11 | 78252 | 15041 | -14402 | 17466 | 6438 | -6164 | 0.225 | 0 | 0 | 0
9/29/2026 | 12 | 78556 | 15609 | -14969 | 16739 | 6681 | -6407 | 0.215 | 0 | 0 | 0
9/29/2026 | 13 | 80357 | 15946 | -15511 | 16677 | 6825 | -6639 | 0.209 | 0 | 0 | 0
9/29/2026 | 14 | 82419 | 16619 | -16089 | 15670 | 7113 | -6886 | 0.192 | 0 | 0 | 0
9/29/2026 | 15 | 85568 | 17252 | -17198 | 16213 | 7384 | -7361 | 0.19 | 71 | 0 | 0
9/29/2026 | 16 | 89332 | 17814 | -18136 | 16610 | 7624 | -7762 | 0.185 | 225 | 0 | 0
9/29/2026 | 17 | 93337 | 19296 | -19593 | 17909 | 8259 | -8386 | 0.191 | 418 | 2 | 0.005
9/29/2026 | 18 | 96984 | 20408 | -20879 | 19494 | 8735 | -8936 | 0.2 | 502 | 7 | 0.014
9/29/2026 | 19 | 96735 | 20869 | -21091 | 20506 | 8932 | -9027 | 0.211 | 482 | 5 | 0.01
9/29/2026 | 20 | 95285 | 21253 | -21393 | 20445 | 9097 | -9156 | 0.214 | 497 | 1 | 0.002
9/29/2026 | 21 | 92563 | 20084 | -20107 | 20898 | 8596 | -8606 | 0.226 | 572 | 12 | 0.021
9/29/2026 | 22 | 88598 | 19735 | -19720 | 20881 | 8447 | -8440 | 0.236 | 595 | 7 | 0.012
9/29/2026 | 23 | 82993 | 17319 | -17304 | 20920 | 7413 | -7406 | 0.252 | 822 | 46 | 0.056
9/29/2026 | 24 | 77887 | 16968 | -16922 | 20980 | 7262 | -7242 | 0.269 | 657 | 9 | 0.014
9/30/2026 | 1 | 74771 | 15356 | -15542 | 21078 | 6572 | -6652 | 0.282 | 775 | 28 | 0.036
9/30/2026 | 2 | 71556 | 15293 | -15082 | 20706 | 6545 | -6455 | 0.29 | 973 | 39 | 0.04
9/30/2026 | 3 | 69569 | 15556 | -15296 | 20912 | 6658 | -6547 | 0.301 | 1008 | 22 | 0.022
9/30/2026 | 4 | 68447 | 15471 | -15082 | 21213 | 6621 | -6455 | 0.311 | 978 | 30 | 0.031
9/30/2026 | 5 | 69328 | 15354 | -15005 | 21772 | 6571 | -6422 | 0.315 | 1588 | 156 | 0.098
9/30/2026 | 6 | 72618 | 15597 | -15266 | 22259 | 6675 | -6534 | 0.307 | 1724 | 305 | 0.177
9/30/2026 | 7 | 76648 | 18004 | -17230 | 22454 | 7706 | -7374 | 0.294 | 1444 | 170 | 0.118
9/30/2026 | 8 | 79178 | 17953 | -17329 | 21216 | 7684 | -7417 | 0.269 | 1474 | 285 | 0.193
9/30/2026 | 9 | 80059 | 16150 | -16122 | 18185 | 6912 | -6900 | 0.227 | 44 | 0 | 0
9/30/2026 | 10 | 80019 | 15410 | -15506 | 17233 | 6596 | -6636 | 0.215 | 0 | 0 | 0
9/30/2026 | 11 | 80833 | 15558 | -15947 | 17423 | 6659 | -6825 | 0.215 | 0 | 0 | 0
9/30/2026 | 12 | 81650 | 15575 | -15920 | 17471 | 6666 | -6814 | 0.213 | 0 | 0 | 0
9/30/2026 | 13 | 83749 | 15737 | -16155 | 17444 | 6735 | -6914 | 0.207 | 0 | 0 | 0
9/30/2026 | 14 | 86266 | 15986 | -16190 | 17961 | 6842 | -6929 | 0.208 | 0 | 0 | 0
9/30/2026 | 15 | 90282 | 16310 | -16785 | 18501 | 6981 | -7184 | 0.204 | 16 | 0 | 0
9/30/2026 | 16 | 94401 | 16986 | -17417 | 19162 | 7270 | -7455 | 0.202 | 2 | 0 | 0
9/30/2026 | 17 | 97067 | 19412 | -19712 | 20216 | 8308 | -8437 | 0.208 | 90 | 0 | 0
9/30/2026 | 18 | 100241 | 20631 | -20471 | 22854 | 8830 | -8762 | 0.228 | 226 | 0 | 0
9/30/2026 | 19 | 100098 | 20913 | -20699 | 24369 | 8951 | -8859 | 0.244 | 372 | 0 | 0
9/30/2026 | 20 | 97846 | 20661 | -20292 | 24524 | 8843 | -8685 | 0.251 | 520 | 0 | 0
9/30/2026 | 21 | 94259 | 19748 | -19371 | 24458 | 8452 | -8291 | 0.26 | 831 | 33 | 0.04
9/30/2026 | 22 | 89627 | 19065 | -18718 | 24564 | 8160 | -8011 | 0.275 | 990 | 52 | 0.053
9/30/2026 | 23 | 82985 | 15970 | -15373 | 24571 | 6835 | -6580 | 0.297 | 1389 | 210 | 0.151
9/30/2026 | 24 | 78077 | 15758 | -15110 | 24412 | 6744 | -6467 | 0.314 | 1899 | 385 | 0.203