# Settlements & Billing

# Configuration Guide:  Resource Sufficiency Evaluation Surcharge Settlement

CC 8080

# Version 6.0

# Table of Contents

1.	Purpose of Document	3

2.	Introduction	3

2.1	Background	3

2.2	Description	3

3.	Charge Code Requirements	3

3.1	Business Rules	4

3.2	Predecessor Charge Codes	8

3.3	Successor Charge Codes	8

3.4	Inputs – External Systems	8

3.5	Inputs - Predecessor Charge Codes or Pre-calculations	10

3.6	CAISO Formula	10

3.7	Outputs	19

4.	Charge Code Effective Dates	24

# Purpose of Document

The purpose of this document is to capture the requirements and design specification for a Charge Code in one document.

# Introduction

## Background

The Resource Sufficiency Evaluation (RSE) is a test that determines whether the CAISO Balancing Authority Area (BAA), each EIM BAA, and each Extended Day-Ahead Market (EDAM) BAA, has sufficient supply and reserves to meet forecasted demand and uncertainty.  For the EIM RSE for BAAs within the EDAM Area, the CAISO will evaluate resource sufficiency of the BAAs in the EDAM Area. The CAISO will consider all DAM awards for Energy, Imbalance Reserves (IR), and Reliability Capacity as supply prior to testing an individual BAA in the EDAM Area for EIM resource sufficiency.

The CAISO will evaluate the EDAM Upward Pool to verify that it has sufficient Bids and Ramping capability to meet the Upward Requirement for the EDAM Upward Pool within tolerance as defined by market. The CAISO will evaluate the EDAM Downward Pool to verify that it has sufficient Bids and Ramping capability to meet the Downward Uncertainty Requirement for the EDAM Downward Pool within tolerance as defined by market. The EDAM RSE will evaluate whether RSE-eligible supply is sufficient to meet each of the upward and downward components of the requirements established for the BAA. A Balancing Authority in the EDAM Area not included in the EDAM Upward Pool or EDAM Downward Pool will be evaluated in the same manner as an individual EIM BAA.  The CAISO will assess RSE surcharges to Scheduling Coordinators in each BAA that fails the RSE upward and/or downward tests, described further below.

## Description

This Charge Code settles RSE surcharges by charging Scheduling Coordinators in BAAs that fail the RSE tests within certain hours.  This Charge Code distinguishes between Off-Peak and On-Peak, and Upward and Downward, Deficiencies in the RSE tests.  The RSE surcharges assessed to Scheduling Coordinators in EDAM BAAs that fail the RSE tests will be collected by the CAISO and allocated to Scheduling Coordinators in EDAM BAAs that passed the RSE tests in charge code 8088.

# Charge Code Requirements

## Business Rules

| Bus Req ID | Business Rule |
| --- | --- |
| 1.0 | A BAA in the EDAM Area that passes the final binding EDAM RSE by satisfying the upward requirements of the demand evaluation, IR evaluation, and ancillary service evaluation, together with any BAA that cured its failure to pass the EDAM RSE in the upward direction through the IFM and incurred applicable surcharges, will be placed in the EDAM Upward Pool. |
| 1.1 | The BAAs in the EDAM Area placed in the EDAM Upward Pool will be collectively accounted for when performing the EIM RSE, with the EDAM Upward Pool evaluated as a collective. |
| 2.0 | A BAA in the EDAM Area that passes the final binding EDAM RSE by satisfying the downward requirements of the demand evaluation, IR evaluation, and ancillary service evaluation, together with any BAA that cured its failure to pass the EDAM RSE in the downward direction through the IFM and incurred applicable surcharges, will be placed in the EDAM Downward Pool. |
| 2.1 | The BAAs in the EDAM Area placed in the EDAM Downward Pool will be collectively accounted for when performing the EIM RSE, with the EDAM Downward Pool evaluated as a collective. |
| 3.0 | Any BAA excluded from either the Upward or Downward Pools will be evaluated as an individual BAA for the EIM RSE. |
| 4.0 | RSE Surcharges are calculated and settled on an hourly basis. |
| 5.0 | The total EDAM RSE Hourly Downward Deficiency Quantity is calculated as the MW total of the minimum of 0 and each of the downward failures of energy, imbalance reserves, and regulation during any single operating hour. |
| 6.0 | The total EDAM RSE Hourly Upward Deficiency Quantity is calculated as the MW total of the maximum of 0 and each of the upward quantity failures of energy, imbalance reserves, and regulation during any single operating hour. |
| 7.0 | A BAA in the EDAM Area that fails the EDAM RSE in any hour of any day and in any direction is subject to the applicable surcharges described below: |
| 8.0 | EDAM RSE On-Peak Upward Failure Insufficiency Surcharge: A BAA in the EDAM Area that has failed to satisfy the upward components of the EDAM RSE during the on-peak period will be subject to a three-tiered penalty structure as follows: |
| 8.1 | For a tier 1 failure in which the BAA failure is de minimis, defined as the higher of 10 MW or an amount less than or equal to one percent of the BAA’s upward IR Requirement for that hour, the EDAM RSE On-Peak Upward Failure Insufficiency Surcharge will not be calculated. |
| 8.2 | For a tier 2 failure in which the BAA failure is above the de minimis failure amount, and is less than or equal to fifty percent of the BAA’s upward IR requirement, the EDAM RSE On-Peak Upward Failure Insufficiency Surcharge will be calculated. |
| 8.2.1 | If a BAA in the EDAM Area fails under tier 2, the Scheduling Coordinator for the BAA may be charged the EDAM RSE On-Peak Upward Failure Insufficiency Surcharge in each hour of the sixteen-hour on-peak period. The EDAM RSE On-Peak Upward Failure Insufficiency Surcharge will be calculated as the product of (a) the highest EDAM RSE Hourly Upward Deficiency Quantity during the sixteen-hour on-peak period of that day, (b) the greater of the published bilateral electric index prices for the applicable EDAM Trade Location, and (c) the EDAM RSE Failure Multiplier adjusted by the EDAM RSE Failure Scaling Factor. |
| 8.2.2 | Where a BAA’s EDAM RSE Hourly Upward Deficiency Quantity is less than or equal to fifty percent of the BAA’s upward Imbalance Reserve requirement (a tier 2 EDAM RSE failure), the EDAM RSE Failure Multiplier is 1.25. With respect to tier 2 or tier 3 EDAM RSE failure in the upward direction, the EDAM RSE Failure Multiplier is subject to an adder consisting of the EDAM RSE Failure Scaling Factor. |
| 8.2.3 | The EDAM RSE Failure Scaling Factor is calculated on a rolling basis to account for hours in which a BAA in the EDAM Area persistently fails the EDAM RSE in the upward direction over the preceding thirty days, with the EDAM RSE Failure Scaling Factor adding one percent to the EDAM RSE Failure Multiplier for every additional day during the preceding thirty-day period in which the BAA experienced a tier 2 or tier 3 failure of the EDAM RSE in the upward direction. |
| 8.3 | For a tier 3 failure in which the BAA failure is greater than fifty percent of the BAA’s upward IR requirement, the EDAM RSE On-Peak Upward Failure Insufficiency Surcharge will be calculated. |
| 8.3.1 | If a BAA in the EDAM Area fails under tier 3, the Scheduling Coordinator for the BAA may be charged the EDAM RSE On-Peak Upward Failure Insufficiency Surcharge in each hour of the sixteen-hour on-peak period. The EDAM RSE On-Peak Upward Failure Insufficiency Surcharge will be calculated as the product of (a) the highest EDAM RSE Hourly Upward Deficiency Quantity during the sixteen-hour on-peak period of that day, (b) the greater of the published bilateral electric index prices for the applicable EDAM Trade Location, and (c) the EDAM RSE Failure Multiplier adjusted by the EDAM RSE Failure Scaling Factor. |
| 8.3.2 | The EDAM RSE Failure Multiplier is a tiered component of the EDAM RSE On-Peak Upward Failure Insufficiency Surcharge. Where a BAA’s EDAM RSE Hourly Upward Deficiency Quantity is greater than fifty percent of the BAA’s upward Imbalance Reserve requirement (a tier 3 EDAM RSE failure), the EDAM RSE Failure Multiplier is 2. With respect to tier 2 or tier 3 EDAM RSE failure in the upward direction, the EDAM RSE Failure Multiplier is subject to an adder consisting of the EDAM RSE Failure Scaling Factor. |
| 8.3.3 | The EDAM RSE Failure Scaling Factor is calculated on a rolling basis to account for hours in which a BAA in the EDAM Area persistently fails the EDAM RSE in the upward direction over the preceding thirty days, with the EDAM RSE Failure Scaling Factor adding one percent to the EDAM RSE Failure Multiplier for every additional day during the preceding thirty-day period in which the BAA experienced a tier 2 or tier 3 failure of the EDAM RSE in the upward direction. |
| 8.4 | The EDAM RSE On-Peak Upward Failure Insufficiency Surcharge applied in each hour of the sixteen-hour block will be adjusted by the EDAM RSE On-Peak Upward Credit amount for each hour the BAA satisfied all of the upward components of the EDAM RSE. |
| 8.5 | The EDAM RSE On-Peak Upward Credit accounts for hours during the sixteen-hour on-peak period in which the BAA satisfies the upward requirements of the demand evaluation, the IR evaluation, and the ancillary services evaluation, and determined as the product of the highest EDAM RSE Hourly Upward Deficiency Quantity of the day and the load-weighted average LMP of the LAP within that BAA in each passed hour. |
| 8.6 | In the event the EDAM RSE On-Peak Credit amount exceeds the surcharge amount, the EDAM RSE On-Peak Upward Failure Insufficiency Surcharge will be zero. |
| 8.0 | EDAM RSE Off-Peak Upward Failure Insufficiency Surcharge: If a BAA in the EDAM Area fails to satisfy all of the upward components of the EDAM RSE in the upward direction during any hour within the off-peak period, then the applicable Scheduling Coordinator for the BAA may be allocated the EDAM RSE Off-Peak Upward Failure Insufficiency Surcharge for each hour during the off-peak period in which there has been an upward failure. |
| 8.1 | The EDAM RSE Off-Peak Upward Failure Insufficiency Surcharge will not be calculated for a de minimis failure, defined as the higher of 10 MW or an amount that is less than or equal to one percent of the BAA’s upward IR requirement for that hour. |
| 8.2 | The EDAM RSE Off-Peak Upward Failure Insufficiency Surcharge will be calculated as the product of (a) EDAM RSE Hourly Upward Deficiency Quantity; (b) the load-weighted average of the LMP of the LAP within that BAA and (c) the EDAM RSE Failure Multiplier. |
| 8.3 | The EDAM RSE Failure Multiplier for off-peak upward failures functions equivalently to how it functions for on-peak upward failures. The multiplier equals 0 for tier 1 off-peak upward failures, 1.25 for tier 2 off-peak upward failures, and 2.0 for tier 3 off-peak upward failures. |
| 9.0 | EDAM RSE Downward Failure Insufficiency Surcharge: If a BAA in the EDAM Area fails to satisfy all of the downward components of the EDAM RSE during any hour, then the applicable Scheduling Coordinator for the BAA may be allocated the EDAM RSE Downward Failure Insufficiency Surcharge for each hour in which there has been a downward failure. |
| 9.1 | The EDAM RSE Downward Failure Insufficiency Surcharge will not be calculated for a de minimis failure, defined as an amount that is greater than 10 MW of the Imbalance Reserve Down requirement in the hour. |
| 9.2 | The EDAM RSE Downward Insufficiency Charge will be calculated as the product of (a) the EDAM RSE Hourly Downward Deficiency Quantity and (b) the Marginal Energy Cost of that BAA. |
| 9.3 | If the EDAM RSE Hourly Downward Deficiency Quantity is greater than ten MW, then the BAA will be assessed the EDAM RSE Downward Failure Insufficiency Surcharge for each hour in which there has been a downward failure. |
| 9.4 | If the EDAM RSE Hourly Downward Deficiency Quantity is less than or equal to ten MW, then there will be no EDAM RSE Downward Failure Insufficiency Surcharge during the applicable hour given the de minimis nature of the failure. |
| 10.0 | RSE test failures are mutually exclusive and do not cascade by the failure tiers. For example, a BAA within an EDAM area that fails the RSE upward test under tier 3 will not also be assessed RSE surcharges calculated in tier 2. |
| 11.0 | For the CAISO BAA, the RSE surcharges will be sub-allocated to Scheduling Coordinators based on their pro rata shares of metered demand. |
| 12.0 | For non-CAISO EDAM BAAs, the surcharges will be allocated to the EDAM Entity Scheduling Coordinator. |

## Predecessor Charge Codes

Charge Code/ Pre-calc Name

Real Time Energy Quantity Pre-calculation

CC 8071 – Day Ahead Imbalance Reserve Up Settlement

CC 8088 – Resource Sufficiency Evaluation Surcharge Allocation

## Successor Charge Codes

Charge Code/ Pre-calc Name

CC 8088 – Resource Sufficiency Evaluation Surcharge Allocation

## Inputs – External Systems

| Row # | Variable Name | Description |
| --- | --- | --- |
|  | RSEPeakHourFlag mdh | A flag (1/0/NULL) that, when equal to 1, identifies an associated Trading Hour as a Peak Hour. Off-Peak is defined as any day Monday through Saturday in the off-peak hours of midnight to 6 a.m. or 10 p.m. to midnight, pacific time, and all hours on Sunday or any legal public holiday |
|  | BAAEDAMRSEHourlyUpwardEnergyDeficiencyQty Q’mdh | The EDAM RSE Hourly Upward Energy Deficiency Quantity. (MW) |
|  | BAAEDAMHourlyRegUpDeficiencyQty Q’mdh | The EDAM RSE Hourly Regulation Up Deficiency Quantity. (MW) |
|  | BAAEDAMHourlySpinDeficiencyQty Q’mdh | The EDAM RSE Hourly Spin Deficiency Quantity. (MW) |
|  | BAAEDAMHourlyNonSpinDeficiencyQty Q’mdh | The EDAM RSE Hourly Non-Spin Deficiency Quantity. (MW) |
|  | EDAMDailyHubPrc Zmd | The daily Mid C and Palo Verde hub prices index. ($/MWh) |
|  | EDAMRSEFailureMultiplierTier2Ratio | A tiered component of the EDAM RSE On-Peak Upward Failure Insufficiency Surcharge. For tier 2, the multiplier = 1.25. |
|  | EDAMRSEFailureMultiplierTier3Ratio | A tiered component of the EDAM RSE On-Peak Upward Failure Insufficiency Surcharge. For tier 3, the multiplier = 2. |
| 10 | BAADayPersistentFailureQty Q’md | The number of consecutive days across the past 30-days in which a BAA has failed the upward RSE test. |
| 12 | BAAHourlyIRUReqQty Q'AA’Qpmdh | The Hourly IRU requirement quantity for each BAA and APnode. (MW) |
| 13 | BAAEDAMRSEHourlyEnergyDownwardDeficiencyQty Q’mdh | The Hourly downward energy deficiency quantity. (MW) |
| 14 | BAAEDAMHourlyRegDownDeficiencyQty Q’mdh | The hourly regulation down deficiency quantity for each BAA. (MW) |
| 15 | BAEDAMEntityFlag BQ’md | Flag indicating whether the entity participates in the EDAM. A value of 1 indicates participation, a value of 0 does not. |
| 16 | HourlyDABAAMECPrc Q'mdh | The Marginal Energy Cost (MEC) for Balancing Authority Area Q’ in the Day Ahead market for Trading Hour h. ($/MWh) |
| 17 | PTBBARSESurchargeSettlementAmt BQ’Jmdh | PTB charge adjustment for RSE Surcharge Settlement (in $) |
| 18 | DAMarketDisruptionFlag Q’mdh | Hourly flag that indicates whether there is a DAM disruption that impacts RSE. A 1 indicates disruption and a 0 does not. |
| 19 | BAADayPersistentFailureViewQty Q’mdh | Quantity displaying number of trade dates across the last 30 days in which the BAA failed the RSE upward test under Tiers 2 or 3 during on-peak hours. |

## Inputs - Predecessor Charge Codes or Pre-calculations

| Row # | Variable Name | Predecessor Charge Code/ Pre-calc Configuration |
| --- | --- | --- |
| 1 | BABAAMeteredDemandQuantity BQ’mdh | PC MSS Netting |
| 2 | SettlementIntervalRealTimeLAPPrice AA’mdhcif | PC Real Time Price |
| 3 | BAA5mLAPMeteredDemandQuantity uQ’AA’mdhcif | PC MSS Netting |
| 4 | EDAMAreaRSEHourlyDownwardDeficiencyFlag mdh | CC 8088 - Resource Sufficiency Evaluation Surcharge Allocation |
| 5 | EDAMAreaRSEHourlyUpwardDeficiencyFlag mdh | CC 8088 - Resource Sufficiency Evaluation Surcharge Allocation |
| 6 | EDAMOnPeakNetExportTransferQuantity mdh | CC 8088 - Resource Sufficiency Evaluation Surcharge Allocation |
| 7 | EDAMOffPeakNetExportTransferQuantity mdh | CC 8088 - Resource Sufficiency Evaluation Surcharge Allocation |
| 8 | EDAMNetImportTransferQuantity mdh | CC 8088 - Resource Sufficiency Evaluation Surcharge Allocation |

## CAISO Formula

### RSEHourlySurchargeSettlementAmount BQ’mdh = BARSEHourlySurchargeSettlementAmount 	BQ’mdh + BABAAEDAMRSESurchargeSettlementAmount BQ’mdh

- The following calculations apply to Scheduling Coordinators operating within the 	CISO BAA:

### BARSEHourlySurchargeSettlementAmount BQ’mdh = BAMeteredDemandRatio BQ’mdh * 	BAAEDAMRSESurchargeAmount Q’mdh

Where (Q’) = ‘CISO’

### BAMeteredDemandRatio BQ’mdh = (BABAAMeteredDemandQuantity BQ’mdh / 	BAAMeteredDemandQuantity Q’mdh)

### BAAMeteredDemandQuantity Q’mdh = Sum (B) BABAAMeteredDemandQuantity BQ’mdh

### BAAEDAMRSESurchargeAmount Q’mdh = Sum (B) BAEDAMRSESurchargeAmount BQ’mdh

- The following calculation applies to EDAM Entities, excluding the CISO BAA:

### BABAAEDAMRSESurchargeSettlementAmount BQ’mdh = 	BAEDAMRSESurchargeAmount BQ’mdh

Where (Q’) <> ‘CISO’

- The following formulas support the calculation of the RSE surcharge for on-peak, off-peak, and downward settlement charges.

### BAEDAMRSESurchargeAmount BQ’mdh = 	(1 - DAMarketDisruptionFlag Q’mdh) * 	(BAEDAMRSEUpwardSurchargeSettlementAmount BQ’mdh + 	BAEDAMRSEDownwardFailureSurchargeSettlementAmount BQ’mdh )

Implementation Note: all of the inputs above in section 3.8.4 are business drivers.

### BAEDAMRSEUpwardSurchargeSettlementAmount BQ’mdh = EDAMAreaRSEHourlyUpwardDeficiencyFlag mdh * (BAEDAMRSEOnPeakUpwardAdjustedFailureSurchargeAmount BQ’mdh + BAEDAMRSEOffPeakUpwardFailureSurchargeAmount BQ’mdh)

- The following formulas apply to the calculation of the EDAM RSE On-Peak Upward Failure Insufficiency Surcharge.

### EDAMAreaRSEOnPeakUpwardAdjustedFailureSurchargeAmount mdh = Sum (B, Q’) EDAMAreaRSEHourlyUpwardDeficiencyFlag mdh * BAEDAMRSEOnPeakUpwardAdjustedFailureSurchargeAmount BQ’mdh

### BAEDAMRSEOnPeakUpwardAdjustedFailureSurchargeAmount BQ’mdh

### IF

EDAMOnPeakNetExportTransferQuantity mdh = 0

THEN

BAEDAMRSEOnPeakUpwardAdjustedFailureSurchargeAmount BQ’mdh = 0

ELSE

### BAEDAMEntityFlag BQ’md * RSEPeakHourFlag mdh *  MAX (0, (BAEDAMRSEMaxAllHoursOnPeakUpwardFailureSurchargeAmount Q’mdh - BAAEDAMRSEOnPeakUpwardCreditAmount Q’mdh))

### BAEDAMRSEMaxAllHoursOnPeakUpwardFailureSurchargeAmount Q’mdh = INTDUPLICATE (BAEDAMRSEMaxOnPeakUpwardFailureSurchargeAmount Q’md)

### BAEDAMRSEMaxOnPeakUpwardFailureSurchargeAmount Q’md = Sum (h) GETMAXVAL (BAEDAMRSEOnPeakUpwardFailureSurchargeAmount Q’mdh)

### BAEDAMRSEOnPeakUpwardFailureSurchargeAmount Q’mdh =

IF

### BAAEDAMRSEOnPeakUpwardFailureSurchargeTierEvaluation Q’mdh = 1

THEN

BAEDAMRSEOnPeakUpwardFailureSurchargeAmount Q’mdh = 0

ELSE

IF

### BAAEDAMRSEOnPeakUpwardFailureSurchargeTierEvaluation Q’mdh = 2

THEN

- BAEDAMRSEOnPeakUpwardFailureSurchargeAmount Q’mdh = Max (0, (	BAAEDAMRSEMaxHourlyUpwardDeficiencyQuantity Q’mdh * 	EDAMOnPeakHourlyMaxHubPrice mdh * EDAMRSETier2FailureMultiplier Q’md))

- ELSE

BAEDAMRSEOnPeakUpwardFailureSurchargeAmount Q’mdh  = Max (0, (	BAAEDAMRSEMaxHourlyUpwardDeficiencyQuantity Q’mdh * 	EDAMOnPeakHourlyMaxHubPrice mdh * EDAMRSETier3FailureMultiplier 	Q’md))

### EDAMOnPeakHourlyMaxHubPrice mdh =Sum over (Z) INTMAX  EDAMOnPeakHourlyHubPrice Zmdh

### EDAMOnPeakHourlyHubPrice Zmdh =  RSEPeakHourFlag mdh * INTDUPLICATE(EDAMDailyHubPrc Zmd)

Note: attribute Z shares a position with Q.

### EDAMRSETier2FailureMultiplier Q’md = EDAMRSEFailureMultiplierTier2Ratio * 			(1+EDAMRSEFailureScalingFactorRate Q’md)

### EDAMRSETier3FailureMultiplier Q’md = EDAMRSEFailureMultiplierTier3Ratio * 			(1 + EDAMRSEFailureScalingFactorRate Q’md)

### EDAMRSEFailureScalingFactorRate Q’md = BAADayPersistentFailureQty Q’md * .01

### BAADayPersistentFailureQuantity_V Q’md = Sum (h) BAADayPersistentFailureViewQty Q’mdh

### Note: This supports how many days a BAA has had a failure in the last 30 day rolling horizon.

- The following formulas supports the calculation of the credit amount awarded in the hours in which the BAA passes the RSE upward test for the on-peak period.

### BAAEDAMRSEOnPeakUpwardCreditAmount Q’mdh =

#### IF

BAAEDAMRSEPeakHourlyUpwardDeficiencyQuantity Q’mdh  = 0

THEN

#### BAAEDAMRSEOnPeakUpwardCreditAmount Q’mdh =

#### BAAEDAMRSEMaxHourlyUpwardDeficiencyQuantity Q’mdh * Max (0, BAAEDAMAverageLAPLMP 	Q’mdh)

#### ELSE

#### BAAEDAMRSEOnPeakUpwardCreditAmount Q’mdh =  0

### BAAEDAMAverageLAPLMP Q’mdh = BAARSEHourlyTotalNodalLAPAmount Q’mdh / 	BAAMeteredDemandQuantity Q’mdh

### BAARSEHourlyTotalNodalLAPAmount Q’mdh = Sum (u, A, A’, c, i, f) BAA5mLAPMeteredDemandQuantity uQ’AA’mdhcif * SettlementIntervalRealTimeLAPPrice AA’mdhcif

### BAAMeteredDemandQuantity Q’mdh = Sum (B) BABAAMeteredDemandQuantity BQ’mdh

- The following formulas support calculation of the tier assessment in the scenario the BAA does not satisfy all requirements of the RSE upward test during on-peak hours.

### BAAEDAMRSEOnPeakUpwardFailureSurchargeTierEvaluation Q’mdh =

IF

BAAEDAMRSEMaxHourlyUpwardDeficiencyQuantity Q’mdh <=  	BAAHourlyPeakIRUThresholdReqQuantity Q’mdh

THEN

### BAAEDAMRSEOnPeakUpwardFailureSurchargeTierEvaluation Q’mdh = 1

ELSE

(IF

BAAEDAMRSEMaxHourlyUpwardDeficiencyQuantity Q’mdh > 	BAAHourlyPeakIRUThresholdReqQuantity Q’mdh

AND

BAAEDAMRSEMaxHourlyUpwardDeficiencyQuantity Q’mdh <= .5 * 	BAAHourlyPeakIRUReqQuantity Q’mdh

THEN

BAAEDAMRSEOnPeakUpwardFailureSurchargeTierEvaluation Q’mdh = 2)

ELSE

(IF

BAAEDAMRSEMaxHourlyUpwardDeficiencyQuantity Q’mdh > .5 * 	BAAHourlyPeakIRUReqQuantity Q’mdh

THEN

BAAEDAMRSEOnPeakUpwardFailureSurchargeTierEvaluation Q’mdh = 3

ELSE

### BAAEDAMRSEOnPeakUpwardFailureSurchargeTierEvaluation Q’mdh = 0)

- The following formulas calculate the maximum of hourly upward deficiency across the 16 hours of the on-peak period of the day.

### BAAEDAMRSEMaxHourlyPeakUpwardDeficiencyQuantity Q’mdh = INTDUPLICATE (BAAEDAMRSEMaxDailyPeakUpwardDeficiencyQuantity Q’md)

### BAAEDAMRSEMaxDailyPeakUpwardDeficiencyQuantity Q’md = GETMAXVAL (BAAEDAMRSEPeakHourlyUpwardDeficiencyQuantity Q’mdh)

- The following formulas support the calculations of upward deficiency quantities.

### BAAEDAMRSEPeakHourlyUpwardDeficiencyQuantity Q’mdh = RSEPeakHourFlag mdh * 	BAAEDAMRSEHourlyUpwardDeficiencyQuantity Q’mdh

### BAAEDAMRSEOffPeakHourlyUpwardDeficiencyQuantity Q’mdh = (1 - RSEPeakHourFlag mdh) * 	BAAEDAMRSEHourlyUpwardDeficiencyQuantity Q’mdh

### BAAEDAMRSEHourlyUpwardDeficiencyQuantity Q’mdh =

#### Max (0, BAAEDAMRSEHourlyUpwardEnergyDeficiencyQty Q’mdh) + Max (0, BAAEDAMHourlyRegUpDeficiencyQty Q’mdh + BAAEDAMHourlySpinDeficiencyQty Q’mdh + BAAEDAMHourlyNonSpinDeficiencyQty Q’mdh)

- The following formulas support the calculations of the hourly IRU requirements.

### BAAHourlyPeakIRUThresholdReqQuantity Q’mdh = Sum over (A, A’, Q, p) 				RSEPeakHourFlag mdh * Max (10, 0.01 * BAAHourlyIRUReqQty Q'AA’Qpmdh)

### BAAHourlyPeakIRUReqQuantity Q’mdh = Sum over (A, A’, Q, p) 				RSEPeakHourFlag mdh * BAAHourlyIRUReqQty Q'AA’Qpmdh

- The following formulas apply to the calculation of the EDAM RSE Off-Peak Upward Failure Insufficiency Surcharge.

### EDAMAreaRSEOffPeakUpwardFailureSurchargeAmount mdh = Sum over (B, Q’) 	EDAMAreaRSEHourlyUpwardDeficiencyFlag mdh * 	BAEDAMRSEOffPeakUpwardFailureSurchargeAmount BQ’mdh

### BAEDAMRSEOffPeakUpwardFailureSurchargeAmount BQ’mdh

- IF

- EDAMOffPeakNetExportTransferQuantity mdh = 0

- THEN

### BAEDAMRSEOffPeakUpwardFailureSurchargeAmount BQ’mdh = 0

- ELSE

### BAEDAMRSEOffPeakUpwardFailureSurchargeAmount BQ’mdh = 	BAEDAMRSEOffPeakUpwardTier1FailureSurchargeAmount BQ’mdh + 	BAEDAMRSEOffPeakUpwardTier2FailureSurchargeAmount BQ’mdh + 	BAEDAMRSEOffPeakUpwardTier3FailureSurchargeAmount BQ’mdh

- Off-Peak Tier 1:

### BAEDAMRSEOffPeakUpwardTier1FailureSurchargeAmount BQ’mdh = BAEDAMEntityFlag 	BQ’md * (BAAEDAMRSEOffPeakUpwardFailureSurchargeTier1Flag Q’mdh * 0)

- Implementation Note: A Tier 1 upward failure is a de minimis failure, thus the EDAM RSE Off-Peak Upward Failure Insufficiency Surcharge will be set to 0.

### BAAEDAMRSEOffPeakUpwardFailureSurchargeTier1Flag Q’mdh =

IF

BAAEDAMRSEOffPeakHourlyUpwardDeficiencyQuantity Q’mdh <= 	BAAHourlyOffPeakIRUReqThresholdQuantity Q'mdh

THEN

BAAEDAMRSEOffPeakUpwardFailureSurchargeTier1Flag Q’mdh = 1

ELSE

BAAEDAMRSEOffPeakUpwardFailureSurchargeTier1Flag Q’mdh = 0

### BAAHourlyOffPeakIRUReqThresholdQuantity Q'mdh = Sum over (A, A’, Q, p) (1 – 	RSEPeakHourFlag mdh) * Max (10, .01* BAAHourlyIRUReqQty Q'AA’Qpmdh)

### BAAHourlyOffPeakIRUReqQuantity Q'mdh = Sum over (A, A’, Q, p) (1 – RSEPeakHourFlag mdh) * BAAHourlyIRUReqQty Q'AA’Qpmdh

Off-Peak Tier 2:

### BAEDAMRSEOffPeakUpwardTier2FailureSurchargeAmount BQ’mdh =

- BAEDAMEntityFlag BQ’md * (BAAEDAMRSEOffPeakUpwardFailureSurchargeTier2Flag 	Q’mdh *	BAAEDAMRSEOffPeakHourlyUpwardDeficiencyQuantity Q’mdh * 	BAAEDAMAverageLAPLMP 	Q’mdh  * EDAMRSEFailureMultiplierTier2Ratio)

### BAAEDAMRSEOffPeakUpwardFailureSurchargeTier2Flag Q’mdh =

IF

BAAEDAMRSEOffPeakHourlyUpwardDeficiencyQuantity Q’mdh > 	BAAHourlyOffPeakIRUReqThresholdQuantity Q'mdh

AND

BAAEDAMRSEOffPeakHourlyUpwardDeficiencyQuantity Q’mdh <= .5 * 	BAAHourlyOffPeakIRUReqQuantity Q'mdh

THEN

BAAEDAMRSEOffPeakUpwardFailureSurchargeTier2Flag Q’mdh = 1

ELSE

BAAEDAMRSEOffPeakUpwardFailureSurchargeTier2Flag Q’mdh = 0

Off-Peak Tier 3:

### BAEDAMRSEOffPeakUpwardTier3FailureSurchargeAmount BQ’mdh =

- BAEDAMEntityFlag BQ’md * (BAAEDAMRSEOffPeakUpwardFailureSurchargeTier3Flag 	Q’mdh * BAAEDAMRSEOffPeakHourlyUpwardDeficiencyQuantity Q’mdh * 	BAAEDAMAverageLAPLMP 	Q’mdh * EDAMRSEFailureMultiplierTier3Ratio)

### BAAEDAMRSEOffPeakUpwardFailureSurchargeTier3Flag Q’mdh =

IF

BAAEDAMRSEOffPeakHourlyUpwardDeficiencyQuantity Q’mdh > .5 * 	BAAHourlyOffPeakIRUReqQuantity Q'mdh

THEN

BAAEDAMRSEOffPeakUpwardFailureSurchargeTier3Flag Q’mdh = 1

ELSE

BAAEDAMRSEOffPeakUpwardFailureSurchargeTier3Flag Q’mdh = 0

### The following formulas apply to the calculation of the EDAM RSE Downward Failure Insufficiency Surcharge.

### EDAMAreaRSEDownwardFailureSurchargeAmount mdh = Sum (B, Q’) 	BAEDAMRSEDownwardFailureSurchargeSettlementAmount BQ’mdh

### BAEDAMRSEDownwardFailureSurchargeSettlementAmount BQ’mdh

### IF

### EDAMNetImportTransferQuantity mdh = 0

### THEN

BAEDAMRSEDownwardFailureSurchargeSettlementAmount BQ’mdh = 0

ELSE

BAEDAMRSEDownwardFailureSurchargeSettlementAmount BQ’mdh =  EDAMAreaRSEHourlyDownwardDeficiencyFlag mdh * BAEDAMRSEDownwardFailureSurchargeAmount BQ’mdh

### BAEDAMRSEDownwardFailureSurchargeAmount BQ’mdh =

IF

BAAEDAMRSEHourlyDownwardDeficiencyQuantity Q’mdh > 10

THEN

BAEDAMRSEDownwardFailureSurchargeAmount BQ’mdh = BAEDAMEntityFlag BQ’md * (Max (0, (BAAEDAMRSEHourlyDownwardDeficiencyQuantity Q’mdh * HourlyDABAAMECPrc Q'mdh )))

ELSE

- BAEDAMRSEDownwardFailureSurchargeAmount BQ’mdh = 0

### BAAEDAMRSEHourlyDownwardDeficiencyQuantity Q’mdh =

#### Max(0, BAAEDAMRSEHourlyEnergyDownwardDeficiencyQty Q’mdh) +					Max (0, BAAEDAMHourlyRegDownDeficiencyQty Q’mdh)

## Outputs

| Output Req ID | Name | Description |
| --- | --- | --- |
| 1 | RSEHourlySurchargeSettlementAmount BQ’mdh | The total RSE surcharge amount to be charged to either CAISO SCs or EDAM Entity SCs. ($) |
| 2 | BARSEHourlySurchargeSettlementAmount BQ’mdh | The RSE surcharge settlement amount to be charged to the scheduling coordinator operating within the CAISO BAA, based on its pro rata share of metered demand. ($) |
| 3 | BAMeteredDemandRatio BQ’mdh | The Scheduling Coordinators’ pro rata share of metered demand in the CAISO BAA. |
| 4 | BAAMeteredDemandQuantity Q’mdh | The total metered demand of the BAA by hour within the trade date. (MW) |
| 5 | BAAEDAMRSESurchargeAmount Q’mdh | The total RSE surcharge amount assessed to the EDAM BAA. ($) |
| 6 | BABAAEDAMRSESurchargeSettlementAmount BQ’mdh | The total RSE surcharge amount assessed to the EDAM Entity, excluding the CAISO BAA. ($) |
| 7 | BAEDAMRSESurchargeAmount BQ’mdh | The sum of upward and downward failure surcharge amounts. ($) |
| 8 | BAEDAMRSEUpwardSurchargeSettlementAmount BQ’mdh | The sum of upward on- and off-peak surcharge settlement amounts. At least one BAA must pass the RSE upward test within the hour to yield a non-zero amount. |
| 9 | - BAEDAMRSEOnPeakUpwardAdjustedFailureSurchargeAmount BQ’mdh | The RSE surcharge amount for on-peak upward failures less any credit amounts for hours in which the BAA passed the RSE upward test for that trade date. ($) |
| 10 | - BAEDAMRSEMaxAllHoursOnPeakUpwardFailureSurchargeAmount Q’mdh | The maximum hourly RSE failure assessment amount duplicated across all hours of the trade date. ($) |
| 11 | - BAEDAMRSEMaxOnPeakUpwardFailureSurchargeAmount Q’md | For the on-peak period of the trade date, the maximum hourly RSE failure assessment amount. ($) |
| 12 | - BAEDAMRSEOnPeakUpwardFailureSurchargeAmount Q’mdh | For each hour of the on-peak period of the trade date, the RSE failure assessment amount. ($) |
| 13 | - EDAMOnPeakHourlyMaxHubPrice mdh | The maximum hourly hub price, derived based on the greater of the published bilateral electric index prices for the applicable EDAM Trade Location. |
| 14 | BAEDAMRSEDownwardFailureSurchargeAmount BQ’mdh | The RSE surcharge amount for downward failures. |
| 15 | BAEDAMRSEOffPeakUpwardFailureSurchargeAmount BQ’mdh | The RSE surcharge amount for off-peak upward failures. |
| 16 | EDAMRSETier2FailureMultiplier Q’md | The failure multiplier for assessing Tier 2 on-peak failure surcharges, equivalent to 1.25 * the scaling factor penalty for consecutive days with tier 2 failures (up to 30 days). |
| 17 | EDAMRSEFailureScalingFactorRate Q’md | Adder to the EDAM RSE Failure Multiplier calculated on a rolling basis to account for hours in which a BAA in the EDAM Area persistently fails the EDAM RSE in the upward direction over the preceding thirty days. The EDAM RSE Failure Scaling Factor adds one percent to the EDAM RSE Failure Multiplier for every additional day during the preceding thirty-day period in which the BAA experienced a tier 2 or tier 3 failure of the EDAM RSE in the upward direction. |
| 18 | BAADayPersistentFailureQuantity_V Q’md | View of how many days within the last 30 days the EDAM BAA failed at least one hour of the RSE upward test during on-peak hours. |
| 19 | BAAHourlyPeakIRUThresholdReqQuantity Q'mdh | IRU requirement threshold quantity, calculated as the maximum of either 10 or 0.1 times the hourly BAA IRU requirement. (MW) |
| 20 | BAAHourlyPeakIRUReqQuantity Q’mdh | The hourly BAA IRU requirement without additional attributes. (MW) |
| 21 | EDAMOnPeakHourlyHubPrice Zmdh | The EDAM BAA on-peak hourly hub price without the additional attribute. ($/MWh) |
| 22 | EDAMRSETier3FailureMultiplier Q’md | The failure multiplier for assessing Tier 3 on-peak failure surcharges, equivalent to 2.0 * the scaling factor penalty for consecutive days with tier 2 failures (up to 30 days). |
| 23 | BAAEDAMRSEOnPeakUpwardCreditAmount Q’mdh | The product of the highest EDAM RSE Hourly Upward Deficiency Quantity of the day and the load-weighted average LMP of the LAP within that BAA in each passed hour. The EDAM RSE On-Peak Upward Credit amount for each hour the BAA satisfied all of the upward components of the EDAM RSE. |
| 24 | ### BAAEDAMRSEOnPeakUpwardFailureSurchargeTierEvaluation Q’mdh | The tier evaluation for RSE upward test failures in on-peak hours, based on the deficiency quantity in relation to the IRU requirement. |
| 25 | BAAEDAMAverageLAPLMP Q’mdh | The average LMP of the LAP within that BAA in each passed hour. ($/MWh) |
| 26 | BAARSEHourlyTotalNodalLAPAmount Q’mdh | The total hourly LAP amount by BAA. ($) |
| 27 | BAAMeteredDemandQuantity Q’mdh | The BAA metered demand quantity, dropping the business associate ID attribute. |
| 28 | BAAEDAMRSEMaxHourlyUpwardDeficiencyQuantity Q’mdh | The maximum EDAM RSE hourly upward deficiency quantity of the trade date, duplicated across the 16-hour peak period. (MW) |
| 29 | BAAEDAMRSEMaxDailyPeakUpwardDeficiencyQuantity Q’md | The maximum EDAM RSE hourly upward deficiency quantity of the on-peak period of the trade date. (MW) |
| 30 | - BAEDAMRSEOffPeakUpwardTier1FailureSurchargeAmount BQ’mdh | The RSE surcharge amount for off-peak upward failures in Tier 1. |
| 31 | BAEDAMRSEOffPeakUpwardTier2FailureSurchargeAmount BQ’mdh | The RSE surcharge amount for off-peak upward failures in Tier 2. |
| 32 | BAEDAMRSEOffPeakUpwardTier3FailureSurchargeAmount BQ’mdh | The RSE surcharge amount for off-peak upward failures in Tier 3. |
| 33 | BAAEDAMRSEOffPeakUpwardFailureSurchargeTier1Flag Q’mdh | An off-peak failure in which the BAA failure is de minimis defined as the higher of 10 MW or an amount less than or equal to one percent of the BAA’s upward IR Requirement for that hour. A value of 1 indicates failure and a value of 0 indicates pass. |
| 34 | BAAHourlyOffPeakIRUReqThresholdQuantity Q’mdh | IRU requirement threshold quantity during off-peak hours, calculated as the maximum of either 10 or 0.1 times the hourly BAA IRU requirement. (MW) |
| 35 | BAAHourlyOffPeakIRUReqQuantity Q'mdh | The off-peak hourly IRU requirement without additional attributes. (MW) |
| 36 | BAAEDAMRSEOffPeakUpwardFailureSurchargeTier2Flag Q’mdh | An off-peak tier 2 failure in which a BAA failure is above the de minimis failure amount and is less than or equal to fifty percent of the BAA’s upward IR requirement. The EDAM RSE Off-Peak Upward Failure Insufficiency Surcharge will be calculated for tier 2 failures. A value of 1 indicates failure and a value of 0 indicates pass. |
| 37 | BAAEDAMRSEOffPeakUpwardFailureSurchargeTier3Flag Q’mdh | An off-peak tier 3 failure in which the BAA failure is greater than fifty percent of the BAA’s upward IR requirement. The EDAM RSE Off-Peak Upward Failure Insufficiency Surcharge will be calculated. A value of 1 indicates failure and a value of 0 equals pass. |
| 38 | BAAEDAMRSEPeakHourlyUpwardDeficiencyQuantity Q’mdh | The total amount of upward deficiency for each peak hour. (MW) |
| 39 | BAAEDAMRSEOffPeakHourlyUpwardDeficiencyQuantity Q’mdh | The total amount of upward deficiency for each off-peak hour. (MW) |
| 40 | BAAEDAMRSEHourlyUpwardDeficiencyQuantity Q’mdh | The total amount of upward deficiency for each hour, taking the sum of energy, IRU, regulation up, spin, and non-spin deficiency quantities. (MW) |
| 41 | BAAEDAMRSEHourlyDownwardDeficiencyQuantity Q’mdh | The total amount of downward deficiency for each hour, taking the sum of energy, IRD, and regulation down deficiency quantities. (MW) |
| 42 | BAEDAMRSEDownwardFailureSurchargeSettlementAmount BQ’mdh | The downward surcharge settlement amounts. At least one BAA must pass the RSE downward test within the hour to yield a non-zero amount. |

# Charge Code Effective Dates

| Charge Code/ Pre-calc Name | Document Version | Effective Start Date | Effective End Date | Version Update Type |
| --- | --- | --- | --- | --- |
| CC 8080 – Resource Sufficiency Evaluation Surcharge Settlement | 6.0 | 5/1/26 | Open | Configuration impacted |