Settlements and Billing

Configuration Guide: CG CC 64740 Real-Time Unaccounted for EIM Energy Settlement v5.2

CC 64740

Version 5.2

Table of Contents

1.	Purpose of Document	3

2.	Introduction	3

2.1	Background	3

2.2	Description	4

3.	Charge Code Requirements	5

3.1	Business Rules	5

3.2	Predecessor Charge Codes	6

3.3	Successor Charge Codes	6

3.4	Inputs - External Systems	7

3.5	Inputs - Predecessor Charge Codes or Pre-calculations	7

3.6	CAISO Formula	9

3.7	Outputs	13

4.	Charge Code Effective Date	15

# Purpose of Document

The purpose of this document is to capture the requirements and design specification for a Charge Code in one document.

## Introduction

## Background

The CAISO calculates and accounts for Imbalance Energy for each Dispatch Interval and settles Imbalance Energy for each Settlement Interval for each resource within the EIM Area and all System Resources Dispatched in Real-Time.

Imbalance Energy consists of following:

- IIE –  instructed imbalance energy

  - FMM Instructed Imbalance Energy Settlement (CC 6460)

  - FMM Instructed Imbalance Energy EIM Settlement (CC 64600)

  - RTD Instructed Imbalance Energy Settlement (CC 6470)

  - RTD Instructed Imbalance Energy EIM Settlement (CC 64700)

- UIE – Uninstructed Imbalance Energy

  - Real Time Uninstructed Imbalance Energy Settlement (CC 6475)

  - Real Time Uninstructed Imbalance Energy EIM Settlement (CC 64750)

- UFE – Unaccounted for Energy

  - Real Time Unaccounted for Energy Settlement (CC 6474)

  - Real Time Unaccounted for Energy EIM Settlement (CC 64740)

- GHG - Greenhouse Gas Emission Cost Revenue (CC 491)

To the extent that the sum of the Settlement Amounts for IIE, UIE, and UFE does not equal zero within the CAISO Balancing Authority Area, the CAISO will assess Charges or make Payments in Real Time Imbalance Energy Offset (CC 6477) and in Real Time Imbalance Energy Offset EIM (CC 64770)for the resulting differences to all Scheduling Coordinators based on a pro rata share of their Measured Demand for the relevant Settlement Interval. To the extent that the sum of the Settlement Amounts for IIE, UIE, UFE, and GHG does not equal zero within the EIM Balancing Authority Area, the CAISO will assess Charges or make Payments in Real Time Imbalance Energy Offset EIM (CC 64770)for the resulting differences to EIM Entity Scheduling Coordinator ID, respectively.

In the Real-Time Market, the negative and positive Congestion Charges associated with a valid post-Day-Ahead TOR and ETC schedule change (including changes submitted to the Hour-Ahead Scheduling Process and changes submitted closer to Real-Time where allowed by the contract) will be reversed in CC 6788 RTM Congestion Credit Settlement. Because Congestion Charges are implicitly collected by the CAISO in the Real-Time settlement and there are no holders of rights to receive Real-Time Congestion revenues, all charges for Real-Time Congestion will be accumulated in special and separate Balancing Authority Area neutrality accounts.  The CAISO Real-Time Congestion Charges less Virtual Bid Adjustment shall be distributed back to non-ETC Control Area metered Demand and exports in Real Time Congestion Offset (CC 6774).  The EIM Balancing Authority Area Real-Time Congestion Charges shall be distributed to the applicable EIM Entity Scheduling Coordinator in Real Time Congestion Offset EIM (CC 67740).

## Description

In line with CAISO tariff, the CAISO shall calculate and account for Imbalance Energy and UFE for each  Settlement Interval.  For each Settlement Interval the CAISO shall settle Imbalance Energy in the Real-Time Market for each resource within the CAISO Control Area and all System Resources Dispatched in Real-Time.  Imbalance Energy consists of Instructed Imbalance Energy (IIE), Uninstructed Imbalance Energy (UIE), and the pre-dispatched Energy associated with HASP-established Intertie Schedules (i.e., intertie Energy pre-dispatched with the Hour Ahead Scheduling Process).  Additionally, the CAISO shall settle UFE as part of the Real-Time Market Settlements.  To the extent that the sum of the Settlement Amounts for IIE (CC 6470), HASP pre-dispatched Energy (CC 6051), UIE (CC 6475), and UFE (CC 6474) do not equate to 0, the CAISO will assess Charges or make Payments for the resulting differences to all Scheduling Coordinators based on a pro-rata share of their Metered Demand for the relevant Settlement Interval.  The latter cost reconciliation shall be performed in a downstream charge code process, CC 6477 - RT Imbalance Energy Offset

The CC 6474 configuration (as stipulated in this document) provides for the calculation of UFE and its cost allocation to SCs.  As stated in the CAISO Tariff, for each Settlement Interval, the CAISO will calculate UFE in the CAISO Control Area, and for each Utility Service Area for which the IOU or Local Public-Owned Electric Utility has requested separate UFE calculation and has met the requirements applicable to a CAISO Metered Entity.  The UFE will be settled as Imbalance Energy at the applicable Settlement Interval Locational Marginal Price calculated for each Utility Service Area for which UFE is calculated separately.  UFE – attributable to meter measurement errors, Load profile errors, Energy theft, and distribution loss deviations – will be allocated to each Scheduling Coordinator (SC) based on the ratio of the SC’s metered CAISO Demand excluding that portion of Demand of Non-Generator Resources dispatched as Regulation Energy through Regulation Energy Management within the relevant Utility Service Area for which UFE is calculated separately to (divided by) the total metered CAISO Demand excluding that portion of Demand of Non-Generator Resources dispatched as Regulation Energy through Regulation Energy Management within the relevant Utility Service Area.

# Charge Code Requirements

## Business Rules

| Bus Req ID | Business Rule |
| --- | --- |
|  | The Real Time Unaccounted for Energy EIM Settlement (CC 64740) configuration shall apply to each EIM Entity Scheduling Coordinator who has metered Demand in the EIM Entity Balancing Authority Area and has met the requirements applicable to a CAISO Metered Entity. |
|  | This Charge Code shall be computed daily on a 5-minute Settlement Interval basis. |
|  | The Real Time Unaccounted for Energy EIM Settlement (CC 64740) configuration shall both calculate EIM UFE for a EIM Entity Balancing Authority Area and allocate its cost to EIM Entity SCs who have metered Demand excluding that portion of Demand of Non-Generator Resources dispatched as Regulation Energy through Regulation Energy Management from the Utility Service Area. |
|  | A flag shall be used in the design to identify input data that pertains to a EIM Entity for which the EIM UFE calculations shall be performed. |
|  | The MSS Netting Pre-calculation configuration is expected to provide Metered Demand outputs for the EIM UFE calculation. (Reference) |
|  | The CC 64740 configuration shall calculate EIM UFE as the difference of all generation (from Generators, Non-Generator Resource, and Imports) and Demand (from Loads and Exports) adjusted for transmission losses. |
|  | Meter data shall be provided for all Generation sources and Demand sinks, except in the case of import Energy or Export Energy where a meter device is not provided or is inadequate for determining UFE. |
|  | Each EIM Entity Balancing Authority Area shall elect for all of its associated interties with adjacent balancing authorities areas whether the UFE calculation use meter or net schedules for intertie values. |
|  | Meter option: When CAISO meter data is available for an intertie, the CC 6474 UFE calculation shall reflect the meter data in its UFE determination as Energy entering (import) or leaving (export) the EIM Entity Balancing Authority Area through the associated intertie. |
|  | Meter option: When CAISO meter data is unavailable for an intertie, the CC 6474 UFE calculation shall employ Hourly Real-Time Checked Out Intertie values to calculate the total quantity of Energy flowing through the intertie and apply the calculated value in the CC 64740 EIM UFE determination as Energy entering (import) or leaving (export) the EIM Entity Balancing Authority Area through the associated intertie. |
|  | Net Schedule Option: When Net Schedule Option is elected, the CC 64740 EIM UFE calculation shall treat the submitted schedules as meter data for the associated intertie. The calculation shall reflect Energy entering (import) or leaving (export) the EIM Entity Balancing Authority Area. |
|  | The intertie reading shall include Energy attributable to TG resources. |
|  | The CC 64740 calculation shall receive transmission loss data that is considered to reflect “actual” transmission losses, as the loss data is determined from real-time market software based on actual power grid network conditions. |
|  | UFE for an EIM Entity Balancing Authority Area shall be allocated to the associated EIM Entity SC. |
|  | The allocated UFE settlement amount per EIM Entity Balancing Authority Area is derived as the product of – the total EIM Entity Balancing Authority Area UFE and the Service Area’s Locational Marginal Price (LMP). |
|  | Actual SCs are referenced by Business Associate ID, and CAISO shall settle with Business Associates (BA) through these IDs. |
|  | The formulas herein adopt the convention that payments made by CAISO to BAs will be negative, while payments received by the CAISO from BAs (charges to BAs) will be positive. (In other words, the signs reflect the flow of money from the point of view of the CAISO.) |
|  | When an eligible resource has an interval with a negative MWh meter, CAISO will not charge for the energy of those intervals. |

## Predecessor Charge Codes

Charge Code/ Pre-calc Name

Real Time Price Pre-calculation

Measured Demand Over Control Area Pre-calculation

MSS Netting Pre-calculation

Real Time Energy Quantity Pre-calculation

## Successor Charge Codes

Charge Code/ Pre-calc Name

CC 64770 – Real Time Imbalance Energy Offset

CC 67740 – Real Time Congestion Offset

## Inputs - External Systems

| Row # | Variable Name | Description |
| --- | --- | --- |
| 1. | RTED_Transmission_Loss uT’I’Q’M’W’VL’mdhcif | Real-time Transmission Loss quantity (in MW) (typically represented as a negative value), calculated using Full Network Model and real time energy flow. |
| 2. | UFE_InclusionFlag umd | Flag value that indicates whether the calculations of the CC 6474 Real-Time Unaccounted-for-Energy Settlement configuration apply to EIM Entity Balancing Authority Area. When the UFE_InclusionFlag umd value is ‘1’, the CC 6474 calculation shall be performed. Likewise, when the flag value is ‘0’, the CC 6474 calculation shall not be performed. |
| 3 | TIEHourlyCheckedOutInterchangeQuantity rtuT’I’Q’m’M’W’F’S’VL’mdh | The input represents the final (Real Time) Checked Out Hourly Interchange Actual Flow quantity (in MW) for non-polled Interties (in MW) provided by CAS. UDC/MSS export quantities are represented as negative values, while UDC/MSS import quantities are represented as positive values. |

## Inputs - Predecessor Charge Codes or Pre-calculations

| Row # | Variable Name | Predecessor Charge Code/ Pre-calc Configuration |
| --- | --- | --- |
| 1 | HourlyUFEUDCLMP umdh | An output from the Real Time Price Pre-calculation.It is the specific UFE price applied to applicable UDC. |
| 2 | BASettlementIntervalResEntityEIMEntityMeteredGenerationQuantity BrtuT’I’Q’M’AA’F’R’pPW’QS’d’Nz’VvHn’L’mdhcif | An output from the MSS Netting Pre-calculation, the EIM BAA metered Generation (represented as a positive value) of resources associated to an EIM Entity. |
| 3 | BASettlementIntervalResEIMEntityMeterLoadQuantity BrtuT’I’Q’M’AA’F’R’pPW’QS’d’Nz’VvHn’L’mdhcif | Resource meter of all load resources within EIM Entity Balancing Authority Area. |
| 4 | TieSettlementIntervalEIMEntityMeteredImportQuantity rtuT’I’Q’M’W’VL’mdhcif | An output from the MSS Netting Pre-calculation, the TieSettlementIntervalMeteredImportQuantity rtuT’I’M’W’VL’mdhcif (represented as a positive value) is the meter quantity (in MWh) for import Energy from either an UDC/MSS intratie or external intertie |
| 5 | TieSettlementIntervalEIMEntityMeteredExportQuantity rtuT’I’Q’M’W’VL’mdhcif | An output from the MSS Netting Pre-calculation, the TieSettlementIntervalMeteredExportQuantity rtuT’I’M’W’VL’mdhcif (represented as a negative value) is the meter quantity (in MWh) for export Energy from either an UDC/MSS intratie or external intertie |
| 6 | ResourceWholesaleExemptionFlag rmdhcif | Real Time Energy Pre-calculation |

## CAISO Formula

The 5-minute settlement of UFE Energy for each EIM Entity Scheduling Coordinator by EIM Entity Balancing Authority Area is derived according to the formulation below.

    - BASettlementIntervalEIMBAAUFEPrice BuQ’mdhcif

BASettlementIntervalEIMBAAUFEPrice BuQ’mdhcif  = BA_EIMBAA_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuQ’mdhcif /BASettlementIntervalEIMBAAUFEQuantity BuQ’mdhcif

    - BASettlementIntervalEIMBAAUFEQuantity BuQ’mdhcif

IF

EIMBAATotalSettlementIntervalGrossMeteredDemandControlForUFE BuQ’mdhcif <> 0

THEN

BASettlementIntervalEIMBAAUFEQuantity BuQ’mdhcif =

T' (EIMBAASettlementIntervalUFEQuantity uQ’mdhcif  *

(BAEIMBAASettlementIntervalMeteredDemand BuT’Q’mdhcif /

EIMBAATotalSettlementIntervalGrossMeteredDemandControlForUFE BuT’Q’mdhcif ))

ELSE

BASettlementIntervalEIMBAAUFEQuantity BuQ’mdhcif = 0

    - BA_EIMBAA_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuQ’mdhcif

IF

EIMBAATotalSettlementIntervalGrossMeteredDemandControlForUFE uQ’mdhcif <> 0

THEN

BA_EIMBAA_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuQ’mdhcif =

T' (EIMBAASettlementIntervalUFEAmount uQ’mdhcif  *

(BAEIMBAASettlementIntervalMeteredDemand BuT’Q’mdhcif /

EIMBAATotalSettlementIntervalGrossMeteredDemandControlForUFE uT’Q’mdhcif ))

ELSE

BA_EIMBAA_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuQ’mdhcif = 0

### EIMBAASettlementIntervalUFEAmount uQ’mdhcif

EIMBAASettlementIntervalUFEAmount uQ’mdhcif =

EIMBAASettlementIntervalUFEQuantity uQ’mdhcif * HourlyUFEUDCLMP umdhcif

### EIMBAASettlementIntervalUFEQuantity uQ’mdhcif

- EIMBAASettlementIntervalUFEQuantity uQ’mdhcif =

- T' ( EIMBAA_Import_Quantity uT’Q’mdhcif +

- EIMBAA_Generation_Quantity uT’Q’mdhcif +

- EIMBAA_Load_Quantity uT’Q’mdhcif +

- EIMBAA_Export_Quantity uT’Q’mdhcif +

- EIMBAASettlementIntervalActualTransmissionLoss uT’Q’mdhcif )

### EIMBAA_Import_Quantity uT’Q’mdhcif =

EIMBAA_Import_Quantity uT’Q’mdhcif =

SettlementIntervalMeteredEIMBAAImportQuantity uT’Q’mdhcif + SettlementIntervalNonMeteredEIMBAAImportQuantity uT’Q’mdhcif

### SettlementIntervalMeteredEIMBAAImportQuantity uT’Q’mdhcif =

SettlementIntervalMeteredEIMBAAImportQuantity uT’Q’mdhcif =

rtI'M'WVL' (UFE_InclusionFlag umd * TieSettlementIntervalEIMEntityMeteredImportQuantity rtuT’I’Q’M’W’VL’mdhcif)

### SettlementIntervalNonMeteredEIMBAAImportQuantity uT’Q’mdhcif

SettlementIntervalNonMeteredEIMBAAImportQuantity uT’Q’mdhcif =

rtI'm'M'W'F'S'VL' (UFE_InclusionFlag umd *

TIEHourlyCheckedOutInterchangeQuantity rtuT’I’Q’m’M’W’F’S’VL’mdh) / 12

Where

m’ = ‘4’, Q’<> ‘CISO’

noting that TIEHourlyCheckedOutInterchangeQuantity rtuT’I’Q’m’M’W’F’S’VL’mdh is divided by 12 for frequency conversion

### EIMBAA_Generation_Quantity uT’Q’mdhcif

EIMBAA_Generation_Quantity uT’Q’mdhcif =

- BrtI'M'AA'F'R'pPW'QS'd'Nz'VvHn'L'(UFE_InclusionFlag umd * (1- ResourceWholesaleExemptionFlag rmdhcif )* BASettlementIntervalResEntityEIMEntityMeteredGenerationQuantity BrtuT’I’Q’M’AA’F’R’pPW’QS’d’Nz’VvHn’L’mdhcif)

### EIMBAA_Load_Quantity uT’Q’mdhcif

EIMBAA_Load_Quantity uT’Q’mdhcif =

BrtI'M'AA'F'R'pPW'QS'd'Nz'VvHn'L'(UFE_InclusionFlag umd * BASettlementIntervalResEIMEntityMeterLoadQuantity BrtuT’I’Q’M’AA’F’R’pPW’QS’d’Nz’VvHn’L’mdhcif)

### EIMBAA_Export_Quantity uT’Q’mdhcif

EIMBAA_Export_Quantity uT’Q’mdhcif =

SettlementIntervalMeteredEIMBAAExportQuantity uT’Q’mdhcif + SettlementIntervalNonMeteredEIMBAAExportQuantity uT’Q’mdhcif

### SettlementIntervalMeteredEIMBAAExportQuantity uT’Q’mdhcif

SettlementIntervalMeteredEIMBAAExportQuantity uT’Q’mdhcif =

rtI'M'WVL'(UFE_InclusionFlag umd * TieSettlementIntervalEIMEntityMeteredExportQuantity rtuT’I’Q’M’W’VL’mdhcif)

### SettlementIntervalNonMeteredEIMBAAExportQuantity uT’Q’mdhcif

SettlementIntervalNonMeteredEIMBAAExportQuantity uT’Q’mdhcif =

rtI'm'M'W'F'S'VL'(UFE_InclusionFlag umd *

TIEHourlyCheckedOutInterchangeQuantity rtuT’I’Q’m’M’W’F’S’VL’mdh) / 12

Where

m’ = ‘1’, Q’ <> ’CISO’

noting that TIEHourlyCheckedOutInterchangeQuantity rtuT’I’Q’m’M’W’F’S’VL’mdh is divided by 12 for frequency conversion

### EIMBAASettlementIntervalActualTransmissionLoss uT’Q’mdhcif

EIMBAASettlementIntervalActualTransmissionLoss uT’Q’mdhcif =

I'M'WVL'

(UFE_InclusionFlag umd * RTED_Transmission_Loss uT’I’M’W’VL’mdhif) / 12

Where Q’ <> ‘CISO’

### BAEIMBAASettlementIntervalMeteredDemand BuT’Q’mdhcif

BAEIMBAASettlementIntervalMeteredDemand BuT’Q’mdhcif =

rtI'M'AA'F'R'pP

W'QS'd'Nz'VvHn'L' (UFE_InclusionFlag umd *

- BASettlementIntervalResEIMEntityMeterLoadQuantity BrtuT’I’Q’M’AA’F’R’pPW’QS’d’Nz’VvHn’L’mdhcif)

### EIMBAATotalSettlementIntervalGrossMeteredDemandControlForUFE uT’Q’mdhcif

EIMBAATotalSettlementIntervalGrossMeteredDemandControlForUFE uT’Q’mdhcif =

- BBAEIMBAASettlementIntervalMeteredDemand BuT’Q’mdhcif

## Outputs

| Output Req ID | Name | Description |
| --- | --- | --- |
|  | In addition to any outputs listed below, all inputs shall be included as outputs. | All inputs. Refer to section 3.6 and 3.7 above for input descriptions. |
| 1 | BASettlementIntervalEIMBAAUFEPrice BuQ’mdhcif | Real Time Unaccounted for Energy Settlement price. |
| 2 | BASettlementIntervalEIMBAAUFEQuantity BuQ’mdhcif | Real Time Unaccounted for Energy Settlement quantity (in MWh) |
| 3 | BA_EIMBAA_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuQ’mdhcif | Real Time Unaccounted for Energy Settlement amount (in U.S. $). |
| 4 | EIMBAASettlementIntervalUFEAmount uQ’mdhcif | Total Settlement Interval EIMBAA UFE amount for EIM Entity |
| 5 | EIMBAASettlementIntervalUFEQuantity uQ’mdhcif | The calculated UFE quantity (in MWh) for a(n) EIM BAA. |
| 6 | EIMBAA_Import_Quantity uT’Q’mdhcif | The sum (in MWh) of meter quantities that corresponds to the import Energy from interties and intra-ties associated to a EIM BAA. |
| 7 | SettlementIntervalMeteredEIMBAAImportQuantity uT’Q’mdhcif | The sum (in MWh) of all Energy Imports that are metered by an intertie meter upon their entry into a EIM BAA |
| 8 | SettlementIntervalNonMeteredEIMBAAImportQuantity uT’Q’mdhcif | The sum (in MWh) of all Energy Imports entering a EIM BAA that are not metered by an intertie meter upon their entry. |
| 9 | EIMBAA_Generation_Quantity uT’Q’mdhcif | The sum (in MWh) of meter quantities that corresponds to the Energy produced internally in a EIM BAA. |
| 10 | EIMBAA_Load_Quantity uT’Q’mdhcif | The sum (in MWh) of meter quantities that corresponds to the Energy consumed internally in a EIM BAA. |
| 11 | EIMBAA_Export_Quantity uT’Q’mdhcif | The sum (in MWh) of meter quantities that corresponds to the export Energy from interties and intra-ties associated to a EIM BAA. |
| 12 | SettlementIntervalMeteredEIMBAAExportQuantity | The sum (in MWh) of all Energy Exports metered by an intertie meter upon their leaving a EIM BAA. |
| 13 | SettlementIntervalNonMeteredEIMBAAExportQuantity uT’Q’mdhcif | The sum (in MWh) of all Energy Exports leaving a EIM BAA that are not metered by an intertie meter. |
| 14 | EIMBAASettlementIntervalActualTransmissionLoss uT’Q’mdhcif | The calculated quantity (in MWh) of actual transmission line and facility losses associated with Energy scheduled for EIM BAA. |
| 15 | BAEIMBAASettlementIntervalMeteredDemand BuT’Q’mdhcif | The EIM BAA Total Gross Metered Demand quantity filtered for specified EIM Entities that are assessed UFE. |
| 16 | EIMBAATotalSettlementIntervalGrossMeteredDemandControlForUFE uT’Q’mdhcif | The EIM BAA Total Gross Metered Demand quantity. |

# Charge Code Effective Date

| Charge Code/ Pre-calc Name | Document Version | Effective Start Date | Effective End Date | Version Update Type |
| --- | --- | --- | --- | --- |
| EIM CG CC 64740 Real-Time Unaccounted for EIM Energy Settlement v5.2 | 5.0 | 10/01/14 | 3/31/15 | Documentation Edits Only |
| EIM CG CC 64740 Real-Time Unaccounted for EIM Energy Settlement v5.2 | 5.1 | 4/1/15 | 9/30/20 | Configuration Impact |
| EIM CG CC 64740 Real-Time Unaccounted for EIM Energy Settlement v5.2 | 5.2 | 10/1/20 | Open | Configuration Impact |