Settlements and Billing

Configuration Guide: CG CC 6474 Real-Time Unaccounted for Energy Settlement v5.6

CC 6474

Version 5.6

Table of Contents

1.	Purpose of Document	3

2.	Introduction	3

2.1	Background	3

2.2	Description	4

3.	Charge Code Requirements	5

3.1	Business Rules	5

3.2	Predecessor Charge Codes	6

3.3	Successor Charge Codes	7

3.4	Inputs - External Systems	8

3.5	Inputs - Predecessor Charge Codes or Pre-calculations	8

3.6	CAISO Formula	10

3.7	Outputs	16

4.	Charge Code Effective Date	17

# Purpose of Document

The purpose of this document is to capture the requirements and design specification for a Charge Code in one document.

# Introduction

## Background

The CAISO calculates and accounts for Imbalance Energy for each Dispatch Interval and settles Imbalance Energy for each Settlement Interval for each resource within the CAISO Control Area and all System Resources Dispatched in Real-Time.

Imbalance Energy consists of following:

- IIE –  Instructed Imbalance Energy

  - FMM Instructed Imbalance Energy Settlement (CC 6460)

  - RTD Instructed Imbalance Energy Settlement (CC 6470)

- UIE – Real Time Uninstructed Imbalance Energy Settlement (CC 6475)

- UFE – Real Time Unaccounted for Energy Settlement (CC 6474)

To the extent that the sum of the Settlement Amounts for IIE, UIE, and UFE does not equal zero, the CAISO will assess Charges or make Payments in Real Time Imbalance Energy Offset (CC 6477) for the resulting differences to all Scheduling Coordinators based on a pro rata share of their Measured Demand for the relevant Settlement Interval.

In the Real-Time Market, the negative and positive Congestion Charges associated with a valid post-Day-Ahead TOR and ETC schedule change (including changes submitted to the Hour-Ahead Scheduling Process and changes submitted closer to Real-Time where allowed by the contract) will be reversed in CC 6474 RT Instructed Imbalance Energy Settlement on the standard Real-Time 10-minute interval basis.  Because Congestion Charges are implicitly collected by the CAISO in the Real-Time settlement and there are no holders of rights to receive Real-Time Congestion revenues under the MRTU design, all charges for Real-Time Congestion will be accumulated in a special and separate neutrality account to be distributed back to non-ETC Control Area metered Demand and exports on a per-MWh basis in Real Time Congestion Offset (CC 6774).

## Description

In line with CAISO tariff, the CAISO shall calculate and account for Imbalance Energy and UFE for each Settlement Interval.  For each Settlement Interval the CAISO shall settle Imbalance Energy in the Real-Time Market for each resource within the CAISO Control Area and all System Resources Dispatched in Real-Time.  Imbalance Energy consists of Instructed Imbalance Energy (IIE), Uninstructed Imbalance Energy (UIE), and the pre-dispatched Energy associated with HASPestablished Intertie Schedules (i.e., intertie Energy pre-dispatched with the Hour Ahead Scheduling Process).  Additionally, the CAISO shall settle UFE as part of the Real-Time Market Settlements.  To the extent that the sum of the Settlement Amounts for IIE (CC 6470), UIE (CC 6475), and UFE (CC 6474) do not equate to 0, the CAISO will assess Charges or make Payments for the resulting differences to all Scheduling Coordinators based on a pro-rata share of their Metered Demand for the relevant Settlement Interval.  The latter cost reconciliation shall be performed in a downstream charge code process, CC 6477 - RT Imbalance Energy Offset

The CC 6474 configuration (as stipulated in this document) provides for the calculation of UFE and its cost allocation to SCs.  As stated in the CAISO Tariff, for each Settlement Interval, the CAISO will calculate UFE in the CAISO Control Area, and for each Utility Service Area for which the IOU or Local Public-Owned Electric Utility has requested separate UFE calculation and has met the requirements applicable to a CAISO Metered Entity.  The UFE will be settled as Imbalance Energy at the applicable Settlement Interval Locational Marginal Price calculated for each Utility Service Area for which UFE is calculated separately.  UFE – attributable to meter measurement errors, Load profile errors, Energy theft, and distribution loss deviations – will be allocated to each Scheduling Coordinator (SC) based on the ratio of the SC’s metered CAISO Demand excluding that portion of Demand of Non-Generator Resources dispatched as Regulation Energy through Regulation Energy Management within the relevant Utility Service Area for which UFE is calculated separately to (divided by) the total metered CAISO Demand excluding that portion of Demand of Non-Generator Resources dispatched as Regulation Energy through Regulation Energy Management within the relevant Utility Service Area.

# Charge Code Requirements

## Business Rules

| Bus Req ID | Business Rule |
| --- | --- |
|  | The Real Time Unaccounted for Energy Settlement (CC 6474) configuration shall apply to each Scheduling Coordinator who has metered CAISO Demand in either a Utility Service Area or MSS area for which the associated utility has requested separate UFE calculation and has met the requirements applicable to a CAISO Metered Entity. |
|  | This Charge Code shall be computed daily on a 5-minute Settlement Interval basis. |
|  | The Real Time Unaccounted for Energy Settlement (CC 6474) configuration shall both calculate UFE for a Utility Service Area and allocate its cost to SCs who have metered CAISO Demand excluding that portion of Demand of Non-Generator Resources dispatched as Regulation Energy through Regulation Energy Management from the Utility Service Area. |
|  | A flag shall be used in the design to identify input data that pertains to a UDC/MSS for which the UFE calculations shall be performed (because the UDC/MSS has requested the CAISO to perform a UFE calculation for the UDC/MSS). |
|  | The Measured Demand over Control Area configuration is expected to provide Metered Demand outputs for the UFE calculation that exempt Business Associates or combinations of Business Associates and resources from the UFE allocation and its associated UFE charge in accordance with transmission-related contracts. (Reference) |
|  | The CC 6474 configuration shall calculate UFE as the difference of all generation (from Generators, Non-Generator Resource, and Imports) and Demand (from Loads and Exports) adjusted for transmission losses. |
|  | Meter data shall be provided for all Generation sources and Demand sinks, except in the case of import Energy or Export Energy where a meter device is not provided or is inadequate for determining UFE. |
|  | For each intertie that connects a UDC or MSS to a CAISO-external Control Area, the CC 6474 configuration shall either receive an indication of whether or not UFE-applicable meter data exists. |
|  | When meter data is available for an intertie, the CC 6474 UFE calculation shall reflect the meter data in its UFE determination as Energy entering (import) or leaving (export) the UDC or MSS through the associated intertie. |
|  | When meter data is unavailable for an intertie, the CC 6474 UFE calculation shall employ Hourly Real-Time Checked Out Intertie values to calculate the total quantity of Energy flowing through the intertie and apply the calculated value in the CC 6474 UFE determination as Energy entering (import) or leaving (export) the UDC or MSS through the associated intertie. |
|  | The intertie meter reading shall include Energy attributable to TG resources. |
|  | The CC 6474 calculation shall receive transmission loss data that is considered to reflect “actual” transmission losses, as the loss data is determined from real-time market software based on actual power grid network conditions. |
|  | UFE for a Utility Service Area shall be allocated to each SC based on the ratio of the SC’s metered CAISO Demand excluding that portion of Demand of Non-Generator Resources dispatched as Regulation Energy through Regulation Energy Management within the relevant Utility Service Area for which UFE is calculated separately to (divided by) the total metered CAISO Demand excluding that portion of Demand of Non-Generator Resources dispatched as Regulation Energy through Regulation Energy Management within the relevant Utility Service Area. |
|  | The allocated UFE settlement amount per SC per Utility Service Area is derived as the product of 3 components – the total Service Area UFE, the ratio of the SC’s share of the Service Area UFE to the total Service Area UFE, and the Service Area’s Locational Marginal Price (LMP). |
|  | Actual SCs are referenced by Business Associate ID, and CAISO shall settle with Business Associates (BA) through these IDs. |
|  | The formulas herein adopt the convention that payments made by CAISO to BAs will be negative, while payments received by the CAISO from BAs (charges to BAs) will be positive. (In other words, the signs reflect the flow of money from the point of view of the CAISO.) |
|  | When an eligible resource has an interval with a negative MWh meter, CAISO will not charge for the energy of those intervals. |
|  | Excess Behind the Meter Production (EBTMP) is a new type of energy measurement entry which accounts for any excess energy injected into the distribution system from rooftop solar. EBTMP will be reported to CAISO separately from Gross Load in MRI-S using measurement type EBTMP. |
|  | The Load portion of Unaccounted for Energy (UFE) will be calculated as the product of Gross Load plus Excess Behind the Meter. |

## Predecessor Charge Codes

Charge Code/ Pre-calc Name

Real Time Price Pre-calculation

Measured Demand Over Control Area Pre-calculation

MSS Netting Pre-calculation

Real-Time Energy Pre-calculation

## Successor Charge Codes

Charge Code/ Pre-calc Name

CC 6477 – Real Time Imbalance Energy Offset

Real Time Congestion Pre-calculation

## Inputs - External Systems

| Row # | Variable Name | Description |
| --- | --- | --- |
| 1. | RTED_Transmission_Loss uT’I’Q’M’W’VL’mdhcif | Real-time Transmission Loss quantity (in MW) (typically represented as a negative value), calculated using Full Network Model and real time energy flow. |
| 2. | UFE_InclusionFlag umd | Flag value that indicates whether the calculations of the CC 6474 Real-Time Unaccounted-for-Energy Settlement configuration apply to UDC/MSS. When the UFE_InclusionFlag umd value is ‘1’, the CC 6474 calculation shall be performed. Likewise, when the flag value is ‘0’, the CC 6474 calculation shall not be performed. |
| 3 | TIEHourlyCheckedOutInterchangeQuantity rtuT’I’Q’m’M’W’F’S’VL’mdh | The input represents the final (Real Time) Checked Out Hourly Interchange Actual Flow quantity (in MW) for non-polled Interties (in MW) provided by ITS. UDC/MSS export quantities are represented as negative values, while UDC/MSS import quantities are represented as positive values. |
| 4 | BAResEntityDispatchIntervalEBTMPQty BrtuQ'mdhcif | Metered Energy quantity (in MWh) which accounts for any excess energy injected into the distribution system from rooftop solar, submitted as generation for a given resource and Dispatch Interval. |

## Inputs - Predecessor Charge Codes or Pre-calculations

| Row # | Variable Name | Predecessor Charge Code/ Pre-calc Configuration |
| --- | --- | --- |
| 1 | HourlyUFEUDCLMP umdh | An output from the Real Time Price Pre-calculation.It is the specific UFE price applied to applicable UDC. |
| 2 | UDCTotalSettlementIntervalGrossMeteredDemandControlAreaQty_Ex1 uT’I’M’W’VL’mdhcif | An output from the Measured Demand Over Control Area Pre-calculation, the UDCTotalSettlementIntervalGrossMeteredDemandControlAreaQty_Ex1 uT’I’M’W’VL’mdhcif (represented as a negative value) is the Total UDC Gross Metered Demand quantity over all Business Associates of a UDC/MSS.An exclusion of Energy is provided to Business Associates and resources that comprise Exceptions #1 as well as any Energy associated with TOR transmission rights. The input does not reflect the netting of MSS Generation with MSS Demand for net-settled MSS entities, as the input value is calculated on a gross-settled MSS or UDC basis. |
| 3 | BAUDCSettlementIntervalGrossMeteredDemandControlAreaQty_Ex1 BuT’I’M’W’VL’mdhcif | An output from the Measured Demand Over Control Area Pre-calculation, the BAUDCSettlementIntervalGrossMeteredDemandControlAreaQty_Ex1 BuT’I’M’W’VL’mdhcif (represented as a negative value) is the UDC Gross Metered Demand quantity for a Business Associate associated with its UDC/MSS over the CAISO Control Area for a settlement interval,s, with exclusion of Energy provided by Business Associates and resources that comprise Exceptions #1 as well as any Energy associated with TOR transmission rights. The input does not reflect the netting of MSS Generation with MSS Demand for net-settled MSS entities, as the input value is calculated on a gross-settled MSS or UDC basis. |
| 4 | BASettlementIntervalResCAISOMeteredGenerationQuantity BrtuT’I’Q’M’AA’R’pPW’Qd’Nz’VvHn’L’mdhcif | An output from the MSS Netting Pre-calculation, the BASettlementIntervalResCAISOMeteredGenerationQuantity BrtuT’I’Q’M’AA’R’pPW’Qd’Nz’VvHn’L’mdhcif input represents metered Generation (represented as a positive value) of resources associated to a UDC or MSS. |
| 5 | BAResEntitySettlementIntervalOMARChannel1LoadQuantity BrtuT’I’Q’M’AA’F’R’pPW’QS’d’Nz’VvHn’L’mdhcif | An output from MSS Netting Pre-calculation. CAISO metered Load (in MWh as a negative value) of load resources associated to a UDC or MSS. |
| 6 | TieSettlementIntervalCAISOMeteredImportQuantity rtuT’I’Q’M’W’VL’mdhcif | An output from the MSS Netting Pre-calculation, the TieSettlementIntervalCAISOMeteredImportQuantity rtuT’I’Q’M’W’VL’mdhcif (represented as a positive value) is the meter quantity (in MWh) for import Energy from either an UDC/MSS intratie or external intertie |
| 7 | TieSettlementIntervalCAISOMeteredExportQuantity rtuT’I’Q’M’W’VL’mdhcif | An output from the MSS Netting Pre-calculation, the TieSettlementIntervalCAISOMeteredExportQuantity rtuT’I’Q’M’W’VL’mdhcif (represented as a negative value) is the meter quantity (in MWh) for export Energy from either an UDC/MSS intratie or external intertie |
| 8 | ResourceWholesaleExemptionFlag rmdhcif | Real-Time Energy Pre-calculation |
| 9 | BAResDispatchEBTMPQuantity BrtuQ’Nz’mdhcif | MSS Netting Pre-calculation |

## CAISO Formula

The 10-minute settlement of UFE Energy for each Business Associate by Utility Service Area and MSS Subgroup is derived according to the formulation below.

Note: The following calculation is listed starting with the final charge calculation and progressively detailing the intermediate calculations and Settlement input.

    - Formula for UFE Settlement Price by BA, Service Area and Settlement Interval

BASettlementIntervalUDCUFEPrice BuM’mdhcif  = BA_UDC_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuM’mdhcif /BASettlementIntervalUDCUFEQuantity BuM’mdhcif

    - Formula for UFE Settlement Quantity by BA, Service Area and Settlement Interval

Where

BASettlementIntervalUDCUFEQuantity BuM’mdhcif =

IF

UDCTotalSettlementIntervalGrossMeteredDemandControlForUFE  uT’I’M’mdhcif <> 0

THEN

BASettlementIntervalUDCUFEQuantity BuM’mdhcif =

T'I'( CAISOUDCSettlementIntervalUFEQuantity uM’mdhcif *

(BAUDCSettlementIntervalGrossMeteredDemandForUFE  BuT’I’M’mdhcif /

UDCTotalSettlementIntervalGrossMeteredDemandControlForUFE  uT’I’M’mdhcif ))

ELSE

BASettlementIntervalUDCUFEQuantity BuM’mdhcif = 0

### CAISOUDCSettlementIntervalUFEQuantity

CAISOUDCSettlementIntervalUFEQuantity uM’mdhcif =

Q'  UDCSettlementIntervalUFEQuantity uQ’M’mdhcif

    - Formula for UFE Settlement Amount by BA, Service Area and Settlement Interval:

And Where (BA_UDC_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuM’mdhcif is defined as)

IF

UDCTotalSettlementIntervalGrossMeteredDemandControlForUFE uT’I’M’mdhcif <> 0

THEN

BA_UDC_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuM’mdhcif =

(UDCSettlementIntervalUFEAmount uM’mdhcif  * (BAUDCSettlementIntervalGrossMeteredDemandForUFE  BuT’I’M’mdhcif /

UDCTotalSettlementIntervalGrossMeteredDemandControlForUFE  uT’I’M’mdhcif ))

ELSE

BA_UDC_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuM’mdhcif = 0

### Where

UDCSettlementIntervalUFEAmount uM’mdhcif  =

(CAISOUDCSettlementIntervalUFEQuantity uM’mdhcif * HourlyUFEUDCLMP umdhcif )

### And Where

- UDCSettlementIntervalUFEQuantity uQ’M’mdhcif =

- T'I'W'VL'(UDC_Import_Quantity uT’I’Q’M’W’VL’mdhcif +

- UDC_Generation_Quantity uT’I’Q’M’W’VL’mdhcif +

- UDC_Load_Quantity uT’I’Q’M’W’VL’mdhcif +

- UDC_Export_Quantity uT’I’Q’M’W’VL’mdhcif +
UDCSettlementIntervalActualTransmissionLoss uT’I’Q’M’W’VL’mdhcif )

### Where UDC_Import_Quantity uT’I’Q’M’W’VL’mdhcif =

SettlementIntervalMeteredUDCImportQuantity uT’I’Q’M’W’VL’mdhcif + SettlementIntervalNonMeteredUDCImportQuantity uT’I’Q’M’W’VL’mdhcif

### Where SettlementIntervalMeteredUDCImportQuantity uT’I’Q’M’W’VL’mdhcif =

IF 
UFE_InclusionFlag umd  = 1

THEN

SettlementIntervalMeteredUDCImportQuantity uT’I’Q’M’W’VL’mdhcif =

rt TieSettlementIntervalCAISOMeteredImportQuantity rtuT’I’Q’M’W’VL’mdhcif

ELSE

SettlementIntervalMeteredUDCImportQuantity uT’I’Q’M’W’VL’mdhcif = 0

### And Where SettlementIntervalNonMeteredUDCImportQuantity uT’I’Q’M’W’VL’mdhcif =

IF 
UFE_InclusionFlag umd  = 1

THEN

SettlementIntervalNonMeteredUDCImportQuantity uT’I’Q’M’W’VL’mdhcif =

rtm'F'S'

TIEHourlyCheckedOutInterchangeQuantity rtuT’I’Q’m’M’W’F’S’VL’mdh / 12

Where

m’ = ‘1’, Q’ = ‘CISO’

noting that TIEHourlyCheckedOutInterchangeQuantity rtuT’I’Q’m’M’W’F’S’VL’mdh is divided by 12 for frequency conversion

ELSE

SettlementIntervalNonMeteredUDCImportQuantity uT’I’Q’M’W’VL’mdhcif = 0

### And Where Resource Type (t) = ‘GEN’

UDC_Generation_Quantity uT’I’Q’M’W’VL’mdhcif =

IF 
UFE_InclusionFlag umd = 1

OR

ResourceWholesaleExemptionFlag rmdhcif = 0

THEN

- UDC_Generation_Quantity uT’I’Q’M’W’VL’mdhcif =

- BrtAA'R'pPQd'Nz'vHn'BASettlementIntervalResCAISOMeteredGenerationQuantity BrtuT’I’Q’M’AA’R’pPW’Qd’Nz’VvHn’L’mdhcif

ELSE

- UDC_Generation_Quantity uT’I’Q’M’W’VL’mdhcif =  0

### And Where Resource type = ‘LOAD’

UDC_Load_Quantity uT’I’Q’M’W’VL’mdhcif =

IF 
UFE_InclusionFlag umd  = 1

THEN

UDC_Load_Quantity uT’I’Q’M’W’VL’mdhcif =

- BrtR'pPQd'Nz'vHn'AA'F'S' Min (0, (BAResEntitySettlementIntervalOMARChannel1LoadQuantity BrtuT’I’Q’M’AA’F’R’pPW’QS’d’Nz’VvHn’L’mdhcif + BAResDispatchEBTMPQuantity BrtuQ’Nz’mdhcifBAResEntityDispatchIntervalEBTMPQty BrtuQ'mdhcif))

ELSE

UDC_Load_Quantity uT’I’Q’M’W’VL’mdhcif = 0

### And Where UDC_Export_Quantity uT’I’Q’M’W’VL’mdhcif  =

SettlementIntervalMeteredUDCExportQuantity uT’I’Q’M’W’VL’mdhcif + SettlementIntervalNonMeteredUDCExportQuantity uT’I’Q’M’W’VL’mdhcif

### Where SettlementIntervalMeteredUDCExportQuantity uT’I’Q’M’W’VL’mdhcif =

IF 
UFE_InclusionFlag umd  = 1

THEN

SettlementIntervalMeteredUDCExportQuantity uT’I’Q’M’W’VL’mdhcif =

rt TieSettlementIntervalCAISOMeteredExportQuantity rtuT’I’Q’M’W’VL’mdhcif

ELSE

SettlementIntervalMeteredUDCExportQuantity uT’I’Q’M’W’VL’mdhcif = 0

### And Where SettlementIntervalNonMeteredUDCExportQuantity uT’I’Q’M’W’VL’mdhcif =

IF 
UFE_InclusionFlag umd  = 1

THEN

SettlementIntervalNonMeteredUDCExportQuantity uT’I’Q’M’W’VL’mdhcif =

rtm'F'S'

TIEHourlyCheckedOutInterchangeQuantity rtuT’I’Q’m’M’W’F’S’VL’mdh / 12

Where

m’ = ‘4’ , Q’ = ‘CISO’

noting that TIEHourlyCheckedOutInterchangeQuantity rtuT’I’Q’m’M’W’F’S’VL’mdh is divided by 12 for frequency conversion

ELSE

SettlementIntervalNonMeteredUDCExportQuantity uT’I’Q’M’W’VL’mdhcif = 0

### And Where UDCSettlementIntervalActualTransmissionLoss uT’I’Q’M’W’VL’mdhcif =

IF 
UFE_InclusionFlag umd  = 1

THEN

- UDCSettlementIntervalActualTransmissionLoss uT’I’Q’M’W’VL’mdhcif =

- (RTED_Transmission_Loss uT’I’Q’M’W’VL’mdhif)  / 12

- Where Q’ = ‘CISO’

ELSE

- UDCSettlementIntervalActualTransmissionLoss uT’I’Q’M’W’VL’mdhcif = 0

### And Where BAUDCSettlementIntervalGrossMeteredDemandForUFE BuT’I’M’mdhcif =

IF 
UFE_InclusionFlag umd  = 1

THEN

- BAUDCSettlementIntervalGrossMeteredDemandForUFE BuT’I’M’mdhcif =

- W'VL'BAUDCSettlementIntervalGrossMeteredDemandControlAreaQty_Ex1 BuT’I’M’W’VL’mdhcif

ELSE

- W'VL'BAUDCSettlementIntervalGrossMeteredDemandForUFE BuT’I’M’W’VL’mdhcif =  0

### And Where UDCTotalSettlementIntervalGrossMeteredDemandControlForUFE uT’I’M’mdhcif =

IF 
UFE_InclusionFlag umd  = 1

THEN

- UDCTotalSettlementIntervalGrossMeteredDemandControlForUFE uT’I’M’mdhcif =

W'VL'UDCTotalSettlementIntervalGrossMeteredDemandControlAreaQty_Ex1 uT’I’M’W’VL’mdhcif

ELSE

- W'VL'UDCTotalSettlementIntervalGrossMeteredDemandControlForUFE uT’I’M’W’VL’mdhcif =  0

## Outputs

| Output Req ID | Name | Description |
| --- | --- | --- |
| 1 | In addition to any outputs listed below, all inputs shall be included as outputs. | All inputs. Refer to section 3.6 and 3.7 above for input descriptions. |
| 2 | BASettlementIntervalUDCUFEPrice BuM’mdhcif | Real Time Unaccounted for Energy Settlement price. |
| 3 | BASettlementIntervalUDCUFEQuantity BuM’mdhcif | Real Time Unaccounted for Energy Settlement quantity (in MWh) |
| 4 | BA_UDC_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuM’mdhcif | Real Time Unaccounted for Energy Settlement amount (in U.S. $). |
| 5 | UDCSettlementIntervalUFEQuantity uQ’M’mdhcif | The calculated UFE quantity (in MWh) for a(n) UDC/MSS. |
| 6 | UDC_Import_Quantity uT’I’Q’M’W’VL’mdhcif | The sum (in MWh) of meter quantities that corresponds to the import Energy from interties and intra-ties associated to a UDC/MSS. |
| 7 | SettlementIntervalMeteredUDCImportQuantity uT’I’Q’M’W’VL’mdhcif | The sum (in MWh) of all Energy Imports that are metered by an intertie meter upon their entry into a UDC/MSS |
| 8 | SettlementIntervalNonMeteredUDCImportQuantity uT’I’ Q’M’W’VL’mdhcif | The sum (in MWh) of all Energy Imports entering a UDC/MSS that are not metered by an intertie meter upon their entry. |
| 9 | UDC_Generation_Quantity uT’I’ Q’M’W’VL’mdhcif | The sum (in MWh) of meter quantities that corresponds to the Energy produced internally in a UDC/MSS. |
| 10 | UDC_Load_Quantity uT’I’ Q’M’W’VL’mdhcif | The sum (in MWh) of meter quantities that corresponds to the Energy consumed internally in a UDC/MSS. |
| 11 | UDC_Export_Quantity uT’I’ Q’M’W’VL’hi | The sum (in MWh) of meter quantities that corresponds to the export Energy from interties and intra-ties associated to a UDC/MSS. |
| 12 | SettlementIntervalMeteredUDCExportQuantity uT’I’ Q’M’W’VL’mdhcif | The sum (in MWh) of all Energy Exports metered by an intertie meter upon their leaving a UDC/MSS |
| 13 | SettlementIntervalNonMeteredUDCExportQuantity uT’I’ Q’M’W’VL’mdhcif | The sum (in MWh) of all Energy Exports leaving a UDC/MSS that are not metered by an intertie meter. |
| 14 | UDCSettlementIntervalActualTransmissionLoss uT’I’M’W’VL’mdhcif | The calculated quantity (in MWh) of actual transmission line and facility losses associated with Energy scheduled for UDC/MSS. |
| 15 | BAUDCSettlementIntervalGrossMeteredDemandForUFE BuT’I’M’mdhcif | The UDC Total Gross Metered Demand quantity filtered for specified UDCs that are assessed UFE by BA |
| 16 | UDCTotalSettlementIntervalGrossMeteredDemandControlForUFE uT’I’M’mdhcif | The UDC Total Gross Metered Demand quantity filtered for specified UDCs that are assessed UFE by UDC/MSS. |
| 17 | UDCSettlementIntervalUFEAmount uM’mdhcif | Total Settlement Interval UDC UFE amount for UDC /MSS |
| 18 | CAISOUDCSettlementIntervalUFEQuantity uM’mdhcif | The Total Settlement Interval UDC UFE Quantity for UDC/MSS |

# Charge Code Effective Date

| Charge Code/ Pre-calc Name | Document Version | Effective Start Date | Effective End Date | Version Update Type |
| --- | --- | --- | --- | --- |
| CG CC 6474 Real-Time Unaccounted for Energy Settlement v5.6 | 5.0 | 04/01/09 | 03/31/09 | Documentation Edits Only |
| CG CC 6474 Real-Time Unaccounted for Energy Settlement v5.6 | 5.1 | 04/01/09 | 11/30/2012 | Configuration Impacted |
| CG CC 6474 Real-Time Unaccounted for Energy Settlement v5.6 | 5.2 | 12/1/2012 | 11/30/12 | Configuration Impacted |
| CG CC 6474 Real-Time Unaccounted for Energy Settlement v5.6 | 5.2a | 12/1/12 | 4/30/2014 | Documentation Edits Only |
| CG CC 6474 Real-Time Unaccounted for Energy Settlement v5.6 | 5.3 | 5/1/2014 | 9/30/14 | Configuration Impacted |
| CG CC 6474 Real-Time Unaccounted for Energy Settlement v5.6 | 5.4 | 10/1/2014 | 9/30/2014 | Configuration Impacted |
| CG CC 6474 Real-Time Unaccounted for Energy Settlement v5.6 | 5.4a | 10/1/2014 | 9/30/20 | Documentation Only |
| CG CC 6474 Real-Time Unaccounted for Energy Settlement v5.6 | 5.5 | 10/1/20 | 12/31/20 | Configuration Impacted |
| Real Time Unaccounted for Energy Settlement | 5.6 | 1/1/21 | Open | Configuration Impacted |