Settlements and Billling

Configuration Guide: CG CC 6477 Real Time Imbalance Energy Offset v5.8

CC 6477

Version 5.8

Table of Contents

1.	Purpose of Document	3

2.	Introduction	3

2.1	Background	3

2.2	Description	4

3.	Charge Code Requirements	4

3.1	Business Rules	4

3.2	Predecessor Charge Codes	5

3.3	Successor Charge Codes	6

3.4	Inputs – External Systems	6

3.5	Inputs - Predecessor Charge Codes or Pre-calculations	6

3.6	CAISO Formula	8

3.7	Outputs	12

4.	Charge Code Effective Dates	13

# Purpose of Document

The purpose of this document is to capture the requirements and design specification for a Charge Code in one document.

# Introduction

## Background

The CAISO calculates and accounts for Imbalance Energy for each Dispatch Interval and settles Imbalance Energy for each Settlement Interval for each resource within the EIM Area and all System Resources Dispatched in Real-Time.

Imbalance Energy consists of following:

- IIE –  instructed imbalance energy

  - FMM Instructed Imbalance Energy Settlement (CC 6460)

  - FMM Instructed Imbalance Energy EIM Settlement (CC 64600)

  - RTD Instructed Imbalance Energy Settlement (CC 6470)

  - RTD Instructed Imbalance Energy EIM Settlement (CC 64700)

- UIE – Uninstructed Imbalance Energy

  - Real Time Uninstructed Imbalance Energy Settlement (CC 6475)

  - Real Time Uninstructed Imbalance Energy EIM Settlement (CC 64750)

- UFE – Unaccounted for Energy

  - Real Time Unaccounted for Energy Settlement (CC 6474)

  - Real Time Unaccounted for Energy EIM Settlement (CC 64740)

- GHG – Greenhouse Gas Emission Cost Revenue (CC491)

To the extent that the sum of the Settlement Amounts for IIE, UIE, and UFE does not equal zero within the CAISO Balancing Authority Area, the CAISO will assess Charges or make Payments in Real Time Imbalance Energy Offset (CC 6477) and in Real Time Imbalance Energy Offset EIM (CC 64770) for the resulting differences to all Scheduling Coordinators based on a pro rata share of their Measured Demand for the relevant Settlement Interval. To the extent that the sum of the Settlement Amounts for IIE, UIE, UFE, and GHG does not equal zero within the EIM Balancing Authority Area, the CAISO will assess Charges or make Payments in Real Time Imbalance Energy Offset EIM (CC 64770) for the resulting differences to EIM Entity Scheduling Coordinator ID, respectively.

In the Real-Time Market, the negative and positive Congestion Charges associated with a valid post-Day-Ahead TOR and ETC schedule change (including changes submitted to the Hour-Ahead Scheduling Process and changes submitted closer to Real-Time where allowed by the contract) will be reversed in CC 6788 RTM Congestion Credit Settlement. Because Congestion Charges are implicitly collected by the CAISO in the Real-Time settlement and there are no holders of rights to receive Real-Time Congestion revenues, all charges for Real-Time Congestion will be accumulated in special and separate Balancing Authority Area neutrality accounts.  The CAISO Real-Time Congestion Charges less Virtual Bid Adjustment shall be distributed back to non-ETC Control Area metered Demand and exports in Real Time Congestion Offset (CC 6774).  The EIM Balancing Authority Area Real-Time Congestion Charges shall be distributed to the applicable EIM Entity Scheduling Coordinator in Real Time Congestion Offset EIM (CC 67740).

## Description

The calculation of Real-Time Imbalance Energy also includes the settlement of Real Time Virtual Awards, and Real-Time Ancillary Service Congestion revenues. Additional adjustments are calculated to subtract congestion and transmission losses, and adjust for participation in the Energy Imbalance Market.

To the extent that the sum of the Settlement Amounts for EIM Financial Transfer, IIE, UIE, and UFE, Real-Time AS Imports Congestion, and DA Virtual Award Settlements in Real-Time, less the RT Energy Congestion revenues computed within Real-Time Congestion Offset (from CC 6774) less the Real-Time Marginal Cost of Losses Offset and EIM Transfer Adjustment does not equal zero, the CAISO will assess Charges or make Payments in Real Time Imbalance Energy Offset (CC 6477) for the resulting differences to all Scheduling Coordinators based on a pro rata share of their Measured Demand excluding demand quantity for the valid and balanced portion of TOR contract self-schedules in Real-Time and Net Measured Demand of Load Following MSSs.

# Charge Code Requirements

## Business Rules

| Bus Req ID | Business Rule |
| --- | --- |
| 1.0 | This Charge Code shall be calculated and output on a 5-minute Settlement Interval basis. |
| 2.0 | The Initial Real-Time Imbalance Energy Offset for each EIM Balancing Authority Area in the EIM Area as the sum of the financial value of EIM Transfers and the Settlement amounts for FMM Instructed Imbalance Energy, RTD Instructed Imbalance Energy, Uninstructed Imbalance Energy, Unaccounted for Energy, Virtual Awards Settlement, less Real-Time Congestion Offset and less the Real-Time Marginal Cost of Losses Offset. |
| 2.1 | For CAISO Balancing Authority Area, the subtraction of RT Congestion Offset in the previous rule shall not include the net RT AS Imports congestion and the net RT congestion credits for contracts as these are specific only to CAISO and were also not included in the base calculation of the Initial Imbalance Energy Offset amount. Instead for CAISO BAA, the amount to be subtracted in place of the RT Congestion Offset is the RT Energy Congestion amount, which does not include the net RT AS Imports congestion and the net RT congestion credits for contracts. |
| 3.0 | The Financial Value of EIM Transfers shall be the product of the MWh, and the System Marginal Economic Cost. |
| 3.1 | EIM Transfers from Base EIM Transfer System Resources that elected settlement, for both FMM and RTD (inclusive of updates after RTM schedules through e-tags) deviations with respect to their base schedules, will not be included in the computation of financial value of EIM Transfers as those are already settled RT Imbalance Energy charge code(s). |
| 3.2 | A Master File – resident flag (Yes / No) shall indicate whether (Yes) or not (No) an ETSR has elected to participate in imbalance energy settlement. |
| 4.0 | The initial Real-Time Imbalance Energy Offset shall be increased or decreased by the EIM Transfer adjustment. |
| 4.1 | The EIM Transfer adjustment shall be the product of the EIM Transfer out percentage and the Initial Real-Time Imbalance Energy Offset. |
| 4.2 | EIM Transfer out percentage shall be the sum of net EIM Transfers out of an EIM Entity Balancing authority, divided by the sum of absolute value of Uninstructed Imbalance Energy, the absolute value of Unaccounted For Energy, and the net EIM Transfer out of the Balancing Authority Area. |
| 4.3 | The EIM Transfer adjustment shall reduce the Real-Time Imbalance Offset for the EIM balancing authority with energy transferred out, and increase the Real-Time Imbalance Energy Offset for the Balancing Authority Area where EIM energy transfers in. |
| 5.0 | The allocation of the Real-Time Imbalance Energy Offset for the CAISO Balancing Authority Areas, to Scheduling Coordinators in the CAISO Balancing Authority Area according to their Measured Demand excluding valid and balanced TOR contract quantities. |
| 5.1 | For an MSS that have elected Load following or net Settlement, or both, the Measured Demand allocation basis shall be: for the Real Time Imbalance Energy Offset adjustment, MSS Aggregation Net Measured Demand is excluded. These values are calculated in another charge code. (Fact) |
| 5.2 | Measured Demand is defined for this Charge Code as a Scheduling Coordinator’s Measured Demand (for UDCs and MSS entities that have elected for gross settlement) plus net Demand (for net-settled MSS entities). |
| 5.3 | TOR holders, for their TOR valid and balanced contract quantities, shall not get a share of the allocation for they are excluded from the Measured Demand allocation basis. |

## Predecessor Charge Codes

Charge Code/ Pre-calc Name

Measured Demand Over Control Area Pre-calculation

RT Energy Quantity Pre-calculation

CC 6460 – FMM Instructed Imbalance Energy Settlement

CC 6470 – Real Time Instructed Imbalance Energy Settlement (IIE)

CC 6475 – Real Time Uninstructed Imbalance Energy Settlement (UIE)

CC 6474 – Real Time Unaccounted for Energy Settlement (UFE)

CC 6774 – Real Time Congestion Offset

CC 6985 – Real Time Losses Offset

CC 6473 – Convergence Bidding RT Energy, Congestion, and Loss Settlement

## Successor Charge Codes

Charge Code/ Pre-calc Name

None

## Inputs – External Systems

| Row # | Variable Name | Description |
| --- | --- | --- |
|  | MSSLoadFollowingExclusionFlag B | MSS Load Following exclusion Flag for Business Associate B. |
|  | CAISO5MRTSMECPrice mdhcif | The System Marginal Energy Cost (SMEC) in Real Time. ($/MWh) |
|  | CAISO15MFMMSMECPrice mdhc | The System Marginal Energy Cost (SMEC) in FMM. ($/MWh) |
|  | ResourceETSRElectSettlementFlag rmd | Flag (1/NULL) that indicates (when = 1) that the specified BASE ESTR resource is an EIM Transfer System Resource (ETSR) that has selected to settle its ETSR IIE and OA at the real-time LMP |

## Inputs - Predecessor Charge Codes or Pre-calculations

| Row # | Variable Name | Predecessor Charge Code/ Pre-calc Configuration |
| --- | --- | --- |
| - 3 | - BA_UDC_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuM’mdhcif | CC 6474 - Real Time Unaccounted for Energy Settlement (UFE). |
|  | - SettlementIntervalUIESettlementAmount BrtuT’I’M’mdhcif | CC 6475 - Real Time Uninstructed Imbalance Energy Settlement (UIE) |
|  | - CAISOSettlementIntervalTotalFMMIIEAmount mdhcif | CC 6460 – FMM Instructed Imbalance Energy Settlement |
|  | - SettlementIntervalIIEAmount Brtmdhcif | CC 6470 - Real Time Instructed Imbalance Energy Settlement (IIE) |
|  | - CAISOHourlyRTVirtualSupplyOrDemandAwardEnergySettlementAmount mdh | CC 6473 – Convergence Bidding RT Energy, Congestion, Loss Settlement |
|  | - EIMBAAInitialRealTimeImbalanceEnergyOffsetSettlementAmount Q’mdhcif | CC 64770 – Initial calculation of EIM Entity Real-Time Imbalance Energy Offset. |
|  | - RTBAACongestionRevenueAmount Q’mdhcif | Real Time Congestion PC |
|  | - CAISOTotalRTLossOffsetAmount mdhcif | CC 6985 – Real Time Losses Offset |
|  | - BAAEIMTransferOutPercentage Q’mdhcif | RT Energy Pre-calculation |
|  | - BAAEIMTransferInPercentage Q’mdhcif | RT Energy Pre-calculation |
| - 8 | BASettlementIntervalMeasuredDemandMinusBalancedTORDemandQuantity_EX_RTM_IMBOFF Bmdhcif | Measured Demand Over Control Area Pre-calculation Note: This value is assumed negative in the current charge code. |
|  | RTVirtualAwardNodalCongestionAmount mdhcif | Real Time Congestion PC |
| - ` | RTVirtualAwardLAPCongestionAmount mdhcif | Real Time Congestion PC |
|  | BAAResourceSettlementIntervalRTDTransferToQuantity rQ’AA’Qpmdhcif | RT Energy Pre-calculation |
|  | BAAResourceSettlementIntervalRTDTransferFromQuantity rQ’AA’Qpmdhcif | RT Energy Pre-calculation |
|  | BAAResourceSettlementIntervalFMMEIMTransferToQuantity rQ’AA’Qpmdhcif | RT Energy Pre-calculation |
|  | BAAResourceSettlementIntervalFMMEIMTransferFromQuantity rQ’AA’Qpmdhcif | RT Energy Pre-calculation |

## CAISO Formula

    - CAISOTotalRealTimeImbalanceEnergyOffsetAmount mdhcif

CAISOTotalRealTimeImbalanceEnergyOffsetAmount mdhcif =

B BusinessAssociateRealTimeImbalanceEnergyOffsetAllocationAmount Bmdhcif

Note: This calculation is being performed in the hierarchy of Charge Code 6477

    - BusinessAssociateRealTimeImbalanceEnergyOffsetAllocationAmount Bmdhcif

BusinessAssociateRealTimeImbalanceEnergyOffsetAllocationAmount Bmdhcif = (BASettlementIntervalCAMD_RTImbalanceEnergyOffset_BQ Bmdhcif * RealTimeImbalanceEnergyOffsetPrice mdhcif)

### BASettlementIntervalCAMD_RTImbalanceEnergyOffset_BQ Bmdhcif

IF

MSSLoadFollowingExclusionFlag B = 1

THEN

BASettlementIntervalCAMD_RTImbalanceEnergyOffset_BQ Bmdhcif = 0

ELSE

BASettlementIntervalCAMD_RTImbalanceEnergyOffset_BQ Bmdhcif =

BASettlementIntervalMeasuredDemandMinusBalancedTORDemandQuantity_EX_RTM_IMBOFF Bmdhcif

### RealTimeImbalanceEnergyOffsetPrice mdhcif

IF

CAISOSettlementIntervalCAMD_RTImbalanceEnergyOffset_BQ mdhcif <> 0

THEN

RealTimeImbalanceEnergyOffsetPrice mdhcif  =

(-1) * (CAISOTotalRTIEOSettlementAmount mdhcif / CAISOSettlementIntervalCAMD_RTImbalanceEnergyOffset_BQ mdhcif)

ELSE

RealTimeImbalanceEnergyOffsetPrice mdhcif = 0

END IF

### CAISOSettlementIntervalCAMD_RTImbalanceEnergyOffset_BQ mdhcif

CAISOSettlementIntervalCAMD_RTImbalanceEnergyOffset_BQ mdhcif = BBASettlementIntervalCAMD_RTImbalanceEnergyOffset_BQ Bmdhcif

### CAISOTotalRTIEOSettlementAmount mdhcif

CAISOTotalRTIEOSettlementAmount mdhcif =

CAISOInitialRealTimeImbalanceEnergyOffsetSettlementAmount mdhcif +

CAISOTransferAdjustmentAmount mdhcif

### CAISOTransferAdjustmentAmount

CAISOTransferAdjustmentAmount mdhcif =

Q'  (BAATransferInAdjustmentAmount Q’mdhcif –

CAISOTransferOutAdjustmentAmount Q’mdhcif)

Where Q’ = ‘CISO;

### BAATransferInAdjustmentAmount Q’mdhcif

BAATransferInAdjustmentAmount Q’mdhcif =

BAAEIMTransferInPercentage Q’mdhcif * BAATotalTransferAdjustmentAmount mdhcif

### BAATotalTransferAdjustmentAmount mdhcif

BAATotalTransferAdjustmentAmount mdhcif =

Q' (CAISOTransferOutAdjustmentAmount Q’mdhcif + EIMBAATransferOutAdjustmentAmount Q’mdhcif)

### EIMBAATransferOutAdjustmentAmount Q’mdhcif

EIMBAATransferOutAdjustmentAmount Q’mdhcif =

BAAEIMTransferOutPercentage Q’mdhcif * EIMBAAInitialRealTimeImbalanceEnergyOffsetSettlementAmount Q’mdhcif

### CAISOTransferOutAdjustmentAmount Q’mdhcif

CAISOTransferOutAdjustmentAmount Q’mdhcif =

BAAEIMTransferOutPercentage Q’mdhcif * CAISOInitialRealTimeImbalanceEnergyOffsetSettlementAmount mdhcif

Where Q’ = CISO

### CAISOInitialRealTimeImbalanceEnergyOffsetSettlementAmount mdhcif

CAISOInitialRealTimeImbalanceEnergyOffsetSettlementAmount mdhcif = CAISOTotalFinancialValueTransfer mdhcif + CAISOTotalRealTimeIIESettlementAmount mdhcif + CAISOSettlementIntervalTotalFMMIIEAmount mdhcif + CAISOTotalRealTimeUIESettlementAmount mdhcif + CAISOTotalUFESettlementAmount mdhcif  -

CAISOTotalRTEnergyCongestionAmount mdhcif -

CAISOTotalRTLossOffsetAmount mdhcif +

[(1/12) * CAISOHourlyRTVirtualSupplyOrDemandAwardEnergySettlementAmount mdh]

### CAISOTotalFinancialValueTransfer mdhcif

CAISOTotalFinancialValueTransfer mdhcif =

Q 'AA'Qp (BAAFMMFinancialValueTransfer Q’AA’Qpmdhcif +

BAARTDFinancialValueTransfer Q’AA’Qpmdhcif)

Where Q’ = ‘CISO’

### BAAFMMFinancialValueTransfer Q’AA’Qpmdhcif

BAAFMMFinancialValueTransfer Q’AA’Qpmdhcif =

r ((BAAResourceSettlementIntervalFMMEIMTransferFromQuantity rQ’AA’Qpmdhcif – BAAResourceSettlementIntervalFMMEIMTransferToQuantity rQ’AA’Qpmdhcif)  *

CAISO15MFMMSMECPrice mdhc  * (1- ResourceETSRElectSettlementFlag rmd))

### BAARTDFinancialValueTransfer Q’AA’Qpmdhcif

BAARTDFinancialValueTransfer Q’AA’Qpmdhcif =

r ((BAAResourceSettlementIntervalRTDTransferFromQuantity rQ’AA’Qpmdhcif - BAAResourceSettlementIntervalRTDTransferToQuantity rQ’AA’Qpmdhcif) *

CAISO5MRTSMECPrice mdhcif   * (1- ResourceETSRElectSettlementFlag rmd))

### CAISOTotalRealTimeIIESettlementAmount mdhcif

CAISOTotalRealTimeIIESettlementAmount mdhcif =

Brt SettlementIntervalIIEAmount Brtmdhcif

Note: This calculation is being performed in the hierarchy of Charge Code 6470

### CAISOTotalRealTimeUIESettlementAmount mdhcif

CAISOTotalRealTimeUIESettlementAmount mdhcif =

(BrtuT 'I 'M ' SettlementIntervalUIESettlementAmount BrtuT’I’M’mdhcif )

Note: This calculation is being performed in the hierarchy of Charge Code 6475

### CAISOTotalUFESettlementAmount mdhcif

CAISOTotalUFESettlementAmount mdhcif =

BuM ' BA_UDC_SettlementInterval_UnaccountedforEnergy_SettlementAmount BuM’mdhcif

Note: This calculation is being performed in the hierarchy of Charge Code 6474

### CAISOTotalRTEnergyCongestionAmount mdhcif

### CAISOTotalRTEnergyCongestionAmount mdhcif = CAISORTEnergyCongestionAmount mdhcif + RTVirtualAwardNodalCongestionAmount mdhcif + RTVirtualAwardLAPCongestionAmount mdhcif

### CAISORTEnergyCongestionAmount mdhcif

CAISORTEnergyCongestionAmount mdhcif =  Q'RTBAACongestionRevenueAmount Q’mdhcif

Where Balancing Authority Area = ‘CISO’

## Outputs

| Output ID | Name | Description |
| --- | --- | --- |
|  | In addition to any outputs listed below, all inputs shall be included as outputs. |  |
|  | BusinessAssociateRealTimeImbalanceEnergyOffsetAllocationAmount Bmdhcif | Total Real Time Instructed Imbalance Energy Settlement Amount for the CAISO Control Area by Business Associate ID (B). |
|  | BASettlementIntervalCAMD_RTImbalanceEnergyOffset_BQ Bmdhcif | The billing quantity for the RT Imbalance Energy Offset for BA ID B. |
|  | RealTimeImbalanceEnergyOffsetPrice mdhcif | The per unit charge price to be applied to the billable quantity for the Real Time Imbalance Energy Offset ($/MWh). |
|  | CAISOSettlementIntervalCAMD_RTImbalanceEnergyOffset_BQ mdhcif | The billing quantity for the RT Imbalance Energy Offset for CAISO area. |
|  | CAISOTotalRTIEOSettlementAmount Q’mdhcif | Total Real Time Imbalance Energy Settlement Amount for the CAISO Control Area. |
|  | CAISOTransferAdjustmentAmount mdhcif | Transfer adjustment for CAISO Balancing Authority Area. |
|  | BAATransferInAdjustmentAmount Q’mdhcif | Transfer adjustment for Balancing Authority Area with energy flow in. |
|  | BAATotalTransferAdjustmentAmount mdhcif | Total transfer adjustment for all Balancing Authority Areas with energy flow out. |
|  | EIMBAATransferOutAdjustmentAmount Q’mdhcif | Transfer adjustment for Balancing Authority Area with energy flow out. |
|  | CAISOTransferOutAdjustmentAmount Q’mdhcif | CAISO Transfer adjustment for Balancing Authority Area with energy flow out. |
|  | CAISOInitialRealTimeImbalanceEnergyOffsetSettlementAmount mdhcif | Initial calculation of CAISO Real-Time Imbalance Energy Offset. |
|  | CAISOTotalFinancialValueTransfer mdhcif | Financial value of energy flow between CAISO and EIM Balancing Authority Area. |
|  | BAAFMMFinancialValueTransfer Q’AA’Qpmdhcif | The financial value of FMM calculated energy flow between two Balancing Authority Areas in the EIM Market at a specific intertie. |
|  | BAARTDFinancialValueTransfer Q’AA’Qpmdhcif | The financial value of RTD calculated energy flow between two Balancing Authority Areas in the EIM Market at a specific intertie. |
|  | CAISOTotalRealTimeIIESettlementAmount mdhcif | Total Real Time Instructed Imbalance Energy Settlement Amount for the CAISO Control Area. |
|  | CAISOTotalRealTimeUIESettlementAmount mdhcif | Total Real Time Uninstructed Imbalance Energy Settlement Amount for the CAISO Control Area. |
|  | CAISOTotalUFESettlementAmount mdhcif | Total Unaccounted for Energy Settlement Amount for the CAISO Control Area. |
|  | CAISOTotalRTEnergyCongestionAmount mdhcif | Total net congestion revenue from Real Time Energy for the CAISO Control Area including Virtual Bids. |
|  | CAISORTEnergyCongestionAmount mdhcif | The CAISO Real Time Energy Congestion Amount excluding Virtual Bids |

# Charge Code Effective Dates

| Charge Code/ Pre-calc Name | Document Version | Effective Start Date | Effective End Date | Version Update Type |
| --- | --- | --- | --- | --- |
| CC 6477 – Real Time Imbalance Energy Offset | 5.0 | 04/01/09 | 09/30/09 | Documentation Edits Only |
| CC 6477 – Real Time Imbalance Energy Offset | 5.1 | 10/01/09 | 10/31/09 | Configuration Change Required |
| CC 6477 – Real Time Imbalance Energy Offset | 5.2 | 11/01/09 | 01/31/11 | Configuration Impacted |
| CC 6477 – Real Time Imbalance Energy Offset | 5.3 | 02/01/11 | 04/30/14 | Configuration Impacted |
| CC 6477 – Real Time Imbalance Energy Offset | 5.4 | 05/01/14 | 9/30/14 | Configuration Impacted |
| CC 6477 – Real Time Imbalance Energy Offset | 5.5 | 10/01/14 | 9/30/14 | Configuration Impacted |
| CC 6477 – Real Time Imbalance Energy Offset | 5.6 | 10/01/14 | 11/3/15 | Configuration Impacted |
| CC 6477 – Real Time Imbalance Energy Offset | 5.7 | 11/4/15 | 3/31/18 | Configuration Impacted |
| CC 6477 – Real Time Imbalance Energy Offset | 5.8 | 4/1/18 | Open | Configuration Impacted |