Daily Flexible Ramp Up Uncertainty Award Allocation

Version 5.4

Table of Contents

1.	Purpose of Document	3

2.	Introduction	3

2.1	Background	3

2.2	Description	3

3.	Charge Code Requirements	3

3.1	Business Rules	3

3.2	Predecessor Charge Codes	7

3.3	Successor Charge Codes	8

3.4	Inputs - External Systems	8

3.5	Inputs - Predecessor Charge Codes or Pre-calculations	9

3.6	CAISO Formula	11

3.7	Outputs	20

4.	Charge Code Effective Dates	28

# Purpose of Document

The purpose of this document is to capture the requirements and design specification for a Charge Code in one document.

# Introduction

## Background

The Flexible Ramping product (FRP) is designed to ensure that there is sufficient ramping capability available in the financially binding five-minute interval to meet the forecasted net load for interval t+5 and cover upwards and downwards forecast error uncertainty.

FRP will help the system to maintain and use dispatchable capacity, as well as provide the market more transparent and less volatile price signals when undergoing forecasted ramp-constrained conditions.  It will be procured and dispatched to meet five minute to five minute net forecast (load forecast minus VER forecast) changes plus uncertainty and will be modeled as a ramping capability constraint.

The ISO will financially settle FRP in the fifteen-minute market and the five-minute market, with rescission of payments applied to resources with UIE (uninstructed imbalance energy) or OA (operational adjustment) amounts, positive or negative, which are imposed on reserved FRP capacity awards. Settlement and allocation of FRP costs will happen on a daily basis for forecasted movement portion and uncertainty award portion.  At the end of the month, the uncertainty award allocation will be reversed and will be re-allocated based on the month’s net UIE or OA values.

As no economic bids are applied to FRP, FRU/FRD awards will be exempt from grid management charges (GMC).  Additionally, dispatchable resources will have their FRP awards and forecasted movement assessments - ignoring rescission settlement - included as part of daily RTM bid cost recovery calculations.

## Description

For each Balancing Authority Area (BAA) and Trading Day this charge code configuration on a daily basis shall allocate the charges associated with the total Flexible Ramp Up Uncertainty capacity award settlement amounts that are paid in association with charge code CC 7071 (Daily Flexible Ramp Up Uncertainty Capacity Settlement) to the BAA in accord with the business rules and attendant allocation criteria stipulated in Business Rules section 3.1 below.

# Charge Code Requirements

## Business Rules

| Bus Req ID | Business Rule |
| --- | --- |
|  | FRU and FRD uncertainty movement payments and charges shall apply daily with monthly resettlement of the FRU and FRD uncertainty movement charges. |
|  | The CAISO will allocate: |
|  | - the cost of the Uncertainty Award within each Balancing Authority Area in the EIM Area and within the EIM Area on a daily basis according to resource categories; |
|  | - the daily amounts to Scheduling Coordinators. |
|  | - Uncertainty awards to the BAA based upon the pass group. - For the EIM_area host control area ID, Settlements shall allocate the costs to the BAAs that pass the sufficiency test based on their categories. - For the uncertainty award cost associated with the BAA that did not pass the sufficiency test, those costs will be allocated to the BAA based on its categories and any residual unallocated balance to the metered demand of that BAA, however if metered demand is not available and there are BAA specific costs, those will be allocated to the entity.. |
|  | For each interval, the CAISO will calculate the net Uncertainty Movement of each resource as follow: |
|  | - for Supply resources other than non-Dynamic System Resources as the difference between the Dispatch Instruction of the binding interval in the next RTD run and the first advisory RTD interval in the current run. |
|  | - for non-Dynamic System Resource and export schedule as the difference between the schedule used in the RTD (accounting for ramp) for the binding interval in the next RTD run and the scheduled use for the first advisory interval in the current RTD run. |
|  | The CAISO will determine the total net RTD Uncertainty Movement for each category separately for each Balancing Authority Area in the EIM Area and by EIM Area as follows: |
|  | - for the category of Supply resources, which shall not include non-Dynamic System Resources, as the net sum of the five-minute Uncertainty Movement of all the Supply resources in the category; |
|  | - for the category of Intertie resources, which shall comprise non-Dynamic System Resources and exports, as the net sum of the five-minute Uncertainty Movement determined of all the non-Dynamic System resources and export schedules; |
|  | - for the non-Participating Load category, as the difference between- - the CAISO Forecast of CAISO Demand, the CAISO forecast of Balancing Authority Area EIM Demand, or the CAISO forecast of EIM Area EIM Demand, as applicable, of the binding interval in the next RTD run; and - the CAISO Forecast of CAISO Demand, the CAISO forecast of Balancing Authority Area EIM Demand, or the CAISO forecast of EIM Area EIM Demand, for the first advisory interval in the current RTD run. |
|  | The CAISO will allocate the total upward Uncertainty Award cost to each of the three (3) resource categories based on — |
|  | - for upward Uncertainty Award cost, the ratio of such category’s positive Uncertainty Movement to the sum of the positive Uncertainty Movements of all categories with positive Uncertainty Movement for - each Balancing Authority Area in the EIM Area that failed their Flex Ramp Up Balancing Test - the EIM Area for EIM entities that passed their Flex Ramp Up Balancing Test. |
|  | - for downward Uncertainty Award cost, the ratio of such category’s positive Uncertainty Movement to the sum of the negative Uncertainty Movements of all categories with negative Uncertainty Movement for - each Balancing Authority Area in the EIM Area that failed their Flex Ramp Up Balancing Test - the EIM Area for EIM entities that passed their Flex Ramp Up Balancing Test.. |
|  | The CAISO will allocate the Uncertainty Awards costs of the non-Participating Load category to Scheduling Coordinators as follows: |
|  | - for upward Uncertainty Award cost in proportion to the Scheduling Coordinator’s negative non-Participating Load UIE, excluding the non-Participating Load of an MSS that has elected to load-follow according to an MSS Agreement, without netting that UIE across Settlement Intervals, to the total of such negative non-Participating Load UIE, without netting that UIE across Settlement Intervals, in the Balancing Authority Area or EIM Area as applicable; |
|  | The allocated upward Uncertainty Award costs shall signify an increase in the Scheduling Coordinator’s Demand (i.e., more Demand than expected). |
|  | - for downward Uncertainty Award cost in proportion to the Scheduling Coordinator’s daily positive non-Participating Load UIE, excluding the non-Participating Load of an MSS that has elected to load-follow according to an MSS Agreement, without netting that UIE across Settlement Intervals, to the total of such positive non-Participating Load UIE, without netting that UIE across Settlement Intervals, in the BAA or EIM Area as applicable. |
|  | The allocated upward Uncertainty Award costs shall signify a decrease in the Scheduling Coordinator’s Demand (i.e., less Demand than expected). |
|  | The CAISO will allocate the Uncertainty Awards costs of the Supply category to Scheduling Coordinators for each resource in the Supply category based on the sum of the resource’s Uncertainty Movement and UIE as follows: |
|  | - for upward Uncertainty Award cost in proportion to the Scheduling Coordinator’s negative sum of the resource’s Uncertainty Movement and UIE, without netting that sum across Settlement Intervals, to the total negative sum of all resources’ Uncertainty Movement and UIE, without netting that sum across Settlement Intervals, in the Balancing Authority Area or EIM Area as applicable, except as stipulated in 3) below; |
|  | The allocated upward Uncertainty Award costs shall signify a decrease in the Scheduling Coordinator’s Generation (i.e., less Generation than expected). |
|  | - for downward Uncertainty Award cost in proportion to the Scheduling Coordinator’s positive sum of the resource’s Uncertainty Movement and UIE, without netting that sum across Settlement Intervals, to the total positive sum of all resources’ Uncertainty Movement and UIE, without netting that sum across Settlement Intervals, in the BAA or EIM Area as applicable, except as stipulated in 3) below; |
|  | The allocated upward Uncertainty Award costs shall signify an increase in the Scheduling Coordinator’s Generation (i.e., more Generation than expected). |
|  | - for the MSS that have elected to load follow pursuant to an MSS Agreement, the CAISO will calculate the positive and negative sums specified above for each Settlement Interval as the sum of MSS non-Participating Load UIE, Supply resources within the MSS UIE, MSS Load Following Energy, MSS Load Following Operational Adjustments, and Uncertainty Movement of resources within the MSS Aggregation. |
|  | The CAISO will allocate the Uncertainty Awards costs of the Intertie category to Scheduling Coordinators for each non-Dynamic System Resource and export based on the sum of the resource’s Uncertainty Movement and Operational Adjustment as follows: |
|  | - for upward Uncertainty Award cost in proportion to the magnitude of the Scheduling Coordinator’s negative Operational Adjustment for non-Dynamic System Resources, or positive Operational Adjustment for export resources (where export Energy is considered positive) relative to the sum of magnitude of such Operational Adjustments in the Balancing Authority Area or EIM Area, as applicable, without netting that sum across Settlement Intervals; |
|  | The allocated upward Uncertainty Award costs shall signify a decrease in the Scheduling Coordinator’s import Generation (i.e., imported Energy less than expected) or an increase in the Scheduling Coordinator’s export Generation (i.e., exported Energy more than expected). |
|  | - for downward Uncertainty Award cost in in proportion to the magnitude of the Scheduling Coordinator’s positive Operational Adjustment for non-Dynamic System Resources, or magnitude of negative Operational Adjustment for export resources (where export Energy is considered positive) relative to the sum of the magnitude of such Operational Adjustments in the Balancing Authority Area or EIM Area, as applicable, without netting that sum across Settlement Intervals; |
|  | The allocated upward Uncertainty Award costs shall signify an increase in the Scheduling Coordinator’s import Generation (i.e., imported Energy more than expected) or a decrease in the Scheduling Coordinator’s export Generation (i.e., exported Energy less than expected). |
|  | - for the purposes of the allocations specified above, the MSS Load Following Operational Adjustment is excluded. |
|  | If the sum of the settlement of Uncertainty Awards and the charges to Scheduling Coordinators for Uncertainty Award costs is nonzero, the CAISO will allocate such amounts to Scheduling Coordinators based on the ratio of its metered CAISO Demand and metered EIM Demand to the total EIM area metered demand. |
|  | For adjustments to the Charge Code that cannot be accomplished by correction of upstream data inputs/recalculation or operator override, Pass Through Bill Charge logic will be applied. |
|  | When an eligible resource has an interval with a negative MWh meter, CAISO will not charge for the energy of those intervals. |
|  | The categories for the EIM Area Pass Group will be derived as the total quantity of each category for BAAs that belong to the Pass Group. |

## Predecessor Charge Codes

Charge Code/ Pre-calc Name

Pre-calculation MSS Netting

Pre-calculation Real Time Energy Quantity

CC 7071 Daily Flexible Ramp Up Uncertainty Capacity Settlement

Pre-calculation Flexible Ramp Product

## Successor Charge Codes

Charge Code/ Pre-calc Name

CC 4989 Daily Rounding Adjustment Allocation

CC 7078 Monthly Flexible Ramp Up Uncertainty Award Allocation

## Inputs - External Systems

| Row # | Variable Name | Description |
| --- | --- | --- |
|  | BAA5mTotalLoadUncertaintyQty Q’’mdhcif | The total of Flexible Ramping Uncertainty (in MW) from the Load Uncertainty category of resources in association with a BAA constraint. A positive value represents FRU Uncertainty, while a negative value represents FRD Uncertainty. |
|  | BAA5mTotalIntertieUncertaintyQty Q’’mdhcif | The total of Flexible Ramping Uncertainty (in MW) from the intertie Uncertainty category of resources in association with a BAA constraint. A positive value represents FRU Uncertainty, while a negative value represents FRD Uncertainty. |
|  | BAA5mTotalSupplyUncertaintyQty Q’’mdhcif | The total of Flexible Ramping Uncertainty (in MW) from the Supply Uncertainty category of resources in association with a BAA constraint. A positive value represents FRU Uncertainty, while a negative value represents FRD Uncertainty. |
|  | PTBBAADayFRUUncertaintyAllocAmt BJmd | PTB charge adjustment for FRU Uncertainty Allocation (in $). |
|  | BAFlexRampExemptAssessmentFlag Bmd | An exemption flag that prevents specific assessment under this charge code. This has a value of 1 for any specific BAID (B) that is not subject to settlement or relevant assessment under this charge code. |
|  | BADayGenOnlyBAAFlag BQ'md | Flag indicating a Gen-Only BAA with 1. |

## Inputs - Predecessor Charge Codes or Pre-calculations

| Row # | Variable Name | Predecessor Charge Code/ Pre-calc Configuration |
| --- | --- | --- |
|  | SettlementIntervalRealTimeUIE BrtuT’I’Q’M’F’S’mdhcif | Pre-calculation Real Time Energy Quantity |
|  | SettlementIntervalOAEnergy BrtuT’I’Q’M’F’S’mdhcif | Pre-calculation Real Time Energy Quantity |
|  | SettlementIntervalMSSLFOAEnergy BrtuT’I’M’F’S’mdhcif | Pre-calculation Real Time Energy Quantity |
|  | BAAConstraint5mFlexRampUpUncertaintyAmount Q’Q’’mdhcif | CC 7071 Daily Flexible Ramp Up Uncertainty Capacity Settlement |
|  | BA5mResourceRTDFlexRampActualUncertaintyMovementQuantity BrtuT’I’Q’M’F’S’mdhcif | PC – Flexible Ramp Product The RTD-specific FR uncertainty movement (in MWh) that is identified for a specified supply or intertie resource. |
|  | BA5mBAAMSSLoadFollowingFRUncertaintyAllocationQuantity BQ’mdhcif | PC – Flexible Ramp Product The total uncertainty (in MWh) that is attributable to the BA of a MSS within the specified BAA, for the case where the uncertainty is associated with MSS load-following resources. |
|  | BA5mRSRCBAAMSSLoadFollowingFRUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | PC – Flexible Ramp Product |
|  | MSSLoadFollowingResourceFlag BrtuT'I'M'md | PC – Flexible Ramp Product A flag (0/1), that, when = 1, indicates that the identified MSS resource is load-following. |
|  | ResourceWholesaleExemptionFlag rmdhcif | Pre-calculation Real Time Energy Quantity |
|  | BAA5mBABAASpecificFRUMeteredDemandAllocationQuantity BQ’mdhcif | Pre-calculation Flex Ramp Product |
|  | BAA5mBAPassGroupFRUMeteredDemandAllocationQuantity BQ’mdhcif | Pre-calculation Flex Ramp Product |
|  | BAA5mBAASpecificFRUMeteredDemandAllocationQuantity Q’mdhcif | Pre-calculation Flex Ramp Product |
|  | EIMArea5mFRUPassGroupMeteredDemandAllocationQuantity mdhcif | Pre-calculation Flex Ramp Product |
|  | BAA5mFRUBAASpecificFilteredFlag Q’mdhcif | Pre-calculation Flex Ramp Product |
|  | BAA5mFRUPassGroupFilteredFlag Q’mdhcif | Pre-calculation Flex Ramp Product |

## CAISO Formula

The CAISO formula for Daily Flexible Ramp Up Uncertainty charge allocation by BA ID (B) is as follows:

    - BADailyCompleteFRUUncertaintyAllocationAmount BQ’md =

(BA5mCompleteFRUUncertaintyAllocationAmount BQ’mdhcif )

    - BA5mCompleteFRUUncertaintyAllocationAmount BQ’mdhcif =

(BA5mPassGroupFRUMeteredDemandAllocatedUncertaintyAmount BQ’mdhcif +

BA5mBAASpecificFRUMeteredDemandAllocatedUncertaintyAmount BQ’mdhcif + BA5mFRUBAACategorySpecificAllocatedUncertaintyAmount BQ’mdhcif + BA5mFRUPassGroupCategorySpecificAllocatedUncertaintyAmount BQ’mdhcif)

    - BA5mPassGroupFRUMeteredDemandAllocatedUncertaintyAmount BQ’mdhcif =

(BAA5mBAPassGroupFRUMeteredDemandAllocationQuantity BQ’mdhcif / EIMArea5mFRUPassGroupMeteredDemandAllocationQuantity mdhcif ) * EIMArea5mPassGroupFRUNeutralityMeteredDemandAllocatedAmount mdhcif

    - BA5mBAASpecificFRUMeteredDemandAllocatedUncertaintyAmount BQ’mdhcif =

If BADayGenOnlyBAAFlag BQ'md = 1

Then

BADayGenOnlyBAAFlag BQ'md * BAA5mBAASpecificFRUNeutralityMeteredDemandAllocatedAmount Q’mdhcif

Else

(BAA5mBABAASpecificFRUMeteredDemandAllocationQuantity BQ’mdhcif / BAA5mBAASpecificFRUMeteredDemandAllocationQuantity Q’mdhcif  ) * BAA5mBAASpecificFRUNeutralityMeteredDemandAllocatedAmount Q’mdhcif

    - EIMArea5mPassGroupFRUNeutralityMeteredDemandAllocatedAmount mdhcif =

EIMArea5mPassGroupFRUUncertaintyAllocationAmount mdhcif –

EIMArea5mPassGroupFRUAllocatedUncertaintyAmount mdhcif

    - BAA5mBAASpecificFRUNeutralityMeteredDemandAllocatedAmount Q’mdhcif =

BAA5mBAASpecificFRUUncertaintyAllocationAmount Q’mdhcif –

BAA5mBAASpecificFRUAllocatedUncertaintyAmount Q’mdhcif

    - EIMArea5mPassGroupFRUUncertaintyAllocationAmount mdhcif =

(-1) * BAAConstraint5mFlexRampUpUncertaintyAmount Q’Q’’mdhcif

Where Q’’ = ‘FRU_PASS_GRP’

    - BAA5mBAASpecificFRUUncertaintyAllocationAmount Q’mdhcif =

Sum (Q’’)  (-1) * BAAConstraint5mFlexRampUpUncertaintyAmount Q’Q’’mdhcif

Where Q’’ <> ‘FRU_PASS_GRP’

    - EIMArea5mPassGroupFRUAllocatedUncertaintyAmount mdhcif =

BQ'BA5mFRUPassGroupCategorySpecificAllocatedUncertaintyAmount BQ’mdhcif

    - BAA5mBAASpecificFRUAllocatedUncertaintyAmount Q’mdhcif =

Sum (B) BA5mFRUBAACategorySpecificAllocatedUncertaintyAmount BQ’mdhcif

    - BA5mFRUPassGroupCategorySpecificAllocatedUncertaintyAmount BQ’mdhcif =

(BA5mResourcePassGroupLoadFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif +

BA5mResourcePassGroupIntertieFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif +

BA5mResourcePassGroupSupplyFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif )

    - BA5mFRUBAACategorySpecificAllocatedUncertaintyAmount BQ’mdhcif =

(BA5mResourceBAASpecificLoadFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif +

BA5mResourceBAASpecificIntertieFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif +

BA5mResourceBAASpecificSupplyFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif )

    - BA5mResourcePassGroupLoadFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

IF

EIMArea5mTotalPassGroupLoadFRUUncertaintyAllocationQuantity mdhcif <> 0

THEN

BA5mResourcePassGroupLoadFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

(BA5mResourcePassGroupLoadFRUUncertaintyAllocationQuantity  BrtF’S’Q’mdhcif / EIMArea5mTotalPassGroupLoadFRUUncertaintyAllocationQuantity  mdhcif ) * EIMArea5mPassGroupLoadCategoryFRUUncertaintyAllocationAmount mdhcif

ELSE

BA5mResourcePassGroupLoadFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

0

END IF

    - BA5mResourceBAASpecificLoadFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

IF

BAA5mTotalBAASpecificLoadFRUUncertaintyAllocationQuantity Q’mdhcif <> 0

THEN

BA5mResourceBAASpecificLoadFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

(BA5mResourceBAASpecificLoadFRUUncertaintyAllocationQuantity  BrtF’S’Q’mdhcif / BAA5mTotalBAASpecificLoadFRUUncertaintyAllocationQuantity  Q’mdhcif ) * BAA5mLoadCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif

ELSE

BA5mResourceBAASpecificLoadFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

0

END IF

    - BAA5mTotalBAASpecificLoadFRUUncertaintyAllocationQuantity Q’mdhcif =

Sum(BrtF’S’)

BA5mResourceBAASpecificLoadFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

    - BA5mResourceBAASpecificLoadFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

BA5mResourceBAALoadFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif * BAA5mFRUBAASpecificFilteredFlag Q’mdhcif

    - EIMArea5mTotalPassGroupLoadFRUUncertaintyAllocationQuantity mdhcif =

Sum(BrtF’S’Q’)

BA5mResourcePassGroupLoadFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

    - BA5mResourcePassGroupLoadFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

BA5mResourceBAALoadFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif * BAA5mFRUPassGroupFilteredFlag Q’mdhcif

    - BA5mResourceBAALoadFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

uT 'I 'M 'Min(0, (1 – MSSLoadFollowingResourceFlag BrtuT'I'M'md ) * SettlementIntervalRealTimeUIE BrtuT’I’Q’M’F’S’mdhcif)

Where

t = ‘LOAD’

    - BA5mResourcePassGroupIntertieFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

IF

EIMArea5mTotalPassGroupIntertieFRUUncertaintyAllocationQuantity mdhcif <> 0

THEN

BA5mResourcePassGroupIntertieFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

(BA5mResourcePassGroupIntertieFRUUncertaintyAllocationQuantity  BrtF’S’Q’mdhcif / EIMArea5mTotalPassGroupIntertieFRUUncertaintyAllocationQuantity  mdhcif ) * EIMArea5mPassGroupIntertieCategoryFRUUncertaintyAllocationAmount mdhcif

ELSE

BA5mResourcePassGroupIntertieFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

0

END IF

    - BA5mResourceBAASpecificIntertieFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

IF

BAA5mTotalBAASpecificIntertieFRUUncertaintyAllocationQuantity Q’mdhcif <> 0

THEN

BA5mResourceBAASpecificIntertieFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

(BA5mResourceBAASpecificIntertieFRUUncertaintyAllocationQuantity  BrtF’S’Qmdhcif / BAA5mTotalBAASpecificIntertieFRUUncertaintyAllocationQuantity  Q’mdhcif ) * BAA5mIntertieCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif

ELSE

BA5mResourceBAASpecificIntertieFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

0

END IF

    - BAA5mTotalBAASpecificIntertieFRUUncertaintyAllocationQuantity Q’mdhcif =

Sum(BrtF’S’)

BA5mResourceBAASpecificIntertieFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

    - BA5mResourceBAASpecificIntertieFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

BA5mResourceBAAIntertieFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif * BAA5mFRUBAASpecificFilteredFlag Q’mdhcif

    - EIMArea5mTotalPassGroupIntertieFRUUncertaintyAllocationQuantity mdhcif =

Sum(BrtF’S’Q’)

BA5mResourcePassGroupIntertieFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

    - BA5mResourcePassGroupIntertieFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

BA5mResourceBAAIntertieFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif * BAA5mFRUPassGroupFilteredFlag Q’mdhcif

    - BA5mResourceBAAIntertieFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

uT 'I 'M ' Min(0, SettlementIntervalOAEnergy BrtuT’I’Q’M’F’S’mdhcif – SettlementIntervalMSSLFOAEnergy BrtuT’I’M’F’S’mdhcif )

Where

Resource Type (t) IN { ‘ITIE’, ‘ETIE’ } And Entity Component Type (F’) <> ‘TG’

Implementation Note: Do not calculate this quantity when BAFlexRampExemptAssessmentFlag Bmd = 1.

    - BA5mResourcePassGroupSupplyFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

IF

EIMArea5mTotalPassGroupSupplyFRUUncertaintyAllocationQuantity mdhcif <> 0

THEN

BA5mResourcePassGroupSupplyFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

(BA5mResourcePassGroupSupplyFRUUncertaintyAllocationQuantity  BrtF’S’Q’mdhcif / EIMArea5mTotalPassGroupSupplyFRUUncertaintyAllocationQuantity  mdhcif ) * EIMArea5mPassGroupSupplyCategoryFRUUncertaintyAllocationAmount mdhcif

ELSE

BA5mResourcePassGroupSupplyFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

0

END IF

    - BA5mResourceBAASpecificSupplyFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

IF

BAA5mTotalBAASpecificSupplyFRUUncertaintyAllocationQuantity Q’mdhcif <> 0

THEN

BA5mResourceBAASpecificSupplyFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

(BA5mResourceBAASpecificSupplyFRUUncertaintyAllocationQuantity  BrtF’S’Q’mdhcif / BAA5mTotalBAASpecificSupplyFRUUncertaintyAllocationQuantity  Q’mdhcif ) * BAA5mSupplyCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif

ELSE

BA5mResourceBAASpecificSupplyFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

0

END IF

    - BAA5mTotalBAASpecificSupplyFRUUncertaintyAllocationQuantity Q’mdhcif =

Sum(BrtF’S’)

BA5mResourceBAASpecificSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

    - BA5mResourceBAASpecificSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

BA5mResourceBAASupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif * BAA5mFRUBAASpecificFilteredFlag Q’mdhcif

    - EIMArea5mTotalPassGroupSupplyFRUUncertaintyAllocationQuantity mdhcif =

Sum(BrtF’S’Q’)

BA5mResourcePassGroupSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

    - BA5mResourcePassGroupSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

BA5mResourceBAASupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif *BAA5mFRUPassGroupFilteredFlag Q’mdhcif

    - BA5mResourceBAASupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

BA5mResourceBAAGenerationSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif + BA5mResourceBAAMSSLFSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

    - BA5mResourceBAAGenerationSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

uT 'I 'M '

Min(0, (1 – MSSLoadFollowingResourceFlag BrtuT'I'M'md ) * (BA5mResourceRTDFlexRampActualUncertaintyMovementQuantity BrtuT’I’Q’M’F’S’mdhcif + (1- ResourceWholesaleExemptionFlag rmdhcif)*SettlementIntervalRealTimeUIE BrtuT’I’Q’M’F’S’mdhcif ) )

Where

Resource Type (t) = ‘GEN’ Or Entity Component Type (F’) = ‘TG’

    - BA5mResourceBAAMSSLFSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

IF

BA5mBAAMSSLoadFollowingSupplyFRUUncertaintyAllocationQuantity BQ’mdhcif = 0

THEN

BA5mResourceBAAMSSLFSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif = 0

ELSE

BA5mResourceBAAMSSLFSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

BA5mBAAMSSLoadFollowingSupplyFRUUncertaintyAllocationQuantity BQ’mdhcif * (BA5mResBAAMSSLFFRURatioAllocationQuantity BrtF’S’Q’mdhcif/ BA5mBAAMSSLFFRUAggregationRatioAllocationQuantity BQ’mdhcif)

END IF

    - BA5mBAAMSSLFFRUAggregationRatioAllocationQuantity BQ’mdhcif =

( BA5mResBAAMSSLFFRURatioAllocationQuantity BrtF’S’Q’mdhcif)

    - BA5mResBAAMSSLFFRURatioAllocationQuantity BrtF’S’Q’mdhcif =

Min (0, BA5mRSRCBAAMSSLoadFollowingFRUncertaintyAllocationQuantity BrtF’S’Q’mdhcif )

    - BA5mBAAMSSLoadFollowingSupplyFRUUncertaintyAllocationQuantity BQ’mdhcif =

Min (0, BA5mBAAMSSLoadFollowingFRUncertaintyAllocationQuantity BQ’mdhcif)

    - EIMArea5mPassGroupLoadCategoryFRUUncertaintyAllocationAmount mdhcif =

Sum (Q’,Q’’)

IF

EIMArea5mPassGroupAllCategoriesFRUUncertaintyQuantity mdhcif <> 0

THEN

EIMArea5mPassGroupLoadCategoryFRUUncertaintyAllocationAmount mdhcif =

(-1) * BAAConstraint5mFlexRampUpUncertaintyAmount Q’Q’’mdhcif * (EIMArea5mPassGroupLoadFRUUncertaintyQuantity mdhcif / EIMArea5mPassGroupAllCategoriesFRUUncertaintyQuantity mdhcif)

ELSE

EIMArea5mPassGroupLoadCategoryFRUUncertaintyAllocationAmount mdhcif = 0

END IF

Where Q’’ = ‘FRU_PASS_GRP’

    - BAA5mLoadCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif =

Sum (Q’’)

IF

BAA5mBAASpecificAllCategoriesFRUUncertaintyQuantity Q’mdhcif <> 0

THEN

BAA5mLoadCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif =

(-1) * BAAConstraint5mFlexRampUpUncertaintyAmount Q’Q’’mdhcif * (BAA5mBAASpecificLoadFRUUncertaintyQuantity Q’mdhcif / BAA5mBAASpecificAllCategoriesFRUUncertaintyQuantity Q’mdhcif )

ELSE

BAA5mLoadCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif = 0

END IF

Where Q’’ <> ‘FRU_PASS_GRP’

    - EIMArea5mPassGroupIntertieCategoryFRUUncertaintyAllocationAmount mdhcif =

Sum (Q’,Q’’)

IF

EIMArea5mPassGroupAllCategoriesFRUUncertaintyQuantity mdhcif <> 0

THEN

EIMArea5mPassGroupIntertieCategoryFRUUncertaintyAllocationAmount mdhcif =

(-1) * BAAConstraint5mFlexRampUpUncertaintyAmount Q’Q’’mdhcif * (EIMArea5mPassGroupIntertieFRUUncertaintyQuantity mdhcif / EIMArea5mPassGroupAllCategoriesFRUUncertaintyQuantity mdhcif)

ELSE

EIMArea5mPassGroupIntertieCategoryFRUUncertaintyAllocationAmount mdhcif = 0

END IF

Where Q’’ = ‘FRU_PASS_GRP’

    - BAA5mIntertieCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif =

Sum (Q’’)

IF

BAA5mBAASpecificAllCategoriesFRUUncertaintyQuantity Q’mdhcif <> 0

THEN

BAA5mIntertieCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif =

(-1) * BAAConstraint5mFlexRampUpUncertaintyAmount Q’Q’’mdhcif * (BAA5mBAASpecificIntertieFRUUncertaintyQuantity Q’mdhcif / BAA5mBAASpecificAllCategoriesFRUUncertaintyQuantity Q’mdhcif )

ELSE

BAA5mIntertieCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif = 0

END IF

Where Q’’ <> ‘FRU_PASS_GRP’

    - EIMArea5mPassGroupSupplyCategoryFRUUncertaintyAllocationAmount mdhcif =

Sum (Q’,Q’’)

IF

EIMArea5mPassGroupAllCategoriesFRUUncertaintyQuantity mdhcif <> 0

THEN

EIMArea5mPassGroupSupplyCategoryFRUUncertaintyAllocationAmount mdhcif =

(-1) * BAAConstraint5mFlexRampUpUncertaintyAmount Q’Q’’mdhcif * (EIMArea5mPassGroupSupplyFRUUncertaintyQuantity mdhcif / EIMArea5mPassGroupAllCategoriesFRUUncertaintyQuantity mdhcif)

ELSE

EIMArea5mPassGroupSupplyCategoryFRUUncertaintyAllocationAmount mdhcif = 0

END IF

Where Q’’ = ‘FRU_PASS_GRP’

    - BAA5mSupplyCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif =

Sum (Q’’)

IF

BAA5mBAASpecificAllCategoriesFRUUncertaintyQuantity Q’mdhcif <> 0

THEN

BAA5mSupplyCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif =

(-1) * BAAConstraint5mFlexRampUpUncertaintyAmount Q’Q’’mdhcif * (BAA5mBAASpecificSupplyFRUUncertaintyQuantity Q’mdhcif / BAA5mBAASpecificAllCategoriesFRUUncertaintyQuantity Q’mdhcif )

ELSE

BAA5mSupplyCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif = 0

END IF

Where Q’’ <> ‘FRU_PASS_GRP’

    - EIMArea5mPassGroupAllCategoriesFRUUncertaintyQuantity mdhcif =

EIMArea5mPassGroupLoadFRUUncertaintyQuantity mdhcif + EIMArea5mPassGroupIntertieFRUUncertaintyQuantity mdhcif + EIMArea5mPassGroupSupplyFRUUncertaintyQuantity mdhcif

    - BAA5mBAASpecificAllCategoriesFRUUncertaintyQuantity Q’mdhcif =

BAA5mBAASpecificLoadFRUUncertaintyQuantity Q’mdhcif + 
BAA5mBAASpecificIntertieFRUUncertaintyQuantity Q’mdhcif + 
BAA5mBAASpecificSupplyFRUUncertaintyQuantity Q’mdhcif

    - EIMArea5mPassGroupLoadFRUUncertaintyQuantity mdhcif =

Sum (Q’)

BAA5mBAASpecificLoadFRUUncertaintyQuantity Q’mdhcif * BAA5mFRUPassGroupFilteredFlag Q’mdhcif

    - EIMArea5mPassGroupIntertieFRUUncertaintyQuantity mdhcif =

Sum (Q’)

BAA5mBAASpecificIntertieFRUUncertaintyQuantity Q’mdhcif * BAA5mFRUPassGroupFilteredFlag Q’mdhcif

    - EIMArea5mPassGroupSupplyFRUUncertaintyQuantity mdhcif =

Sum (Q’)

BAA5mBAASpecificSupplyFRUUncertaintyQuantity Q’mdhcif * BAA5mFRUPassGroupFilteredFlag Q’mdhcif

    - BAA5mBAASpecificLoadFRUUncertaintyQuantity Q’mdhcif =

AttributeSwap (Q’, Q’’)

BAA5mBAASpecificLoadFRUUncertaintyByConstraintIDQuantity Q’’mdhcif

    - BAA5mBAASpecificLoadFRUUncertaintyByConstraintIDQuantity Q’’mdhcif =

Max(0, BAA5mTotalLoadUncertaintyQty Q’’mdhcif )

Where Q’’ <> ‘EIM_AREA’

    - BAA5mBAASpecificIntertieFRUUncertaintyQuantity Q’mdhcif =

AttributeSwap (Q’, Q’’)

BAA5mBAASpecificIntertieFRUUncertaintyByConstraintIDQuantity Q’’mdhcif

    - BAA5mBAASpecificIntertieFRUUncertaintyByConstraintIDQuantity Q’’mdhcif =

Max(0, BAA5mTotalIntertieUncertaintyQty Q’’mdhcif )

Where Q’’ <> ‘EIM_AREA’

    - BAA5mBAASpecificSupplyFRUUncertaintyQuantity Q’mdhcif =

AttributeSwap (Q’, Q’’)

BAA5mBAASpecificSupplyFRUUncertaintyByConstraintIDQuantity Q’’mdhcif

    - BAA5mBAASpecificSupplyFRUUncertaintyByConstraintIDQuantity Q’’mdhcif =

Max(0, BAA5mTotalSupplyUncertaintyQty Q’’mdhcif )

Where Q’’ <> ‘EIM_AREA’

## Outputs

| Row # | Name | Description |
| --- | --- | --- |
| -- | In addition to any outputs listed below, all inputs shall be included as outputs. |  |
|  | BADailyCompleteFRUUncertaintyAllocationAmount BQ’md | FRU Uncertainty Charge (in $) allocated to a BA of resources throughout the EIM Area as a share of the cost of the FRU award settlement amount for the Trading Day. |
|  | BA5mCompleteFRUUncertaintyAllocationAmount BQ’mdhcif | FRU Uncertainty Charge (in $) allocated to the scheduling BA of resources throughout the EIM Area, as a share of the cost of the FRU award settlement amount for the Trading Day. |
|  | BA5mPassGroupFRUMeteredDemandAllocatedUncertaintyAmount BQ’mdhcif | The total FRU Uncertainty Charge allocated to the scheduling BA associated with BAA’s that passed their Flex Ramp Up Balancing Test. |
|  | BA5mBAASpecificFRUMeteredDemandAllocatedUncertaintyAmount BQ’mdhcif | The total FRU Uncertainty Charge allocated to the scheduling BA associated with BAA’s that failed their Flex Ramp Up Balancing Test. |
|  | EIMArea5mPassGroupFRUNeutralityMeteredDemandAllocatedAmount mdhcif | The FRU Uncertainty Charge (in $) for BAAs that passed their Flex Ramp Up Balancing Test resulting from the FRU award settlement amount (in $) for uncertainty movement that was not identified with any particular BAA. |
|  | BAA5mBAASpecificFRUNeutralityMeteredDemandAllocatedAmount Q’mdhcif | The FRU Uncertainty Charge (in $) for BAAs that failed their Flex Ramp Up Balancing Test resulting from the FRU award settlement amount (in $) for uncertainty movement that was not identified with any particular BAA. |
|  | EIMArea5mPassGroupFRUUncertaintyAllocationAmount mdhcif | The amount (in $) representing the total charge allocation for FRU uncertainty movement over the EIM Area for BAAs that passed their Flex Ramp Up Balancing Test, as the product of minus 1 (-1) times the sum of FMM FRU uncertainty settlement amount, RTD FRU uncertainty settlement amount and FRU rescission settlement amount. The amount includes the effect of any PTB adjustment to the FRU uncertainty movement settlement amount. The amount should be positive to reflect an actual charge. |
|  | BAA5mBAASpecificFRUUncertaintyAllocationAmount Q’mdhcif | The amount (in $) representing the total charge allocation for FRU uncertainty movement for each BAAs that failed their Flex Ramp Up Balancing Test, as the product of minus 1 (-1) times the sum of FMM FRU uncertainty settlement amount, RTD FRU uncertainty settlement amount and FRU rescission settlement amount. The amount includes the effect of any PTB adjustment to the FRU uncertainty movement settlement amount. The amount should be positive to reflect an actual charge. |
|  | EIMArea5mPassGroupFRUAllocatedUncertaintyAmount mdhcif | The sum of FRU Uncertainty Charges (in $) associated with the FRU uncertainty award settlement amounts relating to the uncertainty movement of each BAA that passed their Flex Ramp Up Balancing Test. |
|  | BAA5mBAASpecificFRUAllocatedUncertaintyAmount Q’mdhcif | The sum of FRU Uncertainty Charges (in $) associated with the FRU uncertainty award settlement amounts relating to the uncertainty movement of each BAA that failed their Flex Ramp Up Balancing Test. |
|  | BA5mFRUPassGroupCategorySpecificAllocatedUncertaintyAmount BQ’mdhcif | The FRU Uncertainty charge (in $) that reflects the total of FRU award settlement amounts allocated to resources of a scheduling BA and specified BAA that passed their Flex Ramp Up Balancing Test. |
|  | BA5mFRUBAACategorySpecificAllocatedUncertaintyAmount BQ’mdhcif | The FRU Uncertainty charge (in $) that reflects the total of FRU award settlement amounts allocated to resources of a scheduling BA and specified BAA that failed their Flex Ramp Up Balancing Test. |
|  | BA5mResourcePassGroupLoadFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif | The FRU Uncertainty charge component (in $) that reflects the total FRU award settlement amount that is allocated to a Load resource of scheduling the scheduling BA and specified BAA that passed their Flex Ramp Up Balancing Test. |
|  | BA5mResourceBAASpecificLoadFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif | The FRU Uncertainty charge component (in $) that reflects the total FRU award settlement amount that is allocated to a Load resource of scheduling the scheduling BA and specified BAA that failed their Flex Ramp Up Balancing Test. |
|  | BAA5mTotalBAASpecificLoadFRUUncertaintyAllocationQuantity Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to all of the Load resources over a BAA that has failed their Flex Ramp Up Balancing Test. |
|  | BA5mResourceBAASpecificLoadFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to a Load resource associated with the specified BA over a BAA that has failed their Flex Ramp Up Balancing Test. |
|  | EIMArea5mTotalPassGroupLoadFRUUncertaintyAllocationQuantity mdhcif | The total FRU uncertainty (in MWh) that is attributable to all of the Load resources over the entire EIM Area of BAAs that has passed their Flex Ramp Up Balancing Test. |
|  | BA5mResourcePassGroupLoadFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to a Load resource associated with the specified BA over a BAA that has passed their Flex Ramp Up Balancing Test. |
|  | BA5mResourceBAALoadFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to a Load resource associated with the specified BAA. |
|  | BA5mResourcePassGroupIntertieFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif | The FRU Uncertainty charge component (in $) that reflects the total FRU award settlement amount that is allocated to a Intertie resource of scheduling the scheduling BA and specified BAA that passed their Flex Ramp Up Balancing Test. |
|  | BA5mResourceBAASpecificIntertieFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif | The FRU Uncertainty charge component (in $) that reflects the total FRU award settlement amount that is allocated to a Intertie resource of scheduling the scheduling BA and specified BAA that failed their Flex Ramp Up Balancing Test. |
|  | BAA5mTotalBAASpecificIntertieFRUUncertaintyAllocationQuantity Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to all of the Intertie resources over a BAA that has failed their Flex Ramp Up Balancing Test. |
|  | BA5mResourceBAASpecificIntertieFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to a Intertie resource associated with the specified BA over a BAA that has failed their Flex Ramp Up Balancing Test. |
|  | EIMArea5mTotalPassGroupIntertieFRUUncertaintyAllocationQuantity mdhcif | The total FRU uncertainty (in MWh) that is attributable to all of the Intertie resources over the entire EIM Area of BAAs that has passed their Flex Ramp Up Balancing Test. |
|  | BA5mResourcePassGroupIntertieFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to a Intertie resource associated with the specified BA over a BAA that has passed their Flex Ramp Up Balancing Test. |
|  | BA5mResourceBAAIntertieFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to a Intertie resource associated with the specified BAA. |
|  | BA5mResourcePassGroupSupplyFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif | The FRU Uncertainty charge component (in $) that reflects the total FRU award settlement amount that is allocated to a Supply resource of scheduling the scheduling BA and specified BAA that passed their Flex Ramp Up Balancing Test. |
|  | BA5mResourceBAASpecificSupplyFRUUncertaintyAllocationAmount BrtF’S’Q’mdhcif | The FRU Uncertainty charge component (in $) that reflects the total FRU award settlement amount that is allocated to a Supply resource of scheduling the scheduling BA and specified BAA that failed their Flex Ramp Up Balancing Test. |
|  | BAA5mTotalBAASpecificSupplyFRUUncertaintyAllocationQuantity Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to all of the Supply resources over a BAA that has failed their Flex Ramp Up Balancing Test. |
|  | BA5mResourceBAASpecificSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to a Supply resource associated with the specified BA over a BAA that has failed their Flex Ramp Up Balancing Test. |
|  | EIMArea5mTotalPassGroupSupplyFRUUncertaintyAllocationQuantity mdhcif | The total FRU uncertainty (in MWh) that is attributable to all of the Supply resources over the entire EIM Area of BAAs that has passed their Flex Ramp Up Balancing Test. |
|  | BA5mResourcePassGroupSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to a Supply resource associated with the specified BA over a BAA that has passed their Flex Ramp Up Balancing Test. |
|  | BA5mResourceBAASupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to a Supply resource associated with the specified BAA. |
|  | BA5mResourceBAAGenerationSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRU uncertainty (in MWh) that is attributable to a BAA resource that is a generating unit or dynamic system resource that is not a MSS load-following resource. |
|  | BA5mResourceBAAMSSLFSupplyFRUUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | MSS Load Following Supply Flexible Ramp Up Uncertainty Allocation Quantity by Business Associate ID and resource |
|  | BA5mBAAMSSLFFRUAggregationRatioAllocationQuantity BQ’mdhcif | The MSS Load Following Allocation Quantity by Business Associate ID. This Quantity is used to distribute the BA5mBAAMSSLoadFollowingFRUncertaintyAllocationQuantity to the resource which contribute to the FRU Uncertainty need. |
|  | BA5mResBAAMSSLFFRURatioAllocationQuantity BrtF’S’Q’mdhcif | The MSS Load Following Allocation Quantity by Resource. This Quantity is used to distribute the BA5mBAAMSSLoadFollowingFRUncertaintyAllocationQuantity to the resource which contribute to the FRU Uncertainty need. |
|  | BA5mBAAMSSLoadFollowingSupplyFRUUncertaintyAllocationQuantity BQ’mdhcif | The total FRU uncertainty (in MWh) that is attributable to the BA of a MSS within the specified BAA, for the case where the uncertainty is associated with MSS load-following resources. |
|  | EIMArea5mPassGroupLoadCategoryFRUUncertaintyAllocationAmount mdhcif | The EIM Area FRU Uncertainty charge component (in $) associated with FRU Uncertainty awards for BAAs that passed their Flex Ramp Up Balancing Test that serve to satisfy the part of an EIM Area FRU Uncertainty constraint requirement that pertains to Load uncertainty. |
|  | BAA5mLoadCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif | The BAA FRU Uncertainty charge component (in $) associated with FRU Uncertainty awards for specific BAA that passed their Flex Ramp Up Balancing Test that serve to satisfy the part of an EIM Area FRU Uncertainty constraint requirement for a BAA that pertains to Load uncertainty. |
|  | EIMArea5mPassGroupIntertieCategoryFRUUncertaintyAllocationAmount mdhcif | The EIM Area FRU Uncertainty charge component (in $) associated with FRU Uncertainty awards for BAAs that passed their Flex Ramp Up Balancing Test that serve to satisfy the part of an EIM Area FRU Uncertainty constraint requirement that pertains to intertie uncertainty. |
|  | BAA5mIntertieCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif | The BAA FRU Uncertainty charge component (in $) associated with FRU Uncertainty awards for specific BAA that passed their Flex Ramp Up Balancing Test that serve to satisfy the part of an EIM Area FRU Uncertainty constraint requirement for a BAA that pertains to intertie uncertainty. |
|  | EIMArea5mPassGroupSupplyCategoryFRUUncertaintyAllocationAmount mdhcif | The EIM Area FRU Uncertainty charge component (in $) associated with FRU Uncertainty awards for BAAs that passed their Flex Ramp Up Balancing Test that serve to satisfy the part of an EIM Area FRU Uncertainty constraint requirement that pertains to supply uncertainty. |
|  | BAA5mSupplyCategoryBAAConstraintFRUUncertaintyAllocationAmount Q’mdhcif | The BAA FRU Uncertainty charge component (in $) associated with FRU Uncertainty awards for specific BAA that passed their Flex Ramp Up Balancing Test that serve to satisfy the part of an EIM Area FRU Uncertainty constraint requirement for a BAA that pertains to supply uncertainty. |
|  | EIMArea5mPassGroupAllCategoriesFRUUncertaintyQuantity mdhcif | The total of FRU Uncertainty (in MW) from all three (3) of the FRU Uncertainty categories (supply, intertie, load) of resources in the EIM Area that belong to BAAs that passed their Flex Ramp Up Balancing Test. |
|  | BAA5mBAASpecificAllCategoriesFRUUncertaintyQuantity Q’mdhcif | The total of FRU Uncertainty (in MW) from all three (3) of the FRU Uncertainty categories (supply, intertie, load) of resources in each BAAs that failed their Flex Ramp Up Balancing Test. |
|  | EIMArea5mPassGroupLoadFRUUncertaintyQuantity mdhcif | The total of FRU Uncertainty (in MW) from the Load FRU Uncertainty category of resources in the EIM Area in association with BAAs that passed their Flex Ramp Up Balancing Test. |
|  | EIMArea5mPassGroupIntertieFRUUncertaintyQuantity mdhcif | The total of FRU Uncertainty (in MW) from the Intertie FRU Uncertainty category of resources in the EIM Area in association with BAAs that passed their Flex Ramp Up Balancing Test. |
|  | EIMArea5mPassGroupSupplyFRUUncertaintyQuantity mdhcif | The total of FRU Uncertainty (in MW) from the Supply FRU Uncertainty category of resources in the EIM Area in association with BAAs that passed their Flex Ramp Up Balancing Test. |
|  | BAA5mBAASpecificLoadFRUUncertaintyQuantity Q’mdhcif | The total of FRU Uncertainty (in MW) from the Load FRU Uncertainty category of resources in association with a specific BAA that failed their Flex Ramp Up Balancing Test. |
|  | BAA5mBAASpecificLoadFRUUncertaintyByConstraintIDQuantity Q’mdhcif | The total of FRU Uncertainty (in MW) from the Load FRU Uncertainty category of resources in association with a specific BAA that failed their Flex Ramp Up Balancing Test by Constraint ID. |
|  | BAA5mBAASpecificIntertieFRUUncertaintyQuantity Q’mdhcif | The total of FRU Uncertainty (in MW) from the Intertie FRU Uncertainty category of resources in association with a specific BAA that failed their Flex Ramp Up Balancing Test. |
|  | BAA5mBAASpecificIntertieFRUUncertaintyByConstraintIDQuantity Q’mdhcif | The total of FRU Uncertainty (in MW) from the Intertie FRU Uncertainty category of resources in association with a specific BAA that failed their Flex Ramp Up Balancing Test by Constraint ID. |
|  | BAA5mBAASpecificSupplyFRUUncertaintyQuantity Q’mdhcif | The total of FRU Uncertainty (in MW) from the Supply FRU Uncertainty category of resources in association with a specific BAA that failed their Flex Ramp Up Balancing Test. |
|  | BAA5mBAASpecificSupplyFRUUncertaintyByConstraintIDQuantity Q’mdhcif | The total of FRU Uncertainty (in MW) from the Supply FRU Uncertainty category of resources in association with a specific BAA that failed their Flex Ramp Up Balancing Test by Constraint ID. |

# Charge Code Effective Dates

| Charge Code / Pre-calc Name | Document Version | Effective Start Date | Effective End Date | Version Update Type |
| --- | --- | --- | --- | --- |
| CC 7077 Daily Flexible Ramp Up Uncertainty Award Allocation | 5.0 | 11/01/16 | 10/31/16 | Initial Implementation |
| CC 7077 Daily Flexible Ramp Up Uncertainty Award Allocation | 5.1 | 11/01/16 | 9/30/20 | Documentation Edits and Configuration Impacted |
| CC 7077 Daily Flexible Ramp Up Uncertainty Award Allocation | 5.2 | 10/1/20 | 10/31/21 | Documentation Edits and Configuration Impacted |
| CC 7077 Daily Flexible Ramp Up Uncertainty Award Allocation | 5.3 | 11/1/21 | 9/30/22 | Configuration Impacted |
| CC 7077 Daily Flexible Ramp Up Uncertainty Award Allocation | 5.4 | 10/1/22 | Open | Configuration Impacted |