Configuration Guide: Daily Flexible Ramp Down Uncertainty Award Allocation

Version 5.2

Table of Contents

1.	Purpose of Document	3

2.	Introduction	3

2.1	Background	3

2.2	Description	3

3.	Charge Code Requirements	3

3.1	Business Rules	3

3.2	Predecessor Charge Codes	7

3.3	Successor Charge Codes	7

3.4	Inputs - External Systems	7

3.5	Inputs - Predecessor Charge Codes or Pre-calculations	8

3.6	CAISO Formula	10

3.7	Outputs	18

4.	Charge Code Effective Dates	24

# Purpose of Document

The purpose of this document is to capture the requirements and design specification for a Charge Code in one document.

# Introduction

## Background

The Flexible Ramping product (FRP) is designed to ensure that there is sufficient ramping capability available in the financially binding five-minute interval to meet the forecasted net load for interval t+5 and cover upwards and downwards forecast error uncertainty.

FRP will help the system to maintain and use dispatchable capacity, as well as provide the market more transparent and less volatile price signals when undergoing forecasted ramp-constrained conditions.  It will be procured and dispatched to meet five minute to five minute net forecast (load forecast minus VER forecast) changes plus uncertainty and will be modeled as a ramping capability constraint.

The ISO will financially settle FRP in the fifteen-minute market and the five-minute market, with rescission of payments applied to resources with UIE (uninstructed imbalance energy) or OA (operational adjustment) amounts, positive or negative, which are imposed on reserved FRP capacity awards. Settlement and allocation of FRP costs will happen on a daily basis for forecasted movement portion and uncertainty award portion.  At the end of the month, the uncertainty award allocation will be reversed and will be re-allocated based on the month’s net UIE or OA values.

As no economic bids are applied to FRP, FRU/FRD awards will be exempt from grid management charges (GMC).  Additionally, dispatchable resources will have their FRP awards and forecasted movement assessments - ignoring rescission settlement - included as part of daily RTM bid cost recovery calculations.

## Description

For each Balancing Authority Area (BAA) and Trading Day this charge code configuration shall allocate the charges associated with the total Flexible Ramp Down Uncertainty capacity award settlement amounts that are paid in association with charge code CC 7087 (Daily Flexible Ramp Down Uncertainty Capacity Settlement) to the BAA in accord with the business rules and attendant allocation criteria stipulated in Business Rules section 3.1 below.

# Charge Code Requirements

## Business Rules

| Bus Req ID | Business Rule |
| --- | --- |
|  | FRU and FRD uncertainty movement payments and charges shall apply daily with monthly resettlement of the FRU and FRD uncertainty movement charges. |
|  | The CAISO will allocate: |
|  | - the cost of the Uncertainty Award within each Balancing Authority Area in the EIM Area and within the EIM Area on a daily basis according to resource categories; |
|  | - the daily amounts to Scheduling Coordinators. |
|  | For each interval, the CAISO will calculate the net Uncertainty Movement of each resource as follow: |
|  | - for Supply resources other than non-Dynamic System Resources as the difference between the Dispatch Instruction of the binding interval in the next RTD run and the first advisory RTD interval in the current run. |
|  | - for non-Dynamic System Resource and export schedule as the difference between the schedule used in the RTD (accounting for ramp) for the binding interval in the next RTD run and the scheduled use for the first advisory interval in the current RTD run. |
|  | The CAISO will determine the total net RTD Uncertainty Movement for each category separately for each Balancing Authority Area in the EIM Area and by EIM Area as follows: |
|  | - for the category of Supply resources, which shall not include non-Dynamic System Resources, as the net sum of the five-minute Uncertainty Movement of all the Supply resources in the category; |
|  | - for the category of Intertie resources, which shall comprise non-Dynamic System Resources and exports, as the net sum of the five-minute Uncertainty Movement determined of all the non-Dynamic System resources and export schedules; |
|  | - for the non-Participating Load category, as the difference between- - the CAISO Forecast of CAISO Demand, the CAISO forecast of Balancing Authority Area EIM Demand, or the CAISO forecast of EIM Area EIM Demand, as applicable, of the binding interval in the next RTD run; and - the CAISO Forecast of CAISO Demand, the CAISO forecast of Balancing Authority Area EIM Demand, or the CAISO forecast of EIM Area EIM Demand, for the first advisory interval in the current RTD run. |
|  | The CAISO will allocate the total upward Uncertainty Award cost to each of the three (3) resource categories based on — |
|  | - for upward Uncertainty Award cost, the ratio of such category’s positive Uncertainty Movement to the sum of the positive Uncertainty Movements of all categories with positive Uncertainty Movement for - each Balancing Authority Area in the EIM Area and - the EIM Area; and, |
|  | - for downward Uncertainty Award cost, the ratio of such category’s positive Uncertainty Movement to the sum of the negative Uncertainty Movements of all categories with negative Uncertainty Movement for - each Balancing Authority Area in the EIM Area and - the EIM Area. |
|  | The CAISO will allocate the Uncertainty Awards costs of the non-Participating Load category to Scheduling Coordinators as follows: |
|  | - for upward Uncertainty Award cost in proportion to the Scheduling Coordinator’s negative non-Participating Load UIE, excluding the non-Participating Load of an MSS that has elected to load-follow according to an MSS Agreement, without netting that UIE across Settlement Intervals, to the total of such negative non-Participating Load UIE, without netting that UIE across Settlement Intervals, in the Balancing Authority Area or EIM Area as applicable; |
|  | The allocated upward Uncertainty Award costs shall signify an increase in the Scheduling Coordinator’s Demand (i.e., more Demand than expected). |
|  | - for downward Uncertainty Award cost in proportion to the Scheduling Coordinator’s daily positive non-Participating Load UIE, excluding the non-Participating Load of an MSS that has elected to load-follow according to an MSS Agreement, without netting that UIE across Settlement Intervals, to the total of such positive non-Participating Load UIE, without netting that UIE across Settlement Intervals, in the BAA or EIM Area as applicable. |
|  | The allocated upward Uncertainty Award costs shall signify a decrease in the Scheduling Coordinator’s Demand (i.e., less Demand than expected). |
|  | The CAISO will allocate the Uncertainty Awards costs of the Supply category to Scheduling Coordinators for each resource in the Supply category based on the sum of the resource’s Uncertainty Movement and UIE as follows: |
|  | - for upward Uncertainty Award cost in proportion to the Scheduling Coordinator’s negative sum of the resource’s Uncertainty Movement and UIE, without netting that sum across Settlement Intervals, to the total negative sum of all resources’ Uncertainty Movement and UIE, without netting that sum across Settlement Intervals, in the Balancing Authority Area or EIM Area as applicable, except as stipulated in 3) below; |
|  | The allocated upward Uncertainty Award costs shall signify a decrease in the Scheduling Coordinator’s Generation (i.e., less Generation than expected). |
|  | - for downward Uncertainty Award cost in proportion to the Scheduling Coordinator’s positive sum of the resource’s Uncertainty Movement and UIE, without netting that sum across Settlement Intervals, to the total positive sum of all resources’ Uncertainty Movement and UIE, without netting that sum across Settlement Intervals, in the BAA or EIM Area as applicable, except as stipulated in 3) below; |
|  | The allocated upward Uncertainty Award costs shall signify an increase in the Scheduling Coordinator’s Generation (i.e., more Generation than expected). |
|  | - for the MSS that have elected to load follow pursuant to an MSS Agreement, the CAISO will calculate the positive and negative sums specified above for each Settlement Interval as the sum of MSS non-Participating Load UIE, Supply resources within the MSS UIE, MSS Load Following Energy, MSS Load Following Operational Adjustments, and Uncertainty Movement of resources within the MSS Aggregation. |
|  | The CAISO will allocate the Uncertainty Awards costs of the Intertie category to Scheduling Coordinators for each non-Dynamic System Resource and export based on the sum of the resource’s Uncertainty Movement and Operational Adjustment as follows: |
|  | - for upward Uncertainty Award cost in proportion to the magnitude of the Scheduling Coordinator’s negative Operational Adjustment for non-Dynamic System Resources, or positive Operational Adjustment for export resources (where export Energy is considered positive) relative to the sum of magnitude of such Operational Adjustments in the Balancing Authority Area or EIM Area, as applicable, without netting that sum across Settlement Intervals; |
|  | The allocated upward Uncertainty Award costs shall signify a decrease in the Scheduling Coordinator’s import Generation (i.e., imported Energy less than expected) or an increase in the Scheduling Coordinator’s export Generation (i.e., exported Energy more than expected). |
|  | - for downward Uncertainty Award cost in in proportion to the magnitude of the Scheduling Coordinator’s positive Operational Adjustment for non-Dynamic System Resources, or magnitude of negative Operational Adjustment for export resources (where export Energy is considered positive) relative to the sum of the magnitude of such Operational Adjustments in the Balancing Authority Area or EIM Area, as applicable, without netting that sum across Settlement Intervals; |
|  | The allocated upward Uncertainty Award costs shall signify an increase in the Scheduling Coordinator’s import Generation (i.e., imported Energy more than expected) or a decrease in the Scheduling Coordinator’s export Generation (i.e., exported Energy less than expected). |
|  | - for the purposes of the allocations specified above, the MSS Load Following Operational Adjustment is excluded. |
|  | If the sum of the settlement of Uncertainty Awards and the charges to Scheduling Coordinators for Uncertainty Award costs is nonzero, the CAISO will allocate such amounts to Scheduling Coordinators based on the ratio of its metered CAISO Demand and metered EIM Demand to the total EIM area metered demand. |
|  | For adjustments to the Charge Code that cannot be accomplished by correction of upstream data inputs/recalculation or operator override, Pass Through Bill Charge logic will be applied. |
|  | When an eligible resource has an interval with a negative MWh meter, CAISO will not charge for the energy of those intervals. |

## Predecessor Charge Codes

Charge Code/ Pre-calc Name

Pre-calculation MSS Netting

Pre-calculation Real Time Energy Quantity

CC 7081 Daily Flexible Ramp Down Uncertainty Capacity Settlement

CC 7077 Daily Flexible Ramp Up Uncertainty Award Allocation

## Successor Charge Codes

Charge Code/ Pre-calc Name

CC 7088 – Monthly Flexible Ramp Down Uncertainty Award Allocation

## Inputs - External Systems

| Row # | Variable Name | Description |
| --- | --- | --- |
|  | BAA5mTotalLoadUncertaintyQty Q’’mdhcif | The total of Uncertainty (in MW) from the Load Uncertainty category of resources in association with a BAA constraint. A positive value represents FRU Uncertainty, while a negative value represents FRD Uncertainty. |
|  | BAA5mTotalIntertieUncertaintyQty Q’’mdhcif | The total of Uncertainty (in MW) from the intertie Uncertainty category of resources in association with a BAA constraint. A positive value represents FRU Uncertainty, while a negative value represents FRD Uncertainty. |
|  | BAA5mTotalSupplyUncertaintyQty Q’’mdhcif | The total of Uncertainty (in MW) from the supply Uncertainty category of resources in association with a BAA constraint. A positive value represents FRU Uncertainty, while a negative value represents FRD Uncertainty. |
|  | PTBBAADayFRDUncertaintyAllocAmt BJmd | PTB charge adjustment for FRD Uncertainty Allocation (in $) |

## Inputs - Predecessor Charge Codes or Pre-calculations

| Row # | Variable Name | Predecessor Charge Code/ Pre-calc Configuration |
| --- | --- | --- |
|  | EIMAreaSettlementIntervalTotalMeteredDemandQuantity mdhcif | Pre-calculation MSS Netting |
|  | SettlementIntervalRealTimeUIE BrtuT’I’Q’M’F’S’mdhcif | Pre-calculation Real Time Energy Quantity |
|  | SettlementIntervalOAEnergy BrtuT’I’Q’M’F’S’mdhcif | Pre-calculation Real Time Energy Quantity |
|  | SettlementIntervalMSSIIE BrtuT’I’Q’M’F’S’mdhcif | Pre-calculation Real Time Energy Quantity |
|  | SettlementIntervalMSSLFOAEnergy BrtuT’I’M’F’S’mdhcif | Pre-calculation Real Time Energy Quantity |
|  | BAAConstraint5mFlexRampDownUncertaintyAmount Q’Q’’mdhcif | CC 7081 Daily Flexible Ramp Down Uncertainty Capacity Settlement |
|  | BA5mResourceRTDFlexRampActualUncertaintyMovementQuantity BrtuT’I’Q’M’F’S’mdhcif | CC 7077 Daily Flexible Ramp Up Uncertainty Award Allocation The RTD-specific FR uncertainty movement (in MWh) that is identified for a specified supply or intertie resource. |
|  | BA5mBAAMSSLoadFollowingFRUncertaintyAllocationQuantity BQ’mdhcif | CC 7077 Daily Flexible Ramp Up Uncertainty Award Allocation The total uncertainty (in MWh) that is attributable to the BA of a MSS within the specified BAA, for the case where the uncertainty is associated with MSS load-following resources. |
|  | BA5mRSRCBAAMSSLoadFollowingFRUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | CC 7077 Daily Flexible Ramp Up Uncertainty Award Allocation |
|  | MSSLoadFollowingResourceFlag BrtuT'I'M'md | CC 7077 Daily Flexible Ramp Up Uncertainty Award Allocation A flag (0/1), that, when = 1, indicates that the identified MSS resource is load-following. |
|  | BAA5mBAMeteredDemandAllocationQuantity BQ’mdhcif | CC 7077 Daily Flexible Ramp Up Uncertainty Award Allocation |
|  | ResourceWholesaleExemptionFlag rmdhcif | Pre-calculation Real Time Energy Quantity |

## CAISO Formula

The CAISO formula for Daily Flexible Ramp Down Uncertainty charge allocation by BA ID (B) is as follows:

    - BADailyCompleteFRDUncertaintyAllocationAmount BQ’md =

hcf∈c BA5mCompleteFRDUncertaintyAllocationAmount BQ’mdhcif BQ’mdhcif

    - BA5mCompleteFRDUncertaintyAllocationAmount BQ’mdhcif =

(BA5mFRDEIMAreaMeteredDemandAllocatedUncertaintyAmount BQ’mdhcif + BA5mFRDCategorySpecificAllocatedUncertaintyAmount BQ’mdhcif )

    - BA5mFRDEIMAreaMeteredDemandAllocatedUncertaintyAmount BQ’mdhcif =

(BAA5mBAMeteredDemandAllocationQuantity BQ’mdhcif / EIMAreaSettlementIntervalTotalMeteredDemandQuantity mdhcif ) * EIMArea5mFRDNeutralityMeteredDemandAllocatedAmount mdhcif

    - EIMArea5mFRDNeutralityMeteredDemandAllocatedAmount mdhcif =

EIMArea5mFRDUncertaintyAllocationAmount mdhcif –

EIMArea5mFRDAllocatedUncertaintyAmount mdhcif

    - EIMArea5mFRDUncertaintyAllocationAmount mdhcif =

Q'Q'' (-1) * BAAConstraint5mFlexRampDownUncertaintyAmount Q’Q’’mdhcif

    - EIMArea5mFRDAllocatedUncertaintyAmount mdhcif =

BQ' BA5mFRDCategorySpecificAllocatedUncertaintyAmount BQ’mdhcif

    - BA5mFRDCategorySpecificAllocatedUncertaintyAmount BQ’mdhcif =

rtF'S'(BA5mResourceBAALoadFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif +

BA5mResourceBAAIntertieFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif +

BA5mResourceBAASupplyFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif )

    - BA5mResourceBAALoadFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

IF

BAA5mTotalLoadFRDUncertaintyAllocationQuantity Q’mdhcif <> 0

THEN

BA5mResourceBAALoadFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

(BA5mResourceBAALoadFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif / BAA5mTotalLoadFRDUncertaintyAllocationQuantity Q’mdhcif ) * BAA5mLoadCategoryFRDUncertaintyAllocationAmount Q’mdhcif

ELSE

BA5mResourceBAALoadFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

0

END IF

    - EIMArea5mTotalLoadFRDUncertaintyAllocationQuantity mdhcif =

Q'BAA5mTotalLoadFRDUncertaintyAllocationQuantity Q’mdhcif

    - BAA5mTotalLoadFRDUncertaintyAllocationQuantity Q’mdhcif =

BrtF'S' BA5mResourceBAALoadFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

    - BA5mResourceBAALoadFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

uT 'I 'M ' Max(0, (1 – MSSLoadFollowingResourceFlag BrtuT'I'M'md ) * SettlementIntervalRealTimeUIE BrtuT’I’Q’M’F’S’mdhcif)

Where

t = ‘LOAD’

### BA5mResourceBAAIntertieFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

IF

BAA5mTotalIntertieFRDUncertaintyAllocationQuantity Q’mdhcif <> 0

THEN

BA5mResourceBAAIntertieFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

(BA5mResourceBAAIntertieFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif / BAA5mTotalIntertieFRDUncertaintyAllocationQuantity Q’mdhcif ) * BAA5mIntertieCategoryFRDUncertaintyAllocationAmount Q’mdhcif

ELSE

BA5mResourceBAAIntertieFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

0

END IF

    - EIMArea5mTotalIntertieFRDUncertaintyAllocationQuantity mdhcif =

Q'BAA5mTotalIntertieFRDUncertaintyAllocationQuantity Q’mdhcif

    - BAA5mTotalIntertieFRDUncertaintyAllocationQuantity Q’mdhcif =

BrtF'S'BA5mResourceBAAIntertieFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

    - BA5mResourceBAAIntertieFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

uT 'I 'M ' Max(0, SettlementIntervalOAEnergy BrtuT’I’Q’M’F’S’mdhcif – SettlementIntervalMSSLFOAEnergy BrtuT’I’M’F’S’mdhcif )

Where

Resource Type (t) IN { ‘ITIE’, ‘ETIE’ } And Entity Component Type (F’) <> ‘TG’

    - BA5mResourceBAASupplyFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

IF

BAA5mTotalSupplyFRDUncertaintyAllocationQuantity Q’mdhcif <> 0

THEN

BA5mResourceBAASupplyFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

(BA5mResourceBAASupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif / BAA5mTotalSupplyFRDUncertaintyAllocationQuantity Q’mdhcif ) * BAA5mSupplyCategoryFRDUncertaintyAllocationAmount Q’mdhcif

ELSE

BA5mResourceBAASupplyFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif =

0

END IF

    - EIMArea5mTotalSupplyFRDUncertaintyAllocationQuantity mdhcif =

Q'BAA5mTotalSupplyFRDUncertaintyAllocationQuantity Q’mdhcif

    - BAA5mTotalSupplyFRDUncertaintyAllocationQuantity Q’mdhcif =

BrtF'S' BA5mResourceBAASupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

    - BA5mResourceBAASupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

BA5mResourceBAAGenerationSupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif + BA5mResourceBAAMSSLoadFollowingSupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif

    - BA5mResourceBAAGenerationSupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

uT 'I 'M '

Max(0, (1 – MSSLoadFollowingResourceFlag BrtuT'I'M'md ) * (BA5mResourceRTDFlexRampActualUncertaintyMovementQuantity BrtuT’I’Q’M’F’S’mdhcif + (1- ResourceWholesaleExemptionFlag rmdhcif)*SettlementIntervalRealTimeUIE BrtuT’I’Q’M’F’S’mdhcif ) )

Where

Resource Type (t) = ‘GEN’ Or Entity Component Type (F’) = ‘TG’

    - BA5mResourceBAAMSSLoadFollowingSupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

IF

BA5mBAAMSSLoadFollowingSupplyFRDUncertaintyAllocationQuantity BQ’mdhcif = 0

THEN

BA5mResourceBAAMSSLoadFollowingSupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =  0

ELSE

BA5mResourceBAAMSSLoadFollowingSupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif =

BA5mBAAMSSLoadFollowingSupplyFRDUncertaintyAllocationQuantity BQ’mdhcif * (BA5mResBAAMSSLFFRDRatioAllocationQuantity BrtF’S’Q’mdhcif / BA5mBAAMSSLFFRDAggregationRatioAllocationQuantity BQ’mdhcif)

END IF

    - BA5mBAAMSSLFFRDAggregationRatioAllocationQuantity BQ’mdhcif =

rtF'S'( BA5mResBAAMSSLFFRDRatioAllocationQuantity BrtF’S’Q’mdhcif)

    - BA5mResBAAMSSLFFRDRatioAllocationQuantity BrtF’S’Q’mdhcif =

Max(0, BA5mRSRCBAAMSSLoadFollowingFRUncertaintyAllocationQuantity BrtF’S’Q’mdhcif )

    - BA5mBAAMSSLoadFollowingSupplyFRDUncertaintyAllocationQuantity BQ’mdhcif =

Max(0, BA5mBAAMSSLoadFollowingFRUncertaintyAllocationQuantity BQ’mdhcif)

    - BAA5mLoadCategoryFRDUncertaintyAllocationAmount Q’mdhcif =

BAA5mLoadCategoryBAAConstraintFRDUncertaintyAllocationAmount Q’mdhcif + BAA5mLoadCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif

    - BAA5mLoadCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

IF

EIMArea5mTotalLoadFRDUncertaintyAllocationQuantity mdhcif <> 0

THEN

BAA5mLoadCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

EIMArea5mLoadCategoryFRDUncertaintyAllocationAmount mdhcif * (BAA5mTotalLoadFRDUncertaintyAllocationQuantity Q’mdhcif / EIMArea5mTotalLoadFRDUncertaintyAllocationQuantity mdhcif )

ELSE

BAA5mLoadCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif = 0

END IF

    - EIMArea5mLoadCategoryFRDUncertaintyAllocationAmount mdhcif =

Q'BAA5mLoadCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif

Where

Q’ = ‘EIM_AREA’

    - BAA5mLoadCategoryBAAConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

BAA5mLoadCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif

Where

Q’ <> ‘EIM_AREA’

    - BAA5mLoadCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

Q''AttributeSwap (Q’, Q’’) On BAA5mConstraintLoadCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif

    - BAA5mConstraintLoadCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif =

IF

BAA5mAllCategoriesFRDUncertaintyQuantity Q’’mdhcif <> 0

THEN

BAA5mConstraintLoadCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif =

(-1) *BAAConstraint5mFlexRampDownUncertaintyAmount Q’Q’’mdhcif * (BAA5mLoadFRDUncertaintyQuantity Q’’mdhcif / BAA5mAllCategoriesFRDUncertaintyQuantity Q’’mdhcif )

ELSE

BAA5mConstraintLoadCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif = 0

END IF

Note:

BAAConstraint5mFlexRampDownUncertaintyAmount Q’Q’’mdhcif represents the total FRD uncertainty movement settlement amount for a particular BAA (Q’) and flexible ramping constraint ID (Q’’), as the sum of:

- FMM FRD uncertainty settlement amount,

- RTD FRD uncertainty settlement amount and

- FRD rescission settlement amount.

The amount shall include the effect of any PTB adjustment to the FRD uncertainty movement settlement amount.

    - BAA5mIntertieCategoryFRDUncertaintyAllocationAmount Q’mdhcif =

BAA5mIntertieCategoryBAAConstraintFRDUncertaintyAllocationAmount Q’mdhcif + BAA5mIntertieCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif

    - BAA5mIntertieCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

IF

EIMArea5mTotalIntertieFRDUncertaintyAllocationQuantity mdhcif <> 0

THEN

BAA5mIntertieCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

EIMArea5mIntertieCategoryFRDUncertaintyAllocationAmount mdhcif * (BAA5mTotalIntertieFRDUncertaintyAllocationQuantity Q’mdhcif / EIMArea5mTotalIntertieFRDUncertaintyAllocationQuantity mdhcif )

ELSE

BAA5mIntertieCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif = 0

END IF

    - EIMArea5mIntertieCategoryFRDUncertaintyAllocationAmount mdhcif =

Q'BAA5mIntertieCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif

Where

Q’ = ‘EIM_AREA’

    - BAA5mIntertieCategoryBAAConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

BAA5mIntertieCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif

Where

Q’ <> ‘EIM_AREA’

    - BAA5mIntertieCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

Q''AttributeSwap (Q’, Q’’) On BAA5mConstraintIntertieCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif

    - BAA5mConstraintIntertieCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif =

IF

BAA5mAllCategoriesFRDUncertaintyQuantity Q’’mdhcif <> 0

THEN

BAA5mConstraintIntertieCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif =

(-1) *BAAConstraint5mFlexRampDownUncertaintyAmount Q’Q’’mdhcif * (BAA5mIntertieFRDUncertaintyQuantity Q’’mdhcif / BAA5mAllCategoriesFRDUncertaintyQuantity Q’’mdhcif )

ELSE

BAA5mConstraintIntertieCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif = 0

END IF

    - BAA5mSupplyCategoryFRDUncertaintyAllocationAmount Q’mdhcif =

BAA5mSupplyCategoryBAAConstraintFRDUncertaintyAllocationAmount Q’mdhcif + BAA5mSupplyCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif

    - BAA5mSupplyCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

IF

EIMArea5mTotalSupplyFRDUncertaintyAllocationQuantity mdhcif <> 0

THEN

BAA5mSupplyCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

EIMArea5mSupplyCategoryFRDUncertaintyAllocationAmount mdhcif * (BAA5mTotalSupplyFRDUncertaintyAllocationQuantity Q’mdhcif / EIMArea5mTotalSupplyFRDUncertaintyAllocationQuantity mdhcif )

ELSE

BAA5mSupplyCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif = 0

END IF

    - EIMArea5mSupplyCategoryFRDUncertaintyAllocationAmount mdhcif =

Q'BAA5mSupplyCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif

Where

Q’ = ‘EIM_AREA’

    - BAA5mSupplyCategoryBAAConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

BAA5mSupplyCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif

Where

Q’ <> ‘EIM_AREA’

    - BAA5mSupplyCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif =

Q''AttributeSwap (Q’, Q’’) On BAA5mConstraintSupplyCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif

    - BAA5mConstraintSupplyCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif =

IF

BAA5mAllCategoriesFRDUncertaintyQuantity Q’’mdhcif <> 0

THEN

BAA5mConstraintSupplyCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif =

(-1) *BAAConstraint5mFlexRampDownUncertaintyAmount Q’Q’’mdhcif * (BAA5mSupplyFRDUncertaintyQuantity Q’’mdhcif / BAA5mAllCategoriesFRDUncertaintyQuantity Q’’mdhcif )

ELSE

BAA5mConstraintSupplyCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif = 0

END IF

    - BAA5mAllCategoriesFRDUncertaintyQuantity Q’’mdhcif =

BAA5mLoadFRDUncertaintyQuantity Q’’mdhcif + 
BAA5mIntertieFRDUncertaintyQuantity Q’’mdhcif + 
BAA5mSupplyFRDUncertaintyQuantity Q’’mdhcif

    - BAA5mLoadFRDUncertaintyQuantity Q’’mdhcif =

Min(0, BAA5mTotalLoadUncertaintyQty Q’’mdhcif )

    - BAA5mIntertieFRDUncertaintyQuantity Q’’mdhcif =

Min (0, BAA5mTotalIntertieUncertaintyQty Q’’mdhcif )

    - BAA5mSupplyFRDUncertaintyQuantity Q’’mdhcif =

Min (0, BAA5mTotalSupplyUncertaintyQty Q’’mdhcif )

## Outputs

| Row # | Name | Description |
| --- | --- | --- |
| -- | In addition to any outputs listed below, all inputs shall be included as outputs. |  |
|  | BADailyCompleteFRDUncertaintyAllocationAmount BQ’md | FRD Uncertainty Charge (in $) allocated to a BA as a share of the cost of the FRD award settlement amount for the Trading Day. |
|  | BA5mCompleteFRDUncertaintyAllocationAmount BQ’mdhcif | FRD Uncertainty Charge (in $) allocated to the scheduling BA of resources throughout the EIM Area, as a share of the cost of the FRD award settlement amount for the Trading Day. |
|  | BA5mFRDEIMAreaMeteredDemandAllocatedUncertaintyAmount BQ’mdhcif | FRD Uncertainty Charge (in $) allocated to a BA of the BAA as a share of the FRD award settlement amount for uncertainty movement that was not identified with any particular BAA. |
|  | EIMArea5mFRDNeutralityMeteredDemandAllocatedAmount mdhcif | The FRD Uncertainty Charge (in $) resulting from the FRD award settlement amount (in $) for uncertainty movement that was not identified with any particular BAA. |
|  | EIMArea5mFRDUncertaintyAllocationAmount mdhcif | The amount (in $) representing the total charge allocation for FRD uncertainty movement over the EIM Area, as the product of minus 1 (-1) times the sum of FMM FRD uncertainty settlement amount, RTD FRD uncertainty settlement amount and FRD rescission settlement amount. The amount includes the effect of any PTB adjustment to the FRD uncertainty movement settlement amount. The amount should be positive to reflect an actual charge. |
|  | EIMArea5mFRDAllocatedUncertaintyAmount mdhcif | The sum of FRD Uncertainty Charges (in $) associated with the FRD uncertainty award settlement amounts relating to the uncertainty movement of each BAA. |
|  | BA5mFRDCategorySpecificAllocatedUncertaintyAmount BQ’mdhcif | The FRD Uncertainty charge (in $) that reflects the total of FRD award settlement amounts allocated to resources of a specified BAA and scheduling BA based on the resources’ relative share of FRD uncertainty movement within the BAA. |
|  | BA5mResourceBAALoadFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif | The FRD Uncertainty charge component (in $) that reflects the total of a BAA-specific FRD award settlement amount that is allocated to a Load resource based on its relative share of FRD uncertainty movement within the BAA. |
|  | EIMArea5mTotalLoadFRDUncertaintyAllocationQuantity mdhcif | The total FRD uncertainty (in MWh) that is attributable to all of the Load resources over the entire EIM Area. |
|  | BAA5mTotalLoadFRDUncertaintyAllocationQuantity Q’mdhcif | The total FRD uncertainty (in MWh) that is attributable to all of the Load resources over a BAA. |
|  | BA5mResourceBAALoadFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRD uncertainty (in MWh) that is attributable to a Load resource associated with the specified BAA. |
|  | BA5mResourceBAAIntertieFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif | The FRD Uncertainty charge component (in $) that reflects the total of a BAA-specific FRD award settlement amount that is allocated to an intertie resource based on its relative share of FRD uncertainty movement within the BAA. |
|  | EIMArea5mTotalIntertieFRDUncertaintyAllocationQuantity mdhcif | The total FRD uncertainty (in MWh) that is attributable to all of the intertie resources over the entire EIM Area. |
|  | BAA5mTotalIntertieFRDUncertaintyAllocationQuantity Q’mdhcif | The total FRD uncertainty (in MWh) that is attributable to all of the intertie resources over a BAA. |
|  | BA5mResourceBAAIntertieFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRD uncertainty (in MWh) that is attributable to an intertie resource associated with the specified BAA. |
|  | BA5mResourceBAASupplyFRDUncertaintyAllocationAmount BrtF’S’Q’mdhcif | The FRD Uncertainty charge component (in $) that reflects the total of a BAA-specific FRD award settlement amount that is allocated to an supply resource based on its relative share of FRD uncertainty movement within the BAA. |
|  | EIMArea5mTotalSupplyFRDUncertaintyAllocationQuantity mdhcif | The total FRD uncertainty (in MWh) that is attributable to all of the supply resources over the entire EIM Area. |
|  | BAA5mTotalSupplyFRDUncertaintyAllocationQuantity Q’mdhcif | The total FRD uncertainty (in MWh) that is attributable to all of the supply resources over a BAA. |
|  | BA5mResourceBAASupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRD uncertainty (in MWh) that is attributable to a supply resource associated with the specified BAA. |
|  | BA5mResourceBAAGenerationSupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRD uncertainty (in MWh) that is attributable to a BAA resource that is a generating unit or dynamic system resource. |
|  | BA5mResourceBAAMSSLoadFollowingSupplyFRDUncertaintyAllocationQuantity BrtF’S’Q’mdhcif | The total FRD uncertainty (in MWh) that is attributable to a load-following resource that is associated with the specified BAA. |
|  | BA5mBAAMSSLFFRDAggregationRatioAllocationQuantity BQ’mdhcif | The MSS Load Following Flexible Ramp Down Allocation Quantity by Business Associate ID. This Quantity is used to distribute the BA5mBAAMSSLoadFollowingSupplyFRDUncertaintyAllocationQuantity to the resource which contribute to the FRD Uncertainty need. |
|  | BA5mResBAAMSSLFFRDRatioAllocationQuantity BrtF’S’Q’mdhcif | The MSS Load Following Flexible Ramp Down Allocation Quantity by Resource. This Quantity is used to distribute the BA5mBAAMSSLoadFollowingSupplyFRDUncertaintyAllocationQuantity to the resource which contribute to the FRD Uncertainty need. |
|  | BA5mBAAMSSLoadFollowingSupplyFRDUncertaintyAllocationQuantity BQ’mdhcif | The total FRD uncertainty (in MWh) that is attributable to the BA of a MSS within the specified BAA, for the case where the uncertainty is associated with MSS load-following resources. |
|  | BAA5mLoadCategoryFRDUncertaintyAllocationAmount Q’mdhcif | The FRD Uncertainty charge component (in $) for a BAA that is attributable to the BAA’s Load resources. |
|  | BAA5mLoadCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif | The BAA FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the part of an EIM Area FRD Uncertainty constraint requirement for a BAA that pertains to Load uncertainty. |
|  | EIMArea5mLoadCategoryFRDUncertaintyAllocationAmount mdhcif | The EIM Area FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the part of an EIM Area FRD Uncertainty constraint requirement that pertains to Load uncertainty. |
|  | BAA5mLoadCategoryBAAConstraintFRDUncertaintyAllocationAmount Q’mdhcif | The BAA FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the part of a BAA-specific FRD Uncertainty constraint requirement for a BAA that pertains to Load uncertainty. |
|  | BAA5mLoadCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif | The FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the Load uncertainty related to a FRD Uncertainty constraint requirement. |
|  | BAA5mConstraintLoadCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif | The FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards for a BAA that serve to satisfy the Load uncertainty related to a FRD Uncertainty constraint requirement. |
|  | BAA5mIntertieCategoryFRDUncertaintyAllocationAmount Q’mdhcif | The FRD Uncertainty charge component (in $) for a BAA that is attributable to the BAA’s intertie resources. |
|  | BAA5mIntertieCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif | The BAA FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the part of an EIM Area FRD Uncertainty constraint requirement for a BAA that pertains to intertie uncertainty. |
|  | EIMArea5mIntertieCategoryFRDUncertaintyAllocationAmount mdhcif | The EIM Area FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the part of an EIM Area FRD Uncertainty constraint requirement that pertains to intertie uncertainty. |
|  | BAA5mIntertieCategoryBAAConstraintFRDUncertaintyAllocationAmount Q’mdhcif | The BAA FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the part of a BAA-specific FRD Uncertainty constraint requirement for a BAA that pertains to intertie uncertainty. |
|  | BAA5mIntertieCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif | The FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the intertie uncertainty related to a FRD Uncertainty constraint requirement. |
|  | BAA5mConstraintIntertieCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif | The FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards for a BAA that serve to satisfy the intertie uncertainty related to a FRD Uncertainty constraint requirement. |
|  | BAA5mSupplyCategoryFRDUncertaintyAllocationAmount Q’mdhcif | The FRD Uncertainty charge component (in $) for a BAA that is attributable to the BAA’s supply resources. |
|  | BAA5mSupplyCategoryEIMAreaConstraintFRDUncertaintyAllocationAmount Q’mdhcif | The BAA FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the part of an EIM Area FRD Uncertainty constraint requirement for a BAA that pertains to supply uncertainty. |
|  | EIMArea5mSupplyCategoryFRDUncertaintyAllocationAmount mdhcif | The EIM Area FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the part of an EIM Area FRD Uncertainty constraint requirement that pertains to supply uncertainty. |
|  | BAA5mSupplyCategoryBAAConstraintFRDUncertaintyAllocationAmount Q’mdhcif | The BAA FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the part of a BAA-specific FRD Uncertainty constraint requirement for a BAA that pertains to supply uncertainty. |
|  | BAA5mSupplyCategoryConstraintFRDUncertaintyAllocationAmount Q’mdhcif | The FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards that serve to satisfy the supply uncertainty related to a FRD Uncertainty constraint requirement. |
|  | BAA5mConstraintSupplyCategoryFRDUncertaintyAllocationAmount Q’Q’’mdhcif | The FRD Uncertainty charge component (in $) associated with FRD Uncertainty awards for a BAA that serve to satisfy the supply uncertainty related to a FRD Uncertainty constraint requirement. |
|  | BAA5mAllCategoriesFRDUncertaintyQuantity Q’’mdhcif | The total of FRD Uncertainty (in MW) from all three (3) of the FRD Uncertainty categories (supply, intertie, load) of resources that is associated with a BAA constraint. |
|  | BAA5mLoadFRDUncertaintyQuantity Q’’mdhcif | The total of FRD Uncertainty (in MW) from the Load FRD Uncertainty category of resources in association with a BAA constraint. |
|  | BAA5mIntertieFRDUncertaintyQuantity Q’’mdhcif | The total of FRD Uncertainty (in MW) from the intertie FRD Uncertainty category of resources in association with a BAA constraint. |
|  | BAA5mSupplyFRDUncertaintyQuantity Q’’mdhcif | The total of FRD Uncertainty (in MW) from the supply FRD Uncertainty category of resources in association with a BAA constraint. |

# Charge Code Effective Dates

| Charge Code / Pre-calc Name | Document Version | Effective Start Date | Effective End Date | Version Update Type |
| --- | --- | --- | --- | --- |
| CC 7087 Daily Flexible Ramp Down Uncertainty Award Allocation | 5.0 | 11/01/16 | 10/31/16 | Initial Implementation |
| CC 7087 Daily Flexible Ramp Down Uncertainty Award Allocation | 5.1 | 11/01/16 | 9/30/20 | Documentation Edits and Configuration Impacted |
| CC 7087 Daily Flexible Ramp Down Uncertainty Award Allocation | 5.2 | 10/1/20 | Open | Documentation Edits and Configuration Impacted |