## cluster_queue_report_2025-04-18
Project Number | Project Name | Generation/Fuel 1 | NET MW 1 | Generation/Fuel 2 | NET MW 2 | Generation/Fuel 3 | NET MW 3 | NET MW POI | PROJECT_COUNTY | Project State | Study Area | PTO | POI | Voltage kV | Requested COD | Status
54659 | Ace | Storage/Battery | 303.96 | N/A | N/A | N/A | N/A | 300 | Alameda | CA | PG&E GBA | PGAE | TESLA-TRACY #1 | 230 | 2030-06-01 | Full Capacity Deliverability Status Requested
54516 | Alisa Solar Energy Complex 2 | Photovoltaic/Solar | 500 | Storage/Battery | 500 | N/A | N/A | 500 | Yuma | AZ | SAN DIEGO | SDGE | NORTH GILA - HOODOO WASH | 525 | 2030-06-01 | Energy Only Requested
54934 | Amanece | Photovoltaic/Solar | 418.9928 | Storage/Battery | 416.545 | N/A | N/A | 400 | Stanislaus | CA | PG&E FRESNO | PGAE | Quinto - Fink 230 kV | 230 | 2029-07-31 | Full Capacity Deliverability Status Requested
54729 | Amargosa SEZ | Photovoltaic/Solar | 510.35 | Storage/Battery | 508.19 | N/A | N/A | 500 | Nye | NV | SCE EOP | GLW | BEATTY 230 kV | 230 | 2030-12-01 | Merchant- Full Capacity Deliverability Status Requested
55045 | Ambar Energy Storage | Storage/Battery | 504.9 | N/A | N/A | N/A | N/A | 500.01 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2030-06-01 | Full Capacity Deliverability Status Requested
54824 | Amberjill Energy | Storage/Battery | 50.19 | Photovoltaic/Solar | 100.49 | N/A | N/A | 100 | Imperial | CA | SAN DIEGO | SDGE | IMPERIAL VALLEY 230 kV | 230 | 2029-07-31 | Energy Only Requested
54963 | Annapurna | Storage/Battery | 257 | N/A | N/A | N/A | N/A | 250 | Merced County | CA | PG&E FRESNO | PGAE | QUINTO SW STA 230 kV | 230 | 2028-06-01 | Full Capacity Deliverability Status Requested
54897 | Antlia | Storage/Battery | 204.859 | N/A | N/A | N/A | N/A | 199 | Monterey | CA | PG&E GBA | PGAE | MOSS LANDING PP 115 kV | 115 | 2031-12-01 | Full Capacity Deliverability Status Requested
54730 | Argenta | Photovoltaic/Solar | 155.76 | N/A | N/A | N/A | N/A | 150.01 | San Bernardino | CA | SCE NOL | SCE | PISGAH 230 kV | 230 | 2031-05-01 | Energy Only Requested
54767 | Argos Solar | Photovoltaic/Solar | 352.0165 | N/A | N/A | N/A | N/A | 350.12 | San Bernadino | CA | SCE NOL | SCE | CALCITE 230 kV | 230 | 2030-06-01 | Energy Only Requested
55047 | Aridpeak Storage | Storage/Battery | 259.36 | N/A | N/A | N/A | N/A | 250 | Kern | CA | PG&E KERN | PGAE | CALIENTE SW STA-MIDWAY #1 | 230 | 2030-02-01 | Energy Only Requested
54668 | Ashton Energy Center | Photovoltaic/Solar | 1026.67 | Storage/Battery | 1022.47 | N/A | N/A | 1000 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2032-12-01 | Merchant- Full Capacity Deliverability Status Requested
54710 | Avenida Del Sul | Photovoltaic/Solar | 151.2948 | N/A | N/A | N/A | N/A | 150 | Inyo | CA | SCE NOL | SCE | INYOKERN 115 kV | 115 | 2029-03-30 | Energy Only Requested
54509 | Aviation | Storage/Battery | 600 | Combustion Turbine/Hydrogen | 600 | N/A | N/A | 600 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-08-01 | Full Capacity Deliverability Status Requested
54579 | Baca | Storage/Battery | 490.734 | N/A | N/A | N/A | N/A | 475 | Merced | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2028-10-01 | Full Capacity Deliverability Status Requested
54761 | Bajada | Photovoltaic/Solar | 351.7982 | N/A | N/A | N/A | N/A | 350 | Riverside | CA | SCE EASTERN | SCE | RED BLUFF 230 kV | 230 | 2030-06-01 | Energy Only Requested
55013 | Belterra Energy Storage | Storage/Battery | 514.08 | N/A | N/A | N/A | N/A | 500 | Calaveras | CA | PG&E GBA | PGAE | BELLOTA 230 kV | 230 | 2028-04-01 | Full Capacity Deliverability Status Requested
54863 | Birdrock | Storage/Battery | 104.96 | N/A | N/A | N/A | N/A | 100 | Los Angeles County | CA | SCE METRO | SCE | Mesa 230KV | 230 | 2029-06-30 | Full Capacity Deliverability Status Requested
55023 | Blacktail Energy Storage | Storage/Battery | 10.072 | N/A | N/A | N/A | N/A | 10 | Monterey | CA | PG&E GBA | PGAE | Soledad #1 60kV Line | 60 | 2028-10-01 | Full Capacity Deliverability Status Requested
55030 | Blue Oak Storage 2 | Storage/Battery | 608.44 | N/A | N/A | N/A | N/A | 601.5 | Alameda | CA | PG&E GBA | PGAE | TESLA-TRACY #1 | 230 | 2031-12-31 | Full Capacity Deliverability Status Requested
54694 | Blue Star | Photovoltaic/Solar | 306.3524 | Storage/Battery | 206.8023 | N/A | N/A | 300 | Kings | CA | PG&E FRESNO | PGAE | GATES-MIDWAY 500kV | 500 | 2029-03-30 | Full Capacity Deliverability Status Requested
54626 | BlueWater Solar | Photovoltaic/Solar | 1016.4 | Storage/Battery | 1014.4 | N/A | N/A | 1000 | La Paz | AZ | SCE EASTERN | DCRT | CIELO AZUL 500 kV | 500 | 2028-12-29 | Energy Only Requested
54657 | Bolt | Photovoltaic/Solar | 255.4 | Storage/Battery | 253.8 | N/A | N/A | 250 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | Full Capacity Deliverability Status Requested
54655 | Bonita Bateria | Storage/Battery | 102.91 | N/A | N/A | N/A | N/A | 100 | Orange | CA | SAN DIEGO | SDGE | TALEGA 138 kV | 138 | 2029-05-31 | Full Capacity Deliverability Status Requested
54656 | Bonita Bateria 2 | Storage/Battery | 123.405 | N/A | N/A | N/A | N/A | 120 | Orange | CA | SAN DIEGO | SDGE | MARGARITA 138 kV | 138 | 2029-05-31 | Full Capacity Deliverability Status Requested
54571 | Borderline Solar | Photovoltaic/Solar | 638.1349 | Storage/Battery | 629.5905 | N/A | N/A | 600 | Inyo | CA | SCE EOP | GLW | TROUT CANYON 230 kV | 230 | 2028-10-01 | Energy Only Requested
54632 | Boson | Photovoltaic/Solar | 1173.48 | Storage/Battery | 1173.48 | N/A | N/A | 1150 | Kern | CA | SCE NORTHERN | SCE | Midway - Vincent 500kV #1 | 500 | 2028-09-30 | Full Capacity Deliverability Status Requested
54850 | Box | Photovoltaic/Solar | 63.44 | N/A | N/A | N/A | N/A | 60 | Riverside | CA | SCE EASTERN | SCE | RED BLUFF 230 kV | 230 | 2029-01-01 | Energy Only Requested
54523 | Bristlecone | Photovoltaic/Solar | 460.95 | Storage/Battery | 460.14 | N/A | N/A | 450 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2030-06-01 | Energy Only Requested
54518 | Broadview | Photovoltaic/Solar | 816.4 | Storage/Battery | 491.8 | N/A | N/A | 800 | Fresno | CA | PG&E FRESNO | WAPA | LOS BANOS-GATES #3 | 500 | 2028-09-01 | Full Capacity Deliverability Status Requested
54696 | Brown Bear | Storage/Battery | 74.2023 | Photovoltaic/Solar | 303.785 | N/A | N/A | 300 | Kings | CA | PG&E FRESNO | PGAE | LOS BANOS-MIDWAY #2 | 500 | 2029-03-30 | Full Capacity Deliverability Status Requested
54697 | Brundage Energy Storage | Storage/Battery | 202.2668 | N/A | N/A | N/A | N/A | 197 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 230 kV | 230 | 2029-06-01 | Full Capacity Deliverability Status Requested
55026 | Buonissimo Energy | Storage/Battery | 501.63 | N/A | N/A | N/A | N/A | 500 | Kern | CA | PG&E KERN | SCE | MIDWAY-WHIRLWIND | 525 | 2029-07-30 | Full Capacity Deliverability Status Requested
54724 | Cabrera Reliability | Storage/Battery | 205.3593 | N/A | N/A | N/A | N/A | 199 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-09-15 | Full Capacity Deliverability Status Requested
54565 | Calypso Solar 2 | Photovoltaic/Solar | 407.3264 | N/A | N/A | N/A | N/A | 400 | Riverside | CA | SCE EASTERN | SCE | COLORADO RIVER 500 kV | 500 | 2028-10-01 | Energy Only Requested
54777 | Campito Peak | Storage/Battery | 565.77 | N/A | N/A | N/A | N/A | 550 | Inyo | CA | SCE EOP | GLW | TROUT CANYON 230 kV | 230 | 2031-12-01 | Merchant- Full Capacity Deliverability Status Requested
54771 | Cantus | Storage/Battery | 249.524 | Photovoltaic/Solar | 249.524 | N/A | N/A | 240 | Merced | CA | PG&E FRESNO | PGAE | FINK SW STA 230 kV | 230 | 2031-03-14 | Full Capacity Deliverability Status Requested
54809 | Carissalito Creek | Storage/Battery | 415.86 | Photovoltaic/Solar | 415.86 | N/A | N/A | 400 | Merced | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2030-12-31 | Full Capacity Deliverability Status Requested
54721 | Cassia | Storage/Battery | 102.15 | N/A | N/A | N/A | N/A | 99 | San Joaquin | CA | PG&E GBA | PGAE | LAMMERS 115 kV | 115 | 2031-03-31 | Full Capacity Deliverability Status Requested
55036 | Castle Rock Energy Storage | Storage/Battery | 157.6 | N/A | N/A | N/A | N/A | 150 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-12-31 | Full Capacity Deliverability Status Requested
54749 | Castoria BESS | Storage/Battery | 61.8 | N/A | N/A | N/A | N/A | 60 | Santa Clara | CA | PG&E GBA | PGAE | METCALF 230 kV | 230 | 2030-12-31 | Full Capacity Deliverability Status Requested
54763 | Cathedral | Photovoltaic/Solar | 361.1393 | Storage/Battery | 360.3123 | N/A | N/A | 350 | Nye | NV | SCE EOP | GLW | TROUT CANYON 500 kV | 500 | 2031-12-02 | Merchant- Full Capacity Deliverability Status Requested
54580 | Chance Solar | Photovoltaic/Solar | 895.7719 | Storage/Battery | 894.2191 | N/A | N/A | 850 | Nye | NV | SCE EOP | GLW | BEATTY 230kV | 230 | 2028-10-01 | Energy Only Requested
54843 | Chardonnay Storage Center | Storage/Battery | 204.9 | N/A | N/A | N/A | N/A | 200 | San Joaquin | CA | PG&E GBA | PGAE | GOLD HILL-EIGHT MILE ROAD | 230 | 2030-02-15 | Full Capacity Deliverability Status Requested
55012 | Chronos Energy Storage | Storage/Battery | 516.8 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2031-11-30 | Full Capacity Deliverability Status Requested
54640 | Circinus | Storage/Battery | 185.643 | Photovoltaic/Solar | 185.643 | N/A | N/A | 180 | Merced | CA | PG&E FRESNO | PGAE | LE GRAND 115 kV | 115 | 2031-12-01 | Energy Only Requested
54899 | Clay Flats | Storage/Battery | 437.08 | N/A | N/A | N/A | N/A | 425 | king | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2030-10-01 | Energy Only Requested
54511 | Comstock | Storage/Battery | 199 | Combustion Turbine/Hydrogen | 199 | N/A | N/A | 199 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-08-01 | Full Capacity Deliverability Status Requested
54896 | Conduit Energy Storage 2 | Storage/Battery | 199 | N/A | N/A | N/A | N/A | 199 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2031-02-26 | Full Capacity Deliverability Status Requested
54627 | Connor | Storage/Battery | 514.8781 | N/A | N/A | N/A | N/A | 500 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 500 kV | 500 | 2030-04-30 | Full Capacity Deliverability Status Requested
54667 | Container | Photovoltaic/Solar | 204.57 | N/A | N/A | N/A | N/A | 200 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2031-06-01 | Energy Only Requested
64650` | Copper Cloud | Storage/Battery | 200 | N/A | N/A | N/A | N/A | 200 | MERCED | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2031-12-31 | Full Capacity Deliverability Status Requested
54593 | Cowboy | Photovoltaic/Solar | 156.4 | Storage/Battery | 155.3 | N/A | N/A | 150 | Colusa | CA | PG&E NGBA | PGAE | DELEVAN 230 kV | 230 | 2030-06-30 | Energy Only Requested
54646 | CRESTLEY | Storage/Battery | 270 | N/A | N/A | N/A | N/A | 270 | MERCED | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2031-12-31 | Full Capacity Deliverability Status Requested
55001 | Crusade | Storage/Battery | 1029 | N/A | N/A | N/A | N/A | 1000 | Orange | CA | SCE METRO | SCE | VIEJO 230 kV | 230 | 2028-12-31 | Full Capacity Deliverability Status Requested
54648 | Date Palm | Storage/Battery | 620.58 | N/A | N/A | N/A | N/A | 614 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2031-12-31 | Full Capacity Deliverability Status Requested
54939 | Domestic Chicken | Photovoltaic/Solar | 559.4 | N/A | N/A | N/A | N/A | 550.01 | Maricopa | AZ | SAN DIEGO | SDGE | HASSAYAMPA 500 kV | 500 | 2029-12-03 | Energy Only Requested
54744 | Dove Cove | Storage/Battery | 514.368 | N/A | N/A | N/A | N/A | 500 | San Joaquin | CA | PG&E GBA | PGAE | TESLA 500 kV | 500 | 2031-03-14 | Full Capacity Deliverability Status Requested
54914 | Droga | Storage/Battery | 101.93 | N/A | N/A | N/A | N/A | 100 | Merced County | CA | PG&E FRESNO | PGAE | QUINTO SW STA 230 kV | 230 | 2028-06-01 | Full Capacity Deliverability Status Requested
54526 | Duran | Storage/Battery | 300 | Combustion Turbine/Hydrogen | 300 | N/A | N/A | 300 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-08-01 | Full Capacity Deliverability Status Requested
54960 | East Wonder | Photovoltaic/Solar | 366.9093 | Storage/Battery | 188.7952 | N/A | N/A | 350 | Kern | CA | PG&E FRESNO | PGAE | GATES-MIDWAY 500kV | 500 | 2029-07-31 | Full Capacity Deliverability Status Requested
54840 | Emerita Energy Storage | Storage/Battery | 205.7 | N/A | N/A | N/A | N/A | 199.9 | Alameda | CA | PG&E GBA | PGAE | TESLA-TRACY #1 | 230 | 2028-03-01 | Full Capacity Deliverability Status Requested
54674 | Energia Sierra Juarez 4 | Wind Turbine/Wind | 309.1 | N/A | N/A | N/A | N/A | 299.8 | Tijuana, Mexico | CA | SAN DIEGO | SDGE | EAST COUNTY 230 kV | 230 | 2030-03-31 | Energy Only Requested
54507 | Esteli Energy Storage | Storage/Battery | 350 | N/A | N/A | N/A | N/A | 350 | Los Angeles | CA | SCE METRO | SCE | OLINDA 230 kV | 230 | 2028-05-26 | Full Capacity Deliverability Status Requested
54862 | Fika | Storage/Battery | 258.47 | N/A | N/A | N/A | N/A | 250 | Merced | CA | PG&E FRESNO | PGAE | QUINTO SW STA 230 kV | 230 | 2029-06-30 | Full Capacity Deliverability Status Requested
54662 | Flamingo | Storage/Battery | 304.19 | N/A | N/A | N/A | N/A | 300 | Alameda | CA | PG&E GBA | PGAE | TESLA-TRACY #1 | 230 | 2030-06-01 | Full Capacity Deliverability Status Requested
54643 | Fornax | Storage/Battery | 103.125 | Photovoltaic/Solar | 103.125 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | PGAE | TRANQUILLITY SW STA 230 kV | 230 | 2031-12-01 | Energy Only Requested
54769 | Fritts | Photovoltaic/Solar | 258.6863 | Storage/Battery | 258.1939 | N/A | N/A | 250 | Fresno | CA | PG&E KERN | PGAE | LOS BANOS-MIDWAY #2 | 500 | 2029-09-30 | Full Capacity Deliverability Status Requested
54693 | Galadriel | Storage/Battery | 317.5 | N/A | N/A | N/A | N/A | 300 | Madera | CA | PG&E GBA | PGAE | TESLA-TRACY #1 | 230 | 2031-03-31 | Full Capacity Deliverability Status Requested
54577 | Galicia Storage | Storage/Battery | 505.6459 | N/A | N/A | N/A | N/A | 490 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-10-01 | Full Capacity Deliverability Status Requested
54629 | GAMAY | Photovoltaic/Solar | 200 | Storage/Battery | 200 | N/A | N/A | 200 | KERN | CA | PG&E KERN | PGAE | ARCO-MIDWAY | 230 | 2031-12-31 | Energy Only Requested
55035 | Garden Green Solar | Photovoltaic/Solar | 50.46 | Storage/Battery | 50.46 | N/A | N/A | 50 | Santa Clara County | CA | PG&E GBA | PGAE | LLAGAS 115 kV | 115 | 2027-03-01 | Full Capacity Deliverability Status Requested
54916 | Geras | Photovoltaic/Solar | 133.82 | Storage/Battery | 133.76 | N/A | N/A | 130 | Stanislaus County | CA | PG&E FRESNO | PGAE | FINK SW STA-WESTLEY | 230 | 2028-06-01 | Full Capacity Deliverability Status Requested
55018 | Gibson | Storage/Battery | 154.598 | N/A | N/A | N/A | N/A | 150 | Merced | CA | PG&E FRESNO | PGAE | MERCY SPRINGS SW STA 70 kV | 70 | 2028-04-14 | Energy Only Requested
54768 | Goldlink | Photovoltaic/Solar | 353.8145 | N/A | N/A | N/A | N/A | 350 | Nye | NV | SCE EOP | GLW | LATHROP 230 kV (FUTURE) | 230 | 2030-06-01 | Energy Only Requested
54930 | Goldspur | Storage/Battery | 506.9513 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-12-31 | Full Capacity Deliverability Status Requested
54702 | Gosford Solar Storage | Photovoltaic/Solar | 304.6305 | N/A | N/A | N/A | N/A | 300 | Kern | CA | PG&E KERN | PGAE | MIDWAY-WHEELER RIDGE #1 | 230 | 2029-03-30 | Energy Only Requested
55003 | Grand BESS | Storage/Battery | 205 | N/A | N/A | N/A | N/A | 199 | Santa Clara | CA | PG&E GBA | PGAE | PIERCY 115 kV | 115 | 2028-12-31 | Full Capacity Deliverability Status Requested
54945 | Grapevine 1 | Photovoltaic/Solar | 204.58 | N/A | N/A | N/A | N/A | 200.01 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2031-06-01 | Energy Only Requested
54946 | Grapevine 2 | Storage/Battery | 505.1 | N/A | N/A | N/A | N/A | 500 | Clark | NV | SCE EOP | SCE | ELDORADO 230 kV | 230 | 2028-06-01 | Merchant- Full Capacity Deliverability Status Requested
54832 | Green Palms | Photovoltaic/Solar | 306.6 | N/A | N/A | N/A | N/A | 300 | Riverside | CA | SCE EASTERN | SCE | COLORADO RIVER 230 kV | 230 | 2030-12-31 | Energy Only Requested
54719 | Greenwood Energy Storage 2 | Storage/Battery | 513.99 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | RANCHO VISTA 230 kV | 230 | 2031-03-31 | Full Capacity Deliverability Status Requested
54740 | Hacienda | Photovoltaic/Solar | 156.525 | N/A | N/A | N/A | N/A | 150 | San Bernardino | CA | SCE NOL | SCE | PISGAH 230 kV | 230 | 2030-12-01 | Energy Only Requested
54725 | Helios Grid Reliability | Storage/Battery | 205.4504 | N/A | N/A | N/A | N/A | 199 | Calaveras | CA | PG&E GBA | PGAE | LOCKEFORD 115 kV | 115 | 2028-09-15 | Full Capacity Deliverability Status Requested
54764 | Hiko | Storage/Battery | 359.798 | N/A | N/A | N/A | N/A | 350 | Clark | NV | SCE EOP | SCE | MOHAVE 500 kV | 500 | 2031-12-02 | Merchant- Full Capacity Deliverability Status Requested
55043 | HillRich | Storage/Battery | 308.7 | N/A | N/A | N/A | N/A | 300 | Santa Clara | CA | PG&E GBA | PGAE | MILPITAS 115 kV | 115 | 2028-12-31 | Full Capacity Deliverability Status Requested
54703 | Hillside Energy Storage | Storage/Battery | 1064.7485 | N/A | N/A | N/A | N/A | 1000 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 230 kV | 230 | 2029-06-01 | Full Capacity Deliverability Status Requested
54839 | Holly Oaks | Storage/Battery | 128.4 | N/A | N/A | N/A | N/A | 125 | Calaveras | CA | PG&E GBA | PGAE | VALLEY SPRINGS 230 kV | 230 | 2028-03-01 | Full Capacity Deliverability Status Requested
54616 | Icarus Solar | Photovoltaic/Solar | 718.2 | Storage/Battery | 716.4 | N/A | N/A | 700 | Mohave | AZ | SCE EOP | SCE | MOHAVE 500 kV | 500 | 2032-12-31 | Energy Only Requested
54785 | Jackrabbit Power Bank | Storage/Battery | 307.62 | N/A | N/A | N/A | N/A | 300 | Santa Clara | CA | PG&E GBA | PGAE | LOS ESTEROS 115 kV | 115 | 2029-06-01 | Full Capacity Deliverability Status Requested
54923 | Jupiter Bowl | Storage/Battery | 64.36 | N/A | N/A | N/A | N/A | 64 | Stanislaus | CA | PG&E GBA | PGAE | SALADO 115 kV | 115 | 2028-06-01 | Full Capacity Deliverability Status Requested
54743 | La Media | Storage/Battery | 51.48 | N/A | N/A | N/A | N/A | 50 | Orange | CA | SAN DIEGO | SDGE | SAN MATEO 138 kV | 138 | 2029-05-31 | Full Capacity Deliverability Status Requested
55004 | Lagoonez | Storage/Battery | 1029 | N/A | N/A | N/A | N/A | 1000 | Los Angeles | CA | SCE METRO | SCE | LAGUNA BELL 230 kV | 230 | 2028-12-31 | Full Capacity Deliverability Status Requested
54586 | Leopard Storage | Storage/Battery | 458.703 | N/A | N/A | N/A | N/A | 450 | Merced | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2031-11-01 | Full Capacity Deliverability Status Requested
54938 | Little Hill | Storage/Battery | 63.14 | N/A | N/A | N/A | N/A | 60 | San Bernardino | CA | SCE METRO | SCE | MIRA LOMA 230 kV | 230 | 2031-04-01 | Full Capacity Deliverability Status Requested
54686 | Lupine Energy Center | Storage/Battery | 518.1219 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2030-12-26 | Full Capacity Deliverability Status Requested
54567 | Lycan Solar 2 | Photovoltaic/Solar | 192.2176 | N/A | N/A | N/A | N/A | 190 | Riverside | CA | SCE EASTERN | SCE | RED BLUFF 500 kV | 500 | 2028-10-01 | Energy Only Requested
54689 | Maestro | Photovoltaic/Solar | 304.68 | Storage/Battery | 304.03 | N/A | N/A | 300 | Fresno | CA | PG&E FRESNO | PGAE | Midway-Los Banos 500kV Line #2 | 500 | 2029-12-01 | Full Capacity Deliverability Status Requested
54598 | Mandorla | Photovoltaic/Solar | 103.3 | Storage/Battery | 103 | N/A | N/A | 100 | Tehama | CA | PG&E NGBA | PGAE | GLENN 230 kV | 230 | 2030-06-30 | Energy Only Requested
54624 | Maravillosa 1 | Photovoltaic/Solar | 204.0238 | Storage/Battery | 202.616 | N/A | N/A | 200.0006 | Kings | CA | PG&E FRESNO | PGAE | GATES-MIDWAY 500kV | 500 | 2029-06-30 | Full Capacity Deliverability Status Requested
54625 | Maravillosa 2 | Photovoltaic/Solar | 407.233 | Storage/Battery | 404.637 | N/A | N/A | 400.0009 | Kern | CA | PG&E FRESNO | PGAE | GATES-MIDWAY 500kV | 500 | 2029-06-30 | Full Capacity Deliverability Status Requested
55027 | MATTERHORN | Wind Turbine/Wind | 406.8 | Storage/Battery | 406.098 | Photovoltaic/Solar | 404.892 | 400 | RIVERSIDE | CA | SCE EASTERN | SCE | DEVERS 500 kV | 500 | 2029-12-15 | Energy Only Requested
54942 | Mesquite Solar 6 | Storage/Battery | 154.5 | Photovoltaic/Solar | 154.48 | N/A | N/A | 150 | Maricopa | AZ | SAN DIEGO | SDGE | HASSAYAMPA 500 kV | 500 | 2028-04-30 | Energy Only Requested
55014 | Midas Energy Storage | Storage/Battery | 518.1 | N/A | N/A | N/A | N/A | 500 | Clark | NV | SCE EOP | SCE | ELDORADO 230 kV | 230 | 2028-12-30 | Merchant- Full Capacity Deliverability Status Requested
54704 | MidBishop | Storage/Battery | 74.2023 | Photovoltaic/Solar | 307.779 | N/A | N/A | 300 | Kings | CA | PG&E FRESNO | PGAE | LOS BANOS-MIDWAY #2 | 500 | 2029-03-30 | Full Capacity Deliverability Status Requested
54991 | Monte Cristo Solar 1 | Photovoltaic/Solar | 523.2 | N/A | N/A | N/A | N/A | 500 | Esmeralda | NV | SCE EOP | GLW | BEATTY 230 kV | 230 | 2030-12-31 | Energy Only Requested
54992 | Monte Cristo Solar 2 | Photovoltaic/Solar | 523.2 | N/A | N/A | N/A | N/A | 500 | Esmeralda | NV | SCE EOP | GLW | BEATTY 230 kV | 230 | 2030-12-31 | Energy Only Requested
54998 | Montrose Storage | Storage/Battery | 204.2 | N/A | N/A | N/A | N/A | 199.6 | San Bernardino | CA | SCE NOL | SCE | SANDLOT 230 kV | 230 | 2031-03-01 | Merchant- Full Capacity Deliverability Status Requested
54762 | Moonraker | Storage/Battery | 352.7437 | N/A | N/A | N/A | N/A | 350 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2029-12-01 | Full Capacity Deliverability Status Requested
40082 | Mount Lassen Power Plant | Biomass/Biofuel | 11.4 | N/A | N/A | N/A | N/A | 10 | Lassen | CA | PG&E NGBA | PGAE | Caribou - Westwood | 60 | 2028-03-31 | Energy Only Requested
54861 | Mt Baldy Energy Storage 2 | Storage/Battery | 204.93 | N/A | N/A | N/A | N/A | 199 | San Bernardino County | CA | SCE METRO | SCE | MIRA LOMA 230 kV | 230 | 2031-06-01 | Full Capacity Deliverability Status Requested
54634 | Muon | Photovoltaic/Solar | 1169.504 | Storage/Battery | 1169.504 | N/A | N/A | 1150 | Fresno County | CA | PG&E KERN | PGAE | LOS BANOS-MIDWAY #2 | 500 | 2028-09-30 | Full Capacity Deliverability Status Requested
55025 | Musketeers | Photovoltaic/Solar | 524.4837 | Storage/Battery | 522.0193 | N/A | N/A | 500 | Tulare | CA | SCE NORTHERN | SCE | Magunden-Springville No.1 220 kV Line | 220 | 2029-07-31 | Energy Only Requested
54595 | Mystic Ridge | Photovoltaic/Solar | 206.1 | Storage/Battery | 206 | N/A | N/A | 200 | San Benito | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2028-04-01 | Full Capacity Deliverability Status Requested
54733 | Nelson | Photovoltaic/Solar | 103.74 | N/A | N/A | N/A | N/A | 100 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2031-06-01 | Energy Only Requested
54671 | Nelson Hills | Photovoltaic/Solar | 204.57 | N/A | N/A | N/A | N/A | 200 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2031-06-01 | Energy Only Requested
54558 | Nightcap | Storage/Battery | 564.5 | Combustion Turbine/Hydrogen | 557.4 | N/A | N/A | 550 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 500 kV | 500 | 2028-08-01 | Full Capacity Deliverability Status Requested
55042 | Nyquist Storage | Storage/Battery | 199.68 | N/A | N/A | N/A | N/A | 194.1 | Riverside | CA | SCE EASTERN | SCE | COLORADO RIVER 230 kV | 230 | 2031-03-01 | Merchant- Full Capacity Deliverability Status Requested
54637 | Octans | Storage/Battery | 103.226 | Photovoltaic/Solar | 103.226 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | PGAE | ORO LOMA 70 kV | 70 | 2031-12-01 | Energy Only Requested
54675 | Off Stream Water Storage | Hydro/Pumped-Storage Hydro | 68.897 | N/A | N/A | N/A | N/A | 67.4 | Colusa | CA | PG&E NGBA | PGAE | DELEVAN-CORTINA | 230 | 2030-04-01 | Energy Only Requested
54765 | Onyx | Photovoltaic/Solar | 353.1114 | Storage/Battery | 352.9139 | N/A | N/A | 350.0014 | Clark | NV | SCE EOP | GLW | DESERT VIEW-INNOVATION | 230 | 2030-12-02 | Merchant- Full Capacity Deliverability Status Requested
54584 | Peach Storage | Storage/Battery | 103.68 | N/A | N/A | N/A | N/A | 100.15 | Stanislaus | CA | PG&E GBA | PGAE | PIERCY 115 kV | 115 | 2031-11-01 | Full Capacity Deliverability Status Requested
55044 | Pinecone | Storage/Battery | 514.599 | N/A | N/A | N/A | N/A | 500 | Yuma | AZ | SAN DIEGO | SDGE | Hassayampa-Hoodoo Wash | 500 | 2028-04-14 | Energy Only Requested
54635 | Pion | Storage/Battery | 1167.705 | N/A | N/A | N/A | N/A | 1150 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2028-12-31 | Full Capacity Deliverability Status Requested
54528 | POTENTIA-VIRIDI 2 | Storage/Battery | 405.2895 | N/A | N/A | N/A | N/A | 400 | San Joaquin | CA | PG&E GBA | PGAE | TESLA 500 kV | 500 | 2028-12-15 | Full Capacity Deliverability Status Requested
54989 | Quaking Aspen | Photovoltaic/Solar | 209.6783 | Storage/Battery | 107.8842 | N/A | N/A | 200 | Kern | CA | PG&E FRESNO | PGAE | GATES-MIDWAY 500kV | 500 | 2029-07-31 | Full Capacity Deliverability Status Requested
54636 | Quark | Photovoltaic/Solar | 869.4 | Storage/Battery | 1175.3 | N/A | N/A | 1150 | Fresno | CA | PG&E KERN | PGAE | LOS BANOS-MIDWAY #2 | 500 | 2028-09-30 | Full Capacity Deliverability Status Requested
55053 | Raspberry Solar 1 | Photovoltaic/Solar | 15.57 | N/A | N/A | N/A | N/A | 0 | Contra Costa | CA | PG&E GBA | PGAE | SOBRANTE-STANDARD OIL SW STA #1 | 115 | 2027-07-01 | Energy Only Requested
54592 | Redpoint | Photovoltaic/Solar | 155.3 | Storage/Battery | 154.4 | N/A | N/A | 150 | Kings | CA | PG&E FRESNO | PGAE | HENRIETTA 230 kV | 230 | 2028-04-01 | Energy Only Requested
55022 | Redtail Energy Storage | Storage/Battery | 22.205 | N/A | N/A | N/A | N/A | 22 | Monterey | CA | PG&E GBA | PGAE | Soledad #2 60kV Line | 60 | 2028-10-01 | Full Capacity Deliverability Status Requested
54870 | Reed Meadow | Storage/Battery | 565.77 | N/A | N/A | N/A | N/A | 550 | Clark | NV | SCE EOP | GLW | SLOAN CANYON 230 kV | 230 | 2031-12-01 | Merchant- Full Capacity Deliverability Status Requested
54672 | Reflex | Photovoltaic/Solar | 129.04 | N/A | N/A | N/A | N/A | 125 | Riverside | CA | SCE EASTERN | SCE | RED BLUFF 230 kV | 230 | 2029-01-01 | Energy Only Requested
54501 | RIGHTEOUS ENERGY STORAGE | Storage/Battery | 500 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2030-05-27 | Full Capacity Deliverability Status Requested
54684 | Ripple | Photovoltaic/Solar | 945.9227 | Storage/Battery | 933.8717 | N/A | N/A | 900 | Kings and Fresno | CA | PG&E KERN | PGAE | DIABLO-GATES #1 | 500 | 2031-10-03 | Energy Only Requested
54531 | Rover | Storage/Battery | 206.24 | N/A | N/A | N/A | N/A | 200 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 230 kV | 230 | 2028-06-30 | Full Capacity Deliverability Status Requested
54866 | Saguaro Energy Storage | Storage/Battery | 204.93 | N/A | N/A | N/A | N/A | 199 | San Bernardino | CA | SCE METRO | SCE | CHINO 230 kV | 230 | 2029-06-01 | Full Capacity Deliverability Status Requested
54873 | Saltgrass | Storage/Battery | 4.9995 | Storage/Battery | 166.1045 | N/A | N/A | 162 | Stanislaus | CA | PG&E GBA | PGAE | SALADO 115 kV | 115 | 2028-06-01 | Full Capacity Deliverability Status Requested
54995 | Separator Expansion | Storage/Battery | 12.55 | N/A | N/A | N/A | N/A | 12.16 | San Bernardino | CA | SCE EASTERN | SCE | ETIWANDA 230 kV | 230 | 2025-06-06 | Merchant- Full Capacity Deliverability Status Requested
54669 | Serenity | Photovoltaic/Solar | 305.41 | N/A | N/A | N/A | N/A | 300.01 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2031-06-01 | Energy Only Requested
54915 | Shoals Energy Storage 2 | Storage/Battery | 461.13 | N/A | N/A | N/A | N/A | 450 | Los Angeles County | CA | SCE NORTHERN | SCE | VINCENT 500 kV | 500 | 2029-08-01 | Full Capacity Deliverability Status Requested
54665 | Shoestring | Photovoltaic/Solar | 135.17 | Storage/Battery | 134.36 | N/A | N/A | 131 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | Full Capacity Deliverability Status Requested
54651 | Sienna 3 | Photovoltaic/Solar | 288 | Storage/Battery | 288 | N/A | N/A | 288 | San Bernardino | CA | SCE NOL | SCE | CALCITE 230 kV | 230 | 2031-12-31 | Energy Only Requested
54647 | Silkie | Storage/Battery | 400 | N/A | N/A | N/A | N/A | 400 | MERCED | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2031-12-31 | Full Capacity Deliverability Status Requested
54737 | Sing | Storage/Battery | 405.48 | N/A | N/A | N/A | N/A | 400.01 | San Diego | CA | SCE METRO | HWT | NORTH OF SONGS 500 kV | 500 | 2030-12-01 | Full Capacity Deliverability Status Requested
55049 | Soledad Solar | Photovoltaic/Solar | 562.355 | N/A | N/A | N/A | N/A | 550 | Kern | CA | SCE NORTHERN | SCE | WINDHUB 230 kV | 230 | 2028-06-01 | Energy Only Requested
54739 | Solstice A | Photovoltaic/Solar | 556 | Storage/Battery | 554.6 | N/A | N/A | 550 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | Full Capacity Deliverability Status Requested
54847 | Solstice B | Photovoltaic/Solar | 606.39 | Storage/Battery | 604.93 | N/A | N/A | 600 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | Full Capacity Deliverability Status Requested
54848 | Solstice C | Photovoltaic/Solar | 204.53 | Storage/Battery | 203.63 | N/A | N/A | 200 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | Full Capacity Deliverability Status Requested
54849 | Solstice D | Photovoltaic/Solar | 204.41 | Storage/Solar | 203.63 | N/A | N/A | 200 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | Full Capacity Deliverability Status Requested
54738 | Stable | Photovoltaic/Solar | 376.81 | Storage/Battery | 373.11 | N/A | N/A | 369 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-05-01 | Full Capacity Deliverability Status Requested
54882 | Stanley | Photovoltaic/Solar | 1038.9 | Storage/Battery | 1032.1121 | N/A | N/A | 1000 | Maricopa | AZ | SCE EASTERN | DCRT | CIELO AZUL 500 kV | 500 | 2030-04-30 | Energy Only Requested
54908 | Summit Valley Energy Storage | Storage/Battery | 518.6815 | N/A | N/A | N/A | N/A | 500 | San Bernadino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2032-06-01 | Full Capacity Deliverability Status Requested
54903 | Sunflower | Photovoltaic/Solar | 715.1 | Storage/Battery | 715.1 | N/A | N/A | 700 | San Bernardino County | CA | SCE NOL | SCE | LUGO-PISGAH NO.2 | 230 | 2031-03-01 | Energy Only Requested
54905 | Sunglow | Photovoltaic/Solar | 372.165 | Storage/Battery | 372.165 | N/A | N/A | 362 | Kings County | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2030-10-01 | Full Capacity Deliverability Status Requested
54902 | Sunvine | Photovoltaic/Solar | 613.7 | Storage/Battery | 0 | N/A | N/A | 600 | Kern County | CA | SCE NORTHERN | SCE | MAGUNDEN-PASTORIA NO.3 | 230 | 2031-03-01 | Energy Only Requested
54770 | Superba | Photovoltaic/Solar | 205.6961 | Storage/Battery | 205.4614 | N/A | N/A | 199 | Fresno | CA | PG&E KERN | PGAE | LOS BANOS-MIDWAY #2 | 500 | 2029-09-30 | Full Capacity Deliverability Status Requested
54666 | Tea Leaf Energy Storage | Storage/Battery | 404.31 | N/A | N/A | N/A | N/A | 400.01 | Alameda | CA | PG&E GBA | PGAE | TESLA-TRACY #1 | 230 | 2030-06-01 | Full Capacity Deliverability Status Requested
54827 | Telluride | Photovoltaic/Solar | 102.7 | Storage/Battery | 102.7 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | PGAE | ORO LOMA 115 kV | 115 | 2030-10-30 | Energy Only Requested
54652 | TENDRIL | Photovoltaic/Solar | 100 | Storage/Battery | 100 | N/A | N/A | 100 | Kern | CA | PG&E KERN | PGAE | ARCO-MIDWAY | 230 | 2031-12-31 | Energy Only Requested
54879 | Tioga Pass | Storage/Battery | 103 | N/A | N/A | N/A | N/A | 100 | San Joaquin | CA | PG&E GBA | PGAE | LOCKEFORD 115 kV | 115 | 2028-01-31 | Full Capacity Deliverability Status Requested
54638 | Toland Renewable Energy Park | Wind Turbine/Wind | 108 | N/A | N/A | N/A | N/A | 104.8 | Solano | CA | PG&E NGBA | PGAE | BIRDS LANDING SW STA 230 kV | 230 | 2029-05-30 | Full Capacity Deliverability Status Requested
54707 | Torbino Solar | Photovoltaic/Solar | 507 | N/A | N/A | N/A | N/A | 450 | Kern | CA | SCE NORTHERN | SCE | WINDHUB 500 kV | 500 | 2029-03-30 | Energy Only Requested
54885 | Tumey Hills Energy Storage | Storage/Battery | 216.46 | N/A | N/A | N/A | N/A | 207 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2030-06-01 | Full Capacity Deliverability Status Requested
54943 | Twinkle | Storage/Battery | 303.95 | N/A | N/A | N/A | N/A | 300 | San Bernardino | CA | SCE METRO | SCE | MIRA LOMA 230 kV | 230 | 2031-04-01 | Full Capacity Deliverability Status Requested
54859 | Ulua | Storage/Battery | 104.97 | N/A | N/A | N/A | N/A | 100 | Los Angeles | CA | SCE METRO | SCE | EAGLE ROCK 230 kV | 230 | 2029-06-30 | Full Capacity Deliverability Status Requested
54664 | Vantage | Storage/Battery | 306.59 | N/A | N/A | N/A | N/A | 300 | San Diego County | CA | SCE METRO | SCE | SAN ONOFRE 230 kV | 230 | 2030-12-01 | Full Capacity Deliverability Status Requested
55006 | Victorious | Storage/Battery | 516 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2028-12-31 | Full Capacity Deliverability Status Requested
55041 | Voyager Energy Storage | Storage/Battery | 105.6 | N/A | N/A | N/A | N/A | 101 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2027-06-01 | Full Capacity Deliverability Status Requested
54576 | Whiptail Solar | Photovoltaic/Solar | 252.2853 | N/A | N/A | N/A | N/A | 250 | Fresno | CA | PG&E FRESNO | PGAE | MANNING - TRANQUILITY #1 | 230 | 2028-10-01 | Energy Only Requested
54802 | Whiskey Diggings | Photovoltaic/Solar | 414.4 | N/A | N/A | N/A | N/A | 400 | Sutter | CA | PG&E NGBA | PGAE | RIO OSO 230 kV | 230 | 2030-12-31 | Energy Only Requested
54676 | White Oak Solar | Photovoltaic/Solar | 407 | Storage/Battery | 406.2 | N/A | N/A | 400 | Nye | NV | SCE EOP | GLW | VALLEY SWITCH 230 kV | 230 | 2029-12-31 | Energy Only Requested
55002 | Yacht Rock | Storage/Battery | 514.41 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | CHINO 230 kV | 230 | 2028-12-31 | Full Capacity Deliverability Status Requested
54778 | Zama | Storage/Battery | 352.7437 | N/A | N/A | N/A | N/A | 350 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2029-12-01 | Full Capacity Deliverability Status Requested
54682 | Zeitgeist K Energy Center | Storage/Battery | 258.2079 | N/A | N/A | N/A | N/A | 250 | San Joaquin | CA | PG&E GBA | PGAE | KASSON 115 kV | 115 | 2030-12-26 | Full Capacity Deliverability Status Requested
54841 | Zinfandel Storage Center | Storage/Battery | 153.69 | N/A | N/A | N/A | N/A | 150 | San Joaquin | CA | PG&E GBA | PGAE | BELLOTA-RIVERBANK | 115 | 2030-02-15 | Full Capacity Deliverability Status Requested

## Summary
Study Area | NET MW POI | # of Projects
PG&E FRESNO | 12389.0015 | 40
PG&E GBA | 6090.56 | 28
PG&E KERN | 4999 | 10
ARCO-MIDWAY | 300 | 2
CALIENTE SW STA-MIDWAY #1 | 250 | 1
DIABLO-GATES #1 | 900 | 1
LOS BANOS-MIDWAY #2 | 2749 | 4
MIDWAY-WHEELER RIDGE #1 | 300 | 1
MIDWAY-WHIRLWIND | 500 | 1
PG&E NGBA | 832.2 | 6
SAN DIEGO | 2369.81 | 9
SCE EASTERN | 4031.26 | 11
SCE EOP | 10000.0214 | 22
SCE METRO | 11259.02 | 28
SCE NOL | 1987.73 | 7
SCE NORTHERN | 6948 | 14
Grand Total | 60906.6029 | 175