## Cluster 16 Queue Report
CAISO PUBLIC Project Number | Project Name | Generation/Fuel 1 | NET MW 1 | Generation/Fuel 2 | NET MW 2 | Generation/Fuel 3 | NET MW 3 | NET MW POI | PROJECT_COUNTY | Project State | Study Area | PTO | POI | Voltage kV | Requested COD | Queue Date | Application Date | POI Deliverability Selection | Service Type | Reimbursement Option
55357 | Airchair 1 | Photovoltaic/Solar | 250 | Storage/Battery | 250 | N/A | N/A | 250 | Kern | CA | PG&E FRESNO | PGAE | GATES-MIDWAY 500kV | 500 | 2032-05-01 | 2026-10-01 | 2026-10-08 11:49 |  | Energy Only Requested | Reimbursable
55358 | Airchair 2 | Photovoltaic/Solar | 250 | Storage/Battery | 250 | N/A | N/A | 250 | Kern | CA | PG&E FRESNO | PGAE | GATES-MIDWAY 500kV | 500 | 2032-05-01 | 2026-10-01 | 2026-10-08 13:07 |  | Energy Only Requested | Reimbursable
55353 | Alchemist | Storage/Battery | 300 | N/A | N/A | N/A | N/A | 300 | Yuma | AZ | SAN DIEGO | SDGE | NORTH GILA 500 kV | 500 | 2032-05-01 | 2026-10-01 | 2026-10-02 17:46 | Deliverable | Full Capacity Deliverability Status Requested
55377 | Alisa Solar Energy Complex 3 | Photovoltaic/Solar | 350 | Storage/Battery | 350 | N/A | N/A | 350 | Yuma | AZ | SAN DIEGO | SDGE | NORTH GILA - HOODOO WASH (SDGE Portion Only) | 525 | 2032-05-31 | 2026-10-01 | 2026-10-09 06:09 |  | Full Capacity Deliverability Status Requested
55370 | Altagracia Energy Storage | Storage/Battery | 203.67 | N/A | N/A | N/A | N/A | 199.9 | Monterey | CA | PG&E GBA | PGAE | Spence | 115 | 2030-12-01 | 2026-10-01 | 2026-10-08 16:22 | Deliverable | Full Capacity Deliverability Status Requested
55381 | Altair BESS | Storage/Battery | 101.84 | N/A | N/A | N/A | N/A | 100 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 66 kV | 66 | 2030-06-01 | 2026-10-01 | 2026-10-08 11:51 | Deliverable | Full Capacity Deliverability Status Requested
55287 | Amber Wing | Photovoltaic/Solar | 372.6 | N/A | N/A | N/A | N/A | 300 | Kings | CA | PG&E KERN | PGAE | Los Banos-Midway #2 & Gates-Midway 500kV Lines | 500 | 2032-06-01 | 2026-10-01 | 2026-10-08 15:43 |  | Energy Only Requested | Reimbursable
W380 | Ameresco Otay | Gas Turbine/Other | N/A | N/A | N/A | N/A | N/A | 8.5 | N/A | CA | SAN DIEGO | SDGE | OTAY 69 kV | 69 | N/A | 2026-10-01 | 2026-10-07 09:07 |  | Full Capacity Deliverability Status Requested
55397 | Arabesque Energy Center | Photovoltaic/Solar | 586.14 | Storage/Battery | 583.58 | N/A | N/A | 570 | San Luis Obispo | CA | PG&E KERN | PGAE | DIABLO-GATES #1 | 500 | 2031-01-05 | 2026-10-01 | 2026-10-09 19:36 |  | Energy Only Requested | Reimbursable
55254 | Arca Energy | Storage/Battery | 400 | Photovoltaic/Solar | 14 | N/A | N/A | 400 | Alameda | CA | PG&E GBA | PGAE | TESLA 500 kV | 500 | 2032-12-01 | 2026-10-01 | 2026-10-01 14:27 | Deliverable | Full Capacity Deliverability Status Requested
55309 | Argan | Storage/Battery | 199 | N/A | N/A | N/A | N/A | 199 | San Bernardino | CA | SCE NOL | SCE | KRAMER 230 kV | 230 | 2031-03-01 | 2026-10-01 | 2026-10-01 11:27 | Deliverable | Full Capacity Deliverability Status Requested
55311 | Aspen | Photovoltaic/Solar | 600 | Storage/Battery | 600 | N/A | N/A | 600 | Inyo | CA | SCE EOP | GLW | TROUT CANYON 230 kV | 230 | 2033-10-15 | 2026-10-01 | 2026-10-01 11:09 | Deliverable | Full Capacity Deliverability Status Requested
55288 | Avenida-Del-Sol | Photovoltaic/Solar | 120 | Storage/Battery | 120 | N/A | N/A | 120 | Inyokern | CA | SCE NOL | SCE | Control-Coso-Haiwee & Control-Haiwee-Inyokern | 115 | 2033-06-01 | 2026-10-01 | 2026-10-12 10:50 | Deliverable | Full Capacity Deliverability Status Requested
55304 | Badarani | Storage/Battery | 376.27 | Photovoltaic/Solar | 123.65 | N/A | N/A | 370 | Imperial | CA | SAN DIEGO | SDGE | Imperial Valley - Recon 500 kV Line (Proposed Golden Pacific Powerlink) | 500 | 2033-01-31 | 2026-10-01 | 2026-10-01 09:51 | Deliverable | Full Capacity Deliverability Status Requested
55299 | Baler 1 | Photovoltaic/Solar | 920 | Storage/Battery | 920 | N/A | N/A | 920 | Yuma & Maricopa | AZ | SAN DIEGO | SDGE | HOODOO WASH - HASSAYAMPA (SDGE Portion Only) | 525 | 2033-10-05 | 2026-10-01 | 2026-10-13 22:27 |  | Full Capacity Deliverability Status Requested
55300 | Baler 2 | Reciprocating Engine/Solar | 1000 | Storage/Battery | 1000 | N/A | N/A | 1000 | Yuma and Maricopa | AZ | SAN DIEGO | SDGE | HOODOO WASH - HASSAYAMPA (SDGE Portion Only) | 525 | 2033-10-05 | 2026-10-01 | 2026-10-13 22:44 |  | Full Capacity Deliverability Status Requested
55307 | Bamboo | Storage/Battery | 521.06 | N/A | N/A | N/A | N/A | 500 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 500 kV | 500 | 2031-03-01 | 2026-10-01 | 2026-10-02 14:45 | Deliverable | Full Capacity Deliverability Status Requested
55312 | Banyan | Photovoltaic/Solar | 800 | Storage/Battery | 800 | N/A | N/A | 800 | San Bernardino | CA | SCE EOP | SCE | ELDORADO-LUGO | 525 | 2033-03-01 | 2026-10-01 | 2026-10-09 15:19 | Deliverable | Full Capacity Deliverability Status Requested
55258 | Barite Storage | Storage/Battery | 509.18 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE EOP | SCE | ELDORADO-LUGO | 525 | 2031-04-30 | 2026-10-01 | 2026-10-09 11:49 | Deliverable | Full Capacity Deliverability Status Requested
55369 | Bearing Energy | Photovoltaic/Solar | 1532.76 | Storage/Battery | 1032.52 | N/A | N/A | 1500 | Torrance | NM | SCE EASTERN | SZT | Pete Heinrich 345 kV | 345 | 2030-06-01 | 2026-10-01 | 2026-10-15 11:35 |  | Energy Only Requested | Non-Reimbursable
55291 | Benitoa | Photovoltaic/Solar | 165.35 | Storage/Battery | 165.26 | N/A | N/A | 160 | San Benito | CA | PG&E GBA | PGAE | CRAZY HORSE CANYON SW STA-HOLLISTER | 115 | 2030-06-01 | 2026-10-01 | 2026-10-09 15:16 | Deliverable | Full Capacity Deliverability Status Requested
55317 | Beyond BESS | Storage/Battery | 412.24 | N/A | N/A | N/A | N/A | 400 | Merced | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2030-12-31 | 2026-10-01 | 2026-10-01 08:54 | Deliverable | Full Capacity Deliverability Status Requested
55396 | Big Rock Expansion | Storage/Battery | 101.41 | N/A | N/A | N/A | N/A | 100 | Imperial | CA | SAN DIEGO | SDGE | IMPERIAL VALLEY 230 kV | 230 | 2030-03-31 | 2026-10-01 | 2026-10-14 09:45 | Deliverable | Full Capacity Deliverability Status Requested
55250 | Bingo Energy | Storage/Battery | 800 | Photovoltaic/Solar | 500 | N/A | N/A | 800 | San Bernardino | CA | SCE EOP | SCE | ELDORADO-LUGO | 525 | 2032-12-01 | 2026-10-01 | 2026-10-01 20:16 | Deliverable | Full Capacity Deliverability Status Requested
55308 | Blue Belton | Photovoltaic/Solar | 585 | Storage/Battery | 585 | N/A | N/A | 585 | Frenso/Merced | CA | PG&E FRESNO | PGAE | 230kV Pole Line | 230 | 2035-10-01 | 2026-10-01 | 2026-10-05 09:41 |  | Energy Only Requested | Reimbursable
55216 | Brightwing | Photovoltaic/Solar | 500 | N/A | N/A | N/A | N/A | 500 | Nye | NV | SCE EOP | GLW | BEATTY 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-01 11:11 |  | Energy Only Requested | Reimbursable
55313 | Briones Energy Storage | Storage/Battery | 51.34 | N/A | N/A | N/A | N/A | 50 | Contra Costa | CA | PG&E GBA | PGAE | CHRISTIE 60 kV | 60 | 2034-03-17 | 2026-10-01 | 2026-10-05 16:17 | Deliverable | Full Capacity Deliverability Status Requested
55331 | Bucks Creek Expansion | Hydro/Water | 6 | N/A | N/A | N/A | N/A | 6 | Plumas | CA | PG&E NGBA | PGAE | BUCKS CREEK PH 230 kV | 230 | 2028-12-31 | 2026-10-01 | 2026-10-05 17:23 | Deliverable | Full Capacity Deliverability Status Requested
55335 | Calabrian Solar | Photovoltaic/Solar | 199 | Storage/Battery | 199 | N/A | N/A | 199 | San Bernardino | CA | SCE NOL | SCE | KRAMER 230 kV | 230 | 2031-07-01 | 2026-10-01 | 2026-10-01 13:50 | Deliverable | Full Capacity Deliverability Status Requested
WDT11055 | Cantina Street Storage | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 9.9 | N/A | CA | SCE NOL | SCE | VICTOR 115 kV | 115 | N/A | 2026-10-01 | 2026-10-01 08:03 |  | Full Capacity Deliverability Status Requested
55305 | Canyon Wren A | Photovoltaic/Solar | 850 | Storage/Biofuel | 850 | N/A | N/A | 850 | Maricopa | AZ | SCE EASTERN | DCRT | Delaney 500KV | 500 | 2033-10-01 | 2026-10-01 | 2026-10-07 18:00 |  | Energy Only Requested | Reimbursable
55374 | Capstone Energy Storage 1 | Storage/Battery | 150 | N/A | N/A | N/A | N/A | 150 | Clark | NV | SCE EOP | SCE | ELDORADO 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-08 14:39 | Deliverable | Full Capacity Deliverability Status Requested
55375 | Capstone Energy Storage 2 | Storage/Battery | 150 | N/A | N/A | N/A | N/A | 150 | Clark | NV | SCE EOP | SCE | ELDORADO 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-08 14:43 | Deliverable | Full Capacity Deliverability Status Requested
55301 | Castilleja 1 | Photovoltaic/Solar | 300 | Storage/Battery | 300 | N/A | N/A | 300 | Kern | CA | PG&E KERN | PGAE | ARCO-MIDWAY | 230 | 2032-10-01 | 2026-10-01 | 2026-10-01 00:42 |  | Energy Only Requested | Reimbursable
55302 | Castilleja 2 | Photovoltaic/Solar | 330 | Storage/Battery | 330 | N/A | N/A | 330 | Kern | CA | PG&E KERN | PGAE | ARCO-MIDWAY | 230 | 2032-10-01 | 2026-10-01 | 2026-10-01 01:32 |  | Energy Only Requested | Reimbursable
55350 | Cellion | Storage/Battery | 200 | N/A | N/A | N/A | N/A | 200 | Nye | NV | SCE EOP | GLW | VISTA 230 kV (FUTURE) | 230 | 2032-05-01 | 2026-10-01 | 2026-10-02 17:37 | Deliverable | Full Capacity Deliverability Status Requested
WDT11051 | Cetus BESS | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 100 | N/A | CA | SCE NOL | SCE | VICTOR 115 kV | 115 | N/A | 2026-10-01 | 2026-10-08 11:55 |  | Full Capacity Deliverability Status Requested
55231 | Chaparral Bird 1 Storage | Storage/Battery | 408.84 | N/A | N/A | N/A | N/A | 400 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 230 kV | 230 | 2033-06-01 | 2026-10-01 | 2026-10-07 19:42 | Deliverable | Full Capacity Deliverability Status Requested
55232 | Chaparral Bird 2 Storage | Storage/Battery | 408.84 | N/A | N/A | N/A | N/A | 400 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 230 kV | 230 | 2033-06-01 | 2026-10-01 | 2026-10-07 19:43 | Deliverable | Full Capacity Deliverability Status Requested
55233 | Chaparral Bird 3 Storage | Storage/Battery | 408.84 | N/A | N/A | N/A | N/A | 400 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 230 kV | 230 | 2033-06-01 | 2026-10-01 | 2026-10-07 19:43 | Deliverable | Full Capacity Deliverability Status Requested
55322 | Chula Vista Energy Center 2 Expansion | Storage/Battery | 10.9 | N/A | N/A | N/A | N/A | 10 | SAN DIEGO | CA | SAN DIEGO | SDGE | OTAY 69 kV | 69 | 2029-06-01 | 2026-10-01 | 2026-10-09 13:38 | Deliverable | Full Capacity Deliverability Status Requested
WDT11049 | Corneso Road Solar | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 9.8 | N/A | CA | SCE NOL | SCE | KRAMER 115 kV | 115 | N/A | 2026-10-01 | 2026-10-01 08:04 |  | Full Capacity Deliverability Status Requested
55205 | Cortina Ridge Energy | Other/Geothermal | 49 | N/A | N/A | N/A | N/A | 49 | Colusa | CA | PG&E NGBA | PGAE | CORTINA 230 kV | 230 | 2029-05-01 | 2026-10-01 | 2026-10-02 20:57 | Deliverable | Full Capacity Deliverability Status Requested
55329 | Courtright | Storage/Pumped-Storage Hydro | 181.1 | N/A | N/A | N/A | N/A | 166.4 | Fresno | CA | PG&E FRESNO | PGAE | GREGG 230 kV | 230 | 2033-09-30 | 2026-10-01 | 2026-10-05 14:53 | Deliverable | Full Capacity Deliverability Status Requested
055280 | Crown Ridge | Photovoltaic/Solar | 372.6 | N/A | N/A | N/A | N/A | 300 | Kings | CA | PG&E KERN | PGAE | Los Banos-Midway #2 & Gates-Midway 500kV Lines | 500 | 2032-06-01 | 2026-10-01 | 2026-10-08 15:20 |  | Energy Only Requested | Reimbursable
55240 | Dawn Petal Storage | Storage/Battery | 408.86 | N/A | N/A | N/A | N/A | 400 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 230 kV | 230 | 2033-06-01 | 2026-10-01 | 2026-10-07 19:45 | Deliverable | Full Capacity Deliverability Status Requested
55275 | Day Lark | Photovoltaic/Solar | 300 | Storage/Battery | 300 | N/A | N/A | 300 | Kern | CA | PG&E KERN | PGAE | MIDWAY-WHIRLWIND | 525 | 2033-06-01 | 2026-10-01 | 2026-10-09 14:13 | Deliverable | Full Capacity Deliverability Status Requested
55207 | Daybreak | Photovoltaic/Solar | 250 | N/A | N/A | N/A | N/A | 250 | Nye | NV | SCE EOP | GLW | Lathrop - Beatty 230 kV Line | 230 | 2032-12-01 | 2026-10-01 | 2026-10-01 13:13 |  | Energy Only Requested | Reimbursable
55202 | Delta Energy Expansion | Storage/Battery | 143.58 | N/A | N/A | N/A | N/A | 140 | Contra Costa | CA | PG&E GBA | PGAE | PITTSBURG PP 230 kV | 230 | 2034-03-01 | 2026-10-01 | 2026-10-01 12:46 | Deliverable | Full Capacity Deliverability Status Requested
55328 | Desert Bloom | Storage/Battery | 154.5 | N/A | N/A | N/A | N/A | 150 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 230 kV | 230 | 2031-09-30 | 2026-10-01 | 2026-10-06 09:33 | Deliverable | Full Capacity Deliverability Status Requested
55384 | Dog Creek BESS | Storage/Battery | 513.75 | N/A | N/A | N/A | N/A | 500 | Stanislaus | CA | PG&E FRESNO | CGH | Manning-Metcalf 500 kV | 500 | 2031-05-30 | 2026-10-01 | 2026-10-01 15:03 | Deliverable | Full Capacity Deliverability Status Requested
134106410 | Dry Creek DG Solar | Photovoltaic/Solar | N/A | Storage/Battery | N/A | N/A | N/A | 5.83 | N/A | CA | PG&E NGBA | PGAE | PLUMAS SIERRA TAP | 60 | N/A | 2026-10-01 | 2026-10-01 13:17 |  | Partial Capacity Deliverability Status Requested
55393 | Dulce | Storage/Battery | 103.04 | N/A | N/A | N/A | N/A | 100 | San Diego | CA | SAN DIEGO | SDGE | MIGUEL 230 kV | 230 | 2031-03-01 | 2026-10-01 | 2026-10-09 16:40 | Deliverable | Full Capacity Deliverability Status Requested
132985203 | Durock Road Storage | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 9.9 | N/A | CA | PG&E NGBA | PGAE | GOLD HILL 115 kV | N/A | N/A | 2026-10-01 | 2026-10-01 08:03 |  | Full Capacity Deliverability Status Requested
55236 | Dusk Bloom Storage | Storage/Battery | 306.9 | N/A | N/A | N/A | N/A | 300 | San Bernardino | CA | SCE NORTHERN | SCE | Baker 115kV | 115 | 2033-06-01 | 2026-10-01 | 2026-10-07 19:44 | Deliverable | Full Capacity Deliverability Status Requested
133292554 | East Kettleman Ln Storage | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 9.9 | N/A | CA | PG&E GBA | PGAE | LOCKEFORD 60 kV | N/A | N/A | 2026-10-01 | 2026-10-01 08:02 |  | Full Capacity Deliverability Status Requested
55394 | Eastern Sink | Storage/Battery | 154.55 | N/A | N/A | N/A | N/A | 150 | San Diego | CA | SAN DIEGO | SDGE | EAST COUNTY 230 kV | 230 | 2031-03-01 | 2026-10-01 | 2026-10-09 16:43 | Deliverable | Full Capacity Deliverability Status Requested
55362 | Echo BESS | Storage/Battery | 406.6 | N/A | N/A | N/A | N/A | 399.9 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2030-04-01 | 2026-10-01 | 2026-10-07 21:45 | Deliverable | Full Capacity Deliverability Status Requested
134121868 | Eckhart Energy Storage | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 13.16 | N/A | CA | PG&E GBA | PGAE | SPENCE 60 kV | N/A | N/A | 2026-10-01 | 2026-10-08 16:24 |  | Full Capacity Deliverability Status Requested
55241 | Emerita 2 Storage | Storage/Battery | 306.6 | N/A | N/A | N/A | N/A | 300 | San Joaquin | CA | PG&E GBA | PGAE | TESLA 230 kV | 230 | 2030-03-01 | 2026-10-01 | 2026-10-07 19:42 | Deliverable | Full Capacity Deliverability Status Requested
55356 | Enchufla | Photovoltaic/Solar | 500 | Storage/Battery | 500 | N/A | N/A | 500 | Fresno | CA | PG&E FRESNO | PGAE | Los Banos - Manning | 500 | 2032-05-01 | 2026-10-01 | 2026-10-03 13:01 | Deliverable | Full Capacity Deliverability Status Requested
W381 | Encina Biogas-to-Energy | Other/Other | N/A | N/A | N/A | N/A | N/A | 4 | N/A | CA | SAN DIEGO | SDGE | 13801 (Cannon - Encina) | 138 | N/A | 2026-10-01 | 2026-10-09 12:40 |  | Full Capacity Deliverability Status Requested
55391 | Encore BESS Energy Center | Storage/Battery | 141.67 | N/A | N/A | N/A | N/A | 140 | Yuba County | CA | PG&E NGBA | PGAE | COLGATE-RIO OSO | 230 | 2030-11-01 | 2026-10-01 | 2026-10-15 16:58 | Deliverable | Full Capacity Deliverability Status Requested
55338 | Energia Sierra Juarez 5 | Wind Turbine/Wind | 322.4 | N/A | N/A | N/A | N/A | 299.99 | La Rumorosa, Tecate, Baja California, C.P. 21510, Mexico | CA | SAN DIEGO | SDGE | EAST COUNTY 230 kV | 230 | 2032-10-01 | 2026-10-01 | 2026-10-12 07:59 | Deliverable | Full Capacity Deliverability Status Requested
55349 | Equinox Storage | Storage/Battery | 650 | N/A | N/A | N/A | N/A | 650 | Merced | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2032-12-31 | 2026-10-01 | 2026-10-06 14:33 | Deliverable | Full Capacity Deliverability Status Requested
55326 | ESCONDIDO ENERGY CENTER 2 EXPANSION | Storage/Battery | 17.32 | N/A | N/A | N/A | N/A | 17 | SAN DIEGO | CA | SAN DIEGO | SDGE | ESCONDIDO 69 kV | 69 | 2029-06-01 | 2026-10-01 | 2026-10-09 12:30 | Deliverable | Full Capacity Deliverability Status Requested
55325 | ESCONDIDO ENERGY CENTER 2 EXPANSION 2 | Storage/Battery | 25.46 | N/A | N/A | N/A | N/A | 25 | SAN DIEGO | CA | SAN DIEGO | SDGE | ESCONDIDO 69 kV | 69 | 2029-06-01 | 2026-10-01 | 2026-10-09 12:39 | Deliverable | Full Capacity Deliverability Status Requested
55398 | Estrella Energy Center | Photovoltaic/Solar | 292.42 | Storage/Battery | 291.55 | N/A | N/A | 285 | San Luis Obispo | CA | PG&E KERN | PGAE | Estrella - California Flats | 230 | 2030-06-21 | 2026-10-01 | 2026-10-09 15:21 |  | Energy Only Requested | Reimbursable
55264 | Eucalyptus | Photovoltaic/Solar | 800 | Storage/Battery | 800 | N/A | N/A | 800 | Nye | NV | SCE EOP | GLW | BEATTY 230 kV | 230 | 2033-10-15 | 2026-10-01 | 2026-10-01 10:30 | Deliverable | Full Capacity Deliverability Status Requested
55252 | Fair Sky Energy | Photovoltaic/Solar | 1150 | Storage/Battery | 1150 | N/A | N/A | 1150 | Kings | CA | PG&E FRESNO | WAPA | LOS BANOS-GATES #3 (PGAE Portion Only) | 500 | 2032-12-01 | 2026-10-01 | 2026-10-12 14:30 | Deliverable | Full Capacity Deliverability Status Requested
55318 | Far Hills BESS | Storage/Battery | 102.7 | N/A | N/A | N/A | N/A | 100 | San Bernardino | CA | SCE NOL | SCE | VICTOR 230 kV | 230 | 2030-12-31 | 2026-10-01 | 2026-10-01 09:07 | Deliverable | Full Capacity Deliverability Status Requested
55217 | Favorito Energy Storage A | Storage/Battery | 300 | N/A | N/A | N/A | N/A | 300 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-01 14:57 | Deliverable | Full Capacity Deliverability Status Requested
55218 | Favorito Energy Storage B | Storage/Battery | 200 | N/A | N/A | N/A | N/A | 200 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-01 15:02 | Deliverable | Full Capacity Deliverability Status Requested
55324 | FERN ENERGY STORAGE A | Storage/Battery | 247.91 | N/A | N/A | N/A | N/A | 240 | ORANGE COUNTY | CA | SCE METRO | SCE | BARRE 230 kV | 230 | 2031-12-15 | 2026-10-01 | 2026-10-15 14:25 | Deliverable | Full Capacity Deliverability Status Requested
55292 | Fields Storage | Storage/Battery | 199 | N/A | N/A | N/A | N/A | 199 | Sacramento | CA | SCE NOL | PGAE | GOLD HILL-EIGHT MILE ROAD | 230 | 2032-06-01 | 2026-10-01 | 2026-10-05 16:50 | Deliverable | Full Capacity Deliverability Status Requested
55392 | Finley Energy Storage | Storage/Battery | 305.51 | N/A | N/A | N/A | N/A | 300 | San Joaquin | CA | PG&E GBA | PGAE | LOCKEFORD 230 kV | 230 | 2030-06-30 | 2026-10-01 | 2026-10-14 16:15 | Deliverable | Full Capacity Deliverability Status Requested
055279 | Gilded Wing | Photovoltaic/Solar | 372.6 | N/A | N/A | N/A | N/A | 300 | Kings | CA | PG&E KERN | PGAE | Los Banos-Midway #2 & Gates-Midway 500kV Lines | 500 | 2032-06-01 | 2026-10-01 | 2026-10-08 16:19 |  | Energy Only Requested | Reimbursable
132822669 | Goodrick Avenue Storage | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 9.9 | N/A | CA | PG&E GBA | PGAE | RICHMOND R 115 kV | N/A | N/A | 2026-10-01 | 2026-10-07 13:11 |  | Full Capacity Deliverability Status Requested
55383 | Grape Valley BESS | Storage/Battery | 514.14 | N/A | N/A | N/A | N/A | 500 | Stanislaus County | CA | PG&E FRESNO | PGAE | TESLA-LOS BANOS #1 | 500 | 2031-05-30 | 2026-10-01 | 2026-10-02 10:49 | Deliverable | Full Capacity Deliverability Status Requested
134092601 | GreenGenStorage's Mokelumne Pumped Storage Project | Storage/Water | N/A | N/A | N/A | N/A | N/A | 406.2 | N/A | CA | PG&E GBA | PGAE | BELLOTA 230 kV | N/A | N/A | 2026-10-01 | 2026-10-09 14:56 |  | Full Capacity Deliverability Status Requested
55203 | Greenleaf 1 Expansion | Combustion Turbine/Natural Gas | 10.8 | N/A | N/A | N/A | N/A | 10.8 | Sutter | CA | PG&E NGBA | PGAE | GREENLEAF #1 TAP | 115 | 2031-03-01 | 2026-10-01 | 2026-10-01 11:47 | Deliverable | Full Capacity Deliverability Status Requested
55249 | Guardian Solar A | Photovoltaic/Solar | 300 | N/A | N/A | N/A | N/A | 300 | Fresno | CA | PG&E FRESNO | PGAE | GATES 500 kV | 500 | 2030-12-01 | 2026-10-01 | 2026-10-02 12:08 |  | Energy Only Requested | Reimbursable
55336 | Habanero Energy Storage | Storage/Battery | 199 | N/A | N/A | N/A | N/A | 199 | San Diego | CA | SAN DIEGO | SDGE | BOULEVARD EAST 138 kV | 138 | 2032-09-01 | 2026-10-01 | 2026-10-01 13:01 | Deliverable | Full Capacity Deliverability Status Requested
55346 | Halfway BESS | Storage/Battery | 75.9 | Storage/Battery | 75.9 | N/A | N/A | 0 | Fresno | CA | PG&E FRESNO | PGAE | PANOCHE 115 kV | 115 | 2028-01-01 | 2026-10-01 | 2026-10-08 15:56 |  | Energy Only Requested | Reimbursable
55213 | Hamden | Storage/Battery | 200 | N/A | N/A | N/A | N/A | 200 | San Bernardino | CA | SCE NOL | SCE | VICTOR 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-01 14:34 | Deliverable | Full Capacity Deliverability Status Requested
55270 | Harborstone Energy Storage | Storage/Battery | 500 | N/A | N/A | N/A | N/A | 500 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 500 kV | 500 | 2032-06-01 | 2026-10-01 | 2026-10-05 11:58 | Deliverable | Full Capacity Deliverability Status Requested
55210 | Harpswell | Storage/Battery | 300 | N/A | N/A | N/A | N/A | 300 | San Diego | CA | SAN DIEGO | SDGE | SUNCREST 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-01 14:41 | Deliverable | Full Capacity Deliverability Status Requested
55395 | Harvest Valley | Storage/Battery | 82.44 | N/A | N/A | N/A | N/A | 80 | San Diego | CA | SAN DIEGO | SDGE | VALLEY CENTER 69 kV | 69 | 2031-03-01 | 2026-10-01 | 2026-10-09 16:44 | Deliverable | Full Capacity Deliverability Status Requested
131483600 | Hatchery Road BESS | Storage/Other | N/A | N/A | N/A | N/A | N/A | 4 | N/A | CA | PG&E NGBA | PGAE | JANES CREEK 60 kV | N/A | N/A | 2026-10-01 | 2026-10-01 09:39 |  | Full Capacity Deliverability Status Requested
W164 | Haybarn Energy Reliability Center Bus A - HERC A | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 20 | N/A | CA | SAN DIEGO | SDGE | 6912 (Pendleton - San Luis Rey) | N/A | N/A | 2026-10-01 | 2026-10-06 16:00 |  | Full Capacity Deliverability Status Requested
W165 | Haybarn Energy Reliability Center Bus B - HERC B | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 25 | N/A | CA | SAN DIEGO | SDGE | 6912 (Pendleton - San Luis Rey) | N/A | N/A | 2026-10-01 | 2026-10-06 16:00 |  | Full Capacity Deliverability Status Requested
55314 | Hemlock | Photovoltaic/Solar | 600 | Storage/Battery | 600 | N/A | N/A | 600 | Kern | CA | PG&E FRESNO | WAPA | Los Banos - Gates #3 | 500 | 2033-03-01 | 2026-10-01 | 2026-10-02 11:54 | Deliverable | Full Capacity Deliverability Status Requested
55263 | High Desert Power Plant Alignment | Combined Cycle/Natural Gas | 70.75 | Combined Cycle/Water | 40 | N/A | N/A | 100 | San Bernardino | CA | SCE NOL | SCE | VICTOR 230 kV | 230 | 2028-10-15 | 2026-10-01 | 2026-10-05 18:10 | Deliverable | Full Capacity Deliverability Status Requested
55253 | High Low Energy | Photovoltaic/Solar | 350 | Storage/Battery | 350 | N/A | N/A | 350 | Nye | NV | SCE EOP | GLW | LATHROP 230 kV | 230 | 2030-12-02 | 2026-10-01 | 2026-10-02 13:24 | Deliverable | Full Capacity Deliverability Status Requested
55403 | Himalia 1 | Storage/Battery | 327.6 | N/A | N/A | N/A | N/A | 300.08 | San Bernardino | CA | SCE NOL | SCE | LUGO 230 kV | 230 | 2031-06-01 | 2026-10-01 | 2026-10-15 15:37 | Deliverable | Full Capacity Deliverability Status Requested
55376 | Hitchbrook | Storage/Battery | 101.7 | Photovoltaic/Solar | 101.57 | N/A | N/A | 100 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 66 kV | 66 | 2030-12-31 | 2026-10-01 | 2026-10-07 08:25 | Deliverable | Full Capacity Deliverability Status Requested
55256 | Homestead Range Energy | Photovoltaic/Solar | 500 | N/A | N/A | N/A | N/A | 500 | Kings | CA | PG&E FRESNO | PGAE | CALIFORNIA FLATS SW STA 230 kV | 230 | 2032-12-01 | 2026-10-01 | 2026-10-01 14:46 |  | Energy Only Requested | Reimbursable
55386 | Hound | Storage/Battery | 300 | N/A | N/A | N/A | N/A | 300 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 230 kV | 230 | 2032-05-31 | 2026-10-01 | 2026-10-14 19:08 | Deliverable | Full Capacity Deliverability Status Requested
55235 | Hutton Storage | Storage/Battery | 411.7 | N/A | N/A | N/A | N/A | 400 | San Joaquin | CA | PG&E GBA | PGAE | LOCKEFORD 230 kV | 230 | 2031-02-01 | 2026-10-01 | 2026-10-01 17:00 | Deliverable | Full Capacity Deliverability Status Requested
WDT11039 | Ivory Storage | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 85 | N/A | CA | SCE NOL | SCE | INYOKERN 115 kV | 115 | N/A | 2026-10-01 | 2026-10-02 09:15 |  | Full Capacity Deliverability Status Requested
55271 | J6 Energy Storage | Storage/Battery | 414.11 | N/A | N/A | N/A | N/A | 300 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 230 kV | 230 | 2032-01-01 | 2026-10-01 | 2026-10-04 12:48 | Deliverable | Full Capacity Deliverability Status Requested
55310 | Jacaranda | Photovoltaic/Solar | 626.21 | Storage/Battery | 600 | N/A | N/A | 600 | Fresno | CA | PG&E FRESNO | PGAE | Manning-Gates | 500 | 2033-03-01 | 2026-10-01 | 2026-10-01 10:52 | Deliverable | Full Capacity Deliverability Status Requested
55272 | JK Energy Storage | Storage/Battery | 279.66 | N/A | N/A | N/A | N/A | 203 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 230 kV | 230 | 2032-01-01 | 2026-10-01 | 2026-10-02 13:11 | Deliverable | Full Capacity Deliverability Status Requested
55404 | Jumping Frog Energy | Storage/Battery | 50 | N/A | N/A | N/A | N/A | 50 | Calaveras | CA | PG&E GBA | PGAE | VALLEY SPRINGS 60 kV | 60 | 2031-06-01 | 2026-10-01 | 2026-10-15 16:45 | Deliverable | Full Capacity Deliverability Status Requested
WDT11026 | K2V2 | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 100 | N/A | CA | SCE METRO | SCE | LIGHTHIPE 230 kV | N/A | N/A | 2026-10-01 | 2026-10-02 11:55 |  | Full Capacity Deliverability Status Requested
55315 | Kapok | Storage/Battery | 400 | N/A | N/A | N/A | N/A | 400 | Merced | CA | PG&E FRESNO | PGAE | LOS BANOS 500 kV | 500 | 2031-03-01 | 2026-10-01 | 2026-10-02 15:40 | Deliverable | Full Capacity Deliverability Status Requested
55206 | Key Solar A | Photovoltaic/Solar | 300 | N/A | N/A | N/A | N/A | 300 | Fresno | CA | PG&E FRESNO | PGAE | GATES 500 kV | 500 | 2030-12-01 | 2026-10-01 | 2026-10-02 12:04 |  | Energy Only Requested | Reimbursable
55290 | Knoll Energy Storage | Storage/Battery | 209.74 | N/A | N/A | N/A | N/A | 150 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 230 kV | 230 | 2032-01-01 | 2026-10-01 | 2026-10-03 10:47 | Deliverable | Full Capacity Deliverability Status Requested
55267 | Koala Energy Storage | Storage/Battery | 419.48 | N/A | N/A | N/A | N/A | 300 | San Bernardino | CA | SCE NOL | SCE | New Switching Station on Kramer-Victor #1 230kV Line | 230 | 2032-06-01 | 2026-10-01 | 2026-10-01 15:47 | Deliverable | Full Capacity Deliverability Status Requested
134112038 | Lakeside Solar Project | Photovoltaic/Solar | N/A | Storage/Battery | N/A | N/A | N/A | 9.74 | N/A | CA | PG&E NGBA | PGAE | PALERMO-BOGUE | 115 | N/A | 2026-10-01 | 2026-10-14 10:25 |  | Partial Capacity Deliverability Status Requested
55283 | Lambda | Photovoltaic/Solar | 413.33 | Storage/Battery | 413.08 | N/A | N/A | 400 | Merced | CA | PG&E FRESNO | PGAE | Poleline Road 230 kV | 230 | 2030-06-03 | 2026-10-01 | 2026-10-09 14:54 |  | Energy Only Requested | Reimbursable
55347 | Larrea BESS 1 | Storage/Battery | 153 | N/A | N/A | N/A | N/A | 150 | Nye | NV | SCE EOP | GLW | TROUT CANYON 230 kV | 230 | 2030-12-16 | 2026-10-01 | 2026-10-07 17:05 | Deliverable | Full Capacity Deliverability Status Requested
55348 | Larrea BESS 2 | Storage/Battery | 153 | N/A | N/A | N/A | N/A | 150 | Nye | NV | SCE EOP | GLW | TROUT CANYON 230 kV | 230 | 2030-12-16 | 2026-10-01 | 2026-10-07 17:04 | Deliverable | Full Capacity Deliverability Status Requested
55371 | Lobo Wind | Wind Turbine/Wind | 301.5 | N/A | N/A | N/A | N/A | 294.71 | Torrance | NM | SCE EASTERN | SZT | Pete Heinrich 345 kV | 345 | 2029-12-01 | 2026-10-01 | 2026-10-15 11:37 |  | Energy Only Requested | Non-Reimbursable
55339 | Lodi Energy Center FX | Combined Cycle/Natural Gas | 19 | N/A | N/A | N/A | N/A | 321.58 | United States of America | CA | PG&E GBA | PGAE | LODI STIG-EIGHT MILE ROAD | 230 | 2027-06-01 | 2026-10-01 | 2026-10-05 17:30 | Deliverable | Full Capacity Deliverability Status Requested
55303 | Longview | Photovoltaic/Solar | 600 | Storage/Battery | 600 | N/A | N/A | 600 | Fresno | CA | PG&E FRESNO | WAPA | LOS BANOS-GATES #3 (PGAE Portion Only) | 500 | 2032-12-01 | 2026-10-01 | 2026-10-01 10:41 | Deliverable | Full Capacity Deliverability Status Requested
55343 | Lupine Energy Center 1 | Storage/Battery | 500 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE NOL | SCE | LUGO 230 kV | 230 | 2030-12-14 | 2026-10-01 | 2026-10-07 00:47 | Deliverable | Full Capacity Deliverability Status Requested
55344 | Lupine Energy Center 2 | Storage/Battery | 500 | N/A | N/A | N/A | N/A | 500 | San Bernardino | CA | SCE METRO | SCE | LUGO 500 kV | 500 | 2030-12-14 | 2026-10-01 | 2026-10-07 01:16 | Deliverable | Full Capacity Deliverability Status Requested
WDT11052 | Mabra Energy Storage | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 19.5 | N/A | CA | SCE EASTERN | SCE | VALLEY (SCE) 500 kV | N/A | N/A | 2026-10-01 | 2026-10-08 14:36 |  | Full Capacity Deliverability Status Requested
55282 | Marigold Solar | Photovoltaic/Solar | 619.19 | Storage/Battery | 618.82 | N/A | N/A | 600 | Tulare | CA | PG&E KERN | PGAE | GATES-MIDWAY 500kV | 500 | 2030-06-03 | 2026-10-01 | 2026-10-15 13:20 |  | Energy Only Requested | Reimbursable
55201 | Meadowlark Energy Park | Storage/Battery | 516.15 | N/A | N/A | N/A | N/A | 500 | Los Angeles County | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2034-03-01 | 2026-10-01 | 2026-10-07 15:04 | Deliverable | Full Capacity Deliverability Status Requested
134113106 | Millseat DG Solar Project | Photovoltaic/Solar | N/A | Storage/Battery | N/A | N/A | N/A | 9.74 | N/A | CA | PG&E NGBA | PGAE | VOLTA-DESCHUTES | 60 | N/A | 2026-10-01 | 2026-10-14 12:23 |  | Partial Capacity Deliverability Status Requested
55285 | Mirabelle | Photovoltaic/Solar | 309.46 | Storage/Battery | 309.31 | N/A | N/A | 300 | Kern | CA | PG&E KERN | PGAE | WHEELER RIDGE 230 kV | 230 | 2030-06-01 | 2026-10-01 | 2026-10-09 11:47 |  | Energy Only Requested | Reimbursable
55334 | Mirasol Solar | Photovoltaic/Solar | 120 | Storage/Battery | 120 | N/A | N/A | 120 | Monterey | CA | PG&E GBA | PGAE | SOLEDAD 115 kV | 115 | 2032-08-01 | 2026-10-01 | 2026-10-01 13:38 | Deliverable | Full Capacity Deliverability Status Requested
055277 | Monarch Ridge | Photovoltaic/Solar | 300 | N/A | N/A | N/A | N/A | 300 | Kings | CA | PG&E KERN | PGAE | Los Banos-Midway #2 & Gates-Midway 500kV Lines | 500 | 2032-06-01 | 2026-10-01 | 2026-10-08 17:14 |  | Energy Only Requested | Reimbursable
55237 | Moon Cactus Storage | Storage/Battery | 307.1 | N/A | N/A | N/A | N/A | 300 | San Bernardino | CA | SCE NOL | SCE | KRAMER 230 kV | 230 | 2031-06-01 | 2026-10-01 | 2026-10-07 19:44 | Deliverable | Full Capacity Deliverability Status Requested
55238 | Moonflower Storage | Storage/Battery | 255.4 | N/A | N/A | N/A | N/A | 250 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2033-06-01 | 2026-10-01 | 2026-10-07 19:42 | Deliverable | Full Capacity Deliverability Status Requested
55215 | Moonrise | Photovoltaic/Solar | 264.16 | Storage/Battery | 263.56 | N/A | N/A | 250 | Nye | NV | SCE EOP | GLW | Lathrop - Beatty 230 kV Line | 230 | 2032-12-01 | 2026-10-01 | 2026-10-01 13:05 | Deliverable | Full Capacity Deliverability Status Requested
55259 | Moss Landing CCGT Uprate | Combined Cycle/Natural Gas | 40 | N/A | N/A | N/A | N/A | 40 | Monterey | CA | PG&E GBA | PGAE | MOSS LANDING PP 230 kV | 230 | 2029-03-01 | 2026-10-01 | 2026-10-01 04:18 | Deliverable | Full Capacity Deliverability Status Requested
055327 | Mountain Valley BESS. | Storage/Battery | 514.14 | N/A | N/A | N/A | N/A | 500 | Stanislaus | CA | PG&E FRESNO | PGAE | TESLA-LOS BANOS #1 | 500 | 2031-05-30 | 2026-10-01 | 2026-10-02 10:33 | Deliverable | Full Capacity Deliverability Status Requested
55365 | Mountainview BESS | Storage/Battery | 72.4 | N/A | N/A | N/A | N/A | 0 | San Bernardino | CA | SCE EASTERN | SCE | SAN BERNARDINO 230 kV | 230 | 2030-04-01 | 2026-10-01 | 2026-10-08 15:06 | Merchant | Full Capacity Deliverability Status Requested
55340 | MVRP Energy Storage | Storage/Battery | 201.58 | N/A | N/A | N/A | N/A | 199.9 | Los Angeles | CA | SCE METRO | SCE | OLINDA 230 kV | 230 | 2030-06-01 | 2026-10-01 | 2026-10-02 19:28 | Deliverable | Full Capacity Deliverability Status Requested
55354 | Nabi | Storage/Battery | 250 | N/A | N/A | N/A | N/A | 250 | San Joaquin | CA | PG&E GBA | PGAE | LOCKEFORD 230 kV | 230 | 2032-05-01 | 2026-10-01 | 2026-10-02 18:48 | Deliverable | Full Capacity Deliverability Status Requested
55337 | Nashua Energy Storage | Storage/Battery | 195.01 | N/A | N/A | N/A | N/A | 190 | Monterey | CA | PG&E GBA | PGAE | MOSS LANDING PP 115 kV | 115 | 2033-09-30 | 2026-10-01 | 2026-10-05 16:00 | Deliverable | Full Capacity Deliverability Status Requested
55355 | Next Bridge | Photovoltaic/Solar | 300 | Storage/Battery | 300 | N/A | N/A | 300 | San Bernardino | CA | SCE NOL | SCE | IVANPAH-BAKER-COOLWATER-DUNN SIDING-MOUNTAIN PASS | 115 | 2032-05-01 | 2026-10-01 | 2026-10-05 19:59 | Deliverable | Full Capacity Deliverability Status Requested
55268 | Nightfall Energy Storage | Storage/Battery | 800 | N/A | N/A | N/A | N/A | 800 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2032-06-01 | 2026-10-01 | 2026-10-05 09:41 | Deliverable | Full Capacity Deliverability Status Requested
55260 | Nivloc 1 | Other/Geothermal | 244.36 | N/A | N/A | N/A | N/A | 179.7 | Esmeralda | NV | SCE EOP | GLW | BEATTY 230 kV | 230 | 2032-12-31 | 2026-10-01 | 2026-10-01 10:52 | Deliverable | Full Capacity Deliverability Status Requested
55261 | Nivloc 2 | Other/Geothermal | 244.36 | N/A | N/A | N/A | N/A | 179.9 | Esmeralda | NV | SCE EOP | GLW | BEATTY 230 kV | 230 | 2032-12-31 | 2026-10-01 | 2026-10-01 10:53 | Deliverable | Full Capacity Deliverability Status Requested
55266 | North Coast Energy Storage | Storage/Battery | 250 | N/A | N/A | N/A | N/A | 250 | Sonoma | CA | PG&E NGBA | PGAE | LAKEVILLE 230 kV | 230 | 2032-06-01 | 2026-10-01 | 2026-10-07 14:50 | Deliverable | Full Capacity Deliverability Status Requested
55341 | Ormond Beach Energy Center | Storage/Battery | 1525.8 | N/A | N/A | N/A | N/A | 1491 | Ventura | CA | SCE NORTHERN | SCE | MOORPARK 230 kV | 230 | 2031-09-30 | 2026-10-01 | 2026-10-07 20:57 | Deliverable | Full Capacity Deliverability Status Requested
55378 | Orpheus Energy Storage | Storage/Battery | 374.02 | N/A | N/A | N/A | N/A | 370 | Imperial | CA | SAN DIEGO | SDGE | IMPERIAL VALLEY 230 kV | 230 | 2032-07-01 | 2026-10-01 | 2026-10-12 21:28 | Deliverable | Full Capacity Deliverability Status Requested
55200 | Otay Mesa Expansion | Storage/Battery | 329.1 | N/A | N/A | N/A | N/A | 320 | San Diego | CA | SAN DIEGO | SDGE | OTAY MESA 230 kV | 230 | 2032-03-01 | 2026-10-01 | 2026-10-14 11:07 | Deliverable | Full Capacity Deliverability Status Requested
55244 | Otto BESS | Storage/Battery | 180.78 | Storage/Battery | 180.78 | N/A | N/A | 350 | Imperial | CA | SAN DIEGO | SDGE | IMPERIAL VALLEY 230 kV | 230 | 2031-07-07 | 2026-10-01 | 2026-10-02 18:50 | Deliverable | Full Capacity Deliverability Status Requested
131752240 | Paskenta Microgrid | Photovoltaic/Solar | N/A | Storage/Other | N/A | Storage/Solar | N/A | 9.06 | N/A | CA | PG&E NGBA | PGAE | GLENN #4 | 60 | N/A | 2026-10-01 | 2026-10-15 11:51 |  | Full Capacity Deliverability Status Requested
55363 | Pelona | Storage/Battery | 508.76 | N/A | N/A | N/A | N/A | 500 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 230 kV | 230 | 2030-04-01 | 2026-10-01 | 2026-10-08 11:51 | Deliverable | Full Capacity Deliverability Status Requested
55400 | Pink Elephant | Steam Turbine/Geothermal | 117.68 | N/A | N/A | N/A | N/A | 100 | Inyo | CA | SCE NOL | SCE | INYOKERN 115 kV | 115 | 2033-12-01 | 2026-10-01 | 2026-10-15 10:01 | Deliverable | Full Capacity Deliverability Status Requested
55399 | Piroutte Energy Center | Photovoltaic/Solar | 292.42 | Storage/Battery | 291.55 | N/A | N/A | 285 | San Luis Obispo | CA | PG&E KERN | PGAE | TEMPLETON-GATES | 230 | 2030-11-01 | 2026-10-01 | 2026-10-09 17:23 |  | Energy Only Requested | Reimbursable
55361 | Pluth Ranch Power Plant | Other/Geothermal | 153.39 | N/A | N/A | N/A | N/A | 100 | Lake County | CA | PG&E NGBA | PGAE | REDBUD 115 kV | 115 | 2031-01-01 | 2026-10-01 | 2026-10-06 13:53 | Deliverable | Full Capacity Deliverability Status Requested
55316 | Ponderosa | Storage/Battery | 500 | N/A | N/A | N/A | N/A | 500 | Merced | CA | PG&E FRESNO | PGAE | TESLA-LOS BANOS #1 | 500 | 2031-03-01 | 2026-10-01 | 2026-10-02 15:53 | Deliverable | Full Capacity Deliverability Status Requested
55273 | Poppy Quill | Photovoltaic/Solar | 300 | Storage/Battery | 300 | N/A | N/A | 300 | Kern | CA | PG&E KERN | PGAE | MIDWAY-WHIRLWIND | 525 | 2033-06-01 | 2026-10-01 | 2026-10-09 14:56 | Deliverable | Full Capacity Deliverability Status Requested
55364 | Pronghorn BESS | Storage/Battery | 201.25 | N/A | N/A | N/A | N/A | 200 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 230 kV | 230 | 2030-04-01 | 2026-10-01 | 2026-10-07 18:26 | Deliverable | Full Capacity Deliverability Status Requested
55359 | Pureza Plus 1 | Photovoltaic/Solar | 300 | Storage/Battery | 300 | N/A | N/A | 300 | Yuma | AZ | SAN DIEGO | SDGE | NORTH GILA - HOODOO WASH (SDGE Portion Only) | 525 | 2032-05-01 | 2026-10-01 | 2026-10-04 16:58 |  | Full Capacity Deliverability Status Requested
55360 | Pureza Plus 2 | Photovoltaic/Solar | 200 | Storage/Battery | 200 | N/A | N/A | 200 | Yuma | AZ | SAN DIEGO | SDGE | NORTH GILA - HOODOO WASH (SDGE Portion Only) | 525 | 2032-05-01 | 2026-10-01 | 2026-10-04 17:39 |  | Full Capacity Deliverability Status Requested
55401 | Purple Chicken Energy Storage | Storage/Battery | 241.2 | N/A | N/A | N/A | N/A | 199 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 66 kV | 66 | 2030-06-01 | 2026-10-01 | 2026-10-13 12:05 | Deliverable | Full Capacity Deliverability Status Requested
55402 | Purple Elephant | Steam Turbine/Geothermal | 353.04 | N/A | N/A | N/A | N/A | 280 | Inyo | CA | SCE NOL | SCE | KRAMER 230 kV | 230 | 2032-12-01 | 2026-10-01 | 2026-10-15 10:02 | Deliverable | Full Capacity Deliverability Status Requested
55372 | Railhead Energy Storage | Storage/Battery | 203.67 | N/A | N/A | N/A | N/A | 199.9 | Monterey County | CA | PG&E GBA | PGAE | SOLEDAD 115 kV | 115 | 2030-12-01 | 2026-10-01 | 2026-10-08 16:14 | Deliverable | Full Capacity Deliverability Status Requested
55257 | Red Bank Solar | Photovoltaic/Solar | 203.92 | Storage/Battery | 203.67 | N/A | N/A | 199.9 | Tehama | CA | PG&E NGBA | PGAE | COTTONWOOD-GLENN | 230 | 2032-03-30 | 2026-10-01 | 2026-10-02 09:18 | Deliverable | Full Capacity Deliverability Status Requested
55204 | Red Hills Infrastructure | Other/Geothermal | 49 | N/A | N/A | N/A | N/A | 49 | Lake | CA | PG&E NGBA | PGAE | KONOCTI 60 kV | 60 | 2029-05-01 | 2026-10-01 | 2026-10-02 20:40 | Deliverable | Full Capacity Deliverability Status Requested
55219 | Redfish | Storage/Battery | 500 | N/A | N/A | N/A | N/A | 500 | Nye | NV | SCE EOP | GLW | Valley Switch 230 kV | 230 | 2030-12-01 | 2026-10-01 | 2026-10-01 13:25 | Deliverable | Full Capacity Deliverability Status Requested
55276 | Ribbed Wing | Photovoltaic/Solar | 250 | Storage/Battery | 250 | N/A | N/A | 250 | Kern | CA | PG&E FRESNO | PGAE | MIDWAY-WHIRLWIND | 525 | 2033-06-01 | 2026-10-01 | 2026-10-09 13:55 | Deliverable | Full Capacity Deliverability Status Requested
55289 | Rockland | Storage/Battery | 150 | N/A | N/A | N/A | N/A | 150 | San Diego | CA | SAN DIEGO | SDGE | OTAY MESA 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-14 11:23 | Deliverable | Full Capacity Deliverability Status Requested
055281 | Royal Meadow | Photovoltaic/Solar | 257.2 | N/A | N/A | N/A | N/A | 250 | Kings | CA | PG&E KERN | PGAE | Los Banos-Midway #2 & Gates-Midway 500kV Lines | 500 | 2032-06-01 | 2026-10-01 | 2026-10-08 14:46 |  | Energy Only Requested | Reimbursable
55228 | Sable Solar 1 | Photovoltaic/Solar | 200 | N/A | N/A | N/A | N/A | 200 | Kern | CA | PG&E KERN | PGAE | Midway-Gates 230 kV | 230 | 2032-12-01 | 2026-10-01 | 2026-10-15 10:05 |  | Energy Only Requested | Reimbursable
55229 | Sable Solar 2 | Photovoltaic/Solar | 150 | N/A | N/A | N/A | N/A | 150 | Kern | CA | PG&E KERN | PGAE | Midway-Gates 230 kV | 230 | 2032-12-01 | 2026-10-01 | 2026-10-15 10:15 |  | Energy Only Requested | Reimbursable
55230 | Sable Solar 3 | Photovoltaic/Solar | 150 | N/A | N/A | N/A | N/A | 150 | Kern | CA | PG&E KERN | PGAE | Midway - Gates 230kV | 230 | 2032-12-01 | 2026-10-01 | 2026-10-15 10:23 |  | Energy Only Requested | Reimbursable
55284 | Saffron Solar | Photovoltaic/Solar | 567.62 | Storage/Battery | 567.5 | N/A | N/A | 550 | Tulare | CA | PG&E KERN | PGAE | GATES-MIDWAY 500kV | 500 | 2030-06-03 | 2026-10-01 | 2026-10-15 12:50 |  | Energy Only Requested | Reimbursable
134113797 | Salinas Valley DG Solar Project | Photovoltaic/Solar | N/A | Storage/Battery | N/A | N/A | N/A | 9.74 | N/A | CA | PG&E GBA | PGAE | SOLEDAD #2 | 60 | N/A | 2026-10-01 | 2026-10-14 12:17 |  | Partial Capacity Deliverability Status Requested
55351 | Scoobot | Storage/Battery | 135 | N/A | N/A | N/A | N/A | 135 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2032-05-01 | 2026-10-01 | 2026-10-03 13:36 | Deliverable | Full Capacity Deliverability Status Requested
55379 | Semper Landfill Gas Power Plant | Reciprocating Engine/Other | 2 | N/A | N/A | N/A | N/A | 8 | Sonoma | CA | PG&E NGBA | PGAE | FULTON-MOLINO-COTATI | 60 | 2028-10-17 | 2026-10-01 | 2026-10-09 14:47 | Deliverable | Full Capacity Deliverability Status Requested
55333 | Shishito Energy Storage | Storage/Battery | 199 | N/A | N/A | N/A | N/A | 199 | San Bernardino | CA | SCE NOL | SCE | VICTOR 230 kV | 230 | 2031-07-01 | 2026-10-01 | 2026-10-01 13:14 | Deliverable | Full Capacity Deliverability Status Requested
55323 | Shoals Energy Storage Expansion | Storage/Battery | 459.52 | N/A | N/A | N/A | N/A | 450 | Ventura | CA | SCE NORTHERN | SCE | SANTA CLARA 230 kV | 230 | 2029-01-31 | 2026-10-01 | 2026-10-07 17:48 |  | Energy Only Requested | Non-Reimbursable
55380 | Silver Ridge Mount Signal Expansion | Storage/Battery | 200 | N/A | N/A | N/A | N/A | 200 | Imperial | NY | SAN DIEGO | SDGE | IMPERIAL VALLEY 230 kV | 230 | 2030-12-31 | 2026-10-01 | 2026-10-09 12:36 | Deliverable | Full Capacity Deliverability Status Requested
55332 | Silver Sand | Storage/Battery | 154.5 | N/A | N/A | N/A | N/A | 150 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2032-01-01 | 2026-10-01 | 2026-10-06 10:25 | Deliverable | Full Capacity Deliverability Status Requested
55368 | Sirocco Storage | Storage/Battery | 237.35 | N/A | N/A | N/A | N/A | 230.07 | Imperial | CA | SAN DIEGO | SDGE | OCOTILLO 500 kV | 500 | 2030-10-01 | 2026-10-01 | 2026-10-15 11:39 | Deliverable | Full Capacity Deliverability Status Requested
WDT11006 | Sisayan Solar Project | Photovoltaic/Solar | N/A | Storage/Battery | N/A | N/A | N/A | 16.11 | N/A | CA | SCE NORTHERN | SCE | ANTELOPE 66 kV | 66 | N/A | 2026-10-01 | 2026-10-14 10:12 |  | Partial Capacity Deliverability Status Requested
55211 | Skyward | Photovoltaic/Solar | 500 | N/A | N/A | N/A | N/A | 500 | Nye | NV | SCE EOP | GLW | BEATTY 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-01 11:37 |  | Energy Only Requested | Reimbursable
55262 | Slate Range Storage | Storage/Battery | 208 | N/A | N/A | N/A | N/A | 199.9 | Kern | CA | SCE NOL | SCE | INYOKERN 115 kV | 115 | 2030-12-31 | 2026-10-01 | 2026-10-05 10:56 | Deliverable | Full Capacity Deliverability Status Requested
55330 | Soft Pine | Photovoltaic/Solar | 500 | Storage/Battery | 500 | N/A | N/A | 500 | Nye | NV | SCE EOP | GLW | Valley Switch 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-06 12:35 | Deliverable | Full Capacity Deliverability Status Requested
055278 | Sol Crest | Photovoltaic/Solar | 300 | N/A | N/A | N/A | N/A | 300 | Kings | CA | PG&E KERN | PGAE | Los Banos-Midway #2 & Gates-Midway 500kV Lines | 500 | 2032-06-01 | 2026-10-01 | 2026-10-08 16:43 |  | Energy Only Requested | Reimbursable
55222 | Solana Creek A | Photovoltaic/Solar | 105.3 | Storage/Battery | 104.76 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-01 09:21 | Deliverable | Full Capacity Deliverability Status Requested
55223 | Solana Creek B | Photovoltaic/Solar | 105.3 | Storage/Battery | 104.76 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-01 09:29 | Deliverable | Full Capacity Deliverability Status Requested
55224 | Solana Creek C | Photovoltaic/Solar | 105.3 | Storage/Battery | 104.76 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-01 09:40 | Deliverable | Full Capacity Deliverability Status Requested
55225 | Solana Creek D | Photovoltaic/Solar | 105.3 | Storage/Battery | 104.76 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-01 09:50 | Deliverable | Full Capacity Deliverability Status Requested
55352 | Sollight | Photovoltaic/Solar | 350 | Storage/Battery | 350 | N/A | N/A | 350 | Kings | CA | PG&E KERN | PGAE | Arco-Gates 230kV | 230 | 2032-05-01 | 2026-10-01 | 2026-10-05 09:58 |  | Energy Only Requested | Reimbursable
55293 | Solridge Hills A | Photovoltaic/Solar | 105.3 | Storage/Battery | 104.76 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-05 14:35 | Deliverable | Full Capacity Deliverability Status Requested
55294 | Solridge Hills B | Photovoltaic/Solar | 105.3 | Storage/Battery | 104.76 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-05 14:43 | Deliverable | Full Capacity Deliverability Status Requested
55295 | Solridge Hills C | Photovoltaic/Solar | 105.3 | Storage/Battery | 104.76 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-05 14:47 | Deliverable | Full Capacity Deliverability Status Requested
55220 | Solterra Valley A | Photovoltaic/Solar | 105.3 | Storage/Battery | 104.76 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-01 09:57 | Deliverable | Full Capacity Deliverability Status Requested
55221 | Solterra Valley B | Photovoltaic/Solar | 105.3 | Storage/Battery | 104.76 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-01 10:10 | Deliverable | Full Capacity Deliverability Status Requested
55297 | Solterra Valley C | Photovoltaic/Solar | 105.3 | Storage/Battery | 104.76 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-05 14:16 | Deliverable | Full Capacity Deliverability Status Requested
55298 | Solterra Valley D | Photovoltaic/Solar | 105.3 | Storage/Battery | 104.76 | N/A | N/A | 100 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2031-12-01 | 2026-10-01 | 2026-10-05 14:25 | Deliverable | Full Capacity Deliverability Status Requested
55286 | Sparrow | Photovoltaic/Solar | 206.49 | Storage/Battery | 206.4 | N/A | N/A | 200 | Merced | CA | PG&E FRESNO | PGAE | Wilson-Storey 230 kV Line #2 | 230 | 2030-06-01 | 2026-10-01 | 2026-10-09 14:32 |  | Energy Only Requested | Reimbursable
133222739 | Stagecoach Energy Storage | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 10 | N/A | CA | PG&E GBA | PGAE | SOLEDAD 60 kV | 60 | N/A | 2026-10-01 | 2026-10-08 16:25 |  | Full Capacity Deliverability Status Requested
55208 | Starfall | Photovoltaic/Solar | 250 | N/A | N/A | N/A | N/A | 250 | Nye | NV | SCE EOP | GLW | Lathrop - Beatty 230 kV Line | 230 | 2032-12-01 | 2026-10-01 | 2026-10-01 13:18 |  | Energy Only Requested | Reimbursable
55387 | Starscream | Storage/Battery | 450 | N/A | N/A | N/A | N/A | 450 | Los Angeles | CA | SCE NORTHERN | SCE | ANTELOPE 230 kV | 230 | 2032-05-31 | 2026-10-01 | 2026-10-14 19:12 | Deliverable | Full Capacity Deliverability Status Requested
055274 | Sun Haven | Photovoltaic/Solar | 300 | Storage/Battery | 300 | N/A | N/A | 300 | Kern | CA | PG&E KERN | PGAE | MIDWAY-WHIRLWIND | 525 | 2033-06-01 | 2026-10-01 | 2026-10-09 14:34 | Deliverable | Full Capacity Deliverability Status Requested
55226 | Sun Trail A | Photovoltaic/Solar | 154.44 | N/A | N/A | N/A | N/A | 150 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-01 12:27 |  | Energy Only Requested | Reimbursable
55227 | Sun Trail B | Photovoltaic/Solar | 154.44 | N/A | N/A | N/A | N/A | 150 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-01 12:35 |  | Energy Only Requested | Reimbursable
55320 | Sun Trail C | Photovoltaic/Solar | 154.44 | N/A | N/A | N/A | N/A | 150 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-05 14:56 |  | Energy Only Requested | Reimbursable
55321 | Sun Trail D | Photovoltaic/Solar | 154.44 | N/A | N/A | N/A | N/A | 150 | Fresno | CA | PG&E FRESNO | LSPC | MANNING 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-08 08:32 |  | Energy Only Requested | Reimbursable
55214 | Sunspire | Photovoltaic/Solar | 500 | N/A | N/A | N/A | N/A | 500 | Nye | NV | SCE EOP | GLW | BEATTY 230 kV | 230 | 2031-12-01 | 2026-10-01 | 2026-10-01 12:11 |  | Energy Only Requested | Reimbursable
55209 | Sunward | Photovoltaic/Solar | 264.16 | Storage/Battery | 263.56 | N/A | N/A | 250 | Nye | NV | SCE EOP | GLW | Lathrop - Beatty 230 kV Line | 230 | 2032-12-01 | 2026-10-01 | 2026-10-01 12:49 | Deliverable | Full Capacity Deliverability Status Requested
55373 | Sutro Storage | Storage/Battery | 412.52 | N/A | N/A | N/A | N/A | 400 | Marin | CA | PG&E NGBA | PGAE | IGNACIO 230 kV | 230 | 2032-01-01 | 2026-10-01 | 2026-10-15 11:38 | Deliverable | Full Capacity Deliverability Status Requested
55255 | Symphony Valley Energy | Storage/Battery | 350 | Photovoltaic/Solar | 15 | N/A | N/A | 350 | Clark | NV | SCE EOP | GLW | TROUT CANYON 230 kV | 230 | 2032-12-01 | 2026-10-01 | 2026-10-02 09:14 | Deliverable | Full Capacity Deliverability Status Requested
55247 | Testudo Solar | Photovoltaic/Solar | 42.75 | N/A | N/A | N/A | N/A | 42 | Clark | NV | SAN DIEGO | SDGE | MERCHANT 230 kV | 230 | 2031-09-30 | 2026-10-01 | 2026-10-02 15:41 |  | Energy Only Requested | Reimbursable
55234 | Tillers Storage | Storage/Battery | 411.6 | N/A | N/A | N/A | N/A | 400 | Monterey | CA | PG&E GBA | PGAE | CRAZY HORSE CANYON SW STA 115 kV | 115 | 2031-02-01 | 2026-10-01 | 2026-10-01 16:52 | Deliverable | Full Capacity Deliverability Status Requested
55246 | Tortuga Solar | Photovoltaic/Solar | 130 | Photovoltaic/Solar | 130 | Storage/Battery | 129.66 | 250 | Clark | NV | SCE EOP | GLW | SLOAN CANYON 230 kV | 230 | 2030-05-13 | 2026-10-01 | 2026-10-02 17:33 | Deliverable | Full Capacity Deliverability Status Requested
55366 | Toyon Energy Storage1 | Storage/Battery | 72.8 | N/A | N/A | N/A | N/A | 70 | San Diego | CA | SAN DIEGO | SDGE | OTAY MESA 230 kV | 230 | 2030-06-01 | 2026-10-01 | 2026-10-14 16:17 | Deliverable | Full Capacity Deliverability Status Requested
55367 | Toyon Energy Storage2 | Storage/Battery | 52.2 | N/A | N/A | N/A | N/A | 50 | San Diego | CA | SAN DIEGO | SDGE | OTAY MESA 230 kV | 230 | 2030-06-01 | 2026-10-01 | 2026-10-14 16:20 | Deliverable | Full Capacity Deliverability Status Requested
132804094 | Tyler Foote Rd Storage | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 5 | N/A | CA | PG&E NGBA | PGAE | SMARTVILLE SW STA 60 kV | 60 | N/A | 2026-10-01 | 2026-10-07 13:13 |  | Full Capacity Deliverability Status Requested
131114474 | USS Sutter Hawk Solar LLC | Photovoltaic/Solar | N/A | Storage/Battery | N/A | N/A | N/A | 4.9 | N/A | CA | PG&E NGBA | PGAE | PEASE 60 kV | 60 | N/A | 2026-10-01 | 2026-10-07 12:43 |  | Full Capacity Deliverability Status Requested
131146642 | USS Yuba River Farms Solar LLC | Photovoltaic/Solar | N/A | Storage/Battery | N/A | N/A | N/A | 4.9 | N/A | CA | PG&E NGBA | PGAE | MARYSVILLE 60 kV | 60 | N/A | 2026-10-01 | 2026-10-07 12:47 |  | Full Capacity Deliverability Status Requested
55319 | Valley Spirit BESS | Storage/Battery | 206.2 | N/A | N/A | N/A | N/A | 200 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2030-12-31 | 2026-10-01 | 2026-10-01 09:12 | Deliverable | Full Capacity Deliverability Status Requested
55251 | Valor Vista Energy | Photovoltaic/Solar | 1150 | Storage/Battery | 1150 | N/A | N/A | 1150 | Kings | CA | PG&E FRESNO | LSPC | MANNING 500 kV | 500 | 2032-12-01 | 2026-10-01 | 2026-10-01 15:00 | Deliverable | Full Capacity Deliverability Status Requested
55212 | Verona | Storage/Battery | 358.58 | Photovoltaic/Solar | 357.82 | N/A | N/A | 350 | Imperial | CA | SAN DIEGO | SDGE | North Gila - Imperial Valley 500 kV #2 line | 500 | 2032-12-01 | 2026-10-01 | 2026-10-08 11:12 | Deliverable | Full Capacity Deliverability Status Requested
55269 | Vindhub Energy Storage | Storage/Battery | 1150 | N/A | N/A | N/A | N/A | 1150 | Los Angeles | CA | SCE NORTHERN | SCE | VINCENT 230 kV | 230 | 2032-06-01 | 2026-10-01 | 2026-10-05 13:27 | Deliverable | Full Capacity Deliverability Status Requested
132808851 | Wall Street Tower Storage | Storage/Battery | N/A | N/A | N/A | N/A | N/A | 9 | N/A | CA | PG&E NGBA | PGAE | CHICO A 60 kV | 60 | N/A | 2026-10-01 | 2026-10-07 13:12 |  | Full Capacity Deliverability Status Requested
55265 | Water Rock Energy Storage 2 | Storage/Battery | 500 | N/A | N/A | N/A | N/A | 500 | Nye | NV | SCE EOP | GLW | GAMEBIRD 230 kV | 230 | 2032-05-31 | 2026-10-01 | 2026-10-15 09:49 | Deliverable | Full Capacity Deliverability Status Requested
55239 | Western Meadowlark Storage | Storage/Battery | 245.04 | N/A | N/A | N/A | N/A | 240 | Kern | CA | SCE NOL | SCE | INYOKERN 115 kV | 115 | 2033-06-01 | 2026-10-01 | 2026-10-07 19:44 | Deliverable | Full Capacity Deliverability Status Requested
55388 | Willow Rock Energy Storage 2 | Storage/Other | 517.84 | N/A | N/A | N/A | N/A | 500 | Kern | CA | SCE NORTHERN | SCE | WHIRLWIND 230 kV | 230 | 2033-09-30 | 2026-10-01 | 2026-10-15 10:34 | Deliverable | Full Capacity Deliverability Status Requested
55342 | Willowstone | Photovoltaic/Solar | 200 | Storage/Battery | 200 | N/A | N/A | 200 | Placer | CA | PG&E NGBA | PGAE | RIO OSO-GOLD HILL | 230 | 2033-10-01 | 2026-10-01 | 2026-10-05 13:51 | Deliverable | Full Capacity Deliverability Status Requested
55390 | Winter Water | Storage/Battery | 263.12 | N/A | N/A | N/A | N/A | 250 | Clark | NV | SCE EOP | SCE | ELDORADO 230 kV | 230 | 2031-06-01 | 2026-10-01 | 2026-10-08 15:59 | Deliverable | Full Capacity Deliverability Status Requested
55306 | Wisteria | Storage/Battery | 469.42 | N/A | N/A | N/A | N/A | 450 | San Diego | CA | SAN DIEGO | SDGE | EAST COUNTY 500 kV | 500 | 2033-03-01 | 2026-10-01 | 2026-10-02 16:51 | Deliverable | Full Capacity Deliverability Status Requested
55382 | Woodville Energy Storage | Storage/Battery | 101.6 | N/A | N/A | N/A | N/A | 100 | Tulare | CA | SCE NORTHERN | SCE | RECTOR 230 kV | 230 | 2030-09-16 | 2026-10-01 | 2026-10-12 12:54 | Deliverable | Full Capacity Deliverability Status Requested
55242 | Yerba Padre | Photovoltaic/Solar | 204.9 | N/A | N/A | N/A | N/A | 200 | Maricopa | AZ | SAN DIEGO | SDGE | HASSAYAMPA 500 kV | 500 | 2031-09-01 | 2026-10-01 | 2026-10-01 14:38 |  | Energy Only Requested | Reimbursable
55345 | Zuzu | Photovoltaic/Solar | 162.7 | Storage/Battery | 162.3 | N/A | N/A | 150 | Monterey | CA | PG&E GBA | PGAE | Spence-Gonzales | 115 | 2031-12-31 | 2026-10-01 | 2026-10-06 13:18 | Deliverable | Full Capacity Deliverability Status Requested