Date: 	September 7, 2004

To:	Scott Jercich, P.E.

Senior Market Design Engineer

California ISO

From:  Alexander Cabrera

Federal Regulation & Contracts

Transmission & Distribution Business Unit

Southern California Edison

# Tel: (626) 302-9629 Fax: (626) 302-1152

Alexander.Cabrera@sce.com

As promised during the August 26 CRR Stakeholder Conference Call, SCE

includes below the alternative proposal that SCE has developed for

allocating CRRs to Merchant Transmission.  Feel free to distribute and post this proposal for CRR stakeholder review as needed.

SCE Proposal Summary

The CAISO's Draft CRR Proposal (dated 8/6/04) attempts to provide Merchant Transmission owners with CRRs associated with the incremental benefit provided by the Merchant Transmission project.  While SCE does not disagree with this principle, we do not believe the Draft CRR Proposal provides an equitable or practical approach to implementing that principle.  We believe that, if implemented, the proposal would unfairly disadvantage the vast majority of consumers that are dependent upon CRRs associated with transmission that is included in their transmission rates to provide hedges against transmission congestion charges.  As an alternative, we recommend that Merchant Transmission owners receive CRRs for the full amount of capacity added to the system based on the physical addition to the transfer capability as determined by the CAISO or through the regional reliability council process of the Western Electricity Coordinating Council or its successor.  This approach is based on the Section 3.2.7.3 of the current CAISO Tariff.  In addition, the Merchant Transmission CRRs should be subject to the same reductions as non- Merchant Transmission CRRs should there be a rating decreases on the facilities associated with the Merchant Transmission upgrade.  Additional details on our concerns and support for our recommended alternative are provided below.

Concerns with CRR Duration Differences for Merchant Transmission and LSEs

The Draft CRR Merchant Transmission Proposal provides for Merchant

Transmission to obtain lifetime CRRs.  Under the current CRR allocation

proposal, the maximum duration for CRRs for LSEs is one year.  This

non-comparable treatment creates two concerns.

First, the CAISO proposes to perform a one-shot calculation to determine the amount of CRRs the Merchant Transmission owner would receive for the operational life of the Merchant Transmission facility. This calculation, as described to date, is extremely complex and heavily dependent upon a simulation of latent (available but not allocated) CRRs (so-called "capacity CRRs").  These capacity CRRs are really future CRRs for LSEs.

The use of a single snap shot analysis based on an extremely uncertain

modeling problem, combined with the lifetime duration of the outcome, puts an unacceptable risk on the LSE.

Second, this one-shot calculation approach without periodic re-evaluation would result in LSEs bearing a disproportional share of a reduction in transfer capability should such reduction occur.  This is more than just a hypothetical concern.  For example, as a result of the investigation to the August 2003 eastern United States blackout, changes were made in criteria that led to a reduction in the rating of the path from Arizona to southern California.  Under the Draft CRR Merchant Transmission Proposal, Merchant Transmission would not be required to share in such a reduction because the one-snap-shot determination of the amount of their CRRs would be locked in for life.  Consequently, the LSEs would have to take a disproportionate share of the reduced capability because the amount of capacity that is used to determine their CRRs allocations is subject to revisions (annually, monthly).

Concerns with Unlimited Source/Sink Requests and Reliance on Complex

Modeling Section 4.3 of the Draft CRR Merchant Transmission Proposal states that there will be no limitations on the location of either the Sources or Sinks associated with Merchant Transmission CRR requests.  This creates two key concerns, it provides a risk-free incentive for the Merchant Transmission owner to request an infinite number of option CRRs and it does not restrict the Merchant Transmission owner to requests that are only associated with the physical incremental transmission capacity resulting from the Merchant Transmission upgrade.

First, the proposal has no down side for a Merchant Transmission owner to request as many options CRRs (i.e. risk-free CRRs) as mathematically and/or physically possible.  What results is a very difficult analysis problem for the CAISO that is only as good as the DC Full Network Model used in the CRR allocation and the application of "capacity CRRs".  If the network model and the application of "capacity CRRs" are not accurate, which is highly unlikely with a snap-shot approach to modeling inherent in the DC model, then the unlimited requests made by Merchant Transmission combined with a flawed modeling approach will limit LSEs' future ability to obtain CRRs associated with the transmission capacity that they are paying for in rates. This occurs because the snap-shot modeling approach would inaccurately estimate the benefit associated with a Merchant transmission upgrade and allocate CRRs to the Merchant Transmission owner that are actually associated with existing transmission capacity.

Second, the limitless selection of risk-free Source/Sink pairs that the

Merchant Transmission owner can request does not reflect the physical

incremental transmission capacity associated with the Merchant Transmission upgrade.  Rather, this limitless selection reflects the ability of the Merchant Transmission to request, without risk, CRRs that result from a one-shot analysis based on modeling assumptions.

# SCE Proposal

As an alternative to the Draft CRR Merchant Transmission Proposal, SCE

recommends that Merchant Transmission CRRs be based on the same principle that guides the determination of Merchant Transmission FTRs in the current CAISO Tariff.  This approach provides transmission rights (FTRs today, CRRs under MRTU) based on the incremental transmission capacity that results from the Merchant Transmission.  The Merchant Transmission owners would be allocated CRRs for the incremental capacity added to the grid.  These CRRs would be valid for the life of the transmission facility; however the quantity of CRRs would be subject to a reduction based on an annual review if the rating of the transmission capacity was reduced.

As an example, suppose a Merchant Transmission project consisted of

installing a facility that, after applicable CAISO and WECC review,

resulted in an increase the line rating from A to B (and B to A) from 75 MW to 100 MW.  In addition, the facility resulted in the rating from C to B (and B to C) increasing from 200 MW to 250 MW.  The Merchant Transmission would be eligible to receive 25 MW of option CRRs from A to B, 25 MW of option CRRs from B to A, 50 MW of option CRRs from C to B, and 50 MW of option CRRs from B to C.  The Merchant Transmission would not be eligible to receive CRRs from any other source/sink pairs.  Finally, an annual review would occur to determine if the quantity of Merchant Transmission CRRs is subject to a reduction should there be a decrease in the rating of A to B or B to C, as determined by the CAISO and/or WECC, as applicable.

We believe this approach is preferable to the Draft CRR Merchant

Transmission Proposal for the following reasons:

This approach results in more comparable treatment with LSE CRRs.  The

comparability comes from the fact that both entities (Merchant Transmission and LSEs) will be receiving CRRs associated with the transmission capacity based on the accepted transmission capacity rating process.  The aspect of the current CRR proposal that allocates CRRs to LSEs on an annual/monthly basis while providing Merchant Transmission with lifetime CRRs is not as much of a concern since the methodology that determines the transmission capacity that results in CRR allocations are comparable over time.

This approach ensures the Merchant Transmission provider receives the CRRs associated with incremental transmission capacity added, eliminates the uncertainties associated with speculative CRR requests not associated with the physical capacity added by the Merchant Transmission, and avoids the complicated and uncertain modeling and optimization problem that creates risks for LSEs.  While some may argue that the incremental physical capacity associated with an upgrade is also dependent upon modeling, the rating methodology process currently used is more rigorous and accurate than a CRR optimization problem that bets on the outcome that an unlimited number of infeasible Source/Sink requests can be solved in a transparent and equitable manner. This approach is consistent with FERC policy and what FERC approved for the CAISO regarding merchant FTRs.