## Curtailed
Report Generated on : 04/15/2023 07:30:05 (PPT)
Trade Date: 04/15/2023
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
GARLND_2_GARBT1 |  | Garland B BESS |  |  | Planned | 88.00 | 11.00 | SCE Gen | CISO
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Forced | 198.51 | 3.51 | PGAE Gen | CISO
VISTRA_5_DALBT3 |  | Dallas Energy Storage 3 |  |  | Forced | 100.00 | 11.00 | PGAE Gen | CISO
GARNET_1_WINDS |  | Garnet Winds Aggregation |  |  | Forced | 22.50 | 1.50 | SCE Gen | CISO
GASKW1_2_GW1SR1 |  | Gaskell West 1 |  |  | Forced | 20.00 | 5.75 | SCE Gen | CISO
GASKW1_2_GW3SR1 |  | Gaskell West 3 |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
GASKW1_2_GW4SR1 |  | Gaskell West 4 |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
GASKW1_2_GW5SR1 |  | Gaskell West 5 |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 36.70 | PGAE South | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Forced | 86.80 | 14.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Forced | 57.00 | 16.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 27.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 11.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 16.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Forced | 75.50 | 17.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 38.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 12.00 | PGAE Gen | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Forced | 120.00 | 11.00 | PGAE South | CISO
GLNARM_7_UNIT 1 |  | GLEN ARM UNIT 1 |  |  | Forced | 22.13 | 22.13 | SCE Gen | CISO
GLNARM_7_UNIT 3 |  | GLEN ARM UNIT 3 |  |  | Forced | 44.83 | 44.83 | SCE Gen | CISO
GLOW_6_SOLAR |  | Antelope Power Plant |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
GRIZLY_1_UNIT 1 |  | GRIZZLY HYDRO |  |  | Forced | 20.00 | 20.00 | PGAE North | CISO
GRNLF1_1_PL1X2 |  | Greenleaf 1 |  |  | Forced | 60.00 | 60.00 | PGAE Gen | CISO
GRNLF2_1_UNIT |  | GREENLEAF II COGEN |  |  | Forced | 49.20 | 49.20 | PGAE North | CISO
GUERNS_6_SOLAR |  | Guernsey Solar Station |  |  | Forced | 20.00 | 20.00 | PGAE Gen | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Forced | 98.43 | 20.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 15.80 | PGAE Gen | CISO
HAASPH_7_PL1X2 |  | HAAS PH UNIT 1 &amp; 2 AGGREGATE |  |  | Planned | 144.00 | 72.00 | PGAE North | CISO
HAASPH_7_PL1X2 |  | HAAS PH UNIT 1 &amp; 2 AGGREGATE |  |  | Planned | 144.00 | 72.00 | PGAE South | CISO
HALSEY_6_UNIT |  | HALSEY HYDRO |  |  | Planned | 13.50 | 13.50 | PGAE Gen | CISO
HARGS_1_UNIT_12 |  | Harbor Generating Station UNIT 12 |  |  | Forced | 44.00 | 3.00 | LADWP Gen | LADWP
HARGS_1_UNIT_14 |  | Harbor Generating Station UNIT 14 |  |  | Forced | 44.00 | 44.00 | LADWP Gen | LADWP
HATCR2_7_UNIT |  | Hat Creek #2 |  |  | Forced | 8.50 | 8.50 | PGAE North | CISO
HATLOS_6_LSCRK |  | Lost Creek 1 &amp; 2 Hydro Conversion |  |  | Forced | 1.70 | 0.30 | PGAE Gen | CISO
HAYGS_2_UNIT_1 |  | Haynes Generating Station UNIT 1 |  |  | Forced | 222.00 | 29.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_11 |  | Haynes Generating Station UNIT 11 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_15 |  | Haynes Generating Station UNIT 15 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_16 |  | Haynes Generating Station UNIT 16 |  |  | Planned | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_2 |  | Haynes Generating Station UNIT 2 |  |  | Forced | 222.00 | 222.00 | LADWP Gen | LADWP
HELMPG_7_UNIT 3 |  | HELMS PUMP-GEN UNIT 3 |  |  | Planned | 404.00 | 404.00 | PGAE South | CISO
HENRTA_6_SOLAR1 |  | Lemoore 1 |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
HIDSRT_2_UNITS |  | HIGH DESERT POWER PROJECT AGGREGATE |  |  | Planned/Forced | 830.00 | 830.00 | SCE Gen | CISO
HIGHDS_2_H5SBT1 |  | High 5 Solar BESS |  |  | Forced | 50.00 | 3.00 | SCE Gen | CISO
HOLGAT_1_BORAX |  | U.S. Borax, Unit 1 |  |  | Planned | 48.20 | 48.20 | SCE Gen | CISO
HYTTHM_2_UNITS |  | HYATT-THERMALITO PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 933.10 | 36.10 | PGAE Gen | CISO
INDIGO_1_UNIT 1 |  | INDIGO PEAKER UNIT 1 |  |  | Forced | 45.30 | 45.30 | SCE Gen | CISO
INDIGO_1_UNIT 2 |  | INDIGO PEAKER UNIT 2 |  |  | Forced | 45.30 | 45.30 | SCE Gen | CISO
INDVLY_1_UNITS |  | Indian Valley Hydro |  |  | Forced | 3.01 | 3.01 | PGAE North | CISO
INTGS_3_DES |  | Intermountain Generating Station UNITS |  |  | Planned | 35.00 | 18.00 | LADWP Gen | LADWP
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 1.44 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 0.40 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 0.10 | SDGE Gen | CISO
PIT1_7_UNIT 1 |  | PIT PH 1 UNIT 1 |  |  | Forced | 32.00 | 32.00 | PGAE North | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Planned/Forced | 55.70 | 55.70 | PGAE North | CISO
PIT7_7_UNIT 2 |  | PIT PH 7 UNIT 2 |  |  | Planned/Forced | 54.60 | 54.60 | PGAE North | CISO
PLAINV_6_BSOLAR |  | Western Antelope Blue Sky Ranch A |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
PLAINV_6_NLRSR1 |  | North Lancaster Ranch |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
PLAINV_6_SOLAR3 |  | Sierra Solar Greenworks LLC |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
PLAINV_6_SOLARC |  | Central Antelope Dry Ranch C |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
PNCHEG_2_PL1X4 |  | PANOCHE ENERGY CENTER (Aggregated) |  |  | Forced | 417.00 | 315.00 | PGAE Gen | CISO
PNOCHE_1_PL1X2 |  | Panoche Peaker |  |  | Planned/Forced | 49.97 | 49.97 | PGAE South | CISO
PNOCHE_1_UNITA1 |  | CalPeak Power Panoche Unit 1 |  |  | Planned/Forced | 52.30 | 52.30 | PGAE Gen | CISO
POEPH_7_UNIT 1 |  | POE HYDRO UNIT 1 |  |  | Forced | 68.00 | 4.00 | PGAE North | CISO
POEPH_7_UNIT 2 |  | POE HYDRO UNIT 2 |  |  | Forced | 68.50 | 4.50 | PGAE North | CISO
POTTER_6_UNITS |  | Potter Valley |  |  | Forced | 10.10 | 10.10 | PGAE North | CISO
PTRPP_2_WIND |  | Pine Tree Wind Power Plant |  |  | Forced | 135.00 | 100.50 | LADWP Gen | LADWP
PWEST_1_UNIT |  | PACIFIC WEST 1 WIND GENERATION |  |  | Forced | 2.10 | 2.10 | SCE Gen | CISO
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 106.18 | 58.18 | SCE Gen | CISO
RCKCRK_7_UNIT 1 |  | ROCK CREEK HYDRO UNIT 1 |  |  | Planned | 57.00 | 57.00 | PGAE North | CISO
RCKCRK_7_UNIT 2 |  | ROCK CREEK HYDRO UNIT 2 |  |  | Planned | 56.90 | 56.90 | PGAE North | CISO
RDCLD_3_WIND |  | Red Cloud Wind Power Plant |  |  | Forced | 331.00 | 20.00 | LADWP Gen | LADWP
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Forced | 6.55 | 6.55 | SCE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
RECTOR_2_QF |  | Kaweah Unit 1 |  |  | Forced | 20.09 | 20.09 | SCE Gen | CISO
RENWD_1_QF |  | Renwind re-powering project |  |  | Forced | 10.00 | 1.00 | SCE Gen | CISO
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 2.50 | PGAE Gen | CISO
ROSMDW_2_WIND1 |  | Pacific Wind - Phase 1 |  |  | Forced | 140.00 | 2.00 | SCE Gen | CISO
ROSMND_6_SOLAR |  | Lancaster B |  |  | Forced | 3.00 | 1.50 | SCE Gen | CISO
RTREE_2_WIND2 |  | Rising Tree 2 |  |  | Forced | 19.80 | 3.30 | SCE Gen | CISO
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Planned/Forced | 615.18 | 316.18 | PGAE South | CISO
RVSIDE_6_RERCU1 |  | Riverside Energy Res. Ctr Unit 1 |  |  | Planned | 48.35 | 48.35 | SCE Gen | CISO
SANBRN_2_EESSB2 |  | Edsan 2 Edwards Sanborn E1B |  |  | Forced | 166.00 | 36.00 | SCE Gen | CISO
SANBRN_2_SS2SB4 |  | Sanborn Solar 2 Edwards Sanborn S4 |  |  | Forced | 36.00 | 3.00 | SCE Gen | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Planned/Forced | 72.00 | 72.00 | PGAE Gen | CISO
SANTGO_2_MABBT1 |  | Millikan Avenue BESS |  |  | Forced | 2.00 | 1.11 | SCE Gen | CISO
SANWD_1_QF |  | San Gorgonio Farms Wind Farm |  |  | Forced | 31.00 | 6.90 | SCE Gen | CISO
SBERDO_2_PSP3 |  | Mountainview Gen Sta. Unit 3 |  |  | Planned | 555.00 | 555.00 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Forced | 3.93 | 2.63 | SCE Gen | CISO
SCAGS_1_UNIT_2 |  | Scattergood Generating Station UNIT 2 |  |  | Planned/Forced | 177.00 | 177.00 | LADWP Gen | LADWP
SCEW_2_PDRP10 |  | LCR AMS Hybrid Irvine 2-W-LSCE |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
SEARLS_7_ARGUS |  | Argus Cogeneration |  |  | Forced | 19.00 | 15.50 | SCE Gen | CISO
SENTNL_2_CTG1 |  | Sentinel Unit 1 |  |  | Forced | 107.68 | 5.68 | SCE Gen | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Forced | 106.55 | 106.55 | SCE Gen | CISO
SENTNL_2_CTG5 |  | Sentinel Unit 5 |  |  | Forced | 107.52 | 107.52 | SCE Gen | CISO
SENTNL_2_CTG7 |  | Sentinel Unit 7 |  |  | Forced | 106.73 | 8.73 | SCE Gen | CISO
VLCNTR_6_VCEBT1 |  | Valley Center Energy Storage |  |  | Forced | 54.00 | 12.00 | SDGE Gen | CISO
VOLTA_2_UNIT 1 |  | VOLTA HYDRO UNIT 1 |  |  | Planned/Forced | 9.10 | 9.10 | PGAE North | CISO
VOLTA_2_UNIT 2 |  | Volta Hydro Unit 2 |  |  | Planned | 1.00 | 1.00 | PGAE North | CISO
VSTAES_6_VESBT1 |  | Vista Energy Storage |  |  | Forced | 40.00 | 2.00 | SDGE Gen | CISO
WADHAM_6_UNIT |  | Wadham Energy LP |  |  | Planned | 29.07 | 29.07 | PGAE North | CISO
WALCRK_2_CTG4 |  | Walnut Creek Energy Park Unit 4 |  |  | Planned/Forced | 96.60 | 96.60 | SCE Gen | CISO
WDLEAF_7_UNIT 1 |  | WOODLEAF HYDRO |  |  | Planned/Forced | 60.00 | 60.00 | PGAE North | CISO
WESTPT_2_UNIT |  | West Point Hydro Plant |  |  | Planned | 14.00 | 14.00 | PGAE Gen | CISO
WFRESN_1_SOLAR |  | Joya Del Sol |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
WHEATL_6_LNDFIL |  | G2 ENERGY, OSTROM ROAD LLC |  |  | Forced | 3.55 | 2.05 | PGAE Gen | CISO
WHTWTR_1_WINDA1 |  | Whitewater Hill Wind Project |  |  | Forced | 61.50 | 6.50 | SCE Gen | CISO
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | BANC Gen | BANC
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | EIM SMUD | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | BANC Gen | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | EIM SMUD | BANC
WISE_1_UNIT 2 |  | WISE HYDRO UNIT 2 |  |  | Forced | 3.20 | 3.20 | PGAE North | CISO
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Forced | 18.40 | 18.40 | PGAE Gen | CISO
WISTER_2_WISSR1 |  | Wister Solar |  |  | Forced | 20.00 | 4.00 | SDGE Gen | CISO
WOLFSK_1_UNITA1 |  | Wolfskill Energy Center |  |  | Forced | 48.68 | 48.68 | PGAE Gen | CISO
WRGTSR_2_WSFSR1 |  | Wright Solar Freeman |  |  | Forced | 200.00 | 4.00 | PGAE Gen | CISO
ZOND_6_UNIT |  | ZOND WINDSYSTEMS INC. |  |  | Forced | 17.10 | 17.10 | PGAE Gen | CISO
CASADB_1_CD4GT1 |  | Casa Diablo 4 |  |  | Forced | 40.00 | 3.54 |  | CISO
CRIMSN_2_CRMBT2 |  | Crimson 2 |  |  | Forced | 150.00 | 6.00 |  | CISO
DONPEDRO_6_MIDUNIT1 |  | Don Pedro Generation Station Unit 1 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT2 |  | Don Pedro Generation Station Unit 2 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT3 |  | Don Pedro Generation Station Unit 3 |  |  | Forced | 55.00 | 7.10 |  | BANC
DONPEDRO_6_MIDUNIT4 |  | Don Pedro Generation Station Unit 4 |  |  | Forced | 38.00 | 38.00 |  | BANC
FOLSOM_7_UNITS |  | Folsom and Nimbus Aggregation |  |  | Planned/Forced | 224.00 | 122.00 |  | BANC
GASKW1_2_GW2BT1 |  | Gaskell West 2 BESS |  |  | Forced | 20.00 | 10.00 |  | CISO
GASKW1_2_GW2SR2 |  | Gaskell West 2b |  |  | Forced | 29.00 | 29.00 |  | CISO
HOOVER_2_LDWP |  | Hoover Power Plant - LADWP Share |  |  | Forced | 537.00 | 332.00 |  | LADWP
JOANEC_2_ST3BT3 |  | Santa Ana Storage 3 |  |  | Forced | 40.00 | 40.00 |  | CISO
BUCKBL_2_PL1X3 |  | Blythe Energy Center |  |  | Forced | 493.63 | 493.63 | SCE Gen | CISO
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Forced | 1.30 | 1.30 | PGAE Gen | CISO
BUCKCK_7_PL1X2 |  | BUCKS CREEK AGGREGATE |  |  | Planned | 57.25 | 24.25 | PGAE Gen | CISO
BUCKWD_1_QF |  | Buckwind Re-powering project |  |  | Forced | 16.50 | 1.50 | SCE Gen | CISO
BURNYF_2_UNIT 1 |  | Burney Forest Power |  |  | Forced | 29.00 | 13.99 | PGAE Gen | CISO
CALGEN_1_UNITS |  | Coso Navy 1 |  |  | Planned | 80.00 | 80.00 | SCE Gen | CISO
CAMPFW_7_FARWST |  | CAMP FAR WEST HYDRO |  |  | Forced | 6.80 | 6.80 | PGAE Gen | CISO
CAPWD_1_QF |  | Edom Hills Wind Farm |  |  | Forced | 19.55 | 19.55 | SCE Gen | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Forced | 422.00 | 422.00 | SDGE Gen | CISO
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 105.50 | SDGE Gen | CISO
CASPP_2_UNIT_5 |  | Castaic Power Plant UNIT 5 |  |  | Planned/Forced | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_6 |  | Castaic Power Plant UNIT 6 |  |  | Planned/Forced | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_7 |  | Castaic Power Plant UNIT 7 |  |  | Planned/Forced | 56.00 | 56.00 | LADWP Gen | LADWP
CATLNA_2_SOLAR2 |  | Catalina Solar 2 |  |  | Planned/Forced | 18.00 | 18.00 | SCE Gen | CISO
CENTER_2_RHONDO |  | MWD Rio Hondo Hydroelectric Recovery Pla |  |  | Forced | 1.91 | 1.91 | SCE Gen | CISO
CHALK_1_UNIT |  | CHALK CLIFF LIMITED |  |  | Forced | 48.67 | 3.57 | PGAE Gen | CISO
CHICPK_7_UNIT 1 |  | Chicago Park Powerhouse |  |  | Forced | 42.00 | 42.00 | PGAE North | CISO
CHILLS_1_SYCENG |  | Sycamore Energy 1 |  |  | Planned | 1.50 | 1.00 | SDGE Gen | CISO
CHWCHL_1_BIOMAS |  | Chow II Biomass to Energy |  |  | Forced | 10.80 | 10.80 | PGAE South | CISO
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 5.00 | BANC Gen | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 5.00 | EIM SMUD | BANC
CLOVDL_1_SOLAR |  | Cloverdale Solar I |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
CLOVER_2_UNIT |  | Clover Creek |  |  | Forced | 0.99 | 0.99 | PGAE Gen | CISO
COCOPP_2_CTG1 |  | Marsh Landing 1 |  |  | Forced | 204.20 | 1.18 | PGAE South | CISO
COCOPP_2_CTG2 |  | Marsh Landing 2 |  |  | Forced | 202.70 | 0.54 | PGAE South | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 7.23 | PGAE South | CISO
COCOPP_2_CTG4 |  | Marsh Landing 4 |  |  | Planned/Forced | 204.29 | 0.67 | PGAE South | CISO
COGNAT_1_UNIT |  | Stockton Biomas |  |  | Planned | 45.00 | 45.00 | PGAE Gen | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Forced | 176.72 | 16.72 | PGAE North | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Forced | 175.67 | 17.67 | PGAE North | CISO
COLPIN_6_COLLNS |  | Collins Pine |  |  | Forced | 3.30 | 3.30 | PGAE Gen | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Planned | 641.00 | 641.00 | PGAE North | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Forced | 3.00 | 2.62 | SCE Gen | CISO
CONTRL_1_POOLE |  | POOLE HYDRO PLANT 1 |  |  | Forced | 10.90 | 10.30 | SCE Gen | CISO
CONTRL_1_RUSHCK |  | RUSH CREEK |  |  | Forced | 11.94 | 11.84 | SCE Gen | CISO
CORCAN_1_SOLAR1 |  | CID Solar |  |  | Forced | 20.00 | 4.00 | PGAE Gen | CISO
COVERD_2_MCKHY1 |  | Montgomery Creek Hydro |  |  | Forced | 2.80 | 0.40 | PGAE Gen | CISO
COWCRK_2_UNIT |  | Cow Creek Hydro |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
CPP_2_PL |  | Cosumnes Power Plant |  |  | Planned/Forced | 612.00 | 612.00 | BANC Gen | BANC
CPP_2_PL |  | Cosumnes Power Plant |  |  | Planned/Forced | 612.00 | 612.00 | EIM SMUD | BANC
CRELMN_6_RAMSR3 |  | Ramona Solar Energy |  |  | Planned/Forced | 4.32 | 4.32 | SDGE Gen | CISO
CRESTA_7_PL1X2 |  | CRESTA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Planned | 70.40 | 70.40 | PGAE North | CISO
CRIMSN_2_CRMBT1 |  | Crimson |  |  | Forced | 200.00 | 35.00 | SCE Gen | CISO
CRNEVL_6_CRNVA |  | Crane Valley |  |  | Planned/Forced | 0.90 | 0.90 | PGAE Gen | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Forced | 3.20 | 3.20 | PGAE Gen | CISO
CROKET_7_UNIT |  | CROCKETT COGEN |  |  | Planned | 240.00 | 240.00 | PGAE North | CISO
CRSTWD_6_KUMYAY |  | Kumeyaay Wind Farm |  |  | Forced | 50.00 | 16.00 | SDGE Gen | CISO
CSCCOG_1_UNIT 1 |  | SANTA CLARA CO-GEN |  |  | Forced | 7.00 | 3.50 | PGAE South | CISO
CSCGNR_1_UNIT 2 |  | GIANERA PEAKER UNIT 2 |  |  | Forced | 24.75 | 2.74 | PGAE South | CISO
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Planned | 171.00 | 171.00 | BANC Gen | BANC
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Planned | 171.00 | 171.00 | EIM SMUD | BANC
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Planned | 0.80 | 0.80 | PGAE Gen | CISO
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Planned/Forced | 22.00 | 11.00 | PGAE Gen | CISO
ADLSPP_5_SOLAR |  | Adelanto Solar Power Plant |  |  | Forced | 10.00 | 2.80 | LADWP Gen | LADWP
ADMEST_6_SOLAR |  | Adams East |  |  | Forced | 19.00 | 4.40 | PGAE Gen | CISO
ALAMIT_7_ES1 |  | Alamitos Energy Storage |  |  | Forced | 100.45 | 35.45 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Forced | 25.00 | 1.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Forced | 25.00 | 1.00 | PGAE South | CISO
ALTA3A_2_CPCE4 |  | Alta Wind 4 |  |  | Forced | 102.00 | 3.00 | SCE Gen | CISO
ALTA3A_2_CPCE5 |  | Alta Wind 5 |  |  | Forced | 168.00 | 3.00 | SCE Gen | CISO
ALTA3A_2_CPCE8 |  | Alta Wind 8 |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA4A_2_CPCW1 |  | Alta Wind 1 |  |  | Forced | 150.00 | 1.50 | SCE Gen | CISO
ALTA4B_2_CPCW2 |  | Alta Wind 2 |  |  | Forced | 150.00 | 6.00 | SCE Gen | CISO
ALTA4B_2_CPCW3 |  | Alta Wind 3 |  |  | Forced | 150.00 | 6.00 | SCE Gen | CISO
ALTA6B_2_WIND11 |  | Alta Wind 11 |  |  | Forced | 88.15 | 1.70 | SCE Gen | CISO
ALTA6E_2_WIND10 |  | Alta Wind 10 |  |  | Forced | 134.84 | 12.29 | SCE Gen | CISO
ALTWD_2_COAWD1 |  | Coachella 1 |  |  | Forced | 50.40 | 25.20 | SCE Gen | CISO
ANAHM_2_CANYN1 |  | CANYON POWER PLANT UNIT 1 |  |  | Forced | 49.21 | 49.21 | SCE Gen | CISO
APXGS_5_CC |  | Apex Generating Station Combined Cycle |  |  | Planned/Forced | 578.00 | 578.00 | LADWP Gen | LADWP
ARBWD_6_QF |  | Wind Resource II |  |  | Forced | 19.95 | 3.75 | SCE Gen | CISO
ARCOGN_2_UNITS |  | WATSON COGENERATION |  |  | Planned | 305.00 | 100.00 | SCE Gen | CISO
AVENAL_6_SUNCTY |  | Sun City Solar Project |  |  | Forced | 20.00 | 20.00 | PGAE Gen | CISO
BARRE_6_PEAKER |  | Barre Peaker |  |  | Forced | 49.00 | 0.25 | SCE Gen | CISO
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Forced | 48.08 | 2.08 | PGAE South | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Forced | 49.21 | 2.21 | PGAE Gen | CISO
BGSKYN_2_BS3SR3 |  | Big Sky Solar 3 |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 360.00 | SCE Gen | CISO
BIGSKY_2_SOLAR1 |  | Antelope Big Sky Ranch |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
BIGSKY_2_SOLAR7 |  | Big Sky Solar 1 |  |  | Forced | 50.00 | 2.00 | SCE Gen | CISO
BIOMAS_1_UNIT 1 |  | WOODLAND BIOMASS |  |  | Planned/Forced | 25.50 | 25.50 | PGAE North | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Forced | 13.40 | 7.40 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Forced | 15.80 | 6.10 | SCE Gen | CISO
BLACK_7_UNIT 1 |  | JAMES B. BLACK 1 |  |  | Forced | 85.00 | 5.02 | PGAE North | CISO
BLACK_7_UNIT 2 |  | JAMES B. BLACK 2 |  |  | Forced | 84.10 | 4.12 | PGAE North | CISO
BLCKBT_2_STONEY |  | BLACK BUTTE HYDRO |  |  | Forced | 6.20 | 6.20 | PGAE Gen | CISO
BLKCRK_2_GMCBT1 |  | Genesis McCoy Bess |  |  | Forced | 230.00 | 59.00 | SCE Gen | CISO
BLM W_2_COSBT1 |  | Coso Battery Storage |  |  | Forced | 60.00 | 5.00 | SCE Gen | CISO
BLYTHE_1_SOLAR1 |  | Blythe Solar 1 Project |  |  | Forced | 21.00 | 1.50 | SCE Gen | CISO
BRDSLD_2_HIWIND |  | High Winds Energy Center |  |  | Forced | 162.00 | 52.20 | PGAE Gen | CISO
BRDSLD_2_MTZUM2 |  | NextEra Energy Montezuma Wind II |  |  | Forced | 78.20 | 4.60 | PGAE Gen | CISO
BRDSLD_2_MTZUMA |  | FPL Energy Montezuma Wind |  |  | Forced | 36.80 | 4.80 | PGAE Gen | CISO
BRDSLD_2_SHILO2 |  | SHILOH WIND PROJECT 2 |  |  | Forced | 150.00 | 6.00 | PGAE Gen | CISO
BRDSLD_2_SHLO3A |  | Shiloh III Wind Project, LLC |  |  | Forced | 102.50 | 6.15 | PGAE Gen | CISO
BRDSLD_2_SHLO3B |  | Shiloh IV Wind Project |  |  | Forced | 100.00 | 3.65 | PGAE Gen | CISO
INTGS_3_PP |  | Intermountain Generating Station UNITS |  |  | Planned | 1083.00 | 542.00 | LADWP Gen | LADWP
MDFKRL_2_PROJCT |  | MIDDLE FORK AND RALSTON PSP |  |  | Forced | 210.00 | 66.00 | PGAE North | CISO
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 597.05 | PGAE Gen | CISO
MIRLOM_2_ONTARO |  | Ontario RT Solar |  |  | Forced | 5.50 | 5.50 | SCE Gen | CISO
MKTRCK_1_UNIT 1 |  | MCKITTRICK LIMITED |  |  | Forced | 47.72 | 4.12 | PGAE South | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Forced | 48.56 | 1.72 | SCE Gen | CISO
MONTPH_7_UNITS |  | MONTICELLO HYDRO AGGREGATE |  |  | Forced | 12.50 | 11.00 | PGAE Gen | CISO
MOSSLD_2_PSP2 |  | MOSS LANDING POWER BLOCK 2 |  |  | Planned | 510.00 | 510.00 | PGAE South | CISO
MRCHNT_2_PL1X3 |  | Desert Star Energy Center |  |  | Forced | 494.58 | 29.58 | SDGE Gen | CISO
MRGT_6_MEF2 |  | Miramar Energy Facility II |  |  | Planned | 44.00 | 44.00 | SDGE Gen | CISO
MRGT_6_MMAREF |  | Miramar Energy Facility |  |  | Planned | 45.00 | 45.00 | SDGE Gen | CISO
MRGT_6_TGEBT1 |  | Top Gun Energy Storage |  |  | Planned/Forced | 30.00 | 30.00 | SDGE Gen | CISO
MRLSDS_6_SOLAR1 |  | Morelos Solar |  |  | Forced | 15.00 | 3.75 | PGAE Gen | CISO
MSTANG_2_MTGBT1 |  | Mustang 1 BESS |  |  | Planned/Forced | 75.00 | 75.00 | PGAE Gen | CISO
MSTANG_2_SOLAR |  | Mustang |  |  | Forced | 30.00 | 30.00 | PGAE Gen | CISO
MSTANG_2_SOLAR3 |  | Mustang 3 |  |  | Forced | 40.00 | 40.00 | PGAE Gen | CISO
MSTANG_2_SOLAR4 |  | Mustang 4 |  |  | Planned/Forced | 30.00 | 30.00 | PGAE Gen | CISO
MTNPOS_1_UNIT |  | MT.POSO COGENERATION CO. |  |  | Forced | 46.64 | 11.64 | PGAE South | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Forced | 12.00 | 1.60 | PGAE North | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Forced | 55.00 | 1.20 | PGAE North | CISO
NCPA_7_GP1UN1 |  | NCPA GEO PLANT 1 UNIT 1 |  |  | Forced | 38.85 | 38.85 | PGAE Gen | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
NOVATO_6_LNDFL |  | Redwood Renewable Energy |  |  | Forced | 3.90 | 3.90 | PGAE Gen | CISO
OAK C_7_UNIT 1 |  | OAKLAND STATION C GT UNIT 1 |  |  | Forced | 55.00 | 28.00 | PGAE South | CISO
OAK C_7_UNIT 3 |  | OAKLAND STATION C GT UNIT 3 |  |  | Forced | 55.00 | 1.00 | PGAE South | CISO
OASIS_6_SOLAR1 |  | Morgan Lancaster I |  |  | Forced | 1.50 | 1.10 | SCE Gen | CISO
OASIS_6_SOLAR2 |  | Oasis Solar |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
OCTILO_5_WIND |  | Ocotillo Wind Energy Facility |  |  | Forced | 265.00 | 65.00 | SDGE Gen | CISO
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 3.49 | PGAE South | CISO
OLINDA_2_COYCRK |  | MWD Coyote Creek Hydroelectric Recovery |  |  | Forced | 3.13 | 3.13 | SCE Gen | CISO
OLINDA_2_LNDFL2 |  | Brea Power II |  |  | Forced | 28.10 | 9.10 | SCE Gen | CISO
OMAR_2_UNIT 1 |  | KERN RIVER COGENERATION CO. UNIT 1 |  |  | Planned | 75.00 | 75.00 | SCE Gen | CISO
ORLND_6_HIGHLI |  | High Line Canal Hydro |  |  | Forced | 0.50 | 0.50 | PGAE Gen | CISO
OROVIL_6_UNIT |  | Oroville Cogeneration, LP |  |  | Planned/Forced | 7.50 | 7.50 | PGAE Gen | CISO
OTAY_6_PL1X2 |  | Chula Vista Energy Center, LLC |  |  | Forced | 39.57 | 39.57 | SDGE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Forced | 603.68 | 8.68 | SDGE Gen | CISO
OXBOW_6_DRUM |  | OXBOW HYDRO |  |  | Forced | 5.80 | 5.80 | PGAE North | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Planned | 28.80 | 6.80 | PGAE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Planned | 28.80 | 6.80 | PGAE North | CISO
PADUA_2_ONTARO |  | ONTARIO/SIERRA HYDRO PSP |  |  | Forced | 1.92 | 0.30 | SCE Gen | CISO
PALALT_7_COBUG |  | Cooperatively Owned Back Up Generator |  |  | Forced | 4.50 | 4.50 | PGAE Gen | CISO
PALOMR_2_PL1X3 |  | Palomar Energy Center |  |  | Planned | 588.21 | 588.21 | SDGE Gen | CISO
PEABDY_2_LNDFL1 |  | Potrero Hills Energy Producers |  |  | Forced | 8.00 | 2.00 | PGAE South | CISO
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Forced | 126.00 | 6.00 | BANC Gen | BANC
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Forced | 126.00 | 6.00 | EIM SMUD | BANC
INTGS_3_UAM |  | Intermountain Generating Station UNITS |  |  | Planned | 81.00 | 41.00 | LADWP Gen | LADWP
INTKEP_2_UNITS |  | CCSF Hetch_Hetchy Hydro Aggregate |  |  | Forced | 405.00 | 81.00 | PGAE Gen | CISO
INTMNT_3_ANAHEIM |  | Intermountain Power Project |  |  | Planned | 234.00 | 117.00 | SCE Gen | CISO
INTMNT_3_RIVERSIDE |  | IPPDYN |  |  | Forced | 136.00 | 114.99 | SCE Gen | CISO
INTTRB_6_UNIT |  | International Turbine Research |  |  | Forced | 18.40 | 18.40 | PGAE Gen | CISO
IVANPA_1_UNIT1 |  | Ivanpah 1 |  |  | Forced | 126.00 | 16.00 | SCE Gen | CISO
IVANPA_1_UNIT2 |  | Ivanpah 2 |  |  | Forced | 133.00 | 133.00 | SCE Gen | CISO
IVANPA_1_UNIT3 |  | Ivanpah 3 |  |  | Forced | 133.00 | 133.00 | SCE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 11.20 | SCE Gen | CISO
JAWBNE_2_SRWND |  | Sky River Wind Repower A |  |  | Forced | 30.00 | 9.00 | SCE Gen | CISO
JAWBNE_2_SRWWD2 |  | Sky River Wind Repower B |  |  | Forced | 30.20 | 12.00 | SDGE Gen | CISO
JAY_2_UNIT2 |  | Jaybird Powerhouse Unit 2 |  |  | Planned/Forced | 76.00 | 76.00 | BANC Gen | BANC
JAY_2_UNIT2 |  | Jaybird Powerhouse Unit 2 |  |  | Planned/Forced | 76.00 | 76.00 | EIM SMUD | BANC
JOHANN_2_JOSBT1 |  | Johanna Storage 1 |  |  | Forced | 10.00 | 1.00 | SCE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 2.39 | PGAE Gen | CISO
KERKH2_7_UNIT 1 |  | KERKHOFF PH 2 UNIT #1 |  |  | Forced | 153.90 | 2.90 | PGAE South | CISO
KERMAN_6_SOLAR1 |  | Fresno Solar South |  |  | Forced | 1.50 | 0.75 | PGAE South | CISO
KERMAN_6_SOLAR2 |  | Fresno Solar West |  |  | Forced | 1.50 | 0.75 | PGAE South | CISO
KERNFT_1_UNITS |  | KERN FRONT LIMITED |  |  | Forced | 52.40 | 2.40 | PGAE South | CISO
KERNRG_1_UNITS |  | South Belridge Cogen Facility |  |  | Planned | 55.20 | 15.20 | PGAE South | CISO
KERRGN_1_UNIT 1 |  | KERN RIVER HYDRO UNITS 1-4 AGGREGATE |  |  | Planned/Forced | 25.60 | 7.10 | SCE Gen | CISO
KINGRV_7_UNIT 1 |  | KINGS RIVER HYDRO UNIT 1 |  |  | Planned | 51.20 | 51.20 | PGAE South | CISO
KNTSTH_6_SOLAR |  | Kent South |  |  | Forced | 20.00 | 4.30 | PGAE South | CISO
LAKHDG_6_UNIT 1 |  | Lake Hodges Pumped Storage-Unit1 |  |  | Planned | 20.00 | 20.00 | SDGE Gen | CISO
LAKHDG_6_UNIT 2 |  | Lake Hodges Pumped Storage-Unit2 |  |  | Planned | 20.00 | 20.00 | SDGE Gen | CISO
LAMONT_1_SOLAR3 |  | Woodmere Solar Farm |  |  | Forced | 14.99 | 1.49 | PGAE Gen | CISO
LAMONT_1_SOLAR5 |  | Redcrest Solar Farm |  |  | Forced | 16.66 | 1.66 | PGAE Gen | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 267.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 11.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 9.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 13.00 | PGAE Gen | CISO
LARKSP_6_UNIT 1 |  | LARKSPUR PEAKER UNIT 1 |  |  | Planned/Forced | 49.00 | 49.00 | SDGE Gen | CISO
LARKSP_6_UNIT 2 |  | LARKSPUR PEAKER UNIT 2 |  |  | Planned/Forced | 49.00 | 49.00 | SDGE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Planned/Forced | 322.00 | 322.00 | SDGE Gen | CISO
LEBECS_2_UNITS |  | Pastoria Energy Facility |  |  | Planned/Forced | 799.47 | 254.47 | SCE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Planned | 309.84 | 309.84 | PGAE South | CISO
LEPRFD_1_KANSAS |  | Kansas |  |  | Forced | 20.00 | 1.40 | PGAE Gen | CISO
LGHTHP_6_ICEGEN |  | CARSON COGENERATION |  |  | Forced | 48.00 | 48.00 | SCE Gen | CISO
LITLRK_6_SOLAR1 |  | Lancaster Little Rock C |  |  | Forced | 5.00 | 1.00 | SCE Gen | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 2.20 | PGAE South | CISO
LMBEPK_2_UNITA1 |  | Lambie Energy Center, Unit #1 |  |  | Forced | 47.50 | 1.50 | PGAE Gen | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Planned/Forced | 580.00 | 315.00 | PGAE Gen | CISO
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 1.00 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Planned | 302.58 | 302.58 | PGAE Gen | CISO
LOWGAP_7_QFUNTS |  | Matthews Dam Hydro |  |  | Forced | 1.35 | 0.11 | PGAE North | CISO
MAGNLA_6_CERRITOS |  | Magnolia Power Plant Cerritos |  |  | Forced | 12.00 | 2.00 | SCE Gen | CISO
MAGNLA_6_COLTON |  | Magnolia Power Project |  |  | Forced | 12.00 | 2.00 | SCE Gen | CISO
SIERRA_1_UNITS |  | HIGH SIERRA LIMITED |  |  | Forced | 52.43 | 2.03 | PGAE Gen | CISO
SISPRG_2_DS3SR4 |  | Daggett Solar 3 e PV |  |  | Forced | 17.00 | 17.00 | SCE Gen | CISO
SLST13_2_SOLAR1 |  | Quinto Solar PV Project |  |  | Forced | 107.60 | 107.60 | PGAE Gen | CISO
SLYCRK_1_UNIT 1 |  | SLY CREEK HYDRO |  |  | Planned | 13.00 | 13.00 | PGAE North | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Forced | 64.80 | 6.80 | PGAE Gen | CISO
SNCLRA_2_UNIT |  | Channel Islands Power |  |  | Forced | 27.50 | 27.50 | SCE Gen | CISO
SNCLRA_2_UNIT1 |  | New Indy Oxnard |  |  | Forced | 27.80 | 15.30 | SCE Gen | CISO
SOUTH_2_UNIT |  | SOUTH HYDRO |  |  | Planned | 7.10 | 7.10 | PGAE Gen | CISO
SPAULD_6_UNIT 3 |  | SPAULDING HYDRO PH 3 UNIT |  |  | Forced | 6.50 | 5.50 | PGAE North | CISO
SPAULD_6_UNIT12 |  | SPAULDING HYDRO PH 1 &amp; 2 AGGREGATE |  |  | Forced | 11.40 | 9.40 | PGAE North | CISO
SPIAND_1_ANDSN2 |  | SPI Anderson 2 |  |  | Planned | 27.15 | 27.15 | PGAE Gen | CISO
SPIFBD_1_PL1X2 |  | SIERRA PACIFIC IND. (SONORA) |  |  | Planned | 7.50 | 7.50 | PGAE Gen | CISO
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
STIGCT_2_LODI |  | LODI STIG UNIT |  |  | Planned | 49.90 | 49.90 | PGAE Gen | CISO
STNRES_1_UNIT |  | Covanta Stanislaus |  |  | Forced | 19.90 | 19.90 | PGAE North | CISO
STOILS_1_UNITS |  | Chevron Richmond Refinery |  |  | Planned | 56.20 | 56.20 | PGAE Gen | CISO
STROUD_6_WWHSR1 |  | Winter Wheat Solar Farm |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
SUNCAT_2_A1ABT1 |  | Arlington Solar Unit 1A BESS |  |  | Forced | 47.00 | 41.98 | SCE Gen | CISO
SUNCAT_2_A1BBT1 |  | Arlington Solar Unit 1B BESS |  |  | Forced | 63.00 | 16.06 | SCE Gen | CISO
SUNCAT_2_A2ABT2 |  | Arlington Solar Unit 2A BESS |  |  | Forced | 132.00 | 22.00 | SCE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Forced | 586.02 | 310.02 | PGAE Gen | CISO
SUNSHN_2_LNDFL |  | Sunshine Gas Producers |  |  | Forced | 20.00 | 7.00 | SCE Gen | CISO
SUTTER_2_CISO |  | Sutter Power Plant Pseudo-CISO |  |  | Planned | 275.00 | 275.00 | PGAE Gen | CISO
SYCAMR_2_UNIT 2 |  | Sycamore Cogeneration Unit 2 |  |  | Planned/Forced | 74.00 | 74.00 | SCE Gen | CISO
TBLMTN_6_QF |  | SMALL QF AGGREGATION - PARADISE |  |  | Forced | 1.70 | 1.70 | PGAE Gen | CISO
TERMEX_2_PL1X3 |  | TDM |  |  | Planned | 625.00 | 625.00 | SDGE Gen | CISO
TIGRCK_7_UNITS |  | TIGER CREEK HYDRO AGGREGATE |  |  | Planned | 62.00 | 62.00 | PGAE North | CISO
TOPAZ_2_SOLAR |  | Topaz Solar Farms |  |  | Forced | 550.00 | 50.00 | PGAE South | CISO
TRNQLT_2_RETBT1 |  | RE Tranquillity BESS |  |  | Forced | 72.00 | 4.00 | PGAE Gen | CISO
TRNQLT_2_SOLAR |  | Tranquillity |  |  | Forced | 200.00 | 1.80 | PGAE Gen | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 24.77 | SCE Gen | CISO
UCD_1_PL |  | UC Davis MFD Center |  |  | Planned | 26.50 | 26.50 | BANC Gen | BANC
UCD_1_PL |  | UC Davis MFD Center |  |  | Planned | 26.50 | 26.50 | EIM SMUD | BANC
ULTPFR_1_UNIT 1 |  | Rio Bravo Fresno |  |  | Planned | 24.30 | 24.30 | PGAE South | CISO
UNCHEM_1_UNIT |  | CONTRA COSTA CARBON PLANT |  |  | Forced | 19.00 | 19.00 | PGAE Gen | CISO
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Forced | 46.00 | 1.50 | BANC Gen | BANC
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Forced | 46.00 | 1.50 | EIM SMUD | BANC
USWND2_1_WIND1 |  | Golden Hills A |  |  | Forced | 42.96 | 3.96 | PGAE Gen | CISO
USWND2_1_WIND2 |  | Golden Hills B |  |  | Forced | 42.96 | 1.79 | PGAE Gen | CISO
USWND2_1_WIND3 |  | Golden Hills C |  |  | Forced | 46.00 | 4.60 | PGAE Gen | CISO
USWNDR_2_LABWD1 |  | LaBrisa Wind Project |  |  | Forced | 9.00 | 1.50 | PGAE Gen | CISO
USWNDR_2_SMUD |  | SOLANO WIND FARM |  |  | Planned | 102.18 | 15.18 | PGAE Gen | CISO
USWNDR_2_SMUD2 |  | Solano Wind Project Phase 3 |  |  | Planned | 127.80 | 19.60 | PGAE Gen | CISO
USWPJR_2_UNITS |  | Vasco Wind |  |  | Forced | 78.20 | 2.30 | PGAE Gen | CISO
VALLEY_5_PERRIS |  | MWD Perris Hydroelectric Recovery Plant |  |  | Forced | 7.94 | 7.94 | SCE Gen | CISO
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 12.47 | PGAE Gen | CISO
VESTAL_6_QF |  | Isabella Hydro Dam 1 |  |  | Forced | 11.95 | 11.95 | SCE Gen | CISO
VICTOR_1_SOLAR2 |  | Alamo Solar |  |  | Forced | 20.00 | 1.90 | SCE Gen | CISO
VILLPK_2_VALLYV |  | MWD Valley View Hydroelectric Recovery P |  |  | Forced | 4.10 | 4.10 | SCE Gen | CISO
VISTRA_5_DALBT1 |  | Dallas Energy Storage |  |  | Forced | 100.00 | 14.00 | PGAE Gen | CISO
VISTRA_5_DALBT2 |  | Dallas Energy Storage 2 |  |  | Forced | 100.00 | 1.00 | PGAE Gen | CISO
KNTSTH_6_WALSR1 |  | Westlands Almond |  |  | Forced | 19.88 | 19.88 |  | CISO
LCKHT1_2_LH1SR1 |  | Lockhart Solar 1 PV |  |  | Planned/Forced | 65.00 | 65.00 |  | CISO
LECONT_2_LESBT1 |  | LeConte Energy Storage |  |  | Forced | 125.00 | 21.00 |  | CISO
MCCLURE_1_MGSUNIT1 |  | McClure Generation Station Unit 1 |  |  | Forced | 53.50 | 0.50 |  | BANC
MELONP_7_UNITS |  | New Melones Aggregation |  |  | Forced | 380.00 | 60.00 |  | BANC
OTAY_6_ECVBT1 |  | EnerSmart Chula Vista 1 |  |  | Forced | 3.00 | 3.00 |  | CISO
RDGPOWER_1_UNIT4-6 |  | REDDING CC 4-6 |  |  | Planned | 126.00 | 126.00 |  | BANC
REP_6_UNITS |  | Roseville Energy Park |  |  | Planned/Forced | 168.00 | 168.00 |  | BANC
RP2_2_SOLAR |  | Rancho Seco Solar II |  |  | Planned/Forced | 160.00 | 160.00 |  | BANC
RPEAK_6_UNITS |  | Roseville Peakers TM2500 |  |  | Forced | 70.40 | 70.40 |  | BANC
SHANDN_2_SBBBM1 |  | San Bernardino Biogas |  |  | Forced | 2.60 | 2.60 |  | CISO
SHASTRD_7_UNITS |  | Shasta and Trinity River Division Agg |  |  | Planned/Forced | 1265.00 | 282.00 |  | BANC
SUTTER_2_PSEUDOBANC |  | SUTTER_2_PSEUDOBANC |  |  | Planned | 275.00 | 275.00 |  | BANC
TVYVLY_6_KRSHY1 |  | Kings River Syphon |  |  | Forced | 1.30 | 0.76 |  | CISO
VISTRA_5_PLABT1 |  | Plano Storage 1 |  |  | Forced | 100.40 | 100.40 |  | CISO
VISTRA_5_PLABT2 |  | Plano Storage 2 |  |  | Forced | 100.40 | 100.40 |  | CISO
VISTRA_5_PLABT3 |  | Plano Storage 3 |  |  | Forced | 74.60 | 74.60 |  | CISO
VISTRA_5_PLABT4 |  | Plano Storage 4 |  |  | Forced | 74.60 | 74.60 |  | CISO
WALNUTEC_1_UNITS |  | WEC Combined Cycle |  |  | Planned/Forced | 253.00 | 253.00 |  | TIDC
WOODLAND_6_WGSUNIT1 |  | Woodland Generation Station Unit 1 |  |  | Planned/Forced | 43.00 | 43.00 |  | BANC
WOODLAND_7_WGSUNIT2 |  | Woodland Generation Station Unit 2 |  |  | Forced | 83.00 | 8.00 |  | BANC
DEADCK_1_UNIT |  | DEADCK_1_UNIT |  |  | Planned/Forced | 1.96 | 1.96 | PGAE Gen | CISO
DELSUR_6_SOLAR1 |  | Summer Solar North |  |  | Forced | 6.50 | 1.00 | SCE Gen | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 6.00 | PGAE Gen | CISO
DONNLS_7_UNIT |  | Donnells Hydro |  |  | Forced | 72.00 | 7.00 | PGAE Gen | CISO
DONPEDRO_6_UNIT4 |  | Don Pedro Unit 4 |  |  | Forced | 38.00 | 38.00 | TID Gen | TIDC
DOUBLC_1_UNITS |  | DOUBLE C LIMITED |  |  | Forced | 52.23 | 1.83 | PGAE South | CISO
DRACKR_2_DS3SR3 |  | Dracker Solar Unit 3 |  |  | Forced | 125.00 | 0.74 | SCE Gen | CISO
DRACKR_2_DSUBT2 |  | Dracker Solar Unit 2 BESS |  |  | Forced | 115.00 | 34.00 | SCE Gen | CISO
DRACKR_2_DSUBT3 |  | Dracker Solar Unit 3 BESS |  |  | Forced | 115.00 | 23.00 | SCE Gen | CISO
DRACKR_2_DSUBT4 |  | Dracker Solar Unit 4 BESS |  |  | Forced | 47.00 | 43.33 | SCE Gen | CISO
DREWS_6_PL1X4 |  | Drews Generating Plant |  |  | Forced | 41.40 | 5.40 | SCE Gen | CISO
DRUM_7_PL3X4 |  | Drum PH 1 Units 3 &amp; 4 Aggregate |  |  | Forced | 28.90 | 16.90 | PGAE North | CISO
DRUM_7_UNIT 5 |  | DRUM PH 2 UNIT 5 |  |  | Planned | 50.00 | 50.00 | PGAE North | CISO
DSRTHV_2_DH2BT1 |  | Desert Harvest BESS |  |  | Forced | 35.00 | 22.88 | SCE Gen | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 6.80 | PGAE South | CISO
DUTCH2_7_UNIT 1 |  | DUTCH FLAT 2 PH |  |  | Forced | 26.00 | 26.00 | PGAE North | CISO
DVLCYN_1_UNITS |  | DEVIL CANYON HYDRO UNITS 1-4 AGGREGATE |  |  | Planned | 235.00 | 45.00 | SCE Gen | CISO
EASTWD_7_UNIT |  | EASTWOOD PUMP-GEN |  |  | Planned/Forced | 200.00 | 200.00 | SCE Gen | CISO
EDMONS_2_NSPIN |  | EDMONS_2_NSPIN |  |  | Forced | 775.80 | 45.80 | SCE Gen | CISO
EDWARD_2_ESSSB1 |  | Sanborn Solar 2 Edwards 5 |  |  | Forced | 116.00 | 56.00 | SCE Gen | CISO
ELCEN92_6_ELSTM.2AGG |  | ELCEN92_6_ELSTM.2AGG |  |  | Forced | 105.00 | 105.00 | IID Gen | IID
ELCEN92_6_ELSTM.3AGG |  | ELCEN92_6_ELSTM.3AGG |  |  | Planned | 144.00 | 144.00 | IID Gen | IID
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Planned/Forced | 551.70 | 326.70 | PGAE Gen | CISO
ELKHRN_1_EESX3 |  | Elkhorn Energy Storage |  |  | Forced | 182.50 | 12.50 | PGAE Gen | CISO
ELNIDP_6_BIOMAS |  | El Nido Biomass to Energy |  |  | Forced | 10.50 | 10.50 | PGAE South | CISO
ELSEGN_2_UN1011 |  | El Segundo Energy Center 5/6 |  |  | Forced | 274.31 | 0.01 | SCE Gen | CISO
ESCNDO_6_EB1BT1 |  | Escondido BESS 1 |  |  | Planned/Forced | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB2BT2 |  | Escondido BESS 2 |  |  | Planned/Forced | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB3BT3 |  | Escondido BESS 3 |  |  | Planned/Forced | 10.00 | 10.00 | SDGE Gen | CISO
ETIWND_2_FONTNA |  | FONTANALYTLE CREEK POWERHOUSE P |  |  | Forced | 2.56 | 1.06 | SCE Gen | CISO
ETIWND_2_RTS010 |  | SPVP010 Fontana RT Solar |  |  | Forced | 1.50 | 1.50 | SCE Gen | CISO
ETIWND_2_RTS017 |  | SPVP017 |  |  | Forced | 3.50 | 3.50 | SCE Gen | CISO
ETIWND_2_RTS023 |  | SPVP023 Fontana RT Solar |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
ETIWND_2_UNIT1 |  | ETIWND_2_UNIT1 |  |  | Forced | 33.60 | 31.60 | SCE Gen | CISO
FLOWD2_2_FPLWND |  | DIABLO WINDS |  |  | Forced | 18.00 | 2.20 | PGAE Gen | CISO
FMEADO_6_HELLHL |  | FMEADO_6_HELLHL |  |  | Forced | 0.60 | 0.60 | PGAE North | CISO
FORBST_7_UNIT 1 |  | FORBESTOWN HYDRO |  |  | Planned | 37.50 | 37.50 | PGAE North | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
TIDC | 1 |  | 0 | 1
BANC | 18 |  | 6 | 9
IID | 1 |  | 1 | 0
LADWP | 10 |  | 4 | 5
CISO | 281 |  | 51 | 36
Grand Total | 311 |  | 62 | 51
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
BANC | 5785.9 |  | 3338
CISO | 36075.5 |  | 16704.57
IID | 249 |  | 249
LADWP | 4319 |  | 2929.3
TIDC | 291 |  | 291
Grand Total | 46720.4 |  | 23511.87
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.