## Curtailed
Report Generated on : 02/02/2025 07:30:05 (PPT)
Trade Date: 02/02/2025
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 11.00 | PGAE Gen | CISO
ADLSPP_5_SOLAR |  | Adelanto Solar Power Plant |  |  | Forced | 10.00 | 6.80 | LADWP Gen | LADWP
AKINGS_6_AMESR1 |  | American Kings Solar |  |  | Forced | 123.00 | 4.00 | PGAE Gen | CISO
ALAMIT_7_ES1 |  | Alamitos Energy Storage |  |  | Forced | 100.45 | 100.45 | SCE Gen | CISO
ALAMIT_7_UNIT 3 |  | ALAMITOS GEN STA. UNIT 3 |  |  | Planned/Forced | 326.76 | 326.76 | SCE Gen | CISO
ALAMIT_7_UNIT 4 |  | ALAMITOS GEN STA. UNIT 4 |  |  | Planned/Forced | 334.43 | 334.43 | SCE Gen | CISO
ALAMIT_7_UNIT 5 |  | ALAMITOS GEN STA. UNIT 5 |  |  | Planned/Forced | 480.00 | 480.00 | SCE Gen | CISO
ALAMO_6_UNIT |  | ALAMO POWER PLANT |  |  | Forced | 17.00 | 17.00 | SCE Gen | CISO
ALMASL_2_AL6BT6 |  | Almasol 6 BES |  |  | Forced | 50.00 | 50.00 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Forced | 25.00 | 1.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Forced | 25.00 | 1.00 | PGAE South | CISO
ALTA3A_2_CPCE4 |  | Alta Wind 4 |  |  | Forced | 102.00 | 6.00 | SCE Gen | CISO
ALTA3A_2_CPCE8 |  | Alta Wind 8 |  |  | Forced | 150.00 | 18.00 | SCE Gen | CISO
ALTA4A_2_CPCW1 |  | Alta Wind 1 |  |  | Forced | 150.00 | 1.50 | SCE Gen | CISO
ALTA4B_2_CPCW2 |  | Alta Wind 2 |  |  | Forced | 150.00 | 9.00 | SCE Gen | CISO
ALTA4B_2_CPCW3 |  | Alta Wind 3 |  |  | Forced | 150.00 | 15.00 | SCE Gen | CISO
ALTA4B_2_CPCW6 |  | Mustang Hills |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA6E_2_WIND10 |  | Alta Wind 10 |  |  | Forced | 134.84 | 6.59 | SCE Gen | CISO
ANAHM_2_CANYN1 |  | CANYON POWER PLANT UNIT 1 |  |  | Forced | 49.21 | 49.21 | SCE Gen | CISO
ANAHM_2_CANYN3 |  | CANYON POWER PLANT UNIT 3 |  |  | Forced | 46.49 | 46.49 | SCE Gen | CISO
APXGS_5_CC |  | Apex Generating Station Combined Cycle |  |  | Planned | 578.00 | 85.00 | LADWP Gen | LADWP
ARBWD_6_QF |  | Wind Resource II |  |  | Forced | 19.95 | 19.95 | SCE Gen | CISO
ASTORA_2_SOLAR1 |  | Astoria 1 |  |  | Forced | 100.00 | 20.00 | SCE Gen | CISO
ASTORA_2_SOLAR2 |  | Astoria 2 |  |  | Forced | 75.00 | 7.00 | SCE Gen | CISO
BALCHS_7_UNIT 1 |  | BALCH 1 PH UNIT 1 |  |  | Planned | 31.00 | 31.00 | PGAE South | CISO
BALCHS_7_UNIT 2 |  | BALCH 2 PH UNIT 2 |  |  | Planned | 52.50 | 52.50 | PGAE South | CISO
BARRE_6_PEAKER |  | Barre Peaker |  |  | Forced | 49.00 | 3.51 | SCE Gen | CISO
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Forced | 48.08 | 1.08 | PGAE South | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Forced | 49.21 | 2.21 | PGAE Gen | CISO
BELDEN_7_UNIT 1 |  | BELDEN HYDRO |  |  | Planned | 119.00 | 119.00 | PGAE Gen | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 542.00 | SCE Gen | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Forced | 13.40 | 10.90 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Planned/Forced | 15.80 | 12.05 | SCE Gen | CISO
BLACK_7_UNIT 1 |  | JAMES B. BLACK 1 |  |  | Forced | 85.00 | 2.00 | PGAE North | CISO
BLACK_7_UNIT 2 |  | JAMES B. BLACK 2 |  |  | Forced | 84.10 | 1.10 | PGAE North | CISO
BLVRDE_6_BLVBT1 |  | Boulevard Energy Storage |  |  | Planned/Forced | 10.00 | 0.60 | SDGE Gen | CISO
BLYTHE_1_SOLAR2 |  | Blythe Green 1 |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 48.69 | 1.69 | PGAE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 48.69 | 1.69 | PGAE North | CISO
BORDER_6_UNITA1 |  | CalPeak Power Border Unit 1 |  |  | Forced | 51.25 | 26.25 | SDGE Gen | CISO
BRDSLD_2_HIWIND |  | High Winds Energy Center |  |  | Forced | 162.00 | 61.20 | PGAE Gen | CISO
BRDSLD_2_MTZUM2 |  | NextEra Energy Montezuma Wind II |  |  | Forced | 78.20 | 4.60 | PGAE Gen | CISO
BRDSLD_2_MTZUMA |  | FPL Energy Montezuma Wind |  |  | Forced | 36.80 | 2.80 | PGAE Gen | CISO
BRDSLD_2_SHILO2 |  | SHILOH WIND PROJECT 2 |  |  | Forced | 150.00 | 6.00 | PGAE Gen | CISO
BRDSLD_2_SHLO3A |  | Shiloh III Wind Project, LLC |  |  | Forced | 102.50 | 8.20 | PGAE Gen | CISO
BRDSLD_2_SHLO3B |  | Shiloh IV Wind Project |  |  | Forced | 100.00 | 1.60 | PGAE Gen | CISO
BRODIE_2_WIND |  | Coram Brodie Wind Project |  |  | Forced | 102.00 | 3.00 | SCE Gen | CISO
SUTTER_2_PSEUDOBANC |  | SUTTER_2_PSEUDOBANC |  |  | Planned/Forced | 275.00 | 275.00 |  | BANC
TVYVLY_6_KRSHY1 |  | Kings River Syphon |  |  | Forced | 1.30 | 1.30 |  | CISO
VALTNE_2_TSASR1 |  | Tropico Solar Big Beau A |  |  | Forced | 58.00 | 58.00 |  | CISO
VALTNE_2_TSASR2 |  | Tropico Solar A |  |  | Forced | 70.00 | 70.00 |  | CISO
VALTNE_2_TSBBT1 |  | Tropico Solar Big Beau B |  |  | Forced | 18.00 | 18.00 |  | CISO
VALTNE_2_TSBBT2 |  | Tropico Solar B |  |  | Forced | 22.00 | 22.00 |  | CISO
VISTRA_5_PLABT1 |  | Plano Storage 1 |  |  | Forced | 100.40 | 100.40 |  | CISO
VISTRA_5_PLABT2 |  | Plano Storage 2 |  |  | Forced | 100.40 | 100.40 |  | CISO
VISTRA_5_PLABT3 |  | Plano Storage 3 |  |  | Forced | 74.60 | 74.60 |  | CISO
VISTRA_5_PLABT4 |  | Plano Storage 4 |  |  | Forced | 74.60 | 74.60 |  | CISO
WHSKYTWN_2_UNIT9 |  | WHISKEYTOWN 9 |  |  | Planned | 3.65 | 3.65 |  | BANC
WOODLAND_7_WGSUNIT2 |  | Woodland Generation Station Unit 2 |  |  | Forced | 83.00 | 8.00 |  | BANC
WSTWND_2_M89WD2 |  | Mojave 89 Wind |  |  | Forced | 75.80 | 11.75 |  | CISO
DEADCK_1_UNIT |  | DEADCK_1_UNIT |  |  | Forced | 1.96 | 1.96 | PGAE Gen | CISO
DELSUR_6_SOLAR1 |  | Summer Solar North |  |  | Forced | 6.50 | 1.50 | SCE Gen | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 11.00 | PGAE Gen | CISO
DEXZEL_1_UNIT |  | Western Power and Steam Cogeneration |  |  | Forced | 20.00 | 20.00 | PGAE Gen | CISO
DONNLS_7_UNIT |  | Donnells Hydro |  |  | Forced | 72.00 | 3.00 | PGAE Gen | CISO
DONPEDRO_6_UNIT2 |  | Don Pedro Unit 2 |  |  | Planned | 55.00 | 55.00 | TID Gen | TIDC
DONPEDRO_6_UNIT4 |  | Don Pedro Unit 4 |  |  | Planned | 38.00 | 38.00 | TID Gen | TIDC
DOUBLC_1_UNITS |  | DOUBLE C LIMITED |  |  | Forced | 52.23 | 0.23 | PGAE South | CISO
DROPS_6_AGGREGATE |  | DROPS_6_AGGREGATE |  |  | Forced | 122.05 | 122.05 | IID Gen | IID
DRUM_7_PL3X4 |  | Drum PH 1 Units 3 &amp; 4 Aggregate |  |  | Planned | 28.90 | 12.90 | PGAE North | CISO
DSABLA_7_UNIT |  | De Sabla Hydro |  |  | Forced | 18.50 | 18.50 | PGAE North | CISO
DSFLWR_2_WS2SR1 |  | Willow Springs 2 |  |  | Forced | 100.00 | 15.00 | SCE Gen | CISO
DTCHWD_2_BT3WND |  | Brookfield Tehachapi 3 |  |  | Forced | 4.50 | 3.00 | SCE Gen | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 53.80 | PGAE South | CISO
DVLCYN_1_UNITS |  | DEVIL CANYON HYDRO UNITS 1-4 AGGREGATE |  |  | Planned/Forced | 235.00 | 15.00 | SCE Gen | CISO
EASTWD_7_UNIT |  | EASTWOOD PUMP-GEN |  |  | Planned/Forced | 200.00 | 200.00 | SCE Gen | CISO
ELCEN92_6_ELSTM.3AGG |  | ELCEN92_6_ELSTM.3AGG |  |  | Forced | 144.00 | 144.00 | IID Gen | IID
ELECTR_7_PL1X3 |  | ELECTRA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Forced | 93.00 | 31.00 | PGAE North | CISO
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Forced | 551.70 | 35.70 | PGAE Gen | CISO
ELKHRN_1_EESX3 |  | Elkhorn Energy Storage |  |  | Planned | 182.50 | 182.50 | PGAE Gen | CISO
ESCNDO_6_EB1BT1 |  | Escondido BESS 1 |  |  | Planned | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB2BT2 |  | Escondido BESS 2 |  |  | Planned | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB3BT3 |  | Escondido BESS 3 |  |  | Planned | 10.00 | 10.00 | SDGE Gen | CISO
ESCO_6_GLMQF |  | Goal Line Cogen |  |  | Planned | 49.90 | 49.90 | SDGE Gen | CISO
ETIWND_2_FONTNA |  | FONTANALYTLE CREEK POWERHOUSE P |  |  | Forced | 2.56 | 0.96 | SCE Gen | CISO
ETIWND_2_SEPBT1 |  | Separator |  |  | Planned/Forced | 100.00 | 73.00 | SCE Gen | CISO
ETIWND_2_SOLAR2 |  | Rochester |  |  | Forced | 1.00 | 1.00 | SCE Gen | CISO
FMEADO_6_HELLHL |  | FMEADO_6_HELLHL |  |  | Forced | 0.60 | 0.60 | PGAE North | CISO
MAGUND_1_BKSSR2 |  | Bakersfield Solar 1 |  |  | Forced | 5.25 | 1.25 | PGAE Gen | CISO
MALAGA_1_PL1X2 |  | Malaga Power Aggregate |  |  | Forced | 96.61 | 96.61 | PGAE Gen | CISO
MCC_6_PKR |  | McClellan Gas Turbine Peaker |  |  | Planned | 70.00 | 70.00 | BANC Gen | BANC
MCC_6_PKR |  | McClellan Gas Turbine Peaker |  |  | Planned | 70.00 | 70.00 | EIM SMUD | BANC
MCSWAN_6_UNITS |  | MC SWAIN HYDRO |  |  | Forced | 9.00 | 9.00 | PGAE South | CISO
MDFKRL_2_PROJCT |  | MIDDLE FORK AND RALSTON PSP |  |  | Forced | 210.00 | 45.00 | PGAE North | CISO
MERCFL_6_UNIT |  | Merced Falls Powerhouse |  |  | Planned | 3.50 | 3.50 | PGAE South | CISO
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 16.05 | PGAE Gen | CISO
MIDWD_7_CORAMB |  | CELLC 7.5 MW Tehachapi Project |  |  | Forced | 7.50 | 1.50 | SCE Gen | CISO
MIRLOM_6_PEAKER |  | Mira Loma Peaker |  |  | Forced | 47.18 | 2.01 | SCE Gen | CISO
MKTRCK_1_UNIT 1 |  | MCKITTRICK LIMITED |  |  | Forced | 47.72 | 2.72 | PGAE South | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Forced | 48.56 | 5.01 | SCE Gen | CISO
MONTPH_7_UNITS |  | MONTICELLO HYDRO AGGREGATE |  |  | Planned/Forced | 12.50 | 12.50 | PGAE Gen | CISO
MOSSLD_2_PSP1 |  | MOSS LANDING POWER BLOCK 1 |  |  | Forced | 510.00 | 510.00 | PGAE South | CISO
MOSSLD_2_PSP2 |  | MOSS LANDING POWER BLOCK 2 |  |  | Forced | 510.00 | 510.00 | PGAE South | CISO
MRCHNT_2_PL1X3 |  | Desert Star Energy Center |  |  | Planned | 494.58 | 269.58 | SDGE Gen | CISO
MRGT_6_MEF2 |  | Miramar Energy Facility II |  |  | Planned | 44.00 | 44.00 | SDGE Gen | CISO
MTNPOS_1_UNIT |  | MT.POSO COGENERATION CO. |  |  | Forced | 46.64 | 46.64 | PGAE South | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Forced | 12.00 | 2.40 | PGAE North | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Forced | 55.00 | 1.90 | PGAE North | CISO
NAVYII_2_UNITS |  | COSO POWER DEVELOPER (NAVY II) AGGREGATE |  |  | Forced | 90.00 | 60.00 | SCE Gen | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
OAKWD_6_QF |  | Oak Creek |  |  | Forced | 27.87 | 3.45 | SCE Gen | CISO
OASIS_6_SOLAR2 |  | Oasis Solar |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
OCOTLO_6_OCWSB1 |  | Ocotillo Wells Solar and BESS |  |  | Planned | 49.89 | 16.89 | IID Gen | CISO
OCTILO_5_WIND |  | Ocotillo Wind Energy Facility |  |  | Forced | 265.00 | 32.00 | SDGE Gen | CISO
OGPP_2_OG |  | Owens Gorge Power Plant |  |  | Planned | 110.00 | 110.00 | LADWP Gen | LADWP
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 3.57 | PGAE South | CISO
OLINDA_2_LNDFL2 |  | Brea Power II |  |  | Forced | 28.10 | 10.10 | SCE Gen | CISO
OLIVEP_1_SOLAR2 |  | White River West |  |  | Forced | 19.75 | 19.75 | PGAE Gen | CISO
OMAR_2_UNIT 1 |  | KERN RIVER COGENERATION CO. UNIT 1 |  |  | Planned | 75.00 | 75.00 | SCE Gen | CISO
OMAR_2_UNIT 2 |  | KERN RIVER COGENERATION CO. UNIT 2 |  |  | Planned | 75.00 | 75.00 | SCE Gen | CISO
OMAR_2_UNIT 3 |  | KERN RIVER COGENERATION CO. UNIT 3 |  |  | Planned | 75.00 | 75.00 | SCE Gen | CISO
ORMOND_7_UNIT 1 |  | ORMOND BEACH GEN STA. UNIT 1 |  |  | Forced | 741.27 | 741.27 | SCE Gen | CISO
ORMOND_7_UNIT 2 |  | ORMOND BEACH GEN STA. UNIT 2 |  |  | Forced | 750.00 | 750.00 | SCE Gen | CISO
OROVIL_6_UNIT |  | Oroville Cogeneration, LP |  |  | Forced | 7.50 | 7.50 | PGAE Gen | CISO
OTAY_6_ECVBT1 |  | EnerSmart Chula Vista 1 |  |  | Forced | 3.00 | 1.00 | SDGE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Forced | 603.68 | 19.68 | SDGE Gen | CISO
OXBOW_6_DRUM |  | OXBOW HYDRO |  |  | Forced | 5.80 | 5.80 | PGAE North | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 6.80 | PGAE North | CISO
PADUA_2_ONTARO |  | ONTARIO/SIERRA HYDRO PSP |  |  | Forced | 1.92 | 1.92 | SCE Gen | CISO
PADUA_7_SDIMAS |  | San Dimas Wash Hydro |  |  | Forced | 1.05 | 1.05 | SCE Gen | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Planned | 106.55 | 106.55 | SCE Gen | CISO
SENTNL_2_CTG6 |  | Sentinel Unit 6 |  |  | Planned | 105.00 | 105.00 | SCE Gen | CISO
SIERRA_1_UNITS |  | HIGH SIERRA LIMITED |  |  | Forced | 52.43 | 0.43 | PGAE Gen | CISO
SISPRG_2_DS3BT4 |  | Daggett Solar 3 e BESS |  |  | Planned | 15.00 | 15.00 | SCE Gen | CISO
SLUISP_2_UNITS |  | SAN LUIS (GIANELLI) PUMP-GEN (AGGREGATE) |  |  | Forced | 374.43 | 188.43 | PGAE Gen | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Forced | 64.80 | 12.80 | PGAE Gen | CISO
SNCLRA_2_UNIT1 |  | New Indy Oxnard |  |  | Forced | 27.80 | 17.80 | SCE Gen | CISO
SNCLRA_6_PROCGN |  | Procter and Gamble Oxnard 2 |  |  | Planned/Forced | 47.90 | 47.90 | SCE Gen | CISO
SNDBAR_7_UNIT 1 |  | SANDBAR |  |  | Forced | 16.20 | 16.20 | PGAE North | CISO
SPBURN_2_UNIT 1 |  | Burney Biomass |  |  | Forced | 22.00 | 22.00 | PGAE North | CISO
SPIAND_1_ANDSN2 |  | SPI Anderson 2 |  |  | Forced | 27.15 | 27.15 | PGAE Gen | CISO
SPICER_1_UNITS |  | SPICER HYDRO UNITS 1-3 AGGREGATE |  |  | Forced | 6.00 | 6.00 | PGAE Gen | CISO
SPIFBD_1_PL1X2 |  | SIERRA PACIFIC IND. (SONORA) |  |  | Forced | 7.50 | 7.50 | PGAE Gen | CISO
SPRGAP_1_UNIT 1 |  | SPRING GAP HYDRO |  |  | Forced | 7.00 | 7.00 | PGAE North | CISO
SPRGVL_2_TULE |  | Tule Hydropower Plant |  |  | Forced | 6.40 | 6.40 | SCE Gen | CISO
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
STANIS_7_UNIT 1 |  | STANISLAUS HYDRO |  |  | Planned | 91.00 | 91.00 | PGAE North | CISO
STANTN_2_STAGT1 |  | Stanton 1 |  |  | Planned | 49.65 | 49.65 | SCE Gen | CISO
STIGCT_2_LODI |  | LODI STIG UNIT |  |  | Forced | 49.90 | 49.90 | PGAE Gen | CISO
STROUD_6_SOLAR |  | Stroud Solar Station |  |  | Forced | 20.00 | 20.00 | PGAE South | CISO
STROUD_6_WWHSR1 |  | Winter Wheat Solar Farm |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
SUMWHT_6_SWSSR1 |  | Summer Wheat Solar Farm |  |  | Forced | 18.50 | 18.50 | PGAE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Planned/Forced | 586.02 | 586.02 | PGAE Gen | CISO
SUNSET_2_UNITS |  | MIDWAY SUNSET COGENERATION PLANT |  |  | Planned/Forced | 248.00 | 88.00 | PGAE South | CISO
SYCAMR_2_UNIT 3 |  | Sycamore Cogeneration Unit 3 |  |  | Planned | 74.00 | 74.00 | SCE Gen | CISO
TEHAPI_2_PW2WD2 |  | Point Wind 2 |  |  | Forced | 14.40 | 3.60 | SCE Gen | CISO
TENGEN_2_PL1X2 |  | Placerita Canyon Cogen |  |  | Forced | 37.70 | 23.20 | SCE Gen | CISO
TERMEX_2_PL1X3 |  | TDM |  |  | Forced | 625.00 | 2.00 | SDGE Gen | CISO
TIGRCK_7_UNITS |  | TIGER CREEK HYDRO AGGREGATE |  |  | Forced | 62.00 | 31.00 | PGAE North | CISO
TOADTW_6_UNIT |  | TOAD TOWN |  |  | Forced | 1.50 | 1.50 | PGAE North | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 28.97 | SCE Gen | CISO
TULARE_2_TULBM1 |  | Tulare BioMAT Fuel Cell |  |  | Forced | 2.80 | 2.80 | SCE Gen | CISO
TULLCK_7_UNITS |  | Tullock Hydro |  |  | Planned/Forced | 25.90 | 7.20 | PGAE Gen | CISO
TX-ELK_6_SOLAR1 |  | Castor |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
UCD_1_PL |  | UC Davis MFD Center |  |  | Planned | 26.50 | 26.50 | BANC Gen | BANC
DONPEDRO_6_MIDUNIT1 |  | Don Pedro Generation Station Unit 1 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT2 |  | Don Pedro Generation Station Unit 2 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT3 |  | Don Pedro Generation Station Unit 3 |  |  | Forced | 55.00 | 7.10 |  | BANC
DONPEDRO_6_MIDUNIT4 |  | Don Pedro Generation Station Unit 4 |  |  | Forced | 38.00 | 38.00 |  | BANC
DSFLWR_2_W9CSB2 |  | Willy 9 Chap 2 |  |  | Forced | 72.00 | 72.00 |  | CISO
ELNIDO_1_ECRSR1 |  | East Cleveland Solar |  |  | Forced | 3.00 | 3.00 |  | CISO
ETIWND_6_INEBT1 |  | Inland Empire Energy Storage |  |  | Forced | 70.00 | 10.00 |  | CISO
FILIPPI_2_QZSBTX |  | Quartzite Solar 8 BESS |  |  | Forced | 150.00 | 16.00 |  | CISO
FOLSOM_7_UNITS |  | Folsom and Nimbus Aggregation |  |  | Forced | 224.00 | 77.00 |  | BANC
HAMLIN_1_BLDSB1 |  | Baldy Mesa Hybrid |  |  | Forced | 150.00 | 90.00 |  | CISO
HENRTA_6_HDEBT1 |  | Henrietta D Energy Storage |  |  | Forced | 10.00 | 10.00 |  | CISO
INTMNT_3_CC_3_PASADENA |  | Intermountain; Unit 3 PASA Share |  |  | Forced | 29.00 | 29.00 |  | CISO
INTMNT_3_CC_3_RIVERSIDE |  | Intermountain; Unit 3 RVS Share |  |  | Forced | 37.09 | 37.09 |  | CISO
JOHANN_2_T1BBT1 |  | Titanium 1 BESS |  |  | Forced | 1.40 | 1.40 |  | CISO
LODI25_6_ERKNG1 |  | LODI STRATEGIC RESERVE |  |  | Forced | 47.97 | 47.97 |  | CISO
MARSHALL_7_EROCKUNIT1 |  | EROCK MARSHALL UNIT 1 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MARSHALL_7_EROCKUNIT2 |  | EROCK MARSHALL UNIT 2 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MARSHALL_7_EROCKUNIT3 |  | EROCK MARSHALL UNIT 3 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MARSHALL_7_EROCKUNIT4 |  | EROCK MARSHALL UNIT 4 |  |  | Forced | 11.70 | 11.70 |  | TIDC
MCFLND_5_MBSBX2 |  | McFarland Solar B Hybrid |  |  | Forced | 300.00 | 250.00 |  | CISO
MELONP_7_UNITS |  | New Melones Aggregation |  |  | Forced | 380.00 | 20.00 |  | BANC
OTAY_6_ECVBT2 |  | Chula Vista 2 |  |  | Forced | 3.00 | 1.00 |  | CISO
PRIMM_2_SSSBT1 |  | Silver State South Solar Project Storage |  |  | Planned | 200.00 | 200.00 |  | CISO
RDGPOWER_1_UNIT2 |  | REDDING GT 2 |  |  | Forced | 26.00 | 2.00 |  | BANC
RDGPOWER_1_UNIT3 |  | REDDING GT 3 |  |  | Forced | 26.00 | 2.00 |  | BANC
RDGPOWER_1_UNIT4-6 |  | REDDING CC 4-6 |  |  | Forced | 126.00 | 12.00 |  | BANC
REP_6_UNITS |  | Roseville Energy Park |  |  | Forced | 164.00 | 84.00 |  | BANC
REXFRD_2_RSFSX2 |  | Rexford Solar Farm |  |  | Forced | 300.00 | 300.00 |  | CISO
RPEAK_6_UNITS |  | Roseville Peakers TM2500 |  |  | Forced | 55.00 | 55.00 |  | BANC
RPP2_6_CTG1 |  | Roseville Power Plant 2 CT1 |  |  | Forced | 24.00 | 2.00 |  | BANC
RPP2_6_CTG2 |  | Roseville Power Plant 2 CT2 |  |  | Forced | 24.00 | 2.00 |  | BANC
SANBRN_2_SS2BT4 |  | Sanborn Solar 2 SBESS 4 |  |  | Forced | 47.00 | 47.00 |  | CISO
SCARLT_2_SS2BT1 |  | Scarlet Solar 2 BESS |  |  | Planned/Forced | 150.00 | 150.00 |  | CISO
SEAWND_2_AMWWD1 |  | Alta Mesa Wind |  |  | Forced | 27.00 | 1.80 |  | CISO
SHANDN_2_SBBBM1 |  | San Bernardino Biogas |  |  | Forced | 2.60 | 2.60 |  | CISO
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Forced | 1.30 | 1.30 | PGAE Gen | CISO
INTKEP_2_UNITS |  | CCSF Hetch_Hetchy Hydro Aggregate |  |  | Planned/Forced | 405.00 | 190.00 | PGAE Gen | CISO
IVANPA_1_UNIT1 |  | Ivanpah 1 |  |  | Forced | 126.00 | 126.00 | SCE Gen | CISO
IVANPA_1_UNIT3 |  | Ivanpah 3 |  |  | Forced | 133.00 | 133.00 | SCE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 25.60 | SCE Gen | CISO
JAWBNE_2_SRWND |  | Sky River Wind Repower A |  |  | Forced | 30.00 | 3.00 | SCE Gen | CISO
JAWBNE_2_SRWWD2 |  | Sky River Wind Repower B |  |  | Forced | 30.20 | 2.30 | SDGE Gen | CISO
JAY_2_UNIT1 |  | Jaybird Powerhouse Unit 1 |  |  | Planned/Forced | 76.00 | 76.00 | BANC Gen | BANC
JAY_2_UNIT1 |  | Jaybird Powerhouse Unit 1 |  |  | Planned/Forced | 76.00 | 76.00 | EIM SMUD | BANC
JOANEC_2_STABT2 |  | Santa Ana Storage 2 |  |  | Forced | 20.00 | 2.00 | SCE Gen | CISO
JOHANN_2_JOSBT1 |  | Johanna Storage 1 |  |  | Forced | 10.00 | 1.00 | SCE Gen | CISO
JOHANN_2_JOSBT2 |  | Johanna Storage 2 |  |  | Planned/Forced | 10.00 | 1.00 | SDGE Gen | CISO
JOHANN_2_OCEBT2 |  | Orange County Energy Storage 2 |  |  | Forced | 9.00 | 9.00 | SCE Gen | CISO
JOHANN_2_OCEBT3 |  | Orange County Energy Storage 3 |  |  | Forced | 6.00 | 6.00 | SCE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 5.36 | PGAE Gen | CISO
KERMAN_6_SOLAR2 |  | Fresno Solar West |  |  | Forced | 1.50 | 0.75 | PGAE South | CISO
KERNFT_1_UNITS |  | KERN FRONT LIMITED |  |  | Planned/Forced | 52.40 | 52.40 | PGAE South | CISO
KERNRG_1_UNITS |  | South Belridge Cogen Facility |  |  | Forced | 55.20 | 15.20 | PGAE South | CISO
KERRGN_1_UNIT 1 |  | KERN RIVER HYDRO UNITS 1-4 AGGREGATE |  |  | Forced | 25.60 | 9.10 | SCE Gen | CISO
KNGBRD_2_SOLAR1 |  | Kingbird Solar A |  |  | Forced | 20.00 | 8.00 | SCE Gen | CISO
KNGCTY_6_UNITA1 |  | King City Energy Center, Unit 1 |  |  | Forced | 44.60 | 2.60 | PGAE Gen | CISO
LAMONT_1_SOLAR2 |  | Redwood Solar Farm 4 |  |  | Forced | 20.00 | 4.40 | PGAE Gen | CISO
LAMONT_1_SOLAR3 |  | Woodmere Solar Farm |  |  | Forced | 14.99 | 1.49 | PGAE Gen | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 15.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 18.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Planned | 266.00 | 266.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 18.00 | PGAE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Forced | 322.00 | 12.00 | SDGE Gen | CISO
LEBECS_2_UNITS |  | Pastoria Energy Facility |  |  | Forced | 799.47 | 15.47 | SCE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 13.84 | PGAE South | CISO
LEPRFD_1_KANSAS |  | Kansas |  |  | Forced | 20.00 | 4.00 | PGAE Gen | CISO
LITLRK_6_SOLAR1 |  | Lancaster Little Rock C |  |  | Forced | 5.00 | 2.50 | SCE Gen | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 2.70 | PGAE South | CISO
LMBEPK_2_UNITA1 |  | Lambie Energy Center, Unit #1 |  |  | Forced | 47.50 | 1.50 | PGAE Gen | CISO
LMBEPK_2_UNITA2 |  | Creed Energy Center, Unit #1 |  |  | Forced | 47.60 | 0.60 | PGAE Gen | CISO
LMBEPK_2_UNITA3 |  | Goose Haven Energy Center, Unit #1 |  |  | Forced | 47.75 | 1.75 | PGAE Gen | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Forced | 580.00 | 14.00 | PGAE Gen | CISO
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 2.00 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Forced | 302.58 | 22.58 | PGAE Gen | CISO
LOWGAP_7_QFUNTS |  | Matthews Dam Hydro |  |  | Forced | 1.35 | 0.11 | PGAE North | CISO
GARNET_2_HYDRO |  | Whitewater Hydro |  |  | Forced | 1.00 | 1.00 | SCE Gen | CISO
GASKW1_2_GW3SR1 |  | Gaskell West 3 |  |  | Forced | 20.00 | 1.85 | SCE Gen | CISO
GATEWY_2_GESBT1 |  | Gateway Energy Storage |  |  | Forced | 250.00 | 85.00 | SDGE Gen | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 55.30 | PGAE South | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Forced | 86.80 | 30.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Forced | 57.00 | 17.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 27.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 16.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 18.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Forced | 75.50 | 13.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 35.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 17.00 | PGAE Gen | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Planned/Forced | 120.00 | 120.00 | PGAE South | CISO
GLNARM_2_UNIT 5 |  | Glenarm Turbine 5 |  |  | Forced | 65.81 | 65.81 | SCE Gen | CISO
GLNARM_7_UNIT 3 |  | GLEN ARM UNIT 3 |  |  | Forced | 44.83 | 14.82 | SCE Gen | CISO
GLNARM_7_UNIT 4 |  | GLEN ARM UNIT 4 |  |  | Planned/Forced | 42.42 | 42.42 | SCE Gen | CISO
GUERNS_6_HD3BM3 |  | Hanford Digester Genset 3 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Forced | 98.43 | 21.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 19.80 | PGAE Gen | CISO
HARBGN_7_UNITS |  | HARBOR COGEN COMBINED CYCLE |  |  | Forced | 109.01 | 19.01 | SCE Gen | CISO
HARGS_1_CC_1_2_5 |  | Harbor Generating Station Combined Cycle |  |  | Planned | 212.00 | 109.00 | LADWP Gen | LADWP
HATLOS_6_LSCRK |  | Lost Creek 1 &amp; 2 Hydro Conversion |  |  | Forced | 1.70 | 0.85 | PGAE Gen | CISO
HATRDG_2_WIND |  | Hatchet Ridge Wind Farm |  |  | Forced | 102.00 | 12.00 | PGAE Gen | CISO
HAYGS_2_CC8_9_10 |  | Haynes Generating Station Combined Cycle |  |  | Planned | 575.00 | 325.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_1 |  | Haynes Generating Station UNIT 1 |  |  | Planned/Forced | 222.00 | 222.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_12 |  | Haynes Generating Station UNIT 12 |  |  | Planned | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_2 |  | Haynes Generating Station UNIT 2 |  |  | Forced | 222.00 | 222.00 | LADWP Gen | LADWP
HAYPRS_6_HAYHD2 |  | Haypress Middle |  |  | Forced | 6.70 | 6.70 | PGAE Gen | CISO
HELMPG_7_UNIT 1 |  | HELMS PUMP-GEN UNIT 1 |  |  | Planned/Forced | 407.00 | 407.00 | PGAE South | CISO
HELMPG_7_UNIT 2 |  | HELMS PUMP-GEN UNIT 2 |  |  | Planned/Forced | 407.00 | 407.00 | PGAE South | CISO
HELMPG_7_UNIT 3 |  | HELMS PUMP-GEN UNIT 3 |  |  | Planned/Forced | 404.00 | 404.00 | PGAE South | CISO
HIDSRT_2_UNITS |  | HIGH DESERT POWER PROJECT AGGREGATE |  |  | Planned | 850.00 | 850.00 | SCE Gen | CISO
HINSON_6_LBECH3 |  | Long Beach Unit 3 |  |  | Forced | 63.00 | 63.00 | SCE Gen | CISO
HNTGBH_7_UNIT 2 |  | HUNTINGTON BEACH GEN STA. UNIT 2 |  |  | Forced | 226.84 | 226.84 | SCE Gen | CISO
HOOVER_2_LDWP |  | Hoover Power Plant - LADWP Share |  |  | Planned | 537.00 | 355.00 | LADWP Gen | LADWP
HUMBPP_1_UNITS3 |  | Humboldt Bay Generating Station 3 |  |  | Planned | 65.08 | 16.27 | PGAE North | CISO
HYTTHM_2_UNITS |  | HYATT-THERMALITO PUMP-GEN (AGGREGATE) |  |  | Planned | 933.10 | 182.10 | PGAE Gen | CISO
PALA_6_PGCBT1 |  | Pala Gomez Creek BESS |  |  | Planned/Forced | 10.00 | 1.80 | SDGE Gen | CISO
PARDSE_6_PESBT1 |  | Paradise Energy Storage |  |  | Planned/Forced | 10.00 | 1.00 | SDGE Gen | CISO
PEORIA_1_SOLAR |  | Sonora 1 |  |  | Forced | 1.50 | 1.00 | PGAE Gen | CISO
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Forced | 126.00 | 7.00 | BANC Gen | BANC
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Forced | 126.00 | 7.00 | EIM SMUD | BANC
PHOENX_1_UNIT |  | PHOENIX PH |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Planned/Forced | 198.51 | 198.51 | PGAE Gen | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 4.16 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 3.61 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 5.86 | SDGE Gen | CISO
PIT4_7_PL1X2 |  | PIT PH 4 UNITS 1 &amp; 2 AGGREGATE |  |  | Planned | 95.00 | 95.00 | PGAE North | CISO
PIT5_7_PL1X2 |  | PIT PH 5 UNITS 1 &amp; 2 AGGREGATE |  |  | Planned | 82.00 | 82.00 | PGAE North | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 4.32 | PGAE North | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 5.32 | PGAE North | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 0.42 | PGAE North | CISO
PLACVL_1_CHILIB |  | Chili Bar Powerhouse |  |  | Planned | 8.34 | 8.34 | PGAE Gen | CISO
PNOCHE_1_PL1X2 |  | Panoche Peaker |  |  | Forced | 49.97 | 49.97 | PGAE South | CISO
POEPH_7_UNIT 1 |  | POE HYDRO UNIT 1 |  |  | Planned | 68.00 | 68.00 | PGAE North | CISO
POEPH_7_UNIT 2 |  | POE HYDRO UNIT 2 |  |  | Planned | 68.50 | 68.50 | PGAE North | CISO
PP_1_PP |  | PP1 UNIT 1A |  |  | Forced | 61.00 | 20.00 | LADWP Gen | LADWP
PTRPP_2_SOLAR |  | Pine Tree Solar Power Plant |  |  | Forced | 10.00 | 6.00 | LADWP Gen | LADWP
PTRPP_2_WIND |  | Pine Tree Wind Power Plant |  |  | Planned/Forced | 135.00 | 93.00 | LADWP Gen | LADWP
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 106.18 | 73.18 | SCE Gen | CISO
RDCLD_3_WIND |  | Red Cloud Wind Power Plant |  |  | Planned | 331.00 | 33.00 | LADWP Gen | LADWP
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Forced | 6.55 | 6.55 | SCE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
RECTOR_2_QF |  | Kaweah Unit 1 |  |  | Forced | 20.09 | 20.09 | SCE Gen | CISO
RECTOR_2_TFDBM1 |  | Two Fiets Dairy Digester |  |  | Forced | 0.80 | 0.80 | SCE Gen | CISO
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 2.50 | PGAE Gen | CISO
RIOBRV_6_UNIT 1 |  | RIO BRAVO HYDRO |  |  | Forced | 14.00 | 14.00 | PGAE Gen | CISO
RTEDDY_2_SEBSR3 |  | Rosamond West Solar East Bay 3 |  |  | Forced | 56.00 | 4.00 | SCE Gen | CISO
RTREE_2_WIND2 |  | Rising Tree 2 |  |  | Forced | 19.80 | 3.30 | SCE Gen | CISO
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Forced | 615.18 | 17.18 | PGAE South | CISO
RVRVEW_1_UNITA1 |  | Riverview Energy Center (GP Antioch) |  |  | Forced | 48.70 | 1.70 | PGAE Gen | CISO
SALTSP_7_UNITS |  | SALT SPRINGS HYDRO AGGREGATE |  |  | Forced | 46.00 | 13.00 | PGAE North | CISO
SANBRN_2_SS2BT3 |  | Sanborn Solar 2 SBESS 3 |  |  | Planned/Forced | 169.00 | 25.00 | SCE Gen | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 19.00 | PGAE Gen | CISO
SANTGO_2_MABBT1 |  | Millikan Avenue BESS |  |  | Forced | 2.00 | 2.00 | SCE Gen | CISO
SANWD_1_QF |  | San Gorgonio Farms Wind Farm |  |  | Forced | 31.00 | 13.50 | SCE Gen | CISO
SAUGUS_7_CHIQCN |  | Chiquita Canyon Landfill Fac |  |  | Forced | 8.00 | 8.00 | SCE Gen | CISO
SBERDO_2_PSP3 |  | Mountainview Gen Sta. Unit 3 |  |  | Forced | 555.00 | 305.00 | SCE Gen | CISO
SBERDO_2_PSP4 |  | Mountainview Gen Sta. Unit 4 |  |  | Forced | 555.00 | 15.58 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Forced | 3.93 | 0.93 | SCE Gen | CISO
SCAGS_1_UNIT_1 |  | Scattergood Generating Station UNIT 1 |  |  | Forced | 105.00 | 105.00 | LADWP Gen | LADWP
SCAGS_1_UNIT_2 |  | Scattergood Generating Station UNIT 2 |  |  | Forced | 177.00 | 177.00 | LADWP Gen | LADWP
SCHLTE_1_PL1X3 |  | Tracy Combined Cycle Power Plant |  |  | Planned | 336.04 | 336.04 | PGAE Gen | CISO
UCD_1_PL |  | UC Davis MFD Center |  |  | Planned | 26.50 | 26.50 | EIM SMUD | BANC
ULTPFR_1_UNIT 1 |  | Rio Bravo Fresno |  |  | Forced | 24.30 | 24.30 | PGAE South | CISO
USWND2_1_WIND2 |  | Golden Hills B |  |  | Forced | 42.96 | 1.79 | PGAE Gen | CISO
USWND2_1_WIND3 |  | Golden Hills C |  |  | Forced | 46.00 | 4.60 | PGAE Gen | CISO
USWNDR_2_LABWD1 |  | LaBrisa Wind Project |  |  | Forced | 9.00 | 3.00 | PGAE Gen | CISO
USWPJR_2_UNITS |  | Vasco Wind |  |  | Forced | 78.20 | 4.60 | PGAE Gen | CISO
VALGS_2_CC_6_7_8 |  | Valley Generating Station Combined Cycle |  |  | Planned | 533.00 | 533.00 | LADWP Gen | LADWP
VALLEY_5_SOLAR2 |  | AP North Lake Solar |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 12.47 | PGAE Gen | CISO
VESTAL_2_KERN |  | KERN RIVER PH 3 UNITS 1 &amp; 2 AGGREGATE |  |  | Forced | 36.80 | 24.30 | SCE Gen | CISO
VESTAL_6_QF |  | Isabella Hydro Dam 1 |  |  | Forced | 11.95 | 10.95 | SCE Gen | CISO
VICPAS_2_SOCBT1 |  | Sol Catcher BESS 1 |  |  | Forced | 50.00 | 9.00 | SCE Gen | CISO
VICTOR_1_CREST |  | Victor Aggregate Solar Resources |  |  | Forced | 18.99 | 7.00 | SCE Gen | CISO
VISTRA_5_DALBT1 |  | Dallas Energy Storage |  |  | Forced | 100.00 | 100.00 | PGAE Gen | CISO
VISTRA_5_DALBT2 |  | Dallas Energy Storage 2 |  |  | Forced | 100.00 | 100.00 | PGAE Gen | CISO
VISTRA_5_DALBT3 |  | Dallas Energy Storage 3 |  |  | Forced | 100.00 | 100.00 | PGAE Gen | CISO
VISTRA_5_DALBT4 |  | Dallas Energy Storage 4 |  |  | Forced | 100.00 | 100.00 | PGAE Gen | CISO
VOLTA_6_BAILCK |  | Bailey Creek Ranch |  |  | Forced | 0.63 | 0.63 | PGAE Gen | CISO
VOLTA_7_PONHY1 |  | Ponderosa Bailey Hydroelectric |  |  | Forced | 1.25 | 1.25 | PGAE Gen | CISO
VOYAGR_2_VOYWD3 |  | Voyager Wind 3 |  |  | Forced | 42.45 | 7.40 | SCE Gen | CISO
WARNE_2_UNIT |  | WARNE HYDRO AGGREGATE |  |  | Planned | 76.00 | 38.00 | SCE Gen | CISO
WDLEAF_7_UNIT 1 |  | WOODLEAF HYDRO |  |  | Planned | 60.00 | 60.00 | PGAE North | CISO
WESTPT_2_UNIT |  | West Point Hydro Plant |  |  | Planned/Forced | 14.00 | 14.00 | PGAE Gen | CISO
WHTWTR_1_WINDA1 |  | Whitewater Hill Wind Project |  |  | Forced | 57.00 | 12.00 | SCE Gen | CISO
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | BANC Gen | BANC
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | EIM SMUD | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | BANC Gen | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | EIM SMUD | BANC
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Forced | 18.40 | 18.40 | PGAE Gen | CISO
WOLFSK_1_UNITA1 |  | Wolfskill Energy Center |  |  | Forced | 48.68 | 1.68 | PGAE Gen | CISO
WSTWND_2_M90WD2 |  | Mojave 90 |  |  | Forced | 64.82 | 9.20 | SCE Gen | CISO
YUBACT_6_UNITA1 |  | Yuba City Energy Center (Calpine) |  |  | Forced | 47.16 | 1.16 | PGAE Gen | CISO
YUBACT_6_UNITA1 |  | Yuba City Energy Center (Calpine) |  |  | Forced | 47.16 | 1.16 | PGAE North | CISO
ALAMIT_2_AESBT2 |  | Alamitos Energy Storage 2 |  |  | Forced | 82.00 | 3.00 |  | CISO
CAMERN_6_BSPSR1 |  | Buckman Springs PV |  |  | Forced | 0.84 | 0.84 |  | CISO
CASCES_6_CESBT2 |  | Cascade Energy Storage Expansion |  |  | Forced | 20.00 | 20.00 |  | CISO
CLARIBEL_6_EROCKGEN |  | Enchanted Rock Claribel |  |  | Forced | 47.97 | 47.97 |  | BANC
SHASTRD_7_UNITS |  | Shasta and Trinity River Division Agg |  |  | Planned/Forced | 1265.00 | 405.00 |  | BANC
BUCKCK_7_PL1X2 |  | BUCKS CREEK AGGREGATE |  |  | Planned | 57.25 | 24.25 | PGAE Gen | CISO
BURNYF_2_UNIT 1 |  | Burney Forest Power |  |  | Forced | 29.00 | 9.00 | PGAE Gen | CISO
CALGEN_1_UNITS |  | Coso Navy 1 |  |  | Forced | 80.00 | 38.00 | SCE Gen | CISO
CALPIN_1_AGNEW |  | Agnews Power Plant |  |  | Forced | 28.56 | 28.56 | PGAE Gen | CISO
CAMCHE_1_PL1X3 |  | CAMANCHE UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Forced | 9.99 | 9.99 | PGAE Gen | CISO
CAM_2_UNIT1 |  | Camino Powerhouse Unit 1 |  |  | Forced | 80.00 | 5.00 | BANC Gen | BANC
CAM_2_UNIT1 |  | Camino Powerhouse Unit 1 |  |  | Forced | 80.00 | 5.00 | EIM SMUD | BANC
CAPWD_1_QF |  | Edom Hills Wind Farm |  |  | Forced | 19.55 | 12.05 | SCE Gen | CISO
CARBOU_7_PL4X5 |  | CARIBOU PH 2 UNIT 4 &amp; 5 AGGREGATE |  |  | Planned | 120.00 | 120.00 | PGAE North | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Planned/Forced | 422.00 | 422.00 | SDGE Gen | CISO
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 105.50 | SDGE Gen | CISO
CASPP_2_UNIT_4 |  | Castaic Power Plant UNIT 4 |  |  | Planned | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_6 |  | Castaic Power Plant UNIT 6 |  |  | Forced | 238.00 | 18.00 | LADWP Gen | LADWP
CASPP_2_UNIT_7 |  | Castaic Power Plant UNIT 7 |  |  | Forced | 56.00 | 56.00 | LADWP Gen | LADWP
CENTER_6_PEAKER |  | Center Peaker |  |  | Forced | 47.30 | 47.30 | SCE Gen | CISO
CHALK_1_UNIT |  | CHALK CLIFF LIMITED |  |  | Forced | 48.67 | 1.67 | PGAE Gen | CISO
CHEVMN_2_UNITS |  | CHEVRON U.S.A. UNITS 1 &amp; 2 AGGREGATE |  |  | Planned | 124.87 | 124.87 | SCE Gen | CISO
CHINO_2_APEBT1 |  | Pomona Energy Storage |  |  | Forced | 20.00 | 5.20 | SCE Gen | CISO
CHWCHL_1_UNIT |  | CHOW 2 PEAKER PLANT |  |  | Forced | 48.60 | 48.60 | PGAE Gen | CISO
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 6.00 | BANC Gen | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 6.00 | EIM SMUD | BANC
COCOPP_2_CTG1 |  | Marsh Landing 1 |  |  | Forced | 204.20 | 8.20 | PGAE South | CISO
COCOPP_2_CTG2 |  | Marsh Landing 2 |  |  | Forced | 202.70 | 7.52 | PGAE South | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 14.20 | PGAE South | CISO
COCOPP_2_CTG4 |  | Marsh Landing 4 |  |  | Forced | 204.29 | 7.70 | PGAE South | CISO
COLEMN_2_UNIT |  | Coleman |  |  | Forced | 13.00 | 8.30 | PGAE North | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Forced | 176.72 | 17.72 | PGAE North | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Forced | 175.67 | 16.67 | PGAE North | CISO
COLGNS_2_CNSSR1 |  | ColGreen North Shore |  |  | Forced | 74.80 | 17.80 | SCE Gen | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 22.90 | PGAE North | CISO
CONDOR_2_CDRBT1 |  | Condor BESS |  |  | Forced | 200.00 | 45.00 | SCE Gen | CISO
CONTRL_1_CASAD2 |  | Mammoth G2 |  |  | Forced | 10.50 | 0.80 | SCE Gen | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Forced | 3.00 | 2.75 | SCE Gen | CISO
CONTRL_1_OXBOW |  | Dixie Valley Geo |  |  | Forced | 60.00 | 7.00 | SCE Gen | CISO
CORONS_6_CLRWTR |  | Clearwater Power Plant |  |  | Planned | 28.00 | 28.00 | SCE Gen | CISO
COWCRK_2_UNIT |  | Cow Creek Hydro |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 34.00 | BANC Gen | BANC
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 34.00 | EIM SMUD | BANC
CRELMN_6_AABBT1 |  | Air Attack Base |  |  | Forced | 0.47 | 0.47 | SDGE Gen | CISO
CRIMSN_2_CRMBT1 |  | Crimson |  |  | Forced | 200.00 | 5.00 | SCE Gen | CISO
CRNEVL_6_CRNVA |  | Crane Valley |  |  | Forced | 0.90 | 0.90 | PGAE Gen | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Forced | 3.20 | 3.20 | PGAE Gen | CISO
CSCGNR_1_UNIT 1 |  | GIANERA PEAKER UNIT 1 |  |  | Planned | 24.75 | 24.75 | PGAE South | CISO
CSCGNR_1_UNIT 2 |  | GIANERA PEAKER UNIT 2 |  |  | Planned | 24.75 | 24.75 | PGAE South | CISO
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 1.00 | BANC Gen | BANC
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 1.00 | EIM SMUD | BANC
CUMBIA_1_SOLAR |  | Columbia Solar Energy II |  |  | Forced | 19.00 | 11.00 | PGAE Gen | CISO
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Planned | 0.80 | 0.80 | PGAE Gen | CISO
DAVIS_1_SOLAR1 |  | Grasslands 3 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
DAVIS_1_SOLAR2 |  | Grasslands 4 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
BANC | 29 |  | 5 | 4
IID | 2 |  | 0 | 0
LADWP | 8 |  | 9 | 2
CISO | 278 |  | 42 | 29
TIDC | 4 |  | 2 | 0
Grand Total | 321 |  | 58 | 35
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
BANC | 5869.62 |  | 1673.72
CISO | 37755.58 |  | 17878.55
IID | 266.05 |  | 266.05
LADWP | 4446 |  | 2809.8
TIDC | 139.8 |  | 139.8
Grand Total | 48477.05 |  | 22767.92
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.