## Curtailed
Report Generated on : 12/04/2025 07:30:01 (PPT)
Trade Date: 12/04/2025
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
ACACIA_6_SOLAR |  | West Antelope Solar |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 12.00 | PGAE Gen | CISO
ADLSPP_5_SOLAR |  | Adelanto Solar Power Plant |  |  | Forced | 10.00 | 5.20 | LADWP Gen | LADWP
ALAMIT_7_UNIT 3 |  | ALAMITOS GEN STA. UNIT 3 |  |  | Forced | 326.76 | 326.76 | SCE Gen | CISO
ALAMIT_7_UNIT 4 |  | ALAMITOS GEN STA. UNIT 4 |  |  | Forced | 334.43 | 334.43 | SCE Gen | CISO
ALAMIT_7_UNIT 5 |  | ALAMITOS GEN STA. UNIT 5 |  |  | Forced | 480.00 | 480.00 | SCE Gen | CISO
ALMASL_2_AL6BT6 |  | Almasol 6 BES |  |  | Planned/Forced | 50.00 | 50.00 | SCE Gen | CISO
ALMASL_2_GS6SR6 |  | Almasol Generating Station 6 |  |  | Planned | 100.00 | 100.00 | SCE Gen | CISO
ALMASL_2_GS7SR7 |  | Almasol Generating Station 7 |  |  | Planned | 132.00 | 132.00 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Forced | 25.00 | 25.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Forced | 25.00 | 25.00 | PGAE South | CISO
ALTA3A_2_CPCE4 |  | Alta Wind 4 |  |  | Forced | 102.00 | 6.00 | SCE Gen | CISO
ALTA3A_2_CPCE5 |  | Alta Wind 5 |  |  | Forced | 168.00 | 39.00 | SCE Gen | CISO
ALTA3A_2_CPCE8 |  | Alta Wind 8 |  |  | Forced | 150.00 | 9.00 | SCE Gen | CISO
ALTA4B_2_CPCW2 |  | Alta Wind 2 |  |  | Forced | 150.00 | 18.00 | SCE Gen | CISO
ALTA4B_2_CPCW3 |  | Alta Wind 3 |  |  | Forced | 150.00 | 33.00 | SCE Gen | CISO
ALTA4B_2_CPCW6 |  | Mustang Hills |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA6B_2_WIND11 |  | Alta Wind 11 |  |  | Forced | 88.15 | 5.99 | SCE Gen | CISO
ALTA6E_2_WIND10 |  | Alta Wind 10 |  |  | Forced | 134.84 | 6.59 | SCE Gen | CISO
ANAHM_2_CANYN1 |  | CANYON POWER PLANT UNIT 1 |  |  | Forced | 49.21 | 49.21 | SCE Gen | CISO
ANAHM_2_CANYN2 |  | CANYON POWER PLANT UNIT 2 |  |  | Planned | 48.04 | 48.04 | SCE Gen | CISO
APXGS_5_CC |  | Apex Generating Station Combined Cycle |  |  | Forced | 578.00 | 85.00 | LADWP Gen | LADWP
ARCOGN_2_UNITS |  | WATSON COGENERATION |  |  | Forced | 245.00 | 115.00 | SCE Gen | CISO
ARVINN_6_ORION1 |  | Orion 1 Solar |  |  | Planned | 12.00 | 12.00 | PGAE Gen | CISO
ARVINN_6_ORION2 |  | Orion 2 Solar |  |  | Planned/Forced | 8.00 | 8.00 | PGAE Gen | CISO
ASTORA_2_SOLAR1 |  | Astoria 1 |  |  | Forced | 100.00 | 26.00 | SCE Gen | CISO
ATWEL2_1_SOLAR1 |  | Atwell West |  |  | Planned | 20.00 | 20.00 | PGAE Gen | CISO
ATWELL_1_SOLAR |  | Atwell Island PV Solar Generating Faci. |  |  | Planned/Forced | 20.00 | 20.00 | PGAE South | CISO
BARRE_6_PEAKER |  | Barre Peaker |  |  | Forced | 49.00 | 2.03 | SCE Gen | CISO
BCNPPS1_2_BATTERY |  | Beacon Battery |  |  | Forced | 20.00 | 12.50 | LADWP Gen | LADWP
BCNPPS2_2_SOLAR |  | Beacon Power Plant Site 2 |  |  | Forced | 47.00 | 3.00 | LADWP Gen | LADWP
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Forced | 48.08 | 2.08 | PGAE South | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Forced | 49.21 | 2.21 | PGAE Gen | CISO
BGROCK_2_BRFBX2 |  | Big Rock Solar Farm |  |  | Forced | 200.00 | 200.00 | SDGE Gen | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 249.00 | SCE Gen | CISO
BIGSKY_2_ASLBT2 |  | Antelope Solar 2 Luna |  |  | Forced | 100.00 | 11.00 | SCE Gen | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Forced | 13.40 | 10.50 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Forced | 15.80 | 10.40 | SCE Gen | CISO
BLACK_7_UNIT 1 |  | JAMES B. BLACK 1 |  |  | Planned | 85.00 | 85.00 | PGAE North | CISO
BLACK_7_UNIT 2 |  | JAMES B. BLACK 2 |  |  | Planned | 84.10 | 84.10 | PGAE North | CISO
BLM W_2_COSBT1 |  | Coso Battery Storage |  |  | Forced | 60.00 | 7.00 | SCE Gen | CISO
BLVRDE_6_BLVBT1 |  | Boulevard Energy Storage |  |  | Planned/Forced | 10.00 | 10.00 | SDGE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Planned | 48.69 | 48.69 | PGAE Gen | CISO
ELKHRN_1_EESX3 |  | Elkhorn Energy Storage |  |  | Forced | 182.50 | 182.50 | PGAE Gen | CISO
VESTAL_6_QF |  | Isabella Hydro Dam 1 |  |  | Forced | 11.95 | 10.55 | SCE Gen | CISO
VICTOR_1_SOLAR1 |  | Victor Phelan Solar One |  |  | Planned | 17.50 | 8.75 | SCE Gen | CISO
VIKING_2_VCBBT1 |  | VIKINGS CO-LOCATED BESS |  |  | Planned | 149.88 | 149.88 | SDGE Gen | CISO
VISTRA_5_DALBT1 |  | Dallas Energy Storage |  |  | Forced | 100.00 | 100.00 | PGAE Gen | CISO
VISTRA_5_DALBT2 |  | Dallas Energy Storage 2 |  |  | Forced | 100.00 | 100.00 | PGAE Gen | CISO
VISTRA_5_DALBT3 |  | Dallas Energy Storage 3 |  |  | Forced | 100.00 | 100.00 | PGAE Gen | CISO
VISTRA_5_DALBT4 |  | Dallas Energy Storage 4 |  |  | Forced | 100.00 | 100.00 | PGAE Gen | CISO
VISTRA_5_PLABT1 |  | Plano Storage 1 |  |  | Forced | 100.40 | 100.40 | PGAE Gen | CISO
VISTRA_5_PLABT2 |  | Plano Storage 2 |  |  | Forced | 100.40 | 100.40 | PGAE Gen | CISO
VISTRA_5_PLABT3 |  | Plano Storage 3 |  |  | Forced | 74.60 | 74.60 | PGAE Gen | CISO
VISTRA_5_PLABT4 |  | Plano Storage 4 |  |  | Forced | 74.60 | 74.60 | PGAE Gen | CISO
VOLTA_6_BAILCK |  | Bailey Creek Ranch |  |  | Forced | 0.63 | 0.63 | PGAE Gen | CISO
VOLTA_7_PONHY1 |  | Ponderosa Bailey Hydroelectric |  |  | Forced | 1.25 | 1.25 | PGAE Gen | CISO
WESCAN_2_BDSBT1 |  | Bateria Del Sur |  |  | Forced | 131.00 | 131.00 | SDGE Gen | CISO
WESCN2_2_BDSBT1 |  | Bateria Del Sur 2A |  |  | Forced | 119.00 | 119.00 | SDGE Gen | CISO
WESCN2_2_BDSBT2 |  | Bateria Del Sur 2B |  |  | Planned/Forced | 100.00 | 100.00 | SDGE Gen | CISO
WFRESN_1_SOLAR |  | Joya Del Sol |  |  | Forced | 1.50 | 1.30 | PGAE Gen | CISO
WHEATL_6_LNDFIL |  | G2 ENERGY, OSTROM ROAD LLC |  |  | Forced | 3.55 | 2.05 | PGAE Gen | CISO
WHTWTR_1_WINDA1 |  | Whitewater Hill Wind Project |  |  | Forced | 57.00 | 15.00 | SCE Gen | CISO
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | BANC Gen | BANC
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | EIM SMUD | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | BANC Gen | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | EIM SMUD | BANC
WISE_1_UNIT 1 |  | Wise Hydro Unit 1 |  |  | Forced | 14.50 | 14.50 | PGAE Gen | CISO
WISE_1_UNIT 2 |  | WISE HYDRO UNIT 2 |  |  | Forced | 3.20 | 3.20 | PGAE North | CISO
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Planned/Forced | 18.40 | 18.40 | PGAE Gen | CISO
WNDMAS_2_UNIT 1 |  | BUENA VISTA ENERGY, LLC |  |  | Forced | 38.00 | 11.00 | PGAE Gen | CISO
WOODLAND_7_WGSUNIT2 |  | Woodland Generation Station Unit 2 |  |  | Forced | 83.00 | 8.00 | BANC Gen | BANC
WOODLAND_7_WGSUNIT3 |  | Woodland Generation Station Unit 3 |  |  | Planned/Forced | 49.00 | 25.00 | BANC Gen | BANC
WOODWR_1_HYDRO |  | Quinten Luallen |  |  | Forced | 7.30 | 7.30 | PGAE Gen | CISO
WSTWND_2_M90WD2 |  | Mojave 90 |  |  | Forced | 64.82 | 50.95 | SCE Gen | CISO
ELSEGN_2_UN1011 |  | El Segundo Energy Center 5/6 |  |  | Forced | 274.31 | 274.31 | SCE Gen | CISO
ELSEGN_2_UN2021 |  | El Segundo Energy Center 7/8 |  |  | Forced | 271.74 | 271.74 | SCE Gen | CISO
ESCNDO_6_EB1BT1 |  | Escondido BESS 1 |  |  | Forced | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB2BT2 |  | Escondido BESS 2 |  |  | Forced | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB3BT3 |  | Escondido BESS 3 |  |  | Planned | 10.00 | 10.00 | SDGE Gen | CISO
ETIWND_2_SEPBT1 |  | Separator |  |  | Planned/Forced | 100.00 | 100.00 | SCE Gen | CISO
FALBRK_6_FESBT1 |  | Fallbrook Energy Storage |  |  | Forced | 40.00 | 40.00 | SDGE Gen | CISO
FLOWD2_2_FPLWND |  | DIABLO WINDS |  |  | Forced | 18.00 | 1.32 | PGAE Gen | CISO
FMEADO_6_HELLHL |  | FMEADO_6_HELLHL |  |  | Forced | 0.60 | 0.10 | PGAE North | CISO
FMEADO_7_UNIT |  | FRENCH MEADOWS HYDRO |  |  | Forced | 16.00 | 6.00 | PGAE North | CISO
FOLSOM_7_UNITS |  | Folsom and Nimbus Aggregation |  |  | Planned/Forced | 224.00 | 112.00 | BANC Gen | BANC
FTSWRD_6_TRFORK |  | Three Forks Water Power Project |  |  | Forced | 1.63 | 1.63 | PGAE Gen | CISO
FTSWRD_7_QFUNTS |  | FTSWRD_7_QFUNTS |  |  | Forced | 1.60 | 1.60 | PGAE North | CISO
GARLND_2_GASLR |  | Garland B |  |  | Forced | 180.00 | 180.00 | SCE Gen | CISO
GARLND_2_GASLRA |  | Garland A |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
GARNET_1_WINDS |  | Garnet Winds Aggregation |  |  | Forced | 22.50 | 3.00 | SCE Gen | CISO
GARNET_2_WIND2 |  | Karen Avenue Wind Farm |  |  | Forced | 11.70 | 3.00 | SCE Gen | CISO
GASKW1_2_GW1SR1 |  | Gaskell West 1 |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
GASKW1_2_GW2BT1 |  | Gaskell West 2 BESS |  |  | Forced | 20.00 | 6.50 | SCE Gen | CISO
GATEWY_2_GESBT1 |  | Gateway Energy Storage |  |  | Forced | 250.00 | 250.00 | SDGE Gen | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 50.40 | PGAE South | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Planned/Forced | 86.80 | 86.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Planned/Forced | 57.00 | 9.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 26.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 70.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 18.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Planned/Forced | 75.50 | 11.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 33.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 15.00 | PGAE Gen | CISO
GLNARM_2_UNIT 5 |  | Glenarm Turbine 5 |  |  | Planned | 65.81 | 65.81 | SCE Gen | CISO
GLNARM_7_UNIT 1 |  | GLEN ARM UNIT 1 |  |  | Forced | 22.13 | 22.13 | SCE Gen | CISO
GLNARM_7_UNIT 4 |  | GLEN ARM UNIT 4 |  |  | Forced | 42.42 | 4.42 | SCE Gen | CISO
GOLETA_2_VALBT1 |  | Vallecito Energy Storage |  |  | Forced | 10.00 | 3.00 | SCE Gen | CISO
GRNVLY_7_SCLAND |  | SANTA CRUZ LANDFILL GENERATING PLANT |  |  | Forced | 3.04 | 1.39 | PGAE South | CISO
GRSCRK_6_BGCKWW |  | BIG CREEK WATER WORKS - CEDAR FLAT |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Forced | 98.43 | 52.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 4.80 | PGAE Gen | CISO
GYSRVL_7_WSPRNG |  | Warm Springs Hydro |  |  | Forced | 3.75 | 3.75 | PGAE Gen | CISO
HAASPH_7_PL1X2 |  | HAAS PH UNIT 1 &amp; 2 AGGREGATE |  |  | Planned | 144.00 | 72.00 | PGAE North | CISO
HAASPH_7_PL1X2 |  | HAAS PH UNIT 1 &amp; 2 AGGREGATE |  |  | Planned | 144.00 | 72.00 | PGAE South | CISO
HARBGN_7_UNITS |  | HARBOR COGEN COMBINED CYCLE |  |  | Forced | 109.01 | 19.01 | SCE Gen | CISO
HARGS_1_CC_1_2_5 |  | Harbor Generating Station Combined Cycle |  |  | Planned/Forced | 212.00 | 212.00 | LADWP Gen | LADWP
HATLOS_6_LSCRK |  | Lost Creek 1 &amp; 2 Hydro Conversion |  |  | Forced | 1.70 | 0.71 | PGAE Gen | CISO
LAKEVW_6_AFTBT1 |  | AFTW STORAGE |  |  | Forced | 1.14 | 1.14 | PGAE Gen | CISO
LAMONT_1_SOLAR2 |  | Redwood Solar Farm 4 |  |  | Forced | 20.00 | 17.50 | PGAE Gen | CISO
LAMONT_1_SOLAR4 |  | Hayworth Solar Farm |  |  | Forced | 26.66 | 3.66 | PGAE South | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 16.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 17.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 22.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 33.00 | PGAE Gen | CISO
LARKSP_6_UNIT 1 |  | LARKSPUR PEAKER UNIT 1 |  |  | Forced | 49.00 | 1.50 | SDGE Gen | CISO
LARKSP_6_UNIT 2 |  | LARKSPUR PEAKER UNIT 2 |  |  | Forced | 49.00 | 1.40 | SDGE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Forced | 322.00 | 17.00 | SDGE Gen | CISO
LEBECS_2_UNITS |  | Pastoria Energy Facility |  |  | Planned/Forced | 799.47 | 283.47 | SCE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 309.84 | PGAE South | CISO
LITLRK_6_SOLAR1 |  | Lancaster Little Rock C |  |  | Forced | 5.00 | 2.00 | SCE Gen | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 2.70 | PGAE South | CISO
LMBEPK_2_UNITA1 |  | Lambie Energy Center, Unit #1 |  |  | Forced | 47.50 | 6.50 | PGAE Gen | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Forced | 580.00 | 4.00 | PGAE Gen | CISO
LNL_6_UNIT |  | Loon Lake Powerhouse |  |  | Planned | 78.00 | 78.00 | BANC Gen | BANC
LNL_6_UNIT |  | Loon Lake Powerhouse |  |  | Planned | 78.00 | 78.00 | EIM SMUD | BANC
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 25.00 | PGAE Gen | CISO
LODI25_6_ERKNG1 |  | LODI STRATEGIC RESERVE |  |  | Forced | 47.97 | 47.97 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Forced | 302.58 | 15.58 | PGAE Gen | CISO
LOTUS_6_LSFSR1 |  | Lotus Solar Farm |  |  | Forced | 50.00 | 14.00 | PGAE Gen | CISO
LOWGAP_7_QFUNTS |  | Matthews Dam Hydro |  |  | Forced | 1.35 | 1.15 | PGAE North | CISO
MAGUND_1_BKISR1 |  | Bakersfield Industrial 1 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
MARSHALL_7_EROCKUNIT1 |  | EROCK MARSHALL UNIT 1 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT2 |  | EROCK MARSHALL UNIT 2 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT3 |  | EROCK MARSHALL UNIT 3 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT4 |  | EROCK MARSHALL UNIT 4 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MCC_6_PKR |  | McClellan Gas Turbine Peaker |  |  | Planned | 70.00 | 70.00 | BANC Gen | BANC
MCC_6_PKR |  | McClellan Gas Turbine Peaker |  |  | Planned | 70.00 | 70.00 | EIM SMUD | BANC
MCSWAN_6_UNITS |  | MC SWAIN HYDRO |  |  | Planned | 9.00 | 9.00 | PGAE South | CISO
MELONP_7_UNITS |  | New Melones Aggregation |  |  | Forced | 380.00 | 380.00 | BANC Gen | BANC
MELRSE_6_MELBT2 |  | Melrose BESS 2 |  |  | Planned/Forced | 10.00 | 10.00 | SDGE Gen | CISO
MENBIO_6_RENEW1 |  | CalRENEW - 1(A) |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
MERCFL_6_UNIT |  | Merced Falls Powerhouse |  |  | Forced | 3.50 | 3.50 | PGAE South | CISO
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 17.05 | PGAE Gen | CISO
MIDWD_2_WIND2 |  | Coram Energy |  |  | Forced | 3.00 | 1.50 | SCE Gen | CISO
MIDWD_7_CORAMB |  | CELLC 7.5 MW Tehachapi Project |  |  | Forced | 7.50 | 4.50 | SCE Gen | CISO
MKTRCK_1_UNIT 1 |  | MCKITTRICK LIMITED |  |  | Forced | 47.72 | 1.72 | PGAE South | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Forced | 48.56 | 3.43 | SCE Gen | CISO
MOJAVW_2_SOLAR |  | Mojave West |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
POEPH_7_UNIT 1 |  | POE HYDRO UNIT 1 |  |  | Planned | 68.00 | 68.00 | PGAE North | CISO
POEPH_7_UNIT 2 |  | POE HYDRO UNIT 2 |  |  | Planned/Forced | 68.50 | 68.50 | PGAE North | CISO
POLRIS_2_ASRBT1 |  | Antelope Solar 2 Raceway BESS |  |  | Forced | 80.00 | 10.00 | SCE Gen | CISO
POLRIS_2_ASRSR1 |  | Antelope Solar 2 Raceway |  |  | Forced | 125.00 | 3.00 | SCE Gen | CISO
PSWEET_1_STCRUZ |  | Santa Cruz Energy LLC |  |  | Forced | 1.60 | 0.70 | PGAE Gen | CISO
PTRPP_2_SOLAR |  | Pine Tree Solar Power Plant |  |  | Forced | 10.00 | 2.50 | LADWP Gen | LADWP
PTRPP_2_WIND |  | Pine Tree Wind Power Plant |  |  | Forced | 135.00 | 57.00 | LADWP Gen | LADWP
PUTHCR_1_PCNSB1 |  | Putah Creek Solar Farm North |  |  | Forced | 3.00 | 3.00 | PGAE Gen | CISO
PUTHCR_1_SOLAR1 |  | Putah Creek Solar Farm |  |  | Forced | 1.98 | 1.98 | PGAE Gen | CISO
PWEST_1_UNIT |  | PACIFIC WEST 1 WIND GENERATION |  |  | Forced | 2.10 | 1.40 | SCE Gen | CISO
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 106.18 | 62.18 | SCE Gen | CISO
RDCLD_3_WIND |  | Red Cloud Wind Power Plant |  |  | Forced | 331.00 | 33.00 | LADWP Gen | LADWP
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Forced | 6.55 | 6.55 | SCE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
RECTOR_2_QF |  | Kaweah Unit 1 |  |  | Forced | 20.09 | 20.09 | SCE Gen | CISO
RECTOR_2_TFDBM1 |  | Two Fiets Dairy Digester |  |  | Forced | 0.80 | 0.80 | SCE Gen | CISO
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 2.50 | PGAE Gen | CISO
RIOBRV_6_UNIT 1 |  | RIO BRAVO HYDRO |  |  | Forced | 14.00 | 14.00 | PGAE Gen | CISO
ROSMDW_2_WIND1 |  | Pacific Wind - Phase 1 |  |  | Forced | 140.00 | 2.00 | SCE Gen | CISO
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Forced | 615.18 | 17.18 | PGAE South | CISO
SANDRN_2_SS2SR2 |  | Sandrini Sol 2 |  |  | Forced | 200.00 | 200.00 | PGAE Gen | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 18.00 | PGAE Gen | CISO
SANWD_1_QF |  | San Gorgonio Farms Wind Farm |  |  | Forced | 31.00 | 8.90 | SCE Gen | CISO
SBERDO_2_PSP4 |  | Mountainview Gen Sta. Unit 4 |  |  | Forced | 555.00 | 305.00 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Forced | 3.93 | 3.93 | SCE Gen | CISO
SCAGS_1_UNIT_1 |  | Scattergood Generating Station UNIT 1 |  |  | Planned/Forced | 105.00 | 105.00 | LADWP Gen | LADWP
SCAGS_1_UNIT_2 |  | Scattergood Generating Station UNIT 2 |  |  | Planned/Forced | 177.00 | 177.00 | LADWP Gen | LADWP
SCAGS_2_UNIT_6 |  | Scattergood Generating Station UNIT 6 |  |  | Planned/Forced | 102.00 | 102.00 | LADWP Gen | LADWP
SCHNDR_1_FIVPTS |  | Five Points Solar Station |  |  | Planned/Forced | 15.00 | 15.00 | PGAE South | CISO
SENTNL_2_CTG1 |  | Sentinel Unit 1 |  |  | Forced | 107.68 | 4.18 | SCE Gen | CISO
SENTNL_2_CTG2 |  | Sentinel Unit 2 |  |  | Forced | 104.19 | 4.19 | SCE Gen | CISO
SENTNL_2_CTG3 |  | Sentinel Unit 3 |  |  | Forced | 105.69 | 4.19 | SCE Gen | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Forced | 106.55 | 4.15 | SCE Gen | CISO
SENTNL_2_CTG5 |  | Sentinel Unit 5 |  |  | Forced | 107.52 | 4.12 | SCE Gen | CISO
SENTNL_2_CTG6 |  | Sentinel Unit 6 |  |  | Forced | 105.00 | 4.20 | SCE Gen | CISO
SENTNL_2_CTG7 |  | Sentinel Unit 7 |  |  | Forced | 106.73 | 4.13 | SCE Gen | CISO
SENTNL_2_CTG8 |  | Sentinel Unit 8 |  |  | Forced | 106.85 | 4.15 | SCE Gen | CISO
SHASTRD_7_UNITS |  | Shasta and Trinity River Division Agg |  |  | Planned/Forced | 1265.00 | 370.00 | BANC Gen | BANC
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Planned | 48.69 | 48.69 | PGAE North | CISO
BORDER_6_UNITA1 |  | CalPeak Power Border Unit 1 |  |  | Forced | 51.25 | 51.25 | SDGE Gen | CISO
BRDSLD_2_HIWIND |  | High Winds Energy Center |  |  | Forced | 162.00 | 63.00 | PGAE Gen | CISO
BRDSLD_2_MTZUM2 |  | NextEra Energy Montezuma Wind II |  |  | Forced | 78.20 | 9.20 | PGAE Gen | CISO
BRDSLD_2_MTZUMA |  | FPL Energy Montezuma Wind |  |  | Forced | 36.80 | 6.90 | PGAE Gen | CISO
BRDSLD_2_SHILO2 |  | SHILOH WIND PROJECT 2 |  |  | Forced | 150.00 | 8.00 | PGAE Gen | CISO
BRDSLD_2_SHLO3A |  | Shiloh III Wind Project, LLC |  |  | Forced | 102.50 | 8.20 | PGAE Gen | CISO
BRDSLD_2_SHLO3B |  | Shiloh IV Wind Project |  |  | Forced | 100.00 | 1.60 | PGAE Gen | CISO
BRODIE_2_WIND |  | Coram Brodie Wind Project |  |  | Forced | 102.00 | 9.00 | SCE Gen | CISO
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Forced | 1.30 | 1.30 | PGAE Gen | CISO
BUCKCK_7_PL1X2 |  | BUCKS CREEK AGGREGATE |  |  | Planned/Forced | 57.25 | 24.25 | PGAE Gen | CISO
BUCKWD_1_QF |  | Buckwind Re-powering project |  |  | Forced | 16.50 | 3.00 | SCE Gen | CISO
BURNYF_2_UNIT 1 |  | Burney Forest Power |  |  | Forced | 29.00 | 10.00 | PGAE Gen | CISO
BUTTVL_7_UNIT 1 |  | BUTT VALLEY HYDRO |  |  | Planned | 39.50 | 39.50 | PGAE North | CISO
CALGEN_1_UNITS |  | Coso Navy 1 |  |  | Forced | 55.00 | 7.00 | SCE Gen | CISO
CAMCHE_1_PL1X3 |  | CAMANCHE UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Forced | 9.99 | 9.09 | PGAE Gen | CISO
CAMPFW_7_FARWST |  | CAMP FAR WEST HYDRO |  |  | Forced | 6.80 | 6.80 | PGAE Gen | CISO
CAPWD_1_QF |  | Edom Hills Wind Farm |  |  | Forced | 19.55 | 19.55 | SCE Gen | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Forced | 422.00 | 422.00 | SDGE Gen | CISO
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 105.50 | SDGE Gen | CISO
CASCES_6_CESBT1 |  | Cascade Energy Storage |  |  | Forced | 25.00 | 25.00 | PGAE Gen | CISO
CASCES_6_CESBT2 |  | Cascade Energy Storage Expansion |  |  | Forced | 20.00 | 20.00 | PGAE Gen | CISO
CASPP_2_UNIT_2 |  | Castaic Power Plant UNIT 2 |  |  | Planned | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_5 |  | Castaic Power Plant UNIT 5 |  |  | Planned | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_6 |  | Castaic Power Plant UNIT 6 |  |  | Forced | 238.00 | 18.00 | LADWP Gen | LADWP
CASPP_2_UNIT_7 |  | Castaic Power Plant UNIT 7 |  |  | Forced | 56.00 | 56.00 | LADWP Gen | LADWP
CAYTNO_2_VASCO |  | Vasco Road |  |  | Forced | 4.30 | 4.30 | PGAE Gen | CISO
CEDRCK_6_UNIT |  | Water Wheel Ranch |  |  | Forced | 0.98 | 0.98 | PGAE Gen | CISO
CENT40_1_C40SR1 |  | CENTRAL 40 |  |  | Forced | 40.00 | 40.00 | PGAE Gen | CISO
CENTER_6_PEAKER |  | Center Peaker |  |  | Planned | 47.30 | 47.30 | SCE Gen | CISO
CHALK_1_UNIT |  | CHALK CLIFF LIMITED |  |  | Forced | 48.67 | 1.67 | PGAE Gen | CISO
CHEVMN_2_UNITS |  | CHEVRON U.S.A. UNITS 1 &amp; 2 AGGREGATE |  |  | Planned | 124.87 | 124.87 | SCE Gen | CISO
CIG_6_PKR |  | Carson ICE Gas Turbine Peaker |  |  | Planned | 41.00 | 41.00 | BANC Gen | BANC
CIG_6_PKR |  | Carson ICE Gas Turbine Peaker |  |  | Planned | 41.00 | 41.00 | EIM SMUD | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Planned | 61.00 | 61.00 | BANC Gen | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Planned | 61.00 | 61.00 | EIM SMUD | BANC
CLOVER_2_UNIT |  | Clover Creek |  |  | Forced | 0.99 | 0.99 | PGAE Gen | CISO
CMS3PP_5_SOLAR |  | Copper Mountain Solar 3 |  |  | Planned | 210.00 | 210.00 | LADWP Gen | LADWP
COCOPP_2_CTG1 |  | Marsh Landing 1 |  |  | Forced | 204.20 | 1.15 | PGAE South | CISO
COCOPP_2_CTG2 |  | Marsh Landing 2 |  |  | Forced | 202.70 | 0.51 | PGAE South | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 7.21 | PGAE South | CISO
COCOPP_2_CTG4 |  | Marsh Landing 4 |  |  | Forced | 204.29 | 0.64 | PGAE South | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Planned/Forced | 176.72 | 176.72 | PGAE North | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Planned | 175.67 | 175.67 | PGAE North | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 23.70 | PGAE North | CISO
CONTRL_1_CASAD2 |  | Mammoth G2 |  |  | Forced | 10.50 | 0.30 | SCE Gen | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Planned/Forced | 3.00 | 3.00 | SCE Gen | CISO
CONTRL_1_POOLE |  | POOLE HYDRO PLANT 1 |  |  | Planned | 11.07 | 11.07 | SCE Gen | CISO
COPMTN_2_SOLAR1 |  | Copper Mountain 48 |  |  | Forced | 48.00 | 3.50 | SCE Gen | CISO
CORCAN_1_SOLAR1 |  | CID Solar |  |  | Forced | 20.00 | 2.00 | PGAE Gen | CISO
CORONS_6_CLRWTR |  | Clearwater Power Plant |  |  | Planned | 28.00 | 28.00 | SCE Gen | CISO
CORRAL_6_SJOAQN |  | Ameresco San Joaquin |  |  | Forced | 4.30 | 4.30 | PGAE Gen | CISO
COVERD_2_HCKHY1 |  | HATCHET CREEK |  |  | Forced | 6.89 | 6.89 | PGAE Gen | CISO
COWCRK_2_UNIT |  | Cow Creek Hydro |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
HATRDG_2_WIND |  | Hatchet Ridge Wind Farm |  |  | Forced | 102.00 | 0.90 | PGAE Gen | CISO
MONTPH_7_UNITS |  | MONTICELLO HYDRO AGGREGATE |  |  | Forced | 12.50 | 11.00 | PGAE Gen | CISO
ZOND_6_UNIT |  | ZOND WINDSYSTEMS INC. |  |  | Forced | 17.10 | 17.10 | PGAE Gen | CISO
ANGELA_1_ANGBT1 |  | Angela BESS |  |  | Forced | 20.00 | 20.00 |  | CISO
ARLVAL_5_SMTSR1 |  | Saddle Mountain Solar |  |  | Forced | 125.00 | 125.00 |  | CISO
ATLASC_5_ACBBT2 |  | Atlas Complex 7A BESS |  |  | Forced | 180.00 | 180.00 |  | CISO
ATLASC_5_ACBBT3 |  | Atlas Complex 7B BESS |  |  | Forced | 120.00 | 120.00 |  | CISO
ATLASC_5_ACBBT6 |  | Atlas Complex 9 BESS |  |  | Forced | 150.00 | 150.00 |  | CISO
CLARIBEL_6_EROCKGEN |  | Enchanted Rock Claribel |  |  | Forced | 47.97 | 47.97 |  | BANC
CMRRON_2_CMNWD1 |  | Cimarron Wind |  |  | Forced | 300.00 | 143.50 |  | CISO
DONPEDRO_6_MIDUNIT1 |  | Don Pedro Generation Station Unit 1 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT2 |  | Don Pedro Generation Station Unit 2 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT3 |  | Don Pedro Generation Station Unit 3 |  |  | Forced | 55.00 | 7.10 |  | BANC
DONPEDRO_6_MIDUNIT4 |  | Don Pedro Generation Station Unit 4 |  |  | Forced | 38.00 | 38.00 |  | BANC
DSFLWR_2_W9CSB1 |  | Willy 9 Chap 1 |  |  | Forced | 102.00 | 102.00 |  | CISO
ETIWND_6_INEBT1 |  | Inland Empire Energy Storage |  |  | Forced | 70.00 | 3.00 |  | CISO
FILIPPI_2_QZSBTX |  | Quartzite Solar 8 BESS |  |  | Forced | 147.60 | 147.60 |  | CISO
GRNITE_6_ESCBT1 |  | EnerSmart El Cajon |  |  | Forced | 3.00 | 3.00 |  | CISO
HAMLIN_1_BLDSB1 |  | Baldy Mesa Hybrid |  |  | Forced | 150.00 | 5.00 |  | CISO
HUMBRD_1_HMBBT1 |  | Hummingbird Energy Storage |  |  | Forced | 75.00 | 75.00 |  | CISO
INTGS_3_CC_3 |  | Intermountain Generating Station UNITS |  |  | Planned | 339.00 | 339.00 |  | LADWP
INTGS_3_CC_3_UAM |  | Intermountain Generating Station UNITS |  |  | Planned | 1.00 | 1.00 |  | LADWP
INTGS_3_CC_4 |  | Intermountain Generating Station UNITS |  |  | Forced | 339.00 | 261.00 |  | LADWP
INTMNT_3_CC_3_ANAHEIM |  | Intermountain Generating Station UNITS |  |  | Forced | 67.00 | 67.00 |  | CISO
INTMNT_3_CC_3_PASADENA |  | Intermountain; Unit 3 PASA Share |  |  | Forced | 29.00 | 29.00 |  | CISO
INTMNT_3_CC_3_RIVERSIDE |  | Intermountain; Unit 3 RVS Share |  |  | Forced | 37.09 | 37.09 |  | CISO
INTMNT_3_CC_4_ANAHEIM |  | Intermountain Generating Station UNITS |  |  | Forced | 67.00 | 67.00 |  | CISO
INTMNT_3_CC_4_PASADENA |  | INTMNT_PASA_UNIT4 |  |  | Forced | 29.00 | 29.00 |  | CISO
INTMNT_3_CC_4_RIVERSIDE |  | Intermountain; Unit 4 RVS Share |  |  | Forced | 38.86 | 1.77 |  | CISO
LAFRES_2_ESHSR1 |  | El Segundo Hawthorne |  |  | Forced | 0.64 | 0.64 |  | CISO
NITHWK_1_NHSBT1 |  | Nighthawk Storage |  |  | Forced | 300.00 | 300.00 |  | CISO
OTAY_6_ECVBT2 |  | Chula Vista 2 |  |  | Forced | 3.00 | 1.20 |  | CISO
HAYGS_2_CC8_9_10 |  | Haynes Generating Station Combined Cycle |  |  | Forced | 575.00 | 55.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_1 |  | Haynes Generating Station UNIT 1 |  |  | Planned/Forced | 222.00 | 222.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_2 |  | Haynes Generating Station UNIT 2 |  |  | Planned | 222.00 | 222.00 | LADWP Gen | LADWP
HAYPRS_6_HAYHD1 |  | Haypress Lower |  |  | Forced | 5.80 | 5.80 | PGAE Gen | CISO
HAYPRS_6_HAYHD2 |  | Haypress Middle |  |  | Forced | 6.70 | 6.70 | PGAE Gen | CISO
HELMPG_7_UNIT 3 |  | HELMS PUMP-GEN UNIT 3 |  |  | Forced | 404.00 | 404.00 | PGAE South | CISO
HENRTA_6_HDEBT1 |  | Henrietta D Energy Storage |  |  | Forced | 10.00 | 1.94 | PGAE Gen | CISO
HENRTA_6_SOLAR1 |  | Lemoore 1 |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
HNTGBH_7_UNIT 2 |  | HUNTINGTON BEACH GEN STA. UNIT 2 |  |  | Forced | 226.84 | 226.84 | SCE Gen | CISO
HOOVER_2_LDWP |  | Hoover Power Plant - LADWP Share |  |  | Forced | 537.00 | 332.00 | LADWP Gen | LADWP
HUMBPP_6_UNITS |  | Humboldt Bay Generating Station 1 |  |  | Planned | 97.62 | 16.27 | PGAE North | CISO
HYTTHM_2_UNITS |  | HYATT-THERMALITO PUMP-GEN (AGGREGATE) |  |  | Forced | 933.10 | 818.10 | PGAE Gen | CISO
INTGS_3_PP |  | Intermountain Generating Station UNITS |  |  | Forced | 583.00 | 583.00 | LADWP Gen | LADWP
INTGS_3_UAM |  | Intermountain Generating Station UNITS |  |  | Forced | 72.00 | 72.00 | LADWP Gen | LADWP
INTMNT_3_ANAHEIM |  | Intermountain Power Project |  |  | Forced | 234.00 | 234.00 | SCE Gen | CISO
IVANPA_1_UNIT1 |  | Ivanpah 1 |  |  | Forced | 126.00 | 126.00 | SCE Gen | CISO
IVANPA_1_UNIT3 |  | Ivanpah 3 |  |  | Forced | 133.00 | 133.00 | SCE Gen | CISO
IVWEST_2_SOLAR1 |  | Imperial Valley West ( Q # 608) |  |  | Forced | 150.00 | 7.00 | SDGE Gen | CISO
JANCRK_6_RCABT1 |  | Redwood Coast Airport Microgrid |  |  | Planned | 1.75 | 1.75 | PGAE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 7.00 | SCE Gen | CISO
JAWBNE_2_SRWND |  | Sky River Wind Repower A |  |  | Forced | 30.00 | 9.00 | SCE Gen | CISO
JAWBNE_2_SRWWD2 |  | Sky River Wind Repower B |  |  | Forced | 30.20 | 6.20 | SDGE Gen | CISO
JAY_2_UNIT1 |  | Jaybird Powerhouse Unit 1 |  |  | Planned/Forced | 76.00 | 76.00 | BANC Gen | BANC
JAY_2_UNIT1 |  | Jaybird Powerhouse Unit 1 |  |  | Planned/Forced | 76.00 | 76.00 | EIM SMUD | BANC
JOHANN_2_OCEBT2 |  | Orange County Energy Storage 2 |  |  | Forced | 9.00 | 9.00 | SCE Gen | CISO
JOHANN_2_OCEBT3 |  | Orange County Energy Storage 3 |  |  | Forced | 6.00 | 6.00 | SCE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 7.29 | PGAE Gen | CISO
KERMAN_6_SOLAR1 |  | Fresno Solar South |  |  | Forced | 1.50 | 1.50 | PGAE South | CISO
KIRKER_7_KELCYN |  | KELLER CANYON LANDFILL GEN FACILICITY |  |  | Forced | 3.56 | 3.56 | PGAE South | CISO
KNGBRD_2_SOLAR1 |  | Kingbird Solar A |  |  | Forced | 20.00 | 4.00 | SCE Gen | CISO
KNTSTH_6_SOLAR |  | Kent South |  |  | Forced | 20.00 | 2.00 | PGAE South | CISO
KOLA_2_KLBBT1 |  | Kola |  |  | Forced | 275.00 | 275.00 | PGAE Gen | CISO
KOLA_2_KLBBT2 |  | Kola BESS 2 |  |  | Forced | 125.00 | 125.00 | PGAE Gen | CISO
MOSSLD_2_PSP1 |  | MOSS LANDING POWER BLOCK 1 |  |  | Forced | 510.00 | 260.00 | PGAE South | CISO
MRCHNT_2_PL1X3 |  | Desert Star Energy Center |  |  | Planned/Forced | 494.58 | 494.58 | SDGE Gen | CISO
MRGT_6_TGEBT1 |  | Top Gun Energy Storage |  |  | Forced | 30.00 | 3.50 | SDGE Gen | CISO
MSOLAR_2_SOLAR2 |  | Mesquite Solar 2 |  |  | Forced | 100.81 | 1.83 | SDGE Gen | CISO
MSTANG_2_SOLAR3 |  | Mustang 3 |  |  | Forced | 40.00 | 20.16 | PGAE Gen | CISO
MSTANG_2_SOLAR4 |  | Mustang 4 |  |  | Forced | 30.00 | 14.60 | PGAE Gen | CISO
MTNPOS_1_UNIT |  | MT.POSO COGENERATION CO. |  |  | Forced | 46.64 | 46.64 | PGAE South | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Forced | 12.00 | 4.70 | PGAE North | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Forced | 55.00 | 52.40 | PGAE North | CISO
NCPA_7_GP1UN2 |  | NCPA GEO PLANT 1 UNIT 2 |  |  | Planned | 50.00 | 50.00 | PGAE Gen | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
NEENCH_6_SOLAR |  | Alpine Solar |  |  | Forced | 66.00 | 8.00 | SCE Gen | CISO
NWCSTL_7_UNIT 1 |  | NEWCASTLE HYDRO |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
OAKWD_6_QF |  | Oak Creek |  |  | Forced | 27.87 | 1.35 | SCE Gen | CISO
OBERON_5_O1BBX2 |  | Oberon 1 BESS |  |  | Planned | 125.00 | 125.00 | SCE Gen | CISO
OBERON_5_O1SSR3 |  | Oberon 1B Solar |  |  | Planned | 100.00 | 100.00 | SCE Gen | CISO
OBERON_5_O1SSX2 |  | Oberon 1A Solar |  |  | Planned | 150.00 | 150.00 | SCE Gen | CISO
OBERON_5_O2BBX2 |  | Oberon 2 BESS |  |  | Planned | 125.00 | 125.00 | SCE Gen | CISO
OBERON_5_O2SSR4 |  | Oberon 2A Solar |  |  | Planned | 125.00 | 125.00 | SCE Gen | CISO
OBERON_5_O2SSR5 |  | Oberon 2B Solar |  |  | Planned | 125.00 | 125.00 | SCE Gen | CISO
OCTILO_5_WIND |  | Ocotillo Wind Energy Facility |  |  | Forced | 265.00 | 44.20 | SDGE Gen | CISO
OGPP_2_OG |  | Owens Gorge Power Plant |  |  | Planned/Forced | 110.00 | 110.00 | LADWP Gen | LADWP
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 3.61 | PGAE South | CISO
OLSEN_2_UNIT |  | OLSEN POWER PARTNERS |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
OMAR_2_UNIT 3 |  | KERN RIVER COGENERATION CO. UNIT 3 |  |  | Planned | 75.00 | 75.00 | SCE Gen | CISO
ORLND_6_HIGHLI |  | High Line Canal Hydro |  |  | Forced | 0.50 | 0.50 | PGAE Gen | CISO
ORMOND_7_UNIT 1 |  | ORMOND BEACH GEN STA. UNIT 1 |  |  | Planned/Forced | 741.27 | 741.27 | SCE Gen | CISO
ORMOND_7_UNIT 2 |  | ORMOND BEACH GEN STA. UNIT 2 |  |  | Planned/Forced | 750.00 | 750.00 | SCE Gen | CISO
OROVIL_6_UNIT |  | Oroville Cogeneration, LP |  |  | Forced | 7.50 | 0.50 | PGAE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Forced | 603.68 | 15.68 | SDGE Gen | CISO
OXBOW_6_DRUM |  | OXBOW HYDRO |  |  | Forced | 5.80 | 0.30 | PGAE North | CISO
OXMTN_6_LNDFIL |  | Ox Mountain Landfill Generating Plant |  |  | Forced | 10.62 | 1.42 | PGAE South | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 23.80 | PGAE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 23.80 | PGAE North | CISO
PADUA_7_SDIMAS |  | San Dimas Wash Hydro |  |  | Forced | 1.05 | 1.05 | SCE Gen | CISO
PARDEB_6_UNITS |  | Pardee Power House |  |  | Planned | 30.00 | 10.00 | PGAE Gen | CISO
PEORIA_1_SOLAR |  | Sonora 1 |  |  | Planned/Forced | 1.50 | 1.00 | PGAE Gen | CISO
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Planned/Forced | 198.51 | 198.51 | PGAE Gen | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 3.46 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Planned/Forced | 112.70 | 22.70 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Planned | 112.00 | 112.00 | SDGE Gen | CISO
PIT3_7_PL1X3 |  | PIT PH 3 UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Planned | 70.60 | 70.60 | PGAE North | CISO
PIT5_7_PL3X4 |  | PIT PH 5 UNITS 3 &amp; 4 AGGREGATE |  |  | Forced | 82.00 | 42.00 | PGAE North | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 2.00 | PGAE North | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 3.00 | PGAE North | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 2.27 | PGAE North | CISO
PIT7_7_UNIT 2 |  | PIT PH 7 UNIT 2 |  |  | Forced | 54.60 | 1.17 | PGAE North | CISO
SLUISP_2_UNITS |  | SAN LUIS (GIANELLI) PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 374.43 | 214.43 | PGAE Gen | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Forced | 64.80 | 11.80 | PGAE Gen | CISO
SNCLRA_2_HOWLNG |  | Houwelings Nurseries Oxnard, Inc |  |  | Forced | 12.71 | 9.51 | SCE Gen | CISO
SNCLRA_2_SILBT1 |  | Silverstrand BESS |  |  | Forced | 11.00 | 11.00 | SCE Gen | CISO
SNCLRA_2_VESBT1 |  | Ventura Energy Storage |  |  | Forced | 100.00 | 14.00 | SCE Gen | CISO
SPAULD_6_UNIT12 |  | SPAULDING HYDRO PH 1 &amp; 2 AGGREGATE |  |  | Forced | 11.40 | 4.40 | PGAE North | CISO
SPBURN_7_SNOWMT |  | Burney Creek Hydro |  |  | Forced | 3.00 | 3.00 | PGAE North | CISO
SPIAND_1_ANDSN2 |  | SPI Anderson 2 |  |  | Forced | 27.15 | 27.15 | PGAE Gen | CISO
SPIFBD_1_PL1X2 |  | SIERRA PACIFIC IND. (SONORA) |  |  | Forced | 7.50 | 7.50 | PGAE Gen | CISO
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Forced | 2.50 | 2.50 | SCE Gen | CISO
STIGCT_2_LODI |  | LODI STIG UNIT |  |  | Planned | 49.90 | 49.90 | PGAE Gen | CISO
SUMWHT_6_SWSSR1 |  | Summer Wheat Solar Farm |  |  | Forced | 18.50 | 3.50 | PGAE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Forced | 586.02 | 13.87 | PGAE Gen | CISO
SUNSET_2_UNITS |  | MIDWAY SUNSET COGENERATION PLANT |  |  | Forced | 248.00 | 17.00 | PGAE South | CISO
SUNSHN_2_LNDFL |  | Sunshine Gas Producers |  |  | Forced | 20.00 | 7.00 | SCE Gen | CISO
SUTTER_2_CISO |  | Sutter Power Plant Pseudo-CISO |  |  | Forced | 275.00 | 1.00 | PGAE Gen | CISO
SUTTER_2_PSEUDOBANC |  | SUTTER_2_PSEUDOBANC |  |  | Forced | 275.00 | 17.00 | BANC Gen | BANC
SYCAMR_2_UNIT 2 |  | Sycamore Cogeneration Unit 2 |  |  | Planned | 76.00 | 76.00 | SCE Gen | CISO
SYCAMR_2_UNIT 4 |  | Sycamore Cogeneration Unit 4 |  |  | Planned | 76.00 | 76.00 | SCE Gen | CISO
SZWDN_3_SZWX6 |  | SunZia Wind North |  |  | Forced | 1089.00 | 1089.00 | GRIDC Gen | CISO
SZWDS_3_SZWX14 |  | SunZia Wind South |  |  | Forced | 2561.20 | 2541.70 | GRIDC Gen | CISO
TAHOE_2_THOBT1 |  | Tahoe 1 |  |  | Forced | 60.04 | 3.64 | SCE Gen | CISO
TEHAPI_2_PW2WD2 |  | Point Wind 2 |  |  | Forced | 14.40 | 3.60 | SCE Gen | CISO
TENGEN_2_PL1X2 |  | Placerita Canyon Cogen |  |  | Forced | 37.70 | 19.70 | SCE Gen | CISO
TKOPWR_6_HYDRO |  | Bear Creek Hydroelectric Project |  |  | Forced | 2.83 | 2.83 | PGAE Gen | CISO
TOADTW_6_UNIT |  | TOAD TOWN |  |  | Forced | 1.50 | 1.50 | PGAE North | CISO
TRNQL8_2_ROJSR1 |  | Tranquillity 8 Rojo |  |  | Forced | 100.00 | 17.50 | PGAE Gen | CISO
TRNQLT_2_SOLAR |  | Tranquillity |  |  | Forced | 200.00 | 1.83 | PGAE Gen | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 28.97 | SCE Gen | CISO
TUMBWD_2_WISBT3 |  | Willow Springs Solar 3 |  |  | Planned | 50.00 | 8.00 | SCE Gen | CISO
TUPMAN_1_BIOGAS |  | ABEC Bidart-Stockale #1 |  |  | Forced | 0.60 | 0.60 | PGAE Gen | CISO
TWISSL_6_SOLAR1 |  | Coronal Lost Hills |  |  | Forced | 20.00 | 6.00 | PGAE Gen | CISO
TX-ELK_6_SOLAR1 |  | Castor |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
ULTPFR_1_UNIT 1 |  | Rio Bravo Fresno |  |  | Forced | 24.30 | 24.30 | PGAE South | CISO
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Forced | 46.00 | 4.00 | BANC Gen | BANC
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Forced | 46.00 | 4.00 | EIM SMUD | BANC
USWND2_1_WIND1 |  | Golden Hills A |  |  | Forced | 42.96 | 5.46 | PGAE Gen | CISO
USWND2_1_WIND2 |  | Golden Hills B |  |  | Forced | 42.96 | 5.37 | PGAE Gen | CISO
USWND2_1_WIND3 |  | Golden Hills C |  |  | Forced | 46.00 | 4.60 | PGAE Gen | CISO
USWNDR_2_LABWD1 |  | LaBrisa Wind Project |  |  | Forced | 9.00 | 1.50 | PGAE Gen | CISO
USWPFK_6_FRICK |  | Frick Summit Wind Repower |  |  | Planned | 10.00 | 10.00 | PGAE Gen | CISO
USWPJR_2_UNITS |  | Vasco Wind |  |  | Planned/Forced | 78.20 | 78.20 | PGAE Gen | CISO
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 12.47 | PGAE Gen | CISO
VERNON_6_MALBRG |  | Malburg Generating Station |  |  | Planned | 139.00 | 139.00 | SCE Gen | CISO
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 22.00 | BANC Gen | BANC
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 22.00 | EIM SMUD | BANC
CPVERD_2_SOLAR |  | Campo Verde Solar |  |  | Forced | 139.00 | 139.00 | SDGE Gen | CISO
CRESTA_7_PL1X2 |  | CRESTA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Planned/Forced | 70.40 | 35.20 | PGAE North | CISO
CRIMSN_2_CRMBT1 |  | Crimson |  |  | Planned/Forced | 200.00 | 50.00 | SCE Gen | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Forced | 3.20 | 3.20 | PGAE Gen | CISO
CROKET_7_UNIT |  | CROCKETT COGEN |  |  | Forced | 240.00 | 240.00 | PGAE North | CISO
CRSTWD_6_KUMYAY |  | Kumeyaay Wind Farm |  |  | Forced | 50.00 | 2.00 | SDGE Gen | CISO
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 1.00 | BANC Gen | BANC
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 1.00 | EIM SMUD | BANC
CSTRVL_7_PL1X2 |  | Marina Land Fill Gas |  |  | Forced | 4.53 | 4.53 | PGAE South | CISO
CUMBIA_1_SOLAR |  | Columbia Solar Energy II |  |  | Forced | 19.00 | 9.00 | PGAE Gen | CISO
CUMMNG_6_SUNCT1 |  | SunSelect 1 |  |  | Forced | 4.00 | 4.00 | SCE Gen | CISO
DAIRLD_1_CR1BM1 |  | Clapper Rail Plant 1 |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Planned | 0.80 | 0.80 | PGAE Gen | CISO
DAVIS_1_SOLAR1 |  | Grasslands 3 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
DAVIS_1_SOLAR2 |  | Grasslands 4 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
DEADCK_1_UNIT |  | DEADCK_1_UNIT |  |  | Forced | 1.96 | 1.96 | PGAE Gen | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 15.00 | PGAE Gen | CISO
DEXZEL_1_UNIT |  | Western Power and Steam Cogeneration |  |  | Forced | 20.00 | 20.00 | PGAE Gen | CISO
DIXNLD_1_LNDFL |  | Zero Waste Energy |  |  | Forced | 1.60 | 1.60 | PGAE Gen | CISO
DONNLS_7_UNIT |  | Donnells Hydro |  |  | Planned | 72.00 | 72.00 | PGAE Gen | CISO
DONPEDRO_6_UNIT4 |  | Don Pedro Unit 4 |  |  | Planned | 38.00 | 38.00 | TID Gen | TIDC
DRACKR_2_DSUBT2 |  | Dracker Solar Unit 2 BESS |  |  | Forced | 115.00 | 1.00 | SCE Gen | CISO
DRACKR_2_DSUBT4 |  | Dracker Solar Unit 4 BESS |  |  | Forced | 47.00 | 46.72 | SCE Gen | CISO
DRUM_7_UNIT 5 |  | DRUM PH 2 UNIT 5 |  |  | Planned | 50.00 | 50.00 | PGAE North | CISO
DSABLA_7_UNIT |  | De Sabla Hydro |  |  | Forced | 18.50 | 18.50 | PGAE North | CISO
DTCHWD_2_BT3WND |  | Brookfield Tehachapi 3 |  |  | Planned/Forced | 4.50 | 3.00 | SCE Gen | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 7.80 | PGAE South | CISO
DVLCYN_1_UNITS |  | DEVIL CANYON HYDRO UNITS 1-4 AGGREGATE |  |  | Planned | 235.00 | 15.00 | SCE Gen | CISO
DYERSM_6_DSWWD1 |  | Dyer Summit Wind Repower |  |  | Forced | 44.80 | 2.30 | PGAE Gen | CISO
EASTWD_7_UNIT |  | EASTWOOD PUMP-GEN |  |  | Planned/Forced | 200.00 | 200.00 | SCE Gen | CISO
EDWARD_2_ESSSB2 |  | Sanborn Solar 2 |  |  | Forced | 132.00 | 132.00 | SCE Gen | CISO
ELCAJN_6_EB1BT1 |  | Eastern BESS 1 |  |  | Planned/Forced | 7.50 | 3.00 | SDGE Gen | CISO
ELCEN92_6_ELSTM.2AGG |  | ELCEN92_6_ELSTM.2AGG |  |  | Planned | 105.00 | 105.00 | IID Gen | IID
ELDORO_7_UNIT 1 |  | El Dorado Unit 1 |  |  | Planned | 11.00 | 3.50 | PGAE North | CISO
ELKCRK_6_STONYG |  | STONEY GORGE HYDRO AGGREGATE |  |  | Forced | 4.90 | 4.90 | PGAE Gen | CISO
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Planned | 551.70 | 551.70 | PGAE Gen | CISO
RDGPOWER_1_UNIT2 |  | REDDING GT 2 |  |  | Forced | 26.00 | 3.00 |  | BANC
RDGPOWER_1_UNIT3 |  | REDDING GT 3 |  |  | Forced | 26.00 | 2.00 |  | BANC
RDGPOWER_1_UNIT4-6 |  | REDDING CC 4-6 |  |  | Forced | 126.00 | 16.00 |  | BANC
REP_6_UNITS |  | Roseville Energy Park |  |  | Forced | 164.00 | 164.00 |  | BANC
RIPON_6_RGSUNIT1 |  | Ripon Generation Station Unit 1 |  |  | Planned/Forced | 48.00 | 48.00 |  | BANC
RIPON_6_RGSUNIT2 |  | Ripon Generation Station Unit 2 |  |  | Planned | 46.00 | 46.00 |  | BANC
RPP2_6_CTG1 |  | Roseville Power Plant 2 CT1 |  |  | Planned | 24.00 | 24.00 |  | BANC
RPP2_6_CTG2 |  | Roseville Power Plant 2 CT2 |  |  | Planned | 24.00 | 24.00 |  | BANC
SCARLT_2_SSASR1 |  | Scarlet Solar CA 1A PV |  |  | Forced | 100.00 | 100.00 |  | CISO
SCEW_2_PDRP190 |  | CBP-3-W |  |  | Forced | 1.41 | 1.41 |  | CISO
SCHD_1_PDRP71 |  | CBP-3-HD |  |  | Forced | 0.65 | 0.65 |  | CISO
SHANDN_2_SBBBM1 |  | San Bernardino Biogas |  |  | Forced | 2.60 | 2.60 |  | CISO
SNCLRA_2_BWEBT1 |  | Black Walnut Energy Storage |  |  | Planned/Forced | 15.00 | 15.00 |  | CISO
STANTN_2_SBEBX2 |  | Stanton Battery Energy Storage |  |  | Forced | 68.80 | 4.90 |  | CISO
TVYVLY_6_KRSHY1 |  | Kings River Syphon |  |  | Forced | 1.30 | 1.30 |  | CISO
VESTAL_2_TS5SR1 |  | Tulare Solar 5 |  |  | Forced | 55.83 | 2.83 |  | CISO
VIKING_2_VCSSR1 |  | VIKINGS CO-LOCATED PV |  |  | Planned | 132.10 | 132.10 |  | CISO
WALNUTEC_1_UNITS |  | WEC Combined Cycle |  |  | Planned | 253.00 | 253.00 |  | TIDC
WSTWND_2_M89WD2 |  | Mojave 89 Wind |  |  | Forced | 58.30 | 29.50 |  | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
BANC | 22 |  | 11 | 6
IID | 0 |  | 1 | 0
LADWP | 14 |  | 6 | 6
CISO | 313 |  | 49 | 32
TIDC | 4 |  | 2 | 0
Grand Total | 353 |  | 69 | 44
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
BANC | 5818.97 |  | 2220.07
CISO | 42217.92 |  | 23905.67
IID | 105 |  | 105
LADWP | 5707 |  | 3751.2
TIDC | 337.8 |  | 337.8
Grand Total | 54186.69 |  | 30319.74
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.