## Curtailed
Report Generated on : 01/24/2026 07:30:01 (PPT)
Trade Date: 01/24/2026
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
BRDSLD_2_SHLO3B |  | Shiloh IV Wind Project |  |  | Forced | 100.00 | 1.60 | PGAE Gen | CISO
UCD_1_PL |  | UC Davis MFD Center |  |  | Forced | 26.50 | 26.50 | BANC Gen | BANC
OTAY_6_CVEBT3 |  | Chula Vista Energy Center 2 BESS |  |  | Forced | 49.70 | 49.70 |  | CISO
PANERO_2_MWPWD1 |  | Mesa Wind Project |  |  | Planned | 30.00 | 15.43 |  | CISO
RDGPOWER_1_UNIT2 |  | REDDING GT 2 |  |  | Forced | 26.00 | 2.00 |  | BANC
RDGPOWER_1_UNIT3 |  | REDDING GT 3 |  |  | Forced | 26.00 | 2.00 |  | BANC
RDGPOWER_1_UNIT4-6 |  | REDDING CC 4-6 |  |  | Forced | 126.00 | 16.00 |  | BANC
RECTOR_2_SRBBT1 |  | Shirk Road ESS |  |  | Forced | 80.00 | 80.00 |  | CISO
REP_6_UNITS |  | Roseville Energy Park |  |  | Forced | 164.00 | 164.00 |  | BANC
RIPON_6_RGSUNIT1 |  | Ripon Generation Station Unit 1 |  |  | Forced | 48.00 | 48.00 |  | BANC
RPP2_6_CTG1 |  | Roseville Power Plant 2 CT1 |  |  | Planned | 24.00 | 24.00 |  | BANC
RPP2_6_CTG2 |  | Roseville Power Plant 2 CT2 |  |  | Planned | 24.00 | 24.00 |  | BANC
SCEW_2_PDRP190 |  | CBP-3-W |  |  | Forced | 1.41 | 1.41 |  | CISO
SCHD_1_PDRP71 |  | CBP-3-HD |  |  | Forced | 0.65 | 0.65 |  | CISO
SEAWND_2_AMWWD1 |  | Alta Mesa Wind |  |  | Planned/Forced | 27.00 | 13.84 |  | CISO
SHANDN_2_SBBBM1 |  | San Bernardino Biogas |  |  | Forced | 2.60 | 2.60 |  | CISO
STANTN_2_SBEBX2 |  | Stanton Battery Energy Storage |  |  | Forced | 68.80 | 5.50 |  | CISO
TULRLK_6_UTASR1 |  | Utica Avenue Solar |  |  | Forced | 3.00 | 0.40 |  | CISO
TVYVLY_6_KRSHY1 |  | Kings River Syphon |  |  | Forced | 1.30 | 1.30 |  | CISO
VALLEY_5_ORTBT1 |  | Ortega Grid |  |  | Forced | 20.00 | 1.30 |  | CISO
VALTNE_2_TSBBT2 |  | Tropico Solar B |  |  | Planned | 22.00 | 6.00 |  | CISO
VENTSO_6_VENBT1 |  | Ventasso Energy Storage |  |  | Forced | 50.00 | 50.00 |  | CISO
WALNUTEC_1_UNITS |  | WEC Combined Cycle |  |  | Forced | 253.00 | 41.00 |  | TIDC
WSTWND_2_M89WD2 |  | Mojave 89 Wind |  |  | Forced | 58.30 | 11.20 |  | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 11.00 | PGAE Gen | CISO
DONNLS_7_UNIT |  | Donnells Hydro |  |  | Forced | 72.00 | 2.50 | PGAE Gen | CISO
DONPEDRO_6_UNIT1 |  | Don Pedro Unit 1 |  |  | Planned | 55.00 | 55.00 | TID Gen | TIDC
DONPEDRO_6_UNIT2 |  | Don Pedro Unit 2 |  |  | Planned | 55.00 | 55.00 | TID Gen | TIDC
DONPEDRO_6_UNIT4 |  | Don Pedro Unit 4 |  |  | Planned | 38.00 | 38.00 | TID Gen | TIDC
DOUBLC_1_UNITS |  | DOUBLE C LIMITED |  |  | Forced | 52.23 | 0.23 | PGAE South | CISO
DSRTHV_2_DH2BT1 |  | Desert Harvest BESS |  |  | Forced | 35.00 | 1.79 | SCE Gen | CISO
DTCHWD_2_BT3WND |  | Brookfield Tehachapi 3 |  |  | Forced | 4.50 | 1.50 | SCE Gen | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 7.80 | PGAE South | CISO
DVLCYN_1_UNITS |  | DEVIL CANYON HYDRO UNITS 1-4 AGGREGATE |  |  | Forced | 235.00 | 15.00 | SCE Gen | CISO
EASTWD_7_UNIT |  | EASTWOOD PUMP-GEN |  |  | Planned/Forced | 200.00 | 200.00 | SCE Gen | CISO
ELCAJN_6_EB1BT1 |  | Eastern BESS 1 |  |  | Planned/Forced | 7.50 | 3.00 | SDGE Gen | CISO
ELCEN92_6_ELSTM.2AGG |  | ELCEN92_6_ELSTM.2AGG |  |  | Forced | 105.00 | 105.00 | IID Gen | IID
ELECTR_7_PL1X3 |  | ELECTRA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Planned | 93.00 | 31.00 | PGAE North | CISO
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Forced | 551.70 | 24.70 | PGAE Gen | CISO
ELKHRN_1_EESX3 |  | Elkhorn Energy Storage |  |  | Forced | 182.50 | 182.50 | PGAE Gen | CISO
ESCNDO_6_EB1BT1 |  | Escondido BESS 1 |  |  | Planned | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB2BT2 |  | Escondido BESS 2 |  |  | Planned | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB3BT3 |  | Escondido BESS 3 |  |  | Planned | 10.00 | 10.00 | SDGE Gen | CISO
ETIWND_2_FONTNA |  | FONTANALYTLE CREEK POWERHOUSE P |  |  | Planned | 2.56 | 2.56 | SCE Gen | CISO
ETIWND_6_GRPLND |  | Grapeland Peaker |  |  | Forced | 45.86 | 0.22 | SCE Gen | CISO
FLOWD2_2_FPLWND |  | DIABLO WINDS |  |  | Forced | 18.00 | 1.32 | PGAE Gen | CISO
FOLSOM_7_UNITS |  | Folsom and Nimbus Aggregation |  |  | Forced | 224.00 | 94.00 | BANC Gen | BANC
GARNET_2_HYDRO |  | Whitewater Hydro |  |  | Forced | 1.00 | 1.00 | SCE Gen | CISO
GATEWY_2_GESBT1 |  | Gateway Energy Storage |  |  | Forced | 250.00 | 140.00 | SDGE Gen | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 53.11 | PGAE South | CISO
GENESI_2_STG |  | Genesis Station |  |  | Planned | 250.00 | 125.00 | SCE Gen | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Forced | 86.80 | 86.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Forced | 57.00 | 15.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 28.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 15.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 18.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Forced | 75.50 | 10.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 35.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 17.00 | PGAE Gen | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Forced | 120.00 | 14.00 | PGAE South | CISO
GLNARM_7_UNIT 1 |  | GLEN ARM UNIT 1 |  |  | Forced | 22.13 | 22.13 | SCE Gen | CISO
GLNARM_7_UNIT 4 |  | GLEN ARM UNIT 4 |  |  | Forced | 42.42 | 4.42 | SCE Gen | CISO
JOHANN_2_OCEBT2 |  | Orange County Energy Storage 2 |  |  | Forced | 9.00 | 9.00 | SCE Gen | CISO
JOHANN_2_OCEBT3 |  | Orange County Energy Storage 3 |  |  | Forced | 6.00 | 6.00 | SCE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 9.27 | PGAE Gen | CISO
KERKH2_7_UNIT 1 |  | KERKHOFF PH 2 UNIT #1 |  |  | Forced | 153.90 | 111.90 | PGAE South | CISO
KERMAN_6_SOLAR1 |  | Fresno Solar South |  |  | Forced | 1.50 | 1.50 | PGAE South | CISO
KERNFT_1_UNITS |  | KERN FRONT LIMITED |  |  | Forced | 52.40 | 0.40 | PGAE South | CISO
KERRGN_1_UNIT 1 |  | KERN RIVER HYDRO UNITS 1-4 AGGREGATE |  |  | Planned/Forced | 25.60 | 5.90 | SCE Gen | CISO
KINGCO_1_KINGBR |  | Kingsburg Cogen |  |  | Forced | 34.50 | 34.50 | PGAE South | CISO
KINGRV_7_UNIT 1 |  | KINGS RIVER HYDRO UNIT 1 |  |  | Forced | 51.20 | 29.20 | PGAE South | CISO
KIRKER_7_KELCYN |  | KELLER CANYON LANDFILL GEN FACILICITY |  |  | Forced | 3.56 | 3.56 | PGAE South | CISO
KNGBRD_2_SOLAR1 |  | Kingbird Solar A |  |  | Forced | 20.00 | 4.00 | SCE Gen | CISO
KNGCTY_6_UNITA1 |  | King City Energy Center, Unit 1 |  |  | Forced | 44.60 | 1.60 | PGAE Gen | CISO
LAKEVW_6_AFTBT1 |  | AFTW STORAGE |  |  | Forced | 1.14 | 1.14 | PGAE Gen | CISO
LAMONT_1_SOLAR2 |  | Redwood Solar Farm 4 |  |  | Forced | 20.00 | 20.00 | PGAE Gen | CISO
LAMONT_1_SOLAR3 |  | Woodmere Solar Farm |  |  | Forced | 14.99 | 1.69 | PGAE Gen | CISO
LAMONT_1_SOLAR4 |  | Hayworth Solar Farm |  |  | Forced | 26.66 | 3.66 | PGAE South | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 17.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Planned | 266.00 | 266.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 23.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 33.00 | PGAE Gen | CISO
LARKSP_6_UNIT 1 |  | LARKSPUR PEAKER UNIT 1 |  |  | Forced | 49.00 | 1.50 | SDGE Gen | CISO
LARKSP_6_UNIT 2 |  | LARKSPUR PEAKER UNIT 2 |  |  | Forced | 49.00 | 1.50 | SDGE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Forced | 322.00 | 17.00 | SDGE Gen | CISO
LEBECS_2_UNITS |  | Pastoria Energy Facility |  |  | Forced | 799.47 | 3.47 | SCE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 12.84 | PGAE South | CISO
LITLRK_6_SOLAR1 |  | Lancaster Little Rock C |  |  | Forced | 5.00 | 2.00 | SCE Gen | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 2.70 | PGAE South | CISO
LMBEPK_2_UNITA1 |  | Lambie Energy Center, Unit #1 |  |  | Forced | 47.50 | 6.50 | PGAE Gen | CISO
LMBEPK_2_UNITA2 |  | Creed Energy Center, Unit #1 |  |  | Forced | 47.60 | 2.60 | PGAE Gen | CISO
LMBEPK_2_UNITA3 |  | Goose Haven Energy Center, Unit #1 |  |  | Forced | 47.75 | 1.75 | PGAE Gen | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Forced | 580.00 | 580.00 | PGAE Gen | CISO
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 2.00 | PGAE Gen | CISO
LODI25_6_ERKNG1 |  | LODI STRATEGIC RESERVE |  |  | Forced | 47.97 | 47.97 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Forced | 302.58 | 19.58 | PGAE Gen | CISO
LOTUS_6_LSFSR1 |  | Lotus Solar Farm |  |  | Forced | 50.00 | 10.00 | PGAE Gen | CISO
LOWGAP_7_QFUNTS |  | Matthews Dam Hydro |  |  | Forced | 1.35 | 0.52 | PGAE North | CISO
MAGNLA_6_ANAHEIM |  | Magnolia Power Plant Anaheim |  |  | Forced | 115.00 | 115.00 | SCE Gen | CISO
MAGNLA_6_CERRITOS |  | Magnolia Power Plant Cerritos |  |  | Planned | 12.00 | 12.00 | SCE Gen | CISO
MAGNLA_6_COLTON |  | Magnolia Power Project |  |  | Forced | 12.00 | 12.00 | SCE Gen | CISO
MAGNLA_6_PASADENA |  | Magnolia Power Plant - PASADENA |  |  | Forced | 18.00 | 18.00 | SCE Gen | CISO
MARSHALL_7_EROCKUNIT1 |  | EROCK MARSHALL UNIT 1 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT2 |  | EROCK MARSHALL UNIT 2 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT3 |  | EROCK MARSHALL UNIT 3 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT4 |  | EROCK MARSHALL UNIT 4 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Forced | 126.00 | 7.00 | BANC Gen | BANC
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Forced | 126.00 | 7.00 | EIM SMUD | BANC
PHOENX_1_UNIT |  | PHOENIX PH |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Planned/Forced | 198.51 | 198.51 | PGAE Gen | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 3.17 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 3.39 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 3.43 | SDGE Gen | CISO
PIT4_7_PL1X2 |  | PIT PH 4 UNITS 1 &amp; 2 AGGREGATE |  |  | Planned/Forced | 95.00 | 88.90 | PGAE North | CISO
PIT5_7_PL1X2 |  | PIT PH 5 UNITS 1 &amp; 2 AGGREGATE |  |  | Planned | 82.00 | 82.00 | PGAE North | CISO
PIT5_7_PL3X4 |  | PIT PH 5 UNITS 3 &amp; 4 AGGREGATE |  |  | Forced | 82.00 | 3.00 | PGAE North | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 1.91 | PGAE North | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 2.91 | PGAE North | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 3.98 | PGAE North | CISO
PIT7_7_UNIT 2 |  | PIT PH 7 UNIT 2 |  |  | Forced | 54.60 | 2.88 | PGAE North | CISO
PNCHEG_2_PL1X4 |  | PANOCHE ENERGY CENTER (Aggregated) |  |  | Forced | 417.00 | 14.00 | PGAE Gen | CISO
POEPH_7_UNIT 2 |  | POE HYDRO UNIT 2 |  |  | Forced | 68.50 | 7.50 | PGAE North | CISO
PP_1_PP |  | PP1 UNIT 1A |  |  | Planned | 61.00 | 61.00 | LADWP Gen | LADWP
PRCTVY_1_MIGBT1 |  | Miguel BESS |  |  | Forced | 2.00 | 1.00 | SDGE Gen | CISO
PTRPP_2_SOLAR |  | Pine Tree Solar Power Plant |  |  | Forced | 10.00 | 2.50 | LADWP Gen | LADWP
PTRPP_2_WIND |  | Pine Tree Wind Power Plant |  |  | Forced | 135.00 | 46.50 | LADWP Gen | LADWP
PUTHCR_1_SOLAR1 |  | Putah Creek Solar Farm |  |  | Forced | 1.98 | 0.11 | PGAE Gen | CISO
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 106.18 | 61.18 | SCE Gen | CISO
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Forced | 6.55 | 6.55 | SCE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
RECTOR_2_QF |  | Kaweah Unit 1 |  |  | Forced | 20.09 | 20.09 | SCE Gen | CISO
RENWD_1_QF |  | Renwind re-powering project |  |  | Forced | 10.50 | 3.00 | SCE Gen | CISO
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 2.50 | PGAE Gen | CISO
ROSMDW_2_WIND1 |  | Pacific Wind - Phase 1 |  |  | Planned/Forced | 140.00 | 26.00 | SCE Gen | CISO
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Forced | 615.18 | 21.18 | PGAE South | CISO
RVRVEW_1_UNITA1 |  | Riverview Energy Center (GP Antioch) |  |  | Forced | 48.70 | 5.70 | PGAE Gen | CISO
RVSIDE_2_RERCU3 |  | Riverside Energy Res. Ctr Unit 3 |  |  | Forced | 49.00 | 19.00 | SCE Gen | CISO
RVSIDE_6_SPRING |  | SPRINGS GENERATION PROJECT AGGREGATE |  |  | Planned | 36.00 | 9.00 | SCE Gen | CISO
SANDLT_2_SUNITS |  | Mojave Solar |  |  | Planned/Forced | 275.00 | 275.00 | SCE Gen | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 17.00 | PGAE Gen | CISO
SAUGUS_7_CHIQCN |  | Chiquita Canyon Landfill Fac |  |  | Forced | 8.00 | 8.00 | SCE Gen | CISO
SBERDO_2_PSP3 |  | Mountainview Gen Sta. Unit 3 |  |  | Forced | 555.00 | 0.26 | SCE Gen | CISO
SBERDO_2_PSP4 |  | Mountainview Gen Sta. Unit 4 |  |  | Forced | 555.00 | 6.26 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Planned | 3.93 | 3.93 | SCE Gen | CISO
SCAGS_1_UNIT_1 |  | Scattergood Generating Station UNIT 1 |  |  | Planned/Forced | 105.00 | 105.00 | LADWP Gen | LADWP
SCAGS_1_UNIT_2 |  | Scattergood Generating Station UNIT 2 |  |  | Forced | 177.00 | 35.00 | LADWP Gen | LADWP
SCARLT_2_SS2BT1 |  | Scarlet Solar 2 BESS |  |  | Forced | 150.00 | 30.00 | PGAE Gen | CISO
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 13.99 | PGAE Gen | CISO
ALAMIT_7_UNIT 3 |  | ALAMITOS GEN STA. UNIT 3 |  |  | Planned | 326.76 | 326.76 | SCE Gen | CISO
ALAMIT_7_UNIT 4 |  | ALAMITOS GEN STA. UNIT 4 |  |  | Planned/Forced | 334.43 | 334.43 | SCE Gen | CISO
ALAMIT_7_UNIT 5 |  | ALAMITOS GEN STA. UNIT 5 |  |  | Planned | 480.00 | 480.00 | SCE Gen | CISO
ALMASL_2_AL6BT6 |  | Almasol 6 BES |  |  | Forced | 50.00 | 6.00 | SCE Gen | CISO
ALMASL_2_GS1SR1 |  | Almasol Generating Station 1 |  |  | Forced | 125.00 | 8.40 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Forced | 25.00 | 1.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Forced | 25.00 | 1.00 | PGAE South | CISO
ALTA3A_2_CPCE4 |  | Alta Wind 4 |  |  | Forced | 102.00 | 18.00 | SCE Gen | CISO
ALTA3A_2_CPCE5 |  | Alta Wind 5 |  |  | Forced | 168.00 | 18.00 | SCE Gen | CISO
ALTA3A_2_CPCE8 |  | Alta Wind 8 |  |  | Forced | 150.00 | 9.00 | SCE Gen | CISO
ALTA4A_2_CPCW1 |  | Alta Wind 1 |  |  | Forced | 150.00 | 1.50 | SCE Gen | CISO
ALTA4B_2_CPCW2 |  | Alta Wind 2 |  |  | Forced | 150.00 | 21.00 | SCE Gen | CISO
ALTA4B_2_CPCW3 |  | Alta Wind 3 |  |  | Forced | 150.00 | 30.00 | SCE Gen | CISO
ALTA4B_2_CPCW6 |  | Mustang Hills |  |  | Forced | 150.00 | 3.00 | SCE Gen | CISO
ALTA6B_2_WIND11 |  | Alta Wind 11 |  |  | Forced | 88.15 | 0.20 | SCE Gen | CISO
ALTA6E_2_WIND10 |  | Alta Wind 10 |  |  | Forced | 134.84 | 9.44 | SCE Gen | CISO
ANAHM_2_CANYN1 |  | CANYON POWER PLANT UNIT 1 |  |  | Forced | 49.21 | 49.21 | SCE Gen | CISO
APXGS_5_CC |  | Apex Generating Station Combined Cycle |  |  | Forced | 578.00 | 85.00 | LADWP Gen | LADWP
ARCOGN_2_UNITS |  | WATSON COGENERATION |  |  | Forced | 225.00 | 115.00 | SCE Gen | CISO
ASTORA_2_SOLAR1 |  | Astoria 1 |  |  | Forced | 100.00 | 1.00 | SCE Gen | CISO
ASTORA_2_SOLAR2 |  | Astoria 2 |  |  | Forced | 75.00 | 11.00 | SCE Gen | CISO
BALCHS_7_UNIT 2 |  | BALCH 2 PH UNIT 2 |  |  | Planned | 52.50 | 52.50 | PGAE South | CISO
BALCHS_7_UNIT 3 |  | BALCH 2 PH UNIT 3 |  |  | Planned | 54.60 | 54.60 | PGAE South | CISO
BARRE_6_PEAKER |  | Barre Peaker |  |  | Planned/Forced | 49.00 | 2.09 | SCE Gen | CISO
BASICE_2_UNITS |  | King City Cogen |  |  | Forced | 120.00 | 1.00 | PGAE Gen | CISO
BCNPPS1_2_BATTERY |  | Beacon Battery |  |  | Forced | 20.00 | 11.50 | LADWP Gen | LADWP
BCNPPS2_2_SOLAR |  | Beacon Power Plant Site 2 |  |  | Forced | 47.00 | 3.00 | LADWP Gen | LADWP
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Forced | 48.08 | 2.08 | PGAE South | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Forced | 49.21 | 2.21 | PGAE Gen | CISO
BGSKYN_2_ASPSR2 |  | Antelope Solar 2 San Pablo |  |  | Forced | 100.00 | 5.00 | SCE Gen | CISO
BGSKYN_2_ASSR1B |  | Antelope Solar 1B |  |  | Forced | 17.00 | 5.00 | SCE Gen | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 297.00 | SCE Gen | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Forced | 13.40 | 11.00 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Planned/Forced | 15.80 | 12.30 | SCE Gen | CISO
BLACK_7_UNIT 1 |  | JAMES B. BLACK 1 |  |  | Forced | 85.00 | 10.00 | PGAE North | CISO
BLACK_7_UNIT 2 |  | JAMES B. BLACK 2 |  |  | Forced | 84.10 | 9.10 | PGAE North | CISO
BLAST_1_WIND |  | Mountain View IV Wind |  |  | Planned | 49.00 | 14.10 | SCE Gen | CISO
BLVRDE_6_BLVBT1 |  | Boulevard Energy Storage |  |  | Planned/Forced | 10.00 | 10.00 | SDGE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 48.69 | 2.69 | PGAE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 48.69 | 2.69 | PGAE North | CISO
BORDER_6_UNITA1 |  | CalPeak Power Border Unit 1 |  |  | Forced | 51.25 | 51.25 | SDGE Gen | CISO
BRDSLD_2_HIWIND |  | High Winds Energy Center |  |  | Forced | 162.00 | 48.60 | PGAE Gen | CISO
BRDSLD_2_MTZUM2 |  | NextEra Energy Montezuma Wind II |  |  | Forced | 78.20 | 4.60 | PGAE Gen | CISO
BRDSLD_2_MTZUMA |  | FPL Energy Montezuma Wind |  |  | Forced | 36.80 | 2.30 | PGAE Gen | CISO
BRDSLD_2_SHILO2 |  | SHILOH WIND PROJECT 2 |  |  | Forced | 150.00 | 26.00 | PGAE Gen | CISO
BRDSLD_2_SHLO3A |  | Shiloh III Wind Project, LLC |  |  | Forced | 102.50 | 6.15 | PGAE Gen | CISO
UCD_1_PL |  | UC Davis MFD Center |  |  | Forced | 26.50 | 26.50 | EIM SMUD | BANC
ULTPCH_1_UCSBT1 |  | Ultrapower Chinese Station BESS |  |  | Forced | 9.93 | 9.93 | PGAE Gen | CISO
ULTPCH_1_UNIT 1 |  | Pacific Ultrapower Chinese Station |  |  | Forced | 18.00 | 18.00 | PGAE North | CISO
ULTPFR_1_UNIT 1 |  | Rio Bravo Fresno |  |  | Forced | 24.30 | 24.30 | PGAE South | CISO
UNVRSY_1_UNIT 1 |  | Berry Cogen 38 - Unit 1 |  |  | Forced | 38.00 | 38.00 | PGAE Gen | CISO
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Forced | 46.00 | 4.00 | BANC Gen | BANC
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Forced | 46.00 | 4.00 | EIM SMUD | BANC
USWND2_1_WIND1 |  | Golden Hills A |  |  | Forced | 42.96 | 3.66 | PGAE Gen | CISO
USWND2_1_WIND2 |  | Golden Hills B |  |  | Forced | 42.96 | 1.79 | PGAE Gen | CISO
USWND4_2_UNIT2 |  | Altamont Landfill Gas to Energy |  |  | Forced | 7.40 | 7.40 | PGAE Gen | CISO
USWNDR_2_LABWD1 |  | LaBrisa Wind Project |  |  | Forced | 9.00 | 3.00 | PGAE Gen | CISO
USWPJR_2_UNITS |  | Vasco Wind |  |  | Forced | 78.20 | 78.20 | PGAE Gen | CISO
VALGS_2_CC_6_7_8 |  | Valley Generating Station Combined Cycle |  |  | Planned/Forced | 533.00 | 533.00 | LADWP Gen | LADWP
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 12.47 | PGAE Gen | CISO
VESTAL_2_WELLHD |  | Wellhead Power Delano |  |  | Forced | 49.00 | 49.00 | SCE Gen | CISO
VISTRA_5_DALBT4 |  | Dallas Energy Storage 4 |  |  | Forced | 100.00 | 100.00 | PGAE Gen | CISO
VISTRA_5_PLABT1 |  | Plano Storage 1 |  |  | Forced | 100.40 | 100.40 | PGAE Gen | CISO
VISTRA_5_PLABT2 |  | Plano Storage 2 |  |  | Forced | 100.40 | 100.40 | PGAE Gen | CISO
VISTRA_5_PLABT3 |  | Plano Storage 3 |  |  | Forced | 74.60 | 74.60 | PGAE Gen | CISO
VISTRA_5_PLABT4 |  | Plano Storage 4 |  |  | Forced | 74.60 | 74.60 | PGAE Gen | CISO
VOLTA_6_BAILCK |  | Bailey Creek Ranch |  |  | Forced | 0.63 | 0.63 | PGAE Gen | CISO
WARNE_2_UNIT |  | WARNE HYDRO AGGREGATE |  |  | Forced | 76.00 | 38.00 | SCE Gen | CISO
WFRESN_1_SOLAR |  | Joya Del Sol |  |  | Forced | 1.50 | 1.30 | PGAE Gen | CISO
WHTWTR_1_WINDA1 |  | Whitewater Hill Wind Project |  |  | Forced | 57.00 | 15.00 | SCE Gen | CISO
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | BANC Gen | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | EIM SMUD | BANC
WISE_1_UNIT 2 |  | WISE HYDRO UNIT 2 |  |  | Forced | 3.20 | 3.20 | PGAE North | CISO
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Forced | 18.40 | 18.40 | PGAE Gen | CISO
WISTRA_2_WRSSR1 |  | Wistaria Ranch Solar |  |  | Forced | 100.00 | 13.00 | SDGE Gen | CISO
WOLFSK_1_UNITA1 |  | Wolfskill Energy Center |  |  | Forced | 48.68 | 1.77 | PGAE Gen | CISO
WOODLAND_7_WGSUNIT2 |  | Woodland Generation Station Unit 2 |  |  | Forced | 83.00 | 8.00 | BANC Gen | BANC
WOODLAND_7_WGSUNIT3 |  | Woodland Generation Station Unit 3 |  |  | Forced | 49.00 | 8.00 | BANC Gen | BANC
WSTWND_2_M90WD2 |  | Mojave 90 |  |  | Forced | 64.82 | 9.70 | SCE Gen | CISO
YUBACT_6_UNITA1 |  | Yuba City Energy Center (Calpine) |  |  | Forced | 47.16 | 2.16 | PGAE Gen | CISO
YUBACT_6_UNITA1 |  | Yuba City Energy Center (Calpine) |  |  | Forced | 47.16 | 2.16 | PGAE North | CISO
ZOND_6_UNIT |  | ZOND WINDSYSTEMS INC. |  |  | Forced | 17.10 | 17.10 | PGAE Gen | CISO
ARLEAF_2_NBSSB1 |  | North Brawley Solar |  |  | Forced | 35.00 | 35.00 |  | CISO
ARLVAL_5_SMTSR1 |  | Saddle Mountain Solar |  |  | Forced | 125.00 | 125.00 |  | CISO
ATLASC_5_ACBBT2 |  | Atlas Complex 7A BESS |  |  | Forced | 180.00 | 180.00 |  | CISO
ATLASC_5_ACBBT3 |  | Atlas Complex 7B BESS |  |  | Forced | 120.00 | 120.00 |  | CISO
ATLASC_5_ACBBT4 |  | Atlas Complex 8A BESS |  |  | Forced | 210.00 | 210.00 |  | CISO
BREGGO_6_DSEBT1 |  | Dark Sky Energy Center |  |  | Forced | 7.33 | 1.33 | SDGE Gen | CISO
ATLASC_5_ACBBT5 |  | Atlas Complex 8B BESS |  |  | Forced | 172.00 | 172.00 |  | CISO
ATLASC_5_ACBBT6 |  | Atlas Complex 9 BESS |  |  | Forced | 150.00 | 150.00 |  | CISO
CHERRY_2_POMBT1 |  | Pomegranate |  |  | Forced | 40.00 | 40.00 |  | CISO
CLARIBEL_6_EROCKGEN |  | Enchanted Rock Claribel |  |  | Forced | 47.97 | 47.97 |  | BANC
CMRRON_2_CMNWD1 |  | Cimarron Wind |  |  | Forced | 300.00 | 137.40 |  | CISO
DONPEDRO_6_MIDUNIT1 |  | Don Pedro Generation Station Unit 1 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT2 |  | Don Pedro Generation Station Unit 2 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT3 |  | Don Pedro Generation Station Unit 3 |  |  | Forced | 55.00 | 55.00 |  | BANC
DONPEDRO_6_MIDUNIT4 |  | Don Pedro Generation Station Unit 4 |  |  | Forced | 38.00 | 38.00 |  | BANC
GRNITE_6_ESCBT1 |  | EnerSmart El Cajon |  |  | Forced | 3.00 | 3.00 |  | CISO
GWFPWR_1_LDCTG1 |  | LEAD UNIT 1 |  |  | Forced | 55.30 | 55.30 |  | CISO
GWFPWR_1_LDCTG2 |  | LEAD UNIT 2 |  |  | Forced | 55.30 | 55.30 |  | CISO
HINSON_2_CTCSR1 |  | Carson Town Center 1 |  |  | Planned | 0.68 | 0.68 |  | CISO
HUMBRD_1_HMBBT1 |  | Hummingbird Energy Storage |  |  | Forced | 75.00 | 75.00 |  | CISO
INTGS_3_CC_3 |  | Intermountain Generating Station UNITS |  |  | Planned | 342.00 | 29.00 |  | LADWP
INTGS_3_CC_4 |  | Intermountain Generating Station UNITS |  |  | Planned | 342.00 | 29.00 |  | LADWP
INTMNT_3_CC_3_ANAHEIM |  | Intermountain Generating Station UNITS |  |  | Forced | 67.00 | 5.00 |  | CISO
INTMNT_3_CC_3_RIVERSIDE |  | Intermountain; Unit 3 RVS Share |  |  | Forced | 39.00 | 3.00 |  | CISO
INTMNT_3_CC_4_ANAHEIM |  | Intermountain Generating Station UNITS |  |  | Forced | 67.00 | 5.00 |  | CISO
INTMNT_3_CC_4_RIVERSIDE |  | Intermountain; Unit 4 RVS Share |  |  | Forced | 39.00 | 3.00 |  | CISO
LAFRES_2_ESHSR1 |  | El Segundo Hawthorne |  |  | Forced | 0.64 | 0.64 |  | CISO
MALAGA_1_ACDBX2 |  | Acid |  |  | Forced | 97.00 | 5.00 |  | CISO
NITHWK_1_NHSBT1 |  | Nighthawk Storage |  |  | Forced | 300.00 | 300.00 |  | CISO
GOLETA_2_VALBT1 |  | Vallecito Energy Storage |  |  | Forced | 10.00 | 3.30 | SCE Gen | CISO
GOOSLK_1_SOLAR1 |  | Goose Lake |  |  | Forced | 12.00 | 9.50 | PGAE Gen | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Forced | 98.43 | 11.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 7.80 | PGAE Gen | CISO
GYSRVL_7_WSPRNG |  | Warm Springs Hydro |  |  | Forced | 3.75 | 3.75 | PGAE Gen | CISO
HAASPH_7_PL1X2 |  | HAAS PH UNIT 1 &amp; 2 AGGREGATE |  |  | Forced | 144.00 | 134.17 | PGAE North | CISO
HAASPH_7_PL1X2 |  | HAAS PH UNIT 1 &amp; 2 AGGREGATE |  |  | Forced | 144.00 | 134.17 | PGAE South | CISO
HARBGN_7_UNITS |  | HARBOR COGEN COMBINED CYCLE |  |  | Forced | 109.01 | 19.01 | SCE Gen | CISO
HARGS_1_CC_1_2_5 |  | Harbor Generating Station Combined Cycle |  |  | Forced | 212.00 | 109.00 | LADWP Gen | LADWP
HARGS_1_UNIT_11 |  | Harbor Generating Station UNIT 11 |  |  | Planned | 44.00 | 44.00 | LADWP Gen | LADWP
HATLOS_6_LSCRK |  | Lost Creek 1 &amp; 2 Hydro Conversion |  |  | Forced | 1.70 | 0.71 | PGAE Gen | CISO
HAYGS_2_CC8_9_10 |  | Haynes Generating Station Combined Cycle |  |  | Planned/Forced | 575.00 | 575.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_1 |  | Haynes Generating Station UNIT 1 |  |  | Planned/Forced | 222.00 | 222.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_11 |  | Haynes Generating Station UNIT 11 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_12 |  | Haynes Generating Station UNIT 12 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_13 |  | Haynes Generating Station UNIT 13 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_14 |  | Haynes Generating Station UNIT 14 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_15 |  | Haynes Generating Station UNIT 15 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_16 |  | Haynes Generating Station UNIT 16 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_2 |  | Haynes Generating Station UNIT 2 |  |  | Forced | 222.00 | 172.00 | LADWP Gen | LADWP
HELMPG_7_UNIT 3 |  | HELMS PUMP-GEN UNIT 3 |  |  | Planned | 404.00 | 404.00 | PGAE South | CISO
HENRTA_6_ELCTG1 |  | ELECTROLYTE UNIT 1 |  |  | Forced | 50.00 | 50.00 | PGAE Gen | CISO
HENRTA_6_ELCTG2 |  | ELECTROLYTE UNIT 2 |  |  | Forced | 50.00 | 50.00 | PGAE Gen | CISO
HENRTA_6_HDEBT1 |  | Henrietta D Energy Storage |  |  | Forced | 10.00 | 10.00 | PGAE Gen | CISO
HENRTA_6_SOLAR1 |  | Lemoore 1 |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
HERDLN_6_BYHSR1 |  | Byron Highway Solar |  |  | Forced | 5.00 | 2.50 | PGAE Gen | CISO
HINSON_6_LBECH3 |  | Long Beach Unit 3 |  |  | Forced | 63.00 | 63.00 | SCE Gen | CISO
HNTGBH_7_UNIT 2 |  | HUNTINGTON BEACH GEN STA. UNIT 2 |  |  | Planned | 226.84 | 226.84 | SCE Gen | CISO
HOOVER_2_LDWP |  | Hoover Power Plant - LADWP Share |  |  | Forced | 537.00 | 319.00 | LADWP Gen | LADWP
HUMBPP_6_UNITS |  | Humboldt Bay Generating Station 1 |  |  | Planned | 97.62 | 16.27 | PGAE North | CISO
HYTTHM_2_UNITS |  | HYATT-THERMALITO PUMP-GEN (AGGREGATE) |  |  | Planned | 933.10 | 457.10 | PGAE Gen | CISO
INDIGO_1_UNIT 1 |  | INDIGO PEAKER UNIT 1 |  |  | Forced | 45.30 | 4.40 | SCE Gen | CISO
INDIGO_1_UNIT 2 |  | INDIGO PEAKER UNIT 2 |  |  | Planned/Forced | 45.30 | 45.30 | SCE Gen | CISO
INDIGO_1_UNIT 3 |  | INDIGO PEAKER UNIT 3 |  |  | Forced | 45.30 | 4.40 | SCE Gen | CISO
INTGS_3_UAM |  | Intermountain Generating Station UNITS |  |  | Forced | 72.00 | 72.00 | LADWP Gen | LADWP
INTKEP_2_UNITS |  | CCSF Hetch_Hetchy Hydro Aggregate |  |  | Planned/Forced | 405.00 | 196.00 | PGAE Gen | CISO
INTMNT_3_ANAHEIM |  | Intermountain Power Project |  |  | Forced | 234.00 | 234.00 | SCE Gen | CISO
IVANPA_1_UNIT1 |  | Ivanpah 1 |  |  | Planned/Forced | 126.00 | 126.00 | SCE Gen | CISO
IVWEST_2_SOLAR1 |  | Imperial Valley West ( Q # 608) |  |  | Forced | 150.00 | 7.00 | SDGE Gen | CISO
JANCRK_6_RCABT1 |  | Redwood Coast Airport Microgrid |  |  | Forced | 1.75 | 1.75 | PGAE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 12.80 | SCE Gen | CISO
JAWBNE_2_SRWND |  | Sky River Wind Repower A |  |  | Forced | 30.00 | 6.00 | SCE Gen | CISO
JAWBNE_2_SRWWD2 |  | Sky River Wind Repower B |  |  | Forced | 30.20 | 5.30 | SDGE Gen | CISO
MELONP_7_UNITS |  | New Melones Aggregation |  |  | Forced | 380.00 | 198.00 | BANC Gen | BANC
MERCFL_6_UNIT |  | Merced Falls Powerhouse |  |  | Planned/Forced | 3.50 | 3.50 | PGAE South | CISO
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 310.05 | PGAE Gen | CISO
MIDWD_2_WIND2 |  | Coram Energy |  |  | Forced | 3.00 | 1.50 | SCE Gen | CISO
MIRLOM_6_PEAKER |  | Mira Loma Peaker |  |  | Forced | 47.18 | 0.71 | SCE Gen | CISO
MKTRCK_1_UNIT 1 |  | MCKITTRICK LIMITED |  |  | Forced | 47.72 | 1.72 | PGAE South | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Forced | 48.56 | 3.56 | SCE Gen | CISO
MOJAVW_2_SOLAR |  | Mojave West |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
MONTPH_7_UNITS |  | MONTICELLO HYDRO AGGREGATE |  |  | Forced | 12.50 | 11.00 | PGAE Gen | CISO
MRCHNT_2_PL1X3 |  | Desert Star Energy Center |  |  | Planned/Forced | 494.58 | 494.58 | SDGE Gen | CISO
MSOLAR_2_SOLAR3 |  | Mesquite Solar 3, LLC |  |  | Planned/Forced | 152.00 | 152.00 | SDGE Gen | CISO
MSTANG_2_SOLAR3 |  | Mustang 3 |  |  | Planned/Forced | 40.00 | 29.20 | PGAE Gen | CISO
MSTANG_2_SOLAR4 |  | Mustang 4 |  |  | Forced | 30.00 | 14.60 | PGAE Gen | CISO
MTNPOS_1_UNIT |  | MT.POSO COGENERATION CO. |  |  | Forced | 46.64 | 46.64 | PGAE South | CISO
MTWIND_1_MVPWD1 |  | Mountain View Power Project I Repower |  |  | Forced | 66.60 | 6.60 | SCE Gen | CISO
MTWIND_1_UNIT 3 |  | Mountain View Power Project III |  |  | Planned | 22.44 | 2.19 | SCE Gen | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Forced | 12.00 | 2.60 | PGAE North | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Forced | 55.00 | 33.00 | PGAE North | CISO
NAVYII_2_UNITS |  | COSO POWER DEVELOPER (NAVY II) AGGREGATE |  |  | Forced | 47.00 | 4.00 | SCE Gen | CISO
NCPA_7_GP1UN2 |  | NCPA GEO PLANT 1 UNIT 2 |  |  | Planned | 50.00 | 50.00 | PGAE Gen | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
NILANDSS_6_GPNI01 |  | NILANDSS_6_GPNI01 |  |  | Planned | 47.00 | 47.00 | IID Gen | IID
NWCSTL_7_UNIT 1 |  | NEWCASTLE HYDRO |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
OAKWD_6_QF |  | Oak Creek |  |  | Forced | 27.87 | 1.35 | SCE Gen | CISO
OCTILO_5_WIND |  | Ocotillo Wind Energy Facility |  |  | Forced | 265.00 | 69.50 | SDGE Gen | CISO
OGPP_2_OG |  | Owens Gorge Power Plant |  |  | Forced | 110.00 | 110.00 | LADWP Gen | LADWP
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 3.61 | PGAE South | CISO
OMAR_2_UNIT 1 |  | KERN RIVER COGENERATION CO. UNIT 1 |  |  | Forced | 75.00 | 75.00 | SCE Gen | CISO
ORMOND_7_UNIT 1 |  | ORMOND BEACH GEN STA. UNIT 1 |  |  | Forced | 741.27 | 741.27 | SCE Gen | CISO
ORMOND_7_UNIT 2 |  | ORMOND BEACH GEN STA. UNIT 2 |  |  | Forced | 750.00 | 750.00 | SCE Gen | CISO
OROVIL_6_UNIT |  | Oroville Cogeneration, LP |  |  | Forced | 7.50 | 0.50 | PGAE Gen | CISO
OTAY_6_ECVBT1 |  | EnerSmart Chula Vista 1 |  |  | Forced | 3.00 | 0.40 | SDGE Gen | CISO
OTAY_6_PL1X2 |  | Chula Vista Energy Center, LLC |  |  | Planned | 39.57 | 39.57 | SDGE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Forced | 603.68 | 21.68 | SDGE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 16.30 | PGAE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 16.30 | PGAE North | CISO
PADUA_2_ONTARO |  | ONTARIO/SIERRA HYDRO PSP |  |  | Planned | 1.92 | 1.92 | SCE Gen | CISO
PADUA_7_SDIMAS |  | San Dimas Wash Hydro |  |  | Forced | 1.05 | 1.05 | SCE Gen | CISO
PARDEB_6_UNITS |  | Pardee Power House |  |  | Planned | 30.00 | 10.00 | PGAE Gen | CISO
SENTNL_2_CTG1 |  | Sentinel Unit 1 |  |  | Forced | 107.68 | 5.88 | SCE Gen | CISO
SENTNL_2_CTG2 |  | Sentinel Unit 2 |  |  | Forced | 104.19 | 5.89 | SCE Gen | CISO
SENTNL_2_CTG3 |  | Sentinel Unit 3 |  |  | Forced | 105.69 | 5.89 | SCE Gen | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Forced | 106.55 | 5.85 | SCE Gen | CISO
SENTNL_2_CTG5 |  | Sentinel Unit 5 |  |  | Forced | 107.52 | 5.92 | SCE Gen | CISO
SENTNL_2_CTG6 |  | Sentinel Unit 6 |  |  | Forced | 105.00 | 5.90 | SCE Gen | CISO
SENTNL_2_CTG7 |  | Sentinel Unit 7 |  |  | Forced | 106.73 | 5.93 | SCE Gen | CISO
SENTNL_2_CTG8 |  | Sentinel Unit 8 |  |  | Forced | 106.85 | 5.85 | SCE Gen | CISO
SHASTRD_7_UNITS |  | Shasta and Trinity River Division Agg |  |  | Planned/Forced | 1265.00 | 211.00 | BANC Gen | BANC
SIERRA_1_UNITS |  | HIGH SIERRA LIMITED |  |  | Forced | 52.43 | 0.43 | PGAE Gen | CISO
SLATE_2_SLASR3 |  | SLATE_3 |  |  | Planned | 67.50 | 67.50 | PGAE Gen | CISO
SLATE_2_SLASR5 |  | Slate 5 |  |  | Planned | 26.00 | 26.00 | PGAE Gen | CISO
SLUISP_2_UNITS |  | SAN LUIS (GIANELLI) PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 374.43 | 118.43 | PGAE Gen | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Forced | 64.80 | 13.80 | PGAE Gen | CISO
SNCLRA_2_HOWLNG |  | Houwelings Nurseries Oxnard, Inc |  |  | Forced | 12.71 | 11.71 | SCE Gen | CISO
SNCLRA_2_SILBT1 |  | Silverstrand BESS |  |  | Forced | 11.00 | 11.00 | SCE Gen | CISO
SNCLRA_2_VESBT1 |  | Ventura Energy Storage |  |  | Forced | 100.00 | 14.00 | SCE Gen | CISO
SNCLRA_6_OXGEN |  | OXGEN |  |  | Planned | 47.70 | 47.70 | SCE Gen | CISO
SPAULD_6_UNIT12 |  | SPAULDING HYDRO PH 1 &amp; 2 AGGREGATE |  |  | Forced | 11.40 | 4.40 | PGAE North | CISO
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Planned | 2.50 | 2.50 | SCE Gen | CISO
STIGCT_2_LODI |  | LODI STIG UNIT |  |  | Planned | 49.90 | 49.90 | PGAE Gen | CISO
SUMWHT_6_SWSSR1 |  | Summer Wheat Solar Farm |  |  | Forced | 18.50 | 3.50 | PGAE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Forced | 586.02 | 14.74 | PGAE Gen | CISO
SUNSET_2_UNITS |  | MIDWAY SUNSET COGENERATION PLANT |  |  | Forced | 248.00 | 2.00 | PGAE South | CISO
SUTTER_2_CISO |  | Sutter Power Plant Pseudo-CISO |  |  | Forced | 275.00 | 3.00 | PGAE Gen | CISO
SUTTER_2_PSEUDOBANC |  | SUTTER_2_PSEUDOBANC |  |  | Forced | 275.00 | 18.00 | BANC Gen | BANC
SYCAMR_2_UNIT 1 |  | Sycamore Cogeneration Unit 1 |  |  | Planned | 74.00 | 74.00 | SCE Gen | CISO
SYCAMR_2_UNIT 2 |  | Sycamore Cogeneration Unit 2 |  |  | Forced | 76.00 | 76.00 | SCE Gen | CISO
SYCAMR_2_UNIT 3 |  | Sycamore Cogeneration Unit 3 |  |  | Planned | 74.00 | 74.00 | SCE Gen | CISO
SYCAMR_2_UNIT 4 |  | Sycamore Cogeneration Unit 4 |  |  | Planned | 76.00 | 76.00 | SCE Gen | CISO
SZWDN_3_SZWX6 |  | SunZia Wind North |  |  | Forced | 1089.00 | 1089.00 | GRIDC Gen | CISO
SZWDS_3_SZWX14 |  | SunZia Wind South |  |  | Forced | 2561.20 | 2561.20 | GRIDC Gen | CISO
TAHOE_2_THOBT1 |  | Tahoe 1 |  |  | Forced | 60.04 | 4.64 | SCE Gen | CISO
TEHAPI_2_PW2WD2 |  | Point Wind 2 |  |  | Forced | 14.40 | 3.60 | SCE Gen | CISO
TIDWTR_2_UNITS |  | MARTINEZ COGEN LIMITED PARTNERSHIP |  |  | Forced | 114.80 | 114.80 | PGAE Gen | CISO
TIFFNY_1_DILLON |  | TIFFNY_1_DILLON |  |  | Planned | 45.00 | 4.39 | SCE Gen | CISO
TRNQLT_2_RETBT1 |  | RE Tranquillity BESS |  |  | Planned | 72.00 | 72.00 | PGAE Gen | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 38.97 | SCE Gen | CISO
TULEWD_1_TULWD1 |  | Tule Wind |  |  | Forced | 130.50 | 8.50 | SDGE Gen | CISO
TUPMAN_1_BIOGAS |  | ABEC Bidart-Stockale #1 |  |  | Forced | 0.60 | 0.60 | PGAE Gen | CISO
BRODIE_2_WIND |  | Coram Brodie Wind Project |  |  | Forced | 102.00 | 6.00 | SCE Gen | CISO
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Forced | 1.30 | 1.30 | PGAE Gen | CISO
BUCKCK_7_PL1X2 |  | BUCKS CREEK AGGREGATE |  |  | Planned/Forced | 57.25 | 24.25 | PGAE Gen | CISO
BURNYF_2_UNIT 1 |  | Burney Forest Power |  |  | Forced | 29.00 | 13.99 | PGAE Gen | CISO
CALFTN_2_CFSBT1 |  | California Flats Solar Battery |  |  | Forced | 60.00 | 5.00 | PGAE Gen | CISO
CALGEN_1_UNITS |  | Coso Navy 1 |  |  | Forced | 55.00 | 10.00 | SCE Gen | CISO
CALPIN_1_AGNEW |  | Agnews Power Plant |  |  | Forced | 28.56 | 0.56 | PGAE Gen | CISO
CAMCHE_1_PL1X3 |  | CAMANCHE UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Planned | 9.99 | 3.50 | PGAE Gen | CISO
CAMERN_6_BSPBT1 |  | Buckman Springs BESS |  |  | Forced | 0.46 | 0.46 | SDGE Gen | CISO
CAM_2_UNIT2 |  | Camino Powerhouse Unit 2 |  |  | Forced | 76.00 | 76.00 | BANC Gen | BANC
CAM_2_UNIT2 |  | Camino Powerhouse Unit 2 |  |  | Forced | 76.00 | 76.00 | EIM SMUD | BANC
CAPWD_1_QF |  | Edom Hills Wind Farm |  |  | Forced | 19.55 | 19.55 | SCE Gen | CISO
CARBOU_7_PL4X5 |  | CARIBOU PH 2 UNIT 4 &amp; 5 AGGREGATE |  |  | Planned | 120.00 | 60.00 | PGAE North | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Forced | 422.00 | 422.00 | SDGE Gen | CISO
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 105.50 | SDGE Gen | CISO
CASPP_2_UNIT_3 |  | Castaic Power Plant UNIT 3 |  |  | Planned/Forced | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_5 |  | Castaic Power Plant UNIT 5 |  |  | Planned | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_6 |  | Castaic Power Plant UNIT 6 |  |  | Forced | 238.00 | 18.00 | LADWP Gen | LADWP
CASPP_2_UNIT_7 |  | Castaic Power Plant UNIT 7 |  |  | Forced | 56.00 | 56.00 | LADWP Gen | LADWP
CEDRCK_6_UNIT |  | Water Wheel Ranch |  |  | Forced | 0.98 | 0.98 | PGAE Gen | CISO
CHALK_1_UNIT |  | CHALK CLIFF LIMITED |  |  | Forced | 48.67 | 1.67 | PGAE Gen | CISO
CHINO_2_APEBT1 |  | Pomona Energy Storage |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
CHINO_2_PESBT1 |  | Pomona Energy Storage 2 |  |  | Forced | 20.00 | 3.10 | SCE Gen | CISO
CHWCHL_1_UNIT |  | CHOW 2 PEAKER PLANT |  |  | Forced | 48.60 | 6.60 | PGAE Gen | CISO
CIG_6_PKR |  | Carson ICE Gas Turbine Peaker |  |  | Planned | 41.00 | 41.00 | BANC Gen | BANC
CIG_6_PKR |  | Carson ICE Gas Turbine Peaker |  |  | Planned | 41.00 | 41.00 | EIM SMUD | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Planned | 61.00 | 61.00 | BANC Gen | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Planned | 61.00 | 61.00 | EIM SMUD | BANC
CLRMNT_6_CLEBT1 |  | Clairemont Energy Storage |  |  | Planned/Forced | 9.00 | 1.00 | SDGE Gen | CISO
COCOPP_2_CTG1 |  | Marsh Landing 1 |  |  | Forced | 204.20 | 4.54 | PGAE South | CISO
COCOPP_2_CTG2 |  | Marsh Landing 2 |  |  | Forced | 202.70 | 3.88 | PGAE South | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 10.57 | PGAE South | CISO
COCOPP_2_CTG4 |  | Marsh Landing 4 |  |  | Forced | 204.29 | 4.04 | PGAE South | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Planned/Forced | 176.72 | 176.72 | PGAE North | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Planned | 175.67 | 175.67 | PGAE North | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 23.84 | PGAE North | CISO
CONTRL_1_CASAD2 |  | Mammoth G2 |  |  | Forced | 10.50 | 0.30 | SCE Gen | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Forced | 3.00 | 2.60 | SCE Gen | CISO
CONTRL_1_OXBOW |  | Dixie Valley Geo |  |  | Forced | 60.00 | 5.50 | SCE Gen | CISO
COPMTN_2_SOLAR1 |  | Copper Mountain 48 |  |  | Forced | 48.00 | 2.00 | SCE Gen | CISO
CORCAN_1_SOLAR1 |  | CID Solar |  |  | Forced | 20.00 | 1.00 | PGAE Gen | CISO
CPP_2_PL |  | Cosumnes Power Plant |  |  | Planned/Forced | 612.00 | 27.00 | BANC Gen | BANC
CPP_2_PL |  | Cosumnes Power Plant |  |  | Planned/Forced | 612.00 | 27.00 | EIM SMUD | BANC
CRESTA_7_PL1X2 |  | CRESTA PH UNIT 1 &amp; 2 AGGREGATE |  |  | Planned/Forced | 70.40 | 70.40 | PGAE North | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Forced | 3.20 | 3.20 | PGAE Gen | CISO
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 1.00 | BANC Gen | BANC
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 1.00 | EIM SMUD | BANC
CUMBIA_1_SOLAR |  | Columbia Solar Energy II |  |  | Forced | 19.00 | 9.00 | PGAE Gen | CISO
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Planned | 0.80 | 0.80 | PGAE Gen | CISO
DAVIS_1_SOLAR1 |  | Grasslands 3 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
DAVIS_1_SOLAR2 |  | Grasslands 4 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
TIDC | 5 |  | 3 | 0
BANC | 27 |  | 6 | 3
IID | 1 |  | 1 | 0
LADWP | 19 |  | 5 | 5
CISO | 292 |  | 42 | 25
Grand Total | 344 |  | 57 | 33
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
BANC | 5549.97 |  | 1610.97
CISO | 41026.01 |  | 19367.57
IID | 152 |  | 152
LADWP | 5690 |  | 3689.5
TIDC | 447.8 |  | 235.8
Grand Total | 52865.78 |  | 25055.84
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.