## Curtailed
Report Generated on : 07/21/2026 07:30:05 (PPT)
Trade Date: 07/21/2026
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 48.69 | 3.69 | PGAE Gen | CISO
CONTRL_1_OXBOW |  | Dixie Valley Geo |  |  | Forced | 60.00 | 4.00 | SCE Gen | CISO
GUERNS_6_SOLAR |  | Guernsey Solar Station |  |  | Forced | 20.00 | 20.00 | PGAE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
USWND2_1_WIND1 |  | Golden Hills A |  |  | Forced | 42.96 | 5.96 | PGAE Gen | CISO
USWND2_1_WIND2 |  | Golden Hills B |  |  | Forced | 42.96 | 3.58 | PGAE Gen | CISO
USWND2_1_WIND3 |  | Golden Hills C |  |  | Forced | 46.00 | 3.00 | PGAE Gen | CISO
USWPJR_2_UNITS |  | Vasco Wind |  |  | Forced | 78.20 | 16.10 | PGAE Gen | CISO
VALGS_1_UNIT_5 |  | Valley Generating Station UNIT 5 |  |  | Planned | 43.00 | 43.00 | LADWP Gen | LADWP
VALGS_2_CC_6_7_8 |  | Valley Generating Station Combined Cycle |  |  | Forced | 511.00 | 511.00 | LADWP Gen | LADWP
VALLEY_5_ORTBT1 |  | Ortega Grid |  |  | Forced | 20.00 | 6.00 | SCE Gen | CISO
VALLEY_5_SOLAR2 |  | AP North Lake Solar |  |  | Planned | 20.00 | 20.00 | SCE Gen | CISO
VALTNE_2_TSASR2 |  | Tropico Solar A |  |  | Forced | 70.00 | 18.00 | SCE Gen | CISO
VALTNE_2_TSBBT2 |  | Tropico Solar B |  |  | Forced | 22.00 | 9.00 | SCE Gen | CISO
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 12.47 | PGAE Gen | CISO
VESTAL_2_WELLHD |  | Wellhead Power Delano |  |  | Forced | 49.00 | 0.72 | SCE Gen | CISO
VICTOR_1_EXSLRB |  | Expressway Solar B |  |  | Forced | 2.00 | 2.00 | SCE Gen | CISO
VISTRA_5_PLABT1 |  | Plano Storage 1 |  |  | Forced | 100.40 | 100.40 | PGAE Gen | CISO
VISTRA_5_PLABT2 |  | Plano Storage 2 |  |  | Forced | 100.40 | 100.40 | PGAE Gen | CISO
VISTRA_5_PLABT3 |  | Plano Storage 3 |  |  | Forced | 74.60 | 74.60 | PGAE Gen | CISO
VISTRA_5_PLABT4 |  | Plano Storage 4 |  |  | Forced | 74.60 | 74.60 | PGAE Gen | CISO
VLCNTR_6_VCEBT2 |  | Valley Center Energy Storage B |  |  | Forced | 85.00 | 15.00 | SDGE Gen | CISO
VOLTA_7_PONHY1 |  | Ponderosa Bailey Hydroelectric |  |  | Forced | 1.25 | 1.25 | PGAE Gen | CISO
VOYAGR_2_VOAWD5 |  | Voyager Wind Oasis Alta |  |  | Forced | 13.98 | 13.98 | SCE Gen | CISO
VOYAGR_2_VOYWD1 |  | Voyager 1 |  |  | Forced | 128.91 | 128.91 | SCE Gen | CISO
VOYAGR_2_VOYWD2 |  | Voyager Wind 2 |  |  | Forced | 126.35 | 126.35 | SCE Gen | CISO
VOYAGR_2_VOYWD3 |  | Voyager Wind 3 |  |  | Forced | 42.45 | 42.45 | SCE Gen | CISO
VOYAGR_2_VOYWD4 |  | Voyager Wind 4 |  |  | Forced | 21.01 | 21.01 | SCE Gen | CISO
WARNE_2_UNIT |  | WARNE HYDRO AGGREGATE |  |  | Forced | 76.00 | 4.00 | SCE Gen | CISO
WAUKNA_1_SOLAR |  | Corcoran Solar |  |  | Forced | 20.00 | 20.00 | PGAE South | CISO
WESCN2_2_BDSBT1 |  | Bateria Del Sur 2A |  |  | Forced | 119.00 | 119.00 | SDGE Gen | CISO
WFRESN_1_SOLAR |  | Joya Del Sol |  |  | Forced | 1.50 | 1.30 | PGAE Gen | CISO
WHTWTR_1_WINDA1 |  | Whitewater Hill Wind Project |  |  | Forced | 57.00 | 15.00 | SCE Gen | CISO
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | BANC Gen | BANC
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | EIM SMUD | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | BANC Gen | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | EIM SMUD | BANC
WILLMS_6_ARBBM1 |  | Abel Road Bioenergy |  |  | Forced | 3.00 | 3.00 | PGAE Gen | CISO
WISE_1_UNIT 1 |  | Wise Hydro Unit 1 |  |  | Planned/Forced | 14.50 | 14.50 | PGAE Gen | CISO
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Planned/Forced | 18.40 | 18.40 | PGAE Gen | CISO
WNDMAS_2_UNIT 1 |  | BUENA VISTA ENERGY, LLC |  |  | Forced | 38.00 | 5.00 | PGAE Gen | CISO
WNDSTR_2_WIND |  | Windstar |  |  | Forced | 120.00 | 16.00 | SCE Gen | CISO
WOLFSK_1_UNITA1 |  | Wolfskill Energy Center |  |  | Forced | 48.68 | 13.68 | PGAE Gen | CISO
WOODLAND_7_WGSUNIT2 |  | Woodland Generation Station Unit 2 |  |  | Forced | 83.00 | 8.00 | BANC Gen | BANC
WSTWND_2_M90WD2 |  | Mojave 90 |  |  | Forced | 64.82 | 5.25 | SCE Gen | CISO
CONTRL_1_RUSHCK |  | RUSH CREEK |  |  | Forced | 12.19 | 12.19 | SCE Gen | CISO
COPMTN_2_SOLAR1 |  | Copper Mountain 48 |  |  | Forced | 48.00 | 5.50 | SCE Gen | CISO
COVERD_2_HCKHY1 |  | HATCHET CREEK |  |  | Forced | 6.89 | 6.89 | PGAE Gen | CISO
COVERD_2_RCKHY1 |  | ROARING CREEK |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 71.00 | BANC Gen | BANC
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 71.00 | EIM SMUD | BANC
CRELMN_6_RAMSR3 |  | Ramona Solar Energy |  |  | Forced | 4.32 | 3.32 | SDGE Gen | CISO
CRNEVL_6_CRNVA |  | Crane Valley |  |  | Planned | 0.90 | 0.90 | PGAE Gen | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Planned/Forced | 3.20 | 3.20 | PGAE Gen | CISO
CSCGNR_1_UNIT 1 |  | GIANERA PEAKER UNIT 1 |  |  | Forced | 24.75 | 24.75 | PGAE South | CISO
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 4.00 | BANC Gen | BANC
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 4.00 | EIM SMUD | BANC
CUMBIA_1_SOLAR |  | Columbia Solar Energy II |  |  | Forced | 19.00 | 3.00 | PGAE Gen | CISO
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Planned | 0.80 | 0.80 | PGAE Gen | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 20.00 | Critical Units | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 20.00 | PGAE Gen | CISO
DONPEDRO_6_MIDUNIT1 |  | Don Pedro Generation Station Unit 1 |  |  | Forced | 55.00 | 55.00 | BANC Gen | BANC
DONPEDRO_6_MIDUNIT2 |  | Don Pedro Generation Station Unit 2 |  |  | Forced | 55.00 | 55.00 | BANC Gen | BANC
DONPEDRO_6_MIDUNIT3 |  | Don Pedro Generation Station Unit 3 |  |  | Forced | 55.00 | 7.10 | BANC Gen | BANC
DONPEDRO_6_MIDUNIT4 |  | Don Pedro Generation Station Unit 4 |  |  | Forced | 38.00 | 38.00 | BANC Gen | BANC
DONPEDRO_6_UNIT2 |  | Don Pedro Unit 2 |  |  | Planned | 55.00 | 55.00 | TID Gen | TIDC
DRACKR_2_DSUBT4 |  | Dracker Solar Unit 4 BESS |  |  | Forced | 47.00 | 31.90 | SCE Gen | CISO
DSRTHV_2_DH2BT1 |  | Desert Harvest BESS |  |  | Forced | 35.00 | 3.59 | SCE Gen | CISO
DTCHWD_2_BT3WND |  | Brookfield Tehachapi 3 |  |  | Forced | 4.50 | 1.50 | SCE Gen | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 7.80 | PGAE South | CISO
DUTCH2_7_UNIT 1 |  | DUTCH FLAT 2 PH |  |  | Forced | 26.00 | 26.00 | PGAE Gen | CISO
DVLCYN_1_UNITS |  | DEVIL CANYON HYDRO UNITS 1-4 AGGREGATE |  |  | Planned | 235.00 | 15.00 | SCE Gen | CISO
EASTWD_7_UNIT |  | EASTWOOD PUMP-GEN |  |  | Planned | 200.00 | 200.00 | SCE Gen | CISO
ECASCO_2_SJGBT1 |  | San Jacinto Grid |  |  | Forced | 65.00 | 5.00 | SCE Gen | CISO
EEKTMN_6_SOLAR1 |  | EE K Solar 1 |  |  | Forced | 20.00 | 2.00 | PGAE South | CISO
ELAND1_2_HYBRID |  | Eland 1 Hybrid Resource |  |  | Planned | 175.00 | 175.00 | LADWP Gen | LADWP
ELAND2_2_HYBRID |  | Eland 2 Hybrid Resource |  |  | Planned/Forced | 200.00 | 200.00 | LADWP Gen | LADWP
ELCAJN_6_EB1BT1 |  | Eastern BESS 1 |  |  | Planned/Forced | 7.50 | 5.50 | SDGE Gen | CISO
ELCAJN_6_LM6K |  | El Cajon Energy Center |  |  | Forced | 48.10 | 1.80 | Critical Units | CISO
ELCAJN_6_LM6K |  | El Cajon Energy Center |  |  | Forced | 48.10 | 1.80 | SDGE Gen | CISO
ELKCRK_6_STONYG |  | STONEY GORGE HYDRO AGGREGATE |  |  | Planned/Forced | 4.90 | 4.90 | PGAE Gen | CISO
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Forced | 551.70 | 73.70 | PGAE Gen | CISO
ELKHRN_1_EESX3 |  | Elkhorn Energy Storage |  |  | Forced | 182.50 | 182.50 | PGAE Gen | CISO
ELK_6_BRU |  | Bruceville Solar FIT |  |  | Forced | 18.00 | 6.00 | BANC Gen | BANC
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Planned/Forced | 98.43 | 98.43 | Critical Units | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Planned/Forced | 98.43 | 98.43 | Geysers | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Planned/Forced | 98.43 | 98.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 16.80 | Critical Units | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 16.80 | Geysers | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 16.80 | PGAE Gen | CISO
GYSRVL_7_WSPRNG |  | Warm Springs Hydro |  |  | Forced | 3.75 | 3.75 | PGAE Gen | CISO
HALSEY_6_UNIT |  | HALSEY HYDRO |  |  | Forced | 13.50 | 13.50 | PGAE Gen | CISO
HARBGN_7_UNITS |  | HARBOR COGEN COMBINED CYCLE |  |  | Planned | 109.01 | 34.01 | Critical Units | CISO
HARBGN_7_UNITS |  | HARBOR COGEN COMBINED CYCLE |  |  | Planned | 109.01 | 34.01 | SCE Gen | CISO
HARGS_1_CC_1_2_5 |  | Harbor Generating Station Combined Cycle |  |  | Forced | 212.00 | 109.00 | LADWP Gen | LADWP
HATLOS_6_LSCRK |  | Lost Creek 1 &amp; 2 Hydro Conversion |  |  | Forced | 1.70 | 0.70 | PGAE Gen | CISO
HAYGS_2_CC8_9_10 |  | Haynes Generating Station Combined Cycle |  |  | Forced | 575.00 | 95.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_1 |  | Haynes Generating Station UNIT 1 |  |  | Planned | 222.00 | 222.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_12 |  | Haynes Generating Station UNIT 12 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_2 |  | Haynes Generating Station UNIT 2 |  |  | Forced | 222.00 | 127.00 | LADWP Gen | LADWP
HAYPRS_6_HAYHD1 |  | Haypress Lower |  |  | Forced | 5.80 | 5.80 | PGAE Gen | CISO
HAYPRS_6_HAYHD2 |  | Haypress Middle |  |  | Forced | 6.70 | 6.70 | PGAE Gen | CISO
HENRTA_6_SOLAR1 |  | Lemoore 1 |  |  | Forced | 1.50 | 0.75 | PGAE Gen | CISO
HIDSRT_2_UNITS |  | HIGH DESERT POWER PROJECT AGGREGATE |  |  | Forced | 850.00 | 1.00 | SCE Gen | CISO
HIGHDS_2_H5SBT1 |  | High 5 Solar BESS |  |  | Forced | 50.00 | 10.00 | SCE Gen | CISO
HINSON_6_LBECH3 |  | Long Beach Unit 3 |  |  | Forced | 63.00 | 63.00 | SCE Gen | CISO
HNTGBH_7_UNIT 2 |  | HUNTINGTON BEACH GEN STA. UNIT 2 |  |  | Forced | 226.84 | 226.84 | SCE Gen | CISO
HOOVER_2_LDWP |  | Hoover Power Plant - LADWP Share |  |  | Forced | 537.00 | 202.00 | LADWP Gen | LADWP
HUMBPP_1_UNITS3 |  | Humboldt Bay Generating Station 3 |  |  | Forced | 65.08 | 16.27 | PGAE Gen | CISO
HUMBPP_6_UNITS |  | Humboldt Bay Generating Station 1 |  |  | Forced | 97.62 | 32.54 | Humboldt | CISO
HUMBPP_6_UNITS |  | Humboldt Bay Generating Station 1 |  |  | Forced | 97.62 | 32.54 | PGAE Gen | CISO
HYTTHM_2_UNITS |  | HYATT-THERMALITO PUMP-GEN (AGGREGATE) |  |  | Forced | 933.10 | 161.10 | Caribou | CISO
HYTTHM_2_UNITS |  | HYATT-THERMALITO PUMP-GEN (AGGREGATE) |  |  | Forced | 933.10 | 161.10 | PGAE Gen | CISO
INDIGO_1_UNIT 1 |  | INDIGO PEAKER UNIT 1 |  |  | Forced | 45.30 | 3.90 | SCE Gen | CISO
INDIGO_1_UNIT 2 |  | INDIGO PEAKER UNIT 2 |  |  | Forced | 45.30 | 3.90 | SCE Gen | CISO
INDIGO_1_UNIT 3 |  | INDIGO PEAKER UNIT 3 |  |  | Forced | 45.30 | 3.90 | SCE Gen | CISO
INTGS_3_CC_3 |  | Intermountain Generating Station UNITS |  |  | Forced | 330.00 | 85.00 | LADWP Gen | LADWP
INTGS_3_CC_4 |  | Intermountain Generating Station UNITS |  |  | Forced | 330.00 | 85.00 | LADWP Gen | LADWP
INTKEP_2_UNITS |  | CCSF Hetch_Hetchy Hydro Aggregate |  |  | Planned/Forced | 405.00 | 111.00 | PGAE Gen | CISO
INTMNT_3_ANAHEIM |  | Intermountain Power Project |  |  | Forced | 234.00 | 234.00 | SCE Gen | CISO
INTMNT_3_CC_3_ANAHEIM |  | Intermountain Generating Station UNITS |  |  | Forced | 67.00 | 1.00 | LADWP Gen | CISO
INTMNT_3_CC_3_RIVERSIDE |  | Intermountain; Unit 3 RVS Share |  |  | Forced | 39.00 | 1.00 | LADWP Gen | CISO
INTMNT_3_CC_4_ANAHEIM |  | Intermountain Generating Station UNITS |  |  | Forced | 67.00 | 1.00 | LADWP Gen | CISO
INTMNT_3_CC_4_RIVERSIDE |  | Intermountain; Unit 4 RVS Share |  |  | Forced | 39.00 | 1.00 | LADWP Gen | CISO
IVWEST_2_SOLAR1 |  | Imperial Valley West ( Q # 608) |  |  | Forced | 150.00 | 4.00 | SDGE Gen | CISO
JACMSR_1_JACSR1 |  | Jacumba Solar Farm |  |  | Forced | 20.00 | 4.25 | SDGE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 12.80 | SCE Gen | CISO
JAWBNE_2_SRWND |  | Sky River Wind Repower A |  |  | Forced | 30.00 | 3.00 | SCE Gen | CISO
JAWBNE_2_SRWWD2 |  | Sky River Wind Repower B |  |  | Forced | 30.20 | 3.00 | SDGE Gen | CISO
JOHANN_2_OCEBT2 |  | Orange County Energy Storage 2 |  |  | Forced | 9.00 | 9.00 | SCE Gen | CISO
JOHANN_2_OCEBT3 |  | Orange County Energy Storage 3 |  |  | Forced | 6.00 | 6.00 | SCE Gen | CISO
JOHANN_2_T1BBT1 |  | Titanium 1 BESS |  |  | Forced | 1.40 | 1.40 | SCE Gen | CISO
MCC_6_PKR |  | McClellan Gas Turbine Peaker |  |  | Forced | 70.00 | 6.00 | BANC Gen | BANC
MCC_6_PKR |  | McClellan Gas Turbine Peaker |  |  | Forced | 70.00 | 6.00 | EIM SMUD | BANC
MELONP_7_UNITS |  | New Melones Aggregation |  |  | Planned/Forced | 380.00 | 380.00 | BANC Gen | BANC
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 324.05 | Critical Units | CISO
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 324.05 | PGAE Gen | CISO
MIDWD_7_CORAMB |  | CELLC 7.5 MW Tehachapi Project |  |  | Forced | 7.50 | 1.50 | SCE Gen | CISO
MIRLOM_2_TEMESC |  | MWD Temescal Hydroelectric Recovery Plan |  |  | Forced | 2.85 | 2.85 | SCE Gen | CISO
MIRLOM_6_PEAKER |  | Mira Loma Peaker |  |  | Forced | 47.18 | 4.69 | SCE Gen | CISO
MKTRCK_1_UNIT 1 |  | MCKITTRICK LIMITED |  |  | Forced | 47.72 | 1.72 | PGAE South | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Forced | 48.56 | 8.13 | SCE Gen | CISO
MNDOTA_1_SOLAR1 |  | North Star Solar 1 |  |  | Forced | 60.00 | 4.50 | PGAE Gen | CISO
MOJAVE_1_SIPHON |  | MOJAVE SIPHON POWER PLANT |  |  | Forced | 14.36 | 0.36 | SCE Gen | CISO
MOJAVW_2_SOLAR |  | Mojave West |  |  | Forced | 20.00 | 20.00 | SCE Gen | CISO
MONTPH_7_UNITS |  | MONTICELLO HYDRO AGGREGATE |  |  | Forced | 12.50 | 6.00 | PGAE Gen | CISO
MOORPK_2_ACOBT1 |  | Acorn I BESS |  |  | Forced | 1.95 | 1.95 | SCE Gen | CISO
MOSSLD_2_PSP1 |  | MOSS LANDING POWER BLOCK 1 |  |  | Forced | 510.00 | 4.00 | Critical Units | CISO
MOSSLD_2_PSP1 |  | MOSS LANDING POWER BLOCK 1 |  |  | Forced | 510.00 | 4.00 | PGAE South | CISO
MOSSLD_2_PSP2 |  | MOSS LANDING POWER BLOCK 2 |  |  | Forced | 510.00 | 10.00 | Critical Units | CISO
MOSSLD_2_PSP2 |  | MOSS LANDING POWER BLOCK 2 |  |  | Forced | 510.00 | 10.00 | PGAE South | CISO
MRCHNT_2_PL1X3 |  | Desert Star Energy Center |  |  | Forced | 494.58 | 284.58 | SDGE Gen | CISO
MRGT_6_TGEBT1 |  | Top Gun Energy Storage |  |  | Forced | 30.00 | 6.00 | SDGE Gen | CISO
MSOLAR_2_SOLAR1 |  | Mesquite Solar 1 |  |  | Forced | 165.00 | 10.50 | SDGE Gen | CISO
MSTANG_2_MTGBT1 |  | Mustang 1 BESS |  |  | Forced | 75.00 | 8.00 | PGAE Gen | CISO
MTNPOS_1_UNIT |  | MT.POSO COGENERATION CO. |  |  | Forced | 46.64 | 46.64 | PGAE South | CISO
MURRAY_6_UNIT |  | Grossmont Hospital |  |  | Forced | 4.12 | 4.12 | SDGE Gen | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Forced | 12.00 | 2.40 | Palermo/Rio Oso | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Forced | 55.00 | 45.80 | Palermo/Rio Oso | CISO
NAVYII_2_UNITS |  | COSO POWER DEVELOPER (NAVY II) AGGREGATE |  |  | Forced | 47.00 | 10.00 | SCE Gen | CISO
NCPA_7_GP1UN2 |  | NCPA GEO PLANT 1 UNIT 2 |  |  | Planned | 50.00 | 50.00 | PGAE Gen | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
NWCSTL_7_UNIT 1 |  | NEWCASTLE HYDRO |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
OAKWD_6_QF |  | Oak Creek |  |  | Forced | 27.87 | 1.35 | SCE Gen | CISO
OASIS_6_GBDSR4 |  | Green Beanworks D |  |  | Forced | 3.00 | 1.50 | SCE Gen | CISO
OASIS_6_SOLAR1 |  | Morgan Lancaster I |  |  | Forced | 1.50 | 1.50 | SCE Gen | CISO
OASIS_6_SOLAR2 |  | Oasis Solar |  |  | Forced | 20.00 | 2.50 | SCE Gen | CISO
OCOTLO_6_OCWSB1 |  | Ocotillo Wells Solar and BESS |  |  | Forced | 49.89 | 29.89 | IID Gen | CISO
OCTILO_5_WIND |  | Ocotillo Wind Energy Facility |  |  | Forced | 265.00 | 25.80 | SDGE Gen | CISO
REP_6_UNITS |  | Roseville Energy Park |  |  | Forced | 164.00 | 9.00 | BANC Gen | BANC
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 2.50 | PGAE Gen | CISO
ROSMDW_2_WIND1 |  | Pacific Wind - Phase 1 |  |  | Forced | 140.00 | 4.65 | SCE Gen | CISO
RPEAK_6_UNITS |  | Roseville Peakers TM2500 |  |  | Forced | 55.00 | 31.00 | BANC Gen | BANC
RSEC_6_CTG3 |  | Sunset Energy Center CT3 |  |  | Forced | 32.00 | 32.00 | BANC Gen | BANC
RSEC_6_CTG4 |  | Sunset Energy Center CT4 |  |  | Forced | 32.00 | 32.00 | BANC Gen | BANC
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Forced | 615.18 | 37.18 | Critical Units | CISO
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Forced | 615.18 | 37.18 | PGAE South | CISO
RUSSELL_2_SOLANO1 |  | Solano Renewables 1 |  |  | Forced | 255.90 | 25.90 | PGAE Gen | CISO
RVRVEW_1_UNITA1 |  | Riverview Energy Center (GP Antioch) |  |  | Forced | 48.70 | 2.70 | PGAE Gen | CISO
SANBRN_2_ESBBT1 |  | EdSan 1B |  |  | Forced | 100.00 | 100.00 | SCE Gen | CISO
SANBRN_2_SS2BT3 |  | Sanborn Solar 2 SBESS 3 |  |  | Forced | 169.00 | 19.00 | SCE Gen | CISO
SANLOB_1_LNDFIL |  | Cold Canyon |  |  | Forced | 1.50 | 0.20 | PGAE Gen | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 18.00 | Geysers | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 18.00 | PGAE Gen | CISO
SAUGUS_7_CHIQCN |  | Chiquita Canyon Landfill Fac |  |  | Forced | 8.00 | 8.00 | SCE Gen | CISO
SBERDO_2_PSP3 |  | Mountainview Gen Sta. Unit 3 |  |  | Forced | 555.00 | 29.82 | Critical Units | CISO
SBERDO_2_PSP3 |  | Mountainview Gen Sta. Unit 3 |  |  | Forced | 555.00 | 29.82 | SCE Gen | CISO
SBERDO_2_PSP4 |  | Mountainview Gen Sta. Unit 4 |  |  | Forced | 555.00 | 35.82 | Critical Units | CISO
SBERDO_2_PSP4 |  | Mountainview Gen Sta. Unit 4 |  |  | Forced | 555.00 | 35.82 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Planned | 3.93 | 3.93 | SCE Gen | CISO
SCAGS_1_UNIT_1 |  | Scattergood Generating Station UNIT 1 |  |  | Planned | 105.00 | 105.00 | LADWP Gen | LADWP
SCAGS_1_UNIT_2 |  | Scattergood Generating Station UNIT 2 |  |  | Forced | 177.00 | 32.00 | LADWP Gen | LADWP
SCAGS_2_CC_4_5 |  | Scattergood Generating Station CC |  |  | Forced | 311.00 | 21.00 | LADWP Gen | LADWP
SCARLT_2_SS2BT1 |  | Scarlet Solar 2 BESS |  |  | Forced | 150.00 | 5.00 | PGAE Gen | CISO
SCEC_1_PDRP175 |  | VLTS_PDR_SCEC_01 |  |  | Planned | 9.95 | 9.95 | SCE Gen | CISO
SCEN_6_PDRP79 |  | VLTS_PDR_SCEN_01 |  |  | Planned | 5.50 | 5.50 | SCE Gen | CISO
SCEW_2_PDRP168 |  | VLTS_PDR_SCEW_01 |  |  | Planned | 6.50 | 6.50 | SCE Gen | CISO
SCHD_1_PDRP53 |  | VLTS_PDR_SCHD_01 |  |  | Planned | 9.00 | 9.00 | SCE Gen | CISO
SCNW_6_PDRP59 |  | VLTS_PDR_SCNW_1 |  |  | Planned | 7.00 | 7.00 | SCE Gen | CISO
SEGS_1_SR2SL2 |  | Sunray 2 |  |  | Forced | 20.00 | 4.60 | SCE Gen | CISO
SENTNL_2_CTG1 |  | Sentinel Unit 1 |  |  | Forced | 107.68 | 11.88 | Critical Units | CISO
SENTNL_2_CTG1 |  | Sentinel Unit 1 |  |  | Forced | 107.68 | 11.88 | SCE Gen | CISO
SENTNL_2_CTG2 |  | Sentinel Unit 2 |  |  | Forced | 104.19 | 11.89 | Critical Units | CISO
SENTNL_2_CTG2 |  | Sentinel Unit 2 |  |  | Forced | 104.19 | 11.89 | SCE Gen | CISO
SENTNL_2_CTG3 |  | Sentinel Unit 3 |  |  | Forced | 105.69 | 11.89 | Critical Units | CISO
SENTNL_2_CTG3 |  | Sentinel Unit 3 |  |  | Forced | 105.69 | 11.89 | SCE Gen | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Forced | 106.55 | 11.85 | Critical Units | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Forced | 106.55 | 11.85 | SCE Gen | CISO
SENTNL_2_CTG5 |  | Sentinel Unit 5 |  |  | Forced | 107.52 | 11.82 | Critical Units | CISO
SENTNL_2_CTG5 |  | Sentinel Unit 5 |  |  | Forced | 107.52 | 11.82 | SCE Gen | CISO
SENTNL_2_CTG6 |  | Sentinel Unit 6 |  |  | Forced | 105.00 | 105.00 | Critical Units | CISO
SENTNL_2_CTG6 |  | Sentinel Unit 6 |  |  | Forced | 105.00 | 105.00 | SCE Gen | CISO
SENTNL_2_CTG7 |  | Sentinel Unit 7 |  |  | Forced | 106.73 | 11.83 | Critical Units | CISO
SENTNL_2_CTG7 |  | Sentinel Unit 7 |  |  | Forced | 106.73 | 11.83 | SCE Gen | CISO
SENTNL_2_CTG8 |  | Sentinel Unit 8 |  |  | Forced | 106.85 | 11.85 | Critical Units | CISO
SENTNL_2_CTG8 |  | Sentinel Unit 8 |  |  | Forced | 106.85 | 11.85 | SCE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 48.69 | 3.69 | Palermo/Rio Oso | CISO
ELK_6_BRU |  | Bruceville Solar FIT |  |  | Forced | 18.00 | 6.00 | EIM SMUD | BANC
SHASTRD_7_UNITS |  | Shasta and Trinity River Division Agg |  |  | Planned/Forced | 1265.00 | 234.00 | BANC Gen | BANC
SIERRA_1_UNITS |  | HIGH SIERRA LIMITED |  |  | Forced | 52.43 | 0.43 | PGAE Gen | CISO
SIGHEB_6_MIRDYN |  | Heber South |  |  | Forced | 18.00 | 10.00 | SDGE Gen | CISO
SLSTR1_2_SOLAR1 |  | Solar Star 1 |  |  | Forced | 310.00 | 199.50 | SCE Gen | CISO
SLUISP_2_UNITS |  | SAN LUIS (GIANELLI) PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 374.43 | 219.43 | PGAE Gen | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Forced | 64.80 | 12.80 | PGAE Gen | CISO
SNCLRA_2_HOWLNG |  | Houwelings Nurseries Oxnard, Inc |  |  | Forced | 12.71 | 12.51 | SCE Gen | CISO
SNCLRA_2_SILBT1 |  | Silverstrand BESS |  |  | Planned | 11.00 | 11.00 | SCE Gen | CISO
SNCLRA_2_VESBT1 |  | Ventura Energy Storage |  |  | Planned/Forced | 100.00 | 1.00 | Critical Units | CISO
SNCLRA_2_VESBT1 |  | Ventura Energy Storage |  |  | Planned/Forced | 100.00 | 1.00 | SCE Gen | CISO
SOLBLU_2_WSBBX2 |  | Westlands Solar Blue BESS |  |  | Forced | 225.00 | 225.00 | PGAE Gen | CISO
SPR3PP_2_SOLAR |  | Springbok 3 Power Plant |  |  | Forced | 91.00 | 24.00 | LADWP Gen | LADWP
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Planned | 2.50 | 2.50 | SCE Gen | CISO
STANTN_2_STAGT2 |  | Stanton 2 |  |  | Forced | 49.65 | 0.41 | SCE Gen | CISO
SUMWHT_6_SWSSR1 |  | Summer Wheat Solar Farm |  |  | Forced | 18.50 | 1.50 | PGAE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Forced | 600.00 | 37.72 | PGAE Gen | CISO
SUNSET_2_UNITS |  | MIDWAY SUNSET COGENERATION PLANT |  |  | Forced | 248.00 | 26.00 | PGAE South | CISO
SUNSPT_2_WNASR1 |  | Windhub Solar A |  |  | Planned/Forced | 20.00 | 20.00 | SCE Gen | CISO
SUTTER_2_CISO |  | Sutter Power Plant Pseudo-CISO |  |  | Forced | 275.00 | 19.00 | PGAE Gen | CISO
SUTTER_2_PSEUDOBANC |  | SUTTER_2_PSEUDOBANC |  |  | Forced | 275.00 | 40.00 | BANC Gen | BANC
SZWDN_3_SZWX6 |  | SunZia Wind North |  |  | Forced | 1089.00 | 689.00 | Critical Units | CISO
SZWDN_3_SZWX6 |  | SunZia Wind North |  |  | Forced | 1089.00 | 689.00 | GRIDC Gen | CISO
SZWDS_3_SZWX14 |  | SunZia Wind South |  |  | Forced | 2561.20 | 1461.20 | Critical Units | CISO
SZWDS_3_SZWX14 |  | SunZia Wind South |  |  | Forced | 2561.20 | 1461.20 | GRIDC Gen | CISO
TAHOE_2_THOBT1 |  | Tahoe 1 |  |  | Forced | 60.04 | 60.04 | SCE Gen | CISO
TAHOE_2_THOBT2 |  | Tahoe 2 |  |  | Forced | 109.06 | 109.06 | SCE Gen | CISO
TAHOE_2_THOBT3 |  | Tahoe 3 |  |  | Forced | 110.10 | 110.10 | SCE Gen | CISO
TBLMTN_6_QF |  | SMALL QF AGGREGATION - PARADISE |  |  | Forced | 1.70 | 1.70 | PGAE Gen | CISO
TEHAPI_2_PW2WD2 |  | Point Wind 2 |  |  | Forced | 14.40 | 3.60 | SCE Gen | CISO
TENGEN_2_PL1X2 |  | Placerita Canyon Cogen |  |  | Forced | 37.70 | 23.20 | SCE Gen | CISO
TERMEX_2_PL1X3 |  | TDM |  |  | Forced | 625.00 | 625.00 | Critical Units | CISO
TERMEX_2_PL1X3 |  | TDM |  |  | Forced | 625.00 | 625.00 | SDGE Gen | CISO
TITANS_2_TTSSR1 |  | Titan Solar 1 Pseudo |  |  | Forced | 70.00 | 70.00 | SDGE Gen | CISO
TRNQL8_2_ROJSR1 |  | Tranquillity 8 Rojo |  |  | Forced | 100.00 | 5.00 | PGAE Gen | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 38.97 | SCE Gen | CISO
TUPMAN_1_BIOGAS |  | ABEC Bidart-Stockale #1 |  |  | Forced | 0.60 | 0.60 | PGAE Gen | CISO
ULTPCH_1_UCSBT1 |  | Ultrapower Chinese Station BESS |  |  | Forced | 9.93 | 9.93 | PGAE Gen | CISO
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 13.99 | Geysers | CISO
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 13.99 | PGAE Gen | CISO
ADLSPP_5_SOLAR |  | Adelanto Solar Power Plant |  |  | Forced | 10.00 | 6.00 | LADWP Gen | LADWP
ADOBEE_1_SOLAR |  | Adobe Solar |  |  | Forced | 20.00 | 1.60 | PGAE Gen | CISO
AGRICO_6_PL3N5 |  | Fresno Peaker |  |  | Forced | 22.69 | 3.53 | PGAE South | CISO
ALAMIT_2_PL1X3 |  | Alamitos Energy Center Unit 7 |  |  | Forced | 674.70 | 7.70 | SCE Gen | CISO
ALAMIT_7_UNIT 3 |  | ALAMITOS GEN STA. UNIT 3 |  |  | Forced | 326.76 | 326.76 | SCE Gen | CISO
ALAMIT_7_UNIT 4 |  | ALAMITOS GEN STA. UNIT 4 |  |  | Planned/Forced | 334.43 | 334.43 | SCE Gen | CISO
ALAMIT_7_UNIT 5 |  | ALAMITOS GEN STA. UNIT 5 |  |  | Forced | 480.00 | 480.00 | SCE Gen | CISO
ALMASL_2_AL6BT6 |  | Almasol 6 BES |  |  | Forced | 50.00 | 7.50 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Forced | 25.00 | 2.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Forced | 25.00 | 2.00 | PGAE South | CISO
ALPAUG_1_TUDSR1 |  | Tulare DAC Solar |  |  | Forced | 3.00 | 3.00 | PGAE Gen | CISO
ALPSLR_1_NTHSLR |  | Alpaugh North, LLC |  |  | Forced | 20.00 | 8.00 | PGAE Gen | CISO
ALPSLR_1_SPSSLR |  | Alpaugh 50 LLC |  |  | Forced | 50.00 | 20.00 | PGAE Gen | CISO
ALT6DN_2_WIND7 |  | Pinyon Pines 1 |  |  | Forced | 164.31 | 164.31 | SCE Gen | CISO
ALTA3A_2_CPCE4 |  | Alta Wind 4 |  |  | Forced | 102.00 | 3.00 | SCE Gen | CISO
ALTA4A_2_CPCW1 |  | Alta Wind 1 |  |  | Forced | 150.00 | 6.00 | SCE Gen | CISO
ALTA6B_2_WIND11 |  | Alta Wind 11 |  |  | Forced | 88.15 | 88.15 | SCE Gen | CISO
ALTA6E_2_WIND10 |  | Alta Wind 10 |  |  | Forced | 134.84 | 134.84 | SCE Gen | CISO
ANAHM_2_CANYN1 |  | CANYON POWER PLANT UNIT 1 |  |  | Forced | 49.21 | 49.21 | SCE Gen | CISO
ANAHM_2_CANYN2 |  | CANYON POWER PLANT UNIT 2 |  |  | Forced | 48.04 | 48.04 | SCE Gen | CISO
ANGELA_1_ANGBT1 |  | Angela BESS |  |  | Forced | 20.00 | 3.00 | PGAE Gen | CISO
APLHIL_1_SFKHY1 |  | South Fork Powerhouse |  |  | Planned | 2.68 | 2.68 | PGAE Gen | CISO
APXGS_5_CC |  | Apex Generating Station Combined Cycle |  |  | Forced | 578.00 | 115.00 | LADWP Gen | LADWP
ASTORA_2_SOLAR1 |  | Astoria 1 |  |  | Forced | 100.00 | 10.00 | SCE Gen | CISO
ATHOS_5_AP1X2 |  | Athos Power Plant |  |  | Planned | 250.00 | 250.00 | SCE Gen | CISO
ATHOS_5_AP2X2 |  | Athos Power Plant 2 |  |  | Planned | 200.00 | 200.00 | SCE Gen | CISO
AZALEA_6_AZABT1 |  | Azalea BESS |  |  | Forced | 38.00 | 6.50 | PGAE Gen | CISO
BARRE_6_PEAKER |  | Barre Peaker |  |  | Forced | 49.00 | 6.60 | SCE Gen | CISO
BASICE_2_UNITS |  | King City Cogen |  |  | Forced | 120.00 | 5.00 | PGAE Gen | CISO
BCNPPS2_2_SOLAR |  | Beacon Power Plant Site 2 |  |  | Forced | 47.00 | 9.00 | LADWP Gen | LADWP
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Forced | 48.08 | 4.08 | PGAE South | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Forced | 49.21 | 5.21 | PGAE Gen | CISO
BGROCK_2_BRFBX2 |  | Big Rock Solar Farm |  |  | Forced | 200.00 | 15.00 | SDGE Gen | CISO
BGSKYN_2_AS2SR1 |  | Antelope Solar 2 |  |  | Forced | 105.00 | 20.00 | SCE Gen | CISO
BGSKYN_2_ASPSR2 |  | Antelope Solar 2 San Pablo |  |  | Forced | 100.00 | 20.00 | SCE Gen | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 115.00 | Critical Units | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 115.00 | SCE Gen | CISO
BIGSKY_2_SOLAR6 |  | Solverde 1 |  |  | Forced | 85.00 | 5.00 | SCE Gen | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Forced | 13.40 | 4.00 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Forced | 15.80 | 6.04 | SCE Gen | CISO
BLACK_7_UNIT 2 |  | JAMES B. BLACK 2 |  |  | Planned | 84.10 | 84.10 | PGAE Gen | CISO
BLCKBT_2_STONEY |  | BLACK BUTTE HYDRO |  |  | Planned/Forced | 6.20 | 6.20 | PGAE Gen | CISO
BLCKWL_6_BTFBT1 |  | BTF Storage DIDF |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
BLCKWL_6_SOLAR1 |  | Blackwell Solar |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 48.69 | 3.69 | Critical Units | CISO
ELSEGN_2_UN1011 |  | El Segundo Energy Center 5/6 |  |  | Forced | 274.31 | 14.00 | Critical Units | CISO
ELSEGN_2_UN1011 |  | El Segundo Energy Center 5/6 |  |  | Forced | 274.31 | 14.00 | SCE Gen | CISO
ELSEGN_2_UN2021 |  | El Segundo Energy Center 7/8 |  |  | Forced | 271.74 | 271.74 | Critical Units | CISO
ELSEGN_2_UN2021 |  | El Segundo Energy Center 7/8 |  |  | Forced | 271.74 | 271.74 | SCE Gen | CISO
ESCNDO_6_EB1BT1 |  | Escondido BESS 1 |  |  | Forced | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB2BT2 |  | Escondido BESS 2 |  |  | Forced | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB3BT3 |  | Escondido BESS 3 |  |  | Forced | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_PL1X2 |  | MMC Escondido Aggregate |  |  | Forced | 48.71 | 1.94 | SDGE Gen | CISO
ESNHWR_2_CS1BT3 |  | Carris Storage 1 |  |  | Forced | 10.00 | 1.00 | SCE Gen | CISO
ESNHWR_2_HDSBT2 |  | Hecate Energy Desert Storage 1 |  |  | Forced | 10.00 | 1.00 | SCE Gen | CISO
ESQUON_6_LNDFIL |  | Neal Road Landfill Generating Facility |  |  | Forced | 2.10 | 2.10 | PGAE Gen | CISO
ETIWND_6_GRPLND |  | Grapeland Peaker |  |  | Forced | 45.86 | 2.49 | SCE Gen | CISO
FALBRK_6_FESBT1 |  | Fallbrook Energy Storage |  |  | Forced | 69.60 | 29.60 | SDGE Gen | CISO
FIFTHS_2_FSSR1 |  | Fifth Standard Solar |  |  | Forced | 150.00 | 26.00 | PGAE Gen | CISO
FLOWD2_2_FPLWND |  | DIABLO WINDS |  |  | Forced | 18.00 | 9.00 | PGAE Gen | CISO
FOLSOM_7_UNITS |  | Folsom and Nimbus Aggregation |  |  | Forced | 224.00 | 13.00 | BANC Gen | BANC
FTSWRD_6_TRFORK |  | Three Forks Water Power Project |  |  | Planned | 1.63 | 1.63 | PGAE Gen | CISO
GARNET_1_SOLAR2 |  | Garnet Solar Power Generation Station 1 |  |  | Forced | 4.00 | 4.00 | SCE Gen | CISO
GATEWY_2_GESBT1 |  | Gateway Energy Storage |  |  | Forced | 250.00 | 100.00 | SDGE Gen | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 100.40 | PGAE South | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Forced | 86.80 | 20.80 | Geysers | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Forced | 86.80 | 20.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Forced | 57.00 | 14.00 | Geysers | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Forced | 57.00 | 14.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 30.00 | Geysers | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 30.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 17.00 | Geysers | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 17.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 22.00 | Geysers | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 22.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Forced | 75.50 | 18.50 | Geysers | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Forced | 75.50 | 18.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 30.00 | Geysers | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 30.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 16.00 | Geysers | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 16.00 | PGAE Gen | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Planned/Forced | 120.00 | 18.00 | Critical Units | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Planned/Forced | 120.00 | 18.00 | PGAE South | CISO
GLNARM_7_UNIT 1 |  | GLEN ARM UNIT 1 |  |  | Forced | 22.13 | 22.13 | SCE Gen | CISO
GLNARM_7_UNIT 4 |  | GLEN ARM UNIT 4 |  |  | Forced | 42.42 | 4.42 | SCE Gen | CISO
GOLETA_2_PAIBT2 |  | PAINTER BESS |  |  | Forced | 10.00 | 10.00 | SCE Gen | CISO
GOLETA_2_VALBT1 |  | Vallecito Energy Storage |  |  | Forced | 10.00 | 4.00 | SCE Gen | CISO
GOLETA_6_EXGEN |  | EXXON COMPANY USA |  |  | Planned | 48.20 | 46.20 | SCE Gen | CISO
GRSCRK_6_BGCKWW |  | BIG CREEK WATER WORKS - CEDAR FLAT |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
KEARNY_6_NESBT1 |  | Kearny North Energy Storage |  |  | Forced | 10.00 | 1.00 | SDGE Gen | CISO
KEARNY_6_SESBT2 |  | Kearny South Energy Storage |  |  | Forced | 10.00 | 4.40 | SDGE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 17.40 | PGAE Gen | CISO
KERKH2_7_UNIT 1 |  | KERKHOFF PH 2 UNIT #1 |  |  | Forced | 153.90 | 148.89 | PGAE South | CISO
KERMAN_6_SOLAR1 |  | Fresno Solar South |  |  | Forced | 1.50 | 1.50 | PGAE South | CISO
KERNRG_1_UNITS |  | South Belridge Cogen Facility |  |  | Forced | 55.20 | 15.20 | PGAE South | CISO
KIRKER_7_KELCYN |  | KELLER CANYON LANDFILL GEN FACILICITY |  |  | Forced | 3.56 | 0.96 | PGAE South | CISO
KNGBRD_2_SOLAR1 |  | Kingbird Solar A |  |  | Forced | 20.00 | 3.20 | SCE Gen | CISO
KNGCTY_6_UNITA1 |  | King City Energy Center, Unit 1 |  |  | Planned/Forced | 44.60 | 2.60 | PGAE Gen | CISO
KYCORA_6_KMSBT1 |  | Kearny Mesa Storage |  |  | Forced | 1.00 | 1.00 | SDGE Gen | CISO
LAMONT_1_SOLAR2 |  | Redwood Solar Farm 4 |  |  | Forced | 20.00 | 4.40 | PGAE Gen | CISO
LAMONT_1_SOLAR4 |  | Hayworth Solar Farm |  |  | Forced | 26.66 | 6.66 | PGAE South | CISO
LAMONT_1_SOLAR5 |  | Redcrest Solar Farm |  |  | Forced | 16.66 | 1.66 | PGAE Gen | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 19.00 | Critical Units | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 19.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 15.00 | Critical Units | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 15.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 20.00 | Critical Units | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 20.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 33.00 | Critical Units | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 33.00 | PGAE Gen | CISO
LARKSP_6_UNIT 1 |  | LARKSPUR PEAKER UNIT 1 |  |  | Forced | 49.00 | 2.50 | SDGE Gen | CISO
LARKSP_6_UNIT 2 |  | LARKSPUR PEAKER UNIT 2 |  |  | Forced | 49.00 | 2.50 | SDGE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Forced | 322.00 | 17.00 | SDGE Gen | CISO
LEBECS_2_UNITS |  | Pastoria Energy Facility |  |  | Forced | 799.47 | 33.47 | SCE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 17.84 | Critical Units | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 17.84 | PGAE South | CISO
LITLRK_6_SOLAR2 |  | Palmdale 18 |  |  | Forced | 2.00 | 1.00 | SCE Gen | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 9.70 | PGAE South | CISO
LMBEPK_2_UNITA1 |  | Lambie Energy Center, Unit #1 |  |  | Forced | 47.50 | 6.50 | PGAE Gen | CISO
LMBEPK_2_UNITA2 |  | Creed Energy Center, Unit #1 |  |  | Forced | 47.60 | 1.60 | PGAE Gen | CISO
LMBEPK_2_UNITA3 |  | Goose Haven Energy Center, Unit #1 |  |  | Forced | 47.75 | 2.75 | PGAE Gen | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Planned/Forced | 580.00 | 55.00 | Critical Units | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Planned/Forced | 580.00 | 55.00 | PGAE Gen | CISO
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 25.00 | PGAE Gen | CISO
LODI25_6_ERKNG1 |  | LODI STRATEGIC RESERVE |  |  | Forced | 47.97 | 47.97 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Forced | 302.58 | 29.58 | PGAE Gen | CISO
LOTUS_6_LSFSR1 |  | Lotus Solar Farm |  |  | Forced | 50.00 | 14.80 | PGAE Gen | CISO
MAGNLA_6_ANAHEIM |  | Magnolia Power Plant Anaheim |  |  | Forced | 115.00 | 5.00 | SCE Gen | CISO
MAGUND_1_BKISR1 |  | Bakersfield Industrial 1 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
MAGUND_1_BKSSR2 |  | Bakersfield Solar 1 |  |  | Forced | 5.25 | 2.25 | PGAE Gen | CISO
MANTEC_1_ML1SR1 |  | Manteca Land 1 |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
MARSHALL_7_EROCKUNIT1 |  | EROCK MARSHALL UNIT 1 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT2 |  | EROCK MARSHALL UNIT 2 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT3 |  | EROCK MARSHALL UNIT 3 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT4 |  | EROCK MARSHALL UNIT 4 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
OGPP_2_OG |  | Owens Gorge Power Plant |  |  | Forced | 110.00 | 16.00 | LADWP Gen | LADWP
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 3.80 | PGAE South | CISO
OLIVEP_1_SOLAR |  | White River Solar |  |  | Forced | 20.00 | 5.00 | PGAE Gen | CISO
ORMOND_7_UNIT 1 |  | ORMOND BEACH GEN STA. UNIT 1 |  |  | Forced | 741.27 | 741.27 | SCE Gen | CISO
ORMOND_7_UNIT 2 |  | ORMOND BEACH GEN STA. UNIT 2 |  |  | Planned/Forced | 750.00 | 750.00 | SCE Gen | CISO
OROVIL_6_UNIT |  | Oroville Cogeneration, LP |  |  | Forced | 7.50 | 0.50 | PGAE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Forced | 603.68 | 52.68 | SDGE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 3.80 | Humboldt | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 3.80 | PGAE Gen | CISO
PADUA_2_ONTARO |  | ONTARIO/SIERRA HYDRO PSP |  |  | Planned | 1.92 | 1.92 | SCE Gen | CISO
PALOMR_2_PL1X3 |  | Palomar Energy Center |  |  | Forced | 588.21 | 23.21 | Critical Units | CISO
PALOMR_2_PL1X3 |  | Palomar Energy Center |  |  | Forced | 588.21 | 23.21 | SDGE Gen | CISO
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Forced | 126.00 | 13.00 | BANC Gen | BANC
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Forced | 126.00 | 13.00 | EIM SMUD | BANC
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Forced | 198.51 | 89.51 | PGAE Gen | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 7.99 | Critical Units | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 7.99 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 8.64 | Critical Units | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 8.64 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 8.86 | Critical Units | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 8.86 | SDGE Gen | CISO
PIT5_7_PL3X4 |  | PIT PH 5 UNITS 3 &amp; 4 AGGREGATE |  |  | Forced | 82.00 | 12.00 | PGAE Gen | CISO
PIT5_7_PL3X4 |  | PIT PH 5 UNITS 3 &amp; 4 AGGREGATE |  |  | Forced | 82.00 | 12.00 | Pit River | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 3.60 | PGAE Gen | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 3.60 | Pit River | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 4.60 | PGAE Gen | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 4.60 | Pit River | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 2.26 | PGAE Gen | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 2.26 | Pit River | CISO
PIT7_7_UNIT 2 |  | PIT PH 7 UNIT 2 |  |  | Forced | 54.60 | 1.16 | PGAE Gen | CISO
PIT7_7_UNIT 2 |  | PIT PH 7 UNIT 2 |  |  | Forced | 54.60 | 1.16 | Pit River | CISO
PNCHEG_2_PL1X4 |  | PANOCHE ENERGY CENTER (Aggregated) |  |  | Forced | 417.00 | 48.90 | Critical Units | CISO
PNCHEG_2_PL1X4 |  | PANOCHE ENERGY CENTER (Aggregated) |  |  | Forced | 417.00 | 48.90 | PGAE Gen | CISO
PNOCHE_1_PL1X2 |  | Panoche Peaker |  |  | Planned | 49.97 | 8.00 | Critical Units | CISO
PNOCHE_1_PL1X2 |  | Panoche Peaker |  |  | Planned | 49.97 | 8.00 | PGAE South | CISO
PNOCHE_1_UNITA1 |  | CalPeak Power Panoche Unit 1 |  |  | Forced | 52.30 | 52.30 | PGAE Gen | CISO
PRCTVY_1_MIGBT1 |  | Miguel BESS |  |  | Forced | 2.00 | 1.00 | SDGE Gen | CISO
PTRPP_2_SOLAR |  | Pine Tree Solar Power Plant |  |  | Forced | 10.00 | 2.50 | LADWP Gen | LADWP
PTRPP_2_WIND |  | Pine Tree Wind Power Plant |  |  | Forced | 135.00 | 51.00 | LADWP Gen | LADWP
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 8.00 | 6.00 | SCE Gen | CISO
RDCLD_3_WIND |  | Red Cloud Wind Power Plant |  |  | Forced | 331.00 | 231.00 | LADWP Gen | LADWP
RDGPOWER_1_UNIT2 |  | REDDING GT 2 |  |  | Forced | 26.00 | 2.00 | BANC Gen | BANC
RDGPOWER_1_UNIT3 |  | REDDING GT 3 |  |  | Forced | 26.00 | 26.00 | BANC Gen | BANC
RDGPOWER_1_UNIT4-6 |  | REDDING CC 4-6 |  |  | Forced | 126.00 | 16.00 | BANC Gen | BANC
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Forced | 6.55 | 6.55 | SCE Gen | CISO
YUBACT_6_UNITA1 |  | Yuba City Energy Center (Calpine) |  |  | Forced | 47.16 | 12.16 | PGAE Gen | CISO
BRDSLD_2_HIWIND |  | High Winds Energy Center |  |  | Forced | 162.00 | 77.40 | PGAE Gen | CISO
BRDSLD_2_MTZUM2 |  | NextEra Energy Montezuma Wind II |  |  | Forced | 78.20 | 4.70 | PGAE Gen | CISO
BRDSLD_2_SHILO2 |  | SHILOH WIND PROJECT 2 |  |  | Forced | 150.00 | 9.00 | PGAE Gen | CISO
BRDSLD_2_SHLO3A |  | Shiloh III Wind Project, LLC |  |  | Forced | 102.50 | 10.25 | PGAE Gen | CISO
BRDSLD_2_SHLO3B |  | Shiloh IV Wind Project |  |  | Forced | 100.00 | 15.95 | PGAE Gen | CISO
BREGGO_6_DSEBT1 |  | Dark Sky Energy Center |  |  | Forced | 7.33 | 1.33 | SDGE Gen | CISO
BRODIE_2_WIND |  | Coram Brodie Wind Project |  |  | Forced | 102.00 | 15.00 | SCE Gen | CISO
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Planned/Forced | 1.30 | 1.30 | PGAE Gen | CISO
BUCKWD_1_QF |  | Buckwind Re-powering project |  |  | Forced | 16.50 | 4.50 | SCE Gen | CISO
BURNYF_2_UNIT 1 |  | Burney Forest Power |  |  | Forced | 29.00 | 29.00 | PGAE Gen | CISO
CABALO_2_M2BSR1 |  | Mustang 2 Barbaro Solar |  |  | Forced | 50.00 | 50.00 | PGAE Gen | CISO
CABALO_2_M2WSR2 |  | Mustang 2 Whirlaway Solar |  |  | Forced | 100.00 | 100.00 | PGAE Gen | CISO
CALFTN_2_CFSBT1 |  | California Flats Solar Battery |  |  | Forced | 60.00 | 60.00 | PGAE Gen | CISO
CALGEN_1_UNITS |  | Coso Navy 1 |  |  | Forced | 55.00 | 12.00 | SCE Gen | CISO
CALPIN_1_AGNEW |  | Agnews Power Plant |  |  | Forced | 28.56 | 0.56 | PGAE Gen | CISO
CAMCHE_1_PL1X3 |  | CAMANCHE UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Planned/Forced | 9.99 | 8.09 | PGAE Gen | CISO
CAMPFW_7_FARWST |  | CAMP FAR WEST HYDRO |  |  | Planned | 6.80 | 6.80 | PGAE Gen | CISO
CAMPFW_7_FARWST |  | CAMP FAR WEST HYDRO |  |  | Planned | 6.80 | 6.80 | Palermo/Rio Oso | CISO
CANTUA_1_SOLAR |  | Cantua Solar Station |  |  | Forced | 20.00 | 4.00 | PGAE South | CISO
CAPWD_1_QF |  | Edom Hills Wind Farm |  |  | Forced | 19.55 | 19.55 | SCE Gen | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Forced | 422.00 | 422.00 | Critical Units | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Forced | 422.00 | 422.00 | SDGE Gen | CISO
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 105.50 | Critical Units | CISO
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 105.50 | SDGE Gen | CISO
CASCES_6_CESBT2 |  | Cascade Energy Storage Expansion |  |  | Forced | 20.00 | 3.40 | PGAE Gen | CISO
CASPP_2_UNIT_7 |  | Castaic Power Plant UNIT 7 |  |  | Forced | 56.00 | 56.00 | LADWP Gen | LADWP
CENTER_6_PEAKER |  | Center Peaker |  |  | Forced | 47.30 | 1.68 | SCE Gen | CISO
CHALK_1_UNIT |  | CHALK CLIFF LIMITED |  |  | Forced | 48.67 | 1.67 | PGAE Gen | CISO
CHESTN_2_CHWBX2 |  | Chestnut Westside BESS |  |  | Forced | 135.00 | 67.50 | PGAE Gen | CISO
CHESTN_2_CHWSX2 |  | Chestnut Westside PV |  |  | Forced | 150.00 | 75.00 | PGAE Gen | CISO
CHEVMN_2_UNITS |  | CHEVRON U.S.A. UNITS 1 &amp; 2 AGGREGATE |  |  | Forced | 124.87 | 124.87 | Critical Units | CISO
CHEVMN_2_UNITS |  | CHEVRON U.S.A. UNITS 1 &amp; 2 AGGREGATE |  |  | Forced | 124.87 | 124.87 | SCE Gen | CISO
CHINO_2_APEBT1 |  | Pomona Energy Storage |  |  | Forced | 20.00 | 5.10 | SCE Gen | CISO
CHINO_2_SOLAR2 |  | Kona Solar - Terra Francesca |  |  | Forced | 1.49 | 1.49 | SCE Gen | CISO
CIG_6_PKR |  | Carson ICE Gas Turbine Peaker |  |  | Forced | 41.00 | 16.00 | BANC Gen | BANC
CIG_6_PKR |  | Carson ICE Gas Turbine Peaker |  |  | Forced | 41.00 | 16.00 | EIM SMUD | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 8.00 | BANC Gen | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 8.00 | EIM SMUD | BANC
CLARIBEL_6_EROCKGEN |  | Enchanted Rock Claribel |  |  | Forced | 47.97 | 47.97 | BANC Gen | BANC
CMRRON_2_CMNWD1 |  | Cimarron Wind |  |  | Planned | 300.00 | 9.00 | SDGE Gen | CISO
COCOPP_2_CTG1 |  | Marsh Landing 1 |  |  | Forced | 204.20 | 13.32 | PGAE South | CISO
COCOPP_2_CTG2 |  | Marsh Landing 2 |  |  | Forced | 202.70 | 12.58 | PGAE South | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 19.59 | PGAE South | CISO
COCOPP_2_CTG4 |  | Marsh Landing 4 |  |  | Forced | 204.29 | 13.60 | PGAE South | CISO
COCOSB_6_SOLAR |  | Oakley Solar Project |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
COLEMN_2_UNIT |  | Coleman |  |  | Planned | 13.00 | 13.00 | PGAE Gen | CISO
COLPIN_6_COLLNS |  | Collins Pine |  |  | Forced | 3.30 | 3.30 | PGAE Gen | CISO
COLTON_6_AGUAM1 |  | AGUA MANSA UNIT 1 (CITY OF COLTON) |  |  | Planned/Forced | 43.00 | 2.00 | SCE Gen | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 41.40 | PGAE Gen | CISO
CONTRL_1_CASAD2 |  | Mammoth G2 |  |  | Forced | 10.50 | 1.00 | SCE Gen | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Forced | 3.00 | 2.18 | SCE Gen | CISO
ZOND_6_UNIT |  | ZOND WINDSYSTEMS INC. |  |  | Forced | 17.10 | 17.10 | PGAE Gen | CISO
ARAMIS_2_APPBT1 |  | Aramis Power Plant BESS 1 |  |  | Forced | 75.00 | 75.00 |  | CISO
ARAMIS_2_APPBT2 |  | Aramis Power Plant BESS 2 |  |  | Forced | 25.00 | 25.00 |  | CISO
ARAMIS_2_APPSR1 |  | Aramis Power Plant |  |  | Forced | 75.00 | 75.00 |  | CISO
ARAMIS_2_APPSR2 |  | Aramis Power Plant PV2 |  |  | Forced | 25.00 | 25.00 |  | CISO
ATLAS2_5_A4BSX2 |  | Atlas Complex 4B PV |  |  | Forced | 300.00 | 300.00 |  | CISO
ATLAS2_5_AC5SR5 |  | Atlas Complex 5 PV |  |  | Forced | 200.00 | 200.00 |  | CISO
ATLASC_5_ACBBT1 |  | Atlas Complex 4A BESS |  |  | Forced | 150.00 | 150.00 |  | CISO
ATLASC_5_ACBBT4 |  | Atlas Complex 8A BESS |  |  | Forced | 210.00 | 210.00 |  | CISO
ATLASC_5_ACBBT5 |  | Atlas Complex 8B BESS |  |  | Forced | 172.40 | 172.40 |  | CISO
CALPEL_1_RERBT1 |  | Redemeyer Road Solar BESS |  |  | Forced | 4.00 | 4.00 |  | CISO
CALPEL_1_RERSR1 |  | Redemeyer Road Solar |  |  | Forced | 4.00 | 4.00 |  | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Forced | 176.72 | 176.72 |  | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Forced | 175.67 | 175.67 |  | CISO
DEERCR_6_UNIT 1 |  | DEER CREEK |  |  | Forced | 7.00 | 6.99 |  | CISO
EDES_1_OKDGN1 |  | Oakland 1 |  |  | Forced | 0.72 | 0.72 |  | CISO
FMEADO_6_HELLHL |  | FMEADO_6_HELLHL |  |  | Forced | 0.60 | 0.60 |  | CISO
FORBST_7_UNIT 1 |  | FORBESTOWN HYDRO |  |  | Forced | 37.50 | 1.00 |  | CISO
FTSWRD_7_QFUNTS |  | FTSWRD_7_QFUNTS |  |  | Planned | 1.60 | 1.60 |  | CISO
GONZAG_6_GNZWB1 |  | Gonzaga Hybrid |  |  | Planned/Forced | 50.00 | 50.00 |  | CISO
GONZAG_6_GNZWD1 |  | Gonzaga Wind Farm |  |  | Planned/Forced | 40.33 | 4.93 |  | CISO
GONZAG_6_GNZWD3 |  | Gonzaga Hybrid Wind |  |  | Planned/Forced | 51.85 | 16.45 |  | CISO
INTTRB_6_DPWWD1 |  | Dino Point Wind |  |  | Forced | 17.33 | 17.33 |  | CISO
LCKHT1_2_LSCBT1 |  | Lockhart Solar CL ESS I |  |  | Forced | 69.00 | 69.00 |  | CISO
LCKHT1_2_LSCBT2 |  | Lockhart Solar CL ESS 2 |  |  | Forced | 59.70 | 59.70 |  | CISO
LOWGAP_7_QFUNTS |  | Matthews Dam Hydro |  |  | Forced | 1.35 | 1.15 |  | CISO
OASIS_6_AR8SR1 |  | Arrache 8083 I |  |  | Forced | 1.50 | 1.50 |  | CISO
OASIS_6_AR8SR2 |  | Arrache 8083 II |  |  | Forced | 1.50 | 1.50 |  | CISO
OASIS_6_AR8SR3 |  | Arrache 8083 III |  |  | Forced | 1.00 | 1.00 |  | CISO
PGCC_1_PDRP24 |  | VLTS_PDR_PGCC_01 |  |  | Planned | 7.00 | 7.00 |  | CISO
PGCC_1_PDRP60 |  | VLTS_PDR_PGCC_D |  |  | Planned | 7.00 | 7.00 |  | CISO
PGEB_2_PDRP107 |  | VLTS_PDR_PGEB_02 |  |  | Planned | 7.50 | 7.50 |  | CISO
PGEB_2_PDRP111 |  | VLTS_PDR_PGEB_03 |  |  | Planned | 4.00 | 4.00 |  | CISO
PGEB_2_PDRP93 |  | VLTS_PDR_PGEB_1 |  |  | Planned | 9.00 | 9.00 |  | CISO
PGF1_2_PDRP108 |  | VLTS_PDR_PGF1_02 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGF1_2_PDRP111 |  | VLTS_PDR_PGF1_03 |  |  | Planned | 9.90 | 9.90 |  | CISO
PGF1_2_PDRP116 |  | VLTS_PDR_PGF1_04 |  |  | Planned | 9.90 | 9.90 |  | CISO
PGF1_2_PDRP120 |  | VLTS_PDR_PGF1_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGFG_1_PDRP77 |  | VLTS_PDR_PGFG_01 |  |  | Planned | 5.00 | 5.00 |  | CISO
PGKN_2_PDRP32 |  | VLTS_PDR_PGKN_1 |  |  | Planned | 3.00 | 3.00 |  | CISO
PGKN_2_PDRP59 |  | VLTS_PDR_PGKN_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGNB_2_PDRP101 |  | VLTS_PDR_PGNB_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGNB_2_PDRP43 |  | VLTS_PDR_PGNB_02 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGNP_2_PDRP39 |  | VLTS_PDR_PGNP_02 |  |  | Planned | 8.00 | 8.00 |  | CISO
PGNP_2_PDRP53 |  | VLTS_PDR_PGNP_04 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGNP_2_PDRP60 |  | VLTS_PDR_PGNP_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGP2_2_PDRP101 |  | VLTS_PDR_PGP2_02 |  |  | Planned | 5.00 | 5.00 |  | CISO
PGP2_2_PDRP58 |  | PGP2_2_PDRP58 |  |  | Planned | 5.00 | 5.00 |  | CISO
PGSB_1_PDRP111 |  | VLTS_PDR_PGSB_05 |  |  | Planned | 3.00 | 3.00 |  | CISO
PGSB_1_PDRP87 |  | VLTS_PDR_PGSB_1 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGSB_1_PDRP97 |  | VLTS_PDR_PGSB_03 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGSF_2_PDRP100 |  | VLTS_PDR_PGSF_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGSF_2_PDRP49 |  | VLTS_PDR_PGSF_1 |  |  | Planned | 3.50 | 3.50 |  | CISO
PGSF_2_PDRP58 |  | VLTS_PDR_PGSF_02 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGSI_1_PDRP100 |  | VLTS_PDR_PGSI_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGSI_1_PDRP59 |  | VLTS_PDR_PGSI_03 |  |  | Planned | 3.00 | 3.00 |  | CISO
PGST_2_PDRP40 |  | VLTS_PDR_PGST_2 |  |  | Planned | 3.50 | 3.50 |  | CISO
PGZP_2_PDRP50 |  | VLTS_PDR_PGZP_02 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGZP_2_PDRP61 |  | VLTS_PDR_PGZP_D |  |  | Planned | 3.00 | 3.00 |  | CISO
SCEN_6_PDRP109 |  | VLTS_PDR_SCEN_D |  |  | Planned | 3.00 | 3.00 |  | CISO
SCHD_1_PDRP70 |  | VLTS_PDR_SCHD_D |  |  | Planned | 3.00 | 3.00 |  | CISO
SCNW_6_PDRP68 |  | VLTS_PDR_SCNW_03 |  |  | Planned | 9.95 | 9.95 |  | CISO
SEAWND_2_AMWWD1 |  | Alta Mesa Wind |  |  | Forced | 27.00 | 0.13 |  | CISO
SHANDN_2_SBBBM1 |  | San Bernardino Biogas |  |  | Forced | 2.60 | 2.60 |  | CISO
SPAULD_6_UNIT12 |  | SPAULDING HYDRO PH 1 &amp; 2 AGGREGATE |  |  | Planned/Forced | 11.40 | 11.40 |  | CISO
SPBURN_7_SNOWMT |  | Burney Creek Hydro |  |  | Forced | 3.00 | 3.00 |  | CISO
SPRGAP_1_UNIT 1 |  | SPRING GAP HYDRO |  |  | Forced | 7.00 | 7.00 |  | CISO
STANTN_2_SBEBX2 |  | Stanton Battery Energy Storage |  |  | Forced | 68.80 | 2.40 |  | CISO
TVYVLY_6_KRSHY1 |  | Kings River Syphon |  |  | Forced | 1.30 | 1.30 |  | CISO
ULTRCK_2_UNIT |  | Rio Bravo Rocklin |  |  | Forced | 24.40 | 24.40 |  | CISO
WISE_1_UNIT 2 |  | WISE HYDRO UNIT 2 |  |  | Forced | 3.20 | 3.20 |  | CISO
WSTWND_2_M89BT2 |  | Mojave 89 BESS 2B |  |  | Forced | 70.60 | 15.60 |  | CISO
WSTWND_2_M89WD2 |  | Mojave 89 Wind |  |  | Forced | 58.30 | 7.50 |  | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
BANC | 33 |  | 0 | 2
LADWP | 19 |  | 4 | 1
CISO | 407 |  | 63 | 30
TIDC | 4 |  | 1 | 0
Grand Total | 463 |  | 68 | 33
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
BANC | 5634.97 |  | 1346.07
CISO | 62880.16 |  | 23059.38
LADWP | 5414 |  | 2618.5
TIDC | 101.8 |  | 101.8
Grand Total | 74030.93 |  | 27125.75
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.