## Curtailed
Report Generated on : 10/25/2026 07:30:04 (PPT)
Trade Date: 10/25/2026
Curtailed and Non-Operational Generator AM Report
Resource ID |  | Resource Name |  |  | Outage Type | Capacity (MW) | Curtailed (MW) | Zone Name | BA
CASPP_2_UNIT_7 |  | Castaic Power Plant UNIT 7 |  |  | Forced | 56.00 | 56.00 | LADWP Gen | LADWP
LAMONT_1_SOLAR2 |  | Redwood Solar Farm 4 |  |  | Forced | 20.00 | 20.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 1 |  | La Paloma Generating Plant Unit #1 |  |  | Forced | 267.00 | 267.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 2 |  | La Paloma Generating Plant Unit #2 |  |  | Forced | 266.00 | 18.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 3 |  | La Paloma Generating Plant Unit #3 |  |  | Forced | 266.00 | 23.00 | PGAE Gen | CISO
LAPLMA_2_UNIT 4 |  | LA PALOMA GENERATING PLANT, UNIT #4 |  |  | Forced | 267.00 | 28.00 | PGAE Gen | CISO
LAROA2_2_UNITA1 |  | LR2 |  |  | Forced | 322.00 | 12.00 | SDGE Gen | CISO
LASSEN_6_UNITS |  | Honey Lake Power |  |  | Forced | 30.00 | 30.00 | PGAE North | CISO
LEBECS_2_UNITS |  | Pastoria Energy Facility |  |  | Forced | 799.47 | 13.47 | SCE Gen | CISO
LECEF_1_UNITS |  | LOS ESTEROS ENERGY FACILITY AGGREGATE |  |  | Forced | 309.84 | 13.84 | PGAE South | CISO
LECONT_2_LESBT1 |  | LeConte Energy Storage |  |  | Forced | 125.00 | 6.00 | SDGE Gen | CISO
LGHTHP_6_ICEGEN |  | CARSON COGENERATION |  |  | Planned | 48.00 | 48.00 | SCE Gen | CISO
LITLRK_6_SOLAR1 |  | Lancaster Little Rock C |  |  | Forced | 5.00 | 4.00 | SCE Gen | CISO
LITLRK_6_SOLAR2 |  | Palmdale 18 |  |  | Forced | 2.00 | 1.00 | SCE Gen | CISO
LIVOAK_1_UNIT 1 |  | LIVE OAK LIMITED |  |  | Forced | 49.70 | 4.70 | PGAE South | CISO
LMBEPK_2_UNITA1 |  | Lambie Energy Center, Unit #1 |  |  | Forced | 47.50 | 6.50 | PGAE Gen | CISO
LMBEPK_2_UNITA2 |  | Creed Energy Center, Unit #1 |  |  | Planned/Forced | 47.60 | 47.60 | PGAE Gen | CISO
LMBEPK_2_UNITA3 |  | Goose Haven Energy Center, Unit #1 |  |  | Forced | 47.75 | 1.75 | PGAE Gen | CISO
LMEC_1_PL1X3 |  | Los Medanos Energy Center AGGREGATE |  |  | Planned/Forced | 580.00 | 11.00 | PGAE Gen | CISO
LNL_6_UNIT |  | Loon Lake Powerhouse |  |  | Planned | 78.00 | 78.00 | BANC Gen | BANC
LNL_6_UNIT |  | Loon Lake Powerhouse |  |  | Planned | 78.00 | 78.00 | EIM SMUD | BANC
LODI25_2_UNIT 1 |  | LODI GAS TURBINE |  |  | Forced | 25.00 | 3.00 | PGAE Gen | CISO
LODI25_6_ERKNG1 |  | LODI STRATEGIC RESERVE |  |  | Forced | 47.97 | 47.97 | PGAE Gen | CISO
LODIEC_2_PL1X2 |  | Lodi Energy Center |  |  | Forced | 302.58 | 29.58 | PGAE Gen | CISO
MAGNLA_6_ANAHEIM |  | Magnolia Power Plant Anaheim |  |  | Forced | 115.00 | 1.00 | SCE Gen | CISO
MAGUND_1_BKSSR2 |  | Bakersfield Solar 1 |  |  | Forced | 5.25 | 2.25 | PGAE Gen | CISO
MARSHALL_7_EROCKUNIT1 |  | EROCK MARSHALL UNIT 1 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT2 |  | EROCK MARSHALL UNIT 2 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT3 |  | EROCK MARSHALL UNIT 3 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MARSHALL_7_EROCKUNIT4 |  | EROCK MARSHALL UNIT 4 |  |  | Forced | 11.70 | 11.70 | TID Gen | TIDC
MCCLURE_1_MGSUNIT1 |  | McClure Generation Station Unit 1 |  |  | Forced | 53.50 | 53.50 | BANC Gen | BANC
MCCLURE_1_MGSUNIT2 |  | McClure Generation Station Unit 2 |  |  | Forced | 53.50 | 53.50 | BANC Gen | BANC
MCC_6_PKR |  | McClellan Gas Turbine Peaker |  |  | Forced | 70.00 | 1.00 | BANC Gen | BANC
MCC_6_PKR |  | McClellan Gas Turbine Peaker |  |  | Forced | 70.00 | 1.00 | EIM SMUD | BANC
MDFKRL_2_PROJCT |  | MIDDLE FORK AND RALSTON PSP |  |  | Planned/Forced | 210.00 | 210.00 | PGAE North | CISO
MELONP_7_UNITS |  | New Melones Aggregation |  |  | Forced | 380.00 | 10.00 | BANC Gen | BANC
METEC_2_PL1X3 |  | Metcalf Energy Center |  |  | Forced | 597.05 | 53.05 | PGAE Gen | CISO
WESTPT_2_UNIT |  | West Point Hydro Plant |  |  | Planned | 14.00 | 14.00 | PGAE Gen | CISO
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | BANC Gen | BANC
WHT_2_UNIT1 |  | White Rock Powerhouse Unit 1 |  |  | Forced | 116.00 | 8.00 | EIM SMUD | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | BANC Gen | BANC
WHT_2_UNIT2 |  | White Rock Powerhouse Unit 2 |  |  | Forced | 133.00 | 28.00 | EIM SMUD | BANC
WISE_1_UNIT 1 |  | Wise Hydro Unit 1 |  |  | Planned | 14.50 | 14.50 | PGAE Gen | CISO
WISE_1_UNIT 2 |  | WISE HYDRO UNIT 2 |  |  | Planned/Forced | 3.20 | 3.20 | PGAE Gen | CISO
WISE_1_UNIT 2 |  | WISE HYDRO UNIT 2 |  |  | Planned/Forced | 3.20 | 3.20 | PGAE North | CISO
WISHON_6_UNITS |  | Wishon/San Joaquin #1-A AGGREGATE |  |  | Forced | 18.40 | 13.80 | PGAE Gen | CISO
WNDMAS_2_UNIT 1 |  | BUENA VISTA ENERGY, LLC |  |  | Forced | 38.00 | 17.00 | PGAE Gen | CISO
WNDSTR_2_WIND |  | Windstar |  |  | Forced | 120.00 | 4.00 | SCE Gen | CISO
WOLFSK_1_UNITA1 |  | Wolfskill Energy Center |  |  | Forced | 48.68 | 1.77 | PGAE Gen | CISO
WOODLAND_7_WGSUNIT2 |  | Woodland Generation Station Unit 2 |  |  | Planned/Forced | 83.00 | 83.00 | BANC Gen | BANC
WOODLAND_7_WGSUNIT3 |  | Woodland Generation Station Unit 3 |  |  | Forced | 49.00 | 25.00 | BANC Gen | BANC
WRGTSR_2_WSFSR1 |  | Wright Solar Freeman |  |  | Forced | 200.00 | 100.00 | PGAE Gen | CISO
WSTWND_2_M90WD2 |  | Mojave 90 |  |  | Forced | 64.82 | 38.75 | SCE Gen | CISO
WSTWND_2_SBSBT1 |  | Sagebrush Solar 2 |  |  | Forced | 80.00 | 35.00 | SDGE Gen | CISO
YELPIN_2_YP2BT1 |  | Yellow Pine 2 BESS |  |  | Planned | 65.00 | 65.00 | VEA Gen | CISO
YELPIN_2_YP2BT2 |  | Yellow Pine 2 A BESS |  |  | Planned | 53.00 | 53.00 | VEA Gen | CISO
YELPIN_2_YP2BT3 |  | Yellow Pine 2 B BESS |  |  | Planned | 32.00 | 32.00 | VEA Gen | CISO
YELPIN_2_YP2SR1 |  | Yellow Pine 2 |  |  | Planned | 125.00 | 125.00 | VEA Gen | CISO
YELPIN_2_YP2SR3 |  | Yellow Pine 2 B PV |  |  | Planned | 65.00 | 65.00 | VEA Gen | CISO
YUBACT_6_UNITA1 |  | Yuba City Energy Center (Calpine) |  |  | Forced | 47.16 | 1.16 | PGAE Gen | CISO
YUBACT_6_UNITA1 |  | Yuba City Energy Center (Calpine) |  |  | Forced | 47.16 | 1.16 | PGAE North | CISO
YUCCA_1_YUCCGT21 |  | YUCCA_1_YUCCGT21 |  |  | Planned | 21.70 | 21.70 | IID Gen | IID
ZOND_6_UNIT |  | ZOND WINDSYSTEMS INC. |  |  | Forced | 17.10 | 17.10 | PGAE Gen | CISO
ARLVAL_5_SMTSR1 |  | Saddle Mountain Solar |  |  | Forced | 125.00 | 125.00 |  | CISO
ATLAS2_5_AC5SR5 |  | Atlas Complex 5 PV |  |  | Forced | 200.00 | 43.00 |  | CISO
CAPE_3_CGEODYN |  | Cape Geothermal 1 |  |  | Forced | 33.00 | 1.00 |  | CISO
CAP_2_NBATTERYU2 |  | Country Acres N Battery Unit 2 |  |  | Forced | 86.20 | 86.20 |  | BANC
CAP_2_NSOLARU1 |  | Country Acres N Solar Unit 1 |  |  | Forced | 176.10 | 176.10 |  | BANC
CAP_2_SBATTERYU4 |  | Country Acres S Battery Unit 4 |  |  | Forced | 86.20 | 86.20 |  | BANC
CAP_2_SSOLARU3 |  | Country Acres S Solar Unit 3 |  |  | Forced | 167.90 | 167.90 |  | BANC
CASADB_1_CD4GT1 |  | Casa Diablo 4 |  |  | Forced | 40.70 | 12.70 |  | CISO
SUNSPT_2_WNBSR2 |  | Windhub Solar B |  |  | Forced | 20.00 | 20.00 |  | CISO
TVYVLY_6_KRSHY1 |  | Kings River Syphon |  |  | Forced | 1.30 | 1.30 |  | CISO
TWINKL_2_ASCBTA |  | Aratina Solar Center 1 a BESS |  |  | Forced | 75.00 | 75.00 |  | CISO
TWINKL_2_ASCBTB |  | Aratina Solar Center 1 b BESS |  |  | Forced | 50.00 | 50.00 |  | CISO
TWINKL_2_ASCSR3 |  | Aratina Solar Center 2 |  |  | Forced | 150.00 | 150.00 |  | CISO
WSTWND_2_M89BT2 |  | Mojave 89 BESS 2B |  |  | Forced | 70.60 | 10.60 |  | CISO
WSTWND_2_M89WD2 |  | Mojave 89 Wind |  |  | Forced | 58.30 | 15.00 |  | CISO
YELPIN_2_YP2SR2 |  | Yellow Pine 2 A PV |  |  | Planned | 60.00 | 60.00 |  | CISO
ADLIN_1_UNITS |  | GEYSERS AIDLIN AGGREGATE |  |  | Forced | 22.00 | 13.00 | PGAE Gen | CISO
ADLSPP_5_SOLAR |  | Adelanto Solar Power Plant |  |  | Forced | 10.00 | 8.00 | LADWP Gen | LADWP
ALAMIT_2_PL1X3 |  | Alamitos Energy Center Unit 7 |  |  | Forced | 674.70 | 34.70 | SCE Gen | CISO
ALAMIT_7_UNIT 3 |  | ALAMITOS GEN STA. UNIT 3 |  |  | Forced | 326.76 | 326.76 | SCE Gen | CISO
ALAMIT_7_UNIT 4 |  | ALAMITOS GEN STA. UNIT 4 |  |  | Forced | 334.43 | 334.43 | SCE Gen | CISO
ALAMIT_7_UNIT 5 |  | ALAMITOS GEN STA. UNIT 5 |  |  | Forced | 480.00 | 480.00 | SCE Gen | CISO
ALMASL_2_AL6BT6 |  | Almasol 6 BES |  |  | Forced | 50.00 | 8.50 | SCE Gen | CISO
ALMEGT_1_UNIT 1 |  | ALAMEDA GT UNIT 1 |  |  | Forced | 25.00 | 2.00 | PGAE South | CISO
ALMEGT_1_UNIT 2 |  | ALAMEDA GT UNIT 2 |  |  | Forced | 25.00 | 2.00 | PGAE South | CISO
ALMOND2_1_UNIT3 |  | Almond Unit 3 |  |  | Planned | 53.00 | 53.00 | TID Gen | TIDC
ALPSLR_1_NTHSLR |  | Alpaugh North, LLC |  |  | Forced | 20.00 | 8.00 | PGAE Gen | CISO
ALPSLR_1_SPSSLR |  | Alpaugh 50 LLC |  |  | Forced | 50.00 | 20.00 | PGAE Gen | CISO
ALTA3A_2_CPCE4 |  | Alta Wind 4 |  |  | Forced | 102.00 | 6.00 | SCE Gen | CISO
ALTA3A_2_CPCE5 |  | Alta Wind 5 |  |  | Forced | 168.00 | 6.00 | SCE Gen | CISO
ALTA3A_2_CPCE8 |  | Alta Wind 8 |  |  | Forced | 150.00 | 6.00 | SCE Gen | CISO
ALTA4A_2_CPCW1 |  | Alta Wind 1 |  |  | Forced | 150.00 | 1.50 | SCE Gen | CISO
ALTA4B_2_CPCW2 |  | Alta Wind 2 |  |  | Forced | 150.00 | 12.00 | SCE Gen | CISO
ALTA4B_2_CPCW3 |  | Alta Wind 3 |  |  | Forced | 150.00 | 24.00 | SCE Gen | CISO
ALTA6E_2_WIND10 |  | Alta Wind 10 |  |  | Forced | 134.84 | 20.84 | SCE Gen | CISO
APXGS_5_CC |  | Apex Generating Station Combined Cycle |  |  | Forced | 578.00 | 85.00 | LADWP Gen | LADWP
ATLAS2_5_A4BSX2 |  | Atlas Complex 4B PV |  |  | Planned/Forced | 300.00 | 153.40 | GRIDC Gen | CISO
ATLAS2_5_AC6SR6 |  | Atlas Complex 6 PV |  |  | Forced | 100.00 | 5.00 | GRIDC Gen | CISO
ATLASC_5_ACBBT2 |  | Atlas Complex 7A BESS |  |  | Forced | 180.00 | 180.00 | GRIDC Gen | CISO
ATLASC_5_ACBBT3 |  | Atlas Complex 7B BESS |  |  | Forced | 120.00 | 120.00 | GRIDC Gen | CISO
ATLASC_5_ACBBT4 |  | Atlas Complex 8A BESS |  |  | Forced | 210.00 | 210.00 | GRIDC Gen | CISO
ATLASC_5_ACBBT6 |  | Atlas Complex 9 BESS |  |  | Forced | 150.00 | 150.00 | GRIDC Gen | CISO
BALCHS_7_UNIT 2 |  | BALCH 2 PH UNIT 2 |  |  | Forced | 52.50 | 52.50 | PGAE South | CISO
BALCHS_7_UNIT 3 |  | BALCH 2 PH UNIT 3 |  |  | Forced | 54.60 | 54.60 | PGAE South | CISO
BARRE_2_ALASB1 |  | Los Alamitos 1 |  |  | Forced | 10.00 | 1.00 | SDGE Gen | CISO
BARRE_6_PEAKER |  | Barre Peaker |  |  | Forced | 49.00 | 8.50 | SCE Gen | CISO
BASICE_2_UNITS |  | King City Cogen |  |  | Forced | 120.00 | 3.00 | PGAE Gen | CISO
BCNPPS2_2_SOLAR |  | Beacon Power Plant Site 2 |  |  | Forced | 47.00 | 2.00 | LADWP Gen | LADWP
BCNPPS5_2_SOLAR |  | Beacon Power Plant Site 5 |  |  | Forced | 47.00 | 11.00 | LADWP Gen | LADWP
BDGRCK_1_UNITS |  | BADGER CREEK LIMITED |  |  | Forced | 48.08 | 2.58 | PGAE South | CISO
BEARMT_1_UNIT |  | Bear Mountain Limited |  |  | Forced | 49.21 | 2.61 | PGAE Gen | CISO
BELDEN_7_UNIT 1 |  | BELDEN HYDRO |  |  | Planned/Forced | 119.00 | 119.00 | PGAE Gen | CISO
BGSKYN_2_AS2SR1 |  | Antelope Solar 2 |  |  | Forced | 105.00 | 50.00 | SCE Gen | CISO
BGSKYN_2_ASPSR2 |  | Antelope Solar 2 San Pablo |  |  | Forced | 100.00 | 25.00 | SCE Gen | CISO
BGSKYN_2_ASSR1B |  | Antelope Solar 1B |  |  | Forced | 17.00 | 1.70 | SCE Gen | CISO
BGSKYN_2_ASSR3A |  | Antelope Solar 3A |  |  | Forced | 15.00 | 5.00 | SCE Gen | CISO
BGSKYN_2_ASSR3B |  | Antelope Solar 3B |  |  | Forced | 5.00 | 2.00 | SCE Gen | CISO
BGSKYN_2_BS3SR3 |  | Big Sky Solar 3 |  |  | Forced | 20.00 | 4.00 | SCE Gen | CISO
CENTER_6_PEAKER |  | Center Peaker |  |  | Planned | 47.30 | 47.30 | SCE Gen | CISO
CHINO_2_APEBT1 |  | Pomona Energy Storage |  |  | Forced | 20.00 | 3.50 | SCE Gen | CISO
CHINO_2_SOLAR2 |  | Kona Solar - Terra Francesca |  |  | Forced | 1.49 | 1.49 | SCE Gen | CISO
CHWCHL_1_UNIT |  | CHOW 2 PEAKER PLANT |  |  | Forced | 48.60 | 3.00 | PGAE Gen | CISO
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 6.00 | BANC Gen | BANC
CIG_6_PL |  | Carson ICE CoGen |  |  | Forced | 61.00 | 6.00 | EIM SMUD | BANC
CLARIBEL_6_EROCKGEN |  | Enchanted Rock Claribel |  |  | Forced | 47.97 | 47.97 | BANC Gen | BANC
CLOVER_2_UNIT |  | Clover Creek |  |  | Forced | 0.99 | 0.99 | PGAE Gen | CISO
CLRMNT_6_CLEBT1 |  | Clairemont Energy Storage |  |  | Planned/Forced | 9.00 | 1.00 | SDGE Gen | CISO
CMRRON_2_CMNWD1 |  | Cimarron Wind |  |  | Planned/Forced | 300.00 | 24.20 | SDGE Gen | CISO
COACHSS_6_COACHLA2 |  | COACHSS_6_COACHLA2 |  |  | Planned | 21.70 | 21.70 | IID Gen | IID
COCOPP_2_CTG1 |  | Marsh Landing 1 |  |  | Forced | 204.20 | 8.36 | PGAE South | CISO
COCOPP_2_CTG2 |  | Marsh Landing 2 |  |  | Forced | 202.70 | 7.68 | PGAE South | CISO
COCOPP_2_CTG3 |  | Marsh Landing 3 |  |  | Forced | 208.96 | 14.36 | PGAE South | CISO
COCOPP_2_CTG4 |  | Marsh Landing 4 |  |  | Forced | 204.29 | 7.86 | PGAE South | CISO
COLGAT_7_UNIT 1 |  | Colgate Powerhouse Unit 1 |  |  | Forced | 176.72 | 176.72 | PGAE North | CISO
COLGAT_7_UNIT 2 |  | Colgate Powerhouse Unit 2 |  |  | Forced | 175.67 | 175.67 | PGAE North | CISO
COLPIN_6_COLLNS |  | Collins Pine |  |  | Forced | 3.30 | 3.30 | PGAE Gen | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 26.20 | PGAE Gen | CISO
COLUSA_2_PL1X3 |  | Colusa Generating Station |  |  | Forced | 641.00 | 26.20 | PGAE North | CISO
COLVIL_7_PL1X2 |  | COLLIERVILLE HYDRO UNIT 1 &amp; 2 AGGREGATE |  |  | Planned | 246.86 | 120.36 | PGAE Gen | CISO
CONTRL_1_CASAD2 |  | Mammoth G2 |  |  | Forced | 10.50 | 0.80 | SCE Gen | CISO
CONTRL_1_LUNDY |  | LUNDY |  |  | Forced | 3.00 | 2.60 | SCE Gen | CISO
CONTRL_1_POOLE |  | POOLE HYDRO PLANT 1 |  |  | Forced | 11.07 | 11.07 | SCE Gen | CISO
COVERD_2_HCKHY1 |  | HATCHET CREEK |  |  | Forced | 6.89 | 6.89 | PGAE Gen | CISO
COVERD_2_RCKHY1 |  | ROARING CREEK |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 43.00 | BANC Gen | BANC
CPP_2_PL |  | Cosumnes Power Plant |  |  | Forced | 612.00 | 43.00 | EIM SMUD | BANC
CPVERD_2_SOLAR |  | Campo Verde Solar |  |  | Forced | 139.00 | 24.00 | SDGE Gen | CISO
CRELMN_6_RAMSR3 |  | Ramona Solar Energy |  |  | Forced | 4.32 | 3.32 | SDGE Gen | CISO
CRIMSN_2_CRMBT2 |  | Crimson 2 |  |  | Forced | 150.00 | 50.00 | SCE Gen | CISO
CRNEVL_6_SJQN 2 |  | SAN JOAQUIN 2 |  |  | Forced | 3.20 | 3.20 | PGAE Gen | CISO
CRWCKS_1_SOLAR1 |  | Crow Creek Solar 1 |  |  | Forced | 20.00 | 20.00 | PGAE Gen | CISO
CSCGNR_1_UNIT 1 |  | GIANERA PEAKER UNIT 1 |  |  | Forced | 24.75 | 24.75 | PGAE South | CISO
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 1.00 | BANC Gen | BANC
CSG_2_PL |  | Campbell Soup Power Plant |  |  | Forced | 171.00 | 1.00 | EIM SMUD | BANC
CUMMNG_6_SUNCT1 |  | SunSelect 1 |  |  | Forced | 4.00 | 4.00 | SCE Gen | CISO
CUYAMA_6_SB3SB1 |  | SEPV Barbara 3 |  |  | Forced | 3.00 | 3.00 | PGAE Gen | CISO
EXCHEC_7_UNIT 1 |  | EXCHEQUER HYDRO |  |  | Forced | 94.50 | 9.50 | PGAE South | CISO
EXCLSG_1_SOLAR |  | Excelsior Solar |  |  | Forced | 60.00 | 60.00 | PGAE Gen | CISO
FLOWD2_2_FPLWND |  | DIABLO WINDS |  |  | Forced | 18.00 | 5.00 | PGAE Gen | CISO
FMEADO_6_HELLHL |  | FMEADO_6_HELLHL |  |  | Planned | 0.60 | 0.60 | PGAE North | CISO
FMEADO_7_UNIT |  | FRENCH MEADOWS HYDRO |  |  | Planned | 16.00 | 16.00 | PGAE North | CISO
FOLSOM_7_UNITS |  | Folsom and Nimbus Aggregation |  |  | Planned/Forced | 224.00 | 124.00 | BANC Gen | BANC
FORBST_7_UNIT 1 |  | FORBESTOWN HYDRO |  |  | Forced | 37.50 | 1.00 | PGAE North | CISO
FORKBU_6_UNIT |  | Forks of Butte Hydro |  |  | Forced | 14.40 | 14.40 | PGAE Gen | CISO
GARNET_1_SOLAR2 |  | Garnet Solar Power Generation Station 1 |  |  | Forced | 4.00 | 4.00 | SCE Gen | CISO
GARNET_2_HYDRO |  | Whitewater Hydro |  |  | Forced | 1.00 | 1.00 | SCE Gen | CISO
GATEWY_2_GESBT1 |  | Gateway Energy Storage |  |  | Forced | 250.00 | 95.00 | SDGE Gen | CISO
GATWAY_2_PL1X3 |  | GATEWAY GENERATING STATION |  |  | Forced | 585.00 | 63.70 | PGAE South | CISO
GEYS11_7_UNIT11 |  | GEYSERS UNIT 11 (HEALDSBURG) |  |  | Forced | 86.80 | 6.80 | PGAE Gen | CISO
GEYS12_7_UNIT12 |  | GEYSERS UNIT 12 (HEALDSBURG) |  |  | Planned/Forced | 57.00 | 57.00 | PGAE Gen | CISO
GEYS13_7_UNIT13 |  | GEYSERS UNIT 13 (HEALDSBURG) |  |  | Forced | 73.00 | 27.00 | PGAE Gen | CISO
GEYS14_7_UNIT14 |  | GEYSERS UNIT 14 (HEALDSBURG) |  |  | Forced | 70.00 | 8.00 | PGAE Gen | CISO
GEYS16_7_UNIT16 |  | GEYSERS UNIT 16 (HEALDSBURG) |  |  | Forced | 63.00 | 19.00 | PGAE Gen | CISO
GEYS17_7_UNIT17 |  | GEYSERS UNIT 17 (HEALDSBURG) |  |  | Forced | 75.50 | 1.50 | PGAE Gen | CISO
GEYS18_7_UNIT18 |  | GEYSERS UNIT 18 (HEALDSBURG) |  |  | Forced | 72.00 | 33.00 | PGAE Gen | CISO
GEYS20_7_UNIT20 |  | GEYSERS UNIT 20 (HEALDSBURG) |  |  | Forced | 50.00 | 16.00 | PGAE Gen | CISO
GILROY_1_UNIT |  | GILROY COGEN AGGREGATE |  |  | Forced | 120.00 | 17.00 | PGAE South | CISO
GLNARM_7_UNIT 1 |  | GLEN ARM UNIT 1 |  |  | Forced | 22.13 | 7.13 | SCE Gen | CISO
GLNARM_7_UNIT 4 |  | GLEN ARM UNIT 4 |  |  | Forced | 42.42 | 4.42 | SCE Gen | CISO
GOLETA_2_PAIBT2 |  | PAINTER BESS |  |  | Forced | 10.00 | 10.00 | SCE Gen | CISO
GOLETA_2_VALBT1 |  | Vallecito Energy Storage |  |  | Forced | 10.00 | 2.00 | SCE Gen | CISO
GOLETA_6_EXGEN |  | EXXON COMPANY USA |  |  | Forced | 48.20 | 45.20 | SCE Gen | CISO
GONZLS_6_UNIT |  | Johnson Canyon Landfill |  |  | Forced | 1.42 | 1.42 | PGAE Gen | CISO
GRIZLY_1_UNIT 1 |  | GRIZZLY HYDRO |  |  | Planned | 20.00 | 20.00 | PGAE Gen | CISO
GRIZLY_1_UNIT 1 |  | GRIZZLY HYDRO |  |  | Planned | 20.00 | 20.00 | PGAE North | CISO
GRSCRK_6_BGCKWW |  | BIG CREEK WATER WORKS - CEDAR FLAT |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
GYS5X6_7_UNITS |  | GEYSERS UNITS 5 &amp; 6 AGGREGATE |  |  | Forced | 98.43 | 16.43 | PGAE Gen | CISO
GYS7X8_7_UNITS |  | GEYSERS UNITS 7 &amp; 8 AGGREGATE |  |  | Forced | 95.80 | 12.80 | PGAE Gen | CISO
GYSRVL_7_WSPRNG |  | Warm Springs Hydro |  |  | Forced | 3.75 | 3.75 | PGAE Gen | CISO
HALSEY_6_UNIT |  | HALSEY HYDRO |  |  | Planned/Forced | 13.50 | 13.50 | PGAE Gen | CISO
HARBGN_7_UNITS |  | HARBOR COGEN COMBINED CYCLE |  |  | Forced | 109.01 | 24.01 | SCE Gen | CISO
HARDWK_6_STWBM1 |  | Still Water Ranch Dairy |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
HARGS_1_CC_1_2_5 |  | Harbor Generating Station Combined Cycle |  |  | Planned | 212.00 | 212.00 | LADWP Gen | LADWP
HATLOS_6_LSCRK |  | Lost Creek 1 &amp; 2 Hydro Conversion |  |  | Forced | 1.70 | 0.70 | PGAE Gen | CISO
HAYGS_2_CC8_9_10 |  | Haynes Generating Station Combined Cycle |  |  | Planned/Forced | 575.00 | 575.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_1 |  | Haynes Generating Station UNIT 1 |  |  | Planned | 222.00 | 222.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_16 |  | Haynes Generating Station UNIT 16 |  |  | Forced | 96.00 | 96.00 | LADWP Gen | LADWP
HAYGS_2_UNIT_2 |  | Haynes Generating Station UNIT 2 |  |  | Forced | 222.00 | 222.00 | LADWP Gen | LADWP
HAYPRS_6_HAYHD1 |  | Haypress Lower |  |  | Forced | 5.80 | 5.80 | PGAE Gen | CISO
HAYPRS_6_HAYHD2 |  | Haypress Middle |  |  | Forced | 6.70 | 6.70 | PGAE Gen | CISO
RIOBRV_6_UNIT 1 |  | RIO BRAVO HYDRO |  |  | Forced | 14.00 | 14.00 | PGAE Gen | CISO
ROB_6_UNIT |  | Robbs Peak Powerhouse |  |  | Planned/Forced | 26.00 | 26.00 | BANC Gen | BANC
ROB_6_UNIT |  | Robbs Peak Powerhouse |  |  | Planned/Forced | 26.00 | 26.00 | EIM SMUD | BANC
RPEAK_6_UNITS |  | Roseville Peakers TM2500 |  |  | Forced | 55.00 | 25.00 | BANC Gen | BANC
RSEC_6_CTG3 |  | Sunset Energy Center CT3 |  |  | Forced | 32.00 | 32.00 | BANC Gen | BANC
RSEC_6_CTG4 |  | Sunset Energy Center CT4 |  |  | Forced | 32.00 | 32.00 | BANC Gen | BANC
RTEDDY_2_RWSBT4 |  | Rosamond West Solar Central BESS B |  |  | Forced | 30.00 | 3.00 | SCE Gen | CISO
RUSCTY_2_UNITS |  | Russell City Energy Center |  |  | Forced | 615.18 | 26.18 | PGAE South | CISO
RUSSELL_2_SOLANO1 |  | Solano Renewables 1 |  |  | Forced | 255.90 | 25.90 | PGAE Gen | CISO
RVRVEW_1_UNITA1 |  | Riverview Energy Center (GP Antioch) |  |  | Forced | 48.70 | 48.70 | PGAE Gen | CISO
RVSIDE_6_RERCU2 |  | Riverside Energy Res. Ctr Unit 2 |  |  | Forced | 48.50 | 23.50 | SCE Gen | CISO
SALTSP_7_UNITS |  | SALT SPRINGS HYDRO AGGREGATE |  |  | Planned | 46.00 | 46.00 | PGAE Gen | CISO
SALTSP_7_UNITS |  | SALT SPRINGS HYDRO AGGREGATE |  |  | Planned | 46.00 | 46.00 | PGAE North | CISO
SANBRN_2_ESABT1 |  | EdSan 1A |  |  | Forced | 100.00 | 100.00 | SCE Gen | CISO
SUNRIS_2_PL1X3 |  | Sunrise Power Project AGGREGATE II |  |  | Forced | 600.00 | 26.81 | PGAE Gen | CISO
HELMPG_7_UNIT 1 |  | HELMS PUMP-GEN UNIT 1 |  |  | Forced | 407.00 | 57.00 | PGAE South | CISO
HELMPG_7_UNIT 2 |  | HELMS PUMP-GEN UNIT 2 |  |  | Forced | 407.00 | 57.00 | PGAE South | CISO
HELMPG_7_UNIT 3 |  | HELMS PUMP-GEN UNIT 3 |  |  | Planned | 404.00 | 404.00 | PGAE South | CISO
HENRTA_6_SOLAR1 |  | Lemoore 1 |  |  | Forced | 1.50 | 1.20 | PGAE Gen | CISO
HENRTA_6_SOLAR2 |  | Westside Solar Power PV1 |  |  | Forced | 2.00 | 2.00 | PGAE Gen | CISO
HIDSRT_2_UNITS |  | HIGH DESERT POWER PROJECT AGGREGATE |  |  | Forced | 850.00 | 13.00 | SCE Gen | CISO
HNTGBH_2_PL1X3 |  | Huntington Beach Energy |  |  | Planned/Forced | 673.80 | 673.80 | SCE Gen | CISO
HNTGBH_7_UNIT 2 |  | HUNTINGTON BEACH GEN STA. UNIT 2 |  |  | Forced | 226.84 | 226.84 | SCE Gen | CISO
HOOVER_2_LDWP |  | Hoover Power Plant - LADWP Share |  |  | Forced | 537.00 | 321.00 | LADWP Gen | LADWP
HYTTHM_2_UNITS |  | HYATT-THERMALITO PUMP-GEN (AGGREGATE) |  |  | Forced | 933.10 | 218.10 | PGAE Gen | CISO
INDIGO_1_UNIT 1 |  | INDIGO PEAKER UNIT 1 |  |  | Forced | 45.30 | 4.40 | SCE Gen | CISO
INDIGO_1_UNIT 2 |  | INDIGO PEAKER UNIT 2 |  |  | Forced | 45.30 | 4.40 | SCE Gen | CISO
INDIGO_1_UNIT 3 |  | INDIGO PEAKER UNIT 3 |  |  | Forced | 45.30 | 4.40 | SCE Gen | CISO
INTGS_3_CC_4 |  | Intermountain Generating Station UNITS |  |  | Planned | 338.00 | 338.00 | LADWP Gen | LADWP
INTGS_3_CC_4_UAM |  | Intermountain Generating Station UNITS |  |  | Planned | 4.00 | 4.00 | LADWP Gen | LADWP
INTKEP_2_UNITS |  | CCSF Hetch_Hetchy Hydro Aggregate |  |  | Planned/Forced | 405.00 | 309.00 | PGAE Gen | CISO
INTMNT_3_ANAHEIM |  | Intermountain Power Project |  |  | Forced | 234.00 | 234.00 | SCE Gen | CISO
INTMNT_3_CC_3_ANAHEIM |  | Intermountain Generating Station UNITS |  |  | Forced | 67.00 | 44.00 | LADWP Gen | CISO
INTMNT_3_CC_3_RIVERSIDE |  | Intermountain; Unit 3 RVS Share |  |  | Forced | 39.00 | 22.99 | LADWP Gen | CISO
INTMNT_3_CC_4_ANAHEIM |  | Intermountain Generating Station UNITS |  |  | Forced | 67.00 | 67.00 | LADWP Gen | CISO
INTMNT_3_CC_4_RIVERSIDE |  | Intermountain; Unit 4 RVS Share |  |  | Planned | 39.00 | 39.00 | LADWP Gen | CISO
IVANPA_1_UNIT1 |  | Ivanpah 1 |  |  | Forced | 126.00 | 126.00 | SCE Gen | CISO
IVANPA_1_UNIT2 |  | Ivanpah 2 |  |  | Forced | 133.00 | 133.00 | SCE Gen | CISO
IVANPA_1_UNIT3 |  | Ivanpah 3 |  |  | Forced | 133.00 | 133.00 | SCE Gen | CISO
IVWEST_2_SOLAR1 |  | Imperial Valley West ( Q # 608) |  |  | Forced | 150.00 | 16.00 | SDGE Gen | CISO
JACMSR_1_JACSR1 |  | Jacumba Solar Farm |  |  | Forced | 20.00 | 6.00 | SDGE Gen | CISO
JAWBNE_2_NSRWND |  | North Sky River Wind Project |  |  | Forced | 160.00 | 6.40 | SCE Gen | CISO
JAWBNE_2_SRWND |  | Sky River Wind Repower A |  |  | Forced | 30.00 | 3.00 | SCE Gen | CISO
JAWBNE_2_SRWWD2 |  | Sky River Wind Repower B |  |  | Forced | 30.20 | 3.00 | SDGE Gen | CISO
JAYNE_6_WLSLR |  | Westlands Solar Farm PV 1 |  |  | Forced | 18.00 | 1.00 | PGAE Gen | CISO
JFK_6_UNIT |  | Jones Fork Powerhouse |  |  | Planned | 10.00 | 10.00 | BANC Gen | BANC
JFK_6_UNIT |  | Jones Fork Powerhouse |  |  | Planned | 10.00 | 10.00 | EIM SMUD | BANC
JOHANN_2_OCEBT2 |  | Orange County Energy Storage 2 |  |  | Forced | 9.00 | 9.00 | SCE Gen | CISO
JOHANN_2_OCEBT3 |  | Orange County Energy Storage 3 |  |  | Forced | 6.00 | 6.00 | SCE Gen | CISO
JOHANN_2_T1BBT1 |  | Titanium 1 BESS |  |  | Forced | 1.40 | 1.40 | SCE Gen | CISO
KEKAWK_6_UNIT |  | STS HYDROPOWER LTD. (KEKAWAKA) |  |  | Forced | 5.50 | 5.50 | PGAE Gen | CISO
KELSO_2_UNITS |  | Mariposa Energy |  |  | Forced | 198.03 | 9.71 | PGAE Gen | CISO
KELYRG_6_UNIT |  | KELLY RIDGE HYDRO |  |  | Planned/Forced | 11.00 | 11.00 | PGAE North | CISO
KERKH2_7_UNIT 1 |  | KERKHOFF PH 2 UNIT #1 |  |  | Planned/Forced | 153.90 | 153.90 | PGAE South | CISO
KIRKER_7_KELCYN |  | KELLER CANYON LANDFILL GEN FACILICITY |  |  | Forced | 3.56 | 2.26 | PGAE South | CISO
KNGBRD_2_SOLAR1 |  | Kingbird Solar A |  |  | Forced | 20.00 | 1.00 | SCE Gen | CISO
KYCORA_6_KMSBT1 |  | Kearny Mesa Storage |  |  | Forced | 1.00 | 0.50 | SDGE Gen | CISO
GASKW1_2_GW2BT2 |  | Gaskell West Alamo BESS |  |  | Forced | 21.62 | 21.62 |  | CISO
GONZAG_6_GNZWD3 |  | Gonzaga Hybrid Wind |  |  | Forced | 51.85 | 10.55 |  | CISO
INTMNT_3_CC_3_PASADENA |  | Intermountain; Unit 3 PASA Share |  |  | Forced | 31.00 | 21.00 |  | CISO
INTMNT_3_CC_4_PASADENA |  | INTMNT_PASA_UNIT4 |  |  | Forced | 31.00 | 31.00 |  | CISO
KSTRGE_1_KEYBT3 |  | Key Storage 1 A |  |  | Forced | 190.00 | 190.00 |  | CISO
KSTRGE_1_KEYBT4 |  | Key Storage 1 B |  |  | Forced | 35.00 | 35.00 |  | CISO
KSTRGE_1_KEYBX2 |  | Key Storage 1 |  |  | Forced | 75.00 | 75.00 |  | CISO
LALPAG_1_LALBT1 |  | Lake Alpaugh Battery Storage |  |  | Forced | 10.00 | 3.50 |  | CISO
MULQNY_2_MRWWD1 |  | Mulqueeney Ranch Wind |  |  | Forced | 80.00 | 80.00 |  | CISO
OASIS_6_AR4SR1 |  | Arrache 4006 I |  |  | Forced | 1.00 | 1.00 |  | CISO
OASIS_6_AR8SR1 |  | Arrache 8083 I |  |  | Forced | 1.50 | 1.50 |  | CISO
OASIS_6_AR8SR2 |  | Arrache 8083 II |  |  | Forced | 1.50 | 1.50 |  | CISO
OASIS_6_AR8SR3 |  | Arrache 8083 III |  |  | Forced | 1.00 | 1.00 |  | CISO
PELJAW_2_PJSBX2 |  | Pelicans Jaw Hybrid Solar 1 |  |  | Forced | 500.00 | 195.00 |  | CISO
PGCC_1_PDRP24 |  | VLTS_PDR_PGCC_01 |  |  | Planned | 7.00 | 7.00 |  | CISO
PGCC_1_PDRP60 |  | VLTS_PDR_PGCC_D |  |  | Planned | 7.00 | 7.00 |  | CISO
PGEB_2_PDRP107 |  | VLTS_PDR_PGEB_02 |  |  | Planned | 7.50 | 7.50 |  | CISO
PGEB_2_PDRP111 |  | VLTS_PDR_PGEB_03 |  |  | Planned | 4.00 | 4.00 |  | CISO
PGEB_2_PDRP93 |  | VLTS_PDR_PGEB_1 |  |  | Planned | 9.00 | 9.00 |  | CISO
PGF1_2_PDRP108 |  | VLTS_PDR_PGF1_02 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGF1_2_PDRP111 |  | VLTS_PDR_PGF1_03 |  |  | Planned | 9.90 | 9.90 |  | CISO
PGF1_2_PDRP116 |  | VLTS_PDR_PGF1_04 |  |  | Planned | 9.90 | 9.90 |  | CISO
PGF1_2_PDRP120 |  | VLTS_PDR_PGF1_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGFG_1_PDRP77 |  | VLTS_PDR_PGFG_01 |  |  | Planned | 5.00 | 5.00 |  | CISO
PGKN_2_PDRP32 |  | VLTS_PDR_PGKN_1 |  |  | Planned | 3.00 | 3.00 |  | CISO
PGKN_2_PDRP59 |  | VLTS_PDR_PGKN_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGNB_2_PDRP101 |  | VLTS_PDR_PGNB_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGNB_2_PDRP43 |  | VLTS_PDR_PGNB_02 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGNP_2_PDRP39 |  | VLTS_PDR_PGNP_02 |  |  | Planned | 8.00 | 8.00 |  | CISO
PGNP_2_PDRP53 |  | VLTS_PDR_PGNP_04 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGNP_2_PDRP60 |  | VLTS_PDR_PGNP_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGP2_2_PDRP101 |  | VLTS_PDR_PGP2_02 |  |  | Planned | 5.00 | 5.00 |  | CISO
PGP2_2_PDRP58 |  | PGP2_2_PDRP58 |  |  | Planned | 5.00 | 5.00 |  | CISO
PGSB_1_PDRP111 |  | VLTS_PDR_PGSB_05 |  |  | Planned | 3.00 | 3.00 |  | CISO
PGSB_1_PDRP87 |  | VLTS_PDR_PGSB_1 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGSB_1_PDRP97 |  | VLTS_PDR_PGSB_03 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGSF_2_PDRP100 |  | VLTS_PDR_PGSF_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGSF_2_PDRP49 |  | VLTS_PDR_PGSF_1 |  |  | Planned | 3.50 | 3.50 |  | CISO
PGSF_2_PDRP58 |  | VLTS_PDR_PGSF_02 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGSI_1_PDRP100 |  | VLTS_PDR_PGSI_D |  |  | Planned | 3.00 | 3.00 |  | CISO
PGSI_1_PDRP59 |  | VLTS_PDR_PGSI_03 |  |  | Planned | 3.00 | 3.00 |  | CISO
PGST_2_PDRP40 |  | VLTS_PDR_PGST_2 |  |  | Planned | 3.50 | 3.50 |  | CISO
PGZP_2_PDRP50 |  | VLTS_PDR_PGZP_02 |  |  | Planned | 9.95 | 9.95 |  | CISO
PGZP_2_PDRP61 |  | VLTS_PDR_PGZP_D |  |  | Planned | 3.00 | 3.00 |  | CISO
RDWAY_1_SCKSR1 |  | Sheep Creek |  |  | Forced | 3.00 | 3.00 |  | CISO
SCARLT_2_SSASR1 |  | Scarlet Solar CA 1A PV |  |  | Forced | 100.00 | 5.00 |  | CISO
SCARLT_2_SSBSR1 |  | Scarlet Solar CA 1B PV |  |  | Forced | 100.00 | 10.00 |  | CISO
SCEN_6_PDRP109 |  | VLTS_PDR_SCEN_D |  |  | Planned | 3.00 | 3.00 |  | CISO
SCHD_1_PDRP70 |  | VLTS_PDR_SCHD_D |  |  | Planned | 3.00 | 3.00 |  | CISO
SCNW_6_PDRP68 |  | VLTS_PDR_SCNW_03 |  |  | Planned | 9.95 | 9.95 |  | CISO
SHANDN_2_SBBBM1 |  | San Bernardino Biogas |  |  | Forced | 2.60 | 2.60 |  | CISO
SHUTLE_6_RUISR1 |  | Rutan 1 |  |  | Forced | 1.50 | 1.50 |  | CISO
SHUTLE_6_RUISR2 |  | Rutan 2 |  |  | Forced | 1.50 | 1.50 |  | CISO
SHUTLE_6_RUISR3 |  | Rutan 3 |  |  | Forced | 1.00 | 1.00 |  | CISO
SIGHEB_6_HE2SCEDYN |  | Heber 2 |  |  | Forced | 30.00 | 11.00 |  | CISO
SPCPRK_1_KFRBT1 |  | Kifer BESS 1 |  |  | Forced | 50.00 | 50.00 |  | CISO
STANTN_2_SBEBX2 |  | Stanton Battery Energy Storage |  |  | Planned/Forced | 68.80 | 2.40 |  | CISO
BIGCRK_2_EXESWD |  | BIG CREEK HYDRO PROJECT PSP |  |  | Planned/Forced | 820.00 | 335.00 | SCE Gen | CISO
BIGSKY_2_BSKSR8 |  | Big Sky Solar 8 |  |  | Forced | 20.00 | 10.00 | SCE Gen | CISO
BIGSKY_2_SOLAR1 |  | Antelope Big Sky Ranch |  |  | Forced | 20.00 | 7.00 | SCE Gen | CISO
BIGSKY_2_SOLAR6 |  | Solverde 1 |  |  | Forced | 85.00 | 28.00 | SCE Gen | CISO
BIGSKY_2_SOLAR7 |  | Big Sky Solar 1 |  |  | Forced | 50.00 | 14.00 | SCE Gen | CISO
BISHOP_1_ALAMO |  | BISHOP CREEK PLANT 2 AND 6 |  |  | Planned/Forced | 13.40 | 12.10 | SCE Gen | CISO
BISHOP_1_UNITS |  | BISHOP CREEK PLANT 3 AND 4 |  |  | Planned/Forced | 15.80 | 9.70 | SCE Gen | CISO
BKRFLD_2_SOLAR1 |  | Bakersfield 111 |  |  | Forced | 1.38 | 1.38 | PGAE Gen | CISO
BLACK_7_UNIT 1 |  | JAMES B. BLACK 1 |  |  | Planned | 85.00 | 85.00 | PGAE Gen | CISO
BLACK_7_UNIT 1 |  | JAMES B. BLACK 1 |  |  | Planned | 85.00 | 85.00 | PGAE North | CISO
BLACK_7_UNIT 2 |  | JAMES B. BLACK 2 |  |  | Planned | 84.10 | 84.10 | PGAE Gen | CISO
BLACK_7_UNIT 2 |  | JAMES B. BLACK 2 |  |  | Planned | 84.10 | 84.10 | PGAE North | CISO
BLAST_1_WIND |  | Mountain View IV Wind |  |  | Planned | 49.00 | 14.10 | SCE Gen | CISO
BLCKBT_2_STONEY |  | BLACK BUTTE HYDRO |  |  | Forced | 6.20 | 6.20 | PGAE Gen | CISO
BNNIEN_7_ALTAPH |  | ALTA POWER HOUSE |  |  | Forced | 1.00 | 1.00 | PGAE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 48.69 | 2.69 | PGAE Gen | CISO
BOGUE_1_UNITA1 |  | Feather River Energy Center, Unit #1 |  |  | Forced | 48.69 | 2.69 | PGAE North | CISO
BRDSLD_2_MTZUM2 |  | NextEra Energy Montezuma Wind II |  |  | Forced | 78.20 | 25.20 | PGAE Gen | CISO
BRDSLD_2_MTZUMA |  | FPL Energy Montezuma Wind |  |  | Forced | 36.80 | 11.50 | PGAE Gen | CISO
BRDSLD_2_SHLO3B |  | Shiloh IV Wind Project |  |  | Forced | 100.00 | 5.00 | PGAE Gen | CISO
BRODIE_2_WIND |  | Coram Brodie Wind Project |  |  | Forced | 102.00 | 3.00 | SCE Gen | CISO
BUCKCK_7_OAKFLT |  | Oak Flat |  |  | Forced | 1.30 | 1.30 | PGAE Gen | CISO
BUCKCK_7_PL1X2 |  | BUCKS CREEK AGGREGATE |  |  | Planned | 59.00 | 59.00 | PGAE Gen | CISO
BUCKWD_1_QF |  | Buckwind Re-powering project |  |  | Forced | 16.50 | 1.50 | SCE Gen | CISO
BURNYF_2_UNIT 1 |  | Burney Forest Power |  |  | Planned/Forced | 29.00 | 29.00 | PGAE Gen | CISO
BUTTVL_7_UNIT 1 |  | BUTT VALLEY HYDRO |  |  | Forced | 39.50 | 39.50 | PGAE Gen | CISO
BUTTVL_7_UNIT 1 |  | BUTT VALLEY HYDRO |  |  | Forced | 39.50 | 39.50 | PGAE North | CISO
CABALO_2_M2BSR1 |  | Mustang 2 Barbaro Solar |  |  | Forced | 50.00 | 50.00 | PGAE Gen | CISO
CABALO_2_M2WSR2 |  | Mustang 2 Whirlaway Solar |  |  | Forced | 100.00 | 100.00 | PGAE Gen | CISO
CALFTN_2_CFSBT1 |  | California Flats Solar Battery |  |  | Forced | 60.00 | 6.00 | PGAE Gen | CISO
CALGEN_1_UNITS |  | Coso Navy 1 |  |  | Forced | 55.00 | 12.00 | SCE Gen | CISO
CALPIN_1_AGNEW |  | Agnews Power Plant |  |  | Forced | 28.56 | 1.56 | PGAE Gen | CISO
CAMCHE_1_PL1X3 |  | CAMANCHE UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Planned/Forced | 9.99 | 8.99 | PGAE Gen | CISO
CAMPFW_7_FARWST |  | CAMP FAR WEST HYDRO |  |  | Forced | 6.80 | 6.80 | PGAE Gen | CISO
CAM_2_UNIT1 |  | Camino Powerhouse Unit 1 |  |  | Planned | 80.00 | 80.00 | BANC Gen | BANC
CAM_2_UNIT1 |  | Camino Powerhouse Unit 1 |  |  | Planned | 80.00 | 80.00 | EIM SMUD | BANC
CAM_2_UNIT2 |  | Camino Powerhouse Unit 2 |  |  | Planned/Forced | 76.00 | 76.00 | BANC Gen | BANC
CAM_2_UNIT2 |  | Camino Powerhouse Unit 2 |  |  | Planned/Forced | 76.00 | 76.00 | EIM SMUD | BANC
CAPWD_1_QF |  | Edom Hills Wind Farm |  |  | Forced | 19.55 | 19.55 | SCE Gen | CISO
CARBOU_7_PL2X3 |  | CARIBOU PH 1 UNIT 2 &amp; 3 AGGREGATE |  |  | Forced | 49.00 | 49.00 | PGAE Gen | CISO
CARBOU_7_PL2X3 |  | CARIBOU PH 1 UNIT 2 &amp; 3 AGGREGATE |  |  | Forced | 49.00 | 49.00 | PGAE North | CISO
CARBOU_7_PL4X5 |  | CARIBOU PH 2 UNIT 4 &amp; 5 AGGREGATE |  |  | Forced | 120.00 | 120.00 | PGAE Gen | CISO
CARBOU_7_PL4X5 |  | CARIBOU PH 2 UNIT 4 &amp; 5 AGGREGATE |  |  | Forced | 120.00 | 120.00 | PGAE North | CISO
CARBOU_7_UNIT 1 |  | CARIBOU PH 1 UNIT 1 |  |  | Forced | 24.00 | 24.00 | PGAE Gen | CISO
CARBOU_7_UNIT 1 |  | CARIBOU PH 1 UNIT 1 |  |  | Forced | 24.00 | 24.00 | PGAE North | CISO
CARLS1_2_CARCT1 |  | Carlsbad 1 |  |  | Planned/Forced | 422.00 | 422.00 | SDGE Gen | CISO
CARLS2_1_CARCT1 |  | Carlsbad 2 |  |  | Forced | 105.50 | 105.50 | SDGE Gen | CISO
CASPP_2_UNIT_2 |  | Castaic Power Plant UNIT 2 |  |  | Forced | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_3 |  | Castaic Power Plant UNIT 3 |  |  | Planned | 238.00 | 238.00 | LADWP Gen | LADWP
CASPP_2_UNIT_6 |  | Castaic Power Plant UNIT 6 |  |  | Forced | 238.00 | 238.00 | LADWP Gen | LADWP
DAIRLD_1_MD2BM1 |  | Madera Digester Genset 2 |  |  | Planned | 0.80 | 0.80 | PGAE Gen | CISO
DELAMO_2_SOLRC1 |  | Golden Springs Building C1 |  |  | Forced | 1.16 | 1.16 | SCE Gen | CISO
DELSUR_6_CREST |  | Delsur Aggregate Solar Resources |  |  | Forced | 8.50 | 1.00 | SCE Gen | CISO
DELSUR_6_SOLAR1 |  | Summer Solar North |  |  | Forced | 6.50 | 1.50 | SCE Gen | CISO
DELTA_2_PL1X4 |  | DELTA ENERGY CENTER AGGREGATE |  |  | Forced | 880.00 | 28.00 | PGAE Gen | CISO
DIABLO_7_UNIT 1 |  | Diablo Canyon Unit 1 |  |  | Planned/Forced | 1150.00 | 1150.00 | PGAE South | CISO
DONNLS_7_UNIT |  | Donnells Hydro |  |  | Forced | 72.00 | 1.00 | PGAE Gen | CISO
DONPEDRO_6_MIDUNIT1 |  | Don Pedro Generation Station Unit 1 |  |  | Forced | 55.00 | 55.00 | BANC Gen | BANC
DONPEDRO_6_MIDUNIT2 |  | Don Pedro Generation Station Unit 2 |  |  | Forced | 55.00 | 55.00 | BANC Gen | BANC
DONPEDRO_6_MIDUNIT3 |  | Don Pedro Generation Station Unit 3 |  |  | Planned/Forced | 55.00 | 55.00 | BANC Gen | BANC
DONPEDRO_6_MIDUNIT4 |  | Don Pedro Generation Station Unit 4 |  |  | Forced | 38.00 | 38.00 | BANC Gen | BANC
DONPEDRO_6_UNIT2 |  | Don Pedro Unit 2 |  |  | Planned | 55.00 | 55.00 | TID Gen | TIDC
DOSPAL_1_DPSSR1 |  | Dos Palos Clean Power |  |  | Forced | 3.00 | 2.00 | PGAE Gen | CISO
DSABLA_7_UNIT |  | De Sabla Hydro |  |  | Forced | 18.50 | 18.50 | PGAE Gen | CISO
DSABLA_7_UNIT |  | De Sabla Hydro |  |  | Forced | 18.50 | 18.50 | PGAE North | CISO
DSRTHV_2_DH2BT1 |  | Desert Harvest BESS |  |  | Forced | 35.00 | 2.69 | SCE Gen | CISO
DSRTSL_2_SOLAR1 |  | Desert Stateline |  |  | Forced | 296.19 | 296.19 | SCE Gen | CISO
DTCHWD_2_BT3WND |  | Brookfield Tehachapi 3 |  |  | Forced | 3.00 | 1.50 | SCE Gen | CISO
DUANE_1_PL1X3 |  | DONALD VON RAESFELD POWER PROJECT |  |  | Forced | 147.80 | 7.80 | PGAE South | CISO
DVLCYN_1_UNITS |  | DEVIL CANYON HYDRO UNITS 1-4 AGGREGATE |  |  | Planned | 235.00 | 75.00 | SCE Gen | CISO
EASTWD_7_UNIT |  | EASTWOOD PUMP-GEN |  |  | Planned/Forced | 200.00 | 200.00 | SCE Gen | CISO
ECASCO_2_SJGBT1 |  | San Jacinto Grid |  |  | Forced | 65.00 | 5.00 | SCE Gen | CISO
ELCAJN_6_EB1BT1 |  | Eastern BESS 1 |  |  | Planned | 7.50 | 5.50 | SDGE Gen | CISO
ELCAJN_6_LM6K |  | El Cajon Energy Center |  |  | Forced | 48.10 | 1.00 | SDGE Gen | CISO
ELCAJN_6_UNITA1 |  | Cuyamaca Peak Energy Plant |  |  | Forced | 45.42 | 45.42 | SDGE Gen | CISO
ELCEN92_6_ELSTM_4 |  | ELCEN92_6_ELSTM_4 |  |  | Forced | 80.00 | 80.00 | IID Gen | IID
ELDORO_7_UNIT 1 |  | El Dorado Unit 1 |  |  | Planned/Forced | 11.00 | 11.00 | PGAE North | CISO
ELDORO_7_UNIT 2 |  | El Dorado Unit 2 |  |  | Planned | 11.00 | 11.00 | PGAE North | CISO
ELKCRK_6_STONYG |  | STONEY GORGE HYDRO AGGREGATE |  |  | Forced | 4.90 | 4.90 | PGAE Gen | CISO
ELKHIL_2_PL1X3 |  | ELK HILLS COMBINED CYCLE (AGGREGATE) |  |  | Forced | 551.70 | 55.70 | PGAE Gen | CISO
ELKHRN_1_EESX3 |  | Elkhorn Energy Storage |  |  | Forced | 182.50 | 182.50 | PGAE Gen | CISO
ELK_6_BRU |  | Bruceville Solar FIT |  |  | Forced | 18.00 | 6.00 | BANC Gen | BANC
ELK_6_BRU |  | Bruceville Solar FIT |  |  | Forced | 18.00 | 6.00 | EIM SMUD | BANC
ESCNDO_6_EB1BT1 |  | Escondido BESS 1 |  |  | Forced | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB2BT2 |  | Escondido BESS 2 |  |  | Forced | 10.00 | 10.00 | SDGE Gen | CISO
ESCNDO_6_EB3BT3 |  | Escondido BESS 3 |  |  | Forced | 10.00 | 10.00 | SDGE Gen | CISO
ESNHWR_2_WC1BT1 |  | Wildcat I BESS |  |  | Forced | 3.00 | 1.00 | SCE Gen | CISO
ESQUON_6_LNDFIL |  | Neal Road Landfill Generating Facility |  |  | Forced | 2.10 | 0.28 | PGAE Gen | CISO
SANBRN_2_SS2BT3 |  | Sanborn Solar 2 SBESS 3 |  |  | Forced | 169.00 | 19.00 | SCE Gen | CISO
SANLOB_1_LNDFIL |  | Cold Canyon |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
SANTFG_7_UNITS |  | GEYSERS CALISTOGA AGGREGATE |  |  | Forced | 72.00 | 16.00 | PGAE Gen | CISO
SAUGUS_7_CHIQCN |  | Chiquita Canyon Landfill Fac |  |  | Forced | 8.00 | 8.00 | SCE Gen | CISO
SBERDO_2_PSP3 |  | Mountainview Gen Sta. Unit 3 |  |  | Forced | 555.00 | 14.15 | SCE Gen | CISO
SBERDO_2_PSP4 |  | Mountainview Gen Sta. Unit 4 |  |  | Forced | 555.00 | 20.15 | SCE Gen | CISO
SBERDO_2_SNTANA |  | SANTA ANA PSP |  |  | Forced | 6.95 | 6.95 | SCE Gen | CISO
SBERDO_6_MILLCK |  | MILL CREEK PSP |  |  | Planned | 3.93 | 3.93 | SCE Gen | CISO
SCAGS_1_UNIT_1 |  | Scattergood Generating Station UNIT 1 |  |  | Planned | 105.00 | 105.00 | LADWP Gen | LADWP
SCAGS_1_UNIT_2 |  | Scattergood Generating Station UNIT 2 |  |  | Forced | 177.00 | 44.00 | LADWP Gen | LADWP
SCAGS_2_CC_4_5 |  | Scattergood Generating Station CC |  |  | Forced | 311.00 | 11.00 | LADWP Gen | LADWP
SCAGS_2_UNIT_7 |  | Scattergood Generating Station UNIT 7 |  |  | Planned | 102.00 | 102.00 | LADWP Gen | LADWP
SCARLT_2_SSABT1 |  | Scarlet Solar CA 1A |  |  | Forced | 10.00 | 3.00 | PGAE Gen | CISO
SCARLT_2_SSBBT1 |  | Scarlet Solar CA 1B |  |  | Forced | 30.00 | 7.70 | PGAE Gen | CISO
SCEC_1_PDRP175 |  | VLTS_PDR_SCEC_01 |  |  | Planned | 9.95 | 9.95 | SCE Gen | CISO
SCEN_6_PDRP79 |  | VLTS_PDR_SCEN_01 |  |  | Planned | 5.50 | 5.50 | SCE Gen | CISO
SCEW_2_PDRP168 |  | VLTS_PDR_SCEW_01 |  |  | Planned | 6.50 | 6.50 | SCE Gen | CISO
SCHD_1_PDRP53 |  | VLTS_PDR_SCHD_01 |  |  | Planned | 9.00 | 9.00 | SCE Gen | CISO
SCNW_6_PDRP59 |  | VLTS_PDR_SCNW_1 |  |  | Planned | 7.00 | 7.00 | SCE Gen | CISO
SEAWND_2_AMWWD1 |  | Alta Mesa Wind |  |  | Planned/Forced | 27.00 | 13.84 | SCE Gen | CISO
SENTNL_2_CTG1 |  | Sentinel Unit 1 |  |  | Forced | 107.68 | 6.18 | SCE Gen | CISO
SENTNL_2_CTG2 |  | Sentinel Unit 2 |  |  | Forced | 104.19 | 6.19 | SCE Gen | CISO
SENTNL_2_CTG3 |  | Sentinel Unit 3 |  |  | Forced | 105.69 | 6.19 | SCE Gen | CISO
SENTNL_2_CTG4 |  | Sentinel Unit 4 |  |  | Forced | 106.55 | 6.25 | SCE Gen | CISO
SENTNL_2_CTG5 |  | Sentinel Unit 5 |  |  | Forced | 107.52 | 6.22 | SCE Gen | CISO
SENTNL_2_CTG6 |  | Sentinel Unit 6 |  |  | Forced | 105.00 | 6.20 | SCE Gen | CISO
SENTNL_2_CTG7 |  | Sentinel Unit 7 |  |  | Planned | 106.73 | 106.73 | SCE Gen | CISO
SENTNL_2_CTG8 |  | Sentinel Unit 8 |  |  | Forced | 106.85 | 6.25 | SCE Gen | CISO
SHASTRD_7_UNITS |  | Shasta and Trinity River Division Agg |  |  | Planned/Forced | 1265.00 | 289.00 | BANC Gen | BANC
SIGHEB_6_MIRDYN |  | Heber South |  |  | Forced | 18.00 | 5.00 | SDGE Gen | CISO
SLATE_2_SLASR5 |  | Slate 5 |  |  | Forced | 26.00 | 1.15 | PGAE Gen | CISO
SLRMS3_2_SRMSR1 |  | SILVER RIDGE MOUNT SIGNAL 3 |  |  | Forced | 250.00 | 137.00 | SDGE Gen | CISO
SLUISP_2_UNITS |  | SAN LUIS (GIANELLI) PUMP-GEN (AGGREGATE) |  |  | Planned/Forced | 374.43 | 124.43 | PGAE Gen | CISO
SLYCRK_1_UNIT 1 |  | SLY CREEK HYDRO |  |  | Forced | 13.00 | 4.00 | PGAE North | CISO
SMUDGO_7_UNIT 1 |  | SONOMA POWER PLANT |  |  | Forced | 64.80 | 5.80 | PGAE Gen | CISO
SNCLRA_2_HOWLNG |  | Houwelings Nurseries Oxnard, Inc |  |  | Forced | 12.71 | 11.51 | SCE Gen | CISO
SNCLRA_2_SILBT1 |  | Silverstrand BESS |  |  | Planned | 11.00 | 11.00 | SCE Gen | CISO
SNCLRA_2_UNIT |  | Channel Islands Power |  |  | Forced | 27.50 | 27.50 | SCE Gen | CISO
SNCLRA_2_UNIT1 |  | New Indy Oxnard |  |  | Forced | 27.80 | 27.80 | SCE Gen | CISO
SNCLRA_2_VESBT1 |  | Ventura Energy Storage |  |  | Planned/Forced | 100.00 | 5.00 | SCE Gen | CISO
SNMALF_6_UNITS |  | Sonoma County Landfill |  |  | Forced | 5.00 | 5.00 | PGAE Gen | CISO
SPAULD_6_UNIT12 |  | SPAULDING HYDRO PH 1 &amp; 2 AGGREGATE |  |  | Forced | 11.40 | 11.40 | PGAE Gen | CISO
SPAULD_6_UNIT12 |  | SPAULDING HYDRO PH 1 &amp; 2 AGGREGATE |  |  | Forced | 11.40 | 11.40 | PGAE North | CISO
SPBURN_2_UNIT 1 |  | Burney Biomass |  |  | Planned/Forced | 22.00 | 22.00 | PGAE Gen | CISO
SPBURN_2_UNIT 1 |  | Burney Biomass |  |  | Planned/Forced | 22.00 | 22.00 | PGAE North | CISO
SPBURN_7_SNOWMT |  | Burney Creek Hydro |  |  | Forced | 3.00 | 3.00 | PGAE North | CISO
SPIFBD_1_PL1X2 |  | SIERRA PACIFIC IND. (SONORA) |  |  | Planned | 7.50 | 7.50 | PGAE Gen | CISO
SPQUIN_6_SRPCQU |  | Quincy Biomass |  |  | Forced | 24.00 | 24.00 | PGAE Gen | CISO
SPQUIN_6_SRPCQU |  | Quincy Biomass |  |  | Forced | 24.00 | 24.00 | PGAE North | CISO
SPRGVL_2_TULESC |  | TULE RIVER HYDRO PLANT (SCE) |  |  | Planned | 2.50 | 2.50 | SCE Gen | CISO
STANTN_2_STAGT1 |  | Stanton 1 |  |  | Planned | 49.65 | 10.00 | SCE Gen | CISO
STRAUS_1_STRWD1 |  | Strauss Wind, LLC |  |  | Forced | 95.25 | 3.85 | PGAE Gen | CISO
SUNSET_2_UNITS |  | MIDWAY SUNSET COGENERATION PLANT |  |  | Forced | 248.00 | 14.00 | PGAE South | CISO
SUTTER_2_CISO |  | Sutter Power Plant Pseudo-CISO |  |  | Planned/Forced | 275.00 | 275.00 | PGAE Gen | CISO
SUTTER_2_PSEUDOBANC |  | SUTTER_2_PSEUDOBANC |  |  | Planned/Forced | 275.00 | 275.00 | BANC Gen | BANC
SYCAMR_2_UNIT 2 |  | Sycamore Cogeneration Unit 2 |  |  | Forced | 76.00 | 76.00 | SCE Gen | CISO
SZWDN_3_SZWX6 |  | SunZia Wind North |  |  | Forced | 1089.00 | 18.00 | GRIDC Gen | CISO
SZWDS_3_SZWX14 |  | SunZia Wind South |  |  | Forced | 2561.20 | 76.20 | GRIDC Gen | CISO
TANHIL_6_SOLART |  | Berry Cogen 18 |  |  | Forced | 17.00 | 12.50 | PGAE South | CISO
TEHAPI_2_PW2WD2 |  | Point Wind 2 |  |  | Forced | 14.40 | 3.60 | SCE Gen | CISO
TENGEN_2_PL1X2 |  | Placerita Canyon Cogen |  |  | Forced | 37.70 | 5.70 | SCE Gen | CISO
TERMEX_2_PL1X3 |  | TDM |  |  | Forced | 625.00 | 16.00 | SDGE Gen | CISO
TOADTW_6_UNIT |  | TOAD TOWN |  |  | Forced | 1.50 | 1.50 | PGAE Gen | CISO
TOADTW_6_UNIT |  | TOAD TOWN |  |  | Forced | 1.50 | 1.50 | PGAE North | CISO
TRNQL8_2_ROJSR1 |  | Tranquillity 8 Rojo |  |  | Forced | 100.00 | 5.00 | PGAE Gen | CISO
TRNQLT_2_RETBT1 |  | RE Tranquillity BESS |  |  | Forced | 72.00 | 22.00 | PGAE Gen | CISO
TRNSWD_1_QF |  | FPL Energy C Wind |  |  | Forced | 38.97 | 38.97 | SCE Gen | CISO
TUPMAN_1_BIOGAS |  | ABEC Bidart-Stockale #1 |  |  | Forced | 0.60 | 0.60 | PGAE Gen | CISO
ULTPCH_1_UCSBT1 |  | Ultrapower Chinese Station BESS |  |  | Forced | 9.93 | 9.93 | PGAE Gen | CISO
ULTPFR_1_UNIT 1 |  | Rio Bravo Fresno |  |  | Forced | 24.30 | 24.30 | PGAE South | CISO
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Planned | 46.00 | 46.00 | BANC Gen | BANC
UNV_2_UNIT |  | Union Valley Powerhouse |  |  | Planned | 46.00 | 46.00 | EIM SMUD | BANC
USWND2_1_WIND1 |  | Golden Hills A |  |  | Forced | 42.96 | 42.96 | PGAE Gen | CISO
USWND2_1_WIND2 |  | Golden Hills B |  |  | Forced | 42.96 | 42.96 | PGAE Gen | CISO
USWND2_1_WIND3 |  | Golden Hills C |  |  | Forced | 46.00 | 46.00 | PGAE Gen | CISO
USWNDR_2_LABWD1 |  | LaBrisa Wind Project |  |  | Forced | 9.00 | 3.00 | PGAE Gen | CISO
USWPJR_2_UNITS |  | Vasco Wind |  |  | Forced | 78.20 | 6.90 | PGAE Gen | CISO
VALLEY_5_ORTBT1 |  | Ortega Grid |  |  | Forced | 20.00 | 4.00 | SCE Gen | CISO
VEAVST_1_SOLAR |  | Community Solar |  |  | Forced | 14.40 | 7.20 | SCE Gen | CISO
VEAVST_1_SOLAR |  | Community Solar |  |  | Forced | 14.40 | 7.20 | VEA Gen | CISO
VEDDER_1_SEKERN |  | TEXACO EXPLORATION &amp; PROD (SE KERN RIVER |  |  | Forced | 34.47 | 12.47 | PGAE Gen | CISO
VESTAL_2_KERN |  | KERN RIVER PH 3 UNITS 1 &amp; 2 AGGREGATE |  |  | Forced | 36.80 | 19.70 | SCE Gen | CISO
VESTAL_6_QF |  | Isabella Hydro Dam 1 |  |  | Forced | 11.95 | 11.95 | SCE Gen | CISO
VICTOR_1_EXSLRA |  | Expressway Solar A |  |  | Forced | 2.00 | 1.00 | SCE Gen | CISO
VISTRA_5_PLABT1 |  | Plano Storage 1 |  |  | Forced | 100.40 | 100.40 | PGAE Gen | CISO
VISTRA_5_PLABT2 |  | Plano Storage 2 |  |  | Forced | 100.40 | 100.40 | PGAE Gen | CISO
VISTRA_5_PLABT3 |  | Plano Storage 3 |  |  | Forced | 74.60 | 74.60 | PGAE Gen | CISO
VISTRA_5_PLABT4 |  | Plano Storage 4 |  |  | Forced | 74.60 | 74.60 | PGAE Gen | CISO
VLCNTR_6_VCEBT2 |  | Valley Center Energy Storage B |  |  | Forced | 85.00 | 15.00 | SDGE Gen | CISO
VOLTA_7_PONHY1 |  | Ponderosa Bailey Hydroelectric |  |  | Forced | 1.25 | 1.25 | PGAE Gen | CISO
VSTAES_6_VESBT1 |  | Vista Energy Storage |  |  | Forced | 40.00 | 3.50 | SDGE Gen | CISO
WALNUTGT_6_UNIT2 |  | Walnut GT Unit 2 |  |  | Forced | 22.00 | 22.00 | TID Gen | TIDC
WALNUT_6_HILLGEN |  | Puente Hills |  |  | Planned | 47.00 | 47.00 | SCE Gen | CISO
WARNE_2_UNIT |  | WARNE HYDRO AGGREGATE |  |  | Planned/Forced | 76.00 | 38.00 | SCE Gen | CISO
WAUKNA_1_SOLAR |  | Corcoran Solar |  |  | Forced | 20.00 | 13.00 | PGAE South | CISO
MIDWD_2_WIND2 |  | Coram Energy |  |  | Forced | 3.00 | 1.50 | SCE Gen | CISO
MIDWD_7_CORAMB |  | CELLC 7.5 MW Tehachapi Project |  |  | Forced | 7.50 | 1.50 | SCE Gen | CISO
MIRLOM_2_MLBBTA |  | Mira Loma BESS A |  |  | Planned/Forced | 10.00 | 10.00 | SCE Gen | CISO
MIRLOM_2_MLBBTB |  | Mira Loma BESS B |  |  | Planned/Forced | 10.00 | 10.00 | SCE Gen | CISO
MIRLOM_6_PEAKER |  | Mira Loma Peaker |  |  | Forced | 47.18 | 2.58 | SCE Gen | CISO
MNDALY_6_MCGRTH |  | McGrath Beach Peaker |  |  | Forced | 48.56 | 5.81 | SCE Gen | CISO
MNDOTA_1_SOLAR1 |  | North Star Solar 1 |  |  | Forced | 60.00 | 4.50 | PGAE Gen | CISO
MOJAVE_1_SIPHON |  | MOJAVE SIPHON POWER PLANT |  |  | Planned | 14.36 | 0.36 | SCE Gen | CISO
MOJAVW_2_SOLAR |  | Mojave West |  |  | Forced | 20.00 | 3.00 | SCE Gen | CISO
MONTPH_7_UNITS |  | MONTICELLO HYDRO AGGREGATE |  |  | Forced | 12.50 | 6.80 | PGAE Gen | CISO
MOORPK_2_ACOBT1 |  | Acorn I BESS |  |  | Forced | 1.95 | 1.95 | SCE Gen | CISO
MOSSLD_2_PSP1 |  | MOSS LANDING POWER BLOCK 1 |  |  | Forced | 510.00 | 260.00 | PGAE South | CISO
MOSSLD_2_PSP2 |  | MOSS LANDING POWER BLOCK 2 |  |  | Forced | 510.00 | 5.00 | PGAE South | CISO
MRCHNT_2_PL1X3 |  | Desert Star Energy Center |  |  | Forced | 494.58 | 494.58 | SDGE Gen | CISO
MRLSDS_6_SOLAR1 |  | Morelos Solar |  |  | Forced | 15.00 | 15.00 | PGAE Gen | CISO
MTNPOS_1_UNIT |  | MT.POSO COGENERATION CO. |  |  | Forced | 46.64 | 46.64 | PGAE South | CISO
MTWIND_1_MVPWD1 |  | Mountain View Power Project I Repower |  |  | Planned | 66.60 | 6.60 | SCE Gen | CISO
NAROW1_2_UNIT |  | NARROWS PH 1 UNIT |  |  | Forced | 12.00 | 2.60 | PGAE North | CISO
NAROW2_2_UNIT |  | Narrows Powerhouse Unit 2 |  |  | Planned/Forced | 55.00 | 55.00 | PGAE North | CISO
NAVYII_2_UNITS |  | COSO POWER DEVELOPER (NAVY II) AGGREGATE |  |  | Forced | 47.00 | 10.00 | SCE Gen | CISO
NCPA_7_GP1UN2 |  | NCPA GEO PLANT 1 UNIT 2 |  |  | Forced | 50.00 | 50.00 | PGAE Gen | CISO
NCPA_7_GP2UN3 |  | NCPA GEO PLANT 2 UNIT 3 |  |  | Forced | 42.42 | 42.42 | PGAE Gen | CISO
NEENCH_6_SOLAR |  | Alpine Solar |  |  | Forced | 66.00 | 5.00 | SCE Gen | CISO
NOVATO_6_LNDFL |  | Redwood Renewable Energy |  |  | Forced | 3.90 | 3.90 | PGAE Gen | CISO
NWCSTL_7_UNIT 1 |  | NEWCASTLE HYDRO |  |  | Forced | 12.00 | 12.00 | PGAE Gen | CISO
OAKWD_6_QF |  | Oak Creek |  |  | Forced | 27.87 | 1.35 | SCE Gen | CISO
OASIS_6_AR4SR2 |  | Arrache 4006 II |  |  | Forced | 1.00 | 1.00 | SCE Gen | CISO
OASIS_6_SOLAR1 |  | Morgan Lancaster I |  |  | Forced | 1.50 | 1.50 | SCE Gen | CISO
OCOTLO_6_OCWSB1 |  | Ocotillo Wells Solar and BESS |  |  | Forced | 49.89 | 29.89 | IID Gen | CISO
OCTILO_5_WIND |  | Ocotillo Wind Energy Facility |  |  | Forced | 265.00 | 37.30 | SDGE Gen | CISO
OGPP_2_OG |  | Owens Gorge Power Plant |  |  | Forced | 110.00 | 16.00 | LADWP Gen | LADWP
OGROVE_6_PL1X2 |  | Orange Grove Energy Center |  |  | Planned | 96.00 | 96.00 | SDGE Gen | CISO
OILFLD_7_QFUNTS |  | Nacimiento Hydroelectric Plant |  |  | Forced | 3.80 | 3.62 | PGAE South | CISO
OLIVEP_1_SOLAR |  | White River Solar |  |  | Forced | 20.00 | 5.00 | PGAE Gen | CISO
ORMOND_7_UNIT 1 |  | ORMOND BEACH GEN STA. UNIT 1 |  |  | Forced | 741.27 | 741.27 | SCE Gen | CISO
ORMOND_7_UNIT 2 |  | ORMOND BEACH GEN STA. UNIT 2 |  |  | Forced | 750.00 | 750.00 | SCE Gen | CISO
OTMESA_2_PL1X3 |  | OTAY MESA ENERGY CENTER |  |  | Planned/Forced | 603.68 | 603.68 | SDGE Gen | CISO
OXBOW_6_DRUM |  | OXBOW HYDRO |  |  | Planned | 5.80 | 5.80 | PGAE North | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 3.80 | PGAE Gen | CISO
PACLUM_6_UNIT |  | Humboldt Redwood |  |  | Forced | 28.80 | 3.80 | PGAE North | CISO
PADUA_2_ONTARO |  | ONTARIO/SIERRA HYDRO PSP |  |  | Planned | 1.92 | 1.92 | SCE Gen | CISO
PANERO_2_MWPWD1 |  | Mesa Wind Project |  |  | Planned | 30.00 | 15.43 | SCE Gen | CISO
PARDEB_6_UNITS |  | Pardee Power House |  |  | Forced | 30.00 | 10.00 | PGAE Gen | CISO
PGG_2_PKR |  | Procter &amp; Gamble Gas Turbine Peaker |  |  | Planned | 48.00 | 48.00 | BANC Gen | BANC
PGG_2_PKR |  | Procter &amp; Gamble Gas Turbine Peaker |  |  | Planned | 48.00 | 48.00 | EIM SMUD | BANC
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Planned/Forced | 126.00 | 126.00 | BANC Gen | BANC
PGG_2_PL |  | Procter &amp; Gamble CoGen |  |  | Planned/Forced | 126.00 | 126.00 | EIM SMUD | BANC
PINFLT_7_UNITS |  | PINE FLAT HYDRO AGGREGATE |  |  | Planned/Forced | 198.51 | 198.51 | PGAE Gen | CISO
PIOPIC_2_CTG1 |  | Pio Pico Unit 1 |  |  | Forced | 111.30 | 6.51 | SDGE Gen | CISO
PIOPIC_2_CTG2 |  | Pio Pico Unit 2 |  |  | Forced | 112.70 | 8.46 | SDGE Gen | CISO
PIOPIC_2_CTG3 |  | Pio Pico Unit 3 |  |  | Forced | 112.00 | 7.62 | SDGE Gen | CISO
PIT1_7_UNIT 1 |  | PIT PH 1 UNIT 1 |  |  | Forced | 32.00 | 12.00 | PGAE Gen | CISO
PIT1_7_UNIT 1 |  | PIT PH 1 UNIT 1 |  |  | Forced | 32.00 | 12.00 | PGAE North | CISO
PIT1_7_UNIT 1 |  | PIT PH 1 UNIT 1 |  |  | Forced | 32.00 | 12.00 | Pit River Area | CISO
PIT1_7_UNIT 2 |  | PIT PH 1 UNIT 2 |  |  | Planned | 32.00 | 32.00 | PGAE Gen | CISO
PIT1_7_UNIT 2 |  | PIT PH 1 UNIT 2 |  |  | Planned | 32.00 | 32.00 | PGAE North | CISO
PIT1_7_UNIT 2 |  | PIT PH 1 UNIT 2 |  |  | Planned | 32.00 | 32.00 | Pit River Area | CISO
PIT3_7_PL1X3 |  | PIT PH 3 UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Planned | 70.60 | 24.00 | PGAE North | CISO
PIT3_7_PL1X3 |  | PIT PH 3 UNITS 1, 2 &amp; 3 AGGREGATE |  |  | Planned | 70.60 | 24.00 | Pit River Area | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 1.04 | PGAE Gen | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 1.04 | PGAE North | CISO
PIT6_7_UNIT 1 |  | PIT PH 6 UNIT 1 |  |  | Forced | 39.00 | 1.04 | Pit River Area | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 2.04 | PGAE Gen | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 2.04 | PGAE North | CISO
PIT6_7_UNIT 2 |  | PIT PH 6 UNIT 2 |  |  | Forced | 40.00 | 2.04 | Pit River Area | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 0.96 | PGAE Gen | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 0.96 | PGAE North | CISO
PIT7_7_UNIT 1 |  | PIT PH 7 UNIT 1 |  |  | Forced | 55.70 | 0.96 | Pit River Area | CISO
PLAINV_6_SOLAR3 |  | Sierra Solar Greenworks LLC |  |  | Forced | 20.00 | 1.50 | SCE Gen | CISO
PLMSSR_6_HISIER |  | High Sierra Cogeneration Aggregate |  |  | Forced | 6.00 | 6.00 | PGAE Gen | CISO
PNCHEG_2_PL1X4 |  | PANOCHE ENERGY CENTER (Aggregated) |  |  | Forced | 417.00 | 27.00 | PGAE Gen | CISO
PNOCHE_1_PL1X2 |  | Panoche Peaker |  |  | Planned | 49.97 | 8.00 | PGAE South | CISO
POEPH_7_UNIT 1 |  | POE HYDRO UNIT 1 |  |  | Forced | 68.00 | 44.00 | PGAE Gen | CISO
POEPH_7_UNIT 1 |  | POE HYDRO UNIT 1 |  |  | Forced | 68.00 | 44.00 | PGAE North | CISO
POLRIS_2_ASRBT1 |  | Antelope Solar 2 Raceway BESS |  |  | Forced | 80.00 | 5.00 | SCE Gen | CISO
PP_1_PP |  | PP1 UNIT 1A |  |  | Planned | 61.00 | 45.00 | LADWP Gen | LADWP
PTRPP_2_SOLAR |  | Pine Tree Solar Power Plant |  |  | Forced | 10.00 | 3.50 | LADWP Gen | LADWP
PTRPP_2_WIND |  | Pine Tree Wind Power Plant |  |  | Forced | 135.00 | 57.00 | LADWP Gen | LADWP
PUTHCR_1_SOLAR1 |  | Putah Creek Solar Farm |  |  | Forced | 1.98 | 0.98 | PGAE Gen | CISO
PWEST_1_UNIT |  | PACIFIC WEST 1 WIND GENERATION |  |  | Planned/Forced | 2.10 | 2.10 | SCE Gen | CISO
RAMON_2_SCEDYN |  | RAMON_2_SCEDYN |  |  | Forced | 8.00 | 6.00 | SCE Gen | CISO
RCKCRK_7_UNIT 1 |  | ROCK CREEK HYDRO UNIT 1 |  |  | Forced | 57.00 | 45.00 | PGAE Gen | CISO
RCKCRK_7_UNIT 1 |  | ROCK CREEK HYDRO UNIT 1 |  |  | Forced | 57.00 | 45.00 | PGAE North | CISO
RDCLD_3_WIND |  | Red Cloud Wind Power Plant |  |  | Forced | 331.00 | 129.00 | LADWP Gen | LADWP
RDGPOWER_1_UNIT1 |  | REDDING GT 1 |  |  | Forced | 18.00 | 2.00 | BANC Gen | BANC
RDGPOWER_1_UNIT2 |  | REDDING GT 2 |  |  | Forced | 26.00 | 2.00 | BANC Gen | BANC
RDGPOWER_1_UNIT3 |  | REDDING GT 3 |  |  | Forced | 26.00 | 3.00 | BANC Gen | BANC
RDGPOWER_1_UNIT4-6 |  | REDDING CC 4-6 |  |  | Forced | 126.00 | 14.00 | BANC Gen | BANC
RECTOR_2_KAWEAH |  | KAWEAH PH 2 &amp; 3 PSP AGGREGATE |  |  | Forced | 6.55 | 6.55 | SCE Gen | CISO
RECTOR_2_KAWH 1 |  | KAWEAH PH 1 UNIT 1 |  |  | Forced | 2.25 | 2.25 | SCE Gen | CISO
RECTOR_2_QF |  | Kaweah Unit 1 |  |  | Forced | 20.09 | 20.09 | SCE Gen | CISO
REP_6_UNITS |  | Roseville Energy Park |  |  | Forced | 164.00 | 9.00 | BANC Gen | BANC
RICHMN_7_BAYENV |  | BAY ENVIRONMENTAL (NOVE POWER) |  |  | Forced | 2.50 | 2.50 | PGAE Gen | CISO
Count of Resource ID | Outage Type Counts
BA | Forced |  | Planned | Planned/Forced
BANC | 34 |  | 10 | 11
IID | 1 |  | 2 | 0
LADWP | 16 |  | 8 | 1
CISO | 379 |  | 86 | 38
TIDC | 5 |  | 2 | 0
Grand Total | 435 |  | 108 | 50
BA | Sum of Capacity (MW) |  | Sum of Curtailed (MW)
BANC | 6971.37 |  | 2965.37
CISO | 50836.17 |  | 20715.51
IID | 123.4 |  | 123.4
LADWP | 5000 |  | 3378.5
TIDC | 176.8 |  | 176.8
Grand Total | 63107.74 |  | 27359.58
The content of these pages is subject to change without notice. Decisions based on information contained within the California ISO web site are the visitor's sole responsibility.