## Assessment sheet
|  | 2014 Need Using 3.5% | 2015 Need Using 3.5% | 2016 Need Using 3.5% | Max Daily Change 2014 | Max Daily Change 2015 | Max Daily Change 2016
| March | 10072.2403 | 11111.4069 | 11971.0586 | 12943.626 | 13284.4281 | 13502.9871 |  | Needs numbers use updated Needs number as of 3/14/2013 based on Base Case Scenario
| July | 7233.3445 | 7095.7334 | 7122.4133 | 16705.046 | 16371.7415 | 16584.809
| October | 9388.767 | 10164.3865 | 10933.3519 | 19385.0628 | 19628.6067 | 19912.5691
| December | 11300.2775 | 12173.3691 | 12946.5607 | 14034.4984 | 14239.3777 | 14419.64
Total NQC | [12 empty] | NQC of Dipsatchable
Row Labels | CCYC | GTUR | HYDR | OTHR | PHOT | PTUR | PUMP | RECP | STUR | WIND | (blank) |  | Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR | (blank)
1 | 14037.6 | 6295.15 | 5326.49 | 293.71 | 2.33 | 1431 | 706 | 324.02 | 18532.19 | 132.73 | 911.29 |  | 1 | 13857.1 | 4179.15 | 5251.26 | 0.09 | 1232 | 266.41 | 13075.91 | 1.69
2 | 14029.6 | 6295.4 | 5273.55 | 353.28 | 3.88 | 1431 | 731 | 324.4 | 18502.03 | 189.41 | 927.57 |  | 2 | 13851.1 | 4199.6 | 5163.01 | 0.13 | 1232 | 266.16 | 13079.69 | 1.69
3 | 13347.65 | 6205.67 | 4546.15 | 416.14 | 10.12 | 751.15 | 991 | 326.37 | 18456.06 | 471.07 | 868.48 |  | 3 | 13172.15 | 4182.37 | 4389.9 | 0.37 | 424 | 265.36 | 13079.12 | 1.61
4 | 13957.65 | 6201.68 | 5807 | 665.85 | 13.02 | 1579 | 1092 | 326.5 | 18487.23 | 427.91 | 824.26 |  | 4 | 13787.15 | 4185.8 | 5647.11 | 0.76 | 1232 | 266.23 | 13076.02 | 1.26
5 | 13887.2 | 6135.51 | 5997.78 | 755.83 | 13.68 | 1559 | 898 | 327.04 | 18358.84 | 734.86 | 855.81 |  | 5 | 13721.7 | 4134.22 | 5793.08 | 0.93 | 1232 | 266.43 | 13077.42 | 0.91
6 | 13797.2 | 6272.31 | 6271.24 | 894.39 | 18.12 | 1561 | 1015 | 326.09 | 18556.05 | 863.43 | 953.46 |  | 6 | 13636.7 | 4145.65 | 6067.14 | 1.12 | 1232 | 266.95 | 13069.54 | 1.01
7 | 14168.45 | 6315.45 | 6223.82 | 791.34 | 16.61 | 1522 | 1246 | 325.18 | 18617.36 | 870.31 | 928.86 |  | 7 | 14012.95 | 4204.96 | 6035.25 | 1.06 | 1232 | 266.95 | 13092.07 | 1.08
8 | 14165.45 | 6282.05 | 6037 | 729.36 | 22.5 | 1487 | 1248 | 324.15 | 18590.43 | 531.44 | 919.74 |  | 8 | 14009.95 | 4203.97 | 5899.99 | 0.94 | 1232 | 266.48 | 13090.2 | 1.31
9 | 14217.45 | 6244.04 | 5806.3 | 636.46 | 18.93 | 1431 | 1149 | 323.91 | 18583.7 | 192.9 | 910.74 |  | 9 | 14056.95 | 4207.13 | 5709.38 | 0.69 | 1232 | 267.1 | 13090.25 | 1.01
10 | 14328.9 | 6270.08 | 5590.57 | 454.93 | 12.43 | 1431 | 1131 | 325.98 | 18472.75 | 203.15 | 802.07 |  | 10 | 14158.4 | 4218.04 | 5521.81 | 0.4 | 1232 | 267.64 | 13080.17 | 1.35
11 | 14402.9 | 6273.09 | 5454.28 | 325.99 | 1.93 | 1431 | 1031 | 325.55 | 18434.46 | 188.05 | 843.41 |  | 11 | 14227.4 | 4223.96 | 5387.53 | 0.06 | 1232 | 267.18 | 13090.07 | 1.23
12 | 13851.85 | 6448.51 | 5009.4 | 310.83 | 1.36 | 1027 | 772 | 325.51 | 18480.22 | 136.57 | 905.17 |  | 12 | 13671.35 | 4419.41 | 4921.74 | 0.04 | 828 | 265.69 | 13083.13 | 1.02
Total EFC | [12 empty] | EFC Dispatchable
Row Labels | CCYC | GTUR | HYDR | OTHR | PHOT | PTUR | PUMP | RECP | STUR | WIND | (blank) |  | Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR | (blank)
1 | 8727.82 | 5842.93 | 5320.49 | 293.71 | 2.33 | 1431 | 706 | 324.02 | 16160.08 | 132.73 | 911.29 |  | 1 | 8653.83 | 3800.15 | 5245.26 | 0.09 | 1232 | 266.41 | 11360.91 | 1.69
2 | 8719.82 | 5841.93 | 5267.55 | 353.28 | 3.88 | 1431 | 731 | 324.4 | 16136.08 | 189.41 | 927.57 |  | 2 | 8647.83 | 3820.6 | 5157.01 | 0.13 | 1232 | 266.16 | 11364.69 | 1.69
3 | 8222.87 | 5752.84 | 4540.15 | 416.14 | 10.12 | 751.15 | 991 | 326.37 | 16088.9 | 471.07 | 868.48 |  | 3 | 8153.88 | 3806.59 | 4383.9 | 0.37 | 424 | 265.36 | 11364.12 | 1.61
4 | 8647.87 | 5761.06 | 5801 | 665.85 | 13.02 | 1579 | 1092 | 326.5 | 16111.31 | 427.91 | 824.26 |  | 4 | 8583.88 | 3806.8 | 5641.11 | 0.76 | 1232 | 266.23 | 11361.02 | 1.26
5 | 8577.42 | 5681 | 5991.78 | 755.83 | 13.68 | 1559 | 898 | 327.04 | 15983.35 | 734.86 | 855.81 |  | 5 | 8518.43 | 3755.22 | 5787.08 | 0.93 | 1232 | 266.43 | 11362.42 | 0.91
6 | 8487.42 | 5803.77 | 6265.24 | 894.39 | 18.12 | 1561 | 1015 | 326.09 | 16180.1 | 863.43 | 953.46 |  | 6 | 8433.43 | 3766.65 | 6061.14 | 1.12 | 1232 | 266.95 | 11354.54 | 1.01
7 | 8678.67 | 5845.41 | 6217.82 | 791.34 | 16.61 | 1522 | 1246 | 325.18 | 16241.77 | 870.31 | 928.86 |  | 7 | 8629.68 | 3825.96 | 6029.25 | 1.06 | 1232 | 266.95 | 11377.07 | 1.08
8 | 8675.67 | 5822.81 | 6031 | 729.36 | 22.5 | 1487 | 1248 | 324.15 | 16220.97 | 531.44 | 919.74 |  | 8 | 8626.68 | 3824.97 | 5893.99 | 0.94 | 1232 | 266.48 | 11375.2 | 1.31
9 | 8727.67 | 5787.53 | 5800.3 | 636.46 | 18.93 | 1431 | 1149 | 323.91 | 16214.7 | 192.9 | 910.74 |  | 9 | 8673.68 | 3828.13 | 5703.38 | 0.69 | 1232 | 267.1 | 11375.25 | 1.01
10 | 8839.12 | 5817.82 | 5584.57 | 454.93 | 12.43 | 1431 | 1131 | 325.98 | 16104.74 | 203.15 | 802.07 |  | 10 | 8775.13 | 3839.04 | 5515.81 | 0.4 | 1232 | 267.64 | 11365.17 | 1.35
11 | 8913.12 | 5836.67 | 5448.28 | 325.99 | 1.93 | 1431 | 1031 | 325.55 | 16114.81 | 188.05 | 843.41 |  | 11 | 8844.13 | 3844.96 | 5381.53 | 0.06 | 1232 | 267.18 | 11375.07 | 1.23
12 | 8512.07 | 5996.12 | 5003.4 | 310.83 | 1.36 | 1027 | 772 | 325.51 | 16132.07 | 136.57 | 905.17 |  | 12 | 8438.08 | 4040.41 | 4915.74 | 0.04 | 828 | 265.69 | 11368.13 | 1.02
Total Inflexible | [12 empty] | Inflexible dispatchable
Row Labels | CCYC | GTUR | HYDR | OTHR | PHOT | PTUR | PUMP | RECP | STUR | WIND | (blank) |  | Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR | (blank)
1 | 5309.78 | 452.22 | 6 | 0 | 0 | 0 | 0 | 0 | 2372.11 | 0 | 0 |  | 1 | 5203.27 | 379 | 6 | 0 | 0 | 0 | 1715 | 0
2 | 5309.78 | 453.47 | 6 | 0 | 0 | 0 | 0 | 0 | 2365.95 | 0 | 0 |  | 2 | 5203.27 | 379 | 6 | 0 | 0 | 0 | 1715 | 0
3 | 5124.78 | 452.83 | 6 | 0 | 0 | 0 | 0 | 0 | 2367.16 | 0 | 0 |  | 3 | 5018.27 | 375.78 | 6 | 0 | 0 | 0 | 1715 | 0
4 | 5309.78 | 440.62 | 6 | 0 | 0 | 0 | 0 | 0 | 2375.92 | 0 | 0 |  | 4 | 5203.27 | 379 | 6 | 0 | 0 | 0 | 1715 | 0
5 | 5309.78 | 454.51 | 6 | 0 | 0 | 0 | 0 | 0 | 2375.49 | 0 | 0 |  | 5 | 5203.27 | 379 | 6 | 0 | 0 | 0 | 1715 | 0
6 | 5309.78 | 468.54 | 6 | 0 | 0 | 0 | 0 | 0 | 2375.95 | 0 | 0 |  | 6 | 5203.27 | 379 | 6 | 0 | 0 | 0 | 1715 | 0
7 | 5489.78 | 470.04 | 6 | 0 | 0 | 0 | 0 | 0 | 2375.59 | 0 | 0 |  | 7 | 5383.27 | 379 | 6 | 0 | 0 | 0 | 1715 | 0
8 | 5489.78 | 459.24 | 6 | 0 | 0 | 0 | 0 | 0 | 2369.46 | 0 | 0 |  | 8 | 5383.27 | 379 | 6 | 0 | 0 | 0 | 1715 | 0
9 | 5489.78 | 456.51 | 6 | 0 | 0 | 0 | 0 | 0 | 2369 | 0 | 0 |  | 9 | 5383.27 | 379 | 6 | 0 | 0 | 0 | 1715 | 0
10 | 5489.78 | 452.26 | 6 | 0 | 0 | 0 | 0 | 0 | 2368.01 | 0 | 0 |  | 10 | 5383.27 | 379 | 6 | 0 | 0 | 0 | 1715 | 0
11 | 5489.78 | 436.42 | 6 | 0 | 0 | 0 | 0 | 0 | 2319.65 | 0 | 0 |  | 11 | 5383.27 | 379 | 6 | 0 | 0 | 0 | 1715 | 0
12 | 5339.78 | 452.39 | 6 | 0 | 0 | 0 | 0 | 0 | 2348.15 | 0 | 0 |  | 12 | 5233.27 | 379 | 6 | 0 | 0 | 0 | 1715 | 0
NQC of Dipsatchable
Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR | (blank)
March | 13172.15 | 4182.37 | 4389.9 | 0.37 | 424 | 265.36 | 13079.12 | 1.61 | 35514.88
July | 14012.95 | 4204.96 | 6035.25 | 1.06 | 1232 | 266.95 | 13092.07 | 1.08 | 38846.32
October | 14158.4 | 4218.04 | 5521.81 | 0.4 | 1232 | 267.64 | 13080.17 | 1.35 | 38479.81
December | 13671.35 | 4419.41 | 4921.74 | 0.04 | 828 | 265.69 | 13083.13 | 1.02 | 37190.38
EFC Dispatchable
Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR | (blank)
March | 8153.88 | 3806.59 | 4383.9 | 0.37 | 424 | 265.36 | 11364.12 | 1.61 | 28399.83
July | 8629.68 | 3825.96 | 6029.25 | 1.06 | 1232 | 266.95 | 11377.07 | 1.08 | 31363.05
October | 8775.13 | 3839.04 | 5515.81 | 0.4 | 1232 | 267.64 | 11365.17 | 1.35 | 30996.54
December | 8438.08 | 4040.41 | 4915.74 | 0.04 | 828 | 265.69 | 11368.13 | 1.02 | 29857.11
Total dispatchable RA
Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR | (blank)
March | 7842.75 | 3025.4 | 2447.06 | 0.37 | 424 | 265.36 | 9010.74 | 1.61 | 23017.29
July | 12917.88 | 3434.59 | 4625.6 | 1.06 | 808 | 266.95 | 12134.01 | 1.08 | 34189.17
October | 10064.22 | 3101.9 | 2832.72 | 0.4 | 1232 | 267.64 | 11333.23 | 1.35 | 28833.46
December | 9936.98 | 3102.04 | 2641.8 | 0.04 | 828 | 265.69 | 10818.09 | 1.02 | 27593.66
EFC Dispatchable RA
Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR | (blank)
March | 4610.48 | 2929.19 | 2441.06 | 0.37 | 424 | 265.36 | 7612.74 | 1.61 | 18284.81
July | 7677.61 | 3067.56 | 4620.72 | 1.06 | 808 | 266.95 | 10536.01 | 1.08 | 26978.99
October | 5935.72 | 3002.89 | 2832.6 | 0.4 | 1232 | 267.64 | 9775.23 | 1.35 | 23047.83
December | 5963.48 | 3005.84 | 2638.28 | 0.04 | 828 | 265.69 | 9262.09 | 1.02 | 21964.44
Inflexible Dispatchable RA
Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR | (blank)
March | 3232.27 | 96.21 | 6 | 0 | 0 | 0 | 1398 | 0
July | 5240.27 | 367.03 | 4.88 | 0 | 0 | 0 | 1598 | 0
October | 4128.5 | 99.01 | 0.12 | 0 | 0 | 0 | 1558 | 0
December | 3973.5 | 96.2 | 3.52 | 0 | 0 | 0 | 1556 | 0
Total RA EFC Economically bid
Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR | (blank) | Total |  | Some resources are bidding more than RA EFC Value, so value capped at RA_EFC
March | 2085.382 | 2684.0794 | 1053.4352 | 0 | 404 | 213.3774 | 6929.7241 | 0 | 13369.9981 | 4914.8119
July | 3671.797 | 2744.5398 | 1669.2859 | 0 | 802.6281 | 202.5316 | 9031.6161 | 0.08 | 18122.4785 | 8856.5115
October | 2499.2209 | 2613.5325 | 1462.9629 | 0 | 1210.4031 | 194.0018 | 8041.5452 | 1.3292 | 16022.9956 | 7024.8344
December | 3452.5952 | 2633.2898 | 1030.2325 | 0 | 808 | 107.6468 | 8591.0902 | 1.02 | 16623.8745 | 5340.5655
Dispatchable RA EFC w/o RA EFC Self-Scheduled
Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR | (blank) | Total
March | 2525.098 | 245.1106 | 1387.6248 | 0.37 | 20 | 51.9826 | 683.0159 | 1.61 | 4914.8119 | 13369.9981
July | 4005.813 | 323.0202 | 2951.4341 | 1.06 | 5.3719 | 64.4184 | 1504.3939 | 1 | 8856.5115 | 18122.4785
October | 3436.4991 | 389.3575 | 1369.6371 | 0.4 | 21.5969 | 73.6382 | 1733.6848 | 0.020833 | 7024.8344 | 16022.9956
December | 2510.8848 | 372.5502 | 1608.0475 | 0.04 | 20 | 158.0432 | 670.9998 | 1.9073e-08 | 5340.5655 | 16623.8745
Dispatchable RA EFC w/o Slow ramping RA resources
Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR | (blank) | Total
March | 2426.88 | 1292.09 | 510.35 | 0.37 | 20 | 265.36 | 5310.48 | 1.61 | 9827.14 | 8457.67
July | 4090.45 | 1312.49 | 940.12 | 1.06 | 0 | 266.95 | 7764.75 | 1.08 | 14376.9 | 12602.09
October | 2991.2 | 1319.94 | 731.94 | 0.4 | 20 | 267.64 | 7003.97 | 1.35 | 12336.44 | 10711.39
December | 3105.24 | 1319.24 | 734.18 | 0.04 | 20 | 265.69 | 6973.11 | 1.02 | 12418.52 | 9545.92
Dispatchable RA EFC w/o ULR RA resources
Row Labels | CCYC | GTUR | HYDR | PHOT | PTUR | RECP | STUR |  | Total
March | 103.45 | 804.07 | 2441.06 | 0.37 | 424 | 164.03 | 1568 | 5504.98 | 12779.83
July | 88.45 | 885.82 | 4620.72 | 1.06 | 808 | 163.97 | 1568 | 8136.02 | 18842.97
October | 103.45 | 906.8 | 2832.6 | 0.4 | 1232 | 164.23 | 1568 | 6807.48 | 16240.35
December | 118.45 | 779.1 | 2638.28 | 0.04 | 828 | 164.36 | 1568 | 6096.23 | 15868.21
Dispatchable RA EFC w/o OTC capacity
Row Labels | CCYC | [5 empty] | STUR |  | Total
March | 35 | [5 empty] | 6838.45 | 6873.45 | 11411.36 |  |  | Basic Reduction Case | Basic Reduction with Low Hydro Flexibility Case | Limited Long Start Resources Case | Increased Outage Rate Scenario
July | 392.98 | [5 empty] | 9373.89 | 9766.87 | 17212.12 |  |  | 12322.0252 | 11322.0252 | 10322.0252 | 18284.81 | 1828.481
October | 35 | [5 empty] | 8644.89 | 8679.89 | 14367.94 |  |  | 20320.6708 | 19320.6708 | 18320.6708 | 26978.99 | 2697.899
December | 35 | [5 empty] | 8170.61 | 8205.61 | 13758.83 |  |  | 16704.0036 | 15704.0036 | 14704.0036 | 23047.83 | 2304.783
[12 empty] | 15707.2848 | 14707.2848 | 13707.2848 | 21964.44 | 2196.444
[12 empty] | Scenario 1 | EFC minus each of the following: 1000 MW from Hydro for run-of-river, 2000 MW for resources that self-schedule some protion of their EFC based on a day-ahead award, 1000 MW of EFC from hydro resources that that are not used as flexible based on hydro conditions, 500 MW for OTC retirment in 2015, asssumed 8% outage rate for all other resources
[12 empty] | Scenario 2 | EFC minus each of the following: 1000 MW from Hydro for run-of-river, 2000 MW for resources that self-schedule some protion of their EFC based on a day-ahead award, 2000 MW of EFC from hydro resources that that are not used as flexible based on hydro conditions (high hydro year), 500 MW for OTC retirment in 2015, asssumed 8% outage rate for all other resources
| Max Peak to Trough | [10 empty] | Scenario 3 | EFC minus each of the following: 1000 MW from Hydro for run-of-river, 2000 MW for resources that self-schedule some protion of their EFC based on a day-ahead award, 1000 MW of EFC from hydro resources that that are not used as flexible based on hydro conditions, 500 MW for OTC retirment in 2015, asssumed 8% outage rate for all other resources, minus 2000 MW of resources that elect to not be flexible of switch to non-dispatchable
Month | 2014 | 2015 | 2016 | [8 empty] | Scenario 4 | EFC minus each of the following: 1000 MW from Hydro for run-of-river, 2000 MW for resources that self-schedule some protion of their EFC based on a day-ahead award, 1000 MW of EFC from hydro resources that that are not used as flexible based on hydro conditions, 500 MW for OTC retirment in 2015, asssumed 10% outage rate for all other resources
1 | 13268.6135 | 13270.0036 | 13420.4851
2 | 13460.9668 | 13635.279 | 13819.6219 | [9 empty] | EFC | Run-of-River Hydro Reductions | Reduction in Hydro based on Hydro conditions | Reductions for continued Self Scheduling | EFC OTC retirement in 2015 | Reductions based on election of inflexibility elections | Assumed outage rate of all reamining resources (reduction based on outage rate)
3 | 12943.626 | 13284.4281 | 13502.9871 | [8 empty] | Base Scenario | 18284.81 | 1000 | 1000 | 2000 | 500 | 0 | 8%
4 | 11033.694 | 11201.0064 | 11371.2241 | [8 empty] | Low Hydro Scenario | 26978.99 | 1000 | 2000 | 2000 | 500 | 0 | 8%
5 | 12693.1532 | 12814.2675 | 12999.9836 | [8 empty] | Limited Long Start Resources | 23047.83 | 1000 | 1000 | 2000 | 500 | 2000 | 8%
6 | 13574.0132 | 13690.3708 | 13908.1324
7 | 16705.046 | 16371.7415 | 16584.809
8 | 18729.0821 | 18460.0507 | 18399.6642
9 | 18820.4028 | 18602.4328 | 18852.4156
10 | 19385.0628 | 19628.6067 | 19912.5691
11 | 12679.8785 | 12889.612 | 13083.1277
12 | 14034.4984 | 14239.3777 | 14419.64