## Primary Sheet
Resource ID | RA Sold | EFC Sold | Hours of approved planned RA outage | Hours of approved planned EFC outage | Approved RA outage | Approved EFC outage
Resource A | 100 | 100 | 0 | 0 | 0 | 0
Resource B | 75 | 60 | 0 | 0 | 0 | 0
Resource C | 150 | 75 | 0 | 0 | 0 | 0
Resource D | 60 | 60 | 0 | 0 | 0 | 0 |  |  | Purpose of this sheet: This sheet is designed to show how the ISO's existing SCP mechanism and the proposed SFCP will interact with one another.
| Resource A |  |  |  | Reource B |  |  |  | Description of the model: This is a simplified model that uses four resources with various levels of RA and EFC sold. The ISO has modeled a 2 day month with 6 hours on each day. The SCP is measured during hours 3-5, while the SFCP is measured over hours 1-6. The ISO initially uses an SCP price of $67.50 and an SFCP of $20.00. The target, charges, rates, and credits are calculated separately for SCP and SFCP (i.e. the target, charges, rates, and credits for SCP are independant of those for SFCP).
| Day 1 |  | Day 2 |  | Day 1 |  | Day 2
Hour | SCP | SFCP | SCP | SFCP | SCP | SFCP | SCP | SFCP
1 |  | 100 |  | 100 |  | 0 |  | 60
2 |  | 100 |  | 100 |  | 0 |  | 60
3 | 100 | 100 | 100 | 100 | 75 | 0 | 75 | 60 | Using this sheet: The ISO has designed this sheet with input cells that can be changed to understand the interaction between the SCP. Input cells are located in rows 2-31. The output cells are located in rows 34-66 and are automated to reflect changes made to the input cells.
4 | 0 | 0 | 100 | 100 | 60 | 60 | 75 | 60
5 | 0 | 0 | 100 | 100 | 60 | 60 | 75 | 60
6 |  | 0 |  | 100 |  | 60 |  | 60
| 100 | 300 | 300 | 600 | 195 | 180 | 225 | 360 | Changing the input cells: RA sold and EFC sold (rows 2-6): These cells impact the denominator of the system availability target and resources compliance. If these are changed, be sure that changes in the resource behavior cell (see next item) are consistent. For example, if you increase the RA provided from reource A without changing the resource behaior cells, then the SCP compliance for resource a will decrease. Additionally, the cells for hours of approved outages are designed to acoount whole hours of complete outages and apply only to the SFCP calculations. Partial outages can be addessed using full hour equivalents. For example, if a resource will be on a 50 percent planned outage for one SFCP day, then entering 1.5 in the approved hour cell will yield the compuational result in the output cells. Forced outages should not be included in these cells. The resource behavior cells (Rows 8-28): These sells show how the resource performed on a day to day basis. Changing the numbers in SCP or SFCP columns will change the resource's availability. Note: the SCP column should always be greater than the SFCP column for SCP hours SCP and EFC prices (rows 30 and 31): These rows can be changed to test the impact of various non-availability charges.
| Resource C |  |  |  | Resource D
| Day 1 |  | Day 2 |  | Day 1 |  | Day 2
Hour | SCP | SFCP | SCP | SFCP | SCP | SFCP | SCP | SFCP
1 |  | 75 |  | 70 |  | 60 |  | 60
2 |  | 75 |  | 70 |  | 60 |  | 60
3 | 110 | 60 | 110 | 70 | 50 | 40 | 60 | 60
4 | 110 | 60 | 110 | 70 | 50 | 30 | 60 | 60
5 | 110 | 60 | 110 | 70 | 50 | 30 | 60 | 60
6 |  | 75 |  | 70 |  | 60 |  | 60
| 330 | 405 | 330 | 420 | 150 | 280 | 180 | 360
SCP Price ($/kw-yr) |  | 67.5
EFC Price ($/kw-yr) |  | 20
Total Available SCP MW |  | 1810
Total Available EFC MW |  | 2905
Total Required SCP MW |  | 2310
Total Required EFC MW |  | 3540
SCP Target |  | 78.35%
EFC Target |  | 82.06%
| Resource A |  | Reource B |  | Resource C |  | Resource D
| SCP | Flex | SCP | Flex | SCP | Flex | SCP | Flex
Target | 78.35% | 82.06% | 78.35% | 82.06% | 78.35% | 82.06% | 78.35% | 82.06%
Upper end of deadband | 80.85% | 84.56% | 80.85% | 84.56% | 80.85% | 84.56% | 80.85% | 84.56%
Lower end of deadband | 75.85% | 79.56% | 75.85% | 79.56% | 75.85% | 79.56% | 75.85% | 79.56%
Actual Avialability | 66.67% | 75% | 93.33% | 75% | 73.33% | 91.67% | 91.67% | 88.89%
Comparison with the target plus or minus the deadband | -9.188% | -4.562% | 12.48% | -4.562% | -2.522% | 7.105% | 10.81% | 4.327%
SCP MW Under | -9.1883 |  | 0 |  | -3.7825 |  | 0
SCP Charge | -51684.2532 |  | 0 |  | -21276.3799 |  | 0
Total SCP Charge | [7 empty] | -72960.6331
SCP Rate | [7 empty] | 4604.4207
SCP MW Over | 0 |  | 9.3588 |  | 0 |  | 6.487
SCP Credit | 0 |  | 43091.6965 |  | 0 |  | 29868.9366
Total SCP Credit | [7 empty] | 72960.6331
Flex MW Under |  | -4.5621 |  | -2.7373 |  | 0 |  | 0
Flex Charge |  | -7603.5782 |  | -4562.1469 |  | 0 |  | 0
Total Flex Charge | [7 empty] | -12165.725
Flex Rate | [7 empty] | 1535.2167
Flex MW Over |  | 0 |  | 0 |  | 5.3284 |  | 2.596
Flex Credit |  | 0 |  | 0 |  | 8180.2331 |  | 3985.492
Total Flex Credit | [7 empty] | 12165.725
Total Avialability Incentive for Each Resource | -59287.8314 |  | 38529.5496 |  | -13096.1468 |  | 33854.4285
0