## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report June 15, 2024
Chart 1: Table of Exceptional Dispatches for Period 01/April/2024 - 30/April/2024
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Conditions beyond the control of the CAISO | PGAE | Bay Area | 2024-04-08 | 175 - 369 | No | INC | 5 | 45390.375 | 45390.5833
2 | RT | Fast Start Unit Management | PGAE | NA | 2024-04-10 | 0 | No | INC | 1 | 45392.5903 | 45392.6285
3 | RT | Fast Start Unit Management | PGAE | NA | 2024-04-22 | 0 | No | INC | 1 | 45404.3542 | 45404.3924
4 | RT | Fast Start Unit Management | PGAE | NA | 2024-04-27 | 0 | No | INC | 1 | 45409.5625 | 45409.6042
5 | RT | Fast Start Unit Management | SCE | Big Creek-Ventura | 2024-04-24 | 0 | No | INC | 1 | 45406.6667 | 45406.7083
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2024-04-14 | -315 | No | DEC | 5 | 45396.7222 | 45396.8958
7 | RT | Other Reliability Requirement | PGAE | NA | 2024-04-12 | 0 | No | INC | 1 | 45394.3472 | 45394.3889
8 | RT | Other Reliability Requirement | PGAE | NA | 2024-04-16 | 0 | No | INC | 1 | 45398.3229 | 45398.3646
9 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-04-09 | 175 | No | INC | 10 | 45391.2708 | 45391.6875
10 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-04-16 | 175 | No | INC | 5 | 45398.5417 | 45398.75
11 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-04-11 | 20 | No | INC | 16 | 45393.3333 | 45394
12 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-04-12 | 20 | No | INC | 8 | 45394 | 45394.3333
13 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-04-11 | 20 | No | DEC | 2 | 45393.5486 | 45393.625
14 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-04-11 | 54 | No | INC | 2 | 45393.559 | 45393.625
15 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-04-12 | 89 | No | INC | 11 | 45394.25 | 45394.6875
16 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-04-22 | 20 | No | INC | 3 | 45404.7118 | 45404.8333
17 | RT | Planned Transmission Outage | PGAE | NA | 2024-04-03 | 10 | No | INC | 3 | 45385.8472 | 45385.9583
18 | RT | Planned Transmission Outage | SCE | LA Basin | 2024-04-02 | 139.16 | No | INC | 8 | 45384.3333 | 45384.6667
19 | RT | Planned Transmission Outage | SCE | NA | 2024-04-01 | 53 | No | DEC | 5 | 45383.7292 | 45383.9167
20 | RT | Planned Transmission Outage | SCE | NA | 2024-04-17 | 613 | No | DEC | 3 | 45399.1979 | 45399.2917
21 | RT | Planned Transmission Outage | SCE | NA | 2024-04-17 | 613 | No | INC | 1 | 45399.2917 | 45399.3333
22 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2024-04-12 | 212 | No | INC | 8 | 45394.4514 | 45394.75
23 | RT | Reliability Assessment | PGAE | Sierra | 2024-04-09 | 0 | No | DEC | 1 | 45391.0139 | 45391.0556
24 | RT | Reliability Assessment | PGAE | Sierra | 2024-04-10 | 25 | No | INC | 2 | 45392.2674 | 45392.3333
25 | RT | Reliability Assessment | PGAE | Stockton | 2024-04-11 | 30 - 42 | No | DEC | 3 | 45393.4514 | 45393.5625
26 | RT | Reliability Assessment | PGAE | Stockton | 2024-04-11 | 40 | No | INC | 3 | 45393.4583 | 45393.5625
27 | RT | Reliability Assessment | PGAE | Stockton | 2024-04-12 | 10 | No | DEC | 9 | 45394.4097 | 45394.75
28 | RT | Reliability Assessment | PGAE | Stockton | 2024-04-12 | 10 | No | INC | 7 | 45394.5 | 45394.7917
29 | RT | Reliability Assessment | PGAE | NA | 2024-04-10 | 30 | No | DEC | 2 | 45392.3229 | 45392.375
30 | RT | Reliability Assessment | PGAE | NA | 2024-04-19 | 37 | No | INC | 3 | 45401.8854 | 45402
31 | RT | Reliability Assessment | PGAE | NA | 2024-04-20 | 37 | No | INC | 1 | 45402 | 45402.0312
32 | RT | Reliability Assessment | SCE | NA | 2024-04-10 | 40 | No | DEC | 7 | 45392.5694 | 45392.8333
33 | RT | Reliability Assessment | SCE | NA | 2024-04-29 | 27 | No | DEC | 3 | 45411.1181 | 45411.2396
34 | RT | SOC Charge | PGAE | Fresno | 2024-04-08 | -68.76 | No | DEC | 6 | 45390.1771 | 45390.4062
35 | RT | SOC Charge | PGAE | Stockton | 2024-04-08 | -131.99 | No | DEC | 5 | 45390.184 | 45390.3715
36 | RT | SOC Charge | PGAE | NA | 2024-04-08 | -214.84 | No | DEC | 5 | 45390.1667 | 45390.375
37 | RT | SOC Charge | PGAE | NA | 2024-04-08 | -5 | No | INC | 1 | 45390.375 | 45390.4062
38 | RT | SOC Charge | SCE | Big Creek-Ventura | 2024-04-08 | -125.1 | No | DEC | 6 | 45390.1389 | 45390.375
39 | RT | SOC Charge | SCE | Big Creek-Ventura | 2024-04-08 | -5.46 | No | INC | 1 | 45390.375 | 45390.3924
40 | RT | SOC Charge | SCE | LA Basin | 2024-04-08 | -72.78 | No | DEC | 7 | 45390.1389 | 45390.4062
41 | RT | SOC Charge | SCE | LA Basin | 2024-04-08 | -6.38 | No | INC | 1 | 45390.375 | 45390.3958
42 | RT | SOC Charge | SCE | San Diego-IV | 2024-04-08 | -1.05 | No | DEC | 5 | 45390.1979 | 45390.3715
43 | RT | SOC Charge | SCE | NA | 2024-04-03 | -97.88 | No | DEC | 1 | 45385.5625 | 45385.5764
44 | RT | SOC Charge | SCE | NA | 2024-04-08 | -199.36 | No | DEC | 6 | 45390.1424 | 45390.375
45 | RT | SOC Charge | SDGE | San Diego-IV | 2024-04-08 | -234.6 | No | DEC | 6 | 45390.1597 | 45390.4062
46 | RT | SOC Charge | SDGE | San Diego-IV | 2024-04-08 | -10.5 | No | INC | 3 | 45390.2917 | 45390.4062
47 | RT | SOC Charge | SDGE | NA | 2024-04-08 | -98.55 | No | DEC | 4 | 45390.2118 | 45390.3542
48 | RT | Software Limitation | PGAE | NA | 2024-04-01 | 0 | No | INC | 1 | 45383.5868 | 45383.6285
49 | RT | Software Limitation | PGAE | NA | 2024-04-11 | 0 | No | INC | 1 | 45393.4028 | 45393.4444
50 | RT | Software Limitation | PGAE | NA | 2024-04-30 | 0 | No | INC | 1 | 45412.3472 | 45412.3889
51 | RT | Unit Testing | PGAE | Fresno | 2024-04-02 | -315 | No | DEC | 1 | 45384.7708 | 45384.8125
52 | RT | Unit Testing | PGAE | Fresno | 2024-04-11 | 236 | No | INC | 1 | 45393.809 | 45393.8403
53 | RT | Unit Testing | PGAE | Sierra | 2024-04-03 | 100 - 195 | No | INC | 5 | 45385.6007 | 45385.7708
54 | RT | Unit Testing | SCE | Big Creek-Ventura | 2024-04-24 | 44 | No | INC | 1 | 45406.5868 | 45406.6181
55 | RT | Unit Testing | SCE | LA Basin | 2024-04-17 | 100.45 | No | INC | 2 | 45399.6701 | 45399.75
56 | RT | Unit Testing | SCE | LA Basin | 2024-04-18 | -100 | No | DEC | 1 | 45400.5417 | 45400.5833
57 | RT | Unit Testing | SCE | LA Basin | 2024-04-18 | 96 | No | INC | 1 | 45400.4132 | 45400.4444
58 | RT | Unit Testing | SCE | LA Basin | 2024-04-22 | 133 | No | INC | 2 | 45404.25 | 45404.3125
59 | RT | Unit Testing | SCE | NA | 2024-04-20 | -230 | No | DEC | 1 | 45402.6667 | 45402.6979
60 | RT | Unit Testing | SCE | NA | 2024-04-20 | 230 | No | INC | 4 | 45402.5 | 45402.6667
61 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-03 | 62 | No | INC | 10 | 45385 | 45385.4167
62 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-06 | 62 | No | INC | 1 | 45388.9583 | 45389
63 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-07 | 62 | No | INC | 16 | 45389.3333 | 45390
64 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-08 | 62 | No | INC | 7 | 45390 | 45390.2917
65 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-09 | 62 | No | DEC | 2 | 45391.75 | 45391.8333
66 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-09 | 62 | No | INC | 10 | 45391.3438 | 45391.75
67 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-10 | 62 | No | DEC | 14 | 45392.2812 | 45392.8333
68 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-10 | 62 | No | INC | 11 | 45392.2917 | 45392.75
69 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-27 | 62 | No | INC | 8 | 45409 | 45409.3333
70 | RT | Voltage Support | PGAE | Fresno | 2024-04-01 | 21 - 35 | Yes | INC | 8 | 45383 | 45383.3333
71 | RT | Voltage Support | PGAE | Fresno | 2024-04-03 | 35 | No | INC | 6 | 45385.0417 | 45385.2917
72 | RT | Voltage Support | PGAE | Fresno | 2024-04-06 | -320 | No | DEC | 8 | 45388.0729 | 45388.375
73 | RT | Voltage Support | PGAE | Fresno | 2024-04-07 | 83 | No | DEC | 21 | 45389.1146 | 45389.9583
74 | RT | Voltage Support | PGAE | Fresno | 2024-04-07 | 83 | No | INC | 21 | 45389.125 | 45390
75 | RT | Voltage Support | PGAE | Fresno | 2024-04-08 | -320 | No | DEC | 1 | 45390.9965 | 45391
76 | RT | Voltage Support | PGAE | Fresno | 2024-04-08 | 83 | Yes | INC | 5 | 45390 | 45390.2083
77 | RT | Voltage Support | PGAE | Fresno | 2024-04-09 | -320 | No | DEC | 5 | 45391 | 45391.1979
78 | RT | Voltage Support | PGAE | Fresno | 2024-04-09 | 83 | Yes | INC | 1 | 45391.9896 | 45392
79 | RT | Voltage Support | PGAE | Fresno | 2024-04-10 | 83 | Yes | INC | 4 | 45392 | 45392.1667
80 | RT | Voltage Support | PGAE | Fresno | 2024-04-11 | -320 | No | DEC | 1 | 45393.9965 | 45394
81 | RT | Voltage Support | PGAE | Fresno | 2024-04-11 | 83 | No | INC | 7 | 45393 | 45393.2604
82 | RT | Voltage Support | PGAE | Fresno | 2024-04-12 | -320 | No | DEC | 7 | 45394 | 45394.2917
83 | RT | Voltage Support | PGAE | Fresno | 2024-04-12 | -320 | No | INC | 1 | 45394.2917 | 45394.3333
84 | RT | Voltage Support | PGAE | Fresno | 2024-04-13 | -310 | No | DEC | 15 | 45395.0903 | 45395.7083
85 | RT | Voltage Support | PGAE | Fresno | 2024-04-14 | -315 | No | DEC | 24 | 45396.0312 | 45397
86 | RT | Voltage Support | PGAE | Fresno | 2024-04-15 | -315 | No | DEC | 7 | 45397 | 45397.2917
87 | RT | Voltage Support | PGAE | Fresno | 2024-04-16 | -300 | No | DEC | 4 | 45398.0347 | 45398.1979
88 | RT | Voltage Support | PGAE | Fresno | 2024-04-17 | -310 | No | DEC | 3 | 45399.0694 | 45399.1562
89 | RT | Voltage Support | PGAE | Fresno | 2024-04-18 | -310 | No | DEC | 3 | 45400.1076 | 45400.1979
90 | RT | Voltage Support | PGAE | Fresno | 2024-04-19 | -310 | No | DEC | 4 | 45401.0972 | 45401.2396
91 | RT | Voltage Support | PGAE | Fresno | 2024-04-19 | 83 | No | INC | 1 | 45401.9167 | 45401.9375
92 | RT | Voltage Support | PGAE | Fresno | 2024-04-21 | 83 | Yes | INC | 6 | 45403.0833 | 45403.3125
93 | RT | Voltage Support | PGAE | Fresno | 2024-04-22 | 83 | No | INC | 1 | 45404.9722 | 45405
94 | RT | Voltage Support | PGAE | Fresno | 2024-04-23 | 83 | Yes | INC | 7 | 45405 | 45405.2917
95 | RT | Voltage Support | PGAE | Fresno | 2024-04-24 | 83 | No | INC | 7 | 45406.0104 | 45406.2917
96 | RT | Voltage Support | PGAE | Fresno | 2024-04-25 | 83 | No | INC | 23 | 45407.0417 | 45408
97 | RT | Voltage Support | PGAE | Fresno | 2024-04-26 | 83 | No | INC | 7 | 45408 | 45408.2917
98 | RT | Voltage Support | PGAE | Fresno | 2024-04-27 | -310 | No | DEC | 23 | 45409.0625 | 45410
99 | RT | Voltage Support | PGAE | Fresno | 2024-04-28 | -310 | No | DEC | 7 | 45410 | 45410.2917
100 | RT | Voltage Support | PGAE | Fresno | 2024-04-28 | 83 | No | INC | 3 | 45410.9062 | 45411
101 | RT | Voltage Support | PGAE | Fresno | 2024-04-29 | 83 | No | DEC | 1 | 45411.9896 | 45412
102 | RT | Voltage Support | PGAE | Fresno | 2024-04-29 | 83 | No | INC | 24 | 45411 | 45412
103 | RT | Voltage Support | PGAE | Fresno | 2024-04-30 | -308 | No | DEC | 1 | 45412.9583 | 45413
104 | RT | Voltage Support | PGAE | Fresno | 2024-04-30 | 83 | No | INC | 7 | 45412 | 45412.2917
105 | RT | Voltage Support | PGAE | Humboldt | 2024-04-01 | 15 | No | DEC | 8 | 45383 | 45383.3333
106 | RT | Voltage Support | PGAE | Humboldt | 2024-04-01 | 15 - 30 | No | INC | 24 | 45383 | 45384
107 | RT | Voltage Support | PGAE | Humboldt | 2024-04-02 | 14 - 30 | No | INC | 24 | 45384 | 45385
108 | RT | Voltage Support | PGAE | Humboldt | 2024-04-03 | 45 | No | DEC | 5 | 45385.75 | 45385.9583
109 | RT | Voltage Support | PGAE | Humboldt | 2024-04-03 | 30 - 45 | No | INC | 24 | 45385 | 45386
110 | RT | Voltage Support | PGAE | Humboldt | 2024-04-04 | 15 | No | DEC | 16 | 45386.3056 | 45386.9583
111 | RT | Voltage Support | PGAE | Humboldt | 2024-04-04 | 15 - 30 | No | INC | 24 | 45386 | 45387
112 | RT | Voltage Support | PGAE | Humboldt | 2024-04-05 | 15 - 30 | No | DEC | 23 | 45387 | 45387.9583
113 | RT | Voltage Support | PGAE | Humboldt | 2024-04-05 | 15 - 30 | No | INC | 11 | 45387.5486 | 45388
114 | RT | Voltage Support | PGAE | Humboldt | 2024-04-06 | 15 | No | DEC | 24 | 45388 | 45389
115 | RT | Voltage Support | PGAE | Humboldt | 2024-04-06 | 15 - 30 | No | INC | 24 | 45388 | 45389
116 | RT | Voltage Support | PGAE | Humboldt | 2024-04-07 | 15 | No | DEC | 8 | 45389 | 45389.3333
117 | RT | Voltage Support | PGAE | Humboldt | 2024-04-07 | 15 | No | INC | 5 | 45389.3333 | 45389.5104
118 | RT | Voltage Support | PGAE | Humboldt | 2024-04-08 | 15 - 30 | No | INC | 24 | 45390 | 45391
119 | RT | Voltage Support | PGAE | Humboldt | 2024-04-09 | 30 | No | DEC | 8 | 45391 | 45391.3333
120 | RT | Voltage Support | PGAE | Humboldt | 2024-04-09 | 15 - 30 | No | INC | 24 | 45391 | 45392
121 | RT | Voltage Support | PGAE | Humboldt | 2024-04-10 | 30 | No | DEC | 24 | 45392 | 45393
122 | RT | Voltage Support | PGAE | Humboldt | 2024-04-10 | 15 | No | INC | 24 | 45392 | 45393
123 | RT | Voltage Support | PGAE | Humboldt | 2024-04-11 | 30 | No | DEC | 9 | 45393 | 45393.3472
124 | RT | Voltage Support | PGAE | Humboldt | 2024-04-11 | 15 - 45 | No | INC | 24 | 45393 | 45394
125 | RT | Voltage Support | PGAE | Humboldt | 2024-04-12 | 15 | No | DEC | 7 | 45394 | 45394.2917
126 | RT | Voltage Support | PGAE | Humboldt | 2024-04-12 | 15 - 30 | No | INC | 17 | 45394.2917 | 45395
127 | RT | Voltage Support | PGAE | Humboldt | 2024-04-13 | 30 | No | INC | 24 | 45395 | 45396
128 | RT | Voltage Support | PGAE | Humboldt | 2024-04-14 | 30 | No | INC | 24 | 45396 | 45397
129 | RT | Voltage Support | PGAE | Humboldt | 2024-04-15 | 15 - 45 | No | INC | 24 | 45397 | 45398
130 | RT | Voltage Support | PGAE | Humboldt | 2024-04-16 | 15 | No | INC | 24 | 45398 | 45399
131 | RT | Voltage Support | PGAE | Humboldt | 2024-04-17 | 15 | No | INC | 24 | 45399 | 45400
132 | RT | Voltage Support | PGAE | Humboldt | 2024-04-18 | 15 | No | INC | 24 | 45400 | 45401
133 | RT | Voltage Support | PGAE | Humboldt | 2024-04-19 | 15 | No | INC | 24 | 45401 | 45402
134 | RT | Voltage Support | PGAE | Humboldt | 2024-04-20 | 15 | No | INC | 24 | 45402 | 45403
135 | RT | Voltage Support | PGAE | Humboldt | 2024-04-21 | 15 | No | DEC | 8 | 45403.6667 | 45404
136 | RT | Voltage Support | PGAE | Humboldt | 2024-04-21 | 15 | No | INC | 24 | 45403 | 45404
137 | RT | Voltage Support | PGAE | Humboldt | 2024-04-22 | 15 | No | DEC | 7 | 45404 | 45404.2674
138 | RT | Voltage Support | PGAE | Humboldt | 2024-04-22 | 15 - 30 | No | INC | 24 | 45404 | 45405
139 | RT | Voltage Support | PGAE | Humboldt | 2024-04-23 | 15 - 30 | No | INC | 24 | 45405 | 45406
140 | RT | Voltage Support | PGAE | Humboldt | 2024-04-24 | 15 - 30 | No | INC | 24 | 45406 | 45407
141 | RT | Voltage Support | PGAE | Humboldt | 2024-04-25 | 15 - 30 | No | INC | 24 | 45407 | 45408
142 | RT | Voltage Support | PGAE | Humboldt | 2024-04-26 | 15 - 30 | No | INC | 24 | 45408 | 45409
143 | RT | Voltage Support | PGAE | Humboldt | 2024-04-27 | 15 - 30 | No | INC | 24 | 45409 | 45410
144 | RT | Voltage Support | PGAE | Humboldt | 2024-04-28 | 15 - 30 | No | INC | 24 | 45410 | 45411
145 | RT | Voltage Support | PGAE | Humboldt | 2024-04-29 | 15 | No | DEC | 7 | 45411 | 45411.2917
146 | RT | Voltage Support | PGAE | Humboldt | 2024-04-29 | 15 | No | INC | 24 | 45411 | 45412
147 | RT | Voltage Support | PGAE | Humboldt | 2024-04-30 | 15 - 30 | No | INC | 24 | 45412 | 45413
148 | RT | Voltage Support | PGAE | Sierra | 2024-04-01 | 20 - 40 | No | DEC | 18 | 45383.25 | 45384
149 | RT | Voltage Support | PGAE | Sierra | 2024-04-01 | 20 - 42 | No | INC | 20 | 45383 | 45383.8333
150 | RT | Voltage Support | PGAE | Sierra | 2024-04-02 | 20 | Yes | DEC | 1 | 45384.25 | 45384.2917
151 | RT | Voltage Support | PGAE | Sierra | 2024-04-02 | 20 - 40 | Yes | INC | 24 | 45384 | 45385
152 | RT | Voltage Support | PGAE | Sierra | 2024-04-03 | 20 | No | INC | 24 | 45385 | 45386
153 | RT | Voltage Support | PGAE | Sierra | 2024-04-04 | 20 | No | DEC | 1 | 45386.2917 | 45386.3333
154 | RT | Voltage Support | PGAE | Sierra | 2024-04-04 | 20 | No | INC | 24 | 45386 | 45387
155 | RT | Voltage Support | PGAE | Sierra | 2024-04-05 | 20 | No | DEC | 11 | 45387.25 | 45387.7083
156 | RT | Voltage Support | PGAE | Sierra | 2024-04-05 | 7-20 | No | INC | 24 | 45387 | 45388
157 | RT | Voltage Support | PGAE | Sierra | 2024-04-06 | 20 | No | INC | 24 | 45388 | 45389
158 | RT | Voltage Support | PGAE | Sierra | 2024-04-07 | 20 - 42 | Yes | INC | 24 | 45389 | 45390
159 | RT | Voltage Support | PGAE | Sierra | 2024-04-08 | 20 - 42 | Yes | INC | 24 | 45390 | 45391
160 | RT | Voltage Support | PGAE | Sierra | 2024-04-09 | 20 | No | DEC | 1 | 45391.7917 | 45391.8333
161 | RT | Voltage Support | PGAE | Sierra | 2024-04-09 | 20 - 42 | Yes | INC | 24 | 45391 | 45392
162 | RT | Voltage Support | PGAE | Sierra | 2024-04-10 | 20 | No | DEC | 5 | 45392.6667 | 45392.875
163 | RT | Voltage Support | PGAE | Sierra | 2024-04-10 | 20 - 42 | No | INC | 24 | 45392 | 45393
164 | RT | Voltage Support | PGAE | Sierra | 2024-04-11 | 20 - 42 | No | INC | 24 | 45393 | 45394
165 | RT | Voltage Support | PGAE | Sierra | 2024-04-12 | 20 - 42 | Yes | INC | 24 | 45394 | 45395
166 | RT | Voltage Support | PGAE | Sierra | 2024-04-13 | 20 - 42 | Yes | INC | 24 | 45395 | 45396
167 | RT | Voltage Support | PGAE | Sierra | 2024-04-14 | 20 | No | INC | 24 | 45396 | 45397
168 | RT | Voltage Support | PGAE | Sierra | 2024-04-15 | 20 | No | INC | 8 | 45397 | 45397.3333
169 | RT | Voltage Support | PGAE | Sierra | 2024-04-20 | 20 | No | INC | 14 | 45402.4375 | 45403
170 | RT | Voltage Support | PGAE | Sierra | 2024-04-21 | 20 | No | INC | 24 | 45403 | 45404
171 | RT | Voltage Support | PGAE | Sierra | 2024-04-22 | 20 | Yes | INC | 24 | 45404 | 45405
172 | RT | Voltage Support | PGAE | Sierra | 2024-04-23 | 20 | Yes | INC | 8 | 45405 | 45405.3333
173 | RT | Voltage Support | PGAE | Sierra | 2024-04-24 | 20 | Yes | INC | 7 | 45406.0208 | 45406.2917
174 | RT | Voltage Support | PGAE | Sierra | 2024-04-30 | 20 | No | INC | 6 | 45412.066 | 45412.2917
175 | RT | Voltage Support | PGAE | NA | 2024-04-01 | 49 | No | DEC | 8 | 45383 | 45383.3333
176 | RT | Voltage Support | PGAE | NA | 2024-04-02 | 98 | No | DEC | 6 | 45384.0938 | 45384.3333
177 | RT | Voltage Support | PGAE | NA | 2024-04-02 | 62 | No | INC | 2 | 45384.9167 | 45385
178 | RT | Voltage Support | PGAE | NA | 2024-04-03 | 62 | No | DEC | 8 | 45385 | 45385.3333
179 | RT | Voltage Support | PGAE | NA | 2024-04-05 | 65 | No | INC | 1 | 45387.9792 | 45388
180 | RT | Voltage Support | PGAE | NA | 2024-04-06 | 62 - 65 | No | INC | 24 | 45388 | 45389
181 | RT | Voltage Support | PGAE | NA | 2024-04-07 | 62 | No | DEC | 6 | 45389.75 | 45390
182 | RT | Voltage Support | PGAE | NA | 2024-04-07 | 62 | No | INC | 10 | 45389.3333 | 45389.75
183 | RT | Voltage Support | PGAE | NA | 2024-04-08 | 62 | No | DEC | 7 | 45390 | 45390.2917
184 | RT | Voltage Support | PGAE | NA | 2024-04-09 | 62 | No | DEC | 2 | 45391.75 | 45391.8333
185 | RT | Voltage Support | PGAE | NA | 2024-04-09 | 62 | No | INC | 10 | 45391.3438 | 45391.75
186 | RT | Voltage Support | PGAE | NA | 2024-04-10 | 62 | No | DEC | 14 | 45392.2812 | 45392.8333
187 | RT | Voltage Support | PGAE | NA | 2024-04-10 | 62 | No | INC | 10 | 45392.3333 | 45392.75
188 | RT | Voltage Support | PGAE | NA | 2024-04-11 | 62 | No | INC | 10 | 45393.3368 | 45393.75
189 | RT | Voltage Support | PGAE | NA | 2024-04-14 | 48.95 | No | DEC | 2 | 45396.9375 | 45397
190 | RT | Voltage Support | PGAE | NA | 2024-04-15 | 48.95 - 146.85 | No | DEC | 7 | 45397 | 45397.2917
191 | RT | Voltage Support | PGAE | NA | 2024-04-24 | 65 | No | INC | 22 | 45406.1146 | 45407
192 | RT | Voltage Support | PGAE | NA | 2024-04-25 | 65 | No | INC | 24 | 45407 | 45408
193 | RT | Voltage Support | PGAE | NA | 2024-04-26 | 65 | No | INC | 24 | 45408 | 45409