## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report August 12, 2024
Chart 1: Table of Exceptional Dispatches for Period 01/June/2024 - 30/June/2024
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Conditions beyond the control of the CAISO | PGAE | Bay Area | 2024-06-01 | 290 | No | DEC | 1 | 45444.8438 | 45444.875
2 | RT | Conditions beyond the control of the CAISO | PGAE | Bay Area | 2024-06-01 | 77 - 290 | No | INC | 19 | 45444.2083 | 45445
3 | RT | Conditions beyond the control of the CAISO | PGAE | Bay Area | 2024-06-02 | 290 | No | DEC | 5 | 45445.7083 | 45445.9167
4 | RT | Conditions beyond the control of the CAISO | PGAE | Bay Area | 2024-06-02 | 77 - 290 | No | INC | 22 | 45445 | 45445.9167
5 | RT | Conditions beyond the control of the CAISO | PGAE | Bay Area | 2024-06-03 | 180 - 233 | No | INC | 5 | 45446.7917 | 45447
6 | RT | Conditions beyond the control of the CAISO | PGAE | Bay Area | 2024-06-15 | 175 - 180 | No | INC | 6 | 45458.7708 | 45459
7 | RT | Conditions beyond the control of the CAISO | PGAE | Bay Area | 2024-06-16 | 175 | No | INC | 2 | 45459 | 45459.0833
8 | RT | Conditions beyond the control of the CAISO | PGAE | Stockton | 2024-06-03 | 191.1 | No | INC | 3 | 45446.875 | 45447
9 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2024-06-01 | 111 | No | INC | 1 | 45444.9583 | 45445
10 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2024-06-02 | 111 | No | DEC | 4 | 45445.75 | 45445.9167
11 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2024-06-02 | 111 | No | INC | 18 | 45445 | 45445.75
12 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2024-06-15 | 58 | No | INC | 5 | 45458.6667 | 45458.875
13 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2024-06-24 | 300 | No | DEC | 1 | 45467.9792 | 45468
14 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2024-06-25 | 300 | No | DEC | 6 | 45468 | 45468.25
15 | RT | Conditions beyond the control of the CAISO | SCE | Big Creek-Ventura | 2024-06-15 | 140 | No | INC | 1 | 45458.75 | 45458.7917
16 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2024-06-15 | 46 - 139.16 | No | INC | 8 | 45458.6424 | 45458.9722
17 | RT | Fast Start Unit Management | PGAE | NA | 2024-06-07 | 0 | No | INC | 1 | 45450.3125 | 45450.3542
18 | RT | Fast Start Unit Management | PGAE | NA | 2024-06-17 | 0 | No | INC | 1 | 45460.4132 | 45460.4549
19 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2024-06-25 | 7 | No | DEC | 1 | 45468.7083 | 45468.75
20 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2024-06-25 | 7 | No | INC | 7 | 45468.4549 | 45468.7083
21 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2024-06-26 | 7 | No | DEC | 3 | 45469.6667 | 45469.7917
22 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2024-06-26 | 7 | No | INC | 13 | 45469.3299 | 45469.8333
23 | RT | Incomplete or Inaccurate Transmission | PGAE | NA | 2024-06-25 | 14 | No | INC | 8 | 45468.4549 | 45468.75
24 | RT | Incomplete or Inaccurate Transmission | PGAE | NA | 2024-06-26 | 14 | No | INC | 13 | 45469.3299 | 45469.8333
25 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2024-06-24 | 83 | No | INC | 2 | 45467.7257 | 45467.7917
26 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2024-06-25 | 83 | No | INC | 4 | 45468.625 | 45468.7917
27 | RT | Load Forecast Uncertainty | PGAE | NA | 2024-06-24 | 56 | No | INC | 5 | 45467.7396 | 45467.9167
28 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2024-06-25 | 251 | No | INC | 1 | 45468.6667 | 45468.7083
29 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2024-06-24 | 24 | No | INC | 1 | 45467.8819 | 45467.9167
30 | RT | Market Disruption | PGAE | NA | 2024-06-03 | -135 | No | DEC | 1 | 45446.1424 | 45446.1667
31 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-06-01 | 46 - 77 | No | INC | 15 | 45444.2083 | 45444.8333
32 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-06-02 | 77 | No | INC | 12 | 45445.375 | 45445.8542
33 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-06-04 | 233 | No | DEC | 6 | 45447.625 | 45447.875
34 | RT | Planned Transmission Outage | PGAE | Kern | 2024-06-07 | 12 | No | INC | 5 | 45450.75 | 45450.9583
35 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-06-04 | 5 - 15 | No | DEC | 7 | 45447.5833 | 45447.875
36 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2024-06-15 | 160 | No | INC | 9 | 45458.2917 | 45458.6667
37 | RT | Ramping Capacity | PGAE | Fresno | 2024-06-05 | 83 | No | INC | 3 | 45448.6632 | 45448.75
38 | RT | Reliability Assessment | PGAE | Bay Area | 2024-06-28 | 47 | No | INC | 4 | 45471.7917 | 45471.9583
39 | RT | Reliability Assessment | PGAE | Fresno | 2024-06-25 | 10 | No | DEC | 2 | 45468.625 | 45468.7083
40 | RT | Reliability Assessment | PGAE | Fresno | 2024-06-25 | 10 | No | INC | 1 | 45468.7083 | 45468.7292
41 | RT | Reliability Assessment | PGAE | Humboldt | 2024-06-23 | 60 | No | INC | 5 | 45466.8264 | 45467
42 | RT | Reliability Assessment | PGAE | Humboldt | 2024-06-24 | 60 | No | INC | 3 | 45467 | 45467.1146
43 | RT | Reliability Assessment | PGAE | Kern | 2024-06-06 | 32 | No | INC | 4 | 45449.7292 | 45449.8958
44 | RT | Reliability Assessment | PGAE | Kern | 2024-06-07 | 32 | Yes | INC | 5 | 45450.7083 | 45450.9167
45 | RT | Reliability Assessment | PGAE | Kern | 2024-06-22 | 44 | No | INC | 5 | 45465.7812 | 45465.9583
46 | RT | Reliability Assessment | PGAE | Kern | 2024-06-23 | 32 | No | INC | 4 | 45466.75 | 45466.9167
47 | RT | Reliability Assessment | PGAE | NCNB | 2024-06-04 | 60 - 65 | No | DEC | 2 | 45447.8194 | 45447.875
48 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-03 | 20 | No | DEC | 1 | 45446.8715 | 45446.875
49 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-03 | 20 | No | INC | 1 | 45446.875 | 45446.9167
50 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-04 | 20 - 42 | No | DEC | 5 | 45447.7708 | 45447.9583
51 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-05 | 20 - 42 | No | DEC | 5 | 45448.7292 | 45448.9167
52 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-05 | 42 | No | INC | 1 | 45448.9167 | 45448.9583
53 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-06 | 20 | No | DEC | 6 | 45449.6667 | 45449.9167
54 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-06 | 20 | No | INC | 11 | 45449.5451 | 45450
55 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-07 | 42 | No | DEC | 5 | 45450.7083 | 45450.9167
56 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-07 | 42 | No | INC | 3 | 45450.5833 | 45450.7083
57 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-08 | 42 | Yes | INC | 6 | 45451.6667 | 45451.9167
58 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-10 | 20 | No | DEC | 1 | 45453.7083 | 45453.75
59 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-11 | 40 - 42 | No | DEC | 5 | 45454.7188 | 45454.9167
60 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-11 | 42 - 49.2 | No | INC | 10 | 45454.5417 | 45454.9583
61 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-12 | 46 | No | DEC | 5 | 45455.6667 | 45455.875
62 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-12 | 20 - 46 | No | INC | 8 | 45455.5417 | 45455.875
63 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-13 | 40 | No | INC | 4 | 45456.7778 | 45456.9167
64 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-14 | 20 | No | DEC | 4 | 45457.7396 | 45457.875
65 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-22 | 20 - 42 | No | DEC | 5 | 45465.7431 | 45465.9167
66 | RT | Reliability Assessment | PGAE | Sierra | 2024-06-23 | 40 - 42 | Yes | INC | 9 | 45466.5417 | 45466.9167
67 | RT | Reliability Assessment | PGAE | Stockton | 2024-06-02 | 25 | No | DEC | 2 | 45445.625 | 45445.7083
68 | RT | Reliability Assessment | PGAE | Stockton | 2024-06-02 | 25 | No | INC | 2 | 45445.5729 | 45445.625
69 | RT | Reliability Assessment | PGAE | Stockton | 2024-06-05 | 20 | No | INC | 5 | 45448.6979 | 45448.8854
70 | RT | Reliability Assessment | PGAE | NA | 2024-06-02 | 150 - 250 | No | DEC | 2 | 45445.316 | 45445.375
71 | RT | Reliability Assessment | VEA | NA | 2024-06-02 | 40 | No | DEC | 3 | 45445.6597 | 45445.7708
72 | RT | Software Limitation | PGAE | Fresno | 2024-06-03 | -310 | No | INC | 1 | 45446.5799 | 45446.6042
73 | RT | Unit Testing | Intertie | NA | 2024-06-01 | 20 - 134 | No | INC | 15 | 45444.2083 | 45444.8333
74 | RT | Unit Testing | Intertie | NA | 2024-06-02 | 20 - 134 | No | INC | 15 | 45445.2083 | 45445.8333
75 | RT | Unit Testing | Intertie | NA | 2024-06-03 | 20 - 134 | No | INC | 15 | 45446.2083 | 45446.8333
76 | RT | Unit Testing | Intertie | NA | 2024-06-04 | 20 - 134 | No | INC | 15 | 45447.2083 | 45447.8333
77 | RT | Unit Testing | Intertie | NA | 2024-06-05 | 20 - 134 | No | INC | 15 | 45448.2083 | 45448.8333
78 | RT | Unit Testing | Intertie | NA | 2024-06-06 | 20 - 137 | No | INC | 15 | 45449.2083 | 45449.8333
79 | RT | Unit Testing | Intertie | NA | 2024-06-07 | 20 - 137 | No | INC | 15 | 45450.2083 | 45450.8333
80 | RT | Unit Testing | PGAE | Big Creek-Ventura | 2024-06-11 | 253 | No | INC | 1 | 45454.25 | 45454.2917
81 | RT | Unit Testing | PGAE | Sierra | 2024-06-12 | 46 | No | INC | 6 | 45455.4167 | 45455.6458
82 | RT | Unit Testing | PGAE | Sierra | 2024-06-26 | 42 | No | INC | 2 | 45469.6076 | 45469.6667
83 | RT | Unit Testing | PGAE | NA | 2024-06-07 | 32.55 - 230.9 | No | INC | 6 | 45450.4167 | 45450.6354
84 | RT | Unit Testing | PGAE | NA | 2024-06-08 | 40 | No | INC | 1 | 45451.0938 | 45451.1215
85 | RT | Unit Testing | PGAE | NA | 2024-06-14 | 65 | No | INC | 2 | 45457.0278 | 45457.0833
86 | RT | Unit Testing | PGAE | NA | 2024-06-18 | 500 | No | INC | 1 | 45461.6944 | 45461.7083
87 | RT | Unit Testing | PGAE | NA | 2024-06-20 | 18 - 40 | No | INC | 3 | 45463.0382 | 45463.1285
88 | RT | Unit Testing | SCE | LA Basin | 2024-06-11 | 525 | No | INC | 2 | 45454.2743 | 45454.3333
89 | RT | Unit Testing | SCE | LA Basin | 2024-06-17 | 147 | No | INC | 2 | 45460.5868 | 45460.6667
90 | RT | Unit Testing | SCE | LA Basin | 2024-06-18 | 193.38 | No | INC | 1 | 45461.0903 | 45461.1181
91 | RT | Unit Testing | SCE | LA Basin | 2024-06-26 | 70 | No | INC | 4 | 45469.6875 | 45469.8542
92 | RT | Unit Testing | SCE | NA | 2024-06-27 | -230 | No | DEC | 2 | 45470.5729 | 45470.625
93 | RT | Unit Testing | SCE | NA | 2024-06-27 | 230 | No | INC | 2 | 45470.3507 | 45470.4167
94 | RT | Unit Testing | SDGE | San Diego-IV | 2024-06-26 | 0.7 | No | INC | 1 | 45469.4757 | 45469.5069
95 | RT | Unplanned Outage | PGAE | NA | 2024-06-24 | 6 | No | INC | 3 | 45467.6146 | 45467.7083
96 | RT | Voltage Support | PGAE | Fresno | 2024-06-02 | 83 | No | INC | 15 | 45445.1667 | 45445.7917
97 | RT | Voltage Support | PGAE | Fresno | 2024-06-08 | 83 | No | INC | 2 | 45451.2083 | 45451.2708
98 | RT | Voltage Support | PGAE | Fresno | 2024-06-10 | 83 | No | INC | 5 | 45453.0417 | 45453.25
99 | RT | Voltage Support | PGAE | Fresno | 2024-06-11 | 83 | No | INC | 3 | 45454.6875 | 45454.7917
100 | RT | Voltage Support | PGAE | Fresno | 2024-06-12 | 83 | Yes | INC | 3 | 45455.6979 | 45455.7917
101 | RT | Voltage Support | PGAE | Fresno | 2024-06-24 | 15 | No | INC | 5 | 45467.8125 | 45468
102 | RT | Voltage Support | PGAE | Fresno | 2024-06-25 | 15 | No | INC | 1 | 45468 | 45468.0417
103 | RT | Voltage Support | PGAE | Fresno | 2024-06-27 | 83 | No | INC | 8 | 45470.6771 | 45471
104 | RT | Voltage Support | PGAE | Fresno | 2024-06-28 | 21 - 83 | Yes | INC | 3 | 45471.8958 | 45472
105 | RT | Voltage Support | PGAE | Fresno | 2024-06-29 | 21 - 83 | No | INC | 24 | 45472 | 45473
106 | RT | Voltage Support | PGAE | Fresno | 2024-06-30 | -300 | No | DEC | 5 | 45473.1007 | 45473.2917
107 | RT | Voltage Support | PGAE | Humboldt | 2024-06-01 | 30 | No | INC | 24 | 45444 | 45445
108 | RT | Voltage Support | PGAE | Humboldt | 2024-06-02 | 30 | No | INC | 24 | 45445 | 45446
109 | RT | Voltage Support | PGAE | Humboldt | 2024-06-03 | 30 | No | DEC | 12 | 45446 | 45446.5
110 | RT | Voltage Support | PGAE | Humboldt | 2024-06-03 | 30 | No | INC | 12 | 45446.5 | 45447
111 | RT | Voltage Support | PGAE | Humboldt | 2024-06-04 | 30 | No | DEC | 23 | 45447 | 45447.9583
112 | RT | Voltage Support | PGAE | Humboldt | 2024-06-04 | 30 | No | INC | 1 | 45447.9583 | 45448
113 | RT | Voltage Support | PGAE | Humboldt | 2024-06-05 | 30 | No | DEC | 22 | 45448 | 45448.9167
114 | RT | Voltage Support | PGAE | Humboldt | 2024-06-05 | 30 | No | INC | 2 | 45448.9167 | 45449
115 | RT | Voltage Support | PGAE | Humboldt | 2024-06-06 | 30 | No | DEC | 24 | 45449 | 45450
116 | RT | Voltage Support | PGAE | Humboldt | 2024-06-07 | 30 | No | INC | 24 | 45450 | 45451
117 | RT | Voltage Support | PGAE | Humboldt | 2024-06-08 | 30 | No | INC | 24 | 45451 | 45452
118 | RT | Voltage Support | PGAE | Humboldt | 2024-06-09 | 30 | No | INC | 24 | 45452 | 45453
119 | RT | Voltage Support | PGAE | Humboldt | 2024-06-10 | 30 - 45 | No | INC | 24 | 45453 | 45454
120 | RT | Voltage Support | PGAE | Humboldt | 2024-06-11 | 15 - 30 | No | DEC | 24 | 45454.0208 | 45455
121 | RT | Voltage Support | PGAE | Humboldt | 2024-06-11 | 15 - 45 | No | INC | 24 | 45454 | 45455
122 | RT | Voltage Support | PGAE | Humboldt | 2024-06-12 | 15 - 30 | No | INC | 24 | 45455 | 45456
123 | RT | Voltage Support | PGAE | Humboldt | 2024-06-13 | 15 | No | DEC | 1 | 45456 | 45456.0417
124 | RT | Voltage Support | PGAE | Humboldt | 2024-06-13 | 15 - 45 | No | INC | 24 | 45456 | 45457
125 | RT | Voltage Support | PGAE | Humboldt | 2024-06-14 | 30 - 45 | No | INC | 24 | 45457 | 45458
126 | RT | Voltage Support | PGAE | Humboldt | 2024-06-15 | 30 | No | INC | 24 | 45458 | 45459
127 | RT | Voltage Support | PGAE | Humboldt | 2024-06-16 | 15 - 30 | No | INC | 24 | 45459 | 45460
128 | RT | Voltage Support | PGAE | Humboldt | 2024-06-17 | 15 | No | DEC | 22 | 45460 | 45460.9167
129 | RT | Voltage Support | PGAE | Humboldt | 2024-06-17 | 15 - 30 | No | INC | 23 | 45460.0417 | 45461
130 | RT | Voltage Support | PGAE | Humboldt | 2024-06-18 | 15 | No | DEC | 24 | 45461 | 45462
131 | RT | Voltage Support | PGAE | Humboldt | 2024-06-18 | 15 - 30 | No | INC | 22 | 45461 | 45461.8854
132 | RT | Voltage Support | PGAE | Humboldt | 2024-06-19 | 15 | No | DEC | 24 | 45462 | 45463
133 | RT | Voltage Support | PGAE | Humboldt | 2024-06-19 | 15 - 30 | No | INC | 23 | 45462.0417 | 45463
134 | RT | Voltage Support | PGAE | Humboldt | 2024-06-20 | 15 | No | DEC | 7 | 45463 | 45463.2917
135 | RT | Voltage Support | PGAE | Humboldt | 2024-06-20 | 15 - 30 | No | INC | 24 | 45463 | 45464
136 | RT | Voltage Support | PGAE | Humboldt | 2024-06-21 | 15 | No | DEC | 23 | 45464 | 45464.9583
137 | RT | Voltage Support | PGAE | Humboldt | 2024-06-21 | 15 - 30 | No | INC | 24 | 45464 | 45465
138 | RT | Voltage Support | PGAE | Humboldt | 2024-06-22 | 15 - 30 | No | DEC | 24 | 45465 | 45466
139 | RT | Voltage Support | PGAE | Humboldt | 2024-06-22 | 30 | No | INC | 18 | 45465 | 45465.75
140 | RT | Voltage Support | PGAE | Humboldt | 2024-06-23 | 15 - 30 | No | DEC | 24 | 45466 | 45467
141 | RT | Voltage Support | PGAE | Humboldt | 2024-06-23 | 30 | No | INC | 18 | 45466.125 | 45466.8438
142 | RT | Voltage Support | PGAE | Humboldt | 2024-06-24 | 15 - 30 | No | DEC | 24 | 45467 | 45468
143 | RT | Voltage Support | PGAE | Humboldt | 2024-06-24 | 30 | No | INC | 15 | 45467.3785 | 45468
144 | RT | Voltage Support | PGAE | Humboldt | 2024-06-25 | 15 - 30 | No | DEC | 24 | 45468 | 45469
145 | RT | Voltage Support | PGAE | Humboldt | 2024-06-25 | 30 | No | INC | 2 | 45468.9167 | 45469
146 | RT | Voltage Support | PGAE | Humboldt | 2024-06-26 | 15 - 30 | No | DEC | 24 | 45469 | 45470
147 | RT | Voltage Support | PGAE | Humboldt | 2024-06-27 | 15 | No | DEC | 24 | 45470 | 45471
148 | RT | Voltage Support | PGAE | Humboldt | 2024-06-27 | 30 | No | INC | 14 | 45470.2917 | 45470.875
149 | RT | Voltage Support | PGAE | Humboldt | 2024-06-28 | 15 | No | DEC | 24 | 45471 | 45472
150 | RT | Voltage Support | PGAE | Humboldt | 2024-06-28 | 15 | No | INC | 24 | 45471 | 45472
151 | RT | Voltage Support | PGAE | Humboldt | 2024-06-29 | 15 | No | DEC | 8 | 45472.6667 | 45473
152 | RT | Voltage Support | PGAE | Humboldt | 2024-06-29 | 15 | No | INC | 24 | 45472 | 45473
153 | RT | Voltage Support | PGAE | Humboldt | 2024-06-30 | 15 | No | DEC | 24 | 45473 | 45474
154 | RT | Voltage Support | PGAE | Humboldt | 2024-06-30 | 15 | No | INC | 24 | 45473 | 45474
155 | RT | Voltage Support | PGAE | Kern | 2024-06-22 | 20 | No | INC | 11 | 45465.5417 | 45466
156 | RT | Voltage Support | PGAE | Kern | 2024-06-23 | 20 | No | INC | 2 | 45466 | 45466.0833
157 | RT | Voltage Support | PGAE | Kern | 2024-06-30 | 12 | Yes | INC | 1 | 45473.9583 | 45474
158 | RT | Voltage Support | PGAE | NA | 2024-06-02 | 50 - 59 | No | INC | 12 | 45445.5104 | 45446
159 | RT | Voltage Support | PGAE | NA | 2024-06-03 | 50 - 100 | No | INC | 7 | 45446 | 45446.2917
160 | RT | Voltage Support | PGAE | NA | 2024-06-06 | 182 | No | INC | 11 | 45449.559 | 45450
161 | RT | Voltage Support | PGAE | NA | 2024-06-07 | 182 | No | INC | 19 | 45450 | 45450.7917
162 | RT | Voltage Support | PGAE | NA | 2024-06-08 | 70 - 95 | No | DEC | 7 | 45451.7083 | 45452
163 | RT | Voltage Support | PGAE | NA | 2024-06-08 | 70 - 95 | No | INC | 17 | 45451.2917 | 45452
164 | RT | Voltage Support | PGAE | NA | 2024-06-09 | 70 | No | DEC | 2 | 45452.1667 | 45452.25
165 | RT | Voltage Support | PGAE | NA | 2024-06-09 | 70 - 95 | No | INC | 24 | 45452 | 45453
166 | RT | Voltage Support | PGAE | NA | 2024-06-10 | 70 - 95 | No | INC | 6 | 45453 | 45453.25
167 | RT | Voltage Support | PGAE | NA | 2024-06-12 | 199 | No | INC | 9 | 45455.6354 | 45456
168 | RT | Voltage Support | PGAE | NA | 2024-06-13 | 199 | No | INC | 6 | 45456 | 45456.25
169 | RT | Voltage Support | PGAE | NA | 2024-06-16 | 103 | No | DEC | 1 | 45459.1076 | 45459.125
170 | RT | Voltage Support | PGAE | NA | 2024-06-16 | 65 - 182 | No | INC | 23 | 45459.0764 | 45460
171 | RT | Voltage Support | PGAE | NA | 2024-06-17 | 65 | No | DEC | 1 | 45460.2083 | 45460.25
172 | RT | Voltage Support | PGAE | NA | 2024-06-17 | 65 - 182 | No | INC | 7 | 45460 | 45460.2917
173 | RT | Voltage Support | PGAE | NA | 2024-06-18 | 65 | No | INC | 24 | 45461 | 45462
174 | RT | Voltage Support | PGAE | NA | 2024-06-19 | 65 | No | INC | 5 | 45462 | 45462.2083
175 | RT | Voltage Support | PGAE | NA | 2024-06-28 | 95 | No | INC | 2 | 45471.6458 | 45471.7083
176 | RT | Voltage Support | PGAE | NA | 2024-06-29 | 95 | No | INC | 10 | 45472.2917 | 45472.7083