## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report July 10, 2024
Chart 1: Table of Exceptional Dispatches for Period 01/May/2024 - 31/May/2024
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Conditions beyond the control of the CAISO | PGAE | NA | 2024-05-24 | 175 | No | INC | 11 | 45436.4583 | 45436.9167
2 | RT | Fast Start Unit Management | PGAE | NA | 2024-05-02 | 0 | No | INC | 3 | 45414.2917 | 45414.3854
3 | RT | Fast Start Unit Management | PGAE | NA | 2024-05-03 | 0 | No | INC | 1 | 45415.2917 | 45415.3333
4 | RT | Fast Start Unit Management | PGAE | NA | 2024-05-07 | 0 | No | INC | 1 | 45419.0347 | 45419.0764
5 | RT | Fast Start Unit Management | SCE | LA Basin | 2024-05-30 | 0 | No | INC | 1 | 45442.0903 | 45442.1285
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2024-05-23 | 70 | No | DEC | 3 | 45435.6632 | 45435.75
7 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2024-05-23 | 70 | No | INC | 1 | 45435.75 | 45435.7917
8 | RT | Incomplete or Inaccurate Transmission | PGAE | NCNB | 2024-05-10 | 44 | No | DEC | 2 | 45422.1076 | 45422.1667
9 | RT | Incomplete or Inaccurate Transmission | PGAE | NA | 2024-05-09 | 13 | No | DEC | 2 | 45421.3368 | 45421.4167
10 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-05-14 | 0 | No | INC | 1 | 45426.7743 | 45426.8125
11 | RT | Planned Transmission Outage | PGAE | Fresno | 2024-05-01 | 0 | No | DEC | 1 | 45413.875 | 45413.9167
12 | RT | Planned Transmission Outage | PGAE | Fresno | 2024-05-01 | 0 | No | INC | 2 | 45413.9167 | 45414
13 | RT | Planned Transmission Outage | PGAE | Fresno | 2024-05-02 | 0 | No | DEC | 1 | 45414 | 45414.0104
14 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-05-01 | 15 - 45 | No | INC | 15 | 45413.3438 | 45413.9375
15 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-05-03 | 15 - 45 | No | INC | 6 | 45415.7708 | 45416
16 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-05-04 | 30 - 45 | No | INC | 24 | 45416 | 45417
17 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-05-05 | 30 - 60 | No | INC | 18 | 45417 | 45417.7188
18 | RT | Planned Transmission Outage | PGAE | NCNB | 2024-05-30 | 40 | No | DEC | 9 | 45442.3229 | 45442.6667
19 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-05-01 | 20 | No | INC | 6 | 45413.0451 | 45413.2917
20 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-05-13 | 15 | No | INC | 10 | 45425.3924 | 45425.7917
21 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-05-21 | 20 | No | DEC | 2 | 45433.2535 | 45433.3333
22 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-05-29 | 30 | No | INC | 9 | 45441.3785 | 45441.75
23 | RT | Planned Transmission Outage | PGAE | NA | 2024-05-08 | 40 | No | INC | 5 | 45420.1215 | 45420.2917
24 | RT | Planned Transmission Outage | PGAE | NA | 2024-05-09 | 13 | No | DEC | 10 | 45421.4167 | 45421.8333
25 | RT | Planned Transmission Outage | PGAE | NA | 2024-05-14 | 0 | No | INC | 9 | 45426.4444 | 45426.8125
26 | RT | Planned Transmission Outage | SCE | NA | 2024-05-03 | 125 | No | INC | 9 | 45415.2917 | 45415.6562
27 | RT | Pump Management | PGAE | Fresno | 2024-05-02 | 0 | No | INC | 1 | 45414.9583 | 45415
28 | RT | Reliability Assessment | PGAE | Bay Area | 2024-05-13 | 5 | No | INC | 7 | 45425.6319 | 45425.9167
29 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-09 | 18 | No | DEC | 7 | 45421.4965 | 45421.75
30 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-09 | 25628 | No | INC | 7 | 45421.4826 | 45421.75
31 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-10 | 0 | No | DEC | 14 | 45422.4375 | 45423
32 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-11 | 0 | No | INC | 24 | 45423 | 45424
33 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-12 | 0 | No | INC | 12 | 45424 | 45424.4792
34 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-20 | 83 | No | INC | 1 | 45432.9688 | 45433
35 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-21 | 83 | No | INC | 7 | 45433 | 45433.2917
36 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-22 | 0 | No | DEC | 7 | 45434.625 | 45434.9167
37 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-22 | 25 | No | INC | 2 | 45434.5382 | 45434.5833
38 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-23 | 83 | No | INC | 2 | 45435.1875 | 45435.25
39 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-24 | 8 | No | DEC | 6 | 45436.5139 | 45436.75
40 | RT | Reliability Assessment | PGAE | Fresno | 2024-05-29 | 9 | No | INC | 7 | 45441.4583 | 45441.75
41 | RT | Reliability Assessment | PGAE | Humboldt | 2024-05-22 | 30 - 45 | No | INC | 5 | 45434.1146 | 45434.2917
42 | RT | Reliability Assessment | PGAE | Sierra | 2024-05-14 | 30 | No | INC | 3 | 45426.8958 | 45427
43 | RT | Reliability Assessment | PGAE | Sierra | 2024-05-15 | 30 | Yes | INC | 1 | 45427 | 45427.0208
44 | RT | Reliability Assessment | PGAE | Sierra | 2024-05-17 | 20 | No | DEC | 6 | 45429.7396 | 45429.9583
45 | RT | Reliability Assessment | PGAE | Sierra | 2024-05-17 | 42 | No | INC | 5 | 45429.75 | 45429.9375
46 | RT | Reliability Assessment | PGAE | Stockton | 2024-05-10 | 5 | No | DEC | 1 | 45422.3438 | 45422.375
47 | RT | Reliability Assessment | PGAE | Stockton | 2024-05-10 | 5 | No | INC | 1 | 45422.375 | 45422.4167
48 | RT | Reliability Assessment | PGAE | Stockton | 2024-05-13 | 11 | No | DEC | 1 | 45425.3681 | 45425.4062
49 | RT | Reliability Assessment | PGAE | NA | 2024-05-13 | 35 | No | INC | 7 | 45425.6319 | 45425.9167
50 | RT | Reliability Assessment | PGAE | NA | 2024-05-14 | 0 - 2 | No | DEC | 2 | 45426.7118 | 45426.7917
51 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2024-05-23 | 10 | No | DEC | 2 | 45435.5486 | 45435.625
52 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2024-05-23 | 10 | No | INC | 2 | 45435.5486 | 45435.625
53 | RT | Reliability Assessment | SCE | Fresno | 2024-05-21 | 80 | No | DEC | 2 | 45433.6319 | 45433.7083
54 | RT | Reliability Assessment | SCE | NA | 2024-05-23 | 10 - 100 | No | DEC | 3 | 45435.5382 | 45435.625
55 | RT | Reliability Assessment | SCE | NA | 2024-05-23 | 0 - 10 | No | INC | 6 | 45435.5417 | 45435.7708
56 | RT | Software Limitation | PGAE | NA | 2024-05-01 | 0 | No | INC | 1 | 45413.3368 | 45413.375
57 | RT | Software Limitation | PGAE | NA | 2024-05-10 | 0 | No | INC | 1 | 45422.4097 | 45422.4514
58 | RT | Software Limitation | PGAE | NA | 2024-05-21 | 0 | No | INC | 2 | 45433.4167 | 45433.4618
59 | RT | Software Limitation | PGAE | NA | 2024-05-22 | 0 | No | INC | 2 | 45434.3333 | 45434.3785
60 | RT | Unit Testing | Intertie | NA | 2024-05-02 | 150 | No | INC | 5 | 45414.7083 | 45414.9167
61 | RT | Unit Testing | Intertie | NA | 2024-05-10 | 16984 | No | INC | 13 | 45422.25 | 45422.7917
62 | RT | Unit Testing | Intertie | NA | 2024-05-11 | 20 - 46 | No | INC | 13 | 45423.25 | 45423.7917
63 | RT | Unit Testing | Intertie | NA | 2024-05-12 | 20 - 46 | No | INC | 13 | 45424.25 | 45424.7917
64 | RT | Unit Testing | Intertie | NA | 2024-05-13 | 20 - 46 | No | INC | 13 | 45425.25 | 45425.7917
65 | RT | Unit Testing | Intertie | NA | 2024-05-14 | 40 - 92 | No | INC | 13 | 45426.2917 | 45426.8333
66 | RT | Unit Testing | Intertie | NA | 2024-05-15 | 150 | No | INC | 2 | 45427.625 | 45427.7083
67 | RT | Unit Testing | Intertie | NA | 2024-05-16 | 50 - 134 | No | INC | 13 | 45428.25 | 45428.7917
68 | RT | Unit Testing | Intertie | NA | 2024-05-17 | 50 - 134 | No | INC | 13 | 45429.25 | 45429.7917
69 | RT | Unit Testing | Intertie | NA | 2024-05-18 | 50 - 134 | No | INC | 13 | 45430.25 | 45430.7917
70 | RT | Unit Testing | Intertie | NA | 2024-05-19 | 50 - 134 | No | INC | 13 | 45431.25 | 45431.7917
71 | RT | Unit Testing | Intertie | NA | 2024-05-20 | 50 - 134 | No | INC | 13 | 45432.25 | 45432.7917
72 | RT | Unit Testing | Intertie | NA | 2024-05-21 | -65 | No | DEC | 2 | 45433.2917 | 45433.375
73 | RT | Unit Testing | Intertie | NA | 2024-05-21 | 50 - 150 | No | INC | 9 | 45433.4167 | 45433.7917
74 | RT | Unit Testing | Intertie | NA | 2024-05-22 | -65 | No | DEC | 2 | 45434.2917 | 45434.375
75 | RT | Unit Testing | Intertie | NA | 2024-05-22 | 50 - 150 | No | INC | 9 | 45434.4167 | 45434.7917
76 | RT | Unit Testing | Intertie | NA | 2024-05-23 | 20 - 134 | No | INC | 15 | 45435.2083 | 45435.8333
77 | RT | Unit Testing | Intertie | NA | 2024-05-24 | 20 - 134 | No | INC | 15 | 45436.2083 | 45436.8333
78 | RT | Unit Testing | Intertie | NA | 2024-05-26 | 20 - 134 | No | INC | 15 | 45438.2083 | 45438.8333
79 | RT | Unit Testing | Intertie | NA | 2024-05-27 | 20 - 134 | No | INC | 15 | 45439.2083 | 45439.8333
80 | RT | Unit Testing | Intertie | NA | 2024-05-28 | 20 - 134 | No | INC | 15 | 45440.2083 | 45440.8333
81 | RT | Unit Testing | Intertie | NA | 2024-05-29 | 20 - 134 | No | INC | 15 | 45441.2083 | 45441.8333
82 | RT | Unit Testing | Intertie | NA | 2024-05-30 | 20 - 134 | No | INC | 15 | 45442.2083 | 45442.8333
83 | RT | Unit Testing | Intertie | NA | 2024-05-31 | 20 - 134 | No | INC | 15 | 45443.2083 | 45443.8333
84 | RT | Unit Testing | PGAE | Fresno | 2024-05-28 | 44 | No | INC | 4 | 45440.625 | 45440.7917
85 | RT | Unit Testing | PGAE | Sierra | 2024-05-01 | 285 | No | INC | 2 | 45413.0833 | 45413.1667
86 | RT | Unit Testing | PGAE | NA | 2024-05-10 | 0 | No | INC | 1 | 45422.2014 | 45422.2292
87 | RT | Unit Testing | PGAE | NA | 2024-05-16 | 40 | No | INC | 1 | 45428.1562 | 45428.184
88 | RT | Unit Testing | PGAE | NA | 2024-05-22 | 40 | No | INC | 1 | 45434.4583 | 45434.4688
89 | RT | Unit Testing | PGAE | NA | 2024-05-30 | 45327 | No | DEC | 1 | 45442.7743 | 45442.7917
90 | RT | Unit Testing | PGAE | NA | 2024-05-30 | 150 | No | INC | 1 | 45442.7361 | 45442.75
91 | RT | Unit Testing | SCE | Big Creek-Ventura | 2024-05-15 | 0 - 6.88 | No | INC | 2 | 45427.4062 | 45427.4722
92 | RT | Unit Testing | SCE | Big Creek-Ventura | 2024-05-17 | 250 - 741 | No | INC | 6 | 45429.5625 | 45429.7917
93 | RT | Unit Testing | SCE | Big Creek-Ventura | 2024-05-24 | 100 - 500 | No | INC | 3 | 45436.5694 | 45436.6875
94 | RT | Unit Testing | SCE | Big Creek-Ventura | 2024-05-28 | 74 | No | INC | 2 | 45440.6667 | 45440.75
95 | RT | Unit Testing | SCE | LA Basin | 2024-05-18 | 8.61 | No | INC | 1 | 45430.5625 | 45430.5938
96 | RT | Unit Testing | SCE | LA Basin | 2024-05-30 | 63 | No | INC | 1 | 45442.6667 | 45442.6979
97 | RT | Unit Testing | SCE | NA | 2024-05-03 | -0.1 | No | INC | 1 | 45415.6424 | 45415.6701
98 | RT | Unit Testing | SCE | NA | 2024-05-15 | 475 | No | INC | 2 | 45427.9167 | 45428
99 | RT | Unit Testing | SCE | NA | 2024-05-16 | 475 | No | INC | 2 | 45428 | 45428.0833
100 | RT | Unit Testing | SCE | NA | 2024-05-20 | 0 | No | INC | 1 | 45432.4861 | 45432.5174
101 | RT | Unit Testing | SCE | NA | 2024-05-22 | -230 | No | DEC | 5 | 45434.2917 | 45434.5
102 | RT | Unit Testing | SCE | NA | 2024-05-22 | 124.62 - 125 | No | INC | 2 | 45434.191 | 45434.2569
103 | RT | Unit Testing | SCE | NA | 2024-05-23 | -230 | No | DEC | 1 | 45435.6667 | 45435.6875
104 | RT | Unit Testing | SCE | NA | 2024-05-23 | 33 - 230 | No | INC | 10 | 45435.1701 | 45435.5625
105 | RT | Unit Testing | SCE | NA | 2024-05-25 | 0 | No | INC | 1 | 45437.0556 | 45437.0729
106 | RT | Unit Testing | SDGE | NA | 2024-05-30 | 100 | No | INC | 1 | 45442.0521 | 45442.0799
107 | RT | Unplanned Outage | SCE | NA | 2024-05-11 | 16803 | No | DEC | 5 | 45423.8299 | 45424
108 | RT | Unplanned Outage | SCE | NA | 2024-05-11 | 1 | No | INC | 1 | 45423.9167 | 45423.9583
109 | RT | Unplanned Outage | SCE | NA | 2024-05-12 | 16803 | No | DEC | 17 | 45424 | 45424.6979
110 | RT | Unplanned Outage | SCE | NA | 2024-05-12 | 1 | No | INC | 12 | 45424.2083 | 45424.6979
111 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-05-27 | 62 | No | INC | 2 | 45439.125 | 45439.1875
112 | RT | Voltage Support | PGAE | Fresno | 2024-05-01 | -308 | No | DEC | 24 | 45413 | 45414
113 | RT | Voltage Support | PGAE | Fresno | 2024-05-02 | -308 | No | DEC | 24 | 45414 | 45415
114 | RT | Voltage Support | PGAE | Fresno | 2024-05-03 | -308 | No | DEC | 7 | 45415 | 45415.2917
115 | RT | Voltage Support | PGAE | Fresno | 2024-05-03 | 83 | No | INC | 2 | 45415.9167 | 45416
116 | RT | Voltage Support | PGAE | Fresno | 2024-05-04 | -310 | No | DEC | 9 | 45416.3646 | 45416.7083
117 | RT | Voltage Support | PGAE | Fresno | 2024-05-05 | -391 | No | DEC | 23 | 45417.0417 | 45418
118 | RT | Voltage Support | PGAE | Fresno | 2024-05-05 | 83 | No | INC | 1 | 45417.9931 | 45418
119 | RT | Voltage Support | PGAE | Fresno | 2024-05-06 | 83 | No | DEC | 24 | 45418 | 45419
120 | RT | Voltage Support | PGAE | Fresno | 2024-05-06 | 83 | No | INC | 6 | 45418 | 45418.25
121 | RT | Voltage Support | PGAE | Fresno | 2024-05-07 | 83 | Yes | INC | 7 | 45419 | 45419.2708
122 | RT | Voltage Support | PGAE | Fresno | 2024-05-08 | 83 | No | DEC | 1 | 45420.1667 | 45420.2083
123 | RT | Voltage Support | PGAE | Fresno | 2024-05-08 | 83 | No | INC | 4 | 45420 | 45420.1667
124 | RT | Voltage Support | PGAE | Fresno | 2024-05-11 | 83 | No | INC | 4 | 45423.125 | 45423.2708
125 | RT | Voltage Support | PGAE | Fresno | 2024-05-12 | 83 | No | INC | 7 | 45424.0104 | 45424.2708
126 | RT | Voltage Support | PGAE | Fresno | 2024-05-13 | 83 | No | INC | 8 | 45425 | 45425.3125
127 | RT | Voltage Support | PGAE | Fresno | 2024-05-17 | -315 | No | DEC | 4 | 45429.1319 | 45429.2917
128 | RT | Voltage Support | PGAE | Fresno | 2024-05-18 | -308 | No | DEC | 7 | 45430.0104 | 45430.2917
129 | RT | Voltage Support | PGAE | Fresno | 2024-05-18 | -308 | No | INC | 1 | 45430.2917 | 45430.3333
130 | RT | Voltage Support | PGAE | Fresno | 2024-05-19 | -308 | No | DEC | 24 | 45431 | 45432
131 | RT | Voltage Support | PGAE | Fresno | 2024-05-20 | -308 | No | DEC | 7 | 45432 | 45432.2917
132 | RT | Voltage Support | PGAE | Fresno | 2024-05-21 | 83 | No | INC | 1 | 45433.9583 | 45434
133 | RT | Voltage Support | PGAE | Fresno | 2024-05-22 | 83 | No | INC | 2 | 45434.1979 | 45434.25
134 | RT | Voltage Support | PGAE | Fresno | 2024-05-26 | 23 - 35 | Yes | INC | 14 | 45438.2153 | 45438.7917
135 | RT | Voltage Support | PGAE | Fresno | 2024-05-28 | 83 | Yes | INC | 5 | 45440.0417 | 45440.25
136 | RT | Voltage Support | PGAE | Fresno | 2024-05-29 | 83 | No | INC | 4 | 45441.0417 | 45441.2083
137 | RT | Voltage Support | PGAE | Fresno | 2024-05-31 | 83 | No | INC | 1 | 45443.2083 | 45443.25
138 | RT | Voltage Support | PGAE | Humboldt | 2024-05-01 | 15 | No | DEC | 1 | 45413.2708 | 45413.2917
139 | RT | Voltage Support | PGAE | Humboldt | 2024-05-01 | 15 - 30 | No | INC | 24 | 45413 | 45414
140 | RT | Voltage Support | PGAE | Humboldt | 2024-05-02 | 15 - 45 | No | INC | 24 | 45414 | 45415
141 | RT | Voltage Support | PGAE | Humboldt | 2024-05-03 | 15 - 45 | No | INC | 24 | 45415 | 45416
142 | RT | Voltage Support | PGAE | Humboldt | 2024-05-04 | 15 - 30 | No | INC | 19 | 45416 | 45416.7639
143 | RT | Voltage Support | PGAE | Humboldt | 2024-05-05 | 45 | No | INC | 8 | 45417.7049 | 45418
144 | RT | Voltage Support | PGAE | Humboldt | 2024-05-06 | 30 - 45 | No | INC | 24 | 45418 | 45419
145 | RT | Voltage Support | PGAE | Humboldt | 2024-05-07 | 30 - 60 | No | INC | 24 | 45419 | 45420
146 | RT | Voltage Support | PGAE | Humboldt | 2024-05-08 | 15 - 45 | No | INC | 24 | 45420 | 45421
147 | RT | Voltage Support | PGAE | Humboldt | 2024-05-09 | 15 | No | DEC | 20 | 45421.1736 | 45422
148 | RT | Voltage Support | PGAE | Humboldt | 2024-05-09 | 15 - 45 | No | INC | 24 | 45421 | 45422
149 | RT | Voltage Support | PGAE | Humboldt | 2024-05-10 | 15 | No | DEC | 22 | 45422 | 45422.9167
150 | RT | Voltage Support | PGAE | Humboldt | 2024-05-10 | 30 | No | INC | 24 | 45422 | 45423
151 | RT | Voltage Support | PGAE | Humboldt | 2024-05-11 | 15 | No | DEC | 5 | 45423.0625 | 45423.25
152 | RT | Voltage Support | PGAE | Humboldt | 2024-05-11 | 30 | No | INC | 24 | 45423 | 45424
153 | RT | Voltage Support | PGAE | Humboldt | 2024-05-12 | 30 | No | INC | 24 | 45424 | 45425
154 | RT | Voltage Support | PGAE | Humboldt | 2024-05-13 | 30 | No | INC | 24 | 45425 | 45426
155 | RT | Voltage Support | PGAE | Humboldt | 2024-05-14 | 15 | No | DEC | 10 | 45426.5938 | 45427
156 | RT | Voltage Support | PGAE | Humboldt | 2024-05-14 | 15 - 30 | No | INC | 24 | 45426 | 45427
157 | RT | Voltage Support | PGAE | Humboldt | 2024-05-15 | 15 | No | DEC | 4 | 45427.75 | 45427.9167
158 | RT | Voltage Support | PGAE | Humboldt | 2024-05-15 | 15 | No | INC | 24 | 45427 | 45428
159 | RT | Voltage Support | PGAE | Humboldt | 2024-05-16 | 15 | No | INC | 24 | 45428 | 45429
160 | RT | Voltage Support | PGAE | Humboldt | 2024-05-17 | 15 | No | DEC | 24 | 45429 | 45430
161 | RT | Voltage Support | PGAE | Humboldt | 2024-05-17 | 15 | No | INC | 24 | 45429 | 45430
162 | RT | Voltage Support | PGAE | Humboldt | 2024-05-18 | 15 | No | DEC | 6 | 45430 | 45430.25
163 | RT | Voltage Support | PGAE | Humboldt | 2024-05-18 | 15 | No | INC | 24 | 45430 | 45431
164 | RT | Voltage Support | PGAE | Humboldt | 2024-05-19 | 15 | No | INC | 24 | 45431 | 45432
165 | RT | Voltage Support | PGAE | Humboldt | 2024-05-20 | 15 | No | INC | 24 | 45432 | 45433
166 | RT | Voltage Support | PGAE | Humboldt | 2024-05-21 | 15 | No | INC | 24 | 45433 | 45434
167 | RT | Voltage Support | PGAE | Humboldt | 2024-05-22 | 15 | No | DEC | 24 | 45434 | 45435
168 | RT | Voltage Support | PGAE | Humboldt | 2024-05-22 | 15 | No | INC | 24 | 45434 | 45435
169 | RT | Voltage Support | PGAE | Humboldt | 2024-05-23 | 15 | No | DEC | 24 | 45435 | 45436
170 | RT | Voltage Support | PGAE | Humboldt | 2024-05-23 | 15 | No | INC | 11 | 45435.2917 | 45435.75
171 | RT | Voltage Support | PGAE | Humboldt | 2024-05-24 | 15 | No | DEC | 1 | 45436 | 45436.0417
172 | RT | Voltage Support | PGAE | Humboldt | 2024-05-24 | 15 - 30 | No | INC | 24 | 45436 | 45437
173 | RT | Voltage Support | PGAE | Humboldt | 2024-05-25 | 15 | No | INC | 24 | 45437 | 45438
174 | RT | Voltage Support | PGAE | Humboldt | 2024-05-26 | 15 | No | INC | 24 | 45438 | 45439
175 | RT | Voltage Support | PGAE | Humboldt | 2024-05-27 | 15 | No | DEC | 8 | 45439.6667 | 45440
176 | RT | Voltage Support | PGAE | Humboldt | 2024-05-27 | 15 | No | INC | 24 | 45439 | 45440
177 | RT | Voltage Support | PGAE | Humboldt | 2024-05-28 | 15 | No | DEC | 5 | 45440.75 | 45440.9583
178 | RT | Voltage Support | PGAE | Humboldt | 2024-05-28 | 15 | No | INC | 24 | 45440 | 45441
179 | RT | Voltage Support | PGAE | Humboldt | 2024-05-29 | 15 - 30 | No | INC | 24 | 45441 | 45442
180 | RT | Voltage Support | PGAE | Humboldt | 2024-05-30 | 30 | No | INC | 24 | 45442 | 45443
181 | RT | Voltage Support | PGAE | Humboldt | 2024-05-31 | 30 | No | INC | 24 | 45443 | 45444
182 | RT | Voltage Support | PGAE | Sierra | 2024-05-01 | 20 | No | INC | 24 | 45413.0243 | 45414
183 | RT | Voltage Support | PGAE | Sierra | 2024-05-02 | 20 | No | INC | 7 | 45414 | 45414.2917
184 | RT | Voltage Support | PGAE | Sierra | 2024-05-03 | 20 | Yes | INC | 1 | 45415.9688 | 45416
185 | RT | Voltage Support | PGAE | Sierra | 2024-05-04 | 20 | No | INC | 24 | 45416 | 45417
186 | RT | Voltage Support | PGAE | Sierra | 2024-05-05 | 20 | Yes | INC | 8 | 45417 | 45417.3333
187 | RT | Voltage Support | PGAE | Sierra | 2024-05-12 | 20 | No | INC | 8 | 45424.3125 | 45424.625
188 | RT | Voltage Support | PGAE | Sierra | 2024-05-13 | 20 | No | DEC | 1 | 45425.9097 | 45425.9167
189 | RT | Voltage Support | PGAE | Sierra | 2024-05-13 | 20 | No | INC | 2 | 45425.9167 | 45426
190 | RT | Voltage Support | PGAE | Sierra | 2024-05-14 | 20 | No | INC | 7 | 45426 | 45426.2917
191 | RT | Voltage Support | PGAE | Sierra | 2024-05-15 | 20 | No | INC | 2 | 45427.934 | 45428
192 | RT | Voltage Support | PGAE | Sierra | 2024-05-16 | 20 | Yes | INC | 2 | 45428 | 45428.0625
193 | RT | Voltage Support | PGAE | Sierra | 2024-05-17 | 20 | No | DEC | 2 | 45429.9167 | 45430
194 | RT | Voltage Support | PGAE | Sierra | 2024-05-18 | 20 | No | DEC | 23 | 45430 | 45430.9583
195 | RT | Voltage Support | PGAE | Sierra | 2024-05-18 | 20 | No | INC | 22 | 45430.0833 | 45431
196 | RT | Voltage Support | PGAE | Sierra | 2024-05-19 | 20 | No | DEC | 2 | 45431 | 45431.0833
197 | RT | Voltage Support | PGAE | Sierra | 2024-05-19 | 20 | No | INC | 5 | 45431.0833 | 45431.2917
198 | RT | Voltage Support | PGAE | NA | 2024-05-27 | 65 | No | INC | 2 | 45439.125 | 45439.1875
199 | RT | Voltage Support | PGAE | NA | 2024-05-28 | 65 | No | INC | 8 | 45440.0312 | 45440.3333