## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for April 2024
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Conditions beyond the control of the CAISO | PGAE | Bay Area | 2024-04-08 | 175 - 369 | No | INC | 5 | 45390.375 | 45390.5833 | -0.0025 | 57676.01 | 0 | -646.4701 | 0.070625 | -3.2153 | 0 | -120.8951 | 0 | 0
2 | RT | Fast Start Unit Management | PGAE | NA | 2024-04-10 | 0 | No | INC | 1 | 45392.5903 | 45392.6285 | -84.1328 | 3473.9308 | 0 | -6391.7671 | -84.1328 | 0 | -6391.7671 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | PGAE | NA | 2024-04-22 | 0 | No | INC | 1 | 45404.3542 | 45404.3924 | -47.9302 | 1847.11 | 0 | -6685.8586 | -47.9302 | 0 | -6685.8586 | 0 | 0 | 0
4 | RT | Fast Start Unit Management | PGAE | NA | 2024-04-27 | 0 | No | INC | 1 | 45409.5625 | 45409.6042 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Fast Start Unit Management | SCE | Big Creek-Ventura | 2024-04-24 | 0 | No | INC | 1 | 45406.6667 | 45406.7083 | -32.8875 | 0 | 0 | -687.4094 | -32.8875 | 0 | -687.4094 | 0 | 0 | 0
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2024-04-14 | -315 | No | DEC | 5 | 45396.7222 | 45396.8958 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | RT | Other Reliability Requirement | PGAE | NA | 2024-04-12 | 0 | No | INC | 1 | 45394.3472 | 45394.3889 | -96.3703 | 3966.7667 | 0 | -2965.4927 | -96.3703 | 0 | -2965.4927 | 0 | 0 | 0
8 | RT | Other Reliability Requirement | PGAE | NA | 2024-04-16 | 0 | No | INC | 1 | 45398.3229 | 45398.3646 | -109.1177 | 3822.125 | 0 | 0 | -109.1177 | 0 | 0 | 0 | 0 | 0
9 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-04-09 | 175 | No | INC | 10 | 45391.2708 | 45391.6875 | -41.6854 | 80764.4 | 14776.96 | 919.7638 | 0 | 0 | 0 | 0 | 0 | 0
10 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-04-16 | 175 | No | INC | 5 | 45398.5417 | 45398.75 | 4.375 | 40239.75 | 0 | 34.7826 | 0 | 0 | 0 | 0 | 0 | 0
11 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-04-11 | 20 | No | INC | 16 | 45393.3333 | 45394 | -36.2588 | 12821.3 | 0 | -141.1533 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-04-12 | 20 | No | INC | 8 | 45394 | 45394.3333 | 3.2488 | -2558.01 | 0 | 208.3719 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-04-11 | 20 | No | DEC | 2 | 45393.5486 | 45393.625 | 8.5121 | 0 | 0 | -1392.7233 | -2.9167 | 0 | 94.5595 | 0 | -120.0476 | 0
14 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-04-11 | 54 | No | INC | 2 | 45393.559 | 45393.625 | 32.1866 | 0 | 0 | 4702.0895 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-04-12 | 89 | No | INC | 11 | 45394.25 | 45394.6875 | -61.1882 | 44301.0975 | 11639.19 | 1325.6856 | 0 | 0 | 0 | 0 | -71.692 | 0
16 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-04-22 | 20 | No | INC | 3 | 45404.7118 | 45404.8333 | 64.7417 | 0 | 0 | -2309.4883 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Planned Transmission Outage | PGAE | NA | 2024-04-03 | 10 | No | INC | 3 | 45385.8472 | 45385.9583 | -68.9738 | 0 | 0 | 2665.858 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Planned Transmission Outage | SCE | LA Basin | 2024-04-02 | 139.16 | No | INC | 8 | 45384.3333 | 45384.6667 | -5.0595 | 70904.965 | 0 | -198.3799 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Planned Transmission Outage | SCE | NA | 2024-04-01 | 53 | No | DEC | 5 | 45383.7292 | 45383.9167 | -2.9531 | 0 | 0 | 11.0782 | -3 | 0 | 4.8836 | 0 | -55.4242 | 0
20 | RT | Planned Transmission Outage | SCE | NA | 2024-04-17 | 613 | No | DEC | 3 | 45399.1979 | 45399.2917 | -115.8643 | -11525.5361 | 0 | 3987.2803 | -108.4811 | 0 | 3719.3694 | 0 | -8238.924 | 0
21 | RT | Planned Transmission Outage | SCE | NA | 2024-04-17 | 613 | No | INC | 1 | 45399.2917 | 45399.3333 | 8.1315 | -6.6658 | 0 | 942.2407 | 0 | 0 | 0 | 0 | 0 | 0
22 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2024-04-12 | 212 | No | INC | 8 | 45394.4514 | 45394.75 | 123.5754 | 41418.5317 | 1116.9967 | -5407.9679 | 4.6667 | -197.7654 | 0 | 0 | -41693.9233 | 0
23 | RT | Reliability Assessment | PGAE | Sierra | 2024-04-09 | 0 | No | DEC | 1 | 45391.0139 | 45391.0556 | -5 | -2077.05 | 0 | 0 | -5 | 0 | 0 | 0 | 0 | 0
24 | RT | Reliability Assessment | PGAE | Sierra | 2024-04-10 | 25 | No | INC | 2 | 45392.2674 | 45392.3333 | -3.9311 | 1512.9775 | 0 | 277.0947 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Reliability Assessment | PGAE | Stockton | 2024-04-11 | 30 - 42 | No | DEC | 3 | 45393.4514 | 45393.5625 | -17.7068 | 0 | 0 | -138.5873 | -15.7575 | 0 | 317.9896 | 0 | -36.2262 | 0
26 | RT | Reliability Assessment | PGAE | Stockton | 2024-04-11 | 40 | No | INC | 3 | 45393.4583 | 45393.5625 | 30.8389 | 0 | 0 | 369.1758 | -5.275 | 0 | 0.05275 | 0 | 0 | 0
27 | RT | Reliability Assessment | PGAE | Stockton | 2024-04-12 | 10 | No | DEC | 9 | 45394.4097 | 45394.75 | 25.6396 | 0 | 0 | -144.877 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Reliability Assessment | PGAE | Stockton | 2024-04-12 | 10 | No | INC | 7 | 45394.5 | 45394.7917 | -0.57833 | 0 | 0 | 35.7128 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Reliability Assessment | PGAE | NA | 2024-04-10 | 30 | No | DEC | 2 | 45392.3229 | 45392.375 | -19.6926 | -967.07 | 0 | 1639.795 | -9.75 | 0 | 429.8775 | 0 | 0 | 0
30 | RT | Reliability Assessment | PGAE | NA | 2024-04-19 | 37 | No | INC | 3 | 45401.8854 | 45402 | -0.026146 | 0 | 0 | 45.9851 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Reliability Assessment | PGAE | NA | 2024-04-20 | 37 | No | INC | 1 | 45402 | 45402.0312 | 4.5336 | 0 | 0 | 168.4019 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Reliability Assessment | SCE | NA | 2024-04-10 | 40 | No | DEC | 7 | 45392.5694 | 45392.8333 | -7.0515 | 0 | 0 | -2455.2773 | -3.209 | 0 | -2463.6675 | 0 | 0 | 0
33 | RT | Reliability Assessment | SCE | NA | 2024-04-29 | 27 | No | DEC | 3 | 45411.1181 | 45411.2396 | -16.6356 | 0 | 0 | -96.9366 | -21.6652 | 0 | 41.1639 | 0 | 0 | 0
34 | RT | SOC Charge | PGAE | Fresno | 2024-04-08 | -68.76 | No | DEC | 6 | 45390.1771 | 45390.4062 | -49.9807 | 0 | 0 | -7260.1395 | -49.5902 | 0 | -7285.9749 | 0 | 0 | 0
35 | RT | SOC Charge | PGAE | Stockton | 2024-04-08 | -131.99 | No | DEC | 5 | 45390.184 | 45390.3715 | -90.587 | 0 | 0 | 2692.5985 | -90.8053 | 0 | 2672.1835 | 0 | 0 | 0
36 | RT | SOC Charge | PGAE | NA | 2024-04-08 | -214.84 | No | DEC | 5 | 45390.1667 | 45390.375 | -150.7108 | 0 | 0 | 2314.8835 | -151.4136 | 0 | 2312.8681 | 0 | 0 | 0
37 | RT | SOC Charge | PGAE | NA | 2024-04-08 | -5 | No | INC | 1 | 45390.375 | 45390.4062 | -0.052083 | 0 | 0 | 0.73531 | 0 | 0 | 0 | -63.5355 | 0 | 0
38 | RT | SOC Charge | SCE | Big Creek-Ventura | 2024-04-08 | -125.1 | No | DEC | 6 | 45390.1389 | 45390.375 | -74.3333 | 0 | 0 | -9660.0102 | -73.663 | 0 | -9708.2295 | 0 | 0 | 0
39 | RT | SOC Charge | SCE | Big Creek-Ventura | 2024-04-08 | -5.46 | No | INC | 1 | 45390.375 | 45390.3924 | -0.15002 | 0 | 0 | -7.4966 | 0 | 0 | 0 | -151.3358 | 0 | 0
40 | RT | SOC Charge | SCE | LA Basin | 2024-04-08 | -72.78 | No | DEC | 7 | 45390.1389 | 45390.4062 | -32.7458 | 0 | 0 | -1876.1284 | -47.1968 | 0 | -1126.9074 | 0 | 0 | 0
41 | RT | SOC Charge | SCE | LA Basin | 2024-04-08 | -6.38 | No | INC | 1 | 45390.375 | 45390.3958 | -0.19914 | 0 | 0 | -9.4404 | 0 | 0 | 0 | -2.8822 | 0 | 0
42 | RT | SOC Charge | SCE | San Diego-IV | 2024-04-08 | -1.05 | No | DEC | 5 | 45390.1979 | 45390.3715 | -8.0528 | 0 | 0 | -115.6616 | -7.3255 | 0 | -145.8706 | 0 | 0 | 0
43 | RT | SOC Charge | SCE | NA | 2024-04-03 | -97.88 | No | DEC | 1 | 45385.5625 | 45385.5764 | 3.9957 | 0 | 0 | 149.4224 | -0.39687 | 0 | -59.5312 | 0 | 0 | 0
44 | RT | SOC Charge | SCE | NA | 2024-04-08 | -199.36 | No | DEC | 6 | 45390.1424 | 45390.375 | -910.1708 | 0 | 0 | -109782.761 | -999.208 | 0 | -104366.2769 | 0 | 0 | 0
45 | RT | SOC Charge | SDGE | San Diego-IV | 2024-04-08 | -234.6 | No | DEC | 6 | 45390.1597 | 45390.4062 | -458.7305 | 0 | 0 | -5420.5717 | -455.0239 | 2.8868 | -5554.0979 | -2.2017 | 0 | 0
46 | RT | SOC Charge | SDGE | San Diego-IV | 2024-04-08 | -10.5 | No | INC | 3 | 45390.2917 | 45390.4062 | -3.1306 | 0 | 0 | 61.3858 | 0 | 0 | 0 | -6.2495 | 0 | 0
47 | RT | SOC Charge | SDGE | NA | 2024-04-08 | -98.55 | No | DEC | 4 | 45390.2118 | 45390.3542 | -73.082 | 0 | 0 | -1186.9213 | -68.3415 | 0 | -1564.636 | 0 | 0 | 0
48 | RT | Software Limitation | PGAE | NA | 2024-04-01 | 0 | No | INC | 1 | 45383.5868 | 45383.6285 | -96.3703 | 3693.76 | 0 | -7285.7404 | -96.3703 | 0 | -7285.7404 | 0 | 0 | 0
49 | RT | Software Limitation | PGAE | NA | 2024-04-11 | 0 | No | INC | 1 | 45393.4028 | 45393.4444 | -84.1328 | 3488.5725 | 0 | -5832.4941 | -84.1328 | 0 | -5832.4941 | 0 | 0 | 0
50 | RT | Software Limitation | PGAE | NA | 2024-04-30 | 0 | No | INC | 1 | 45412.3472 | 45412.3889 | -96.3703 | 3543.16 | 0 | -3656.3978 | -96.3703 | 0 | -3656.3978 | 0 | 0 | 0
51 | RT | Unit Testing | PGAE | Fresno | 2024-04-02 | -315 | No | DEC | 1 | 45384.7708 | 45384.8125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Unit Testing | PGAE | Fresno | 2024-04-11 | 236 | No | INC | 1 | 45393.809 | 45393.8403 | 133.375 | 0 | 0 | -8044.2544 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Unit Testing | PGAE | Sierra | 2024-04-03 | 100 - 195 | No | INC | 5 | 45385.6007 | 45385.7708 | 46.2271 | 0 | 0 | -3583.685 | 69.1667 | -4700.7333 | 531.2491 | 0 | 0 | 0
54 | RT | Unit Testing | SCE | Big Creek-Ventura | 2024-04-24 | 44 | No | INC | 1 | 45406.5868 | 45406.6181 | 29.3213 | 0 | 0 | 486.8975 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Unit Testing | SCE | LA Basin | 2024-04-17 | 100.45 | No | INC | 2 | 45399.6701 | 45399.75 | 165.324 | 0 | 0 | -12535.375 | 165.324 | -12535.375 | 0 | 0 | 0 | 0
56 | RT | Unit Testing | SCE | LA Basin | 2024-04-18 | -100 | No | DEC | 1 | 45400.5417 | 45400.5833 | 6.7252 | 0 | 0 | 4.688 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Unit Testing | SCE | LA Basin | 2024-04-18 | 96 | No | INC | 1 | 45400.4132 | 45400.4444 | 53.5141 | 481.02 | 0 | -1601.0208 | 25.8537 | -1226.3498 | 0 | 0 | 0 | 0
58 | RT | Unit Testing | SCE | LA Basin | 2024-04-22 | 133 | No | INC | 2 | 45404.25 | 45404.3125 | 66.3849 | 3807.805 | 0 | -2950.5541 | 0.005 | -0.22223 | 0 | 0 | 0 | 0
59 | RT | Unit Testing | SCE | NA | 2024-04-20 | -230 | No | DEC | 1 | 45402.6667 | 45402.6979 | -71.875 | 0 | 0 | -887.9165 | -69.4792 | 0 | -858.9814 | 0 | 0 | 0
60 | RT | Unit Testing | SCE | NA | 2024-04-20 | 230 | No | INC | 4 | 45402.5 | 45402.6667 | 912.8125 | 0 | 0 | -32958.1177 | 912.8125 | -32958.1177 | 0 | 0 | 0 | 0
61 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-03 | 62 | No | INC | 10 | 45385 | 45385.4167 | -4.039 | 41281.56 | 0 | 227.3456 | 0 | 0 | 0 | 0 | 0 | 0
62 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-06 | 62 | No | INC | 1 | 45388.9583 | 45389 | 16.7862 | 4508.84 | 21360.1 | -539.619 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-07 | 62 | No | INC | 16 | 45389.3333 | 45390 | 136.737 | 64250.97 | 0 | -3590.7542 | 0 | 0 | 0 | 0 | 0 | 0
64 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-08 | 62 | No | INC | 7 | 45390 | 45390.2917 | 21.4068 | 31561.88 | 0 | -538.6044 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-09 | 62 | No | DEC | 2 | 45391.75 | 45391.8333 | -66.9438 | 0 | 0 | 2236.0637 | 0 | 0 | 0 | 0 | 0 | 0
66 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-09 | 62 | No | INC | 10 | 45391.3438 | 45391.75 | 43.979 | 37050.8325 | 0 | 2029.129 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-10 | 62 | No | DEC | 14 | 45392.2812 | 45392.8333 | -26.1198 | 0 | 0 | 529.5826 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-10 | 62 | No | INC | 11 | 45392.2917 | 45392.75 | 12.8093 | 45312.1 | 0 | 96.0507 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-04-27 | 62 | No | INC | 8 | 45409 | 45409.3333 | -211.1388 | 0 | 0 | 5305.3677 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Voltage Support | PGAE | Fresno | 2024-04-01 | 21 - 35 | Yes | INC | 8 | 45383 | 45383.3333 | 103.4083 | 46530.875 | 0 | -3495.8981 | 0.2625 | -10.0735 | 0 | 0 | -19.9217 | 0
71 | RT | Voltage Support | PGAE | Fresno | 2024-04-03 | 35 | No | INC | 6 | 45385.0417 | 45385.2917 | 26.25 | 17151.31 | 0 | -682.0065 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Voltage Support | PGAE | Fresno | 2024-04-06 | -320 | No | DEC | 8 | 45388.0729 | 45388.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Voltage Support | PGAE | Fresno | 2024-04-07 | 83 | No | DEC | 21 | 45389.1146 | 45389.9583 | 5.6329 | 0 | 0 | -170.7251 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Voltage Support | PGAE | Fresno | 2024-04-07 | 83 | No | INC | 21 | 45389.125 | 45390 | 13.7396 | 21383.6 | 0 | -418.2091 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Voltage Support | PGAE | Fresno | 2024-04-08 | -320 | No | DEC | 1 | 45390.9965 | 45391 | -22.9948 | 0 | 0 | 711.3616 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Voltage Support | PGAE | Fresno | 2024-04-08 | 83 | Yes | INC | 5 | 45390 | 45390.2083 | 60.1926 | 32897.85 | 0 | -2090.316 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Voltage Support | PGAE | Fresno | 2024-04-09 | -320 | No | DEC | 5 | 45391 | 45391.1979 | -154.651 | 0 | 0 | 4909.7615 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Voltage Support | PGAE | Fresno | 2024-04-09 | 83 | Yes | INC | 1 | 45391.9896 | 45392 | 46.7396 | 1069.18 | 3000.48 | -1493.5373 | 0 | 0 | 0 | 0 | 0 | 0
79 | RT | Voltage Support | PGAE | Fresno | 2024-04-10 | 83 | Yes | INC | 4 | 45392 | 45392.1667 | 8.1962 | 17106.88 | 0 | -293.3424 | 0 | 0 | 0 | 0 | 0 | 0
80 | RT | Voltage Support | PGAE | Fresno | 2024-04-11 | -320 | No | DEC | 1 | 45393.9965 | 45394 | 1.2281 | 0 | 0 | -60.3916 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Voltage Support | PGAE | Fresno | 2024-04-11 | 83 | No | INC | 7 | 45393 | 45393.2604 | -59.3665 | 18751.8 | 0 | 3494.3264 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Voltage Support | PGAE | Fresno | 2024-04-12 | -320 | No | DEC | 7 | 45394 | 45394.2917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
83 | RT | Voltage Support | PGAE | Fresno | 2024-04-12 | -320 | No | INC | 1 | 45394.2917 | 45394.3333 | -320 | 0 | 0 | 10144.3688 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Voltage Support | PGAE | Fresno | 2024-04-13 | -310 | No | DEC | 15 | 45395.0903 | 45395.7083 | -183.2083 | 0 | 0 | 6781.7253 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Voltage Support | PGAE | Fresno | 2024-04-14 | -315 | No | DEC | 24 | 45396.0312 | 45397 | -152.9042 | 0 | 0 | 5887.3639 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Voltage Support | PGAE | Fresno | 2024-04-15 | -315 | No | DEC | 7 | 45397 | 45397.2917 | -235.8479 | 0 | 0 | 7912.7564 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Voltage Support | PGAE | Fresno | 2024-04-16 | -300 | No | DEC | 4 | 45398.0347 | 45398.1979 | -207.8 | 0 | 0 | 5574.4269 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Voltage Support | PGAE | Fresno | 2024-04-17 | -310 | No | DEC | 3 | 45399.0694 | 45399.1562 | -177.65 | 0 | 0 | 5836.0676 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Voltage Support | PGAE | Fresno | 2024-04-18 | -310 | No | DEC | 3 | 45400.1076 | 45400.1979 | -209.6708 | 0 | 0 | 9157.3966 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Voltage Support | PGAE | Fresno | 2024-04-19 | -310 | No | DEC | 4 | 45401.0972 | 45401.2396 | -200.6083 | 0 | 0 | 6554.6588 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Voltage Support | PGAE | Fresno | 2024-04-19 | 83 | No | INC | 1 | 45401.9167 | 45401.9375 | 4.4792 | 0 | 0 | -148.9491 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Voltage Support | PGAE | Fresno | 2024-04-21 | 83 | Yes | INC | 6 | 45403.0833 | 45403.3125 | 54.3333 | 11761.0025 | 0 | -1415.9072 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Voltage Support | PGAE | Fresno | 2024-04-22 | 83 | No | INC | 1 | 45404.9722 | 45405 | 73.9672 | 5154 | 0 | -2462.0078 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Voltage Support | PGAE | Fresno | 2024-04-23 | 83 | Yes | INC | 7 | 45405 | 45405.2917 | -12.3744 | 8059.98 | 0 | 409.4563 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Voltage Support | PGAE | Fresno | 2024-04-24 | 83 | No | INC | 7 | 45406.0104 | 45406.2917 | -1.9879 | 29854.81 | 0 | 1321.0065 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Voltage Support | PGAE | Fresno | 2024-04-25 | 83 | No | INC | 23 | 45407.0417 | 45408 | 56.7921 | 46468.23 | 1421.28 | -2504.4443 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Voltage Support | PGAE | Fresno | 2024-04-26 | 83 | No | INC | 7 | 45408 | 45408.2917 | 37.7501 | 69743.47 | 0 | -1108.4555 | 0 | 0 | 0 | 0 | 0 | 0
98 | RT | Voltage Support | PGAE | Fresno | 2024-04-27 | -310 | No | DEC | 23 | 45409.0625 | 45410 | -132.8625 | 0 | 0 | 6131.0404 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Voltage Support | PGAE | Fresno | 2024-04-28 | -310 | No | DEC | 7 | 45410 | 45410.2917 | -318.825 | 0 | 0 | 14411.6953 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Voltage Support | PGAE | Fresno | 2024-04-28 | 83 | No | INC | 3 | 45410.9062 | 45411 | 13.7796 | 3865.5 | 1285.92 | -510.202 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Voltage Support | PGAE | Fresno | 2024-04-29 | 83 | No | DEC | 1 | 45411.9896 | 45412 | 30.2554 | 0 | 0 | -884.8838 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Voltage Support | PGAE | Fresno | 2024-04-29 | 83 | No | INC | 24 | 45411 | 45412 | -170.4359 | 23850.95 | 0 | 5323.2954 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Voltage Support | PGAE | Fresno | 2024-04-30 | -308 | No | DEC | 1 | 45412.9583 | 45413 | -146.725 | 0 | 0 | 7679.6249 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Voltage Support | PGAE | Fresno | 2024-04-30 | 83 | No | INC | 7 | 45412 | 45412.2917 | 149.0639 | 49675.78 | 0 | -4935.4153 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Voltage Support | PGAE | Humboldt | 2024-04-01 | 15 | No | DEC | 8 | 45383 | 45383.3333 | 0 | -5450.6688 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Voltage Support | PGAE | Humboldt | 2024-04-01 | 15 - 30 | No | INC | 24 | 45383 | 45384 | -0.88625 | 31433.5 | 0 | -125.4077 | 0 | 0 | 0 | 0 | -19.8388 | 0
107 | RT | Voltage Support | PGAE | Humboldt | 2024-04-02 | 14 - 30 | No | INC | 24 | 45384 | 45385 | 18.0633 | 39052.845 | 0 | -546.5609 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Voltage Support | PGAE | Humboldt | 2024-04-03 | 45 | No | DEC | 5 | 45385.75 | 45385.9583 | 2.7117 | 0 | 0 | -101.2448 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Voltage Support | PGAE | Humboldt | 2024-04-03 | 30 - 45 | No | INC | 24 | 45385 | 45386 | 12.8465 | 28085.4875 | 0 | -373.4516 | 0 | 0 | 0 | 0 | -0.23154 | 0
110 | RT | Voltage Support | PGAE | Humboldt | 2024-04-04 | 15 | No | DEC | 16 | 45386.3056 | 45386.9583 | 7.584 | 749.5367 | 0 | -609.6738 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Voltage Support | PGAE | Humboldt | 2024-04-04 | 15 - 30 | No | INC | 24 | 45386 | 45387 | 0.45194 | 6226.92 | 0 | -28.7668 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Voltage Support | PGAE | Humboldt | 2024-04-05 | 15 - 30 | No | DEC | 23 | 45387 | 45387.9583 | 1.3558 | -13565.5236 | 0 | -0.047788 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Voltage Support | PGAE | Humboldt | 2024-04-05 | 15 - 30 | No | INC | 11 | 45387.5486 | 45388 | 0 | 3427.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Voltage Support | PGAE | Humboldt | 2024-04-06 | 15 | No | DEC | 24 | 45388 | 45389 | 2.0338 | 0 | 0 | -76.037 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Voltage Support | PGAE | Humboldt | 2024-04-06 | 15 - 30 | No | INC | 24 | 45388 | 45389 | -5.2254 | 14677.52 | 0 | -93.1523 | 0 | 0 | 0 | 0 | -254.8983 | 0
116 | RT | Voltage Support | PGAE | Humboldt | 2024-04-07 | 15 | No | DEC | 8 | 45389 | 45389.3333 | 0.67792 | 0 | 0 | -14.3829 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Voltage Support | PGAE | Humboldt | 2024-04-07 | 15 | No | INC | 5 | 45389.3333 | 45389.5104 | -0.885 | 2835.43 | 0 | -2.1914 | 0 | 0 | 0 | 0 | -9.0571 | 0
118 | RT | Voltage Support | PGAE | Humboldt | 2024-04-08 | 15 - 30 | No | INC | 24 | 45390 | 45391 | 0.11083 | 24518.13 | 126.1276 | -105.7977 | 0.083333 | -0.60262 | 0 | 0 | -10.387 | 0
119 | RT | Voltage Support | PGAE | Humboldt | 2024-04-09 | 30 | No | DEC | 8 | 45391 | 45391.3333 | 2.7117 | 0 | 0 | -89.7288 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Voltage Support | PGAE | Humboldt | 2024-04-09 | 15 - 30 | No | INC | 24 | 45391 | 45392 | -4.4306 | 28220.22 | 0 | 40.8898 | 0 | 0 | 0 | 0 | -422.1486 | 0
121 | RT | Voltage Support | PGAE | Humboldt | 2024-04-10 | 30 | No | DEC | 24 | 45392 | 45393 | -0.3375 | 0 | 0 | -45.8929 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Voltage Support | PGAE | Humboldt | 2024-04-10 | 15 | No | INC | 24 | 45392 | 45393 | -0.84667 | 16221.12 | 0 | 7.1163 | 0 | 0 | 0 | 0 | -5.4325 | 0
123 | RT | Voltage Support | PGAE | Humboldt | 2024-04-11 | 30 | No | DEC | 9 | 45393 | 45393.3472 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Voltage Support | PGAE | Humboldt | 2024-04-11 | 15 - 45 | No | INC | 24 | 45393 | 45394 | 18.216 | 52823.16 | 0 | -986.6873 | 0 | 0 | 0 | 0 | 0 | 0
125 | RT | Voltage Support | PGAE | Humboldt | 2024-04-12 | 15 | No | DEC | 7 | 45394 | 45394.2917 | 6.5556 | 1366.6225 | 1766.22 | -371.355 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Voltage Support | PGAE | Humboldt | 2024-04-12 | 15 - 30 | No | INC | 17 | 45394.2917 | 45395 | 3.1062 | 18278.34 | 883.11 | -186.97 | 0 | 0 | 0 | 0 | -154.6538 | 0
127 | RT | Voltage Support | PGAE | Humboldt | 2024-04-13 | 30 | No | INC | 24 | 45395 | 45396 | 0.635 | 29970.38 | 0 | -19.7545 | 0 | 0 | 0 | 0 | -0.41041 | 0
128 | RT | Voltage Support | PGAE | Humboldt | 2024-04-14 | 30 | No | INC | 24 | 45396 | 45397 | 8.8692 | 32354.385 | 0 | -377.9443 | 0 | 0 | 0 | 0 | -9.9593 | 0
129 | RT | Voltage Support | PGAE | Humboldt | 2024-04-15 | 15 - 45 | No | INC | 24 | 45397 | 45398 | 6.7623 | 34908.5775 | 2649.34 | -962.6124 | 0 | 0 | 0 | 0 | -330.947 | 0
130 | RT | Voltage Support | PGAE | Humboldt | 2024-04-16 | 15 | No | INC | 24 | 45398 | 45399 | 1.5875 | 28825.91 | 0 | -38.2066 | 0 | 0 | 0 | 0 | -577.9448 | 0
131 | RT | Voltage Support | PGAE | Humboldt | 2024-04-17 | 15 | No | INC | 24 | 45399 | 45400 | 0.635 | 26735.52 | 0 | -8.8568 | 0 | 0 | 0 | 0 | -0.062733 | 0
132 | RT | Voltage Support | PGAE | Humboldt | 2024-04-18 | 15 | No | INC | 24 | 45400 | 45401 | -2.1167 | 25194.78 | 0 | -2.4662 | 0 | 0 | 0 | 0 | -39.7659 | 0
133 | RT | Voltage Support | PGAE | Humboldt | 2024-04-19 | 15 | No | INC | 24 | 45401 | 45402 | 0.635 | 19774.2 | 0 | -17.8823 | 0 | 0 | 0 | 0 | -6.4198 | 0
134 | RT | Voltage Support | PGAE | Humboldt | 2024-04-20 | 15 | No | INC | 24 | 45402 | 45403 | -2.2225 | 21556.59 | 0 | 20.0468 | 0 | 0 | 0 | 0 | -449.8901 | 0
135 | RT | Voltage Support | PGAE | Humboldt | 2024-04-21 | 15 | No | DEC | 8 | 45403.6667 | 45404 | 0.48277 | 0 | 0 | -0.34615 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Voltage Support | PGAE | Humboldt | 2024-04-21 | 15 | No | INC | 24 | 45403 | 45404 | 0.10583 | 15024.29 | 0 | -5.6003 | 0 | 0 | 0 | 0 | -447.1043 | 0
137 | RT | Voltage Support | PGAE | Humboldt | 2024-04-22 | 15 | No | DEC | 7 | 45404 | 45404.2674 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Voltage Support | PGAE | Humboldt | 2024-04-22 | 15 - 30 | No | INC | 24 | 45404 | 45405 | 5.4117 | 18617.005 | 0 | -236.5916 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Voltage Support | PGAE | Humboldt | 2024-04-23 | 15 - 30 | No | INC | 24 | 45405 | 45406 | 6.3612 | 28319.105 | 0 | -35.1559 | 0 | 0 | 0 | 0 | -4.8144 | 0
140 | RT | Voltage Support | PGAE | Humboldt | 2024-04-24 | 15 - 30 | No | INC | 24 | 45406 | 45407 | 8.6281 | 20265.3825 | 0 | -1192.1566 | 0 | 0 | 0 | 0 | -352.0679 | 0
141 | RT | Voltage Support | PGAE | Humboldt | 2024-04-25 | 15 - 30 | No | INC | 24 | 45407 | 45408 | 15.0269 | 19758.07 | 0 | -330.8934 | 0 | 0 | 0 | 0 | -71.3389 | 0
142 | RT | Voltage Support | PGAE | Humboldt | 2024-04-26 | 15 - 30 | No | INC | 24 | 45408 | 45409 | 5.8587 | 22054.47 | 0 | -129.6497 | 0 | 0 | 0 | 0 | -67.8531 | 0
143 | RT | Voltage Support | PGAE | Humboldt | 2024-04-27 | 15 - 30 | No | INC | 24 | 45409 | 45410 | -0.9525 | 22973.43 | 0 | 7.4784 | 0 | 0 | 0 | 0 | -1261.8632 | 0
144 | RT | Voltage Support | PGAE | Humboldt | 2024-04-28 | 15 - 30 | No | INC | 24 | 45410 | 45411 | 9.2123 | 34460.1875 | 0 | 418.9844 | 1.2917 | 29.8644 | 0 | 0 | -1340.3083 | 0
145 | RT | Voltage Support | PGAE | Humboldt | 2024-04-29 | 15 | No | DEC | 7 | 45411 | 45411.2917 | 1.3558 | 0 | 0 | -43.3456 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Voltage Support | PGAE | Humboldt | 2024-04-29 | 15 | No | INC | 24 | 45411 | 45412 | -1.27 | 8463.84 | 0 | 8.4646 | 0 | 0 | 0 | 0 | -387.0728 | 0
147 | RT | Voltage Support | PGAE | Humboldt | 2024-04-30 | 15 - 30 | No | INC | 24 | 45412 | 45413 | 1.5317 | 29051.9 | 0 | -76.5811 | 0.45833 | -3.7457 | 0 | 0 | -374.6221 | 0
148 | RT | Voltage Support | PGAE | Sierra | 2024-04-01 | 20 - 40 | No | DEC | 18 | 45383.25 | 45384 | 1.3213 | 0 | 0 | -41.7258 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Voltage Support | PGAE | Sierra | 2024-04-01 | 20 - 42 | No | INC | 20 | 45383 | 45383.8333 | 5.5713 | 7518.16 | 0 | -233.3895 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Voltage Support | PGAE | Sierra | 2024-04-02 | 20 | Yes | DEC | 1 | 45384.25 | 45384.2917 | 2.5463 | 0 | 0 | -125.844 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Voltage Support | PGAE | Sierra | 2024-04-02 | 20 - 40 | Yes | INC | 24 | 45384 | 45385 | 35.5933 | 26645.1575 | 0 | -1088.1699 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Voltage Support | PGAE | Sierra | 2024-04-03 | 20 | No | INC | 24 | 45385 | 45386 | 15 | -1901.5425 | 0 | -595.5997 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Voltage Support | PGAE | Sierra | 2024-04-04 | 20 | No | DEC | 1 | 45386.2917 | 45386.3333 | 14.9846 | 0 | 0 | -905.6988 | 0 | 0 | 0 | 0 | 0 | 0
154 | RT | Voltage Support | PGAE | Sierra | 2024-04-04 | 20 | No | INC | 24 | 45386 | 45387 | -47.0023 | -860.92 | 0 | -277.3609 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Voltage Support | PGAE | Sierra | 2024-04-05 | 20 | No | DEC | 11 | 45387.25 | 45387.7083 | -5.5837 | 0 | 0 | -120.3062 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Voltage Support | PGAE | Sierra | 2024-04-05 | 7-20 | No | INC | 24 | 45387 | 45388 | -36.7121 | -656.1275 | 0 | 748.1852 | 0 | 0 | 0 | 0 | 0 | 0
157 | RT | Voltage Support | PGAE | Sierra | 2024-04-06 | 20 | No | INC | 24 | 45388 | 45389 | -29.4233 | 0 | 0 | 1390.3869 | 0 | 0 | 0 | 0 | 0 | 0
158 | RT | Voltage Support | PGAE | Sierra | 2024-04-07 | 20 - 42 | Yes | INC | 24 | 45389 | 45390 | 0 | 80904.7 | 5482.96 | 0 | 0 | 0 | 0 | 0 | 0 | 0
159 | RT | Voltage Support | PGAE | Sierra | 2024-04-08 | 20 - 42 | Yes | INC | 24 | 45390 | 45391 | 19.4677 | 29829.7675 | 5482.96 | -1128.7537 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Voltage Support | PGAE | Sierra | 2024-04-09 | 20 | No | DEC | 1 | 45391.7917 | 45391.8333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
161 | RT | Voltage Support | PGAE | Sierra | 2024-04-09 | 20 - 42 | Yes | INC | 24 | 45391 | 45392 | -0.23333 | 70509.6375 | 5534.11 | 244.3233 | 0 | 0 | 0 | 0 | 0 | 0
162 | RT | Voltage Support | PGAE | Sierra | 2024-04-10 | 20 | No | DEC | 5 | 45392.6667 | 45392.875 | 7.9217 | 0 | 0 | -428.957 | 0 | 0 | 0 | 0 | 0 | 0
163 | RT | Voltage Support | PGAE | Sierra | 2024-04-10 | 20 - 42 | No | INC | 24 | 45392 | 45393 | 4.8814 | 52750.6 | 0 | -340.5853 | 0 | 0 | 0 | 0 | 0 | 0
164 | RT | Voltage Support | PGAE | Sierra | 2024-04-11 | 20 - 42 | No | INC | 24 | 45393 | 45394 | 18.1742 | 8723.0025 | 5593.79 | -2140.7202 | 0 | 0 | 0 | 0 | 0 | 0
165 | RT | Voltage Support | PGAE | Sierra | 2024-04-12 | 20 - 42 | Yes | INC | 24 | 45394 | 45395 | 170.4512 | 77323.6 | 0 | -2648.1308 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Voltage Support | PGAE | Sierra | 2024-04-13 | 20 - 42 | Yes | INC | 24 | 45395 | 45396 | 9.3083 | 30800.88 | 0 | -812.029 | 0 | 0 | 0 | 0 | 0 | 0
167 | RT | Voltage Support | PGAE | Sierra | 2024-04-14 | 20 | No | INC | 24 | 45396 | 45397 | 57.4733 | 26554.08 | 0 | -3188.7465 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Voltage Support | PGAE | Sierra | 2024-04-15 | 20 | No | INC | 8 | 45397 | 45397.3333 | -4.7817 | 0 | 0 | 248.0093 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Voltage Support | PGAE | Sierra | 2024-04-20 | 20 | No | INC | 14 | 45402.4375 | 45403 | 12.55 | 20075.5475 | 0 | 340.7573 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Voltage Support | PGAE | Sierra | 2024-04-21 | 20 | No | INC | 24 | 45403 | 45404 | 1.6667 | 30102.12 | 0 | 27.6743 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Voltage Support | PGAE | Sierra | 2024-04-22 | 20 | Yes | INC | 24 | 45404 | 45405 | 10.9865 | -616.565 | 0 | -356.2398 | 0 | 0 | 0 | 0 | 0 | 0
172 | RT | Voltage Support | PGAE | Sierra | 2024-04-23 | 20 | Yes | INC | 8 | 45405 | 45405.3333 | 0.12187 | 0 | 0 | -4.2931 | 0 | 0 | 0 | 0 | 0 | 0
173 | RT | Voltage Support | PGAE | Sierra | 2024-04-24 | 20 | Yes | INC | 7 | 45406.0208 | 45406.2917 | 5 | 0 | 0 | -178.6394 | 0 | 0 | 0 | 0 | 0 | 0
174 | RT | Voltage Support | PGAE | Sierra | 2024-04-30 | 20 | No | INC | 6 | 45412.066 | 45412.2917 | -8.18 | -1009.7458 | 0 | 423.0477 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Voltage Support | PGAE | NA | 2024-04-01 | 49 | No | DEC | 8 | 45383 | 45383.3333 | -43.3425 | -14226.9474 | 0 | 826.4462 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Voltage Support | PGAE | NA | 2024-04-02 | 98 | No | DEC | 6 | 45384.0938 | 45384.3333 | -32.3715 | -25044.0864 | 0 | 745.4881 | 0 | 0 | 0 | 0 | 0 | 0
177 | RT | Voltage Support | PGAE | NA | 2024-04-02 | 62 | No | INC | 2 | 45384.9167 | 45385 | 45.5778 | 9209.4 | 23781.89 | -1426.1705 | 0 | 0 | 0 | 0 | 0 | 0
178 | RT | Voltage Support | PGAE | NA | 2024-04-03 | 62 | No | DEC | 8 | 45385 | 45385.3333 | 4.157 | 0 | 0 | -36.3392 | 0 | 0 | 0 | 0 | 0 | 0
179 | RT | Voltage Support | PGAE | NA | 2024-04-05 | 65 | No | INC | 1 | 45387.9792 | 45388 | 6.4328 | 2428.48 | 22042.49 | -171.1334 | 0 | 0 | 0 | 0 | 0 | 0
180 | RT | Voltage Support | PGAE | NA | 2024-04-06 | 62 - 65 | No | INC | 24 | 45388 | 45389 | -72.51 | 45647.33 | 21360.1 | 2612.4601 | 0 | 0 | 0 | 0 | 0 | 0
181 | RT | Voltage Support | PGAE | NA | 2024-04-07 | 62 | No | DEC | 6 | 45389.75 | 45390 | -173.6545 | 0 | 0 | 4709.5006 | 0 | 0 | 0 | 0 | 0 | 0
182 | RT | Voltage Support | PGAE | NA | 2024-04-07 | 62 | No | INC | 10 | 45389.3333 | 45389.75 | -2.3638 | 45438.8 | 0 | -23.0666 | 0 | 0 | 0 | 0 | 0 | 0
183 | RT | Voltage Support | PGAE | NA | 2024-04-08 | 62 | No | DEC | 7 | 45390 | 45390.2917 | 56.4432 | 0 | 0 | -1872.4501 | 0 | 0 | 0 | 0 | 0 | 0
184 | RT | Voltage Support | PGAE | NA | 2024-04-09 | 62 | No | DEC | 2 | 45391.75 | 45391.8333 | -60.0804 | 0 | 0 | 2011.8475 | 0 | 0 | 0 | 0 | 0 | 0
185 | RT | Voltage Support | PGAE | NA | 2024-04-09 | 62 | No | INC | 10 | 45391.3438 | 45391.75 | 44.1026 | 37339.9125 | 0 | 2026.9403 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Voltage Support | PGAE | NA | 2024-04-10 | 62 | No | DEC | 14 | 45392.2812 | 45392.8333 | -10.0462 | 0 | 0 | 303.2684 | 0 | 0 | 0 | 0 | 0 | 0
187 | RT | Voltage Support | PGAE | NA | 2024-04-10 | 62 | No | INC | 10 | 45392.3333 | 45392.75 | -49.3784 | 45665.7 | 0 | 1373.2064 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Voltage Support | PGAE | NA | 2024-04-11 | 62 | No | INC | 10 | 45393.3368 | 45393.75 | 83.3249 | 38745.2175 | 0 | 2664.4518 | 0 | 0 | 0 | 0 | 0 | 0
189 | RT | Voltage Support | PGAE | NA | 2024-04-14 | 48.95 | No | DEC | 2 | 45396.9375 | 45397 | -38.2927 | -2046.009 | 183.7021 | 1174.9837 | 0 | 0 | 0 | 0 | 0 | 0
190 | RT | Voltage Support | PGAE | NA | 2024-04-15 | 48.95 - 146.85 | No | DEC | 7 | 45397 | 45397.2917 | 52.0648 | -6778.5832 | 0 | -1464.4554 | 0 | 0 | 0 | 0 | 0 | 0
191 | RT | Voltage Support | PGAE | NA | 2024-04-24 | 65 | No | INC | 22 | 45406.1146 | 45407 | 26.6019 | 32294.85 | 42943.76 | -4104.8109 | 0 | 0 | 0 | 0 | 0 | 0
192 | RT | Voltage Support | PGAE | NA | 2024-04-25 | 65 | No | INC | 24 | 45407 | 45408 | 57.0572 | 36213.76 | 21273.58 | -2084.2646 | 0 | 0 | 0 | 0 | 0 | 0
193 | RT | Voltage Support | PGAE | NA | 2024-04-26 | 65 | No | INC | 24 | 45408 | 45409 | -88.2083 | 35184.8 | 20969.1 | 2562.9948 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 9: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2024-04-01 | 1 | 1 | 34.0415 | Yes | 15.72 | -18.3215
2 | 2024-04-01 | 1 | 2 | 33.2517 | Yes | 15.72 | -17.5317
3 | 2024-04-01 | 1 | 3 | 30.6571 | Yes | 15.72 | -14.9371
4 | 2024-04-01 | 1 | 4 | 27.3889 | Yes | 15.72 | -11.6689
5 | 2024-04-01 | 1 | 5 | 28.1579 | Yes | 15.72 | -12.4379
6 | 2024-04-01 | 1 | 6 | 28.4056 | Yes | 15.72 | -12.6856
7 | 2024-04-02 | 3 | 4 | 40.4921 | Yes | 21.23 | -19.2621
8 | 2024-04-02 | 3 | 5 | 40.4899 | Yes | 21.23 | -19.2599
9 | 2024-04-02 | 3 | 6 | 40.5459 | Yes | 21.23 | -19.3159
10 | 2024-04-02 | 3 | 7 | 42.4151 | Yes | 21.23 | -21.1851
11 | 2024-04-02 | 3 | 8 | 41.6205 | Yes | 21.23 | -20.3905
12 | 2024-04-02 | 3 | 9 | 41.6816 | Yes | 21.23 | -20.4516
13 | 2024-04-02 | 3 | 10 | 42.887 | Yes | 21.23 | -21.657
14 | 2024-04-02 | 3 | 11 | 42.902 | Yes | 21.23 | -21.672
15 | 2024-04-02 | 3 | 12 | 41.1245 | Yes | 21.23 | -19.8945
16 | 2024-04-02 | 4 | 1 | 38.958 | Yes | 21.23 | -17.728
17 | 2024-04-02 | 4 | 2 | 39.7835 | Yes | 21.23 | -18.5535
18 | 2024-04-02 | 4 | 3 | 38.8804 | Yes | 21.23 | -17.6504
19 | 2024-04-02 | 4 | 4 | 37.3923 | Yes | 21.23 | -16.1623
20 | 2024-04-02 | 4 | 5 | 37.5389 | Yes | 21.23 | -16.3089
21 | 2024-04-02 | 4 | 6 | 36.7043 | Yes | 21.23 | -15.4743
22 | 2024-04-02 | 4 | 7 | 37.3366 | Yes | 21.23 | -16.1066
23 | 2024-04-02 | 4 | 8 | 37.5416 | Yes | 21.23 | -16.3116
24 | 2024-04-02 | 4 | 9 | 36.7931 | Yes | 21.23 | -15.5632
25 | 2024-04-02 | 4 | 10 | 36.7074 | Yes | 21.23 | -15.4774
26 | 2024-04-02 | 4 | 11 | 36.7074 | Yes | 21.23 | -15.4774
27 | 2024-04-02 | 4 | 12 | 37.2331 | Yes | 21.23 | -16.0031
28 | 2024-04-02 | 5 | 1 | 28.6289 | Yes | 21.23 | -7.3989
29 | 2024-04-02 | 5 | 2 | 28.9267 | Yes | 21.23 | -7.6967
30 | 2024-04-02 | 5 | 3 | 29.4819 | Yes | 21.23 | -8.2519
31 | 2024-04-02 | 5 | 4 | 29.6493 | Yes | 21.23 | -8.4193
32 | 2024-04-02 | 5 | 5 | 30.3563 | Yes | 21.23 | -9.1263
33 | 2024-04-02 | 5 | 6 | 31.7678 | Yes | 21.23 | -10.5378
34 | 2024-04-02 | 5 | 7 | 33.9758 | Yes | 21.23 | -12.7458
35 | 2024-04-02 | 5 | 8 | 34.6983 | Yes | 21.23 | -13.4683
36 | 2024-04-02 | 5 | 9 | 35.1302 | Yes | 21.23 | -13.9002
37 | 2024-04-02 | 5 | 10 | 36.4576 | Yes | 16.46 | -19.9976
38 | 2024-04-02 | 5 | 11 | 36.4915 | Yes | 16.46 | -20.0315
39 | 2024-04-02 | 5 | 12 | 36.3365 | Yes | 16.46 | -19.8765
40 | 2024-04-02 | 6 | 1 | 32.1143 | Yes | 16.46 | -15.6543
41 | 2024-04-02 | 6 | 2 | 31.8386 | Yes | 16.46 | -15.3786
42 | 2024-04-02 | 6 | 3 | 31.7427 | Yes | 16.46 | -15.2827
43 | 2024-04-02 | 6 | 4 | 31.8051 | Yes | 16.46 | -15.3451
44 | 2024-04-02 | 6 | 5 | 33.0947 | Yes | 16.46 | -16.6347
45 | 2024-04-02 | 6 | 6 | 33.4559 | Yes | 16.46 | -16.9959
46 | 2024-04-02 | 6 | 7 | 34.744 | Yes | 16.46 | -18.284
47 | 2024-04-02 | 6 | 8 | 35.4596 | Yes | 16.46 | -18.9996
48 | 2024-04-02 | 6 | 9 | 35.948 | Yes | 16.46 | -19.488
49 | 2024-04-02 | 8 | 1 | 58.8783 | Yes | 16.46 | -42.4183
50 | 2024-04-02 | 8 | 2 | 53.1409 | Yes | 16.46 | -36.6809
51 | 2024-04-02 | 8 | 3 | 44.5594 | Yes | 16.46 | -28.0994
52 | 2024-04-02 | 8 | 4 | 37.1563 | Yes | 16.46 | -20.6963
53 | 2024-04-02 | 8 | 5 | 36.0782 | Yes | 16.46 | -19.6182
54 | 2024-04-02 | 8 | 6 | 33.5137 | Yes | 16.46 | -17.0537
55 | 2024-04-02 | 8 | 7 | 24.0929 | Yes | 16.46 | -7.6329
56 | 2024-04-02 | 8 | 8 | 20.4353 | Yes | 16.46 | -3.9753
57 | 2024-04-02 | 8 | 9 | 2.2228 | Yes | 16.46 | 14.2372
58 | 2024-04-02 | 8 | 10 | -10.0189 | Yes | 16.46 | 26.4789
59 | 2024-04-02 | 8 | 11 | -7.8492 | Yes | 16.46 | 24.3092
60 | 2024-04-02 | 8 | 12 | -18.7564 | Yes | 16.46 | 35.2164
61 | 2024-04-15 | 2 | 9 | 28.0118 | Yes | 16.97 | -11.0418
62 | 2024-04-15 | 3 | 4 | 27.2435 | Yes | 16.97 | -10.2735
63 | 2024-04-15 | 3 | 5 | 27.2341 | Yes | 16.97 | -10.2642
64 | 2024-04-15 | 3 | 6 | 27.2341 | Yes | 16.97 | -10.2642
65 | 2024-04-15 | 3 | 7 | 25.6711 | Yes | 16.97 | -8.7011
66 | 2024-04-15 | 3 | 8 | 27.0819 | Yes | 16.97 | -10.1119
67 | 2024-04-15 | 3 | 9 | 27.1058 | Yes | 16.97 | -10.1358
68 | 2024-04-15 | 3 | 10 | 24.9651 | Yes | 16.97 | -7.9951
69 | 2024-04-15 | 3 | 11 | 25.0626 | Yes | 16.97 | -8.0926
70 | 2024-04-15 | 3 | 12 | 25.2307 | Yes | 16.97 | -8.2607
71 | 2024-04-15 | 4 | 1 | 27.2994 | Yes | 16.97 | -10.3294
72 | 2024-04-15 | 4 | 2 | 28.473 | Yes | 16.97 | -11.503
73 | 2024-04-15 | 4 | 3 | 29.5616 | Yes | 16.97 | -12.5916
74 | 2024-04-15 | 4 | 4 | 33.018 | Yes | 16.97 | -16.048
75 | 2024-04-15 | 4 | 5 | 33.018 | Yes | 16.97 | -16.048
76 | 2024-04-15 | 4 | 6 | 33.6158 | Yes | 16.97 | -16.6458
77 | 2024-04-15 | 4 | 7 | 33.6055 | Yes | 16.97 | -16.6355
78 | 2024-04-15 | 4 | 8 | 32.3709 | Yes | 16.97 | -15.4009
79 | 2024-04-15 | 4 | 9 | 32.4318 | Yes | 16.97 | -15.4618
80 | 2024-04-15 | 4 | 10 | 30.5941 | Yes | 16.97 | -13.6241
81 | 2024-04-15 | 4 | 11 | 31.6135 | Yes | 16.97 | -14.6435
82 | 2024-04-15 | 4 | 12 | 34.3093 | Yes | 16.97 | -17.3393
83 | 2024-04-15 | 5 | 1 | 30.2479 | Yes | 16.97 | -13.278
84 | 2024-04-15 | 5 | 2 | 29.8936 | Yes | 16.97 | -12.9236
85 | 2024-04-15 | 5 | 3 | 29.8936 | Yes | 16.97 | -12.9236
86 | 2024-04-15 | 5 | 4 | 32.2499 | Yes | 16.97 | -15.2799
87 | 2024-04-15 | 5 | 5 | 32.9445 | Yes | 16.97 | -15.9745
88 | 2024-04-15 | 5 | 6 | 36.5197 | Yes | 16.97 | -19.5497

## Price_Impact_B
Table 8: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2024-04-18 | 10 | 12 | 18.7608 | Yes | 73.38 | 54.6192
2 | 2024-04-18 | 11 | 1 | 22.505 | Yes | 73.38 | 50.875
3 | 2024-04-18 | 11 | 2 | 12.3492 | Yes | 73.38 | 61.0308
4 | 2024-04-18 | 11 | 3 | 10.0386 | Yes | 73.38 | 63.3415
5 | 2024-04-18 | 11 | 4 | 9.3468 | Yes | 73.38 | 64.0332
6 | 2024-04-18 | 11 | 5 | 12.5271 | Yes | 73.38 | 60.8529
7 | 2024-04-18 | 11 | 6 | 8.7794 | Yes | 73.38 | 64.6006
8 | 2024-04-18 | 11 | 7 | 12.131 | Yes | 73.38 | 61.249
9 | 2024-04-18 | 11 | 8 | 9.4087 | Yes | 73.38 | 63.9713

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
TMODEL | 2 | 44200.74 | 43874.49 | 326.25
SYSEMR | 1 | 2248.81 | 1986.01 | 262.8
ASTEST | 1 | 1167.48 | 723.74 | 443.74
Total | 4 | 47617.03 | 46584.24 | 1032.79