## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report June 15, 2022
Chart 1: Table of Exceptional Dispatches for Period 01/April/2022 - 30/April/2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2022-04-01 | 20 | No | DEC | 1 | 44652.3715 | 44652.375
2 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2022-04-01 | 20 | No | INC | 1 | 44652.375 | 44652.3958
3 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2022-04-06 | 411 - 450 | No | DEC | 4 | 44657.7674 | 44657.9167
4 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-04-07 | 54 | No | DEC | 3 | 44658.7604 | 44658.875
5 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-04-08 | 54 | No | INC | 4 | 44659.7188 | 44659.875
6 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2022-04-18 | 46 - 100 | No | INC | 1 | 44669.6493 | 44669.6667
7 | RT | Load Forecast Uncertainty | SCE | NA | 2022-04-18 | 200 | No | INC | 5 | 44669.6667 | 44669.875
8 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2022-04-07 | 24 | No | DEC | 3 | 44658.75 | 44658.875
9 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-04-02 | 20 | No | INC | 15 | 44653.2917 | 44653.9167
10 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-04-03 | 15 | No | INC | 12 | 44654.125 | 44654.6146
11 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-01 | 15 - 60 | No | INC | 24 | 44652 | 44653
12 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-02 | 15 | No | DEC | 4 | 44653.2083 | 44653.3542
13 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-02 | 15 - 45 | No | INC | 20 | 44653 | 44653.8333
14 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-06 | 15 | No | DEC | 2 | 44657.8958 | 44657.9583
15 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-06 | 15 | No | INC | 1 | 44657.9583 | 44658
16 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-07 | 15 - 30 | No | DEC | 24 | 44658.0208 | 44659
17 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-07 | 15 - 30 | No | INC | 24 | 44658 | 44659
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-08 | 15 | No | DEC | 21 | 44659 | 44659.875
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-08 | 15 - 30 | No | INC | 24 | 44659 | 44660
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-09 | 15 | No | DEC | 2 | 44660.75 | 44660.8333
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-09 | 15 - 30 | No | INC | 24 | 44660 | 44661
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-10 | 14.01 - 30 | No | DEC | 24 | 44661 | 44662
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-10 | 14.01 - 45 | No | INC | 24 | 44661 | 44662
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-11 | 30 - 45 | No | DEC | 20 | 44662.1354 | 44662.9583
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-11 | 30 - 45 | No | INC | 24 | 44662 | 44663
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-12 | 15 - 30 | No | DEC | 16 | 44663.2917 | 44663.9583
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-12 | 15 - 45 | No | INC | 24 | 44663 | 44664
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-13 | 28 - 30 | No | DEC | 24 | 44664 | 44665
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-13 | 30 | No | INC | 18 | 44664 | 44664.75
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-14 | 14 - 28 | No | DEC | 24 | 44665 | 44666
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-14 | 14 - 28 | No | INC | 23 | 44665.0451 | 44666
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-15 | 28 - 30 | No | DEC | 6 | 44666.75 | 44667
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-15 | 28 - 45 | No | INC | 24 | 44666 | 44667
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-16 | 15 - 30 | No | DEC | 6 | 44667 | 44667.25
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-16 | 15 - 30 | No | INC | 24 | 44667 | 44668
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-17 | 15 | No | DEC | 3 | 44668.8125 | 44668.9167
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-17 | 14 - 28 | No | INC | 24 | 44668 | 44669
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-18 | 15 - 45 | No | DEC | 23 | 44669 | 44669.9583
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-18 | 15 - 45 | No | INC | 24 | 44669 | 44670
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-19 | 30 | No | DEC | 4 | 44670.75 | 44670.9167
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-19 | 15 - 30 | No | INC | 24 | 44670 | 44671
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-20 | 15 - 30 | No | DEC | 23 | 44671.0104 | 44671.9583
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-20 | 15 - 30 | No | INC | 24 | 44671 | 44672
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-21 | 15 - 30 | No | DEC | 24 | 44672.0312 | 44673
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-21 | 15 - 30 | No | INC | 18 | 44672 | 44672.75
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-22 | 15 - 30 | No | INC | 20 | 44673 | 44673.8333
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-24 | 15 | No | DEC | 1 | 44675.9653 | 44676
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-24 | 30 | No | INC | 1 | 44675.9653 | 44676
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-25 | 15 - 45 | No | DEC | 24 | 44676 | 44677
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-25 | 30 - 45 | No | INC | 17 | 44676 | 44676.7083
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-26 | 15 - 45 | No | DEC | 23 | 44677 | 44677.9583
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-26 | 30 | No | INC | 17 | 44677.3125 | 44678
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-27 | 30 | No | DEC | 19 | 44678.2083 | 44679
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-27 | 30 | No | INC | 24 | 44678 | 44679
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-28 | 15 - 30 | No | DEC | 8 | 44679 | 44679.3021
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-28 | 30 | No | INC | 24 | 44679 | 44680
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-29 | 30 | No | DEC | 6 | 44680.75 | 44681
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-29 | 15 - 30 | No | INC | 24 | 44680 | 44681
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-30 | 15 - 30 | No | DEC | 24 | 44681 | 44682
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-04-30 | 15 - 30 | No | INC | 24 | 44681 | 44682
61 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-06 | 30 - 47 | No | DEC | 1 | 44657.8403 | 44657.875
62 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-06 | 47 | No | INC | 3 | 44657.875 | 44658
63 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-07 | 20 - 47 | No | INC | 13 | 44658 | 44658.5417
64 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-08 | 20 | No | DEC | 1 | 44659.7917 | 44659.8333
65 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-08 | 20 - 40 | No | INC | 13 | 44659.4583 | 44660
66 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-09 | 40 | No | INC | 22 | 44660 | 44660.9167
67 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-10 | 20 | No | DEC | 2 | 44661.8854 | 44661.9583
68 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-10 | 20 | No | INC | 1 | 44661.9583 | 44662
69 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-11 | 20 | No | INC | 21 | 44662 | 44662.875
70 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-14 | 20 | No | INC | 8 | 44665.434 | 44665.7292
71 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-23 | 20 | No | DEC | 5 | 44674.75 | 44674.9583
72 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-23 | 20 - 40 | No | INC | 16 | 44674.3333 | 44675
73 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-24 | 20 - 40 | No | INC | 17 | 44675 | 44675.7083
74 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-04-26 | 20 - 40 | No | INC | 14 | 44677.2743 | 44677.8333
75 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-14 | 35 - 50 | No | DEC | 20 | 44665.191 | 44666
76 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-14 | 35 - 50 | No | INC | 19 | 44665.2083 | 44666
77 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-15 | 7 - 60 | No | DEC | 23 | 44666 | 44666.9583
78 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-15 | 14 - 71 | No | INC | 23 | 44666.0417 | 44667
79 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-19 | 38 | No | DEC | 4 | 44670.7049 | 44670.8542
80 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-22 | 50 | No | DEC | 3 | 44673.8125 | 44673.9167
81 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-22 | 50 | No | INC | 11 | 44673.3611 | 44673.7917
82 | RT | Planned Transmission Outage | PGAE | Stockton | 2022-04-23 | 50 | No | DEC | 2 | 44674.8056 | 44674.875
83 | RT | Planned Transmission Outage | PGAE | NA | 2022-04-02 | 36 | No | INC | 4 | 44653.1458 | 44653.2917
84 | RT | Planned Transmission Outage | PGAE | NA | 2022-04-25 | 29 - 30 | No | DEC | 16 | 44676.2743 | 44676.9167
85 | RT | Planned Transmission Outage | PGAE | NA | 2022-04-25 | 29 | No | INC | 1 | 44676.9167 | 44676.9583
86 | RT | Planned Transmission Outage | PGAE | NA | 2022-04-26 | 30.68 | No | DEC | 1 | 44677.8333 | 44677.875
87 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2022-04-02 | 100 - 400.1 | No | INC | 12 | 44653.5 | 44654
88 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2022-04-03 | 100 - 400.1 | No | INC | 14 | 44654 | 44654.5833
89 | RT | Planned Transmission Outage | SCE | Fresno | 2022-04-18 | 30 | No | DEC | 1 | 44669.3507 | 44669.3854
90 | RT | Planned Transmission Outage | SCE | NA | 2022-04-11 | 4.2 - 9.1 | No | DEC | 5 | 44662.809 | 44663
91 | RT | Planned Transmission Outage | SCE | NA | 2022-04-12 | 4.2 - 9.1 | No | DEC | 4 | 44663 | 44663.1562
92 | RT | Planned Transmission Outage | SCE | NA | 2022-04-18 | 200 | No | INC | 9 | 44669.2917 | 44669.6667
93 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-13 | 24 | No | INC | 5 | 44664.559 | 44664.75
94 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-19 | 110 | No | DEC | 3 | 44670.7083 | 44670.8333
95 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-19 | 24 - 110 | No | INC | 8 | 44670.3958 | 44670.7083
96 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-21 | 422 | No | INC | 2 | 44672.25 | 44672.3333
97 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-22 | 422 | No | INC | 2 | 44673.25 | 44673.3333
98 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-23 | 100 - 200 | No | INC | 15 | 44674.2569 | 44674.875
99 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-25 | 24 - 72 | No | DEC | 14 | 44676.25 | 44676.8333
100 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-25 | 24 - 72 | No | INC | 10 | 44676.2917 | 44676.7083
101 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-26 | 24 - 300 | No | INC | 7 | 44677.25 | 44677.5417
102 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-27 | 24 | No | INC | 2 | 44678.2882 | 44678.3542
103 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-04-28 | 24 | No | INC | 12 | 44679.25 | 44679.75
104 | RT | Reliability Assessment | PGAE | Bay Area | 2022-04-07 | 72 - 77 | No | DEC | 3 | 44658.7812 | 44658.875
105 | RT | Reliability Assessment | PGAE | Bay Area | 2022-04-07 | 77 | No | INC | 1 | 44658.875 | 44658.9167
106 | RT | Reliability Assessment | PGAE | Fresno | 2022-04-01 | 25 | No | DEC | 1 | 44652.7396 | 44652.75
107 | RT | Reliability Assessment | PGAE | Fresno | 2022-04-01 | 20 - 25 | No | INC | 10 | 44652.3854 | 44652.7917
108 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-21 | 30 | No | DEC | 5 | 44672.7917 | 44673
109 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-22 | 15 | No | DEC | 4 | 44673.8368 | 44674
110 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-22 | 15 - 30 | No | INC | 24 | 44673 | 44674
111 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-23 | 15 | No | DEC | 24 | 44674 | 44675
112 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-23 | 15 | No | INC | 24 | 44674 | 44675
113 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-24 | 15 - 62 | No | DEC | 22 | 44675 | 44675.9167
114 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-24 | 15 - 62 | No | INC | 17 | 44675.2917 | 44676
115 | RT | Reliability Assessment | PGAE | Humboldt | 2022-04-25 | 45 - 62 | No | INC | 1 | 44676 | 44676.0417
116 | RT | Reliability Assessment | PGAE | Kern | 2022-04-08 | 32 | No | INC | 3 | 44659.875 | 44660
117 | RT | Reliability Assessment | PGAE | Kern | 2022-04-09 | 32 | Yes | INC | 1 | 44660 | 44660.0417
118 | RT | Reliability Assessment | PGAE | Stockton | 2022-04-07 | 58 - 65 | No | DEC | 11 | 44658.5521 | 44659
119 | RT | Reliability Assessment | PGAE | Stockton | 2022-04-08 | 60 - 65 | No | DEC | 24 | 44659 | 44659.9792
120 | RT | Reliability Assessment | PGAE | Stockton | 2022-04-15 | 15 | No | DEC | 1 | 44666.5729 | 44666.5938
121 | RT | Reliability Assessment | PGAE | Stockton | 2022-04-15 | 71 | No | INC | 3 | 44666.4583 | 44666.5833
122 | RT | Reliability Assessment | PGAE | NA | 2022-04-03 | 35 - 38 | No | INC | 8 | 44654.6667 | 44655
123 | RT | Reliability Assessment | PGAE | NA | 2022-04-04 | 38 - 40 | No | INC | 24 | 44655 | 44656
124 | RT | Reliability Assessment | PGAE | NA | 2022-04-05 | 40 | No | INC | 24 | 44656 | 44657
125 | RT | Reliability Assessment | PGAE | NA | 2022-04-06 | 40 | No | INC | 10 | 44657 | 44657.4167
126 | RT | Reliability Assessment | PGAE | NA | 2022-04-08 | 7 | No | DEC | 5 | 44659.5486 | 44659.7292
127 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-04-19 | 63 | No | DEC | 1 | 44670.5764 | 44670.5833
128 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-04-19 | 63 | No | INC | 6 | 44670.5833 | 44670.8333
129 | RT | Reliability Assessment | SCE | NA | 2022-04-02 | 0 | No | DEC | 1 | 44653.7882 | 44653.7917
130 | RT | Reliability Assessment | SCE | NA | 2022-04-02 | 0 | No | INC | 1 | 44653.7882 | 44653.809
131 | RT | Software Limitation | PGAE | Bay Area | 2022-04-25 | 0 | No | INC | 1 | 44676.2188 | 44676.2604
132 | RT | Software Limitation | PGAE | NA | 2022-04-20 | 10 | No | DEC | 6 | 44671.7465 | 44671.9583
133 | RT | Software Limitation | PGAE | NA | 2022-04-20 | 10 | No | INC | 1 | 44671.9583 | 44672
134 | RT | Software Limitation | PGAE | NA | 2022-04-21 | 10 | No | INC | 6 | 44672 | 44672.2292
135 | RT | Software Limitation | SCE | LA Basin | 2022-04-04 | 0 | No | INC | 2 | 44655.0243 | 44655.0694
136 | RT | Software Limitation | SCE | NA | 2022-04-15 | 13 | No | DEC | 5 | 44666.5278 | 44666.7188
137 | RT | Unit Testing | PGAE | Bay Area | 2022-04-19 | 299 | No | INC | 1 | 44670.8333 | 44670.875
138 | RT | Unit Testing | PGAE | Fresno | 2022-04-14 | 10 | No | INC | 1 | 44665.6528 | 44665.6771
139 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-04-02 | 741 | No | INC | 3 | 44653.9132 | 44654
140 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-04-03 | 100 - 741.27 | No | INC | 20 | 44654 | 44654.8333
141 | RT | Unit Testing | SCE | Big Creek-Ventura | 2022-04-22 | 50 - 750 | No | INC | 13 | 44673.0521 | 44673.5729
142 | RT | Unit Testing | SCE | Fresno | 2022-04-08 | 45 | No | INC | 1 | 44659.8229 | 44659.8438
143 | RT | Unit Testing | SCE | LA Basin | 2022-04-07 | 20 - 326 | No | INC | 14 | 44658.4167 | 44659
144 | RT | Unit Testing | SCE | LA Basin | 2022-04-08 | 20 - 326 | No | INC | 23 | 44659 | 44659.9479
145 | RT | Unit Testing | SCE | LA Basin | 2022-04-09 | 194 - 334 | No | INC | 4 | 44660.7083 | 44660.8542
146 | RT | Unit Testing | SCE | LA Basin | 2022-04-22 | 40 - 130 | No | INC | 24 | 44673 | 44674
147 | RT | Unit Testing | SCE | LA Basin | 2022-04-23 | 130 | No | INC | 2 | 44674 | 44674.0521
148 | RT | Unit Testing | SCE | LA Basin | 2022-04-26 | 114 | No | INC | 1 | 44677.2674 | 44677.2882
149 | RT | Unit Testing | SCE | LA Basin | 2022-04-28 | 7.6 - 36 | No | INC | 7 | 44679.5347 | 44679.8125
150 | RT | Unit Testing | SCE | LA Basin | 2022-04-29 | 36 | No | INC | 2 | 44680.3333 | 44680.3958
151 | RT | Unit Testing | SDGE | San Diego-IV | 2022-04-13 | 45.72 | No | INC | 1 | 44664.9306 | 44664.9583
152 | RT | Voltage Support | PGAE | Humboldt | 2022-04-02 | 15 | No | DEC | 3 | 44653.8958 | 44654
153 | RT | Voltage Support | PGAE | Humboldt | 2022-04-02 | 30 | No | INC | 4 | 44653.8333 | 44654
154 | RT | Voltage Support | PGAE | Humboldt | 2022-04-03 | 15 | No | DEC | 19 | 44654 | 44654.7674
155 | RT | Voltage Support | PGAE | Humboldt | 2022-04-03 | 15 - 30 | No | INC | 24 | 44654 | 44655
156 | RT | Voltage Support | PGAE | Humboldt | 2022-04-04 | 15 - 30 | No | INC | 24 | 44655 | 44656
157 | RT | Voltage Support | PGAE | Humboldt | 2022-04-05 | 15 | No | DEC | 2 | 44656.9167 | 44657
158 | RT | Voltage Support | PGAE | Humboldt | 2022-04-05 | 30 | No | INC | 24 | 44656 | 44657
159 | RT | Voltage Support | PGAE | Humboldt | 2022-04-06 | 15 - 30 | No | DEC | 23 | 44657 | 44657.9583
160 | RT | Voltage Support | PGAE | Humboldt | 2022-04-06 | 15 - 30 | No | INC | 24 | 44657 | 44658
161 | RT | Voltage Support | PGAE | Humboldt | 2022-04-07 | 30 | No | INC | 1 | 44658 | 44658.0208
162 | RT | Voltage Support | PGAE | Sierra | 2022-04-01 | 20 | No | DEC | 1 | 44652.2083 | 44652.25
163 | RT | Voltage Support | PGAE | Sierra | 2022-04-01 | 20 | No | INC | 7 | 44652 | 44652.2917
164 | RT | Voltage Support | PGAE | Sierra | 2022-04-02 | 20 | No | INC | 9 | 44653.4167 | 44653.7917
165 | RT | Voltage Support | PGAE | Sierra | 2022-04-03 | 20 | Yes | INC | 11 | 44654.3333 | 44654.7917
166 | RT | Voltage Support | PGAE | Sierra | 2022-04-08 | 40 | No | INC | 1 | 44659.9583 | 44659.9618
167 | RT | Voltage Support | PGAE | Sierra | 2022-04-09 | 20 - 40 | No | INC | 13 | 44660.4826 | 44661
168 | RT | Voltage Support | PGAE | Sierra | 2022-04-10 | 20 | No | DEC | 2 | 44661.75 | 44661.8333
169 | RT | Voltage Support | PGAE | Sierra | 2022-04-10 | 20 - 40 | No | INC | 24 | 44661 | 44662
170 | RT | Voltage Support | PGAE | Sierra | 2022-04-11 | 20 | Yes | INC | 7 | 44662 | 44662.2917
171 | RT | Voltage Support | PGAE | Sierra | 2022-04-15 | 20 | No | INC | 3 | 44666.625 | 44666.75
172 | RT | Voltage Support | PGAE | Sierra | 2022-04-17 | 20 | No | DEC | 5 | 44668.75 | 44668.9583
173 | RT | Voltage Support | PGAE | Sierra | 2022-04-17 | 20 | No | INC | 15 | 44668.3958 | 44669
174 | RT | Voltage Support | PGAE | Sierra | 2022-04-18 | 20 | No | INC | 7 | 44669 | 44669.2917
175 | RT | Voltage Support | PGAE | Sierra | 2022-04-20 | 20 | No | INC | 2 | 44671.3333 | 44671.4167
176 | RT | Voltage Support | PGAE | Sierra | 2022-04-23 | 42 | No | INC | 9 | 44674.625 | 44675
177 | RT | Voltage Support | PGAE | Sierra | 2022-04-24 | 20 | No | DEC | 3 | 44675.8333 | 44675.9583
178 | RT | Voltage Support | PGAE | Sierra | 2022-04-24 | 20 - 42 | No | INC | 24 | 44675 | 44676
179 | RT | Voltage Support | PGAE | Sierra | 2022-04-25 | 20 | No | INC | 7 | 44676 | 44676.2917
180 | RT | Voltage Support | PGAE | Sierra | 2022-04-26 | 20 | No | INC | 4 | 44677.8333 | 44678
181 | RT | Voltage Support | PGAE | Sierra | 2022-04-27 | 20 - 40 | No | INC | 24 | 44678 | 44679
182 | RT | Voltage Support | PGAE | Sierra | 2022-04-28 | 20 | No | DEC | 5 | 44679.75 | 44679.9583
183 | RT | Voltage Support | PGAE | Sierra | 2022-04-28 | 20 - 40 | No | INC | 24 | 44679 | 44680
184 | RT | Voltage Support | PGAE | Sierra | 2022-04-29 | 20 | No | DEC | 5 | 44680.75 | 44680.9583
185 | RT | Voltage Support | PGAE | Sierra | 2022-04-29 | 20 | No | INC | 24 | 44680 | 44680.9792
186 | RT | Voltage Support | PGAE | NA | 2022-04-09 | 0.1 | No | DEC | 4 | 44660.5208 | 44660.6667
187 | RT | Voltage Support | PGAE | NA | 2022-04-16 | 49 | No | DEC | 2 | 44667.875 | 44667.9583
188 | RT | Voltage Support | PGAE | NA | 2022-04-16 | 49 | No | INC | 1 | 44667.9583 | 44668
189 | RT | Voltage Support | PGAE | NA | 2022-04-17 | 49 | No | DEC | 4 | 44668.7917 | 44668.9583
190 | RT | Voltage Support | PGAE | NA | 2022-04-17 | 49 | No | INC | 24 | 44668 | 44669
191 | RT | Voltage Support | PGAE | NA | 2022-04-18 | 103 | No | DEC | 2 | 44669.2083 | 44669.2917
192 | RT | Voltage Support | PGAE | NA | 2022-04-18 | 49 - 103 | No | INC | 5 | 44669 | 44669.2083