## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report June 15, 2023
Chart 1: Table of Exceptional Dispatches for Period 01/April/2023 - 30/Apri/2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | SCE | LA Basin | 2023-04-19 | 10 | No | INC | 1 | 45035.9583 | 45036
2 | RT | Bridging Schedules | SCE | LA Basin | 2023-04-29 | 10 | No | INC | 1 | 45045.9583 | 45046
3 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-04-04 | 0 | No | INC | 1 | 45020.4062 | 45020.4236
4 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-04-15 | 45 | No | DEC | 1 | 45031.2153 | 45031.2188
5 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2023-04-30 | 13 - 19 | No | DEC | 4 | 45046.6667 | 45046.8333
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2023-04-30 | 13 - 19 | No | INC | 5 | 45046.5104 | 45046.7083
7 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2023-04-01 | 28 | No | DEC | 2 | 45017.4271 | 45017.5
8 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-04-30 | 6 - 25 | No | DEC | 16 | 45046.3403 | 45047
9 | RT | Other Reliability Requirement | PGAE | Fresno | 2023-04-03 | 0 | No | INC | 2 | 45019.7222 | 45019.7674
10 | RT | Planned Transmission Outage | Intertie | NA | 2023-04-03 | 0 - 30 | No | DEC | 7 | 45019.4688 | 45019.75
11 | RT | Planned Transmission Outage | Intertie | NA | 2023-04-03 | 30 | No | INC | 1 | 45019.7083 | 45019.75
12 | RT | Planned Transmission Outage | Intertie | NA | 2023-04-05 | 0 | No | DEC | 2 | 45021.7257 | 45021.7917
13 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-04-01 | 290 | No | DEC | 24 | 45017 | 45018
14 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-04-01 | 290 | No | INC | 24 | 45017 | 45018
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-04-02 | 150 | No | INC | 9 | 45018.2917 | 45018.6667
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-04-05 | 100 | No | DEC | 3 | 45021.2951 | 45021.4167
17 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-04-05 | 42 - 100 | No | INC | 9 | 45021.3576 | 45021.7083
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-01 | 15 - 30 | No | DEC | 24 | 45017 | 45018
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-01 | 15 - 30 | No | INC | 16 | 45017.3333 | 45017.9792
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-02 | 15 | No | DEC | 17 | 45018.316 | 45019
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-02 | 15 - 30 | No | INC | 24 | 45018 | 45019
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-03 | 15 - 45 | No | DEC | 8 | 45019 | 45019.3333
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-03 | 15 - 45 | No | INC | 24 | 45019 | 45020
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-04 | 30 - 45 | No | INC | 24 | 45020 | 45021
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-05 | 15 - 45 | No | DEC | 24 | 45021 | 45022
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-05 | 15 - 45 | No | INC | 24 | 45021 | 45022
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-06 | 15 - 45 | No | DEC | 23 | 45022 | 45022.9583
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-06 | 15 - 30 | No | INC | 14 | 45022.4167 | 45023
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-07 | 30 | No | DEC | 4 | 45023.2083 | 45023.375
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-07 | 30 - 60 | No | INC | 24 | 45023 | 45024
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-08 | 45 | No | DEC | 8 | 45024 | 45024.3333
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-08 | 30 - 45 | No | INC | 24 | 45024 | 45025
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-09 | 15 - 30 | No | DEC | 21 | 45025.0938 | 45025.9583
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-09 | 15 - 60 | No | INC | 24 | 45025 | 45026
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-10 | 30 - 45 | No | DEC | 24 | 45026 | 45027
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-10 | 30 - 60 | No | INC | 24 | 45026 | 45027
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-11 | 30 | No | DEC | 5 | 45027.7083 | 45027.9167
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-11 | 30 | No | INC | 24 | 45027 | 45028
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-12 | 15 | No | DEC | 16 | 45028.25 | 45028.9167
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-12 | 30 - 45 | No | INC | 24 | 45028 | 45029
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-13 | 15 | No | DEC | 18 | 45029.25 | 45030
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-13 | 15 - 45 | No | INC | 24 | 45029 | 45030
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-14 | 15 | No | DEC | 1 | 45030 | 45030.0208
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-14 | 15 | No | INC | 1 | 45030 | 45030.0208
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-17 | 15 - 30 | No | DEC | 2 | 45033.2569 | 45033.3333
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-17 | 30 - 60 | No | INC | 16 | 45033.3333 | 45034
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-18 | 30 - 45 | No | DEC | 8 | 45034.0625 | 45034.375
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-18 | 45 | No | INC | 18 | 45034 | 45034.75
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-20 | 15 | No | DEC | 17 | 45036.2917 | 45037
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-20 | 30 - 45 | No | INC | 17 | 45036.2917 | 45037
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-21 | 15 | No | DEC | 22 | 45037 | 45037.8958
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-21 | 30 - 60 | No | INC | 24 | 45037 | 45038
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-22 | 15 | No | DEC | 6 | 45038.7083 | 45038.9583
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-22 | 15 - 45 | No | INC | 24 | 45038 | 45039
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-23 | 15 - 30 | No | DEC | 6 | 45039 | 45039.25
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-23 | 15 - 30 | No | INC | 20 | 45039.1667 | 45040
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-24 | 15 - 30 | No | DEC | 7 | 45040.7083 | 45041
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-24 | 15 - 30 | No | INC | 24 | 45040 | 45041
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-25 | 30 | No | DEC | 4 | 45041.75 | 45041.9167
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-25 | 30 | No | INC | 18 | 45041 | 45041.75
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-26 | 30 | No | DEC | 19 | 45042.1667 | 45042.9583
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-26 | 30 | No | INC | 24 | 45042 | 45043
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-27 | 30 | No | DEC | 9 | 45043.625 | 45044
64 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-27 | 30 | No | INC | 15 | 45043 | 45043.625
65 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-28 | 30 | No | DEC | 24 | 45044 | 45045
66 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-28 | 30 | No | INC | 6 | 45044.3333 | 45044.5833
67 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-29 | 30 | No | DEC | 5 | 45045.7083 | 45045.9167
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-29 | 30 | No | INC | 24 | 45045 | 45046
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-30 | 30 | No | INC | 24 | 45046 | 45047
70 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-04-03 | 20 | No | INC | 7 | 45019.3576 | 45019.6354
71 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-04-04 | 33 - 40 | No | DEC | 5 | 45020.3438 | 45020.5417
72 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-04-19 | 16 | No | INC | 3 | 45035.3264 | 45035.4479
73 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-04-29 | 19 | No | DEC | 6 | 45045.434 | 45045.6667
74 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-04-29 | 19 | No | INC | 1 | 45045.4583 | 45045.5
75 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-03 | 30 | No | DEC | 2 | 45019.2743 | 45019.3333
76 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-04 | 30 | No | DEC | 1 | 45020.6667 | 45020.7083
77 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-04 | 30 - 80 | No | INC | 4 | 45020.5 | 45020.6667
78 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-05 | 14 - 250 | No | DEC | 9 | 45021.434 | 45021.7917
79 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-05 | 25 - 250 | No | INC | 14 | 45021.434 | 45022
80 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-06 | 60 - 75 | No | INC | 18 | 45022 | 45022.75
81 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-10 | 89 | No | DEC | 4 | 45026.2292 | 45026.375
82 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-10 | 89 | No | INC | 8 | 45026.375 | 45026.7083
83 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-11 | 88.8 | No | DEC | 9 | 45027.625 | 45028
84 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-12 | 88.8 | No | DEC | 24 | 45028 | 45029
85 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-12 | 88.8 | No | INC | 6 | 45028.4583 | 45028.7083
86 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-13 | 88.8 | No | DEC | 24 | 45029 | 45030
87 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-13 | 88.8 | No | INC | 16 | 45029.0833 | 45029.75
88 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-14 | 88.8 | No | DEC | 24 | 45030 | 45031
89 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-14 | 88.8 | No | INC | 9 | 45030.375 | 45030.75
90 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-15 | 88.8 | No | DEC | 24 | 45031 | 45032
91 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-15 | 88.8 | No | INC | 10 | 45031.3333 | 45031.75
92 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-17 | 89 | No | DEC | 18 | 45033.25 | 45034
93 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-17 | 89 | No | INC | 9 | 45033.375 | 45033.75
94 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-18 | 89 | No | INC | 18 | 45034 | 45034.75
95 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-19 | 89 | No | DEC | 3 | 45035.3333 | 45035.4583
96 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-19 | 89 | No | INC | 6 | 45035.4583 | 45035.7083
97 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-27 | 5 - 39 | No | DEC | 3 | 45043.1562 | 45043.25
98 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-27 | 39 - 45 | No | INC | 5 | 45043.0278 | 45043.2083
99 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-07 | 37 | No | INC | 6 | 45023.0521 | 45023.2917
100 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-08 | 76 - 87 | No | DEC | 8 | 45024.4653 | 45024.7604
101 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-08 | 87 | No | INC | 1 | 45024.6562 | 45024.6667
102 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-10 | 35 | No | INC | 7 | 45026.7118 | 45027
103 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-11 | 35 | No | INC | 7 | 45027 | 45027.2917
104 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-16 | 32 | No | INC | 4 | 45032.1424 | 45032.2917
105 | RT | Planned Transmission Outage | SCE | LA Basin | 2023-04-29 | 147 | No | INC | 1 | 45045.6667 | 45045.7083
106 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-04-03 | 24 | No | INC | 2 | 45019.3542 | 45019.4167
107 | RT | Pump Management | PGAE | Fresno | 2023-04-23 | 0 | No | INC | 1 | 45039.25 | 45039.2917
108 | RT | Reliability Assessment | PGAE | Bay Area | 2023-04-04 | 10 | No | INC | 11 | 45020.566 | 45021
109 | RT | Reliability Assessment | PGAE | Bay Area | 2023-04-05 | 10 | No | INC | 8 | 45021.0069 | 45021.3333
110 | RT | Reliability Assessment | PGAE | Bay Area | 2023-04-20 | 180 | No | INC | 4 | 45036.5 | 45036.6667
111 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-14 | 15 - 30 | No | DEC | 6 | 45030.75 | 45031
112 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-14 | 15 - 30 | No | INC | 10 | 45030.3333 | 45030.75
113 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-15 | 15 - 30 | No | DEC | 24 | 45031 | 45032
114 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-15 | 15 - 30 | No | INC | 11 | 45031.2917 | 45031.75
115 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-16 | 15 - 30 | No | DEC | 21 | 45032 | 45032.8542
116 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-16 | 15 - 30 | No | INC | 11 | 45032.2917 | 45032.75
117 | RT | Reliability Assessment | PGAE | Sierra | 2023-04-21 | 20 - 24 | No | DEC | 2 | 45037.7708 | 45037.8333
118 | RT | Reliability Assessment | PGAE | Sierra | 2023-04-21 | 8 - 24 | No | INC | 6 | 45037.7847 | 45038
119 | RT | Reliability Assessment | PGAE | Sierra | 2023-04-22 | 24 | No | INC | 2 | 45038 | 45038.0625
120 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-02 | 59 - 68 | No | DEC | 3 | 45018.8264 | 45018.9167
121 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-02 | 59 - 68 | No | INC | 1 | 45018.9167 | 45018.9583
122 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-21 | 29 - 53 | No | DEC | 9 | 45037.4931 | 45037.8333
123 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-21 | 53 | No | INC | 6 | 45037.5417 | 45037.7917
124 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-25 | 42 | No | DEC | 1 | 45041.7847 | 45041.7917
125 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-25 | 42 | No | INC | 2 | 45041.7917 | 45041.875
126 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-26 | 55 | No | DEC | 3 | 45042.2569 | 45042.375
127 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-26 | 55 | No | INC | 1 | 45042.375 | 45042.4167
128 | RT | Reliability Assessment | PGAE | NA | 2023-04-02 | 30 | No | INC | 14 | 45018.4514 | 45019
129 | RT | Reliability Assessment | PGAE | NA | 2023-04-03 | 30 | No | INC | 14 | 45019 | 45019.5833
130 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-04-18 | 55 | No | DEC | 5 | 45034.4931 | 45034.6667
131 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-04-18 | 55 | No | INC | 2 | 45034.6667 | 45034.7188
132 | RT | Reliability Assessment | SCE | NA | 2023-04-03 | 0 - 40 | No | DEC | 18 | 45019.1458 | 45019.8854
133 | RT | Reliability Assessment | SCE | NA | 2023-04-18 | 45 | No | DEC | 6 | 45034.1215 | 45034.3333
134 | RT | Software Limitation | PGAE | Fresno | 2023-04-28 | 0 | No | INC | 1 | 45044.2951 | 45044.3299
135 | RT | Software Limitation | SCE | Big Creek-Ventura | 2023-04-15 | 0 | No | INC | 2 | 45031.1736 | 45031.2222
136 | RT | Software Limitation | SDGE | San Diego-IV | 2023-04-16 | 0 | No | INC | 1 | 45032.559 | 45032.6007
137 | RT | Unit Testing | PGAE | Bay Area | 2023-04-27 | 572 | No | DEC | 1 | 45043.059 | 45043.0833
138 | RT | Unit Testing | PGAE | Bay Area | 2023-04-27 | 46.2 - 572 | No | INC | 20 | 45043.0833 | 45043.8993
139 | RT | Unit Testing | PGAE | Fresno | 2023-04-26 | 404 | No | INC | 2 | 45042.875 | 45042.9375
140 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-04-04 | 77 | No | INC | 1 | 45020.4722 | 45020.4792
141 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-04-26 | 741 | No | INC | 5 | 45042.6458 | 45042.8333
142 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-04-27 | 448 | No | INC | 1 | 45043.1354 | 45043.1632
143 | RT | Unit Testing | SCE | LA Basin | 2023-04-04 | 39 | No | INC | 1 | 45020.4444 | 45020.4826
144 | RT | Unit Testing | SCE | LA Basin | 2023-04-27 | 96 | No | INC | 1 | 45043.9722 | 45044
145 | RT | Unit Testing | SCE | LA Basin | 2023-04-28 | 96 | No | INC | 1 | 45044 | 45044.0035
146 | RT | Unit Testing | SCE | LA Basin | 2023-04-29 | 150 - 515 | No | INC | 16 | 45045.3333 | 45046
147 | RT | Unit Testing | SCE | LA Basin | 2023-04-30 | 150 | No | INC | 2 | 45046 | 45046.0729
148 | RT | Unit Testing | SCE | NA | 2023-04-27 | 19 | No | INC | 1 | 45043.8646 | 45043.8958
149 | RT | Unit Testing | SDGE | San Diego-IV | 2023-04-27 | 54 | No | INC | 1 | 45043.9306 | 45043.9618
150 | RT | Unit Testing | SDGE | San Diego-IV | 2023-04-30 | 270 - 580 | No | INC | 6 | 45046.7674 | 45046.9896
151 | RT | Voltage Support | PGAE | Fresno | 2023-04-01 | 83 - 90 | No | INC | 24 | 45017 | 45018
152 | RT | Voltage Support | PGAE | Fresno | 2023-04-02 | 83 - 90 | No | INC | 24 | 45018 | 45019
153 | RT | Voltage Support | PGAE | Fresno | 2023-04-03 | 83 | No | DEC | 2 | 45019.25 | 45019.3125
154 | RT | Voltage Support | PGAE | Fresno | 2023-04-03 | 83 | No | INC | 24 | 45019 | 45020
155 | RT | Voltage Support | PGAE | Fresno | 2023-04-04 | 83 | No | DEC | 7 | 45020 | 45020.2917
156 | RT | Voltage Support | PGAE | Fresno | 2023-04-05 | 83 | No | INC | 2 | 45021.0208 | 45021.0833
157 | RT | Voltage Support | PGAE | Fresno | 2023-04-06 | 83 | No | INC | 1 | 45022.9965 | 45023
158 | RT | Voltage Support | PGAE | Fresno | 2023-04-07 | 83 | No | DEC | 19 | 45023.2083 | 45024
159 | RT | Voltage Support | PGAE | Fresno | 2023-04-07 | 83 | No | INC | 5 | 45023 | 45023.2083
160 | RT | Voltage Support | PGAE | Fresno | 2023-04-08 | 83 | No | INC | 6 | 45024 | 45024.25
161 | RT | Voltage Support | PGAE | Fresno | 2023-04-09 | -312 | No | DEC | 6 | 45025.1076 | 45025.3333
162 | RT | Voltage Support | PGAE | Fresno | 2023-04-10 | -388 | No | DEC | 8 | 45026.6667 | 45027
163 | RT | Voltage Support | PGAE | Fresno | 2023-04-10 | -388 | No | INC | 16 | 45026 | 45026.6667
164 | RT | Voltage Support | PGAE | Fresno | 2023-04-11 | 83 | Yes | INC | 24 | 45027 | 45028
165 | RT | Voltage Support | PGAE | Fresno | 2023-04-12 | 83 | No | INC | 24 | 45028 | 45029
166 | RT | Voltage Support | PGAE | Fresno | 2023-04-13 | 83 | Yes | INC | 24 | 45029 | 45030
167 | RT | Voltage Support | PGAE | Fresno | 2023-04-14 | 83 | No | DEC | 1 | 45030.25 | 45030.2917
168 | RT | Voltage Support | PGAE | Fresno | 2023-04-14 | 83 | No | INC | 6 | 45030 | 45030.25
169 | RT | Voltage Support | PGAE | Fresno | 2023-04-15 | 83 | No | INC | 4 | 45031 | 45031.1667
170 | RT | Voltage Support | PGAE | Fresno | 2023-04-16 | 83 | No | INC | 3 | 45032.8958 | 45033
171 | RT | Voltage Support | PGAE | Fresno | 2023-04-17 | 83 | Yes | INC | 5 | 45033 | 45033.2083
172 | RT | Voltage Support | PGAE | Fresno | 2023-04-18 | -312 | No | DEC | 4 | 45034.0625 | 45034.2083
173 | RT | Voltage Support | PGAE | Fresno | 2023-04-21 | 83 | No | DEC | 1 | 45037.1667 | 45037.2083
174 | RT | Voltage Support | PGAE | Fresno | 2023-04-21 | 83 | No | INC | 23 | 45037.0417 | 45038
175 | RT | Voltage Support | PGAE | Fresno | 2023-04-22 | 83 | No | INC | 24 | 45038 | 45039
176 | RT | Voltage Support | PGAE | Fresno | 2023-04-23 | -312 | No | DEC | 2 | 45039.941 | 45040
177 | RT | Voltage Support | PGAE | Fresno | 2023-04-23 | 83 | No | INC | 7 | 45039 | 45039.2708
178 | RT | Voltage Support | PGAE | Fresno | 2023-04-24 | -312 | No | DEC | 6 | 45040 | 45040.2396
179 | RT | Voltage Support | PGAE | Fresno | 2023-04-24 | 83 | No | INC | 1 | 45040.9618 | 45041
180 | RT | Voltage Support | PGAE | Fresno | 2023-04-25 | 83 | No | DEC | 19 | 45041.2083 | 45042
181 | RT | Voltage Support | PGAE | Fresno | 2023-04-25 | 83 | No | INC | 24 | 45041 | 45042
182 | RT | Voltage Support | PGAE | Fresno | 2023-04-26 | 83 | No | DEC | 1 | 45042 | 45042.0417
183 | RT | Voltage Support | PGAE | Fresno | 2023-04-26 | 83 | No | INC | 5 | 45042 | 45042.2083
184 | RT | Voltage Support | PGAE | Fresno | 2023-04-27 | -312 | No | DEC | 4 | 45043.066 | 45043.2083
185 | RT | Voltage Support | PGAE | Fresno | 2023-04-28 | -312 | No | DEC | 7 | 45044.0243 | 45044.2917
186 | RT | Voltage Support | PGAE | Humboldt | 2023-04-18 | 30 | No | DEC | 2 | 45034.9167 | 45035
187 | RT | Voltage Support | PGAE | Humboldt | 2023-04-18 | 45 | No | INC | 4 | 45034.75 | 45034.9167
188 | RT | Voltage Support | PGAE | Humboldt | 2023-04-19 | 30 | No | DEC | 23 | 45035 | 45035.9583
189 | RT | Voltage Support | PGAE | Humboldt | 2023-04-19 | 15 - 30 | No | INC | 22 | 45035 | 45035.9167
190 | RT | Voltage Support | PGAE | Humboldt | 2023-04-20 | 15 | No | INC | 7 | 45036.0174 | 45036.2917
191 | RT | Voltage Support | PGAE | Sierra | 2023-04-07 | 20 | No | DEC | 1 | 45023.25 | 45023.2917
192 | RT | Voltage Support | PGAE | Sierra | 2023-04-07 | 20 | No | INC | 5 | 45023.0417 | 45023.25
193 | RT | Voltage Support | PGAE | Sierra | 2023-04-08 | 20 | No | INC | 9 | 45024.6389 | 45025
194 | RT | Voltage Support | PGAE | Sierra | 2023-04-09 | 20 | No | INC | 24 | 45025 | 45026
195 | RT | Voltage Support | PGAE | Sierra | 2023-04-10 | 20 | No | INC | 7 | 45026 | 45026.2917
196 | RT | Voltage Support | PGAE | Sierra | 2023-04-12 | 20 | No | DEC | 2 | 45028.7917 | 45028.875
197 | RT | Voltage Support | PGAE | Sierra | 2023-04-12 | 20 | No | INC | 15 | 45028.3958 | 45029
198 | RT | Voltage Support | PGAE | Sierra | 2023-04-13 | 20 | Yes | DEC | 1 | 45029.25 | 45029.2917
199 | RT | Voltage Support | PGAE | Sierra | 2023-04-13 | 20 | No | INC | 18 | 45029 | 45029.75
200 | RT | Voltage Support | PGAE | Sierra | 2023-04-14 | 20 | No | DEC | 1 | 45030.8958 | 45030.9167
201 | RT | Voltage Support | PGAE | Sierra | 2023-04-14 | 20 | No | INC | 24 | 45030.0208 | 45031
202 | RT | Voltage Support | PGAE | Sierra | 2023-04-15 | 20 | No | DEC | 1 | 45031.75 | 45031.7917
203 | RT | Voltage Support | PGAE | Sierra | 2023-04-15 | 20 | No | INC | 12 | 45031.2708 | 45031.75
204 | RT | Voltage Support | PGAE | Sierra | 2023-04-17 | 20 | No | DEC | 1 | 45033.9062 | 45033.9167
205 | RT | Voltage Support | PGAE | Sierra | 2023-04-17 | 20 | No | INC | 2 | 45033.9167 | 45034
206 | RT | Voltage Support | PGAE | Sierra | 2023-04-18 | 20 | No | DEC | 2 | 45034.7917 | 45034.875
207 | RT | Voltage Support | PGAE | Sierra | 2023-04-18 | 20 | No | INC | 22 | 45034 | 45034.9167
208 | RT | Voltage Support | PGAE | Sierra | 2023-04-19 | 20 | No | INC | 11 | 45035.3542 | 45035.7917
209 | RT | Voltage Support | PGAE | Sierra | 2023-04-22 | 20 | No | DEC | 2 | 45038.8646 | 45038.9167
210 | RT | Voltage Support | PGAE | Sierra | 2023-04-22 | 20 | No | INC | 2 | 45038.9167 | 45039
211 | RT | Voltage Support | PGAE | Sierra | 2023-04-23 | 20 | Yes | INC | 15 | 45039 | 45039.625
212 | RT | Voltage Support | PGAE | Sierra | 2023-04-24 | 20 | No | INC | 3 | 45040.9062 | 45041
213 | RT | Voltage Support | PGAE | Sierra | 2023-04-25 | 1900-01-19 | No | DEC | 3 | 45041.8264 | 45041.9167
214 | RT | Voltage Support | PGAE | Sierra | 2023-04-25 | 20 | Yes | INC | 24 | 45041 | 45042
215 | RT | Voltage Support | PGAE | Sierra | 2023-04-26 | 20 | No | DEC | 3 | 45042.8299 | 45042.9167
216 | RT | Voltage Support | PGAE | Sierra | 2023-04-26 | 20 | Yes | INC | 24 | 45042 | 45043
217 | RT | Voltage Support | PGAE | Sierra | 2023-04-27 | 20 | No | DEC | 2 | 45043.8646 | 45043.9167
218 | RT | Voltage Support | PGAE | Sierra | 2023-04-27 | 20 | Yes | INC | 24 | 45043 | 45044
219 | RT | Voltage Support | PGAE | Sierra | 2023-04-28 | 20 | No | INC | 6 | 45044 | 45044.25