## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report October 15, 2023
Chart 1: Table of Exceptional Dispatches for Period 01/August/2023 - 31/August/2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2023-08-01 | 50 | No | INC | 2 | 45139.9167 | 45140
2 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2023-08-17 | 50 | No | INC | 13 | 45155 | 45155.5417
3 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2023-08-29 | 50 - 100 | No | INC | 2 | 45167.9167 | 45168
4 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2023-08-30 | 50 - 100 | No | INC | 2 | 45168.9167 | 45169
5 | RT | Bridging Schedules | SCE | LA Basin | 2023-08-01 | 10 | No | INC | 1 | 45139.9583 | 45140
6 | RT | Bridging Schedules | SCE | LA Basin | 2023-08-17 | 10 | No | INC | 1 | 45155.9583 | 45156
7 | RT | Bridging Schedules | SCE | LA Basin | 2023-08-20 | 10 | No | INC | 1 | 45158.9583 | 45159
8 | RT | Bridging Schedules | SCE | LA Basin | 2023-08-30 | 10 | No | INC | 1 | 45168.9583 | 45169
9 | RT | Conditions beyond the control of the CAISO | SCE | Big Creek-Ventura | 2023-08-20 | 50 | No | INC | 3 | 45158.4167 | 45158.5417
10 | RT | Conditions beyond the control of the CAISO | SCE | Big Creek-Ventura | 2023-08-27 | 350 | No | DEC | 2 | 45165.8194 | 45165.8958
11 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2023-08-15 | 100 | No | INC | 1 | 45153.6007 | 45153.625
12 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2023-08-20 | 10 | No | INC | 12 | 45158.5 | 45159
13 | RT | Conditions beyond the control of the CAISO | SDGE | San Diego-IV | 2023-08-15 | 95 | No | DEC | 1 | 45153.625 | 45153.6319
14 | RT | Conditions beyond the control of the CAISO | SDGE | San Diego-IV | 2023-08-15 | 95 | No | INC | 1 | 45153.5903 | 45153.6181
15 | RT | Fast Start Unit Management | PGAE | Bay Area | 2023-08-15 | 0 | No | INC | 1 | 45153.1319 | 45153.1736
16 | RT | Fast Start Unit Management | PGAE | NA | 2023-08-28 | 49 | No | DEC | 6 | 45166.6285 | 45166.875
17 | RT | Fast Start Unit Management | SCE | Big Creek-Ventura | 2023-08-09 | 0 | No | INC | 1 | 45147.9201 | 45147.9583
18 | RT | Fast Start Unit Management | SCE | Big Creek-Ventura | 2023-08-23 | 0 | No | DEC | 3 | 45161.6042 | 45161.691
19 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-08-08 | 0 | No | INC | 1 | 45146.9132 | 45146.9549
20 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-08-09 | 0 | No | INC | 1 | 45147.9167 | 45147.9583
21 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-08-23 | 0 | No | INC | 1 | 45161.2639 | 45161.3056
22 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-08-24 | 0 | No | INC | 1 | 45162.1146 | 45162.1562
23 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-08-25 | 0 | No | INC | 1 | 45163.9375 | 45163.9792
24 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2023-08-05 | 20 | No | DEC | 1 | 45143.8403 | 45143.875
25 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2023-08-05 | 20 - 42 | No | INC | 4 | 45143.8403 | 45144
26 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2023-08-06 | 42 | Yes | INC | 1 | 45144 | 45144.0417
27 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2023-08-27 | 5 - 30 | No | DEC | 2 | 45165.5139 | 45165.5938
28 | RT | Incomplete or Inaccurate Transmission | PGAE | NA | 2023-08-01 | 125 | No | INC | 5 | 45139.5625 | 45139.75
29 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-08-06 | 50 | No | DEC | 5 | 45144.1562 | 45144.3333
30 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-08-07 | 50 | No | DEC | 4 | 45145.8542 | 45146
31 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-08-08 | 50 | No | DEC | 8 | 45146 | 45146.3333
32 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-08-10 | 4 - 20 | No | DEC | 18 | 45148.066 | 45148.7917
33 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-08-11 | 40 | No | DEC | 8 | 45149.6215 | 45149.9167
34 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-08-19 | 20 | No | DEC | 1 | 45157.9861 | 45158
35 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-08-20 | 20 | No | DEC | 22 | 45158 | 45158.9167
36 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-08-21 | 25 - 50 | No | DEC | 5 | 45159.7986 | 45160
37 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-08-22 | 25 - 50 | No | DEC | 7 | 45160 | 45160.2917
38 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2023-08-11 | 231 | No | INC | 9 | 45149.625 | 45150
39 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2023-08-28 | 133 | No | INC | 11 | 45166.4583 | 45166.9167
40 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2023-08-16 | 20 | No | DEC | 6 | 45154.6875 | 45154.9167
41 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2023-08-16 | 35 | No | INC | 6 | 45154.6806 | 45154.9167
42 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2023-08-07 | 50 | No | INC | 14 | 45145.4167 | 45146
43 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2023-08-08 | 50 | No | INC | 10 | 45146 | 45146.4167
44 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-08-06 | 10 | No | INC | 16 | 45144.3333 | 45145
45 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-08-07 | 10 - 70 | Yes | INC | 11 | 45145.5625 | 45146
46 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-08-08 | 70 | No | INC | 14 | 45146 | 45146.5625
47 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-08-15 | 47.8 - 147 | No | DEC | 10 | 45153.6042 | 45154
48 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-08-15 | 20 - 140 | No | INC | 8 | 45153.6667 | 45154
49 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-08-16 | 20 - 140 | No | INC | 24 | 45154 | 45155
50 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-08-17 | 147 | No | DEC | 3 | 45155.6667 | 45155.7917
51 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-08-15 | 50 | No | DEC | 5 | 45153.7083 | 45153.9167
52 | RT | Market Disruption | PGAE | Bay Area | 2023-08-01 | 544 - 551 | No | INC | 3 | 45139.0174 | 45139.125
53 | RT | Other Reliability Requirement | PGAE | Bay Area | 2023-08-15 | -195.87 | No | DEC | 2 | 45153.6944 | 45153.7708
54 | RT | Other Reliability Requirement | PGAE | Bay Area | 2023-08-16 | -97.32 | No | DEC | 2 | 45154.6806 | 45154.75
55 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2023-08-15 | -96.19 | No | DEC | 2 | 45153.6979 | 45153.7708
56 | RT | Other Reliability Requirement | SCE | NA | 2023-08-15 | -4.96 | No | DEC | 2 | 45153.7222 | 45153.7847
57 | RT | Other Reliability Requirement | SCE | NA | 2023-08-16 | -194.79 | No | DEC | 4 | 45154.6493 | 45154.7917
58 | RT | Other Reliability Requirement | SCE | NA | 2023-08-16 | 0 | No | INC | 2 | 45154.6875 | 45154.7708
59 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-08-14 | 231 | No | DEC | 5 | 45152.7292 | 45152.9167
60 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-08-18 | 540 | No | DEC | 5 | 45156.7083 | 45156.9167
61 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-08-18 | 540 | No | INC | 8 | 45156.684 | 45157
62 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-08-23 | 175 | No | INC | 6 | 45161.625 | 45161.875
63 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-08-24 | 54 - 150 | No | DEC | 12 | 45162.4167 | 45162.9167
64 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-08-28 | 54 - 232 | No | DEC | 10 | 45166.4583 | 45166.875
65 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-08-29 | 54 | No | DEC | 10 | 45167.4583 | 45167.875
66 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-08-02 | 0 - 55 | No | DEC | 10 | 45140.4132 | 45140.7917
67 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-08-02 | 72 | No | INC | 1 | 45140.7153 | 45140.75
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-03 | 15 - 30 | No | DEC | 4 | 45141.8611 | 45142
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-04 | 30 - 45 | No | DEC | 22 | 45142 | 45142.9167
70 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-04 | 45 | No | INC | 2 | 45142.9167 | 45143
71 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-05 | 30 | No | DEC | 12 | 45143.5 | 45144
72 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-05 | 30 - 45 | No | INC | 12 | 45143 | 45143.5
73 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-06 | 15 - 30 | No | DEC | 11 | 45144.5417 | 45145
74 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-06 | 30 | No | INC | 15 | 45144 | 45144.625
75 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-07 | 30 | No | DEC | 24 | 45145 | 45146
76 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-07 | 30 | No | INC | 10 | 45145 | 45145.4167
77 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-08 | 30 | No | DEC | 23 | 45146 | 45146.9583
78 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-08 | 30 | No | INC | 24 | 45146 | 45147
79 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-09 | 30 - 45 | No | DEC | 23 | 45147 | 45147.9583
80 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-09 | 30 | No | INC | 24 | 45147 | 45148
81 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-10 | 30 | No | DEC | 4 | 45148.7083 | 45148.875
82 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-10 | 30 | No | INC | 24 | 45148 | 45149
83 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-11 | 30 | No | DEC | 5 | 45149.7083 | 45149.9167
84 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-11 | 30 | No | INC | 24 | 45149 | 45150
85 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-12 | 30 | No | DEC | 6 | 45150.625 | 45150.875
86 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-12 | 30 - 45 | No | INC | 24 | 45150 | 45151
87 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-13 | 45 | No | DEC | 7 | 45151.625 | 45151.9167
88 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-13 | 30 - 45 | No | INC | 24 | 45151 | 45152
89 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-14 | 30 - 45 | No | DEC | 12 | 45152.375 | 45152.8646
90 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-14 | 15 - 30 | No | INC | 11 | 45152 | 45152.4583
91 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-15 | 30 - 45 | No | DEC | 10 | 45153.2465 | 45153.625
92 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-16 | 2 | No | DEC | 1 | 45154.7153 | 45154.75
93 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-18 | 30 | No | DEC | 11 | 45156.5417 | 45157
94 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-18 | 30 | No | INC | 8 | 45156.2083 | 45156.5417
95 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-19 | 15 - 30 | No | DEC | 24 | 45157 | 45158
96 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-19 | 30 | No | INC | 24 | 45157 | 45158
97 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-20 | 15 - 45 | No | DEC | 24 | 45158 | 45159
98 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-20 | 15 - 30 | No | INC | 24 | 45158 | 45159
99 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-21 | 30 | No | DEC | 23 | 45159 | 45159.9583
100 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-21 | 15 - 30 | No | INC | 24 | 45159 | 45160
101 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-22 | 30 | No | DEC | 6 | 45160.5833 | 45160.8333
102 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-22 | 15 - 30 | No | INC | 24 | 45160 | 45161
103 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-23 | 30 | No | DEC | 9 | 45161.5417 | 45161.9167
104 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-23 | 30 | No | INC | 24 | 45161 | 45162
105 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-24 | 30 | No | DEC | 5 | 45162.6667 | 45162.875
106 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-24 | 30 | No | INC | 24 | 45162 | 45163
107 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-25 | 30 | No | DEC | 4 | 45163.6667 | 45163.8333
108 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-25 | 30 | No | INC | 24 | 45163 | 45164
109 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-26 | 30 | No | DEC | 7 | 45164.6667 | 45164.9583
110 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-26 | 30 | No | INC | 24 | 45164 | 45165
111 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-27 | 15 - 30 | No | DEC | 8 | 45165.5833 | 45165.9167
112 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-27 | 15 - 30 | No | INC | 24 | 45165 | 45166
113 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-28 | 15 - 30 | No | DEC | 9 | 45166.5 | 45166.8646
114 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-28 | 15 - 30 | No | INC | 14 | 45166 | 45166.5833
115 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-08-31 | 15 - 30 | No | INC | 17 | 45169.2917 | 45170
116 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-08-10 | 65 | No | DEC | 9 | 45148.191 | 45148.5417
117 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-08-11 | 57 - 61 | No | DEC | 10 | 45149.1528 | 45149.5417
118 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-08-24 | 58 | No | DEC | 8 | 45162.2083 | 45162.5417
119 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-08-25 | 60 | No | DEC | 10 | 45163.1597 | 45163.5417
120 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-08-26 | 55 - 60 | No | DEC | 9 | 45164.1667 | 45164.5104
121 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-08-04 | 20 | No | INC | 3 | 45142.9062 | 45143
122 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-08-05 | 20 | Yes | INC | 2 | 45143 | 45143.0833
123 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-08-11 | 20 | No | DEC | 1 | 45149.3472 | 45149.375
124 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-08-15 | 20 | Yes | DEC | 2 | 45153.934 | 45154
125 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-08-16 | 20 | Yes | DEC | 1 | 45154 | 45154.0417
126 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-08-21 | 40 | No | DEC | 4 | 45159.8507 | 45160
127 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-08-22 | 14 - 44 | No | DEC | 24 | 45160 | 45161
128 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-08-22 | 14 - 18 | No | INC | 6 | 45160.75 | 45161
129 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-08-23 | 14 - 33 | No | INC | 1 | 45161 | 45161.0104
130 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-08-19 | 60 | No | INC | 8 | 45157.3889 | 45157.7083
131 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-08-25 | 40 | No | DEC | 1 | 45163.2847 | 45163.3056
132 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-08-25 | 65 | No | INC | 1 | 45163.3056 | 45163.3438
133 | RT | Planned Transmission Outage | SCE | NA | 2023-08-10 | 0 - 54 | No | DEC | 17 | 45148.2257 | 45148.8958
134 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-08-01 | 250 | No | DEC | 4 | 45139.6667 | 45139.8333
135 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-08-01 | 250 | No | INC | 5 | 45139.4965 | 45139.6667
136 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-08-02 | 150 | No | DEC | 1 | 45140.3958 | 45140.4271
137 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-08-06 | 21 | No | INC | 3 | 45144.8368 | 45144.9583
138 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-08-09 | 21 - 44 | No | INC | 4 | 45147.8438 | 45148
139 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-08-12 | 21 | No | INC | 4 | 45150.3125 | 45150.4583
140 | RT | Ramping Capacity | PGAE | Humboldt | 2023-08-15 | 45 | No | DEC | 1 | 45153.5694 | 45153.6042
141 | RT | Ramping Capacity | PGAE | NA | 2023-08-14 | 48.95 | No | DEC | 7 | 45152.625 | 45152.9167
142 | RT | Ramping Capacity | PGAE | NA | 2023-08-14 | 48.95 | No | INC | 1 | 45152.6215 | 45152.625
143 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-01 | 400 | No | INC | 5 | 45139.6667 | 45139.875
144 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-07 | 400.1 | No | INC | 5 | 45145.6667 | 45145.875
145 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-13 | 401 - 750 | No | INC | 4 | 45151.6667 | 45151.8333
146 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-14 | 401 | No | DEC | 6 | 45152.6667 | 45152.9167
147 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-14 | 401 | No | INC | 7 | 45152.625 | 45152.9167
148 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-15 | 401 | No | DEC | 7 | 45153.625 | 45153.9167
149 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-16 | 401 | No | DEC | 7 | 45154.625 | 45154.9167
150 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-17 | 400.1 | No | INC | 4 | 45155.6667 | 45155.8333
151 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-24 | 401 | No | INC | 6 | 45162.6667 | 45162.9167
152 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-28 | 50 - 401 | No | DEC | 10 | 45166.5833 | 45167
153 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-28 | 50 - 401 | No | INC | 16 | 45166.0833 | 45166.75
154 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-29 | 401 | No | DEC | 2 | 45167.75 | 45167.8333
155 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-29 | 401 | No | INC | 6 | 45167.6667 | 45167.9167
156 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-08-30 | 401 | No | INC | 5 | 45168.6667 | 45168.875
157 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-01 | 180 - 194 | No | INC | 5 | 45139.6667 | 45139.875
158 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-07 | 65 - 465 | No | INC | 5 | 45145.6667 | 45145.875
159 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-08 | 190 - 194 | No | INC | 3 | 45146.8125 | 45146.9167
160 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-09 | 190 - 194 | No | INC | 5 | 45147.7292 | 45147.9167
161 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-11 | 190 - 194 | No | INC | 6 | 45149.6875 | 45149.9167
162 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-13 | 151 - 326 | No | INC | 4 | 45151.6667 | 45151.8333
163 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-14 | 190 - 251 | No | DEC | 7 | 45152.625 | 45152.9167
164 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-15 | 190 - 240 | No | DEC | 7 | 45153.625 | 45153.9167
165 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-16 | 190 - 240 | No | DEC | 7 | 45154.625 | 45154.9167
166 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-17 | 190 - 194 | No | DEC | 3 | 45155.7083 | 45155.8333
167 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-17 | 130 - 241 | No | INC | 4 | 45155.6667 | 45155.8333
168 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-18 | 140 - 194 | No | INC | 3 | 45156.7083 | 45156.8333
169 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-24 | 190 - 194 | No | INC | 6 | 45162.6667 | 45162.9167
170 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-25 | 190 - 194 | No | INC | 6 | 45163.6667 | 45163.9167
171 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-26 | 0 - 194 | No | INC | 13 | 45164.3889 | 45164.9167
172 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-27 | 190 - 194 | No | INC | 6 | 45165.6667 | 45165.9167
173 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-28 | 159 - 240 | No | DEC | 6 | 45166.6667 | 45166.9167
174 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-28 | 130 - 240 | No | INC | 12 | 45166.5208 | 45167
175 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-29 | 65 - 240 | No | DEC | 5 | 45167.6667 | 45167.875
176 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-29 | 65 - 240 | No | INC | 7 | 45167.625 | 45167.9167
177 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-30 | 65 - 194 | No | DEC | 5 | 45168.6667 | 45168.875
178 | RT | Ramping Capacity | SCE | LA Basin | 2023-08-30 | 190 - 241 | No | INC | 5 | 45168.6667 | 45168.875
179 | RT | Reliability Assessment | PGAE | Bay Area | 2023-08-07 | 176 - 177 | No | DEC | 5 | 45145.6458 | 45145.8333
180 | RT | Reliability Assessment | PGAE | Bay Area | 2023-08-08 | 64 | No | DEC | 11 | 45146.4062 | 45146.8333
181 | RT | Reliability Assessment | PGAE | Bay Area | 2023-08-09 | 113 | No | DEC | 7 | 45147.5521 | 45147.8333
182 | RT | Reliability Assessment | PGAE | Bay Area | 2023-08-16 | 250 | No | DEC | 7 | 45154.6667 | 45154.9583
183 | RT | Reliability Assessment | PGAE | Bay Area | 2023-08-17 | 22 - 114.01 | No | DEC | 8 | 45155.5 | 45155.8333
184 | RT | Reliability Assessment | PGAE | Bay Area | 2023-08-17 | 22 | No | INC | 6 | 45155.4722 | 45155.7083
185 | RT | Reliability Assessment | PGAE | Bay Area | 2023-08-18 | 71 | No | DEC | 5 | 45156.6458 | 45156.8333
186 | RT | Reliability Assessment | PGAE | Bay Area | 2023-08-23 | 0 - 25 | No | INC | 2 | 45161.6701 | 45161.7292
187 | RT | Reliability Assessment | PGAE | Fresno | 2023-08-13 | 400 | No | INC | 1 | 45151.7257 | 45151.7326
188 | RT | Reliability Assessment | PGAE | Fresno | 2023-08-18 | 83 - 300 | No | INC | 3 | 45156.9062 | 45157
189 | RT | Reliability Assessment | PGAE | Fresno | 2023-08-19 | 83 - 200 | No | INC | 2 | 45157 | 45157.0833
190 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-01 | 30 | No | INC | 24 | 45139 | 45140
191 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-02 | 30 | No | DEC | 23 | 45140 | 45140.9583
192 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-02 | 30 | No | INC | 1 | 45140.9583 | 45141
193 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-03 | 30 | No | DEC | 8 | 45141.5417 | 45141.875
194 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-03 | 30 | No | INC | 13 | 45141 | 45141.5417
195 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-15 | 30 - 45 | No | DEC | 18 | 45153.1458 | 45153.8646
196 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-28 | 15 | No | DEC | 2 | 45166.8542 | 45166.9167
197 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-28 | 15 | No | INC | 2 | 45166.9167 | 45167
198 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-29 | 15 | No | DEC | 3 | 45167.7083 | 45167.8333
199 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-29 | 15 | No | INC | 24 | 45167 | 45168
200 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-30 | 15 | No | DEC | 11 | 45168.5 | 45168.9583
201 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-30 | 15 | No | INC | 24 | 45168 | 45169
202 | RT | Reliability Assessment | PGAE | Humboldt | 2023-08-31 | 15 | No | INC | 9 | 45169 | 45169.375
203 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-06 | 20 | No | DEC | 1 | 45144.9097 | 45144.9167
204 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-06 | 20 | No | INC | 2 | 45144.9167 | 45145
205 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-07 | 20 | No | DEC | 6 | 45145.7083 | 45145.9583
206 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-07 | 20 | Yes | INC | 24 | 45145 | 45146
207 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-09 | 12 - 30 | No | DEC | 7 | 45147.7257 | 45148
208 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-09 | 0 - 14 | No | INC | 5 | 45147.75 | 45147.9583
209 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-10 | 30 | No | DEC | 4 | 45148.8715 | 45149
210 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-10 | 20 | No | INC | 3 | 45148 | 45148.125
211 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-11 | 30 | No | DEC | 2 | 45149 | 45149.0833
212 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-11 | 20 | No | INC | 2 | 45149.8542 | 45149.9167
213 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-12 | 20 | No | DEC | 2 | 45150.8438 | 45150.9167
214 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-12 | 20 | No | INC | 1 | 45150.9167 | 45150.9583
215 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-13 | 20 | No | DEC | 2 | 45151.8889 | 45151.9583
216 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-15 | 20 | No | DEC | 15 | 45153.3333 | 45153.9375
217 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-15 | 20 | No | INC | 6 | 45153.2708 | 45153.5
218 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-16 | 20 | No | DEC | 10 | 45154.5729 | 45154.9583
219 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-17 | 20 | No | DEC | 11 | 45155.5104 | 45155.9583
220 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-17 | 20 | No | INC | 2 | 45155.5417 | 45155.625
221 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-24 | 40 | No | DEC | 2 | 45162.5625 | 45162.625
222 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-24 | 40 | No | INC | 5 | 45162.625 | 45162.8229
223 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-28 | 20 - 42 | No | DEC | 6 | 45166.6771 | 45166.9167
224 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-28 | 20 | No | INC | 2 | 45166.875 | 45166.9583
225 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-30 | 20 | No | DEC | 1 | 45168.8333 | 45168.875
226 | RT | Reliability Assessment | PGAE | Sierra | 2023-08-30 | 20 | No | INC | 3 | 45168.875 | 45169
227 | RT | Reliability Assessment | PGAE | Stockton | 2023-08-30 | 50 | No | INC | 6 | 45168.0208 | 45168.25
228 | RT | Reliability Assessment | PGAE | NA | 2023-08-01 | 32 | No | DEC | 8 | 45139.0104 | 45139.3333
229 | RT | Reliability Assessment | PGAE | NA | 2023-08-25 | 15 | No | DEC | 2 | 45163.684 | 45163.75
230 | RT | Reliability Assessment | PGAE | NA | 2023-08-25 | 15 | No | INC | 2 | 45163.7083 | 45163.7917
231 | RT | Reliability Assessment | SCE | NA | 2023-08-01 | 10 | No | DEC | 4 | 45139.184 | 45139.3333
232 | RT | Reliability Assessment | SCE | NA | 2023-08-02 | 20 - 46 | No | DEC | 5 | 45140.125 | 45140.3333
233 | RT | Reliability Assessment | SCE | NA | 2023-08-03 | 20 | No | DEC | 8 | 45141.0139 | 45141.3333
234 | RT | Reliability Assessment | SCE | NA | 2023-08-03 | 46 | No | INC | 8 | 45141.0174 | 45141.3333
235 | RT | Reliability Assessment | SCE | NA | 2023-08-04 | 20 - 45 | No | DEC | 7 | 45142.0417 | 45142.3333
236 | RT | Reliability Assessment | SCE | NA | 2023-08-09 | 25 - 50 | No | DEC | 19 | 45147.1146 | 45147.875
237 | RT | Reliability Assessment | SCE | NA | 2023-08-09 | 25 | No | INC | 9 | 45147.6076 | 45147.9479
238 | RT | Reliability Assessment | SCE | NA | 2023-08-13 | 6 - 49.9 | No | DEC | 5 | 45151.7153 | 45151.9167
239 | RT | Reliability Assessment | SCE | NA | 2023-08-14 | 20 - 55 | No | DEC | 21 | 45152.1458 | 45153
240 | RT | Reliability Assessment | SCE | NA | 2023-08-14 | 420 - 450 | No | INC | 10 | 45152.6007 | 45153
241 | RT | Reliability Assessment | SCE | NA | 2023-08-15 | 25 - 50 | No | DEC | 9 | 45153 | 45153.375
242 | RT | Reliability Assessment | SCE | NA | 2023-08-15 | 450 - 475 | No | INC | 22 | 45153 | 45153.9167
243 | RT | Reliability Assessment | SCE | NA | 2023-08-16 | 50 | No | DEC | 8 | 45154.0208 | 45154.3333
244 | RT | Reliability Assessment | SCE | NA | 2023-08-16 | 425 | No | INC | 3 | 45154.5139 | 45154.625
245 | RT | Reliability Assessment | SCE | NA | 2023-08-18 | 45 | No | DEC | 6 | 45156.7743 | 45157
246 | RT | Reliability Assessment | SCE | NA | 2023-08-18 | 450 - 475 | No | INC | 21 | 45156.0625 | 45156.9167
247 | RT | Reliability Assessment | SCE | NA | 2023-08-19 | 45 | No | DEC | 15 | 45157 | 45157.625
248 | RT | Reliability Assessment | SCE | NA | 2023-08-20 | 0 | No | DEC | 4 | 45158.75 | 45158.9167
249 | RT | Reliability Assessment | SCE | NA | 2023-08-20 | 0 - 450 | No | INC | 13 | 45158.4722 | 45159
250 | RT | Reliability Assessment | SCE | NA | 2023-08-21 | 0 | No | INC | 6 | 45159 | 45159.25
251 | RT | Reliability Assessment | SCE | NA | 2023-08-26 | 50 | No | DEC | 7 | 45164.0833 | 45164.375
252 | RT | Reliability Assessment | SCE | NA | 2023-08-27 | 450 | No | DEC | 1 | 45165.9132 | 45165.9167
253 | RT | Reliability Assessment | SCE | NA | 2023-08-27 | 450 | No | INC | 2 | 45165.9167 | 45166
254 | RT | Reliability Assessment | SCE | NA | 2023-08-28 | 425 | No | DEC | 2 | 45166.75 | 45166.8333
255 | RT | Reliability Assessment | SCE | NA | 2023-08-28 | 425 | No | INC | 18 | 45166 | 45166.75
256 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-08-08 | 18.2 | No | INC | 8 | 45146.5139 | 45146.8333
257 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-08-29 | 21 | No | INC | 7 | 45167.6771 | 45167.9583
258 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-08-30 | 18.2 | No | DEC | 1 | 45168.8021 | 45168.8333
259 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-08-30 | 18.2 - 21 | No | INC | 3 | 45168.8333 | 45168.9375
260 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-08-31 | 37 | No | INC | 2 | 45169.875 | 45169.9375
261 | RT | SOC Charge | SCE | NA | 2023-08-17 | -32 | No | DEC | 3 | 45155.6424 | 45155.75
262 | RT | Software Limitation | PGAE | Bay Area | 2023-08-10 | 0 | No | DEC | 1 | 45148.9965 | 45149
263 | RT | Software Limitation | PGAE | Bay Area | 2023-08-11 | 0 | No | INC | 5 | 45149 | 45149.2014
264 | RT | Software Limitation | SCE | Big Creek-Ventura | 2023-08-14 | 500 - 600 | No | INC | 1 | 45152.9167 | 45152.9583
265 | RT | Software Limitation | SCE | LA Basin | 2023-08-05 | 0 | No | INC | 23 | 45143.0417 | 45143.9931
266 | RT | Software Limitation | SCE | LA Basin | 2023-08-06 | 0 | No | INC | 1 | 45144.9028 | 45144.9444
267 | RT | Software Limitation | SCE | LA Basin | 2023-08-25 | 0 | No | INC | 1 | 45163.1354 | 45163.1771
268 | RT | Software Limitation | SDGE | San Diego-IV | 2023-08-04 | 0 | No | INC | 1 | 45142.8229 | 45142.8646
269 | RT | Unit Testing | PGAE | Bay Area | 2023-08-22 | 290 | No | INC | 10 | 45160.4271 | 45160.8229
270 | RT | Unit Testing | PGAE | Bay Area | 2023-08-23 | 286 | No | INC | 1 | 45161.3924 | 45161.4167
271 | RT | Unit Testing | PGAE | Bay Area | 2023-08-25 | 6.29 | No | DEC | 1 | 45163.5104 | 45163.5382
272 | RT | Unit Testing | PGAE | Bay Area | 2023-08-31 | 296 | No | INC | 5 | 45169.5 | 45169.6875
273 | RT | Unit Testing | PGAE | Sierra | 2023-08-09 | 278 | No | INC | 2 | 45147 | 45147.0833
274 | RT | Unit Testing | PGAE | NA | 2023-08-02 | 266 | No | INC | 1 | 45140.0833 | 45140.125
275 | RT | Unit Testing | PGAE | NA | 2023-08-03 | 118 | No | INC | 1 | 45141.4583 | 45141.4861
276 | RT | Unit Testing | SCE | NA | 2023-08-01 | 19 | No | INC | 1 | 45139.8056 | 45139.8368
277 | RT | Unit Testing | SCE | NA | 2023-08-02 | 475 | No | INC | 2 | 45140.0208 | 45140.0729
278 | RT | Unit Testing | SDGE | San Diego-IV | 2023-08-11 | 54 | No | INC | 1 | 45149.8646 | 45149.8958
279 | RT | Unit Testing | VEA | NA | 2023-08-18 | 12 | No | INC | 1 | 45156.4965 | 45156.5243
280 | RT | Unplanned Outage | SCE | Big Creek-Ventura | 2023-08-08 | 350 | No | DEC | 10 | 45146.4306 | 45146.8333
281 | RT | Voltage Support | PGAE | Fresno | 2023-08-15 | 83 | No | INC | 1 | 45153.7292 | 45153.75
282 | RT | Voltage Support | PGAE | Humboldt | 2023-08-15 | 30 | No | DEC | 6 | 45153.7812 | 45154
283 | RT | Voltage Support | PGAE | Humboldt | 2023-08-16 | 30 - 45 | No | DEC | 24 | 45154 | 45155
284 | RT | Voltage Support | PGAE | Humboldt | 2023-08-17 | 15 - 30 | No | DEC | 13 | 45155.4583 | 45156
285 | RT | Voltage Support | PGAE | Humboldt | 2023-08-17 | 30 | No | INC | 9 | 45155.0938 | 45155.4583
286 | RT | Voltage Support | PGAE | Humboldt | 2023-08-18 | 15 | No | DEC | 1 | 45156 | 45156.0417
287 | RT | Voltage Support | PGAE | Humboldt | 2023-08-18 | 15 - 30 | No | INC | 5 | 45156 | 45156.2083
288 | RT | Voltage Support | PGAE | Sierra | 2023-08-16 | 20 | No | DEC | 3 | 45154.9062 | 45155
289 | RT | Voltage Support | PGAE | NA | 2023-08-20 | 20 | No | INC | 11 | 45158.25 | 45158.7083