## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report February 15, 2024
Chart 1: Table of Exceptional Dispatches for Period 01/December/2023 - 31/December/2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | PGAE | Humboldt | 2023-12-22 | 30 | No | DEC | 3 | 45282.8611 | 45282.9583
2 | RT | Bridging Schedules | PGAE | Humboldt | 2023-12-22 | 30 | No | INC | 1 | 45282.9583 | 45283
3 | RT | Bridging Schedules | PGAE | Humboldt | 2023-12-23 | 30 | No | INC | 18 | 45283 | 45283.7292
4 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-12-13 | 0 | No | INC | 1 | 45273.809 | 45273.8264
5 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2023-12-26 | 83 - 200 | No | INC | 2 | 45286.3924 | 45286.4479
6 | RT | Market Disruption | PGAE | Bay Area | 2023-12-17 | 480 - 580 | No | DEC | 1 | 45277.0729 | 45277.1146
7 | RT | Market Disruption | PGAE | Fresno | 2023-12-28 | 83 | No | INC | 1 | 45288.316 | 45288.3542
8 | RT | Market Disruption | PGAE | NA | 2023-12-06 | 53 | No | DEC | 1 | 45266.4375 | 45266.4757
9 | RT | Market Disruption | PGAE | NA | 2023-12-17 | 551 | No | DEC | 1 | 45277.0729 | 45277.1146
10 | RT | Market Disruption | SCE | LA Basin | 2023-12-17 | 275 - 450 | No | DEC | 2 | 45277.0347 | 45277.1146
11 | RT | Market Disruption | SCE | LA Basin | 2023-12-28 | 90 | No | INC | 2 | 45288.2951 | 45288.3542
12 | RT | Market Disruption | SCE | NA | 2023-12-06 | 0 | No | DEC | 2 | 45266.4375 | 45266.4826
13 | RT | Market Disruption | SCE | NA | 2023-12-17 | -100 | No | DEC | 1 | 45277.0625 | 45277.0938
14 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-12-05 | 54 | No | DEC | 12 | 45265.3368 | 45265.8333
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-12-07 | 64 | No | DEC | 6 | 45267.4792 | 45267.7083
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-12-18 | 135 - 275 | No | DEC | 7 | 45278.4375 | 45278.7083
17 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-12-18 | 275 | No | INC | 1 | 45278.5833 | 45278.625
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-12-12 | 30 - 60 | No | DEC | 11 | 45272.5799 | 45273
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-12-13 | 30 - 45 | No | DEC | 24 | 45273 | 45274
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-12-13 | 30 - 45 | No | INC | 6 | 45273.375 | 45273.625
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-12-14 | 30 | No | DEC | 13 | 45274 | 45274.5417
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-12-15 | 45 | No | DEC | 13 | 45275.4583 | 45276
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-12-16 | 45 | No | DEC | 24 | 45276 | 45277
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-12-17 | 45 | No | DEC | 24 | 45277 | 45278
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-12-18 | 45 | No | DEC | 22 | 45278 | 45278.9167
26 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-12-08 | 270 | No | DEC | 1 | 45268.7083 | 45268.7188
27 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-12-11 | 145 | No | DEC | 11 | 45271.2917 | 45271.75
28 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-12-12 | 236 | No | DEC | 9 | 45272.3333 | 45272.7083
29 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-12-02 | 225 - 500 | No | INC | 10 | 45262.3333 | 45262.75
30 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-01 | 15 - 30 | No | DEC | 23 | 45261.0417 | 45262
31 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-01 | 15 - 30 | No | INC | 24 | 45261 | 45262
32 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-02 | 15 | No | DEC | 17 | 45262.25 | 45262.9583
33 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-02 | 15 | No | INC | 24 | 45262 | 45263
34 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-03 | 30 | No | DEC | 6 | 45263.625 | 45263.875
35 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-03 | 15 - 30 | No | INC | 24 | 45263 | 45264
36 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-04 | 30 | No | DEC | 9 | 45264.625 | 45265
37 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-04 | 30 | No | INC | 15 | 45264 | 45264.625
38 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-05 | 30 | No | DEC | 4 | 45265.7778 | 45265.9167
39 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-05 | 30 | No | INC | 24 | 45265 | 45266
40 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-06 | 30 | No | DEC | 15 | 45266.25 | 45266.875
41 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-06 | 30 | No | INC | 24 | 45266 | 45267
42 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-07 | 30 | No | DEC | 15 | 45267.25 | 45267.875
43 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-07 | 30 | No | INC | 24 | 45267 | 45268
44 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-08 | 30 | No | DEC | 16 | 45268.25 | 45268.9167
45 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-08 | 30 | No | INC | 6 | 45268 | 45268.25
46 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-09 | 30 | No | DEC | 8 | 45269.4167 | 45269.75
47 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-09 | 30 | No | INC | 22 | 45269.0312 | 45269.9167
48 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-10 | 30 | No | INC | 19 | 45270.2222 | 45271
49 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-11 | 30 | No | DEC | 9 | 45271.625 | 45272
50 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-11 | 30 | No | INC | 15 | 45271 | 45271.625
51 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-12 | 15 - 45 | No | DEC | 17 | 45272 | 45272.6875
52 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-12 | 15 | No | INC | 2 | 45272.5729 | 45272.625
53 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-14 | 30 | No | DEC | 12 | 45274.5278 | 45275
54 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-15 | 30 - 45 | No | DEC | 11 | 45275 | 45275.4583
55 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-19 | 30 | No | DEC | 13 | 45279.375 | 45279.9167
56 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-20 | 45 | No | DEC | 1 | 45280.8125 | 45280.816
57 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-23 | 30 | No | INC | 7 | 45283.7292 | 45284
58 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-24 | 30 | No | DEC | 8 | 45284.625 | 45284.9583
59 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-24 | 30 | No | INC | 24 | 45284 | 45285
60 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-25 | 15 - 30 | No | INC | 24 | 45285 | 45286
61 | RT | Reliability Assessment | PGAE | Humboldt | 2023-12-26 | 15 - 30 | No | INC | 22 | 45286 | 45286.9167
62 | RT | Reliability Assessment | PGAE | Stockton | 2023-12-08 | 200 - 270 | No | DEC | 10 | 45268.3264 | 45268.7292
63 | RT | Reliability Assessment | PGAE | NA | 2023-12-11 | 0 - 32.2 | No | DEC | 9 | 45271.6389 | 45272
64 | RT | Reliability Assessment | PGAE | NA | 2023-12-12 | 6 | No | DEC | 4 | 45272.2083 | 45272.375
65 | RT | Reliability Assessment | PGAE | NA | 2023-12-12 | 6 | No | INC | 10 | 45272 | 45272.4167
66 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-12-09 | 300 | No | INC | 1 | 45269.3681 | 45269.4062
67 | RT | Unit Testing | PGAE | Fresno | 2023-12-13 | -5 | No | DEC | 1 | 45273.7882 | 45273.8021
68 | RT | Unit Testing | PGAE | Fresno | 2023-12-17 | -300 | No | DEC | 3 | 45277.4062 | 45277.5
69 | RT | Unplanned Outage | SCE | NA | 2023-12-11 | 22 | No | DEC | 10 | 45271.6111 | 45272
70 | RT | Voltage Support | PGAE | Fresno | 2023-12-01 | 83 | No | INC | 7 | 45261.0104 | 45261.2917
71 | RT | Voltage Support | PGAE | Fresno | 2023-12-02 | -300 | No | DEC | 23 | 45262.0521 | 45263
72 | RT | Voltage Support | PGAE | Fresno | 2023-12-03 | -300 | No | DEC | 15 | 45263 | 45263.625
73 | RT | Voltage Support | PGAE | Fresno | 2023-12-03 | 83 | No | INC | 2 | 45263.9514 | 45264
74 | RT | Voltage Support | PGAE | Fresno | 2023-12-04 | 83 | No | INC | 7 | 45264 | 45264.2917
75 | RT | Voltage Support | PGAE | Fresno | 2023-12-05 | -300 | No | DEC | 24 | 45265.0069 | 45266
76 | RT | Voltage Support | PGAE | Fresno | 2023-12-06 | -300 | No | DEC | 7 | 45266 | 45266.2917
77 | RT | Voltage Support | PGAE | Fresno | 2023-12-07 | -300 | No | DEC | 5 | 45267.1042 | 45267.2917
78 | RT | Voltage Support | PGAE | Fresno | 2023-12-09 | 0 | No | DEC | 1 | 45269.9792 | 45270
79 | RT | Voltage Support | PGAE | Fresno | 2023-12-09 | 0 - 83 | No | INC | 24 | 45269 | 45270
80 | RT | Voltage Support | PGAE | Fresno | 2023-12-10 | -383 | No | DEC | 24 | 45270.0035 | 45271
81 | RT | Voltage Support | PGAE | Fresno | 2023-12-10 | 0 - 83 | Yes | INC | 24 | 45270 | 45271
82 | RT | Voltage Support | PGAE | Fresno | 2023-12-11 | 83 | No | DEC | 1 | 45271.8611 | 45271.875
83 | RT | Voltage Support | PGAE | Fresno | 2023-12-11 | 83 | Yes | INC | 24 | 45271 | 45272
84 | RT | Voltage Support | PGAE | Fresno | 2023-12-12 | 83 | No | DEC | 1 | 45272.9062 | 45272.9167
85 | RT | Voltage Support | PGAE | Fresno | 2023-12-12 | 83 | No | INC | 24 | 45272 | 45273
86 | RT | Voltage Support | PGAE | Fresno | 2023-12-13 | 83 | No | DEC | 2 | 45273.7778 | 45273.8333
87 | RT | Voltage Support | PGAE | Fresno | 2023-12-13 | 83 | Yes | INC | 24 | 45273 | 45274
88 | RT | Voltage Support | PGAE | Fresno | 2023-12-14 | 83 | No | DEC | 2 | 45274.7847 | 45274.8333
89 | RT | Voltage Support | PGAE | Fresno | 2023-12-14 | 83 | No | INC | 24 | 45274 | 45275
90 | RT | Voltage Support | PGAE | Fresno | 2023-12-15 | 83 | Yes | INC | 7 | 45275 | 45275.2917
91 | RT | Voltage Support | PGAE | Fresno | 2023-12-16 | -300 | No | DEC | 22 | 45276.1042 | 45277
92 | RT | Voltage Support | PGAE | Fresno | 2023-12-17 | -300 | No | DEC | 16 | 45277 | 45277.6667
93 | RT | Voltage Support | PGAE | Fresno | 2023-12-18 | -5 | No | DEC | 24 | 45278 | 45279
94 | RT | Voltage Support | PGAE | Fresno | 2023-12-19 | -3 | No | DEC | 7 | 45279 | 45279.2708
95 | RT | Voltage Support | PGAE | Fresno | 2023-12-19 | 83 | Yes | INC | 3 | 45279.875 | 45280
96 | RT | Voltage Support | PGAE | Fresno | 2023-12-20 | -302 | No | DEC | 1 | 45280.9792 | 45281
97 | RT | Voltage Support | PGAE | Fresno | 2023-12-20 | 83 | No | INC | 8 | 45280 | 45280.3333
98 | RT | Voltage Support | PGAE | Fresno | 2023-12-21 | -302 | No | DEC | 6 | 45281 | 45281.25
99 | RT | Voltage Support | PGAE | Fresno | 2023-12-22 | -385 | No | DEC | 18 | 45282.125 | 45282.875
100 | RT | Voltage Support | PGAE | Fresno | 2023-12-22 | 83 | Yes | INC | 3 | 45282.875 | 45283
101 | RT | Voltage Support | PGAE | Fresno | 2023-12-23 | 83 | Yes | INC | 16 | 45283 | 45283.6667
102 | RT | Voltage Support | PGAE | Fresno | 2023-12-24 | -300 | No | DEC | 1 | 45284.5972 | 45284.625
103 | RT | Voltage Support | PGAE | Fresno | 2023-12-25 | -302 | No | DEC | 10 | 45285.1076 | 45285.5
104 | RT | Voltage Support | PGAE | Fresno | 2023-12-26 | -300 | No | DEC | 4 | 45286.0312 | 45286.1875
105 | RT | Voltage Support | PGAE | Fresno | 2023-12-27 | -385 | No | DEC | 23 | 45287.0729 | 45288
106 | RT | Voltage Support | PGAE | Fresno | 2023-12-27 | 83 | No | INC | 1 | 45287.9688 | 45288
107 | RT | Voltage Support | PGAE | Fresno | 2023-12-28 | 83 | Yes | INC | 24 | 45288 | 45289
108 | RT | Voltage Support | PGAE | Fresno | 2023-12-29 | -302 | No | DEC | 1 | 45289.9688 | 45290
109 | RT | Voltage Support | PGAE | Fresno | 2023-12-29 | 83 | Yes | INC | 7 | 45289 | 45289.2917
110 | RT | Voltage Support | PGAE | Fresno | 2023-12-30 | -302 | No | DEC | 7 | 45290 | 45290.2917
111 | RT | Voltage Support | PGAE | Fresno | 2023-12-31 | -302 | No | DEC | 24 | 45291.0104 | 45292
112 | RT | Voltage Support | PGAE | Humboldt | 2023-12-05 | 30 | No | DEC | 13 | 45265.25 | 45265.7917
113 | RT | Voltage Support | PGAE | Humboldt | 2023-12-05 | 30 | No | INC | 1 | 45265.2292 | 45265.25
114 | RT | Voltage Support | PGAE | Humboldt | 2023-12-19 | 15 - 30 | No | DEC | 20 | 45279.0417 | 45279.875
115 | RT | Voltage Support | PGAE | Humboldt | 2023-12-19 | 15 | No | INC | 1 | 45279.875 | 45279.9167
116 | RT | Voltage Support | PGAE | Humboldt | 2023-12-20 | 30 - 45 | No | DEC | 23 | 45280.0312 | 45280.9583
117 | RT | Voltage Support | PGAE | Humboldt | 2023-12-20 | 45 | No | INC | 1 | 45280.9583 | 45281
118 | RT | Voltage Support | PGAE | Humboldt | 2023-12-21 | 30 - 45 | No | DEC | 17 | 45281.25 | 45281.9583
119 | RT | Voltage Support | PGAE | Humboldt | 2023-12-21 | 30 - 45 | No | INC | 24 | 45281 | 45282
120 | RT | Voltage Support | PGAE | Humboldt | 2023-12-22 | 30 | No | DEC | 6 | 45282.6562 | 45282.875
121 | RT | Voltage Support | PGAE | Humboldt | 2023-12-22 | 30 - 45 | No | INC | 16 | 45282 | 45282.6562
122 | RT | Voltage Support | PGAE | Humboldt | 2023-12-26 | 30 | No | INC | 3 | 45286.9028 | 45287
123 | RT | Voltage Support | PGAE | Humboldt | 2023-12-27 | 15 - 30 | No | DEC | 24 | 45287 | 45288
124 | RT | Voltage Support | PGAE | Humboldt | 2023-12-28 | 15 | No | INC | 24 | 45288 | 45289
125 | RT | Voltage Support | PGAE | Humboldt | 2023-12-29 | 15 | No | INC | 24 | 45289 | 45290
126 | RT | Voltage Support | PGAE | Humboldt | 2023-12-30 | 15 | No | INC | 24 | 45290 | 45291
127 | RT | Voltage Support | PGAE | Humboldt | 2023-12-31 | 15 | No | INC | 22 | 45291 | 45291.9167
128 | RT | Voltage Support | PGAE | Sierra | 2023-12-31 | 20 | No | INC | 7 | 45291.125 | 45291.4167