## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report April 15, 2023
Chart 1: Table of Exceptional Dispatches for Period 01/February/2023 - 28/February/2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Incomplete or Inaccurate Transmission | PGAE | NCNB | 2023-02-24 | 30 - 40 | No | DEC | 7 | 44981.7326 | 44982
2 | RT | Incomplete or Inaccurate Transmission | PGAE | NCNB | 2023-02-25 | 40 | No | DEC | 3 | 44982 | 44982.125
3 | RT | Load Forecast Uncertainty | PGAE | NA | 2023-02-18 | 0 | No | DEC | 1 | 44975.3438 | 44975.3646
4 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-02-01 | 20 | No | INC | 24 | 44958 | 44959
5 | RT | Load Forecast Uncertainty | SCE | NA | 2023-02-18 | 0 | No | DEC | 1 | 44975.3403 | 44975.3611
6 | RT | Market Disruption | PGAE | Bay Area | 2023-02-15 | 0 | No | INC | 2 | 44972.4028 | 44972.4479
7 | RT | Market Disruption | PGAE | Bay Area | 2023-02-16 | 200 | No | INC | 2 | 44973.7396 | 44973.8021
8 | RT | Market Disruption | PGAE | Bay Area | 2023-02-20 | 380 | No | INC | 1 | 44977.9167 | 44977.9583
9 | RT | Market Disruption | PGAE | Fresno | 2023-02-15 | 0 | No | INC | 2 | 44972.3819 | 44972.4271
10 | RT | Market Disruption | PGAE | Fresno | 2023-02-16 | 350 - 400 | No | INC | 3 | 44973.7083 | 44973.8125
11 | RT | Market Disruption | PGAE | Fresno | 2023-02-20 | 83 - 403 | No | INC | 2 | 44977.8333 | 44977.9167
12 | RT | Market Disruption | PGAE | NA | 2023-02-15 | 0 | No | DEC | 1 | 44972.3819 | 44972.4236
13 | RT | Market Disruption | PGAE | NA | 2023-02-16 | 147 - 300 | No | DEC | 3 | 44973.7326 | 44973.8333
14 | RT | Market Disruption | PGAE | NA | 2023-02-20 | 139 | No | INC | 2 | 44977.8438 | 44977.9167
15 | RT | Market Disruption | SCE | LA Basin | 2023-02-15 | 0 | No | INC | 2 | 44972.3785 | 44972.4375
16 | RT | Market Disruption | SCE | LA Basin | 2023-02-16 | 0 - 210 | No | DEC | 2 | 44973.7361 | 44973.7917
17 | RT | Market Disruption | SCE | LA Basin | 2023-02-20 | 0 | No | INC | 1 | 44977.8924 | 44977.9271
18 | RT | Market Disruption | SCE | NA | 2023-02-16 | 0 | No | DEC | 1 | 44973.7639 | 44973.7743
19 | RT | Market Disruption | SDGE | San Diego-IV | 2023-02-16 | 96 - 300 | No | DEC | 1 | 44973.7569 | 44973.7917
20 | RT | Market Disruption | SDGE | San Diego-IV | 2023-02-16 | 96 - 517 | Yes | INC | 2 | 44973.7292 | 44973.8125
21 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-02-21 | 0 | No | DEC | 3 | 44978.5312 | 44978.625
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-01 | 15 - 30 | No | DEC | 24 | 44958 | 44959
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-01 | 15 - 30 | No | INC | 16 | 44958.3333 | 44959
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-02 | 15 | No | DEC | 21 | 44959 | 44959.875
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-02 | 15 - 30 | No | INC | 24 | 44959 | 44960
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-03 | 15 - 30 | No | DEC | 24 | 44960 | 44961
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-03 | 30 | No | INC | 1 | 44960.9583 | 44961
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-04 | 15 | No | DEC | 24 | 44961 | 44962
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-04 | 15 - 30 | No | INC | 24 | 44961 | 44962
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-05 | 15 | No | DEC | 8 | 44962 | 44962.3021
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-05 | 15 - 30 | No | INC | 24 | 44962 | 44963
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-06 | 15 - 30 | No | DEC | 17 | 44963.3021 | 44964
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-06 | 15 - 30 | No | INC | 16 | 44963 | 44963.6667
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-07 | 15 | No | DEC | 24 | 44964 | 44965
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-07 | 30 | No | INC | 24 | 44964 | 44965
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-08 | 15 | No | DEC | 8 | 44965 | 44965.309
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-08 | 30 | No | INC | 24 | 44965 | 44966
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-09 | 30 | No | DEC | 4 | 44966.6667 | 44966.8333
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-09 | 30 | No | INC | 16 | 44966 | 44966.6667
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-13 | 14 - 45 | No | DEC | 16 | 44970.3229 | 44970.9583
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-13 | 14 - 45 | No | INC | 14 | 44970.4271 | 44971
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-14 | 15 - 30 | No | INC | 24 | 44971 | 44972
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-15 | 15 - 30 | No | DEC | 7 | 44972.6667 | 44972.9583
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-15 | 15 - 30 | No | INC | 24 | 44972 | 44973
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-16 | 15 - 30 | No | DEC | 20 | 44973.125 | 44973.9583
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-16 | 15 - 30 | No | INC | 24 | 44973 | 44974
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-17 | 30 | No | DEC | 10 | 44974 | 44974.4167
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-17 | 30 | No | INC | 14 | 44974.4167 | 44975
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-18 | 15 - 30 | No | INC | 24 | 44975 | 44976
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-19 | 15 | No | DEC | 6 | 44976.7083 | 44976.9583
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-19 | 15 - 30 | No | INC | 24 | 44976 | 44977
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-20 | 15 - 30 | No | DEC | 7 | 44977.6667 | 44977.9583
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-20 | 15 - 30 | No | INC | 24 | 44977 | 44978
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-21 | 15 - 30 | No | INC | 24 | 44978 | 44979
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-22 | 15 - 30 | No | DEC | 6 | 44979.6667 | 44979.9167
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-22 | 15 - 30 | No | INC | 24 | 44979 | 44980
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-23 | 15 - 30 | No | DEC | 18 | 44980.1667 | 44980.9167
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-23 | 15 - 30 | No | INC | 24 | 44980 | 44981
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-24 | 30 | No | DEC | 5 | 44981.625 | 44981.8333
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-24 | 15 - 30 | No | INC | 24 | 44981 | 44982
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-25 | 15 - 30 | No | DEC | 12 | 44982 | 44982.5
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-25 | 30 | No | INC | 12 | 44982.5 | 44983
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-26 | 30 | No | DEC | 15 | 44983.3333 | 44983.9583
64 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-26 | 30 | No | INC | 24 | 44983 | 44984
65 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-27 | 45 - 60 | No | DEC | 6 | 44984.7083 | 44984.9583
66 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-27 | 30 - 60 | No | INC | 24 | 44984 | 44985
67 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-28 | 30 - 60 | No | DEC | 18 | 44985.125 | 44985.875
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-02-28 | 45 | No | INC | 24 | 44985 | 44986
69 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-02-15 | 65 - 70 | No | DEC | 7 | 44972.3056 | 44972.5625
70 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-02-23 | 50 - 65 | No | DEC | 16 | 44980.3507 | 44981
71 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-02-24 | 0 - 50 | No | DEC | 19 | 44981 | 44981.7743
72 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-01 | 20 | No | INC | 11 | 44958.3403 | 44958.7917
73 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-02 | 20 | No | DEC | 4 | 44959.6667 | 44959.8333
74 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-02 | 20 | Yes | INC | 9 | 44959.2917 | 44959.6667
75 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-03 | 20 | No | DEC | 3 | 44960.7083 | 44960.8333
76 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-03 | 20 | No | INC | 11 | 44960.5729 | 44961
77 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-04 | 20 | No | INC | 7 | 44961 | 44961.2917
78 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-07 | 20 | No | DEC | 1 | 44964.875 | 44964.9167
79 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-07 | 20 | No | INC | 5 | 44964.8021 | 44965
80 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-08 | 20 | No | DEC | 15 | 44965.2917 | 44965.9167
81 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-08 | 20 - 33 | No | INC | 24 | 44965 | 44966
82 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-09 | 20 | No | DEC | 14 | 44966.25 | 44966.8333
83 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-09 | 20 | No | INC | 17 | 44966 | 44966.7083
84 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-10 | 20 | No | DEC | 13 | 44967.2917 | 44967.8333
85 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-10 | 20 | No | INC | 9 | 44967.3333 | 44967.7083
86 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-13 | 20 | No | INC | 4 | 44970.8333 | 44971
87 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-14 | 20 | No | DEC | 13 | 44971.2917 | 44971.8333
88 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-14 | 20 | No | INC | 20 | 44971 | 44971.8333
89 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-17 | 30 | No | DEC | 12 | 44974.3333 | 44974.8333
90 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-17 | 30 | No | INC | 16 | 44974.3333 | 44975
91 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-18 | 30 | No | DEC | 3 | 44975.7083 | 44975.8333
92 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-18 | 30 | No | INC | 20 | 44975 | 44975.8333
93 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-19 | 30 | No | INC | 13 | 44976.2917 | 44976.8333
94 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-20 | 20 | No | INC | 13 | 44977.2917 | 44977.8333
95 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-21 | 20 | No | INC | 17 | 44978.2917 | 44979
96 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-02-22 | 20 | No | INC | 6 | 44979 | 44979.25
97 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-02-10 | 34 - 50 | No | DEC | 12 | 44967.2396 | 44967.7396
98 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-02-10 | 34 - 50 | No | INC | 9 | 44967.25 | 44967.625
99 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-02-12 | 32 | No | DEC | 1 | 44969.625 | 44969.6667
100 | RT | Planned Transmission Outage | SCE | NA | 2023-02-16 | 240 | No | DEC | 5 | 44973.6215 | 44973.8229
101 | RT | Planned Transmission Outage | SCE | NA | 2023-02-16 | 300 | No | INC | 1 | 44973.6181 | 44973.6215
102 | RT | Planned Transmission Outage | SCE | NA | 2023-02-18 | 360 - 409 | No | DEC | 16 | 44975.3646 | 44976
103 | RT | Planned Transmission Outage | SCE | NA | 2023-02-18 | 390 - 409 | No | INC | 8 | 44975.375 | 44975.7083
104 | RT | Planned Transmission Outage | SCE | NA | 2023-02-19 | 360 - 390 | No | DEC | 7 | 44976 | 44976.2917
105 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-02-09 | 21 | No | INC | 6 | 44966.2951 | 44966.5312
106 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-02-10 | 21 | No | INC | 4 | 44967.2917 | 44967.4375
107 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-02-21 | 50 - 100 | No | INC | 4 | 44978.3507 | 44978.5
108 | RT | Pump Management | PGAE | Fresno | 2023-02-04 | -330 | No | DEC | 2 | 44961.9271 | 44962
109 | RT | Pump Management | PGAE | Fresno | 2023-02-05 | -330 | No | DEC | 7 | 44962 | 44962.2535
110 | RT | Ramping Capacity | PGAE | Fresno | 2023-02-28 | 400 | No | INC | 1 | 44985.6493 | 44985.6875
111 | RT | Reliability Assessment | PGAE | Fresno | 2023-02-23 | 200 | No | DEC | 1 | 44980.6771 | 44980.6875
112 | RT | Reliability Assessment | PGAE | Fresno | 2023-02-23 | 200 - 400 | No | INC | 1 | 44980.6562 | 44980.6771
113 | RT | Reliability Assessment | PGAE | Fresno | 2023-02-24 | 83 - 400 | No | INC | 1 | 44981.4618 | 44981.5
114 | RT | Reliability Assessment | PGAE | Fresno | 2023-02-28 | 200 | No | INC | 1 | 44985.6701 | 44985.7083
115 | RT | Reliability Assessment | PGAE | NCNB | 2023-02-14 | 62 - 68 | No | DEC | 8 | 44971.3924 | 44971.6979
116 | RT | Reliability Assessment | PGAE | NA | 2023-02-18 | 17 | No | DEC | 5 | 44975.3924 | 44975.5625
117 | RT | Reliability Assessment | SCE | LA Basin | 2023-02-24 | 240 | No | INC | 1 | 44981.2674 | 44981.2917
118 | RT | Reliability Assessment | SCE | NA | 2023-02-04 | 0 | No | DEC | 1 | 44961.3854 | 44961.4062
119 | RT | Reliability Assessment | SCE | NA | 2023-02-16 | 240 - 411 | No | DEC | 20 | 44973.191 | 44974
120 | RT | Reliability Assessment | SCE | NA | 2023-02-16 | 395 | No | INC | 2 | 44973.4167 | 44973.5
121 | RT | Reliability Assessment | SCE | NA | 2023-02-17 | 380 | No | DEC | 2 | 44974.0069 | 44974.0625
122 | RT | Reliability Assessment | SCE | NA | 2023-02-21 | 375 | No | INC | 5 | 44978.8125 | 44979
123 | RT | Reliability Assessment | SCE | NA | 2023-02-22 | 290 - 320 | No | DEC | 6 | 44979.0729 | 44979.2917
124 | RT | Reliability Assessment | SCE | NA | 2023-02-22 | 275 - 375 | No | INC | 9 | 44979 | 44979.3438
125 | RT | Reliability Assessment | SCE | NA | 2023-02-24 | 240 - 330 | No | DEC | 20 | 44981.1979 | 44982
126 | RT | Reliability Assessment | SCE | NA | 2023-02-25 | 240 | No | INC | 5 | 44982 | 44982.2083
127 | RT | Reliability Assessment | SCE | NA | 2023-02-26 | 300 | No | DEC | 24 | 44983.0069 | 44984
128 | RT | Reliability Assessment | SCE | NA | 2023-02-26 | 300 | No | INC | 4 | 44983.4167 | 44983.5833
129 | RT | Reliability Assessment | SCE | NA | 2023-02-27 | 300 | No | DEC | 8 | 44984 | 44984.3333
130 | RT | Software Limitation | PGAE | Bay Area | 2023-02-16 | 0 | No | INC | 3 | 44973.8507 | 44973.941
131 | RT | Software Limitation | PGAE | Fresno | 2023-02-20 | 118 | No | INC | 1 | 44977.875 | 44977.8854
132 | RT | Software Limitation | PGAE | Fresno | 2023-02-25 | 0 | No | INC | 2 | 44982.2917 | 44982.3646
133 | RT | Software Limitation | SCE | Big Creek-Ventura | 2023-02-02 | 0 | No | INC | 1 | 44959.7917 | 44959.8333
134 | RT | Software Limitation | SCE | Big Creek-Ventura | 2023-02-03 | 38.77 - 47.68 | No | INC | 1 | 44960.3021 | 44960.3403
135 | RT | Software Limitation | SCE | LA Basin | 2023-02-03 | 20.05 - 48.9 | No | INC | 1 | 44960.3021 | 44960.3403
136 | RT | Software Limitation | SCE | LA Basin | 2023-02-06 | 0 | No | INC | 2 | 44963.9167 | 44964
137 | RT | Software Limitation | SCE | LA Basin | 2023-02-07 | 0 | No | INC | 15 | 44964 | 44964.5868
138 | RT | Software Limitation | SCE | NA | 2023-02-18 | 411 | No | DEC | 2 | 44975.316 | 44975.375
139 | RT | Software Limitation | SCE | NA | 2023-02-18 | 411 | No | INC | 1 | 44975.375 | 44975.3854
140 | RT | Software Limitation | SDGE | San Diego-IV | 2023-02-20 | 96 | No | INC | 2 | 44977.8542 | 44977.9271
141 | RT | Unit Testing | Intertie | NA | 2023-02-09 | 85 | No | INC | 4 | 44966.5243 | 44966.6667
142 | RT | Unit Testing | PGAE | Bay Area | 2023-02-01 | 28 | No | INC | 1 | 44958.1875 | 44958.2188
143 | RT | Unit Testing | PGAE | Bay Area | 2023-02-07 | 175 | No | DEC | 1 | 44964.3299 | 44964.3333
144 | RT | Unit Testing | PGAE | Bay Area | 2023-02-07 | 175 | No | INC | 8 | 44964.3333 | 44964.6667
145 | RT | Unit Testing | PGAE | Bay Area | 2023-02-13 | 250 - 580 | No | INC | 5 | 44970.5417 | 44970.75
146 | RT | Unit Testing | PGAE | Bay Area | 2023-02-16 | 59.98 | No | DEC | 1 | 44973.6146 | 44973.6215
147 | RT | Unit Testing | PGAE | Fresno | 2023-02-15 | 407 | No | INC | 1 | 44972.9722 | 44973
148 | RT | Unit Testing | PGAE | Fresno | 2023-02-22 | 20.7 | No | INC | 1 | 44979.0382 | 44979.0694
149 | RT | Unit Testing | PGAE | Sierra | 2023-02-07 | 151 | No | INC | 1 | 44964.0035 | 44964.0382
150 | RT | Unit Testing | SCE | Fresno | 2023-02-22 | 13.49 | No | INC | 1 | 44979.0694 | 44979.1007
151 | RT | Unit Testing | SCE | LA Basin | 2023-02-22 | 13.49 - 19 | No | INC | 1 | 44979.059 | 44979.1007
152 | RT | Unit Testing | SCE | San Diego-IV | 2023-02-28 | 3 | No | INC | 1 | 44985.8958 | 44985.9236
153 | RT | Unit Testing | SCE | NA | 2023-02-01 | 15 | No | INC | 1 | 44958.809 | 44958.8368
154 | RT | Unit Testing | SCE | NA | 2023-02-16 | 36.9 | No | INC | 1 | 44973.2222 | 44973.2535
155 | RT | Unit Testing | SDGE | San Diego-IV | 2023-02-16 | 85 | No | INC | 1 | 44973.2188 | 44973.25
156 | RT | Unplanned Outage | PGAE | Fresno | 2023-02-15 | 400 | No | INC | 1 | 44972.7014 | 44972.7292
157 | RT | Unplanned Outage | SDGE | San Diego-IV | 2023-02-03 | 416 | No | INC | 1 | 44960.3056 | 44960.3229
158 | RT | Voltage Support | PGAE | Bay Area | 2023-02-01 | 140 | No | INC | 5 | 44958.4167 | 44958.625
159 | RT | Voltage Support | PGAE | Bay Area | 2023-02-02 | 142 | No | INC | 6 | 44959.375 | 44959.625
160 | RT | Voltage Support | PGAE | Fresno | 2023-02-01 | -330 | No | DEC | 5 | 44958.0312 | 44958.2292
161 | RT | Voltage Support | PGAE | Fresno | 2023-02-02 | -330 | No | DEC | 24 | 44959.0243 | 44960
162 | RT | Voltage Support | PGAE | Fresno | 2023-02-03 | -330 | No | DEC | 24 | 44960 | 44961
163 | RT | Voltage Support | PGAE | Fresno | 2023-02-04 | -330 | No | DEC | 24 | 44961 | 44962
164 | RT | Voltage Support | PGAE | Fresno | 2023-02-04 | -413 | No | INC | 13 | 44961.3854 | 44961.9062
165 | RT | Voltage Support | PGAE | Fresno | 2023-02-05 | -330 | No | DEC | 16 | 44962 | 44962.6667
166 | RT | Voltage Support | PGAE | Fresno | 2023-02-05 | 83 | No | INC | 2 | 44962.7188 | 44962.7917
167 | RT | Voltage Support | PGAE | Fresno | 2023-02-06 | -330 | No | DEC | 1 | 44963.9583 | 44964
168 | RT | Voltage Support | PGAE | Fresno | 2023-02-07 | -330 | No | DEC | 24 | 44964 | 44965
169 | RT | Voltage Support | PGAE | Fresno | 2023-02-08 | -330 | No | DEC | 24 | 44965 | 44966
170 | RT | Voltage Support | PGAE | Fresno | 2023-02-09 | -330 | No | DEC | 24 | 44966 | 44967
171 | RT | Voltage Support | PGAE | Fresno | 2023-02-10 | -330 | No | DEC | 6 | 44967 | 44967.2292
172 | RT | Voltage Support | PGAE | Fresno | 2023-02-11 | -330 | No | DEC | 24 | 44968.0035 | 44969
173 | RT | Voltage Support | PGAE | Fresno | 2023-02-12 | -330 | No | DEC | 24 | 44969 | 44970
174 | RT | Voltage Support | PGAE | Fresno | 2023-02-13 | -330 | No | DEC | 5 | 44970 | 44970.1979
175 | RT | Voltage Support | PGAE | Fresno | 2023-02-14 | -330 | No | DEC | 5 | 44971.0938 | 44971.2917
176 | RT | Voltage Support | PGAE | Fresno | 2023-02-18 | -330 | No | DEC | 4 | 44975.8611 | 44976
177 | RT | Voltage Support | PGAE | Fresno | 2023-02-19 | -25 | No | DEC | 24 | 44976 | 44977
178 | RT | Voltage Support | PGAE | Fresno | 2023-02-20 | -305 | No | DEC | 16 | 44977 | 44977.6667
179 | RT | Voltage Support | PGAE | Fresno | 2023-02-21 | -305 | No | DEC | 24 | 44978.0139 | 44979
180 | RT | Voltage Support | PGAE | Fresno | 2023-02-22 | -305 | No | DEC | 5 | 44979 | 44979.1979
181 | RT | Voltage Support | PGAE | Fresno | 2023-02-23 | -305 | No | DEC | 4 | 44980.0312 | 44980.1667
182 | RT | Voltage Support | PGAE | Fresno | 2023-02-24 | -305 | No | DEC | 2 | 44981.1146 | 44981.1667
183 | RT | Voltage Support | PGAE | Fresno | 2023-02-25 | -305 | No | DEC | 16 | 44982.0312 | 44982.6667
184 | RT | Voltage Support | PGAE | Fresno | 2023-02-26 | -305 | No | DEC | 17 | 44983 | 44983.7083
185 | RT | Voltage Support | PGAE | Fresno | 2023-02-27 | -305 | No | DEC | 24 | 44984 | 44985
186 | RT | Voltage Support | PGAE | Fresno | 2023-02-28 | -305 | No | DEC | 5 | 44985 | 44985.2083
187 | RT | Voltage Support | PGAE | Humboldt | 2023-02-09 | 15 | No | DEC | 3 | 44966.8924 | 44967
188 | RT | Voltage Support | PGAE | Humboldt | 2023-02-09 | 15 | No | INC | 3 | 44966.8924 | 44967
189 | RT | Voltage Support | PGAE | Humboldt | 2023-02-10 | 15 - 30 | No | DEC | 20 | 44967 | 44967.8333
190 | RT | Voltage Support | PGAE | Humboldt | 2023-02-10 | 15 - 30 | No | INC | 16 | 44967 | 44967.6667
191 | RT | Voltage Support | PGAE | Humboldt | 2023-02-11 | 15 | No | DEC | 24 | 44968.0382 | 44969
192 | RT | Voltage Support | PGAE | Humboldt | 2023-02-11 | 15 - 30 | No | INC | 24 | 44968.0382 | 44969
193 | RT | Voltage Support | PGAE | Humboldt | 2023-02-12 | 15 | No | DEC | 24 | 44969 | 44970
194 | RT | Voltage Support | PGAE | Humboldt | 2023-02-12 | 15 | No | INC | 24 | 44969 | 44970
195 | RT | Voltage Support | PGAE | Humboldt | 2023-02-13 | 15 - 30 | No | DEC | 9 | 44970 | 44970.375
196 | RT | Voltage Support | PGAE | Humboldt | 2023-02-13 | 15 - 30 | No | INC | 11 | 44970 | 44970.4271
197 | RT | Voltage Support | PGAE | Kern | 2023-02-03 | 32 | Yes | INC | 3 | 44960.8854 | 44961
198 | RT | Voltage Support | PGAE | Kern | 2023-02-04 | 32 | No | INC | 24 | 44961 | 44962
199 | RT | Voltage Support | PGAE | Kern | 2023-02-05 | 32 | No | INC | 24 | 44962 | 44963
200 | RT | Voltage Support | PGAE | Kern | 2023-02-06 | 32 | Yes | INC | 24 | 44963 | 44964
201 | RT | Voltage Support | PGAE | Kern | 2023-02-07 | 32 | No | INC | 7 | 44964 | 44964.2917
202 | RT | Voltage Support | PGAE | Kern | 2023-02-12 | 32 | No | INC | 23 | 44969.059 | 44970
203 | RT | Voltage Support | PGAE | Kern | 2023-02-13 | 32 | Yes | INC | 7 | 44970 | 44970.2917
204 | RT | Voltage Support | PGAE | Kern | 2023-02-14 | 32 | No | INC | 7 | 44971.0139 | 44971.2917
205 | RT | Voltage Support | PGAE | Kern | 2023-02-19 | 32 | No | INC | 21 | 44976.1319 | 44977
206 | RT | Voltage Support | PGAE | Kern | 2023-02-20 | 32 | No | INC | 24 | 44977 | 44978
207 | RT | Voltage Support | PGAE | Kern | 2023-02-21 | 32 | No | INC | 24 | 44978 | 44979
208 | RT | Voltage Support | PGAE | Kern | 2023-02-22 | 32 | Yes | INC | 7 | 44979 | 44979.2917
209 | RT | Voltage Support | PGAE | Sierra | 2023-02-04 | 20 | No | DEC | 1 | 44961.75 | 44961.7917
210 | RT | Voltage Support | PGAE | Sierra | 2023-02-04 | 20 | No | INC | 22 | 44961.0833 | 44962
211 | RT | Voltage Support | PGAE | Sierra | 2023-02-05 | 20 | No | INC | 24 | 44962 | 44963
212 | RT | Voltage Support | PGAE | Sierra | 2023-02-06 | 20 | No | DEC | 13 | 44963.2917 | 44963.8333
213 | RT | Voltage Support | PGAE | Sierra | 2023-02-06 | 2 - 20 | No | INC | 24 | 44963 | 44964
214 | RT | Voltage Support | PGAE | Sierra | 2023-02-07 | 20 | No | DEC | 12 | 44964.2917 | 44964.7917
215 | RT | Voltage Support | PGAE | Sierra | 2023-02-07 | 20 | No | INC | 24 | 44964 | 44965
216 | RT | Voltage Support | PGAE | Sierra | 2023-02-08 | 20 | No | INC | 24 | 44965 | 44966
217 | RT | Voltage Support | PGAE | Sierra | 2023-02-09 | 20 | No | INC | 24 | 44966 | 44967
218 | RT | Voltage Support | PGAE | Sierra | 2023-02-10 | 20 | No | INC | 24 | 44967 | 44968
219 | RT | Voltage Support | PGAE | Sierra | 2023-02-11 | 20 | No | INC | 24 | 44968 | 44969
220 | RT | Voltage Support | PGAE | Sierra | 2023-02-12 | 20 | No | DEC | 3 | 44969.7083 | 44969.8333
221 | RT | Voltage Support | PGAE | Sierra | 2023-02-12 | 20 | No | INC | 24 | 44969 | 44970
222 | RT | Voltage Support | PGAE | Sierra | 2023-02-13 | 20 | No | DEC | 13 | 44970.2917 | 44970.8333
223 | RT | Voltage Support | PGAE | Sierra | 2023-02-13 | 20 | No | INC | 20 | 44970 | 44970.8333
224 | RT | Voltage Support | PGAE | Sierra | 2023-02-14 | 20 | No | INC | 4 | 44971.8333 | 44972
225 | RT | Voltage Support | PGAE | Sierra | 2023-02-15 | 20 | No | DEC | 16 | 44972.2917 | 44972.9583
226 | RT | Voltage Support | PGAE | Sierra | 2023-02-15 | 20 | No | INC | 24 | 44972 | 44973
227 | RT | Voltage Support | PGAE | Sierra | 2023-02-16 | 20 | No | DEC | 17 | 44973.2083 | 44973.9167
228 | RT | Voltage Support | PGAE | Sierra | 2023-02-16 | 20 | No | INC | 24 | 44973 | 44974
229 | RT | Voltage Support | PGAE | Sierra | 2023-02-17 | 20 | No | DEC | 1 | 44974.2917 | 44974.3333
230 | RT | Voltage Support | PGAE | Sierra | 2023-02-17 | 20 | No | INC | 8 | 44974 | 44974.3333
231 | RT | Voltage Support | PGAE | Sierra | 2023-02-18 | 20 | No | INC | 4 | 44975.8333 | 44976
232 | RT | Voltage Support | PGAE | Sierra | 2023-02-19 | 20 | No | INC | 24 | 44976 | 44977
233 | RT | Voltage Support | PGAE | Sierra | 2023-02-20 | 20 | No | INC | 24 | 44977 | 44978
234 | RT | Voltage Support | PGAE | Sierra | 2023-02-21 | 20 | No | INC | 24 | 44978 | 44979
235 | RT | Voltage Support | PGAE | Sierra | 2023-02-22 | 20 | No | INC | 19 | 44979 | 44979.7917
236 | RT | Voltage Support | PGAE | Sierra | 2023-02-23 | 20 | No | DEC | 1 | 44980.2083 | 44980.25
237 | RT | Voltage Support | PGAE | Sierra | 2023-02-23 | 20 | No | INC | 5 | 44980.1042 | 44980.2917
238 | RT | Voltage Support | PGAE | Sierra | 2023-02-27 | 20 | No | INC | 1 | 44984.9931 | 44985
239 | RT | Voltage Support | PGAE | Sierra | 2023-02-28 | 20 | Yes | INC | 7 | 44985 | 44985.2917
240 | RT | Voltage Support | PGAE | NA | 2023-02-25 | 49 | No | DEC | 6 | 44982.7083 | 44982.9583
241 | RT | Voltage Support | PGAE | NA | 2023-02-25 | 49 | No | INC | 20 | 44982.184 | 44983
242 | RT | Voltage Support | PGAE | NA | 2023-02-26 | 49 | No | INC | 20 | 44983 | 44983.8333