## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report March 15, 2023
Chart 1: Table of Exceptional Dispatches for Period 01/January/2023 - 31/January/2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | SCE | LA Basin | 2023-01-28 | 132.76 | No | INC | 2 | 44954.6042 | 44954.6667
2 | RT | Bridging Schedules | SCE | NA | 2023-01-10 | 125 | No | INC | 2 | 44936.9167 | 44937
3 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-11 | 125 | No | DEC | 8 | 44937.5833 | 44937.9167
4 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-11 | 125 | No | INC | 15 | 44937.4028 | 44938
5 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-12 | 125 | No | DEC | 24 | 44938 | 44939
6 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-12 | 125 | No | INC | 3 | 44938.4583 | 44938.5833
7 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-13 | 125 | No | DEC | 24 | 44939 | 44940
8 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-14 | 125 | No | DEC | 24 | 44940 | 44941
9 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-15 | 125 | No | DEC | 24 | 44941 | 44942
10 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-15 | 125 | No | INC | 5 | 44941.375 | 44941.5833
11 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-16 | 125 | No | DEC | 24 | 44942 | 44942.9722
12 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-16 | 125 | No | INC | 5 | 44942.4167 | 44942.625
13 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-17 | 125 | No | DEC | 24 | 44943 | 44944
14 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-17 | 125 | No | INC | 6 | 44943.375 | 44943.625
15 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-18 | 125 | No | DEC | 24 | 44944 | 44945
16 | RT | Conditions beyond the control of the CAISO | SCE | NA | 2023-01-18 | 125 | No | INC | 5 | 44944.375 | 44944.5833
17 | RT | Fast Start Unit Management | PGAE | Fresno | 2023-01-05 | 0 | No | INC | 1 | 44931.0972 | 44931.1389
18 | RT | Fast Start Unit Management | PGAE | Fresno | 2023-01-23 | 0 | No | INC | 1 | 44949.0208 | 44949.0417
19 | RT | Fast Start Unit Management | PGAE | Fresno | 2023-01-24 | 0 | No | INC | 1 | 44950.2049 | 44950.2465
20 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2023-01-30 | 54 | No | INC | 11 | 44956.5417 | 44957
21 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-01-01 | 150 - 194 | No | INC | 4 | 44927.6979 | 44927.8333
22 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-01-30 | 20 - 98 | No | INC | 12 | 44956.5 | 44957
23 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-01-31 | 20 | No | INC | 24 | 44957 | 44958
24 | RT | Load Forecast Uncertainty | SCE | NA | 2023-01-19 | 125 | No | DEC | 24 | 44945 | 44946
25 | RT | Load Forecast Uncertainty | SCE | NA | 2023-01-19 | 125 | No | INC | 5 | 44945.4167 | 44945.625
26 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-01-28 | -330 | No | DEC | 2 | 44954.9167 | 44955
27 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-01-29 | -330 | No | DEC | 7 | 44955 | 44955.2708
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-26 | 14 - 15 | No | DEC | 14 | 44952.4167 | 44953
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-27 | 15 | No | DEC | 22 | 44953 | 44953.9167
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-27 | 15 - 30 | No | INC | 17 | 44953.2951 | 44954
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-28 | 15 - 30 | No | INC | 24 | 44954 | 44955
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-29 | 15 | No | DEC | 4 | 44955.8715 | 44956
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-29 | 30 - 60 | No | INC | 24 | 44955 | 44956
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-30 | 15 - 60 | No | DEC | 24 | 44956 | 44957
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-30 | 15 - 60 | No | INC | 16 | 44956 | 44956.6667
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-01-31 | 15 - 30 | No | DEC | 24 | 44957 | 44958
37 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-17 | 50 | No | INC | 1 | 44943.3333 | 44943.3438
38 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-20 | 75 | No | INC | 4 | 44946.3472 | 44946.5
39 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-24 | 30 | No | DEC | 4 | 44950.7917 | 44950.9583
40 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-30 | 70 - 72 | No | DEC | 17 | 44956.3021 | 44957
41 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-31 | 70 - 72 | No | DEC | 19 | 44957 | 44957.7917
42 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-01-31 | 70 | No | INC | 16 | 44957 | 44957.6667
43 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-17 | 20 | No | DEC | 11 | 44943.375 | 44943.8333
44 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-17 | 20 | No | INC | 9 | 44943.3299 | 44943.6667
45 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-18 | 20 | No | DEC | 4 | 44944.6667 | 44944.8333
46 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-18 | 20 - 42 | No | INC | 8 | 44944.3646 | 44944.6667
47 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-23 | 20 | No | DEC | 8 | 44949.6667 | 44950
48 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-23 | 20 | No | INC | 8 | 44949.3507 | 44949.6667
49 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-24 | 20 | No | DEC | 23 | 44950 | 44950.9583
50 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-24 | 20 | No | INC | 16 | 44950.3542 | 44951
51 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-25 | 20 | No | DEC | 17 | 44951.2083 | 44951.9167
52 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-25 | 20 | No | INC | 24 | 44951 | 44952
53 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-26 | 20 | No | INC | 24 | 44952 | 44953
54 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-27 | 20 | No | INC | 10 | 44953 | 44953.4167
55 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-30 | 0 | No | DEC | 8 | 44956.6979 | 44957
56 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-30 | 42 | No | INC | 8 | 44956.3715 | 44956.6979
57 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-31 | 0 - 20 | No | DEC | 19 | 44957 | 44957.7917
58 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-01-31 | 0 - 20 | No | INC | 10 | 44957.25 | 44957.6667
59 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-01-14 | 37 | No | INC | 1 | 44940.3021 | 44940.3333
60 | RT | Pump Management | PGAE | Fresno | 2023-01-02 | 0 | No | INC | 1 | 44928.9167 | 44928.9583
61 | RT | Ramping Capacity | PGAE | Fresno | 2023-01-24 | 0 | No | INC | 3 | 44950.2049 | 44950.3299
62 | RT | Ramping Capacity | SCE | LA Basin | 2023-01-04 | 194 | No | INC | 18 | 44930.1667 | 44930.9167
63 | RT | Ramping Capacity | SCE | LA Basin | 2023-01-05 | 190 - 194 | No | INC | 16 | 44931.2708 | 44931.9167
64 | RT | Reliability Assessment | PGAE | Fresno | 2023-01-10 | 83 | No | INC | 2 | 44936.441 | 44936.5
65 | RT | Reliability Assessment | PGAE | Fresno | 2023-01-26 | 23 | No | INC | 1 | 44952.7396 | 44952.7708
66 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-01 | 15 | No | DEC | 24 | 44927 | 44928
67 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-01 | 15 | No | INC | 24 | 44927 | 44928
68 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-02 | 15 | No | DEC | 24 | 44928 | 44929
69 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-02 | 15 | No | INC | 15 | 44928 | 44928.625
70 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-03 | 15 | No | DEC | 24 | 44929 | 44930
71 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-04 | 15 - 45 | No | DEC | 23 | 44930 | 44930.9583
72 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-04 | 15 - 56 | No | INC | 24 | 44930 | 44931
73 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-05 | 30 - 60 | No | DEC | 19 | 44931.1667 | 44931.9583
74 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-05 | 30 - 56 | No | INC | 24 | 44931 | 44932
75 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-06 | 45 | No | DEC | 10 | 44932.5833 | 44933
76 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-06 | 30 - 45 | No | INC | 24 | 44932 | 44933
77 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-07 | 30 - 45 | No | INC | 24 | 44933 | 44934
78 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-08 | 30 - 45 | No | INC | 24 | 44934 | 44935
79 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-09 | 30 - 45 | No | DEC | 15 | 44935.25 | 44935.875
80 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-09 | 30 - 45 | No | INC | 24 | 44935 | 44936
81 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-10 | 30 - 60 | No | INC | 24 | 44936 | 44937
82 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-11 | 30 - 45 | No | INC | 24 | 44937 | 44938
83 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-12 | 45 | No | DEC | 1 | 44938.7083 | 44938.75
84 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-12 | 30 - 45 | No | INC | 24 | 44938 | 44939
85 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-13 | 30 - 45 | No | INC | 24 | 44939 | 44940
86 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-14 | 30 - 45 | No | INC | 24 | 44940 | 44941
87 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-15 | 30 - 45 | No | INC | 24 | 44941 | 44942
88 | RT | Reliability Assessment | PGAE | Humboldt | 2023-01-16 | 30 - 45 | No | INC | 19 | 44942 | 44942.7708
89 | RT | Reliability Assessment | PGAE | Sierra | 2023-01-05 | 44 - 48.9 | No | DEC | 6 | 44931.7778 | 44932
90 | RT | Reliability Assessment | PGAE | Sierra | 2023-01-06 | 43 - 44 | No | INC | 18 | 44932 | 44932.7292
91 | RT | Reliability Assessment | SCE | NA | 2023-01-04 | 125 | No | INC | 16 | 44930.3333 | 44931
92 | RT | Reliability Assessment | SCE | NA | 2023-01-05 | 125 | No | DEC | 24 | 44931 | 44932
93 | RT | Reliability Assessment | SCE | NA | 2023-01-06 | 125 | No | DEC | 24 | 44932 | 44933
94 | RT | Reliability Assessment | SCE | NA | 2023-01-06 | 125 | No | INC | 6 | 44932.375 | 44932.625
95 | RT | Reliability Assessment | SCE | NA | 2023-01-07 | 125 | No | DEC | 12 | 44933.0035 | 44933.5
96 | RT | Reliability Assessment | SCE | NA | 2023-01-08 | 0 | No | DEC | 1 | 44934.5729 | 44934.5903
97 | RT | Reliability Assessment | SCE | NA | 2023-01-09 | 10 | No | INC | 1 | 44935.6736 | 44935.6979
98 | RT | Reliability Assessment | SCE | NA | 2023-01-11 | 0 - 125 | No | DEC | 14 | 44937.25 | 44937.8333
99 | RT | Reliability Assessment | SCE | NA | 2023-01-11 | 0 - 125 | No | INC | 23 | 44937 | 44937.9375
100 | RT | Reliability Assessment | SCE | NA | 2023-01-22 | 375 - 440 | No | DEC | 5 | 44948.8125 | 44949
101 | RT | Reliability Assessment | SCE | NA | 2023-01-22 | 475 | No | INC | 2 | 44948.7535 | 44948.8125
102 | RT | Reliability Assessment | SCE | NA | 2023-01-23 | 375 - 390 | No | DEC | 7 | 44949 | 44949.2917
103 | RT | Reliability Assessment | SCE | NA | 2023-01-23 | 390 | No | INC | 1 | 44949.2917 | 44949.3333
104 | RT | Reliability Assessment | SCE | NA | 2023-01-31 | 380 - 390 | No | DEC | 8 | 44957.6979 | 44958
105 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-01-11 | -60 | No | DEC | 1 | 44937.6111 | 44937.6354
106 | RT | Reliability Assessment | SDGE | NA | 2023-01-04 | 50 | No | DEC | 1 | 44930.4792 | 44930.5
107 | RT | Software Limitation | PGAE | Fresno | 2023-01-12 | 200 | No | INC | 1 | 44938.7812 | 44938.7847
108 | RT | Software Limitation | PGAE | Fresno | 2023-01-14 | 83 | No | INC | 1 | 44940.7917 | 44940.8125
109 | RT | Software Limitation | PGAE | Fresno | 2023-01-22 | 25.44 | No | INC | 1 | 44948.7986 | 44948.8368
110 | RT | Software Limitation | PGAE | Fresno | 2023-01-24 | 14 - 35 | No | INC | 1 | 44950.0903 | 44950.1285
111 | RT | Software Limitation | PGAE | Fresno | 2023-01-29 | 0 | No | INC | 4 | 44955.4479 | 44955.5938
112 | RT | Software Limitation | SCE | Big Creek-Ventura | 2023-01-31 | 0 | No | INC | 1 | 44957.1146 | 44957.1562
113 | RT | Software Limitation | SCE | LA Basin | 2023-01-12 | 500 | No | DEC | 2 | 44938.7778 | 44938.8333
114 | RT | Software Limitation | SCE | LA Basin | 2023-01-18 | 0 | No | INC | 13 | 44944.1771 | 44944.7083
115 | RT | Software Limitation | SDGE | San Diego-IV | 2023-01-24 | 30 | No | INC | 1 | 44950.0903 | 44950.1285
116 | RT | Unit Testing | PGAE | Bay Area | 2023-01-04 | 615 | No | INC | 1 | 44930.0174 | 44930.0382
117 | RT | Unit Testing | PGAE | Bay Area | 2023-01-10 | 0 - 529.51 | No | INC | 12 | 44936.0104 | 44936.4722
118 | RT | Unit Testing | PGAE | Fresno | 2023-01-05 | 68 | No | INC | 1 | 44931.0486 | 44931.0729
119 | RT | Unit Testing | PGAE | Fresno | 2023-01-11 | 59 | No | INC | 1 | 44937.3021 | 44937.3299
120 | RT | Unit Testing | PGAE | Fresno | 2023-01-21 | 404 | No | INC | 1 | 44947.2674 | 44947.2986
121 | RT | Unit Testing | PGAE | NA | 2023-01-04 | 49.76 - 621 | No | INC | 2 | 44930.1354 | 44930.2188
122 | RT | Unit Testing | PGAE | NA | 2023-01-05 | 244 | No | DEC | 1 | 44931.9896 | 44932
123 | RT | Unit Testing | PGAE | NA | 2023-01-06 | 244 | No | DEC | 1 | 44932 | 44932.0104
124 | RT | Unit Testing | PGAE | NA | 2023-01-06 | 55.18 | No | INC | 1 | 44932.191 | 44932.2188
125 | RT | Unit Testing | PGAE | NA | 2023-01-10 | 458.3 | No | DEC | 1 | 44936.6493 | 44936.6806
126 | RT | Unit Testing | PGAE | NA | 2023-01-19 | 49.76 | No | INC | 1 | 44945.3646 | 44945.3924
127 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-01-06 | 46.27 | No | INC | 1 | 44932.7222 | 44932.7535
128 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-01-11 | 99.41 | No | INC | 1 | 44937.2222 | 44937.25
129 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-01-13 | 4.76 | No | INC | 1 | 44939.6389 | 44939.6667
130 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-01-31 | 43.5 | No | INC | 1 | 44957.0347 | 44957.066
131 | RT | Unit Testing | SCE | LA Basin | 2023-01-04 | 368.1 | No | DEC | 1 | 44930.4306 | 44930.4583
132 | RT | Unit Testing | SCE | LA Basin | 2023-01-12 | 43 - 556.7 | No | INC | 12 | 44938.0208 | 44938.4931
133 | RT | Unit Testing | SCE | San Diego-IV | 2023-01-05 | 2 | No | INC | 1 | 44931.9479 | 44931.9618
134 | RT | Unit Testing | SCE | San Diego-IV | 2023-01-10 | 3.4 | No | DEC | 1 | 44936.2917 | 44936.3021
135 | RT | Unit Testing | SCE | San Diego-IV | 2023-01-10 | 0 - 3.4 | No | INC | 6 | 44936.0521 | 44936.2917
136 | RT | Unit Testing | SCE | San Diego-IV | 2023-01-28 | 4 | No | INC | 1 | 44954.9722 | 44955
137 | RT | Unit Testing | SCE | NA | 2023-01-07 | 39.88 | No | INC | 1 | 44933.3021 | 44933.3299
138 | RT | Unit Testing | SCE | NA | 2023-01-18 | 25 | No | INC | 1 | 44944.7188 | 44944.7465
139 | RT | Unit Testing | SDGE | San Diego-IV | 2023-01-11 | 247.4 | No | INC | 1 | 44937.6354 | 44937.6597
140 | RT | Unit Testing | SDGE | San Diego-IV | 2023-01-12 | 263.93 | No | INC | 1 | 44938.0625 | 44938.0903
141 | RT | Unit Testing | SDGE | San Diego-IV | 2023-01-14 | 7.5 | No | INC | 1 | 44940.934 | 44940.9549
142 | RT | Unplanned Outage | PGAE | Stockton | 2023-01-19 | 65 | No | DEC | 4 | 44945.7049 | 44945.8333
143 | RT | Unplanned Outage | SDGE | San Diego-IV | 2023-01-01 | 155 | No | INC | 9 | 44927.3229 | 44927.6667
144 | RT | Voltage Support | PGAE | Bay Area | 2023-01-25 | 142 | No | INC | 5 | 44951.4167 | 44951.625
145 | RT | Voltage Support | PGAE | Bay Area | 2023-01-26 | 141.02 | No | INC | 5 | 44952.4167 | 44952.625
146 | RT | Voltage Support | PGAE | Fresno | 2023-01-01 | -330 | No | DEC | 14 | 44927 | 44927.5833
147 | RT | Voltage Support | PGAE | Fresno | 2023-01-01 | 83 - 85 | Yes | INC | 7 | 44927.6597 | 44927.9167
148 | RT | Voltage Support | PGAE | Fresno | 2023-01-02 | -330 | No | DEC | 24 | 44928 | 44929
149 | RT | Voltage Support | PGAE | Fresno | 2023-01-03 | -20 | No | DEC | 24 | 44929 | 44930
150 | RT | Voltage Support | PGAE | Fresno | 2023-01-04 | -20 | No | DEC | 24 | 44930 | 44931
151 | RT | Voltage Support | PGAE | Fresno | 2023-01-04 | 83 | Yes | INC | 12 | 44930.2188 | 44930.7083
152 | RT | Voltage Support | PGAE | Fresno | 2023-01-05 | -330 | No | DEC | 15 | 44931 | 44931.625
153 | RT | Voltage Support | PGAE | Fresno | 2023-01-06 | -330 | No | DEC | 15 | 44932.0208 | 44932.625
154 | RT | Voltage Support | PGAE | Fresno | 2023-01-07 | -330 | No | DEC | 24 | 44933.0312 | 44934
155 | RT | Voltage Support | PGAE | Fresno | 2023-01-07 | 0 | No | INC | 1 | 44933.8958 | 44933.9375
156 | RT | Voltage Support | PGAE | Fresno | 2023-01-08 | -330 | No | DEC | 15 | 44934 | 44934.625
157 | RT | Voltage Support | PGAE | Fresno | 2023-01-09 | -330 | No | DEC | 24 | 44935.0208 | 44936
158 | RT | Voltage Support | PGAE | Fresno | 2023-01-09 | 0 | No | INC | 1 | 44935 | 44935.0417
159 | RT | Voltage Support | PGAE | Fresno | 2023-01-10 | -330 | No | DEC | 24 | 44936 | 44937
160 | RT | Voltage Support | PGAE | Fresno | 2023-01-11 | -330 | No | DEC | 10 | 44937 | 44937.4167
161 | RT | Voltage Support | PGAE | Fresno | 2023-01-11 | 0 | No | INC | 1 | 44937.9792 | 44938
162 | RT | Voltage Support | PGAE | Fresno | 2023-01-12 | -330 | No | DEC | 24 | 44938 | 44939
163 | RT | Voltage Support | PGAE | Fresno | 2023-01-12 | 0 | No | INC | 1 | 44938 | 44938.0208
164 | RT | Voltage Support | PGAE | Fresno | 2023-01-13 | -330 | No | DEC | 6 | 44939 | 44939.2292
165 | RT | Voltage Support | PGAE | Fresno | 2023-01-14 | -330 | No | DEC | 15 | 44940.0104 | 44940.625
166 | RT | Voltage Support | PGAE | Fresno | 2023-01-15 | -330 | No | DEC | 15 | 44941.0312 | 44941.625
167 | RT | Voltage Support | PGAE | Fresno | 2023-01-16 | -330 | No | DEC | 6 | 44942.0208 | 44942.25
168 | RT | Voltage Support | PGAE | Fresno | 2023-01-17 | -330 | No | DEC | 24 | 44943.0208 | 44944
169 | RT | Voltage Support | PGAE | Fresno | 2023-01-18 | -330 | No | DEC | 24 | 44944 | 44945
170 | RT | Voltage Support | PGAE | Fresno | 2023-01-19 | -330 | No | DEC | 24 | 44945 | 44946
171 | RT | Voltage Support | PGAE | Fresno | 2023-01-20 | -330 | No | DEC | 24 | 44946 | 44947
172 | RT | Voltage Support | PGAE | Fresno | 2023-01-20 | 0 | No | INC | 2 | 44946.875 | 44946.9375
173 | RT | Voltage Support | PGAE | Fresno | 2023-01-21 | -330 | No | DEC | 24 | 44947 | 44948
174 | RT | Voltage Support | PGAE | Fresno | 2023-01-21 | -413 | Yes | INC | 8 | 44947.6215 | 44947.9167
175 | RT | Voltage Support | PGAE | Fresno | 2023-01-22 | -330 | No | DEC | 17 | 44948 | 44948.6875
176 | RT | Voltage Support | PGAE | Fresno | 2023-01-22 | -330 | No | INC | 1 | 44948.6458 | 44948.6667
177 | RT | Voltage Support | PGAE | Fresno | 2023-01-23 | -330 | No | DEC | 5 | 44949.0312 | 44949.2292
178 | RT | Voltage Support | PGAE | Fresno | 2023-01-24 | -330 | No | DEC | 2 | 44950.1215 | 44950.1875
179 | RT | Voltage Support | PGAE | Fresno | 2023-01-26 | -330 | No | DEC | 24 | 44952.0312 | 44953
180 | RT | Voltage Support | PGAE | Fresno | 2023-01-26 | 23 | No | INC | 6 | 44952.7569 | 44953
181 | RT | Voltage Support | PGAE | Fresno | 2023-01-27 | -330 | No | DEC | 6 | 44953 | 44953.2292
182 | RT | Voltage Support | PGAE | Fresno | 2023-01-27 | 23 | No | INC | 10 | 44953 | 44953.4167
183 | RT | Voltage Support | PGAE | Fresno | 2023-01-28 | -330 | No | DEC | 9 | 44954.0069 | 44954.375
184 | RT | Voltage Support | PGAE | Fresno | 2023-01-28 | 21 - 83 | Yes | INC | 17 | 44954.0069 | 44954.7083
185 | RT | Voltage Support | PGAE | Fresno | 2023-01-29 | -330 | No | DEC | 23 | 44955.0417 | 44956
186 | RT | Voltage Support | PGAE | Fresno | 2023-01-29 | -413 | No | INC | 11 | 44955.5729 | 44956
187 | RT | Voltage Support | PGAE | Fresno | 2023-01-30 | -330 | No | DEC | 5 | 44956 | 44956.2083
188 | RT | Voltage Support | PGAE | Fresno | 2023-01-31 | -330 | No | DEC | 4 | 44957.0312 | 44957.1979
189 | RT | Voltage Support | PGAE | Humboldt | 2023-01-16 | 15 - 30 | No | DEC | 6 | 44942.7708 | 44943
190 | RT | Voltage Support | PGAE | Humboldt | 2023-01-16 | 15 - 45 | No | INC | 18 | 44942.2674 | 44943
191 | RT | Voltage Support | PGAE | Humboldt | 2023-01-17 | 15 - 30 | No | DEC | 24 | 44943 | 44944
192 | RT | Voltage Support | PGAE | Humboldt | 2023-01-17 | 15 - 30 | No | INC | 24 | 44943 | 44944
193 | RT | Voltage Support | PGAE | Humboldt | 2023-01-18 | 15 | No | DEC | 24 | 44944 | 44945
194 | RT | Voltage Support | PGAE | Humboldt | 2023-01-18 | 15 - 30 | No | INC | 24 | 44944 | 44945
195 | RT | Voltage Support | PGAE | Humboldt | 2023-01-19 | 15 | No | DEC | 24 | 44945 | 44946
196 | RT | Voltage Support | PGAE | Humboldt | 2023-01-19 | 15 - 32 | No | INC | 24 | 44945 | 44946
197 | RT | Voltage Support | PGAE | Humboldt | 2023-01-20 | 15 - 30 | No | DEC | 23 | 44946 | 44946.9583
198 | RT | Voltage Support | PGAE | Humboldt | 2023-01-20 | 15 - 30 | No | INC | 24 | 44946 | 44947
199 | RT | Voltage Support | PGAE | Humboldt | 2023-01-21 | 15 | No | DEC | 15 | 44947.4062 | 44948
200 | RT | Voltage Support | PGAE | Humboldt | 2023-01-21 | 15 - 30 | No | INC | 24 | 44947 | 44948
201 | RT | Voltage Support | PGAE | Humboldt | 2023-01-22 | 15 | No | DEC | 24 | 44948 | 44949
202 | RT | Voltage Support | PGAE | Humboldt | 2023-01-22 | 15 | No | INC | 24 | 44948 | 44949
203 | RT | Voltage Support | PGAE | Humboldt | 2023-01-23 | 15 - 30 | No | DEC | 24 | 44949 | 44950
204 | RT | Voltage Support | PGAE | Humboldt | 2023-01-23 | 15 - 30 | No | INC | 16 | 44949 | 44949.6667
205 | RT | Voltage Support | PGAE | Humboldt | 2023-01-24 | 15 - 30 | No | DEC | 24 | 44950 | 44951
206 | RT | Voltage Support | PGAE | Humboldt | 2023-01-24 | 30 | No | INC | 16 | 44950.3333 | 44951
207 | RT | Voltage Support | PGAE | Humboldt | 2023-01-25 | 15 - 45 | No | DEC | 22 | 44951 | 44951.9167
208 | RT | Voltage Support | PGAE | Humboldt | 2023-01-25 | 30 - 45 | No | INC | 24 | 44951 | 44952
209 | RT | Voltage Support | PGAE | Humboldt | 2023-01-26 | 14 - 30 | No | INC | 24 | 44952 | 44953
210 | RT | Voltage Support | PGAE | Humboldt | 2023-01-27 | 15 | No | INC | 7 | 44953 | 44953.2917
211 | RT | Voltage Support | PGAE | Kern | 2023-01-01 | 32 | Yes | INC | 24 | 44927 | 44928
212 | RT | Voltage Support | PGAE | Kern | 2023-01-02 | 32 | No | INC | 7 | 44928 | 44928.2917
213 | RT | Voltage Support | PGAE | Kern | 2023-01-14 | 32 | Yes | INC | 4 | 44940.2292 | 44940.3958
214 | RT | Voltage Support | PGAE | Kern | 2023-01-21 | 32 | Yes | INC | 20 | 44947.2014 | 44948
215 | RT | Voltage Support | PGAE | Kern | 2023-01-22 | 32 | No | INC | 24 | 44948 | 44949
216 | RT | Voltage Support | PGAE | Kern | 2023-01-23 | 32 - 38 | No | INC | 24 | 44949 | 44950
217 | RT | Voltage Support | PGAE | Kern | 2023-01-24 | 32 - 37 | Yes | INC | 7 | 44950 | 44950.2917
218 | RT | Voltage Support | PGAE | Kern | 2023-01-26 | 32.01 | No | INC | 6 | 44952.7812 | 44953
219 | RT | Voltage Support | PGAE | Kern | 2023-01-27 | 32.01 | No | INC | 7 | 44953 | 44953.2917
220 | RT | Voltage Support | PGAE | Kern | 2023-01-28 | 32 | No | INC | 22 | 44954.1146 | 44955
221 | RT | Voltage Support | PGAE | Kern | 2023-01-29 | 32 | No | INC | 24 | 44955 | 44956
222 | RT | Voltage Support | PGAE | Kern | 2023-01-30 | 32 | No | INC | 7 | 44956 | 44956.2917
223 | RT | Voltage Support | PGAE | Sierra | 2023-01-01 | 20 | No | DEC | 1 | 44927.875 | 44927.9167
224 | RT | Voltage Support | PGAE | Sierra | 2023-01-01 | 20 | No | INC | 6 | 44927.7569 | 44928
225 | RT | Voltage Support | PGAE | Sierra | 2023-01-02 | 20 | No | DEC | 3 | 44928.875 | 44929
226 | RT | Voltage Support | PGAE | Sierra | 2023-01-02 | 20 | No | INC | 24 | 44928 | 44929
227 | RT | Voltage Support | PGAE | Sierra | 2023-01-03 | 20 | Yes | DEC | 24 | 44929 | 44930
228 | RT | Voltage Support | PGAE | Sierra | 2023-01-03 | 20 | Yes | INC | 18 | 44929.125 | 44929.875
229 | RT | Voltage Support | PGAE | Sierra | 2023-01-04 | 20 | No | INC | 24 | 44930 | 44931
230 | RT | Voltage Support | PGAE | Sierra | 2023-01-05 | 20 | No | DEC | 17 | 44931.2083 | 44931.9167
231 | RT | Voltage Support | PGAE | Sierra | 2023-01-05 | 20 | No | INC | 24 | 44931 | 44932
232 | RT | Voltage Support | PGAE | Sierra | 2023-01-06 | 20 | No | DEC | 1 | 44932.2083 | 44932.25
233 | RT | Voltage Support | PGAE | Sierra | 2023-01-06 | 20 | No | INC | 8 | 44932 | 44932.3333
234 | RT | Voltage Support | PGAE | Sierra | 2023-01-14 | 20 | No | INC | 10 | 44940.0278 | 44940.4167
235 | RT | Voltage Support | PGAE | Sierra | 2023-01-18 | 20 | No | DEC | 18 | 44944.2083 | 44944.9583
236 | RT | Voltage Support | PGAE | Sierra | 2023-01-18 | 20 | No | INC | 24 | 44944 | 44945
237 | RT | Voltage Support | PGAE | Sierra | 2023-01-19 | 20 | No | DEC | 17 | 44945.2083 | 44945.9167
238 | RT | Voltage Support | PGAE | Sierra | 2023-01-19 | 20 | No | INC | 24 | 44945 | 44946
239 | RT | Voltage Support | PGAE | Sierra | 2023-01-20 | 20 | No | DEC | 19 | 44946.2083 | 44947
240 | RT | Voltage Support | PGAE | Sierra | 2023-01-20 | 20 | No | INC | 21 | 44946 | 44946.875
241 | RT | Voltage Support | PGAE | Sierra | 2023-01-21 | 20 | No | DEC | 23 | 44947 | 44947.9583
242 | RT | Voltage Support | PGAE | Sierra | 2023-01-21 | 20 | No | INC | 23 | 44947.0417 | 44948
243 | RT | Voltage Support | PGAE | Sierra | 2023-01-22 | 20 | No | DEC | 6 | 44948.7083 | 44948.9583
244 | RT | Voltage Support | PGAE | Sierra | 2023-01-22 | 20 | No | INC | 24 | 44948 | 44949
245 | RT | Voltage Support | PGAE | Sierra | 2023-01-23 | 20 | No | DEC | 1 | 44949.2083 | 44949.25
246 | RT | Voltage Support | PGAE | Sierra | 2023-01-23 | 20 | No | INC | 7 | 44949 | 44949.2917
247 | RT | Voltage Support | PGAE | Sierra | 2023-01-27 | 42 | No | INC | 4 | 44953.8646 | 44954
248 | RT | Voltage Support | PGAE | Sierra | 2023-01-28 | 20 - 42 | Yes | INC | 24 | 44954 | 44955
249 | RT | Voltage Support | PGAE | Sierra | 2023-01-29 | 20 - 42 | No | INC | 24 | 44955 | 44956
250 | RT | Voltage Support | PGAE | Sierra | 2023-01-30 | 20 | No | DEC | 1 | 44956.875 | 44956.9167
251 | RT | Voltage Support | PGAE | Sierra | 2023-01-30 | 20 - 42 | No | INC | 24 | 44956 | 44957
252 | RT | Voltage Support | PGAE | Sierra | 2023-01-31 | 20 | No | DEC | 1 | 44957.2083 | 44957.25
253 | RT | Voltage Support | PGAE | Sierra | 2023-01-31 | 20 | No | INC | 5 | 44957 | 44957.2083