## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report March 15, 2024
Chart 1: Table of Exceptional Dispatches for Period 01/January/2024 - 31/January/2024
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Conditions beyond the control of the CAISO | PGAE | Fresno | 2024-01-31 | 83 | No | DEC | 4 | 45322.6667 | 45322.8333
2 | RT | Conditions beyond the control of the CAISO | PGAE | Fresno | 2024-01-31 | 83 | No | INC | 3 | 45322.5556 | 45322.6667
3 | RT | Fast Start Unit Management | PGAE | Bay Area | 2024-01-09 | 0 | No | INC | 9 | 45300.6562 | 45301
4 | RT | Fast Start Unit Management | PGAE | Bay Area | 2024-01-10 | 0 | No | INC | 8 | 45301.4826 | 45301.7917
5 | RT | Fast Start Unit Management | PGAE | Bay Area | 2024-01-17 | 0 | No | INC | 5 | 45308.1146 | 45308.2847
6 | RT | Fast Start Unit Management | PGAE | Fresno | 2024-01-17 | 0 | No | INC | 1 | 45308.2604 | 45308.3021
7 | RT | Incomplete or Inaccurate Transmission | SDGE | San Diego-IV | 2024-01-10 | 290 | No | INC | 1 | 45301.5694 | 45301.5833
8 | RT | Other Reliability Requirement | PGAE | Fresno | 2024-01-05 | 400 | No | INC | 1 | 45296.3333 | 45296.3368
9 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-08 | 500 | No | DEC | 4 | 45299.4688 | 45299.625
10 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-08 | 500 | No | INC | 1 | 45299.5417 | 45299.5833
11 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-09 | 415 | No | DEC | 7 | 45300.3611 | 45300.625
12 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-09 | 415 | No | INC | 1 | 45300.5417 | 45300.5833
13 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-11 | 500 | No | DEC | 16 | 45302.2847 | 45302.9167
14 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-11 | 15 | No | INC | 14 | 45302.3715 | 45302.9167
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-12 | 500 | No | DEC | 17 | 45303.25 | 45303.9514
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-12 | 15 - 525 | No | INC | 19 | 45303.2118 | 45304
17 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-13 | 475 | No | DEC | 2 | 45304.625 | 45304.7083
18 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-13 | 15 - 525 | No | INC | 24 | 45304 | 45305
19 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-14 | 460 - 500 | No | INC | 24 | 45305 | 45306
20 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-15 | 450 | No | DEC | 2 | 45306.4167 | 45306.5
21 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-15 | 450 - 520 | No | INC | 24 | 45306 | 45307
22 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-16 | 520 | No | INC | 3 | 45307.8785 | 45308
23 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-17 | 490 - 520 | No | INC | 24 | 45308 | 45309
24 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-01-18 | 460 - 490 | No | INC | 20 | 45309 | 45309.8333
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-02 | 15 - 30 | No | DEC | 21 | 45293.1458 | 45294
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-03 | 15 | No | DEC | 23 | 45294 | 45294.9583
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-03 | 15 - 30 | No | INC | 24 | 45294 | 45295
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-04 | 15 - 30 | No | DEC | 14 | 45295 | 45295.5833
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-04 | 15 - 30 | No | INC | 13 | 45295 | 45295.5417
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-15 | 15 - 30 | No | DEC | 18 | 45306.2708 | 45307
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-16 | 15 - 30 | No | DEC | 24 | 45307 | 45308
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-17 | 15 - 30 | No | DEC | 24 | 45308 | 45309
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-18 | 15 | No | DEC | 24 | 45309 | 45310
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-18 | 15 | No | INC | 1 | 45309.9583 | 45310
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-19 | 15 | No | DEC | 24 | 45310 | 45311
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-20 | 15 | No | DEC | 24 | 45311 | 45312
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-21 | 15 | No | DEC | 24 | 45312 | 45313
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-22 | 15 | No | DEC | 24 | 45313 | 45314
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-22 | 15 | No | INC | 1 | 45313.9583 | 45314
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-23 | 15 | No | DEC | 19 | 45314 | 45314.7917
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-29 | 30 | No | DEC | 6 | 45320.6667 | 45320.9167
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-01-29 | 30 | No | INC | 10 | 45320.2569 | 45320.6667
43 | RT | Planned Transmission Outage | PGAE | NCNB | 2024-01-09 | 33 | No | DEC | 10 | 45300.3229 | 45300.7292
44 | RT | Planned Transmission Outage | PGAE | NCNB | 2024-01-25 | 35 | No | DEC | 7 | 45316.4236 | 45316.6875
45 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-01-09 | 45 | No | INC | 8 | 45300.3333 | 45300.6667
46 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-01-29 | 20 | No | INC | 13 | 45320.2917 | 45320.8333
47 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-01-30 | 20 | Yes | INC | 12 | 45321.3333 | 45321.8333
48 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-01-31 | 20 | No | INC | 12 | 45322.3333 | 45322.8333
49 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-18 | 236 - 280 | No | DEC | 15 | 45309.2083 | 45309.8021
50 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-20 | 236 | No | DEC | 14 | 45311.4062 | 45311.9583
51 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-20 | 236 | No | INC | 1 | 45311.9583 | 45312
52 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-21 | 236 - 270 | No | INC | 24 | 45312 | 45313
53 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-22 | 236 | No | DEC | 17 | 45313.2812 | 45313.9583
54 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-22 | 236 - 270 | No | INC | 24 | 45313 | 45314
55 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-23 | 236 | No | DEC | 23 | 45314 | 45314.9583
56 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-23 | 236 | No | INC | 22 | 45314.0833 | 45315
57 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-24 | 236 - 250 | No | DEC | 23 | 45315 | 45315.9583
58 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-24 | 236 - 270 | No | INC | 23 | 45315.0417 | 45316
59 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-25 | 88.8 - 270 | No | INC | 24 | 45316 | 45317
60 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-26 | 32 - 236 | No | DEC | 19 | 45317.2083 | 45318
61 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-26 | 32 - 200 | No | INC | 16 | 45317 | 45317.6667
62 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-27 | 200 | No | INC | 24 | 45318 | 45319
63 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-29 | 88.8 | No | INC | 6 | 45320.6667 | 45320.9167
64 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-01-31 | 88.8 | No | INC | 8 | 45322.6042 | 45322.9167
65 | RT | Planned Transmission Outage | SCE | LA Basin | 2024-01-09 | 46 - 88 | No | INC | 8 | 45300.3333 | 45300.6667
66 | RT | Planned Transmission Outage | SCE | NA | 2024-01-27 | 5 | No | DEC | 10 | 45318.4062 | 45318.7917
67 | RT | Planned Transmission Outage | SCE | NA | 2024-01-27 | 5 | No | INC | 6 | 45318.4062 | 45318.625
68 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2024-01-20 | 36.88 | No | INC | 10 | 45311.3021 | 45311.6875
69 | RT | Reliability Assessment | PGAE | Bay Area | 2024-01-10 | 500 | No | DEC | 6 | 45301.375 | 45301.625
70 | RT | Reliability Assessment | PGAE | Bay Area | 2024-01-10 | 15 | No | INC | 10 | 45301.5972 | 45302
71 | RT | Reliability Assessment | PGAE | Fresno | 2024-01-16 | 83 | No | INC | 1 | 45307.3021 | 45307.3333
72 | RT | Reliability Assessment | PGAE | Fresno | 2024-01-27 | 404 | No | INC | 1 | 45318.2812 | 45318.2986
73 | RT | Reliability Assessment | PGAE | Humboldt | 2024-01-01 | 15 | No | INC | 5 | 45292.7361 | 45292.9167
74 | RT | Reliability Assessment | PGAE | Humboldt | 2024-01-02 | 15 | No | DEC | 4 | 45293.0243 | 45293.1562
75 | RT | Reliability Assessment | PGAE | NA | 2024-01-15 | 49 | No | DEC | 10 | 45306.5312 | 45306.9167
76 | RT | Reliability Assessment | SCE | LA Basin | 2024-01-15 | 0 | No | DEC | 2 | 45306.4479 | 45306.5
77 | RT | Reliability Assessment | SCE | LA Basin | 2024-01-17 | 118 - 230 | No | DEC | 2 | 45308.9271 | 45309
78 | RT | Reliability Assessment | SCE | LA Basin | 2024-01-18 | 118 - 230 | No | DEC | 9 | 45309 | 45309.375
79 | RT | Reliability Assessment | SCE | LA Basin | 2024-01-18 | 118 | No | INC | 1 | 45309.3333 | 45309.375
80 | RT | Reliability Assessment | SCE | NA | 2024-01-10 | 0.1 | No | DEC | 2 | 45301.5694 | 45301.625
81 | RT | Software Limitation | PGAE | Bay Area | 2024-01-28 | 380 - 580 | No | INC | 2 | 45319.7743 | 45319.8333
82 | RT | Software Limitation | PGAE | Fresno | 2024-01-10 | 400 | No | INC | 1 | 45301.5833 | 45301.6146
83 | RT | Software Limitation | PGAE | Fresno | 2024-01-16 | 0 | No | INC | 1 | 45307.9514 | 45307.9896
84 | RT | Software Limitation | PGAE | Fresno | 2024-01-27 | 0 | No | INC | 1 | 45318.2812 | 45318.3194
85 | RT | Software Limitation | PGAE | Humboldt | 2024-01-14 | 15 | No | DEC | 18 | 45305.1806 | 45305.9167
86 | RT | Software Limitation | SCE | LA Basin | 2024-01-27 | 0 - 96.65 | No | INC | 2 | 45318.2812 | 45318.3611
87 | RT | Unit Testing | PGAE | Bay Area | 2024-01-17 | 75.05 - 150 | No | INC | 3 | 45308.0208 | 45308.1458
88 | RT | Unit Testing | PGAE | Fresno | 2024-01-17 | 106.99 | No | INC | 1 | 45308.2153 | 45308.2465
89 | RT | Unit Testing | PGAE | Fresno | 2024-01-22 | 10 | No | INC | 1 | 45313.6111 | 45313.6424
90 | RT | Unit Testing | PGAE | NA | 2024-01-10 | 60 | No | INC | 1 | 45301.4826 | 45301.5139
91 | RT | Unit Testing | SCE | Big Creek-Ventura | 2024-01-10 | 120 | No | INC | 1 | 45301.4861 | 45301.5174
92 | RT | Unit Testing | SCE | LA Basin | 2024-01-10 | 0 | No | INC | 1 | 45301.4931 | 45301.5208
93 | RT | Unit Testing | SCE | LA Basin | 2024-01-28 | 150 | No | INC | 2 | 45319.7292 | 45319.7917
94 | RT | Unit Testing | SCE | LA Basin | 2024-01-29 | 150 | No | INC | 1 | 45320.8854 | 45320.9167
95 | RT | Unit Testing | SDGE | San Diego-IV | 2024-01-19 | 71 | No | INC | 1 | 45310.2188 | 45310.25
96 | RT | Unit Testing | SDGE | San Diego-IV | 2024-01-22 | 42 - 95 | No | INC | 2 | 45313.8472 | 45313.9167
97 | RT | Unit Testing | SDGE | San Diego-IV | 2024-01-24 | 104.89 | No | INC | 1 | 45315.8611 | 45315.8924
98 | RT | Unplanned Outage | PGAE | Stockton | 2024-01-18 | 280 | No | DEC | 1 | 45309.2083 | 45309.2292
99 | RT | Unplanned Outage | PGAE | Stockton | 2024-01-18 | 280 | No | INC | 5 | 45309.0174 | 45309.2083
100 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-01-28 | 62 | No | INC | 2 | 45319.9167 | 45320
101 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2024-01-29 | 62 | No | INC | 7 | 45320 | 45320.2917
102 | RT | Voltage Support | PGAE | Fresno | 2024-01-01 | -385 | No | DEC | 23 | 45292 | 45292.9583
103 | RT | Voltage Support | PGAE | Fresno | 2024-01-01 | 83 | No | INC | 1 | 45292.9583 | 45293
104 | RT | Voltage Support | PGAE | Fresno | 2024-01-02 | 83 | No | DEC | 1 | 45293.9549 | 45293.9583
105 | RT | Voltage Support | PGAE | Fresno | 2024-01-02 | 83 | No | INC | 24 | 45293 | 45294
106 | RT | Voltage Support | PGAE | Fresno | 2024-01-03 | 83 | No | INC | 24 | 45294 | 45295
107 | RT | Voltage Support | PGAE | Fresno | 2024-01-04 | 83 | Yes | INC | 10 | 45295 | 45295.4167
108 | RT | Voltage Support | PGAE | Fresno | 2024-01-05 | -302 | No | DEC | 1 | 45296.9792 | 45297
109 | RT | Voltage Support | PGAE | Fresno | 2024-01-05 | 83 | No | INC | 10 | 45296 | 45296.4167
110 | RT | Voltage Support | PGAE | Fresno | 2024-01-06 | -302 | No | DEC | 14 | 45297 | 45297.5833
111 | RT | Voltage Support | PGAE | Fresno | 2024-01-07 | -302 | No | DEC | 10 | 45298.0347 | 45298.4375
112 | RT | Voltage Support | PGAE | Fresno | 2024-01-08 | -302 | No | DEC | 6 | 45299.0625 | 45299.2917
113 | RT | Voltage Support | PGAE | Fresno | 2024-01-09 | -302 | No | DEC | 6 | 45300.0417 | 45300.2917
114 | RT | Voltage Support | PGAE | Fresno | 2024-01-10 | -315 | No | DEC | 4 | 45301.0417 | 45301.2083
115 | RT | Voltage Support | PGAE | Fresno | 2024-01-11 | -315 | No | DEC | 4 | 45302.0417 | 45302.2083
116 | RT | Voltage Support | PGAE | Fresno | 2024-01-12 | -315 | No | DEC | 5 | 45303.0208 | 45303.2083
117 | RT | Voltage Support | PGAE | Fresno | 2024-01-14 | 83 | No | INC | 21 | 45305.1493 | 45306
118 | RT | Voltage Support | PGAE | Fresno | 2024-01-15 | 83 | No | DEC | 1 | 45306.9132 | 45306.9167
119 | RT | Voltage Support | PGAE | Fresno | 2024-01-15 | 83 | No | INC | 24 | 45306 | 45307
120 | RT | Voltage Support | PGAE | Fresno | 2024-01-16 | 83 | No | DEC | 1 | 45307.8611 | 45307.875
121 | RT | Voltage Support | PGAE | Fresno | 2024-01-16 | 83 | Yes | INC | 24 | 45307 | 45308
122 | RT | Voltage Support | PGAE | Fresno | 2024-01-17 | -305 | No | DEC | 2 | 45308.9444 | 45309
123 | RT | Voltage Support | PGAE | Fresno | 2024-01-17 | 83 | No | INC | 6 | 45308 | 45308.25
124 | RT | Voltage Support | PGAE | Fresno | 2024-01-18 | -5 | No | DEC | 24 | 45309 | 45310
125 | RT | Voltage Support | PGAE | Fresno | 2024-01-19 | -300 | No | DEC | 6 | 45310 | 45310.25
126 | RT | Voltage Support | PGAE | Fresno | 2024-01-20 | -300 | No | DEC | 23 | 45311.0625 | 45312
127 | RT | Voltage Support | PGAE | Fresno | 2024-01-21 | -15 | No | DEC | 24 | 45312 | 45313
128 | RT | Voltage Support | PGAE | Fresno | 2024-01-22 | -315 | No | DEC | 24 | 45313 | 45314
129 | RT | Voltage Support | PGAE | Fresno | 2024-01-23 | -315 | No | DEC | 24 | 45314 | 45315
130 | RT | Voltage Support | PGAE | Fresno | 2024-01-24 | -315 | No | DEC | 24 | 45315 | 45316
131 | RT | Voltage Support | PGAE | Fresno | 2024-01-25 | -315 | No | DEC | 7 | 45316 | 45316.2917
132 | RT | Voltage Support | PGAE | Fresno | 2024-01-25 | 83 | Yes | INC | 1 | 45316.9583 | 45317
133 | RT | Voltage Support | PGAE | Fresno | 2024-01-26 | -315 | No | DEC | 1 | 45317.9792 | 45318
134 | RT | Voltage Support | PGAE | Fresno | 2024-01-26 | 83 | Yes | INC | 5 | 45317 | 45317.2083
135 | RT | Voltage Support | PGAE | Fresno | 2024-01-27 | -315 | No | DEC | 24 | 45318 | 45319
136 | RT | Voltage Support | PGAE | Fresno | 2024-01-27 | 83 | No | INC | 9 | 45318.0243 | 45318.375
137 | RT | Voltage Support | PGAE | Fresno | 2024-01-28 | -315 | No | DEC | 24 | 45319 | 45320
138 | RT | Voltage Support | PGAE | Fresno | 2024-01-29 | -315 | No | DEC | 24 | 45320 | 45321
139 | RT | Voltage Support | PGAE | Fresno | 2024-01-30 | -315 | No | DEC | 24 | 45321 | 45322
140 | RT | Voltage Support | PGAE | Fresno | 2024-01-31 | -315 | No | DEC | 24 | 45322 | 45323
141 | RT | Voltage Support | PGAE | Humboldt | 2024-01-04 | 15 | No | DEC | 15 | 45295.3958 | 45296
142 | RT | Voltage Support | PGAE | Humboldt | 2024-01-04 | 15 | No | INC | 1 | 45295.9583 | 45296
143 | RT | Voltage Support | PGAE | Humboldt | 2024-01-05 | 15 | No | DEC | 24 | 45296 | 45297
144 | RT | Voltage Support | PGAE | Humboldt | 2024-01-05 | 15 | No | INC | 24 | 45296 | 45297
145 | RT | Voltage Support | PGAE | Humboldt | 2024-01-06 | 15 | No | DEC | 1 | 45297.875 | 45297.9167
146 | RT | Voltage Support | PGAE | Humboldt | 2024-01-06 | 15 - 30 | No | INC | 24 | 45297 | 45298
147 | RT | Voltage Support | PGAE | Humboldt | 2024-01-07 | 15 | No | DEC | 7 | 45298.6667 | 45298.9583
148 | RT | Voltage Support | PGAE | Humboldt | 2024-01-07 | 15 | No | INC | 24 | 45298 | 45299
149 | RT | Voltage Support | PGAE | Humboldt | 2024-01-08 | 15 - 45 | No | DEC | 21 | 45299.125 | 45300
150 | RT | Voltage Support | PGAE | Humboldt | 2024-01-08 | 15 | No | INC | 5 | 45299 | 45299.2083
151 | RT | Voltage Support | PGAE | Humboldt | 2024-01-09 | 15 - 45 | No | DEC | 24 | 45300 | 45301
152 | RT | Voltage Support | PGAE | Humboldt | 2024-01-10 | 15 - 30 | No | DEC | 16 | 45301.2083 | 45301.875
153 | RT | Voltage Support | PGAE | Humboldt | 2024-01-10 | 15 - 30 | No | INC | 24 | 45301 | 45302
154 | RT | Voltage Support | PGAE | Humboldt | 2024-01-11 | 15 | No | DEC | 24 | 45302 | 45303
155 | RT | Voltage Support | PGAE | Humboldt | 2024-01-12 | 15 | No | DEC | 24 | 45303 | 45304
156 | RT | Voltage Support | PGAE | Humboldt | 2024-01-13 | 15 | No | DEC | 22 | 45304 | 45304.9167
157 | RT | Voltage Support | PGAE | Humboldt | 2024-01-14 | 15 | No | DEC | 23 | 45305.0417 | 45306
158 | RT | Voltage Support | PGAE | Humboldt | 2024-01-15 | 15 | No | DEC | 1 | 45306 | 45306.0208
159 | RT | Voltage Support | PGAE | Humboldt | 2024-01-24 | 15 - 30 | No | DEC | 23 | 45315.0417 | 45316
160 | RT | Voltage Support | PGAE | Humboldt | 2024-01-24 | 30 | No | INC | 1 | 45315.9583 | 45316
161 | RT | Voltage Support | PGAE | Humboldt | 2024-01-25 | 15 - 30 | No | DEC | 24 | 45316 | 45317
162 | RT | Voltage Support | PGAE | Humboldt | 2024-01-25 | 30 | No | INC | 15 | 45316 | 45316.625
163 | RT | Voltage Support | PGAE | Humboldt | 2024-01-26 | 15 | No | DEC | 24 | 45317 | 45318
164 | RT | Voltage Support | PGAE | Humboldt | 2024-01-27 | 15 | No | DEC | 8 | 45318.625 | 45318.9583
165 | RT | Voltage Support | PGAE | Humboldt | 2024-01-27 | 15 | No | INC | 24 | 45318 | 45319
166 | RT | Voltage Support | PGAE | Humboldt | 2024-01-28 | 15 | No | DEC | 7 | 45319.625 | 45319.9167
167 | RT | Voltage Support | PGAE | Humboldt | 2024-01-28 | 15 | No | INC | 15 | 45319 | 45319.625
168 | RT | Voltage Support | PGAE | Humboldt | 2024-01-29 | 15 | No | DEC | 2 | 45320.9167 | 45321
169 | RT | Voltage Support | PGAE | Humboldt | 2024-01-30 | 15 | No | DEC | 23 | 45321 | 45321.9583
170 | RT | Voltage Support | PGAE | Humboldt | 2024-01-30 | 15 | No | INC | 1 | 45321.9583 | 45322
171 | RT | Voltage Support | PGAE | Humboldt | 2024-01-31 | 15 - 30 | No | DEC | 24 | 45322 | 45323
172 | RT | Voltage Support | PGAE | Sierra | 2024-01-01 | 20 | No | INC | 18 | 45292.25 | 45293
173 | RT | Voltage Support | PGAE | Sierra | 2024-01-02 | 20 | No | INC | 10 | 45293 | 45293.4167
174 | RT | Voltage Support | PGAE | Sierra | 2024-01-08 | 20 | No | INC | 4 | 45299.3542 | 45299.5
175 | RT | Voltage Support | PGAE | Sierra | 2024-01-16 | 20 | No | INC | 7 | 45307.7292 | 45308
176 | RT | Voltage Support | PGAE | Sierra | 2024-01-21 | 20 | No | INC | 16 | 45312.0208 | 45312.6667
177 | RT | Voltage Support | PGAE | Sierra | 2024-01-26 | 20 | No | INC | 5 | 45317.0625 | 45317.25
178 | RT | Voltage Support | PGAE | Sierra | 2024-01-27 | 20 | No | INC | 24 | 45318.0382 | 45319
179 | RT | Voltage Support | PGAE | Sierra | 2024-01-28 | 20 | No | INC | 24 | 45319 | 45320
180 | RT | Voltage Support | PGAE | Sierra | 2024-01-29 | 20 | Yes | INC | 7 | 45320 | 45320.2917
181 | RT | Voltage Support | PGAE | NA | 2024-01-27 | 62 | No | INC | 22 | 45318.1181 | 45319
182 | RT | Voltage Support | PGAE | NA | 2024-01-28 | 62 | No | INC | 24 | 45319 | 45320
183 | RT | Voltage Support | PGAE | NA | 2024-01-29 | 62 | No | INC | 7 | 45320 | 45320.2917
184 | RT | Voltage Support | PGAE | NA | 2024-01-30 | 49 | No | DEC | 5 | 45321.059 | 45321.2292
185 | RT | Voltage Support | PGAE | NA | 2024-01-31 | 62 | No | INC | 6 | 45322.0521 | 45322.3021