## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report September 15, 2023
Chart 1: Table of Exceptional Dispatches for Period 01/July/2023 - 31/July/2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2023-07-18 | 50 | No | INC | 1 | 45125.9583 | 45126
2 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2023-07-19 | 50 | No | INC | 13 | 45126 | 45126.5417
3 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2023-07-29 | 50 | No | INC | 3 | 45136.875 | 45137
4 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2023-07-30 | 50 | No | INC | 13 | 45137 | 45137.5417
5 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2023-07-31 | 50 | No | INC | 2 | 45138.9167 | 45139
6 | RT | Bridging Schedules | SCE | LA Basin | 2023-07-16 | 70 | No | INC | 1 | 45123.9583 | 45124
7 | RT | Bridging Schedules | SCE | LA Basin | 2023-07-24 | 10 | No | INC | 1 | 45131.9583 | 45132
8 | RT | Bridging Schedules | SCE | LA Basin | 2023-07-25 | 10 | No | INC | 1 | 45132.9583 | 45133
9 | RT | Bridging Schedules | SCE | LA Basin | 2023-07-26 | 20 | No | INC | 1 | 45133.9583 | 45134
10 | RT | Bridging Schedules | SCE | LA Basin | 2023-07-31 | 10 | Yes | INC | 1 | 45138.9583 | 45139
11 | RT | Conditions beyond the control of the CAISO | SDGE | San Diego-IV | 2023-07-10 | 24 - 317 | No | DEC | 2 | 45117.75 | 45117.8125
12 | RT | Conditions beyond the control of the CAISO | SDGE | San Diego-IV | 2023-07-10 | 24 - 317 | No | INC | 3 | 45117.6979 | 45117.7917
13 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-07-05 | 0 | No | INC | 1 | 45112.9896 | 45113
14 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-07-06 | 0 | No | INC | 1 | 45113 | 45113.0347
15 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-07-29 | 0 | No | INC | 1 | 45136.0382 | 45136.0799
16 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2023-07-18 | 83 | No | DEC | 1 | 45125.9062 | 45125.9167
17 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2023-07-18 | 83 | No | INC | 1 | 45125.9167 | 45125.9583
18 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2023-07-19 | 83 | No | DEC | 1 | 45126.8646 | 45126.875
19 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2023-07-19 | 83 | No | INC | 3 | 45126.875 | 45127
20 | RT | Incomplete or Inaccurate Transmission | PGAE | Fresno | 2023-07-20 | 83 | No | INC | 24 | 45127 | 45127.9896
21 | RT | Incomplete or Inaccurate Transmission | PGAE | NA | 2023-07-26 | 29 | No | DEC | 1 | 45133.875 | 45133.9167
22 | RT | Incomplete or Inaccurate Transmission | PGAE | NA | 2023-07-26 | 29 - 35 | No | INC | 2 | 45133.8299 | 45133.875
23 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-01 | 50 | No | DEC | 24 | 45108 | 45108.9618
24 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-01 | 55 | No | INC | 1 | 45108.9618 | 45109
25 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-02 | 55 | No | INC | 22 | 45109 | 45109.9167
26 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-03 | 55 | No | INC | 18 | 45110.1771 | 45110.9167
27 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-04 | 50 - 54 | No | DEC | 22 | 45111.0035 | 45111.9167
28 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-05 | 50 - 54 | No | DEC | 6 | 45112.2674 | 45112.4896
29 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-18 | 20 - 40 | No | DEC | 1 | 45125.9861 | 45126
30 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-19 | 20 - 50 | No | DEC | 24 | 45126 | 45127
31 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-20 | 40 | No | DEC | 24 | 45127 | 45128
32 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-21 | 40 | No | DEC | 8 | 45128 | 45128.3333
33 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-22 | 50 | No | DEC | 4 | 45129.2083 | 45129.375
34 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-07-27 | 1-10 | No | DEC | 5 | 45134.2431 | 45134.4167
35 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2023-07-25 | 100 | No | DEC | 2 | 45132.7917 | 45132.875
36 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2023-07-25 | 100 | No | INC | 1 | 45132.7882 | 45132.7917
37 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2023-07-25 | 20 - 100 | No | DEC | 3 | 45132.7951 | 45132.9167
38 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2023-07-25 | 20 - 100 | No | INC | 5 | 45132.8056 | 45133
39 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2023-07-26 | 83 | No | INC | 3 | 45133.8229 | 45133.9167
40 | RT | Load Forecast Uncertainty | PGAE | NA | 2023-07-25 | 50 | No | DEC | 2 | 45132.8854 | 45132.9375
41 | RT | Load Forecast Uncertainty | PGAE | NA | 2023-07-25 | 21 | No | INC | 2 | 45132.7014 | 45132.75
42 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2023-07-25 | 400 | No | DEC | 1 | 45132.875 | 45132.9062
43 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2023-07-25 | 740 | No | INC | 5 | 45132.6771 | 45132.875
44 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-07-14 | 70 | No | INC | 8 | 45121.6875 | 45122
45 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-07-16 | 130 | No | INC | 3 | 45123.6667 | 45123.7708
46 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-07-21 | 151 - 160 | No | INC | 3 | 45128.75 | 45128.875
47 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-07-22 | 151 - 160 | No | INC | 2 | 45129.75 | 45129.8333
48 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-07-23 | 151 - 160 | No | INC | 3 | 45130.75 | 45130.875
49 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-07-24 | 151 - 160 | No | INC | 3 | 45131.75 | 45131.875
50 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-07-25 | 33 | No | DEC | 2 | 45132.816 | 45132.875
51 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-07-25 | 33 - 455 | No | INC | 6 | 45132.6771 | 45132.9167
52 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-07-16 | 155 | No | INC | 9 | 45123.625 | 45124
53 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-07-21 | 21 - 25 | No | DEC | 3 | 45128.7847 | 45128.875
54 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-07-21 | 21 - 25 | No | INC | 1 | 45128.875 | 45128.9167
55 | RT | Market Disruption | PGAE | Bay Area | 2023-07-12 | 0 | No | DEC | 2 | 45119.9236 | 45120
56 | RT | Market Disruption | PGAE | Bay Area | 2023-07-13 | 0 | No | DEC | 2 | 45120 | 45120.0833
57 | RT | Market Disruption | PGAE | Bay Area | 2023-07-13 | 0 | No | INC | 2 | 45120.0833 | 45120.1354
58 | RT | Market Disruption | PGAE | Fresno | 2023-07-12 | 83 | No | DEC | 2 | 45119.9132 | 45119.9583
59 | RT | Market Disruption | SCE | LA Basin | 2023-07-12 | 0 - 300 | No | DEC | 2 | 45119.9097 | 45119.9583
60 | RT | Market Disruption | SCE | LA Basin | 2023-07-12 | 0 | No | INC | 2 | 45119.9167 | 45119.9618
61 | RT | Market Disruption | SCE | NA | 2023-07-12 | 0 | No | INC | 2 | 45119.9201 | 45119.9792
62 | RT | Market Disruption | SDGE | San Diego-IV | 2023-07-12 | 0 | No | INC | 1 | 45119.9236 | 45119.9444
63 | RT | Other Reliability Requirement | PGAE | Fresno | 2023-07-14 | -59.05 | No | DEC | 3 | 45121.6215 | 45121.7222
64 | RT | Other Reliability Requirement | PGAE | Fresno | 2023-07-14 | 0 | No | INC | 1 | 45121.7222 | 45121.75
65 | RT | Other Reliability Requirement | PGAE | Fresno | 2023-07-22 | 98 | No | DEC | 1 | 45129.7917 | 45129.8333
66 | RT | Other Reliability Requirement | PGAE | Fresno | 2023-07-22 | 49 - 98 | No | INC | 2 | 45129.7674 | 45129.8333
67 | RT | Other Reliability Requirement | PGAE | NA | 2023-07-22 | 200 | No | DEC | 3 | 45129.7743 | 45129.875
68 | RT | Other Reliability Requirement | PGAE | NA | 2023-07-22 | 60 | No | INC | 2 | 45129.7743 | 45129.8333
69 | RT | Other Reliability Requirement | SCE | LA Basin | 2023-07-22 | 150 | No | DEC | 3 | 45129.7847 | 45129.875
70 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2023-07-22 | 46 - 51 | No | DEC | 3 | 45129.7812 | 45129.875
71 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-07-19 | 54 | No | DEC | 12 | 45126.3368 | 45126.8333
72 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-07-20 | 54 | No | DEC | 13 | 45127.3056 | 45127.8333
73 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-07-26 | 120 | No | INC | 2 | 45133.684 | 45133.7396
74 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-07-29 | 0 | No | INC | 2 | 45136.5972 | 45136.6736
75 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-05 | 15 | No | DEC | 6 | 45112.7569 | 45113
76 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-06 | 15 | No | DEC | 7 | 45113 | 45113.2604
77 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-06 | 30 | No | INC | 18 | 45113.2708 | 45114
78 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-07 | 30 | No | INC | 10 | 45114 | 45114.4167
79 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-09 | 30 | No | INC | 2 | 45116.9375 | 45117
80 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-10 | 45 | No | DEC | 5 | 45117.625 | 45117.8333
81 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-10 | 30 - 45 | No | INC | 15 | 45117 | 45117.625
82 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-14 | 45 | No | DEC | 8 | 45121.6285 | 45121.9583
83 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-14 | 45 | No | INC | 1 | 45121.9583 | 45122
84 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-15 | 15 - 62 | No | DEC | 24 | 45122 | 45123
85 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-16 | 15 - 30 | No | DEC | 24 | 45123 | 45124
86 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-16 | 30 | No | INC | 6 | 45123.2882 | 45123.5
87 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-17 | 30 | No | DEC | 24 | 45124 | 45125
88 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-17 | 30 | No | INC | 12 | 45124.0417 | 45124.5417
89 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-18 | 30 | No | DEC | 24 | 45125 | 45126
90 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-19 | 15 - 30 | No | DEC | 24 | 45126 | 45127
91 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-20 | 15 - 81 | No | DEC | 24 | 45127 | 45128
92 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-20 | 81 | No | INC | 1 | 45127.7535 | 45127.7917
93 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-21 | 15 | No | DEC | 24 | 45128 | 45129
94 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-22 | 15 - 45 | No | DEC | 24 | 45129 | 45130
95 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-22 | 15 | No | INC | 10 | 45129.0417 | 45129.4583
96 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-23 | 0 - 60 | No | DEC | 24 | 45130 | 45131
97 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-24 | 30 | No | DEC | 24 | 45131 | 45132
98 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-25 | 30 - 75 | No | DEC | 10 | 45132.5833 | 45133
99 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-25 | 30 | No | INC | 14 | 45132 | 45132.5833
100 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-26 | 45 - 75 | No | DEC | 24 | 45133 | 45134
101 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-26 | 75 | No | INC | 10 | 45133 | 45133.4167
102 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-27 | 45 | No | DEC | 24 | 45134 | 45135
103 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-28 | 45 | No | DEC | 1 | 45135.5417 | 45135.5625
104 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-07-28 | 45 | No | INC | 13 | 45135 | 45135.5417
105 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-07-26 | 20 | No | INC | 1 | 45133.8958 | 45133.9375
106 | RT | Planned Transmission Outage | PGAE | NA | 2023-07-07 | 30 | No | DEC | 7 | 45114.5729 | 45114.8333
107 | RT | Planned Transmission Outage | PGAE | NA | 2023-07-07 | 30 | No | INC | 2 | 45114.625 | 45114.7083
108 | RT | Planned Transmission Outage | PGAE | NA | 2023-07-14 | 15 - 240 | No | DEC | 4 | 45121.6319 | 45121.7917
109 | RT | Planned Transmission Outage | PGAE | NA | 2023-07-14 | 15 - 240 | No | INC | 3 | 45121.7083 | 45121.8333
110 | RT | Planned Transmission Outage | PGAE | NA | 2023-07-28 | 18 | No | DEC | 4 | 45135.1493 | 45135.2917
111 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-07-11 | 21 | No | INC | 1 | 45118.9618 | 45119
112 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-07-12 | 21 | No | INC | 8 | 45119 | 45119.3333
113 | RT | Ramping Capacity | PGAE | Bay Area | 2023-07-23 | 177 | No | DEC | 3 | 45130.7708 | 45130.875
114 | RT | Ramping Capacity | PGAE | Bay Area | 2023-07-26 | 22 | No | INC | 4 | 45133.7153 | 45133.875
115 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-14 | 400 | No | INC | 5 | 45121.6667 | 45121.875
116 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-15 | 400 | No | DEC | 4 | 45122.7083 | 45122.875
117 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-15 | 400 | No | INC | 1 | 45122.6667 | 45122.7083
118 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-17 | 401 | No | DEC | 6 | 45124.6667 | 45124.9167
119 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-17 | 401 | No | INC | 1 | 45124.9167 | 45124.9583
120 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-18 | 401 | No | INC | 5 | 45125.6667 | 45125.875
121 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-19 | 401 | No | INC | 5 | 45126.6667 | 45126.875
122 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-24 | 50 | No | INC | 5 | 45131.7917 | 45132
123 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-25 | 50 - 400 | No | DEC | 7 | 45132.625 | 45132.9167
124 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-25 | 50 - 401 | No | INC | 24 | 45132 | 45133
125 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-26 | 400.1 | No | DEC | 3 | 45133.75 | 45133.875
126 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-26 | 400.1 | No | INC | 6 | 45133.6667 | 45133.9167
127 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-27 | 401 | No | DEC | 4 | 45134.7083 | 45134.875
128 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-27 | 401 | No | INC | 1 | 45134.6667 | 45134.7083
129 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-29 | 401 | No | INC | 5 | 45136.6667 | 45136.875
130 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-30 | 401 | No | INC | 5 | 45137.6667 | 45137.875
131 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-07-31 | 400 | No | INC | 5 | 45138.6667 | 45138.875
132 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-03 | 65 - 194 | No | INC | 5 | 45110.7083 | 45110.9167
133 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-13 | 190 - 194 | No | INC | 5 | 45120.6667 | 45120.875
134 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-14 | 190 - 194 | No | DEC | 5 | 45121.6667 | 45121.875
135 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-14 | 240 | No | INC | 3 | 45121.7708 | 45121.875
136 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-15 | 190 - 240 | No | DEC | 5 | 45122.6667 | 45122.875
137 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-15 | 190 - 194 | No | INC | 1 | 45122.6667 | 45122.7083
138 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-16 | 190 - 194 | No | DEC | 5 | 45123.6667 | 45123.875
139 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-16 | 194 - 240 | No | INC | 5 | 45123.6667 | 45123.875
140 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-17 | 65 - 240 | No | DEC | 7 | 45124.6667 | 45124.9583
141 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-18 | 190 | No | DEC | 5 | 45125.6667 | 45125.875
142 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-18 | 65 - 240 | No | INC | 5 | 45125.6667 | 45125.875
143 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-19 | 65 - 190 | No | DEC | 5 | 45126.6667 | 45126.875
144 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-19 | 194 - 240 | No | INC | 5 | 45126.6667 | 45126.875
145 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-20 | 65 - 194 | No | DEC | 5 | 45127.6667 | 45127.875
146 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-20 | 240 - 240.01 | No | INC | 5 | 45127.6667 | 45127.875
147 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-21 | 65 - 194 | No | DEC | 5 | 45128.6667 | 45128.875
148 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-21 | 240 - 240.01 | No | INC | 5 | 45128.6667 | 45128.875
149 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-22 | 65 - 240 | No | DEC | 5 | 45129.6667 | 45129.875
150 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-22 | 65 - 240.01 | No | INC | 5 | 45129.6667 | 45129.875
151 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-23 | 65 - 194 | No | DEC | 5 | 45130.6667 | 45130.875
152 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-23 | 240 - 240.01 | No | INC | 5 | 45130.6667 | 45130.875
153 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-24 | 65 - 240 | No | DEC | 5 | 45131.6667 | 45131.875
154 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-25 | 65 - 240 | No | DEC | 6 | 45132.6667 | 45132.9167
155 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-25 | 190 - 194 | No | INC | 1 | 45132.875 | 45132.9167
156 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-26 | 65 - 240 | No | DEC | 6 | 45133.6667 | 45133.9167
157 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-26 | 151 - 160 | No | INC | 5 | 45133.6667 | 45133.875
158 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-27 | 65 - 240 | No | DEC | 5 | 45134.6667 | 45134.875
159 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-27 | 151 - 160 | No | INC | 5 | 45134.6667 | 45134.875
160 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-28 | 190 - 240 | No | DEC | 5 | 45135.6667 | 45135.875
161 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-28 | 151 - 160 | No | INC | 5 | 45135.6667 | 45135.875
162 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-29 | 190 | No | DEC | 4 | 45136.7083 | 45136.875
163 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-29 | 151 - 240 | No | INC | 5 | 45136.6667 | 45136.875
164 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-30 | 65 - 240 | No | INC | 5 | 45137.6667 | 45137.875
165 | RT | Ramping Capacity | SCE | LA Basin | 2023-07-31 | 180 - 194 | No | INC | 5 | 45138.6667 | 45138.875
166 | RT | Reliability Assessment | PGAE | Bay Area | 2023-07-14 | 75 - 90 | No | INC | 3 | 45121.8299 | 45121.9167
167 | RT | Reliability Assessment | PGAE | Bay Area | 2023-07-15 | 60 | No | DEC | 2 | 45122.8125 | 45122.875
168 | RT | Reliability Assessment | PGAE | Bay Area | 2023-07-18 | 200 | No | DEC | 9 | 45125.5312 | 45125.875
169 | RT | Reliability Assessment | PGAE | Bay Area | 2023-07-22 | 290 | No | DEC | 6 | 45129.6632 | 45129.875
170 | RT | Reliability Assessment | PGAE | Fresno | 2023-07-01 | 10 | No | DEC | 3 | 45108.6181 | 45108.7083
171 | RT | Reliability Assessment | PGAE | Fresno | 2023-07-06 | 0 | No | DEC | 10 | 45113.4549 | 45113.8333
172 | RT | Reliability Assessment | PGAE | Fresno | 2023-07-08 | 0 | No | DEC | 8 | 45115.5 | 45115.8333
173 | RT | Reliability Assessment | PGAE | Fresno | 2023-07-17 | 200 | No | INC | 4 | 45124.8472 | 45125
174 | RT | Reliability Assessment | PGAE | Fresno | 2023-07-26 | 83 | No | INC | 1 | 45133.9583 | 45134
175 | RT | Reliability Assessment | PGAE | Fresno | 2023-07-27 | 83 | No | DEC | 2 | 45134.7917 | 45134.875
176 | RT | Reliability Assessment | PGAE | Fresno | 2023-07-27 | 83 | No | INC | 23 | 45134 | 45134.9271
177 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-01 | 30 | No | DEC | 11 | 45108.5417 | 45109
178 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-01 | 30 | No | INC | 13 | 45108 | 45108.5417
179 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-02 | 30 | No | DEC | 24 | 45109 | 45110
180 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-02 | 30 | No | INC | 11 | 45109.0417 | 45109.4688
181 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-03 | 30 | No | DEC | 24 | 45110 | 45111
182 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-04 | 30 | No | DEC | 1 | 45111 | 45111.0417
183 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-04 | 30 | No | INC | 23 | 45111.0417 | 45112
184 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-05 | 15 | No | DEC | 19 | 45112.0104 | 45112.7708
185 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-05 | 30 | No | INC | 1 | 45112 | 45112.0104
186 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-06 | 15 | No | DEC | 1 | 45113.2431 | 45113.2708
187 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-07 | 15 | No | DEC | 3 | 45114.9062 | 45115
188 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-07 | 30 | No | INC | 12 | 45114.4375 | 45114.9062
189 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-08 | 15 | No | DEC | 22 | 45115 | 45115.8924
190 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-08 | 30 | No | INC | 3 | 45115.8924 | 45116
191 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-09 | 30 | No | INC | 24 | 45116 | 45117
192 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-10 | 15 - 45 | No | DEC | 5 | 45117.8194 | 45118
193 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-10 | 30 | No | INC | 9 | 45117 | 45117.3576
194 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-11 | 15 | No | INC | 2 | 45118 | 45118.0625
195 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-31 | 30 | No | DEC | 11 | 45138.5 | 45138.9583
196 | RT | Reliability Assessment | PGAE | Humboldt | 2023-07-31 | 30 | No | INC | 17 | 45138.3021 | 45139
197 | RT | Reliability Assessment | PGAE | Kern | 2023-07-01 | 32 | No | INC | 3 | 45108.9062 | 45109
198 | RT | Reliability Assessment | PGAE | Kern | 2023-07-19 | 32 | No | INC | 2 | 45126.6458 | 45126.7083
199 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-01 | 20 | No | DEC | 2 | 45108.7917 | 45108.875
200 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-01 | 20 - 42 | No | INC | 7 | 45108.7465 | 45109
201 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-02 | 42 | No | INC | 7 | 45109.625 | 45109.9167
202 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-03 | 20 | No | DEC | 3 | 45110.75 | 45110.875
203 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-03 | 20 - 35 | No | INC | 7 | 45110.7083 | 45111
204 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-12 | 20 | No | INC | 3 | 45119.809 | 45119.9167
205 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-13 | 20 | No | DEC | 1 | 45120.8438 | 45120.875
206 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-13 | 42 | No | INC | 2 | 45120.7917 | 45120.875
207 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-14 | 20 | No | INC | 2 | 45121.9028 | 45121.9583
208 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-20 | 42 | No | DEC | 4 | 45127.7083 | 45127.875
209 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-20 | 42 | No | INC | 1 | 45127.875 | 45127.9167
210 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-21 | 42 | No | DEC | 6 | 45128.6667 | 45128.9167
211 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-25 | 20 | No | DEC | 2 | 45132.9132 | 45132.9583
212 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-25 | 20 | No | INC | 1 | 45132.9583 | 45133
213 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-26 | 20 | No | INC | 2 | 45133 | 45133.0833
214 | RT | Reliability Assessment | PGAE | Sierra | 2023-07-27 | 42 | No | INC | 3 | 45134.8194 | 45134.9167
215 | RT | Reliability Assessment | PGAE | Stockton | 2023-07-09 | 45 | No | DEC | 2 | 45116.9549 | 45117
216 | RT | Reliability Assessment | PGAE | Stockton | 2023-07-10 | 47 | No | DEC | 1 | 45117.25 | 45117.2917
217 | RT | Reliability Assessment | PGAE | Stockton | 2023-07-10 | 45 - 65 | No | INC | 20 | 45117 | 45117.8333
218 | RT | Reliability Assessment | PGAE | Stockton | 2023-07-14 | 236 | No | DEC | 4 | 45121.809 | 45121.9583
219 | RT | Reliability Assessment | PGAE | Stockton | 2023-07-15 | 200 | No | DEC | 4 | 45122.7951 | 45122.9583
220 | RT | Reliability Assessment | PGAE | Stockton | 2023-07-15 | 70 | No | INC | 2 | 45122.7917 | 45122.875
221 | RT | Reliability Assessment | PGAE | Stockton | 2023-07-16 | 110 - 192 | No | DEC | 2 | 45123.7847 | 45123.8333
222 | RT | Reliability Assessment | PGAE | Stockton | 2023-07-20 | 236 | No | DEC | 5 | 45127.7917 | 45128
223 | RT | Reliability Assessment | PGAE | Stockton | 2023-07-20 | 236 | No | INC | 1 | 45127.7604 | 45127.7917
224 | RT | Reliability Assessment | PGAE | Stockton | 2023-07-21 | 236 | No | DEC | 2 | 45128 | 45128.0833
225 | RT | Reliability Assessment | PGAE | NA | 2023-07-03 | 100 | No | DEC | 1 | 45110.7083 | 45110.7292
226 | RT | Reliability Assessment | PGAE | NA | 2023-07-07 | 37 | No | DEC | 1 | 45114.5521 | 45114.5833
227 | RT | Reliability Assessment | PGAE | NA | 2023-07-13 | 155 | No | INC | 4 | 45120.6736 | 45120.8125
228 | RT | Reliability Assessment | PGAE | NA | 2023-07-17 | 32 | No | DEC | 2 | 45124.8924 | 45124.9583
229 | RT | Reliability Assessment | PGAE | NA | 2023-07-18 | 32 | No | DEC | 14 | 45125.2986 | 45125.875
230 | RT | Reliability Assessment | PGAE | NA | 2023-07-28 | 35 | No | DEC | 1 | 45135.0903 | 45135.125
231 | RT | Reliability Assessment | PGAE | NA | 2023-07-28 | 35 | No | INC | 2 | 45135.059 | 45135.1042
232 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-07-07 | 30 - 50 | No | DEC | 3 | 45114.5833 | 45114.7083
233 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-07-07 | 30 | No | INC | 3 | 45114.7083 | 45114.8333
234 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-07-09 | 60 | No | DEC | 3 | 45116.5312 | 45116.625
235 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-07-09 | 60 | No | INC | 3 | 45116.625 | 45116.75
236 | RT | Reliability Assessment | SCE | LA Basin | 2023-07-15 | 251 | No | INC | 5 | 45122.2917 | 45122.5
237 | RT | Reliability Assessment | SCE | NA | 2023-07-07 | 0 - 55 | No | INC | 17 | 45114.2951 | 45115
238 | RT | Reliability Assessment | SCE | NA | 2023-07-08 | 6.5 - 54 | No | DEC | 21 | 45115.0729 | 45115.9167
239 | RT | Reliability Assessment | SCE | NA | 2023-07-08 | 0 - 55 | No | INC | 13 | 45115 | 45115.5417
240 | RT | Reliability Assessment | SCE | NA | 2023-07-09 | 50 | No | DEC | 1 | 45116.0799 | 45116.1042
241 | RT | Reliability Assessment | SCE | NA | 2023-07-10 | 22 - 50 | No | DEC | 1 | 45117.9618 | 45118
242 | RT | Reliability Assessment | SCE | NA | 2023-07-11 | 20 - 50 | No | DEC | 24 | 45118 | 45119
243 | RT | Reliability Assessment | SCE | NA | 2023-07-12 | 20 - 45 | No | DEC | 24 | 45119 | 45120
244 | RT | Reliability Assessment | SCE | NA | 2023-07-13 | 40 - 45 | No | DEC | 8 | 45120 | 45120.3333
245 | RT | Reliability Assessment | SCE | NA | 2023-07-14 | 22 - 50 | No | DEC | 5 | 45121.2361 | 45121.4167
246 | RT | Reliability Assessment | SCE | NA | 2023-07-14 | 22 | No | INC | 4 | 45121.25 | 45121.4167
247 | RT | Reliability Assessment | SCE | NA | 2023-07-15 | 20 | No | DEC | 9 | 45122.0347 | 45122.375
248 | RT | Reliability Assessment | SCE | NA | 2023-07-24 | 40 | No | DEC | 3 | 45131.3229 | 45131.4167
249 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-07-01 | 0 | No | DEC | 2 | 45108.8194 | 45108.875
250 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-07-01 | 0 | No | INC | 3 | 45108.875 | 45109
251 | RT | Reliability Assessment | SDGE | NA | 2023-07-03 | 20 | No | DEC | 1 | 45110.7049 | 45110.7292
252 | RT | Software Limitation | PGAE | Fresno | 2023-07-17 | 50.56 - 65 | No | INC | 3 | 45124.8056 | 45124.9167
253 | RT | Software Limitation | PGAE | Kern | 2023-07-20 | 0 | No | INC | 3 | 45127.1667 | 45127.2917
254 | RT | Software Limitation | SCE | Big Creek-Ventura | 2023-07-14 | 0 | No | INC | 9 | 45121.625 | 45122
255 | RT | Software Limitation | SCE | Big Creek-Ventura | 2023-07-15 | 0 | No | INC | 5 | 45122 | 45122.2083
256 | RT | Software Limitation | SCE | LA Basin | 2023-07-20 | 0 | No | INC | 1 | 45127.9826 | 45128
257 | RT | Software Limitation | SCE | LA Basin | 2023-07-21 | 0 | No | INC | 1 | 45128 | 45128.0278
258 | RT | System Emergency | PGAE | NA | 2023-07-20 | 1.15 - 30.23 | No | INC | 5 | 45127.8229 | 45128
259 | RT | System Emergency | PGAE | NA | 2023-07-21 | 1.15 - 30.23 | No | INC | 1 | 45128 | 45128.0243
260 | RT | System Emergency | SCE | NA | 2023-07-20 | 0.64 - 172.55 | No | INC | 5 | 45127.8229 | 45128
261 | RT | System Emergency | SCE | NA | 2023-07-21 | 0.64 - 172.55 | No | INC | 1 | 45128 | 45128.0243
262 | RT | Unit Testing | PGAE | Fresno | 2023-07-20 | 200 | No | INC | 1 | 45127.6354 | 45127.6667
263 | RT | Unit Testing | PGAE | Fresno | 2023-07-26 | 83 | No | INC | 3 | 45133.625 | 45133.75
264 | RT | Unit Testing | PGAE | NA | 2023-07-11 | -2 | No | DEC | 6 | 45118.5833 | 45118.8333
265 | RT | Unit Testing | PGAE | NA | 2023-07-11 | 137 | No | INC | 2 | 45118.4722 | 45118.5417
266 | RT | Unit Testing | SCE | LA Basin | 2023-07-01 | 174 - 178 | No | INC | 2 | 45108.8542 | 45108.9271
267 | RT | Unit Testing | SCE | LA Basin | 2023-07-20 | 9.82 | No | INC | 1 | 45127.6111 | 45127.6424
268 | RT | Unit Testing | SCE | LA Basin | 2023-07-26 | 185 | No | INC | 1 | 45133.2882 | 45133.3021
269 | RT | Unit Testing | SCE | NA | 2023-07-11 | 60 - 292 | No | INC | 5 | 45118.3646 | 45118.5625
270 | RT | Unit Testing | SCE | NA | 2023-07-12 | -325 | No | DEC | 7 | 45119.2986 | 45119.5833
271 | RT | Unit Testing | SCE | NA | 2023-07-12 | 65 - 325 | No | INC | 5 | 45119.625 | 45119.8021
272 | RT | Unit Testing | SCE | NA | 2023-07-15 | -250 | No | DEC | 4 | 45122.316 | 45122.4583
273 | RT | Unit Testing | SCE | NA | 2023-07-15 | 75 - 325 | No | INC | 3 | 45122.559 | 45122.6667
274 | RT | Unit Testing | SCE | NA | 2023-07-21 | -60 | No | DEC | 1 | 45128.6458 | 45128.6875
275 | RT | Unit Testing | VEA | NA | 2023-07-11 | 107 | No | INC | 10 | 45118.4236 | 45118.8333
276 | RT | Unit Testing | VEA | NA | 2023-07-12 | 24.22 - 108 | No | INC | 11 | 45119.3368 | 45119.7917
277 | RT | Unit Testing | VEA | NA | 2023-07-13 | 65 | No | INC | 1 | 45120.4896 | 45120.5208
278 | RT | Unplanned Outage | PGAE | Fresno | 2023-07-25 | 83 | No | DEC | 2 | 45132.75 | 45132.8333
279 | RT | Unplanned Outage | PGAE | Fresno | 2023-07-25 | 83 | No | INC | 2 | 45132.7014 | 45132.75
280 | RT | Unplanned Outage | SCE | NA | 2023-07-09 | 20 - 50 | No | DEC | 23 | 45116.0417 | 45117
281 | RT | Unplanned Outage | SCE | NA | 2023-07-10 | 20 - 54 | No | DEC | 12 | 45117 | 45117.4792
282 | RT | Unplanned Outage | SCE | NA | 2023-07-11 | 23 - 50 | No | DEC | 11 | 45118.2847 | 45118.7083
283 | RT | Unplanned Outage | SCE | NA | 2023-07-11 | 55 | No | INC | 1 | 45118.3056 | 45118.3333
284 | RT | Unplanned Outage | SCE | NA | 2023-07-13 | 0 - 50 | No | DEC | 8 | 45120.7049 | 45121
285 | RT | Unplanned Outage | SCE | NA | 2023-07-14 | 0 - 50 | No | DEC | 3 | 45121 | 45121.1042
286 | RT | Unplanned Outage | SDGE | San Diego-IV | 2023-07-12 | 0 | No | DEC | 2 | 45119.8021 | 45119.875
287 | RT | Unplanned Outage | SDGE | San Diego-IV | 2023-07-12 | 0 - 30 | No | INC | 10 | 45119.6181 | 45120
288 | RT | Voltage Support | PGAE | Fresno | 2023-07-17 | 21 | No | DEC | 2 | 45124.7917 | 45124.875
289 | RT | Voltage Support | PGAE | Fresno | 2023-07-17 | 21 | No | INC | 1 | 45124.7708 | 45124.7917
290 | RT | Voltage Support | PGAE | Humboldt | 2023-07-11 | 30 | No | DEC | 7 | 45118.7083 | 45119
291 | RT | Voltage Support | PGAE | Humboldt | 2023-07-11 | 30 | No | INC | 11 | 45118.2604 | 45118.7083
292 | RT | Voltage Support | PGAE | Humboldt | 2023-07-12 | 15 | No | DEC | 8 | 45119.6667 | 45120
293 | RT | Voltage Support | PGAE | Humboldt | 2023-07-12 | 15 - 30 | No | INC | 16 | 45119 | 45119.6667
294 | RT | Voltage Support | PGAE | Humboldt | 2023-07-13 | 30 | No | DEC | 8 | 45120.6667 | 45121
295 | RT | Voltage Support | PGAE | Humboldt | 2023-07-13 | 15 - 30 | No | INC | 16 | 45120 | 45120.6667
296 | RT | Voltage Support | PGAE | Humboldt | 2023-07-14 | 30 | No | DEC | 5 | 45121.4583 | 45121.6285
297 | RT | Voltage Support | PGAE | Humboldt | 2023-07-14 | 30 | No | INC | 11 | 45121 | 45121.4583
298 | RT | Voltage Support | PGAE | Humboldt | 2023-07-28 | 15 - 30 | No | DEC | 11 | 45135.5625 | 45136
299 | RT | Voltage Support | PGAE | Humboldt | 2023-07-29 | 30 | No | DEC | 24 | 45136 | 45137
300 | RT | Voltage Support | PGAE | Humboldt | 2023-07-30 | 30 | No | INC | 24 | 45137 | 45138
301 | RT | Voltage Support | PGAE | Humboldt | 2023-07-31 | 30 | No | DEC | 10 | 45138.5 | 45138.8993
302 | RT | Voltage Support | PGAE | Humboldt | 2023-07-31 | 30 | No | INC | 12 | 45138 | 45138.5