## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report July 15, 2023
Chart 1: Table of Exceptional Dispatches for Period 01/May/2023 - 31/May/2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Fast Start Unit Management | PGAE | Fresno | 2023-05-21 | 0 | No | INC | 1 | 45067.8542 | 45067.8958
2 | RT | Fast Start Unit Management | PGAE | Fresno | 2023-05-22 | 0 | No | INC | 1 | 45068.1042 | 45068.1458
3 | RT | Fast Start Unit Management | SCE | Big Creek-Ventura | 2023-05-21 | 0 | No | INC | 1 | 45067.9479 | 45067.9896
4 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-05-21 | 0 | No | INC | 3 | 45067.8958 | 45067.9896
5 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-05-22 | 0 | No | INC | 2 | 45068.1458 | 45068.191
6 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-05-23 | 0 | No | INC | 2 | 45069 | 45069.0451
7 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-05-24 | 0 | No | INC | 1 | 45070.1528 | 45070.1944
8 | RT | Fast Start Unit Management | SDGE | San Diego-IV | 2023-05-21 | 0 | No | INC | 2 | 45067.875 | 45067.9583
9 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-05-02 | 30 | No | INC | 9 | 45048.5451 | 45048.9167
10 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-05-03 | 15 | No | DEC | 3 | 45049.2326 | 45049.3229
11 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-05-03 | 30 | No | INC | 11 | 45049.3229 | 45049.75
12 | RT | Incomplete or Inaccurate Transmission | PGAE | NA | 2023-05-04 | 42 | No | INC | 1 | 45050.2049 | 45050.2396
13 | RT | Incomplete or Inaccurate Transmission | SCE | Big Creek-Ventura | 2023-05-13 | 30 | No | DEC | 1 | 45059.691 | 45059.7083
14 | RT | Incomplete or Inaccurate Transmission | SCE | Big Creek-Ventura | 2023-05-13 | 30 | No | INC | 2 | 45059.7083 | 45059.7917
15 | RT | Incomplete or Inaccurate Transmission | SCE | Big Creek-Ventura | 2023-05-14 | 45 | No | DEC | 2 | 45060.5833 | 45060.6667
16 | RT | Incomplete or Inaccurate Transmission | SCE | Big Creek-Ventura | 2023-05-14 | 45 | No | INC | 3 | 45060.6667 | 45060.7917
17 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-05-01 | 45087 | No | DEC | 6 | 45047 | 45047.2292
18 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-05-01 | 6 | No | INC | 3 | 45047 | 45047.125
19 | RT | Planned Transmission Outage | Intertie | NA | 2023-05-24 | 0 - 1 | No | DEC | 12 | 45070.3507 | 45070.8333
20 | RT | Planned Transmission Outage | Intertie | NA | 2023-05-24 | 0 - 1 | No | INC | 1 | 45070.7917 | 45070.8333
21 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-05-06 | 83 | No | INC | 6 | 45052.0729 | 45052.2917
22 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-05-25 | 14916 | No | INC | 15 | 45071.3854 | 45072
23 | RT | Planned Transmission Outage | PGAE | Fresno | 2023-05-26 | 15 - 40 | No | INC | 16 | 45072 | 45072.6354
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-01 | 30 | No | INC | 24 | 45047 | 45048
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-02 | 15 | No | DEC | 2 | 45048.9167 | 45049
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-02 | 30 | No | INC | 24 | 45048 | 45049
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-03 | 15 | No | DEC | 3 | 45049 | 45049.1042
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-03 | 30 | No | INC | 24 | 45049 | 45050
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-04 | 30 | No | INC | 24 | 45050 | 45051
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-05 | 30 | No | INC | 24 | 45051 | 45052
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-06 | 30 | No | INC | 24 | 45052 | 45053
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-07 | 30 | No | INC | 19 | 45053 | 45053.7917
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-09 | 30 | No | INC | 17 | 45055.2917 | 45056
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-10 | 30 | No | INC | 4 | 45056.8125 | 45056.9479
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-11 | 30 | No | INC | 17 | 45057.2917 | 45058
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-12 | 15 - 45 | No | INC | 24 | 45058 | 45059
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-13 | 15 - 30 | No | DEC | 4 | 45059.75 | 45059.9167
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-13 | 15 - 30 | No | INC | 24 | 45059 | 45060
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-14 | 30 | No | INC | 24 | 45060 | 45061
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-15 | 15 - 30 | No | DEC | 15 | 45061.2083 | 45061.8333
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-15 | 30 | No | INC | 24 | 45061 | 45062
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-16 | 30 | No | DEC | 5 | 45062.7083 | 45062.9167
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-16 | 30 | No | INC | 24 | 45062 | 45063
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-17 | 30 | No | DEC | 2 | 45063.7917 | 45063.875
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-17 | 30 - 45 | No | INC | 24 | 45063 | 45064
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-18 | 30 | No | INC | 3 | 45064 | 45064.1042
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-19 | 15 | No | DEC | 5 | 45065.7917 | 45066
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-20 | 15 | No | DEC | 24 | 45066 | 45067
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-20 | 15 | No | INC | 10 | 45066.2917 | 45066.7083
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-21 | 15 | No | DEC | 19 | 45067 | 45067.7569
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-21 | 15 - 30 | No | INC | 18 | 45067.25 | 45068
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-22 | 30 | No | INC | 24 | 45068 | 45069
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-23 | 15 - 30 | No | INC | 24 | 45069 | 45070
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-24 | 15 - 30 | No | INC | 24 | 45070 | 45071
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-25 | 15 - 30 | No | INC | 24 | 45071 | 45072
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-26 | 15 - 30 | No | INC | 24 | 45072 | 45073
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-27 | 15 - 30 | No | INC | 20 | 45073 | 45073.8333
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-28 | 15 | No | DEC | 24 | 45074 | 45075
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-28 | 15 | No | INC | 23 | 45074.0417 | 45075
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-29 | 15 | No | DEC | 24 | 45075 | 45076
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-29 | 15 | No | INC | 22 | 45075 | 45075.9167
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-30 | 15 | No | DEC | 24 | 45076 | 45077
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-05-30 | 15 - 30 | No | INC | 17 | 45076.2812 | 45076.9792
64 | RT | Planned Transmission Outage | PGAE | Kern | 2023-05-28 | 7 | No | DEC | 1 | 45074.5625 | 45074.5729
65 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-05-15 | 25781 | No | DEC | 3 | 45061.5347 | 45061.625
66 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-05-15 | 8 | No | INC | 1 | 45061.5833 | 45061.625
67 | RT | Planned Transmission Outage | PGAE | NCNB | 2023-05-17 | 8 | No | DEC | 1 | 45063.4896 | 45063.5104
68 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-05-15 | 20 | Yes | INC | 9 | 45061.3333 | 45061.7083
69 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-05-20 | 20 | No | INC | 4 | 45066.2986 | 45066.4583
70 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-05-07 | 40 | No | INC | 6 | 45053.0451 | 45053.2917
71 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-05-22 | 40 | No | INC | 11 | 45068.066 | 45068.5
72 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-05-24 | 25 - 50 | No | INC | 10 | 45070.066 | 45070.4479
73 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-05-25 | 45124 | No | DEC | 3 | 45071.4375 | 45071.5417
74 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-05-25 | 50 | No | INC | 10 | 45071.0417 | 45071.4375
75 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-05-27 | 45214 | No | DEC | 3 | 45073.3785 | 45073.5
76 | RT | Planned Transmission Outage | PGAE | NA | 2023-05-30 | 8.7 - 11.3 | No | DEC | 17 | 45076.2917 | 45077
77 | RT | Planned Transmission Outage | PGAE | NA | 2023-05-30 | 11.3 | No | INC | 3 | 45076.375 | 45076.5
78 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-05-13 | 30 | No | DEC | 4 | 45059.5625 | 45059.691
79 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-05-11 | 45091 | No | INC | 9 | 45057.2986 | 45057.6667
80 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-05-24 | 24 - 72 | No | DEC | 1 | 45070.7917 | 45070.8333
81 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-05-24 | 24 - 72 | No | INC | 8 | 45070.4583 | 45070.7917
82 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-05-25 | 0 - 161 | No | INC | 11 | 45071.3264 | 45071.75
83 | RT | Pump Management | PGAE | Fresno | 2023-05-05 | -315 | No | DEC | 1 | 45051.2951 | 45051.3333
84 | RT | Reliability Assessment | PGAE | Humboldt | 2023-05-08 | 15 | No | DEC | 18 | 45054.2743 | 45055
85 | RT | Reliability Assessment | PGAE | Humboldt | 2023-05-08 | 15 | No | INC | 11 | 45054.2917 | 45054.75
86 | RT | Reliability Assessment | PGAE | Humboldt | 2023-05-09 | 15 | No | DEC | 2 | 45055.2083 | 45055.2917
87 | RT | Reliability Assessment | PGAE | Humboldt | 2023-05-09 | 15 - 30 | No | INC | 24 | 45055 | 45056
88 | RT | Reliability Assessment | PGAE | Humboldt | 2023-05-10 | 15 | No | DEC | 2 | 45056.9479 | 45057
89 | RT | Reliability Assessment | PGAE | Humboldt | 2023-05-10 | 30 | No | INC | 20 | 45056 | 45056.8229
90 | RT | Reliability Assessment | PGAE | Humboldt | 2023-05-11 | 15 - 30 | No | INC | 7 | 45057 | 45057.2917
91 | RT | Reliability Assessment | PGAE | Sierra | 2023-05-06 | 20 - 40 | No | INC | 6 | 45052.3924 | 45052.625
92 | RT | Reliability Assessment | PGAE | Stockton | 2023-05-03 | 40 | No | INC | 4 | 45049.5382 | 45049.6979
93 | RT | Reliability Assessment | PGAE | Stockton | 2023-05-11 | 40 | No | DEC | 3 | 45057.816 | 45057.9167
94 | RT | Reliability Assessment | PGAE | Stockton | 2023-05-11 | 40 | No | INC | 2 | 45057.9167 | 45058
95 | RT | Reliability Assessment | PGAE | NA | 2023-05-09 | 32 | No | INC | 2 | 45055.875 | 45055.9583
96 | RT | Reliability Assessment | PGAE | NA | 2023-05-10 | 32 | No | INC | 22 | 45056.0069 | 45056.9167
97 | RT | Reliability Assessment | SCE | NA | 2023-05-15 | 0 | No | DEC | 10 | 45061.4444 | 45061.8333
98 | RT | Reliability Assessment | SCE | NA | 2023-05-16 | 0 | No | DEC | 10 | 45062.4201 | 45062.8333
99 | RT | Reliability Assessment | SCE | NA | 2023-05-16 | 0 | No | INC | 4 | 45062.8333 | 45063
100 | RT | Reliability Assessment | SCE | NA | 2023-05-17 | 0 | No | DEC | 5 | 45063.2083 | 45063.4062
101 | RT | Reliability Assessment | SCE | NA | 2023-05-17 | 0 | No | INC | 5 | 45063 | 45063.2083
102 | RT | Software Limitation | PGAE | Bay Area | 2023-05-23 | 0 | No | INC | 2 | 45069.3125 | 45069.3576
103 | RT | Software Limitation | PGAE | Fresno | 2023-05-21 | 14 - 22.69 | No | INC | 1 | 45067.7569 | 45067.7951
104 | RT | Software Limitation | SCE | Big Creek-Ventura | 2023-05-21 | 16 - 45.34 | No | INC | 1 | 45067.7569 | 45067.7951
105 | RT | Software Limitation | SCE | LA Basin | 2023-05-20 | 0 | No | INC | 1 | 45066.0417 | 45066.0833
106 | RT | Software Limitation | SCE | LA Basin | 2023-05-21 | 45.24 - 48.04 | No | DEC | 1 | 45067.7917 | 45067.7951
107 | RT | Software Limitation | SCE | LA Basin | 2023-05-21 | 20.05 - 150 | No | INC | 1 | 45067.7535 | 45067.7951
108 | RT | Software Limitation | SCE | LA Basin | 2023-05-24 | 0 | No | INC | 1 | 45070.6875 | 45070.7292
109 | RT | Software Limitation | SCE | LA Basin | 2023-05-30 | 0 | No | INC | 2 | 45076.5833 | 45076.6285
110 | RT | Software Limitation | SDGE | San Diego-IV | 2023-05-21 | 30 - 45.42 | No | INC | 1 | 45067.7569 | 45067.7951
111 | RT | Unit Testing | PGAE | Bay Area | 2023-05-15 | 104 | No | DEC | 1 | 45061.7083 | 45061.7153
112 | RT | Unit Testing | PGAE | Bay Area | 2023-05-15 | 104 | No | INC | 1 | 45061.6875 | 45061.7083
113 | RT | Unit Testing | PGAE | Bay Area | 2023-05-20 | 220 | No | INC | 1 | 45066.9722 | 45067
114 | RT | Unit Testing | PGAE | Fresno | 2023-05-24 | -315 | No | INC | 1 | 45070.5729 | 45070.6146
115 | RT | Unit Testing | PGAE | NCNB | 2023-05-17 | 73.42 | No | DEC | 1 | 45063.4688 | 45063.4965
116 | RT | Unit Testing | PGAE | Stockton | 2023-05-10 | 44 | No | INC | 9 | 45056.4653 | 45056.8333
117 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-05-23 | 750 | No | INC | 2 | 45069.9375 | 45070
118 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-05-24 | 750 | No | INC | 2 | 45070.059 | 45070.1042
119 | RT | Unit Testing | SCE | LA Basin | 2023-05-01 | 76.85 | No | INC | 1 | 45047.3889 | 45047.4201
120 | RT | Unit Testing | SCE | NA | 2023-05-01 | -50.78 | No | DEC | 1 | 45047.4757 | 45047.5035
121 | RT | Unit Testing | SCE | NA | 2023-05-01 | -22.58 | No | INC | 1 | 45047.559 | 45047.5868
122 | RT | Unit Testing | SCE | NA | 2023-05-02 | 16.08 | No | INC | 1 | 45048.6562 | 45048.684
123 | RT | Unit Testing | SCE | NA | 2023-05-12 | 30.6 | No | INC | 1 | 45058.3681 | 45058.3993
124 | RT | Unit Testing | SCE | NA | 2023-05-18 | -87.33 | No | DEC | 1 | 45064.5243 | 45064.5521
125 | RT | Unit Testing | SCE | NA | 2023-05-19 | 21.98 - 134 | No | INC | 3 | 45065.4236 | 45065.5382
126 | RT | Unit Testing | SDGE | San Diego-IV | 2023-05-20 | 30 | No | INC | 1 | 45066.1875 | 45066.2153
127 | RT | Unplanned Outage | PGAE | Stockton | 2023-05-11 | 25 | No | DEC | 2 | 45057.2396 | 45057.2917
128 | RT | Voltage Support | PGAE | Fresno | 2023-05-06 | 83 | No | INC | 1 | 45052.9583 | 45053
129 | RT | Voltage Support | PGAE | Fresno | 2023-05-07 | 83 | No | DEC | 6 | 45053 | 45053.2292
130 | RT | Voltage Support | PGAE | Fresno | 2023-05-07 | 83 | No | INC | 2 | 45053.0833 | 45053.1667
131 | RT | Voltage Support | PGAE | Fresno | 2023-05-08 | 83 | No | INC | 4 | 45054.0417 | 45054.2083
132 | RT | Voltage Support | PGAE | Humboldt | 2023-05-07 | 15 | No | DEC | 5 | 45053.7917 | 45054
133 | RT | Voltage Support | PGAE | Humboldt | 2023-05-08 | 15 | No | DEC | 7 | 45054 | 45054.2917
134 | RT | Voltage Support | PGAE | Humboldt | 2023-05-08 | 15 | No | INC | 2 | 45054.0833 | 45054.1667
135 | RT | Voltage Support | PGAE | Humboldt | 2023-05-18 | 15 | No | DEC | 9 | 45064.625 | 45065
136 | RT | Voltage Support | PGAE | Humboldt | 2023-05-18 | 15 - 30 | No | INC | 13 | 45064.1042 | 45064.625
137 | RT | Voltage Support | PGAE | Humboldt | 2023-05-19 | 15 | No | DEC | 19 | 45065 | 45065.7917
138 | RT | Voltage Support | PGAE | Humboldt | 2023-05-19 | 15 | No | INC | 17 | 45065.2986 | 45066
139 | RT | Voltage Support | PGAE | Humboldt | 2023-05-20 | 15 | No | INC | 15 | 45066 | 45066.625
140 | RT | Voltage Support | PGAE | Sierra | 2023-05-06 | 40 | No | INC | 10 | 45052.6146 | 45053
141 | RT | Voltage Support | PGAE | Sierra | 2023-05-07 | 40 - 42 | Yes | INC | 24 | 45053 | 45054
142 | RT | Voltage Support | PGAE | Sierra | 2023-05-08 | 42 | No | INC | 7 | 45054 | 45054.2917
143 | RT | Voltage Support | PGAE | Sierra | 2023-05-24 | 20 | No | DEC | 1 | 45070.7917 | 45070.8333
144 | RT | Voltage Support | PGAE | Sierra | 2023-05-24 | 20 | No | INC | 7 | 45070.7396 | 45071
145 | RT | Voltage Support | PGAE | Sierra | 2023-05-25 | 20 | No | INC | 5 | 45071.0069 | 45071.2083
146 | RT | Voltage Support | PGAE | Sierra | 2023-05-28 | 20 | No | INC | 10 | 45074.5139 | 45074.9167