## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report January 15, 2024
Chart 1: Table of Exceptional Dispatches for Period 01/November/2023 - 30/November/2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | SCE | LA Basin | 2023-11-18 | 20 | No | INC | 1 | 45248.9583 | 45249
2 | RT | Fast Start Unit Management | PGAE | Fresno | 2023-11-28 | 0 | No | INC | 1 | 45258.5938 | 45258.6354
3 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-11-02 | 0 | No | INC | 2 | 45232.0521 | 45232.1181
4 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-11-06 | 0 | No | INC | 1 | 45236.8646 | 45236.9062
5 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-11-08 | 0 | No | INC | 2 | 45238.2778 | 45238.3229
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2023-11-14 | 54 | No | INC | 4 | 45244.6875 | 45244.8333
7 | RT | Incomplete or Inaccurate Transmission | SCE | Big Creek-Ventura | 2023-11-13 | 700 | No | DEC | 4 | 45243.5694 | 45243.7083
8 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-11-15 | 200 | No | INC | 5 | 45245.4375 | 45245.6458
9 | RT | Market Disruption | PGAE | Bay Area | 2023-11-09 | 300 | No | DEC | 1 | 45239.4757 | 45239.5
10 | RT | Other Reliability Requirement | SCE | LA Basin | 2023-11-23 | 0 | No | INC | 1 | 45253.0521 | 45253.0903
11 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-11-01 | 15 | No | INC | 3 | 45231.375 | 45231.4688
12 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-11-07 | 20 | No | INC | 7 | 45237.6458 | 45237.9167
13 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-11-12 | 20 | No | INC | 4 | 45242.8229 | 45242.9583
14 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-01 | 15 - 30 | No | DEC | 24 | 45231 | 45232
15 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-01 | 30 | No | INC | 1 | 45231.9583 | 45232
16 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-02 | 15 - 30 | No | DEC | 24 | 45232 | 45233
17 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-02 | 30 | No | INC | 16 | 45232 | 45232.6667
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-03 | 15 - 30 | No | DEC | 22 | 45233 | 45233.9167
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-03 | 15 - 30 | No | INC | 24 | 45233 | 45234
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-04 | 15 | No | DEC | 7 | 45234 | 45234.2917
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-04 | 15 - 30 | No | INC | 24 | 45234 | 45235
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-05 | 30 | No | INC | 22 | 45235 | 45235.875
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-13 | 15 | No | DEC | 8 | 45243.5833 | 45243.8854
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-13 | 15 - 30 | No | INC | 7 | 45243.2986 | 45243.5833
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-27 | 45 | No | DEC | 6 | 45257.6667 | 45257.9167
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-27 | 45 | No | INC | 10 | 45257.2882 | 45257.6667
27 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-11-20 | 20 | Yes | INC | 8 | 45250.2917 | 45250.6042
28 | RT | Planned Transmission Outage | PGAE | NA | 2023-11-06 | 48.95 | No | DEC | 7 | 45236.4549 | 45236.7083
29 | RT | Planned Transmission Outage | PGAE | NA | 2023-11-06 | 48.95 | No | INC | 3 | 45236.4583 | 45236.5833
30 | RT | Planned Transmission Outage | SCE | LA Basin | 2023-11-07 | 140 | No | INC | 6 | 45237.375 | 45237.625
31 | RT | Ramping Capacity | PGAE | Fresno | 2023-11-06 | 83 | No | INC | 1 | 45236.6597 | 45236.6667
32 | RT | Ramping Capacity | SCE | LA Basin | 2023-11-07 | 130 - 194 | No | INC | 2 | 45237.75 | 45237.8333
33 | RT | Ramping Capacity | SCE | LA Basin | 2023-11-08 | 100 - 194 | No | INC | 5 | 45238.625 | 45238.8125
34 | RT | Ramping Capacity | SCE | LA Basin | 2023-11-16 | 70 - 194 | No | INC | 5 | 45246.625 | 45246.8333
35 | RT | Ramping Capacity | SCE | LA Basin | 2023-11-17 | 190 - 194 | No | INC | 5 | 45247.6875 | 45247.8646
36 | RT | Ramping Capacity | SCE | LA Basin | 2023-11-30 | 190 - 194 | No | INC | 4 | 45260.6667 | 45260.8333
37 | RT | Reliability Assessment | PGAE | Bay Area | 2023-11-09 | 370 - 580 | No | DEC | 2 | 45239.4757 | 45239.5208
38 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-04 | 15 | No | INC | 6 | 45234.7708 | 45235
39 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-05 | 15 | No | DEC | 3 | 45235 | 45235.0833
40 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-05 | 15 | No | INC | 19 | 45235.0833 | 45235.8646
41 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-21 | 15 | No | INC | 1 | 45251.9896 | 45252
42 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-22 | 15 | No | DEC | 6 | 45252.625 | 45252.875
43 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-22 | 15 | No | INC | 24 | 45252 | 45253
44 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-23 | 15 | No | DEC | 5 | 45253.6667 | 45253.875
45 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-23 | 15 | No | INC | 24 | 45253 | 45254
46 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-24 | 15 | No | INC | 24 | 45254 | 45255
47 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-25 | 15 | No | DEC | 9 | 45255.625 | 45256
48 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-25 | 15 | No | INC | 15 | 45255 | 45255.625
49 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-26 | 15 | No | DEC | 9 | 45256 | 45256.375
50 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-26 | 15 - 30 | No | INC | 15 | 45256.375 | 45257
51 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-27 | 15 | No | DEC | 20 | 45257.0833 | 45257.9167
52 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-27 | 15 | No | INC | 8 | 45257 | 45257.3021
53 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-28 | 30 - 45 | No | DEC | 21 | 45258.125 | 45259
54 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-29 | 30 | No | DEC | 24 | 45259 | 45260
55 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-30 | 30 | No | DEC | 23 | 45260 | 45260.9583
56 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-30 | 30 | No | INC | 24 | 45260 | 45261
57 | RT | Reliability Assessment | PGAE | NCNB | 2023-11-14 | 80 | No | INC | 4 | 45244.7569 | 45244.9167
58 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-11-02 | 70 | No | DEC | 3 | 45232.0069 | 45232.125
59 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-11-02 | 45 - 70 | No | INC | 3 | 45232.0035 | 45232.125
60 | RT | Reliability Assessment | SCE | LA Basin | 2023-11-01 | 270 | No | INC | 1 | 45231.9965 | 45232
61 | RT | Reliability Assessment | SCE | LA Basin | 2023-11-02 | 200 | No | DEC | 2 | 45232.0139 | 45232.0833
62 | RT | Reliability Assessment | SCE | LA Basin | 2023-11-02 | 95 - 300 | No | INC | 3 | 45232 | 45232.125
63 | RT | Reliability Assessment | SCE | NA | 2023-11-01 | 492 | No | DEC | 1 | 45231.9931 | 45232
64 | RT | Reliability Assessment | SCE | NA | 2023-11-02 | 492 | No | DEC | 3 | 45232 | 45232.125
65 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-11-15 | 422 | No | INC | 1 | 45245.4028 | 45245.4375
66 | RT | Software Limitation | SCE | LA Basin | 2023-11-22 | 38.85 - 47.08 | No | INC | 1 | 45252.8646 | 45252.8993
67 | RT | Unit Testing | PGAE | Fresno | 2023-11-14 | 72 - 100 | No | INC | 6 | 45244.4444 | 45244.6667
68 | RT | Unit Testing | PGAE | Fresno | 2023-11-18 | -310 | No | DEC | 1 | 45248.3646 | 45248.375
69 | RT | Unit Testing | SCE | LA Basin | 2023-11-29 | 33 | No | DEC | 1 | 45259.5764 | 45259.5833
70 | RT | Unit Testing | SCE | LA Basin | 2023-11-29 | 33 | No | INC | 2 | 45259.5833 | 45259.6667
71 | RT | Unit Testing | SCE | NA | 2023-11-27 | -35 | No | DEC | 2 | 45257.1667 | 45257.25
72 | RT | Unit Testing | SDGE | San Diego-IV | 2023-11-26 | 160 - 310 | No | INC | 5 | 45256.6215 | 45256.7917
73 | RT | Voltage Support | PGAE | Fresno | 2023-11-05 | -306 | No | DEC | 7 | 45235.0799 | 45235.3333
74 | RT | Voltage Support | PGAE | Fresno | 2023-11-06 | -306 | No | DEC | 7 | 45236.0278 | 45236.2917
75 | RT | Voltage Support | PGAE | Fresno | 2023-11-07 | -306 | No | DEC | 6 | 45237.0417 | 45237.2917
76 | RT | Voltage Support | PGAE | Fresno | 2023-11-08 | -306 | No | DEC | 7 | 45238.0069 | 45238.2917
77 | RT | Voltage Support | PGAE | Fresno | 2023-11-09 | -306 | No | DEC | 5 | 45239.1042 | 45239.2917
78 | RT | Voltage Support | PGAE | Fresno | 2023-11-12 | -306 | No | DEC | 7 | 45242.1042 | 45242.375
79 | RT | Voltage Support | PGAE | Fresno | 2023-11-12 | -306 | No | INC | 2 | 45242.375 | 45242.4583
80 | RT | Voltage Support | PGAE | Fresno | 2023-11-13 | -315 | No | DEC | 7 | 45243.0104 | 45243.2917
81 | RT | Voltage Support | PGAE | Fresno | 2023-11-16 | -300 | No | DEC | 7 | 45246.0312 | 45246.2917
82 | RT | Voltage Support | PGAE | Fresno | 2023-11-17 | -300 | No | DEC | 5 | 45247.0833 | 45247.2917
83 | RT | Voltage Support | PGAE | Fresno | 2023-11-18 | -300 | No | DEC | 3 | 45248.1458 | 45248.25
84 | RT | Voltage Support | PGAE | Fresno | 2023-11-19 | -300 | No | DEC | 7 | 45249.0521 | 45249.3333
85 | RT | Voltage Support | PGAE | Fresno | 2023-11-20 | -300 | No | DEC | 24 | 45250 | 45251
86 | RT | Voltage Support | PGAE | Fresno | 2023-11-21 | -383 | No | DEC | 22 | 45251 | 45251.9167
87 | RT | Voltage Support | PGAE | Fresno | 2023-11-21 | 83 | Yes | INC | 2 | 45251.9167 | 45252
88 | RT | Voltage Support | PGAE | Fresno | 2023-11-22 | -300 | No | DEC | 24 | 45252.0243 | 45253
89 | RT | Voltage Support | PGAE | Fresno | 2023-11-23 | -20 | No | DEC | 24 | 45253 | 45254
90 | RT | Voltage Support | PGAE | Fresno | 2023-11-23 | -383 | No | INC | 11 | 45253.375 | 45253.8333
91 | RT | Voltage Support | PGAE | Fresno | 2023-11-24 | -403 | No | DEC | 17 | 45254 | 45254.7083
92 | RT | Voltage Support | PGAE | Fresno | 2023-11-24 | 83 | No | INC | 2 | 45254.6354 | 45254.7083
93 | RT | Voltage Support | PGAE | Fresno | 2023-11-25 | 83 | No | DEC | 3 | 45255.8333 | 45255.9583
94 | RT | Voltage Support | PGAE | Fresno | 2023-11-25 | 83 | No | INC | 24 | 45255 | 45256
95 | RT | Voltage Support | PGAE | Fresno | 2023-11-26 | 83 | No | INC | 21 | 45256 | 45256.875
96 | RT | Voltage Support | PGAE | Fresno | 2023-11-27 | 83 | No | INC | 22 | 45257.0833 | 45258
97 | RT | Voltage Support | PGAE | Fresno | 2023-11-28 | 83 | No | DEC | 2 | 45258.2083 | 45258.2917
98 | RT | Voltage Support | PGAE | Fresno | 2023-11-28 | 83 | Yes | INC | 24 | 45258 | 45259
99 | RT | Voltage Support | PGAE | Fresno | 2023-11-29 | 83 | No | INC | 24 | 45259 | 45260
100 | RT | Voltage Support | PGAE | Fresno | 2023-11-30 | 83 | No | INC | 7 | 45260 | 45260.2917
101 | RT | Voltage Support | PGAE | Humboldt | 2023-11-05 | 15 | No | INC | 4 | 45235.8542 | 45236
102 | RT | Voltage Support | PGAE | Humboldt | 2023-11-06 | 15 | No | DEC | 9 | 45236.625 | 45237
103 | RT | Voltage Support | PGAE | Humboldt | 2023-11-06 | 15 | No | INC | 15 | 45236 | 45236.625
104 | RT | Voltage Support | PGAE | Humboldt | 2023-11-07 | 30 | No | DEC | 6 | 45237.6667 | 45237.9167
105 | RT | Voltage Support | PGAE | Humboldt | 2023-11-07 | 15 - 30 | No | INC | 24 | 45237 | 45238
106 | RT | Voltage Support | PGAE | Humboldt | 2023-11-08 | 30 | No | DEC | 23 | 45238 | 45238.9583
107 | RT | Voltage Support | PGAE | Humboldt | 2023-11-08 | 30 | No | INC | 1 | 45238.9583 | 45239
108 | RT | Voltage Support | PGAE | Humboldt | 2023-11-09 | 15 - 30 | No | DEC | 24 | 45239 | 45240
109 | RT | Voltage Support | PGAE | Humboldt | 2023-11-10 | 15 - 30 | No | DEC | 24 | 45240 | 45241
110 | RT | Voltage Support | PGAE | Humboldt | 2023-11-10 | 30 | No | INC | 6 | 45240.375 | 45240.625
111 | RT | Voltage Support | PGAE | Humboldt | 2023-11-11 | 15 | No | DEC | 24 | 45241 | 45242
112 | RT | Voltage Support | PGAE | Humboldt | 2023-11-11 | 15 | No | INC | 8 | 45241.2917 | 45241.625
113 | RT | Voltage Support | PGAE | Humboldt | 2023-11-12 | 15 | No | DEC | 22 | 45242 | 45242.9167
114 | RT | Voltage Support | PGAE | Humboldt | 2023-11-12 | 15 | No | INC | 23 | 45242.0417 | 45243
115 | RT | Voltage Support | PGAE | Humboldt | 2023-11-13 | 15 - 30 | No | DEC | 9 | 45243.625 | 45244
116 | RT | Voltage Support | PGAE | Humboldt | 2023-11-13 | 15 - 30 | No | INC | 15 | 45243 | 45243.625
117 | RT | Voltage Support | PGAE | Humboldt | 2023-11-14 | 15 - 30 | No | DEC | 7 | 45244.625 | 45244.9167
118 | RT | Voltage Support | PGAE | Humboldt | 2023-11-14 | 15 - 30 | No | INC | 24 | 45244 | 45245
119 | RT | Voltage Support | PGAE | Humboldt | 2023-11-15 | 15 - 30 | No | DEC | 23 | 45245 | 45245.9583
120 | RT | Voltage Support | PGAE | Humboldt | 2023-11-15 | 15 | No | INC | 1 | 45245.9583 | 45246
121 | RT | Voltage Support | PGAE | Humboldt | 2023-11-16 | 15 - 30 | No | DEC | 16 | 45246.2917 | 45246.9583
122 | RT | Voltage Support | PGAE | Humboldt | 2023-11-16 | 15 - 30 | No | INC | 24 | 45246 | 45247
123 | RT | Voltage Support | PGAE | Humboldt | 2023-11-17 | 15 - 30 | No | INC | 24 | 45247 | 45248
124 | RT | Voltage Support | PGAE | Humboldt | 2023-11-18 | 15 | No | INC | 24 | 45248 | 45249
125 | RT | Voltage Support | PGAE | Humboldt | 2023-11-19 | 15 - 30 | No | INC | 24 | 45249 | 45250
126 | RT | Voltage Support | PGAE | Humboldt | 2023-11-20 | 15 | No | DEC | 5 | 45250.6667 | 45250.875
127 | RT | Voltage Support | PGAE | Humboldt | 2023-11-20 | 15 - 30 | No | INC | 24 | 45250 | 45251
128 | RT | Voltage Support | PGAE | Humboldt | 2023-11-21 | 15 | No | DEC | 6 | 45251.6667 | 45251.9167
129 | RT | Voltage Support | PGAE | Humboldt | 2023-11-21 | 15 - 30 | No | INC | 24 | 45251 | 45252
130 | RT | Voltage Support | PGAE | Sierra | 2023-11-01 | 20 | No | INC | 1 | 45231.9931 | 45232
131 | RT | Voltage Support | PGAE | Sierra | 2023-11-02 | 20 | Yes | INC | 7 | 45232 | 45232.2917
132 | RT | Voltage Support | PGAE | Sierra | 2023-11-04 | 20 | No | INC | 17 | 45234.3299 | 45235
133 | RT | Voltage Support | PGAE | Sierra | 2023-11-05 | 20 - 42 | No | INC | 25 | 45235 | 45236
134 | RT | Voltage Support | PGAE | Sierra | 2023-11-06 | 42 | Yes | INC | 7 | 45236 | 45236.2917
135 | RT | Voltage Support | PGAE | Sierra | 2023-11-07 | 20 | No | INC | 24 | 45237.0208 | 45238
136 | RT | Voltage Support | PGAE | Sierra | 2023-11-08 | 20 | No | INC | 24 | 45238 | 45239
137 | RT | Voltage Support | PGAE | Sierra | 2023-11-09 | 20 | No | DEC | 24 | 45239 | 45240
138 | RT | Voltage Support | PGAE | Sierra | 2023-11-09 | 20 | No | INC | 6 | 45239.0417 | 45239.2917
139 | RT | Voltage Support | PGAE | Sierra | 2023-11-10 | 20 | No | DEC | 1 | 45240.2083 | 45240.25
140 | RT | Voltage Support | PGAE | Sierra | 2023-11-10 | 20 | No | INC | 7 | 45240 | 45240.2917
141 | RT | Voltage Support | PGAE | Sierra | 2023-11-11 | 20 | No | INC | 16 | 45241.1076 | 45241.75
142 | RT | Voltage Support | PGAE | Sierra | 2023-11-12 | 20 | Yes | INC | 18 | 45242.059 | 45242.7917
143 | RT | Voltage Support | PGAE | Sierra | 2023-11-18 | 20 | No | INC | 7 | 45248.1354 | 45248.4167
144 | RT | Voltage Support | PGAE | Sierra | 2023-11-19 | 20 | No | INC | 23 | 45249.059 | 45250
145 | RT | Voltage Support | PGAE | Sierra | 2023-11-20 | 20 | No | INC | 7 | 45250 | 45250.2917