## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report December 15, 2023
Chart 1: Table of Exceptional Dispatches for Period 01/October/2023 - 31/October/2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Bridging Schedules | SCE | Big Creek-Ventura | 2023-10-18 | 50 | No | INC | 2 | 45217.9167 | 45218
2 | RT | Bridging Schedules | SCE | LA Basin | 2023-10-14 | 98 | No | INC | 6 | 45213.0417 | 45213.2917
3 | RT | Bridging Schedules | SCE | LA Basin | 2023-10-27 | 10 - 20 | No | INC | 1 | 45226.9583 | 45227
4 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-10-09 | 0 | No | INC | 1 | 45208.1458 | 45208.1736
5 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2023-10-28 | 41 | No | DEC | 3 | 45227.4167 | 45227.5417
6 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2023-10-18 | 750 | No | INC | 3 | 45217.7639 | 45217.8542
7 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2023-10-19 | 50 | No | INC | 24 | 45218 | 45219
8 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-10-05 | 80 - 194 | No | INC | 2 | 45204.75 | 45204.8333
9 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-10-06 | 80 - 173 | No | INC | 7 | 45205.6667 | 45205.9583
10 | RT | Load Forecast Uncertainty | SCE | LA Basin | 2023-10-18 | 59 - 176 | No | INC | 4 | 45217.6667 | 45217.8333
11 | RT | Market Disruption | SCE | LA Basin | 2023-10-26 | 190 - 194 | No | INC | 3 | 45225.7083 | 45225.8333
12 | RT | Other Reliability Requirement | PGAE | Fresno | 2023-10-09 | 83 - 400 | No | INC | 2 | 45208.4201 | 45208.5
13 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2023-10-17 | 96 | No | DEC | 5 | 45216.6632 | 45216.8333
14 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2023-10-17 | 96 | No | INC | 1 | 45216.6667 | 45216.7083
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-05 | 0 - 440 | No | DEC | 17 | 45204.2639 | 45204.9688
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-05 | 0 - 440 | No | INC | 16 | 45204.3333 | 45205
17 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-06 | 22 | No | DEC | 5 | 45205.625 | 45205.8333
18 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-06 | 0 - 22 | No | INC | 22 | 45205 | 45205.9167
19 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-10 | 20 | No | INC | 3 | 45209.6528 | 45209.7396
20 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-11 | 20 | No | INC | 15 | 45210.25 | 45210.875
21 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-12 | 20 | No | INC | 15 | 45211.25 | 45211.875
22 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-13 | 20 | No | INC | 15 | 45212.25 | 45212.875
23 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-14 | 20 | No | INC | 15 | 45213.25 | 45213.875
24 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-15 | 20 | No | INC | 16 | 45214.25 | 45214.9062
25 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-16 | 20 | No | INC | 9 | 45215.25 | 45215.6042
26 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-19 | 22 - 200 | No | DEC | 4 | 45218.6667 | 45218.8333
27 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-19 | 22 | No | INC | 1 | 45218.6493 | 45218.6667
28 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-10-28 | 54 | No | INC | 13 | 45227.25 | 45227.7917
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-03 | 80 | No | INC | 19 | 45202.1458 | 45202.9375
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-12 | 45 - 60 | No | INC | 9 | 45211.3125 | 45211.6667
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-19 | 30 | No | DEC | 4 | 45218.7882 | 45218.9167
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-19 | 30 | No | INC | 2 | 45218.9167 | 45219
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-20 | 45 | No | DEC | 13 | 45219.375 | 45219.9167
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-20 | 30 - 45 | No | INC | 9 | 45219 | 45219.375
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-21 | 30 - 45 | No | INC | 21 | 45220.1597 | 45221
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-22 | 30 | No | INC | 24 | 45221 | 45222
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-23 | 30 - 45 | No | INC | 20 | 45222 | 45222.8333
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-24 | 30 - 60 | No | INC | 15 | 45223.3854 | 45224
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-25 | 30 - 60 | No | INC | 24 | 45224 | 45225
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-26 | 45 - 60 | No | INC | 24 | 45225 | 45226
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-27 | 15 - 45 | No | INC | 24 | 45226 | 45227
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-28 | 15 - 30 | No | INC | 24 | 45227 | 45228
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-30 | 15 - 30 | No | INC | 14 | 45229.4167 | 45230
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-31 | 15 | No | DEC | 20 | 45230 | 45230.8333
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-10-31 | 15 - 30 | No | INC | 24 | 45230 | 45231
46 | RT | Planned Transmission Outage | PGAE | Kern | 2023-10-12 | 32 | No | INC | 8 | 45211.3958 | 45211.7083
47 | RT | Planned Transmission Outage | PGAE | Kern | 2023-10-24 | 5 | No | DEC | 7 | 45223.4271 | 45223.7083
48 | RT | Planned Transmission Outage | PGAE | Kern | 2023-10-24 | 5 | No | INC | 2 | 45223.7083 | 45223.7917
49 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-10-05 | 13 - 30 | No | DEC | 6 | 45204.5243 | 45204.7396
50 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-10-18 | 20 | No | DEC | 1 | 45217.3576 | 45217.375
51 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-10-18 | 20 | No | INC | 5 | 45217.375 | 45217.5833
52 | RT | Planned Transmission Outage | PGAE | NA | 2023-10-24 | 10 | No | INC | 9 | 45223.4271 | 45223.7917
53 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-10-17 | 670 | No | DEC | 1 | 45216.9757 | 45217
54 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-10-18 | 670 | No | DEC | 5 | 45217 | 45217.2083
55 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-10-19 | 675 - 775 | No | DEC | 15 | 45218.3854 | 45219
56 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-10-20 | 700 - 750 | No | DEC | 16 | 45219.3611 | 45220
57 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-10-21 | 415 - 700 | No | DEC | 22 | 45220 | 45220.8958
58 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-10-22 | 425 - 750 | No | DEC | 5 | 45221.1458 | 45221.3333
59 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-10-22 | 445 - 720 | No | INC | 4 | 45221.25 | 45221.4167
60 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-10-23 | 700 | No | DEC | 6 | 45222.7083 | 45222.9479
61 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-10-24 | 730 | No | DEC | 5 | 45223.5833 | 45223.7917
62 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-10-24 | 730 - 750 | No | INC | 4 | 45223.4236 | 45223.5833
63 | RT | Planned Transmission Outage | SCE | LA Basin | 2023-10-11 | 0 | No | INC | 11 | 45210.1076 | 45210.5312
64 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-10-06 | 25 | No | INC | 4 | 45205.8333 | 45206
65 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-10-07 | 25 | Yes | INC | 1 | 45206 | 45206.0104
66 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-10-23 | 24.87 | No | INC | 7 | 45222.3854 | 45222.6667
67 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-10-25 | 0 | No | DEC | 5 | 45224.7083 | 45224.9167
68 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-10-25 | 0 | No | INC | 8 | 45224.6319 | 45224.9583
69 | RT | Ramping Capacity | PGAE | Bay Area | 2023-10-14 | 64 - 114.01 | No | INC | 5 | 45213.1667 | 45213.375
70 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-10-18 | 401 | No | INC | 4 | 45217.6667 | 45217.8333
71 | RT | Ramping Capacity | SCE | Big Creek-Ventura | 2023-10-19 | 401 | No | INC | 5 | 45218.6667 | 45218.875
72 | RT | Ramping Capacity | SCE | LA Basin | 2023-10-14 | 190 - 251 | No | INC | 3 | 45213.2917 | 45213.3958
73 | RT | Ramping Capacity | SCE | LA Basin | 2023-10-18 | 190 - 222 | No | INC | 3 | 45217.7326 | 45217.8333
74 | RT | Ramping Capacity | SCE | LA Basin | 2023-10-19 | 65 - 194 | No | INC | 5 | 45218.6667 | 45218.875
75 | RT | Ramping Capacity | SCE | NA | 2023-10-14 | 180 - 240.01 | No | INC | 2 | 45213.3125 | 45213.3958
76 | RT | Reliability Assessment | PGAE | Bay Area | 2023-10-05 | 20 - 290 | No | DEC | 4 | 45204.6806 | 45204.8333
77 | RT | Reliability Assessment | PGAE | Bay Area | 2023-10-05 | 20 - 22 | No | INC | 8 | 45204.6597 | 45204.9583
78 | RT | Reliability Assessment | PGAE | Bay Area | 2023-10-06 | 20 | No | INC | 1 | 45205.6806 | 45205.6979
79 | RT | Reliability Assessment | PGAE | Fresno | 2023-10-13 | 0 | No | INC | 1 | 45212.5208 | 45212.5312
80 | RT | Reliability Assessment | PGAE | Fresno | 2023-10-14 | 0 - 83 | No | INC | 3 | 45213.3333 | 45213.441
81 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-01 | 15 - 30 | No | INC | 24 | 45200 | 45201
82 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-02 | 15 - 60 | No | INC | 24 | 45201 | 45202
83 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-03 | 15 | No | INC | 6 | 45202 | 45202.2396
84 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-05 | 15 | No | INC | 1 | 45204.9792 | 45205
85 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-06 | 15 | No | INC | 4 | 45205 | 45205.1458
86 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-13 | 15 - 30 | No | DEC | 7 | 45212.6667 | 45212.9583
87 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-13 | 15 - 30 | No | INC | 15 | 45212.3854 | 45213
88 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-14 | 30 | No | DEC | 7 | 45213.7083 | 45214
89 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-14 | 30 | No | INC | 17 | 45213 | 45213.7083
90 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-15 | 15 - 30 | No | DEC | 8 | 45214.6667 | 45215
91 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-15 | 30 | No | INC | 16 | 45214 | 45214.6667
92 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-16 | 15 | No | DEC | 4 | 45215 | 45215.1458
93 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-18 | 30 | No | DEC | 15 | 45217.3993 | 45218
94 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-19 | 30 | No | DEC | 8 | 45218.5 | 45218.8021
95 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-19 | 30 | No | INC | 12 | 45218 | 45218.5
96 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-23 | 45 | No | INC | 4 | 45222.8333 | 45223
97 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-24 | 30 - 45 | No | INC | 24 | 45223 | 45224
98 | RT | Reliability Assessment | PGAE | Humboldt | 2023-10-25 | 30 | No | INC | 8 | 45224 | 45224.3056
99 | RT | Reliability Assessment | PGAE | NCNB | 2023-10-07 | 62 | No | DEC | 5 | 45206.7431 | 45206.9167
100 | RT | Reliability Assessment | PGAE | Sierra | 2023-10-19 | 20 | No | DEC | 2 | 45218.816 | 45218.875
101 | RT | Reliability Assessment | PGAE | Sierra | 2023-10-19 | 20 | No | INC | 1 | 45218.875 | 45218.9167
102 | RT | Reliability Assessment | PGAE | NA | 2023-10-22 | 40 | No | INC | 5 | 45221.7465 | 45221.9167
103 | RT | Reliability Assessment | PGAE | NA | 2023-10-29 | 0 - 350 | No | DEC | 2 | 45228.8056 | 45228.875
104 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-10-16 | 575 - 600 | No | DEC | 8 | 45215.6597 | 45215.9583
105 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-10-17 | 575 - 650 | No | DEC | 7 | 45216.7014 | 45216.9583
106 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-10-18 | 650 - 670 | No | DEC | 15 | 45217.3889 | 45218
107 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-10-19 | 650 | No | DEC | 2 | 45218 | 45218.0833
108 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-10-22 | 58 | No | DEC | 2 | 45221.559 | 45221.625
109 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-10-22 | 58 | No | INC | 3 | 45221.625 | 45221.75
110 | RT | Reliability Assessment | SCE | NA | 2023-10-01 | 35 | No | DEC | 6 | 45200.6979 | 45200.9167
111 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-10-22 | -48 | No | DEC | 1 | 45221.4306 | 45221.4583
112 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-10-22 | -28 | No | INC | 4 | 45221.4583 | 45221.625
113 | RT | SOC Charge | PGAE | Bay Area | 2023-10-14 | -101 | No | DEC | 7 | 45213.0417 | 45213.3333
114 | RT | SOC Charge | PGAE | Bay Area | 2023-10-14 | -21 | No | INC | 3 | 45213.2361 | 45213.3333
115 | RT | SOC Charge | PGAE | Fresno | 2023-10-14 | -43 | No | DEC | 7 | 45213.0556 | 45213.3333
116 | RT | SOC Charge | PGAE | Fresno | 2023-10-14 | 0 | No | INC | 1 | 45213.309 | 45213.3333
117 | RT | SOC Charge | PGAE | NA | 2023-10-14 | -30 | No | DEC | 6 | 45213.1076 | 45213.3333
118 | RT | SOC Charge | SCE | Big Creek-Ventura | 2023-10-14 | -62 | No | DEC | 7 | 45213.066 | 45213.3333
119 | RT | SOC Charge | SCE | LA Basin | 2023-10-14 | -53 | No | DEC | 6 | 45213.0903 | 45213.3333
120 | RT | SOC Charge | SCE | NA | 2023-10-14 | -111 | No | DEC | 7 | 45213.0521 | 45213.3333
121 | RT | SOC Charge | SCE | NA | 2023-10-14 | -42 | No | INC | 7 | 45213.0521 | 45213.3333
122 | RT | SOC Charge | SDGE | San Diego-IV | 2023-10-14 | -67 | No | DEC | 7 | 45213.0417 | 45213.3333
123 | RT | SOC Hold | PGAE | Bay Area | 2023-10-14 | -44 | No | DEC | 4 | 45213.1458 | 45213.2917
124 | RT | SOC Hold | PGAE | Bay Area | 2023-10-14 | 28 | No | INC | 3 | 45213.2257 | 45213.3333
125 | RT | SOC Hold | PGAE | Stockton | 2023-10-14 | -30 | No | DEC | 4 | 45213.0694 | 45213.2188
126 | RT | SOC Hold | PGAE | Stockton | 2023-10-14 | 17 | No | INC | 3 | 45213.2188 | 45213.3333
127 | RT | SOC Hold | SCE | Big Creek-Ventura | 2023-10-14 | -38 | No | DEC | 4 | 45213.0938 | 45213.2222
128 | RT | SOC Hold | SCE | Big Creek-Ventura | 2023-10-14 | -73 | No | INC | 5 | 45213.125 | 45213.3333
129 | RT | SOC Hold | SCE | LA Basin | 2023-10-14 | 17 | No | INC | 4 | 45213.1875 | 45213.3333
130 | RT | SOC Hold | SCE | NA | 2023-10-14 | 38 - 63 | No | INC | 5 | 45213.1424 | 45213.3333
131 | RT | Software Limitation | PGAE | Kern | 2023-10-08 | 0 | No | INC | 3 | 45207.1944 | 45207.3194
132 | RT | Software Limitation | PGAE | NA | 2023-10-04 | 142 | No | INC | 3 | 45203.4861 | 45203.5833
133 | RT | Software Limitation | SCE | Big Creek-Ventura | 2023-10-20 | 0 | No | INC | 1 | 45219.1979 | 45219.2396
134 | RT | Software Limitation | SCE | LA Basin | 2023-10-09 | 48.29 - 96.65 | No | INC | 1 | 45208.0903 | 45208.125
135 | RT | Software Limitation | SCE | LA Basin | 2023-10-17 | 0 | No | INC | 1 | 45216 | 45216.0382
136 | RT | Software Limitation | SCE | LA Basin | 2023-10-21 | 0 | No | INC | 1 | 45220.9896 | 45221
137 | RT | Software Limitation | SCE | LA Basin | 2023-10-22 | 0 | No | INC | 1 | 45221 | 45221.0312
138 | RT | Software Limitation | SCE | NA | 2023-10-05 | 180 | No | DEC | 2 | 45204.8438 | 45204.8958
139 | RT | Unit Testing | PGAE | Bay Area | 2023-10-13 | 280 | No | INC | 2 | 45212.75 | 45212.8333
140 | RT | Unit Testing | SCE | LA Basin | 2023-10-02 | 288 - 673 | No | INC | 2 | 45201.625 | 45201.7083
141 | RT | Unit Testing | SCE | LA Basin | 2023-10-30 | -247.33 | No | INC | 1 | 45229.4271 | 45229.4549
142 | RT | Voltage Support | PGAE | Big Creek-Ventura | 2023-10-21 | 62 | No | INC | 8 | 45220.3333 | 45220.6667
143 | RT | Voltage Support | PGAE | Fresno | 2023-10-01 | -315 | No | DEC | 24 | 45200 | 45201
144 | RT | Voltage Support | PGAE | Fresno | 2023-10-01 | -315 | No | INC | 14 | 45200.4167 | 45200.9792
145 | RT | Voltage Support | PGAE | Fresno | 2023-10-02 | -315 | No | DEC | 7 | 45201 | 45201.2917
146 | RT | Voltage Support | PGAE | Fresno | 2023-10-03 | -315 | No | DEC | 7 | 45202 | 45202.2917
147 | RT | Voltage Support | PGAE | Fresno | 2023-10-03 | 0 | No | INC | 1 | 45202.9028 | 45202.9444
148 | RT | Voltage Support | PGAE | Fresno | 2023-10-04 | -315 | No | DEC | 5 | 45203.1042 | 45203.2917
149 | RT | Voltage Support | PGAE | Fresno | 2023-10-05 | -315 | No | DEC | 6 | 45204.0694 | 45204.2917
150 | RT | Voltage Support | PGAE | Fresno | 2023-10-06 | -315 | No | DEC | 5 | 45205.0833 | 45205.2917
151 | RT | Voltage Support | PGAE | Fresno | 2023-10-07 | -315 | No | DEC | 4 | 45206.1562 | 45206.2917
152 | RT | Voltage Support | PGAE | Fresno | 2023-10-08 | -315 | No | DEC | 8 | 45207.0417 | 45207.375
153 | RT | Voltage Support | PGAE | Fresno | 2023-10-09 | -315 | No | DEC | 1 | 45208.9688 | 45208.9792
154 | RT | Voltage Support | PGAE | Fresno | 2023-10-09 | 83 | No | INC | 2 | 45208.9549 | 45209
155 | RT | Voltage Support | PGAE | Fresno | 2023-10-10 | 83 | Yes | INC | 24 | 45209 | 45210
156 | RT | Voltage Support | PGAE | Fresno | 2023-10-11 | -315 | No | DEC | 3 | 45210.8958 | 45211
157 | RT | Voltage Support | PGAE | Fresno | 2023-10-11 | 83 | No | INC | 7 | 45210 | 45210.2917
158 | RT | Voltage Support | PGAE | Fresno | 2023-10-12 | -315 | No | DEC | 24 | 45211 | 45212
159 | RT | Voltage Support | PGAE | Fresno | 2023-10-13 | -315 | No | DEC | 24 | 45212 | 45213
160 | RT | Voltage Support | PGAE | Fresno | 2023-10-14 | -315 | No | DEC | 24 | 45213 | 45214
161 | RT | Voltage Support | PGAE | Fresno | 2023-10-15 | -315 | No | DEC | 8 | 45214 | 45214.3333
162 | RT | Voltage Support | PGAE | Fresno | 2023-10-15 | -315 | No | INC | 1 | 45214.3333 | 45214.375
163 | RT | Voltage Support | PGAE | Fresno | 2023-10-16 | -315 | No | DEC | 7 | 45215.0208 | 45215.2917
164 | RT | Voltage Support | PGAE | Fresno | 2023-10-18 | -315 | No | DEC | 8 | 45217.0764 | 45217.375
165 | RT | Voltage Support | PGAE | Fresno | 2023-10-19 | -315 | No | DEC | 5 | 45218.1146 | 45218.2917
166 | RT | Voltage Support | PGAE | Fresno | 2023-10-21 | -315 | No | DEC | 24 | 45220.0312 | 45221
167 | RT | Voltage Support | PGAE | Fresno | 2023-10-21 | -315 | No | INC | 7 | 45220.375 | 45220.6667
168 | RT | Voltage Support | PGAE | Fresno | 2023-10-22 | -315 | No | DEC | 9 | 45221 | 45221.375
169 | RT | Voltage Support | PGAE | Fresno | 2023-10-28 | -315 | No | DEC | 8 | 45227.6944 | 45228
170 | RT | Voltage Support | PGAE | Fresno | 2023-10-29 | -315 | No | DEC | 18 | 45228 | 45228.7292
171 | RT | Voltage Support | PGAE | Fresno | 2023-10-30 | -315 | No | DEC | 5 | 45229.1042 | 45229.2917
172 | RT | Voltage Support | PGAE | Humboldt | 2023-10-03 | 30 | No | INC | 2 | 45202.9375 | 45203
173 | RT | Voltage Support | PGAE | Humboldt | 2023-10-04 | 30 | No | DEC | 11 | 45203.5417 | 45204
174 | RT | Voltage Support | PGAE | Humboldt | 2023-10-04 | 30 | No | INC | 13 | 45203 | 45203.5417
175 | RT | Voltage Support | PGAE | Humboldt | 2023-10-05 | 30 | No | INC | 6 | 45204 | 45204.2188
176 | RT | Voltage Support | PGAE | Humboldt | 2023-10-06 | 45 | No | INC | 1 | 45205.9792 | 45206
177 | RT | Voltage Support | PGAE | Humboldt | 2023-10-07 | 30 | No | DEC | 2 | 45206.9271 | 45207
178 | RT | Voltage Support | PGAE | Humboldt | 2023-10-07 | 45 | No | INC | 3 | 45206 | 45206.125
179 | RT | Voltage Support | PGAE | Humboldt | 2023-10-08 | 30 | No | INC | 24 | 45207 | 45208
180 | RT | Voltage Support | PGAE | Humboldt | 2023-10-09 | 15 - 30 | No | INC | 24 | 45208 | 45209
181 | RT | Voltage Support | PGAE | Humboldt | 2023-10-10 | 15 | No | DEC | 3 | 45209.25 | 45209.375
182 | RT | Voltage Support | PGAE | Humboldt | 2023-10-10 | 15 - 30 | No | INC | 24 | 45209 | 45210
183 | RT | Voltage Support | PGAE | Humboldt | 2023-10-11 | 30 | No | INC | 24 | 45210 | 45211
184 | RT | Voltage Support | PGAE | Humboldt | 2023-10-12 | 30 | No | DEC | 7 | 45211.6667 | 45211.9583
185 | RT | Voltage Support | PGAE | Humboldt | 2023-10-12 | 30 - 60 | No | INC | 24 | 45211 | 45212
186 | RT | Voltage Support | PGAE | Humboldt | 2023-10-13 | 15 - 30 | No | INC | 10 | 45212 | 45212.3958
187 | RT | Voltage Support | PGAE | Humboldt | 2023-10-16 | 30 | No | DEC | 14 | 45215.3646 | 45215.9167
188 | RT | Voltage Support | PGAE | Humboldt | 2023-10-16 | 30 | No | INC | 2 | 45215.9167 | 45216
189 | RT | Voltage Support | PGAE | Humboldt | 2023-10-17 | 30 | No | DEC | 9 | 45216.5833 | 45216.9583
190 | RT | Voltage Support | PGAE | Humboldt | 2023-10-17 | 15 - 30 | No | INC | 24 | 45216 | 45217
191 | RT | Voltage Support | PGAE | Humboldt | 2023-10-18 | 30 | No | DEC | 4 | 45217.25 | 45217.4167
192 | RT | Voltage Support | PGAE | Humboldt | 2023-10-18 | 30 | No | INC | 6 | 45217 | 45217.25
193 | RT | Voltage Support | PGAE | Humboldt | 2023-10-29 | 15 - 30 | No | DEC | 24 | 45228 | 45229
194 | RT | Voltage Support | PGAE | Humboldt | 2023-10-29 | 15 - 45 | No | INC | 17 | 45228.0104 | 45228.7083
195 | RT | Voltage Support | PGAE | Humboldt | 2023-10-30 | 30 | No | INC | 22 | 45229 | 45229.9167
196 | RT | Voltage Support | PGAE | Kern | 2023-10-01 | 32 | No | INC | 10 | 45200.1042 | 45200.5
197 | RT | Voltage Support | PGAE | Sierra | 2023-10-05 | 20 | No | DEC | 2 | 45204.75 | 45204.8333
198 | RT | Voltage Support | PGAE | Sierra | 2023-10-05 | 20 | No | INC | 15 | 45204.3924 | 45205
199 | RT | Voltage Support | PGAE | Sierra | 2023-10-27 | 20 | Yes | INC | 21 | 45226.1562 | 45227
200 | RT | Voltage Support | PGAE | Sierra | 2023-10-28 | 20 | Yes | INC | 24 | 45227 | 45228
201 | RT | Voltage Support | PGAE | Sierra | 2023-10-29 | 20 | No | INC | 24 | 45228 | 45229
202 | RT | Voltage Support | PGAE | Sierra | 2023-10-30 | 20 | Yes | INC | 7 | 45229 | 45229.2917
203 | RT | Voltage Support | PGAE | NA | 2023-10-21 | 50 - 95 | No | INC | 16 | 45220.0417 | 45220.7083
204 | RT | Voltage Support | PGAE | NA | 2023-10-22 | 50 - 95 | No | INC | 16 | 45221.0417 | 45221.7083