## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report November 15, 2023
Chart 1: Table of Exceptional Dispatches for Period 01/September/2023 - 30/September/2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Conditions beyond the control of the CAISO | PGAE | Fresno | 2023-09-03 | 83 | No | DEC | 1 | 45172.8021 | 45172.8229
2 | RT | Conditions beyond the control of the CAISO | PGAE | Fresno | 2023-09-03 | 83 - 300 | No | INC | 2 | 45172.7674 | 45172.8229
3 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2023-09-03 | 45.24 - 45.58 | Yes | INC | 1 | 45172.7708 | 45172.8125
4 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-09-11 | 0 | No | INC | 1 | 45180.0069 | 45180.0451
5 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-09-15 | 0 | No | INC | 1 | 45184.9062 | 45184.9479
6 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2023-09-03 | 200 | No | INC | 2 | 45172.7431 | 45172.8125
7 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2023-09-04 | 133 | No | INC | 1 | 45173.75 | 45173.7917
8 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2023-09-11 | 83 - 407 | No | INC | 3 | 45180.6458 | 45180.75
9 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2023-09-22 | 83 | No | INC | 2 | 45191.5347 | 45191.5833
10 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2023-09-03 | 74 | No | INC | 2 | 45172.7396 | 45172.8125
11 | RT | Load Forecast Uncertainty | SCE | NA | 2023-09-03 | 205 - 230 | No | INC | 2 | 45172.7431 | 45172.8125
12 | RT | Load Forecast Uncertainty | SCE | NA | 2023-09-04 | 125 | No | INC | 1 | 45173.75 | 45173.7917
13 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-09-03 | 100 | No | INC | 2 | 45172.7361 | 45172.8125
14 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-09-11 | 21 - 400 | No | INC | 3 | 45180.6806 | 45180.7917
15 | RT | Market Disruption | PGAE | Fresno | 2023-09-03 | 83 - 300 | No | DEC | 2 | 45172.75 | 45172.8021
16 | RT | Market Disruption | PGAE | Fresno | 2023-09-03 | 49 - 300 | No | INC | 2 | 45172.7396 | 45172.8229
17 | RT | Market Disruption | PGAE | NA | 2023-09-03 | 300 | No | DEC | 2 | 45172.7639 | 45172.8125
18 | RT | Market Disruption | SCE | LA Basin | 2023-09-03 | 48.46 | No | DEC | 1 | 45172.7917 | 45172.8021
19 | RT | Market Disruption | SCE | LA Basin | 2023-09-03 | 47.8 - 194 | No | INC | 3 | 45172.7431 | 45172.8333
20 | RT | Market Disruption | SCE | NA | 2023-09-03 | 100 | No | DEC | 2 | 45172.75 | 45172.8125
21 | RT | Market Disruption | SCE | NA | 2023-09-03 | 100 - 450 | No | INC | 4 | 45172.7431 | 45172.8785
22 | RT | Market Disruption | SDGE | San Diego-IV | 2023-09-03 | 50 - 400 | No | INC | 3 | 45172.7326 | 45172.8229
23 | RT | Other Reliability Requirement | PGAE | Fresno | 2023-09-24 | -315 | No | DEC | 1 | 45193.6667 | 45193.6875
24 | RT | Other Reliability Requirement | SCE | LA Basin | 2023-09-01 | 0 | No | INC | 1 | 45170.2396 | 45170.2812
25 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-01 | 54 | No | INC | 14 | 45170.2917 | 45170.875
26 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-15 | 300 - 400 | No | DEC | 5 | 45184.5382 | 45184.7083
27 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-18 | 22 | No | INC | 6 | 45187.5729 | 45187.7917
28 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-21 | 22 | No | INC | 3 | 45190.6111 | 45190.7083
29 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-25 | 495 - 530 | No | DEC | 18 | 45194.25 | 45195
30 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-25 | 495 - 530 | No | INC | 11 | 45194.2396 | 45194.6667
31 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-26 | 495 | No | DEC | 24 | 45195 | 45196
32 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-26 | 495 | No | INC | 3 | 45195.5 | 45195.625
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-01 | 15 | No | DEC | 1 | 45170.9062 | 45170.9167
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-01 | 15 - 30 | No | INC | 24 | 45170 | 45171
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-02 | 15 | No | DEC | 4 | 45171.7083 | 45171.8542
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-02 | 15 - 30 | No | INC | 21 | 45171 | 45171.8646
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-05 | 15 | No | DEC | 4 | 45174.75 | 45174.9167
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-05 | 15 - 30 | No | INC | 17 | 45174.3056 | 45175
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-06 | 15 - 30 | No | INC | 12 | 45175 | 45175.4792
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-07 | 15 - 45 | No | INC | 17 | 45176.3056 | 45177
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-08 | 30 | No | DEC | 12 | 45177.4583 | 45177.9583
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-08 | 15 - 30 | No | INC | 24 | 45177 | 45178
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-09 | 30 | No | DEC | 10 | 45178.5 | 45178.9167
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-09 | 30 | No | INC | 24 | 45178 | 45179
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-10 | 30 | No | DEC | 9 | 45179.5833 | 45179.9583
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-10 | 30 | No | INC | 24 | 45179 | 45180
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-11 | 15 - 45 | No | DEC | 13 | 45180.2917 | 45180.8333
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-11 | 15 - 45 | No | INC | 15 | 45180 | 45180.625
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-13 | 15 | No | DEC | 5 | 45182.7083 | 45182.9062
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-13 | 15 - 30 | No | INC | 8 | 45182.6736 | 45183
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-14 | 30 | No | INC | 24 | 45183 | 45184
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-15 | 30 | No | DEC | 10 | 45184.5417 | 45184.9583
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-15 | 30 | No | INC | 24 | 45184 | 45185
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-16 | 30 | No | INC | 6 | 45185 | 45185.2292
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-25 | 30 | No | DEC | 6 | 45194.7083 | 45194.9583
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-25 | 30 | No | INC | 17 | 45194.2951 | 45195
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-26 | 30 | No | INC | 24 | 45195 | 45196
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-27 | 30 | No | INC | 24 | 45196 | 45197
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-28 | 30 | No | INC | 22 | 45197 | 45197.9167
60 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-09-12 | 20 | Yes | INC | 8 | 45181.3333 | 45181.6458
61 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-09-13 | 100 | No | DEC | 1 | 45182.5417 | 45182.5833
62 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-09-13 | 20 | No | INC | 4 | 45182.8646 | 45183
63 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-09-14 | 20 | Yes | INC | 4 | 45183 | 45183.1562
64 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-09-28 | 20 | No | INC | 10 | 45197.3021 | 45197.7083
65 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-09-18 | 88.8 | No | DEC | 3 | 45187.25 | 45187.375
66 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-09-18 | 88.8 | No | INC | 5 | 45187.375 | 45187.5833
67 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-09-19 | 35 - 45 | No | INC | 11 | 45188.3542 | 45188.8125
68 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-09-26 | 89 | No | INC | 18 | 45195.2292 | 45195.9479
69 | RT | Planned Transmission Outage | PGAE | NA | 2023-09-13 | -110 | No | DEC | 2 | 45182.2083 | 45182.2917
70 | RT | Planned Transmission Outage | PGAE | NA | 2023-09-13 | -110 | No | INC | 4 | 45182.059 | 45182.2083
71 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-09-28 | 420 | No | INC | 8 | 45197.3229 | 45197.6458
72 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-09-15 | 30 | No | DEC | 1 | 45184.5833 | 45184.625
73 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-09-15 | 30 | No | INC | 7 | 45184.4028 | 45184.6667
74 | RT | Ramping Capacity | PGAE | Fresno | 2023-09-08 | 84 | No | DEC | 2 | 45177.7882 | 45177.8333
75 | RT | Ramping Capacity | PGAE | Fresno | 2023-09-27 | 83 - 400 | No | INC | 2 | 45196.6319 | 45196.7083
76 | RT | Ramping Capacity | SCE | LA Basin | 2023-09-01 | 190 - 194 | No | INC | 5 | 45170.6875 | 45170.8958
77 | RT | Ramping Capacity | SCE | LA Basin | 2023-09-08 | 46 | No | DEC | 1 | 45177.7917 | 45177.8125
78 | RT | Ramping Capacity | SCE | LA Basin | 2023-09-11 | 190 - 194 | No | INC | 5 | 45180.7083 | 45180.9167
79 | RT | Ramping Capacity | SCE | LA Basin | 2023-09-12 | 190 - 194 | No | INC | 5 | 45181.7083 | 45181.9167
80 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-06 | 30 | No | INC | 13 | 45175.4618 | 45176
81 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-07 | 30 | No | INC | 2 | 45176 | 45176.0833
82 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-11 | 30 | No | DEC | 1 | 45180.8333 | 45180.875
83 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-11 | 30 | No | INC | 3 | 45180.875 | 45181
84 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-12 | 30 | No | DEC | 5 | 45181.7083 | 45181.9167
85 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-12 | 30 | No | INC | 24 | 45181 | 45182
86 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-13 | 30 | No | INC | 24 | 45182 | 45183
87 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-14 | 30 | No | DEC | 5 | 45183.7083 | 45183.9167
88 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-14 | 30 | No | INC | 24 | 45183 | 45184
89 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-15 | 30 - 60 | No | INC | 24 | 45184 | 45185
90 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-16 | 30 - 60 | No | INC | 24 | 45185 | 45186
91 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-17 | 30 | No | INC | 24 | 45186 | 45187
92 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-18 | 30 | No | INC | 24 | 45187 | 45188
93 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-19 | 30 | No | INC | 10 | 45188 | 45188.4167
94 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-28 | 15 - 30 | No | INC | 2 | 45197.9167 | 45198
95 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-29 | 15 - 30 | No | INC | 24 | 45198 | 45199
96 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-30 | 30 | No | INC | 24 | 45199 | 45200
97 | RT | Reliability Assessment | PGAE | NCNB | 2023-09-05 | 60 - 70 | No | DEC | 5 | 45174.7778 | 45174.9583
98 | RT | Reliability Assessment | PGAE | NCNB | 2023-09-05 | 70 | No | INC | 1 | 45174.7847 | 45174.7917
99 | RT | Reliability Assessment | PGAE | Sierra | 2023-09-12 | 20 | No | INC | 2 | 45181.8542 | 45181.9167
100 | RT | Reliability Assessment | PGAE | Sierra | 2023-09-14 | 20 | No | DEC | 3 | 45183.7708 | 45183.875
101 | RT | Reliability Assessment | PGAE | Sierra | 2023-09-14 | 20 | No | INC | 3 | 45183.875 | 45183.9792
102 | RT | Reliability Assessment | PGAE | Sierra | 2023-09-15 | 0 - 20 | No | DEC | 1 | 45184.8368 | 45184.875
103 | RT | Reliability Assessment | PGAE | Sierra | 2023-09-15 | 20 | No | INC | 1 | 45184.875 | 45184.9167
104 | RT | Reliability Assessment | PGAE | NA | 2023-09-07 | 20 | No | DEC | 1 | 45176.4514 | 45176.4896
105 | RT | Reliability Assessment | PGAE | NA | 2023-09-11 | -120 | No | DEC | 1 | 45180.4583 | 45180.5
106 | RT | Reliability Assessment | PGAE | NA | 2023-09-11 | -120 | No | INC | 2 | 45180.4132 | 45180.4583
107 | RT | Reliability Assessment | PGAE | NA | 2023-09-13 | -110 | No | INC | 1 | 45182.0417 | 45182.0729
108 | RT | Reliability Assessment | SCE | NA | 2023-09-01 | 300 | No | INC | 6 | 45170.6944 | 45170.9167
109 | RT | Reliability Assessment | SCE | NA | 2023-09-12 | 46 | No | DEC | 1 | 45181.9965 | 45182
110 | RT | Reliability Assessment | SCE | NA | 2023-09-13 | 46 | No | DEC | 8 | 45182 | 45182.3333
111 | RT | Reliability Assessment | SCE | NA | 2023-09-13 | 46 | No | INC | 1 | 45182.2083 | 45182.25
112 | RT | Reliability Assessment | SCE | NA | 2023-09-14 | 37 | No | DEC | 5 | 45183.8125 | 45184
113 | RT | Reliability Assessment | SCE | NA | 2023-09-15 | 37 | No | DEC | 6 | 45184 | 45184.2396
114 | RT | Reliability Assessment | SCE | NA | 2023-09-19 | 0 | No | DEC | 3 | 45188.3056 | 45188.4167
115 | RT | Reliability Assessment | SCE | NA | 2023-09-20 | 45 | No | DEC | 3 | 45189.875 | 45190
116 | RT | Reliability Assessment | SCE | NA | 2023-09-21 | 4 - 45 | No | DEC | 24 | 45190 | 45191
117 | RT | Reliability Assessment | SCE | NA | 2023-09-22 | 4 - 6 | No | DEC | 8 | 45191 | 45191.3333
118 | RT | Reliability Assessment | SCE | NA | 2023-09-29 | 25 - 51 | No | DEC | 7 | 45198.7431 | 45199
119 | RT | Reliability Assessment | SCE | NA | 2023-09-30 | 30 - 51 | No | DEC | 8 | 45199 | 45199.3333
120 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-09-11 | 36.88 - 38.38 | No | DEC | 3 | 45180.75 | 45180.875
121 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-09-11 | 36.88 - 38.38 | No | INC | 7 | 45180.6597 | 45180.9167
122 | RT | Software Limitation | PGAE | Sierra | 2023-09-14 | 40 | No | DEC | 2 | 45183.8368 | 45183.9167
123 | RT | Software Limitation | PGAE | Stockton | 2023-09-12 | 238 | No | INC | 5 | 45181.8125 | 45182
124 | RT | Software Limitation | PGAE | Stockton | 2023-09-13 | 238 | No | INC | 24 | 45182 | 45183
125 | RT | Software Limitation | PGAE | Stockton | 2023-09-14 | 238 | No | INC | 6 | 45183 | 45183.25
126 | RT | Software Limitation | SCE | LA Basin | 2023-09-04 | 0 | No | INC | 1 | 45173.8368 | 45173.8785
127 | RT | Software Limitation | SCE | LA Basin | 2023-09-07 | 0 | No | INC | 1 | 45176.0243 | 45176.066
128 | RT | Software Limitation | SCE | LA Basin | 2023-09-08 | 0 | No | INC | 1 | 45177.0556 | 45177.0972
129 | RT | Software Limitation | SCE | LA Basin | 2023-09-09 | 0 | No | INC | 1 | 45178.9653 | 45179
130 | RT | Software Limitation | SCE | LA Basin | 2023-09-10 | 0 | No | INC | 1 | 45179 | 45179.0069
131 | RT | Software Limitation | SCE | LA Basin | 2023-09-14 | 0 | No | INC | 1 | 45183.9479 | 45183.9896
132 | RT | Unit Testing | PGAE | NA | 2023-09-26 | -126 | No | DEC | 1 | 45195.5903 | 45195.6215
133 | RT | Unit Testing | SCE | LA Basin | 2023-09-04 | 0.1 | No | INC | 1 | 45173.3715 | 45173.3819
134 | RT | Unit Testing | SCE | LA Basin | 2023-09-15 | 74.94 | No | INC | 1 | 45184.5278 | 45184.5556
135 | RT | Unit Testing | SCE | NA | 2023-09-15 | 1.67 | No | DEC | 1 | 45184.3993 | 45184.4167
136 | RT | Unit Testing | SCE | NA | 2023-09-15 | 160.09 | No | INC | 1 | 45184.5799 | 45184.6076
137 | RT | Voltage Support | PGAE | Fresno | 2023-09-18 | -315 | No | DEC | 3 | 45187.1354 | 45187.25
138 | RT | Voltage Support | PGAE | Fresno | 2023-09-22 | -315 | No | DEC | 4 | 45191.1076 | 45191.25
139 | RT | Voltage Support | PGAE | Fresno | 2023-09-24 | -315 | No | DEC | 16 | 45193.0243 | 45193.6667
140 | RT | Voltage Support | PGAE | Fresno | 2023-09-24 | -315 | No | INC | 8 | 45193.3333 | 45193.6667
141 | RT | Voltage Support | PGAE | Fresno | 2023-09-25 | -315 | No | DEC | 4 | 45194.0938 | 45194.2292
142 | RT | Voltage Support | PGAE | Fresno | 2023-09-30 | -315 | No | DEC | 2 | 45199.9236 | 45200
143 | RT | Voltage Support | PGAE | Humboldt | 2023-09-02 | 15 | No | DEC | 2 | 45171.8542 | 45171.9167
144 | RT | Voltage Support | PGAE | Humboldt | 2023-09-02 | 15 - 30 | No | INC | 3 | 45171.8646 | 45171.9792
145 | RT | Voltage Support | PGAE | Humboldt | 2023-09-03 | 15 | No | INC | 18 | 45172.2708 | 45173
146 | RT | Voltage Support | PGAE | Humboldt | 2023-09-04 | 15 | No | INC | 24 | 45173 | 45174
147 | RT | Voltage Support | PGAE | Humboldt | 2023-09-05 | 15 | No | INC | 10 | 45174 | 45174.4167
148 | RT | Voltage Support | PGAE | Humboldt | 2023-09-19 | 15 | No | INC | 6 | 45188.75 | 45189
149 | RT | Voltage Support | PGAE | Humboldt | 2023-09-20 | 15 - 30 | No | INC | 24 | 45189 | 45190
150 | RT | Voltage Support | PGAE | Humboldt | 2023-09-21 | 15 - 30 | No | INC | 24 | 45190 | 45191
151 | RT | Voltage Support | PGAE | Humboldt | 2023-09-22 | 15 | No | DEC | 6 | 45191.7083 | 45191.9583
152 | RT | Voltage Support | PGAE | Humboldt | 2023-09-22 | 15 | No | INC | 24 | 45191 | 45192
153 | RT | Voltage Support | PGAE | Humboldt | 2023-09-23 | 15 | No | INC | 22 | 45192 | 45192.9167
154 | RT | Voltage Support | PGAE | Sierra | 2023-09-22 | 20 | No | INC | 4 | 45191.1111 | 45191.25
155 | RT | Voltage Support | PGAE | Sierra | 2023-09-24 | 20 | No | INC | 14 | 45193.1111 | 45193.6667
156 | RT | Voltage Support | PGAE | NA | 2023-09-26 | 20 | No | INC | 7 | 45195.6771 | 45195.9583