## Table 1
California Independent System Operator Corporation Exceptional Dispatch Report January 15, 2023
Chart 1: Table of Exceptional Dispatches for Period 01/November/2022 - 30/November/2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time
1 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2022-11-07 | 45 - 60 | No | DEC | 9 | 44872.625 | 44873
2 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2022-11-07 | 45 | No | INC | 7 | 44872.3646 | 44872.625
3 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2022-11-08 | 45 - 60 | No | DEC | 7 | 44873.5833 | 44873.875
4 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2022-11-08 | 30 - 60 | No | INC | 24 | 44873 | 44874
5 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2022-11-09 | 45 | No | DEC | 4 | 44874.6667 | 44874.8021
6 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2022-11-09 | 30 - 60 | No | INC | 17 | 44874 | 44874.7083
7 | RT | Market Disruption | PGAE | Bay Area | 2022-11-28 | 80 - 195 | No | INC | 5 | 44893.691 | 44893.875
8 | RT | Market Disruption | PGAE | Fresno | 2022-11-28 | 115 | No | INC | 3 | 44893.7778 | 44893.875
9 | RT | Market Disruption | PGAE | Sierra | 2022-11-28 | 47 | No | INC | 3 | 44893.7014 | 44893.7917
10 | RT | Market Disruption | PGAE | NA | 2022-11-28 | 220 | No | DEC | 2 | 44893.8021 | 44893.875
11 | RT | Market Disruption | PGAE | NA | 2022-11-28 | 60 - 150 | No | INC | 4 | 44893.6979 | 44893.8542
12 | RT | Market Disruption | SCE | LA Basin | 2022-11-28 | 65 - 100 | No | DEC | 2 | 44893.7465 | 44893.7917
13 | RT | Market Disruption | SCE | LA Basin | 2022-11-28 | 65 - 194 | No | INC | 5 | 44893.7118 | 44893.8958
14 | RT | Market Disruption | SCE | NA | 2022-11-28 | 200 | No | INC | 3 | 44893.7604 | 44893.875
15 | RT | Market Disruption | SDGE | San Diego-IV | 2022-11-28 | 45 - 175 | No | INC | 5 | 44893.6979 | 44893.875
16 | RT | Other Reliability Requirement | PGAE | Fresno | 2022-11-09 | -320 | No | DEC | 1 | 44874.5729 | 44874.5764
17 | RT | Other Reliability Requirement | SDGE | San Diego-IV | 2022-11-20 | 305 | No | INC | 3 | 44885.5694 | 44885.6875
18 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-11-07 | 54 | No | INC | 12 | 44872.25 | 44872.75
19 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-11-14 | 54 | No | INC | 3 | 44879.25 | 44879.375
20 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-11-17 | 54 | No | INC | 6 | 44882.5 | 44882.75
21 | RT | Planned Transmission Outage | PGAE | Fresno | 2022-11-27 | -330 | No | DEC | 12 | 44892.1146 | 44892.6042
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-01 | 14 | No | DEC | 11 | 44866.0417 | 44866.4688
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-01 | 14 - 45 | No | INC | 19 | 44866 | 44866.7917
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-02 | 30 | No | INC | 3 | 44867.9062 | 44868
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-03 | 15 - 30 | No | DEC | 20 | 44868.1458 | 44868.9583
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-03 | 30 - 45 | No | INC | 24 | 44868 | 44869
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-04 | 30 | No | DEC | 4 | 44869.2083 | 44869.375
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-04 | 30 | No | INC | 24 | 44869 | 44870
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-05 | 15 | No | DEC | 11 | 44870 | 44870.4201
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-05 | 30 | No | INC | 24 | 44870 | 44871
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-06 | 30 - 45 | No | INC | 25 | 44871 | 44872
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-07 | 45 | No | DEC | 2 | 44872.7083 | 44872.7812
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-07 | 30 - 45 | No | INC | 17 | 44872 | 44872.7083
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-09 | 45 | No | DEC | 4 | 44874.7917 | 44874.9583
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-09 | 45 | No | INC | 1 | 44874.9583 | 44875
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-10 | 30 - 45 | No | DEC | 21 | 44875.125 | 44876
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-10 | 45 | No | INC | 16 | 44875 | 44875.6667
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-11 | 30 | No | DEC | 24 | 44876 | 44877
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-11 | 30 | No | INC | 8 | 44876.2917 | 44876.625
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-12 | 15 - 30 | No | DEC | 24 | 44877 | 44878
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-12 | 30 | No | INC | 17 | 44877.2917 | 44878
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-13 | 15 | No | DEC | 24 | 44878 | 44879
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-13 | 30 | No | INC | 24 | 44878 | 44879
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-14 | 15 - 30 | No | DEC | 24 | 44879 | 44880
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-14 | 30 | No | INC | 15 | 44879 | 44879.625
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-15 | 30 - 45 | No | DEC | 24 | 44880 | 44881
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-15 | 30 - 45 | No | INC | 6 | 44880.375 | 44880.625
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-16 | 30 - 45 | No | DEC | 24 | 44881 | 44882
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-16 | 30 - 45 | No | INC | 15 | 44881.375 | 44882
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-17 | 30 - 45 | No | DEC | 8 | 44882.625 | 44882.9583
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-17 | 30 - 45 | No | INC | 24 | 44882 | 44883
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-18 | 30 - 45 | No | DEC | 20 | 44883.1667 | 44884
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-18 | 30 - 45 | No | INC | 24 | 44883 | 44884
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-19 | 30 | No | DEC | 24 | 44884 | 44885
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-19 | 30 | No | INC | 15 | 44884 | 44884.625
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-20 | 30 - 45 | No | DEC | 24 | 44885 | 44886
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-20 | 30 | No | INC | 6 | 44885.3333 | 44885.5833
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-21 | 30 - 45 | No | DEC | 24 | 44886 | 44887
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-21 | 30 - 45 | No | INC | 6 | 44886.3333 | 44886.5833
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-22 | 30 - 45 | No | DEC | 22 | 44887 | 44887.9167
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-22 | 30 - 45 | No | INC | 24 | 44887 | 44888
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-23 | 30 - 45 | No | INC | 24 | 44888 | 44889
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-24 | 30 - 45 | No | INC | 24 | 44889 | 44890
64 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-25 | 30 | No | INC | 24 | 44890 | 44891
65 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-26 | 15 | No | DEC | 2 | 44891.9479 | 44892
66 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-26 | 15 - 30 | No | INC | 24 | 44891 | 44892
67 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-27 | 15 | No | DEC | 17 | 44892 | 44892.7049
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-27 | 15 - 45 | No | INC | 24 | 44892 | 44893
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-28 | 15 - 45 | No | INC | 24 | 44893 | 44894
70 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-29 | 30 - 45 | No | DEC | 9 | 44894.625 | 44895
71 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-29 | 30 - 45 | No | INC | 24 | 44894 | 44895
72 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-30 | 30 - 45 | No | DEC | 6 | 44895.6667 | 44895.9167
73 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-11-30 | 30 - 60 | No | INC | 24 | 44895 | 44896
74 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-11-01 | 62 - 68 | No | DEC | 19 | 44866.2465 | 44867
75 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-11-02 | 62 | No | DEC | 24 | 44867 | 44868
76 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-11-03 | 62 - 65 | No | DEC | 24 | 44868 | 44869
77 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-11-04 | 65 | No | DEC | 6 | 44869 | 44869.2292
78 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-11-05 | 45 - 65 | No | DEC | 6 | 44870.2917 | 44870.5417
79 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-11-19 | 50 - 60 | No | DEC | 18 | 44884.2812 | 44885
80 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-11-20 | 50 | No | DEC | 20 | 44885 | 44885.8333
81 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-11-01 | 24 | No | DEC | 1 | 44866.7083 | 44866.75
82 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-11-01 | 24 | No | INC | 3 | 44866.6111 | 44866.7083
83 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-11-04 | 20 - 45 | No | DEC | 2 | 44869.2917 | 44869.375
84 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-11-04 | 42 - 45 | No | INC | 6 | 44869.2917 | 44869.5417
85 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-11-09 | 42 | No | INC | 15 | 44874.25 | 44874.875
86 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-11-15 | 20 - 25 | No | DEC | 15 | 44880.3333 | 44880.9236
87 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-11-15 | 20 - 25 | No | INC | 14 | 44880.3125 | 44880.875
88 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-11-20 | 20 | No | DEC | 1 | 44885.875 | 44885.9167
89 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-11-20 | 20 | No | INC | 4 | 44885.8333 | 44885.9792
90 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-11-28 | 20 | No | DEC | 2 | 44893.6667 | 44893.75
91 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-11-28 | 20 | No | INC | 8 | 44893.3333 | 44893.6667
92 | RT | Planned Transmission Outage | SCE | NA | 2022-11-07 | 700 | No | DEC | 7 | 44872.3125 | 44872.5833
93 | RT | Planned Transmission Outage | SCE | NA | 2022-11-10 | 5 | No | DEC | 2 | 44875.7708 | 44875.8229
94 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-11-06 | 38.38 | Yes | INC | 3 | 44871.7188 | 44871.8125
95 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-11-07 | 44 | No | INC | 2 | 44872.8299 | 44872.875
96 | RT | Ramping Capacity | PGAE | NA | 2022-11-03 | 415 | No | DEC | 1 | 44868.3299 | 44868.3333
97 | RT | Ramping Capacity | PGAE | NA | 2022-11-03 | 415 | No | INC | 3 | 44868.3333 | 44868.4375
98 | RT | Ramping Capacity | PGAE | NA | 2022-11-04 | 49 | No | DEC | 3 | 44869.7083 | 44869.8333
99 | RT | Ramping Capacity | PGAE | NA | 2022-11-04 | 49 | No | INC | 5 | 44869.5278 | 44869.7083
100 | RT | Ramping Capacity | PGAE | NA | 2022-11-05 | 48.95 | No | DEC | 6 | 44870.5382 | 44870.7639
101 | RT | Ramping Capacity | SDGE | San Diego-IV | 2022-11-28 | 100 - 400 | No | INC | 6 | 44893.6771 | 44893.9167
102 | RT | Reliability Assessment | PGAE | Bay Area | 2022-11-28 | 22 | No | INC | 5 | 44893.7431 | 44893.9167
103 | RT | Reliability Assessment | PGAE | Bay Area | 2022-11-30 | 64 | No | INC | 2 | 44895.3194 | 44895.375
104 | RT | Reliability Assessment | PGAE | Fresno | 2022-11-14 | 5 | No | DEC | 1 | 44879.5347 | 44879.5417
105 | RT | Reliability Assessment | PGAE | Humboldt | 2022-11-01 | 28 - 75 | No | INC | 9 | 44866.4549 | 44866.7917
106 | RT | Reliability Assessment | PGAE | Humboldt | 2022-11-02 | 15 - 45 | No | INC | 21 | 44867.1424 | 44868
107 | RT | Reliability Assessment | PGAE | Humboldt | 2022-11-03 | 15 | No | DEC | 3 | 44868.1458 | 44868.25
108 | RT | Reliability Assessment | PGAE | Humboldt | 2022-11-03 | 30 | No | INC | 6 | 44868 | 44868.25
109 | RT | Reliability Assessment | PGAE | Kern | 2022-11-04 | 32 | No | INC | 1 | 44869.9861 | 44869.9896
110 | RT | Reliability Assessment | PGAE | Kern | 2022-11-05 | 32 - 38.5 | No | INC | 7 | 44870.0417 | 44870.3333
111 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-11-08 | 20 | No | INC | 6 | 44873.7569 | 44874
112 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-11-09 | 20 | No | INC | 12 | 44874 | 44874.5
113 | RT | Reliability Assessment | SCE | NA | 2022-11-01 | 0 | No | INC | 1 | 44866.6007 | 44866.6181
114 | RT | Software Limitation | PGAE | Bay Area | 2022-11-02 | 0 | No | INC | 2 | 44867.8854 | 44867.9306
115 | RT | Software Limitation | PGAE | Bay Area | 2022-11-04 | 0 | No | INC | 2 | 44869.2118 | 44869.2569
116 | RT | Software Limitation | PGAE | Bay Area | 2022-11-08 | 510 | No | INC | 1 | 44873.0069 | 44873.0417
117 | RT | Software Limitation | SCE | LA Basin | 2022-11-04 | 0 - 90.58 | No | INC | 5 | 44869.059 | 44869.2326
118 | RT | Software Limitation | SCE | LA Basin | 2022-11-15 | 0 | No | INC | 2 | 44880.3889 | 44880.434
119 | RT | Software Limitation | SDGE | San Diego-IV | 2022-11-28 | 125 | No | INC | 3 | 44893.7639 | 44893.875
120 | RT | Unit Testing | PGAE | NA | 2022-11-22 | 100 | No | DEC | 1 | 44887.6667 | 44887.6875
121 | RT | Unit Testing | PGAE | NA | 2022-11-22 | 100 | No | INC | 1 | 44887.625 | 44887.6667
122 | RT | Unit Testing | SCE | NA | 2022-11-24 | 176.1 | No | INC | 1 | 44889.5 | 44889.5278
123 | RT | Voltage Support | PGAE | Fresno | 2022-11-01 | -330 | No | DEC | 6 | 44866.0486 | 44866.2917
124 | RT | Voltage Support | PGAE | Fresno | 2022-11-06 | -330 | No | DEC | 10 | 44871.2604 | 44871.6771
125 | RT | Voltage Support | PGAE | Fresno | 2022-11-06 | -330 | No | INC | 17 | 44871 | 44871.6597
126 | RT | Voltage Support | PGAE | Fresno | 2022-11-07 | -330 | No | DEC | 6 | 44872 | 44872.2292
127 | RT | Voltage Support | PGAE | Fresno | 2022-11-07 | -330 | No | INC | 8 | 44872 | 44872.3333
128 | RT | Voltage Support | PGAE | Fresno | 2022-11-08 | -330 | No | INC | 8 | 44873.0069 | 44873.3333
129 | RT | Voltage Support | PGAE | Fresno | 2022-11-10 | -330 | No | DEC | 2 | 44875.25 | 44875.3333
130 | RT | Voltage Support | PGAE | Fresno | 2022-11-10 | -330 | No | INC | 4 | 44875.1042 | 44875.25
131 | RT | Voltage Support | PGAE | Fresno | 2022-11-12 | -330 | No | DEC | 1 | 44877.25 | 44877.2917
132 | RT | Voltage Support | PGAE | Fresno | 2022-11-12 | -330 | No | INC | 3 | 44877.125 | 44877.25
133 | RT | Voltage Support | PGAE | Fresno | 2022-11-15 | -330 | No | DEC | 6 | 44880.0625 | 44880.2917
134 | RT | Voltage Support | PGAE | Fresno | 2022-11-16 | -330 | No | DEC | 7 | 44881 | 44881.2917
135 | RT | Voltage Support | PGAE | Fresno | 2022-11-17 | -330 | No | DEC | 7 | 44882.0104 | 44882.2917
136 | RT | Voltage Support | PGAE | Fresno | 2022-11-17 | 83 | No | INC | 4 | 44882.8715 | 44883
137 | RT | Voltage Support | PGAE | Fresno | 2022-11-18 | -330 | No | DEC | 4 | 44883.125 | 44883.2708
138 | RT | Voltage Support | PGAE | Fresno | 2022-11-19 | -330 | No | DEC | 7 | 44884.0069 | 44884.2917
139 | RT | Voltage Support | PGAE | Fresno | 2022-11-20 | -330 | No | DEC | 7 | 44885.0972 | 44885.375
140 | RT | Voltage Support | PGAE | Fresno | 2022-11-21 | -330 | No | DEC | 6 | 44886.0035 | 44886.2292
141 | RT | Voltage Support | PGAE | Fresno | 2022-11-21 | 0 - 83 | No | INC | 3 | 44886.0174 | 44886.1076
142 | RT | Voltage Support | PGAE | Fresno | 2022-11-22 | -330 | No | DEC | 2 | 44887.9167 | 44888
143 | RT | Voltage Support | PGAE | Fresno | 2022-11-22 | -330 | No | INC | 7 | 44887 | 44887.2917
144 | RT | Voltage Support | PGAE | Fresno | 2022-11-23 | -330 | No | INC | 24 | 44888 | 44889
145 | RT | Voltage Support | PGAE | Fresno | 2022-11-24 | -330 | No | DEC | 1 | 44889.8958 | 44889.9167
146 | RT | Voltage Support | PGAE | Fresno | 2022-11-24 | -330 | No | INC | 24 | 44889 | 44890
147 | RT | Voltage Support | PGAE | Fresno | 2022-11-25 | -330 | No | DEC | 24 | 44890 | 44891
148 | RT | Voltage Support | PGAE | Fresno | 2022-11-25 | -330 | No | INC | 3 | 44890.1285 | 44890.25
149 | RT | Voltage Support | PGAE | Fresno | 2022-11-26 | -330 | No | DEC | 14 | 44891 | 44891.5833
150 | RT | Voltage Support | PGAE | Sierra | 2022-11-01 | 20 | No | INC | 6 | 44866.0208 | 44866.25
151 | RT | Voltage Support | PGAE | Sierra | 2022-11-06 | 20 | No | DEC | 1 | 44871.875 | 44871.9167
152 | RT | Voltage Support | PGAE | Sierra | 2022-11-06 | 20 | No | INC | 22 | 44871.1181 | 44872
153 | RT | Voltage Support | PGAE | Sierra | 2022-11-07 | 20 | No | DEC | 1 | 44872.2083 | 44872.25
154 | RT | Voltage Support | PGAE | Sierra | 2022-11-07 | 20 | No | INC | 7 | 44872 | 44872.2917
155 | RT | Voltage Support | PGAE | Sierra | 2022-11-08 | 20 | No | INC | 5 | 44873.0868 | 44873.2917
156 | RT | Voltage Support | PGAE | Sierra | 2022-11-09 | 20 | No | INC | 6 | 44874.1146 | 44874.3333
157 | RT | Voltage Support | PGAE | Sierra | 2022-11-11 | 20 | No | DEC | 3 | 44876.875 | 44877
158 | RT | Voltage Support | PGAE | Sierra | 2022-11-11 | 20 | No | INC | 6 | 44876.6597 | 44876.875
159 | RT | Voltage Support | PGAE | Sierra | 2022-11-12 | 20 | No | DEC | 22 | 44877 | 44877.9167
160 | RT | Voltage Support | PGAE | Sierra | 2022-11-12 | 20 | No | INC | 18 | 44877.25 | 44878
161 | RT | Voltage Support | PGAE | Sierra | 2022-11-13 | 20 | No | DEC | 3 | 44878.875 | 44879
162 | RT | Voltage Support | PGAE | Sierra | 2022-11-13 | 20 | No | INC | 21 | 44878 | 44878.875
163 | RT | Voltage Support | PGAE | Sierra | 2022-11-14 | 20 | Yes | DEC | 24 | 44879 | 44880
164 | RT | Voltage Support | PGAE | Sierra | 2022-11-14 | 20 | Yes | INC | 19 | 44879.0833 | 44879.875
165 | RT | Voltage Support | PGAE | Sierra | 2022-11-15 | 20 - 25 | No | DEC | 24 | 44880 | 44881
166 | RT | Voltage Support | PGAE | Sierra | 2022-11-16 | 20 | Yes | DEC | 6 | 44881 | 44881.25
167 | RT | Voltage Support | PGAE | Sierra | 2022-11-16 | 20 | Yes | INC | 1 | 44881.25 | 44881.2917
168 | RT | Voltage Support | PGAE | Sierra | 2022-11-20 | 20 | Yes | INC | 8 | 44885.5174 | 44885.8333
169 | RT | Voltage Support | PGAE | Sierra | 2022-11-25 | 20 | No | INC | 17 | 44890.0799 | 44890.75
170 | RT | Voltage Support | PGAE | Sierra | 2022-11-26 | 20 | No | INC | 16 | 44891.0833 | 44891.75
171 | RT | Voltage Support | PGAE | NA | 2022-11-05 | 48.95 | No | DEC | 9 | 44870.5521 | 44870.9167
172 | RT | Voltage Support | PGAE | NA | 2022-11-05 | 48.95 | No | INC | 2 | 44870.9167 | 44871
173 | RT | Voltage Support | PGAE | NA | 2022-11-06 | 48.95 | No | DEC | 23 | 44871 | 44871.9167
174 | RT | Voltage Support | PGAE | NA | 2022-11-06 | 48.95 | No | INC | 2 | 44871.9167 | 44872
175 | RT | Voltage Support | PGAE | NA | 2022-11-07 | 48.95 | No | DEC | 2 | 44872.2083 | 44872.2917
176 | RT | Voltage Support | PGAE | NA | 2022-11-07 | 48.95 | No | INC | 5 | 44872 | 44872.2083