## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for December 2022
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Fast Start Unit Management | PGAE | Fresno | 2022-12-03 | 0 | No | INC | 2 | 44898.9167 | 44899 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Fast Start Unit Management | PGAE | Fresno | 2022-12-04 | 0 | No | INC | 2 | 44899 | 44899.0521 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | SCE | LA Basin | 2022-12-03 | 0 | No | INC | 2 | 44898.9167 | 44898.9688 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Fast Start Unit Management | SDGE | San Diego-IV | 2022-12-03 | 0 | No | INC | 1 | 44898.9271 | 44898.9688 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-12-18 | 20 | Yes | DEC | 2 | 44913.875 | 44913.9583 | -2.8744 | 0 | 0 | 750.2181 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-12-18 | 20 | Yes | INC | 5 | 44913.7917 | 44914 | 1.3102 | 21151.94 | 0 | -836.9904 | 0 | 0 | 0 | 0 | 0 | 0
7 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-12-19 | 20 | No | DEC | 1 | 44914.2083 | 44914.25 | 3.8657 | 0 | 0 | -1216.1243 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2022-12-19 | 20 | No | INC | 7 | 44914 | 44914.2917 | 4.5633 | 0 | 0 | -1272.3596 | 0 | 0 | 0 | 0 | 0 | 0
9 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2022-12-20 | 202 | No | INC | 2 | 44915.3507 | 44915.4167 | 113.2048 | 85950.0625 | 0 | -52205.1879 | 0 | 0 | 0 | 0 | 0 | 0
10 | RT | Load Forecast Uncertainty | PGAE | Big Creek-Ventura | 2022-12-20 | 62 | No | INC | 2 | 44915.3403 | 44915.3854 | 121.3164 | 10393.16 | 0 | -65659.9722 | 0 | 0 | 0 | 0 | 0 | 0
11 | RT | Load Forecast Uncertainty | PGAE | Humboldt | 2022-12-27 | 45 | No | INC | 6 | 44922.5694 | 44922.7812 | 20.595 | 66211.0458 | 0 | -3851.7044 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Load Forecast Uncertainty | PGAE | NA | 2022-12-20 | 62 - 417 | No | INC | 1 | 44915.3542 | 44915.3854 | 3.735 | 72566.535 | 3858.6555 | -1337.831 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2022-12-20 | 25 - 111 | Yes | INC | 2 | 44915.3507 | 44915.4167 | 203.374 | 46940.2275 | 3363.25 | -86826.6819 | 29.4375 | -10124.9305 | 0 | -8.6531 | 0 | 0
14 | RT | Other Reliability Requirement | SCE | LA Basin | 2022-12-29 | 46 | No | INC | 2 | 44924.375 | 44924.4271 | 60.5414 | 58949.0375 | 0 | -12783.1459 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-12-03 | 54 | No | DEC | 12 | 44898.25 | 44898.75 | -7.0108 | -369122.2788 | 15109.9733 | 1421.9293 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2022-12-04 | 54 | No | INC | 12 | 44899.25 | 44899.75 | -0.105 | 105273.36 | 15165.1733 | 12.7732 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-01 | 45 | No | DEC | 6 | 44896.625 | 44896.875 | 4.2773 | 14582.16 | 0 | -720.4476 | 0 | 0 | 0 | 0 | -729.7721 | 0
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-01 | 30 - 60 | No | INC | 24 | 44896 | 44897 | 8.4119 | 246681.855 | 0 | -3603.5283 | -3.5619 | 0 | 894.1002 | 0 | -587.0134 | 0
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-02 | 30 - 45 | No | DEC | 16 | 44897.25 | 44897.9167 | 2.4057 | 9310.7667 | 0 | -539.1936 | 0 | 0 | 0 | 0 | -501.6796 | 0
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-02 | 30 - 60 | No | INC | 24 | 44897 | 44898 | 40.8984 | 275598.6933 | 0 | -5984.0207 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-03 | 30 - 45 | No | DEC | 24 | 44898 | 44899 | 5.7679 | -93634.203 | 0 | -1031.8214 | 0 | 0 | 0 | 0 | -3974.4019 | 0
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-03 | 30 - 45 | No | INC | 7 | 44898.375 | 44898.6667 | -0.42333 | 63147.225 | 0 | 59.2552 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-04 | 30 - 45 | No | DEC | 24 | 44899 | 44900 | -7.8079 | -234450.7683 | 0 | 1113.3666 | 0 | 0 | 0 | 0 | -3914.55 | 0
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-04 | 45 | No | INC | 2 | 44899.9167 | 44900 | -0.024783 | 13411.8 | 0 | 3.5396 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-05 | 28 - 42 | No | DEC | 23 | 44900 | 44900.9583 | 2.0047 | -62181.0843 | 0 | -283.5199 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-05 | 28 - 45 | No | INC | 24 | 44900 | 44901 | 0.80167 | 103941.45 | 0 | -127.1109 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-06 | 30 - 42 | No | DEC | 8 | 44901.5833 | 44901.9167 | 1.3558 | -47758.3458 | 0 | -45.3376 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-06 | 30 - 42 | No | INC | 24 | 44901 | 44902 | -11.2308 | 167175.05 | 0 | 746.6672 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-07 | 30 - 45 | No | DEC | 6 | 44902.6667 | 44902.9167 | 7.9931 | 13817.82 | 0 | -1457.7311 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-07 | 30 - 45 | No | INC | 24 | 44902 | 44903 | 10.7598 | 178494.01 | 0 | -1900.5632 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-08 | 15 - 45 | No | DEC | 17 | 44903.1458 | 44903.8333 | -7.5073 | 36424.482 | 0 | 1528.0608 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-08 | 30 - 45 | No | INC | 24 | 44903 | 44904 | -5.506 | 231022.24 | 0 | 1235.4259 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-09 | 15 - 45 | No | DEC | 8 | 44904.6667 | 44905 | -16.005 | 43166.37 | 0 | 4627.5564 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-09 | 30 - 45 | No | INC | 24 | 44904 | 44905 | 4.9596 | 399565.63 | 0 | -1883.8993 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-10 | 15 | No | DEC | 2 | 44905 | 44905.059 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-10 | 30 - 60 | No | INC | 10 | 44905 | 44905.4167 | 8.2117 | 249898.2625 | 0 | -2445.4038 | -1.2435 | 0 | 350.6473 | 0 | -153.9254 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-11 | 30 - 45 | No | DEC | 2 | 44906.8958 | 44906.9583 | 1e-09 | -10246.9414 | 0 | 19.7789 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-11 | 30 - 45 | No | INC | 2 | 44906.9167 | 44907 | 0 | 43460.57 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-12 | 30 - 45 | No | DEC | 24 | 44907 | 44908 | 6.4865 | -402211.5981 | 0 | -2383.2811 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-12 | 30 - 45 | No | INC | 16 | 44907 | 44907.6667 | 3.3896 | 186259.62 | 0 | -690.3135 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-13 | 15 - 45 | No | DEC | 24 | 44908 | 44909 | -10.2245 | -127672.7804 | 0 | 4268.9048 | 0 | 0 | 0 | 0 | 0 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-13 | 30 - 45 | No | INC | 15 | 44908.0417 | 44908.6354 | 0.46948 | 132360.3 | 0 | -210.393 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-14 | 30 | No | DEC | 5 | 44909.6667 | 44909.875 | -1.1689 | -8934.0844 | 0 | 399.2942 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-14 | 30 - 60 | No | INC | 24 | 44909 | 44910 | -23.1489 | 629660.14 | 0 | 8931.1176 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-15 | 30 - 45 | No | DEC | 24 | 44910 | 44911 | 11.5526 | -64951.1855 | 0 | -2965.1357 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-16 | 30 - 45 | No | DEC | 24 | 44911 | 44912 | 1.2178 | -116944.2258 | 0 | -600.6061 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-16 | 30 - 45 | No | INC | 24 | 44911 | 44912 | 1.3556 | 229016.0341 | 0 | -316.9 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-17 | 30 - 45 | No | DEC | 24 | 44912 | 44913 | 1.4247 | -265197.2865 | 0 | -262.624 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-17 | 30 - 45 | No | INC | 22 | 44912.0833 | 44913 | 1.5818 | 141161.46 | 0 | -350.9714 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-18 | 30 | No | DEC | 6 | 44913.7083 | 44913.9583 | 2.6931 | 17110.48 | 0 | -735.1043 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-18 | 30 - 45 | No | INC | 24 | 44913 | 44914 | 5.2297 | 225644.455 | 0 | -1264.3886 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-19 | 15 - 45 | No | DEC | 24 | 44914 | 44915 | 7.9508 | -14971.67 | 0 | -3261.2198 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-19 | 30 - 45 | No | INC | 15 | 44914 | 44914.625 | 2.2019 | 120842.765 | 0 | -2286.1241 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2022-12-20 | 30 | No | INC | 6 | 44915 | 44915.2292 | -36.7392 | 48832.6125 | 0 | 14446.5427 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Planned Transmission Outage | PGAE | NCNB | 2022-12-21 | 60 - 62 | No | DEC | 12 | 44916.3194 | 44916.8125 | -55.7863 | 0 | 0 | 16519.2277 | -64.9769 | 0 | 19421.829 | 0 | -198607.0442 | 0
56 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-14 | 20 | Yes | INC | 4 | 44909.4444 | 44909.5729 | 6.7521 | 48837.3 | 2734.22 | -2225.6445 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-15 | 20 | No | DEC | 4 | 44910.8576 | 44911 | 1.7044 | 0 | 0 | -393.3195 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-16 | 20 | No | DEC | 1 | 44911.2083 | 44911.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-16 | 20 | No | INC | 8 | 44911 | 44911.3333 | -4.4421 | 53013.38 | 0 | 435.2333 | 0 | 0 | 0 | 0 | 0 | 0
60 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-19 | 20 | No | DEC | 7 | 44914.7083 | 44915 | 14.9508 | 0 | 578.55 | -5723.2305 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-19 | 20 | No | INC | 9 | 44914.3403 | 44914.7083 | 35.4544 | 79613.25 | 0 | -11367.1935 | 0 | 0 | 0 | 0 | 0 | 0
62 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-20 | 20 | No | DEC | 1 | 44915.875 | 44915.9167 | 3.0325 | 0 | 0 | -1159.4546 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-20 | 20 - 42 | No | INC | 24 | 44915 | 44916 | 100.2638 | 301174.7301 | 1439.82 | -41100.3922 | 0 | 0 | 0 | 0 | 0 | 0
64 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-21 | 20 | Yes | DEC | 24 | 44916 | 44917 | 10.8333 | 0 | 0 | -3658.472 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-21 | 20 | No | INC | 9 | 44916.3576 | 44916.7083 | 42.188 | 140015.0975 | 0 | -13584.3911 | 0 | 0 | 0 | 0 | 0 | 0
66 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-22 | 20 | No | DEC | 2 | 44917.875 | 44917.9583 | 15.9083 | 0 | 0 | -8874.6326 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-22 | 20 | No | INC | 24 | 44917 | 44918 | 60.4545 | 398524.59 | 0 | -38084.0626 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-23 | 20 | No | DEC | 24 | 44918 | 44919 | 2.8162 | 0 | 0 | -691.6284 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-23 | 20 | No | INC | 15 | 44918.25 | 44918.875 | 108.1125 | 150842.58 | 0 | -30444.9368 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-24 | 20 | No | DEC | 2 | 44919.875 | 44919.9583 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-24 | 20 | Yes | INC | 24 | 44919 | 44920 | -8.3524 | 182561.4 | 0 | 2140.8469 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-25 | 20 | No | INC | 24 | 44920 | 44921 | 1.6667 | 189495.74 | 0 | -411.1663 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-26 | 20 | No | DEC | 1 | 44921.875 | 44921.9167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-26 | 20 | No | INC | 24 | 44921 | 44922 | -38.8203 | 203054.5496 | 0 | 10450.5699 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-27 | 20 | No | INC | 24 | 44922 | 44923 | 23.7387 | 203054.55 | 0 | -7896.6052 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-28 | 20 | No | INC | 24 | 44923 | 44924 | -23.6192 | 136574.5333 | 0 | 4148.2518 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-29 | 20 | No | DEC | 1 | 44924.375 | 44924.4167 | 24.3386 | 0 | 0 | -5336.9504 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-29 | 20 | Yes | INC | 24 | 44924 | 44925 | 45.8924 | 166963.425 | 1430.22 | -7899.3608 | 0 | 0 | 0 | 0 | 0 | 0
79 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-30 | 20 | No | DEC | 1 | 44925.875 | 44925.9167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-30 | 20 | No | INC | 24 | 44925 | 44926 | -34.8353 | 65347.55 | 0 | 3949.2078 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Planned Transmission Outage | PGAE | Sierra | 2022-12-31 | 20 | Yes | INC | 7 | 44926 | 44926.2917 | 0.83333 | 5461.97 | 0 | -75.6651 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2022-12-15 | 725 | No | DEC | 2 | 44910.3611 | 44910.4062 | -66.2847 | 0 | 0 | 5095.6889 | -23.7167 | 0 | 4261.5581 | 0 | -365.3925 | 0
83 | RT | Planned Transmission Outage | SCE | LA Basin | 2022-12-20 | 0 - 46 | No | DEC | 12 | 44915.25 | 44915.75 | -20.6993 | -77495.64 | 0 | 5915.4009 | 0 | 0 | 0 | 0 | -87913.8654 | 0
84 | RT | Planned Transmission Outage | SCE | LA Basin | 2022-12-20 | 0 - 46 | No | INC | 12 | 44915.1667 | 44915.6667 | -223.4536 | 174904.74 | 0 | 88816.751 | -180.7775 | 0 | 75950.7971 | 0 | -46178.2068 | 0
85 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-12-05 | 155 | No | INC | 5 | 44900.4167 | 44900.625 | -435.3094 | 211236.205 | 0 | 38654.934 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2022-12-19 | 0 | No | INC | 1 | 44914.8299 | 44914.8333 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Ramping Capacity | PGAE | NA | 2022-12-05 | 48.95 | No | DEC | 5 | 44900.625 | 44900.8333 | -24.4033 | -26693.2674 | 0 | 3393.8954 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Reliability Assessment | PGAE | Fresno | 2022-12-21 | -330 | No | INC | 2 | 44916.4097 | 44916.4583 | -247.5 | 0 | 0 | 92976.1407 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-11 | 30 - 45 | No | DEC | 4 | 44906.75 | 44906.9062 | -7.015 | -39145.1173 | 0 | 2425.4508 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-11 | 30 - 45 | No | INC | 18 | 44906.0174 | 44906.75 | 49.9971 | 543257.0623 | 0 | -20528.7664 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-21 | 30 - 45 | No | DEC | 5 | 44916.7396 | 44916.9167 | 35.8719 | -45091.9301 | 861.792 | -12266.7896 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-21 | 30 - 45 | No | INC | 1 | 44916.9965 | 44917 | 0.50844 | 1191.605 | 35.908 | -117.0665 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-22 | 30 - 45 | No | INC | 8 | 44917 | 44917.3125 | 0 | 284048.6875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-26 | 15 | No | DEC | 1 | 44921.9792 | 44922 | 0.73277 | 0 | 0 | -124.3962 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-26 | 30 | No | INC | 2 | 44921.9236 | 44921.9792 | 1.1067 | 3603.3275 | 0 | -342.5788 | -0.37104 | 0 | 36.2582 | 0 | 0 | 0
96 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-27 | 15 - 45 | No | INC | 14 | 44922 | 44922.5833 | 8.56 | 95938.455 | 0 | -1449.9406 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-28 | 15 | No | DEC | 4 | 44923.6111 | 44923.75 | -27.3694 | 7732.26 | 0 | 1893.9971 | -0.84667 | 0 | 59.2328 | 0 | 0 | 0
98 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-28 | 15 - 30 | No | INC | 6 | 44923.75 | 44924 | 6.1328 | 41560.8975 | 0 | -1123.0946 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-29 | 15 - 30 | No | INC | 24 | 44924 | 44925 | 0 | 131879.95 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-30 | 15 | No | DEC | 16 | 44925.3333 | 44926 | 1.3558 | 0 | 0 | -121.7801 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-30 | 15 - 30 | No | INC | 24 | 44925 | 44926 | -3.4554 | 61601.725 | 0 | 376.3996 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-31 | 15 | No | DEC | 24 | 44926 | 44927 | 2.0338 | 0 | 0 | -213.8049 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Reliability Assessment | PGAE | Humboldt | 2022-12-31 | 15 | No | INC | 24 | 44926 | 44927 | 3.726 | 46051.775 | 0 | -533.3569 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Reliability Assessment | PGAE | Sierra | 2022-12-12 | 20 | No | INC | 6 | 44907.6042 | 44907.8542 | -38.269 | 89723.575 | 2600.5 | 16258.443 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Reliability Assessment | PGAE | NA | 2022-12-22 | 111 | No | DEC | 3 | 44917.8264 | 44917.9167 | 1.5411 | 0 | 0 | -1079.8583 | -1.2817 | 0 | 584.9014 | 0 | 0 | 0
106 | RT | Reliability Assessment | PGAE | NA | 2022-12-22 | 111 | No | INC | 2 | 44917.9167 | 44918 | 26.5332 | 60304 | 0 | -12106.1782 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Reliability Assessment | PGAE | NA | 2022-12-23 | 105 | No | DEC | 13 | 44918.3125 | 44918.8333 | 7.5307 | 0 | 0 | -3037.7319 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Reliability Assessment | PGAE | NA | 2022-12-23 | 105 - 111 | No | INC | 15 | 44918 | 44918.625 | 8.8062 | 40178.55 | 0 | -1649.4321 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2022-12-05 | 10 | No | INC | 10 | 44900.1806 | 44900.5833 | 11.4896 | 0 | 0 | -3054.4351 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Reliability Assessment | SCE | NA | 2022-12-11 | 460 | No | DEC | 4 | 44906.7396 | 44906.9062 | -293.1595 | -146672.1 | 0 | 93572.5198 | -10.8645 | 0 | 2251.2011 | 0 | 0 | 0
111 | RT | Reliability Assessment | SCE | NA | 2022-12-16 | 475.01 | No | INC | 1 | 44911.3646 | 44911.3958 | -10.2171 | 12626.145 | 0 | 398.2656 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Reliability Assessment | SCE | NA | 2022-12-25 | 410 - 450 | No | DEC | 8 | 44920.7014 | 44921 | -171.1168 | -123900.2631 | 0 | -7455.8022 | -38.0192 | 0 | -6157.065 | 0 | 0 | 0
113 | RT | Reliability Assessment | SCE | NA | 2022-12-26 | 440 | No | DEC | 1 | 44921 | 44921.0312 | 8.613 | -12362.505 | 0 | 1214.6677 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Software Limitation | PGAE | Fresno | 2022-12-03 | 14 - 35 | No | INC | 1 | 44898.8542 | 44898.8889 | 47.2901 | 22423.7003 | 0 | -8189.6644 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Software Limitation | PGAE | Fresno | 2022-12-08 | 35 | No | INC | 1 | 44903.7153 | 44903.7535 | 23.1486 | 14406.3336 | 0 | -6054.1864 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Software Limitation | PGAE | Fresno | 2022-12-09 | 0 | No | INC | 1 | 44904.1875 | 44904.2292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-12-30 | 0 | No | INC | 2 | 44925.9167 | 44926 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Software Limitation | SCE | Big Creek-Ventura | 2022-12-31 | 0 | No | INC | 12 | 44926 | 44926.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Software Limitation | SCE | LA Basin | 2022-12-03 | 5 - 96.65 | No | INC | 1 | 44898.8542 | 44898.8889 | 93.3802 | 18845.0585 | 0 | -15482.9657 | 0.11865 | -24.8563 | 0 | 0 | 0 | 0
120 | RT | Software Limitation | SCE | LA Basin | 2022-12-08 | 5 - 5.75 | No | INC | 1 | 44903.7153 | 44903.7535 | 3.2352 | 816.425 | 0 | -891.1263 | 0.087083 | -24.4269 | 0 | 0 | 0 | 0
121 | RT | Software Limitation | SDGE | San Diego-IV | 2022-12-03 | 30 | No | INC | 1 | 44898.8542 | 44898.8889 | 19.0583 | 11475.6584 | 0 | -3068.5254 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Software Limitation | SDGE | San Diego-IV | 2022-12-08 | 0 - 30 | No | INC | 7 | 44903.7153 | 44904 | 7.3417 | 23595.987 | 0 | -5289.8999 | -12.5 | 0 | 0 | 0 | 0 | 0
123 | RT | Software Limitation | SDGE | San Diego-IV | 2022-12-09 | 0 | No | INC | 1 | 44904 | 44904.0208 | -7.5 | 0 | 0 | 0 | -7.5 | 0 | 0 | 0 | 0 | 0
124 | RT | Unit Testing | SCE | LA Basin | 2022-12-10 | 90.56 | No | INC | 1 | 44905.7118 | 44905.7431 | 51.2642 | 56188.675 | 0 | -19074.4221 | 25.1562 | -10422.4822 | 0 | 0 | 0 | 0
125 | RT | Unit Testing | SDGE | San Diego-IV | 2022-12-16 | 510 | No | DEC | 1 | 44911.309 | 44911.3333 | 1.0312 | -31805.9469 | 0 | -335.9064 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Unit Testing | SDGE | San Diego-IV | 2022-12-16 | 510 | No | INC | 1 | 44911.3333 | 44911.3368 | -1.5625 | 0 | 0 | 546.7274 | 0 | 0 | 0 | 0 | 0 | 0
127 | RT | Unplanned Outage | PGAE | Humboldt | 2022-12-27 | 45 - 48 | No | INC | 6 | 44922.7812 | 44923 | -0.39656 | 133773.3525 | 0 | 38.7521 | -0.39656 | 0 | 38.7521 | -3.5935 | 0 | 0
128 | RT | Unplanned Outage | PGAE | Humboldt | 2022-12-28 | 15 | No | DEC | 1 | 44923.7396 | 44923.75 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
129 | RT | Unplanned Outage | PGAE | Humboldt | 2022-12-28 | 15 - 60 | No | INC | 19 | 44923 | 44923.7708 | -26.8942 | 260963.775 | 0 | 1042.7291 | -0.29594 | -25.6916 | 103.1327 | -572.8973 | 0 | 0
130 | RT | Voltage Support | PGAE | Fresno | 2022-12-02 | -330 | No | DEC | 3 | 44897.1667 | 44897.2917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Voltage Support | PGAE | Fresno | 2022-12-02 | -330 | No | INC | 1 | 44897.1319 | 44897.1667 | -13.75 | 0 | 0 | 3167.7374 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Voltage Support | PGAE | Fresno | 2022-12-07 | -330 | No | DEC | 2 | 44902.1458 | 44902.2083 | -330 | 0 | 0 | 49575.2683 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Voltage Support | PGAE | Fresno | 2022-12-10 | -330 | No | DEC | 3 | 44905.0486 | 44905.1667 | -106.0208 | 0 | 0 | 36796.5499 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Voltage Support | PGAE | Fresno | 2022-12-10 | 83 | No | INC | 1 | 44905.1875 | 44905.2083 | 38.0417 | 3490.4475 | 0 | -11505.5392 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Voltage Support | PGAE | Fresno | 2022-12-11 | -330 | No | DEC | 9 | 44906.0208 | 44906.375 | -150.3792 | 0 | 0 | 90903.0396 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Voltage Support | PGAE | Fresno | 2022-12-12 | -330 | No | INC | 4 | 44907.0625 | 44907.2083 | -85.4 | 0 | 0 | 29506.3501 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Voltage Support | PGAE | Fresno | 2022-12-16 | -330 | No | DEC | 1 | 44911.9965 | 44912 | -23.425 | 0 | 0 | 5351.207 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Voltage Support | PGAE | Fresno | 2022-12-17 | -330 | No | DEC | 8 | 44912 | 44912.3333 | -163.6417 | 21450 | 0 | 40962.6639 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Voltage Support | PGAE | Fresno | 2022-12-19 | -330 | No | DEC | 1 | 44914.1667 | 44914.2083 | -305.9583 | 0 | 0 | 89235.3796 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Voltage Support | PGAE | Fresno | 2022-12-20 | -330 | No | DEC | 4 | 44915.0868 | 44915.2188 | -210.5917 | 0 | 0 | 80556.2199 | 0 | 0 | 0 | 0 | 0 | 0
141 | RT | Voltage Support | PGAE | Fresno | 2022-12-21 | -330 | No | DEC | 3 | 44916.1667 | 44916.2917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Voltage Support | PGAE | Fresno | 2022-12-22 | -330 | No | DEC | 6 | 44917.0556 | 44917.2917 | -133.5292 | 16912.5 | 0 | 53755.1188 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Voltage Support | PGAE | Fresno | 2022-12-23 | -330 | No | DEC | 23 | 44918.0694 | 44919 | -397.7 | 23100 | 0 | 122333.61 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Voltage Support | PGAE | Fresno | 2022-12-24 | -330 | No | DEC | 24 | 44919 | 44920 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Voltage Support | PGAE | Fresno | 2022-12-25 | -330 | No | DEC | 24 | 44920 | 44921 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Voltage Support | PGAE | Fresno | 2022-12-26 | -330 | No | DEC | 15 | 44921 | 44921.625 | -253.3479 | 0 | 0 | 64682.226 | 0 | 0 | 0 | 0 | 0 | 0
147 | RT | Voltage Support | PGAE | Fresno | 2022-12-27 | -330 | No | DEC | 9 | 44922.0417 | 44922.4167 | -71.6542 | 0 | 0 | 14538.9971 | 0 | 0 | 0 | 0 | 0 | 0
148 | RT | Voltage Support | PGAE | Fresno | 2022-12-28 | -330 | No | DEC | 6 | 44923 | 44923.25 | 35.6417 | 0 | 0 | -6059.9171 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Voltage Support | PGAE | Fresno | 2022-12-28 | 83 | No | INC | 1 | 44923.9896 | 44924 | 0 | 3490.4475 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Voltage Support | PGAE | Fresno | 2022-12-29 | -330 | No | DEC | 23 | 44924.0417 | 44925 | -215.2458 | 0 | 0 | 31180.6896 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Voltage Support | PGAE | Fresno | 2022-12-29 | 83 | No | INC | 1 | 44924 | 44924.0208 | 0 | 6980.895 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Voltage Support | PGAE | Fresno | 2022-12-30 | -330 | No | DEC | 7 | 44925 | 44925.2917 | -82.5 | 0 | 0 | 10218.527 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Voltage Support | PGAE | Fresno | 2022-12-31 | -330 | No | DEC | 24 | 44926.0312 | 44927 | -348.075 | 0 | 0 | 37213.0617 | 0 | 0 | 0 | 0 | 0 | 0
154 | RT | Voltage Support | PGAE | Humboldt | 2022-12-22 | 15 - 45 | No | DEC | 9 | 44917.5833 | 44917.9583 | 6.9956 | 23187.625 | 0 | -3009.9258 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Voltage Support | PGAE | Humboldt | 2022-12-22 | 15 - 45 | No | INC | 17 | 44917.2951 | 44918 | -0.15979 | 275031.2533 | 0 | -586.5962 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Voltage Support | PGAE | Humboldt | 2022-12-23 | 15 - 30 | No | DEC | 24 | 44918 | 44919 | 0.098333 | 73735.7403 | 0 | 215.234 | 0 | 0 | 0 | 0 | 0 | 0
157 | RT | Voltage Support | PGAE | Humboldt | 2022-12-23 | 30 | No | INC | 1 | 44918.375 | 44918.4167 | -0.065833 | 4326.8 | 0 | 16.9953 | 0 | 0 | 0 | 0 | 0 | 0
158 | RT | Voltage Support | PGAE | Humboldt | 2022-12-24 | 15 | No | DEC | 24 | 44919 | 44920 | -1.4985 | -123937.6167 | 0 | 586.228 | 0 | 0 | 0 | 0 | 0 | 0
159 | RT | Voltage Support | PGAE | Humboldt | 2022-12-24 | 30 | No | INC | 4 | 44919.3264 | 44919.4688 | 3.9235 | 2702.495 | 0 | -868.4628 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Voltage Support | PGAE | Humboldt | 2022-12-25 | 15 | No | DEC | 24 | 44920 | 44921 | -2.0337 | -29243.196 | 0 | 571.76 | 0 | 0 | 0 | 0 | 0 | 0
161 | RT | Voltage Support | PGAE | Humboldt | 2022-12-26 | 15 | No | DEC | 2 | 44921.3333 | 44921.3785 | 0.67792 | 0 | 0 | -176.9107 | 0 | 0 | 0 | 0 | 0 | 0
162 | RT | Voltage Support | PGAE | Humboldt | 2022-12-26 | 15 - 60 | No | INC | 24 | 44921 | 44922 | 22.0381 | 132422.145 | 0 | -5274.4709 | 0 | 0 | 0 | 0 | 0 | 0
163 | RT | Voltage Support | PGAE | Humboldt | 2022-12-27 | 45 - 60 | No | INC | 20 | 44922 | 44922.8229 | 4.7944 | 264844.3275 | 0 | -1086.2182 | -0.19406 | 0 | 18.9638 | 0 | 0 | 0
164 | RT | Voltage Support | PGAE | Kern | 2022-12-26 | 32 | No | INC | 14 | 44921.0903 | 44921.6667 | 67.4083 | 141425.8233 | 24970.9946 | -14295.8504 | 0 | 0 | 0 | 0 | 0 | 0
165 | RT | Voltage Support | PGAE | Kern | 2022-12-31 | 32 | Yes | INC | 22 | 44926.1146 | 44927 | 15.7292 | 62739.8983 | 24658.1708 | -1798.6686 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Voltage Support | PGAE | Sierra | 2022-12-03 | 20 | No | DEC | 23 | 44898.0347 | 44898.9583 | 66.9867 | -4516.1758 | 0 | -10772.208 | 0 | 0 | 0 | 0 | 0 | 0
167 | RT | Voltage Support | PGAE | Sierra | 2022-12-03 | 20 | No | INC | 18 | 44898.25 | 44899 | 1.4948 | 108570.63 | 0 | -206.3249 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Voltage Support | PGAE | Sierra | 2022-12-04 | 20 | Yes | INC | 18 | 44899 | 44899.75 | 45.5127 | 130942.7167 | 0 | -6271.3743 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Voltage Support | PGAE | Sierra | 2022-12-05 | 20 | Yes | DEC | 1 | 44900.2083 | 44900.25 | 6.0338 | 0 | 0 | -876.7132 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Voltage Support | PGAE | Sierra | 2022-12-05 | 20 | Yes | INC | 24 | 44900 | 44901 | 38.4115 | -1506.165 | 0 | -5002.7591 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Voltage Support | PGAE | Sierra | 2022-12-06 | 20 | No | DEC | 1 | 44901.3681 | 44901.375 | 3.3333 | -1111.1517 | 0 | -218.2034 | 0 | 0 | 0 | 0 | 0 | 0
172 | RT | Voltage Support | PGAE | Sierra | 2022-12-06 | 20 | No | INC | 24 | 44901 | 44902 | 1.6829 | 59014.135 | 0 | 487.8543 | 0 | 0 | 0 | 0 | 0 | 0
173 | RT | Voltage Support | PGAE | Sierra | 2022-12-07 | 20 | No | INC | 24 | 44902 | 44903 | 18.2729 | 3435.765 | 0 | -3115.0334 | 0 | 0 | 0 | 0 | 0 | 0
174 | RT | Voltage Support | PGAE | Sierra | 2022-12-08 | 20 | Yes | DEC | 1 | 44903.2083 | 44903.25 | -6.8673 | 0 | 0 | 1179.8543 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Voltage Support | PGAE | Sierra | 2022-12-08 | 20 | Yes | INC | 24 | 44903 | 44904 | 7.5562 | -1912.41 | 0 | -1989.2667 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Voltage Support | PGAE | Sierra | 2022-12-09 | 20 | No | DEC | 2 | 44904.8924 | 44904.9583 | 1.1408 | 0 | 0 | -368.283 | 0 | 0 | 0 | 0 | 0 | 0
177 | RT | Voltage Support | PGAE | Sierra | 2022-12-09 | 20 | No | INC | 24 | 44904 | 44905 | 5.3967 | 8796.2 | 0 | -1581.0318 | 0 | 0 | 0 | 0 | 0 | 0
178 | RT | Voltage Support | PGAE | Sierra | 2022-12-10 | 20 | No | DEC | 1 | 44905.875 | 44905.9167 | 0.74521 | 0 | 0 | -281.6316 | 0 | 0 | 0 | 0 | 0 | 0
179 | RT | Voltage Support | PGAE | Sierra | 2022-12-10 | 20 | Yes | INC | 24 | 44905 | 44906 | -54.1676 | 93667.07 | 0 | 18134.7425 | 0 | 0 | 0 | 0 | 0 | 0
180 | RT | Voltage Support | PGAE | Sierra | 2022-12-11 | 20 | No | DEC | 1 | 44906.875 | 44906.9167 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
181 | RT | Voltage Support | PGAE | Sierra | 2022-12-11 | 20 | No | INC | 24 | 44906 | 44907 | -69.7796 | 289908.3975 | 0 | 25504.939 | 0 | 0 | 0 | 0 | 0 | 0
182 | RT | Voltage Support | PGAE | Sierra | 2022-12-12 | 20 | No | INC | 8 | 44907 | 44907.3333 | -1.4142 | 31208.2 | 0 | 462.1484 | 0 | 0 | 0 | 0 | 0 | 0
183 | RT | Voltage Support | PGAE | Sierra | 2022-12-15 | 20 | No | DEC | 5 | 44910.1181 | 44910.2917 | 29.6575 | -3430.0917 | 0 | -7698.7601 | 0 | 0 | 0 | 0 | 0 | 0
184 | RT | Voltage Support | PGAE | Sierra | 2022-12-15 | 20 | No | INC | 3 | 44910.5556 | 44910.6667 | 8.3625 | 20686.175 | 0 | -1777.385 | 0 | 0 | 0 | 0 | 0 | 0
185 | RT | Voltage Support | PGAE | Sierra | 2022-12-16 | 20 | No | DEC | 3 | 44911.875 | 44912 | 8.0046 | 0 | 0 | -2791.5013 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Voltage Support | PGAE | Sierra | 2022-12-16 | 20 | No | INC | 13 | 44911.3333 | 44911.875 | -14.8507 | 172568.11 | 0 | 2972.8476 | 0 | 0 | 0 | 0 | 0 | 0
187 | RT | Voltage Support | PGAE | Sierra | 2022-12-17 | 20 | No | DEC | 24 | 44912 | 44913 | 53.2867 | 0 | 496.8327 | -14389.4465 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Voltage Support | PGAE | Sierra | 2022-12-17 | 20 | No | INC | 15 | 44912.25 | 44912.875 | 15.5551 | 233305.09 | 1324.8873 | -4427.0862 | 0 | 0 | 0 | 0 | 0 | 0
189 | RT | Voltage Support | PGAE | Sierra | 2022-12-18 | 20 | No | INC | 9 | 44913 | 44913.375 | 52.1708 | 31727.91 | 0 | -17579.3058 | 0 | 0 | 0 | 0 | 0 | 0
190 | RT | Voltage Support | PGAE | NA | 2022-12-11 | 48.95 | No | INC | 9 | 44906.1458 | 44906.5 | 23.5892 | 222652.4025 | 7062.42 | -9553.8626 | 0 | 0 | 0 | 0 | 0 | 0
191 | RT | Voltage Support | PGAE | NA | 2022-12-18 | 49 | No | INC | 9 | 44913.2604 | 44913.625 | 95.7475 | 156749.18 | 0 | -29138.1455 | 0 | 0 | 0 | 0 | 0 | 0
192 | RT | Voltage Support | SCE | LA Basin | 2022-12-19 | 46 | No | DEC | 12 | 44914.25 | 44914.75 | 13.4127 | 0 | 0 | -5375.8135 | 0 | 0 | 0 | 0 | 0 | 0
193 | RT | Voltage Support | SCE | LA Basin | 2022-12-19 | 46 | No | INC | 12 | 44914.1875 | 44914.6667 | -95.1645 | 234181.4675 | 0 | 25669.075 | 0.66125 | -215.8909 | 0 | 0 | -171.2004 | 0

## Price_Impact_A
Table 9: Price Impact Analysis Information for Pricing Node B in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-12-21 | 8 | 9 | 308.0704 | Yes | -15 | -323.0704
2 | 2022-12-21 | 8 | 10 | 300 | Yes | -15 | -315
3 | 2022-12-21 | 8 | 11 | 271.9664 | Yes | -15 | -286.9664
4 | 2022-12-21 | 8 | 12 | 271.9664 | Yes | -15 | -286.9664
5 | 2022-12-21 | 9 | 1 | 301.787 | Yes | -15 | -316.787
6 | 2022-12-21 | 9 | 2 | 305.3195 | Yes | -15 | -320.3195
7 | 2022-12-21 | 9 | 3 | 292.4455 | Yes | -15 | -307.4455
8 | 2022-12-21 | 9 | 4 | 311.6288 | Yes | -15 | -326.6288
9 | 2022-12-21 | 9 | 5 | 305.3676 | Yes | -15 | -320.3676
10 | 2022-12-21 | 9 | 6 | 298.798 | Yes | -15 | -313.798
11 | 2022-12-21 | 9 | 7 | 320.5011 | Yes | -15 | -335.5011
12 | 2022-12-21 | 9 | 8 | 333.1692 | Yes | -15 | -348.1692
13 | 2022-12-21 | 9 | 9 | 333.1692 | Yes | -15 | -348.1692
14 | 2022-12-21 | 9 | 10 | 344.6497 | Yes | -15 | -359.6497
15 | 2022-12-21 | 9 | 11 | 340.3694 | Yes | -15 | -355.3694
16 | 2022-12-21 | 9 | 12 | 336.7891 | Yes | -15 | -351.7891
17 | 2022-12-21 | 10 | 1 | 402.6636 | Yes | -15 | -417.6636
18 | 2022-12-21 | 10 | 2 | 401.3865 | Yes | -15 | -416.3865
19 | 2022-12-21 | 10 | 3 | 352.5159 | Yes | -15 | -367.5159
20 | 2022-12-21 | 10 | 4 | 357.6141 | Yes | -15 | -372.6141
21 | 2022-12-21 | 10 | 5 | 353.6922 | Yes | -15 | -368.6922
22 | 2022-12-21 | 10 | 6 | 356.0243 | Yes | -15 | -371.0243
23 | 2022-12-21 | 10 | 7 | 387.0452 | Yes | -15 | -402.0452
24 | 2022-12-21 | 10 | 8 | 395.1564 | Yes | -15 | -410.1564
25 | 2022-12-21 | 10 | 9 | 395.0514 | Yes | -15 | -410.0514
26 | 2022-12-21 | 10 | 10 | 432.9397 | Yes | -15 | -447.9397
27 | 2022-12-21 | 10 | 11 | 462.541 | Yes | -15 | -477.541
28 | 2022-12-21 | 10 | 12 | 455.928 | Yes | -15 | -470.928
29 | 2022-12-21 | 11 | 1 | 412.9471 | Yes | -15 | -427.9471
30 | 2022-12-21 | 11 | 2 | 409.8152 | Yes | -15 | -424.8152
31 | 2022-12-21 | 11 | 3 | 380.1256 | Yes | -15 | -395.1256
32 | 2022-12-21 | 11 | 4 | 375.8809 | Yes | -15 | -390.8809
33 | 2022-12-21 | 11 | 5 | 360.2202 | Yes | -15 | -375.2202
34 | 2022-12-21 | 11 | 6 | 361.593 | Yes | -15 | -376.593
35 | 2022-12-21 | 11 | 7 | 374.4169 | Yes | -15 | -389.4169
36 | 2022-12-21 | 11 | 8 | 372.9154 | Yes | -15 | -387.9154
37 | 2022-12-21 | 11 | 9 | 372.5867 | Yes | -15 | -387.5867
38 | 2022-12-21 | 11 | 10 | 354.6425 | Yes | -15 | -369.6425
39 | 2022-12-21 | 11 | 11 | 346.0333 | Yes | -15 | -361.0333
40 | 2022-12-21 | 11 | 12 | 339.8375 | Yes | -15 | -354.8375
41 | 2022-12-21 | 12 | 1 | 347.7162 | Yes | -15 | -362.7162
42 | 2022-12-21 | 12 | 2 | 347.9996 | Yes | -15 | -362.9996
43 | 2022-12-21 | 12 | 3 | 347.7515 | Yes | -15 | -362.7515
44 | 2022-12-21 | 12 | 4 | 346.3828 | Yes | -15 | -361.3828
45 | 2022-12-21 | 12 | 5 | 346.3307 | Yes | -15 | -361.3307
46 | 2022-12-21 | 12 | 6 | 345.8052 | Yes | -15 | -360.8052
47 | 2022-12-21 | 12 | 7 | 343.5617 | Yes | -15 | -358.5617
48 | 2022-12-21 | 12 | 8 | 342.8654 | Yes | -15 | -357.8654
49 | 2022-12-21 | 12 | 9 | 340.4457 | Yes | -15 | -355.4457
50 | 2022-12-21 | 12 | 10 | 312.7227 | Yes | -15 | -327.7227
51 | 2022-12-21 | 12 | 11 | 313.851 | Yes | -15 | -328.851
52 | 2022-12-21 | 12 | 12 | 326.1358 | Yes | -15 | -341.1358
53 | 2022-12-21 | 13 | 1 | 342.9279 | Yes | -15 | -357.9279
54 | 2022-12-21 | 13 | 2 | 343.7879 | Yes | -15 | -358.7879
55 | 2022-12-21 | 13 | 3 | 343.3846 | Yes | -15 | -358.3846
56 | 2022-12-21 | 13 | 4 | 342.8856 | Yes | -15 | -357.8856
57 | 2022-12-21 | 13 | 5 | 342.82 | Yes | -15 | -357.82
58 | 2022-12-21 | 13 | 6 | 342.258 | Yes | -15 | -357.258
59 | 2022-12-21 | 13 | 7 | 340.2812 | Yes | -15 | -355.2812
60 | 2022-12-21 | 13 | 8 | 339.9761 | Yes | -15 | -354.9761
61 | 2022-12-21 | 13 | 9 | 339.6819 | Yes | -15 | -354.6819
62 | 2022-12-21 | 13 | 10 | 339.5287 | Yes | -15 | -354.5287
63 | 2022-12-21 | 13 | 11 | 340.0119 | Yes | -15 | -355.0119
64 | 2022-12-21 | 13 | 12 | 340.2455 | Yes | -15 | -355.2455
65 | 2022-12-21 | 14 | 1 | 344.5273 | Yes | -15 | -359.5273
66 | 2022-12-21 | 14 | 2 | 344.24 | Yes | -15 | -359.24
67 | 2022-12-21 | 14 | 3 | 343.9703 | Yes | -15 | -358.9703
68 | 2022-12-21 | 14 | 4 | 345.8603 | Yes | -15 | -360.8603
69 | 2022-12-21 | 14 | 5 | 344.3097 | Yes | -15 | -359.3097
70 | 2022-12-21 | 14 | 6 | 343.4615 | Yes | -15 | -358.4615
71 | 2022-12-21 | 14 | 7 | 429.7197 | Yes | -15 | -444.7197
72 | 2022-12-21 | 14 | 8 | 426.411 | Yes | -15 | -441.411
73 | 2022-12-21 | 14 | 9 | 380.7829 | Yes | -15 | -395.7829
74 | 2022-12-21 | 14 | 10 | 340.4747 | Yes | -15 | -355.4747
75 | 2022-12-21 | 14 | 11 | 340.4767 | Yes | -15 | -355.4767
76 | 2022-12-21 | 14 | 12 | 341.3505 | Yes | -15 | -356.3505
77 | 2022-12-21 | 15 | 1 | 345.2919 | Yes | -15 | -360.2919
78 | 2022-12-21 | 15 | 2 | 344.8783 | Yes | -15 | -359.8783
79 | 2022-12-21 | 15 | 3 | 342.6785 | Yes | -15 | -357.6785
80 | 2022-12-21 | 15 | 4 | 344.896 | Yes | -15 | -359.896
81 | 2022-12-21 | 15 | 5 | 333.6574 | Yes | -15 | -348.6574
82 | 2022-12-21 | 15 | 6 | 348.6742 | Yes | -15 | -363.6742
83 | 2022-12-21 | 15 | 7 | 342.0861 | Yes | -15 | -357.0861
84 | 2022-12-21 | 15 | 8 | 346.2774 | Yes | -15 | -361.2774
85 | 2022-12-21 | 15 | 9 | 348.741 | Yes | -15 | -363.741
86 | 2022-12-21 | 15 | 10 | 347.2557 | Yes | -15 | -362.2557
87 | 2022-12-21 | 15 | 11 | 348.5556 | Yes | -15 | -363.5556
88 | 2022-12-21 | 15 | 12 | 347.9729 | Yes | -15 | -362.9729
89 | 2022-12-21 | 16 | 1 | 224.8011 | Yes | -15 | -239.8011
90 | 2022-12-21 | 16 | 2 | 222.9491 | Yes | -15 | -237.9491
91 | 2022-12-21 | 16 | 3 | 223.1608 | Yes | -15 | -238.1608
92 | 2022-12-21 | 16 | 4 | 229.6724 | Yes | -15 | -244.6724
93 | 2022-12-21 | 16 | 5 | 234.4602 | Yes | -15 | -249.4602
94 | 2022-12-21 | 16 | 6 | 269.9802 | Yes | -15 | -284.9802
95 | 2022-12-21 | 16 | 7 | 252.6033 | Yes | -15 | -267.6033
96 | 2022-12-21 | 16 | 8 | 271.616 | Yes | -15 | -286.616
97 | 2022-12-21 | 16 | 9 | 304.3287 | Yes | -15 | -319.3287
98 | 2022-12-21 | 16 | 10 | 323.0993 | Yes | -15 | -338.0993
99 | 2022-12-21 | 16 | 11 | 343.1236 | Yes | -15 | -358.1236
100 | 2022-12-21 | 16 | 12 | 361.0299 | Yes | -15 | -376.0299
101 | 2022-12-21 | 17 | 1 | 269.0382 | Yes | -15 | -284.0382
102 | 2022-12-21 | 17 | 2 | 274.3787 | Yes | -15 | -289.3787
103 | 2022-12-21 | 17 | 3 | 307.4822 | Yes | -15 | -322.4822
104 | 2022-12-21 | 17 | 4 | 341.2038 | Yes | -15 | -356.2038
105 | 2022-12-21 | 17 | 5 | 356.6093 | Yes | -15 | -371.6093
106 | 2022-12-21 | 17 | 6 | 334.4009 | Yes | -15 | -349.4009
107 | 2022-12-21 | 17 | 7 | 317.6309 | Yes | -15 | -332.6309
108 | 2022-12-21 | 17 | 8 | 316.2762 | Yes | -15 | -331.2762
109 | 2022-12-21 | 17 | 9 | 319.6753 | Yes | -15 | -334.6753
110 | 2022-12-21 | 17 | 10 | 359.0531 | Yes | -15 | -374.0531
111 | 2022-12-21 | 17 | 11 | 366.2842 | Yes | -15 | -381.2842
112 | 2022-12-21 | 17 | 12 | 378.6849 | Yes | -15 | -393.6849
113 | 2022-12-21 | 18 | 1 | 321.1804 | Yes | -15 | -336.1804
114 | 2022-12-21 | 18 | 2 | 315.0006 | Yes | -15 | -330.0006
115 | 2022-12-21 | 18 | 3 | 311.5635 | Yes | -15 | -326.5635
116 | 2022-12-21 | 18 | 4 | 311.5966 | Yes | -15 | -326.5966
117 | 2022-12-21 | 18 | 5 | 317.479 | Yes | -15 | -332.479
118 | 2022-12-21 | 18 | 6 | 317.4927 | Yes | -15 | -332.4927
119 | 2022-12-21 | 18 | 7 | 314.8823 | Yes | -15 | -329.8823
120 | 2022-12-21 | 18 | 8 | 311.7641 | Yes | -15 | -326.7641
121 | 2022-12-21 | 18 | 9 | 315.7949 | Yes | -15 | -330.7949
122 | 2022-12-21 | 18 | 10 | 313.1317 | Yes | -15 | -328.1317
123 | 2022-12-21 | 18 | 11 | 314.3268 | Yes | -15 | -329.3268
124 | 2022-12-21 | 18 | 12 | 317.9188 | Yes | -15 | -332.9188
125 | 2022-12-21 | 19 | 1 | 293.0476 | Yes | -15 | -308.0476
126 | 2022-12-21 | 19 | 2 | 290.139 | Yes | -15 | -305.139
127 | 2022-12-21 | 19 | 3 | 294.7093 | Yes | -15 | -309.7093
128 | 2022-12-21 | 19 | 4 | 314.9087 | Yes | -15 | -329.9087
129 | 2022-12-21 | 19 | 5 | 309.76 | Yes | -15 | -324.76
130 | 2022-12-21 | 19 | 6 | 311.6172 | Yes | -15 | -326.6172
131 | 2022-12-21 | 19 | 7 | 306.3408 | Yes | -15 | -321.3408
132 | 2022-12-21 | 19 | 8 | 304.3486 | Yes | -15 | -319.3486
133 | 2022-12-21 | 19 | 9 | 304.3486 | Yes | -15 | -319.3486
134 | 2022-12-21 | 19 | 10 | 305.2747 | Yes | -15 | -320.2747
135 | 2022-12-21 | 19 | 11 | 304.5714 | Yes | -15 | -319.5714
136 | 2022-12-21 | 19 | 12 | 307.056 | Yes | -15 | -322.056
137 | 2022-12-21 | 20 | 1 | 314.1281 | Yes | -15 | -329.1281
138 | 2022-12-21 | 20 | 2 | 315.2976 | Yes | -15 | -330.2976
139 | 2022-12-21 | 20 | 3 | 317.9494 | Yes | -15 | -332.9494
140 | 2022-12-21 | 20 | 4 | 320.2566 | Yes | -15 | -335.2566
141 | 2022-12-21 | 20 | 5 | 315.8034 | Yes | -15 | -330.8034
142 | 2022-12-21 | 20 | 6 | 315.6676 | Yes | -15 | -330.6676

## Price_Impact_B
Table 8: Price Impact Analysis Information for Pricing Node A in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2022-12-29 | 10 | 1 | 191.5718 | Yes | 173.67 | -17.9017
2 | 2022-12-29 | 10 | 2 | 191.5718 | Yes | 173.67 | -17.9017
3 | 2022-12-29 | 10 | 3 | 191.5718 | Yes | 173.67 | -17.9017
4 | 2022-12-29 | 10 | 4 | 191.5718 | Yes | 173.67 | -17.9017
5 | 2022-12-29 | 10 | 5 | 215.1488 | Yes | 173.67 | -41.4788
6 | 2022-12-29 | 10 | 6 | 215.8749 | Yes | 173.67 | -42.2049
7 | 2022-12-29 | 10 | 7 | 204.4235 | Yes | 173.67 | -30.7535
8 | 2022-12-29 | 10 | 8 | 200.5432 | Yes | 173.67 | -26.8732
9 | 2022-12-29 | 10 | 9 | 203.626 | Yes | 173.67 | -29.956
10 | 2022-12-29 | 10 | 10 | 200.456 | Yes | 173.67 | -26.786
11 | 2022-12-29 | 10 | 11 | 200.456 | Yes | 173.67 | -26.786
12 | 2022-12-29 | 10 | 12 | 212.2017 | Yes | 173.67 | -38.5317
13 | 2022-12-29 | 11 | 1 | 213.7801 | Yes | 173.67 | -40.1101
14 | 2022-12-29 | 11 | 2 | 213.3573 | Yes | 173.67 | -39.6873
15 | 2022-12-29 | 11 | 3 | 206.4585 | Yes | 173.67 | -32.7885

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
N/A | 0 | 0 | 0 | 0
Total | 0 | 0 | 0 | 0