## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for April 2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Bridging Schedules | SCE | LA Basin | 2023-04-19 | 10 | No | INC | 1 | 45035.9583 | 45036 | 0 | 4248.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Bridging Schedules | SCE | LA Basin | 2023-04-29 | 10 | No | INC | 1 | 45045.9583 | 45046 | 0 | 4353.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-04-04 | 0 | No | INC | 1 | 45020.4062 | 45020.4236 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Incomplete or Inaccurate Transmission | PGAE | Humboldt | 2023-04-15 | 45 | No | DEC | 1 | 45031.2153 | 45031.2188 | -0.23813 | 0 | 0 | 15.018 | 0 | 0 | 0 | 0 | 0 | 0
5 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2023-04-30 | 13 - 19 | No | DEC | 4 | 45046.6667 | 45046.8333 | 1.2157 | 0 | 0 | 438.0952 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Sierra | 2023-04-30 | 13 - 19 | No | INC | 5 | 45046.5104 | 45046.7083 | -13.073 | 0 | 0 | -1961.6438 | -13.073 | 0 | -1961.6438 | 0 | 0 | 0
7 | RT | Incomplete or Inaccurate Transmission | PGAE | Stockton | 2023-04-01 | 28 | No | DEC | 2 | 45017.4271 | 45017.5 | -8.585 | 0 | 0 | 747.0435 | -6.8906 | 0 | 600.0435 | 0 | -152.1757 | 0
8 | RT | Incomplete or Inaccurate Transmission | SCE | NA | 2023-04-30 | 6 - 25 | No | DEC | 16 | 45046.3403 | 45047 | -39.5696 | 0 | 0 | -21281.6027 | -21.6683 | 0 | -5917.9761 | 0 | -373.7672 | 0
9 | RT | Other Reliability Requirement | PGAE | Fresno | 2023-04-03 | 0 | No | INC | 2 | 45019.7222 | 45019.7674 | 90.5312 | 0 | 0 | -3119.8229 | 0 | 0 | 0 | 0 | 0 | 0
10 | RT | Planned Transmission Outage | Intertie | NA | 2023-04-03 | 0 - 30 | No | DEC | 7 | 45019.4688 | 45019.75 | -70.7442 | 0 | 0 | -174.1466 | -60.7458 | 0 | -157.8128 | 0 | -3737.5271 | 0
11 | RT | Planned Transmission Outage | Intertie | NA | 2023-04-03 | 30 | No | INC | 1 | 45019.7083 | 45019.75 | -3.0377 | 0 | 0 | 108.5975 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Planned Transmission Outage | Intertie | NA | 2023-04-05 | 0 | No | DEC | 2 | 45021.7257 | 45021.7917 | -15.168 | 0 | 0 | 735.1459 | -10.3275 | 0 | 504.3133 | 0 | -2270.2875 | 0
13 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-04-01 | 290 | No | DEC | 24 | 45017 | 45018 | -270.5123 | 0 | 0 | 9909.8703 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-04-01 | 290 | No | INC | 24 | 45017 | 45018 | -614.2749 | 472475.88 | 0 | 28156.1064 | 4.2333 | -165.5061 | 0 | 0 | -664.2633 | 0
15 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-04-02 | 150 | No | INC | 9 | 45018.2917 | 45018.6667 | 626.6033 | 53061.8 | 0 | -70510.9365 | 0.74833 | -25.5797 | 0 | 0 | -1.1184 | 0
16 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-04-05 | 100 | No | DEC | 3 | 45021.2951 | 45021.4167 | -7.1468 | 0 | 0 | 1125.029 | -7.3333 | 0 | 1150.7493 | 0 | -2301.8922 | 0
17 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-04-05 | 42 - 100 | No | INC | 9 | 45021.3576 | 45021.7083 | -24.8848 | 68619.2742 | 48.13 | 2013.8255 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-01 | 15 - 30 | No | DEC | 24 | 45017 | 45018 | -5.2891 | -31784.011 | 0 | 450.2691 | 0.083333 | -0.50113 | 0 | 0 | -1.1947 | 0
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-01 | 15 - 30 | No | INC | 16 | 45017.3333 | 45017.9792 | 3.0972 | 31722.885 | 0 | 31.8832 | 1.0126 | -0.5989 | 0 | 0 | -1187.3504 | 0
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-02 | 15 | No | DEC | 17 | 45018.316 | 45019 | 1.0729 | -185.5175 | 0 | -162.6007 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-02 | 15 - 30 | No | INC | 24 | 45018 | 45019 | 7.1936 | 40627.5925 | 957.71 | -1560.5074 | 0 | 0 | 0 | 0 | -47.5159 | 0
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-03 | 15 - 45 | No | DEC | 8 | 45019 | 45019.3333 | 18.2358 | -10880.0595 | 0 | -1274.1293 | 0 | 0 | 0 | 0 | 0 | 0
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-03 | 15 - 45 | No | INC | 24 | 45019 | 45020 | -7.1043 | 69289.4975 | 0 | -181.5944 | 0 | 0 | 0 | 0 | -475.0925 | 0
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-04 | 30 - 45 | No | INC | 24 | 45020 | 45021 | 34.4877 | 86774.925 | 0 | -3120.8732 | -5.2228 | 0 | 468.7079 | 0 | -284.2081 | 0
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-05 | 15 - 45 | No | DEC | 24 | 45021 | 45022 | -0.073567 | -7767.178 | 0 | 678.535 | -2.1828 | 0 | 206.187 | 0 | -460.7411 | 0
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-05 | 15 - 45 | No | INC | 24 | 45021 | 45022 | -20.4961 | 42072.2267 | 0 | 1570.3973 | -2.4877 | 0 | 241.6983 | 0 | -103.165 | 0
27 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-06 | 15 - 45 | No | DEC | 23 | 45022 | 45022.9583 | -18.2941 | -12458.7857 | 0 | 1702.7826 | -1.2625 | 0 | 111.8141 | 0 | -1353.6056 | 0
28 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-06 | 15 - 30 | No | INC | 14 | 45022.4167 | 45023 | -1.2341 | 37988.685 | 0 | -184.7931 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-07 | 30 | No | DEC | 4 | 45023.2083 | 45023.375 | 0.9325 | 2941.29 | 0 | -107.5389 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-07 | 30 - 60 | No | INC | 24 | 45023 | 45024 | -9.5348 | 95591.925 | 0 | -20.9733 | -5.3049 | 0 | 373.2231 | 0 | -133.6926 | 0
31 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-08 | 45 | No | DEC | 8 | 45024 | 45024.3333 | 3.8834 | 0 | 0 | -80.3032 | 0 | 0 | 0 | 0 | -545.4474 | 0
32 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-08 | 30 - 45 | No | INC | 24 | 45024 | 45025 | 23.1779 | 79414.83 | 0 | -1488.6013 | 0 | 0 | 0 | 0 | -138.9089 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-09 | 15 - 30 | No | DEC | 21 | 45025.0938 | 45025.9583 | 1.0508 | 3921.72 | 0 | -37.6591 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-09 | 15 - 60 | No | INC | 24 | 45025 | 45026 | 164.55 | 65443.7025 | 0 | -10513.5153 | 0 | 0 | 0 | 0 | -262.3604 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-10 | 30 - 45 | No | DEC | 24 | 45026 | 45027 | 0.35743 | -23126.91 | 0 | 184.4494 | 0 | 0 | 0 | 0 | 0 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-10 | 30 - 60 | No | INC | 24 | 45026 | 45027 | 224.21 | 28187.3625 | 0 | -15726.0855 | 0 | 0 | 0 | 0 | -0.029499 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-11 | 30 | No | DEC | 5 | 45027.7083 | 45027.9167 | 0.25458 | 0 | 0 | -4.1648 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-11 | 30 | No | INC | 24 | 45027 | 45028 | -21.6358 | 66914.77 | 0 | 320.549 | 0 | 0 | 0 | 0 | -28.6708 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-12 | 15 | No | DEC | 16 | 45028.25 | 45028.9167 | 7.1738 | -10412.9388 | 0 | -725.3235 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-12 | 30 - 45 | No | INC | 24 | 45028 | 45029 | 1.729 | 61195.77 | 0 | -461.8056 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-13 | 15 | No | DEC | 18 | 45029.25 | 45030 | 1.0183 | 0 | 954.96 | -138.2691 | 0 | 0 | 0 | 0 | 0 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-13 | 15 - 45 | No | INC | 24 | 45029 | 45030 | -5.5483 | 72037.4425 | 0 | 61.6512 | 0 | 0 | 0 | 0 | -259.1921 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-14 | 15 | No | DEC | 1 | 45030 | 45030.0208 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-14 | 15 | No | INC | 1 | 45030 | 45030.0208 | 0 | 458.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-17 | 15 - 30 | No | DEC | 2 | 45033.2569 | 45033.3333 | 29.2003 | -3894.2468 | 1407.1864 | -3004.3907 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-17 | 30 - 60 | No | INC | 16 | 45033.3333 | 45034 | -13.2777 | 54485.155 | 1445.2236 | 226.8124 | -7.5629 | 0 | 522.9583 | 0 | -183.0527 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-18 | 30 - 45 | No | DEC | 8 | 45034.0625 | 45034.375 | -4.6246 | -7712.3815 | 0 | 145.7196 | -1.1642 | 0 | 49.425 | 0 | -564.8282 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-18 | 45 | No | INC | 18 | 45034 | 45034.75 | 9.8333 | 49647.745 | 0 | -597.4358 | -1.4375 | 0 | 52.9873 | 0 | -312.4086 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-20 | 15 | No | DEC | 17 | 45036.2917 | 45037 | -3.7455 | -14210.4817 | 0 | 393.2915 | -2.2401 | 0 | 251.3491 | 0 | -672.0136 | 0
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-20 | 30 - 45 | No | INC | 17 | 45036.2917 | 45037 | -22.5007 | 41041.5925 | 0 | 1937.3446 | -6.4741 | 0 | 642.0787 | 0 | -346.8059 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-21 | 15 | No | DEC | 22 | 45037 | 45037.8958 | -1.7598 | -31504.5261 | 0 | -174.9901 | 0 | 0 | 0 | 0 | -280.7574 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-21 | 30 - 60 | No | INC | 24 | 45037 | 45038 | -18.0308 | 39192.87 | 0 | 1397.9585 | -5.9241 | 0 | 522.6658 | 0 | -323.6874 | 0
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-22 | 15 | No | DEC | 6 | 45038.7083 | 45038.9583 | 7.2767 | -11632.949 | 0 | -454.5751 | 0 | 0 | 0 | 0 | -178.8222 | 0
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-22 | 15 - 45 | No | INC | 24 | 45038 | 45039 | -20.2472 | 22242.9425 | 0 | 1175.3761 | -1.6858 | 0 | 142.1927 | 0 | -159.761 | 0
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-23 | 15 - 30 | No | DEC | 6 | 45039 | 45039.25 | 2.8009 | -6939.8031 | 0 | -118.4712 | -2.2189 | 0 | 115.8778 | 0 | -22.0338 | 0
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-23 | 15 - 30 | No | INC | 20 | 45039.1667 | 45040 | -0.47888 | 29657.23 | 0 | 4.0832 | 0 | 0 | 0 | 0 | -238.3592 | 0
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-24 | 15 - 30 | No | DEC | 7 | 45040.7083 | 45041 | 5.0523 | -12553.3557 | 0 | -344.2403 | 0 | 0 | 0 | 0 | -388.1653 | 0
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-24 | 15 - 30 | No | INC | 24 | 45040 | 45041 | -3.5194 | 31454.67 | 0 | 31.6565 | 0 | 0 | 0 | 0 | -17.1757 | 0
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-25 | 30 | No | DEC | 4 | 45041.75 | 45041.9167 | 0.13335 | -4350.5328 | 0 | -7.5045 | 0 | 0 | 0 | 0 | -551.7907 | 0
60 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-25 | 30 | No | INC | 18 | 45041 | 45041.75 | 0 | 32876.81 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1637 | 0
61 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-26 | 30 | No | DEC | 19 | 45042.1667 | 45042.9583 | -3.2827 | -16583.1501 | 0 | 223.4276 | 0 | 0 | 0 | 0 | -1002.4852 | 0
62 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-26 | 30 | No | INC | 24 | 45042 | 45043 | -0.64824 | 23490.9425 | 0 | 68.8595 | -1.2435 | 0 | 82.2423 | 0 | -49.3491 | 0
63 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-27 | 30 | No | DEC | 9 | 45043.625 | 45044 | -2.6048 | -18208.9785 | 0 | 177.1765 | 0 | 0 | 0 | 0 | -952.0569 | 0
64 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-27 | 30 | No | INC | 15 | 45043 | 45043.625 | 0 | 26344.35 | 0 | 0 | 0 | 0 | 0 | 0 | -9.2861 | 0
65 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-28 | 30 | No | DEC | 24 | 45044 | 45045 | -3.0689 | -24957.6291 | 0 | 139.8108 | 0 | 0 | 0 | 0 | -1244.6846 | 0
66 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-28 | 30 | No | INC | 6 | 45044.3333 | 45044.5833 | -0.066089 | 4717.32 | 0 | 1.0824 | 0 | 0 | 0 | 0 | -23.3437 | 0
67 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-29 | 30 | No | DEC | 5 | 45045.7083 | 45045.9167 | -0.67792 | -7699.6416 | 0 | 71.6536 | 0 | 0 | 0 | 0 | -571.1324 | 0
68 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-29 | 30 | No | INC | 24 | 45045 | 45046 | 9.724 | 13758.85 | 0 | -24.8736 | -0.27 | -8.8726 | 68.6808 | 0 | -75.8061 | 0
69 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-04-30 | 30 | No | INC | 24 | 45046 | 45047 | 0 | 37738.56 | 0 | 0 | 0 | 0 | 0 | 0 | -405.0761 | 0
70 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-04-03 | 20 | No | INC | 7 | 45019.3576 | 45019.6354 | -25.8692 | 18718.4667 | 679.9506 | 1480.9744 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-04-04 | 33 - 40 | No | DEC | 5 | 45020.3438 | 45020.5417 | -15.6742 | 0 | 0 | -635.4238 | -7.6075 | 0 | 512.8462 | 0 | -0.275 | 0
72 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-04-19 | 16 | No | INC | 3 | 45035.3264 | 45035.4479 | 11.0333 | 0 | 0 | 5840.0698 | 1.625 | 710.4223 | 0 | 0 | -710.4223 | 0
73 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-04-29 | 19 | No | DEC | 6 | 45045.434 | 45045.6667 | -2.211 | 0 | 0 | -332.2633 | -2.1708 | 0 | -325.794 | 0 | 0 | 0
74 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-04-29 | 19 | No | INC | 1 | 45045.4583 | 45045.5 | -0.027831 | 0 | 0 | 0.27208 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-03 | 30 | No | DEC | 2 | 45019.2743 | 45019.3333 | -11.3861 | 0 | 0 | -123.6099 | -2.2033 | 0 | 219.304 | 0 | -3043.5133 | 0
76 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-04 | 30 | No | DEC | 1 | 45020.6667 | 45020.7083 | 5.9933 | 0 | 0 | 0.5203 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-04 | 30 - 80 | No | INC | 4 | 45020.5 | 45020.6667 | 8.1882 | 0 | 0 | -1486.2192 | -1.6667 | 0 | -452.5673 | 0 | 0 | 0
78 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-05 | 14 - 250 | No | DEC | 9 | 45021.434 | 45021.7917 | -103.8691 | -3345.2103 | 0 | 834.87 | -15.6858 | 0 | 1264.4253 | 0 | -6775.8539 | 0
79 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-05 | 25 - 250 | No | INC | 14 | 45021.434 | 45022 | 37.9911 | 11562.68 | 0 | 10823.8344 | -1.925 | 0 | 168.3773 | 0 | -275.3878 | 0
80 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-06 | 60 - 75 | No | INC | 18 | 45022 | 45022.75 | -21.9334 | 0 | 0 | -4544.2157 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-10 | 89 | No | DEC | 4 | 45026.2292 | 45026.375 | -15.6624 | -13619.0006 | 27052.21 | 1134.8058 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-10 | 89 | No | INC | 8 | 45026.375 | 45026.7083 | -4.4575 | 61727.7525 | 0 | 99.4785 | 0 | 0 | 0 | 0 | -135.5041 | 0
83 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-11 | 88.8 | No | DEC | 9 | 45027.625 | 45028 | -28.9392 | -38580.9724 | 19727.2 | 1832.6186 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-12 | 88.8 | No | DEC | 24 | 45028 | 45029 | -38.938 | -45417.4987 | 0 | 3142.5087 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-12 | 88.8 | No | INC | 6 | 45028.4583 | 45028.7083 | -2.1333 | 642.425 | 0 | 124.4885 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-13 | 88.8 | No | DEC | 24 | 45029 | 45030 | -11.7142 | -8308.9899 | 0 | 537.4119 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-13 | 88.8 | No | INC | 16 | 45029.0833 | 45029.75 | -6.0082 | 0 | 0 | 263.9717 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-14 | 88.8 | No | DEC | 24 | 45030 | 45031 | 19.68 | -1897.8165 | 0 | -1350.6807 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-14 | 88.8 | No | INC | 9 | 45030.375 | 45030.75 | -6.509 | 852.8625 | 0 | 314.3927 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-15 | 88.8 | No | DEC | 24 | 45031 | 45032 | 3.1279 | -565.845 | 0 | -406.345 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-15 | 88.8 | No | INC | 10 | 45031.3333 | 45031.75 | -2.555 | 0 | 0 | 64.4309 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-17 | 89 | No | DEC | 18 | 45033.25 | 45034 | -21.496 | -9061.365 | 0 | 2014.223 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-17 | 89 | No | INC | 9 | 45033.375 | 45033.75 | -6.4768 | 848.7675 | 0 | -621.1012 | 0 | 0 | 0 | 0 | -35.456 | 0
94 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-18 | 89 | No | INC | 18 | 45034 | 45034.75 | 28.9758 | 49683.81 | 0 | -1856.318 | 0 | 0 | 0 | 0 | -232.5215 | 0
95 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-19 | 89 | No | DEC | 3 | 45035.3333 | 45035.4583 | -31.9092 | 1826.76 | 2612.996 | 1079.7794 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-19 | 89 | No | INC | 6 | 45035.4583 | 45035.7083 | -3.0156 | 28272.6602 | 0 | -45.9935 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-27 | 5 - 39 | No | DEC | 3 | 45043.1562 | 45043.25 | -31.8793 | 0 | 0 | -1033.8834 | -24.4708 | 0 | 544.7871 | 0 | -619.5095 | 0
98 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-04-27 | 39 - 45 | No | INC | 5 | 45043.0278 | 45043.2083 | 12.8026 | 0 | 0 | 1905.6886 | -1.9323 | 0 | -290.9367 | 0 | 0 | 0
99 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-07 | 37 | No | INC | 6 | 45023.0521 | 45023.2917 | -0.034104 | 0 | 0 | 884.6827 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-08 | 76 - 87 | No | DEC | 8 | 45024.4653 | 45024.7604 | -1.3417 | 0 | 0 | 129.318 | -5.9625 | 0 | 257.7394 | 0 | -19.0051 | 0
101 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-08 | 87 | No | INC | 1 | 45024.6562 | 45024.6667 | 0.85417 | 0 | 0 | -0.6701 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-10 | 35 | No | INC | 7 | 45026.7118 | 45027 | 9.8866 | 0 | 0.36738 | 625.4596 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-11 | 35 | No | INC | 7 | 45027 | 45027.2917 | 0.19971 | 0 | 0 | -98.8428 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Planned Transmission Outage | PGAE | NA | 2023-04-16 | 32 | No | INC | 4 | 45032.1424 | 45032.2917 | -2.35 | 0 | 0 | 142.7358 | -2.3698 | 0 | 143.7279 | 0 | -142.0454 | 0
105 | RT | Planned Transmission Outage | SCE | LA Basin | 2023-04-29 | 147 | No | INC | 1 | 45045.6667 | 45045.7083 | -14.1554 | 8850.01 | 0 | 534.8597 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-04-03 | 24 | No | INC | 2 | 45019.3542 | 45019.4167 | 76.1735 | 8025.915 | 293.6363 | -9112.3246 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Pump Management | PGAE | Fresno | 2023-04-23 | 0 | No | INC | 1 | 45039.25 | 45039.2917 | 13 | 0 | 0 | -620.9631 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Reliability Assessment | PGAE | Bay Area | 2023-04-04 | 10 | No | INC | 11 | 45020.566 | 45021 | 864.3834 | 0 | 0 | -49291.5032 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Reliability Assessment | PGAE | Bay Area | 2023-04-05 | 10 | No | INC | 8 | 45021.0069 | 45021.3333 | 679.9333 | 0 | 0 | -57884.4785 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Reliability Assessment | PGAE | Bay Area | 2023-04-20 | 180 | No | INC | 4 | 45036.5 | 45036.6667 | -33.0652 | 45457.76 | 0 | 1648.2916 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-14 | 15 - 30 | No | DEC | 6 | 45030.75 | 45031 | 12.3704 | 5841.787 | 0 | -745.9452 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-14 | 15 - 30 | No | INC | 10 | 45030.3333 | 45030.75 | 20.7759 | 17410.55 | 1629.8571 | -1034.212 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-15 | 15 - 30 | No | DEC | 24 | 45031 | 45032 | 15.662 | -1119.8588 | 0 | -1020.0342 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-15 | 15 - 30 | No | INC | 11 | 45031.2917 | 45031.75 | -6.8283 | 21201.3275 | 0 | 94.5847 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-16 | 15 - 30 | No | DEC | 21 | 45032 | 45032.8542 | 1.1006 | -17229.4728 | 0 | -107.6377 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Reliability Assessment | PGAE | Humboldt | 2023-04-16 | 15 - 30 | No | INC | 11 | 45032.2917 | 45032.75 | -8.7974 | 20061.47 | 0 | 71.1943 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Reliability Assessment | PGAE | Sierra | 2023-04-21 | 20 - 24 | No | DEC | 2 | 45037.7708 | 45037.8333 | -5.3333 | 0 | 0 | 210.2074 | -6.2083 | 0 | 405.987 | 0 | 0 | 0
118 | RT | Reliability Assessment | PGAE | Sierra | 2023-04-21 | 8 - 24 | No | INC | 6 | 45037.7847 | 45038 | -0.23865 | 0 | 0 | -395.0291 | -3.8333 | 0 | -236.5368 | 0 | 0 | 0
119 | RT | Reliability Assessment | PGAE | Sierra | 2023-04-22 | 24 | No | INC | 2 | 45038 | 45038.0625 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-02 | 59 - 68 | No | DEC | 3 | 45018.8264 | 45018.9167 | -25.1186 | 0 | 0 | 838.9535 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-02 | 59 - 68 | No | INC | 1 | 45018.9167 | 45018.9583 | 24.2892 | 0 | 0 | 4851.2331 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-21 | 29 - 53 | No | DEC | 9 | 45037.4931 | 45037.8333 | -37.6569 | 0 | 0 | 5950.5893 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-21 | 53 | No | INC | 6 | 45037.5417 | 45037.7917 | -1.9263 | 0 | 0 | -70.3037 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-25 | 42 | No | DEC | 1 | 45041.7847 | 45041.7917 | -1.1641 | 0 | 0 | -47.2742 | -1.7967 | 0 | 8.9833 | 0 | 0 | 0
125 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-25 | 42 | No | INC | 2 | 45041.7917 | 45041.875 | -0.071668 | 0 | 0 | -6.6542 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-26 | 55 | No | DEC | 3 | 45042.2569 | 45042.375 | -35.9278 | 0 | 0 | -367.7673 | -15 | 0 | 15 | 0 | 0 | 0
127 | RT | Reliability Assessment | PGAE | Stockton | 2023-04-26 | 55 | No | INC | 1 | 45042.375 | 45042.4167 | -0.57049 | 0 | 0 | 14.3966 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Reliability Assessment | PGAE | NA | 2023-04-02 | 30 | No | INC | 14 | 45018.4514 | 45019 | 6.34 | 0 | 0 | 589.9726 | 0 | 0 | 0 | 0 | 0 | 0
129 | RT | Reliability Assessment | PGAE | NA | 2023-04-03 | 30 | No | INC | 14 | 45019 | 45019.5833 | -45.0216 | 0 | 0 | 3194.6829 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-04-18 | 55 | No | DEC | 5 | 45034.4931 | 45034.6667 | -22.3261 | 0 | 0 | -6099.8473 | -2.1975 | 0 | -711.2057 | 0 | 0 | 0
131 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-04-18 | 55 | No | INC | 2 | 45034.6667 | 45034.7188 | -0.14854 | 0 | 0 | -44.4715 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Reliability Assessment | SCE | NA | 2023-04-03 | 0 - 40 | No | DEC | 18 | 45019.1458 | 45019.8854 | -126.0172 | 0 | 0 | -66915.9626 | -26.1667 | 0 | -12655.3107 | 0 | 0 | 0
133 | RT | Reliability Assessment | SCE | NA | 2023-04-18 | 45 | No | DEC | 6 | 45034.1215 | 45034.3333 | -36.7814 | 0 | 0 | -26231.6537 | -5.5417 | 0 | -3953.1725 | 0 | 0 | 0
134 | RT | Software Limitation | PGAE | Fresno | 2023-04-28 | 0 | No | INC | 1 | 45044.2951 | 45044.3299 | 0 | 51.1917 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Software Limitation | SCE | Big Creek-Ventura | 2023-04-15 | 0 | No | INC | 2 | 45031.1736 | 45031.2222 | -16.7417 | 110.4733 | 244.8518 | 0 | -16.7417 | 0 | 0 | 0 | 0 | 0
136 | RT | Software Limitation | SDGE | San Diego-IV | 2023-04-16 | 0 | No | INC | 1 | 45032.559 | 45032.6007 | -17.5 | 2796.6533 | 0 | -109.3501 | -17.5 | 0 | -109.3501 | 0 | 0 | 0
137 | RT | Unit Testing | PGAE | Bay Area | 2023-04-27 | 572 | No | DEC | 1 | 45043.059 | 45043.0833 | 11.4583 | 0 | 0 | -790.7708 | 11.4583 | -790.7708 | 0 | 0 | 0 | 0
138 | RT | Unit Testing | PGAE | Bay Area | 2023-04-27 | 46.2 - 572 | No | INC | 20 | 45043.0833 | 45043.8993 | 36.1295 | 1300.425 | 0 | -2932.1297 | 0.72917 | -51.6906 | 0 | 0 | 0 | 0
139 | RT | Unit Testing | PGAE | Fresno | 2023-04-26 | 404 | No | INC | 2 | 45042.875 | 45042.9375 | 22.9417 | 2056.1175 | 0 | -6321.4283 | 19.223 | -6174.033 | 0 | 0 | 0 | 0
140 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-04-04 | 77 | No | INC | 1 | 45020.4722 | 45020.4792 | 10.3125 | 0 | 0 | -1609.6781 | 10.3125 | -1609.6781 | 0 | 0 | 0 | 0
141 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-04-26 | 741 | No | INC | 5 | 45042.6458 | 45042.8333 | -50.9577 | 191254.8748 | 167552.95 | 851.7518 | 19.7706 | -1567.4769 | 0 | 0 | 0 | 0
142 | RT | Unit Testing | SCE | Big Creek-Ventura | 2023-04-27 | 448 | No | INC | 1 | 45043.1354 | 45043.1632 | 0.97917 | 0 | 0 | -131.7994 | 1 | -132.55 | 0 | 0 | 0 | 0
143 | RT | Unit Testing | SCE | LA Basin | 2023-04-04 | 39 | No | INC | 1 | 45020.4444 | 45020.4826 | 2.9717 | 0 | 0 | -40.6647 | 0.94667 | -67.2228 | 0 | 0 | 0 | 0
144 | RT | Unit Testing | SCE | LA Basin | 2023-04-27 | 96 | No | INC | 1 | 45043.9722 | 45044 | -4.899 | 0 | 0 | 303.7274 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Unit Testing | SCE | LA Basin | 2023-04-28 | 96 | No | INC | 1 | 45044 | 45044.0035 | 7.5028 | 0 | 0 | -385.9173 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Unit Testing | SCE | LA Basin | 2023-04-29 | 150 - 515 | No | INC | 16 | 45045.3333 | 45046 | 559.9405 | -1096.7725 | 0 | -13769.1771 | 330.8271 | -11696.4641 | 93.4495 | 0 | 0 | 0
147 | RT | Unit Testing | SCE | LA Basin | 2023-04-30 | 150 | No | INC | 2 | 45046 | 45046.0729 | 68.0392 | 0 | 0 | -2139.4413 | 4.3333 | -151.58 | 0 | 0 | 0 | 0
148 | RT | Unit Testing | SCE | NA | 2023-04-27 | 19 | No | INC | 1 | 45043.8646 | 45043.8958 | 12.8646 | 0 | 0 | -1173.8251 | 12.8199 | -1170.4903 | 0 | 0 | 0 | 0
149 | RT | Unit Testing | SDGE | San Diego-IV | 2023-04-27 | 54 | No | INC | 1 | 45043.9306 | 45043.9618 | 30.5625 | 3915.9675 | 0 | -2140.602 | 16.875 | -1219.7704 | 0 | 0 | 0 | 0
150 | RT | Unit Testing | SDGE | San Diego-IV | 2023-04-30 | 270 - 580 | No | INC | 6 | 45046.7674 | 45046.9896 | 159.5833 | 0 | 0 | -11988.2831 | 193.5417 | -9038.2459 | 0 | 0 | 0 | 0
151 | RT | Voltage Support | PGAE | Fresno | 2023-04-01 | 83 - 90 | No | INC | 24 | 45017 | 45018 | 7.1316 | 79941.84 | 0 | -283.777 | 5.25 | -201.5714 | 0 | 0 | -246.4085 | 0
152 | RT | Voltage Support | PGAE | Fresno | 2023-04-02 | 83 - 90 | No | INC | 24 | 45018 | 45019 | -11.164 | 32815.65 | 0 | 602.9132 | 0 | 0 | 0 | 0 | -578.41 | 0
153 | RT | Voltage Support | PGAE | Fresno | 2023-04-03 | 83 | No | DEC | 2 | 45019.25 | 45019.3125 | -5.8395 | 0 | 0 | 596.6202 | 0 | 0 | 0 | 0 | 0 | 0
154 | RT | Voltage Support | PGAE | Fresno | 2023-04-03 | 83 | No | INC | 24 | 45019 | 45020 | 320.9795 | 56255.4 | 0 | -27075.5586 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Voltage Support | PGAE | Fresno | 2023-04-04 | 83 | No | DEC | 7 | 45020 | 45020.2917 | -37.1751 | 0 | 0 | 4064.2948 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Voltage Support | PGAE | Fresno | 2023-04-05 | 83 | No | INC | 2 | 45021.0208 | 45021.0833 | 15.8227 | 12336.705 | 0 | -1099.3741 | 0 | 0 | 0 | 0 | 0 | 0
157 | RT | Voltage Support | PGAE | Fresno | 2023-04-06 | 83 | No | INC | 1 | 45022.9965 | 45023 | -0.034935 | 685.3725 | 0 | 2.3847 | 0 | 0 | 0 | 0 | 0 | 0
158 | RT | Voltage Support | PGAE | Fresno | 2023-04-07 | 83 | No | DEC | 19 | 45023.2083 | 45024 | 13.1136 | 0 | 0 | -972.0561 | 0 | 0 | 0 | 0 | 0 | 0
159 | RT | Voltage Support | PGAE | Fresno | 2023-04-07 | 83 | No | INC | 5 | 45023 | 45023.2083 | -112.2307 | 41122.3499 | 0 | 9567.8959 | 0 | 0 | 0 | 0 | 0 | 0
160 | RT | Voltage Support | PGAE | Fresno | 2023-04-08 | 83 | No | INC | 6 | 45024 | 45024.25 | -39.5187 | 49346.82 | 0 | 2162.0171 | 0 | 0 | 0 | 0 | 0 | 0
161 | RT | Voltage Support | PGAE | Fresno | 2023-04-09 | -312 | No | DEC | 6 | 45025.1076 | 45025.3333 | 4.274 | 0 | 0 | -372.39 | 0 | 0 | 0 | 0 | 0 | 0
162 | RT | Voltage Support | PGAE | Fresno | 2023-04-10 | -388 | No | DEC | 8 | 45026.6667 | 45027 | -0.10042 | 0 | 0 | -11.656 | 0 | 0 | 0 | 0 | 0 | 0
163 | RT | Voltage Support | PGAE | Fresno | 2023-04-10 | -388 | No | INC | 16 | 45026 | 45026.6667 | -98.607 | 41122.3499 | 0 | 7310.4275 | 0 | 0 | 0 | 0 | 0 | 0
164 | RT | Voltage Support | PGAE | Fresno | 2023-04-11 | 83 | Yes | INC | 24 | 45027 | 45028 | -143.4443 | 128219.5124 | 0 | 9975.7468 | 0 | 0 | 0 | 0 | 0 | 0
165 | RT | Voltage Support | PGAE | Fresno | 2023-04-12 | 83 | No | INC | 24 | 45028 | 45029 | -65.0028 | 51402.9374 | 0 | 3311.8758 | 0 | 0 | 0 | 0 | 0 | 0
166 | RT | Voltage Support | PGAE | Fresno | 2023-04-13 | 83 | Yes | INC | 24 | 45029 | 45030 | -57.803 | 87672.885 | 0 | 3323.4161 | 0 | 0 | 0 | 0 | 0 | 0
167 | RT | Voltage Support | PGAE | Fresno | 2023-04-14 | 83 | No | DEC | 1 | 45030.25 | 45030.2917 | 10.8132 | 0 | 0 | -977.4942 | 0 | 0 | 0 | 0 | 0 | 0
168 | RT | Voltage Support | PGAE | Fresno | 2023-04-14 | 83 | No | INC | 6 | 45030 | 45030.25 | -16.6036 | 45234.6 | 0 | 995.2639 | 0 | 0 | 0 | 0 | 0 | 0
169 | RT | Voltage Support | PGAE | Fresno | 2023-04-15 | 83 | No | INC | 4 | 45031 | 45031.1667 | -120.0447 | 33103.4925 | 0 | 10500.5044 | 0 | 0 | 0 | 0 | 0 | 0
170 | RT | Voltage Support | PGAE | Fresno | 2023-04-16 | 83 | No | INC | 3 | 45032.8958 | 45033 | -87.6826 | 20561.175 | 0 | 5487.6543 | 0 | 0 | 0 | 0 | 0 | 0
171 | RT | Voltage Support | PGAE | Fresno | 2023-04-17 | 83 | Yes | INC | 5 | 45033 | 45033.2083 | 12.0186 | 41122.35 | 0 | -774.8641 | 0 | 0 | 0 | 0 | 0 | 0
172 | RT | Voltage Support | PGAE | Fresno | 2023-04-18 | -312 | No | DEC | 4 | 45034.0625 | 45034.2083 | -66.8396 | 0 | 0 | 2923.6396 | 0 | 0 | 0 | 0 | 0 | 0
173 | RT | Voltage Support | PGAE | Fresno | 2023-04-21 | 83 | No | DEC | 1 | 45037.1667 | 45037.2083 | -24.5048 | 0 | 0 | 2377.7651 | 0 | 0 | 0 | 0 | 0 | 0
174 | RT | Voltage Support | PGAE | Fresno | 2023-04-21 | 83 | No | INC | 23 | 45037.0417 | 45038 | 1.3953 | 33514.7174 | 0 | -1083.9921 | 0 | 0 | 0 | 0 | 0 | 0
175 | RT | Voltage Support | PGAE | Fresno | 2023-04-22 | 83 | No | INC | 24 | 45038 | 45039 | 12.3821 | 88577.55 | 0 | -1607.6264 | 0 | 0 | 0 | 0 | 0 | 0
176 | RT | Voltage Support | PGAE | Fresno | 2023-04-23 | -312 | No | DEC | 2 | 45039.941 | 45040 | 5.7198 | 0 | 0 | -247.9929 | 0 | 0 | 0 | 0 | 0 | 0
177 | RT | Voltage Support | PGAE | Fresno | 2023-04-23 | 83 | No | INC | 7 | 45039 | 45039.2708 | 6.6464 | 46714.995 | 0 | -616.8096 | 0 | 0 | 0 | 0 | 0 | 0
178 | RT | Voltage Support | PGAE | Fresno | 2023-04-24 | -312 | No | DEC | 6 | 45040 | 45040.2396 | -177.625 | 0 | 0 | 8934.0798 | 0 | 0 | 0 | 0 | 0 | 0
179 | RT | Voltage Support | PGAE | Fresno | 2023-04-24 | 83 | No | INC | 1 | 45040.9618 | 45041 | 0 | 7312.9283 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
180 | RT | Voltage Support | PGAE | Fresno | 2023-04-25 | 83 | No | DEC | 19 | 45041.2083 | 45042 | -170.0172 | 0 | 0 | 13414.2967 | 0 | 0 | 0 | 0 | 0 | 0
181 | RT | Voltage Support | PGAE | Fresno | 2023-04-25 | 83 | No | INC | 24 | 45041 | 45042 | -14.2973 | 61848 | 0 | 898.7137 | 0 | 0 | 0 | 0 | 0 | 0
182 | RT | Voltage Support | PGAE | Fresno | 2023-04-26 | 83 | No | DEC | 1 | 45042 | 45042.0417 | 43.2996 | 0 | 0 | -2671.0647 | 0 | 0 | 0 | 0 | 0 | 0
183 | RT | Voltage Support | PGAE | Fresno | 2023-04-26 | 83 | No | INC | 5 | 45042 | 45042.2083 | -45.8438 | 70565.96 | 0 | 2877.1733 | 0 | 0 | 0 | 0 | 0 | 0
184 | RT | Voltage Support | PGAE | Fresno | 2023-04-27 | -312 | No | DEC | 4 | 45043.066 | 45043.2083 | 9.0833 | 0 | 0 | -354.6137 | 0 | 0 | 0 | 0 | 0 | 0
185 | RT | Voltage Support | PGAE | Fresno | 2023-04-28 | -312 | No | DEC | 7 | 45044.0243 | 45044.2917 | 9.05 | 0 | 0 | -384.4263 | 0 | 0 | 0 | 0 | 0 | 0
186 | RT | Voltage Support | PGAE | Humboldt | 2023-04-18 | 30 | No | DEC | 2 | 45034.9167 | 45035 | -7.381 | 5543.175 | 0 | 738.01 | 0 | 0 | 0 | 0 | 0 | 0
187 | RT | Voltage Support | PGAE | Humboldt | 2023-04-18 | 45 | No | INC | 4 | 45034.75 | 45034.9167 | 2.6585 | 15665.51 | 0 | -69.1772 | 0 | 0 | 0 | 0 | 0 | 0
188 | RT | Voltage Support | PGAE | Humboldt | 2023-04-19 | 30 | No | DEC | 23 | 45035 | 45035.9583 | 0.41755 | -3007.4602 | 0 | -471.5219 | 0 | 0 | 0 | 0 | 0 | 0
189 | RT | Voltage Support | PGAE | Humboldt | 2023-04-19 | 15 - 30 | No | INC | 22 | 45035 | 45035.9167 | -12.4406 | 72875.515 | 0 | -547.7763 | 0 | 0 | 0 | 0 | -828.2074 | 0
190 | RT | Voltage Support | PGAE | Humboldt | 2023-04-20 | 15 | No | INC | 7 | 45036.0174 | 45036.2917 | -3.1959 | 15990.2517 | 0 | 561.6033 | 0 | 0 | 0 | 0 | 0 | 0
191 | RT | Voltage Support | PGAE | Sierra | 2023-04-07 | 20 | No | DEC | 1 | 45023.25 | 45023.2917 | -9.3277 | 0 | 0 | 675.5179 | 0 | 0 | 0 | 0 | 0 | 0
192 | RT | Voltage Support | PGAE | Sierra | 2023-04-07 | 20 | No | INC | 5 | 45023.0417 | 45023.25 | 82.4586 | 11590.515 | 0 | -6653.8207 | 0 | 0 | 0 | 0 | 0 | 0
193 | RT | Voltage Support | PGAE | Sierra | 2023-04-08 | 20 | No | INC | 9 | 45024.6389 | 45025 | -51.7364 | 19320.525 | 609.39 | 3957.0277 | 0 | 0 | 0 | 0 | 0 | 0
194 | RT | Voltage Support | PGAE | Sierra | 2023-04-09 | 20 | No | INC | 24 | 45025 | 45026 | 21.4044 | 59249.61 | 0 | -2974.4106 | 0 | 0 | 0 | 0 | 0 | 0
195 | RT | Voltage Support | PGAE | Sierra | 2023-04-10 | 20 | No | INC | 7 | 45026 | 45026.2917 | 10.2314 | 15466.14 | 0 | -841.5317 | 0 | 0 | 0 | 0 | 0 | 0
196 | RT | Voltage Support | PGAE | Sierra | 2023-04-12 | 20 | No | DEC | 2 | 45028.7917 | 45028.875 | 0.17927 | 0 | 0 | -273.4616 | 0 | 0 | 0 | 0 | 0 | 0
197 | RT | Voltage Support | PGAE | Sierra | 2023-04-12 | 20 | No | INC | 15 | 45028.3958 | 45029 | -22.848 | 33656.875 | 0 | 1024.9023 | 0 | 0 | 0 | 0 | 0 | 0
198 | RT | Voltage Support | PGAE | Sierra | 2023-04-13 | 20 | Yes | DEC | 1 | 45029.25 | 45029.2917 | 9.8622 | 0 | 0 | -848.7267 | 0 | 0 | 0 | 0 | 0 | 0
199 | RT | Voltage Support | PGAE | Sierra | 2023-04-13 | 20 | No | INC | 18 | 45029 | 45029.75 | 11.9686 | 42184.8 | 0 | -1627.6041 | 0 | 0 | 0 | 0 | 0 | 0
200 | RT | Voltage Support | PGAE | Sierra | 2023-04-14 | 20 | No | DEC | 1 | 45030.8958 | 45030.9167 | 1.965 | 0 | 16.2776 | -173.3701 | 0 | 0 | 0 | 0 | 0 | 0
201 | RT | Voltage Support | PGAE | Sierra | 2023-04-14 | 20 | No | INC | 24 | 45030.0208 | 45031 | -8.133 | 40462.225 | 65.1106 | 169.922 | 0 | 0 | 0 | 0 | 0 | 0
202 | RT | Voltage Support | PGAE | Sierra | 2023-04-15 | 20 | No | DEC | 1 | 45031.75 | 45031.7917 | 4.5267 | 0 | 9.1089 | -355.6381 | 0 | 0 | 0 | 0 | 0 | 0
203 | RT | Voltage Support | PGAE | Sierra | 2023-04-15 | 20 | No | INC | 12 | 45031.2708 | 45031.75 | -19.1175 | 2447.42 | 104.7518 | 667.5105 | 0 | 0 | 0 | 0 | 0 | 0
204 | RT | Voltage Support | PGAE | Sierra | 2023-04-17 | 20 | No | DEC | 1 | 45033.9062 | 45033.9167 | 2.0288 | 0 | 0 | -193.3163 | 0 | 0 | 0 | 0 | 0 | 0
205 | RT | Voltage Support | PGAE | Sierra | 2023-04-17 | 20 | No | INC | 2 | 45033.9167 | 45034 | -0.30292 | 4924.44 | 0 | 21.9351 | 0 | 0 | 0 | 0 | 0 | 0
206 | RT | Voltage Support | PGAE | Sierra | 2023-04-18 | 20 | No | DEC | 2 | 45034.7917 | 45034.875 | -11.154 | 0 | 45.7126 | 760.4039 | 0 | 0 | 0 | 0 | 0 | 0
207 | RT | Voltage Support | PGAE | Sierra | 2023-04-18 | 20 | No | INC | 22 | 45034 | 45034.9167 | -17.9936 | 19857.205 | 108.5674 | 1992.8226 | 0 | 0 | 0 | 0 | 0 | 0
208 | RT | Voltage Support | PGAE | Sierra | 2023-04-19 | 20 | No | INC | 11 | 45035.3542 | 45035.7917 | 9.1402 | 23484.65 | 0 | 397.8347 | 0 | 0 | 0 | 0 | 0 | 0
209 | RT | Voltage Support | PGAE | Sierra | 2023-04-22 | 20 | No | DEC | 2 | 45038.8646 | 45038.9167 | -5.1437 | 0 | 0 | 344.9024 | 0 | 0 | 0 | 0 | 0 | 0
210 | RT | Voltage Support | PGAE | Sierra | 2023-04-22 | 20 | No | INC | 2 | 45038.9167 | 45039 | 19.1267 | 4847.36 | 0 | -1584.1245 | 0 | 0 | 0 | 0 | 0 | 0
211 | RT | Voltage Support | PGAE | Sierra | 2023-04-23 | 20 | Yes | INC | 15 | 45039 | 45039.625 | 43.3808 | 31564 | 0 | -2543.3855 | 0 | 0 | 0 | 0 | 0 | 0
212 | RT | Voltage Support | PGAE | Sierra | 2023-04-24 | 20 | No | INC | 3 | 45040.9062 | 45041 | 0 | 5463 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
213 | RT | Voltage Support | PGAE | Sierra | 2023-04-25 | 20 | No | DEC | 3 | 45041.8264 | 45041.9167 | 49.125 | 0 | 0 | -4206.3071 | 0 | 0 | 0 | 0 | 0 | 0
214 | RT | Voltage Support | PGAE | Sierra | 2023-04-25 | 20 | Yes | INC | 24 | 45041 | 45042 | -9.3183 | 18031.2 | 0 | 565.4937 | 0 | 0 | 0 | 0 | 0 | 0
215 | RT | Voltage Support | PGAE | Sierra | 2023-04-26 | 20 | No | DEC | 3 | 45042.8299 | 45042.9167 | -24.6292 | 0 | 0 | 1668.7802 | 0 | 0 | 0 | 0 | 0 | 0
216 | RT | Voltage Support | PGAE | Sierra | 2023-04-26 | 20 | Yes | INC | 24 | 45042 | 45043 | 30.4329 | 22393.8 | 0 | -2190.8113 | 0 | 0 | 0 | 0 | 0 | 0
217 | RT | Voltage Support | PGAE | Sierra | 2023-04-27 | 20 | No | DEC | 2 | 45043.8646 | 45043.9167 | 6.8736 | 0 | 0 | -534.5049 | 0 | 0 | 0 | 0 | 0 | 0
218 | RT | Voltage Support | PGAE | Sierra | 2023-04-27 | 20 | Yes | INC | 24 | 45043 | 45044 | -1.9583 | 19029.76 | 0 | 142.4973 | 0 | 0 | 0 | 0 | 0 | 0
219 | RT | Voltage Support | PGAE | Sierra | 2023-04-28 | 20 | No | INC | 6 | 45044 | 45044.25 | -5.7994 | 13273.14 | 0 | 339.9483 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 9: Price Impact Analysis Information for Pricing Node B in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2023-04-02 | 20 | 11 | -630.533 | Yes | 10 | 640.533
2 | 2023-04-02 | 20 | 12 | -630.3931 | Yes | 10 | 640.3931
3 | 2023-04-02 | 21 | 1 | -594.9835 | Yes | 10 | 604.9835
4 | 2023-04-02 | 21 | 2 | 10 | Yes | 10 | 0
5 | 2023-04-02 | 21 | 3 | 10 | Yes | 10 | 0
6 | 2023-04-02 | 21 | 4 | 10 | Yes | 10 | 0
7 | 2023-04-02 | 21 | 5 | 10 | Yes | 10 | 0
8 | 2023-04-02 | 21 | 6 | 10 | Yes | 10 | 0
9 | 2023-04-02 | 21 | 7 | 8 | Yes | 10 | 2
10 | 2023-04-02 | 21 | 8 | 8 | Yes | 10 | 2
11 | 2023-04-02 | 21 | 9 | 8 | Yes | 10 | 2
12 | 2023-04-02 | 21 | 10 | 10 | Yes | 10 | 0
13 | 2023-04-02 | 21 | 11 | 10 | Yes | 10 | 0
14 | 2023-04-02 | 21 | 12 | 10 | Yes | 10 | 0
15 | 2023-04-02 | 22 | 1 | 10 | Yes | 10 | 0
16 | 2023-04-02 | 22 | 2 | 10 | Yes | 10 | 0
17 | 2023-04-02 | 22 | 3 | 10 | Yes | 10 | 0
18 | 2023-04-02 | 22 | 4 | 10 | Yes | 10 | 0
19 | 2023-04-02 | 22 | 5 | 10 | Yes | 10 | 0
20 | 2023-04-02 | 22 | 6 | 10 | Yes | 10 | 0
21 | 2023-04-02 | 22 | 7 | 10 | Yes | 10 | 0
22 | 2023-04-02 | 22 | 8 | 10 | Yes | 10 | 0
23 | 2023-04-02 | 22 | 9 | 10 | Yes | 10 | 0
24 | 2023-04-02 | 22 | 10 | 8 | Yes | 10 | 2
25 | 2023-04-02 | 22 | 11 | 8 | Yes | 10 | 2
26 | 2023-04-02 | 22 | 12 | 8 | Yes | 10 | 2
27 | 2023-04-02 | 23 | 1 | -520.4651 | Yes | 10 | 530.4651
28 | 2023-04-02 | 23 | 2 | -517.6319 | Yes | 10 | 527.6319
29 | 2023-04-02 | 23 | 3 | -489.2919 | Yes | 10 | 499.2919
30 | 2023-04-02 | 23 | 4 | -18.7994 | Yes | 10 | 28.7994
31 | 2023-04-02 | 23 | 5 | -18.4754 | Yes | 10 | 28.4754
32 | 2023-04-02 | 23 | 6 | -17.2164 | Yes | 10 | 27.2164
33 | 2023-04-02 | 23 | 7 | -614.6606 | Yes | 10 | 624.6606
34 | 2023-04-02 | 23 | 8 | -96.9757 | Yes | 10 | 106.9757
35 | 2023-04-02 | 23 | 9 | -643.6422 | Yes | 10 | 653.6422
36 | 2023-04-02 | 23 | 10 | -644.8658 | Yes | 10 | 654.8658
37 | 2023-04-02 | 23 | 11 | -646.1903 | Yes | 10 | 656.1903
38 | 2023-04-02 | 23 | 12 | -604.6554 | Yes | 10 | 614.6554
39 | 2023-04-05 | 11 | 6 | 0.5 | Yes | 1.5 | 1
40 | 2023-04-05 | 11 | 7 | 1.25 | Yes | 1.5 | 0.25
41 | 2023-04-05 | 11 | 8 | 1.25 | Yes | 1.5 | 0.25
42 | 2023-04-05 | 11 | 9 | 89.1272 | Yes | 1 | -88.1272
43 | 2023-04-05 | 11 | 10 | 84.4892 | Yes | 1.5 | -82.9892
44 | 2023-04-05 | 11 | 11 | 82.3743 | Yes | 1.5 | -80.8743
45 | 2023-04-05 | 11 | 12 | 81.7273 | Yes | 1.5 | -80.2273
46 | 2023-04-05 | 13 | 1 | -151.2329 | Yes | 1 | 152.2329
47 | 2023-04-05 | 13 | 2 | -151.2116 | Yes | 1 | 152.2116
48 | 2023-04-05 | 13 | 3 | -259.8549 | Yes | 1 | 260.8549
49 | 2023-04-05 | 13 | 4 | -273.5223 | Yes | 1 | 274.5223
50 | 2023-04-05 | 13 | 5 | -269.1002 | Yes | 1 | 270.1002
51 | 2023-04-05 | 13 | 6 | -266.4013 | Yes | 1 | 267.4013
52 | 2023-04-05 | 13 | 7 | -272.368 | Yes | 1 | 273.368
53 | 2023-04-05 | 13 | 8 | -272.2301 | Yes | 1 | 273.2301
54 | 2023-04-05 | 13 | 9 | -274.0839 | Yes | 1 | 275.0839
55 | 2023-04-05 | 13 | 10 | -276.9032 | Yes | 1 | 277.9032
56 | 2023-04-05 | 13 | 11 | -283.2992 | Yes | 1 | 284.2992
57 | 2023-04-05 | 13 | 12 | -293.1642 | Yes | 1 | 294.1642
58 | 2023-04-05 | 15 | 1 | -150.5702 | Yes | 1 | 151.5702
59 | 2023-04-05 | 15 | 2 | 49.7198 | Yes | 1 | -48.7198
60 | 2023-04-05 | 15 | 3 | -150.5603 | Yes | 1 | 151.5603
61 | 2023-04-05 | 15 | 4 | -149.9742 | Yes | 1 | 150.9742
62 | 2023-04-05 | 15 | 5 | -150.3108 | Yes | 1 | 151.3108
63 | 2023-04-05 | 15 | 6 | -150.9158 | Yes | 1 | 151.9158
64 | 2023-04-05 | 15 | 7 | -149.7198 | Yes | 1 | 150.7198
65 | 2023-04-05 | 15 | 8 | -149.976 | Yes | 1 | 150.976
66 | 2023-04-05 | 15 | 9 | 0.96532 | Yes | 1 | 0.03468
67 | 2023-04-05 | 15 | 10 | -9.3555 | Yes | 1 | 10.3555
68 | 2023-04-05 | 15 | 11 | -16.7356 | Yes | 1 | 17.7356
69 | 2023-04-05 | 15 | 12 | -99.966 | Yes | 1 | 100.966
70 | 2023-04-05 | 18 | 1 | 0.5 | Yes | 1 | 0.5
71 | 2023-04-05 | 18 | 2 | 0.5 | Yes | 1 | 0.5
72 | 2023-04-05 | 18 | 3 | 0.5 | Yes | 1 | 0.5
73 | 2023-04-05 | 18 | 4 | 0.5 | Yes | 1 | 0.5
74 | 2023-04-05 | 18 | 5 | 0.13344 | Yes | 1 | 0.86656
75 | 2023-04-05 | 18 | 6 | 1 | Yes | 1 | 0
76 | 2023-04-05 | 18 | 7 | 0.5 | Yes | 1 | 0.5
77 | 2023-04-05 | 18 | 8 | 0.5 | Yes | 1 | 0.5
78 | 2023-04-05 | 18 | 9 | 0.5 | Yes | 1 | 0.5
79 | 2023-04-05 | 18 | 10 | 56.8233 | Yes | 1 | -55.8233
80 | 2023-04-05 | 18 | 11 | 1 | Yes | 1 | 0
81 | 2023-04-05 | 18 | 12 | 1 | Yes | 1 | 0
82 | 2023-04-05 | 19 | 1 | 0.01 | Yes | 0.01 | 0
83 | 2023-04-05 | 19 | 2 | 0.01 | Yes | 0.01 | 0
84 | 2023-04-05 | 19 | 3 | 0.01 | Yes | 0.01 | 0
85 | 2023-04-05 | 19 | 4 | 0.01 | Yes | 0.01 | 0
86 | 2023-04-05 | 19 | 5 | 0.01 | Yes | 0.01 | 0
87 | 2023-04-05 | 19 | 6 | 0.01 | Yes | 0.01 | 0
88 | 2023-04-05 | 19 | 7 | 0.01 | Yes | 0.01 | 0
89 | 2023-04-05 | 19 | 8 | 0.01 | Yes | 0.01 | 0
90 | 2023-04-05 | 19 | 9 | -156.8856 | Yes | 0.01 | 156.8956
91 | 2023-04-05 | 19 | 10 | 0.01 | Yes | 0.01 | 0
92 | 2023-04-05 | 19 | 11 | 0.01 | Yes | 0.01 | 0
93 | 2023-04-05 | 19 | 12 | -181.7443 | Yes | 0.01 | 181.7543
94 | 2023-04-21 | 12 | 11 | -3.5845 | Yes | 5 | 8.5845
95 | 2023-04-21 | 12 | 12 | -5.3061 | Yes | 5 | 10.3061
96 | 2023-04-21 | 13 | 1 | -5.8202 | Yes | 5 | 10.8202
97 | 2023-04-21 | 13 | 2 | -5.72 | Yes | 5 | 10.72
98 | 2023-04-21 | 13 | 3 | -5.72 | Yes | 5 | 10.72
99 | 2023-04-21 | 13 | 4 | -5.7413 | Yes | 5 | 10.7413
100 | 2023-04-21 | 13 | 5 | -3.7483 | Yes | 5 | 8.7483
101 | 2023-04-21 | 13 | 6 | -5.6396 | Yes | 5 | 10.6396
102 | 2023-04-21 | 13 | 7 | -5.8554 | Yes | 5 | 10.8554
103 | 2023-04-21 | 13 | 8 | -5.0395 | Yes | 5 | 10.0395
104 | 2023-04-21 | 13 | 9 | -4.4472 | Yes | 5 | 9.4472
105 | 2023-04-21 | 13 | 10 | -5.8438 | Yes | 5 | 10.8438
106 | 2023-04-21 | 13 | 11 | -5.8305 | Yes | 5 | 10.8305
107 | 2023-04-21 | 13 | 12 | -5.8663 | Yes | 5 | 10.8663
108 | 2023-04-21 | 14 | 1 | -74.5763 | Yes | 5 | 79.5763
109 | 2023-04-21 | 14 | 2 | -6.0447 | Yes | 5 | 11.0447
110 | 2023-04-21 | 14 | 3 | -5.9161 | Yes | 5 | 10.9161
111 | 2023-04-21 | 14 | 4 | -5.7685 | Yes | 5 | 10.7685
112 | 2023-04-21 | 14 | 5 | -5.6428 | Yes | 5 | 10.6428
113 | 2023-04-21 | 14 | 6 | -5.8567 | Yes | 5 | 10.8567
114 | 2023-04-21 | 14 | 7 | -5.8663 | Yes | 5 | 10.8663
115 | 2023-04-21 | 14 | 8 | -5.8763 | Yes | 5 | 10.8763
116 | 2023-04-21 | 14 | 9 | -5.8863 | Yes | 5 | 10.8863
117 | 2023-04-21 | 14 | 10 | -17.9572 | Yes | 5 | 22.9572
118 | 2023-04-21 | 14 | 11 | -0.07471 | Yes | 5 | 5.0747
119 | 2023-04-21 | 14 | 12 | -0.0012 | Yes | 5 | 5.0012
120 | 2023-04-21 | 15 | 1 | -405.7627 | Yes | 5 | 410.7627
121 | 2023-04-21 | 15 | 2 | -481.0091 | Yes | 5 | 486.0091
122 | 2023-04-21 | 15 | 3 | -481.0089 | Yes | 5 | 486.0089
123 | 2023-04-21 | 15 | 4 | -481 | Yes | 5 | 486
124 | 2023-04-21 | 15 | 5 | -476.5959 | Yes | 5 | 481.5959
125 | 2023-04-21 | 15 | 6 | -162.6358 | Yes | 5 | 167.6358
126 | 2023-04-21 | 15 | 7 | -470.2213 | Yes | 5 | 475.2213
127 | 2023-04-21 | 15 | 8 | -221.5057 | Yes | 5 | 226.5057
128 | 2023-04-21 | 15 | 9 | -468.7116 | Yes | 5 | 473.7116
129 | 2023-04-21 | 15 | 10 | -174.2186 | Yes | 5 | 179.2186
130 | 2023-04-21 | 15 | 11 | -117.42 | Yes | 5 | 122.42
131 | 2023-04-21 | 15 | 12 | -120.4596 | Yes | 5 | 125.4596
132 | 2023-04-21 | 16 | 1 | -0.25892 | Yes | 5 | 5.2589
133 | 2023-04-21 | 16 | 2 | -156.3781 | Yes | 5 | 161.3781
134 | 2023-04-21 | 16 | 3 | -165.7417 | Yes | 5 | 170.7417
135 | 2023-04-21 | 16 | 4 | -253.8375 | Yes | 5 | 258.8375
136 | 2023-04-21 | 16 | 5 | -255.8274 | Yes | 5 | 260.8274
137 | 2023-04-21 | 16 | 6 | -223.0488 | Yes | 5 | 228.0488
138 | 2023-04-21 | 16 | 7 | -188.4507 | Yes | 5 | 193.4507
139 | 2023-04-21 | 16 | 8 | -186.1085 | Yes | 5 | 191.1085
140 | 2023-04-21 | 16 | 9 | -193.0359 | Yes | 5 | 198.0359
141 | 2023-04-21 | 16 | 10 | -143.4609 | Yes | 5 | 148.4609
142 | 2023-04-21 | 16 | 11 | -135.7373 | Yes | 5 | 140.7373
143 | 2023-04-21 | 16 | 12 | -179.9664 | Yes | 5 | 184.9664
144 | 2023-04-21 | 17 | 1 | -469.2908 | Yes | 5 | 474.2908
145 | 2023-04-21 | 17 | 2 | -468.9261 | Yes | 5 | 473.9261
146 | 2023-04-21 | 17 | 3 | -472.5 | Yes | 5 | 477.5
147 | 2023-04-21 | 17 | 4 | -449.538 | Yes | 5 | 454.538
148 | 2023-04-21 | 17 | 5 | -216.0734 | Yes | 5 | 221.0734
149 | 2023-04-21 | 17 | 6 | -177.0792 | Yes | 5 | 182.0792
150 | 2023-04-21 | 17 | 7 | -152.4268 | Yes | 5 | 157.4268
151 | 2023-04-21 | 17 | 8 | 11.4566 | Yes | 5 | -6.4566
152 | 2023-04-21 | 17 | 9 | 13.3069 | Yes | 5 | -8.3069
153 | 2023-04-21 | 17 | 10 | 19.9042 | Yes | 5 | -14.9042
154 | 2023-04-21 | 17 | 11 | 28.7518 | Yes | 5 | -23.7518
155 | 2023-04-21 | 17 | 12 | 29.1822 | Yes | 5 | -24.1822
156 | 2023-04-21 | 18 | 1 | -169.7222 | Yes | 5 | 174.7222
157 | 2023-04-21 | 18 | 2 | -168.5206 | Yes | 5 | 173.5206
158 | 2023-04-21 | 18 | 3 | -158.944 | Yes | 5 | 163.944
159 | 2023-04-21 | 18 | 4 | 20.4997 | Yes | 5 | -15.4997
160 | 2023-04-21 | 18 | 5 | 20.0202 | Yes | 5 | -15.0202
161 | 2023-04-21 | 18 | 6 | 20.4429 | Yes | 5 | -15.4429
162 | 2023-04-21 | 18 | 7 | 22.4633 | Yes | 5 | -17.4633
163 | 2023-04-21 | 18 | 8 | 27.2718 | Yes | 5 | -22.2718
164 | 2023-04-21 | 18 | 9 | 43.3617 | Yes | 5 | -38.3617
165 | 2023-04-21 | 18 | 10 | 40.5908 | Yes | 5 | -35.5908
166 | 2023-04-21 | 18 | 11 | 41.2784 | Yes | 5 | -36.2784
167 | 2023-04-21 | 18 | 12 | 46.0713 | Yes | 5 | -41.0713
168 | 2023-04-21 | 19 | 1 | 31.4385 | Yes | 5 | -26.4385
169 | 2023-04-21 | 19 | 2 | 38.8287 | Yes | 5 | -33.8287
170 | 2023-04-21 | 19 | 3 | 41.3444 | Yes | 5 | -36.3444
171 | 2023-04-21 | 19 | 4 | 40.4873 | Yes | 5 | -35.4873
172 | 2023-04-21 | 19 | 5 | 48.512 | Yes | 5 | -43.512
173 | 2023-04-21 | 19 | 6 | 58.1886 | Yes | 5 | -53.1886
174 | 2023-04-21 | 19 | 7 | 55.6241 | Yes | 5 | -50.6241
175 | 2023-04-21 | 19 | 8 | 64.5061 | Yes | 5 | -59.5061
176 | 2023-04-21 | 19 | 9 | 72.9284 | Yes | 5 | -67.9284
177 | 2023-04-21 | 19 | 10 | 74.1484 | Yes | 5 | -69.1484
178 | 2023-04-21 | 19 | 11 | 76.5648 | Yes | 5 | -71.5648
179 | 2023-04-21 | 19 | 12 | 77.3556 | Yes | 5 | -72.3556
180 | 2023-04-21 | 20 | 1 | 89.1215 | Yes | 5 | -84.1215
181 | 2023-04-21 | 20 | 2 | 84.7718 | Yes | 5 | -79.7718
182 | 2023-04-21 | 20 | 3 | 84.7718 | Yes | 5 | -79.7718
183 | 2023-04-21 | 20 | 4 | 85.6806 | Yes | 5 | -80.6806
184 | 2023-04-21 | 20 | 5 | 85.6806 | Yes | 5 | -80.6806
185 | 2023-04-21 | 20 | 6 | 89.1214 | Yes | 5 | -84.1214
186 | 2023-04-21 | 20 | 7 | 75.2604 | Yes | 5 | -70.2604
187 | 2023-04-21 | 20 | 8 | 67.4317 | Yes | 5 | -62.4317
188 | 2023-04-21 | 20 | 9 | 65.514 | Yes | 5 | -60.514
189 | 2023-04-21 | 20 | 10 | 65.3913 | Yes | 5 | -60.3913
190 | 2023-04-21 | 20 | 11 | 65.2347 | Yes | 5 | -60.2347
191 | 2023-04-21 | 20 | 12 | 65.5907 | Yes | 5 | -60.5907
192 | 2023-04-25 | 19 | 11 | 88.7448 | Yes | 5 | -83.7448
193 | 2023-04-25 | 19 | 12 | 89 | Yes | 5 | -84
194 | 2023-04-25 | 20 | 1 | 65.0393 | Yes | 5 | -60.0393
195 | 2023-04-25 | 20 | 2 | 61.7596 | Yes | 5 | -56.7596
196 | 2023-04-25 | 20 | 3 | 62.5296 | Yes | 5 | -57.5296
197 | 2023-04-25 | 20 | 4 | 61.9622 | Yes | 5 | -56.9622
198 | 2023-04-25 | 20 | 5 | 68.488 | Yes | 5 | -63.488
199 | 2023-04-25 | 20 | 6 | 69.5883 | Yes | 5 | -64.5883
200 | 2023-04-25 | 20 | 7 | 74.2787 | Yes | 5 | -69.2787
201 | 2023-04-25 | 20 | 8 | 74.8803 | Yes | 5 | -69.8803
202 | 2023-04-25 | 20 | 9 | 78.2154 | Yes | 5 | -73.2154
203 | 2023-04-25 | 20 | 10 | 78.3174 | Yes | 5 | -73.3174
204 | 2023-04-25 | 20 | 11 | 78.3174 | Yes | 5 | -73.3174
205 | 2023-04-25 | 20 | 12 | 75.1511 | Yes | 5 | -70.1511
206 | 2023-04-25 | 21 | 1 | 77.1361 | Yes | 5 | -72.1361
207 | 2023-04-25 | 21 | 2 | 78.3794 | Yes | 5 | -73.3794
208 | 2023-04-25 | 21 | 3 | 78.4622 | Yes | 5 | -73.4622
209 | 2023-04-25 | 21 | 4 | 78.5274 | Yes | 5 | -73.5274
210 | 2023-04-25 | 21 | 5 | 76.5602 | Yes | 5 | -71.5602
211 | 2023-04-25 | 21 | 6 | 76.5602 | Yes | 5 | -71.5602
212 | 2023-04-25 | 21 | 7 | 82.62 | Yes | 5 | -77.62
213 | 2023-04-25 | 21 | 8 | 82.47 | Yes | 5 | -77.47
214 | 2023-04-25 | 21 | 9 | 82.39 | Yes | 5 | -77.39
215 | 2023-04-25 | 21 | 10 | 82.39 | Yes | 5 | -77.39
216 | 2023-04-25 | 21 | 11 | 82.47 | Yes | 5 | -77.47
217 | 2023-04-25 | 21 | 12 | 84.48 | Yes | 5 | -79.48
218 | 2023-04-26 | 7 | 3 | -207.5041 | Yes | 1 | 208.5041
219 | 2023-04-26 | 7 | 4 | -209.4128 | Yes | 1 | 210.4128
220 | 2023-04-26 | 7 | 5 | -209.0571 | Yes | 1 | 210.0571
221 | 2023-04-26 | 7 | 6 | 1 | Yes | 1 | 0
222 | 2023-04-26 | 7 | 7 | 1 | Yes | 1 | 0
223 | 2023-04-26 | 7 | 8 | 1 | Yes | 1 | 0
224 | 2023-04-26 | 7 | 9 | 1 | Yes | 1 | 0
225 | 2023-04-26 | 7 | 10 | 1 | Yes | 1 | 0
226 | 2023-04-26 | 7 | 11 | 1 | Yes | 1 | 0
227 | 2023-04-26 | 7 | 12 | 1 | Yes | 1 | 0
228 | 2023-04-26 | 8 | 1 | 51.8836 | Yes | 1 | -50.8836
229 | 2023-04-26 | 8 | 2 | 45.0395 | Yes | 1 | -44.0395
230 | 2023-04-26 | 8 | 3 | 39.6144 | Yes | 1 | -38.6144
231 | 2023-04-26 | 8 | 4 | 36.1671 | Yes | 1 | -35.1671
232 | 2023-04-26 | 8 | 5 | 34.7289 | Yes | 1 | -33.7289
233 | 2023-04-26 | 8 | 6 | 37.2856 | Yes | 1 | -36.2856
234 | 2023-04-26 | 8 | 7 | 1 | Yes | 1 | 0
235 | 2023-04-26 | 8 | 8 | 1 | Yes | 1 | 0
236 | 2023-04-26 | 8 | 9 | 1 | Yes | 1 | 0
237 | 2023-04-26 | 8 | 10 | 1 | Yes | 1 | 0
238 | 2023-04-26 | 8 | 11 | 1 | Yes | 1 | 0
239 | 2023-04-26 | 8 | 12 | 1 | Yes | 1 | 0
240 | 2023-04-26 | 9 | 1 | 17.7493 | Yes | 1 | -16.7493
241 | 2023-04-26 | 9 | 2 | 24.0511 | Yes | 1 | -23.0511
242 | 2023-04-26 | 9 | 3 | 23.8705 | Yes | 1 | -22.8705
243 | 2023-04-26 | 9 | 4 | 28.9688 | Yes | 1 | -27.9688
244 | 2023-04-26 | 9 | 5 | 32.2891 | Yes | 1 | -31.2891
245 | 2023-04-26 | 9 | 6 | 32.2891 | Yes | 1 | -31.2891
246 | 2023-04-26 | 9 | 7 | 22.4609 | Yes | 1 | -21.4609
247 | 2023-04-26 | 9 | 8 | 22.3769 | Yes | 1 | -21.3769
248 | 2023-04-26 | 9 | 9 | 19.3718 | Yes | 1 | -18.3718
249 | 2023-04-26 | 9 | 10 | 20.3903 | Yes | 1 | -19.3903
250 | 2023-04-26 | 9 | 11 | 19.5777 | Yes | 1 | -18.5777
251 | 2023-04-26 | 9 | 12 | 18.7387 | Yes | 1 | -17.7387
252 | 2023-04-26 | 10 | 1 | 20.2351 | Yes | 1 | -19.2351
253 | 2023-04-26 | 10 | 2 | 24.009 | Yes | 1 | -23.009
254 | 2023-04-26 | 10 | 3 | 23.4636 | Yes | 1 | -22.4636
255 | 2023-04-26 | 10 | 4 | 17.5855 | Yes | 1 | -16.5855
256 | 2023-04-26 | 10 | 5 | 17.6754 | Yes | 1 | -16.6754
257 | 2023-04-26 | 10 | 6 | 19.4677 | Yes | 1 | -18.4677
258 | 2023-04-26 | 10 | 7 | 17.3379 | Yes | 1 | -16.3379
259 | 2023-04-26 | 10 | 8 | 16.855 | Yes | 1 | -15.855
260 | 2023-04-26 | 10 | 9 | 16.0265 | Yes | 1 | -15.0265
261 | 2023-04-26 | 10 | 10 | 15.5174 | Yes | 1 | -14.5174
262 | 2023-04-26 | 10 | 11 | 14.5597 | Yes | 1 | -13.5597
263 | 2023-04-26 | 10 | 12 | 12.4863 | Yes | 1 | -11.4863

## Price_Impact_B
Table 8: Price Impact Analysis Information for Pricing Node A in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2023-04-26 | 19 | 2 | 26.8715 | Yes | 113.92 | 87.0485
2 | 2023-04-26 | 19 | 3 | 28.5702 | Yes | 113.92 | 85.3498
3 | 2023-04-26 | 19 | 4 | 36.0984 | Yes | 113.92 | 77.8216
4 | 2023-04-26 | 19 | 5 | 45.02 | Yes | 113.92 | 68.9
5 | 2023-04-26 | 19 | 6 | 60.24 | Yes | 113.92 | 53.68
6 | 2023-04-26 | 19 | 7 | 62.4835 | Yes | 113.92 | 51.4365
7 | 2023-04-26 | 19 | 8 | 68.5425 | Yes | 113.92 | 45.3775
8 | 2023-04-26 | 19 | 9 | 84.3285 | Yes | 113.92 | 29.5915
9 | 2023-04-26 | 19 | 10 | 86.1733 | Yes | 113.92 | 27.7467
10 | 2023-04-26 | 19 | 11 | 88.7953 | Yes | 113.92 | 25.1247
11 | 2023-04-26 | 19 | 12 | 89.1643 | Yes | 113.92 | 24.7557
12 | 2023-04-26 | 20 | 1 | 87.9204 | Yes | 113.92 | 25.9996
13 | 2023-04-26 | 20 | 2 | 87.2959 | Yes | 113.92 | 26.6241
14 | 2023-04-26 | 20 | 3 | 87.2371 | Yes | 113.92 | 26.6829
15 | 2023-04-26 | 20 | 4 | 75.2971 | Yes | 113.92 | 38.6229
16 | 2023-04-26 | 20 | 5 | 74.0928 | Yes | 113.92 | 39.8272
17 | 2023-04-26 | 20 | 6 | 74.891 | Yes | 113.92 | 39.029
18 | 2023-04-26 | 20 | 7 | 73.4068 | Yes | 113.92 | 40.5132
19 | 2023-04-26 | 20 | 8 | 83.7631 | Yes | 113.92 | 30.1569
20 | 2023-04-26 | 20 | 9 | 83.9104 | Yes | 113.92 | 30.0096
21 | 2023-04-26 | 20 | 10 | 78.7141 | Yes | 113.92 | 35.2059
22 | 2023-04-26 | 20 | 11 | 74.6555 | Yes | 113.92 | 39.2645
23 | 2023-04-26 | 20 | 12 | 74.4358 | Yes | 113.92 | 39.4842

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
TMODEL | 1 | 219.75 | 218.3931 | 1.81
Total | 1 | 219.75 | 218.3931 | 1.81