## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for February 2024
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Conditions beyond the control of the CAISO | PGAE | Fresno | 2024-01-31 | 83 | No | DEC | 4 | 45322.6667 | 45322.8333 | -73.6165 | 0 | 0 | 3383.459 | 0 | 0 | 0 | 0 | 0 | 0
1 | RT | Fast Start Unit Management | PGAE | Fresno | 2024-02-15 | 0 | No | INC | 1 | 45337.3333 | 45337.375 | -45.2763 | 3188.605 | 0 | 0 | -45.2763 | 0 | 0 | 0 | 0 | 0
2 | RT | Fast Start Unit Management | PGAE | NA | 2024-02-24 | 49 | No | INC | 5 | 45346.4896 | 45346.6667 | 196.3903 | 7992.2 | 0 | 9221.6957 | 0.20417 | -3.2772 | 0 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | PGAE | NA | 2024-02-27 | 0 | No | INC | 1 | 45349.4583 | 45349.5 | -35.1828 | 974.4417 | 0 | -1339.5618 | -10.8778 | 0 | -413.522 | 0 | 0 | 0
4 | RT | Fast Start Unit Management | SCE | Big Creek-Ventura | 2024-02-17 | 0 | No | INC | 3 | 45339.8681 | 45339.9792 | -7.7233 | 419.9126 | 0 | 60.0932 | -7.7233 | 0 | 60.0932 | 0 | 0 | 0
5 | RT | Fast Start Unit Management | SCE | LA Basin | 2024-02-09 | 0 | No | INC | 1 | 45331.2083 | 45331.2361 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Fast Start Unit Management | SCE | LA Basin | 2024-02-17 | 0 | No | INC | 3 | 45339.8681 | 45339.9792 | -19.6167 | 1002.0535 | 0 | 148.8601 | -19.6167 | 0 | 148.8601 | 0 | 0 | 0
7 | RT | Other Reliability Requirement | PGAE | Fresno | 2024-02-13 | 83 | No | DEC | 1 | 45335.7083 | 45335.75 | 61.375 | 0 | 0 | -3234.3432 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Other Reliability Requirement | PGAE | Fresno | 2024-02-13 | 83 - 400 | No | INC | 4 | 45335.6076 | 45335.75 | 167.5468 | 41355.3992 | 0 | -5263.4079 | 8.0991 | -128.9561 | 0 | -221.9559 | 0 | 0
9 | RT | Other Reliability Requirement | SCE | LA Basin | 2024-02-13 | 46 - 95 | No | INC | 4 | 45335.6042 | 45335.75 | 20.0822 | 63554.31 | 0 | 28.7766 | 25.2365 | 434.5183 | 0 | -1260.9864 | 0 | 0
10 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-02-08 | 15 | Yes | INC | 13 | 45330.3368 | 45330.8542 | 6.9217 | 78961.08 | 0 | -300.2989 | 0 | 0 | 0 | 0 | 0 | 0
11 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-02-25 | 30 | No | INC | 5 | 45347.8125 | 45348 | 4.7454 | 3611.885 | 0 | -133.0188 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-02-26 | 30 | No | DEC | 7 | 45348.6667 | 45348.9583 | 0.45194 | -5419.7724 | 0 | -12.4406 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-02-26 | 15 - 30 | No | INC | 24 | 45348 | 45349 | -4.1333 | 34570.735 | 0 | 129.8512 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-02-27 | 15 - 45 | No | INC | 24 | 45349 | 45350 | 17.3508 | 40274.1625 | 0 | -398.7852 | 1.75 | -6.7279 | 0 | 0 | -559.657 | 0
15 | RT | Planned Transmission Outage | PGAE | Humboldt | 2024-02-28 | 15 - 45 | No | INC | 17 | 45350 | 45350.7083 | 0.77687 | 19987.2617 | 0 | -52.9624 | 0.16667 | -1.8832 | 0 | 0 | -13.7072 | 0
16 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-02-01 | 20 | No | INC | 12 | 45323.3333 | 45323.8333 | 0.8375 | 0 | 0 | -42.022 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-02-02 | 20 | No | INC | 10 | 45324.3333 | 45324.7188 | 1.4808 | 0 | 0 | -86.6485 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-02-06 | 20 | Yes | INC | 10 | 45328.4271 | 45328.8333 | -54.0692 | 28545.66 | 625.44 | 2964.8815 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-02-06 | 55 | No | DEC | 4 | 45328.7083 | 45328.8542 | -0.4575 | 0 | 0 | -55.3309 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-02-06 | 20 - 55 | No | INC | 3 | 45328.5972 | 45328.7083 | 21.1712 | 0 | 0 | 3176.8657 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-02-07 | 45 | No | DEC | 1 | 45329.7292 | 45329.7361 | -1.8167 | 0 | 0 | 87.8177 | 0 | 0 | 0 | 0 | 0 | 0
22 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-02-07 | 56 - 89 | No | INC | 9 | 45329.4583 | 45329.8333 | 14.6919 | 12846.52 | 12380.71 | -36.8862 | 26.7317 | -896.1046 | 0 | 0 | -5521.8642 | 0
23 | RT | Planned Transmission Outage | SCE | NA | 2024-02-27 | 5 - 12 | No | DEC | 16 | 45349.2188 | 45349.875 | 3.1603 | 0 | 0 | 162.2719 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Planned Transmission Outage | SCE | NA | 2024-02-27 | 5 - 7 | No | INC | 13 | 45349.2917 | 45349.8333 | 1.0382 | 0 | 0 | 72.9069 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Planned Transmission Outage | SCE | NA | 2024-02-28 | 5 - 12 | No | DEC | 18 | 45350.1667 | 45350.9062 | 7.598 | 0 | 0 | 608.5284 | -0.021979 | 0 | 0.71112 | 0 | -264.5192 | 0
26 | RT | Planned Transmission Outage | SCE | NA | 2024-02-28 | 5 | No | INC | 18 | 45350.1667 | 45350.9062 | 1.3942 | 0 | 0 | 148.2651 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Ramping Capacity | PGAE | Fresno | 2024-02-17 | 83 | No | DEC | 4 | 45339.7083 | 45339.875 | -69.7464 | 0 | 0 | 4226.825 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Ramping Capacity | PGAE | Fresno | 2024-02-17 | 83 | No | INC | 13 | 45339.4896 | 45340 | 151.4798 | 47359.2442 | 2132.4166 | -9005.789 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Reliability Assessment | PGAE | Fresno | 2024-02-16 | 350 | No | INC | 1 | 45338.684 | 45338.7083 | -23.592 | 3454.2783 | 212.1552 | 1209.3147 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Reliability Assessment | PGAE | Fresno | 2024-02-17 | 83 - 300 | No | INC | 1 | 45339.6528 | 45339.6875 | 159.8489 | 5318.49 | 150.9675 | -8606.9755 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-01 | 15 | No | DEC | 2 | 45323.8993 | 45323.9583 | 0 | -349.85 | 0 | 9.0278 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-01 | 15 | No | INC | 1 | 45323.9583 | 45324 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-02 | 15 - 30 | No | INC | 24 | 45324 | 45325 | 8.0013 | 18274.725 | 0 | -482.4004 | 0 | 0 | 0 | 0 | 0 | 0
34 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-03 | 30 | No | INC | 24 | 45325 | 45326 | 1.3558 | 7913.6 | 0 | -51.1279 | 0 | 0 | 0 | 0 | 0 | 0
35 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-04 | 30 | No | DEC | 8 | 45326.5833 | 45326.9167 | 1.3558 | 0 | 0 | -62.4032 | 0 | 0 | 0 | 0 | 0 | 0
36 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-04 | 15 - 30 | No | INC | 24 | 45326 | 45327 | 10.7994 | 18596.96 | 0 | -638.6564 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-05 | 15 - 30 | No | DEC | 18 | 45327.2083 | 45327.9583 | 3.6668 | -3784.8081 | 0 | -376.7005 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-05 | 15 - 30 | No | INC | 24 | 45327 | 45328 | 0.67792 | 18992.64 | 0 | -32.4747 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-06 | 15 - 30 | No | DEC | 19 | 45328.2083 | 45329 | -12.6363 | -3511.7538 | 0 | 600.8708 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-06 | 15 - 30 | No | INC | 24 | 45328 | 45329 | 5.5594 | 24257.555 | 0 | -320.5768 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-07 | 15 - 30 | No | DEC | 24 | 45329 | 45330 | 4.0274 | -83761.6821 | 0 | -72.3724 | 0 | 0 | 0 | 0 | 0 | 0
42 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-08 | 15 - 30 | No | DEC | 23 | 45330 | 45330.9583 | -2.3281 | -17931.264 | 0 | 174.9133 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-08 | 15 - 45 | No | INC | 24 | 45330 | 45331 | 22.8955 | 49862.5325 | 0 | -690.8274 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-09 | 15 | No | DEC | 7 | 45331 | 45331.2604 | 0.67792 | 0 | 0 | -36.4458 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-09 | 15 - 45 | No | INC | 24 | 45331 | 45332 | 4.3482 | 49270.8725 | 0 | -334.0244 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-10 | 45 | No | INC | 22 | 45332 | 45332.9167 | -57.7287 | 68256.81 | 0 | 3502.2601 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-11 | 15 | No | INC | 23 | 45333.0799 | 45334 | -12.941 | 40014.8717 | 0 | 599.2727 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-12 | 15 - 30 | No | DEC | 9 | 45334.625 | 45335 | 2.0516 | -19708.209 | 0 | -154.7003 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-12 | 15 - 30 | No | INC | 15 | 45334 | 45334.625 | 8.3115 | 18254.72 | 0 | -560.424 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-13 | 15 - 45 | No | INC | 24 | 45335 | 45336 | 10.6791 | 50101.455 | 0 | -658.4153 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-14 | 15 - 30 | No | DEC | 10 | 45336.5833 | 45337 | 9.8836 | -16603.7915 | 944.64 | -565.9432 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-14 | 15 - 30 | No | INC | 24 | 45336 | 45337 | 0.61208 | 16361.8625 | 0 | -28.6074 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-15 | 15 | No | DEC | 24 | 45337 | 45338 | -0.67792 | -37085.9496 | 0 | 30.2497 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-15 | 15 | No | INC | 24 | 45337 | 45338 | 0 | 17814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-16 | 15 | No | DEC | 24 | 45338 | 45339 | -0.67792 | -32370.36 | 0 | 57.9214 | 0 | 0 | 0 | 0 | 0 | 0
56 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-16 | 15 | No | INC | 24 | 45338 | 45339 | 0 | 5929.84 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-17 | 15 | No | DEC | 23 | 45339 | 45339.9583 | -0.67792 | -14993.5764 | 0 | 37.1329 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-17 | 15 | No | INC | 24 | 45339 | 45340 | 0 | 13109.58 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-18 | 15 | No | DEC | 22 | 45340 | 45340.9167 | -2.0337 | 182.075 | 0 | 77.9557 | 0 | 0 | 0 | 0 | 0 | 0
60 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-18 | 15 - 30 | No | INC | 24 | 45340 | 45341 | 9.5642 | 16386.92 | 0 | -511.8849 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-19 | 15 | No | DEC | 8 | 45341 | 45341.3333 | 1.3558 | 0 | 0 | -47.5304 | 0 | 0 | 0 | 0 | 0 | 0
62 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-19 | 15 - 30 | No | INC | 16 | 45341.3333 | 45342 | 6.2213 | 17115.1375 | 0 | -168.2938 | 0.16667 | -2.2333 | 0 | 0 | 0 | 0
63 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-20 | 30 | No | INC | 24 | 45342 | 45343 | -9.0369 | 42787.9375 | 0 | 469.15 | 0 | 0 | 0 | 0 | 0 | 0
64 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-21 | 30 | No | INC | 24 | 45343 | 45344 | 35.715 | 33694.08 | 0 | -882.5607 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-22 | 30 | No | DEC | 9 | 45344 | 45344.375 | -0.49486 | -18382.8609 | 0 | 22.8174 | 0 | 0 | 0 | 0 | 0 | 0
66 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-22 | 15 - 30 | No | INC | 15 | 45344.375 | 45345 | 1.2578 | 18702.295 | 0 | -416.7153 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-23 | 30 | No | INC | 24 | 45345 | 45346 | -2.3308 | 33863.04 | 0 | -74.3887 | 0 | 0 | 0 | 0 | 0 | 0
68 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-24 | 15 - 30 | No | INC | 24 | 45346 | 45347 | -3.771 | 23907.065 | 0 | -66.3829 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-25 | 15 | No | DEC | 2 | 45347.7083 | 45347.7917 | 0.67792 | 0 | 0 | -14.2702 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-25 | 15 - 30 | No | INC | 24 | 45347 | 45348 | 8.6125 | 13243.465 | 0 | -249.5904 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-26 | 30 | No | DEC | 6 | 45348.6667 | 45348.9028 | 0.22597 | -4387.4348 | 0 | -6.5758 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-26 | 15 - 30 | No | INC | 22 | 45348 | 45348.9028 | 20.1956 | 31876.17 | 941.69 | -639.1968 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-27 | 15 - 30 | No | INC | 9 | 45349.6319 | 45350 | -2.9633 | 17461.525 | 0 | -0.48132 | 0 | 0 | 0 | 0 | -2.9018 | 0
74 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-28 | 15 - 30 | No | INC | 24 | 45350 | 45351 | -4.649 | 26996.4983 | 0 | 95.8956 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Reliability Assessment | PGAE | Humboldt | 2024-02-29 | 15 - 30 | No | INC | 24 | 45351 | 45352 | 2.9954 | 25345.965 | 0 | -143.8659 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Reliability Assessment | PGAE | Stockton | 2024-02-05 | 5 - 195 | No | DEC | 8 | 45327.4167 | 45327.7396 | 17.3596 | -10777.1853 | 0 | -3689.4076 | -2.5 | 0 | 25 | 0 | 0 | 0
77 | RT | Reliability Assessment | PGAE | Stockton | 2024-02-05 | 50 - 195 | No | INC | 6 | 45327.4583 | 45327.7083 | -12.0471 | -9777.495 | 0 | -1491.9781 | -1.6583 | 0 | -248.9404 | 0 | 0 | 0
78 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2024-02-23 | 60 | No | INC | 6 | 45345.5174 | 45345.75 | -4.0992 | 0 | 0 | 119.557 | 0 | 0 | 0 | 0 | 0 | 0
79 | RT | Reliability Assessment | SCE | NA | 2024-02-26 | 0 | No | DEC | 2 | 45348.5243 | 45348.5833 | -40.5011 | 0 | 0 | -1072.8084 | -35.6073 | 0 | -935.6294 | 0 | 0 | 0
80 | RT | Reliability Assessment | SDGE | San Diego-IV | 2024-02-17 | 96 - 400 | No | INC | 2 | 45339.6562 | 45339.7083 | 90.3711 | 2196.8 | 0 | -5311.8155 | 74.3862 | -4461.6928 | 0 | 0 | 0 | 0
81 | RT | Software Limitation | PGAE | Fresno | 2024-02-16 | 0 | No | INC | 1 | 45338.9375 | 45338.9792 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Software Limitation | PGAE | Fresno | 2024-02-17 | 83 | No | INC | 3 | 45339.5521 | 45339.6528 | 65.3458 | 24796.7758 | 490.6445 | -4275.937 | 0 | 0 | 0 | 0 | 0 | 0
83 | RT | Software Limitation | SCE | Big Creek-Ventura | 2024-02-17 | 44.79 | No | INC | 1 | 45339.6562 | 45339.6944 | 24.4321 | 1893.5722 | 0 | -898.8034 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Software Limitation | SCE | LA Basin | 2024-02-09 | 96.6 - 97.32 | No | INC | 1 | 45331.1389 | 45331.1771 | 176.0986 | 9512.4266 | 0 | -9005.2365 | 51.7188 | -3216.8288 | 0 | 0 | 0 | 0
85 | RT | Software Limitation | SCE | LA Basin | 2024-02-17 | 46.25 - 97.32 | No | INC | 1 | 45339.6562 | 45339.6944 | 123.0544 | 7755.9121 | 0 | -5392.0145 | 41.3568 | -2270.4323 | 0 | 0 | 0 | 0
86 | RT | System Emergency | PGAE | NA | 2024-02-04 | 3.9495 - 3.95 | No | INC | 5 | 45326.7188 | 45326.9201 | 1.399 | 19348.3333 | 0 | -74.2893 | 0.0019795 | -0.10549 | 0 | 0 | 0 | 0
87 | RT | Unit Testing | PGAE | Bay Area | 2024-02-02 | 42.14 | No | INC | 2 | 45324.2812 | 45324.3264 | 34.079 | 0 | 0 | -2035.4274 | 4.635 | -283.1989 | 0 | 0 | 0 | 0
88 | RT | Unit Testing | PGAE | Fresno | 2024-02-13 | -302 | No | DEC | 1 | 45335.375 | 45335.4167 | 8.2333 | 0 | 0 | -562.7418 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Unit Testing | PGAE | NA | 2024-02-02 | 78.71 | No | DEC | 1 | 45324.6667 | 45324.6944 | 130.2479 | -2538.9625 | 0 | -4425.345 | 0.28858 | -12.8362 | 0 | 0 | 0 | 0
90 | RT | Unit Testing | PGAE | NA | 2024-02-02 | 78.71 | No | INC | 1 | 45324.6632 | 45324.6667 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Unit Testing | PGAE | NA | 2024-02-28 | 82 | No | INC | 2 | 45350.5035 | 45350.5625 | 43.3958 | 0 | 0 | -16.9244 | 43.3958 | -16.9244 | 0 | 0 | 0 | 0
92 | RT | Unit Testing | SCE | Big Creek-Ventura | 2024-02-27 | 0 | No | INC | 1 | 45349.5347 | 45349.5625 | 22.7398 | 0 | 0 | -1451.2562 | 24.75 | -1415.7319 | 0 | 0 | 0 | 0
93 | RT | Unit Testing | SCE | LA Basin | 2024-02-14 | -45.8 | No | INC | 1 | 45336.4792 | 45336.5069 | 20.7181 | 0 | 0 | -1494.3954 | 21.6396 | -1459.1777 | 0 | 0 | 0 | 0
94 | RT | Unit Testing | SDGE | San Diego-IV | 2024-02-06 | 597 | No | INC | 3 | 45328.6215 | 45328.7292 | 24.4837 | 0 | 0 | -1368.4773 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Unplanned Outage | PGAE | Stockton | 2024-02-04 | 60 | No | DEC | 5 | 45326.7222 | 45326.9167 | -13.2321 | 0 | 0 | -25.1987 | -13.7941 | 0 | 0.13794 | 0 | 0 | 0
96 | RT | Unplanned Outage | PGAE | Stockton | 2024-02-04 | 60 - 89 | No | INC | 4 | 45326.8333 | 45327 | -64.7188 | 23445.56 | 22909.72 | 2671.2637 | 0 | 0 | 0 | -0.92094 | 0 | 0
97 | RT | Unplanned Outage | PGAE | Stockton | 2024-02-05 | 89 | No | INC | 4 | 45327 | 45327.1667 | 0.21926 | 23445.56 | 0 | -11.4637 | 0 | 0 | 0 | 0 | 0 | 0
98 | RT | Voltage Support | PGAE | Fresno | 2024-02-01 | -315 | No | DEC | 24 | 45323 | 45324 | -97.9688 | 0 | 0 | 5729.5505 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Voltage Support | PGAE | Fresno | 2024-02-02 | -315 | No | DEC | 6 | 45324 | 45324.2292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Voltage Support | PGAE | Fresno | 2024-02-02 | 83 | No | INC | 2 | 45324.9167 | 45325 | 113.8943 | 9787.12 | 0 | -5012.0265 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Voltage Support | PGAE | Fresno | 2024-02-03 | 83 | No | DEC | 1 | 45325 | 45325.0417 | 19.9417 | 0 | 0 | -1765.0595 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Voltage Support | PGAE | Fresno | 2024-02-03 | 83 | No | INC | 4 | 45325.0417 | 45325.2083 | -64.25 | 21054.64 | 0 | 1775.7434 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Voltage Support | PGAE | Fresno | 2024-02-04 | -15 | No | DEC | 23 | 45326.066 | 45327 | -185.4104 | 0 | 0 | 13386.5548 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Voltage Support | PGAE | Fresno | 2024-02-05 | -300 | No | DEC | 24 | 45327 | 45328 | -135.3083 | 0 | 0 | 7577.932 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Voltage Support | PGAE | Fresno | 2024-02-06 | -300 | No | DEC | 5 | 45328 | 45328.1875 | -152.6917 | 0 | 0 | 11352.3451 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Voltage Support | PGAE | Fresno | 2024-02-06 | 83 | Yes | INC | 2 | 45328.9167 | 45329 | 19.4295 | 10856.3 | 0 | -828.5457 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Voltage Support | PGAE | Fresno | 2024-02-07 | -383 | No | DEC | 20 | 45329.1667 | 45330 | -19.568 | 0 | 0 | 725.0143 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Voltage Support | PGAE | Fresno | 2024-02-07 | 83 | No | INC | 3 | 45329.0625 | 45329.1667 | -14.5208 | 14804.05 | 0 | 600.1979 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Voltage Support | PGAE | Fresno | 2024-02-08 | -300 | No | DEC | 6 | 45330 | 45330.2292 | -147.9042 | 0 | 0 | 8468.8094 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Voltage Support | PGAE | Fresno | 2024-02-09 | -315 | No | DEC | 23 | 45331.0521 | 45332 | -149.6167 | 0 | 0 | 8702.5028 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Voltage Support | PGAE | Fresno | 2024-02-10 | -315 | No | DEC | 24 | 45332 | 45333 | -58.0583 | 0 | 0 | 4090.1301 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Voltage Support | PGAE | Fresno | 2024-02-10 | 83 | No | INC | 10 | 45332.2917 | 45332.7083 | -5.4167 | 69085.5 | 0 | 269.4358 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Voltage Support | PGAE | Fresno | 2024-02-11 | -315 | No | DEC | 24 | 45333 | 45334 | -56.4917 | 0 | 0 | 3173.2989 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Voltage Support | PGAE | Fresno | 2024-02-12 | -398 | No | DEC | 23 | 45334 | 45334.9583 | -64.4675 | 0 | 0 | 2787.2116 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Voltage Support | PGAE | Fresno | 2024-02-12 | 83 | No | INC | 1 | 45334.9583 | 45335 | -22.9192 | 6415.09 | 0 | 879.6052 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Voltage Support | PGAE | Fresno | 2024-02-13 | 83 | No | DEC | 18 | 45335.2083 | 45335.9583 | -84.7411 | 0 | 0 | 4301.3428 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Voltage Support | PGAE | Fresno | 2024-02-13 | 83 | No | INC | 24 | 45335 | 45336 | -7.241 | 42931.75 | 3000.48 | 229.8374 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Voltage Support | PGAE | Fresno | 2024-02-14 | 83 | No | DEC | 3 | 45336.1667 | 45336.2917 | -49.47 | 0 | 0 | 2260.7317 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Voltage Support | PGAE | Fresno | 2024-02-14 | 83 | Yes | INC | 24 | 45336 | 45337 | -117.8539 | 57900.28 | 0 | 4860.8949 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Voltage Support | PGAE | Fresno | 2024-02-15 | 22.37 - 83 | No | INC | 7 | 45337 | 45337.2917 | -240.2577 | 89933.3675 | 0 | 9384.9591 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Voltage Support | PGAE | Fresno | 2024-02-16 | -4 | No | DEC | 24 | 45338.0208 | 45339 | 14.4646 | 0 | 0 | -742.6199 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Voltage Support | PGAE | Fresno | 2024-02-17 | -319 | No | DEC | 5 | 45339 | 45339.2083 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Voltage Support | PGAE | Humboldt | 2024-02-01 | 15 | No | DEC | 16 | 45323.25 | 45323.9167 | 1.3558 | -12594.6 | 0 | -73.6122 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Voltage Support | PGAE | Humboldt | 2024-02-01 | 15 | No | INC | 9 | 45323 | 45323.375 | 3.835 | 5812.425 | 0 | -163.6321 | 0 | 0 | 0 | 0 | 0 | 0
125 | RT | Voltage Support | PGAE | NA | 2024-02-01 | 62 | No | INC | 7 | 45323 | 45323.2917 | 32.0006 | 39882.78 | 24071.9 | -1361.543 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Voltage Support | PGAE | NA | 2024-02-02 | 62 - 65 | No | INC | 23 | 45324.0417 | 45325 | -7.4043 | 39693.72 | 23058.5184 | -190.2103 | 0 | 0 | 0 | 0 | 0 | 0
127 | RT | Voltage Support | PGAE | NA | 2024-02-03 | 65 | No | INC | 24 | 45325 | 45326 | -166.3825 | 133399.2 | 0 | 7326.3873 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Voltage Support | PGAE | NA | 2024-02-04 | 65 | No | INC | 18 | 45326 | 45326.75 | 233.8404 | 83374.5 | 0 | -10571.7696 | 0 | 0 | 0 | 0 | 0 | 0
129 | RT | Voltage Support | PGAE | NA | 2024-02-05 | 62 | No | INC | 5 | 45327.0104 | 45327.2083 | -26.6877 | 26281.37 | 8869.6487 | 1806.8086 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Voltage Support | PGAE | NA | 2024-02-10 | 142 | No | INC | 5 | 45332.4931 | 45332.6667 | 87.0901 | 30790.0975 | 0 | 3118.2152 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Voltage Support | PGAE | NA | 2024-02-12 | 65 | No | DEC | 5 | 45334.8299 | 45335 | -4.3047 | 0 | 0 | 170.0602 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Voltage Support | PGAE | NA | 2024-02-13 | 65 | No | INC | 24 | 45335 | 45336 | -24.4775 | 41634.74 | 0 | 988.4813 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Voltage Support | PGAE | NA | 2024-02-14 | 65 | No | INC | 7 | 45336 | 45336.2917 | -36.5236 | 5787.32 | 0 | 1341.2355 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Voltage Support | PGAE | NA | 2024-02-15 | 62 - 65 | No | INC | 24 | 45337 | 45338 | -76.7725 | 208437.225 | 47152.9 | 4800.3604 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Voltage Support | PGAE | NA | 2024-02-16 | 62 - 65 | No | INC | 24 | 45338 | 45339 | 63.5746 | 86573.83 | 23270.65 | -2027.5228 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Voltage Support | PGAE | NA | 2024-02-17 | 62 - 65 | No | INC | 24 | 45339 | 45340 | -116.3541 | 243714.075 | 22711.69 | 2739.4943 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Voltage Support | PGAE | NA | 2024-02-18 | 62 - 95 | No | INC | 24 | 45340 | 45341 | -276.0979 | 253801.9825 | 0 | 11097.9794 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Voltage Support | PGAE | NA | 2024-02-19 | 60 - 65 | No | INC | 24 | 45341 | 45342 | -455.1883 | 265507.29 | 17810 | 17726.6627 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Voltage Support | PGAE | NA | 2024-02-20 | 62 - 65 | No | INC | 24 | 45342 | 45343 | 265.7504 | 232208.7625 | 0 | -11263.1682 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Voltage Support | PGAE | NA | 2024-02-21 | 62 - 65 | No | INC | 24 | 45343 | 45344 | -280.5279 | 348336.66 | 0 | 10832.3671 | -2 | 0 | 81.999 | 0 | -1.899 | 0
141 | RT | Voltage Support | PGAE | NA | 2024-02-22 | 62 - 65 | No | INC | 24 | 45344 | 45345 | -276.6381 | 197465.08 | 23155.85 | 10256.0931 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Voltage Support | PGAE | NA | 2024-02-23 | 62 - 65 | No | INC | 24 | 45345 | 45346 | -701.4988 | 198076.17 | 0 | 24547.4379 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Voltage Support | PGAE | NA | 2024-02-24 | 49 - 103 | No | DEC | 21 | 45346.1285 | 45347 | 161.6123 | -71508.5705 | 1193.36 | -4866.521 | 0 | 0 | 0 | 0 | -353.5406 | 0
144 | RT | Voltage Support | PGAE | NA | 2024-02-24 | 60 - 103 | No | INC | 24 | 45346 | 45347 | 64.3947 | 290584.5025 | 0 | -684.1297 | 4.4896 | 186.5596 | 0 | 0 | -843.466 | 0
145 | RT | Voltage Support | PGAE | NA | 2024-02-25 | 49 - 142 | No | DEC | 24 | 45347 | 45348 | -382.4821 | -179008.6356 | 0 | 10108.6594 | 0 | 0 | 0 | 0 | 0 | 0
146 | RT | Voltage Support | PGAE | NA | 2024-02-25 | 49 - 142 | No | INC | 24 | 45347 | 45348 | -289.4967 | 312818.095 | 0 | 5564.9814 | 0 | 0 | 0 | 0 | -24.7942 | 0
147 | RT | Voltage Support | PGAE | NA | 2024-02-26 | 95 - 142 | No | DEC | 23 | 45348 | 45348.9583 | -46.8855 | -45324.414 | 0 | 1086.1639 | 0 | 0 | 0 | 0 | 0 | 0
148 | RT | Voltage Support | PGAE | NA | 2024-02-26 | 62 - 142 | No | INC | 24 | 45348 | 45349 | -62.5901 | 287826.66 | 0 | 2276.7432 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Voltage Support | PGAE | NA | 2024-02-27 | 49 | No | DEC | 5 | 45349.1354 | 45349.3333 | 45.5152 | -30006.5194 | 1219.51 | -1120.9637 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Voltage Support | PGAE | NA | 2024-02-27 | 49 - 142 | No | INC | 24 | 45349 | 45350 | -244.4379 | 291129.985 | 0 | 7713.8967 | 0 | 0 | 0 | 0 | -6.5131 | 0
151 | RT | Voltage Support | PGAE | NA | 2024-02-28 | 62 - 65 | No | INC | 24 | 45350 | 45351 | -262.1383 | 235656.48 | 0 | 8115.2779 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Voltage Support | PGAE | NA | 2024-02-29 | 62 - 65 | No | INC | 24 | 45351 | 45352 | -182.1517 | 236093.04 | 0 | 6313.4325 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Voltage Support | SCE | LA Basin | 2024-02-21 | 46 | Yes | INC | 2 | 45343.3333 | 45343.4167 | 11.4167 | 20120.92 | 1543.91 | -153.2666 | 0.14208 | -1.8182 | 0 | 0 | -187.7792 | 0

## Price_Impact_A
Table 9: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2024-02-04 | 18 | 5 | 45.5156 | Yes | 0.01 | -45.5056
2 | 2024-02-04 | 18 | 6 | 45.7091 | Yes | 0.01 | -45.6991
3 | 2024-02-04 | 18 | 7 | 43.5593 | Yes | 0.01 | -43.5493
4 | 2024-02-04 | 18 | 8 | 43.7052 | Yes | 0.01 | -43.6952
5 | 2024-02-04 | 18 | 9 | 44.574 | Yes | 0.01 | -44.564
6 | 2024-02-04 | 18 | 10 | 45.8293 | Yes | 0.01 | -45.8194
7 | 2024-02-04 | 18 | 11 | 45.6245 | Yes | 0.01 | -45.6145
8 | 2024-02-04 | 18 | 12 | 44.4339 | Yes | 0.01 | -44.4239
9 | 2024-02-04 | 19 | 1 | 45.8702 | Yes | 0.01 | -45.8602
10 | 2024-02-04 | 19 | 2 | 45.7639 | Yes | 0.01 | -45.7539
11 | 2024-02-04 | 19 | 3 | 46.3706 | Yes | 0.01 | -46.3606
12 | 2024-02-04 | 19 | 4 | 45.5624 | Yes | 0.01 | -45.5524
13 | 2024-02-04 | 19 | 5 | 45.7832 | Yes | 0.01 | -45.7732
14 | 2024-02-04 | 19 | 6 | 45.8024 | Yes | 0.01 | -45.7924
15 | 2024-02-04 | 19 | 7 | 46.3583 | Yes | 0.01 | -46.3483
16 | 2024-02-04 | 19 | 8 | 46.4588 | Yes | 0.01 | -46.4488
17 | 2024-02-04 | 19 | 9 | 45.265 | Yes | 0.01 | -45.255
18 | 2024-02-04 | 19 | 10 | 45.1689 | Yes | 0.01 | -45.1589
19 | 2024-02-04 | 19 | 11 | 44.693 | Yes | 0.01 | -44.683
20 | 2024-02-04 | 19 | 12 | 45.8747 | Yes | 0.01 | -45.8647
21 | 2024-02-04 | 20 | 1 | 45.7853 | Yes | 0.01 | -45.7753
22 | 2024-02-04 | 20 | 2 | 45.2472 | Yes | 0.01 | -45.2372
23 | 2024-02-04 | 20 | 3 | 44.7045 | Yes | 0.01 | -44.6945
24 | 2024-02-04 | 20 | 4 | 44.7465 | Yes | 0.01 | -44.7365
25 | 2024-02-04 | 20 | 5 | 44.7465 | Yes | 0.01 | -44.7365
26 | 2024-02-04 | 20 | 6 | 44.7465 | Yes | 0.01 | -44.7365
27 | 2024-02-04 | 20 | 7 | 44.4761 | Yes | 0.01 | -44.4661
28 | 2024-02-04 | 20 | 8 | 44.4318 | Yes | 0.01 | -44.4218
29 | 2024-02-04 | 20 | 9 | 44.3909 | Yes | 0.01 | -44.3809
30 | 2024-02-04 | 20 | 10 | 44.0428 | Yes | 0.01 | -44.0328
31 | 2024-02-04 | 20 | 11 | 44.0057 | Yes | 0.01 | -43.9957
32 | 2024-02-04 | 20 | 12 | 44.0057 | Yes | 0.01 | -43.9957
33 | 2024-02-04 | 21 | 1 | 43.9913 | Yes | 0.01 | -43.9813
34 | 2024-02-04 | 21 | 2 | 43.9913 | Yes | 0.01 | -43.9813
35 | 2024-02-04 | 21 | 3 | 43.9006 | Yes | 0.01 | -43.8906
36 | 2024-02-04 | 21 | 4 | 43.309 | Yes | 0.01 | -43.2989
37 | 2024-02-04 | 21 | 5 | 44.4771 | Yes | 0.01 | -44.4671
38 | 2024-02-04 | 21 | 6 | 44.4604 | Yes | 0.01 | -44.4504
39 | 2024-02-04 | 21 | 7 | 44.4114 | Yes | 0.01 | -44.4014
40 | 2024-02-04 | 21 | 8 | 44.4006 | Yes | 0.01 | -44.3906
41 | 2024-02-04 | 21 | 9 | 44.3698 | Yes | 0.01 | -44.3598
42 | 2024-02-04 | 21 | 10 | 42.8887 | Yes | 0.01 | -42.8787
43 | 2024-02-04 | 21 | 11 | 42.8887 | Yes | 0.01 | -42.8787
44 | 2024-02-04 | 21 | 12 | 42.8887 | Yes | 0.01 | -42.8787
45 | 2024-02-04 | 22 | 1 | 51.28 | Yes | 0.01 | -51.27
46 | 2024-02-04 | 22 | 2 | 51.5 | Yes | 0.01 | -51.49
47 | 2024-02-04 | 22 | 3 | 51.28 | Yes | 0.01 | -51.27
48 | 2024-02-04 | 22 | 4 | 51.22 | Yes | 0.01 | -51.21
49 | 2024-02-04 | 22 | 5 | 51.22 | Yes | 0.01 | -51.21
50 | 2024-02-04 | 22 | 6 | 51.13 | Yes | 0.01 | -51.12
51 | 2024-02-04 | 22 | 7 | 50.44 | Yes | 0.01 | -50.43
52 | 2024-02-04 | 22 | 8 | 49.9988 | Yes | 0.01 | -49.9888
53 | 2024-02-04 | 22 | 9 | 48.47 | Yes | 0.01 | -48.46
54 | 2024-02-04 | 22 | 10 | 45.3447 | Yes | 0.01 | -45.3347
55 | 2024-02-04 | 22 | 11 | 44.2232 | Yes | 0.01 | -44.2132
56 | 2024-02-04 | 22 | 12 | 45.3447 | Yes | 0.01 | -45.3347
57 | 2024-02-04 | 23 | 1 | 51.28 | Yes | 0.01 | -51.27
58 | 2024-02-04 | 23 | 2 | 51.22 | Yes | 0.01 | -51.21
59 | 2024-02-04 | 23 | 3 | 51.22 | Yes | 0.01 | -51.21
60 | 2024-02-04 | 23 | 4 | -0.19488 | Yes | 0.01 | 0.20488
61 | 2024-02-04 | 23 | 5 | -0.19452 | Yes | 0.01 | 0.20452
62 | 2024-02-04 | 23 | 6 | -0.19116 | Yes | 0.01 | 0.20116
63 | 2024-02-04 | 23 | 7 | -0.18612 | Yes | 0.01 | 0.19612
64 | 2024-02-04 | 23 | 8 | -0.18525 | Yes | 0.01 | 0.19525
65 | 2024-02-04 | 23 | 9 | 55.6611 | Yes | 0.01 | -55.6511
66 | 2024-02-04 | 23 | 10 | 61.7178 | Yes | 0.01 | -61.7079
67 | 2024-02-04 | 23 | 11 | 74.8393 | Yes | 0.01 | -74.8293
68 | 2024-02-04 | 23 | 12 | 50.1166 | Yes | 0.01 | -50.1066
69 | 2024-02-04 | 24 | 1 | 66.7739 | Yes | 0.01 | -66.7639
70 | 2024-02-04 | 24 | 2 | 62.7132 | Yes | 0.01 | -62.7032
71 | 2024-02-04 | 24 | 3 | 59.9672 | Yes | 0.01 | -59.9572
72 | 2024-02-04 | 24 | 4 | 56.9339 | Yes | 0.01 | -56.9239
73 | 2024-02-04 | 24 | 5 | 66.2358 | Yes | 0.01 | -66.2258
74 | 2024-02-04 | 24 | 6 | 47.3258 | Yes | 0.01 | -47.3158
75 | 2024-02-04 | 24 | 7 | 47.0433 | Yes | 0.01 | -47.0333
76 | 2024-02-04 | 24 | 8 | 46.8818 | Yes | 0.01 | -46.8718
77 | 2024-02-04 | 24 | 9 | 43.3255 | Yes | 0.01 | -43.3156
78 | 2024-02-04 | 24 | 10 | 42.1613 | Yes | 0.01 | -42.1513
79 | 2024-02-04 | 24 | 11 | 41.3169 | Yes | 0.01 | -41.3069
80 | 2024-02-04 | 24 | 12 | 41.8486 | Yes | 0.01 | -41.8386
81 | 2024-02-05 | 17 | 1 | 61.7698 | Yes | 0.01 | -61.7599
82 | 2024-02-05 | 17 | 2 | 59.3553 | Yes | 0.01 | -59.3453
83 | 2024-02-05 | 17 | 3 | 56.6153 | Yes | 0.01 | -56.6053
84 | 2024-02-05 | 17 | 4 | 61.75 | Yes | 0.01 | -61.74
85 | 2024-02-07 | 18 | 1 | 42.88 | Yes | 33.93 | -8.95
86 | 2024-02-07 | 18 | 2 | 42.0012 | Yes | 33.93 | -8.0712
87 | 2024-02-07 | 18 | 3 | 42.89 | Yes | 33.93 | -8.96
88 | 2024-02-07 | 18 | 4 | 45.3512 | Yes | 33.93 | -11.4212
89 | 2024-02-07 | 18 | 5 | 48 | Yes | 33.93 | -14.07
90 | 2024-02-07 | 18 | 6 | 48.18 | Yes | 33.93 | -14.25
91 | 2024-02-07 | 18 | 7 | 48.19 | Yes | 33.93 | -14.26
92 | 2024-02-07 | 18 | 8 | 48.49 | Yes | 33.93 | -14.56
93 | 2024-02-07 | 18 | 9 | 49.03 | Yes | 33.93 | -15.1
94 | 2024-02-07 | 18 | 10 | 49.03 | Yes | 33.93 | -15.1
95 | 2024-02-07 | 18 | 11 | 49.0524 | Yes | 33.93 | -15.1224
96 | 2024-02-07 | 18 | 12 | 49.55 | Yes | 33.93 | -15.62
97 | 2024-02-07 | 20 | 1 | 48.49 | Yes | 33.93 | -14.56
98 | 2024-02-07 | 20 | 2 | 48.21 | Yes | 33.93 | -14.28
99 | 2024-02-07 | 20 | 3 | 48 | Yes | 33.93 | -14.07
100 | 2024-02-07 | 20 | 4 | 48.18 | Yes | 33.93 | -14.25
101 | 2024-02-07 | 20 | 5 | 48.21 | Yes | 33.93 | -14.28
102 | 2024-02-07 | 20 | 6 | 48.21 | Yes | 33.93 | -14.28
103 | 2024-02-07 | 20 | 7 | 48.49 | Yes | 33.93 | -14.56
104 | 2024-02-07 | 20 | 8 | 48.49 | Yes | 33.93 | -14.56
105 | 2024-02-07 | 20 | 9 | 49.03 | Yes | 33.93 | -15.1
106 | 2024-02-07 | 20 | 10 | 48.49 | Yes | 33.93 | -14.56
107 | 2024-02-07 | 20 | 11 | 48.49 | Yes | 33.93 | -14.56
108 | 2024-02-07 | 20 | 12 | 49.03 | Yes | 33.93 | -15.1

## Price_Impact_B
Table 8: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2024-02-27 | 13 | 11 | -18.5774 | Yes | -25 | -6.4226
2 | 2024-02-27 | 13 | 12 | -18.5792 | Yes | -25 | -6.4208
3 | 2024-02-27 | 14 | 1 | -18.6912 | Yes | 1 | 19.6912
4 | 2024-02-27 | 14 | 2 | -18.584 | Yes | 1 | 19.584
5 | 2024-02-27 | 14 | 3 | -18.5935 | Yes | 1 | 19.5935
6 | 2024-02-27 | 14 | 4 | -17.3965 | Yes | 1 | 18.3965
7 | 2024-02-27 | 14 | 5 | -17.3233 | Yes | 1 | 18.3233
8 | 2024-02-27 | 14 | 6 | -17.7709 | Yes | 1 | 18.7709

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
Total |  | 0 | 0 | 0