## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for March 2024
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2024-03-02 | 30 - 48 | No | INC | 22 | 45353.0938 | 45354 | 0.60303 | 67860.73 | 0 | 68.6434 | -5.1101 | 0 | 66.1762 | -0.93725 | 0 | 0
2 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2024-03-03 | 30 - 60 | No | INC | 24 | 45354 | 45355 | 10.8931 | 64696.24 | 0 | -1017.9694 | -1.8315 | 0 | 23.7174 | 0 | 0 | 0
3 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2024-03-04 | 30 | No | DEC | 5 | 45355.7083 | 45355.9062 | 0.95567 | 0 | 0 | -40.8873 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Conditions beyond the control of the CAISO | PGAE | Humboldt | 2024-03-04 | 30 - 60 | No | INC | 22 | 45355 | 45355.9062 | 7.3771 | 67860.73 | 0 | -520.2237 | -1.8592 | 0 | 24.0762 | -5.4339 | 0 | 0
5 | RT | Fast Start Unit Management | PGAE | NA | 2024-03-14 | 0 | No | INC | 1 | 45365.6042 | 45365.6458 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
6 | RT | Fast Start Unit Management | PGAE | NA | 2024-03-17 | 0 | No | INC | 1 | 45368.4271 | 45368.4688 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
7 | RT | Fast Start Unit Management | SCE | LA Basin | 2024-03-11 | 0 | No | INC | 2 | 45362.5729 | 45362.6458 | -35.2188 | 0 | 0 | -1725.0807 | -35.2188 | 0 | -1725.0807 | 0 | 0 | 0
8 | RT | Fast Start Unit Management | SCE | LA Basin | 2024-03-12 | 0 | No | INC | 2 | 45363.3333 | 45363.3958 | -5.8333 | 196.8083 | 0 | 0 | -5.8333 | 0 | 0 | 0 | 0 | 0
9 | RT | Fast Start Unit Management | SCE | LA Basin | 2024-03-13 | 0 | No | INC | 1 | 45364.3299 | 45364.3646 | -2.5 | 71.5667 | 0 | 0 | -2.5 | 0 | 0 | 0 | 0 | 0
10 | RT | Fast Start Unit Management | SCE | LA Basin | 2024-03-16 | 0 | No | INC | 2 | 45367.8056 | 45367.875 | -94.9375 | 0 | 0 | 0 | -94.9375 | 0 | 0 | 0 | 0 | 0
11 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2024-03-03 | 0 | No | DEC | 4 | 45354.4375 | 45354.6042 | -58.3424 | 0 | 0 | -3195.1301 | -62.0008 | 0 | -3477.5326 | 0 | 0 | 0
12 | RT | Other Reliability Requirement | SCE | Big Creek-Ventura | 2024-03-03 | 0 | No | INC | 4 | 45354.4444 | 45354.6042 | -0.45169 | 0 | 0 | -26.3307 | 0 | 0 | 0 | -277.0911 | 0 | 0
13 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-03-05 | 290 - 510 | No | INC | 18 | 45356.25 | 45357 | -38.8892 | 125288.1 | 0 | 1328.8892 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Planned Transmission Outage | PGAE | Bay Area | 2024-03-23 | 175 | No | INC | 11 | 45374.25 | 45374.6979 | -103.0679 | 82064.425 | 19334.13 | 3092.2709 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-03-05 | 20 | No | INC | 8 | 45356.2917 | 45356.625 | -41.7133 | 22016.08 | 597.31 | 1964.8268 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-03-18 | 20 - 25 | No | INC | 7 | 45369.5382 | 45369.7917 | 20.6233 | 28893.9225 | 1120.88 | -383.6112 | 2.9167 | -69.5501 | 0 | 0 | -603.742 | 0
17 | RT | Planned Transmission Outage | PGAE | Sierra | 2024-03-20 | 20 - 25 | Yes | INC | 10 | 45371.5208 | 45371.9167 | 9.1842 | 39861.035 | 557.25 | 368.4753 | 1.0417 | 30.0951 | 0 | 0 | -2177.9745 | 0
18 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-03-19 | 89 | No | INC | 10 | 45370.3333 | 45370.7292 | 68.3313 | 36086.925 | 0 | -882.0101 | 0 | 0 | 0 | 0 | -37.4285 | 0
19 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-03-21 | 5 | No | INC | 1 | 45372.2639 | 45372.3021 | 0.52413 | 0 | 0 | -0.40921 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Planned Transmission Outage | PGAE | Stockton | 2024-03-22 | 145 | No | INC | 7 | 45373.3854 | 45373.6667 | -1.8437 | 15337.19 | 0 | -15.9343 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Planned Transmission Outage | PGAE | NA | 2024-03-04 | 350 - 480 | No | DEC | 3 | 45355.7986 | 45355.9167 | 961.9676 | -4687.2093 | 0 | -59763.7957 | -44.9991 | 0 | 3089.2468 | 0 | -25917.1655 | 0
22 | RT | Planned Transmission Outage | SCE | NA | 2024-03-05 | 30 | No | DEC | 7 | 45356.4688 | 45356.7292 | -34.5255 | 0 | 0 | -4993.0662 | -36.1208 | 0 | -6096.1849 | 0 | -179.2492 | 0
23 | RT | Planned Transmission Outage | SCE | NA | 2024-03-06 | 30 | No | DEC | 4 | 45357.4444 | 45357.6042 | -19.8868 | 0 | 0 | -2218.162 | -24.7834 | 0 | -4043.8985 | 0 | -312.4435 | 0
24 | RT | Planned Transmission Outage | SCE | NA | 2024-03-27 | 5 - 40 | No | DEC | 6 | 45378.375 | 45378.6042 | 9.9809 | 0 | 0 | 795.5405 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Reliability Assessment | PGAE | Humboldt | 2024-03-01 | 30 | No | INC | 10 | 45352 | 45352.3958 | 8.135 | 12562.29 | 0 | -269.9322 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Reliability Assessment | PGAE | Sierra | 2024-03-19 | 42 | No | INC | 1 | 45370.8333 | 45370.875 | 42.3871 | 0 | 0 | -1323.2808 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | SOC Charge | PGAE | NA | 2024-03-19 | -137 | No | DEC | 1 | 45370.6076 | 45370.625 | -54.2292 | 0 | 0 | -3804.176 | -54.2292 | 0 | -3804.176 | 0 | 0 | 0
28 | RT | Software Limitation | SCE | LA Basin | 2024-03-29 | 0 | No | INC | 1 | 45380.4514 | 45380.4792 | -2.5 | 76.6917 | 0 | -124.1635 | -2.5 | 0 | -124.1635 | 0 | 0 | 0
29 | RT | Unit Testing | Intertie | NA | 2024-03-13 | 15 | No | DEC | 1 | 45364.5521 | 45364.5799 | -16.23 | 0 | 0 | -514.1734 | -8.7633 | 0 | -276.9228 | 0 | 0 | 0
30 | RT | Unit Testing | PGAE | Bay Area | 2024-03-28 | 133 - 274 | No | INC | 5 | 45379.5625 | 45379.7396 | -130.2392 | 0 | 0 | 3400.2263 | -0.0091667 | 0 | 0.25873 | 0 | 0 | 0
31 | RT | Unit Testing | PGAE | Fresno | 2024-03-28 | 142 | No | INC | 1 | 45379.9514 | 45379.9722 | 71 | 0 | 0 | -6453.19 | 71 | -6453.19 | 0 | 0 | 0 | 0
32 | RT | Unit Testing | PGAE | NA | 2024-03-05 | 81 | No | INC | 1 | 45356.4028 | 45356.4306 | 11.25 | 2403.8667 | 0 | -514.3567 | 11.4583 | -507.2521 | 0 | 0 | 0 | 0
33 | RT | Unit Testing | PGAE | NA | 2024-03-06 | 60 | No | INC | 1 | 45357.6319 | 45357.6632 | 27.735 | 0 | 0 | -4979.6352 | 28.36 | -5024.2576 | 0 | 0 | 0 | 0
34 | RT | Unit Testing | SCE | Big Creek-Ventura | 2024-03-20 | -40.68 | No | DEC | 1 | 45371.5278 | 45371.5556 | 17.6175 | 0 | 0 | -785.5016 | 17.9438 | -769.2498 | 0 | 0 | 0 | 0
35 | RT | Unit Testing | SCE | LA Basin | 2024-03-08 | 150 | No | INC | 1 | 45359.9826 | 45360 | 62.4396 | 0 | 0 | -2914.8788 | 1.1896 | -83.6396 | 0 | 0 | 0 | 0
36 | RT | Unit Testing | SCE | LA Basin | 2024-03-09 | 150 | No | INC | 1 | 45360 | 45360.0104 | 37.4698 | 0 | 0 | -1361.6968 | 0.69479 | -30.0706 | 0 | 0 | 0 | 0
37 | RT | Unit Testing | SCE | LA Basin | 2024-03-11 | 67.93 | No | INC | 1 | 45362.4931 | 45362.5208 | 94.9688 | 2805.2375 | 0 | 3000.404 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Unit Testing | SCE | LA Basin | 2024-03-16 | 125 | No | INC | 1 | 45367.7153 | 45367.7431 | 79.6615 | 0 | 0 | -3098.1082 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Unit Testing | SCE | LA Basin | 2024-03-18 | 150 | No | INC | 1 | 45369.4132 | 45369.441 | 87.4062 | 0 | 0 | 354.2435 | 1.6875 | -99.2419 | 0 | 0 | 0 | 0
40 | RT | Unit Testing | SCE | LA Basin | 2024-03-25 | 44.22 | No | INC | 1 | 45376.6424 | 45376.6736 | 13.9417 | 1580.7 | 0 | 40.0437 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Unit Testing | SCE | LA Basin | 2024-03-27 | 96 | No | INC | 1 | 45378.4549 | 45378.4861 | 62.5012 | 0 | 0 | 246.5925 | 30.4746 | -1300.3633 | 0 | 0 | 0 | 0
42 | RT | Unit Testing | SCE | NA | 2024-03-16 | 125 | No | INC | 1 | 45367.7743 | 45367.8056 | 98.9145 | 0 | 0 | -6397.5552 | 92.4479 | -6133.8388 | 0 | 0 | 0 | 0
43 | RT | Unit Testing | SDGE | San Diego-IV | 2024-03-11 | 95.4 | No | INC | 1 | 45362.4896 | 45362.5174 | 62.0878 | 588.0683 | 0 | -620.7311 | 30.7478 | -1606.5732 | 0 | 0 | 0 | 0
44 | RT | Unplanned Outage | PGAE | Humboldt | 2024-03-01 | 30 - 60 | No | INC | 16 | 45352.3611 | 45353 | 32.2494 | 54436.585 | 981.4613 | -2555.1506 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Unplanned Outage | PGAE | Humboldt | 2024-03-02 | 30 - 60 | No | INC | 3 | 45353 | 45353.0938 | -0.59583 | 7208.005 | 0 | 29.6938 | -1.27 | 0 | 16.4465 | 0 | 0 | 0
46 | RT | Unplanned Outage | PGAE | Humboldt | 2024-03-23 | 15 - 60 | No | INC | 5 | 45374.7812 | 45374.9583 | 15.7504 | 10824.5475 | 918.57 | -472.0436 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Voltage Support | PGAE | Bay Area | 2024-03-09 | 142 | No | DEC | 3 | 45360.2014 | 45360.2917 | -20.2602 | 0 | 0 | 889.3942 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Voltage Support | PGAE | Bay Area | 2024-03-09 | 142 | No | INC | 5 | 45360.2917 | 45360.5 | 19.2596 | 35513.2 | 0 | -629.6418 | 0 | 0 | 0 | 0 | -18.0669 | 0
49 | RT | Voltage Support | PGAE | Fresno | 2024-03-22 | 21 - 35 | No | INC | 1 | 45373.9896 | 45374 | 11.8125 | 0 | 0 | -312.8982 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Voltage Support | PGAE | Fresno | 2024-03-23 | 21 - 35 | No | INC | 8 | 45374 | 45374.3333 | 19.25 | 42361.0925 | 798.24 | -559.4192 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Voltage Support | PGAE | Fresno | 2024-03-24 | 21 | No | INC | 8 | 45375 | 45375.3333 | 10.0625 | 14121.9725 | 315.1 | -257.1605 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Voltage Support | PGAE | Fresno | 2024-03-31 | 21 - 35 | No | INC | 23 | 45382.0486 | 45383 | 30.4792 | 120190.5 | 323.22 | -933.7191 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Voltage Support | PGAE | Humboldt | 2024-03-04 | 15 | No | DEC | 2 | 45355.8958 | 45355.9583 | -1.8912 | 0 | 0 | 120.5055 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Voltage Support | PGAE | Humboldt | 2024-03-04 | 15 - 45 | No | INC | 3 | 45355.8958 | 45356 | -8.4696 | 7208.005 | 0 | 362.2264 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Voltage Support | PGAE | Humboldt | 2024-03-05 | 15 | No | DEC | 24 | 45356 | 45357 | 0.21167 | 0 | 0 | -54.5198 | 0 | 0 | 0 | 0 | 0 | 0
56 | RT | Voltage Support | PGAE | Humboldt | 2024-03-05 | 15 - 45 | No | INC | 24 | 45356 | 45357 | -8.3785 | 18009.625 | 0 | 414.1877 | 0 | 0 | 0 | 0 | -111.3331 | 0
57 | RT | Voltage Support | PGAE | Humboldt | 2024-03-06 | 15 | No | DEC | 23 | 45357 | 45357.9583 | 3.4685 | -70057.7484 | 0 | -147.4033 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Voltage Support | PGAE | Humboldt | 2024-03-06 | 15 | No | INC | 1 | 45357.9583 | 45358 | -0.22597 | 0 | 0 | 10.1635 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Voltage Support | PGAE | Humboldt | 2024-03-07 | 15 - 30 | No | INC | 24 | 45358 | 45359 | 2.9146 | 26273.8 | 0 | -616.565 | 0 | 0 | 0 | 0 | -1501.0272 | 0
60 | RT | Voltage Support | PGAE | Humboldt | 2024-03-08 | 15 - 30 | No | DEC | 15 | 45359.3021 | 45359.9167 | 7.0602 | -12785.3762 | 0 | -213.1468 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Voltage Support | PGAE | Humboldt | 2024-03-08 | 15 - 30 | No | INC | 24 | 45359 | 45360 | -6.7792 | 29132.7175 | 0 | 202.3261 | 0 | 0 | 0 | 0 | -463.2444 | 0
62 | RT | Voltage Support | PGAE | Humboldt | 2024-03-09 | 15 | No | DEC | 23 | 45360 | 45360.9583 | 1.3558 | -13389.3216 | 0 | -44.9209 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Voltage Support | PGAE | Humboldt | 2024-03-09 | 15 | No | INC | 24 | 45360 | 45361 | -2.9919 | 14602.98 | 0 | 28.3405 | 0 | 0 | 0 | 0 | -47.9943 | 0
64 | RT | Voltage Support | PGAE | Humboldt | 2024-03-10 | 15 | No | DEC | 1 | 45361 | 45361.0417 | 1.3558 | 0 | 0 | -51.8966 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Voltage Support | PGAE | Humboldt | 2024-03-10 | 15 | No | INC | 23 | 45361 | 45362 | 2.2225 | 18775.26 | 0 | 6.385 | 0 | 0 | 0 | 0 | -258.1067 | 0
66 | RT | Voltage Support | PGAE | Humboldt | 2024-03-11 | 15 - 45 | No | INC | 24 | 45362 | 45363 | 19.1517 | 39810.655 | 0 | -1229.8715 | 0 | 0 | 0 | 0 | -25.5949 | 0
67 | RT | Voltage Support | PGAE | Humboldt | 2024-03-12 | 30 - 45 | No | INC | 24 | 45363 | 45364 | 18.0267 | 36785.545 | 0 | -708.0518 | 0 | 0 | 0 | 0 | -201.203 | 0
68 | RT | Voltage Support | PGAE | Humboldt | 2024-03-13 | 30 - 60 | No | INC | 24 | 45364 | 45365 | 0.78042 | 49585.38 | 0 | -685.9282 | 0 | 0 | 0 | 0 | -96.9129 | 0
69 | RT | Voltage Support | PGAE | Humboldt | 2024-03-14 | 15 - 60 | No | INC | 24 | 45365 | 45366 | -6.9037 | 38103.6608 | 0 | -548.9786 | 0.45833 | -4.0754 | 0 | 0 | -23.6063 | 0
70 | RT | Voltage Support | PGAE | Humboldt | 2024-03-15 | 30 | No | DEC | 5 | 45366.7083 | 45366.9167 | -0.45194 | -6319.4172 | 0 | 29.767 | 0 | 0 | 0 | 0 | 0 | 0
71 | RT | Voltage Support | PGAE | Humboldt | 2024-03-15 | 30 | No | INC | 17 | 45366 | 45366.7083 | 1.3558 | 16128.25 | 0 | -45.6311 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Voltage Support | PGAE | Humboldt | 2024-03-16 | 15 - 30 | No | INC | 22 | 45367.1042 | 45368 | 1.4158 | 23677.595 | 0 | -27.5818 | 0 | 0 | 0 | 0 | -100.2319 | 0
73 | RT | Voltage Support | PGAE | Humboldt | 2024-03-17 | 15 | No | DEC | 6 | 45368.75 | 45369 | -0.67792 | -11494.9476 | 0 | 44.5906 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Voltage Support | PGAE | Humboldt | 2024-03-17 | 15 | No | INC | 18 | 45368 | 45368.75 | -4.1876 | 9758.935 | 0 | 197.6863 | 0 | 0 | 0 | 0 | -409.6213 | 0
75 | RT | Voltage Support | PGAE | Humboldt | 2024-03-18 | 15 - 30 | No | DEC | 8 | 45369 | 45369.3333 | 3.9235 | -15735.5973 | 0 | -209.2262 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Voltage Support | PGAE | Humboldt | 2024-03-18 | 15 - 30 | No | INC | 16 | 45369.3333 | 45370 | -0.38583 | 16638.31 | 0 | 6.7934 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Voltage Support | PGAE | Humboldt | 2024-03-19 | 15 | No | DEC | 24 | 45370 | 45371 | -3.3896 | 162.6475 | 0 | 135.4816 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Voltage Support | PGAE | Humboldt | 2024-03-19 | 30 | No | INC | 14 | 45370.3229 | 45370.875 | 0.76854 | 14963.57 | 0 | -129.4166 | 0 | 0 | 0 | 0 | -1.4026 | 0
79 | RT | Voltage Support | PGAE | Humboldt | 2024-03-20 | 15 | No | DEC | 8 | 45371 | 45371.3056 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
80 | RT | Voltage Support | PGAE | Humboldt | 2024-03-20 | 30 | No | INC | 17 | 45371.3056 | 45372 | 7.8717 | 17882.34 | 0 | -268.8063 | 0 | 0 | 0 | 0 | -462.6989 | 0
81 | RT | Voltage Support | PGAE | Humboldt | 2024-03-21 | 15 - 30 | No | INC | 24 | 45372 | 45373 | -4.7683 | 17198.11 | 0 | 169.0309 | 0 | 0 | 0 | 0 | -264.2999 | 0
82 | RT | Voltage Support | PGAE | Humboldt | 2024-03-22 | 15 | No | INC | 24 | 45373 | 45374 | 0.10583 | 9621.75 | 0 | -7.4345 | 0 | 0 | 0 | 0 | -3.2892 | 0
83 | RT | Voltage Support | PGAE | Humboldt | 2024-03-23 | 15 - 60 | No | INC | 24 | 45374 | 45375 | 8.6152 | 36134.1175 | 0 | -325.4543 | 0 | 0 | 0 | 0 | -214.4754 | 0
84 | RT | Voltage Support | PGAE | Humboldt | 2024-03-24 | 30 - 45 | No | INC | 24 | 45375 | 45376 | -3.0033 | 31218.6225 | 0 | 32.7377 | 0 | 0 | 0 | 0 | -167.8921 | 0
85 | RT | Voltage Support | PGAE | Humboldt | 2024-03-25 | 15 - 60 | No | INC | 24 | 45376 | 45377 | 7.1048 | 40631.2725 | 0 | -260.2052 | 0.27781 | -2.9388 | 0 | 0 | -313.4806 | 0
86 | RT | Voltage Support | PGAE | Humboldt | 2024-03-26 | 30 - 60 | No | INC | 24 | 45377 | 45378 | -8.7258 | 55096.9025 | 0 | 140.3324 | 0 | 0 | 0 | 0 | -896.3931 | 0
87 | RT | Voltage Support | PGAE | Humboldt | 2024-03-27 | 15 - 45 | No | INC | 24 | 45378 | 45379 | 11.4702 | 40116.505 | 256.1816 | -241.3143 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Voltage Support | PGAE | Humboldt | 2024-03-28 | 15 | No | DEC | 8 | 45379 | 45379.2951 | 0.67792 | 0 | 0 | -32.4404 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Voltage Support | PGAE | Humboldt | 2024-03-28 | 15 - 30 | No | INC | 24 | 45379 | 45380 | -1.556 | 39087.1325 | 0 | -75.909 | 0 | 0 | 0 | 0 | -1.1278 | 0
90 | RT | Voltage Support | PGAE | Humboldt | 2024-03-29 | 15 - 30 | No | INC | 24 | 45380 | 45381 | -1.2094 | 33073.7275 | 0 | -319.0417 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Voltage Support | PGAE | Humboldt | 2024-03-30 | 15 | No | DEC | 10 | 45381 | 45381.4167 | 1.3558 | 0 | 0 | -66.0801 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Voltage Support | PGAE | Humboldt | 2024-03-30 | 15 - 30 | No | INC | 24 | 45381 | 45382 | -2.7517 | 33548.47 | 0 | 27.3529 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Voltage Support | PGAE | Humboldt | 2024-03-31 | 15 | No | DEC | 24 | 45382 | 45383 | 1.2798 | 0 | 0 | -62.4597 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Voltage Support | PGAE | Humboldt | 2024-03-31 | 15 - 30 | No | INC | 24 | 45382 | 45383 | -5.5224 | 17407.225 | 0 | 152.8114 | 0 | 0 | 0 | 0 | -354.1952 | 0
95 | RT | Voltage Support | PGAE | Sierra | 2024-03-19 | 20 - 25 | Yes | INC | 9 | 45370.4375 | 45370.7917 | 5.1025 | 39542.71 | 1120.82 | 41.5171 | 1 | -15.9168 | 0 | 0 | -1398.4334 | 0
96 | RT | Voltage Support | PGAE | Sierra | 2024-03-31 | 20 - 42 | Yes | INC | 12 | 45382.5104 | 45383 | 10 | 1256.1 | 5417.65 | 188.353 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Voltage Support | PGAE | NA | 2024-03-01 | 62 - 65 | No | INC | 24 | 45352 | 45353 | -4.4836 | 220007.48 | 0 | 141.2184 | 0 | 0 | 0 | 0 | 0 | 0
98 | RT | Voltage Support | PGAE | NA | 2024-03-02 | 62 - 65 | No | DEC | 19 | 45353.2083 | 45354 | -8.8047 | 0 | 0 | 287.9248 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Voltage Support | PGAE | NA | 2024-03-02 | 62 - 65 | No | INC | 17 | 45353 | 45353.7083 | 331.5011 | 0 | 0 | -11611.2473 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Voltage Support | PGAE | NA | 2024-03-03 | 62 - 103 | No | DEC | 24 | 45354 | 45355 | 229.2072 | -2176.0416 | 0 | -6234.8885 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Voltage Support | PGAE | NA | 2024-03-03 | 62 - 103 | No | INC | 10 | 45354.2917 | 45354.7083 | 38.746 | 70583.66 | 0 | 1633.5781 | 0 | 0 | 0 | 0 | -251.1925 | 0
102 | RT | Voltage Support | PGAE | NA | 2024-03-04 | 62 - 65 | No | DEC | 7 | 45355 | 45355.2917 | 162.4146 | 0 | 0 | -5916.3249 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Voltage Support | PGAE | NA | 2024-03-04 | 62 - 65 | No | INC | 17 | 45355.2917 | 45356 | 32.1667 | 169800.25 | 0 | -887.937 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Voltage Support | PGAE | NA | 2024-03-05 | 50 - 65 | No | INC | 24 | 45356 | 45357 | 123.7661 | 93526.1475 | 0 | -860.6089 | 6.4583 | -285.7646 | 0 | 0 | 0 | 0
105 | RT | Voltage Support | PGAE | NA | 2024-03-08 | 50 | No | DEC | 4 | 45359.8681 | 45360 | 27.0692 | 6357.195 | 0 | -1051.7896 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Voltage Support | PGAE | NA | 2024-03-09 | 62 - 100 | No | INC | 21 | 45360.125 | 45361 | 12.2924 | 106252.37 | 24291.62 | -284.8719 | 0.91687 | -32.5582 | 0 | 0 | -0.90775 | 0
107 | RT | Voltage Support | PGAE | NA | 2024-03-10 | 65 - 100 | No | INC | 20 | 45361.1979 | 45362 | -33.6715 | 67401.3 | 8097.43 | 2076.0839 | 1.0731 | 0 | 0 | 0 | 0 | 0
108 | RT | Voltage Support | PGAE | NA | 2024-03-11 | 65 - 100 | No | INC | 7 | 45362 | 45362.2917 | -116.7893 | 55820.94 | 0 | 4113.0062 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Voltage Support | PGAE | NA | 2024-03-12 | 49 | No | DEC | 7 | 45363.0556 | 45363.3333 | 20.8802 | -9887.2817 | 1232.68 | -540.3765 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Voltage Support | PGAE | NA | 2024-03-24 | 48.95 | No | INC | 8 | 45375 | 45375.3333 | 19.1448 | 14201.04 | 513.76 | -508.3336 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Voltage Support | PGAE | NA | 2024-03-26 | 103 | No | DEC | 7 | 45377.0347 | 45377.2917 | 2.9546 | 0 | 0 | -79.4414 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Voltage Support | PGAE | NA | 2024-03-26 | 103 | No | INC | 4 | 45377.0417 | 45377.2083 | 16.4017 | 1861.78 | 0 | -687.5386 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Voltage Support | PGAE | NA | 2024-03-27 | 98 - 103 | No | DEC | 7 | 45378 | 45378.2917 | 111.5462 | 0 | 0 | -3085.9192 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Voltage Support | PGAE | NA | 2024-03-28 | 103 | No | DEC | 7 | 45379.0764 | 45379.3333 | -13.2717 | 0 | 0 | -137.3136 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Voltage Support | PGAE | NA | 2024-03-31 | 49 | No | DEC | 1 | 45382.9792 | 45383 | -9.9802 | -1876.0566 | 1169.12 | 326.4327 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Voltage Support | SCE | LA Basin | 2024-03-02 | 45.38 | No | INC | 9 | 45353.6458 | 45354 | -5.2283 | 10676.295 | 447.43 | -789.2261 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Voltage Support | SCE | LA Basin | 2024-03-03 | 45.38 | No | INC | 7 | 45354 | 45354.2917 | -2.7064 | 9151.11 | 0 | 157.5434 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Voltage Support | SCE | NA | 2024-03-30 | 225 | No | INC | 6 | 45381.566 | 45381.7917 | -47.4805 | 0 | 0 | 2142.1395 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 9: Price Impact Analysis Information for Pricing Node A in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2024-03-28 | 23 | 11 | 30.2626 | Yes | 48.77 | 18.5074
2 | 2024-03-28 | 23 | 12 | 29.8275 | Yes | 48.77 | 18.9425
3 | 2024-03-28 | 24 | 1 | 31.2211 | Yes | 48.77 | 17.5489
4 | 2024-03-28 | 24 | 2 | 31.6689 | Yes | 48.77 | 17.1011
5 | 2024-03-28 | 24 | 3 | 30.7869 | Yes | 48.77 | 17.9831
6 | 2024-03-28 | 24 | 4 | 29.9803 | Yes | 48.77 | 18.7897

## Price_Impact_B
Table 8: Price Impact Analysis Information for Pricing Node B in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2024-03-09 | 1 | 1 | 36.2406 | Yes | 54.15 | 17.9094
2 | 2024-03-09 | 1 | 2 | 36.2406 | Yes | 54.15 | 17.9094
3 | 2024-03-09 | 1 | 3 | 36.1491 | Yes | 54.15 | 18.0009

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
Total |  | 0 | 0 | 0