## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for November 2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Bridging Schedules | SCE | LA Basin | 2023-11-18 | 20 | No | INC | 1 | 45248.9583 | 45249 | -3.7496 | 1148.3 | 0 | 194.8421 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Fast Start Unit Management | PGAE | Fresno | 2023-11-28 | 0 | No | INC | 1 | 45258.5938 | 45258.6354 | -48.9192 | 4925.21 | 0 | 0 | -48.9192 | 0 | 0 | 0 | 0 | 0
3 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-11-02 | 0 | No | INC | 2 | 45232.0521 | 45232.1181 | -28.1233 | 448.725 | 0 | 0 | -28.1233 | 0 | 0 | 0 | 0 | 0
4 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-11-06 | 0 | No | INC | 1 | 45236.8646 | 45236.9062 | -10.025 | 561.5825 | 37.62 | 0 | -10.025 | 0 | 0 | 0 | 0 | 0
5 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-11-08 | 0 | No | INC | 2 | 45238.2778 | 45238.3229 | -5.0125 | 0 | 0 | 0 | -5.0125 | 0 | 0 | 0 | 0 | 0
6 | RT | Incomplete or Inaccurate Transmission | PGAE | Bay Area | 2023-11-14 | 54 | No | INC | 4 | 45244.6875 | 45244.8333 | -2.3042 | 16622.445 | 12050.52 | -257.073 | 0 | 0 | 0 | 0 | 0 | 0
7 | RT | Incomplete or Inaccurate Transmission | SCE | Big Creek-Ventura | 2023-11-13 | 700 | No | DEC | 4 | 45243.5694 | 45243.7083 | -30.2764 | -22793.8 | 0 | 1067.7419 | -21.4816 | 0 | 879.5779 | 0 | -8247.965 | 0
8 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-11-15 | 200 | No | INC | 5 | 45245.4375 | 45245.6458 | 49.6731 | 26453.275 | 0 | -7098.8763 | 0 | 0 | 0 | -10285.4825 | 0 | 0
9 | RT | Market Disruption | PGAE | Bay Area | 2023-11-09 | 300 | No | DEC | 1 | 45239.4757 | 45239.5 | -140.107 | 0 | 0 | 4902.622 | -140.3706 | 0 | 4926.0298 | 0 | 0 | 0
10 | RT | Other Reliability Requirement | SCE | LA Basin | 2023-11-23 | 0 | No | INC | 1 | 45253.0521 | 45253.0903 | -23.54 | 762.4229 | 0 | 197.4769 | -23.54 | 0 | 197.4769 | 0 | 0 | 0
11 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-11-01 | 15 | No | INC | 3 | 45231.375 | 45231.4688 | 33.8277 | 0 | 0 | -4476.2813 | 0 | 0 | 0 | 0 | 0 | 0
12 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-11-07 | 20 | No | INC | 7 | 45237.6458 | 45237.9167 | 302.325 | 0 | 0 | -20617.1879 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-11-12 | 20 | No | INC | 4 | 45242.8229 | 45242.9583 | 70.8938 | 0 | 0 | -3549.3961 | 0 | 0 | 0 | 0 | 0 | 0
14 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-01 | 15 - 30 | No | DEC | 24 | 45231 | 45232 | -6.9592 | -77107.1163 | 0 | 590.5044 | 0 | 0 | 0 | 0 | 0 | 0
15 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-01 | 30 | No | INC | 1 | 45231.9583 | 45232 | -0.23583 | 2281.625 | 0 | 20.7109 | 0 | 0 | 0 | 0 | 0 | 0
16 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-02 | 15 - 30 | No | DEC | 24 | 45232 | 45233 | -3.2819 | -64326.3024 | 0 | 243.3528 | 0 | 0 | 0 | 0 | 0 | 0
17 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-02 | 30 | No | INC | 16 | 45232 | 45232.6667 | 0.67792 | 33901.91 | 0 | -47.9984 | 0 | 0 | 0 | 0 | 0 | 0
18 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-03 | 15 - 30 | No | DEC | 22 | 45233 | 45233.9167 | -0.18007 | -39807.7389 | 0 | -23.2263 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-03 | 15 - 30 | No | INC | 24 | 45233 | 45234 | -0.22597 | 37199.16 | 0 | 13.8088 | 0 | 0 | 0 | 0 | 0 | 0
20 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-04 | 15 | No | DEC | 7 | 45234 | 45234.2917 | 1.3558 | 0 | 0 | -73.4115 | 0 | 0 | 0 | 0 | 0 | 0
21 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-04 | 15 - 30 | No | INC | 24 | 45234 | 45235 | -2.54 | 50433.24 | 0 | 32.8395 | 0 | 0 | 0 | 0 | -181.314 | 0
22 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-05 | 30 | No | INC | 22 | 45235 | 45235.875 | 0.4501 | 42674.28 | 0 | -8.7206 | 0 | 0 | 0 | 0 | -26.0787 | 0
23 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-13 | 15 | No | DEC | 8 | 45243.5833 | 45243.8854 | 0.90458 | -14873.1975 | 379.72 | -74.387 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-13 | 15 - 30 | No | INC | 7 | 45243.2986 | 45243.5833 | 16.9075 | 7045.715 | 569.58 | -900.8954 | 0 | 0 | 0 | 0 | 0 | 0
25 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-27 | 45 | No | DEC | 6 | 45257.6667 | 45257.9167 | 0.82 | 5659.505 | 0 | -45.422 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-11-27 | 45 | No | INC | 10 | 45257.2882 | 45257.6667 | 11.8994 | 15406.4692 | 0 | -1735.6827 | 0 | 0 | 0 | 0 | 0 | 0
27 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-11-20 | 20 | Yes | INC | 8 | 45250.2917 | 45250.6042 | 5.985 | 0 | 0 | -449.5041 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | NA | 2023-11-06 | 48.95 | No | DEC | 7 | 45236.4549 | 45236.7083 | -7.0096 | -10831.256 | 48.3752 | 267.9258 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | NA | 2023-11-06 | 48.95 | No | INC | 3 | 45236.4583 | 45236.5833 | -0.013734 | 20956.23 | 1741.5067 | -15.6003 | 0 | 0 | 0 | 0 | 0 | 0
30 | RT | Planned Transmission Outage | SCE | LA Basin | 2023-11-07 | 140 | No | INC | 6 | 45237.375 | 45237.625 | 5.6312 | 83005.08 | 0 | -52.0227 | 0 | 0 | 0 | 0 | -66.0607 | 0
31 | RT | Ramping Capacity | PGAE | Fresno | 2023-11-06 | 83 | No | INC | 1 | 45236.6597 | 45236.6667 | 30.7043 | 0 | 0 | -3070.706 | 0 | 0 | 0 | 0 | 0 | 0
32 | RT | Ramping Capacity | SCE | LA Basin | 2023-11-07 | 130 - 194 | No | INC | 2 | 45237.75 | 45237.8333 | -2.7043 | 0 | 0 | 76.3051 | 1.6735 | -194.4194 | 0 | 0 | 0 | 0
33 | RT | Ramping Capacity | SCE | LA Basin | 2023-11-08 | 100 - 194 | No | INC | 5 | 45238.625 | 45238.8125 | -279.1454 | 0 | 0 | 14235.4929 | 47.6066 | -8946.6764 | 0 | 0 | 0 | 0
34 | RT | Ramping Capacity | SCE | LA Basin | 2023-11-16 | 70 - 194 | No | INC | 5 | 45246.625 | 45246.8333 | -116.9864 | 0 | 0 | 10571.1005 | 0.67024 | -68.8142 | 0 | 0 | 0 | 0
35 | RT | Ramping Capacity | SCE | LA Basin | 2023-11-17 | 190 - 194 | No | INC | 5 | 45247.6875 | 45247.8646 | 23.6805 | 0 | 0 | -2353.5091 | 21.262 | -1981.5445 | 0 | 0 | 0 | 0
36 | RT | Ramping Capacity | SCE | LA Basin | 2023-11-30 | 190 - 194 | No | INC | 4 | 45260.6667 | 45260.8333 | -142.0126 | 0 | 0 | 12697.6237 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Reliability Assessment | PGAE | Bay Area | 2023-11-09 | 370 - 580 | No | DEC | 2 | 45239.4757 | 45239.5208 | 331.8521 | -6907.82 | 0 | -32263.8227 | -115.7063 | 0 | 4458.8298 | 0 | 0 | 0
38 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-04 | 15 | No | INC | 6 | 45234.7708 | 45235 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-05 | 15 | No | DEC | 3 | 45235 | 45235.0833 | 0.67792 | 0 | 0 | -32.0903 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-05 | 15 | No | INC | 19 | 45235.0833 | 45235.8646 | 0.42333 | 6789.09 | 0 | -15.319 | 0 | 0 | 0 | 0 | 0 | 0
41 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-21 | 15 | No | INC | 1 | 45251.9896 | 45252 | 0 | 265.425 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
42 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-22 | 15 | No | DEC | 6 | 45252.625 | 45252.875 | 1.3558 | 0 | 0 | -74.7639 | 0 | 0 | 0 | 0 | 0 | 0
43 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-22 | 15 | No | INC | 24 | 45252 | 45253 | 9.2268 | 24608.045 | 0 | -553.652 | 0 | 0 | 0 | 0 | 0 | 0
44 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-23 | 15 | No | DEC | 5 | 45253.6667 | 45253.875 | 1.3558 | 0 | 0 | -64.7852 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-23 | 15 | No | INC | 24 | 45253 | 45254 | -0.42333 | 32070.5 | 0 | 2.1929 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-24 | 15 | No | INC | 24 | 45254 | 45255 | 0.42333 | 39616.5 | 0 | -22.2891 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-25 | 15 | No | DEC | 9 | 45255.625 | 45256 | -1.9644 | -42947.2368 | 0 | 115.0748 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-25 | 15 | No | INC | 15 | 45255 | 45255.625 | -0.25243 | 20751.5 | 0 | 11.6441 | 0 | 0 | 0 | 0 | 0 | 0
49 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-26 | 15 | No | DEC | 9 | 45256 | 45256.375 | 0 | -44912.016 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
50 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-26 | 15 - 30 | No | INC | 15 | 45256.375 | 45257 | 2.6328 | 28769.16 | 0 | -245.1153 | 0 | 0 | 0 | 0 | 0 | 0
51 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-27 | 15 | No | DEC | 20 | 45257.0833 | 45257.9167 | -1.0923 | -25732.2129 | 0 | 123.9788 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-27 | 15 | No | INC | 8 | 45257 | 45257.3021 | 4.8871 | 8725.0625 | 0 | -766.815 | 0 | 0 | 0 | 0 | 0 | 0
53 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-28 | 30 - 45 | No | DEC | 21 | 45258.125 | 45259 | 81.6877 | -96711.8886 | 0 | -8125.5166 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-29 | 30 | No | DEC | 24 | 45259 | 45260 | -12.7436 | -87087.1763 | 0 | 951.5299 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-30 | 30 | No | DEC | 23 | 45260 | 45260.9583 | -2.7117 | -28538.4579 | 0 | 230.0522 | 0 | 0 | 0 | 0 | 0 | 0
56 | RT | Reliability Assessment | PGAE | Humboldt | 2023-11-30 | 30 | No | INC | 24 | 45260 | 45261 | 0 | 53442.72 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Reliability Assessment | PGAE | NCNB | 2023-11-14 | 80 | No | INC | 4 | 45244.7569 | 45244.9167 | 30.3583 | 0 | 0 | -2591.8939 | 0 | 0 | 0 | 0 | 0 | 0
58 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-11-02 | 70 | No | DEC | 3 | 45232.0069 | 45232.125 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
59 | RT | Reliability Assessment | SCE | Big Creek-Ventura | 2023-11-02 | 45 - 70 | No | INC | 3 | 45232.0035 | 45232.125 | 99.2102 | 135461.5335 | 0 | -4825.0563 | 15.5222 | -1349.317 | 0 | 0 | 0 | 0
60 | RT | Reliability Assessment | SCE | LA Basin | 2023-11-01 | 270 | No | INC | 1 | 45231.9965 | 45232 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Reliability Assessment | SCE | LA Basin | 2023-11-02 | 200 | No | DEC | 2 | 45232.0139 | 45232.0833 | -287.1641 | -36128.2996 | 0 | 17843.3249 | -238.0675 | 0 | 14862.1254 | 0 | 0 | 0
62 | RT | Reliability Assessment | SCE | LA Basin | 2023-11-02 | 95 - 300 | No | INC | 3 | 45232 | 45232.125 | 477.8205 | 155233.3433 | 0 | -43981.0793 | 453.9441 | -42494.7299 | 0 | 0 | 0 | 0
63 | RT | Reliability Assessment | SCE | NA | 2023-11-01 | 492 | No | DEC | 1 | 45231.9931 | 45232 | -5.8807 | 1.7776 | 0 | 355.5316 | -5.214 | 0 | 309.7116 | 0 | 0 | 0
64 | RT | Reliability Assessment | SCE | NA | 2023-11-02 | 492 | No | DEC | 3 | 45232 | 45232.125 | 301.6558 | -50475.9967 | 0 | -18926.2789 | -37.6358 | 0 | 1947.9192 | 0 | 0 | 0
65 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-11-15 | 422 | No | INC | 1 | 45245.4028 | 45245.4375 | 266.125 | 6188.57 | 0 | -25655.1512 | 202.125 | -21316.1025 | 0 | 0 | 0 | 0
66 | RT | Software Limitation | SCE | LA Basin | 2023-11-22 | 38.85 - 47.08 | No | INC | 1 | 45252.8646 | 45252.8993 | 25.6883 | 2494.7967 | 0 | -1853.2291 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Unit Testing | PGAE | Fresno | 2023-11-14 | 72 - 100 | No | INC | 6 | 45244.4444 | 45244.6667 | 105.6656 | 0 | 0 | -5799.2134 | 35.6593 | -3237.5812 | 0 | 0 | 0 | 0
68 | RT | Unit Testing | PGAE | Fresno | 2023-11-18 | -310 | No | DEC | 1 | 45248.3646 | 45248.375 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
69 | RT | Unit Testing | SCE | LA Basin | 2023-11-29 | 33 | No | DEC | 1 | 45259.5764 | 45259.5833 | 1.4067 | 0 | 0 | -25.8199 | -0.0016667 | 0 | 0.03303 | 0 | 0 | 0
70 | RT | Unit Testing | SCE | LA Basin | 2023-11-29 | 33 | No | INC | 2 | 45259.5833 | 45259.6667 | 23.9217 | -2932.15 | 0 | -533.4666 | -0.0033333 | 0 | 0.3369 | 0 | 0 | 0
71 | RT | Unit Testing | SCE | NA | 2023-11-27 | -35 | No | DEC | 2 | 45257.1667 | 45257.25 | -31.1458 | 0 | 0 | 2136.6438 | -31.1458 | 0 | 2136.6438 | 0 | 0 | 0
72 | RT | Unit Testing | SDGE | San Diego-IV | 2023-11-26 | 160 - 310 | No | INC | 5 | 45256.6215 | 45256.7917 | 149.755 | 4633.2 | 0 | -12908.7977 | -86.095 | -143.261 | 1653.0489 | 0 | 0 | 0
73 | RT | Voltage Support | PGAE | Fresno | 2023-11-05 | -306 | No | DEC | 7 | 45235.0799 | 45235.3333 | 38.0917 | 0 | 0 | 579.9484 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Voltage Support | PGAE | Fresno | 2023-11-06 | -306 | No | DEC | 7 | 45236.0278 | 45236.2917 | -102 | 0 | 0 | 5305.4433 | 0 | 0 | 0 | 0 | 0 | 0
75 | RT | Voltage Support | PGAE | Fresno | 2023-11-07 | -306 | No | DEC | 6 | 45237.0417 | 45237.2917 | -73.475 | 0 | 0 | 3486.2132 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Voltage Support | PGAE | Fresno | 2023-11-08 | -306 | No | DEC | 7 | 45238.0069 | 45238.2917 | -175.525 | 0 | 0 | 8050.5085 | 0 | 0 | 0 | 0 | 0 | 0
77 | RT | Voltage Support | PGAE | Fresno | 2023-11-09 | -306 | No | DEC | 5 | 45239.1042 | 45239.2917 | -148.975 | 0 | 0 | 8639.6356 | 0 | 0 | 0 | 0 | 0 | 0
78 | RT | Voltage Support | PGAE | Fresno | 2023-11-12 | -306 | No | DEC | 7 | 45242.1042 | 45242.375 | -145.6042 | 0 | 0 | 6124.8505 | 0 | 0 | 0 | 0 | 0 | 0
79 | RT | Voltage Support | PGAE | Fresno | 2023-11-12 | -306 | No | INC | 2 | 45242.375 | 45242.4583 | -12.75 | 0 | 0 | 23.4124 | 0 | 0 | 0 | 0 | 0 | 0
80 | RT | Voltage Support | PGAE | Fresno | 2023-11-13 | -315 | No | DEC | 7 | 45243.0104 | 45243.2917 | -145.5667 | 0 | 0 | 7391.0695 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Voltage Support | PGAE | Fresno | 2023-11-16 | -300 | No | DEC | 7 | 45246.0312 | 45246.2917 | 10 | 0 | 0 | -672.7419 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Voltage Support | PGAE | Fresno | 2023-11-17 | -300 | No | DEC | 5 | 45247.0833 | 45247.2917 | -70.8208 | 0 | 0 | 5211.1661 | 0 | 0 | 0 | 0 | 0 | 0
83 | RT | Voltage Support | PGAE | Fresno | 2023-11-18 | -300 | No | DEC | 3 | 45248.1458 | 45248.25 | -72.1625 | 0 | 0 | 4605.9108 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Voltage Support | PGAE | Fresno | 2023-11-19 | -300 | No | DEC | 7 | 45249.0521 | 45249.3333 | -126.4687 | 0 | 0 | 7132.4394 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Voltage Support | PGAE | Fresno | 2023-11-20 | -300 | No | DEC | 24 | 45250 | 45251 | -60.4125 | 0 | 0 | 3565.2 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Voltage Support | PGAE | Fresno | 2023-11-21 | -383 | No | DEC | 22 | 45251 | 45251.9167 | 0.52399 | 0 | 0 | -31.3737 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Voltage Support | PGAE | Fresno | 2023-11-21 | 83 | Yes | INC | 2 | 45251.9167 | 45252 | 5.8742 | 17106.9 | 0 | -424.3885 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Voltage Support | PGAE | Fresno | 2023-11-22 | -300 | No | DEC | 24 | 45252.0243 | 45253 | -62.825 | 0 | 0 | 4870.0665 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Voltage Support | PGAE | Fresno | 2023-11-23 | -20 | No | DEC | 24 | 45253 | 45254 | 20.3958 | 0 | 0 | -1086.7062 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Voltage Support | PGAE | Fresno | 2023-11-23 | -383 | No | INC | 11 | 45253.375 | 45253.8333 | -17.0433 | 40135.3875 | 5700.893 | 131.844 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Voltage Support | PGAE | Fresno | 2023-11-24 | -403 | No | DEC | 17 | 45254 | 45254.7083 | 8.6771 | 0 | 0 | -410.4435 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Voltage Support | PGAE | Fresno | 2023-11-24 | 83 | No | INC | 2 | 45254.6354 | 45254.7083 | 0.56358 | 14187.2175 | 3000.47 | -39.6002 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Voltage Support | PGAE | Fresno | 2023-11-25 | 83 | No | DEC | 3 | 45255.8333 | 45255.9583 | -13.7773 | 0 | 0 | 1569.5024 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Voltage Support | PGAE | Fresno | 2023-11-25 | 83 | No | INC | 24 | 45255 | 45256 | 49.668 | 128301.8 | 0 | -2947.6249 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Voltage Support | PGAE | Fresno | 2023-11-26 | 83 | No | INC | 21 | 45256 | 45256.875 | 32.8978 | 134716.89 | 0 | -2224.3054 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Voltage Support | PGAE | Fresno | 2023-11-27 | 83 | No | INC | 22 | 45257.0833 | 45258 | 89.1115 | 58352.61 | 3000.47 | -7888.4885 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Voltage Support | PGAE | Fresno | 2023-11-28 | 83 | No | DEC | 2 | 45258.2083 | 45258.2917 | -61.9561 | 0 | 0 | 7695.8829 | 0 | 0 | 0 | 0 | 0 | 0
98 | RT | Voltage Support | PGAE | Fresno | 2023-11-28 | 83 | Yes | INC | 24 | 45258 | 45259 | 148.4947 | 105931.2 | 0 | -12965.9812 | 0 | 0 | 0 | 0 | 0 | 0
99 | RT | Voltage Support | PGAE | Fresno | 2023-11-29 | 83 | No | INC | 24 | 45259 | 45260 | 35.5773 | 56584.37 | 0 | -3300.3345 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Voltage Support | PGAE | Fresno | 2023-11-30 | 83 | No | INC | 7 | 45260 | 45260.2917 | 17.2177 | 73691.24 | 0 | -1402.7846 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Voltage Support | PGAE | Humboldt | 2023-11-05 | 15 | No | INC | 4 | 45235.8542 | 45236 | 0 | 1939.74 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Voltage Support | PGAE | Humboldt | 2023-11-06 | 15 | No | DEC | 9 | 45236.625 | 45237 | -5.1769 | -6079.5576 | 0 | 316.9359 | 0 | 0 | 0 | 0 | 0 | 0
103 | RT | Voltage Support | PGAE | Humboldt | 2023-11-06 | 15 | No | INC | 15 | 45236 | 45236.625 | 0 | 9698.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Voltage Support | PGAE | Humboldt | 2023-11-07 | 30 | No | DEC | 6 | 45237.6667 | 45237.9167 | 1.8478 | -1238.9332 | 0 | -149.1878 | 0 | 0 | 0 | 0 | 0 | 0
105 | RT | Voltage Support | PGAE | Humboldt | 2023-11-07 | 15 - 30 | No | INC | 24 | 45237 | 45238 | 3.9092 | 26074.75 | 0 | -151.1478 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Voltage Support | PGAE | Humboldt | 2023-11-08 | 30 | No | DEC | 23 | 45238 | 45238.9583 | -0.012361 | -22531.6104 | 0 | -22.9193 | 0 | 0 | 0 | 0 | 0 | 0
107 | RT | Voltage Support | PGAE | Humboldt | 2023-11-08 | 30 | No | INC | 1 | 45238.9583 | 45239 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
108 | RT | Voltage Support | PGAE | Humboldt | 2023-11-09 | 15 - 30 | No | DEC | 24 | 45239 | 45240 | 13.005 | 4142.8465 | 0 | -629.3392 | 0 | 0 | 0 | 0 | 0 | 0
109 | RT | Voltage Support | PGAE | Humboldt | 2023-11-10 | 15 - 30 | No | DEC | 24 | 45240 | 45241 | -6.7294 | -16490.0904 | 0 | 424.7086 | 0 | 0 | 0 | 0 | 0 | 0
110 | RT | Voltage Support | PGAE | Humboldt | 2023-11-10 | 30 | No | INC | 6 | 45240.375 | 45240.625 | 0 | 8208.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
111 | RT | Voltage Support | PGAE | Humboldt | 2023-11-11 | 15 | No | DEC | 24 | 45241 | 45242 | -2.3738 | -30518.4756 | 0 | 107.1211 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Voltage Support | PGAE | Humboldt | 2023-11-11 | 15 | No | INC | 8 | 45241.2917 | 45241.625 | -0.75514 | 4104.3 | 0 | 4.2152 | 0 | 0 | 0 | 0 | 0 | 0
113 | RT | Voltage Support | PGAE | Humboldt | 2023-11-12 | 15 | No | DEC | 22 | 45242 | 45242.9167 | 4.4569 | 1539.3552 | 0 | -268.3 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Voltage Support | PGAE | Humboldt | 2023-11-12 | 15 | No | INC | 23 | 45242.0417 | 45243 | -0.12014 | 13133.76 | 0 | -2.3819 | 0 | 0 | 0 | 0 | -32.938 | 0
115 | RT | Voltage Support | PGAE | Humboldt | 2023-11-13 | 15 - 30 | No | DEC | 9 | 45243.625 | 45244 | -3.9031 | -512.7898 | 0 | 224.2107 | 0 | 0 | 0 | 0 | 0 | 0
116 | RT | Voltage Support | PGAE | Humboldt | 2023-11-13 | 15 - 30 | No | INC | 15 | 45243 | 45243.625 | 0 | 11628.85 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
117 | RT | Voltage Support | PGAE | Humboldt | 2023-11-14 | 15 - 30 | No | DEC | 7 | 45244.625 | 45244.9167 | -0.70386 | 9628.7375 | 0 | 278.3236 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Voltage Support | PGAE | Humboldt | 2023-11-14 | 15 - 30 | No | INC | 24 | 45244 | 45245 | 1.2176 | 37994.4175 | 957.21 | -473.9603 | 0 | 0 | 0 | 0 | 0 | 0
119 | RT | Voltage Support | PGAE | Humboldt | 2023-11-15 | 15 - 30 | No | DEC | 23 | 45245 | 45245.9583 | -21.0367 | -64612.7115 | 0 | 1644.2257 | 0 | 0 | 0 | 0 | 0 | 0
120 | RT | Voltage Support | PGAE | Humboldt | 2023-11-15 | 15 | No | INC | 1 | 45245.9583 | 45246 | -1.8736 | 1937.3725 | 0 | 137.3862 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Voltage Support | PGAE | Humboldt | 2023-11-16 | 15 - 30 | No | DEC | 16 | 45246.2917 | 45246.9583 | 7.2095 | -15294.9844 | 0 | -1249.6869 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Voltage Support | PGAE | Humboldt | 2023-11-16 | 15 - 30 | No | INC | 24 | 45246 | 45247 | 8.1683 | 35184.6175 | 0 | -2879.2287 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Voltage Support | PGAE | Humboldt | 2023-11-17 | 15 - 30 | No | INC | 24 | 45247 | 45248 | 0.10187 | 34431.9025 | 0 | -9.7453 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Voltage Support | PGAE | Humboldt | 2023-11-18 | 15 | No | INC | 24 | 45248 | 45249 | -4.1333 | 23296.02 | 0 | 300.9837 | 0 | 0 | 0 | 0 | 0 | 0
125 | RT | Voltage Support | PGAE | Humboldt | 2023-11-19 | 15 - 30 | No | INC | 24 | 45249 | 45250 | 4.3583 | 37856.0325 | 0 | 29.0831 | 0.86458 | -1.8153 | 0 | 0 | -265.8774 | 0
126 | RT | Voltage Support | PGAE | Humboldt | 2023-11-20 | 15 | No | DEC | 5 | 45250.6667 | 45250.875 | 1.3558 | 0 | 0 | -115.1594 | 0 | 0 | 0 | 0 | 0 | 0
127 | RT | Voltage Support | PGAE | Humboldt | 2023-11-20 | 15 - 30 | No | INC | 24 | 45250 | 45251 | 17.8701 | 46327.3125 | 0 | -1407.0003 | 0 | 0 | 0 | 0 | 0 | 0
128 | RT | Voltage Support | PGAE | Humboldt | 2023-11-21 | 15 | No | DEC | 6 | 45251.6667 | 45251.9167 | 1.3558 | 0 | 0 | -88.4473 | 0 | 0 | 0 | 0 | 0 | 0
129 | RT | Voltage Support | PGAE | Humboldt | 2023-11-21 | 15 - 30 | No | INC | 24 | 45251 | 45252 | 3.0378 | 61578.6 | 0 | -206.8133 | 0 | 0 | 0 | 0 | 0 | 0
130 | RT | Voltage Support | PGAE | Sierra | 2023-11-01 | 20 | No | INC | 1 | 45231.9931 | 45232 | 2.5 | 0 | 0 | -174.2583 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Voltage Support | PGAE | Sierra | 2023-11-02 | 20 | Yes | INC | 7 | 45232 | 45232.2917 | 14.15 | 0 | 0 | -1138.2973 | 0 | 0 | 0 | 0 | 0 | 0
132 | RT | Voltage Support | PGAE | Sierra | 2023-11-04 | 20 | No | INC | 17 | 45234.3299 | 45235 | -29.9825 | 40728.74 | 0 | 1861.5688 | 0 | 0 | 0 | 0 | 0 | 0
133 | RT | Voltage Support | PGAE | Sierra | 2023-11-05 | 20 - 42 | No | INC | 25 | 45235 | 45236 | 74.2296 | 92768.57 | 0 | -1198.147 | 0 | 0 | 0 | 0 | 0 | 0
134 | RT | Voltage Support | PGAE | Sierra | 2023-11-06 | 42 | Yes | INC | 7 | 45236 | 45236.2917 | 3.5 | 4551.02 | 0 | -209.5544 | 0 | 0 | 0 | 0 | 0 | 0
135 | RT | Voltage Support | PGAE | Sierra | 2023-11-07 | 20 | No | INC | 24 | 45237.0208 | 45238 | 10.6425 | 14891.92 | 616.98 | -134.556 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Voltage Support | PGAE | Sierra | 2023-11-08 | 20 | No | INC | 24 | 45238 | 45239 | 21.3738 | 2722.22 | 0 | -1381.6565 | 0 | 0 | 0 | 0 | 0 | 0
137 | RT | Voltage Support | PGAE | Sierra | 2023-11-09 | 20 | No | DEC | 24 | 45239 | 45240 | 4.7129 | 0 | 0 | -325.7575 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Voltage Support | PGAE | Sierra | 2023-11-09 | 20 | No | INC | 6 | 45239.0417 | 45239.2917 | -3.6873 | 4.5 | 0 | 252.0289 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Voltage Support | PGAE | Sierra | 2023-11-10 | 20 | No | DEC | 1 | 45240.2083 | 45240.25 | -5.1437 | 0 | 0 | 304.8758 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Voltage Support | PGAE | Sierra | 2023-11-10 | 20 | No | INC | 7 | 45240 | 45240.2917 | -9.5633 | 1.38 | 0 | 579.2975 | 0 | 0 | 0 | 0 | 0 | 0
141 | RT | Voltage Support | PGAE | Sierra | 2023-11-11 | 20 | No | INC | 16 | 45241.1076 | 45241.75 | 14.2375 | 31650.135 | 0 | -662.2918 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Voltage Support | PGAE | Sierra | 2023-11-12 | 20 | Yes | INC | 18 | 45242.059 | 45242.7917 | -17.7717 | 29829.5733 | 0 | 1917.3322 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Voltage Support | PGAE | Sierra | 2023-11-18 | 20 | No | INC | 7 | 45248.1354 | 45248.4167 | 28.3558 | 7296.1325 | 0 | -2558.1947 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Voltage Support | PGAE | Sierra | 2023-11-19 | 20 | No | INC | 23 | 45249.059 | 45250 | 20.1917 | 9321.3633 | 632.97 | -15.0208 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Voltage Support | PGAE | Sierra | 2023-11-20 | 20 | No | INC | 7 | 45250 | 45250.2917 | 0.83333 | 0 | 0 | -59.8282 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 9: Price Impact Analysis Information for Pricing Node B in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2023-11-09 | 12 | 6 | 88.7966 | Yes | 28.14 | -60.6566
2 | 2023-11-09 | 12 | 7 | 88.5839 | Yes | 28.14 | -60.4439
3 | 2023-11-09 | 12 | 8 | 78.3941 | Yes | 28.14 | -50.2541
4 | 2023-11-09 | 12 | 9 | 80.2417 | Yes | 28.14 | -52.1017
5 | 2023-11-09 | 12 | 10 | 74.3448 | Yes | 28.14 | -46.2048
6 | 2023-11-09 | 12 | 11 | 88.4238 | Yes | 28.14 | -60.2838
7 | 2023-11-09 | 12 | 12 | 82.4833 | Yes | 28.14 | -54.3433

## Price_Impact_B
Table 8: Price Impact Analysis Information for Pricing Node A in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2023-11-02 | 1 | 1 | 73.35 | Yes | 104.54 | 31.19
2 | 2023-11-02 | 1 | 2 | 74.49 | Yes | 104.54 | 30.05
3 | 2023-11-02 | 1 | 3 | 73.35 | Yes | 104.54 | 31.19
4 | 2023-11-02 | 1 | 4 | 73.34 | Yes | 104.54 | 31.2
5 | 2023-11-02 | 1 | 5 | 73.34 | Yes | 104.54 | 31.2
6 | 2023-11-02 | 1 | 6 | 69.0988 | Yes | 104.54 | 35.4412
7 | 2023-11-02 | 1 | 7 | 72.3276 | Yes | 104.54 | 32.2124
8 | 2023-11-02 | 1 | 8 | 75.4 | Yes | 104.54 | 29.14
9 | 2023-11-02 | 1 | 9 | 72.178 | Yes | 104.54 | 32.362
10 | 2023-11-02 | 1 | 10 | 69.7203 | Yes | 104.54 | 34.8197
11 | 2023-11-02 | 1 | 11 | 66.0549 | Yes | 104.54 | 38.4851
12 | 2023-11-02 | 1 | 12 | 65.691 | Yes | 104.54 | 38.849
13 | 2023-11-02 | 2 | 1 | 74.5414 | Yes | 104.54 | 29.9986
14 | 2023-11-02 | 2 | 2 | 68.7747 | Yes | 104.54 | 35.7653
15 | 2023-11-02 | 2 | 3 | 66.6613 | Yes | 104.54 | 37.8787
16 | 2023-11-02 | 2 | 4 | 68.2953 | Yes | 104.54 | 36.2447
17 | 2023-11-02 | 2 | 5 | 68.1021 | Yes | 104.54 | 36.4379
18 | 2023-11-02 | 2 | 6 | 71.2183 | Yes | 104.54 | 33.3217
19 | 2023-11-02 | 2 | 7 | 67.0844 | Yes | 104.54 | 37.4556
20 | 2023-11-02 | 2 | 8 | 64.947 | Yes | 104.54 | 39.593
21 | 2023-11-02 | 2 | 9 | 64.6266 | Yes | 104.54 | 39.9134
22 | 2023-11-02 | 2 | 10 | 64.3675 | Yes | 104.54 | 40.1725
23 | 2023-11-02 | 2 | 11 | 61.0094 | Yes | 104.54 | 43.5306
24 | 2023-11-02 | 2 | 12 | 59.6915 | Yes | 104.54 | 44.8485
25 | 2023-11-02 | 3 | 1 | 60.3448 | Yes | 104.54 | 44.1952
26 | 2023-11-02 | 3 | 2 | 58.0294 | Yes | 104.54 | 46.5106
27 | 2023-11-02 | 3 | 3 | 58.1944 | Yes | 104.54 | 46.3456
28 | 2023-11-02 | 3 | 4 | 59.621 | Yes | 104.54 | 44.919
29 | 2023-11-02 | 3 | 5 | 60.7855 | Yes | 104.54 | 43.7545
30 | 2023-11-02 | 3 | 6 | 62.0566 | Yes | 104.54 | 42.4834
31 | 2023-11-02 | 3 | 7 | 60.0437 | Yes | 104.54 | 44.4963
32 | 2023-11-02 | 3 | 8 | 59.421 | Yes | 104.54 | 45.119
33 | 2023-11-02 | 3 | 9 | 61.8372 | Yes | 104.54 | 42.7028
34 | 2023-11-02 | 3 | 10 | 59.6678 | Yes | 104.54 | 44.8722
35 | 2023-11-02 | 3 | 11 | 58.2618 | Yes | 104.54 | 46.2782
36 | 2023-11-02 | 3 | 12 | 56.8901 | Yes | 104.54 | 47.6499
37 | 2023-11-07 | 19 | 1 | 67.9152 | Yes | 116.19 | 48.2748
38 | 2023-11-07 | 19 | 2 | 65.4306 | Yes | 116.19 | 50.7594
39 | 2023-11-07 | 19 | 3 | 66.6175 | Yes | 116.19 | 49.5725
40 | 2023-11-07 | 19 | 4 | 63.3993 | Yes | 116.19 | 52.7907
41 | 2023-11-07 | 19 | 5 | 63.2804 | Yes | 116.19 | 52.9096
42 | 2023-11-07 | 19 | 6 | 62.9513 | Yes | 116.19 | 53.2387
43 | 2023-11-07 | 19 | 7 | 60.7183 | Yes | 116.19 | 55.4717
44 | 2023-11-07 | 19 | 8 | 59.4814 | Yes | 116.19 | 56.7086
45 | 2023-11-07 | 19 | 9 | 58.2951 | Yes | 116.19 | 57.895
46 | 2023-11-07 | 19 | 10 | 56.5704 | Yes | 116.19 | 59.6196
47 | 2023-11-07 | 19 | 11 | 55.9959 | Yes | 116.19 | 60.1941
48 | 2023-11-07 | 19 | 12 | 55.3172 | Yes | 116.19 | 60.8728
49 | 2023-11-07 | 20 | 1 | 61.4237 | Yes | 116.19 | 54.7663
50 | 2023-11-07 | 20 | 2 | 56.3063 | Yes | 116.19 | 59.8837
51 | 2023-11-07 | 20 | 3 | 57.6566 | Yes | 116.19 | 58.5334
52 | 2023-11-07 | 20 | 4 | 60.6561 | Yes | 116.19 | 55.5339
53 | 2023-11-07 | 20 | 5 | 60.7856 | Yes | 116.19 | 55.4044
54 | 2023-11-07 | 20 | 6 | 60.7849 | Yes | 116.19 | 55.4051
55 | 2023-11-07 | 20 | 7 | 59.1728 | Yes | 116.19 | 57.0172
56 | 2023-11-07 | 20 | 8 | 58.8623 | Yes | 116.19 | 57.3277
57 | 2023-11-07 | 20 | 9 | 58.628 | Yes | 116.19 | 57.562
58 | 2023-11-07 | 20 | 10 | 59.0958 | Yes | 116.19 | 57.0942
59 | 2023-11-07 | 20 | 11 | 55.6538 | Yes | 116.19 | 60.5362
60 | 2023-11-07 | 20 | 12 | 55.269 | Yes | 116.19 | 60.921
61 | 2023-11-08 | 16 | 1 | 9.9583 | Yes | 103.02 | 93.0617
62 | 2023-11-08 | 16 | 2 | 13.6451 | Yes | 103.02 | 89.3749
63 | 2023-11-08 | 16 | 3 | 19.0386 | Yes | 103.02 | 83.9814
64 | 2023-11-08 | 16 | 4 | 24.2935 | Yes | 103.02 | 78.7265
65 | 2023-11-08 | 16 | 5 | 31.7183 | Yes | 103.02 | 71.3017
66 | 2023-11-08 | 16 | 6 | 37.4975 | Yes | 103.02 | 65.5225
67 | 2023-11-08 | 16 | 7 | 52.1213 | Yes | 103.02 | 50.8987
68 | 2023-11-08 | 16 | 8 | 53.699 | Yes | 103.02 | 49.321
69 | 2023-11-08 | 16 | 9 | 65.0021 | Yes | 103.02 | 38.0179
70 | 2023-11-08 | 16 | 10 | 87.3565 | Yes | 103.02 | 15.6635
71 | 2023-11-08 | 16 | 11 | 88.4795 | Yes | 103.02 | 14.5405
72 | 2023-11-08 | 16 | 12 | 88.9058 | Yes | 103.02 | 14.1142
73 | 2023-11-08 | 17 | 1 | 61.1668 | Yes | 103.02 | 41.8532
74 | 2023-11-08 | 17 | 2 | 57.9556 | Yes | 103.02 | 45.0644
75 | 2023-11-08 | 17 | 3 | 61.771 | Yes | 103.02 | 41.249
76 | 2023-11-08 | 17 | 4 | 66.0139 | Yes | 103.02 | 37.0061
77 | 2023-11-08 | 17 | 5 | 72.533 | Yes | 103.02 | 30.487
78 | 2023-11-08 | 17 | 6 | 80.08 | Yes | 103.02 | 22.94
79 | 2023-11-08 | 17 | 7 | 82.8377 | Yes | 103.02 | 20.1823
80 | 2023-11-08 | 17 | 8 | 82.8722 | Yes | 103.02 | 20.1478
81 | 2023-11-08 | 17 | 9 | 83.5362 | Yes | 103.02 | 19.4838
82 | 2023-11-08 | 17 | 10 | 82.9034 | Yes | 103.02 | 20.1166
83 | 2023-11-08 | 17 | 11 | 83.4073 | Yes | 103.02 | 19.6127
84 | 2023-11-08 | 17 | 12 | 83.4085 | Yes | 103.02 | 19.6115
85 | 2023-11-08 | 18 | 1 | 73.1757 | Yes | 103.02 | 29.8443
86 | 2023-11-08 | 18 | 2 | 68.303 | Yes | 103.02 | 34.7169
87 | 2023-11-08 | 18 | 3 | 68.1265 | Yes | 103.02 | 34.8935
88 | 2023-11-08 | 18 | 4 | 68.6981 | Yes | 103.02 | 34.3219
89 | 2023-11-08 | 18 | 5 | 70.7493 | Yes | 103.02 | 32.2707
90 | 2023-11-08 | 18 | 6 | 84.4703 | Yes | 103.02 | 18.5497
91 | 2023-11-08 | 18 | 7 | 81.3989 | Yes | 103.02 | 21.6211
92 | 2023-11-08 | 18 | 8 | 84.7128 | Yes | 103.02 | 18.3072
93 | 2023-11-08 | 18 | 9 | 74.7376 | Yes | 103.02 | 28.2824
94 | 2023-11-08 | 18 | 10 | 79.716 | Yes | 103.02 | 23.304
95 | 2023-11-08 | 18 | 11 | 78.331 | Yes | 103.02 | 24.689
96 | 2023-11-08 | 18 | 12 | 71.7597 | Yes | 103.02 | 31.2603
97 | 2023-11-08 | 19 | 1 | 73.8639 | Yes | 103.02 | 29.1561
98 | 2023-11-08 | 19 | 2 | 73.2542 | Yes | 103.02 | 29.7658
99 | 2023-11-08 | 19 | 3 | 69.1111 | Yes | 103.02 | 33.9089
100 | 2023-11-08 | 19 | 4 | 68.2554 | Yes | 103.02 | 34.7645
101 | 2023-11-08 | 19 | 5 | 68.1204 | Yes | 103.02 | 34.8996
102 | 2023-11-08 | 19 | 6 | 67.5215 | Yes | 103.02 | 35.4986
103 | 2023-11-08 | 19 | 7 | 64.5836 | Yes | 103.02 | 38.4364
104 | 2023-11-08 | 19 | 8 | 66.2394 | Yes | 103.02 | 36.7806
105 | 2023-11-08 | 19 | 9 | 66.2394 | Yes | 103.02 | 36.7806
106 | 2023-11-08 | 19 | 10 | 66.2425 | Yes | 103.02 | 36.7775
107 | 2023-11-08 | 19 | 11 | 67.471 | Yes | 103.02 | 35.549
108 | 2023-11-08 | 19 | 12 | 66.4051 | Yes | 103.02 | 36.6149
109 | 2023-11-08 | 20 | 1 | 78.1046 | Yes | 103.02 | 24.9154
110 | 2023-11-08 | 20 | 2 | 78.1453 | Yes | 103.02 | 24.8747
111 | 2023-11-08 | 20 | 3 | 72.1752 | Yes | 103.02 | 30.8448
112 | 2023-11-08 | 20 | 4 | 73.7129 | Yes | 102.84 | 29.1271
113 | 2023-11-08 | 20 | 5 | 69.8236 | Yes | 102.84 | 33.0164
114 | 2023-11-08 | 20 | 6 | 69.406 | Yes | 102.84 | 33.434
115 | 2023-11-16 | 16 | 1 | 61.3783 | Yes | 102.77 | 41.3917
116 | 2023-11-16 | 16 | 2 | 63.3054 | Yes | 102.77 | 39.4646
117 | 2023-11-16 | 16 | 3 | 66.7569 | Yes | 102.77 | 36.0131
118 | 2023-11-16 | 16 | 4 | 67.0293 | Yes | 102.77 | 35.7407
119 | 2023-11-16 | 16 | 5 | 75.7948 | Yes | 102.77 | 26.9752
120 | 2023-11-16 | 16 | 6 | 89.4607 | Yes | 102.77 | 13.3093
121 | 2023-11-16 | 16 | 7 | 88.0998 | Yes | 102.77 | 14.6702
122 | 2023-11-16 | 16 | 8 | 93.3506 | Yes | 102.77 | 9.4194
123 | 2023-11-16 | 16 | 9 | 94.7465 | Yes | 102.77 | 8.0235
124 | 2023-11-16 | 16 | 10 | 97.0794 | Yes | 102.77 | 5.6906
125 | 2023-11-16 | 16 | 11 | 97.7796 | Yes | 102.77 | 4.9904
126 | 2023-11-16 | 16 | 12 | 98.0546 | Yes | 102.77 | 4.7153
127 | 2023-11-16 | 17 | 1 | 67.3022 | Yes | 102.59 | 35.2878
128 | 2023-11-16 | 17 | 2 | 68.4187 | Yes | 102.59 | 34.1713
129 | 2023-11-16 | 17 | 3 | 68.0953 | Yes | 102.59 | 34.4947
130 | 2023-11-16 | 17 | 4 | 70.7474 | Yes | 102.59 | 31.8426
131 | 2023-11-16 | 17 | 5 | 79.0514 | Yes | 102.59 | 23.5386
132 | 2023-11-16 | 17 | 6 | 87.2892 | Yes | 102.59 | 15.3008
133 | 2023-11-16 | 17 | 7 | 96.0663 | Yes | 102.59 | 6.5237
134 | 2023-11-16 | 17 | 8 | 96.2324 | Yes | 102.59 | 6.3576
135 | 2023-11-16 | 17 | 9 | 96.2324 | Yes | 102.59 | 6.3576
136 | 2023-11-16 | 17 | 10 | 96.3337 | Yes | 102.53 | 6.1963
137 | 2023-11-16 | 17 | 11 | 96.3337 | Yes | 102.53 | 6.1963
138 | 2023-11-16 | 17 | 12 | 97.0089 | Yes | 102.53 | 5.521
139 | 2023-11-16 | 18 | 1 | 85.3058 | Yes | 102.53 | 17.2242
140 | 2023-11-16 | 18 | 2 | 83.9247 | Yes | 102.53 | 18.6053
141 | 2023-11-16 | 18 | 3 | 84.1417 | Yes | 102.53 | 18.3883
142 | 2023-11-16 | 18 | 4 | 83.988 | Yes | 102.53 | 18.542
143 | 2023-11-16 | 18 | 5 | 83.4204 | Yes | 102.53 | 19.1096
144 | 2023-11-16 | 18 | 6 | 83.2551 | Yes | 102.53 | 19.2749
145 | 2023-11-16 | 18 | 7 | 79.8327 | Yes | 102.53 | 22.6973
146 | 2023-11-16 | 18 | 8 | 81.9622 | Yes | 102.53 | 20.5678
147 | 2023-11-16 | 18 | 9 | 81.9394 | Yes | 102.53 | 20.5906
148 | 2023-11-16 | 18 | 10 | 78.2192 | Yes | 102.53 | 24.3108
149 | 2023-11-16 | 18 | 11 | 78.0542 | Yes | 102.53 | 24.4758
150 | 2023-11-16 | 18 | 12 | 77.1166 | Yes | 102.53 | 25.4134
151 | 2023-11-16 | 19 | 1 | 79.6927 | Yes | 102.53 | 22.8373
152 | 2023-11-16 | 19 | 2 | 79.4519 | Yes | 102.53 | 23.0781
153 | 2023-11-16 | 19 | 3 | 79.4218 | Yes | 102.53 | 23.1082
154 | 2023-11-16 | 19 | 4 | 78.3617 | Yes | 102.53 | 24.1683
155 | 2023-11-16 | 19 | 5 | 79.7778 | Yes | 102.53 | 22.7522
156 | 2023-11-16 | 19 | 6 | 79.14 | Yes | 102.53 | 23.39
157 | 2023-11-16 | 19 | 7 | 80.1273 | Yes | 102.53 | 22.4027
158 | 2023-11-16 | 19 | 8 | 80.4223 | Yes | 102.53 | 22.1077
159 | 2023-11-16 | 19 | 9 | 78.2092 | Yes | 102.53 | 24.3208
160 | 2023-11-16 | 19 | 10 | 74.545 | Yes | 102.53 | 27.985
161 | 2023-11-16 | 19 | 11 | 77.3137 | Yes | 102.53 | 25.2163
162 | 2023-11-16 | 19 | 12 | 77.3137 | Yes | 102.53 | 25.2163
163 | 2023-11-16 | 20 | 1 | 82.1726 | Yes | 102.53 | 20.3574
164 | 2023-11-16 | 20 | 2 | 79.5686 | Yes | 102.53 | 22.9614
165 | 2023-11-16 | 20 | 3 | 78.6384 | Yes | 102.53 | 23.8916
166 | 2023-11-16 | 20 | 4 | 77.0049 | Yes | 102.53 | 25.5251
167 | 2023-11-16 | 20 | 5 | 81.7445 | Yes | 102.53 | 20.7855
168 | 2023-11-16 | 20 | 6 | 80.6239 | Yes | 102.53 | 21.9061
169 | 2023-11-16 | 20 | 7 | 81.8196 | Yes | 102.53 | 20.7104
170 | 2023-11-16 | 20 | 8 | 81.8876 | Yes | 102.53 | 20.6424
171 | 2023-11-16 | 20 | 9 | 82.1762 | Yes | 102.53 | 20.3538
172 | 2023-11-16 | 20 | 10 | 83.7411 | Yes | 102.53 | 18.7889
173 | 2023-11-16 | 20 | 11 | 84.7139 | Yes | 102.53 | 17.8161
174 | 2023-11-16 | 20 | 12 | 86.827 | Yes | 102.53 | 15.703
175 | 2023-11-17 | 17 | 7 | 85.9004 | Yes | 94.54 | 8.6396
176 | 2023-11-17 | 17 | 8 | 89.5307 | Yes | 94.54 | 5.0093
177 | 2023-11-17 | 17 | 9 | 90.9634 | Yes | 94.54 | 3.5766
178 | 2023-11-17 | 17 | 10 | 90.2808 | Yes | 94.54 | 4.2592
179 | 2023-11-17 | 17 | 11 | 90.3328 | Yes | 94.54 | 4.2072
180 | 2023-11-17 | 17 | 12 | 91.6085 | Yes | 94.54 | 2.9315
181 | 2023-11-17 | 18 | 11 | 77.2941 | Yes | 94.54 | 17.2459
182 | 2023-11-17 | 18 | 12 | 76.6039 | Yes | 94.54 | 17.9361
183 | 2023-11-17 | 19 | 1 | 78.6789 | Yes | 94.54 | 15.8611
184 | 2023-11-17 | 19 | 2 | 77.0138 | Yes | 94.54 | 17.5262
185 | 2023-11-17 | 19 | 3 | 77.107 | Yes | 94.54 | 17.433
186 | 2023-11-17 | 19 | 4 | 76.7947 | Yes | 94.54 | 17.7453
187 | 2023-11-17 | 19 | 5 | 77.4462 | Yes | 94.54 | 17.0938
188 | 2023-11-17 | 19 | 6 | 79.1245 | Yes | 94.54 | 15.4155
189 | 2023-11-17 | 19 | 7 | 76.9865 | Yes | 94.54 | 17.5535
190 | 2023-11-17 | 19 | 8 | 77.0763 | Yes | 94.54 | 17.4637
191 | 2023-11-17 | 19 | 9 | 76.6322 | Yes | 94.54 | 17.9078
192 | 2023-11-17 | 19 | 10 | 76.4136 | Yes | 94.54 | 18.1264
193 | 2023-11-17 | 19 | 11 | 76.4694 | Yes | 94.54 | 18.0706
194 | 2023-11-17 | 19 | 12 | 76.8278 | Yes | 94.54 | 17.7122
195 | 2023-11-17 | 20 | 1 | 85.2464 | Yes | 94.54 | 9.2936
196 | 2023-11-17 | 20 | 2 | 84.1381 | Yes | 94.54 | 10.4019
197 | 2023-11-17 | 20 | 3 | 84.9148 | Yes | 94.54 | 9.6252
198 | 2023-11-17 | 20 | 4 | 84.6866 | Yes | 94.54 | 9.8534
199 | 2023-11-17 | 20 | 5 | 85.8469 | Yes | 94.54 | 8.6932
200 | 2023-11-17 | 20 | 6 | 85.8045 | Yes | 94.54 | 8.7355
201 | 2023-11-17 | 20 | 7 | 85.7531 | Yes | 94.54 | 8.7869
202 | 2023-11-17 | 20 | 8 | 85.9107 | Yes | 94.54 | 8.6293
203 | 2023-11-17 | 20 | 9 | 85.7531 | Yes | 94.54 | 8.7869
204 | 2023-11-17 | 20 | 10 | 85.7257 | Yes | 94.54 | 8.8143
205 | 2023-11-17 | 20 | 11 | 85.7257 | Yes | 94.54 | 8.8143
206 | 2023-11-17 | 20 | 12 | 85.8864 | Yes | 94.54 | 8.6536
207 | 2023-11-17 | 21 | 1 | 91.3628 | Yes | 94.54 | 3.1772
208 | 2023-11-17 | 21 | 2 | 91.3191 | Yes | 94.54 | 3.2209
209 | 2023-11-17 | 21 | 3 | 91.3191 | Yes | 94.54 | 3.2209
210 | 2023-11-17 | 21 | 4 | 88.1653 | Yes | 94.54 | 6.3747
211 | 2023-11-17 | 21 | 5 | 88.7728 | Yes | 94.54 | 5.7672
212 | 2023-11-17 | 21 | 6 | 86.7233 | Yes | 94.54 | 7.8167
213 | 2023-11-17 | 21 | 7 | 86.2281 | Yes | 94.54 | 8.3119
214 | 2023-11-17 | 21 | 8 | 86.3314 | Yes | 94.54 | 8.2086
215 | 2023-11-17 | 21 | 9 | 85.8159 | Yes | 94.54 | 8.7241
216 | 2023-11-30 | 17 | 1 | 74.2003 | Yes | 94.98 | 20.7797
217 | 2023-11-30 | 17 | 2 | 73.9758 | Yes | 94.98 | 21.0042
218 | 2023-11-30 | 17 | 3 | 74.9671 | Yes | 94.98 | 20.0129
219 | 2023-11-30 | 17 | 4 | 82.6233 | Yes | 94.98 | 12.3567
220 | 2023-11-30 | 17 | 5 | 88.2214 | Yes | 94.98 | 6.7586
221 | 2023-11-30 | 17 | 6 | 90.037 | Yes | 94.98 | 4.943
222 | 2023-11-30 | 17 | 7 | 93.13 | Yes | 94.98 | 1.85
223 | 2023-11-30 | 17 | 8 | 94.554 | Yes | 94.98 | 0.42599
224 | 2023-11-30 | 17 | 9 | 96.8649 | Yes | 94.98 | -1.8849
225 | 2023-11-30 | 17 | 10 | 98.9944 | Yes | 94.98 | -4.0144
226 | 2023-11-30 | 17 | 11 | 96.5401 | Yes | 94.98 | -1.5601
227 | 2023-11-30 | 17 | 12 | 95.2411 | Yes | 94.98 | -0.26112
228 | 2023-11-30 | 18 | 1 | 90.664 | Yes | 94.98 | 4.316
229 | 2023-11-30 | 18 | 2 | 88.7109 | Yes | 94.98 | 6.2691
230 | 2023-11-30 | 18 | 3 | 90.5086 | Yes | 94.98 | 4.4714
231 | 2023-11-30 | 18 | 4 | 87.5342 | Yes | 94.98 | 7.4458
232 | 2023-11-30 | 18 | 5 | 88.5881 | Yes | 94.98 | 6.3919
233 | 2023-11-30 | 18 | 6 | 90.3846 | Yes | 94.98 | 4.5954
234 | 2023-11-30 | 18 | 7 | 90.1179 | Yes | 94.98 | 4.8622
235 | 2023-11-30 | 18 | 8 | 89.7671 | Yes | 94.98 | 5.2129
236 | 2023-11-30 | 18 | 9 | 88.9934 | Yes | 94.98 | 5.9866
237 | 2023-11-30 | 18 | 10 | 89.0413 | Yes | 94.98 | 5.9387
238 | 2023-11-30 | 18 | 11 | 89.0413 | Yes | 94.98 | 5.9387
239 | 2023-11-30 | 18 | 12 | 89.0413 | Yes | 94.98 | 5.9387
240 | 2023-11-30 | 19 | 1 | 89.9541 | Yes | 94.98 | 5.0259
241 | 2023-11-30 | 19 | 2 | 88.7387 | Yes | 94.98 | 6.2413
242 | 2023-11-30 | 19 | 3 | 88.6317 | Yes | 94.98 | 6.3483
243 | 2023-11-30 | 19 | 4 | 88.5821 | Yes | 94.98 | 6.3979
244 | 2023-11-30 | 19 | 5 | 89.0575 | Yes | 94.98 | 5.9225
245 | 2023-11-30 | 19 | 6 | 88.1937 | Yes | 94.98 | 6.7864
246 | 2023-11-30 | 19 | 7 | 87.2976 | Yes | 94.98 | 7.6824
247 | 2023-11-30 | 19 | 8 | 87.2741 | Yes | 94.98 | 7.7059
248 | 2023-11-30 | 19 | 9 | 88.0379 | Yes | 94.98 | 6.9421
249 | 2023-11-30 | 19 | 10 | 89.69 | Yes | 94.98 | 5.29
250 | 2023-11-30 | 19 | 11 | 88.8298 | Yes | 94.98 | 6.1502
251 | 2023-11-30 | 19 | 12 | 88.804 | Yes | 94.98 | 6.176
252 | 2023-11-30 | 20 | 1 | 91.5629 | Yes | 94.98 | 3.4171
253 | 2023-11-30 | 20 | 2 | 90.5603 | Yes | 94.98 | 4.4197
254 | 2023-11-30 | 20 | 3 | 89.5904 | Yes | 94.98 | 5.3896
255 | 2023-11-30 | 20 | 4 | 89.5907 | Yes | 94.98 | 5.3892
256 | 2023-11-30 | 20 | 5 | 90.545 | Yes | 94.98 | 4.435
257 | 2023-11-30 | 20 | 6 | 90.5694 | Yes | 94.98 | 4.4106
258 | 2023-11-30 | 20 | 7 | 89.6853 | Yes | 94.98 | 5.2946
259 | 2023-11-30 | 20 | 8 | 89.6281 | Yes | 94.98 | 5.3519
260 | 2023-11-30 | 20 | 9 | 89.3587 | Yes | 94.98 | 5.6213
261 | 2023-11-30 | 20 | 10 | 88.856 | Yes | 94.98 | 6.1241
262 | 2023-11-30 | 20 | 11 | 88.7984 | Yes | 94.98 | 6.1816
263 | 2023-11-30 | 20 | 12 | 88.5141 | Yes | 94.98 | 6.4659

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Savings
Total |  | 0 | 0 | 0