## Table 2
California Independent System Operator Corporation Exceptional Dispatch Report
Chart 2: Table of Exceptional Dispatches for September 2023
Number | Market Type | Reason | Location | Local Reliability Area | Trade Date | MW | Commitment | INC_DEC | Hours | Begin Time | End Time | Total MWH | Min Load cost | Startup Cost | CC6470 | ED MWH (INC/DEC) | CC6470 INC | CC6470 DEC | CC6482 | CC6488 | CC6620
1 | RT | Conditions beyond the control of the CAISO | PGAE | Fresno | 2023-09-03 | 83 | No | DEC | 1 | 45172.8021 | 45172.8229 | 8.9892 | 0 | 0 | -85.2305 | 0 | 0 | 0 | 0 | 0 | 0
2 | RT | Conditions beyond the control of the CAISO | PGAE | Fresno | 2023-09-03 | 83 - 300 | No | INC | 2 | 45172.7674 | 45172.8229 | 29.0613 | 9005.7925 | 0 | -1946.9344 | 15.2103 | -402.3183 | 0 | -65.1678 | 0 | 0
3 | RT | Conditions beyond the control of the CAISO | SCE | LA Basin | 2023-09-03 | 45.24 - 45.58 | Yes | INC | 1 | 45172.7708 | 45172.8125 | 60.6267 | 20262.1675 | 0 | -2357.4768 | 0 | 0 | 0 | 0 | 0 | 0
4 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-09-11 | 0 | No | INC | 1 | 45180.0069 | 45180.0451 | -11.6958 | 660.9133 | 0 | 0 | -11.6958 | 0 | 0 | 0 | 0 | 0
5 | RT | Fast Start Unit Management | SCE | LA Basin | 2023-09-15 | 0 | No | INC | 1 | 45184.9062 | 45184.9479 | -15.0375 | 905.725 | 66.0787 | 0 | -15.0375 | 0 | 0 | 0 | 0 | 0
6 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2023-09-03 | 200 | No | INC | 2 | 45172.7431 | 45172.8125 | 268.5204 | 0 | 0 | -6642.7999 | 246 | -5722.0947 | 0 | -4701.6451 | 0 | 0
7 | RT | Load Forecast Uncertainty | PGAE | Bay Area | 2023-09-04 | 133 | No | INC | 1 | 45173.75 | 45173.7917 | 138.626 | 0 | 0 | -6892.0215 | 0 | 0 | 0 | 0 | 0 | 0
8 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2023-09-11 | 83 - 407 | No | INC | 3 | 45180.6458 | 45180.75 | -50.825 | 19533.125 | 0 | -148.8795 | 42.9948 | -2401.3112 | 0 | -475.0378 | 0 | 0
9 | RT | Load Forecast Uncertainty | PGAE | Fresno | 2023-09-22 | 83 | No | INC | 2 | 45191.5347 | 45191.5833 | 25.2 | 5565.2217 | 0 | -397.4401 | 0 | 0 | 0 | 0 | 0 | 0
10 | RT | Load Forecast Uncertainty | SCE | Big Creek-Ventura | 2023-09-03 | 74 | No | INC | 2 | 45172.7396 | 45172.8125 | 48.5299 | 18010.425 | 2871.3975 | -2102.6264 | 3.25 | -138.5555 | 0 | -136.0305 | 0 | 0
11 | RT | Load Forecast Uncertainty | SCE | NA | 2023-09-03 | 205 - 230 | No | INC | 2 | 45172.7431 | 45172.8125 | 455.592 | 0 | 0 | -18040.0309 | 318.8026 | -12394.4708 | 0 | -1173.9294 | 0 | 0
12 | RT | Load Forecast Uncertainty | SCE | NA | 2023-09-04 | 125 | No | INC | 1 | 45173.75 | 45173.7917 | 124.6583 | 0 | 0 | -6515.1088 | 0 | 0 | 0 | 0 | 0 | 0
13 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-09-03 | 100 | No | INC | 2 | 45172.7361 | 45172.8125 | 34.0949 | 19711.7075 | 0 | -1550.4252 | 46.6137 | -1939.9452 | 0 | -2163.1705 | 0 | 0
14 | RT | Load Forecast Uncertainty | SDGE | San Diego-IV | 2023-09-11 | 21 - 400 | No | INC | 3 | 45180.6806 | 45180.7917 | 7.4787 | 9771.2017 | 0 | -668.58 | 7.3111 | -496.3813 | 0 | 0 | 0 | 0
15 | RT | Market Disruption | PGAE | Fresno | 2023-09-03 | 83 - 300 | No | DEC | 2 | 45172.75 | 45172.8021 | -50.7941 | 0 | 0 | 1604.9822 | -45 | 0 | 976.468 | 0 | 0 | 0
16 | RT | Market Disruption | PGAE | Fresno | 2023-09-03 | 49 - 300 | No | INC | 2 | 45172.7396 | 45172.8229 | 87.6264 | 21125.3258 | 747.495 | -4761.092 | 67.3761 | -2239.5556 | 0 | -4962.0775 | 0 | 0
17 | RT | Market Disruption | PGAE | NA | 2023-09-03 | 300 | No | DEC | 2 | 45172.7639 | 45172.8125 | 83.6037 | 1233.045 | 0 | -2336.5781 | 77.5422 | -2225.941 | 0 | -234.359 | 0 | 0
18 | RT | Market Disruption | SCE | LA Basin | 2023-09-03 | 48.46 | No | DEC | 1 | 45172.7917 | 45172.8021 | -7.5686 | 0 | 0 | 292.0184 | 0 | 0 | 0 | 0 | 0 | 0
19 | RT | Market Disruption | SCE | LA Basin | 2023-09-03 | 47.8 - 194 | No | INC | 3 | 45172.7431 | 45172.8333 | 675.8729 | 36623.5375 | 19807.65 | -26827.2833 | 584.1444 | -22733.2002 | 0 | -34556.6964 | 0 | 0
20 | RT | Market Disruption | SCE | NA | 2023-09-03 | 100 | No | DEC | 2 | 45172.75 | 45172.8125 | 148.4929 | 0 | 0 | -5738.5459 | 123.355 | -4622.1033 | 0 | -385.8894 | 0 | 0
21 | RT | Market Disruption | SCE | NA | 2023-09-03 | 100 - 450 | No | INC | 4 | 45172.7431 | 45172.8785 | 404.645 | 7079.295 | 0 | -14880.387 | 351.0411 | -12726.3079 | 0 | -427.8312 | 0 | 0
22 | RT | Market Disruption | SDGE | San Diego-IV | 2023-09-03 | 50 - 400 | No | INC | 3 | 45172.7326 | 45172.8229 | 371.308 | 17756.3725 | 0 | -14794.393 | 356.4 | -13928.4702 | 0 | -7709.4597 | 0 | 0
23 | RT | Other Reliability Requirement | PGAE | Fresno | 2023-09-24 | -315 | No | DEC | 1 | 45193.6667 | 45193.6875 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
24 | RT | Other Reliability Requirement | SCE | LA Basin | 2023-09-01 | 0 | No | INC | 1 | 45170.2396 | 45170.2812 | -10.025 | 372.7625 | 0 | 0 | -10.025 | 0 | 0 | 0 | 0 | 0
25 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-01 | 54 | No | INC | 14 | 45170.2917 | 45170.875 | -38.7985 | 65048.425 | 9382.76 | 1952.2715 | 0 | 0 | 0 | 0 | 0 | 0
26 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-15 | 300 - 400 | No | DEC | 5 | 45184.5382 | 45184.7083 | -53.4863 | -8837.1692 | 0 | -12355.7199 | -194.4848 | 0 | 26606.076 | 0 | -29257.3742 | 0
27 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-18 | 22 | No | INC | 6 | 45187.5729 | 45187.7917 | 241.3292 | 0 | 0 | -25749.6161 | 0 | 0 | 0 | 0 | 0 | 0
28 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-21 | 22 | No | INC | 3 | 45190.6111 | 45190.7083 | 15.5858 | 0 | 0 | -1784.7285 | 0 | 0 | 0 | 0 | 0 | 0
29 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-25 | 495 - 530 | No | DEC | 18 | 45194.25 | 45195 | -62.1696 | 0 | 0 | 1886.3015 | -6.8717 | 0 | 305.4155 | 0 | -7488.2177 | 0
30 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-25 | 495 - 530 | No | INC | 11 | 45194.2396 | 45194.6667 | 171.1645 | 0 | 0 | -7680.126 | 0 | 0 | 0 | 0 | 0 | 0
31 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-26 | 495 | No | DEC | 24 | 45195 | 45196 | -225.691 | 0 | 0 | 6934.9932 | 0 | 0 | 0 | 0 | -5370.8635 | 0
32 | RT | Planned Transmission Outage | PGAE | Bay Area | 2023-09-26 | 495 | No | INC | 3 | 45195.5 | 45195.625 | -11.5517 | 0 | 0 | 291.4661 | 0 | 0 | 0 | 0 | 0 | 0
33 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-01 | 15 | No | DEC | 1 | 45170.9062 | 45170.9167 | -3.0456 | 191.86 | 0 | 120.9762 | -0.29104 | 0 | 11.6269 | 0 | -7.5232 | 0
34 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-01 | 15 - 30 | No | INC | 24 | 45170 | 45171 | 15.8784 | 57749.86 | 0 | -603.1759 | -0.64583 | 0 | 23.0403 | 0 | -6.1215 | 0
35 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-02 | 15 | No | DEC | 4 | 45171.7083 | 45171.8542 | 0.80027 | 0 | 0 | -27.5218 | 0 | 0 | 0 | 0 | -120.9218 | 0
36 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-02 | 15 - 30 | No | INC | 21 | 45171 | 45171.8646 | 1.0583 | 40530.54 | 0 | -38.0582 | 0 | 0 | 0 | 0 | 0 | 0
37 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-05 | 15 | No | DEC | 4 | 45174.75 | 45174.9167 | 9.6856 | 7302.8 | 0 | -487.9711 | 0 | 0 | 0 | 0 | 0 | 0
38 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-05 | 15 - 30 | No | INC | 17 | 45174.3056 | 45175 | 19.8252 | 30124.05 | 1869.61 | -2910.9721 | 0 | 0 | 0 | 0 | 0 | 0
39 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-06 | 15 - 30 | No | INC | 12 | 45175 | 45175.4792 | 7.7015 | 27618.5075 | 0 | -248.1702 | 0 | 0 | 0 | 0 | 0 | 0
40 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-07 | 15 - 45 | No | INC | 17 | 45176.3056 | 45177 | 17.0179 | 45916.0625 | 0 | -1293.9579 | -3.6444 | 0 | 140.7977 | 0 | -50.8005 | 0
41 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-08 | 30 | No | DEC | 12 | 45177.4583 | 45177.9583 | -1.2788 | -29104.6991 | 0 | 188.5778 | 0 | 0 | 0 | 0 | -911.8449 | 0
42 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-08 | 15 - 30 | No | INC | 24 | 45177 | 45178 | 3.7881 | 28941.6425 | 0 | -196.406 | -0.635 | 0 | 26.9526 | 0 | -5.2235 | 0
43 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-09 | 30 | No | DEC | 10 | 45178.5 | 45178.9167 | -1.0682 | -14900.2782 | 0 | 85.3451 | 0 | 0 | 0 | 0 | -333.1946 | 0
44 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-09 | 30 | No | INC | 24 | 45178 | 45179 | 0.7782 | 51141.63 | 0 | -112.7872 | 0 | 0 | 0 | 0 | 0 | 0
45 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-10 | 30 | No | DEC | 9 | 45179.5833 | 45179.9583 | 3.0387 | -4351.2867 | 0 | -231.5887 | 0 | 0 | 0 | 0 | 0 | 0
46 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-10 | 30 | No | INC | 24 | 45179 | 45180 | 2.0338 | 29799.06 | 0 | -79.2459 | 0 | 0 | 0 | 0 | 0 | 0
47 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-11 | 15 - 45 | No | DEC | 13 | 45180.2917 | 45180.8333 | -2.7546 | 201.345 | 0 | 186.6571 | 0 | 0 | 0 | 0 | 0 | 0
48 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-11 | 15 - 45 | No | INC | 15 | 45180 | 45180.625 | 19.1229 | 24362.745 | 0 | -617.6571 | -0.60677 | 0 | 37.3489 | 0 | 0 | 0
49 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-13 | 15 | No | DEC | 5 | 45182.7083 | 45182.9062 | 0 | -4122.0975 | 0 | 0 | 0 | 0 | 0 | 0 | -417.7511 | 0
50 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-13 | 15 - 30 | No | INC | 8 | 45182.6736 | 45183 | 0 | -216.9525 | 0 | 0 | 0 | 0 | 0 | 0 | -6.5024 | 0
51 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-14 | 30 | No | INC | 24 | 45183 | 45184 | -12.5417 | 9154.8025 | 1879.6 | 809.8216 | 0 | 0 | 0 | 0 | 0 | 0
52 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-15 | 30 | No | DEC | 10 | 45184.5417 | 45184.9583 | -8.0079 | -31404.7376 | 1878.76 | 513.0412 | 0 | 0 | 0 | 0 | -9318.9736 | 0
53 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-15 | 30 | No | INC | 24 | 45184 | 45185 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
54 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-16 | 30 | No | INC | 6 | 45185 | 45185.2292 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
55 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-25 | 30 | No | DEC | 6 | 45194.7083 | 45194.9583 | 0.90389 | -4025.1 | 0 | -19.1236 | 0 | 0 | 0 | 0 | 0 | 0
56 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-25 | 30 | No | INC | 17 | 45194.2951 | 45195 | 21.4177 | 15023.505 | 0 | -1048.4563 | 0 | 0 | 0 | 0 | 0 | 0
57 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-26 | 30 | No | INC | 24 | 45195 | 45196 | -1.27 | 36382.8 | 0 | 12.8171 | 0 | 0 | 0 | 0 | -2.106 | 0
58 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-27 | 30 | No | INC | 24 | 45196 | 45197 | 0.635 | 35122.56 | 0 | -10.9896 | 0 | 0 | 0 | 0 | -0.11351 | 0
59 | RT | Planned Transmission Outage | PGAE | Humboldt | 2023-09-28 | 30 | No | INC | 22 | 45197 | 45197.9167 | 0 | 31658.22 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
60 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-09-12 | 20 | Yes | INC | 8 | 45181.3333 | 45181.6458 | 0.85833 | 19238.55 | 610.76 | -37.1575 | 0 | 0 | 0 | 0 | 0 | 0
61 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-09-13 | 100 | No | DEC | 1 | 45182.5417 | 45182.5833 | 0.03125 | 0 | 0 | -1.9181 | 0 | 0 | 0 | 0 | 0 | 0
62 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-09-13 | 20 | No | INC | 4 | 45182.8646 | 45183 | 5.0898 | 16124.65 | 0 | -441.6655 | 0 | 0 | 0 | 0 | 0 | 0
63 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-09-14 | 20 | Yes | INC | 4 | 45183 | 45183.1562 | 6.5068 | 0 | 0 | -523.9937 | 0 | 0 | 0 | 0 | 0 | 0
64 | RT | Planned Transmission Outage | PGAE | Sierra | 2023-09-28 | 20 | No | INC | 10 | 45197.3021 | 45197.7083 | 12.3969 | 9457.405 | 0 | -670.6156 | 0 | 0 | 0 | 0 | 0 | 0
65 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-09-18 | 88.8 | No | DEC | 3 | 45187.25 | 45187.375 | 8.4375 | 0 | 0 | -247.7839 | 0 | 0 | 0 | 0 | 0 | 0
66 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-09-18 | 88.8 | No | INC | 5 | 45187.375 | 45187.5833 | 1.7094 | 14510.32 | 0 | -37.6471 | 0 | 0 | 0 | 0 | 0 | 0
67 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-09-19 | 35 - 45 | No | INC | 11 | 45188.3542 | 45188.8125 | -54.2516 | 0 | 0 | 1183.0025 | -5.2917 | 0 | 163.0366 | 0 | -41.4078 | 0
68 | RT | Planned Transmission Outage | PGAE | Stockton | 2023-09-26 | 89 | No | INC | 18 | 45195.2292 | 45195.9479 | -46.3396 | 107749.4125 | 22754.56 | 2177.6936 | 0 | 0 | 0 | 0 | -47.085 | 0
69 | RT | Planned Transmission Outage | PGAE | NA | 2023-09-13 | -110 | No | DEC | 2 | 45182.2083 | 45182.2917 | 4.3542 | 0 | 0 | -158.2399 | 0 | 0 | 0 | 0 | 0 | 0
70 | RT | Planned Transmission Outage | PGAE | NA | 2023-09-13 | -110 | No | INC | 4 | 45182.059 | 45182.2083 | 0.53472 | 0 | 0 | -22.6118 | 1.8333 | -79.9159 | 0 | 0 | 0 | 0
71 | RT | Planned Transmission Outage | SCE | Big Creek-Ventura | 2023-09-28 | 420 | No | INC | 8 | 45197.3229 | 45197.6458 | -160.2646 | 0 | 0 | 2820.1484 | 0 | 0 | 0 | 0 | 0 | 0
72 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-09-15 | 30 | No | DEC | 1 | 45184.5833 | 45184.625 | -0.65653 | 0 | 0 | 8.0662 | 0 | 0 | 0 | 0 | 0 | 0
73 | RT | Planned Transmission Outage | SDGE | San Diego-IV | 2023-09-15 | 30 | No | INC | 7 | 45184.4028 | 45184.6667 | 22.725 | 4525.62 | 0 | -6326.5437 | 0 | 0 | 0 | 0 | 0 | 0
74 | RT | Ramping Capacity | PGAE | Fresno | 2023-09-08 | 84 | No | DEC | 2 | 45177.7882 | 45177.8333 | -167.6875 | 0 | 0 | 8316.4624 | -169.25 | 0 | 8400.2183 | 0 | 0 | 0
75 | RT | Ramping Capacity | PGAE | Fresno | 2023-09-27 | 83 - 400 | No | INC | 2 | 45196.6319 | 45196.7083 | -90.3149 | 7552.8008 | 0 | 794.6874 | 0 | 0 | 0 | 0 | 0 | 0
76 | RT | Ramping Capacity | SCE | LA Basin | 2023-09-01 | 190 - 194 | No | INC | 5 | 45170.6875 | 45170.8958 | 3.7958 | 0 | 0 | -239.1529 | 3.9625 | -246.7283 | 0 | 0 | 0 | 0
77 | RT | Ramping Capacity | SCE | LA Basin | 2023-09-08 | 46 | No | DEC | 1 | 45177.7917 | 45177.8125 | -88.6777 | 0 | 0 | 5023.4618 | -88.7027 | 0 | 5025.3421 | 0 | 0 | 0
78 | RT | Ramping Capacity | SCE | LA Basin | 2023-09-11 | 190 - 194 | No | INC | 5 | 45180.7083 | 45180.9167 | -24.9831 | 0 | 0 | 1826.496 | 10.155 | -767.1789 | 0 | 0 | 0 | 0
79 | RT | Ramping Capacity | SCE | LA Basin | 2023-09-12 | 190 - 194 | No | INC | 5 | 45181.7083 | 45181.9167 | 9.9162 | 0 | 0 | -921.6314 | 12.5542 | -1052.0324 | 0 | 0 | 0 | 0
80 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-06 | 30 | No | INC | 13 | 45175.4618 | 45176 | 0.64833 | 17253.9092 | 0 | -32.0991 | 0 | 0 | 0 | 0 | 0 | 0
81 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-07 | 30 | No | INC | 2 | 45176 | 45176.0833 | -0.39656 | 3126.2 | 0 | 14.0904 | 0 | 0 | 0 | 0 | 0 | 0
82 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-11 | 30 | No | DEC | 1 | 45180.8333 | 45180.875 | 1.0283 | -226.5081 | 0 | -42.2481 | 0 | 0 | 0 | 0 | 0 | 0
83 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-11 | 30 | No | INC | 3 | 45180.875 | 45181 | 0 | 1610.76 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
84 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-12 | 30 | No | DEC | 5 | 45181.7083 | 45181.9167 | 2.7117 | 0 | 0 | -102.8932 | 0 | 0 | 0 | 0 | 0 | 0
85 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-12 | 30 | No | INC | 24 | 45181 | 45182 | 0 | 32058.13 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
86 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-13 | 30 | No | INC | 24 | 45182 | 45183 | 28.1771 | 48380.1675 | 0 | -1659.1199 | 0 | 0 | 0 | 0 | 0 | 0
87 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-14 | 30 | No | DEC | 5 | 45183.7083 | 45183.9167 | -0.93913 | 7629.0375 | 0 | 71.8563 | 0 | 0 | 0 | 0 | 0 | 0
88 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-14 | 30 | No | INC | 24 | 45183 | 45184 | 36.1082 | 38798.915 | 0 | -2624.1457 | 0 | 0 | 0 | 0 | 0 | 0
89 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-15 | 30 - 60 | No | INC | 24 | 45184 | 45185 | -0.14667 | 46278.54 | 0 | 91.4029 | 0 | 0 | 0 | 0 | 0 | 0
90 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-16 | 30 - 60 | No | INC | 24 | 45185 | 45186 | -8.5217 | 62560.4575 | 0 | 389.8133 | 0 | 0 | 0 | 0 | 0 | 0
91 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-17 | 30 | No | INC | 24 | 45186 | 45187 | 5.8017 | 37865.59 | 0 | -91.7158 | 0 | 0 | 0 | 0 | 0 | 0
92 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-18 | 30 | No | INC | 24 | 45187 | 45188 | 1.3558 | 36219.28 | 0 | -44.2726 | 0 | 0 | 0 | 0 | 0 | 0
93 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-19 | 30 | No | INC | 10 | 45188 | 45188.4167 | -0.39656 | 16530.6 | 0 | 16.8058 | 0 | 0 | 0 | 0 | 0 | 0
94 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-28 | 15 - 30 | No | INC | 2 | 45197.9167 | 45198 | -4.1333 | 2158.51 | 0 | 124.468 | 0 | 0 | 0 | 0 | 0 | 0
95 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-29 | 15 - 30 | No | INC | 24 | 45198 | 45199 | 8.0404 | 27294.87 | 0 | -285.8503 | 0 | 0 | 0 | 0 | 0 | 0
96 | RT | Reliability Assessment | PGAE | Humboldt | 2023-09-30 | 30 | No | INC | 24 | 45199 | 45200 | 0 | 34477.68 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
97 | RT | Reliability Assessment | PGAE | NCNB | 2023-09-05 | 60 - 70 | No | DEC | 5 | 45174.7778 | 45174.9583 | -12.1533 | 0 | 0 | -1125.6676 | -13.1771 | 0 | -856.5104 | 0 | 0 | 0
98 | RT | Reliability Assessment | PGAE | NCNB | 2023-09-05 | 70 | No | INC | 1 | 45174.7847 | 45174.7917 | -0.925 | 0 | 0 | -45.325 | -0.925 | 0 | -45.325 | 0 | 0 | 0
99 | RT | Reliability Assessment | PGAE | Sierra | 2023-09-12 | 20 | No | INC | 2 | 45181.8542 | 45181.9167 | -22.1825 | 3825.51 | 166.4127 | 1288.4604 | 0 | 0 | 0 | 0 | 0 | 0
100 | RT | Reliability Assessment | PGAE | Sierra | 2023-09-14 | 20 | No | DEC | 3 | 45183.7708 | 45183.875 | 0.97851 | 0 | 269.5652 | -167.5536 | 0 | 0 | 0 | 0 | 0 | 0
101 | RT | Reliability Assessment | PGAE | Sierra | 2023-09-14 | 20 | No | INC | 3 | 45183.875 | 45183.9792 | 1.9394 | 7223.7 | 269.5652 | -316.0458 | 0 | 0 | 0 | 0 | 0 | 0
102 | RT | Reliability Assessment | PGAE | Sierra | 2023-09-15 | 0 - 20 | No | DEC | 1 | 45184.8368 | 45184.875 | -24.0472 | -1907.5267 | 0 | 995.2449 | -12.25 | 0 | 162.54 | 0 | 0 | 0
103 | RT | Reliability Assessment | PGAE | Sierra | 2023-09-15 | 20 | No | INC | 1 | 45184.875 | 45184.9167 | -10.9756 | 0 | 0 | 753.9227 | 0 | 0 | 0 | 0 | 0 | 0
104 | RT | Reliability Assessment | PGAE | NA | 2023-09-07 | 20 | No | DEC | 1 | 45176.4514 | 45176.4896 | -4.269 | 0 | 0 | -121.2346 | -4.235 | 0 | -120.274 | 0 | 0 | 0
105 | RT | Reliability Assessment | PGAE | NA | 2023-09-11 | -120 | No | DEC | 1 | 45180.4583 | 45180.5 | 26.1077 | 0 | 0 | -1041.1403 | 0 | 0 | 0 | 0 | 0 | 0
106 | RT | Reliability Assessment | PGAE | NA | 2023-09-11 | -120 | No | INC | 2 | 45180.4132 | 45180.4583 | 19.6855 | 0 | 0 | -852.3707 | 0.75 | -33.4781 | 0 | 0 | 0 | 0
107 | RT | Reliability Assessment | PGAE | NA | 2023-09-13 | -110 | No | INC | 1 | 45182.0417 | 45182.0729 | 7.6665 | 0 | 0 | -336.6549 | 11 | -480.9785 | 0 | 0 | 0 | 0
108 | RT | Reliability Assessment | SCE | NA | 2023-09-01 | 300 | No | INC | 6 | 45170.6944 | 45170.9167 | -7.8471 | 0 | 0 | 227.3151 | -2 | 0 | 72.1 | 0 | 0 | 0
109 | RT | Reliability Assessment | SCE | NA | 2023-09-12 | 46 | No | DEC | 1 | 45181.9965 | 45182 | -0.1625 | 0 | 0 | 0.72511 | -0.14688 | 0 | 0.24234 | 0 | 0 | 0
110 | RT | Reliability Assessment | SCE | NA | 2023-09-13 | 46 | No | DEC | 8 | 45182 | 45182.3333 | -5.3409 | 0 | 0 | -32.4078 | -6.6719 | 0 | 11.0086 | 0 | 0 | 0
111 | RT | Reliability Assessment | SCE | NA | 2023-09-13 | 46 | No | INC | 1 | 45182.2083 | 45182.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
112 | RT | Reliability Assessment | SCE | NA | 2023-09-14 | 37 | No | DEC | 5 | 45183.8125 | 45184 | -12.9646 | 0 | 0 | 21.9543 | -12.9438 | 0 | 21.3572 | 0 | 0 | 0
113 | RT | Reliability Assessment | SCE | NA | 2023-09-15 | 37 | No | DEC | 6 | 45184 | 45184.2396 | 8.0833 | 0 | 0 | -361.8957 | 0 | 0 | 0 | 0 | 0 | 0
114 | RT | Reliability Assessment | SCE | NA | 2023-09-19 | 0 | No | DEC | 3 | 45188.3056 | 45188.4167 | -48.5271 | 0 | 0 | 1554.7904 | 0 | 0 | 0 | 0 | 0 | 0
115 | RT | Reliability Assessment | SCE | NA | 2023-09-20 | 45 | No | DEC | 3 | 45189.875 | 45190 | -11.9583 | 0 | 0 | -255.9514 | -6 | 0 | -112.8779 | 0 | 0 | 0
116 | RT | Reliability Assessment | SCE | NA | 2023-09-21 | 4 - 45 | No | DEC | 24 | 45190 | 45191 | -22.2651 | 0 | 0 | -1420.5474 | -22.539 | 0 | -1430.4734 | 0 | 0 | 0
117 | RT | Reliability Assessment | SCE | NA | 2023-09-22 | 4 - 6 | No | DEC | 8 | 45191 | 45191.3333 | 0.10302 | 0 | 0 | -1.9145 | 0 | 0 | 0 | 0 | 0 | 0
118 | RT | Reliability Assessment | SCE | NA | 2023-09-29 | 25 - 51 | No | DEC | 7 | 45198.7431 | 45199 | -30.6065 | 0 | 0 | 25.5963 | -31.7134 | 0 | 52.3271 | 0 | 0 | 0
119 | RT | Reliability Assessment | SCE | NA | 2023-09-30 | 30 - 51 | No | DEC | 8 | 45199 | 45199.3333 | -28.3853 | 0 | 0 | -40.4121 | -32 | 0 | 52.8 | 0 | 0 | 0
120 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-09-11 | 36.88 - 38.38 | No | DEC | 3 | 45180.75 | 45180.875 | 2.1994 | 0 | 0 | -111.7352 | 0 | 0 | 0 | 0 | 0 | 0
121 | RT | Reliability Assessment | SDGE | San Diego-IV | 2023-09-11 | 36.88 - 38.38 | No | INC | 7 | 45180.6597 | 45180.9167 | 45.494 | 0 | 0 | -3579.9211 | 0 | 0 | 0 | 0 | 0 | 0
122 | RT | Software Limitation | PGAE | Sierra | 2023-09-14 | 40 | No | DEC | 2 | 45183.8368 | 45183.9167 | 29.0833 | 0 | 0 | -2664.38 | 0 | 0 | 0 | 0 | 0 | 0
123 | RT | Software Limitation | PGAE | Stockton | 2023-09-12 | 238 | No | INC | 5 | 45181.8125 | 45182 | -39.5 | 0 | 0 | 1718.899 | 0 | 0 | 0 | 0 | 0 | 0
124 | RT | Software Limitation | PGAE | Stockton | 2023-09-13 | 238 | No | INC | 24 | 45182 | 45183 | -101.4437 | 2115.425 | 0 | 4811.6925 | -37 | 0 | 1951.75 | 0 | 0 | 0
125 | RT | Software Limitation | PGAE | Stockton | 2023-09-14 | 238 | No | INC | 6 | 45183 | 45183.25 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
126 | RT | Software Limitation | SCE | LA Basin | 2023-09-04 | 0 | No | INC | 1 | 45173.8368 | 45173.8785 | -16.6958 | 873.62 | 91.3659 | 154.1478 | -13.3667 | 0 | 0 | 0 | 0 | 0
127 | RT | Software Limitation | SCE | LA Basin | 2023-09-07 | 0 | No | INC | 1 | 45176.0243 | 45176.066 | -13.3667 | 604.55 | 0 | 0 | -13.3667 | 0 | 0 | 0 | 0 | 0
128 | RT | Software Limitation | SCE | LA Basin | 2023-09-08 | 0 | No | INC | 1 | 45177.0556 | 45177.0972 | -13.3667 | 704.8917 | 0 | 0 | -13.3667 | 0 | 0 | 0 | 0 | 0
129 | RT | Software Limitation | SCE | LA Basin | 2023-09-09 | 0 | No | INC | 1 | 45178.9653 | 45179 | -11.6958 | 579.3 | 0 | 0 | -11.6958 | 0 | 0 | 0 | 0 | 0
130 | RT | Software Limitation | SCE | LA Basin | 2023-09-10 | 0 | No | INC | 1 | 45179 | 45179.0069 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
131 | RT | Software Limitation | SCE | LA Basin | 2023-09-14 | 0 | No | INC | 1 | 45183.9479 | 45183.9896 | -15.0375 | 899.705 | 49.109 | 0 | -15.0375 | 0 | 0 | 0 | 0 | 0
132 | RT | Unit Testing | PGAE | NA | 2023-09-26 | -126 | No | DEC | 1 | 45195.5903 | 45195.6215 | -7.56 | 0 | 0 | 191.6942 | 1.5 | -43.0282 | 0 | 0 | 0 | 0
133 | RT | Unit Testing | SCE | LA Basin | 2023-09-04 | 0.1 | No | INC | 1 | 45173.3715 | 45173.3819 | 0.015625 | 0 | 0 | 0 | 0.015625 | 0 | 0 | 0 | 0 | 0
134 | RT | Unit Testing | SCE | LA Basin | 2023-09-15 | 74.94 | No | INC | 1 | 45184.5278 | 45184.5556 | 45.2896 | 0 | 0 | -1251.5212 | 44.8665 | -1240.3746 | 0 | 0 | 0 | 0
135 | RT | Unit Testing | SCE | NA | 2023-09-15 | 1.67 | No | DEC | 1 | 45184.3993 | 45184.4167 | -1.7588 | 0 | 0 | 46.0191 | 0 | 0 | 0 | 0 | 0 | 0
136 | RT | Unit Testing | SCE | NA | 2023-09-15 | 160.09 | No | INC | 1 | 45184.5799 | 45184.6076 | 92.6875 | 0 | 0 | -20.0211 | 91.7182 | -33.9357 | 0 | 0 | 0 | 0
137 | RT | Voltage Support | PGAE | Fresno | 2023-09-18 | -315 | No | DEC | 3 | 45187.1354 | 45187.25 | -152.6917 | 0 | 0 | 5161.2434 | 0 | 0 | 0 | 0 | 0 | 0
138 | RT | Voltage Support | PGAE | Fresno | 2023-09-22 | -315 | No | DEC | 4 | 45191.1076 | 45191.25 | -201.8375 | 0 | 0 | 7225.1026 | 0 | 0 | 0 | 0 | 0 | 0
139 | RT | Voltage Support | PGAE | Fresno | 2023-09-24 | -315 | No | DEC | 16 | 45193.0243 | 45193.6667 | -509.3938 | 0 | 0 | 19569.7847 | 0 | 0 | 0 | 0 | 0 | 0
140 | RT | Voltage Support | PGAE | Fresno | 2023-09-24 | -315 | No | INC | 8 | 45193.3333 | 45193.6667 | -52.5 | 0 | 0 | 971.4432 | 0 | 0 | 0 | 0 | 0 | 0
141 | RT | Voltage Support | PGAE | Fresno | 2023-09-25 | -315 | No | DEC | 4 | 45194.0938 | 45194.2292 | -154.1583 | 0 | 0 | 6329.8524 | 0 | 0 | 0 | 0 | 0 | 0
142 | RT | Voltage Support | PGAE | Fresno | 2023-09-30 | -315 | No | DEC | 2 | 45199.9236 | 45200 | 9.3479 | 0 | 0 | -418.1805 | 0 | 0 | 0 | 0 | 0 | 0
143 | RT | Voltage Support | PGAE | Humboldt | 2023-09-02 | 15 | No | DEC | 2 | 45171.8542 | 45171.9167 | 1.3129 | 0 | 0 | -48.2306 | 0 | 0 | 0 | 0 | 0 | 0
144 | RT | Voltage Support | PGAE | Humboldt | 2023-09-02 | 15 - 30 | No | INC | 3 | 45171.8646 | 45171.9792 | 0.19115 | 3651.4 | 0 | -3.1224 | 0 | 0 | 0 | 0 | 0 | 0
145 | RT | Voltage Support | PGAE | Humboldt | 2023-09-03 | 15 | No | INC | 18 | 45172.2708 | 45173 | 4.0467 | 9128.5 | 667.7214 | -171.982 | 0 | 0 | 0 | 0 | -0.22877 | 0
146 | RT | Voltage Support | PGAE | Humboldt | 2023-09-04 | 15 | No | INC | 24 | 45173 | 45174 | -3.2808 | 13875.32 | 0 | 37.3333 | 0 | 0 | 0 | 0 | -1.8016 | 0
147 | RT | Voltage Support | PGAE | Humboldt | 2023-09-05 | 15 | No | INC | 10 | 45174 | 45174.4167 | 7.4275 | 8398.22 | 0 | -503.6577 | 0 | 0 | 0 | 0 | 0 | 0
148 | RT | Voltage Support | PGAE | Humboldt | 2023-09-19 | 15 | No | INC | 6 | 45188.75 | 45189 | 0 | 4959.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
149 | RT | Voltage Support | PGAE | Humboldt | 2023-09-20 | 15 - 30 | No | INC | 24 | 45189 | 45190 | 5.3287 | 31863.5425 | 0 | -273.3139 | 0 | 0 | 0 | 0 | 0 | 0
150 | RT | Voltage Support | PGAE | Humboldt | 2023-09-21 | 15 - 30 | No | INC | 24 | 45190 | 45191 | -0.065833 | 34730.1975 | 0 | 3.0132 | 0 | 0 | 0 | 0 | 0 | 0
151 | RT | Voltage Support | PGAE | Humboldt | 2023-09-22 | 15 | No | DEC | 6 | 45191.7083 | 45191.9583 | 1.3558 | 0 | 0 | -70.7363 | 0 | 0 | 0 | 0 | 0 | 0
152 | RT | Voltage Support | PGAE | Humboldt | 2023-09-22 | 15 | No | INC | 24 | 45191 | 45192 | 0 | 15577.18 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
153 | RT | Voltage Support | PGAE | Humboldt | 2023-09-23 | 15 | No | INC | 22 | 45192 | 45192.9167 | -5.6975 | 31477.6 | 0 | 21.0811 | 0 | 0 | 0 | 0 | -9.3407 | 0
154 | RT | Voltage Support | PGAE | Sierra | 2023-09-22 | 20 | No | INC | 4 | 45191.1111 | 45191.25 | 11.675 | 7496.94 | 520.8738 | -403.6317 | 0 | 0 | 0 | 0 | 0 | 0
155 | RT | Voltage Support | PGAE | Sierra | 2023-09-24 | 20 | No | INC | 14 | 45193.1111 | 45193.6667 | 7.525 | 13071.03 | 0 | -254.4547 | 0 | 0 | 0 | 0 | 0 | 0
156 | RT | Voltage Support | PGAE | NA | 2023-09-26 | 20 | No | INC | 7 | 45195.6771 | 45195.9583 | -0.66667 | 8734.86 | 477.06 | 404.2119 | 0 | 0 | 0 | 0 | 0 | 0

## Price_Impact_A
Table 9: Price Impact Analysis Information for Pricing Node B in PGAE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2023-09-15 | 13 | 12 | 102.769 | Yes | 37.98 | -64.789
2 | 2023-09-15 | 14 | 2 | 79.6055 | Yes | 37.98 | -41.6255
3 | 2023-09-15 | 14 | 3 | 157.2656 | Yes | 37.98 | -119.2856
4 | 2023-09-15 | 14 | 4 | 44.0437 | Yes | 37.98 | -6.0637
5 | 2023-09-15 | 14 | 5 | 45.4494 | Yes | 37.98 | -7.4694
6 | 2023-09-15 | 14 | 6 | 45.4727 | Yes | 37.98 | -7.4927
7 | 2023-09-15 | 14 | 7 | 45.5997 | Yes | 37.98 | -7.6197
8 | 2023-09-15 | 14 | 8 | 50.3678 | Yes | 37.98 | -12.3878
9 | 2023-09-15 | 14 | 9 | 54.5057 | Yes | 37.98 | -16.5257
10 | 2023-09-15 | 14 | 10 | 53.224 | Yes | 37.98 | -15.244
11 | 2023-09-15 | 14 | 11 | 54.7716 | Yes | 37.98 | -16.7916
12 | 2023-09-15 | 14 | 12 | 54.6109 | Yes | 37.98 | -16.6309
13 | 2023-09-15 | 15 | 1 | 45.3872 | Yes | 36.09 | -9.2972
14 | 2023-09-15 | 15 | 2 | 45.3918 | Yes | 36.09 | -9.3018
15 | 2023-09-15 | 15 | 3 | 46.3167 | Yes | 36.09 | -10.2267
16 | 2023-09-15 | 15 | 4 | 46.7745 | Yes | 36.09 | -10.6845
17 | 2023-09-15 | 15 | 5 | 46.8151 | Yes | 36.09 | -10.7251
18 | 2023-09-15 | 15 | 6 | 47.8626 | Yes | 36.09 | -11.7726
19 | 2023-09-15 | 15 | 7 | 97.4827 | Yes | 36.09 | -61.3927
20 | 2023-09-15 | 15 | 8 | 97.7986 | Yes | 36.09 | -61.7086
21 | 2023-09-15 | 15 | 9 | 97.4495 | Yes | 36.09 | -61.3595
22 | 2023-09-15 | 15 | 10 | 57.3309 | Yes | 36.09 | -21.2409
23 | 2023-09-15 | 15 | 11 | 90.5955 | Yes | 36.09 | -54.5055
24 | 2023-09-15 | 15 | 12 | 57.2126 | Yes | 36.09 | -21.1226
25 | 2023-09-15 | 16 | 1 | 85.2978 | Yes | 36.09 | -49.2078
26 | 2023-09-15 | 16 | 2 | 90.2808 | Yes | 36.09 | -54.1908
27 | 2023-09-15 | 16 | 3 | 88.0606 | Yes | 36.09 | -51.9706
28 | 2023-09-15 | 16 | 4 | 85.9337 | Yes | 36.09 | -49.8437
29 | 2023-09-15 | 16 | 5 | 191.1862 | Yes | 36.09 | -155.0962
30 | 2023-09-15 | 16 | 6 | 193.7457 | Yes | 36.09 | -157.6557
31 | 2023-09-15 | 16 | 7 | 309.252 | Yes | 36.09 | -273.162
32 | 2023-09-15 | 16 | 8 | 301.8568 | Yes | 36.09 | -265.7668
33 | 2023-09-15 | 16 | 9 | 533.9008 | Yes | 36.09 | -497.8108
34 | 2023-09-15 | 16 | 10 | 308.7816 | Yes | 36.09 | -272.6916
35 | 2023-09-15 | 16 | 11 | 298.9875 | Yes | 36.09 | -262.8975
36 | 2023-09-15 | 16 | 12 | 276.4698 | Yes | 36.09 | -240.3798
37 | 2023-09-15 | 17 | 1 | 272.4884 | Yes | 36.09 | -236.3984
38 | 2023-09-15 | 17 | 2 | 232.8171 | Yes | 36.09 | -196.7271
39 | 2023-09-15 | 17 | 3 | 193.5314 | Yes | 36.09 | -157.4414
40 | 2023-09-15 | 17 | 4 | 214.7429 | Yes | 36.09 | -178.6529
41 | 2023-09-15 | 17 | 5 | 55.6165 | Yes | 36.09 | -19.5265
42 | 2023-09-15 | 17 | 6 | 58.8138 | Yes | 36.09 | -22.7238
43 | 2023-09-15 | 17 | 10 | 68.1089 | Yes | 36.09 | -32.0189
44 | 2023-09-15 | 17 | 11 | 69.4193 | Yes | 36.09 | -33.3293
45 | 2023-09-15 | 17 | 12 | 64.8753 | Yes | 36.09 | -28.7854

## Price_Impact_B
Table 8: Price Impact Analysis Information for Pricing Node A in SCE LAP
Number | Trade Date | Trade Hour | Interval | Market LMP | Eligible Flag | Calculated LMP | Change in LMP
1 | 2023-09-15 | 14 | 12 | -15.0042 | Yes | 75.64 | 90.6442
2 | 2023-09-15 | 15 | 1 | -14.9849 | Yes | 75.64 | 90.6249
3 | 2023-09-15 | 15 | 2 | -14.9852 | Yes | 75.64 | 90.6252
4 | 2023-09-15 | 15 | 3 | -14.9844 | Yes | 75.64 | 90.6244
5 | 2023-09-15 | 15 | 4 | -15.117 | Yes | 75.64 | 90.757
6 | 2023-09-15 | 15 | 5 | -15.1227 | Yes | 75.64 | 90.7627
7 | 2023-09-15 | 15 | 6 | -15.1262 | Yes | 75.64 | 90.7662
8 | 2023-09-15 | 15 | 7 | -15.1967 | Yes | 75.64 | 90.8367

## Bid_Mitigation
Table 10: Exceptional Dispatch Bid Mitigation Analysis Information
Type | Number of Resources | Costs without Bid Mitigation | Costs with Bid Mitigation | Cost Saving
TMODEL | 1 | 52.92 | 52.4262 | 0.71
NONTMOD | 1 | 5499.42 | 5420.9525 | 78.46
Total | 2 | 5552.34 | 5473.3787 | 79.17