| Section | Description of change | Reason |
| --- | --- | --- |
| 4.5.3.2.2 | Revise structure of first sentence in tariff section. | The ISO proposes to clarify section 4.5.3.2.2 to state more clearly two distinct though related points: 1) market participants may not list the ISO as the “Purchasing Selling Entity” on an E-Tag, and 2) the ISO is not in the chain of title on delivery. The current language could be misconstrued to suggest that the ISO is not in the chain of title on delivery for e-Tagging purposes, but might be in the chain of title for other purposes. |
| 7.7.3.2 | Insert the words "commitments for" before "Generation" in last sentence of Section 7.7.3.2. | This amendment clarifies the meaning of this tariff section to specify that the actions the ISO may take after issuing a system warning includes negotiating “commitments for” Generation through processes other than competitive bids. |
| 7.7.14.2.8 | Delete section | At startup, the ISO used consoles that directly accessed investor owned utilities’ Energy Management Systems. The ISO no longer has these consoles and this section no longer has any applicability. |
| 8.2.1 | In the first and second sentences of section 8.2.1, modify the phrase, "NERC and WECC reliability standards, including any requirements of the NRC" to read, "NERC and WECC reliability standards and any requirements of the NRC." | This amendment clarifies that requirements of the Nuclear Regulatory Commission are separate requirements form NERC and WECC reliability standards. |
| 8.2.3.1 | In the first and last sentences of section 8.2.3.1, modify the phrase, "NERC and WECC reliability standards, including any requirements of the NRC" to read, "NERC and WECC reliability standards and any requirements of the NRC." | This amendment clarifies that requirements of the Nuclear Regulatory Commission are separate requirements form NERC and WECC reliability standards. |
| 8.2.3.2 | In the first sentence of section 8.2.3.2, modify phrase, "NERC and WECC reliability standards, including any requirements of the NRC" to read, "NERC and WECC reliability standards and any requirements of the NRC." | This amendment clarifies that requirements of the Nuclear Regulatory Commission are separate requirements form NERC and WECC reliability standards. |
| 8.3.4 | Delete the following sentence in section 8.3.4: “Voltage support may only be provided from resources that have been certified and tested by the CAISO using the process defined in Part D of Appendix K.” | This amendment deletes tariff provisions relating to certification of resources to provide voltage support as an ancillary service. The ISO’s business practices currently do not include processes to certify resources to provide voltage support as an ancillary service. |
| 8.9 | Delete references to RUC Capacity in the first, second, third and fourth sentences of Section 8.9.6 | This amendment reflects that current ISO business practices do not include compliance tests for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.9.6 | Delete section. | This amendment reflects that current ISO business practices do not include compliance tests for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.9.7.1 | Delete references to RUC Capacity in the first and third sentences of Section 8.9.7.1 | This amendment reflects that current ISO business practices do not include compliance tests for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.9.8 | Delete references to RUC Capacity in Section 8.9.8. | This amendment reflects that current ISO business practices do not include compliance tests for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.9.10 | In the first sentence, change the reference to Meter Data to telemetry data. | This amendment modifies this tariff section to reflect the ISO will conduct performance audits for spinning reserve using telemetry data. |
| 8.9.11 | In the first sentence, change the reference to Meter Data to telemetry data. | This amendment modifies this tariff section to reflect the ISO will conduct performance audits for non-spinning reserve using telemetry data. |
| 8.9.12 | Delete section. | This amendment deletes the tariff provisions relating to performance audits of voltage support as an ancillary service. The ISO’s business practices currently do not include processes to conduct performance audits of voltage support as an ancillary service. |
| 8.9.14 | Delete section. | This amendment reflects that current ISO business practices do not include performance audits for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.9.15.1 | Delete references to RUC Capacity in first and second sentences. | This amendment reflects that current ISO business practices do not include performance audits for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.9.16.1 | Delete reference to RUC Capacity in first sentence of Section 8.9.16.1 | This amendment reflects that current ISO business practices do not include compliance tests or performance audits for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.9.16.2 | Delete reference to RUC Capacity in first sentence of Section 8.9.16.2. | This amendment reflects that current ISO business practices do not include compliance tests or performance audits for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.9.16.3 | Delete references to RUC Capacity in subsections (a) and (b). | This amendment reflects that current ISO business practices do not include compliance tests or performance audits for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.9.16.4 | Delete references to RUC Capacity in first sentence. Delete the words, “in the case of Ancillary Services” in the first sentence. | This amendment reflects that current ISO business practices do not include compliance tests or performance audits for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.10 | Delete references to RUC Capacity in first sentence. Delete second sentence. | This amendment reflects that current ISO business practices do not include compliance tests or performance audits for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.10.6 | Delete section. | This amendment reflects that current ISO business practices do not include compliance tests or performance audits for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 8.10.7 | Delete references to RUC capacity in first, second, fourth and fifth sentences. Delete reference to RUC Availability Payment in third sentence. | This amendment reflects that current ISO business practices do not include compliance tests or performance audits for RUC capacity. This reference was inadvertently included in the tariff as part of tariff revisions made to implement the ISO’s nodal market. |
| 11.2.4.6 | Move qualifying statement in last sentence starting with “whenever the virtual bidding activity . . .” to the beginning of this section and replace “on behalf of the entity” with “Convergence Bidding Entity” to identify entity type. Modify section 11.2.4.6 to clarify that the ISO will adjust the revenue from the CRRs of a CRR Holder if a day-ahead import or export schedule is reduced in HASP. | This amendment clarifies that the ISO will adjust the revenue from CRR settlements rule set forth in section 11.2.4.6, if a day-ahead schedule is reduced in HASP. |
| 11.5 | Add reference in section 11.5 to section 11.5.4. | This amendment makes a clarifying cross-reference in section 11.5 to another sub-section |
| 11.5.3 | Delete the words “attributable to meter measurement errors, load profile errors, Energy theft, and distribution loss deviations” in the third sentence of this section. | This tariff amendment deletes language that may create confusion over the allocation of UFE. The definition of Unaccounted For Energy in Appendix A already identifies these reasons for which UFE may arise. |
| 11.23(o) | Delete comma after "Dispatch" in first sentence. | This amendment corrects a typographical error. |
| 11.25.2 | Change the word Payment in the first sentence to the plural Payments. | This amendment corrects a grammatical error in this tariff section. |
| 11.25.3 | Change the word and in the second sentence to the word in and add the word Section. | This amendment corrects a typographical error in this tariff section. |
| 11.29.5.1 | Delete words “in the general ledger set up by the CAISO to reflect all transactions, charges or payments settled by the CAISO.” | This amendment modifies this section to clarify the basis of each settlement statement and avoid any confusion created by the reference to a general ledger. |
| 11.29.8.4.2 | Clarify time period for request for good faith negotiations in connection with settlement disputes. Change section heading to T+12B | The tariff specifies that market participants must request good-faith negotiations within 30 days after the ISO denies a settlement dispute. The ISO believes that this deadline is too short, and could catch some market participants by surprise for that reason and because the deadline is not located in Section 13, which governs the dispute resolution procedure and good-faith negotiations. These revisions clarify and extend the deadline to 90 days, as well as move it to a more prominent location. This amendment also conforms a tariff section heading to the timeframe for Recalculation Settlement StatementT+12B. |
| 11.29.8.4.3 | Clarify time period for request for good faith negotiations in connection with settlement disputes. Delete the following language after the word initiate in the last sentence: “a good faith negotiation of the dispute with the CAISO no later than thirty (3) days after the date of the CAISO’s response to the dispute.” Add the following language after the word initiate in the last sentence: “dispute resolution under Section 13 of the CAISO Tariff pursuant to the deadlines set forth in Section 13. If a Scheduling Coordinator, CRR Holder, Black Start Generator or Participating TO does not initiate dispute resolution under Section 13 of the CAISO Tariff within the time period set forth in Section 13, the Scheduling Coordinator, CRR Holder, Black Start Generator, or Participating TO shall be deemed to have validated each Recalculation Settlement Statement T+55B.” | The tariff specifies that market participants must request good-faith negotiations within 30 days after the ISO denies a settlement dispute. The ISO believes that this deadline is too short, and could catch some market participants by surprise for that reason and because the deadline is not located in Section 13, which governs the dispute resolution procedure and good-faith negotiations. These revisions clarify and extend the deadline to 90 days, as well as move it to a more prominent location. |
| 11.29.8.4.4 | Clarify time period for request for good faith negotiations in connection with settlement disputes. | The tariff specifies that market participants must request good-faith negotiations within 30 days after the ISO denies a settlement dispute. The ISO believes that this deadline is too short, and could catch some market participants by surprise for that reason and because the deadline is not located in Section 13, which governs the dispute resolution procedure and good-faith negotiations. These revisions clarify and extend the deadline to 90 days, as well as move it to a more prominent location. |
| 11.29.8.4.5 | Clarify time period for request for good faith negotiations in connection with settlement disputes. | The tariff specifies that market participants must request good-faith negotiations within 30 days after the ISO denies a settlement dispute. The ISO believes that this deadline is too short, and could catch some market participants by surprise for that reason and because the deadline is not located in Section 13, which governs the dispute resolution procedure and good-faith negotiations. These revisions clarify and extend the deadline to 90 days, as well as move it to a more prominent location. |
| 11.29.8.4.6 | Clarify time period for request for good faith negotiations in connection with settlement disputes. | The tariff specifies that market participants must request good-faith negotiations within 30 days after the ISO denies a settlement dispute. The ISO believes that this deadline is too short, and could catch some market participants by surprise for that reason and because the deadline is not located in Section 13, which governs the dispute resolution procedure and good-faith negotiations. These revisions clarify and extend the deadline to 90 days, as well as move it to a more prominent location. |
| 11.29.8.4.8 | Clarify time period for request for good faith negotiations in connection with settlement disputes. | The tariff specifies that market participants must request good-faith negotiations within 30 days after the ISO denies a settlement dispute. The ISO believes that this deadline is too short, and could catch some market participants by surprise for that reason and because the deadline is not located in Section 13, which governs the dispute resolution procedure and good-faith negotiations. These revisions clarify and extend the deadline to 90 days, as well as move it to a more prominent location. |
| 11.29.8.4.8 | Change the word data in the first sentence to the word date. | This amendment corrects a typographical error in this tariff section. |
| 11.29.8.5(a) | Remove period after the number 3 and replace with a comma; make the following word “The” lowercase. | This amendment corrects typographical errors in section 11.29.8.5(a). |
| 11.29.8.7 | Change Section 11.29.8.7 to Section 11.29.8.6 since section 11.29.8.6 is not used in the tariff. | This amendment modifies the numbering of a tariff section heading. |
| 11.29.17.2.6(a), (b), (c ), (d) | Change references to Settlement Statement T+38B to T+55B. | This amendment corrects a typographical error. As a result of the settlements process timeline change tariff amendments, T+38B no longer exists. |
| 11.32 | Modify first sentence as follows: “The CAISO will take the following actions regarding Schedules that clear the Day-Ahead Market at the Interties and that a Scheduling Coordinator are wholly or partially reverseds in the HASP.” | This amendment clarifies that the ISO will apply the provisions of this section, if a day-ahead schedule is reduced in HASP for any reason. |
| 13.1.4 | Clarify time period for request for good faith negotiations in connection with settlement disputes. | The tariff specifies that market participants must request good-faith negotiations within 30 days after the ISO denies a settlement dispute. The ISO believes that this deadline is too short, and could catch some market participants by surprise for that reason and because the deadline is not located in Section 13, which governs the dispute resolution procedure and good-faith negotiations. These revisions clarify and extend the deadline to 90 days, as well as move it to a more prominent location. |
| 13.5.2 | Delete the reference to T+7B in the first sentence. | This amendment corrects an inadvertent reference to T+7B in this tariff section. |
| 20.4(e)(i) | In the last sentence of this subsection, insert a comma after "reject a request for CEII and" | This amendment corrects a typographical error. |
| 22.6 | Modify title and delete the words “contained in the CAISO bylaws and approved by FERC” in last sentence. | In 2010, the ISO revised its foundational corporate documents, including its bylaws and codes of conduct. Following those changes, the ISO’s codes of conduct are no longer exhibits to the ISO’s bylaws. It is necessary to change the definition of “CAISO Code of Conduct” to reflect that fact. The ISO has proposed a related revision to Section 22.6, to recognize both that the code of conduct is not part of the bylaws and that FERC no longer no longer “approves” or “accepts” ISO codes of conduct as if they were rates within the meaning of Section 206. See generally California ISO v. FERC, 372 F.3d 395 (D.C. Cir. 2004). The ISO also proposes changes to the definition of “Audit Committee” to reflect the fact that the bylaw provisions creating that committee have moved within the bylaws. Finally, in Appendix P, which governs DMM, the ISO proposes to correct a typographical error in which the code of conduct for employees is not described properly. |
| 22.10 | Add new section entitled Administrative Fees to clarify that the ISO may charge an administrative fee to recover the costs of providing archived Invoices and Settlement Statements to a market participant requesting copies of its own information and the market participant requesting the information shall pay the fee. Tariff section should read as follows: The CAISO may charge a Scheduling Coordinator requesting archived copies of its Settlement Statements or Invoices an administrative fee for providing copies of the Settlement Statements or Invoices. The administrative fee for each request shall be $200 per Settlement Statement or Invoice for the first two copies and $50 for each additional copy. | The purpose of this tariff amendment is to clarify the ISO that the ISO may recover the administrative costs associated with providing market participants with archived Invoices Settlement Statements or Invoices. $200 for each Settlement Statement or Invoice and $50 for each additional Settlement Statement for Invoice. |
| 27.1.2.3.2 | There are two sections 27.1.2.3.2 in tariff. Modify second section 27.1.2.3.2 to read section 27.1.2.3.3 and modify section 27.1.2.3.3 to read section 27.1.2.3.4. | This amendment corrects numbering of tariff sections. |
| 27.4.3.3 | Change all instances of "Self-Scheduled demand" to self-scheduled Demand." | This amendment corrects the use of capitalized words where no definition exists for the term in Appendix A of the ISO tariff. By using the lower case use of the words self-scheduled, the ISO refers to the plain meaning of these words. This amendment also capitalizes the word demand to refer to the use of the defined term in Appendix A of the tariff. |
| 27.5.6(a) | Change "The ISO" to "The CAISO" in two places in this section | This amendment makes a conforming typographical change to section 27.5.6(a). |
| 30.7.3.1 | Delete the word either in the first sentence under “Step 3” before the words “…present for the bid to be valid ….” | This amendment makes a typographical correction to the ISO tariff. |
| 31.4 | In the seventh sentence, insert a comma after "Section 27.4.3.5" | This amendment makes a typographical correction to the ISO tariff. |
| 34.2.2 | Modify phrase, "NERC and WECC reliability standards, including any requirements of the NRC" to read, "NERC and WECC reliability standards and any requirements of the NRC." | This amendment clarifies that requirements of the Nuclear Regulatory Commission are separate requirements form NERC and WECC reliability standards. |
| 34.5(12) | Change "Minimum Up" to "Minimum Run" in 2 places. | This amendment makes a confirming typographical change to the tariff to reflect the use of a defined term. |
| 34.8 | Add language to second sentence of Section 34.8 to clarify that the ISO may consider forecasted conditions in subsequent intervals within the forward-looking time period of the optimization as well as transmission or resource operational constraints in the dispatch of non-contingency ancillary services. | The purpose of this tariff amendment is to clarify that the ISO may dispatch non-contingency ancillary services out of merit order to address forecasted conditions in subsequent intervals within the forward-looking time period of the optimization as well as transmission or resource operational constraints. |
| 34.8 | Modify phrase, "NERC and WECC reliability standards, including any requirements of the NRC" to read, "NERC and WECC reliability standards and any requirements of the NRC." | This amendment clarifies that requirements of the Nuclear Regulatory Commission are separate requirements form NERC and WECC reliability standards. |
| 34.8 | Modify proposed changes to section 34.8 to include additional clarifying language concerning ancillary service dispatches. | The purpose of this tariff amendment is to clarify that the ISO may dispatch non-contingency ancillary services out of merit order to address forecasted conditions in subsequent intervals within the forward-looking time period of the optimization as well as transmission or resource operational constraints. |
| 34.9 | Add the word CPM before the word designation in the sixth sentence of this section. | This tariff amendment makes a reference to capacity procurement mechanism designations of eligible capacity for an exceptional dispatch pursuant to this section more precise. |
| 34.9 | Delete the word “CPM” in the last sentence of the first paragraph. | Section 34.9 applies only to exceptional dispatch and not to exceptional dispatch CPM. |
| 35.3 | Remove the second instance of the word "after" at the beginning of fifth sentence of Section 35.3. | This amendment corrects a typographical error |
| 37.5.2.1 | This section currently states that “Market Participants shall provide complete and accurate Settlement Quality Meter Data for each Trading Hour . . . .” Clarify this provision to state that it only applies to Scheduling Coordinators representing Scheduling Coordinator Metered Entities | This amendment clarifies section 37.5.2.1 to more accurately reflect the entities to which section 37.5.2.1 applies. |
| 40.3.1.1 | Change the last sentence of paragraph (1) to read “This time should not be more than thirty (30) minutes.” | This amendment corrects an error in the wording of this sentence. |
| Section 40.4.6.2.1, Steps 10 through 13 | Additional language should be added to Step 10 to clarify that the ISO will issue a market notice to provide the required notification and will specify in the market notice the time at which the ISO will begin accepting the requests for remaining import capability in Step 11. Step 11 should be modified to provide that the assignment process is sequential and that Step 10 must be completed before a Scheduling Coordinator may submit a request under Step 11 for any remaining import capability, and that any requests received prior to the time stated in the market notice will not be honored by the ISO. Additional language should be added to Step 12 to clarify that the ISO will issue a market notice to provide the required notification and will specify in the market notice the time at which the ISO will begin accepting the requests for unassigned available import capability in Step 13. Step 13 should be modified to clarify provide that the assignment process is sequential and that Step 12 must be completed before a Scheduling Coordinator may submit a request under Step 13 for any unassigned available import capability, and that any requests received prior to the time stated in the market notice will not be honored by the ISO. | These changes are designed to prevent a Scheduling Coordinator from submitting a request early in the process in an effort to be first in line to be assigned the remaining or unassigned import capability and obtain an advantage over other Scheduling Coordinators who follow the sequential process. |
| 42.1.3 | Make “Bids” lowercase | This amendment changes the case of the word bids in the second sentence of section 42.1.3 to reflect the plain meaning of the word |
| 42.1.4 | Add "contracts" in first sentence. | This amendment makes a grammatical change to section 42.1.4. |
| 42.1.4 | Change the use of the defined term Bids to lower case bids. | This tariff amendment clarifies the ISO use of the term bids in this section pursuant to the plain meaning of the word as opposed to the meaning set forth in Appendix A of the tariff. |
| 43.2.3 | Replace reference to “Section 42.2.3” to “Section 43.2.3.” | This amendment corrects a typographical error. |
| 43.6.4 | Delete section. | This amendment eliminates a tariff requirement that the ISO include a summary of CPM costs in its operation report at each meeting of its Board of Governors. This information is available from monthly CPM reports published by the ISO and the tariff price for CPM capacity. |
| Appendix A | In the definition of “CAISO Audit Committee” – Delete “Article IV, Section 5 of . . .” | In 2010, the ISO revised its foundational corporate documents, including its bylaws and codes of conduct. Following those changes, the ISO’s codes of conduct are no longer exhibits to the ISO’s bylaws. It is necessary to change the definition of “CAISO Code of Conduct” to reflect that fact. The ISO has proposed a related revision to Section 22.6, to recognize both that the code of conduct is not part of the bylaws and that FERC no longer “approves” or “accepts” ISO codes of conduct as if they were rates within the meaning of Section 206. See generally California ISO v. FERC, 372 F.3d 395 (D.C. Cir. 2004). The ISO also proposes changes to the definition of “Audit Committee” to reflect the fact that the bylaw provisions creating that committee have moved within the bylaws. Finally, in Appendix P, which governs DMM, the ISO proposes to correct a typographical error in which the code of conduct for employees is not described properly. |
| Appendix A | In the definition for “CAISO Code of Conduct,” make changes as follows: - For employees, t The codes of conduct for officers, governors and employees approved by the CAISO Governing Board and substantially full-time consultants and contractors of the CAISO as set out in exhibit A to the CAISO bylaws; for governors, the code of conduct for governors of the CAISO as set out in exhibit B to the CAISO bylaws. | In 2010, the ISO revised its foundational corporate documents, including its bylaws and codes of conduct. Following those changes, the ISO’s codes of conduct are no longer exhibits to the ISO’s bylaws. It is necessary to change the definition of “CAISO Code of Conduct” to reflect that fact. The ISO has proposed a related revision to Section 22.6, to recognize both that the code of conduct is not part of the bylaws and that FERC no longer “approves” or “accepts” ISO codes of conduct as if they were rates within the meaning of Section 206. See generally California ISO v. FERC, 372 F.3d 395 (D.C. Cir. 2004). The ISO also proposes changes to the definition of “Audit Committee” to reflect the fact that the bylaw provisions creating that committee have moved within the bylaws. Finally, in Appendix P, which governs DMM, the ISO proposes to correct a typographical error in which the code of conduct for employees is not described properly. |
| Appendix A | In the definition of “Contingency Only,” change the word "Dispatched" to lowercase. | This amendment makes a typographical change to reflect the use of the plan meaning of the word dispatched as used in the definition of contingency Only. |
| Appendix A | In the definition “Critical Energy Infrastructure Information,” change the reference to "18 C.F.R. § 388.12" to "18 C.F.R. § 388.113" | This amendment corrects a reference to the Code of Federal Regulations in the definition of Critical Energy Infrastructure Information |
| Appendix A | In the definition of “Dispatch Interval,” capitalize the word "energy" in first sentence. | This amendment makes a change to reflect the use of a defined term in the definition of Dispatch Interval. |
| Appendix A | In the definition of “Eligible Customer,” make the first occurrence of "Federal" lowercase. | This amendment makes a typographical change to the definition of Eligible Customer. |
| Appendix A | In the definition of “Eligible Intermittent Resource,” remove the 1 MW limit from the definition | This amendment makes a conforming change to the definition of Eligible Intermittent Resources to reflect the fact that that resources less than 1 MW may qualify as Eligible Intermittent Resources under the ISO’s tariff. |
| Appendix A | In the definition of “Host Balancing Authority Area,” delete the words "subject to this CAISO tariff" | This amendment deletes unnecessary language in the definition of Host Balancing Authority Area. |
| Appendix A | In the definition of “Hourly Real-Time LAP Price,” capitalize the word "settlement." | This amendment corrects a typographical error to reflect the use of a defined term in the definition of Hourly Real-time LAP Price. |
| Appendix A | In the definition of “Hydro Spill Generation,” remove the hyphen between all instances of "Hydro-electric." | This amendment makes a typographical change to the definition of Hydro Spill Generation. |
| Appendix A | In the definition of “Identification Code” - add "or set of letters" after "identification number." | This amendment clarifies the definition of Identification Code to reflect current ISO business practices. |
| Appendix A | In the definition of “IFM Congestion Credit,” change the word "Congestions" to the singular. | This amendment makes a typographical change to the definition of IFM Congestion Credit. |
| Appendix A | In the definition of “IFM Marginal Losses Surplus Credit” - include minor grammatical revisions to make Scheduling Coordinator singular and include a missing article. | This amendment makes minor grammatical changes to the definition of IFM Marginal Losses Surplus Credit. |
| Appendix A | In the definition of “IFM MSS Price,” make the word "The" before "IFM LAP" lowercase. | This amendment makes a minor grammatical change to the definition of IFM MSS Price. |
| Appendix A | Add language to the definition of Incremental Change as follows: The change in dollar value of a specific Charge Code from the Recalculation Settlement Statement T+12B or T+55B Initial Settlement Statement T+7B to a subsequent Recalculation Settlement Statement including any new Charge Codes or Trading Day charges appearing for the first time on a Settlement Statement. | This amendment modifies the definition of Incremental Change to align with previously approved settlements process timeline changes. |
| Appendix A | Add a new defined term Interim Deliverability Status to read as follows “An interim designation that allows an Interconnection Customer that has requested Full Capacity Deliverability Status or Partial Capacity Deliverability Status to obtain non-zero Net Qualifying Capacity, as determined annually by the CAISO pursuant to the provisions of the CAISO Tariff and the applicable Business Practice Manual, pending the in-service date of all the required Network Upgrades required for its requested Deliverability Status.” | This amendment clarifies the use of an interim designation to allow resources with full or partial deliverability requests to offer resource adequacy capacity under an interim designation and as calculated in the ISO’s net qualifying capacity report on an annual basis. The ISO started to provide this accommodation to interconnection customers last year and both sellers and buyers of resource adequacy capacity have requested that the ISO adopt a defined term for this interim designation. |
| Appendix A | Revise definition of Intertie Block Bid to delete references to RUC Availability or Ancillary Services. | This amendment corrects an inadvertent error in the definition of Intertie Block Bid. |
| Appendix A | In the definition for “Load Serving Entity” - add a comma after "e.g." | This amendment makes a grammatical change to the tariff. |
| Appendix A | In the definition of “Local Furnishing Participating TO” - remove hyphen between "Tax" and "Exempt" | This amendment makes a grammatical change to the tariff |
| Appendix A | In the definition of “Market Clearing Price” - add an extra space after the end of the first sentence. | This amendment makes a formatting change to the tariff |
| Appendix A | In the definition of “Market Manipulation,” add "Market Manipulation" as the beginning of the definition. | This amendment makes a grammatical change to this definition to make the definition a complete |
| Appendix A | In the definition of “Market Violation,” change "Commission" to "FERC." | This amendment makes a change to conform the reference to the Federal Energy Regulatory Commission consistent with other provisions of the ISO tariff. |
| Appendix A | In the definition of “Meter Data,” make clear that the reference to “[e]nergy usage data” applies to load and generation. | This amendment makes a clarification to the definition of Meter Data to clarify it applies to both energy usage and generation data. |
| Appendix A | In the definition of “Metered Subsystem Agreement (MSS Agreement),” make "provision" plural | This amendment makes a grammatical change to the tariff. |
| Appendix A | In the definition of “Minimum Load,” change "Operating Level" to lowercase. | This amendment makes a change to reflect that the use of the plain meaning of the words “operating level” as opposed to the use of a defined term. The ISO tariff does not identify operating level as a defined term. |
| Appendix A | Nomogram – modify phrase, "NERC and WECC reliability standards, including any requirements of the NRC" to read, "NERC and WECC reliability standards and any requirements of the NRC." | This amendment clarifies that requirements of the Nuclear Regulatory Commission are separate requirements form NERC and WECC reliability standards. |
| Appendix A | Non-priced Quantity - Change "quick start capacity" to "Fast Start Unit capacity" and make other typographical changes. | This amendment makes conforming changes to the tariff to reflect the use of defined terms. |
| Appendix A | In the definition of “Operating Reserve,” modify phrase, "NERC and WECC reliability standards, including any requirements of the NRC" to read, "NERC and WECC reliability standards and any requirements of the NRC." | This amendment clarifies that requirements of the Nuclear Regulatory Commission are separate requirements form NERC and WECC reliability standards. |
| Appendix A | Modify proposed changes to the defined term Recalculation Settlement Statement as follows: - - Recalculation Settlement Statement The recalculation of a Settlement Statement in accordance with the provisions of the CAISO Tariff, which includes the Recalculation Settlement Statement 12B, Recalculation Settlement Statement T+3855B, the Recalculation Settlement Statement T+76B9M, the Recalculation Settlement Statement T+18M, the Recalculation Settlement Statement T+35M, the Recalculation Settlement Statement T+36M or any other Recalculation Settlement Statement authorized by the CAISO Governing Board. | This amendment conforms the definition of Recalculation Settlement Statement to previously approved settlements process timeline changes. |
| Appendix A | In the definition of “Recalculation Settlement Statement,” change the references to T+38B to refer to T+55B | As a result of the settlements process timeline change tariff amendments, T+38B no longer exists. |
| Appendix A | Modify proposed changes to the defined term Recalculation Settlement Statement T+7B as follows: - Recalculation Settlement Statement T+712B The reissue of an Initial Settlement Statement T+3B by the CAISO on the twelfth (12th) Business Day from the relevant Trading Day. A Settlement Statement generated by the CAISO for the calculation of Settlements for a given Trading Day, which is published on the seventh Business Day from the relevant Trading Day (T+7B) and is prior to the Invoice or Payment Advice published for the relevant bill period. | This amendment conforms the definition of Recalculation Settlement Statement T+12B to previously approved settlements process timeline changes. |
| Appendix A | In the definition of “Recalculation Settlement Statement T+38B,” change the references to T+38B to refer to T+55B | As a result of the settlements process timeline change tariff amendments, T+38B no longer exists. |
| Appendix A | Modify proposed changes to the defined term Recalculation Settlement Statement T+38B as follows: - Recalculation Settlement Statement T+3855B The reissue of a Recalculation Settlement Statement T+12B an Initial Settlement Statement T+3B by the CAISO on the fifty-fifth thirty-eighth (3855th) Business Day from the relevant Trading Day. | This amendment conforms the definition of Recalculation Settlement Statement T+38B to previously approved settlements process timeline changes. |
| Appendix A | In the definition of “Recalculation Settlement Statement T+76B,” change the references to T+38B to refer to T+55B | As a result of the settlements process timeline change tariff amendments, T+38B no longer exists. |
| Appendix A | Modify proposed changes to the defined term Recalculation Settlement Statement T+76B as follows: Recalculation Settlement Statement T+9M76B The reissue of a Recalculation Settlement Statement T+55B an Initial Settlement Statement T+3B or a Recalculation Settlement Statement T+38B by the CAISO nine (9) calendar months after the Trading Day (T+9M) on the one hundred and ninety-fourth (194th) Business Day from the relevant Trading Day. on the seventy-sixth (76th) Business Day from the relevant Trading Day (T+76B). | This amendment conforms the definition of Recalculation Settlement Statement T+76B to previously approved settlements process timeline changes. |
| Appendix A | In the definition of “Recalculation Settlement Statement T+18M,” change the references to T+38B to refer to T+55B | As a result of the settlements process timeline change tariff amendments, T+38B no longer exists. |
| Appendix A | Modify proposed changes to the defined term Recalculation Settlement Statement T+18M as follows: - Recalculation Settlement Statement T+18M The reissue of an Initial Settlement Statement T+3B, a Recalculation Settlement Statement T+3855B, or a Recalculation Settlement Statement T+9M76B, or an Unscheduled Reissue Recalculation Settlement Statement by the CAISO on the Business Day eighteen (18) calendar months after the Trading Day (T+18M) on the three hundred and eighty third (383rd) Business Day from the relevant Trading Day (T+18M). | This amendment conforms the definition of Recalculation Settlement Statement T+18M to previously approved settlements process timeline changes. |
| Appendix A | In the definition of “Recalculation Settlement Statement T+35M,” change the references to T+38B to refer to T+55B | As a result of the settlements process timeline change tariff amendments, T+38B no longer exists. |
| Appendix A | Modify proposed changes to the defined term Recalculation Settlement Statement T+35M as follows: - Recalculation Settlement Statement T+35M The reissue of an Initial Settlement Statement T+3B, a Recalculation Settlement Statement T+3855B, a Recalculation Settlement Statement T+9M76B, or a Recalculation Settlement Statement T+18M, or an Unscheduled Reissue Recalculation Settlement Statement by the CAISO on the Business Day thirty-five (35) calendar months after Trading Day (T+35M) on the seven hundred and thirty seventh (737th) Business Day from the relevant Trading Day (T+35M). | This amendment conforms the definition of Recalculation Settlement Statement T+35M to previously approved settlements process timeline changes. |
| Appendix A | In the definition of “Recalculation Settlement Statement T+36M,” change the references to T+38B to refer to T+55B | As a result of the settlements process timeline change tariff amendments, T+38B no longer exists. |
| Appendix A | Modify proposed changes to the defined term Recalculation Settlement Statement T+36M as follows: - Recalculation Settlement Statement T+36M The reissue of an Initial Settlement Statement T+3B, a Recalculation Settlement Statement T+3855B, a Recalculation Settlement Statement T+18M or a Recalculation Settlement Statement T+35M by the CAISO on the Business Day thirty-six (36) calendar months after Trading Day (T+36M) on the seven hundred and fifty-ninth (759th) Business Day from the relevant Trading Day (T+36M). | This amendment conforms the definition of Recalculation Settlement Statement T+36M to previously approved settlements process timeline changes. |
| Appendix A | In the definition of “Regulation,” modify phrase, "NERC and WECC reliability standards, including any requirements of the NRC" to read, "NERC and WECC reliability standards and any requirements of the NRC." | This amendment clarifies that requirements of the Nuclear Regulatory Commission are separate requirements form NERC and WECC reliability standards. |
| Appendix A | Revise the definition of “Regulatory Must-Run Generation” to reflect applicable qualification requirements | This amendment clarifies existing business requirements to qualify as Regulatory Must-Run Generation. |
| Appendix A | In the definition of Settlement Statement, change the references to T +7B. T+38B, and T+76B read T+12B, T+55B, T+9M, respectively. | This amendment conforms the definition of Settlement Statement to previously approved settlements process timeline changes. |
| Appendix A | In the definition of “Standard Large Generator Interconnection Agreement (LGIA),” remove the word "Standard" from title. | This amendment makes a change to reflect usage of this defined tem throughout the tariff. |
| Appendix A | In the definition of “Standard Large Generator Interconnection Procedures (LGIP),” remove "Standard" from title and change "is" to "are." | This amendment makes a change to reflect usage of this defined tem throughout the tariff and makes a grammatical correction |
| Appendix A | In the definition of “Start-Up Cost,” revise "minimum operating level" to “Minimum Load.” | This amendment changes a definition of Start-Up cost to incorporate the use of a defined term -Minimum Load - from the ISO tariff. |
| Appendix A | In the definition of “State Commission,” - make two occurrences of "State" lower-case. | This amendment makes a grammatical change to the definition of State Commission. |
| Appendix B.1 | Add "that" after "however," in second line of Section 3.2 | This amendment makes a grammatical change to pro forma scheduling coordinator agreement in the ISO tariff. |
| Appendix B.2 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B3 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B4 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B5 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B6 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B7 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B8 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B9 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B10 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B11 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B11 | Add "that" after "however," in second line of Section 3.2 | This amendment makes a grammatical change to pro forma scheduling coordinator agreement in the ISO tariff. |
| Appendix B.11 | Revise last 3 sentences of Section 11.9 to change reference to the Federal Energy Regulatory Commission and correct reference to schedules | This amendment makes a conforming usage change to Section 11.9 of the pro forma CRR entity agreement and corrects a reference to Schedule 2, which the ISO proposes to delete. |
| Appendix B.11 | Delete Schedule 2 relating to the CRR entity’s settlement account. | This amendment proposes to delete Schedule 2 of the pro forma CRR entity agreement because the ISO’s current business practice is not to include this financial information as part the agreement. |
| Appendix B12 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B.12 | Add "that" after "however," in second line of Section 3.2 | This amendment makes a grammatical change to pro forma scheduling coordinator agreement in the ISO tariff. |
| Appendix B.12 | Revise last 3 sentences of Section 11.9 to change reference to the Federal Energy Regulatory Commission and correct reference to schedules | This amendment makes a conforming usage change to Section 11.9 of the pro forma MSS Aggregator CRR entity agent agreement and corrects a reference to Schedule 2, which the ISO proposes to delete. |
| Appendix B.12 | Delete Schedule 2 | This amendment proposes to delete Schedule 2 of the pro forma MSS Aggregator CRR entity agreement because the ISO’s current business practice is not to include this financial information as part the agreement. |
| Appendix B13 | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B14 | Delete ISO address on page 2 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B15 | Delete ISO address on page 2 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix B16 | Delete ISO address on page | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix F, Schedule 1 Part C | Change “5%” to “2%” in Part C. | Change was only made in Part B, but was supposed to be made in both Parts B & C as part of the ISO’s tariff amendment I ER11-4000, which FERC approved in September 2000. 136 FERC ¶ 61,236. |
| Appendix F, Schedule 1 Part C | "Costs Recovered through the GMC" - The phrase “CAISO Operating Reserve Credit” is not a defined term and is should be replaced with “CAISO Operating Cost Reserve adjustment” consistent with the definition in Appendix A and the Part C, paragraph (4) description of the CAISO Operating Cost Reserve. | This amendment makes conforming change to the Appendix F, Part C to reflect the use of defined terms in the ISO tariff. |
| Appendix F, Schedule 1 Part C | In the very last sentence of Part C, the reference to “Part E” should be to “Part A.” | This amendment corrects a typographical error in Appendix F, Part C. |
| Appendix G | Change blank for year reference from “19__” to “20__” on page 1 | This amendment makes a minor change to Appendix G to reflect the current century. |
| Appendix G | Update Notice addresses in Schedule J (replace Blue Ravine Rd. address with Outcropping Way address) | This amendment modifies the physical address for the ISO. |
| Appendix K Part A9 | In the second sentence, modify “two (2) Business Days” to “three (3) Business Days.” | This amendment modifies Appendix K, Part A9 to reflect current ISO business practices. |
| Appendix K | Delete Part D | This amendment deletes the tariff provisions relating to certification of resources to provide voltage support as an ancillary service. The ISO’s business practices currently do not include processes to certify resources to provide voltage support as an ancillary service. |
| Appendix L, Section L.1.1 | In the second paragraph of this section, delete the phrase “less applicable operating Transmission Constraints due to system conditions and Outages (i.e. OTC)” | This change updates the tariff description of ATC to conform to applicable NERC Reliability Standards. |
| Appendix L, Section L.1.2 | Delete the phrase “and the WECC Operating Transfer Capability Policy Committee (OTCPC)”. Add the word “system” before the word “path” in the last clause of the section. | The reference to the WECC OTCPC is deleted because that committee no longer exists as a WECC entity. The addition of the word “system” updates the description of the applicable methodology so that it conforms with the terminology used by NERC in Reliability Standard MOD-029. |
| Appendix L, Section L.1.5 | In third paragraph, correct misspelling of the word “identified”. | Correction of typographical error. |
| Appendix L, Section L.2 | In the last sentence of this section, replace “calculational” with “calculation”. | Correction of typographical error. |
| Appendix L, Section L.4.1.2 | Delete the phrase “as one of four sub regional study groups of the WECC OTCPC (i.e., for California sub-region)” | The phrase is deleted because the WECC OTCPC no longer exists as a WECC entity. Although the Operating Studies Subcommittee continues to exist as a non-WECC entity, it is no longer a sub-regional study group of the (no longer existing) WECC OTCPC. |
| Appendix L, Section L.4.3 | Delete the word “RTE” from the last line of this section. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology. |
| Appendix L, Section L.4.3.1 | In the last sentence of the section, replace the words “N-1 worst” with “the worst credible contingency” | This change is a clarification of terminology that is made in order to track the terminology used in existing WECC standards and criteria. |
| Appendix L, 4.3.1 | Change the use of the word worst to the words most limiting. | This amendment makes a word usage change to better describe limits to the transfer capability of the transmission network. |
| Appendix L, Section L.5.2 | Delete this section. | This change reflects current ISO practices for seasonal and daily planning which, consistent with applicable NERC and WECC standards and criteria, do not separate power flow base cases into sub-regions. |
| Appendix L, Section L.5.3 | Delete this section. | This change reflects current ISO practices for seasonal and daily planning which, consistent with applicable NERC and WECC standards and criteria, do not separate power flow base cases into sub-regions. |
| Appendix L, Section L.5.4 | Revise the beginning of the first sentence by deleting the phrase “After the RTE has obtained one or more base case studies,” and replacing it with “The selected”. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology. |
| Appendix L, Section L.5.4.1 | Replace references to “RTE” with “CAISO”. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology. |
| Appendix L, Section 5.4.2 | Replace the references to “RTE” with “CAISO”. Revise the first clause of the last sentence of this section to read: “Once the appropriate Load levels are determined,” | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology. |
| Appendix L, Section 5.4.3 | Replace the references to “RTE” with “CAISO”. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology. |
| Appendix L, Section L.5.4.4 | Replace the references to “RTE” with “CAISO”. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology. |
| Appendix L, Section L.5.4.5 | Replace the references to “RTE” with “CAISO”. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology. |
| Appendix L, Section L.6 | At the beginning of the first sentence, replace the phrase “The RTE will perform Contingency analysis studies” with “Contingency analysis studies are performed”. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology. |
| Appendix L, Section L.6.1 | Replace the references to “RTE” with “CAISO”. Delete all of the language at the end of this Section beginning with the phrase “The RTE models the following Contingencies” through the list of bullet points and sub-bullet points appearing thereafter. Replace the deleted language with the following sentence: “The CAISO simulates the appropriate Contingencies as required by applicable NERC and WECC Reliability Standards and criteria.” | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology. The replacement of the language at the end of this section is made to ensure that the tariff remains consistent with applicable NERC and WECC standards and criteria as they may be revised by WECC or NERC over time. |
| Appendix L, Section L.6.2 | Replace the references to “RTE” with “CAISO”. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology. |
| Appendix L, Section L.6.3 | Replace the references to “RTE” with “CAISO”. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology. |
| Appendix L, Section L.6.4 | Replace the references to “RTE” with “CAISO”. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology |
| Appendix L, Section L.7 | Replace the references to “RTE” with “CAISO”. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology |
| Appendix L, Section L.8 | Replace the references to “RTE” with “CAISO”. | RTE was an abbreviation for an ISO “Regional Transmission Engineer”. The responsibilities set forth in this section are not performed solely by employees in that job function. The term “Regional Transmission Engineer” was removed from Appendix L in an earlier tariff amendment, but the references to the acronym were not eliminated. To conform to the prior revision and account for the fact that the functions described herein are not performed solely by persons with this job title, references to RTE throughout Appendix L are being replaced with more generic terminology |
| Appendix P | Section 9.8 – Delete “Employee” and add “for employees” after “Code of Conduct” | In 2010, the ISO revised its foundational corporate documents, including its bylaws and codes of conduct. Following those changes, the ISO’s codes of conduct are no longer exhibits to the ISO’s bylaws. It is necessary to change the definition of “CAISO Code of Conduct” to reflect that fact. The ISO has proposed a related revision to Section 22.6, to recognize both that the code of conduct is not part of the bylaws and that FERC no longer “approves” or “accepts” ISO codes of conduct as if they were rates within the meaning of Section 206. See generally California ISO v. FERC, 372 F.3d 395 (D.C. Cir. 2004). The ISO also proposes changes to the definition of “Audit Committee” to reflect the fact that the bylaw provisions creating that committee have moved within the bylaws. Finally, in Appendix P, which governs DMM, the ISO proposes to correct a typographical error in which the code of conduct for employees is not described properly. |
| Appendix Q | Section 4.1 - Add "(15)" after "fifteen" and "(30)" after "thirty) | This amendment makes a conforming usage change to Section 4.1 of Appendix Q. |
| Appendix T Page 1 | Correct and update the SGIA Page 1 of Appendix T, “Participating TO Information” – add “E-mail:” line to information block | The amendment makes a conforming usage change to Appendix T |
| Appendix T | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix T Page 1 | Changes address in contact information. | This amendment corrects out-of-date ISO contact information |
| Appendix T Page 1 | Page 1 of Appendix T, Interconnection Customer Information section – change “Interconnection Customer Application” to “Interconnection Customer Queue Position Number” | This amendment more accurately describes the information requested by this agreement. |
| Appendix T Section 1.1 | Section 1.1 – directly following “contained in GIP” in the first sentence, replace “Attachment 5” with “Appendix 7” | This amendment reflects the correct section name in the GIP. |
| Appendix T Section 1.5.5 | Section 1.5.5 – in the second sentence, capitalize “Point of Change of Ownership.” | This amendment reflects the proper use of capitalization of a defined term. |
| Appendix T Section 1.8.1 | Section 1.8.1 – in the last sentence, replace “wind” with “ascynchronous” | This amendment aligns this section with the revised Attachment 7 from the GIP-2 FERC filing. |
| Appendix T Section 1.8.2 | Section 1.8.2 – in the third line, capitalize “Article” before 1.8.1 | This amendment reflects the proper use of capitalization of a section reference. |
| Appendix T Section 3.2 | Section 3.2 – in the last line, capitalize “Article” before 3.3 | This amendment reflects the proper use of capitalization of a section reference. |
| Appendix T Section 3.3.2 | Section 3.3.2 – in the last line, capitalize “Article” before 7.6 | This amendment reflects the use of capitalization of a section reference |
| Appendix T Section 3.4.3 | Section 3.4.3 – in the second line, capitalize “Interconnection Service” | This amendment reflects the use of capitalization of a defined term. |
| Appendix T Section 3.4.4 | Section 3.4.4 – in the last line, capitalize “Article” before 3.4.1 | This amendment reflects the use of capitalization of a section reference |
| Appendix T Section 5.3 | Section 5.3 – in the first line, insert “calendar” after “(30)” | This amendment provides clarification of the election notice period. |
| Appendix T Section 5.3.1.1 | Section 5.3.1.1 – in the first sentence, insert “Small” before “Generating Facility”. | This amendment clarifies the type of Facility governed by this agreement and maintains consistency with the purpose of the SGIA. |
| Appendix T Section 5.3.1.2 (a) | Section 5.3.1.2 (a) – insert “Small” before “Generating Facility”. | This amendment clarifies the type of Facility governed by the Agreement and maintains consistency with the purpose of the SGIA. |
| Appendix T Section 5.3.1.2 (b) | Section 5.3.1.2 (b) – insert “Small” before “Generating Facility”. | This amendment clarifies the type of Facility governed by the Agreement and maintains consistency with the purpose of the SGIA. |
| Appendix T Section 5.3.1.2 (g) | Section 5.3.1.2 (g) – first paragraph, insert “Small” before “Generating Facility”. | This amendment clarifies the type of Facility governed by the Agreement and maintains consistency with the purpose of the SGIA. |
| Appendix T Section 5.3.1.2 (g) | Section 5.3.1.2 (g) – second paragraph, insert “Small” before “Generating Facility”. | This amendment clarifies the type of Facility governed by the Agreement and maintains consistency with the purpose of the SGIA. |
| Appendix T Section 5.3.1.2 (g) | Section 5.3.1.2 (g) – third paragraph, capitalize “Party” | This amendment reflects the use of capitalization of a defined term. |
| Appendix T Section 5.3.1.4 | Section 5.3.1.4 - insert missing language to “Failure to Achieve Commercial Operation” section | This amendment replaces language erroneously omitted from the tariff. |
| Appendix T Section 6.1.2 | Section 6.1.2 - insert “thirty” before “30” in last sentence and insert parenthesis around “30” | This amendment maintains format consistency in referring to numbers in this agreement. |
| Appendix T Section 6.2 | Section 6.2 - capitalize “Article” before 7.5.1 | This amendment reflects the use of capitalization to refer to another section of this agreement. |
| Appendix T Section 6.3 | Section 6.3 – insert “Interconnection” into section title | This amendment clarifies the type of security referenced in this section. The tariff appendix Y still refers to Interconnection Financial Security. Interconnection Financial Security and Financial Security are not interchangeable using the tariff Appendix A definition. |
| Appendix T Section 6.4 | Section 6.4 – insert “Interconnection” into section title | This amendment clarifies the type of security referenced in this section. The tariff appendix Y still refers to Interconnection Financial Security. Interconnection Financial Security and Financial Security are not interchangeable using the tariff Appendix A definition. |
| Appendix T Section 6.4.2 | Section 6.4.2 – insert “Interconnection” before “Financial Security | This amendment clarifies the type of security referenced in this section. The tariff appendix Y still refers to Interconnection Financial Security. Interconnection Financial Security and Financial Security are not interchangeable using the tariff Appendix A definition. |
| Appendix T Section 12.2 | Section 12.2 - capitalize “Article” before 12.2 | This amendment reflects the use of capitalization for a section reference |
| Appendix T Section 13.1 | Section 13.1 – insert “Corporation” after “Operator” and remove “141 Blue Ravine Road” and replace with “250 Outcropping Way.” | This amendment reflects the correct company name and current address. |
| Appendix T Section 13.3 | Section 13.3 – insert “Corporation” after “Operator” and remove “141 Blue Ravine Road” and replace with “250 Outcropping Way.” | This amendment reflects the correct company name and current address. |
| Appendix T Section 13.4 | Section 13.4 – insert “Corporation” after “Operator” and remove “141 Blue Ravine Road” and replace with “250 Outcropping Way.” | This amendment reflects the correct company name and current address. |
| Appendix T Article 14 | Article 14 – Insert “Corporation” after “Operator” in company name in the first signature block. | This amendment reflects the correct company name. |
| Appendix T Article 14 | Article 14 – Insert “By” just above “Name” in all three signature blocks. | This amendment provides for written signatures of company signatories in addition to printed names. |
| Appendix T Attachment 1 | In Attachment 1 – insert definitions for “CAISO Controlled Grid” and “CAISO Tariff” between “Commercial Operation Date” and “Default.” | This amendment formats definitions in alphabetical order. |
| Appendix T Attachment 1 | In Attachment 1 – insert definition for “Generating Facility” between “Distribution Upgrades” and “Good Utility Practice.” | This amendment formats of definitions in alphabetical order. |
| Appendix T Attachment 1 | In Attachment 1 – insert “Small” before “Generating Facility” at beginning and end of definition. | This amendment clarifies the type of Facility that is relative to the SGIA and the Glossary of Terms. |
| Appendix T Attachment 7 - Title | In Attachment 7 – insert “Small” before “Generating Facility” in title of Attachment | This amendment will provide clarification of the type of Facility that is relative to the SGIA and the Glossary of Terms. |
| Appendix T Attachment 7 Section Ai.4 | In Attachment 7 – in item number 4 of Section A, sub-Section (i), replace “”Appendix H” with “Attachment 7” in line 2 and replace “Appendix” with “Attachment” at end of sentence. | This amendment modifies language to refer to an Attachment. |
| Appendix T Attachment 7 Section Ai.5 | In Attachment 7 – in item number 5 of Section A, sub-section (i), replace “”Appendix H” with “Attachment 7” | This amendment modifies language to refer to an Attachment. |
| Appendix T Attachment 7 Section Ai.7 | In Attachment 7 – in item number 7 of Section A, sub-section replace “Appendix H” with “Attachment 7.” | This amendment will provide for missing language and corrections of Section and Attachment references. |
| Appendix T Attachment 7 Section Ai.8 | In Attachment 7 – in item number 8 of Section A, sub-section (i), replace “Appendix H” with “Attachment 7.” | This amendment modifies language to refer to an Attachment. |
| Appendix T Attachment 7 Section Aiii | In Attachment 7 – Section A, sub-section (iii), delete “and Operating Requirements” from title and replace with “Criteria.” | This amendment provides for missing title language that more accurately describes the contents of that sub-section. |
| Appendix U | Update overnight Notice address in Appendix 1 (replace Blue Ravine Rd. address with Outcropping Way address) | This amendment modifies the physical address for the ISO. |
| Appendix U | Update Notice addresses in Appendix 7 Attachment B (replace Blue Ravine Rd. address with Outcropping Way address) | This amendment modifies the physical address for the ISO. |
| Appendix V, Serial LGIA, TABLE OF CONTENTS: | Replace reference TO “QF PGA with “Net Scheduled PGA” | This amendment deletes the definitions of QF PGA and Qualifying Facility which the ISO has replaced with Net Scheduled PGA and Net Scheduled Generating Unit, respectively, consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See, California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012.) |
| Appendix V, Serial LGIA, Article 1 | Delete definition of QF PGA | This amendment deletes the definition of QF PGA which the ISO has replaced with Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix V, Serial LGIA, Article 1 | Delete definition of Qualifying Capacity | This amendment deletes the definition of Qualifying Facility which the ISO has replaced with Net Scheduled Generating Unit consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix V, Serial LGIA, Article 1 | Add definition of New Scheduled PGA as follows: Net Scheduled PGA shall mean a Net Scheduled Participating Generator Agreement specifying the special provisions for the operating relationship between a Net Scheduled Generating Unit and the CAISO, a pro forma version of which is set forth in Appendix B.3 of the CAISO Tariff. | This amendment adds the definition of Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix V, Serial LGIA, Article 1 | Add definition of Net Scheduled Generating Unit Net Scheduled Generating Unit shall mean a Generating Unit identified in a Net Scheduled PGA operated as a single unit such that the Energy bid or self-schedule with the CAISO is the net value of the aggregate electrical net output of the Generating Unit and the Self-provided Load. | This amendment adds the definition of Net Scheduled Generating Unit consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix V, Serial LGIA, Article 3.4 | Replace the reference to “Qualifying Facility” with “Net Scheduled Generating Unit” | This amendment modifies the reference to Qualifying Facility with Net Scheduled Generating Unit consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix V, Serial LGIA, Article 3.4 | Replace references to “QF PGA” with “Net Scheduled PGA” | This amendment modifies references to QF PGA with Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix BB, Serial LGIA, TABLE OF CONTENTS: | Replace reference to “QF PGA with “Net Scheduled PGA” | This amendment modifies references to QF PGA with Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix BB, Serial LGIA, Article 1 | Delete definition of QF PGA. | This amendment deletes the definition of QF PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix BB, Serial LGIA, Article 1 | Delete Definition of Qualifying Facility | This amendment deletes the definition of Qualifying Facility consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix BB, Serial LGIA, Article 1 | Add definition of New Scheduled PGA as follows: Net Scheduled PGA shall mean a Net Scheduled Participating Generator Agreement specifying the special provisions for the operating relationship between a Net Scheduled Generating Unit and the CAISO, a pro forma version of which is set forth in Appendix B.3 of the CAISO Tariff. | This amendment adds the definition of Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix BB, Serial LGIA, Article 1 | Add definition of Net Scheduled Generating Unit Net Scheduled Generating Unit shall mean a Generating Unit identified in a Net Scheduled PGA operated as a single unit such that the Energy bid or self-schedule with the CAISO is the net value of the aggregate electrical net output of the Generating Unit and the Self-provided Load. | This amendment adds the definition of Net Scheduled Generating Unit consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix BB, Serial LGIA, Article 3.4 | Replace the reference to “Qualifying Facility” with “Net Scheduled Generating Unit” | This amendment modifies the reference to Qualifying Facility with Net Scheduled Generating Unit consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix BB, Serial LGIA, Article 3.4 | Replace references to “QF PGA” with “Net Scheduled PGA” | This amendment modifies references to QF PGA with Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix CC, Serial LGIA Table of contents: | Replace references to “QF PGA” with “Net Scheduled PGA” | This amendment modifies references to QF PGA with Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix CC Article 1, “Interconnection Study” Section (i) | Modify the words Cluster Study Process to make them lower case. | “Cluster Study Process” is not a defined term under the ISO’s tariff or large generator interconnection agreement. |
| Appendix CC Article 1, “Interconnection Study” Section (ii) | Modify the words System Impact Study to make them lower case. | “System Impact Study” is not a defined term under the ISO’s tariff or large generator interconnection agreement. |
| Appendix CC Article 1, “Interconnection Study” Section (i) | Replace “.” after “Procedures” on second line with “,”. | This amendment corrects a typographical error. |
| Appendix CC, Serial LGIA Article 1 | Delete definition of QF PGA | This amendment deletes the definition of QF PGA which the ISO has replaced with Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix CC, Serial LGIA Article 1 | Delete definition of Qualifying Facility. | This amendment deletes the definition of Qualifying Facility consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix CC, Serial LGIA Article 1 | Add definition of New Scheduled PGA as follows: Net Scheduled PGA shall mean a Net Scheduled Participating Generator Agreement specifying the special provisions for the operating relationship between a Net Scheduled Generating Unit and the CAISO, a pro forma version of which is set forth in Appendix B.3 of the CAISO Tariff. | This amendment adds the definition of Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix CC, Serial LGIA Article 1 | Add definition of Net Scheduled Generating Unit Net Scheduled Generating Unit shall mean a Generating Unit identified in a Net Scheduled PGA operated as a single unit such that the Energy bid or self-schedule with the CAISO is the net value of the aggregate electrical net output of the Generating Unit and the Self-provided Load. | This amendment adds the definition of Net Scheduled Generating Unit consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix CC, Serial LGIA Article 3.4 | Replace the reference to “Qualifying Facility” with “Net Scheduled Generating Unit” | This amendment modifies the reference to Qualifying Facility with Net Scheduled Generating Unit consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix CC, Serial LGIA Article 3.4 | Replace references to “QF PGA” with “Net Scheduled PGA” | This amendment modifies references to QF PGA with Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix CC Article 5.5.1. | Delete the word facilities in the following defined term: Generator Interconnection Facilities Study Process Agreement | This amendment corrects the use of a defined term in Appendix CC. |
| Appendix CC Article 5, Section 5.16 (iii) | Modify the reference to Phase II study report with Phase II Interconnection Study Report and capitalize words. | This amendment corrects the use of a define term in Appendix CC. |
| Appendix CC Article 5, Section 5.16 (iii) | Replace the word Section in the last line with the world Article. | This amendment corrects an inter-textual reference. |
| Appendix CC Article 11, Section 11.3 | Capitalize the words Queue Clusters in next to last sentence. | This amendment modifies capitalization to reflect the use of a defined term. |
| Appendix CC, 11.4.1 | Remove reference to in-service date requirement for repayment of amounts funded by non-phased generating facilities for network upgrade costs as follows: Upon the Commercial Operation Date of a Generating Facility that is not a Phased Generating Facility, and the in-service date of the corresponding Network Upgrades, the Interconnection Customer shall be entitled to a repayment, equal to the total amount paid to the Participating TO for the costs of Network Upgrades for which it is responsible, as set forth in Appendix G. | This amendment clarifies between Section 12.3.2.1 of the ISO’s Generator Interconnection Procedures (Appendix Y) which does not state that network upgrades must be in-service in order for non-phased generating facilities to be eligible for repayment, and Appendix CC Large Generator Interconnection Agreement, which does. After consulting with stakeholders, the ISO determined that the most appropriate outcome is to remove the “in-service” requirement from Section 11.4.1 of Appendix CC in order to clarify that non-phased generating facilities that interconnect under Appendix Y and Appendix CC are eligible for repayment of network upgrade costs upon achieving commercial operation. |
| Appendix CC Article 11, Section 11.4.1.1 | Insert section heading “11.4.1.1” and “Not Used” just above Section 11.4.1.2 to avoid gap in section numbering sequence. | This amendment corrects the sequencing of section numbers. |
| Appendix CC Article 11, Section 11.4.1.2 (e) | Capitalize the word parties in the first line. | This amendment modifies capitalization to reflect the use of a defined term. |
| Appendix CC Article 11, Section 11.4.1.2 | Change the follow to non-italic and capitalize the word breach: [If the Interconnection Customer completes one or more phases and then breaches the LGIA, the Participating TO and the CAISO shall be entitled to offset any losses or damages resulting from the breach against any repayments made for Network Upgrades related to the completed phases.] | This amendment modifies the font of language in Appendix CC and changes capitalization of the word breach to reflect the use of a defined term. |
| Appendix CC Article 11, Section 11.4.1.3 | Replace the word “person” with “entity” at the end of the last sentence. | This amendment corrects a usage error. |
| Appendix CC Article 11, Section 11.5.1 | Insert the word Interconnection before the words Financial Security twice in the first sentence. | This amendment corrects the use of a defined term. |
| Appendix CC Article 18, Section 18.3.9 | Change the words each Party to the Participating TO and the Interconnection Customer in the following sentence: Within ten (10) Calendar Days following execution of this LGIA, and as soon as practicable after the end of each fiscal year or at the renewal of the insurance policy and in any event within ninety (90) Calendar Days thereafter, each Party shall provide certification of all insurance required in this LGIA, executed by each insurer or by an authorized representative of each insurer. | This amendment clarifies that the participating transmissions owner and interconnection customer, not the ISO, are the entities that provide documentation required by Article 18.3. |
| Appendix CC Article 18, Section 18.3.10 (c) | Insert subsection marker “c)” at beginning of last paragraph and make the word In lowercase at the beginning of subsection c). | This amendment corrects a typographical error. |
| Appendix CC Article 30, Signature block at end of the agreement | Add a “Name” line between “By” and “Title” in each signature block. | This amendment makes a formatting change to Appendix CC. |
| Appendix DD, Section 8.9.2 | In Section 8.9.2- change the reference in the first sentence from Section 8.9.1.1 to Section 8.9.1. | This amendment corrects a typographical error in the tariff. |
| Appendix EE, Serial LGIA, Table of Contents | Replace references to “QF PGA” with “Net Scheduled PGA” | This amendment modifies references to QF PGA with Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix EE Article 1, “Interconnection Study” Section (i) | Modify the words Cluster Study Process to make them lower case. | “Cluster Study Process” is not a defined term under the ISO’s tariff or large generator interconnection agreement. |
| Appendix EE Article 1, “Interconnection Study” Section (ii) | Modify the words System Impact Study to make them lower case. | “System Impact Study” is not a defined term under the ISO’s tariff or large generator interconnection agreement. |
| Appendix EE, Serial LGIA, Article 1 | Delete definition of QF PGA | This amendment deletes the definition of QF PGA which the ISO has replaced with Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix EE, Serial LGIA, Article 1 | Delete definition of Qualifying Facility. | This amendment deletes the definition of Qualifying Facility consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix EE, Serial LGIA, Article 1 | Add definition of New Scheduled PGA as follows: Net Scheduled PGA shall mean a Net Scheduled Participating Generator Agreement specifying the special provisions for the operating relationship between a Net Scheduled Generating Unit and the CAISO, a pro forma version of which is set forth in Appendix B.3 of the CAISO Tariff. | This amendment adds the definition of Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix EE, Serial LGIA, Article 1 | Add definition of Net Scheduled Generating Unit Net Scheduled Generating Unit shall mean a Generating Unit identified in a Net Scheduled PGA operated as a single unit such that the Energy bid or self-schedule with the CAISO is the net value of the aggregate electrical net output of the Generating Unit and the Self-provided Load. | This amendment adds the definition of Net Scheduled Generating Unit consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix EE, Serial LGIA, Article 3.4 | Replace the reference to “Qualifying Facility” with “Net Scheduled Generating Unit” | This amendment modifies the reference to Qualifying Facility with Net Scheduled Generating Unit consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix EE, Serial LGIA, Article 3.4 | Replace references to “QF PGA” with “Net Scheduled PGA” | This amendment modifies references to QF PGA with Net Scheduled PGA consistent with the ISO’s tariff amendment in FERC Docket ER12-2634. (See California Independent System Operator Corp., Order Approving Tariff Amendments in ER12-2634 (November 2012). |
| Appendix EE Article 5.5.1. | Delete the word facilities in the following defined term: Generator Interconnection Facilities Study Process Agreement | This amendment corrects the use of a defined term in Appendix CC. |
| Appendix EE Article 5, Section 5.16 (iii) | Modify the reference to Phase II study report with Phase II Interconnection Study Report and capitalize words. | This amendment corrects the use of a define term in Appendix CC. |
| Appendix EE Article 5, Section 5.16 (iii) | Replace the word Section in the last line with the world Article. | This amendment corrects an inter-textual reference. |
| Appendix EE, Article 11, Section 11.3 | Capitalize the words Queue Clusters in next to last sentence. | This amendment modifies capitalization to reflect the use of a defined term. |
| Appendix EE, 11.4.1 | Remove reference to in-service date requirement for repayment of amounts funded by non-phased generating facilities for network upgrade costs as follows: Upon the Commercial Operation Date of a Generating Facility that is not a Phased Generating Facility, and the in-service date of the corresponding Network Upgrades, the Interconnection Customer shall be entitled to a repayment, equal to the total amount paid to the Participating TO for the costs of Network Upgrades for which it is responsible, as set forth in Appendix G. | This amendment clarifies between Section 14.3.2.1 of the ISO’s Generator Interconnection Procedures (Appendix DD) which does not state that network upgrades must be in-service in order for non-phased generating facilities to be eligible for repayment, and Appendix EE Large Generator Interconnection Agreement, which does. After consulting with stakeholders, the ISO determined that the most appropriate outcome is to remove the “in-service” requirement from Section 11.4.1 of Appendix EE in order to clarify that non-phased generating facilities that interconnect under Appendix DD and Appendix EE are eligible for repayment of network upgrade costs upon achieving commercial operation. |
| Appendix EE Article 11, Section 11.4.1.2 (e) | Capitalize the word Parties in the first line. | This amendment modifies capitalization to reflect the use of a defined term. |
| Appendix EE Article 11, Section 11.4.1.2 | Capitalize the word breach in the second to last paragraph. | This amendment modifies capitalization to reflect the use of a defined term. |
| Appendix EE Article 11, Section 11.4.1.2 | In the middle of paragraph in (1): add “y” to “b” following “on the date” | This amendment corrects a typographical error. |
| Appendix EE Article 11, Section 11.4.1.3 | Replace the word “person” with “entity” at the end of the last sentence. | This amendment corrects a usage error. |
| Appendix EE Article 11, Section 11.5.1 | Insert the word Interconnection before the words Financial Security twice in the first sentence. | This amendment corrects the use of a defined term. |
| Appendix EE Article 18, Section 18.3.10 (c) | Make the word In lowercase at the beginning of subsection (c). | This amendment corrects a typographical error. |
| Appendix EE Article 30 Signature block at end of the agreement | Add a “Name” line between “By” and “Title” in each signature block. | This amendment makes a formatting change to Appendix EE. |
| Appendix FF Page 1 | Change header “Appendix EE” to “Appendix FF.” | This amendment corrects a typographical error in the tariff. |
| Appendix FF Page 1 | Correct and update the SGIA Page 1 of Appendix FF, “Participating TO Information” – add “E-mail:” line to information block | The amendment makes a conforming usage change to Appendix FF |
| Appendix FF | Delete ISO address on page 1 | This amendment deletes a reference to an outdated physical address for the ISO. |
| Appendix FF Page 1 | Changes address in contact information. | This amendment corrects out-of-date ISO contact information |
| Appendix FF Page 1 | Page 1 of Appendix FF, Interconnection Customer Information section – change “Interconnection Customer Application” to “Interconnection Customer Queue Position No.” | This amendment more accurately describes the information requested by this agreement. |
| Appendix FF Section 1.5.5 | Section 1.5.5 – in the second sentence, capitalize “Point of Change of Ownership.” | This amendment reflects the proper use of capitalization of a defined term. |
| Appendix FF Section 1.8.1 | Section 1.8.1 – in the last sentence, replace “wind” with “asynchronous” | This amendment aligns this section with the revised Attachment 7 from the GIP-2 FERC filing. |
| Appendix FF Section 1.8.2 | Section 1.8.2 – in the third line, capitalize “Article” before 1.8.1 | This amendment reflects the proper use of capitalization of a section reference. |
| Appendix FF Section 3.2 | Section 3.2 – in the last line, capitalize “Article” before 3.3 | This amendment reflects the proper use of capitalization of a section reference. |
| Appendix FF Section 3.3.2 | Section 3.3.2 – in the last line, capitalize “Article” before 7.6 | This amendment reflects the use of capitalization of a section reference |
| Appendix FF Section 3.4.3 | Section 3.4.3 – in the second line, capitalize “Interconnection Service” | This amendment reflects the use of capitalization of a defined term. |
| Appendix FF Section 3.4.4 | Section 3.4.4 – in the last line, capitalize “Article” before 3.4.1 | This amendment reflects the use of capitalization of a section reference |
| Appendix FF Section 5.3 | Section 5.3 – in the first line, insert “calendar” after “(30)” | This amendment provides clarification of the election notice period. |
| Appendix FF Section 5.3.1.1 | Section 5.3.1.1 – in the first sentence, insert “Small” before “Generating Facility”. | This amendment clarifies the type of Facility governed by this agreement and maintains consistency with the purpose of the SGIA. |
| Appendix FF Section 5.3.1.2 (a) | Section 5.3.1.2 (a) – insert “Small” before “Generating Facility”. | This amendment clarifies the type of Facility governed by the Agreement and maintains consistency with the purpose of the SGIA. |
| Appendix FF Section 5.3.1.2 (b) | Section 5.3.1.2 (b) – insert “Small” before “Generating Facility”. | This amendment clarifies the type of Facility governed by the Agreement and maintains consistency with the purpose of the SGIA. |
| Appendix FF Section 5.3.1.2 (g) | Section 5.3.1.2 (g) – first paragraph, insert “Small” before “Generating Facility”. | This amendment clarifies the type of Facility governed by the Agreement and maintains consistency with the purpose of the SGIA. |
| Appendix FF Section 5.3.1.2 (g) | Section 5.3.1.2 (g) – second paragraph, insert “Small” before “Generating Facility”. | This amendment clarifies the type of Facility governed by the Agreement and maintains consistency with the purpose of the SGIA. |
| Appendix FF Section 5.3.1.2 (g) | Section 5.3.1.2 (g) – third paragraph, capitalize “Party” | This amendment reflects the use of capitalization of a defined term. |
| Appendix FF Section 5.3.1.4 | Section 5.3.1.4 - insert missing language to “Failure to Achieve Commercial Operation” section | This amendment replaces language erroneously omitted from the tariff. |
| Appendix FF Section 6.1.2 | Section 6.1.2 - insert “thirty” before “30” in last sentence and insert parenthesis around “30” | This amendment maintains format consistency in referring to numbers in this agreement. |
| Appendix FF Section 6.2 | Section 6.2 - capitalize “Article” before 7.5.1 | This amendment reflects the use of capitalization to refer to another section of this agreement. |
| Appendix FF Section 6.3 | Section 6.3 – insert “Interconnection” into section title | This amendment clarifies the type of security referenced in this section. The tariff appendix Y still refers to Interconnection Financial Security. Interconnection Financial Security and Financial Security are not interchangeable using the tariff Appendix A definition. |
| Appendix FF Section 6.4 | Section 6.4 – insert “Interconnection” into section title | This amendment clarifies the type of security referenced in this section. The tariff appendix Y still refers to Interconnection Financial Security. Interconnection Financial Security and Financial Security are not interchangeable using the tariff Appendix A definition. |
| Appendix FF Section 6.4.2 | Section 6.4.2 – insert “Interconnection” before “Financial Security | This amendment clarifies the type of security referenced in this section. The tariff appendix Y still refers to Interconnection Financial Security. Interconnection Financial Security and Financial Security are not interchangeable using the tariff Appendix A definition. |
| Appendix FF Section 12.2 | Section 12.2 - capitalize “Article” before 12.2 | This amendment reflects the use of capitalization for a section reference |
| Appendix FF Section 13.1 | Section 13.1 – insert “Corporation” after “Operator” and remove “151 Blue Ravine Road” and replace with “250 Outcropping Way.” | This amendment reflects the correct company name and current address. |
| Appendix FF Section 13.3 | Section 13.3 – insert “Corporation” after “Operator” and remove “151 Blue Ravine Road” and replace with “250 Outcropping Way.” | This amendment reflects the correct company name and current address. |
| Appendix FF Section 13.4 | Section 13.4 – insert “Corporation” after “Operator” and remove “151 Blue Ravine Road” and replace with “250 Outcropping Way.” | This amendment reflects the correct company name and current address. |
| Appendix FF Article 14 | Article 14 – Insert “Corporation” after “Operator” in company name in the first signature block. | This amendment reflects the correct company name. |
| Appendix FF Article 14 | Article 14 – Insert “By” just above “Name” in all three signature blocks. | This amendment provides for written signatures of company signatories in addition to printed names. |
| Appendix FF Attachment 1 | In Attachment 1 – insert definitions for “CAISO Controlled Grid” and “CAISO Tariff” between “Business Day” and “Commercial Operation Date.” | This amendment formats definitions in alphabetical order. |
| Appendix FF Attachment 1 | In Attachment 1 – insert definition for “Generating Facility” between “Generator Interconnection and Deliverability Procedures (GIDAP)” and “Good Utility Practice.” | This amendment formats of definitions in alphabetical order. |
| Appendix FF Attachment 1 | In Attachment 1 – insert “Small” before “Generating Facility” at beginning and end of definition. | This amendment clarifies the type of Facility that is relative to the SGIA and the Glossary of Terms. |
| Appendix FF Attachment 7 - Title | In Attachment 7 – insert “Small” before “Generating Facility” in title of Attachment | This amendment will provide clarification of the type of Facility that is relative to the SGIA and the Glossary of Terms. |
| Appendix FF Attachment 7 Section Ai.4 | In Attachment 7 – in item number 4 of Section A, sub-Section (i), replace “”Appendix H” with “Attachment 7” in line 2 and replace “Appendix” with “Attachment” at end of sentence. | This amendment modifies language to refer to an Attachment. |
| Appendix FF Attachment 7 Section Ai.5 | In Attachment 7 – in item number 5 of Section A, sub-section (i), replace “”Appendix H” with “Attachment 7” | This amendment modifies language to refer to an Attachment. |
| Appendix FF Attachment 7 Section Ai.7 | In Attachment 7 – in item number 7 of Section A, sub-section replace “Appendix H” with “Attachment 7.” | This amendment will provide for missing language and corrections of Section and Attachment references. |
| Appendix FF Attachment 7 Section Ai.8 | In Attachment 7 – in item number 8 of Section A, sub-section (i), replace “Appendix H” with “Attachment 7.” | This amendment modifies language to refer to an Attachment. |
| Appendix FF Attachment 7 Section Aiii | In Attachment 7 – Section A, sub-section (iii), delete “and Operating Requirements” from title and replace with “Criteria.” | This amendment provides for missing title language that more accurately describes the contents of that sub-section. |