Reporting to SCE Information Related to

NERC Standards Requirement Compliance

Overview

On June 18, 2007, mandatory reliability standards adopted by the Federal Energy Regulatory Commission (FERC) and administered by the North American Electric Reliability Corporation (NERC) and the Western Electricity Coordinating Council (WECC) became effective. To facilitate a process for communication of information required of these standards, SCE is developing this procedure, for reporting information related to meeting the compliance standard, to “Generator Owner/Operators” for which SCE is acting as the CAISO Scheduling Coordinator.

Please note that this procedure is not meant to be used for communications regarding all mandatory reliability standards, but only those in which SCE plays a role through its obligations under the CAISO tariff while performing the Scheduling Coordinator function.

What is included in this procedure?

This procedure covers the communication process which should be used. The communication process will be used for collecting reliability criteria information that will be passed by SCE to the CAISO through the CAISO’s  “Scheduling Interface” (SI) and Outage Reporting information through the “Scheduling and Logging for the CAISO of California” (SLIC), “Scheduling Interface” (SI), or their successor applications.

This procedure will also cover the timing and frequency of communicating the reliability criteria information, and also how this information should be updated as changes occur.

Because the CAISO’s SLIC application requires certain required fields to be entered, it is important that “Generator Owner/Operators” choosing to communicate this information do so completely.

Items requiring communication

Outages/Derates/NERC Events

If you are a generator selling power to SCE, you should report planned outages, SCE Outages (when SCE conducts maintenance and/or when the grid for a reason unconnected to the generator isn't available to accept deliveries from them), and forced outages by making the appropriate notifications.

Timing/Frequency/Update: Outages, Forced Outages, Derates and NERC events need to be conveyed to the Scheduling Coordinator as soon as possible.

This information is applicable to Reliability Standard Requirement:

- NERC-PRC-001-1 R2.1 - To the extent a protective relay or equipment failure at the Generator Operator facility reduces system reliability; the Generator Operator shall inform the Scheduling Coordinator of such conditions.

- NERC-CIP-001-1 R2 -The Generator Operator shall have procedures for the communications of information concerning Sabotage events to their Scheduling Coordinator

- NERC-TOP-001-1 R7.1 & 7.3 - The Generator Operator shall notify and coordinate with the Scheduling Coordinator of any unit outages or derates for the Generator Operators facilities.

- NERC-TOP-002-2 R3 - The Generator Operator shall provide the Scheduling Coordinator its current-day, next-day and seasonal unit status and outage plans.

- NERC-TOP-002-2 R14 and R14.1 - The Generator Operator shall, without any intentional time delay, notify the Scheduling Coordinator of any changes in real output capabilities.

- NERC-TOP-002-2 R15 - The Generator Operator shall upon request provide notification of estimates of projected outages or derates to their Scheduling Coordinator.

- NERC-TOP-003-0 R2 - The Generator Operator shall notify the Scheduling coordinator of any outages of system voltage regulating equipment, or derates for the Generator Operators facilities in a timely manner in accordance with the CAISO tariff.

- NERC-TOP-003-0 R3 - The Generator Operator shall notify the Scheduling Coordinator of any scheduled outages of telemetering and control equipment and associated communication channels in a timely manner in accordance with the CAISO tariff.

- NERC-VAR-002-1 R3, 3.1, and 3.2 - Each Generator Operator shall notify their Scheduling Coordinator as soon as practical, but within 20 minutes of any of the following: A status change on any generator Reactive Power resource, including the status of each automatic voltage regulator and power system stabilizer and the expected duration of the change in status. A status change on any other Reactive Power resources under the Generator Operator’s control and the expected duration of the change in status or capability.

Planned Outages.  To be coordinated with Planned Outage Scheduling personnel, according to Appendix 3 no later than January 15, April 15, July 15 and October 15 of each Contract Year during the Delivery Period, and at least 60 days prior to each Expected Initial Delivery Date, Seller shall submit to SCE Seller’s schedule of proposed Planned Outages (“Outage Schedule”) for the following twelve -month period in substantially the form set forth in Appendix 1.  Seller shall cooperate with SCE to arrange and coordinate all Outage Schedules with the CAISO.  Seller will communicate to SCE all changes to a Planned Outage and estimated time of return of each Generating Unit as soon as practicable after the condition causing the change becomes known to Seller.

- Notice of Forced Outages and NERC Events.  Seller shall communicate Forced Outages and NERC Events by telephoning SCE’s Real Time Generation Operations Center within twenty (20) minutes of the commencement of the Forced Outage or NERC Event, at the telephone number(s) listed in Appendix 3.  When it becomes available, Seller shall utilize SCE’s web interface to enter outage information within twenty (20) minutes of the Forced Outage.

“Outage” Disconnection, separation or reduction in capacity, planned or forced of one or more elements of an electric system.

“Planned Outage” has the meaning set forth in the NERC/GADS Protocols.

“Forced Outage” An Outage for which sufficient notice cannot be given to allow the Outage to be factored into the Day Ahead scheduling or bidding process. (Typically less than 3 business day notice)

Generation Schedules/Availability Notice:

If you are a generator selling power to SCE, you can email monthly, weekly, or daily generation schedules to SCE. In cases were the longer term schedules are submitted, they should be updated and re-submitted when changes occur.

This information is applicable to Reliability Standard Requirement:

- NERC-IRO-004-1 R4, NERC-TOP-006-1 R1.1-The Generator Owner/Operator shall provide the Scheduling Coordinator with projected next day unit status information per the procedure for notification provided by the Scheduling Coordinator.

- NERC-TOP-002-2 R14 and R14.1- The Generator Operator shall, without any intentional time delay, notify the Scheduling Coordinator of any changes in real output capabilities.

- NERC-TOP-002-2 R3-The Generator Operator shall provide the Scheduling Coordinator its current-day, next-day and seasonal unit status and outage plans.

- NERC-TOP-002-2 R15-The Generator Operator shall upon request provide notification of estimates of projected outages or derates to their Scheduling Coordinator.

Availability Notice.  During the Delivery Period, no later than two Business Days before each Trading Day, Seller shall provide to SCE Planning via email (in the forms attached in Appendix 2 or other mutually agreeable form) an hourly schedule of the Generation Schedule or Available Capacity:  (for both Energy and Ancillary Services)] that each Generating Unit is expected to have for each hour of the applicable Operating Day (the “Availability Notice”).  Seller will notify SCE immediately (by telephone or other mutually acceptable means of communication) if the Available Capacity of any Generating Unit changes or is likely to change after the Availability Notice submission deadline. (For changes to the next day schedule prior to 1300, notify Day Ahead Scheduling. For changes after 1300 for next day or current day notify Real Time) Seller must follow up any such notification with an updated email notice (using the form attached in Appendix 2).  Seller shall accommodate SCE’s reasonable requests for changes in the time or form of delivery of Availability Notices.  If an email submittal is not possible for reasons beyond a Party’s control, Seller may provide Availability Notices by (in order of preference unless the Parties agree to a different order) facsimile transmission or telephonically to SCE’s personnel designated to receive such communications in Appendix 3.

“Trading Day” means the day in which Day Ahead trading occurs in accordance with the WECC Preschedule Calendar.

APPENDIX 1

PLANNED OUTAGE REPORT

Actual Planned Outage Reports submitted under this Agreement should be provided in Excel.

| DATE OF UPDATE |  |  |  |  |
| --- | --- | --- | --- | --- |
| RESOURCE NAME |  |  |  |  |
| Replicate for each Generating Unit |  |  |  |  |
| Planned Outages |  |  |  |  |
| Start Date | HE | End Date | HE | MW Available |

APPENDIX 2

DAILY AVAILABILITY NOTICE

Actual Availability Notices submitted under this Agreement should be provided in Excel.

- Availability Notice

Operating Day:

Station:  		Issued By:

Unit:                      		Issued At:

Unit 100% Available No Restrictions:

| Hour Ending | Available Capacity | Minimum Output | AGC Available | AGC Min Limit | AGC Max Limit | Comments |
| --- | --- | --- | --- | --- | --- | --- |
|  | (MW) | (MW) (non AGC) | YES/NO | (MW) | (MW) |  |
| 1:00 |  |  |  |  |  |  |
| 2:00 |  |  |  |  |  |  |
| 3:00 |  |  |  |  |  |  |
| 4:00 |  |  |  |  |  |  |
| 5:00 |  |  |  |  |  |  |
| 6:00 |  |  |  |  |  |  |
| 7:00 |  |  |  |  |  |  |
| 8:00 |  |  |  |  |  |  |
| 9:00 |  |  |  |  |  |  |
| 10:00 |  |  |  |  |  |  |
| 11:00 |  |  |  |  |  |  |
| 12:00 |  |  |  |  |  |  |
| 13:00 |  |  |  |  |  |  |
| 14:00 |  |  |  |  |  |  |
| 15:00 |  |  |  |  |  |  |
| 16:00 |  |  |  |  |  |  |
| 17:00 |  |  |  |  |  |  |
| 18:00 |  |  |  |  |  |  |
| 19:00 |  |  |  |  |  |  |
| 20:00 |  |  |  |  |  |  |
| 21:00 |  |  |  |  |  |  |
| 22:00 |  |  |  |  |  |  |
| 23:00 |  |  |  |  |  |  |
| 0:00 |  |  |  |  |  |  |

Comments:

Example of Rolling 30 day schedule.  SCE will provide template to counterparty.

COMMUNICATIONS PROTOCOLS

- Communication Protocols

These Communication Protocols are subject to change and shall be modified as evolving market conditions and rules may require.

1. Contacts and Authorized Representatives

The “Contact Information” tables set forth those contact functions, phone/fax numbers and e-mail information by which each Party elects to be contacted by the other.  Notification provided under this Agreement shall be made to the applicable point of contact as set forth in the Contact Information Table.  A Party may update its Contact Information by providing Notice to the other Party.

2. Communication Protocols -  General

2.1 Intra-day Communication:  All communications and notices between the Parties that occur intra-day and intra-hour for the applicable Operating Day including those regarding emergencies,  Forced Outages, and Availability Notices, shall be provided telephonically with the Real Time Generation Operation Center listed in Appendix 3, with a follow up email as agreed with the applicable Party.

2.2 Communication Failure:  In the event of a failure of the primary communication link between Seller and SCE, both Parties will try all available means to communicate, including cell phones or additional communication devices as installed.

2.3 System Emergency:  SCE and Seller shall communicate as soon as possible all changes to the schedule requested by the CAISO as a result of a system emergency.

2.4 Staffing:  The Parties will have available 24 hours a day, seven days a week, personnel available to communicate regarding the implementation of these Communication Protocols.

APPENDIX 3

Contact Information Table

Contacts and Authorized Representatives for SCE

Outlined below is the contact and communication information for the relevant contact groups.

| Contact | Primary Phone | Secondary Phone | Fax | Email |
| --- | --- | --- | --- | --- |
| Day-Ahead Scheduling | 626-307-4425 | 626-307-4420 | 626-302-3409 | presched@sce.com |
| Real Time Generation Operation Center | 626-307-4453 | 626-307-4410 | 626-302-3409 | realtime@sce.com |
| Planned Outage Scheduling | 626-302-3400 |  | 626-302-3409 | ESMSTPOutage@SCE.com |
| Planning | 626-302-3400 |  | 626-302-3409 | ESMSTPOutage@SCE.com |
| Forced Outage Reporting | 626-307-4453 | 626-307-4410 | 626-302-3409 | realtime@sce.com |