## Version_History
FNM Scope for FNM 25M10_DB137
(Production Week of 10/13/2025)
Revision History – Final Scope: 8/13/2025, Late Model Scope Change Request Deadline: 9/8/2025
Effective Date | Version | Description
2025-08-13 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name | Project Key
1 | DCRT | CNTFLT_5_CFSSR1 | Centennial Flats | 18AS2021
2 | DCRT | CNTFLT_5_CFSSR2 | Centennial Flats Solar 2 | 25GEN45578
3 | DCRT | CNTFLT_5_CFSBT1 | Centennial Flats Storage 1 | 25NGR45575
4 | DCRT | CNTFLT_5_CFSBT2 | Centennial Flats Storage 2 | 25NGR45576
5 | DCRT | CNTFLT_5_CFSBT3 | Centennial Flats Storage 3 | 25NGR45577
6 | PGAE | OROLOM_1_ALTSR1 | Althea Avenue Solar Phase I | 25GEN41546
7 | PGAE | OROLOM_1_ALTSR2 | Althea Avenue Solar Phase II | 25GEN41548
8 | PGAE | GOOSLK_1_FGDSR1 | Flying Goose Deuce | 25GEN44779
9 | PGAE |  | Gonzaga Hybrid Wind | 25GEN41994
10 | PGAE | GRANT_1_HCCSR1 | Hayward Commerce Center 3 | 24GEN36645
11 | PGAE |  | Kifer BESS 1 | 24NGR40527
12 | PGAE | EDES_1_OKDGN1 | Oakland 1 | 24GEN36644
13 | PGAE |  | San Leandro 10 | 24GEN36643
14 | SDGE | ESCNDO_6_CPPBT1 | CalPeak Power Enterprise Unit 1 | 21PREC16927
15 | PGAE |  | Electrolyte Hybrid Conversion | 25NGR46229
16 | NA |  | Oxnard Cogen 2 MW point additions | 25RIG42617
17 | NA |  | Wistaria Ranch Solar RIG Update | 25RIG42992
18 | NA |  | Solar Gen 2, LLC | 25RIG43796
19 | NA |  | Solar Gen 2 Arkansas | 25RIG43807
20 | NA |  | Solar Gen 2 Sonora | 25RIG43808
21 | NA |  | Redcrest ANIRA 25 | 25RIG44405
22 | NA |  | Adera Solar ANIRA 25 | 25RIG44406
23 | NA |  | SEPV Mojave West ANIRA 25 | 25RIG44435
24 | NA |  | Solverde 1 ANIRA 25 | 25RIG44436
25 | NA |  | Little Rock C ANIRA 25 | 25RIG44437
26 | NA |  | WABSR-A ANIRA 25 | 25RIG44438
27 | NA |  | Summer Solar ANIRA 25 | 25RIG44439
28 | NA |  | Rodeo C2 ANIRA 25 | 25RIG44440
29 | NA |  | Elevation C ANIRA 25 | 25RIG44441
30 | NA |  | Antelope DSR 2 ANIRA 25 | 25RIG44442
31 | NA |  | Antelope Big Sky Ranch ANIRA 25 | 25RIG44443
32 | NA |  | Expressway Solar A ANIRA 25 | 25RIG44445
33 | NA |  | Alamitos 2 ANIRA 25 | 25RIG44446
34 | NA |  | Grady Wind Energy Center RIG | 25RIG44587
35 | NA |  | Highway 43 RIG Replacement | 25RIG44778
36 | NA |  | NCPA | 25RIG45833
37 | NA |  | CalPeak Power Enterprise Unit 1 RIG Replacement | 25RIG46428

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | LSPG | 25TRANS44427 | Fern Road Substation | ET5527
2 | PGAE | 20TRANS11332 | Weimar No. 1 60kV Line Reconductor Project | ET4326
3 | PGAE | 21TRANS18875 | North Bundle N-41 | ET4698
4 | PGAE | 21TRANS18875 | North Bundle N-41 | ET4699
5 | PGAE | 21TRANS19453 | Install San Miguel Bank 2 | ET4746
6 | PGAE | 21TRANS19846 | Caribou Islanding Area PSPS Mitigation Substation Upgrades - Chester | ET4792
7 | PGAE | 21TRANS19848 | Caribou Islanding Area PSPS Mitigation Substation Upgrades - Gansner | ET4794
8 | PGAE | 22TRANS21277 | STACK Data Center Interconnection Project | ET4930
9 | PGAE | 22TRANS21277 | STACK Data Center Interconnection Project | ET4931
10 | PGAE | 22TRANS21277 | STACK Data Center Interconnection Project | ET4932
11 | PGAE | 25TRANS43304 | Redbud: Replace Bank 1 and 3 Fuses and Sectionalize Transmission Bus | ET5490
12 | SDGE | 24TRANS38887 | W131 Santee BESS | ET5409

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AVA_BA | - This is a list of Avista's dynamic real-time limit analogs for transmission equipment, associated to the full network model exchanged over ICCP. These new ICCP IDs will be made available during Avista's May 20th database update 2025. Please disregard the "FERC881 Dynamic MVA ICCP V1.0.xlsx" submission made on 4/22/2025. This corrects that template with the latest AVA specific template provided by CAISO for FNM model 134. | 25EMS46603
2 | AVA_BA | - ICCP mapping to AVA CIM model | 25EMS46849
3 | AVA_BA | - Note: the ratings in this submittal are FALL = High1/High2, and WINTER = High3/High4 | 25EMS46850
4 | AVRN_BA | Generator - Updated Generation Capacity for Site Repower | 25EMS46509
5 | AVRN_BA | Generator - Juniper Canyon Power Flow Model. Updated line impedance to interconnection | 25EMS46582
6 | AZPS_BA | Contingency Definition - Added contingencies for the following: DATX-WWRX 500KV and CH-HKFX 500KV Lines | 25EMS47030
7 | AZPS_BA | Transmission Line - Updated ratings in RC Data Gathering workbook | 25EMS47031
8 | AZPS_BA | Generator - Extreme Weather Ver5.4 w/ Updates to include SAG_2_SRNOSLR, SAG_2_SRNO_BESS, DLY_5_PPGO_BESS, and CO_5_HSKF1_BESS | 25EMS47032
9 | AZPS_BA | Substation\Load - Updated ICCP List | 25EMS47033
10 | AZPS_BA | Substation\Load - | 25EMS47034
11 | AZPS_BA | Generator - Added new units at HKFX, DBLX | 25EMS47035
12 | AZPS_BA | Generator - Delete 34.5KVBESS A | 25EMS47036
13 | AZPS_BA | Generator - Delete 34.5KVBESS A | 25EMS47037
14 | AZPS_BA | Transformer - Delete TVS XFMR1 A 34.5KV,TVS XFMR2 A 34.5KV,TVS XFMR3 A 34.5KV,TVS XFMR4 A 34.5KV | 25EMS47038
15 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete TVSMOS89 T1,TVSMOS89 T2,TVSMOS89 T3,TVSMOS89 T4 | 25EMS47039
16 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete RY1521,RY1523 | 25EMS47040
17 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete CT TAPQ1081,CT TAPQ1077 | 25EMS47041
18 | AZPS_BA | Substation\Load - Delete TVS XFMR1 LL 34.5KV,TVS XFMR2 LL 34.5KV,TVS XFMR3 LL 34.5KV,TVS XFMR4 LL 34.5KV | 25EMS47042
19 | AZPS_BA | Substation\Load - Delete CUSTEQL 230KV | 25EMS47043
20 | AZPS_BA | Breaker(s)\ Disconnect(s) - Delete RY1922 | 25EMS47044
21 | AZPS_BA | Transmission Line - Updated Impedances for Line_MRL-VF_69KV, Line_BRD-SAR_69KV | 25EMS47045
22 | AZPS_BA | Generator - Add 525KVSLR EQG A_TGU | 25EMS47046
23 | AZPS_BA | Generator - Add 34.5KVnaBESS A_TGU, 34.5KVSLR A_TGU | 25EMS47047
24 | AZPS_BA | Generator - Add DBLX BESS A 34.5KV | 25EMS47048
25 | AZPS_BA | Generator - Add ATLX BESS1 A 69KV,ATLX BESS2 A 69KV,ATLX BESS3 A 69KV | 25EMS47049
26 | AZPS_BA | Generator - Add WWRX SLR EQG A 500KV | 25EMS47050
27 | AZPS_BA | Substation\Load - Add HKFX | 25EMS47051
28 | AZPS_BA | Substation\Load - Add DBLX | 25EMS47052
29 | AZPS_BA | Substation\Load - Add ATLX | 25EMS47053
30 | AZPS_BA | Substation\Load - Add DATX | 25EMS47054
31 | AZPS_BA | Substation\Load - Add PBT | 25EMS47055
32 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Add CMC CB28A A 12KV, CMC CB28B A 12KV | 25EMS47056
33 | AZPS_BA | Transformer - Add XFMR2 A 34.5KV, XFMR1 A 34.5KV | 25EMS47057
34 | AZPS_BA | Transformer - Add 12KV XFMR1 A 12KV, 230KV_XFMR1 A 230KV | 25EMS47058
35 | AZPS_BA | Transformer - Add XFMR25 A 12KV | 25EMS47059
36 | AZPS_BA | Transformer - Add 34.5KV_XFMR1 A 34.5KV | 25EMS47060
37 | AZPS_BA | Transformer - Add XFMR1 A 34.5KV,XFMR2 A 34.5KV,XFMR3 A 34.5KV,XFMR2 A 500KV,XFMR1 A 500KV,XFMR3 A 500KV,XFMR1 A 69KV,XFMR2 A 69KV,XFMR3 A 69KV | 25EMS47061
38 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add HKFXSW 500-2,HKFXSW 500-1,HKFXSW 500-A,HKFXSW 35-2,HKFXSW 35-1 | 25EMS47062
39 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add MD1241D,MD1243D,MD2241D,MD2243D | 25EMS47063
40 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add CMC2941J | 25EMS47064
41 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add RY1621 | 25EMS47065
42 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add DBLX89B1 | 25EMS47066
43 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add CT TAP69U1081, CT TAP69U1077 | 25EMS47067
44 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add ATLX89TS1,ATLX89TS2,ATLX89M3-1,ATLX89M3-2,ATLX89M2-1,ATLX89M2-2,ATLX89M1-1,ATLX89M1-2,ATLX89-T1,ATLX89-T2,ATLX89-T3,ATLX89-L1,ATLX52U1-DS | 25EMS47068
45 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add GYR664 | 25EMS47069
46 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add WW3461 | 25EMS47070
47 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add CON1064, CON764 | 25EMS47071
48 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add DATX89-T21 | 25EMS47072
49 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add PBTU8002,PBTU8001,PBT461,PBT363,PBT361,PBT163,PBT263,PBTU8003 | 25EMS47073
50 | AZPS_BA | Substation\Load - Add HKFX BESSAUX1 A 34.5KV | 25EMS47074
51 | AZPS_BA | Substation\Load - Add HKFX BESSAUX2 A 34.5KV | 25EMS47075
52 | AZPS_BA | Substation\Load - Add TVS XFMR4 LL 69KV | 25EMS47076
53 | AZPS_BA | Substation\Load - Add TVS XFMR3 LL 69KV | 25EMS47077
54 | AZPS_BA | Substation\Load - Add TVS XFMR2 LL 69KV | 25EMS47078
55 | AZPS_BA | Substation\Load - Add TVS XFMR1 LL 69KV | 25EMS47079
56 | AZPS_BA | Substation\Load - Add CMC FDR27 A 12KV | 25EMS47080
57 | AZPS_BA | Substation\Load - Add CMC FDR23 A 12KV | 25EMS47081
58 | AZPS_BA | Substation\Load - Add DRM CUST EQL 230KV | 25EMS47082
59 | AZPS_BA | Substation\Load - Add ATLX AUX A 34.5KV | 25EMS47083
60 | AZPS_BA | Substation\Load - Add DATX AUX EQL 500KV | 25EMS47084
61 | AZPS_BA | Substation\Load - Add FA XFMR1EQL 12KV | 25EMS47085
62 | AZPS_BA | Substation\Load - Add PBT FLR MINE EQL 69KV | 25EMS47086
63 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add HKFX500-2,HKFX500-1,HKFX500-7,HKFX35-11,HKFX35-4,HKFXnaPV SF, HKFXnaBESS SF | 25EMS47087
64 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add RY1922, RY1622 | 25EMS47088
65 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add CMC2342,CMC2542,CMC2742,CMC2842A,CMC2842B | 25EMS47089
66 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add MD1242 MD2242 | 25EMS47090
67 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add DBLX52T1 | 25EMS47091
68 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add ATLX52M3,ATLX52M2,ATLX52M1,ATLXBESS3 BKR,ATLXBESS2 BKR,ATLXBESS1 BKR,ATLX52AM3,ATLX52AM2,ATLX52AM1,ATLX52AF3,ATLX52AT2,ATLX52AT1,ATLX52AF2,ATLX52AF1,ATLX52-T1,ATLX52-T2,ATLX52-T3,ATLX52-U1 | 25EMS47092
69 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add DATX52-T22 | 25EMS47093
70 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add PBT362 | 25EMS47094
71 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add WWRX52-T12, WWRXnaSLRGEN | 25EMS47095
72 | AZPS_BA | Transmission Line - Add Line_HKFX-CH_500KV | 25EMS47096
73 | AZPS_BA | Transmission Line - Add Line_DATX-WWRX_500KV | 25EMS47097
74 | AZPS_BA | Transmission Line - Add Line_WW-DBLX_69KV | 25EMS47098
75 | AZPS_BA | Transmission Line - Add Line_VF-PBT_69KV | 25EMS47099
76 | AZPS_BA | Substation\Load - Update the SubGeographicalRegion from SE (_C1067D81-7E14-39E2-858A-B758078F159E) to SW (_75D070BE-8B90-263E-BA60-8EC8D64DD4A5) | 25EMS47100
77 | BANC_BA | Update SPG_SM winding/tap ratedU from 2.6 to 2. | 25EMS46506
78 | BANC_BA | Transmission Line - BES equipment exclusions list- Transmission Line, Transformer, Series Device | 25EMS47283
79 | BANC_BA | Shunt Cap\Reactor\ SVD¿s - Removal of cap bank, cb, and disc. | 25EMS47284
80 | BANC_BA | Breaker(s)\ Disconnect(s) - Removal of cap bank, cb, and disc. | 25EMS47285
81 | BANC_BA | Transmission Line - Remove Analog Measurements | 25EMS47286
82 | BANC_BA | Breaker(s)\ Disconnect(s) - Addition of bus tie | 25EMS47287
83 | BANC_BA | Breaker(s)\ Disconnect(s) - Removing switches connected to cap banks | 25EMS47288
84 | BANC_BA | Transmission Line - Updated line impedance | 25EMS47289
85 | BANC_BA | Substation\Load - Link 13.8 kV Measurements to Bus | 25EMS47290
86 | BANC_BA | Generator - Updated Generator Facility Ratings - Unit 5 Pmax 50MW | 25EMS47291
87 | BANC_BA | Transformer - T1 Rating Update to 16 MVA | 25EMS47292
88 | BANC_BA | Generator - Updated MVAR Curves for multiple RDNG stations | 25EMS47293
89 | BANC_BA | Generator - Updated MVAR Curves for multiple WAPA stations | 25EMS47294
90 | BANC_BA | Generator - Updated MVAR Curves for multiple MID stations | 25EMS47295
91 | BCHA_RC | Update ARN_BC XFMR T2 terminal/winding to be correct side and 12RX1 series device impedance | 25EMS46503
92 | BCHA_RC | Transmission Line - Removal of 60L40_3 and 60L40_2 | 25EMS46769
93 | BCHA_RC | Transmission Line - Removal of 1L55_2 | 25EMS46770
94 | BCHA_RC | Substation\Load - Removal of substation WFR and load WFR_LOAD | 25EMS46771
95 | BCHA_RC | Substation\Load - Removal of substation LOH and load LOH_LOAD | 25EMS46772
96 | BCHA_RC | Transmission Line - Removal of 60L39_5 and 60L39_2 | 25EMS46773
97 | BCHA_RC | Transformer - Added 5 new transforemers in QYS | 25EMS46774
98 | BCHA_RC | Transmission Line - Added new line segment 60L71_10 | 25EMS46775
99 | BCHA_RC | Transmission Line - Added new line segments 1L55_3 and 1L55_4 | 25EMS46776
100 | BCHA_RC | Generator - Added 5 new generators QYS G1 to G5 | 25EMS46777
101 | BCHA_RC | Substation\Load - Added new station QYS | 25EMS46778
102 | BCHA_RC | Substation\Load - Added new station HHB and new load HHB_LOAD | 25EMS46779
103 | BCHA_RC | N/A - Updated ICCP mapping file | 25EMS46780
104 | BCHA_RC | Transmission Line - Removal of 60L40_3 and 60L40_2 | 25EMS46818
105 | BCHA_RC | Transmission Line - Removal of 1L55_2 | 25EMS46819
106 | BCHA_RC | Substation\Load - Removal of substation WFR and load WFR_LOAD | 25EMS46820
107 | BCHA_RC | Substation\Load - Removal of substation LOH and load LOH_LOAD | 25EMS46821
108 | BCHA_RC | Transmission Line - Removal of 60L39_5 and 60L39_2 | 25EMS46822
109 | BCHA_RC | Transformer - Added 5 new transforemers in QYS | 25EMS46823
110 | BCHA_RC | Transmission Line - Added new line segment 60L71_10 | 25EMS46824
111 | BCHA_RC | Transmission Line - Added new line segments 1L55_3 and 1L55_4 | 25EMS46825
112 | BCHA_RC | Generator - Added 5 new generators QYS G1 to G5 | 25EMS46826
113 | BCHA_RC | Substation\Load - Added new station QYS | 25EMS46827
114 | BCHA_RC | Substation\Load - Added new station HHB and new load HHB_LOAD | 25EMS46828
115 | BCHA_RC | N/A - Updated ICCP mapping file | 25EMS46829
116 | BPAT_BA | RAS - Existing BPA Boundary RAS missing in HANA. Can be added to HANA as soon as possible. | 25EMS46587
117 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added new bays for new lines. | 25EMS47298
118 | BPAT_BA | Breaker(s)\ Disconnect(s) - Renamed discoonects. | 25EMS47299
119 | BPAT_BA | Breaker(s)\ Disconnect(s) - Change disconnect type. | 25EMS47300
120 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added new disconnects. | 25EMS47301
121 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added new disconnects. | 25EMS47302
122 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added new disconnects. | 25EMS47303
123 | BPAT_BA | Breaker(s)\ Disconnect(s) - Renamed disconnects. | 25EMS47304
124 | BPAT_BA | Transmission Line - New BPA line due to Conkelley retironment FLAT_HHCO_3230 | 25EMS47305
125 | BPAT_BA | Transmission Line - New BPA line due to Conkelley retironment HHSY_COFT_3230 | 25EMS47306
126 | BPAT_BA | Transmission Line - New Umatilla line: KEBL_ORDN_1230 | 25EMS47307
127 | BPAT_BA | Transmission Line - New Umatilla line: ORDN_COTD_1230 | 25EMS47308
128 | BPAT_BA | Transmission Line - New Umatilla line: COTD_COTD_1230 | 25EMS47309
129 | BPAT_BA | Transmission Line - New future PERL_SHWD_2230 and PERL_SHWD_3230 | 25EMS47310
130 | BPAT_BA | Substation\Load - New Umattila substatoin. | 25EMS47311
131 | BPAT_BA | Substation\Load - Tap station. | 25EMS47312
132 | BPAT_BA | Generator - New batter station under Snohomish PUD. | 25EMS47313
133 | BPAT_BA | Substation\Load - Tap station. | 25EMS47314
134 | BPAT_BA | Substation\Load - Tap station. | 25EMS47315
135 | BPAT_BA | Generator - New Solar genearation station. | 25EMS47316
136 | BPAT_BA | Contingency Definition - BPA Contingency List. | 25EMS47317
137 | BPAT_TOP | Transmission Line - Added Longhorn-Highway 730 Switchyard No's 1 and 2 230kV lines. Added Hoss-Ponderosa No 1 230kV line. Deleted Ashe Tap to Midway-Hew No 2 230kV line, retired 05/06/2025 15:42, Retirement log entry #152429. Deleted the 287kV voltage from the Grand Coulee Switchyard and the Olympia Substation. Added McNary-Berrian No 1 115kV Line. | 25EMS46131
138 | BPAT_TOP | Transmission Line - Retired and deleted Highway 730 Switchyard-Morrow Flat No 1 230kV line. Added McNary-Berrian No 1 115kV Line BES information. Added a note to the Overview worksheet to explan how Main Bus Section Connection (MBSC) BES determinations can be made by selecting the MBSC's facility and voltage on the Facility worksheet. | 25EMS46586
139 | BPAT_TOP | Transmission Line - Addresses Request # 6.14 in RC Data Specification. Contains Line routing for all lines 100 kV and above. As-built geometry added in shapefile for Midway-Ashe No. 1 230kV line. Added: McNary-Berrian No 1 115kV line, McNary-Berrian No 1 Tap to McNary-Badger Canyon No 1 115kV line, Coyote Springs-Longhorn No 1 500kV line, and McNary-Longhorn No 1 500kV line. Removed: McNary-Coyote Springs No. 1 500kV line. | 25EMS47227
140 | CEN | Rename measurement names | 25EMS47566
141 | CEN_BA | Breaker(s)\ Disconnect(s) - Normal status of Breaker | 25EMS46799
142 | CEN_BA | Transmission Line - Addition voltage level in RZC, Lines and TR | 25EMS47027
143 | CEN_BA | Transmission Line - Addition voltage level in RZC, Lines and TR | 25EMS47028
144 | CEN_BA | Transmission Line - Addition voltage level in RZC, Lines and TR | 25EMS47029
145 | CHPD_BA | Transmission Line - Update ratings for two lines and ICCP linking | 25EMS43997
146 | CHPD_BA | - Removal of CHPD-Avangrid PsuedoTie. CHPD retired the following ICCP point: W021_CHPD_AVRN_PSEUDO_TIE | 25EMS45724
147 | DOPD_TOP | Substation\Load - The current substation as modeled is named "East Mountain" within the RC model. The substation name should be "Eastmont". Please update the substation name. | 25EMS46792
148 | DOPD_TOP | Substation\Load - In the current model, the two Wells 230-kV buses are not modeled as buses. Please make these objects buses. | 25EMS46793
149 | DOPD_TOP | Contingency Definition - See 'DOPD Contingency Definition Ver7' spreadsheet for updated contingey definitions for Clovis Substation. | 25EMS46794
150 | DOPD_TOP | Transmission Line - Remove existing Urban Industrial-Rapids 230-kV Line since the new Clovis Substation will be connected between them. | 25EMS46795
151 | DOPD_TOP | Transmission Line - Addition of new 230-kV transmission line connecting Rapids Switchyard to the new Clovis Substation. | 25EMS46796
152 | DOPD_TOP | Transmission Line - Addition of new 230-kV transmission line connecting Urban Industrial Substation to the new Clovis Substation. | 25EMS46797
153 | DOPD_TOP | Substation\Load - Addition of the new 230-kV Clovis Substation, including new load. | 25EMS46798
154 | EPE_TOP | Substation\Load - | 25EMS47228
155 | EPE_TOP | Transmission Line - | 25EMS47229
156 | EPE_TOP | Breaker(s)\ Disconnect(s) - | 25EMS47230
157 | EPE_TOP | Transmission Line - | 25EMS47231
158 | EPE_TOP | Substation\Load - Removal of KV analog | 25EMS47232
159 | EPE_TOP | Substation\Load - Addition of conforming load at Socorro | 25EMS47233
160 | EPE_TOP | Transformer - Addition of Socorro T2 XFMR & switchgear | 25EMS47234
161 | EPE_TOP | Breaker(s)\ Disconnect(s) - Addition of GCB_1556B circuit breaker | 25EMS47235
162 | EPE_TOP | Generator - Addition of KV analog for Felina_SLR generator | 25EMS47236
163 | EPE_TOP | Substation\Load - Addition of ASC-13, ASC-14 Feeder analogs & 3902B conform load | 25EMS47237
164 | EPE_TOP | Substation\Load - Addition of Eastlake Substation | 25EMS47238
165 | EPE_TOP | Transmission Line - Addition of KV,MV,MW analogs for 21500 line | 25EMS47239
166 | EPE_TOP | Substation\Load - Addition of Seabeck Temp Substation | 25EMS47240
167 | EPE_TOP | Transmission Line - Addition of KV,MV,MW analogs for 06800 line | 25EMS47241
168 | EPE_TOP | Transmission Line - Addition of KV analog for 06800 line | 25EMS47242
169 | EPE_TOP | Substation\Load - Addition of Eastwind Temp Substation | 25EMS47243
170 | GCPD_BA | Substation\Load - Updated ICCP point information. | 25EMS46510
171 | GCPD_BA | Substation\Load - Updated ICCP point information. | 25EMS46511
172 | GCPD_TOP | Breaker(s)\ Disconnect(s) - This is additional information regarding the 5/6/25 submission (Impedance map and updated SLD). New USBR Pumping Plant. These are the switches that have been added around the pumping plant. | 25EMS46223
173 | GCPD_TOP | Substation\Load - This is additional information regarding the 5/6/25 submission (Impedance map and updated SLD). New USBR Pumping Plant. This plant is between the Frenchman Hills Substation and Royal City Substation. A new oneline drawing in HANA will be needed. | 25EMS46224
174 | GCPD_TOP | Transmission Line - This is an update of GCPD's System Operating Limits. Please update the SOL for lines within Grant's system. Spring, Summer, Fall, and Winter ratings have been provided. Grant does not have emergency ratings that are different from the continuous rating. | 25EMS46585
175 | GCPD_TOP | Substation\Load - A new lineup BD30RT is being constructed at Baird Spring. | 25EMS46816
176 | GRID_BA | Breaker/Disconnect - Delete SNZIAW 52-12 and 52-22, SNZIAE 52-12 and 52-22 | 25EMS47392
177 | GRID_RC | PTEHSW and SZWS Rig Mapping | 25EMS47433
178 | IID_TOP | Substation\Load - Updated Digital Points, have uploaded to TOP-003 folder as well. | 25EMS46225
179 | IID_TOP | Substation\Load - Updated Analog points, have uploaded to TOP-003 folder as well. | 25EMS46226
180 | IID_TOP | Generator - Generators have been updated with the information for the D Curves as requested by LUCAS RASMUSSEN | 25EMS46425
181 | IPCO_BA | Contingency Definition - Remove IP1 BOBN-HBRD 230 | 25EMS46391
182 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FERC881 Dynamic MVA. Note: This has been sent to Sirajul 7/2/2025 to be updated 7/10/2025. Sirajul has requested this be uploaded to RIMS for tracking purposes. | 25EMS46424
183 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 055Z, 055X, CLRPT1 Removal of Breakers/Disconnects: MBE3, MBE3_1 Addition of ConformLoads: MBE3 | 25EMS47101
184 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: 046A, 046B, 046C, 047A, 047B, 047C | 25EMS47102
185 | IPCO_BA | Generator - Addition of new generator HMWY BSP3, resource ID: HMWY_5_BSP3 | 25EMS47103
186 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: HMWY 043H-01, HMWY 043H-02, HMWY 043H-03, HMWY 043H-04, HMWY 043H-05, HMWY 043H-06, HMWY 043H-07, HMWY 043H-08, HMWY 043H-09, HMWY 043H-10, HMWY 043H-11, HMWY 043H-12, HMWY 043H-13, HMWY 043H-14, HMWY 043H-15, HMWY 043H-16 | 25EMS47104
187 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: NYSA JMP1 | 25EMS47105
188 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breaker/Disconnect: CHIP 031G Removal of Breakers/Disconnects: CHIP BUS_CUT1, CHIP CUT2 | 25EMS47106
189 | IPCO_BA | Transmission Line - Update MVA limits: HAWK-MORA | 25EMS47107
190 | IPCO_BA | Transmission Line - Update MVA limits: KUNA-KUTP | 25EMS47108
191 | IPCO_BA | Substation\Load - Addition of ConformLoads: MDRS_015A_LD, MDRS_016A_LD, MDRS_017A_LD, MDRS_018A_LD Removal of ConformLoad: MDRS T132 | 25EMS47109
192 | IPCO_BA | Transformer - Addition of PowerTransformer: MDRS T132 | 25EMS47110
193 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: MDRS 021Z, MDRS 022Z, MDRS 012Z, MDRS 132L, MDRS 015A, MDRS 016A, MDRS 017A, MDRS 018A, MDRS 102X | 25EMS47111
194 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update from Breaker to Disconnect: ZLTP 108T0, ZLTP 108T1 | 25EMS47112
195 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update from Breaker to Disconnect: WESR 021X, WESR 021Y | 25EMS47113
196 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Disconnect: STAT CUT1 | 25EMS47114
197 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update Breaker/Disconnect names: RKFJ 051T6 -> RKFJ-TMAS 051T6, RKFJ 051T7 -> RKFJ-LAVA 051T7, RKFJ 051T8 -> RKFJ-RKFD 051T8 | 25EMS47115
198 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update Breaker/Disconnect name: RKFD 051T9 -> RKFD-PNGE 051T9 | 25EMS47116
199 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: QUTZ 131M, QUTZ 231M | 25EMS47117
200 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: ONTO 011Z, ONTO 012Z, ONTO 021Z, ONTO 022Z, ONTO 101M, ONTO 101X, ONTO 134L, ONTO 135L, ONTO 201M, ONTO 201N | 25EMS47118
201 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: OBPR MBE_BKR | 25EMS47119
202 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Disconnects: NLTP JPNL, NLTP SFNL, NLTP SFQT | 25EMS47120
203 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update Breaker/Disconnect name: MRJN 051T5 -> MRTP-MRLD 051T5 | 25EMS47121
204 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update from Breaker to Disconnect: MOON 131X | 25EMS47122
205 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: MDVA 011B, MDVA 011C, MDVA 011D, MDVA 011E, MDVA 011X, MDVA 011Y | 25EMS47123
206 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: MCAL 011Z, MCAL 021Z, MCAL 041B, MCAL 041C, MCAL 041D, MCAL 041X, MCAL 042B, MCAL 042C, MCAL 042D, MCAL 047F, MCAL 101Y, MCAL 131L, MCAL 132X, MCAL 133L Update normalOpen: MCAL 013A | 25EMS47124
207 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: LKFK 041B, LKFK 041C, LKFK 041D, LKFK 041X, LKFK 042B, LKFK 042C, LKFK 042D, LKFK 102C, LKFK 103B, LKFK 131J, LKFK 131L | 25EMS47125
208 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: LCST 041B, LCST 041C, LCST 041D, LCST 042B, LCST 042C, LCST 042D, LCST 043B, LCST 043C, LCST 043D, LCST 044B, LCST 044C, LCST 044D, LCST 045B, LCST 045C, LCST 045D, LCST 046B, LCST 046C, LCST 046D, LCST 046X, LCST 047X, L | 25EMS47126
209 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: LCNS 011A, LCNS 012A, LCNS 011B, LCNS 011C, LCNS 011D, LCNS 012B, LCNS 012C, LCNS 012D, LCNS 012X, LCNS 131L Removal of Disconnect: LCNS LDBKR | 25EMS47127
210 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Disconnects: KUTP 109T9, KUTP JMP1 Update Breaker/Disconnect names: KUTP 109T9_NEW -> KUTP 109T9 | 25EMS47128
211 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: KPRT 303M, KPRT 303N, KPRT 304M | 25EMS47129
212 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: HRFT 103B | 25EMS47130
213 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update Breaker/Disconnect names: HUJC 051T0 -> HUJC-BKFT 051T0, HUJC 051T1 -> HUJC-HULN 051T1, HUJC 051T2 -> HUJC-AKJN 051T2 | 25EMS47131
214 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: HOLY 011B, HOLY 011C, HOLY 011D, HOLY 012B, HOLY 012C, HOLY 012D, HOLY 013B, HOLY 013C, HOLY 013D, HOLY 014B, HOLY 014C, HOLY 014D, HOLY 061L | 25EMS47132
215 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: HGTN 012X | 25EMS47133
216 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: HBRD 231H, HBRD 232H | 25EMS47134
217 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: HBND 033Z, HBND 032B, HBND 032C, HBND 033B, HBND 033C, HBND 041B, HBND 041C, HBND 041D, HBND 042B, HBND 042C, HBND 042D, HBND 061L, HBND 062L, HBND 063F, HBND 064F Update from Breaker to Disconnect: HBND 032D, HBND 033D | 25EMS47135
218 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: FTLD 011Z, FTLD 021Z, FTLD 061L Removal of Breakers/Disconnects: FTLD FTLD-NWPM | 25EMS47136
219 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: EMET 011Z, EMET 012Z, EMET 132L, EMET 133L | 25EMS47137
220 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update from Breaker to Disconnect: EKHN 131L | 25EMS47138
221 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update Breaker/Disconnect names: DYCK 110T3_NEW -> DYCK 110T3, DYCK 110T4_NEW -> DYCK 110T4 | 25EMS47139
222 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update from Breaker to Disconnect: DXJN 075T5 | 25EMS47140
223 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: DRKE 011A, DRKE 011B, DRKE 011C, DRKE 011D, DRKE 011E, DRKE 011X, DRKE 011Y, DRKE 012B, DRKE 012C, DRKE 012D, DRKE 012X, DRKE 131L Update normalOpen: DRKE 131F | 25EMS47141
224 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: DRAM 015D, DRAM 016D, DRAM 017D, DRAM 018D, DRAM 019D, DRAM 019X, DRAM 020D, DRAM 020X, DRAM 021D, DRAM 022D, DRAM 135L, DRAM 136L, DRAM 137L, DRAM 138L, DRAM 139L, DRAM 140L, DRAM 141L, DRAM 142L | 25EMS47142
225 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: DONN LDBKR | 25EMS47143
226 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: CSCD 011B, CSCD 011C, CSCD 012B, CSCD 012C, CSCD 013B, CSCD 013C, CSCD 031H, CSCD 061L, CSCD 062L Update from Breaker to Disconnect: CSCD 011D, CSCD 011X | 25EMS47144
227 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: CRFD 201M, CRFD 201N | 25EMS47145
228 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: CNCL 011B, CNCL 011C, CNCL 012B, CNCL 012C, CNCL 012T100, CNCL 061L Update from Breaker to Disconnect: CNCL 061F | 25EMS47146
229 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: CNCK 011B, CNCK 011C, CNCK 011D, CNCK 012B, CNCK 012C, CNCK 012D, CNCK 061L, CNCK 062H | 25EMS47147
230 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: CMBG 011B, CMBG 011C, CMBG 011T2, CMBG 012B, CMBG 012C, CMBG 061L, CMBG 062H Update from Breaker to Disconnect: CMBG 061F | 25EMS47148
231 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: CDWL 011Z, CDWL 012A, CDWL 013A, CDWL 017A, CDWL 011B, CDWL 011C, CDWL 011D, CDWL 011X, CDWL 011Y, CDWL 012B, CDWL 012C, CDWL 012D, CDWL 012X, CDWL 013B, CDWL 013C, CDWL 013D, CDWL 014B, CDWL 014C, CDWL 014D, CDWL 015B, C | 25EMS47149
232 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: CDAL 011A, CDAL 011Z, CDAL 012A, CDAL 012Z, CDAL 013A, CDAL 013Z, CDAL 014A, CDAL 014Z, CDAL 015A, CDAL 015Z, CDAL 016A, CDAL 017A, CDAL 018A, CDAL 019A, CDAL 020A, CDAL 021A, CDAL 022A, CDAL 023Z, CDAL 105X, CDAL 131M, C | 25EMS47150
233 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: CARO 011B, CARO 011C, CARO 011D, CARO 012B, CARO 012C, CARO 012D, CARO 013B, CARO 013C, CARO 013D, CARO 061L, CARO 063X Update normalOpen: CARO 011X | 25EMS47151
234 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: BORA 302M, BORA 302N, BORA 308M, BORA 308N, BORA 342M | 25EMS47152
235 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: BOMT 041A, BOMT 042A, BOMT 041B, BOMT 041C, BOMT 041D, BOMT 042B, BOMT 042C, BOMT 042D, BOMT 132L | 25EMS47153
236 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update from Breaker to Disconnect: BOBN 132H | 25EMS47154
237 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: BLPR 231M, BLPR 232M Update normalOpen: BLPR 231X | 25EMS47155
238 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: BLDR 041B, BLDR 041C, BLDR 041D, BLDR 041X, BLDR 042B, BLDR 042C, BLDR 042D, BLDR 042Y, BLDR 101X, BLDR 131L | 25EMS47156
239 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update from Breaker to Disconnect: BKFT 171X | 25EMS47157
240 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: BECE 011A, BECE 012A, BECE 011B, BECE 011C, BECE 011D, BECE 012B, BECE 012C, BECE 012D, BECE 012X, BECE 013B, BECE 013C, BECE 013D, BECE 061L | 25EMS47158
241 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update Breaker/Disconnect name: AKJN 051T3 -> AKJN-HUJC 051T3 | 25EMS47159
242 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: ADRN 011B, ADRN 011C, ADRN 011D, ADRN 012B, ADRN 012C, ADRN 012D, ADRN 013B, ADRN 013C, ADRN 013D, ADRN 061L, ADRN 062H, ADRN 062L Update from Disconnect to Breaker: ADRN 062Z | 25EMS47160
243 | IPCO_BA | Substation\Load - Removal of ConformLoad: MCAL 014A | 25EMS47161
244 | IPCO_BA | Substation\Load - Addition of ConformLoads: LCNS 011, LCNS 012A Removal of ConformLoad: LCNS T131 | 25EMS47162
245 | IPCO_BA | Substation\Load - Addition of ConformLoad: DRKE 011 Removal of ConformLoad: DRKE T131 | 25EMS47163
246 | IPCO_BA | Substation\Load - Addition of ConformLoads: DRAM MC10, DRAM MC11, DRAM MC12, DRAM MC5, DRAM MC6, DRAM MC7, DRAM MC8, DRAM MC9 Removal of ConformLoads: DRAM T135, DRAM T136, DRAM T137, DRAM T138, DRAM T139, DRAM T140, DRAM T141, DRAM T142 | 25EMS47164
247 | IPCO_BA | Substation\Load - Addition of ConformLoads: CDWL 012A, CDWL 013A, CDWL 017A Removal of ConformLoad: CDWL T134 | 25EMS47165
248 | IPCO_BA | Substation\Load - Addition of ConformLoads: CDAL 011, CDAL 012, CDAL 013, CDAL 014, CDAL 015, CDAL 016, CDAL 017, CDAL 018, CDAL 019, CDAL 020, CDAL 021, CDAL 022 Removal of ConformLoads: CDAL T132, CDAL T133, CDAL T134 | 25EMS47166
249 | IPCO_BA | Substation\Load - Addition of ConformLoads: BOMT 041, BOMT 042 Removal of ConformLoad: BOMT T132 | 25EMS47167
250 | IPCO_BA | Substation\Load - Addition of ConformLoads: BECE 011, BECE 012 Removal of ConformLoad: BECE T061 | 25EMS47168
251 | IPCO_BA | Transformer - Update x, ratedS: SCSU MBE_1, SCSU T131_2 Update BaseVoltage: SCSU MBE_1, SCSU MBE_2, SCSU T131_2 | 25EMS47169
252 | IPCO_BA | Transformer - Removal of PowerTransformer: OBPR MBE | 25EMS47170
253 | IPCO_BA | Transformer - Addition of PowerTransformer: MCAL T047 | 25EMS47171
254 | IPCO_BA | Transformer - Addition of PowerTransformer: LCNS T131 | 25EMS47172
255 | IPCO_BA | Transformer - Addition of PowerTransformer: DRKE T131 | 25EMS47173
256 | IPCO_BA | Transformer - Addition of PowerTransformers: DRAM T135, DRAM T136, DRAM T137, DRAM T138, DRAM T139, DRAM T140, DRAM T141, DRAM T142 | 25EMS47174
257 | IPCO_BA | Transformer - Addition of PowerTransformer: CSCD T031 | 25EMS47175
258 | IPCO_BA | Transformer - Addition of PowerTransformer: CDWL T134 | 25EMS47176
259 | IPCO_BA | Transformer - Addition of PowerTransformers: CDAL T132, CDAL T133, CDAL T134 | 25EMS47177
260 | IPCO_BA | Transformer - Addition of PowerTransformer: BOMT T132 | 25EMS47178
261 | IPCO_BA | Transformer - Update ratedU: BOBS T131_2 | 25EMS47179
262 | IPCO_BA | Transformer - Update MVA limits: BKFT T162 Update r and x: BKFT T162_1, BKFT T162L_3 | 25EMS47180
263 | IPCO_BA | Transformer - Addition of PowerTransformer: BECE T061 | 25EMS47181
264 | IPCO_BA | Transmission Line - Removal of Line: ONTO-ONTO1 | 25EMS47182
265 | IPCO_BA | Transmission Line - Update MVA limits: HYBN-MNCO1 | 25EMS47183
266 | IPCO_BA | Transmission Line - Update MVA limits: DRKE-NLTP, QUTZ-DRKE | 25EMS47184
267 | IPCO_BA | Transmission Line - Update MVA limits: BCSR-KUTP, BCSR-HAWK | 25EMS47185
268 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FERC881 Dynamic MVA. | 25EMS47186
269 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 25EMS47187
270 | IPCO_BA | - CIM export of IPCO_BA FNM. | 25EMS47188
271 | IPCO_BA | Update rated U to 525 for MPSN and HMWY transformers | 25EMS47548
272 | LDWP_BA | Substation\Load - Update CB and Disconnect Normal Status, Update Ratings, Update Measurements, Update BAR STATCOM | 25EMS47296
273 | LDWP_BA | Substation\Load - ICCP Mapping for 25M10 LADWP CIM | 25EMS47297
274 | MID_TOP | Contingency Definition - Update Contingency Definition list for multiple stations. Requesting removal of one contingency and an addition of three contingencies. | 25EMS46598
275 | NEVP_BA | LVC - MLE | 25EMS46632
276 | NEVP_TOP | Transmission Line - ICCP removal | 25EMS47189
277 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Disconnect removals | 25EMS47190
278 | NEVP_TOP | Generator - New Resource for fuel conversion | 25EMS47191
279 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Breaker ICCP additions | 25EMS47192
280 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Breaker ICCP additions | 25EMS47193
281 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Breaker ICCP additions | 25EMS47194
282 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Breaker ICCP additions | 25EMS47195
283 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Breaker ICCP additions | 25EMS47196
284 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Breaker additions | 25EMS47197
285 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Breaker ICCP additions | 25EMS47198
286 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Breaker ICCP additions | 25EMS47199
287 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Breaker additions | 25EMS47200
288 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Breaker additions | 25EMS47201
289 | NEVP_TOP | Substation\Load - Load additions | 25EMS47202
290 | NEVP_TOP | Breaker(s)\ Disconnect(s) - New pseudo breakers for substation fold in | 25EMS47203
291 | NEVP_TOP | Breaker(s)\ Disconnect(s) - New pseudo breakers for substation fold in | 25EMS47204
292 | NEVP_TOP | Contingency Definition - Contingencies for new substation | 25EMS47205
293 | NEVP_TOP | Generator - New generator | 25EMS47206
294 | NEVP_TOP | Substation\Load - New 345kV substation | 25EMS47207
295 | NEVP_TOP | Substation\Load - New 345kV substation | 25EMS47208
296 | NEVP_TOP | Substation\Load - Load additions | 25EMS47209
297 | NEVP_TOP | Generator - New generator | 25EMS47210
298 | NEVP_TOP | Substation\Load - New 345kV substation | 25EMS47211
299 | NEVP_TOP | Substation\Load - New 345kV substation | 25EMS47212
300 | NWMT_BA | RAS - Screen shot of RAS Alarms | 25EMS46855
301 | NWMT_BA | Contingency Definition - Contingency Definitions | 25EMS46856
302 | NWMT_BA | Generator - Updated MVAR capability curves | 25EMS46857
303 | NWMT_BA | Transformer - Limit changes | 25EMS46858
304 | NWMT_BA | Substation\Load - New Substation, node changes | 25EMS46859
305 | NWMT_BA | Breaker(s)\ Disconnect(s) - New switches, switch type changes | 25EMS46860
306 | NWMT_BA | Transmission Line - Limit changes | 25EMS46861
307 | PAC_TOP | Breaker(s)\ Disconnect(s) - Double model switch 2U347 | 25EMS46057
308 | PAC_TOP | Breaker(s)\ Disconnect(s) - Name update for SW 6696 to 6698 and name update for T1 to T2 | 25EMS46058
309 | PAC_TOP | Breaker(s)\ Disconnect(s) - Swap SCADA keys between switches SW 3P278 and 3P214 | 25EMS46059
310 | PAC_TOP | Transmission Line - Remove jumpers and branch to MOUNTSHA | 25EMS46060
311 | PAC_TOP | Transmission Line - Remove double modeling and activate branch to LASSEN | 25EMS46061
312 | PAC_TOP | Substation\Load - Remove station and clean up double modelling | 25EMS46062
313 | PAC_TOP | Substation\Load - Update SCADA keys for Xfmr1 LD | 25EMS46063
314 | PAC_TOP | Transmission Line - Remove branch to LILACYN and add branch to SPHINXTP | 25EMS46064
315 | PAC_TOP | Transmission Line - Remove branch to TAMARISK and add branch to SPHINXTP | 25EMS46065
316 | PAC_TOP | Substation\Load - Add new station | 25EMS46066
317 | PAC_TOP | Substation\Load - Dual model new MOAB and TR. Update scheduled load values | 25EMS46067
318 | PAC_TOP | Substation\Load - Remove S-Bus voltage measurement | 25EMS46068
319 | PAC_TOP | Transmission Line - Update MVA key for branch to BRIGHTON | 25EMS46069
320 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove switch 41A and 42A. Add switches E2044 and E2045 | 25EMS46070
321 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update SCADA keys for CB 343 and CB 323. | 25EMS46071
322 | PAC_TOP | Breaker(s)\ Disconnect(s) - Change 142 BP to MOAB | 25EMS46072
323 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for 2 breakers | 25EMS46073
324 | PAC_TOP | Generator - Add BESS for Iron Springs Solar | 25EMS46074
325 | PAC_TOP | Generator - Add BESS for Iron Springs Solar | 25EMS46387
326 | PAC_TOP | Substation\Load - NA Bus voltage limits updated across the system | 25EMS46690
327 | PAC_TOP | Transformer - Removed control bus assignment from fixed transformers | 25EMS46691
328 | PAC_TOP | Transformer - Control voltage limits and scheduled voltages are updated for load tap changing transformers | 25EMS46692
329 | PAC_TOP | Substation\Load - Update measurements for LD T1. Remove 2 switches | 25EMS46693
330 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update Normal state for 1 breaker | 25EMS46694
331 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update Normal state for 1 breaker | 25EMS46695
332 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update measurements for 2 breakers | 25EMS46696
333 | PAC_TOP | Transformer - Update measurement mapping for xfmr | 25EMS46697
334 | PAC_TOP | Substation\Load - Update measurements for 1 breaker, 1 line segment, and 1 load | 25EMS46698
335 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update measurement for 1 breaker | 25EMS46699
336 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 3 switches. Update measurements for line to AUSTINTP | 25EMS46700
337 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add 3 switches | 25EMS46701
338 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 1 switch | 25EMS46702
339 | PAC_TOP | Substation\Load - NA Bus voltage limits updated across the system | 25EMS46703
340 | PAC_TOP | Transformer - Removed control bus assignment from fixed transformers | 25EMS46704
341 | PAC_TOP | Transformer - Control voltage limits and scheduled voltages are updated for load tap changing transformers | 25EMS46705
342 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 1 switch | 25EMS46706
343 | PAC_TOP | Substation\Load - Remove measurement for load LD1 | 25EMS46707
344 | PAC_TOP | Substation\Load - Add 1 bus voltage measurement | 25EMS46708
345 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 2 breakers, add 6 switches and measurements for DRUMMOND line and bus kV | 25EMS46709
346 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 2 switches | 25EMS46710
347 | PAC_TOP | Generator - Update MVAR capability curve | 25EMS46711
348 | PAC_TOP | Transmission Line - Remove 2 switches and line to OQUIRRH. Remap measurements to MOSIDA line | 25EMS46712
349 | PAC_TOP | Transmission Line - Remove 2 switches and line to CLOVER | 25EMS46713
350 | PAC_TOP | Generator - Add new generators for the disaggregation of Granite Mountain and addition of battery resource | 25EMS46714
351 | PAC_TOP | Generator - Add new generation (Enterprise BESS). Update name for 1 GU breaker | 25EMS46715
352 | PAC_TOP | Transmission Line - Add 1 switch and line to ESCALANS | 25EMS46716
353 | PAC_TOP | Generator - Add new station and generation for the disaggregation of Escalante Solar and addition of battery resource | 25EMS46717
354 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 1 switch | 25EMS46718
355 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove 1 switch | 25EMS46719
356 | PACE | Update at NIBLEY station | 25EMS47551
357 | PACE | Transmission Line - Correct line limit | 25EMS47569
358 | PGE_BA | - PGE FERC 881 AAR ICCP obj ID template filled in | 25EMS43536
359 | PGE_BA | Contingency Definition - Contingency defination update | 25EMS46830
360 | PGE_BA | - PGE FERC 881 AAR ICCP obj ID template filled in | 25EMS46831
361 | PGE_BA | Transformers - update the Rivergate VWR1 impedance | 25EMS46832
362 | PGE_BA | Substation\Load - Add Mobile 3 | 25EMS46833
363 | PGE_BA | Breaker(s)\ Disconnect(s) - Remap W246 and line measurements to DRHM1 | 25EMS46834
364 | PGE_BA | Breaker(s)\ Disconnect(s) - Remap keys for 5 switches, 2 breakers, W53kv, and line to Fairview | 25EMS46835
365 | PGE_BA | Transmission Line - Remap MW and MVAR keys for MRQM_URBN_W12153 | 25EMS46836
366 | PGE_BA | Transmission Line - Remap MVA key for PWSY_TRJN_V1726 | 25EMS46837
367 | PGE_BA | Transmission Line - Rename COVE_RDBT_V1666 and V2667 to RDBT_COVE_V1666 and V2667 | 25EMS46838
368 | PGE_BA | Substation\Load - Update Pearl #1 and #2 | 25EMS46839
369 | PGE_BA | Substation\Load - Add Mobile 2 | 25EMS46840
370 | PGE_BA | Substation\Load - Remove WB3001_BLLK, WB3002_BLLK, and BLLK_WBR30 | 25EMS46841
371 | PGE_BA | Transmission Line - Rename HUBR_STMW_W1700 to STMW_HUBR_W1700 | 25EMS46842
372 | PGE_BA | Substation\Load - Delete EVGN_WJ4, W114, W115, and double model | 25EMS46843
373 | PNM | Huning Ranch RAS Retirement | 24EMS40204
374 | PNM | Sky Ranch Generation Tripping RAS Retirement | 24EMS40205
375 | PNM | Eastern New Mexico RAS Update | 25EMS46482
376 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of TAG Solar Breaker 52F3_F4_BF2_TAG | 25EMS46106
377 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of TAG Solar Breaker 52F1_F2_BF1_TAG | 25EMS46107
378 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of TAG Solar Switch 89F3_F4_BF2_TAG | 25EMS46108
379 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of TAG Solar Switch 89F1_F2_BF1_TAG | 25EMS46109
380 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of TAG Solar Switch 89M2_TAG | 25EMS46110
381 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of TAG Solar Switch 89M1_TAG | 25EMS46111
382 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of RioPuerc 115 Switch 89T2_TAG | 25EMS46112
383 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of RioPuerc 115 Switch 89T1_TAG | 25EMS46113
384 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of RioPuerc 115 Breaker 52U1_TAG | 25EMS46114
385 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of RioPuerc 115 Switch 89M1_TAG | 25EMS46115
386 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of RioPuerc 115 Switch 54365 | 25EMS46116
387 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of RioPuerc 115 Switch 54361 | 25EMS46117
388 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of RioPuerc 115 Switch 54363 | 25EMS46118
389 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of RioPuerc 115 Breaker 64962 | 25EMS46119
390 | PNM_BA | Breaker(s)\ Disconnect(s) - Change voltage of RioPuerc 115 Switch 64963 | 25EMS46120
391 | PNM_BA | Transformer - Change name and voltage of TAG_Xfms 115_13_8 to TAG_Xfms 115_34_5 | 25EMS46121
392 | PNM_BA | Substation\Load - Upload of ICCP mapping for IRO-010-05 | 25EMS46275
393 | PNM_BA | RAS - Upload of RAS Display for IRO-010-05 | 25EMS46276
394 | PNM_BA | Generator - Upload of Dynamic Model Validation in compliance of IRO-010-06 | 25EMS46277
395 | PNM_BA | Generator - Upload of Dynamic Model for Transient Stability Analysis in compliance of IRO-010-05 | 25EMS46278
396 | PNM_BA | Transmission Line - Updating modeling line from Dona Ana to White Sands to Alamogordo (No more HollomanTap, TSGT) WTHT 115kV removed | 25EMS46279
397 | PNM_BA | Substation\Load - Remove Station HOLOMANT | 25EMS46280
398 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove switch HTHO in6266H HT | 25EMS46281
399 | PNM_BA | Breaker(s)\ Disconnect(s) - Remove switch 5763 | 25EMS46282
400 | PNM_BA | Breaker(s)\ Disconnect(s) - Breaker 19462 To Be Removed Mid-June 2025 | 25EMS46363
401 | PNM_BA | Substation\Load - Expansion of Tramway substation. Addition of new load | 25EMS46634
402 | PNM_BA | Substation\Load - Expansion of Tramway substation. Addition of new load | 25EMS46635
403 | PNM_BA | Shoofly Install\ Removal - Addition of Shoofly to bypass Valencia Station | 25EMS46636
404 | PNM_BA | Shoofly Install\ Removal - Addition of Shoofly to bypass Valencia Station | 25EMS46637
405 | PNM_BA | - Updated the Pmax of the Shallow Basket Solar unit from 140MW to 158.3MW | 25EMS46638
406 | PNM_BA | Transmission Line - Changed MVA rating on the QLRA - RIPU1 345kV line: Summer =1309MVA, Winter = 1635MVA | 25EMS46746
407 | PNM_BA | Transmission Line - Changed MVA rating on the QLRA - WSMS1 345kV line: Summer =1309MVA, Winter = 1635MVA | 25EMS46747
408 | PNM_BA | Transmission Line - Changed MVA rating on the QLRA - ATSO 345kV line: Summer =1309MVA, Winter = 1635MVA | 25EMS46748
409 | PNM_BA | Transmission Line - Changed the MVA rating on the SOC 115kV line: With PST in service Summer and Winter rating is 120MVA. With PST out of service Summer and Winter rating is 148MVA | 25EMS46749
410 | PNM_BA | Generator - Moving existing generator 'Pyramid 4' to PYRAMID 4 APECO Substation and changed owner to WALC as part of Pseudo Tie | 25EMS46750
411 | PNM_BA | Breaker(s)\ Disconnect(s) - Moving existing breaker 'PG4_428' to PYRAMID 4 APECO Substation and changed owner to WALC as part of Pseudo Tie | 25EMS46751
412 | PNM_BA | Substation\Load - Creation of Substation PYRAMID 4 APECO and set owner to WALC as part of Pseudo Tie | 25EMS46752
413 | PNM_BA | Transmission Line - Update/Addition Sandia - Embudo Contingency | 25EMS46800
414 | PNM_BA | Generator - Addition to Sandia BESS | 25EMS46801
415 | PNM_BA | Generator - Addition to Sandia BESS | 25EMS46802
416 | PNM_BA | Generator - Addition to Sandia BESS | 25EMS46803
417 | PNM_BA | Generator - Addition to Sandia BESS | 25EMS46804
418 | PNM_BA | Generator - Addition to Sandia BESS | 25EMS46805
419 | PNM_BA | Generator - Addition to Sandia BESS | 25EMS46806
420 | PNM_BA | Transmission Line - Addition to Sandia 115kV ring bus | 25EMS46807
421 | PNM_BA | Generator - State of Charge for Battery. MWH and % | 25EMS47445
422 | PNM_BA | Generator - State of Charge for Battery. MWH and % | 25EMS47446
423 | PSCO | Remove de-aggregate units now that aggregate unit is in place and working. Expand MV curve capability as SCADA clearly shows significant value at PMAX. | 25EMS46505
424 | PSEI_BA | Breaker(s)\ Disconnect(s) - NWMT had submitted a CIM model for PSEI's beavercreek wind plant. The switch and breaker status' currently have bad data quality. This provides the ICCP Ids for the devices. | 25EMS46584
425 | PSEI_BA | Generator - Addition; oneline of new generation facility | 25EMS46643
426 | SPP_RC | SPP Incremental Updates for DB137 | 24EMS38805
427 | SPP_RC | Update WHITE_WD CP1 | 25EMS47572
428 | SRP_BA | New Sunzia East RAS | 24EMS33957
429 | SRP_BA | - Scope Document | 25EMS47244
430 | SRP_BA | - Data Gathering Template Worksheet | 25EMS47245
431 | SRP_BA | - Full Network Model File | 25EMS47246
432 | SRP_BA | - Limits List | 25EMS47247
433 | SRP_BA | - Network Model ICCP List | 25EMS47248
434 | SRP_BA | - Contingency List File | 25EMS47249
435 | SRP_BA | Substation\Load - Added - 230 kV loads CAM and SIG | 25EMS47250
436 | SRP_BA | Substation\Load - Added - 69 kV loads for XMFR 2 and 3 | 25EMS47251
437 | SRP_BA | Substation\Load - Added - 69 kV singular loads CJ1, CJ2, CRL | 25EMS47252
438 | SRP_BA | Substation\Load - Deleted - 69 kV equivalent load | 25EMS47253
439 | SRP_BA | BUS - Added - 69 kV east and west busses | 25EMS47254
440 | SRP_BA | SVC - Added - Knoll SVC type shunt 7 kV | 25EMS47255
441 | SRP_BA | Generator - Deleted - Knoll Generator, reconfigured as an SVC type shunt 7 kV | 25EMS47256
442 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects D 69 TMP 3 | 25EMS47257
443 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects D 138 7C10, D 138 7C17, D 138 7C4, D 138 7C8, D 138 7C9 | 25EMS47258
444 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects B 69 345, D 69 371 | 25EMS47259
445 | SRP_BA | Breaker(s)\ Disconnect(s) - Deleted - 69 kV Breakers/Disconnects DLI 69 8T110 | 25EMS47260
446 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects B 69 352, DTP 69 335 | 25EMS47261
447 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects D 69 TMP 66 | 25EMS47262
448 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects B 69 422, D 69 421, D 69 423 | 25EMS47263
449 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects D 69 TMP 14 | 25EMS47264
450 | SRP_BA | Breaker(s)\ Disconnect(s) - Deleted - 69 kV Breakers/Disconnects D 69 OJ 61 | 25EMS47265
451 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects D 69 TMP 15 | 25EMS47266
452 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects D 69 TMP 16 | 25EMS47267
453 | SRP_BA | Breaker(s)\ Disconnect(s) - Deleted - 69 kV Breakers/Disconnects D 69 OJ 23 | 25EMS47268
454 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects D 69 TMP 65 | 25EMS47269
455 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects B 69 312, B 69 315, B 69 322, B 69 325, B 69 328, B 69 332, B 69 335, B 69 338, B 69 342, B 69 345, D 69 311, D 69 313, D 69 314, D 69 319, D 69 321, D 69 323, D 69 324, D 69 326, | 25EMS47270
456 | SRP_BA | Breaker(s)\ Disconnect(s) - Deleted - 69 kV Breakers/Disconnects tmp 69 33 and tmp 69 46 | 25EMS47271
457 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects D 69 TMP 13 | 25EMS47272
458 | SRP_BA | Breaker(s)\ Disconnect(s) - Deleted - 69 kV Breakers/Disconnects D 69 OJ 62 and D 69 OJ 63 | 25EMS47273
459 | SRP_BA | Breaker(s)\ Disconnect(s) - Added - 69 kV Breakers/Disconnects B 69 335, B 69 338, B 69 345, B 69 348, B 69 372, B 69 378, DCS 69 373, DCS 69 377, D 69 331, D 69 336, D 69 337, D 69 339, D 69 341, D 69 346, D 69 347, D 69 349, D 69 | 25EMS47274
460 | SRP_BA | Breaker(s)\ Disconnect(s) - Deleted - 69 kV Breakers/Disconnects D 69 561 | 25EMS47275
461 | SRP_BA | Transmission Line - Added - 69 kV line to TAP station TAP_15E_1.5N | 25EMS47276
462 | SRP_BA | Transmission Line - Added - 69 kV line to TAP station TAP_15E_1.5N | 25EMS47277
463 | SRP_BA | Transmission Line - Added - 69 kV line to TAP station TAP_1E_3.9N | 25EMS47278
464 | SRP_BA | Transmission Line - Added - 69 kV line to Rudd | 25EMS47279
465 | SRP_BA | Transmission Line - Added - 69 kV line to Cowden | 25EMS47280
466 | SRP_BA | Transmission Line - Added - 69 kV line to Burton | 25EMS47281
467 | SRP_BA | Transmission Line - Added - 69 kV line to Wilkins | 25EMS47282
468 | TEPC_TOP | Substation\Load - small remodel of dist busses for accuracy | 25EMS46753
469 | TEPC_TOP | Transmission Line - small rdfid change due to movement of measurement | 25EMS46754
470 | TEPC_TOP | Shunt Cap\Reactor\ SVD¿s - Remodel of the SVC as a SVC device rather than as a generator | 25EMS46755
471 | TEPC_TOP | Transformer - Remodel of distribution to reflect some of the distribution topology rather than equivalent loads | 25EMS46756
472 | TEPC_TOP | Breaker(s)\ Disconnect(s) - Small remodel near IRV_VALENCIA_SOL to reflect correct topology of distribution path | 25EMS46757
473 | TEPC_TOP | Substation\Load - Modeling of aux loads for block 2 and block 3, movement of measurements for net and gross MW output for accuracy. No need to change market associations, only fixing estimation issues | 25EMS46758
474 | TEPC_TOP | Shunt Cap\Reactor\ SVD¿s - New Kantor cap bank went into service in June 2025 | 25EMS46759
475 | TEPC_TOP | Shunt Cap\Reactor\ SVD¿s - Modeling of distribution level shunts and attendant breakers | 25EMS46760
476 | TEPC_TOP | Generator - New battery at ROADRNR station ties to VAIL station. New resource RDR_1_Roadrunner_BATT_2 | 25EMS46761
477 | TEPC_TOP | Generator - New stations WHETSNE and BABCMARI added. WHETSTNE will bisect VAIL and FORT_HUA line. WHETSTNE ties to BABCMARI where new resource BS_1_BABACOMARI_SOLR will be located. | 25EMS46762
478 | TEPC_TOP | Generator - New breaker topology and addition of new solar and battery for Wilmot Energy Center 2. | 25EMS46763
479 | TEPC_TOP | Breaker(s)\ Disconnect(s) - Breaker renames to conform to standard in rest of model and for accuracy | 25EMS46764
480 | TEPC_TOP | Shunt Cap\Reactor\ SVD¿s - Adjustment of shunt parameters for accuracy | 25EMS46765
481 | TEPC_TOP | Transmission Line - Remodel of SOUTH to IRVINGTN line to reflect 46kv topology | 25EMS46766
482 | TPWR_BA | Generator - Update | 25EMS46576
483 | TPWR_BA | Transmission Line - Update | 25EMS46577
484 | TPWR_BA | Breaker(s)\ Disconnect(s) - Update | 25EMS46578
485 | TPWR_BA | Generator - Update | 25EMS46579
486 | TPWR_BA | Transmission Line - Update | 25EMS46580
487 | TPWR_BA | Breaker(s)\ Disconnect(s) - Update | 25EMS46581
488 | TSGT_TOP | - CHANGE OF DEFAULT SYSTEM VOLTAGE LIMITS | 25EMS46362
489 | TSGT_TOP | - ICCP Mapping | 25EMS47224
490 | TSGT_TOP | Transmission Line - Multiple ratings updates | 25EMS47225
491 | WALC_TOP | Transmission Line - New 230kV tie-line to SRP's Pinal Central 230kV station | 25EMS45958
492 | WALC_TOP | Transformer - Test Track KW4A Transformer replacement and bay relocation | 25EMS46652
493 | WALC_TOP | Generator - LESR: Change the Nucor non-conforming load model to a generator model | 25EMS46653
494 | WALC_TOP | Transmission Line - New 230kV tie-line to SRP's Pinal Central 230kV station | 25EMS46654
495 | WALC_TOP | Substation\Load - Added pfixed and qfixed values to the Thatcher load | 25EMS46782
496 | WALC_TOP | Transformer - Added Transformerends ratedS Attributes to all WALC BA transformers | 25EMS46783
497 | WALC_TOP | Transmission Line - New 230kV tie-line to SRP's Pinal Central 230kV station | 25EMS46784
498 | WALC_TOP | Transmission Line - New 230kV line from Cochise - Road Runner | 25EMS46785
499 | WALC_TOP | Transmission Line - New 230kV line from Apache - Cochise | 25EMS46786
500 | WALC_TOP | Generator - New Roadrun BESS will be installed at a new Roadrunner station | 25EMS46787
501 | WALC_TOP | Generator - New Roadrun Solar will be installed at a new Roadrunner station | 25EMS46788
502 | WALC_TOP | Transformer - New Roadrun T1 transformer will be installed at a new Roadrunner station | 25EMS46789
503 | WALC_TOP | Transformer - New transformer, T322 will be installed in parallel to the existing T321 | 25EMS46790
504 | WALC_TOP | Generator - Change the Nucor non-conforming load model to a generator model | 25EMS46791
505 | WALC_TOP | Substation\Load - Added pfixed and qfixed values to the Thatcher load | 25EMS47483
506 | WALC_TOP | Transformer - Added Transformerends ratedS Attributes to all WALC BA transformers | 25EMS47484
507 | WALC_TOP | Transmission Line - New 230kV tie-line to SRP's Pinal Central 230kV station | 25EMS47485
508 | WALC_TOP | Transmission Line - New 230kV line from Cochise - Road Runner | 25EMS47486
509 | WALC_TOP | Transmission Line - New 230kV line from Apache - Cochise | 25EMS47487
510 | WALC_TOP | Generator - New Roadrun BESS will be installed at a new Roadrunner station | 25EMS47488
511 | WALC_TOP | Generator - New Roadrun Solar will be installed at a new Roadrunner station | 25EMS47489
512 | WALC_TOP | Transformer - New Roadrun T1 transformer will be installed at a new Roadrunner station | 25EMS47490
513 | WALC_TOP | Transformer - New transformer, T322 will be installed in parallel to the existing T321 | 25EMS47491