## Version_History
FNM Scope for FNM 25M2_DB133
(Production 2/12/2025)
Revision History – Final Scope: 12/11/2024, Late Model Scope Change Request Deadline: 12/30/2024
Effective Date | Version | Description
2024-12-04 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
2025-02-10 | 2 | Add additional information
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name | Project Key | Capacity (MW) | POD | Additional Information
1 | PGAE | AZALEA_6_AZASR1 | Azalea | 18AS1995 | 60 | ARCO 70KV BUS | New Solar resource
2 | PGAE | TULRLK_6_UTASR1 | Utica Avenue Solar | 24GEN39084 | 3 | ARCO-TULARE LAKE - From 4/13 To BUS | New Solar resource
3 | PGAE | ARCATA_6_FCPSB2 | Foster Clean Power B | 24NGR39141 | 4 | ARCATA 60KV BUS | New Non-Generation resource
4 | PGAE | AZALEA_6_AZABT1 | Azalea BESS | 24NGR39375 | 38 | ARCO 70KV BUS | New Storage resource
5 | SCE | CALGEN_1_MDRBT1 | Coso Navy 1 | 21PREC17102 | 25 | INYOKERN 115KV BUS | New Storage resource
6 | SCE | CALCME_2_CPCWD1 | Cal Portland Cement Wind Mojave | 23GEN31487 | 24 | WINDHUB 230KV BUS | New Wind/Wind Repower resource
7 | SCE | SNCLRA_2_BWEBT1 | Black Walnut Energy Storage | 24NGR39021 | 15 | Santa Clara 230kV | New Non-Generation resource
8 | SCE | BLM W_2_MDRBT1 | BLM EAST Facility Mordor 2 | 24NGR40036 | 20 | KRAMER 230 KV BUS | New Storage resource
9 | SDGE | CMRRON_2_CMNWD1 | Cimarron Wind | 19AS8823 | 300 | ECONTY 230KV BUS | New Wind/Wind Repower resource
10 | SDGE | VENTSO_6_VENBT1 | Ventasso Energy Storage | 19AS9078 | 50 | El Cajon 69KV BUS | New Non-Generation resource
11 | SDGE | SRAPTA_5_DECBT1 | Dateland Energy Complex Sierra | 24NGR39298 | 113 | HOODOO WASH 500 KV BUS | New Non-Generation resource
12 | SDGE | WESCN2_2_BDSBT2 | BATERIA DEL SUR 2B | 24NGR39486 | 100 | Imperial Valley 230kV | New Non-Generation resource
13 | PGAE |  | Mustang 2 Barbaro | 23RIG33248 | 50 |  | RIG Reconfiguration
14 | PGAE |  | Mustang 2 Whirlaway | 23RIG33250 | 100 |  | RIG Reconfiguration
15 | PGAE |  | SEPV Cuyama | 24RIG40542 | 3 |  | RIG Reconfiguration
16 | SCE |  | Rosamond Solar | 22RIG23409 | 40 |  | RIG Reconfiguration
17 | SCE |  | SEPV Sierra RuRd | 24RIG40046 | 8.25 |  | RIG Reconfiguration

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 22TRANS21065 | Contra Costa PP 230 kV Line Terminals Reconfiguration Project | ET5438
2 | PGAE | 24TRANS40170 | Cooley Landing CB 122 | ET5437
3 | SCE | 22TRANS22430 | Humidor Energy Storage (TOT959/Q1629) | ET5139
4 | SCE | 24TRANS40202 | Antelope 220/66 kV 2A Bank Relocation | ET5439
5 | SCE | 24TRANS40202 | Antelope 220/66 kV 2A Bank Relocation | ET5440
6 | SCE | 24TRANS40691 | Hidden Springs BESS Q1312/TOT812 | ET5444
7 | SCE | 24TRANS40691 | Hidden Springs BESS Q1312/TOT812 | ET5445
8 | SCE | 24TRANS40700 | Barre Substation - Remove No.3 220 kV Capacitor | ET5446
9 | SDGE | 16TRANS6399 | TL691 Reconductor | ET3158
10 | SDGE | 23TRANS27973 | TL649 W2S Phase II | ET5234
11 | SDGE | 24TRANS40101 | TL13804 Wood To Steel | ET5433
12 | SDGE | 24TRANS40756 | TL643 Temp | ET5462
13 | SZT | 24TRANS39980 | SunZia Transmission, LLC | ET5428
14 | SZT | 24TRANS39980 | SunZia Transmission, LLC | ET5429
15 | SZT | 24TRANS39980 | SunZia Transmission, LLC | ET5430
16 | SZT | 24TRANS39980 | SunZia Transmission, LLC | ET5431
17 | SZT | 24TRANS39980 | SunZia Transmission, LLC | ET5432

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | AESO_RC | Soun | 24EMS41503
2 | AVA_BA | Contingency Definition - This is a follow-up submittal from Avista's discussion with Amir Mosaddegh and Sanjeev Ramakrishnan with CAISO about contingency differences between the CAISO and AVA lists. This submission adds several of the contingencies that were found missing from CAISO. There are several additions and several removals, please contact daniel.murphy@avistacorp.com with questions about the submittal. | 24EMS40584
3 | AVA_BA | - ICCP mapping to AVA CIM model | 24EMS40975
4 | AVA_BA | - Note: the ratings in this submittal are SPRING = High1/High2, and WINTER = High3/High4 | 24EMS40976
5 | AVRN_BA | Generator - No Change - reporting only | 24EMS40304
6 | AZPS_BA | Breaker(s)\ Disconnect(s) - ICCP List updated | 25EMS41841
7 | AZPS_BA | Substation\Load - ICCP List updated | 25EMS41842
8 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Added CH RE0 A 345KV and CH RE11 A 345KV | 25EMS41843
9 | AZPS_BA | Breaker(s)\ Disconnect(s) - Added CH031, CH032, CH1131, CH1132 | 25EMS41844
10 | AZPS_BA | Generator - Added new resource SVL_6_PLUT_BESS | 25EMS41845
11 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added DX361,DX362,DX363 | 24EMS40871
12 | AZPS_TOP | Contingency Definition - Updated contingencies | 24EMS40872
13 | AZPS_TOP | Transmission Line - Rating Updates to Line_PV-PWY_230KV and Line_PWY-TB_230KV | 24EMS40873
14 | AZPS_TOP | Transmission Line - Modified impedance for Line_SERX-SG_230KV | 24EMS40875
15 | AZPS_TOP | Transmission Line - Modified impedance for Line_YA-POP_69KV | 24EMS40876
16 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added WAL1662, WAL1461 | 24EMS40877
17 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Added VS CB9 A 69KV | 24EMS40878
18 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added VS961, VS962 | 24EMS40879
19 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added TBnaSFPWY, TBnaSFPV | 24EMS40880
20 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added SG1221, SG1123, SG1121 | 24EMS40881
21 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed SG522, SG521, SG523 | 24EMS40882
22 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Removed SDG CB1 A 69KV | 24EMS40883
23 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added SDG562, SDG561, SDG563 | 24EMS40884
24 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed SCW1362, SCW621, SCW525, SCW624, SCW1361, SCW1363 | 24EMS40885
25 | AZPS_TOP | Generator - Added new resource SVL_6_PLUT_BESS | 24EMS41422
26 | AZPS_TOP | Transmission Line - re-added line - was accidnetly removed from submission V1 | 24EMS41423
27 | AZPS_TOP | Transmission Line - re-added line - was accidnetly removed from submission V1 | 24EMS41424
28 | AZPS_TOP | Transmission Line - re-added line - was accidnetly removed from submission V1 | 24EMS41425
29 | AZPS_TOP | Transmission Line - re-added line - was accidnetly removed from submission V1 | 24EMS41426
30 | AZPS_TOP | Transmission Line - re-added line - was accidnetly removed from submission V1 | 24EMS41427
31 | AZPS_TOP | Transmission Line - re-added line - was accidnetly removed from submission V1 | 24EMS41428
32 | AZPS_TOP | Transmission Line - re-added line - was accidnetly removed from submission V1 | 24EMS41429
33 | AZPS_TOP | Substation\Load - re-added GYR 230KV - was accidentaly removed in the submission V1 | 24EMS41430
34 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Modified MVAR rating to 63.5 for SC CB19 A 69KV | 24EMS41446
35 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Removed SAR CB0 A 69KV | 24EMS41447
36 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed SAR062, SAR061 | 24EMS41448
37 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added RY1721 | 24EMS41449
38 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added DISC RW1155, DISC RW1053, DISC RW1051, DISC RW651, DISC RW951 | 24EMS41450
39 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed BKR RW1156, MOD RW1155, MOD RW1053, MOD RW1051, MOD RW651, MOD RW951 | 24EMS41451
40 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Modified MVAR rating to 14.4 for PY CB15 A 69KV | 24EMS41452
41 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added PVnaSFPWY | 24EMS41453
42 | AZPS_TOP | Transformer - Added PPGX XFMR1 A 34.5KV, PPGX XFMR2 A 34.5KV | 24EMS41454
43 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added PPGXBESS BKR, PPGX89M1, PPGX89M2 | 24EMS41455
44 | AZPS_TOP | Generator - Added Sync machine 34.5KVBESS A, thermal unit 34.5KVBESS_TGU | 24EMS41456
45 | AZPS_TOP | Transformer - Added PLUX XFMR1 A 34.5KV | 24EMS41457
46 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added PLUX52-T1, PLUX52-F1, PLUX89-T1, PLUX89-F1 | 24EMS41458
47 | AZPS_TOP | Substation\Load - Added new substation | 24EMS41459
48 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added MDK6657 | 24EMS41460
49 | AZPS_TOP | Transformer - Added HVSX XFMR1 A 34.5KV, HVSX XFMR2 A 34.5KV | 24EMS41461
50 | AZPS_TOP | Generator - Deleted 525KVBESS A, 525KVPV A | 24EMS41462
51 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added HVSXPV BKR, HVSXBESS BKR, HVSX89M2, HVSX89M1 | 24EMS41463
52 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed HQSX52-U3, HQSX89-T3 | 24EMS41464
53 | AZPS_TOP | Generator - Modified MinQ and MaxQ for HAVX BESS1 A 34.5KV and HAVX BESS2 A 34.5KV | 24EMS41465
54 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Modified MVAR rating to 57.6 for ES CB1 A 69KV | 24EMS41466
55 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added DSN161, DSN163 | 24EMS41467
56 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Added DM CB9 A 69KV | 24EMS41468
57 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added DLN1756, DLN1852, DLN952, DLN951, DLN1854, DLN1755, DLN1851, DLN1853, DLN954, DLN855, DLN953 | 24EMS41469
58 | AZPS_TOP | Generator - Modifed MinQ/MaxQ for CHKX BESS A 34.5KV Modifed MinQ/MaxQ for CHKX PV A 34.5KV | 24EMS41470
59 | AZPS_TOP | Shunt Cap\Reactor\ SVD¿s - Added BUL CB1 A 69KV | 24EMS41471
60 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Added BUL961, BUL962 | 24EMS41472
61 | AZPS_TOP | Breaker(s)\ Disconnect(s) - Removed SDG162, SDG161 | 24EMS41473
62 | AZPS_TOP | Transmission Line - Added Line_OD-WAL_69KV | 24EMS41474
63 | AZPS_TOP | Transmission Line - Added Line Line_FLR-KJ_69KV | 24EMS41475
64 | AZPS_TOP | Transmission Line - Added Line_PV-TB_230KV | 24EMS41476
65 | AZPS_TOP | Transmission Line - Added Line_PLUX-SAR_69KV | 24EMS41477
66 | AZPS_TOP | Transmission Line - Modified Line_DLN-HQSX_500KV to Line_HVSX-DLN_500KV | 24EMS41478
67 | AZPS_TOP | Transmission Line - Updated Line_DLN-PPGX_500KV to Line_PPGX-DLN_500KV | 24EMS41479
68 | AZPS_TOP | Transmission Line - Removed Line_RUX_WT_230KV | 24EMS41480
69 | BANC_BA | Transmission Line - Updating terminal connectivity | 24EMS40808
70 | BANC_BA | Transformer - Updating Transformer ratings | 24EMS40809
71 | BANC_BA | Transmission Line - Updating Line Ratings | 24EMS40810
72 | BANC_BA | Breaker(s)\ Disconnect(s) - Removing Disconnect D3252 | 24EMS40811
73 | BCHA_RC | Substation\Load - Updates in the BCHydro ICCP database pertaining to CAISO | 24EMS40173
74 | BCHA_RC | Substation - Removed GLR | 24EMS40768
75 | BCHA_RC | Transformer - Removed GLR T1 | 24EMS40769
76 | BCHA_RC | Transformer - Removed GLR T2 | 24EMS40770
77 | BCHA_RC | Transmission Line - Removed 60L66 | 24EMS40771
78 | BCHA_RC | ConformLoadGroup - Removed GLR_3 | 24EMS40772
79 | BCHA_RC | ConformLoad - Removed GLR_LOAD | 24EMS40773
80 | BCHA_RC | Transmission Line - Removed 60L66_1 | 24EMS40774
81 | BCHA_RC | Transmission Line - Removed 1L57_3 | 24EMS40775
82 | BCHA_RC | SynchronousMachine - Added G1 | 24EMS40776
83 | BCHA_RC | Substation - Added BKP | 24EMS40777
84 | BCHA_RC | Substation - Added TOK | 24EMS40778
85 | BCHA_RC | Substation - Added CPS | 24EMS40779
86 | BCHA_RC | ShuntCompensator - Added 13CX1 | 24EMS40780
87 | BCHA_RC | ShuntCompensator - Added 13CX2 | 24EMS40781
88 | BCHA_RC | Transformer - Added FCC T1 | 24EMS40782
89 | BCHA_RC | Transformer - Added MAN T5 | 24EMS40783
90 | BCHA_RC | GeneratingUnit - Added FCC G1 | 24EMS40784
91 | BCHA_RC | ConformLoadGroup - Added BKP_9 | 24EMS40785
92 | BCHA_RC | ConformLoad - Added BKP_LD | 24EMS40786
93 | BCHA_RC | ConformLoad - added KTB_LD1, KTB_LD2, KTB_LD3, KTB_LD4, KTB_BLK1 etc. | 24EMS40787
94 | BCHA_RC | Transmission Line - Added line 60L99_4 | 24EMS40788
95 | BCHA_RC | Transmission Line - Added line 1L157_4 | 24EMS40789
96 | BCHA_RC | Transmission Line - Added line 1L210_13 | 24EMS40790
97 | BCHA_RC | Transmission Line - Added line 1L210_11 | 24EMS40791
98 | BCHA_RC | Transmission Line - Added line 1L210_2 | 24EMS40792
99 | BCHA_RC | Substation\Load - Updated ICCP mapping file | 24EMS40793
100 | BCHA_RC | Substation - Removed GLR | 24EMS40886
101 | BCHA_RC | Transformer - Removed GLR T1 | 24EMS40887
102 | BCHA_RC | Transformer - Removed GLR T2 | 24EMS40888
103 | BCHA_RC | Transmission Line - Removed 60L66 | 24EMS40889
104 | BCHA_RC | ConformLoadGroup - Removed GLR_3 | 24EMS40890
105 | BCHA_RC | ConformLoad - Removed GLR_LOAD | 24EMS40891
106 | BCHA_RC | Transmission Line - Removed 60L66_1 | 24EMS40892
107 | BCHA_RC | Transmission Line - Removed 1L57_3 | 24EMS40893
108 | BCHA_RC | SynchronousMachine - Added G1 | 24EMS40894
109 | BCHA_RC | Substation - Added BKP | 24EMS40895
110 | BCHA_RC | Substation - Added TOK | 24EMS40896
111 | BCHA_RC | Substation - Added CPS | 24EMS40897
112 | BCHA_RC | ShuntCompensator - Added 13CX1 | 24EMS40898
113 | BCHA_RC | ShuntCompensator - Added 13CX2 | 24EMS40899
114 | BCHA_RC | Transformer - Added FCC T1 | 24EMS40900
115 | BCHA_RC | Transformer - Added MAN T5 | 24EMS40901
116 | BCHA_RC | GeneratingUnit - Added FCC G1 | 24EMS40902
117 | BCHA_RC | ConformLoadGroup - Added BKP_9 | 24EMS40903
118 | BCHA_RC | ConformLoad - Added BKP_LD | 24EMS40904
119 | BCHA_RC | ConformLoad - added KTB_LD1, KTB_LD2, KTB_LD3, KTB_LD4, KTB_BLK1 etc. | 24EMS40905
120 | BCHA_RC | Transmission Line - Added line 60L99_4 | 24EMS40906
121 | BCHA_RC | Transmission Line - Added line 1L157_4 | 24EMS40907
122 | BCHA_RC | Transmission Line - Added line 1L210_13 | 24EMS40908
123 | BCHA_RC | Transmission Line - Added line 1L210_11 | 24EMS40909
124 | BCHA_RC | Transmission Line - Added line 1L210_2 | 24EMS40910
125 | BCHA_RC | Substation\Load - Updated ICCP mapping file | 24EMS40911
126 | BCHA_RC | Long Name Station Update | 24EMS41683
127 | BPA | Remove TRIDS for BPA equipment per data listed in the attached file. Incident #08136449 | 24EMS40399
128 | BPAT_BA | RAS - Full BPA Western Montana Model information. | 24EMS40569
129 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added new configuration and temp swithces for future energization. | 24EMS40948
130 | BPAT_BA | Breaker(s)\ Disconnect(s) - Fixed switches types and names. | 24EMS40949
131 | BPAT_BA | Breaker(s)\ Disconnect(s) - Fixed switches types and names. | 24EMS40950
132 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added a switch MBD and breaker B257. | 24EMS40951
133 | BPAT_BA | Breaker(s)\ Disconnect(s) - Added a Fuse switch. | 24EMS40952
134 | BPAT_BA | Generator - Updated Max MW from 260MW to 285.6MW. | 24EMS40953
135 | BPAT_BA | Transmission Line - Inserted FLATHEAD in existing line "LIBY_COKY_1230" and split the line in to twol ines "LIBY_FLAT_1230" and "FLAT_COKY_1230". | 24EMS40954
136 | BPAT_BA | Substation\Load - | 24EMS40955
137 | BPAT_BA | Substation\Load - | 24EMS40956
138 | BPAT_BA | RAS - Fixed inputs to WM LIBBY RAS schemes due to line name changes. | 24EMS40957
139 | BPAT_BA | RAS - Added new gen drop. | 24EMS40958
140 | BPAT_BA | Contingency Definition - BPA Contingency List. | 24EMS40959
141 | BPAT_TOP | Transformer - Added new transformer. | 24EMS40425
142 | BPAT_TOP | Breaker(s)\ Disconnect(s) - Renamed switches. | 24EMS40426
143 | BPAT_TOP | Breaker(s)\ Disconnect(s) - Renamed switches. | 24EMS40427
144 | BPAT_TOP | Breaker(s)\ Disconnect(s) - Renamed a switch. | 24EMS40428
145 | BPAT_TOP | Breaker(s)\ Disconnect(s) - Added new switch. | 24EMS40429
146 | BPAT_TOP | Breaker(s)\ Disconnect(s) - Added new PCBs and switches. | 24EMS40430
147 | BPAT_TOP | Breaker(s)\ Disconnect(s) - Added new PCBs and switches. | 24EMS40431
148 | BPAT_TOP | Breaker(s)\ Disconnect(s) - Added new PCBs and switches. | 24EMS40432
149 | BPAT_TOP | Breaker(s)\ Disconnect(s) - Added new tab switch DSC B1785. | 24EMS40433
150 | BPAT_TOP | Transmission Line - Changed operating voltage from 230 to 500kV Keeler Substation 500/230kV Tie No 3 500kV line. | 24EMS40525
151 | BPAT_TOP | Transmission Line - Changed operating voltage from 230 to 500kV Keeler Substation 500/230kV Tie No 3 500kV line. | 24EMS40526
152 | BPAT_TOP | Transmission Line - Retired/removed Libby-Conkelley No 1 230kV line due to removal of Conkelley substation. Added Flathead-Conkelley No 1 230kV line Added Libby-Flathead No 1 230kV line Removed retire Olympia: 287/230kV Transformer 3 Removed retired Grand Coulee 287/230kV Transformer 1 - Bank KX17A Removed USBR as TOP customer and changed the TOP flagging from from Y to N and kept the BES=Y for Grand Coulee Switchyard 230-500kV Tie No 1 500kV line and Grand Coulee Switchyard 230-115kV Tie No 1 115kV line Keeler: 230/20kV transformer 4. Changed voltage in name to match actual voltage. Added back in Naselle(BPA)-Naselle(PCP) on BES list per J. Largo email. It is flagged BES=No in TRED and is a radial feeder. Changed voltage from 115/13.8 to 115/13.2 for Big Eddy: 115/13.8kV Transformer 8 to match BES per email J. Largo. Changed voltage from 115/13.2 to 115/13.8 for Big Eddy: 115/13.8kV Transformer 8 to match TRED. Removed Conkelley: 230/13.8kV Transformer T99974 from list. This is not in TRED and Conkelley is being dismantled. Will wait to remove the others when they are retired. ADIP1 from the Minidoka PH-Adelaide 138kV line. The MINI is the XREF for the Minidoka substation, not the PH. There is no xref for this line in TRED. Removed Terrell-Refinery 115kV line from BES list. It is totally FO by PSE and does not belong on list. Removed Ponderosa-Corrall No 2 230kV line. It is totally FO by PACW and shouldn't be on the BES list. Removed Naselle(BPA)-Naselle(PCP) from BES list, it is flagged BES=No in TRED and is a radial feeder. | 24EMS40731
153 | BPAT_TOP | Substation\Load - Addresses Request # 6.13 in RC Data Specification. Contains Longitute and Latitude Data for BPA-owned or shared-ownership substations. The following Substations were added from the last submission: Connell (CONL), Stevenson (STEN), Goshen (GOSH), Tincup (TNCP), and North Bonneville (NBNA). | 24EMS40795
154 | CHPD_BA | Generator - Periodic MOD-26/27 Generator modeling update for Rock Island Powerhouse 2 Unit U1 | 24EMS40794
155 | EPE_TOP | Substation\Load - Removes the following ICCP IDs: W016$SHE$XFMR$115_T2$KV W016$SHE$XFMR$115_T2$MV W016$SHE$XFMR$115_T2$MW | 24EMS40934
156 | EPE_TOP | Substation\Load - Removes the following ICCP IDs: W016$PICANTE115KV_T1_0456E$PSDC W016$PICANTE115KV_BIG_8286E$PSDC W016$PICANTE115KV_NEWMAN$MVAR W016$PICANTE115KV_NEWMAN$MW | 24EMS40935
157 | EPE_TOP | Substation\Load - Removes the following ICCP IDs: W016$NEWMAN115KV_PICANTE$MVAR W016$NEWMAN115KV_PICANTE$MW | 24EMS40936
158 | EPE_TOP | Substation\Load - Removes the following ICCP IDs: W016$CALIENTE345KV_AMRAD$MVAR W016$CALIENTE345KV_AMRAD$MW | 24EMS40937
159 | EPE_TOP | Substation\Load - Removes the following ICCP IDs: W016$AMRAD345KV_CALIENTE$MVAR W016$AMRAD345KV_CALIENTE$MW | 24EMS40938
160 | EPE_TOP | Substation\Load - Removes 23.9 KV analog bus measurment | 24EMS40939
161 | EPE_TOP | Substation\Load - Removes 23.9 KV analog bus measurment | 24EMS40940
162 | EPE_TOP | Substation\Load - Removes 69 KV analog bus measurment | 24EMS40941
163 | EPE_TOP | Substation\Load - Removes 13.8 KV analog bus measurment | 24EMS40942
164 | EPE_TOP | Transmission Line - Adds KV line measurment for Line 11500 Las Cruces to Salopek (Las Cruces Side) | 24EMS40943
165 | EPE_TOP | Transmission Line - Adds KV line measurment for Line 11500 Salopek to Las Cruces (Salopek Side) | 24EMS40944
166 | EPE_TOP | Transmission Line - Adds KV line measurment for Line 15400 Salopek to Arroyo (Salopek Side) | 24EMS40945
167 | EPE_TOP | Transmission Line - Adds KV line measurment for Line 15400 Arroyo to Salopek (Arroyo Side) | 24EMS40946
168 | EPE_TOP | Transmission Line - Updates facility ratings for EPE transmission lines | 24EMS40947
169 | IID_TOP | Generator - This is the template requested by the DEWG group asking for D curve data to correct flat and triangle curves version 2. This version cleans up some of the equivalized generators CAISO models for our area. | 24EMS41131
170 | IID_TOP | Transmission Line - This update is due to addition of Liebert SS in between Campo Verde and Mandrapa. | 24EMS41132
171 | IPCO_BA | Contingency Definition - Update PROD HANA contingency definition for IP1 ONTO 230-138 BK T232 by replacing ONTO 104A with ONTO 107A | 24EMS40812
172 | IPCO_BA | Generator - Addition of Generator: PVSR PVS2 | 24EMS40813
173 | IPCO_BA | Generator - Bulk Change: Update name of all SynchronousMachines and GeneratingUnit to <SubstationName> <EquipmentName> | 24EMS40814
174 | IPCO_BA | Shunt Cap\Reactor\ SVD¿s - Addition of Shunt Cap: CHIP C231, CHIP 232 | 24EMS40815
175 | IPCO_BA | Shunt Cap\Reactor\ SVD¿s - Addition of Shunt Cap: BOBN C238 | 24EMS40816
176 | IPCO_BA | Shunt Cap\Reactor\ SVD¿s - Bulk Change: Update name of all SVD's to <SubstationName> <SVDName> | 24EMS40817
177 | IPCO_BA | Transformer - Addition of Transformer: STRD T132 | 24EMS40818
178 | IPCO_BA | Transformer - Addition of Transformer: HSDL T132 | 24EMS40819
179 | IPCO_BA | Transformer - Addition of Transformer: BKCK T131 | 24EMS40820
180 | IPCO_BA | Transformer - Bulk Change: Update all PowerTransformer and PowerTransformerEnd names to: <SubstationName> <EquipmentName> | 24EMS40821
181 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: VLVU TEMP | 24EMS40822
182 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: STRD 012Z, STRD 015A, STRD 016A, STRD 017A, STRD 018A, STRD 021Z, STRD 022Z, STRD 132Z, STRD 131L, STRD 132L, STRD 102X, STRD 103X, STRD 132X | 24EMS40823
183 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: PVSR JMP1, PVSR JMP2 | 24EMS40824
184 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: PRMA 011B, PRMA 011C, PRMA 011D, PRMA 012B, PRMA 012C, PRMA 012D, PRMA 061L, PRMA 041B, PRMA 041C, PRMA 042B, PRMA 042C, PRMA 046Z, PRMA 062L, PRMA 063L | 24EMS40825
185 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: ONTO 061D, ONTO 064D, ONTO 102D | 24EMS40826
186 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: KRMR 045Z, KRMR 041B, KRMR 041C, KRMR 041D, KRMR 042B, KRMR 042C, KRMR 042D, KRMR 043B, KRMR 043C, KRMR 043D, KRMR 044B, KRMR 044C, KRMR 044D, KRMR 045X, KRMR 045Y, KRMR 131L, KRMR 132L | 24EMS40827
187 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: HSDL 012Z, HSDL 132Z, HSDL, 132L, HSDL 102X, HSDL 132X | 24EMS40828
188 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: HFWY 011B, HFWY 011C, HFWY 011D, HFWY 012B, HFWY 012C, HFWY 012D, HFWY 061L, HFWY 061F, HFWY 062X | 24EMS40829
189 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: HBRD CUT1, HBRD CUT3_2 | 24EMS40830
190 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: GARY 017A | 24EMS40831
191 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: DNPR CUT1_2, DNPR CUT2_2, DNPR PVSR_CUT_1 | 24EMS40832
192 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: COVR 012B, COVR 012C, COVR 051L, COVR 051F | 24EMS40833
193 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: COLE CUT2, COLE CUT3, COLE PVSR_CUT2 | 24EMS40834
194 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: CADA 132Z, CADA 102X, CADA 132X, CADA 133X | 24EMS40835
195 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: BOBN 238Z, BOBN 238X, BOBN 238Y | 24EMS40836
196 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: BKFT 013F, BKFT 101Z, BKFT CLRPT3 | 24EMS40837
197 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: BKCK 131Z, BKCK 011B, BKCK 011C, BKCK 011D, BKCK 012B, BKCK 012C, BKCK 012D, BKCK 131L, BKCK 101X, BKCK 131X | 24EMS40838
198 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: BCSR CUT1, BCSR CUT2, BCSR JMP1 Removal of Breakers/Disconnects: BCSR 102A, BCSR 102B, BCSR 102C | 24EMS40839
199 | IPCO_BA | Breaker(s)\ Disconnect(s) - Bulk Change: Update all Breaker/Disconnect names to: <SubstationName> <EquipmentName> | 24EMS40840
200 | IPCO_BA | Breaker(s)\ Disconnect(s) - Bulk Change: Update all LoadBreakSwitches to Breakers | 24EMS40841
201 | IPCO_BA | Transmission Line - Update r, x, and bch of ACLineSegments COLE-PVSR_A, DNPR-PVSR_A | 24EMS40842
202 | IPCO_BA | Transmission Line - Update r, x, and bch of ACLineSegments HBRD-COLE_A | 24EMS40843
203 | IPCO_BA | Transmission Line - Update r and x of ACLineSegments: BOBN-CHIP_A, CHIP-DRAM_A, CHIP-RTSN1_A, HBRD-CHIP_A | 24EMS40844
204 | IPCO_BA | Transmission Line - Update name change of Lines: BKHN-BKJN to BKHN-BKTP, BKJN-LKTP to BKTP-LKTP, BKJN-OKJN to BKTP-OKJN | 24EMS40845
205 | IPCO_BA | Transmission Line - Addition of Lines: AFSR-BKJN, BKJN-BKCK, BKJN-DNJN | 24EMS40846
206 | IPCO_BA | Transmission Line - Removal of Line: AFSR-DNJN | 24EMS40847
207 | IPCO_BA | Substation\Load - Update name change of Substation: BKJN to BKTP | 24EMS40848
208 | IPCO_BA | Substation\Load - Addition of Substation: BKJN | 24EMS40849
209 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 24EMS40850
210 | IPCO_BA | - CIM export of IPCO_BA FNM. | 24EMS40851
211 | IPCO_BA | IPCO ACLineSegments impedance update | 25EMS41766
212 | IPCO_BA | IPCO Transformer Winding Impedance Updates | 25EMS41767
213 | LDWP_BA | Substation\Load - Update CB and Disconnect Normal Status | 24EMS40977
214 | LDWP_BA | Substation\Load - Update ICCP Mapping | 24EMS40978
215 | NEVP_TOP | Breaker(s)\ Disconnect(s) - SCADA keys were updated | 24EMS40912
216 | NEVP_TOP | Breaker(s)\ Disconnect(s) - SCADA keys were updated | 24EMS40913
217 | NEVP_TOP | Breaker(s)\ Disconnect(s) - SCADA keys were updated | 24EMS40914
218 | NEVP_TOP | Breaker(s)\ Disconnect(s) - SCADA keys were updated | 24EMS40915
219 | NEVP_TOP | Breaker(s)\ Disconnect(s) - SCADA keys were updated | 24EMS40916
220 | NEVP_TOP | Contingency Definition - Added Contingency Definitions to model. | 24EMS40917
221 | NEVP_TOP | Transmission Line - Added new lines for Walker River. Added ICCP for line telemetry. | 24EMS40918
222 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Added pseudo breakers to model for Walker River cutin. Added ICCP for status points. | 24EMS40919
223 | NEVP_TOP | Contingency Definition - Added Contingency Definitions to model. | 24EMS40920
224 | NEVP_TOP | Transmission Line - Added new lines for Walker River. Added ICCP for line telemetry. | 24EMS40921
225 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Added pseudo breakers to model for Walker River cutin. Added ICCP for status points. | 24EMS40922
226 | NEVP_TOP | Contingency Definition - Added Contingency Definitions to model. | 24EMS40923
227 | NEVP_TOP | Transmission Line - Added new lines for Walker River. Added ICCP for line telemetry. | 24EMS40924
228 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Added pseudo breakers to model for Walker River cutin. Added ICCP for status points. | 24EMS40925
229 | NEVP_TOP | Contingency Definition - Added Contingency Definitions to model. | 24EMS40926
230 | NEVP_TOP | Transmission Line - Added new lines for Walker River. Added ICCP for line telemetry. | 24EMS40927
231 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Added pseudo breakers to model for Walker River cutin. Added ICCP for status points. | 24EMS40928
232 | NEVP_TOP | Contingency Definition - Added Contingency Definitions to model. | 24EMS40929
233 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Added new breakers/disconnects for Walker River. Added ICCP telemetry for status points. | 24EMS40930
234 | NEVP_TOP | Transmission Line - Added new lines for Walker River. Added ICCP for line telemetry. | 24EMS40931
235 | NEVP_TOP | Substation\Load - Added substation to Network Model. Added ICCP for substation telemetery. | 24EMS40932
236 | NEVP_TOP | Generator - Updated CIM measurement names for ACS plant | 24EMS40933
237 | NWMT | E_GALL_BK2 Impedance Update | 25EMS41998
238 | NWMT_TOP | Substation\Load - BLGS_STM, DIL_SLMN, E_HELENA, LAUREL_A, RSNAKE VCC Updates | 24EMS40511
239 | NWMT_TOP | Breaker(s)\ Disconnect(s) - Contingencies -- Updated NWMT1 BGI, BRADLEY-RENOVA 100, FIVEMILE-STLWTRWD 230, FIVEMILE-RAPELJE; added BRADLEY-ENNIS_A, BRADLEY-JRABBIT, BEAVER CREEK WIND | 24EMS40805
240 | NWMT_TOP | Substation\Load - Renamed Chafin wind to Fivemile and added interconnecting Beaver Creek substation plus generator--see description of changes document for full list of changes. | 24EMS40806
241 | NWMT_TOP | Substation\Load - MSLA 4 Removal, CLYDE P changes, Renova changes, other misc | 24EMS40807
242 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Add reactor measurement | 24EMS40047
243 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove switch 136A | 24EMS40048
244 | PAC_TOP | Transformer - Add MVA limits for PST | 24EMS40049
245 | PAC_TOP | Transformer - Add MVA limits for PST | 24EMS40050
246 | PAC_TOP | Transformer - Add MVA limits for PST | 24EMS40051
247 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal states for CB L66 to 'CLOSED' | 24EMS40052
248 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for AS E1452 to 'CLOSED' | 24EMS40053
249 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for AS 7J6 to 'CLOSED' | 24EMS40054
250 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for AS 452 to 'OPEN' | 24EMS40055
251 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state AS J1128 to 'OPEN' | 24EMS40056
252 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for AS 1 to 'CLOSED' | 24EMS40057
253 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for AS 7D1 to 'CLOSED' | 24EMS40058
254 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for AS E1523 to 'CLOSED' | 24EMS40059
255 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for AS 7B3 to 'OPEN' | 24EMS40060
256 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal states for MO J1868 to "OPEN' and J1869 to 'CLOSED' | 24EMS40061
257 | PAC_TOP | Transformer - Remove 1 switch, updated measurements, and fixed from/to orientation of PSTs. | 24EMS40062
258 | PAC_TOP | Substation\Load - Add two breakers and a load for T2 | 24EMS40063
259 | PAC_TOP | Transmission Line - Remove jumpers and branch to AMASA | 24EMS40064
260 | PAC_TOP | Transmission Line - Remove jumpers and branch to WINDSTAR | 24EMS40065
261 | PAC_TOP | Substation\Load - Add 2 new breakers, 4 switches, and 1 load | 24EMS40066
262 | PAC_TOP | Transmission Line - Update Line impednce, Line measurements and remove double modeling | 24EMS40067
263 | PAC_TOP | Breaker(s)\ Disconnect(s) - Deleted and recreated 3 breaker records for JW741, JE742, and JR743 | 24EMS40068
264 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update of Breaker Normal State | 24EMS40718
265 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update SCADA key for CB 11 | 24EMS40719
266 | PAC_TOP | Transformer - Remove MO 10G43 and replace with AS 10G43. Fix xfr T3 and T4 Measurements | 24EMS40720
267 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove CB 1H4413, AS 1H4514 and 1H4515 | 24EMS40721
268 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Double model 1H173. Map MVAR measurement to Shunt SC506 | 24EMS40722
269 | PAC_TOP | Shunt Cap\Reactor\ SVD¿s - Remove remote bus assignment for reactors R7 and R12. | 24EMS40723
270 | PAC_TOP | Breaker(s)\ Disconnect(s) - Add FLUX line switch E1401 | 24EMS40724
271 | PAC_TOP | Generator - Map AGC MW back to FOOTECRE GEN1 | 24EMS40725
272 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update SCDA key for CB 15 | 24EMS40726
273 | PAC_TOP | Transformer - Add MVA ratings for PSTs | 24EMS40727
274 | PAC_TOP | Transmission Line - Update MVA key for branch to AMASA | 24EMS40728
275 | PAC_TOP | Transmission Line - Update impedance for branch to MOUNDS | 24EMS40729
276 | PGE_BA | Transmission Line - Update the Faraday-River Mill 57kV transmission line impedances and rating limits | 24EMS40852
277 | PGE_BA | Transmission Line - Update the Faraday-River Mill 57kV transmission line impedances and rating limits | 24EMS40853
278 | PGE_BA | Transmission Line - Update the Faraday-River Mill 57kV transmission line impedances and rating limits | 24EMS40854
279 | PGE_BA | Transmission Line - Update the Boring-Faraday 57kV transmission line impedances and rating limits | 24EMS40855
280 | PGE_BA | Transmission Line - Update the Boring-Faraday 57kV transmission line impedances and rating limits | 24EMS40856
281 | PGE_BA | Transmission Line - Update the Boring-Faraday 57kV transmission line impedances and rating limits | 24EMS40857
282 | PGE_BA | Substation\Load - Remove line switches 11561, 11562, 11560 and the line from Coffee Creek to the tap, associated with the Tonquin project phase 11 | 24EMS40858
283 | PGE_BA | Substation\Load - Remove line switches 11561, 11562, 11560 and the line from Coffee Creek to the tap, associated with the Tonquin project phase 11 | 24EMS40859
284 | PGE_BA | Substation\Load - Build a new 3-terminal line associated with Tonquin project phase 12 | 24EMS40860
285 | PGE_BA | Substation\Load - Build a new 3-terminal line associated with Tonquin project phase 12 | 24EMS40861
286 | PGE_BA | Substation\Load - Build a new 3-terminal line associated with Tonquin project phase 12 | 24EMS40862
287 | PGE_BA | Substation\Load - Clean up Horizon-St Marys-Trojan double modeled line. Remove Keeler-St Marys double modeled line | 24EMS40863
288 | PGE_BA | Substation\Load - Clean up HRZN_KEEL #1 & #2 double modeled lines | 24EMS40864
289 | PGE_BA | Generator - Correct the TRW1 Generators' MVar Curves | 24EMS40865
290 | PGE_BA | Generator - Correct the BCW1 Generators' MVar Curves | 24EMS40866
291 | PGE_BA | Contingency Definition - contingency definition updates | 24EMS40867
292 | PGE_BA | - List of ICCP points mapping | 24EMS40868
293 | PGE_BA | - Model Difference report | 24EMS40869
294 | PGE_BA | - Model Updates for PGE: CIMXML model file | 24EMS40870
295 | PNM | Reactor Tripping Relay Scheme RAS Retirement | 24EMS39142
296 | PNM | New Tag Generation Tripping RAS addition | 24EMS40203
297 | PNM_BA | Generator - Updating MAX_GEN and MIN_GEN for TAG Solar BESS as well as Reactive Capability Curves for both TAG Solar PV and TAG Solar BESS. | 24EMS40306
298 | PNM_BA | Breaker(s)\ Disconnect(s) - PSUEDO2 Removed | 24EMS40796
299 | PNM_BA | Breaker(s)\ Disconnect(s) - PSUEDO1 Removed | 24EMS40797
300 | PNM_BA | Breaker(s)\ Disconnect(s) - 48563 SOC Line Disc Sw Removed | 24EMS40798
301 | PNM_BA | Breaker(s)\ Disconnect(s) - BKR 48562 SOC Line Removed | 24EMS40799
302 | PNM_BA | Breaker(s)\ Disconnect(s) - 48561 SOC Line Disc Sw Removed | 24EMS40800
303 | PNM_BA | Breaker(s)\ Disconnect(s) - 49663 SOC Line Bypass Disc Sw Removed | 24EMS40801
304 | PNM_BA | Breaker(s)\ Disconnect(s) - BKR 49662 SOC Line Removed | 24EMS40802
305 | PNM_BA | Breaker(s)\ Disconnect(s) - 49661 SOC Line Bypass Disc Sw Removed | 24EMS40803
306 | PNM_BA | Substation\Load - ICCP SCADA mapping request from RC | 24EMS41629
307 | PNM_BA | Breaker(s)\ Disconnect(s) - ICCP SCADA mapping request from RC | 24EMS41630
308 | PSEI_BA | - PSE CAISO ICCP List | 24EMS41142
309 | PSEI_BA | - PSE CIM Report | 24EMS41143
310 | SNPD_TOP | Substation\Load - Updated UFLS for some feeders in Block 1, 3, and 5 | 24EMS41145
311 | SPP_RC | SPP Incremental Updates for DB133 | 24EMS38785
312 | SRP_BA | - Data Gathering Worksheet Included w/ Submission | 24EMS41002
313 | SRP_BA | - Limits List Included w/ Submission | 24EMS41003
314 | SRP_BA | - ICCP List Included w/ Submission | 24EMS41004
315 | SRP_BA | Transformer - Added 18/500kV XFMRs | 24EMS41005
316 | SRP_BA | Transformer - Added 69/12kV XFMRs | 24EMS41006
317 | SRP_BA | Transformer - Added 69/12kV XFMR + Load | 24EMS41007
318 | SRP_BA | Transformer - Added 69/12kV XFMRs | 24EMS41008
319 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 500kV TMP Switches | 24EMS41009
320 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 69 kV breakers, disconnects | 24EMS41010
321 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 69 kV breakers, disconnects | 24EMS41011
322 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 69 kV breakers, disconnects | 24EMS41012
323 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 69 kV breakers, disconnects | 24EMS41013
324 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 69 kV breakers, disconnects | 24EMS41014
325 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 69 kV breakers, disconnects | 24EMS41015
326 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 69 kV breakers, disconnects | 24EMS41016
327 | SRP_BA | Breaker(s)\ Disconnect(s) - Added 69 kV breakers, disconnects | 24EMS41017
328 | SRP_BA | Transmission Line - Added 69kV Line | 24EMS41018
329 | SRP_BA | Transmission Line - Added 69kV Line | 24EMS41019
330 | SRP_BA | Transmission Line - Added 69kV Line | 24EMS41020
331 | SRP_BA | Transmission Line - Added 69kV Line | 24EMS41021
332 | SRP_BA | Transmission Line - Added 69kV Line | 24EMS41022
333 | SRP_BA | Transmission Line - Added 69kV Line | 24EMS41023
334 | SRP_BA | Transmission Line - Added 69kV Line | 24EMS41024
335 | SRP_BA | Transmission Line - Added 69kV Line | 24EMS41025
336 | SRP_BA | Transmission Line - Added 230kV Line | 24EMS41026
337 | SRP_BA | Transmission Line - Added 230kV Line | 24EMS41027
338 | SRP_BA | Delete Xfmer 2A at Rudd | 25EMS41782
339 | TEPC_TOP | Transmission Line - Impedance updated for WIN_VAI | 24EMS40660
340 | TEPC_TOP | Transmission Line - Rename of IRVINGTN to RAPTOR lines | 24EMS40661
341 | TEPC_TOP | Shunt Cap\Reactor\ SVD¿s - Additional steps added for OSO_GRND shunts that represent DVARs to improve voltage simulation internally, since there isn't an exact device type for DVAR | 24EMS40662
342 | TEPC_TOP | Substation\Load - Remodel of 47kv in NOR_EAST station to have two loads separated by NES_S618_BKR for improved modeling and simulation | 24EMS40663
343 | TEPC_TOP | Breaker(s)\ Disconnect(s) - Added PAT_138S68_BKR to PATRIOT station | 24EMS40664
344 | TEPC_TOP | Transformer - Removal of unnecessary STH_ASR_T1 mva measurement | 24EMS40665
345 | TEPC_TOP | Substation\Load - Reference nodes updated for LRL_138kV, LRL_14kV, WTI_138kV | 24EMS40666
346 | TEPC_TOP | Transformer - Taps modified for DMP_T5, GRF_230_69_T2, IRV_138_46_T2, NES_T4, NLP_T2_SEC, TOR_T1, TOR_T2, TOR_T3, VAI_T1S, VAI_T2, VAI_T2N to improve modeling of transformers | 24EMS40667
347 | TEPC_TOP | Transmission Line - Added CIS_WEC branch inside of CISNE, DVC_CYP branch and PSD_DVC_CYP_BKR for DUVALCLR, and WIN_RH branch in WINCHSTR for future FERC 881 compliance | 24EMS40668
348 | TEPC_TOP | Substation\Load - Remodel of COPVERDE, FRISCO, and MW_E. FRISCO and MW_E are removed, and COPVERDE is now MWE_COPV as per customer site reconfiguration. New 3 letter abbreviation MCV. DDR GL_2_MWE is now located in MWE_COPV. This is the NCL that will use W074_MWE_LOAD_MW in the market model, but will not be assigned in the CIM. Email will be made to SIrajul Chowdhury for implementation in market model. | 24EMS40669
349 | TEPC_TOP | Substation\Load - Modeling of COTTONWD station. This goes into service ahead of schedule in Dec 2024. This station is in between IRVNGTN and SAN_CRUZ, replacing the AJO_MOBILE_LD that was modeled there. New branches connect IRVNGTN and SAN_CRUZ to COTTONWD. | 24EMS40670
350 | WALC | Update all switches except 172 and 173 to normal closed at W_MARANA in AEPCO (WALC) | 25EMS41847
351 | WALC_TOP | Breaker(s)\ Disconnect(s) - Several disconnects associated with the breakers are added to the substation | 24EMS41034
352 | WALC_TOP | Substation\Load - .pfixed and .qfixed are updated for NUCOR load | 24EMS41035