## Version_History
FNM Scope for FNM 25M6_DB135
(Production Week of 6/9/2025)
Revision History – Final Scope: 4/9/2025, Late Model Scope Change Request Deadline: 4/28/2025
Effective Date | Version | Description
2025-04-09 | 1 | Final scope by due date. The scope is considered finalized without any addendum attached.
California ISO – Public

## NRI
I. NRI Projects
No | PTO | Resource ID | Project Name | Project Key
1 | PGAE | ANGELA_1_ANGSR1 | Angela | 18AS1898
2 | PGAE | ANGELA_1_ANGBT1 | Angela BESS | 25NGR42379
3 | PGAE | LALPAG_1_LALBT1 | Lake Alpaugh Battery Storage | 15AS881155
4 | PGAE | DOSPAL_1_MERBT1 | Merced 2 | 24NGR41274
5 | SCE |  | Atlas COMPLEX 10 PV | 24GEN39233
6 | SCE |  | Atlas COMPLEX 11 PV | 24GEN39234
7 | SCE |  | Atlas COMPLEX 2 PV | 24GEN39748
8 | SCE |  | Atlas COMPLEX 4B PV | 24GEN39230
9 | SCE |  | Atlas COMPLEX 5 PV | 24GEN39231
10 | SCE |  | Atlas COMPLEX 6 PV | 24GEN39232
11 | SCE | VESTAL_2_DCSSB1 | Deer Creek Solar 1 Hybrid | 24NGR39567
12 | SCE | RETAKE_2_SS2SR6 | Sanborn Solar 2 S6 | 25GEN42523
13 | SCE |  | SunZia Wind North CLAP | 24CLAP40176
14 | SCE |  | SunZia Wind South CLAP | 24CLAP40177
15 | SDGE |  | CLAP_CIMWND | 25CLAP42397
16 | SZT |  | SunZia Wind North | 24CONV39366
17 | SZT |  | SunZia Wind South | 24CONV39367
18 | NA |  | HRC RIG IP Change | 24RIG41048
19 | NA |  | Santa Paula Energy Storage RIG Replacement | 24RIG41307
20 | NA |  | Avenue 26 Solar Phase II RIG Reconfiguration | 25RIG42965
21 | NA |  | Manzana Wind 2025 RIG Updates | 25RIG42872

## TRAN
II. Transmission Projects
No | PTO | RIMS ID | Project Name | Project Key
1 | PGAE | 19TRANS8688 | Vierra 115 kV Looping Project | ET3992
2 | PGAE | 19TRANS8688 | Vierra 115 kV Looping Project | ET3993
3 | PGAE | 21TRANS16169 | Corby Generation Interconnection Project (Q1270) | ET4615
4 | PGAE | 21TRANS16169 | Corby Generation Interconnection Project (Q1270) | ET4616
5 | PGAE | 22TRANS22748 | Reclaimed Wind Interconnection Project (Q1461) | ET5098
6 | PGAE | 25TRANS44318 | Zamora: Em Replace Bank 1 | ET5514

## EIM_RC
III. EIM/ RC Projects
No | Entity | Project Name | Project Key
1 | APS | Update Impedance values for BC XFMR1 A 12KV at BC station. | 25EMS44022
2 | AVA_BA | - ICCP mapping to AVA CIM model | 25EMS43813
3 | AVA_BA | - Note: the ratings in this submittal are SUMMER = High1/High2, and SPRING = High3/High4 | 25EMS43814
4 | AZPS_BA | Contingency Definition - Contingency updates at AGV, CH, CIELOAZL, CON, DLN, ES, GYR, HDW, MA, MZZ, OD, PV, PWY, RY, SC, SIT, SF, SLL, TB, TVS, and WT | 25EMS43779
5 | AZPS_BA | Substation\Load - Remaining updates included in the CIM | 25EMS43780
6 | AZPS_BA | Substation\Load - ICCP data for CAISO | 25EMS43781
7 | AZPS_BA | Generator - Added generators at IWD, BHVX, WCX | 25EMS43782
8 | AZPS_BA | Generator - Modified MinP and MaxP 34.5KVSLR A_TGU | 25EMS43783
9 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Modified reactor output CH RE0 A 345KV, CH RE11 A 345KV | 25EMS43784
10 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Modified capacitor output GYR CB16 A 69KV, GYR CB18 A 69KV | 25EMS43785
11 | AZPS_BA | Breaker(s)\ Disconnect(s) - Modified normal open status to true CC2064,CC1064,CC064,CC664,CC264,CC1864,CC464,CC1464 | 25EMS43786
12 | AZPS_BA | Transmission Line - Modified impedance Line_TVS-GYR_230KV | 25EMS43787
13 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Removed STS CB25 A 69KV, STS CB26 A 69KV | 25EMS43788
14 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed TBnaSFPWY | 25EMS43789
15 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed STS2561,STS2562,STS2661,STS2662 | 25EMS43790
16 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed PWYnaCON,PWYnaCON1 | 25EMS43791
17 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed PVnaSFPWY | 25EMS43792
18 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed MA363 | 25EMS43793
19 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed GYRnaT6,GYRnaT9 | 25EMS43794
20 | AZPS_BA | Transmission Line - Rating updates for AR-OD, MA-OD, and GB-PLM 69kV lines | 25EMS44025
21 | AZPS_BA | Breaker(s)\ Disconnect(s) - Removed ES2023 | 25EMS44043
22 | AZPS_BA | Transmission Line - Removed Line_DLN-CIX_500KV | 25EMS44044
23 | AZPS_BA | Generator - Add synch machine WCX WF1 A 34.5KV and TGU 34.5KVWF1 A_TGU | 25EMS44045
24 | AZPS_BA | Generator - Add synch machine BHVX BESS A 34.5KV and TGU 34.5KVBESS A_TGU | 25EMS44046
25 | AZPS_BA | Generator - Add synch machine IWD PV A 34.5KV and TGU 34.5KVPV A_TGU | 25EMS44047
26 | AZPS_BA | Shunt Cap\Reactor\ SVD¿s - Add GYR CB10 A 230KV | 25EMS44048
27 | AZPS_BA | Transformer - Add DG XFMR19 A 12KV | 25EMS44049
28 | AZPS_BA | Transformer - Add WCX XFMR1 A 34.5KV,WCX XFMR2 A 34.5KV,WCX XFMR3 A 34.5KV | 25EMS44050
29 | AZPS_BA | Transformer - Add BHVX XFMR1 A 34.5KV,BHVX XFMR2 A 34.5KV | 25EMS44051
30 | AZPS_BA | Transformer - Add GYR XFMR3 A 69KV,GYR XFMR3 A 230KV,GYR XFMR3 A 12KV,GYR XFMR6 A 12KV,GYR XFMR6 A 230KV | 25EMS44052
31 | AZPS_BA | Transformer - Add TVS XFMR3 A 34.5KV | 25EMS44053
32 | AZPS_BA | Transformer - Add WCT XFMRT1 A 500KV | 25EMS44054
33 | AZPS_BA | Transformer - Add IWD XFMRT1 A 34.5KV | 25EMS44055
34 | AZPS_BA | Substation\Load - Add WCX 345/34.5KV substation | 25EMS44056
35 | AZPS_BA | Substation\Load - Add SIT 345KV substation | 25EMS44057
36 | AZPS_BA | Substation\Load - Add BHVX 230/34.5KV substation | 25EMS44058
37 | AZPS_BA | Substation\Load - Add WCT 500/69KV substation | 25EMS44059
38 | AZPS_BA | Substation\Load - Add IWD 69/34.5KV substation | 25EMS44060
39 | AZPS_BA | Substation\Load - Add GYR XFMR7 EL 69KV,GYR XFMR10 EL 69KV,GYR XFMR13 EL 69KV | 25EMS44061
40 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add WCX52-H1,WCX52-H2,WCX52-H3,WCX52-L1,WCX89-H1,WCX89-H2,WCX89-H3,WCX89-L1 | 25EMS44062
41 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add WCT152,WCT153,WCT161,WCT461,WCT462,WCT463 | 25EMS44063
42 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add TVS465,TVSCS89 T3,TVSMOS89 T3,TVSnaGYR | 25EMS44064
43 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add SIT1031,SIT1032,SIT1033,SIT1034,SIT1135,SIT1231,SIT131,SIT133,SIT134,SIT235,SIT236,SIT237,SIT331,SIT332,SIT333,SIT334 | 25EMS44065
44 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add SFR2542,SFR2542 RD,SFR2546,SFR2546 RD | 25EMS44066
45 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add RY1922,RY321 | 25EMS44067
46 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add PWY721,PWY723,PWY724,PWY825,PWY921 | 25EMS44068
47 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add MA361,MA363 | 25EMS44069
48 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add IWD52-CB1L,IWDSW-1L-1,IWDSW-T1H-1,IWDSW-T1L-1 | 25EMS44070
49 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add HDW1351,HDW1352,HDW1353,HDW1354,HDW1455,HDW1456,HDW1551 | 25EMS44071
50 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add GYR1021,GYR1022,GYR1023,GYR1064,GYR121,GYR122,GYR123,GYR1364,GYR225,GYR226,GYR227,GYR32-11,GYR321,GYR322,GYR323,GYR324,GYR62-11,GYR764,GYR92-11 | 25EMS44072
51 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add ES2021,ES2022,ES2023 | 25EMS44073
52 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add EC4042,EC4042 RD,EC4047 | 25EMS44074
53 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add DG1741D,DG1742,DG1743D,DG2341J,DG541D | 25EMS44075
54 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add BHVXPCB230-1,BHVXPCB230-2,BHVXSW230-1,BHVXSW230-2,BHVXSW230-L | 25EMS44076
55 | AZPS_BA | Breaker(s)\ Disconnect(s) - Add AGV52-C1 | 25EMS44077
56 | AZPS_BA | Transmission Line - Add Line_RY-BHVX_230KV | 25EMS44078
57 | AZPS_BA | Transmission Line - Add Line_WCX-SIT_345KV | 25EMS44079
58 | AZPS_BA | Transmission Line - Add Line_SIT-MZZ_345KV | 25EMS44080
59 | AZPS_BA | Transmission Line - Add Line_CH-SIT_345KV | 25EMS44081
60 | AZPS_BA | Transmission Line - Add Line_WCT-HDW_500KV | 25EMS44082
61 | AZPS_BA | Transmission Line - Add Line_DLN-CAZX_500KV | 25EMS44083
62 | AZPS_BA | Transmission Line - Add Line_IWD-WCT_69KV | 25EMS44084
63 | AZPS_BA | Transmission Line - Rating updates for Goodyear-Three Rivers 230kV and Goodyear-Rudd 230kV Line | 25EMS44235
64 | BANC_BA | Transmission Line - Line kV removed from POC side | 25EMS43769
65 | BANC_BA | Substation\Load - Measurement ICCP mapping | 25EMS43770
66 | BANC_BA | Generator - Pmin updated | 25EMS43771
67 | BANC_BA | Substation\Load - Change connectivity | 25EMS43772
68 | BANC_BA | Breaker(s)\ Disconnect(s) - Remove Disconnect | 25EMS43773
69 | BANC_BA | Transmission Line - Add Transmission Line | 25EMS43774
70 | BANC_BA | Transmission Line - Remove Transmission Line | 25EMS43775
71 | BANC_BA | Transformer - Update Ratings and impedance | 25EMS43776
72 | BANC_BA | Substation\Load - Bus Voltage Limitset | 25EMS43777
73 | BANC_BA | Generator - MVAR Capability Curves updated | 25EMS43778
74 | BCHA_RC | Transformer - Deleted TR001AA01 | 25EMS43428
75 | BCHA_RC | Transformer - Deleted TR001AA02 | 25EMS43429
76 | BCHA_RC | Transformer - Deleted T6 | 25EMS43430
77 | BCHA_RC | Transformer - Deleted T5 | 25EMS43431
78 | BCHA_RC | Line - Deleted 25F112 | 25EMS43432
79 | BCHA_RC | Line - Deleted BSY_LDC6 | 25EMS43433
80 | BCHA_RC | Line - Deleted BSY_LDC5 | 25EMS43434
81 | BCHA_RC | Generating Unit - Deleted G1 | 25EMS43435
82 | BCHA_RC | Generating Unit - Deleted G6 | 25EMS43436
83 | BCHA_RC | Generating Unit - Deleted G5 | 25EMS43437
84 | BCHA_RC | Substation - Deleted HLG | 25EMS43438
85 | BCHA_RC | ConformLoad - Deleted HLG | 25EMS43439
86 | BCHA_RC | Generating Unit - Added quA-ymn solar farm to the generic resource of NIC-G1 | 25EMS43440
87 | BCHA_RC | Substation - Added NRD | 25EMS43441
88 | BCHA_RC | Transformer - Added T2 | 25EMS43442
89 | BCHA_RC | Transformer - Added T1 | 25EMS43443
90 | BCHA_RC | Transformer - Added T3 | 25EMS43444
91 | BCHA_RC | Transformer - Added T4 | 25EMS43445
92 | BCHA_RC | ConformLoad - Added CAP_LD_2 | 25EMS43446
93 | BCHA_RC | ConformLoad - Added CAP_LD_3 | 25EMS43447
94 | BCHA_RC | ConformLoad - Added NRD_LOAD | 25EMS43448
95 | BCHA_RC | ConformLoad - Added BND_LD5 | 25EMS43449
96 | BCHA_RC | Transmission Line - Added 1L351_4 | 25EMS43450
97 | BCHA_RC | N/A - Updated ICCP mapping file | 25EMS43451
98 | BPA | LA_PINE station needs LBD switches removed | 25EMS44256
99 | BPAT_BA | Contingency Definition - BPA Contingency List. | 25EMS43021
100 | BPAT_BA | Substation\Load - Updated Voltage Limit template. | 25EMS43224
101 | BPAT_BA | Substation\Load - Updated Voltage Limit template. | 25EMS43316
102 | BPAT_BA | Transmission Line - Added 2 new lines "WHTR_BRDG_1230/A" and "WHTR_WHTR_1_34/A". | 25EMS43317
103 | BPAT_BA | Substation\Load - Added new PCB 52U5 and 2 switches DSC 89L51 and 89L52. | 25EMS43318
104 | BPAT_BA | Substation\Load - New Wind Farm substation. The onwers requested to move energization date to 5/5/2025. | 25EMS43319
105 | BPAT_BA | Substation\Load - New Wind Farm substation. The onwers requested to move energization date to 5/5/2025. | 25EMS43320
106 | BPAT_BA | Generator - New "Z01" 200.22MW generator added. | 25EMS43321
107 | BPAT_BA | Substation\Load - Retired switches. | 25EMS43810
108 | BPAT_BA | Substation\Load - New future Solar substation. | 25EMS43811
109 | BPAT_BA | Contingency Definition - BPA Contingency List. | 25EMS43812
110 | BPAT_BA | Substation\Load - System Voltage Limits Template. Lane and Richland stations have replaced their OCBs and been removed from Variances. | 25EMS44101
111 | BPAT_BA | Breaker(s)\ Disconnect(s) - Renamed switches by replacing "-" with "_". | 25EMS44201
112 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed BPD by-pass disccontects. | 25EMS44202
113 | BPAT_BA | Breaker(s)\ Disconnect(s) - Removed temp disconnects due to future topolgy change that got energized. | 25EMS44203
114 | BPAT_BA | Transmission Line - Added a OLYM_GRCO_1230/A line to replace existing OLYM_GRCO_1300/A line. This line used to operate in both 300kV and 230kV but now it will only operate in 230kV. | 25EMS44204
115 | BPAT_BA | Contingency Definition - BPA Contingency List. | 25EMS44205
116 | BPAT_TOP | Transmission Line - Added Longhorn 500/230kV transformers 1 & 2. Added Coyote Springs-Longhorn No 1 500kV line/McNary-Longhorn No 1 500kV line. Added Longhorn Substation. Removed Mossyrock substation from list, is not TOP or BES. | 25EMS43000
117 | BPAT_TOP | Transmission Line - Addresses Request # 6.14 in RC Data Specification. Contains Line routing for all lines 100 kV and above. Removed: Libby-Conkelley No 1 230kV Added: Libby-Flathead No 1 230kV and Flathead-Conkelley No 1 230kV Explanation: The Libby-Conkelley No 1 line was split into Libby-Flathead No 1 and Flathead-Conkelley No 1. Libby-Conkelley No 1 was removed from the shapefile and spreadsheet, Libby-Flathead No 1 and Flathead-Conkelley No 1 were added with notes. | 25EMS43534
118 | CEN | ROACE CB 98960 and CB 98060 | 25EMS43405
119 | CEN | PKD Station Clean Up | 25EMS44000
120 | CEN_BA | Generator - Addition generation | 25EMS43558
121 | CEN_BA | Generator - Addition generation | 25EMS43559
122 | CEN_BA | Generator - Addition generation | 25EMS43560
123 | CEN_BA | Generator - Addition generation | 25EMS43561
124 | CEN_BA | Generator - Addition generation | 25EMS43562
125 | CEN_BA | Generator - Addition generation | 25EMS43563
126 | CEN_BA | Generator - Addition generation | 25EMS43564
127 | CEN_BA | Generator - Addition generation | 25EMS43565
128 | CHPD_BA | - General CHPD modeling data updates, see DB133_CHPD-49_Data_CHPD_Review.xlsx spreadsheet for details. | 25EMS43521
129 | EPE_TOP | Breaker(s)\ Disconnect(s) - Updated OCB_3406B to GCB_3406B at Lane Substation | 25EMS43549
130 | EPE_TOP | Substation\Load - Deletion of ARROYO_TAT Conform Load & MW/MV analogs | 25EMS43550
131 | EPE_TOP | Breaker(s)\ Disconnect(s) - Addition of disconnect 1666E at Wrangler substation | 25EMS43551
132 | EPE_TOP | Breaker(s)\ Disconnect(s) - Addition of disconnect 3056E at Lane substation | 25EMS43552
133 | EPE_TOP | Transmission Line - Addition of KV analog for line 12100_LAN_WRA at Wrangler Substation | 25EMS43553
134 | EPE_TOP | Transmission Line - Addition of KV analog for line 12100_LAN_WRA at Lane Substation | 25EMS43554
135 | EPE_TOP | Transmission Line - Addition of KV analog for line 34800_NWM_PCA at Picante Substation | 25EMS43555
136 | EPE_TOP | Transmission Line - Addition of KV analog for line 18600_ASC_TRO at Trowbridge Substation | 25EMS43556
137 | EPE_TOP | Transmission Line - Addition of KV analog for line 18600_ASC_TRO at Ascarate Substation | 25EMS43557
138 | GCPD_TOP | Breaker(s)\ Disconnect(s) - GB1084 has been operating as a normally open switch. We are converting the state of this switch to be normally open to remove the ongoing OMS tag. | 25EMS44011
139 | HHWP_TOP | Transmission Line - Update Facility Ratings for multiple HHWP transmission lines. ******NOTE: This table supercedes the ones submitted on 12/21/24 and 1/22/25.**** | 25EMS43236
140 | HHWP_TOP | Transmission Line - Updated Facility Ratings for multiple HHWP transmission lines. This includes ICCP points that we have at this time. We have been coordinating with Sirajul Chowdhury. **** NOTE: This spreadsheet supercedes RC Data Gathering Template - HHWP -20250228.xlsx that was submitted a few minutes ago. | 25EMS43237
141 | IPCO_BA | Contingency Definition - Add contingency definitions IP1 BOMT-KUNA-BCSR 138 and IP1 BCSR-MORA 138 Remove contingency definition IP1 BCSR-BOMT-MORA 138 | 25EMS43580
142 | IPCO_BA | Contingency Definition - Add contingency definitions IP1 US12 UNIT G011 and IP1 US12 UNIT G012 | 25EMS43581
143 | IPCO_BA | Contingency Definition - Add contingency definitions IP1 SWPO UNIT G011 and IP1 SWPO UNIT G012 | 25EMS43582
144 | IPCO_BA | Contingency Definition - Add contingency definition IP1 MPSN-SHSH-HYDA 138 Remove contingency definition IP1 MPSN-SHSH-TFSN 138 | 25EMS43583
145 | IPCO_BA | Contingency Definition - Add contingency definition IP1 HMWP UNIT WP | 25EMS43584
146 | IPCO_BA | Contingency Definition - Add contingency definition IP1 CAWP UNIT WP | 25EMS43585
147 | IPCO_BA | Generator - Update operatingMode of BOBN S011, BOBN S012 | 25EMS43586
148 | IPCO_BA | Generator - Update minOperatingP of FRBS BSP1 | 25EMS43587
149 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update name of Breakers/Disconnects: RIVERT XFMR_FUSE to RIVERTON XFMR_FUSE | 25EMS43588
150 | IPCO_BA | Breaker(s)\ Disconnect(s) - Update name of Breakers/Disconnects: CURLEW xFMR_BRIG to CURLEW XFMR_BRIGCURL | 25EMS43589
151 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: VLVU 102X | 25EMS43590
152 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: SPTP 113T2_STR109, SPTP 113T3_OLD, SPTP FLY1, SPTP JMP111 Update name of SPTP113T2_STR110 to SPTP 113T2 | 25EMS43591
153 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: ONTO 107_CUT1, ONTO 107_CUT2, ONTO ONTO_CUT | 25EMS43592
154 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: NMJN JMP1, NMJN JMP2, NMJN JMP3 | 25EMS43593
155 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: MPSN 301Z, MPSN 301X, MPSN 301Y, MPSN CUT5, MPSN CUT6 Update name changes of Breakers/Disconnects: MPSN 301Z to MPSN 301A, MPSN 301X to MPSN 301B, MPSN 301Y to MPSN 301C | 25EMS43594
156 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: LNSG 012Z, 015A, 016A, 017A, 018A, 022Z, LNSG 012X, LNSG 132L, LNSG T131L | 25EMS43595
157 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: KUTP 109T8_NEW, KUTP 109T9_NEW, KUTP JMP1, KUTP JMP2 | 25EMS43596
158 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: HMWY 204A, HMWY 204B, HMWY 204C, HMWY 205B Removal of Breakers/Disconnects: HMWY DUM8 | 25EMS43597
159 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: HBRD 205A, HBRD 207A, HBRD 208A, HBRD 209A, HBRD 205C, HBRD 207B, HBRD 207C, HBRD 208B, HBRD 208C | 25EMS43598
160 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: DRKE JMP1, DRKE JMP2, DRKE JMPQN | 25EMS43599
161 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: CDWL 134X, CDWL 135X | 25EMS43600
162 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: CARO CARO_CUT, CARO 69KV_NEW | 25EMS43601
163 | IPCO_BA | Breaker(s)\ Disconnect(s) - Addition of Breakers/Disconnects: BOMT 203A, BOMT 204A, BOMT 205A, BOMT 206A, BOMT 203B, BOMT 203C, BOMT 204B, BOMT 204C, BOMT 205B, BOMT 205B_NEW, BOMT 205C, BOMT 206C, BOMT CUT1 | 25EMS43602
164 | IPCO_BA | Breaker(s)\ Disconnect(s) - Removal of Breakers/Disconnects: BCSR 102X, BCSR CUT1, BCSR CUT2, BCSR JMP1 Update normalOpen state of BCSR 102A | 25EMS43603
165 | IPCO_BA | Transformer - Addition of MVA Limits for STRD T132 | 25EMS43604
166 | IPCO_BA | Transmission Line - Update all OperationalLimitSet names by removing a double space | 25EMS43605
167 | IPCO_BA | Transmission Line - Update MVA Limits for SPTP-SPVY | 25EMS43606
168 | IPCO_BA | Transmission Line - Update MVA Limits for BCSR-KUTP, BOMT-KUTP, KUTP-KUNA | 25EMS43607
169 | IPCO_BA | Transmission Line - Update MVA Limits for HAWK-MORA, BCSR-HAWK | 25EMS43608
170 | IPCO_BA | Transmission Line - Update MVA Limits for CHIP-DRAM, CHIP-RTSN | 25EMS43609
171 | IPCO_BA | Transmission Line - Addition of Line: BOMT-HBRD, BOMT-HMWY2 | 25EMS43610
172 | IPCO_BA | Transmission Line - Update MVA Limits for AFSR-BCTP, BCTP-BKCK, BCTP-DNJN | 25EMS43611
173 | IPCO_BA | - All ICCP Object IDs for IPCO_BA FNM. | 25EMS43612
174 | IPCO_BA | - CIM export of IPCO_BA FNM. | 25EMS43613
175 | NEVP_TOP | E TRACY Station Display Fix | 25EMS43499
176 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updating breakers / disconnects | 25EMS43614
177 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updating breakers / disconnects | 25EMS43615
178 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updating breakers / disconnects | 25EMS43616
179 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updating breakers / disconnects | 25EMS43617
180 | NEVP_TOP | Substation\Load - Updating bank analogs | 25EMS43618
181 | NEVP_TOP | Breaker(s)\ Disconnect(s) - Updating breakers / disconnects | 25EMS43619
182 | NEVP_TOP | Substation\Load - NEW SUBSTATION | 25EMS43620
183 | NEVP_TOP | Substation\Load - Addition of XFMR and 120kV bus | 25EMS43621
184 | NEVP_TOP | Transformer - XFMR replacement | 25EMS43622
185 | NEVP_TOP | Substation\Load - Removal of Winnemucca GT station | 25EMS43623
186 | NEVP_TOP | Substation\Load - Removal of Gooseberry tap. | 25EMS43624
187 | NWMT_TOP | Contingency Definition - Update GF_EASTS contignency definitions for line swap | 25EMS43223
188 | NWMT_TOP | Generator - Corrected Unit Circuit Breakers | 25EMS43631
189 | NWMT_TOP | Breaker(s)\ Disconnect(s) - Added AB-230-SW1, AB-230-001, AB-230-002, changed base voltage for 069-198G from 100 to 69, changed HELNA_WS AB-069-003 from NO to NC | 25EMS43632
190 | NWMT_TOP | Transmission Line - Updated RXB values and limits, moved connecting nodes | 25EMS43633
191 | NWMT_TOP | Substation\Load - XFMR Bank reactance update, add plant output MW and MV | 25EMS43634
192 | PAC_TOP | Substation\Load - Updated measurements for 12.5 LD. Move XFMR measurements to low side. Update SCADA Key for CB 15 | 25EMS42952
193 | PAC_TOP | Transformer - Updated From/To MVA mapping for T1 | 25EMS42953
194 | PAC_TOP | Breaker(s)\ Disconnect(s) - Removed 2 switches | 25EMS42954
195 | PAC_TOP | Transmission Line - Removed 1 breaker, 1 switch and old line to WINDSTAR. Added measurements for line to ANTELOPM | 25EMS42955
196 | PAC_TOP | Transmission Line - Updated measurements for line to Treasureton | 25EMS42956
197 | PAC_TOP | Breaker(s)\ Disconnect(s) - Removed 1 switch | 25EMS42957
198 | PAC_TOP | Transmission Line - Removed 2 breakers, 1 switch, and line to CHALKBUT | 25EMS42958
199 | PAC_TOP | Substation\Load - Added 2 breakers and 1 Load | 25EMS42959
200 | PAC_TOP | Generator - Added new station and Solar Generation (400 MW) | 25EMS42960
201 | PAC_TOP | Transmission Line - Added 2 switches and line to MOLEN | 25EMS42961
202 | PAC_TOP | Transmission Line - Added 2 switches and line to MOLEN | 25EMS42962
203 | PAC_TOP | Substation\Load - Added new 345kV Station | 25EMS42963
204 | PAC_TOP | Breaker(s)\ Disconnect(s) - Added 2-138kV breakers and 8 switches. Updated bus names | 25EMS42964
205 | PAC_TOP | Transmission Line - Add MVA measurement for branch to APPALOSA | 25EMS43452
206 | PAC_TOP | Transformer - Update SCADA Key for Xfmr 1 MVA | 25EMS43453
207 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for 11B4 and 11B9 to Closed | 25EMS43454
208 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for 11B4 and 11B9 to Closed | 25EMS43455
209 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for 11G58 to Closed | 25EMS43456
210 | PAC_TOP | Generator - Update limits and reactive power capability for Foote Creek 1 Wind | 25EMS43457
211 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update SCADA measurement for MO 2D52 | 25EMS43458
212 | PAC_TOP | Substation\Load - Add Load measurements | 25EMS43459
213 | PAC_TOP | Generator - Update MVAR cap curves for all 4 units | 25EMS43460
214 | PAC_TOP | Transmission Line - Update impedance for branches to RIMROCK$ and BILLINGS | 25EMS43461
215 | PAC_TOP | Breaker(s)\ Disconnect(s) - Remove CB 42 and 45 bypass switches | 25EMS43462
216 | PAC_TOP | Breaker(s)\ Disconnect(s) - Update normal state for E1565 to Open | 25EMS43463
217 | PAC_TOP | Transmission Line - Remove LD STR11 and add branch to SANDRITP | 25EMS43464
218 | PAC_TOP | Substation\Load - Add new station | 25EMS43465
219 | PAC_TOP | Substation\Load - Add new station | 25EMS43466
220 | PAC_TOP | Transmission Line - Remove AS E1349, rename MO 42A to MO E1349 and change normal state to Closed. Add branch to SANDRIDG | 25EMS43467
221 | PAC_TOP | Substation\Load - Add 2 breakers and 1 load | 25EMS43468
222 | PACE | Update Red Butte RAS | 25EMS42881
223 | PGE_BA | Substation\Load - Reedville PSD001 remove and double modeling clean up | 25EMS43537
224 | PGE_BA | Substation\Load - Remove WBR2 and SW_11747 at Mt Angle | 25EMS43538
225 | PGE_BA | Substation\Load - Remove PSD001/002_RDBT double modeling | 25EMS43539
226 | PGE_BA | Substation\Load - Remove STMW_WCKR_W1528 | 25EMS43540
227 | PGE_BA | Substation\Load - Remove HLVT_SHTE double modeling | 25EMS43541
228 | PGE_BA | Substation\Load - Remove HLVT_SHTE double modeling | 25EMS43542
229 | PGE_BA | Substation\Load - Harrison substation will add a new feeder WR2 | 25EMS43543
230 | PGE_BA | Contingency Definition - Contingency defination update | 25EMS43544
231 | PGE_BA | - List of ICCP points mapping | 25EMS43545
232 | PGE_BA | - Model Difference report | 25EMS43546
233 | PGE_BA | - Model Updates for PGE: CIMXML model file | 25EMS43547
234 | PNM_BA | Generator - ICCP value for JIC BESS MWH stopped updating on RC side 10/17/2024, resubmitting both MWH and % ICCP names for RC West awareness | 25EMS42949
235 | PNM_BA | Generator - ICCP value for SKYRANCH BESS MWH stopped updating on RC side 10/17/2024, resubmitting both MWH and % ICCP names for RC West awareness | 25EMS42950
236 | PNM_BA | Generator - ICCP value for SJNORTH BESS MWH stopped updating on RC side 10/17/2024, resubmitting both MWH and % ICCP names for RC West awareness | 25EMS42951
237 | PNM_BA | Substation\Load - Sky Ranch Phase 2. Addition of Battery Storage to Sky Ranch. | 25EMS42994
238 | PNM_BA | Generator - Sky Ranch Phase 2. Addition of Battery Storage to Sky Ranch. | 25EMS42995
239 | PNM_BA | Generator - Sky Ranch Phase 2. Addition of Battery Storage to Sky Ranch. | 25EMS42996
240 | PNM_BA | Generator - Sky Ranch Phase 2. Addition of Battery Storage to Sky Ranch. | 25EMS42997
241 | PNM_BA | Generator - Sky Ranch Phase 2. Addition of Battery Storage to Sky Ranch. | 25EMS42998
242 | PNM_BA | Generator - Sky Ranch Phase 2. Addition of Battery Storage to Sky Ranch. | 25EMS42999
243 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_26381 | 25EMS43637
244 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_25281 | 25EMS43638
245 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_24181 | 25EMS43639
246 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_23083 | 25EMS43640
247 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_23081 | 25EMS43641
248 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_21983 | 25EMS43642
249 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_21981 | 25EMS43643
250 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_20883 | 25EMS43644
251 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_20881 | 25EMS43645
252 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_19785 | 25EMS43646
253 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_19783 | 25EMS43647
254 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_19781 | 25EMS43648
255 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_18683 | 25EMS43649
256 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_18681 | 25EMS43650
257 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_17585 | 25EMS43651
258 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_17583 | 25EMS43652
259 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_17581 | 25EMS43653
260 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_16483 | 25EMS43654
261 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_16481 | 25EMS43655
262 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_15385 | 25EMS43656
263 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_15383 | 25EMS43657
264 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_15381 | 25EMS43658
265 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_14285 | 25EMS43659
266 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_14283 | 25EMS43660
267 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_14281 | 25EMS43661
268 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_13185 | 25EMS43662
269 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_13183 | 25EMS43663
270 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_13181 | 25EMS43664
271 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_12083 | 25EMS43665
272 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_12081 | 25EMS43666
273 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_10983 | 25EMS43667
274 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_10981 | 25EMS43668
275 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_26382 | 25EMS43669
276 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_25282 | 25EMS43670
277 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_24182 | 25EMS43671
278 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_23082 | 25EMS43672
279 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_21982 | 25EMS43673
280 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_20882 | 25EMS43674
281 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_19782 | 25EMS43675
282 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_18682 | 25EMS43676
283 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_17582 | 25EMS43677
284 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_16482 | 25EMS43678
285 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_15382 | 25EMS43679
286 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_14282 | 25EMS43680
287 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_13182 | 25EMS43681
288 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_12082 | 25EMS43682
289 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_10982 | 25EMS43683
290 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_84365 | 25EMS43684
291 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_83265 | 25EMS43685
292 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_82165 | 25EMS43686
293 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_82163 | 25EMS43687
294 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_82161 | 25EMS43688
295 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_81063 | 25EMS43689
296 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_81061 | 25EMS43690
297 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_79965 | 25EMS43691
298 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_79963 | 25EMS43692
299 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_79961 | 25EMS43693
300 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_78865 | 25EMS43694
301 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_78863 | 25EMS43695
302 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_78861 | 25EMS43696
303 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_77765 | 25EMS43697
304 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_77763 | 25EMS43698
305 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_77761 | 25EMS43699
306 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_76665 | 25EMS43700
307 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_76663 | 25EMS43701
308 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_76661 | 25EMS43702
309 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_75563 | 25EMS43703
310 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_75561 | 25EMS43704
311 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_74463 | 25EMS43705
312 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_74461 | 25EMS43706
313 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_73365 | 25EMS43707
314 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_73363 | 25EMS43708
315 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_73361 | 25EMS43709
316 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_72263 | 25EMS43710
317 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_72261 | 25EMS43711
318 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_71163 | 25EMS43712
319 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_71161 | 25EMS43713
320 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_70065 | 25EMS43714
321 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_70063 | 25EMS43715
322 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_70061 | 25EMS43716
323 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_84362 | 25EMS43717
324 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_83262 | 25EMS43718
325 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_82162 | 25EMS43719
326 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_81062 | 25EMS43720
327 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_79962 | 25EMS43721
328 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_78862 | 25EMS43722
329 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_77762 | 25EMS43723
330 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_76662 | 25EMS43724
331 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_75562 | 25EMS43725
332 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_74462 | 25EMS43726
333 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_73362 | 25EMS43727
334 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_72262 | 25EMS43728
335 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_71162 | 25EMS43729
336 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_70062 | 25EMS43730
337 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_70062 | 25EMS43731
338 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PAJARITO Disconnect HIMO-PAJA1 Pseudo MOD | 25EMS43732
339 | PNM_BA | Breaker(s)\ Disconnect(s) - Add ABO S_COMP Disconnect HIMO-WESP1 Pseudo Switch | 25EMS43733
340 | PNM_BA | Breaker(s)\ Disconnect(s) - Add SILVCITY Breaker SN1039G | 25EMS43734
341 | PNM_BA | Breaker(s)\ Disconnect(s) - Add TULAROSA Breaker SN1038A | 25EMS43735
342 | PNM_BA | Breaker(s)\ Disconnect(s) - Add FIRSTST Breaker SN1046V | 25EMS43736
343 | PNM_BA | Breaker(s)\ Disconnect(s) - Add MANZANO Breaker SN1047V | 25EMS43737
344 | PNM_BA | Breaker(s)\ Disconnect(s) - Add ARRIBA T Breaker SN1034L | 25EMS43738
345 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Add HIMO-WESP1 reactor at HM, 72 MVAr reactor, to Hidden Mtn 345 bus | 25EMS43739
346 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Add HIMO-PAJA1 reactor at HM, 72 MVAr reactor, to Hidden Mtn 345 bus | 25EMS43740
347 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Add EPEL-HIMO reactor at HM, 72 MVAr reactor, to Hidden Mtn 345 bus | 25EMS43741
348 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Add Hidden Mtn Cap 2, 20.4 MVAr Cap Bank, to Hidden Mtn 115 bus | 25EMS43742
349 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Add Hidden Mtn Cap 1, 20.4 MVAr Cap Bank, to Hidden Mtn 115 bus | 25EMS43743
350 | PNM_BA | Transformer - Add Hidden Mtn 345_115 Xmfr2 | 25EMS43744
351 | PNM_BA | Transformer - Add Hidden Mtn 345_115 Xmfr1 | 25EMS43745
352 | PNM_BA | Contingency Definition - Add contingency for HIMO-WESP1 345kV line | 25EMS43746
353 | PNM_BA | Contingency Definition - Add contingency for HIMO-PAJA1 345kV line | 25EMS43747
354 | PNM_BA | Contingency Definition - Add contingency for HIMO-RTSN2 115 kV line | 25EMS43748
355 | PNM_BA | Contingency Definition - Add contingency for HIMO-RTSN1 115 kV line | 25EMS43749
356 | PNM_BA | Transmission Line - Addition of HIMO-PAJA1 345kV Line between Hidden Mountain and Pajarito 345 kV sub | 25EMS43750
357 | PNM_BA | Transmission Line - Addition of HIMO-WESP1 345kV Line between Hidden Mountain and Abo 345 kV sub | 25EMS43751
358 | PNM_BA | Transmission Line - Addition of HIMO-RTSN2 115kV Line between Hidden Mountain and Rattlesnake 115 kV sub | 25EMS43752
359 | PNM_BA | Transmission Line - Addition of HIMO-RTSN1 115kV Line between Hidden Mountain and Rattlesnake 115 kV sub | 25EMS43753
360 | PNM_BA | Substation\Load - Addition of HIDDEN MTN Substation with 115 and 345 kV Buses | 25EMS43754
361 | PNM_BA | Generator - Addition of SLT Grant PV, 5.000 MW solar plant, to SILVCITY substation | 25EMS43755
362 | PNM_BA | Generator - Addition of Reynolds PV, 5.000 MW solar plant, to TULAROSA substation | 25EMS43756
363 | PNM_BA | Generator - Addition of Los Ninos Solar, 5.000 MW solar plant, to FIRSTST substation | 25EMS43757
364 | PNM_BA | Generator - Addition of Give a Book Solar, 4.975 MW solar plant, to MANZANO substation | 25EMS43758
365 | PNM_BA | Generator - Addition of Pino Solar, 5.000 MW solar plant, to ARRIBA T substation | 25EMS43759
366 | PNM_BA | Generator - Adding Quail Solar Battery | 25EMS43760
367 | PNM_BA | Generator - Adding Quail Solar PV | 25EMS43761
368 | PNM_BA | Breaker(s)\ Disconnect(s) - Adding new BESS breaker | 25EMS43762
369 | PNM_BA | Breaker(s)\ Disconnect(s) - Adding new BESS switch | 25EMS43763
370 | PNM_BA | Breaker(s)\ Disconnect(s) - Adding new PV breaker | 25EMS43764
371 | PNM_BA | Breaker(s)\ Disconnect(s) - Adding new PV switch | 25EMS43765
372 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_26381 | 25EMS43843
373 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_25281 | 25EMS43844
374 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_24181 | 25EMS43845
375 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_23083 | 25EMS43846
376 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_23081 | 25EMS43847
377 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_21983 | 25EMS43848
378 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_21981 | 25EMS43849
379 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_20883 | 25EMS43850
380 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_20881 | 25EMS43851
381 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_19785 | 25EMS43852
382 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_19783 | 25EMS43853
383 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_19781 | 25EMS43854
384 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_18683 | 25EMS43855
385 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_18681 | 25EMS43856
386 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_17585 | 25EMS43857
387 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_17583 | 25EMS43858
388 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_17581 | 25EMS43859
389 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_16483 | 25EMS43860
390 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_16481 | 25EMS43861
391 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_15385 | 25EMS43862
392 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_15383 | 25EMS43863
393 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_15381 | 25EMS43864
394 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_14285 | 25EMS43865
395 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_14283 | 25EMS43866
396 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_14281 | 25EMS43867
397 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_13185 | 25EMS43868
398 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_13183 | 25EMS43869
399 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_13181 | 25EMS43870
400 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_12083 | 25EMS43871
401 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_12081 | 25EMS43872
402 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_10983 | 25EMS43873
403 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_10981 | 25EMS43874
404 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_26382 | 25EMS43875
405 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_25282 | 25EMS43876
406 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_24182 | 25EMS43877
407 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_23082 | 25EMS43878
408 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_21982 | 25EMS43879
409 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_20882 | 25EMS43880
410 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_19782 | 25EMS43881
411 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_18682 | 25EMS43882
412 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_17582 | 25EMS43883
413 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_16482 | 25EMS43884
414 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_15382 | 25EMS43885
415 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_14282 | 25EMS43886
416 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_13182 | 25EMS43887
417 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_12082 | 25EMS43888
418 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_10982 | 25EMS43889
419 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_84365 | 25EMS43890
420 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_83265 | 25EMS43891
421 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_82165 | 25EMS43892
422 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_82163 | 25EMS43893
423 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_82161 | 25EMS43894
424 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_81063 | 25EMS43895
425 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_81061 | 25EMS43896
426 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_79965 | 25EMS43897
427 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_79963 | 25EMS43898
428 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_79961 | 25EMS43899
429 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_78865 | 25EMS43900
430 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_78863 | 25EMS43901
431 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_78861 | 25EMS43902
432 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_77765 | 25EMS43903
433 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_77763 | 25EMS43904
434 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_77761 | 25EMS43905
435 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_76665 | 25EMS43906
436 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_76663 | 25EMS43907
437 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_76661 | 25EMS43908
438 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_75563 | 25EMS43909
439 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_75561 | 25EMS43910
440 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_74463 | 25EMS43911
441 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_74461 | 25EMS43912
442 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_73365 | 25EMS43913
443 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_73363 | 25EMS43914
444 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_73361 | 25EMS43915
445 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_72263 | 25EMS43916
446 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_72261 | 25EMS43917
447 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_71163 | 25EMS43918
448 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_71161 | 25EMS43919
449 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_70065 | 25EMS43920
450 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_70063 | 25EMS43921
451 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Disconnect HIMO_70061 | 25EMS43922
452 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_84362 | 25EMS43923
453 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_83262 | 25EMS43924
454 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_82162 | 25EMS43925
455 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_81062 | 25EMS43926
456 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_79962 | 25EMS43927
457 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_78862 | 25EMS43928
458 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_77762 | 25EMS43929
459 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_76662 | 25EMS43930
460 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_75562 | 25EMS43931
461 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_74462 | 25EMS43932
462 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_73362 | 25EMS43933
463 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_72262 | 25EMS43934
464 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_71162 | 25EMS43935
465 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_70062 | 25EMS43936
466 | PNM_BA | Breaker(s)\ Disconnect(s) - Add HIDDEN MTN Breaker HIMO_70062 | 25EMS43937
467 | PNM_BA | Breaker(s)\ Disconnect(s) - Add PAJARITO Disconnect HIMO-PAJA1 Pseudo MOD | 25EMS43938
468 | PNM_BA | Breaker(s)\ Disconnect(s) - Add ABO S_COMP Disconnect HIMO-WESP1 Pseudo Switch | 25EMS43939
469 | PNM_BA | Breaker(s)\ Disconnect(s) - Add SILVCITY Breaker SN1039G | 25EMS43940
470 | PNM_BA | Breaker(s)\ Disconnect(s) - Add TULAROSA Breaker SN1038A | 25EMS43941
471 | PNM_BA | Breaker(s)\ Disconnect(s) - Add FIRSTST Breaker SN1046V | 25EMS43942
472 | PNM_BA | Breaker(s)\ Disconnect(s) - Add MANZANO Breaker SN1047V | 25EMS43943
473 | PNM_BA | Breaker(s)\ Disconnect(s) - Add ARRIBA T Breaker SN1034L | 25EMS43944
474 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Add HIMO-WESP1 reactor at HM, 72 MVAr reactor, to Hidden Mtn 345 bus | 25EMS43945
475 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Add HIMO-PAJA1 reactor at HM, 72 MVAr reactor, to Hidden Mtn 345 bus | 25EMS43946
476 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Add EPEL-HIMO reactor at HM, 72 MVAr reactor, to Hidden Mtn 345 bus | 25EMS43947
477 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Add Hidden Mtn Cap 2, 20.4 MVAr Cap Bank, to Hidden Mtn 115 bus | 25EMS43948
478 | PNM_BA | Shunt Cap\Reactor\ SVD¿s - Add Hidden Mtn Cap 1, 20.4 MVAr Cap Bank, to Hidden Mtn 115 bus | 25EMS43949
479 | PNM_BA | Transformer - Add Hidden Mtn 345_115 Xmfr2 | 25EMS43950
480 | PNM_BA | Transformer - Add Hidden Mtn 345_115 Xmfr1 | 25EMS43951
481 | PNM_BA | Contingency Definition - Add contingency for HIMO-WESP1 345kV line | 25EMS43952
482 | PNM_BA | Contingency Definition - Add contingency for HIMO-PAJA1 345kV line | 25EMS43953
483 | PNM_BA | Contingency Definition - Add contingency for HIMO-RTSN2 115 kV line | 25EMS43954
484 | PNM_BA | Contingency Definition - Add contingency for HIMO-RTSN1 115 kV line | 25EMS43955
485 | PNM_BA | Transmission Line - Addition of HIMO-PAJA1 345kV Line between Hidden Mountain and Pajarito 345 kV sub | 25EMS43956
486 | PNM_BA | Transmission Line - Addition of HIMO-WESP1 345kV Line between Hidden Mountain and Abo 345 kV sub | 25EMS43957
487 | PNM_BA | Transmission Line - Addition of HIMO-RTSN2 115kV Line between Hidden Mountain and Rattlesnake 115 kV sub | 25EMS43958
488 | PNM_BA | Transmission Line - Addition of HIMO-RTSN1 115kV Line between Hidden Mountain and Rattlesnake 115 kV sub | 25EMS43959
489 | PNM_BA | Substation\Load - Addition of HIDDEN MTN Substation with 115 and 345 kV Buses | 25EMS43960
490 | PNM_BA | Generator - Addition of SLT Grant PV, 5.000 MW solar plant, to SILVCITY substation | 25EMS43961
491 | PNM_BA | Generator - Addition of Reynolds PV, 5.000 MW solar plant, to TULAROSA substation | 25EMS43962
492 | PNM_BA | Generator - Addition of Los Ninos Solar, 5.000 MW solar plant, to FIRSTST substation | 25EMS43963
493 | PNM_BA | Generator - Addition of Give a Book Solar, 4.975 MW solar plant, to MANZANO substation | 25EMS43964
494 | PNM_BA | Generator - Addition of Pino Solar, 5.000 MW solar plant, to ARRIBA T substation | 25EMS43965
495 | PNM_BA | Generator - State of Charge for Battery. MWH and % | 25EMS44193
496 | PNM_BA | Generator - State of Charge for Battery. MWH and % | 25EMS44194
497 | PNM_BA | Generator - State of Charge for Battery. MWH and % | 25EMS44195
498 | SCL | Model SCL''s MIDC GCPD share as pseudo tie | 25MRKT44317
499 | SCL_BA | Substation\Load - Removal of PEC substation. Removal out old transmission topology at CEDARFLS. | 25EMS43501
500 | SNPD_TOP | Transmission Line - Remove three line switches at Scott 2 Substation | 25EMS43022
501 | SNPD_TOP | Transmission Line - Updated line ratings of Stimson - East Arlington and Stimson - Camano. Added West Monroe - Sky Valley and Sky Valley - Woods Creek. Renamed C_Mary to Jennings. Corrected equipment names and equipment RDFIDs of Wallace River - Goldbar and Wallace River - Sultan Tap | 25EMS43966
502 | SPP_RC | SPP Incremental Updates for DB135 | 24EMS38795
503 | SRP | Update CORON_SR station long name | 25EMS43389
504 | SRP | Add a MSCHD market only unit at SRP PINLCNTL station, with Pmax/Pmin as 2150/-2150 | 25EMS43566
505 | SRP_BA | Update ICCP at CORBEL station | 25EMS43391
506 | SRP_BA | - Data Gathering Worksheet Included w/ Submission | 25EMS44196
507 | SRP_BA | - Model File Included w/ Submission | 25EMS44197
508 | SRP_BA | - ICCP List Included w/ Submission | 25EMS44198
509 | SRP_BA | - LIMITS List Included w/ Submission | 25EMS44199
510 | TEPC_TOP | Substation\Load - Update of COPVERDE name to MWE_COPV, COTONWD to COTTONWD, IRVNGTN to IRVINGTN, N_HAVA_T to NOR_HAVA, ROUND_VL to RNDVLY, and update of names for devices in now MWE_COPV station to help with identifying with internal TEP names | 25EMS43427
511 | TSGT_TOP | Transmission Line - Multiple Ratings Updates | 25EMS43426
512 | WALC_TOP | Breaker(s)\ Disconnect(s) - Whitehills breakers/disconnects are removed | 25EMS42268
513 | WALC_TOP | Generator - Whitehills generators WTH 1 and WTH 2 are removed | 25EMS42269
514 | WALC_TOP | Substation\Load - Substation Whitehills is removed from WALC model submission | 25EMS42270
515 | WALC_TOP | Breaker(s)\ Disconnect(s) - Removed PES SRD PSD at PERKINS substation | 25EMS43522
516 | WALC_TOP | Substation\Load - added SRD at PERKINS for measurements | 25EMS43523
517 | WALC_TOP | Breaker(s)\ Disconnect(s) - Removed breaker PPK PP022 CB and disconnects: PPK PP021, PPK PP023, PPK PP024 | 25EMS43524
518 | WALC_TOP | Substation\Load - Update of sub geo region to be AEPCO | 25EMS43525
519 | WALC_TOP | Substation\Load - Update of subgeo region to be AEPCO | 25EMS43526
520 | WALC_TOP | Transformer - Rating update for SHT201 230/25kv | 25EMS43527
521 | WALC_TOP | Transformer - Rating update for CARL T001 69/24.9 kv | 25EMS43528
522 | WALC_TOP | Transformer - Rating update for MESQ T1 69/24.9 kv | 25EMS43529
523 | WALC_TOP | Breaker(s)\ Disconnect(s) - Added pseudo switch PSD SSVEC LOADS | 25EMS43530
524 | WALC_TOP | Breaker(s)\ Disconnect(s) - Whitehills breakers/disconnects added back in. There was an email correspondence to not have these removed in the last model update | 25EMS43531
525 | WALC_TOP | Generator - Whitehills generators WTH 1 and WTH 2 are added back into WALC model. There was an email correspondence to not have these removed in the last model update | 25EMS43532
526 | WALC_TOP | Substation\Load - Substation Whitehills is added back into WALC model submission. There was an email correspondence to not have these removed in the last model update | 25EMS43533
527 | WASN_TOP | Transformer - Update Tracy XFMR 2 Emergency MVA rating | 25EMS42725
528 | WASN_TOP | Transformer - Update Tracy XFMR 1 Emergency MVA rating | 25EMS42726
529 | WASN_TOP | Transformer - Update Olinda XFMR Emergency MVA rating | 25EMS42727